## Notes
Cruise 2011-17 September WCVI Nutrients | File: QF 2011-17nuts.xls
Notes | Date: October 18, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Samples were analysed cool or frozen at IOS by Wendy Richardson
Deep Silicate samples (400m and below) were analyzed cool at IOS by Wendy Richardson.
The Astoria Analyzer was used for sample analyses.
The Chauvenet criteria was used to evaluate precision of duplicates.
Outliers were omitted from the Precision Statement.
Samples 220 and 221 have similar results. Perhaps this is due to a mistrip or mis-sampled?
Reran silcate samples 335 to 330 because of baseline problems.
Reran samples and duplicates from sample numbers 213, 234, 297, 345, and 378 to check precision.
Some parameters precisions improved and some did not. See 'Calc precision' worksheet for details.
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers

## Method
Cruise 2011-17 September WCVI Nutrients |  | File: QF 2011-17nuts.xls
Date: October 18, 2011
Samples were collected in plastic test tubes. |  | Compiled by Wendy Richardson
Samples were analysed cool or frozen at IOS by Wendy Richardson
The Astoria Analyzer was used for sample analyses.
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Nutrient Analysis specific examples for quality flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).

## Combo Data avg dup + QF
Cruise 2011-17 September WCVI Nutrients | [12 empty] | File: QF 2011-17nuts.xls
Date: October 18, 2011
Samples were collected in plastic test tubes. | [12 empty] | Compiled by Wendy Richardson
Samples were analysed cool or frozen at IOS by Wendy Richardson
The Astoria Analyzer was used for sample analyses.
Duplicates |  | Niskins same depth |  | Important comments
Loop samples |  | Sample stored cool |  | Niskin didn't close |  | Niskin Comment
Quality Flags:
1 = Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
3 = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
4 = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
5 = Not reported (lost sample; unredeemably bad measurement)
6 = average of duplicate samples
9 = sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) | (actual) |  | uM | QF | uM | QF | uM | QF
2011-17 | LB01 | 1 | 3 | 5 | 4.975 | 3 | 19.1081 |  | 44.5 |  | 1.6536
2011-17 | LB01 | 1 | 2 | 10 | 10.062 | 2 | 23.2291 |  | 45 |  | 1.9671
2011-17 | LB01 | 1 | 1 | Bot-10 | 26.802 | 1 | 27.4483 |  | 46.5 |  | 2.2099
2011-17 | LB02 | 2 | 7 | 5 | 5.413 | 4 | 18.9609 | 6 | 44.35 | 6 | 1.6586 | 6
2011-17 | LB02 | 2 | 6 | 10 | 9.601 | 3 | 25.0934 |  | 45.5 |  | 2.0582
2011-17 | LB02 | 2 | 5 | 25 | 24.481 | 2 | 29.705 |  | 46.5 |  | 2.3414
2011-17 | LB02 | 2 | 4 | Bot-10 | 48.143 | 1 | 29.6069 |  | 43.7 |  | 2.3111
2011-17 | LB04 | 4 | 15 | Max*10 | 13.231 | 8 | 24.7009 |  | 42.2 |  | 2.0076
2011-17 | LB04 | 4 | 14 | Max | 3.359 | 7 | 22.4441 |  | 45.2 |  | 1.9267
2011-17 | LB04 | 4 | 13 | 5 | 4.732 | 6 | 24.6028 |  | 45 |  | 2.038
2011-17 | LB04 | 4 | 12 | 10 | 9.858 | 5 | 25.1915 |  | 43.5 |  | 2.0481
2011-17 | LB04 | 4 | 11 | 25 | 25.215 | 4 | 24.9953 |  | 36.7 |  | 2.0278
2011-17 | LB04 | 4 | 10 | 50 | 50.859 | 3 | 29.9994 | 6 | 41.25 | 6 | 2.2858 | 6
2011-17 | LB04 | 4 | 9 | 75 | 75.149 | 2 | 31.9618 |  | 45.6 |  | 2.4527
2011-17 | LB04 | 4 | 8 | Bot-10 | 104.11 | 1 | 34.7091 |  | 52.6 |  | 2.6752
2011-17 | LB06 | 8 | 23 | Max*10 | 24.875 | 8 | 28.1351 |  | 42 |  | 2.2099
2011-17 | LB06 | 8 | 22 | Max | 14.751 | 7 | 17.5381 |  | 37.1 |  | 1.5423
2011-17 | LB06 | 8 | 21 | 5 | 5.167 | 6 | 13.319 |  | 37.4 |  | 1.2996
2011-17 | LB06 | 8 | 20 | 10 | 10.357 | 5 | 13.2699 | 6 | 37.35 | 6 | 1.2743 | 6
2011-17 | LB06 | 8 | 19 | 25 | 25.083 | 4 | 28.3313 |  | 42.1 |  | 2.2301
2011-17 | LB06 | 8 | 18 | 50 | 50.633 | 3 | 33.4336 |  | 47.4 |  | 2.5639
2011-17 | LB06 | 8 | 17 | 75 | 76.066 | 2 | 35.7885 |  | 53.5 |  | 2.6954
2011-17 | LB06 | 8 | 16 | Bot-10 | 105.454 | 1 | 35.8866 |  | 54.8 |  | 2.7561
2011-17 | LB08 | 21 | 31 | 5 | 4.803 | 8 | 18.4703 | 6 | 39.35 | 6 | 1.6081 | 6
2011-17 | LB08 | 21 | 30 | 10 | 10.304 | 7 | 23.2291 |  | 40.4 |  | 1.8862
2011-17 | LB08 | 21 | 29 | 25 | 25.017 | 6 | 26.6633 |  | 41.2 |  | 2.1088
2011-17 | LB08 | 21 | 28 | 50 | 50.016 | 5 | 32.5505 |  | 46.1 |  | 2.4223
2011-17 | LB08 | 21 | 27 | 75 | 74.767 | 4 | 36.0828 |  | 55.1 |  | 2.7258
2011-17 | LB08 | 21 | 26 | 100 | 100.574 | 3 | 36.6715 |  | 56.7 |  | 2.7966
2011-17 | LB08 | 21 | 25 | 125 | 124.889 | 2 | 37.2603 |  | 60.8 |  | 2.837
2011-17 | LB08 | 21 | 24 | Bot-10 | 130.737 | 1 | 37.4565 |  | 60.9 |  | 2.8876
2011-17 | LB09 | 23 | 42 | 5 | 5.413 | 8 | 18.9118 |  | 42.2 |  | 1.6839
2011-17 | LB09 | 23 | 41 | 10 | 10.469 | 7 | 21.7573 |  | 40.5 |  | 1.9368
2011-17 | LB09 | 23 | 40 | 25 | 24.857 | 6 | 28.7238 |  | 44.8 |  | 2.3718
2011-17 | LB09 | 23 | 39 | 50 | 50.945 | 5 | 31.0787 |  | 46.5 |  | 2.4426
2011-17 | LB09 | 23 | 38 | 75 | 75.32 | 4 | 35.5922 |  | 53.9 |  | 2.746
2011-17 | LB09 | 23 | 37 | 100 | 100.252 | 3 | 37.3584 |  | 57.3 |  | 2.8573
2011-17 | LB09 | 23 | 36 | 125 | 125.336 | 2 | 36.4753 |  | 56.8 |  | 2.7763
2011-17 | LB09 | 23 | 35 | Bot-10 | 139.79 | 1 | 35.9847 | 6 | 58.55 | 6 | 2.7966 | 6
2011-17 | LB11 | 25 | 55 | 5 | 5.13 | 10 | 5.8619 |  | 21.2 |  | 0.80393
2011-17 | LB11 | 25 | 54 | 10 | 10.057 | 9 | 5.0769 |  | 19.8 |  | 0.74323
2011-17 | LB11 | 25 | 53 | 25 | 24.771 | 8 | 1.054 |  | 5.6 |  | 0.60162
2011-17 | LB11 | 25 | 52 | 50 | 49.631 | 7 | 8.7073 |  | 7 |  | 0.98599
2011-17 | LB11 | 25 | 51 | 75 | 74.946 | 6 | 15.772 |  | 17.1 |  | 1.3704
2011-17 | LB11 | 25 | 50 | 100 | 99.627 | 5 | 23.0329 |  | 25.8 |  | 1.8154
2011-17 | LB11 | 25 | 49 | 125 | 125.486 | 4 | 27.3501 |  | 33.6 |  | 2.0784
2011-17 | LB11 | 25 | 48 | 150 | 149.761 | 3 | 34.1204 |  | 48.8 |  | 2.5032
2011-17 | LB11 | 25 | 47 | 175 | 174.413 | 2 | 35.396 | 6 | 51.7 | 6 | 2.5943 | 6
2011-17 | LB11 | 25 | 46 | Bot-10 | 195.689 | 1 | 35.8866 |  | 54.2 |  | 2.655
2011-17 | LB12 | 27 | 72 | 5 | 4.976 | 14 | 3.2126 |  | 18.7 |  | 0.60162
2011-17 | LB12 | 27 | 71 | 10 | 10.682 | 13 | 3.3107 |  | 18.8 |  | 0.62186
2011-17 | LB12 | 27 | 70 | 25 | 25.299 | 12 | 0.36714 |  | 4.8 |  | 0.50048
2011-17 | LB12 | 27 | 69 | 50 | 50.748 | 11 | 7.3337 |  | 5.7 |  | 0.90507
2011-17 | LB12 | 27 | 68 | 75 | 74.964 | 10 | 16.9494 |  | 17.7 |  | 1.4311
2011-17 | LB12 | 27 | 67 | 100 | 101.009 | 9 | 25.1915 |  | 27.6 |  | 1.866
2011-17 | LB12 | 27 | 66 | 125 | 125.582 | 8 | 28.4295 |  | 34.2 |  | 2.1088
2011-17 | LB12 | 27 | 65 | 150 | 149.21 | 7 | 30.8825 |  | 39.2 |  | 2.2301
2011-17 | LB12 | 27 | 64 | 175 | 175.506 | 6 | 32.0599 | 6 | 42.3 | 6 | 2.2757 | 6
2011-17 | LB12 | 27 | 63 | 200 | 200.732 | 5 | 35.1997 |  | 51 |  | 2.483
2011-17 | LB12 | 27 | 62 | 250 | 249.79 | 4 | 35.8866 |  | 53.2 |  | 2.4931
2011-17 | LB12 | 27 | 61 | 300 | 301.187 | 3 | 38.6339 |  | 61.8 |  | 2.7055
2011-17 | LB12 | 27 | 60 | 400 | 400.33 | 2 | 41.2832 |  | 73.9 |  | 3.009
2011-17 | LB12 | 27 | 59 | Bot-10 | 502.297 | 1 | 42.9512 |  | 86.3 |  | 3.1101
2011-17 | LB14 | 29 | 92 | 5 | 4.824 | 17 | 0.1709 |  | 5.6 |  | 0.33864
2011-17 | LB14 | 29 | 91 | 10 | 10.198 | 22 | 0.1709 |  | 5.6 |  | 0.3184
2011-17 | LB14 | 29 | 90 | 25 | 25.715 | 15 | 0.1709 |  | 4.4 |  | 0.40944
2011-17 | LB14 | 29 | 89 | 50 | 49.96 | 14 | 3.6051 |  | 5.1 |  | 0.70278
2011-17 | LB14 | 29 | 88 | 75 | 75.473 | 13 | 12.2397 |  | 11.5 |  | 1.1883
2011-17 | LB14 | 29 | 87 | 100 | 100.096 | 12 | 22.7385 |  | 24.5 |  | 1.775
2011-17 | LB14 | 29 | 86 | 125 | 124.632 | 11 | 27.7426 |  | 32 |  | 2.0076
2011-17 | LB14 | 29 | 85 | 150 | 150.631 | 10 | 30.8825 |  | 38.2 |  | 2.1694
2011-17 | LB14 | 29 | 84 | 175 | 174.662 | 9 | 31.7655 |  | 41.2 |  | 2.2605
2011-17 | LB14 | 29 | 83 | 200 | 200.03 | 8 | 32.7467 |  | 44 |  | 2.3313
2011-17 | LB14 | 29 | 82 | 250 | 250.826 | 7 | 36.2791 |  | 53.6 |  | 2.4931
2011-17 | LB14 | 29 | 81 | 300 | 300.9 | 6 | 38.2415 |  | 60.6 |  | 2.7258
2011-17 | LB14 | 29 | 80 | 400 | 401.219 | 5 | 40.7926 |  | 70.8 |  | 2.8977
2011-17 | LB14 | 29 | 79 | 500 | 499.778 | 4 | 42.8531 |  | 80.9 |  | 3.1203
2011-17 | LB14 | 29 | 78 | 750 | 750.18 | 3 | 45.5023 | 6 | 109.5 |  | 3.2922 | 6 | no Si dup
2011-17 | LB14 | 29 | 77 | 1000 | 1000.049 | 2 | 46.3854 |  | 130.5 |  | 3.2821
2011-17 | LB14 | 29 | 76 | Bot-10 | 1172.73 | 1 | 46.0911 |  | 144.9 |  | 3.2518
2011-17 | LC11 | 34 | 113 | 5 | 5.332 | 18 | 0.1709 |  | 4.9 |  | 0.3184
2011-17 | LC11 | 34 | 112 | 10 | 10.596 | 17 | 0.1709 |  | 5.1 |  | 0.32852
2011-17 | LC11 | 34 | 111 | 25 | 24.889 | 16 | 0.1709 |  | 5.6 |  | 0.32852
2011-17 | LC11 | 34 | 110 | 50 | 50.713 | 15 | 0.85774 |  | 5.2 |  | 0.55105
2011-17 | LC11 | 34 | 109 | 75 | 75.482 | 14 | 7.2355 |  | 6.4 |  | 0.8545
2011-17 | LC11 | 34 | 108 | 100 | 101.099 | 13 | 17.8325 |  | 18.6 |  | 1.4209
2011-17 | LC11 | 34 | 107 | 125 | 124.955 | 12 | 25.4859 | 6 | 28.7 | 6 | 1.8812 | 6
2011-17 | LC11 | 34 | 106 | 150 | 150.016 | 11 | 29.6069 |  | 36.1 |  | 2.1189
2011-17 | LC11 | 34 | 105 | 175 | 175.782 | 10 | 31.3731 |  | 40.1 |  | 2.2504
2011-17 | LC11 | 34 | 104 | 200 | 199.902 | 9 | 32.158 |  | 43 |  | 2.3111
2011-17 | LC11 | 34 | 103 | 250 | 251.08 | 8 | 34.611 |  | 50 |  | 2.392
2011-17 | LC11 | 34 | 102 | 300 | 301.628 | 7 | 37.7509 |  | 58.7 |  | 2.6347
2011-17 | LC11 | 34 | 101 | 400 | 400.555 | 6 | 41.3813 |  | 73.4 |  | 2.9281
2011-17 | LC11 | 34 | 100 | 500 | 499.9 | 5 | 42.9512 |  | 83.9 |  | 2.9382
2011-17 | LC11 | 34 | 99 | 750 | 750.425 | 4 | 45.4042 | 6 | 110 | 6 | 3.2416 | 6
2011-17 | LC11 | 34 | 98 | 1000 | 999.75 | 3 | 46.1892 |  | 127.9 |  | 3.272
2011-17 | LC11 | 34 | 97 | 1250 | 1249.722 | 2 | 45.9929 |  | 147.2 |  | 3.272
2011-17 | LC11 | 34 | 96 | Bot-10 | 1450.463 | 1 | 45.6005 |  | 160.3 |  | 3.2214
2011-17 | LC09/A3 | 36 | 132 | 5 | 5.171 | 16 | 0.1709 |  | 10.9 |  | 0.4499
2011-17 | LC09/A3 | 36 | 131 | 10 | 10.713 | 15 | 0.1709 |  | 10.3 |  | 0.40944
2011-17 | LC09/A3 | 36 | 130 | 15 | 15.376 | 14 | 0.1709 |  | 9.7 |  | 0.36898
2011-17 | LC09/A3 | 36 | 129 | 25 | 25.382 | 13 | 0.26902 | 6 | 10.2 | 6 | 0.47519 | 6
2011-17 | LC09/A3 | 36 | 128 | 50 | 50.804 | 12 | 3.3107 |  | 2.8 |  | 0.67243
2011-17 | LC09/A3 | 36 | 127 | 75 | 75.293 | 11 | 10.6697 |  | 10.8 |  | 1.1175
2011-17 | LC09/A3 | 36 | 126 | 100 | 100.897 | 10 | 21.7573 |  | 24.5 |  | 1.7446
2011-17 | LC09/A3 | 36 | 125 | 125 | 125.24 | 9 | 25.4859 |  | 29.6 |  | 1.9065
2011-17 | LC09/A3 | 36 | 124 | 150 | 150.844 | 8 | 27.8407 |  | 34.4 |  | 2.0177
2011-17 | LC09/A3 | 36 | 123 | 175 | 174.893 | 7 | 29.9013 |  | 38.4 |  | 2.1391
2011-17 | LC09/A3 | 36 | 122 | 200 | 200.461 | 6 | 31.1768 |  | 42.9 |  | 2.2301
2011-17 | LC09/A3 | 36 | 121 | 250 | 250.583 | 5 | 33.7279 |  | 50.9 |  | 2.4426
2011-17 | LC09/A3 | 36 | 120 | 300 | 300.642 | 4 | 36.9659 |  | 59.3 |  | 2.6145
2011-17 | LC09/A3 | 36 | 119 | 400 | 399.909 | 3 | 41.1851 |  | 73.8 |  | 2.9584
2011-17 | LC09/A3 | 36 | 118 | 500 | 501.224 | 2 | 43.0984 | 6 | 86.3 | 6 | 3.1203 | 6
2011-17 | LC09/A3 | 36 | 117 | Bot-10 | 600.264 | 1 | 44.423 |  | 98.8 |  | 3.2619
2011-17 | LC08/A1 | 40 | 145 | 5 | 4.997 | 10 | 0.1709 |  | 11.5 |  | 0.39932
2011-17 | LC08/A1 | 40 | 144 | 10 | 10.051 | 9 | 0.1709 |  | 10.7 |  | 0.39932
2011-17 | LC08/A1 | 40 | 143 | 25 | 25.165 | 8 | 2.2314 |  | 8.8 |  | 0.69266
2011-17 | LC08/A1 | 40 | 142 | 50 | 49.945 | 7 | 6.5487 |  | 3.8 |  | 0.83427
2011-17 | LC08/A1 | 40 | 141 | 75 | 75.59 | 6 | 14.7417 | 6 | 16.05 | 6 | 1.3097 | 6
2011-17 | LC08/A1 | 40 | 140 | 100 | 100.397 | 5 | 22.1498 |  | 25.7 |  | 1.6839
2011-17 | LC08/A1 | 40 | 139 | 125 | 125.329 | 4 | 26.7614 |  | 31.8 |  | 1.9975
2011-17 | LC08/A1 | 40 | 138 | 150 | 150.369 | 3 | 29.3125 |  | 36.6 |  | 2.0986
2011-17 | LC08/A1 | 40 | 137 | 175 | 175.206 | 2 | 31.5693 |  | 44.2 |  | 2.3414
2011-17 | LC08/A1 | 40 | 136 | Bot-10 | 189.378 | 1 | 35.0035 |  | 53.5 |  | 2.5842
2011-17 | LC06 | 44 | 154 | 5 | 4.872 | 6 | 8.9036 |  | 40 |  | 1.1478
2011-17 | LC06 | 44 | 153 | 10 | 10.329 | 5 | 24.7009 |  | 44.4 |  | 2.0784
2011-17 | LC06 | 44 | 152 | 25 | 24.88 | 4 | 24.0631 | 6 | 35.15 | 6 | 2.0026 | 6
2011-17 | LC06 | 44 | 151 | 50 | 50.148 | 3 | 28.3313 |  | 41.2 |  | 2.2605
2011-17 | LC06 | 44 | 150 | 75 | 75.535 | 2 | 29.8031 |  | 42.2 |  | 2.3212
2011-17 | LC06 | 44 | 149 | Bot-10 | 84.113 | 1 | 31.3731 |  | 46.8 |  | 2.4628
2011-17 | LC04 | 47 | 166 | 5 | 4.899 | 11 | 2.4277 |  | 28.9 |  | 0.72301
2011-17 | LC04 | 47 | 165 | 10 | 10.222 | 10 | 15.6739 |  | 39 |  | 1.5322
2011-17 | LC04 | 47 | 164 | 15 | 4.914 | 12 | 2.5258 | 6 | 29.15 | 6 | 0.72301 | 6
2011-17 | LC04 | 47 | 163 | 25 | 24.823 | 6 | 26.2708 |  | 45.6 |  | 2.2706
2011-17 | LC04 | 47 | 162 | 50 | 49.969 | 5 | 30.7843 |  | 47.6 |  | 2.4223
2011-17 | LC04 | 47 | 161 | 75 | 74.778 | 4 | 33.5317 |  | 52.4 |  | 2.6347
2011-17 | LC04 | 47 | 160 | 100 | 100.02 | 3 | 33.9242 |  | 53.4 |  | 2.6347
2011-17 | LC04 | 47 | 159 | 125 | 124.941 | 2 | 33.6298 |  | 54.4 |  | 2.6145
2011-17 | LC04 | 47 | 158 | Bot-10 | 158.798 | 1 | 32.8449 |  | 52.1 |  | 2.655
2011-17 | LC02 | 49 | 175 | 5 | 4.704 | 6 | 0.56338 |  | 25.2 |  | 0.61174
2011-17 | LC02 | 49 | 174 | 10 | 10.007 | 5 | 8.2167 |  | 36 |  | 1.2591
2011-17 | LC02 | 49 | 173 | 25 | 25.528 | 4 | 24.0141 |  | 42.5 |  | 2.129
2011-17 | LC02 | 49 | 172 | 50 | 49.943 | 3 | 29.8522 | 6 | 44.95 | 6 | 2.2504 | 6
2011-17 | LC02 | 49 | 171 | 75 | 74.879 | 2 | 29.8031 |  | 43.3 |  | 2.3111
2011-17 | LC02 | 49 | 170 | Bot-10 | 100.7 | 1 | 30.49 |  | 45.6 |  | 2.4021
2011-17 | LC01 | 50 | 183 | 5 | 4.833 | 5 | 7.5299 |  | 28.4 |  | 1.0669
2011-17 | LC01 | 50 | 182 | 10 | 10.147 | 4 | 17.7344 | 6 | 38.05 | 6 | 1.8003 | 6
2011-17 | LC01 | 50 | 181 | 25 | 24.931 | 3 | 27.1539 |  | 45.1 |  | 2.1998
2011-17 | LC01 | 50 | 180 | 50 | 50.534 | 2 | 30.3919 |  | 46.7 |  | 2.3515
2011-17 | LC01 | 50 | 179 | Bot-10 | 87.171 | 1 | 30.7843 |  | 46.5 |  | 2.4122
2011-17 | LD04 | 55 | 190 | 5 | 5.126 | 4 | 10.5716 |  | 37.1 |  | 1.1883
2011-17 | LD04 | 55 | 189 | 10 | 10.071 | 3 | 23.8178 | 6 | 43.45 | 6 | 1.9924 | 6
2011-17 | LD04 | 55 | 188 | 25 | 25.575 | 2 | 25.1915 |  | 35.7 |  | 2.0784
2011-17 | LD04 | 55 | 187 | Bot-10 | 52.658 | 1 | 29.4107 |  | 45.5 |  | 2.3616
2011-17 | LD07 | 59 | 208 | 5 | 5.726 | 15 | 0.6615 |  | 17.6 |  | 0.60162
2011-17 | LD07 | 59 | 207 | 10 | 10.74 | 14 | 4.1938 |  | 12.3 |  | 0.81404
2011-17 | LD07 | 59 | 206 | 25 | 24.868 | 13 | 3.3107 |  | 4.5 |  | 0.72301
2011-17 | LD07 | 59 | 205 | 50 | 50.616 | 12 | 13.4171 | 6 | 14.55 | 6 | 1.2591 | 6
2011-17 | LD07 | 59 | 204 | 75 | 75.689 | 11 | 23.0329 |  | 26.6 |  | 1.775
2011-17 | LD07 | 59 | 203 | 100 | 100.672 | 10 | 27.4483 |  | 33.5 |  | 1.9368
2011-17 | LD07 | 59 | 202 | 125 | 125.481 | 9 | 29.9994 |  | 38.8 |  | 2.1897
2011-17 | LD07 | 59 | 201 | 150 | 150.381 | 8 | 33.2373 |  | 47.5 |  | 2.4729
2011-17 | LD07 | 59 | 200 | 175 | 175.141 | 7 | 34.2185 |  | 49.3 |  | 2.4729
2011-17 | LD07 | 59 | 199 | 200 | 200.255 | 6 | 36.0828 |  | 55.3 |  | 2.5538
2011-17 | LD07 | 59 | 198 | 250 | 250.257 | 5 | 37.9471 |  | 61.5 |  | 2.655
2011-17 | LD07 | 59 | 197 | 300 | 301.422 | 4 | 39.1245 |  | 65.5 |  | 2.7865
2011-17 | LD07 | 59 | 196 | 400 | 400.876 | 3 | 40.7435 | 6 | 74.65 | 6 | 2.9888 | 6
2011-17 | LD07 | 59 | 195 | 500 | 466.043 | 2 | 41.8719 |  | 81.6 |  | 3.1101
2011-17 | LD07 | 59 | 194 | Bot-10 | 465.948 | 1 | 41.8719 |  | 81.6 |  | 3.0798
2011-17 | LD09 | 61 | 227 | 5 | 6.08 | 16 | 0.1709 |  | 2.8 |  | 0.29818
2011-17 | LD09 | 61 | 226 | 10 | 10.954 | 15 | 0.1709 |  | 2.8 |  | 0.29818
2011-17 | LD09 | 61 | 225 | 25 | 25.839 | 14 | 0.1709 |  | 3.1 |  | 0.38921
2011-17 | LD09 | 61 | 224 | 50 | 50.239 | 13 | 4.1448 | 6 | 3.1 | 6 | 0.70278 | 6
2011-17 | LD09 | 61 | 223 | 75 | 75.609 | 12 | 8.8055 |  | 6.3 |  | 1.0062
2011-17 | LD09 | 61 | 222 | 100 | 100.62 | 11 | 22.8366 |  | 25.3 |  | 1.7649
2011-17 | LD09 | 61 | 221 | 125 | 125.931 | 10 | 26.4671 | 3 | 32.2 | 3 | 1.9166 | 3 | mistrip? mis-sampled?
2011-17 | LD09 | 61 | 220 | 150 | 150.686 | 9 | 26.3689 | 3 | 32.1 | 3 | 1.9166 | 3 | mistrip? mis-sampled?
2011-17 | LD09 | 61 | 219 | 175 | 175.065 | 8 | 31.4712 |  | 43 |  | 2.2301
2011-17 | LD09 | 61 | 218 | 200 | 199.911 | 7 | 32.3543 |  | 45.5 |  | 2.3212
2011-17 | LD09 | 61 | 217 | 250 | 250.619 | 6 | 34.7091 |  | 52.7 |  | 2.3819
2011-17 | LD09 | 61 | 216 | 300 | 301.682 | 5 | 38.7321 |  | 63.9 |  | 2.7561
2011-17 | LD09 | 61 | 215 | 400 | 400.709 | 4 | 42.0681 |  | 78 |  | 3.0191
2011-17 | LD09 | 61 | 214 | 500 | 499.605 | 3 | 43.5399 |  | 88.5 |  | 3.1101
2011-17 | LD09 | 61 | 213 | 750 | 749.95 | 2 | 45.257 | 6 | 111.75 | 6 | 3.3377 | 6
2011-17 | LD09 | 61 | 212 | Bot-10 | 1049.807 | 1 | 45.6986 |  | 136.3 |  | 3.2922
2011-17 | LD11 | 65 | 249 | 5 | 5.599 | 19 | 0.1709 |  | 3 |  | 0.33864
2011-17 | LD11 | 65 | 248 | 10 | 10.782 | 18 | 0.1709 |  | 3 |  | 0.34875
2011-17 | LD11 | 65 | 247 | 25 | 25.251 | 17 | 0.1709 |  | 3 |  | 0.32852
2011-17 | LD11 | 65 | 246 | 50 | 50.336 | 16 | 3.6051 |  | 3.9 |  | 0.68254
2011-17 | LD11 | 65 | 245 | 75 | 75.405 | 15 | 11.7491 |  | 11.5 |  | 1.1681
2011-17 | LD11 | 65 | 244 | 100 | 100.907 | 14 | 20.727 | 6 | 22.8 | 6 | 1.6334 | 6
2011-17 | LD11 | 65 | 243 | 125 | 125.63 | 13 | 25.6821 |  | 29.3 |  | 1.9166
2011-17 | LD11 | 65 | 242 | 150 | 150.06 | 12 | 26.8595 |  | 33 |  | 1.9368
2011-17 | LD11 | 65 | 241 | 175 | 175.42 | 11 | 29.1163 |  | 38.1 |  | 2.1088
2011-17 | LD11 | 65 | 240 | 200 | 200.05 | 10 | 30.1956 |  | 42.2 |  | 2.1897
2011-17 | LD11 | 65 | 239 | 250 | 251.201 | 9 | 33.5317 |  | 51.1 |  | 2.4223
2011-17 | LD11 | 65 | 238 | 300 | 299.862 | 8 | 36.2791 |  | 58.5 |  | 2.5943
2011-17 | LD11 | 65 | 237 | 400 | 400.649 | 7 | 40.5963 |  | 71 |  | 2.837
2011-17 | LD11 | 65 | 236 | 500 | 499.691 | 6 | 42.9512 |  | 85.1 |  | 3.1405
2011-17 | LD11 | 65 | 235 | 750 | 749.879 | 5 | 45.208 |  | 111.6 |  | 3.3226
2011-17 | LD11 | 65 | 234 | 1000 | 1000.412 | 4 | 45.8948 | 6 | 132.3 | 6 | 3.3175 | 6
2011-17 | LD11 | 65 | 233 | 1250 | 1249.839 | 3 | 45.8948 |  | 147.6 |  | 3.2012
2011-17 | LD11 | 65 | 232 | 1500 | 1500.11 | 2 | 45.6005 |  | 158.4 |  | 3.2821
2011-17 | LD11 | 65 | 231 | Bot-10 | 1595.176 | 1 | 45.1099 |  | 164.5 |  | 3.1911
2011-17 | LG09 | 66 | 272 | 5 | 5.011 | 20 | 0.1709 |  | 4.5 |  | 0.32852
2011-17 | LG09 | 66 | 271 | 10 | 9.798 | 19 | 0.1709 |  | 4.4 |  | 0.33864
2011-17 | LG09 | 66 | 270 | 15 | 14.859 | 18 | 0.1709 |  | 4.3 |  | 0.33864
2011-17 | LG09 | 66 | 269 | 25 | 28.251 | 17 | 0.1709 |  | 2.6 |  | 0.32852
2011-17 | LG09 | 66 | 268 | 50 | 49.795 | 16 | 5.4694 |  | 5.3 |  | 0.83427
2011-17 | LG09 | 66 | 267 | 75 | 74.949 | 15 | 11.4547 | 6 | 12.15 | 6 | 1.1478 | 6
2011-17 | LG09 | 66 | 266 | 100 | 99.769 | 14 | 20.7761 |  | 23 |  | 1.6232
2011-17 | LG09 | 66 | 265 | 125 | 124.971 | 13 | 25.2896 |  | 29.7 |  | 1.8862
2011-17 | LG09 | 66 | 264 | 150 | 150.13 | 12 | 29.4107 |  | 37.3 |  | 2.1593
2011-17 | LG09 | 66 | 263 | 175 | 175.27 | 11 | 31.3731 |  | 41.8 |  | 2.2403
2011-17 | LG09 | 66 | 262 | 200 | 199.788 | 10 | 33.2373 |  | 47.1 |  | 2.392
2011-17 | LG09 | 66 | 261 | 250 | 250.253 | 9 | 35.1997 |  | 53.8 |  | 2.483
2011-17 | LG09 | 66 | 260 | 300 | 299.435 | 8 | 38.2415 |  | 63.2 |  | 2.7359
2011-17 | LG09 | 66 | 259 | 400 | 400.387 | 7 | 41.3813 |  | 75.7 |  | 2.9685
2011-17 | LG09 | 66 | 258 | 500 | 500.395 | 6 | 42.9512 |  | 84.4 |  | 3.1203
2011-17 | LG09 | 66 | 257 | 750 | 749.781 | 5 | 45.1099 |  | 109.7 |  | 3.2416
2011-17 | LG09 | 66 | 256 | 1000 | 1000.218 | 4 | 46.1401 | 6 | 131.3 | 6 | 3.3226 | 6
2011-17 | LG09 | 66 | 255 | 1250 | 1250.265 | 3 | 46.1892 |  | 146.4 |  | 3.2821
2011-17 | LG09 | 66 | 254 | 1500 | 1500.64 | 2 | 45.3061 |  | 160.4 |  | 3.2619
2011-17 | LG09 | 66 | 253 | Bot-10 | 2000.78 | 1 | 43.2456 |  | 178.5 |  | 3.0697
2011-17 | LG06 | 71 | 291 | 5 | 5.43 | 16 | 1.4465 |  | 17.6 |  | 0.59151
2011-17 | LG06 | 71 | 290 | 10 | 10.958 | 15 | 10.2773 |  | 23.2 |  | 1.1782
2011-17 | LG06 | 71 | 289 | 25 | 25.432 | 14 | 12.534 |  | 17.3 |  | 1.249
2011-17 | LG06 | 71 | 288 | 50 | 50.528 | 13 | 8.6092 |  | 8.8 |  | 0.96576
2011-17 | LG06 | 71 | 287 | 75 | 74.968 | 12 | 12.8284 |  | 13.7 |  | 1.2389
2011-17 | LG06 | 71 | 286 | 100 | 99.857 | 11 | 18.1759 | 6 | 20.6 | 6 | 1.4816 | 6
2011-17 | LG06 | 71 | 285 | 125 | 125.009 | 10 | 27.252 |  | 33.7 |  | 2.0177
2011-17 | LG06 | 71 | 284 | 150 | 149.907 | 9 | 30.6862 |  | 39.6 |  | 2.2099
2011-17 | LG06 | 71 | 283 | 175 | 174.82 | 8 | 34.7091 |  | 50 |  | 2.5639
2011-17 | LG06 | 71 | 282 | 200 | 200.766 | 7 | 35.5922 |  | 53 |  | 2.5741
2011-17 | LG06 | 71 | 281 | 250 | 250.824 | 6 | 37.3584 |  | 58.3 |  | 2.6145
2011-17 | LG06 | 71 | 280 | 300 | 300.756 | 5 | 39.9095 |  | 67.8 |  | 2.8472
2011-17 | LG06 | 71 | 279 | 400 | 399.101 | 4 | 41.1851 |  | 75.8 |  | 2.9888
2011-17 | LG06 | 71 | 278 | 500 | 501.734 | 3 | 42.4116 | 6 | 82.2 | 6 | 3.1354 | 6
2011-17 | LG06 | 71 | 277 | 750 | 750.781 | 2 | 44.8155 |  | 110.4 |  | 3.363
2011-17 | LG06 | 71 | 276 | Bot-10 | 970.419 | 1 | 45.3061 |  | 126.1 |  | 3.3023
2011-17 | LG04 | 73 | 302 | 5 | 5.015 | 8 | 0.1709 |  | 12.6 |  | 0.3791
2011-17 | LG04 | 73 | 301 | 10 | 9.181 | 7 | 0.26902 |  | 14.1 |  | 0.41956
2011-17 | LG04 | 73 | 300 | 25 | 25.626 | 6 | 28.1351 |  | 47.3 |  | 2.3515
2011-17 | LG04 | 73 | 299 | 50 | 50.819 | 5 | 27.5464 |  | 38.3 |  | 2.2099
2011-17 | LG04 | 73 | 298 | 75 | 75.212 | 4 | 30.9806 |  | 40.7 |  | 2.2807
2011-17 | LG04 | 73 | 297 | 100 | 100.316 | 3 | 32.5014 | 6 | 43.6 | 6 | 2.3212 | 6
2011-17 | LG04 | 73 | 296 | 125 | 125.746 | 2 | 35.1997 |  | 53 |  | 2.5741
2011-17 | LG04 | 73 | 295 | Bot-10 | 135.313 | 1 | 35.2979 |  | 54.2 |  | 2.6347
2011-17 | LG02 | 76 | 312 | 5 | 5.21 | 7 | 1.054 |  | 19.5 |  | 0.59151
2011-17 | LG02 | 76 | 311 | 10 | 10.219 | 6 | 23.6706 | 6 | 40.75 | 6 | 1.9773 | 6
2011-17 | LG02 | 76 | 310 | 15 | 15.349 | 5 | 25.7802 |  | 42.2 |  | 2.1189
2011-17 | LG02 | 76 | 309 | 25 | 25.63 | 4 | 28.6257 |  | 45.5 |  | 2.3111
2011-17 | LG02 | 76 | 308 | 50 | 51.003 | 3 | 30.5881 |  | 55.6 |  | 2.5741
2011-17 | LG02 | 76 | 307 | 75 | 75.589 | 2 | 34.2185 |  | 71.7 |  | 2.9584
2011-17 | LG02 | 76 | 306 | Bot-10 | 90.498 | 1 | 34.8073 |  | 75.7 |  | 3.1
2011-17 | LG01 | 78 | 319 | 5 | 5.306 | 4 | 11.0622 |  | 28.5 |  | 1.2288
2011-17 | LG01 | 78 | 318 | 10 | 10.8 | 3 | 24.6028 |  | 41.3 |  | 2.0986
2011-17 | LG01 | 78 | 317 | 25 | 25.791 | 2 | 29.9503 | 6 | 53.4 | 6 | 2.4931 | 6
2011-17 | LG01 | 78 | 316 | Bot-10 | 42.679 | 1 | 29.9994 |  | 54.2 |  | 2.4931
2011-17 | LBP7 | 93 | 341 | 5 | 4.917 | 19 | 3.3107 |  | 12.4 |  | 0.63197
2011-17 | LBP7 | 93 | 340 | 10 | 10.423 | 23 | 9.4923 |  | 24.2 |  | 1.0669
2011-17 | LBP7 | 93 | 339 | 25 | 25.225 | 17 | 16.7041 | 6 | 26.3 | 6 | 1.5019 | 6
2011-17 | LBP7 | 93 | 338 | 50 | 51.032 | 16 | 22.1498 |  | 30.5 |  | 1.775
2011-17 | LBP7 | 93 | 337 | 75 | 75.715 | 15 | 26.3689 |  | 35.5 |  | 2.0076
2011-17 | LBP7 | 93 | 336 | 100 | 99.727 | 14 | 26.1727 |  | 32.7 |  | 1.9469
2011-17 | LBP7 | 93 | 335 | 125 | 124.625 | 13 | 30.1956 |  | 39.7 |  | 2.1694
2011-17 | LBP7 | 93 | 334 | 150 | 151.504 | 12 | 34.611 |  | 48.6 |  | 2.4729
2011-17 | LBP7 | 93 | 333 | 175 | 175.13 | 11 | 35.4941 |  | 50.9 |  | 2.5538
2011-17 | LBP7 | 93 | 332 | 200 | 199.733 | 10 | 35.9847 |  | 52.1 |  | 2.5538
2011-17 | LBP7 | 93 | 331 | 250 | 248.684 | 9 | 37.4565 |  | 56.8 |  | 2.6246
2011-17 | LBP7 | 93 | 330 | 300 | 299.727 | 8 | 39.3208 |  | 63 |  | 2.7662
2011-17 | LBP7 | 93 | 329 | 400 | 400.265 | 7 | 41.4794 |  | 72.9 |  | 2.9888
2011-17 | LBP7 | 93 | 328 | 500 | 501.606 | 6 | 43.0493 |  | 81.6 |  | 3.1203
2011-17 | LBP7 | 93 | 327 | 750 | 750.295 | 5 | 45.5023 |  | 110 |  | 3.2922
2011-17 | LBP7 | 93 | 326 | 1000 | 1000.862 | 4 | 46.1892 |  | 133.8 |  | 3.3832
2011-17 | LBP7 | 93 | 325 | 1250 | 1249.811 | 3 | 46.4835 |  | 146.4 |  | 3.3428
2011-17 | LBP7 | 93 | 324 | 1500 | 1499.816 | 2 | 45.8948 | 6 | 162.75 | 6 | 3.2619 | 6
2011-17 | LBP7 | 93 | 323 | 2000 | 1999.949 | 1 | 43.5399 |  | 178.2 |  | 3.1101
2011-17 | LBP5 | 96 | 361 | 5 | 5.5 | 17 | 6.4506 |  | 24.9 |  | 0.95565
2011-17 | LBP5 | 96 | 360 | 10 | 10.387 | 16 | 12.0434 |  | 28 |  | 1.3097
2011-17 | LBP5 | 96 | 359 | 25 | 26.043 | 15 | 22.7385 |  | 35.5 |  | 1.957
2011-17 | LBP5 | 96 | 358 | 50 | 50.691 | 14 | 24.8971 |  | 36.3 |  | 1.9874
2011-17 | LBP5 | 96 | 357 | 75 | 75.658 | 13 | 27.1539 |  | 38.4 |  | 2.0986
2011-17 | LBP5 | 96 | 356 | 100 | 100.724 | 12 | 27.6445 |  | 36.7 |  | 2.038
2011-17 | LBP5 | 96 | 355 | 125 | 124.791 | 11 | 30.8825 |  | 41.9 |  | 2.2504
2011-17 | LBP5 | 96 | 354 | 150 | 149.691 | 10 | 32.8939 | 6 | 45.35 | 6 | 2.3768 | 6
2011-17 | LBP5 | 96 | 353 | 175 | 175.101 | 9 | 34.8073 |  | 49.3 |  | 2.5032
2011-17 | LBP5 | 96 | 352 | 200 | 199.858 | 8 | 36.0828 |  | 52 |  | 2.5437
2011-17 | LBP5 | 96 | 351 | 250 | 249.339 | 7 | 37.1621 |  | 55.9 |  | 2.6651
2011-17 | LBP5 | 96 | 350 | 300 | 301.472 | 6 | 38.6339 |  | 61.6 |  | 2.746
2011-17 | LBP5 | 96 | 349 | 400 | 401.91 | 5 | 41.8719 |  | 74.4 |  | 3.0292
2011-17 | LBP5 | 96 | 348 | 500 | 501.696 | 4 | 42.0681 |  | 82.2 |  | 2.9888
2011-17 | LBP5 | 96 | 347 | 750 | 749.584 | 3 | 45.4042 |  | 109.3 |  | 3.3226
2011-17 | LBP5 | 96 | 346 | 1000 | 999.047 | 2 | 44.9136 |  | 137.3 |  | 3.3327
2011-17 | LBP5 | 96 | 345 | Bot-10 | 1276.306 | 1 | 45.6986 | 6 | 154.75 | 6 | 3.2922 | 6
2011-17 | LBP3 | 99 | 373 | 5 | 5.6937 | 9 | 5.3713 |  | 23.4 |  | 0.98599
2011-17 | LBP3 | 99 | 372 | 10 | 9.9466 | 8 | 24.1612 | 6 | 39.15 | 6 | 2.0531 | 6
2011-17 | LBP3 | 99 | 371 | 25 | 25.5327 | 7 | 27.9389 |  | 42.5 |  | 2.3009
2011-17 | LBP3 | 99 | 370 | 50 | 50.4217 | 6 | 28.9201 |  | 45.7 |  | 2.3515
2011-17 | LBP3 | 99 | 369 | 75 | 75.0307 | 5 | 29.6069 |  | 46.9 |  | 2.3718
2011-17 | LBP3 | 99 | 368 | 100 | 100.1011 | 4 | 30.1956 |  | 44.4 |  | 2.3718
2011-17 | LBP3 | 99 | 367 | 125 | 124.2108 | 3 | 33.4336 |  | 48.1 |  | 2.4527
2011-17 | LBP3 | 99 | 366 | 150 | 150.4953 | 2 | 34.1204 |  | 49.8 |  | 2.5336
2011-17 | LBP3 | 99 | 365 | Bot-10 | 160.7917 | 1 | 34.2185 |  | 50.1 |  | 2.5437
2011-17 | CS01 | 113 | 396 | 5 | 5.8132 | 20 | 0.1709 |  | 1 |  | 0.29818
2011-17 | CS01 | 113 | 395 | 10 | 10.336 | 19 | 0.1709 |  | 1 |  | 0.28806
2011-17 | CS01 | 113 | 394 | 15 | 15.6164 | 18 | 0.1709 |  | 1.1 |  | 0.30829
2011-17 | CS01 | 113 | 393 | 25 | 24.9959 | 17 | 7.9224 | 6 | 13.2 | 6 | 0.93542 | 6
2011-17 | CS01 | 113 | 392 | 50 | 51.0695 | 16 | 15.3795 |  | 21.3 |  | 1.4108
2011-17 | CS01 | 113 | 391 | 75 | 76.3824 | 15 | 15.5757 |  | 19.2 |  | 1.3906
2011-17 | CS01 | 113 | 390 | 100 | 101.1301 | 14 | 21.3648 |  | 25.9 |  | 1.6637
2011-17 | CS01 | 113 | 389 | 125 | 124.9986 | 13 | 22.2479 |  | 26.4 |  | 1.6738
2011-17 | CS01 | 113 | 388 | 150 | 150.7957 | 12 | 25.3877 |  | 32 |  | 1.8357
2011-17 | CS01 | 113 | 387 | 175 | 175.678 | 11 | 30.3919 |  | 42.5 |  | 2.1492
2011-17 | CS01 | 113 | 386 | 200 | 199.5695 | 10 | 29.9013 |  | 43.7 |  | 2.129
2011-17 | CS01 | 113 | 385 | 250 | 249.6837 | 9 | 35.6903 |  | 55.1 |  | 2.5134
2011-17 | CS01 | 113 | 384 | 300 | 300.6318 | 8 | 38.2415 |  | 62.4 |  | 2.7258
2011-17 | CS01 | 113 | 383 | 400 | 401.209 | 7 | 41.6757 |  | 75.3 |  | 2.9584
2011-17 | CS01 | 113 | 382 | 500 | 501.2702 | 6 | 43.4418 |  | 86 |  | 3.1101
2011-17 | CS01 | 113 | 381 | 750 | 750.4845 | 5 | 45.7967 |  | 111.9 |  | 3.2518
2011-17 | CS01 | 113 | 380 | 1000 | 1003.2671 | 4 | 46.5817 |  | 130.7 |  | 3.3124
2011-17 | CS01 | 113 | 379 | 1250 | 1250.1238 | 3 | 46.876 |  | 146.5 |  | 3.3023
2011-17 | CS01 | 113 | 378 | 1500 | 1498.2423 | 2 | 46.042 | 6 | 160.05 | 6 | 3.2518 | 6
2011-17 | CS01 | 113 | 377 | 2000 | 1999.7716 | 1 | 43.5399 |  | 176 |  | 3.0596
2011-17 | CS04 | 120 | 405 | 5 | 4.6864 | 6 | 1.054 |  | 9.2 |  | 0.42967
2011-17 | CS04 | 120 | 404 | 10 | 9.6681 | 5 | 1.3483 |  | 10 |  | 0.46002
2011-17 | CS04 | 120 | 403 | 25 | 25.1308 | 4 | 10.6697 | 6 | 19.15 | 6 | 1.1276 | 6
2011-17 | CS04 | 120 | 402 | 50 | 50.7204 | 3 | 15.0851 |  | 20.9 |  | 1.3906
2011-17 | CS04 | 120 | 401 | 75 | 76.592 | 2 | 25.0934 |  | 38 |  | 2.0177
2011-17 | CS04 | 120 | 400 | Bot-10 | 91.3045 | 1 | 28.3313 |  | 44.2 |  | 2.2099
2011-17 | CS07 | 131 | 414 | 5 | 5.4555 | 6 | 0.1709 |  | 7.2 |  | 0.34875
2011-17 | CS07 | 131 | 413 | 10 | 10.9031 | 5 | 0.1709 | 6 | 7.5 | 6 | 0.3791 | 6
2011-17 | CS07 | 131 | 412 | 15 | 15.5899 | 4 | 2.0352 |  | 10.9 |  | 0.57128
2011-17 | CS07 | 131 | 411 | 25 | 25.3991 | 3 | 12.3378 |  | 22 |  | 1.2288
2011-17 | CS07 | 131 | 410 | 50 | 50.6442 | 2 | 24.799 |  | 39 |  | 2.0481
2011-17 | CS07 | 131 | 409 | Bot-10 | 55.0524 | 1 | 25.1915 |  | 39.4 |  | 2.0278
2011-17 | CS09 | 135 | 426 | 5 | 5.2292 | 9 | 0.1709 |  | 3.9 |  | 0.39932
2011-17 | CS09 | 135 | 425 | 10 | 10.162 | 8 | 0.1709 |  | 4.9 |  | 0.48024
2011-17 | CS09 | 135 | 424 | 25 | 24.9764 | 7 | 3.0164 |  | 9.7 |  | 0.67243
2011-17 | CS09 | 135 | 423 | 50 | 51.4783 | 6 | 16.8513 |  | 24.7 |  | 1.4715
2011-17 | CS09 | 135 | 422 | 75 | 75.306 | 5 | 21.8554 |  | 33.8 |  | 1.8458
2011-17 | CS09 | 135 | 421 | 100 | 100.4296 | 4 | 29.9994 |  | 46.5 |  | 2.2504
2011-17 | CS09 | 135 | 420 | 125 | 125.1544 | 3 | 34.2185 | 6 | 56.5 | 6 | 2.5538 | 6
2011-17 | CS09 | 135 | 419 | 150 | 149.7704 | 2 | 35.7885 |  | 58.8 |  | 2.6347
2011-17 | CS09 | 135 | 418 | Bot-10 | 184.5438 | 1 | 36.0828 |  | 60.1 |  | 2.655

## Calc Precision
Averaging Duplicates from same Niskin and Calculating Precision | [15 empty] | File: QF 2011-17nuts.xls
Calculating Combined (most Frozen, deep Silicate cool) Average Duplicates & Precision | [15 empty] | Date: October 18, 2011
Reruns |  | Cool Si | [13 empty] | Compiled by Wendy Richardson | [7 empty] | Critical values
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  |  | Chauvenet statistic
|  |  |  | (nominal) | (actual) |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 |  | n | Chauvenet
2011-17 | LB02 | 2 | 7 | 5 | 5.413 | 4 | 18.9118 | 44.3 | 1.6435 | [7 empty] | 0.09812 | 0.1 | 0.030345 | 0.14094 | 0 | 0.17558 |  | 3 | 1.37
2011-17 | LB02 | 2 | 7 | 5 | 5.413 | 4 | 19.0099 | 44.4 | 1.6738 | 18.9609 | 44.35 | 1.6586 | 0.0096275 | 0.01 | 0.00092082 | [8 empty] | 4 | 1.53
2011-17 | LB04 | 4 | 10 | 50 | 50.859 | 3 | 29.8031 | 41.2 | 2.3009 | [7 empty] | 0.39248 | 0.1 | 0.030345 | 2.7484 | 6.7853e-14 | 0.17558 |  | 5 | 1.64
2011-17 | LB04 | 4 | 10 | 50 | 50.859 | 3 | 30.1956 | 41.3 | 2.2706 | 29.9994 | 41.25 | 2.2858 | 0.15404 | 0.01 | 0.00092082 | Omit N | [7 empty] | 6 | 1.73
2011-17 | LB06 | 8 | 20 | 10 | 10.357 | 5 | 13.319 | 37.4 | 1.2793 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.14094 | 0 | 0.62427 |  | 7 | 1.8
2011-17 | LB06 | 8 | 20 | 10 | 10.357 | 5 | 13.2209 | 37.3 | 1.2692 | 13.2699 | 37.35 | 1.2743 | 0.0096275 | 0.01 | 0.00010231 | [8 empty] | 8 | 1.87
2011-17 | LB08 | 21 | 31 | 5 | 4.803 | 8 | 18.4212 | 39.3 | 1.603 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.14094 | 0 | 0.62427 |  | 9 | 1.91
2011-17 | LB08 | 21 | 31 | 5 | 4.803 | 8 | 18.5193 | 39.4 | 1.6131 | 18.4703 | 39.35 | 1.6081 | 0.0096275 | 0.01 | 0.00010231 | [8 empty] | 10 | 1.97
2011-17 | LB09 | 23 | 35 | Bot-10 | 139.79 | 1 | 36.0828 | 58.6 | 2.7865 | [7 empty] | 0.19624 | 0.1 | 0.02023 | 0.82218 | 0 | 0.22435 |  | 20 | 2.24
2011-17 | LB09 | 23 | 35 | Bot-10 | 139.79 | 1 | 35.8866 | 58.5 | 2.8067 | 35.9847 | 58.55 | 2.7966 | 0.03851 | 0.01 | 0.00040925 | [8 empty] | 30 | 2.39
2011-17 | LB11 | 25 | 47 | 175 | 174.413 | 2 | 35.396 | 51.7 | 2.5943 | [7 empty] | 0 | 0 | 0 | 1.1041 | 0.92077 | 1.0242 |  | 50 | 2.57
2011-17 | LB11 | 25 | 47 | 175 | 174.413 | 2 | 35.396 | 51.7 | 2.5943 | 35.396 | 51.7 | 2.5943 | 0 | 0 | 0 | [8 empty] | 80 | 2.74
2011-17 | LB12 | 27 | 64 | 175 | 175.506 | 6 | 32.0599 | 42.3 | 2.2605 | [7 empty] | 0 | 0 | 0.030345 | 1.1041 | 0.92077 | 0.17558 |  | 100 | 2.81
2011-17 | LB12 | 27 | 64 | 175 | 175.506 | 6 | 32.0599 | 42.3 | 2.2908 | 32.0599 | 42.3 | 2.2757 | 0 | 0 | 0.00092082 | [8 empty] | 150 | 2.93
2011-17 | LB14 | 29 | 78 | 750 | 750.18 | 3 | 45.4042 | 109.5 | 3.3428 | [6 empty] | Si no dup | 0.19624 |  | 0.10115 | 0.82218 |  | 2.975 |  | 200 | 3.02
2011-17 | LB14 | 29 | 78 | 750 | 750.18 | 3 | 45.6005 |  | 3.2416 | 45.5023 |  | 3.2922 | 0.03851 |  | 0.010231 | Omit P
2011-17 | LC11 | 34 | 107 | 125 | 124.955 | 12 | 25.4859 | 28.7 | 1.866 | [7 empty] | 0 | 0 | 0.030345 | 1.1041 | 0.92077 | 0.17558
2011-17 | LC11 | 34 | 107 | 125 | 124.955 | 12 | 25.4859 | 28.7 | 1.8963 | 25.4859 | 28.7 | 1.8812 | 0 | 0 | 0.00092082
2011-17 | LC11 | 34 | 99 | 750 | 750.425 | 4 | 45.3061 | 110 | 3.2012 | [7 empty] | 0.19624 | 0 | 0.08092 | 0.82218 | 0.92077 | 2.1752
2011-17 | LC11 | 34 | 99 | 750 | 750.425 | 4 | 45.5023 | 110 | 3.2821 | 45.4042 | 110 | 3.2416 | 0.03851 | 0 | 0.006548
2011-17 | LC09/A3 | 36 | 129 | 25 | 25.382 | 13 | 0.26902 | 10.2 | 0.43978 | [7 empty] | 0 | 0 | 0.070805 | 1.1041 | 0.92077 | 1.7753
2011-17 | LC09/A3 | 36 | 129 | 25 | 25.382 | 13 | 0.26902 | 10.2 | 0.51059 | 0.26902 | 10.2 | 0.47519 | 0 | 0 | 0.0050133
2011-17 | LC09/A3 | 36 | 118 | 500 | 501.224 | 2 | 43.1475 | 86.2 | 3.1 | [7 empty] | 0.09812 | 0.2 | 0.04046 | 0.14094 | 0.92077 | 0.5755
2011-17 | LC09/A3 | 36 | 118 | 500 | 501.224 | 2 | 43.0493 | 86.4 | 3.1405 | 43.0984 | 86.3 | 3.1203 | 0.0096275 | 0.04 | 0.001637
2011-17 | LC08/A1 | 40 | 141 | 75 | 75.59 | 6 | 14.6927 | 16 | 1.3097 | [7 empty] | 0.09812 | 0.1 | 0 | 0.14094 | 0 | 1.0242
2011-17 | LC08/A1 | 40 | 141 | 75 | 75.59 | 6 | 14.7908 | 16.1 | 1.3097 | 14.7417 | 16.05 | 1.3097 | 0.0096275 | 0.01 | 0
2011-17 | LC06 | 44 | 152 | 25 | 24.88 | 4 | 24.2103 | 35.2 | 2.0278 | [7 empty] | 0.29436 | 0.1 | 0.050575 | 1.7853 | 0 | 0.97542
2011-17 | LC06 | 44 | 152 | 25 | 24.88 | 4 | 23.9159 | 35.1 | 1.9773 | 24.0631 | 35.15 | 2.0026 | 0.086648 | 0.01 | 0.0025578
2011-17 | LC04 | 47 | 164 | 15 | 4.914 | 7 | 2.5258 | 29.1 | 0.72301 | [7 empty] | 0 | 0.1 | 0 | 1.1041 | 3.514e-14 | 1.0242
2011-17 | LC04 | 47 | 164 | 15 | 4.914 | 7 | 2.5258 | 29.2 | 0.72301 | 2.5258 | 29.15 | 0.72301 | 0 | 0.01 | 0
2011-17 | LC02 | 49 | 172 | 50 | 49.943 | 3 | 29.705 | 44.9 | 2.2706 | [7 empty] | 0.29436 | 0.1 | 0.04046 | 1.7853 | 0 | 0.5755
2011-17 | LC02 | 49 | 172 | 50 | 49.943 | 3 | 29.9994 | 45 | 2.2301 | 29.8522 | 44.95 | 2.2504 | 0.086648 | 0.01 | 0.001637
2011-17 | LC01 | 50 | 182 | 10 | 10.147 | 4 | 17.6363 | 38 | 1.7952 | [7 empty] | 0.19624 | 0.1 | 0.010115 | 0.82218 | 0 | 0.62427
2011-17 | LC01 | 50 | 182 | 10 | 10.147 | 4 | 17.8325 | 38.1 | 1.8053 | 17.7344 | 38.05 | 1.8003 | 0.03851 | 0.01 | 0.00010231
2011-17 | LD04 | 55 | 189 | 10 | 10.071 | 3 | 23.8178 | 43.5 | 1.9874 | [7 empty] | 0 | 0.1 | 0.010115 | 1.1041 | 0 | 0.62427
2011-17 | LD04 | 55 | 189 | 10 | 10.071 | 3 | 23.8178 | 43.4 | 1.9975 | 23.8178 | 43.45 | 1.9924 | 0 | 0.01 | 0.00010231
2011-17 | LD07 | 59 | 205 | 50 | 50.616 | 12 | 13.4171 | 14.6 | 1.2591 | [7 empty] | 0 | 0.1 | 0 | 1.1041 | 1.8784e-14 | 1.0242
2011-17 | LD07 | 59 | 205 | 50 | 50.616 | 12 | 13.4171 | 14.5 | 1.2591 | 13.4171 | 14.55 | 1.2591 | 0 | 0.01 | 0
2011-17 | LD07 | 59 | 196 | 400 | 400.876 | 3 | 40.6945 | 74.5 | 3.009 | [7 empty] | 0.09812 | 0.3 | 0.04046 | 0.14094 | 1.8415 | 0.5755
2011-17 | LD07 | 59 | 196 | 400 | 400.876 | 3 | 40.7926 | 74.8 | 2.9685 | 40.7435 | 74.65 | 2.9888 | 0.0096275 | 0.09 | 0.001637
2011-17 | LD09 | 61 | 224 | 50 | 50.239 | 13 | 4.0957 | 3.1 | 0.71289 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.14094 | 0.92077 | 0.22435
2011-17 | LD09 | 61 | 224 | 50 | 50.239 | 13 | 4.1938 | 3.1 | 0.69266 | 4.1448 | 3.1 | 0.70278 | 0.0096275 | 0 | 0.00040925
2011-17 | LD09 | 61 | 213 | 750 | 749.95 | 2 | 45.4042 | 111.6 | 3.3428 | [6 empty] | Si cool | 0.29436 | 0.3 | 0.010115 | 1.7853 | 1.8415 | 0.62427
2011-17 | LD09 | 61 | 213 | 750 | 749.95 | 2 | 45.1099 | 111.9 | 3.3327 | 45.257 | 111.75 | 3.3377 | 0.086648 | 0.09 | 0.00010231
2011-17 | LD11 | 65 | 244 | 100 | 100.907 | 14 | 20.7761 | 22.8 | 1.6334 | [7 empty] | 0.09812 | 0 | 0 | 0.14094 | 0.92077 | 1.0242
2011-17 | LD11 | 65 | 244 | 100 | 100.907 | 14 | 20.678 | 22.8 | 1.6334 | 20.727 | 22.8 | 1.6334 | 0.0096275 | 0 | 0
2011-17 | LD11 | 65 | 234 | 1000 | 1000.412 | 4 | 45.8948 | 132.2 | 3.3023 | [7 empty] | 0 | 0.2 | 0.030345 | 1.1041 | 0.92077 | 0.17558
2011-17 | LD11 | 65 | 234 | 1000 | 1000.412 | 4 | 45.8948 | 132.4 | 3.3327 | 45.8948 | 132.3 | 3.3175 | 0 | 0.04 | 0.00092082
2011-17 | LG09 | 66 | 267 | 75 | 74.949 | 15 | 11.4547 | 12.2 | 1.158 | [7 empty] | 0 | 0.1 | 0.02023 | 1.1041 | 1.8784e-14 | 0.22435
2011-17 | LG09 | 66 | 267 | 75 | 74.949 | 15 | 11.4547 | 12.1 | 1.1377 | 11.4547 | 12.15 | 1.1478 | 0 | 0.01 | 0.00040925
2011-17 | LG09 | 66 | 256 | 1000 | 1000.218 | 4 | 46.0911 | 131.3 | 3.2821 | [7 empty] | 0.09812 | 0 | 0.08092 | 0.14094 | 0.92077 | 2.1752
2011-17 | LG09 | 66 | 256 | 1000 | 1000.218 | 4 | 46.1892 | 131.3 | 3.363 | 46.1401 | 131.3 | 3.3226 | 0.0096275 | 0 | 0.006548
2011-17 | LG06 | 71 | 286 | 100 | 99.857 | 11 | 18.225 | 20.6 | 1.4715 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.14094 | 0.92077 | 0.22435
2011-17 | LG06 | 71 | 286 | 100 | 99.857 | 11 | 18.1269 | 20.6 | 1.4917 | 18.1759 | 20.6 | 1.4816 | 0.0096275 | 0 | 0.00040925
2011-17 | LG06 | 71 | 278 | 500 | 501.734 | 3 | 42.4606 | 82.1 | 3.1607 | [7 empty] | 0.09812 | 0.2 | 0.050575 | 0.14094 | 0.92077 | 0.97542
2011-17 | LG06 | 71 | 278 | 500 | 501.734 | 3 | 42.3625 | 82.3 | 3.1101 | 42.4116 | 82.2 | 3.1354 | 0.0096275 | 0.04 | 0.0025578
2011-17 | LG04 | 73 | 297 | 100 | 100.316 | 3 | 32.4524 | 43.6 | 2.3212 | [7 empty] | 0.09812 | 0 | 0 | 0.14094 | 0.92077 | 1.0242
2011-17 | LG04 | 73 | 297 | 100 | 100.316 | 3 | 32.5505 | 43.6 | 2.3212 | 32.5014 | 43.6 | 2.3212 | 0.0096275 | 0 | 0
2011-17 | LG02 | 76 | 311 | 10 | 10.219 | 6 | 23.6216 | 40.7 | 1.9773 | [7 empty] | 0.09812 | 0.1 | 0 | 0.14094 | 6.7853e-14 | 1.0242
2011-17 | LG02 | 76 | 311 | 10 | 10.219 | 6 | 23.7197 | 40.8 | 1.9773 | 23.6706 | 40.75 | 1.9773 | 0.0096275 | 0.01 | 0
2011-17 | LG01 | 78 | 317 | 25 | 25.791 | 2 | 29.9013 | 53.4 | 2.5032 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.14094 | 0.92077 | 0.22435
2011-17 | LG01 | 78 | 317 | 25 | 25.791 | 2 | 29.9994 | 53.4 | 2.483 | 29.9503 | 53.4 | 2.4931 | 0.0096275 | 0 | 0.00040925
2011-17 | LBP7 | 93 | 339 | 25 | 25.225 | 17 | 16.6551 | 26.3 | 1.4917 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.14094 | 0.92077 | 0.22435
2011-17 | LBP7 | 93 | 339 | 25 | 25.225 | 17 | 16.7532 | 26.3 | 1.512 | 16.7041 | 26.3 | 1.5019 | 0.0096275 | 0 | 0.00040925
2011-17 | LBP7 | 93 | 324 | 1500 | 1499.816 | 2 | 45.7967 | 162.7 | 3.2619 | [7 empty] | 0.19624 | 0.1 | 0 | 0.82218 | 1.9385e-13 | 1.0242
2011-17 | LBP7 | 93 | 324 | 1500 | 1499.816 | 2 | 45.9929 | 162.8 | 3.2619 | 45.8948 | 162.75 | 3.2619 | 0.03851 | 0.01 | 0
2011-17 | LBP5 | 96 | 354 | 150 | 149.691 | 10 | 32.8449 | 45.3 | 2.3718 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.14094 | 0 | 0.62427
2011-17 | LBP5 | 96 | 354 | 150 | 149.691 | 10 | 32.943 | 45.4 | 2.3819 | 32.8939 | 45.35 | 2.3768 | 0.0096275 | 0.01 | 0.00010231
2011-17 | LBP5 | 96 | 345 | Bot-10 | 1276.306 | 1 | 45.6986 | 154.9 | 3.3023 | [7 empty] | 0 | 0.3 | 0.02023 | 1.1041 | 1.8415 | 0.22435
2011-17 | LBP5 | 96 | 345 | Bot-10 | 1276.306 | 1 | 45.6986 | 154.6 | 3.2821 | 45.6986 | 154.75 | 3.2922 | 0 | 0.09 | 0.00040925
2011-17 | LBP3 | 99 | 372 | 10 | 9.9466 | 8 | 24.0141 | 39.1 | 2.038 | [7 empty] | 0.29436 | 0.1 | 0.030345 | 1.7853 | 0 | 0.17558
2011-17 | LBP3 | 99 | 372 | 10 | 9.9466 | 8 | 24.3084 | 39.2 | 2.0683 | 24.1612 | 39.15 | 2.0531 | 0.086648 | 0.01 | 0.00092082
2011-17 | CS01 | 113 | 393 | 25 | 24.9959 | 17 | 7.9224 | 13.2 | 0.94554 | [7 empty] | 0 | 0 | 0.02023 | 1.1041 | 0.92077 | 0.22435
2011-17 | CS01 | 113 | 393 | 25 | 24.9959 | 17 | 7.9224 | 13.2 | 0.92531 | 7.9224 | 13.2 | 0.93542 | 0 | 0 | 0.00040925
2011-17 | CS01 | 113 | 378 | 1500 | 1498.2423 | 2 | 45.9929 | 160.3 | 3.2518 | [7 empty] | 0.09812 | 0.5 | 0 | 0.14094 | 3.6831 | 1.0242 | 161.8
2011-17 | CS01 | 113 | 378 | 1500 | 1498.2423 | 2 | 46.0911 | 159.8 | 3.2518 | 46.042 | 160.05 | 3.2518 | 0.0096275 | 0.25 | 0 | Omit SI | [6 empty] | 162.3
2011-17 | CS04 | 120 | 403 | 25 | 25.1308 | 4 | 10.5716 | 19.1 | 1.1074 | [7 empty] | 0.19624 | 0.1 | 0.04046 | 0.82218 | 3.514e-14 | 0.5755
2011-17 | CS04 | 120 | 403 | 25 | 25.1308 | 4 | 10.7679 | 19.2 | 1.1478 | 10.6697 | 19.15 | 1.1276 | 0.03851 | 0.01 | 0.001637
2011-17 | CS07 | 131 | 413 | 10 | 10.9031 | 5 | 0.1709 | 7.5 | 0.3791 | [7 empty] | 0 | 0 | 0 | 1.1041 | 0.92077 | 1.0242
2011-17 | CS07 | 131 | 413 | 10 | 10.9031 | 5 | 0.1709 | 7.5 | 0.3791 | 0.1709 | 7.5 | 0.3791 | 0 | 0 | 0
2011-17 | CS09 | 135 | 420 | 125 | 125.1544 | 3 | 34.1204 | 56.6 | 2.5235 | [7 empty] | 0.19624 | 0.2 | 0.06069 | 0.82218 | 0.92077 | 1.3753
2011-17 | CS09 | 135 | 420 | 125 | 125.1544 | 3 | 34.3167 | 56.4 | 2.5842 | 34.2185 | 56.5 | 2.5538 | 0.03851 | 0.04 | 0.0036833
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 0.93387 | 0.86 | 0.053101
[9 empty] | COUNT |  |  |  | 41 | 40 | 41
[9 empty] | SUM/2*COUNT |  |  |  | 0.011389 | 0.01075 | 0.00064757
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.10672 | 0.10368 | 0.025447 | mean diff | 0.11248 | 0.1 | 0.025904
[16 empty] | stdev | 0.10188 | 0.1086 | 0.025292
[9 empty] | min |  |  |  | 0.1709 | 3.1 | 0.3791
[9 empty] | max |  |  |  | 46.1892 | 162.8 | 3.363
Omit Outliers
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 0.77983 | 0.61 | 0.042869
[9 empty] | COUNT |  |  |  | 40 | 39 | 40
[9 empty] | SUM/2*COUNT |  |  |  | 0.0097479 | 0.0078205 | 0.00053587
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.098731 | 0.088434 | 0.023149

## Precision Statement
Cruise 2011-17 September WCVI Nutrients |  | File: QF 2011-17nuts.xls
Date: October 18, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Samples were analysed cool or frozen at IOS by Wendy Richardson
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
The precision with outliers removed based on the Chauvenet criteria was:
Sp for nitrate for the range 0.2 to 46.2 uM, k=40 was 0.10
Sp for silicate for the range 3.1 to 162.8 uM, k=39 was 0.09
Sp for phosphate for the range 0.38 to 3.36 uM, k=40 was 0.023
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
The values were within 0.64 % of the 200 uM Silicate standard that was analyzed while running these samples.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 11, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.