## Notes
Cruise 2011-17 Sept WCVI Doug Yelland
Notes
Analyst: | Ammonium analyzed at sea by Janet Barwell-Clarke on Sept 3,4,6, and 8, 2011.
All samples were analyzed successfully with 8 sample duplicates discarded due to contamination by copepods.
The Chauvenet criteria was used to evaluate precision of duplicates and three outliers were omitted from the Precision Statement.
Sample #164 - originally entered as sample #169, but rosette sheet indicates sample was from #164 and value looks odd if it is #164. Changed and flagged "3". G.Gatien
To be included in this section
Any comments that will help the data archivist sort out data.
Any comments regarding missing samples, bucket samples, problems with analysis.
e.g.The Chauvenet criteria was used to evaluate precision of duplicates and
outliers were omitted from the Precision Statement
Keep clutter from the spreadsheets (the clutter goes into the "notes" page,
and you can say "see notes" in the spreadsheet).
Important Excel Notes:
Always keep the same format in every cell within a column.
Do not enter two parameters in the same cell - ie. Station and sample number - enter them in two columns.
If an equation is in a cell, exactly the same equation should be in every cell in that column.
If the numbers were typed, then every number in the column should be typed.
Try to use same font and size for all spreadsheets in a workbook.
Avoid using colours, but if you must, provide ample notes for their meaning.
Highlight the entire spreadsheet and format NUMBERS as "general".
Also do the same with ALIGNMENT (make it "general").
Do not hide columns or freeze frames.
If you use a function (e.g. VLOOKUP) then convert the formulaes to values after transferring the data.
Always leave cursor in cell A-1 and zoom at 100 % for every spreadsheet in a workbook.
Have the book open to the most important spreadsheet, the notes or QF data.

## QF Final NH4
Cruise 2011-17 Sept WCVI Doug Yelland
Ammonium analysis
Method: | The ammonium method used at IOS is a simplification of the fluorometric technique of Holmes et al, 1999. This method applies to a wide range of ammonium concentrations, uses the addition of a single working reagent and reduces contamination. Typically, samples are collected during the day and stored in the cold room. The working reagent is added to standards and samples at the same time, and the fluorescence is read approximately 8 hours later using a calibrated TD 700 Fluorometer.
Reference: | Holmes, R.M., Aminot, A., Kerouel, R., Hooker, B.A., and Peterson, B.J. (1999) A simple and precise method for measuring ammonium in marine and freshwater ecosystems. Can. J. Fish. Aquat. Sci., 56 1801-1808.
Cruise _Number | Event_Number | Station_Name | Sample_Number | Ammonium | Flag:Ammonium | Comment:NH4
2011-17 | 1 | LB01 | 1 | 0.24485 | 6
2011-17 | 1 | LB01 | 2 | 0.18891 | 6
2011-17 | 1 | LB01 | 3 | 0.084677 | 6
2011-17 | 2 | LB02 | 5 | 0.038139 | 6
2011-17 | 2 | LB02 | 6 | 0.12325 | 6
2011-17 | 2 | LB02 | 7 | 0.11097 | 6
2011-17 | 4 | LB04 | 13 | 0.14683 | 6
2011-17 | 4 | LB04 | 14 | 0.037023 | 6
2011-17 | 4 | LB04 | 15 | 0.13807 | 6
2011-17 | 8 | LB06 | 21 | 0.27035 | 6
2011-17 | 8 | LB06 | 22 | 0.26956 | 6
2011-17 | 8 | LB06 | 23 | 0 | 6
2011-17 | 21 | LB08 | 32 | 0.041008 | 6
2011-17 | 21 | LB08 | 33 | 0.098703
2011-17 | 21 | LB08 | 34 | 0.0995 | 6
2011-17 | 23 | LB09 | 43 | 0.34558 | 6
2011-17 | 23 | LB09 | 44 | 1.1441 | 6
2011-17 | 23 | LB09 | 45 | 0.65907 | 6
2011-17 | 25 | LB11 | 56 | 0.92014
2011-17 | 25 | LB11 | 57 | 0.66131 | 6
2011-17 | 25 | LB11 | 58 | 0.57668 | 6
2011-17 | 27 | LB12 | 73 | 0.44551 | 6
2011-17 | 27 | LB12 | 74 | 0.1513
2011-17 | 27 | LB12 | 75 | 0.089937 | 6
2011-17 | 29 | LB14 | 93 | 0.0010207 | 6
2011-17 | 29 | LB14 | 94 | 0.0067176 | 6
2011-17 | 29 | LB14 | 95 | 0.019607 | 6
2011-17 | 34 | LC11 | 114 | 0.1318 | 6
2011-17 | 34 | LC11 | 115 | 0.036381 | 6
2011-17 | 34 | LC11 | 116 | 0.0066306 | 6
2011-17 | 36 | LC09 | 133 | 0.11456 | 6
2011-17 | 36 | LC09 | 134 | 0.098573
2011-17 | 36 | LC09 | 135 | 0.0097955 | 6
2011-17 | 40 | LC08 | 146 | 0.0045734 | 6
2011-17 | 40 | LC08 | 147 | 0.079108 | 6
2011-17 | 40 | LC08 | 148 | 0 | 6
2011-17 | 44 | LC06 | 155 | 0.29338 | 6
2011-17 | 44 | LC06 | 156 | 0.40067 | 6
2011-17 | 44 | LC06 | 157 | 0.093509 | 6
2011-17 | 47 | LC04 | 167 | 1.9278 | 6
2011-17 | 47 | LC04 | 168 | 1.6667 | 6
2011-17 | 47 | LC04 | 164 | 0.090027 | 36 | NH4: sample labelled as #169, but rosette sheet indicates came from #164.
2011-17 | 49 | LC02 | 176 | 0.080216 | 6
2011-17 | 49 | LC02 | 177 | 1.5977 | 6
2011-17 | 49 | LC02 | 178 | 0.04192 | 6
2011-17 | 50 | LC01 | 184 | 1.2425 | 6
2011-17 | 50 | LC01 | 185 | 1.874 | 6
2011-17 | 50 | LC01 | 186 | 0.037647 | 6
2011-17 | 55 | LD04 | 191 | 0.125 | 6
2011-17 | 55 | LD04 | 192 | 0.60307 | 6
2011-17 | 55 | LD04 | 193 | 0.08164 | 6
2011-17 | 59 | LD07 | 209 | 1.1023 | 6
2011-17 | 59 | LD07 | 210 | 0.18529 | 6
2011-17 | 59 | LD07 | 211 | 0.011378 | 6
2011-17 | 61 | LD09 | 228 | 0.38605 | 6
2011-17 | 61 | LD09 | 229 | 0.036053 | 6
2011-17 | 61 | LD09 | 230 | 0.031989 | 6
2011-17 | 65 | LD11 | 250 | 0.06044 | 6
2011-17 | 65 | LD11 | 251 | 0.19171 | 6
2011-17 | 65 | LD11 | 252 | 0.048848 | 6
2011-17 | 66 | LG09 | 273 | 0.044633 | 6
2011-17 | 66 | LG09 | 274 | 0.018102 | 6
2011-17 | 66 | LG09 | 275 | 0 | 6
2011-17 | 71 | LG06 | 292 | 0.095062 | 6
2011-17 | 71 | LG06 | 293 | 0.49895 | 6
2011-17 | 71 | LG06 | 294 | 0.036655 | 6
2011-17 | 73 | LG04 | 303 | 0.66288 | 6
2011-17 | 73 | LG04 | 304 | 1.3072 | 6
2011-17 | 73 | LG04 | 305 | 0.027623 | 6
2011-17 | 76 | LG02 | 313 | 0.47185 | 6
2011-17 | 76 | LG02 | 314 | 0.75847 | 6
2011-17 | 76 | LG02 | 315 | 0.1467
2011-17 | 78 | LG01 | 320 | 0.32673
2011-17 | 78 | LG01 | 321 | 1.295 | 6
2011-17 | 78 | LG01 | 322 | 0.70352 | 6
2011-17 | 93 | LBP7 | 342 | 0.29761 | 6
2011-17 | 93 | LBP7 | 343 | 0.43519 | 6
2011-17 | 93 | LBP7 | 344 | 0.18866 | 6
2011-17 | 96 | LBP5 | 362 | 0.49941 | 6
2011-17 | 96 | LBP5 | 363 | 0.72489 | 6
2011-17 | 96 | LBP5 | 364 | 0.78679
2011-17 | 99 | LBP3 | 374 | 0.19439 | 6
2011-17 | 99 | LBP3 | 375 | 0.65649
2011-17 | 99 | LBP3 | 376 | 0.53454 | 6
2011-17 | 113 | CS01 | 397 | 0.04474 | 6
2011-17 | 113 | CS01 | 398 | 0.082345 | 6
2011-17 | 113 | CS01 | 399 | 0.071048 | 6
2011-17 | 120 | CS04 | 406 | 0.47914 | 6
2011-17 | 120 | CS04 | 407 | 0.09875 | 6
2011-17 | 120 | CS04 | 408 | 0.10432 | 6
2011-17 | 131 | CS07 | 415 | 0.41383 | 6
2011-17 | 131 | CS07 | 416 | 0.15431 | 6
2011-17 | 131 | CS07 | 417 | 0.037466 | 6
2011-17 | 135 | CS09 | 427 | 1.1285 | 6
2011-17 | 135 | CS09 | 428 | 0.67119 | 6
2011-17 | 135 | CS09 | 429 | 0.025241 | 6

## Precision Statement
Cruise 2011-17 Sept WCVI Doug Yelland
Cruise 2011-17 Precision
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauvenet criterion for the given n, the datapoint can be discarded.
Pooled standard deviation of pairs of samples (Sp) is calculated by:
Sp = SQRT{sum(d*d)/2k}
where k = no. of pairs and d = difference between pairs
Sp for pairs of samples from the same niskin with three outliers removed by Chauvenet's criteria is:
For Ammonium, Sp = 0.038 for the range 0.000 to 1.988 uM, k = 85

## Duplicates
Cruise 2011-17 Sept WCVI Doug Yelland
Duplicates
Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments | Chauvenet value | reject?
LB01 | 1 |  | 113.2 | 0.26637 | 0.24485 | 0.043032 | 0.0018518 |  |  |  | Critical values for Chauvenet statistic
LB01 | 1 |  | 99.7 | 0.22334 | [6 empty] | n | Chauvenet
LB01 | 2 |  | 74.9 | 0.14428 | 0.18891 | 0.089252 | 0.0079658 |  |  |  | 3 | 1.37
LB01 | 2 |  | 102.9 | 0.23354 | [6 empty] | 4 | 1.53
LB01 | 3 |  | 54.6 | 0.079577 | 0.084677 | 0.0102 | 0.00010404 |  |  |  | 5 | 1.64
LB01 | 3 |  | 57.8 | 0.089778 | [6 empty] | 6 | 1.73
LB02 | 5 |  | 48.6 | 0.060452 | 0.038139 | 0.044626 | 0.0019915 |  |  |  | 7 | 1.8
LB02 | 5 |  | 34.6 | 0.015826 | [6 empty] | 8 | 1.87
LB02 | 6 |  | 64.9 | 0.11241 | 0.12325 | 0.021675 | 0.00046982 |  |  |  | 9 | 1.91
LB02 | 6 |  | 71.7 | 0.13408 | [6 empty] | 10 | 1.97
LB02 | 7 |  | 54.7 | 0.079896 | 0.11097 | 0.062157 | 0.0038635 |  |  |  | 20 | 2.24
LB02 | 7 |  | 74.2 | 0.14205 | [6 empty] | 30 | 2.39
LB04 | 13 |  | 68.7 | 0.12452 | 0.14683 | 0.044626 | 0.0019915 |  |  |  | 50 | 2.57
LB04 | 13 |  | 82.7 | 0.16915 | [6 empty] | 80 | 2.74
LB04 | 14 |  | 46.1 | 0.052483 | 0.037023 | 0.030919 | 0.000956 |  |  |  | 100 | 2.81
LB04 | 14 |  | 36.4 | 0.021564 | [6 empty] | 150 | 2.93
LB04 | 15 |  | 72.8 | 0.13759 | 0.13807 | 0.00095627 | 9.1445e-07 |  |  |  | 200 | 3.02
LB04 | 15 |  | 73.1 | 0.13855
LB06 | 21 |  | 107.2 | 0.24724 | 0.27035 | 0.04622 | 0.0021362
LB06 | 21 |  | 121.7 | 0.29346
LB06 | 22 |  | 121.2 | 0.29187 | 0.26956 | 0.044626 | 0.0019915
LB06 | 22 |  | 107.2 | 0.24724
LB06 | 23 |  | 16.1 | 0 | 0 | 0 | 0
LB06 | 23 |  | 17.6 | 0
LB08 | 32 |  | 39.2 | 0.030489 | 0.041008 | 0.021038 | 0.00044259
LB08 | 32 |  | 45.8 | 0.051527
LB08 | 33 |  | 60.6 | 0.098703 | 0.098703
LB08 | 33 | [6 empty] | copepod
LB08 | 34 |  | 61.6 | 0.10189 | 0.0995 | 0.0047813 | 2.2861e-05
LB08 | 34 |  | 60.1 | 0.097109
LB09 | 43 |  | 138.8 | 0.34797 | 0.34558 | 0.0047813 | 2.2861e-05
LB09 | 43 |  | 137.3 | 0.34319
LB09 | 44 |  | 387.6 | 1.141 | 1.1441 | 0.0060564 | 3.6679e-05
LB09 | 44 |  | 389.5 | 1.1471
LB09 | 45 |  | 233.6 | 0.65015 | 0.65907 | 0.01785 | 0.00031863
LB09 | 45 |  | 239.2 | 0.668
LB11 | 56 |  | 318.3 | 0.92014 | 0.92014
LB11 | 56 | [6 empty] | copepod
LB11 | 57 |  | 239.6 | 0.66928 | 0.66131 | 0.015938 | 0.00025401
LB11 | 57 |  | 234.6 | 0.65334
LB11 | 58 |  | 214.2 | 0.58831 | 0.57668 | 0.023269 | 0.00054145
LB11 | 58 |  | 206.9 | 0.56504
LB12 | 73 |  | 163.2 | 0.42575 | 0.44551 | 0.039526 | 0.0015623
LB12 | 73 |  | 175.6 | 0.46527
LB12 | 74 |  | 77.1 | 0.1513 | 0.1513
LB12 | 74 | [6 empty] | copepod
LB12 | 75 |  | 45.5 | 0.050571 | 0.089937 | 0.078733 | 0.0061988
LB12 | 75 |  | 70.2 | 0.1293
LB14 | 93 |  | 21.6 | 0 | 0.0010207 | 0.0020414 | 4.1673e-06
LB14 | 93 |  | 22.8 | 0.0020414
LB14 | 94 |  | 26.4 | 0.013435 | 0.0067176 | 0.013435 | 0.00018051
LB14 | 94 |  | 20.2 | 0
LB14 | 95 |  | 31.7 | 0.03021 | 0.019607 | 0.021205 | 0.00044966
LB14 | 95 |  | 25 | 0.0090043
LC11 | 114 |  | 68.9 | 0.14795 | 0.1318 | 0.032283 | 0.0010422
LC11 | 114 |  | 58.7 | 0.11566
LC11 | 115 |  | 40.1 | 0.056795 | 0.036381 | 0.040828 | 0.0016669
LC11 | 115 |  | 27.2 | 0.015967
LC11 | 116 |  | 22.2 | 0.00014242 | 0.0066306 | 0.012976 | 0.00016839
LC11 | 116 |  | 26.3 | 0.013119
LC09 | 133 |  | 59.1 | 0.11693 | 0.11456 | 0.0047474 | 2.2538e-05
LC09 | 133 |  | 57.6 | 0.11218
LC09 | 134 |  | 53.3 | 0.098573 | 0.098573
LC09 | 134 | [6 empty] | sample overfilled
LC09 | 135 |  | 27.5 | 0.016917 | 0.0097955 | 0.014242 | 0.00020284
LC09 | 135 |  | 23 | 0.0026744
LC08 | 146 |  | 24.6 | 0.0077383 | 0.0045734 | 0.0063299 | 4.0068e-05
LC08 | 146 |  | 22.6 | 0.0014084
LC08 | 147 |  | 46.1 | 0.075785 | 0.079108 | 0.0066464 | 4.4175e-05
LC08 | 147 |  | 48.2 | 0.082431
LC08 | 148 |  | 21.5 | 0 | 0 | 0 | 0
LC08 | 148 |  | 21.1 | 0
LC06 | 155 |  | 103.1 | 0.25619 | 0.29338 | 0.074377 | 0.0055319
LC06 | 155 |  | 126.6 | 0.33056
LC06 | 156 |  | 130.1 | 0.34164 | 0.40067 | 0.11805 | 0.013936
LC06 | 156 |  | 167.4 | 0.45969
LC06 | 157 |  | 41.2 | 0.060277 | 0.093509 | 0.066464 | 0.0044175
LC06 | 157 |  | 62.2 | 0.12674
LC04 | 167 |  | 612.3 | 1.8678 | 1.9278 | 0.11995 | 0.014388
LC04 | 167 |  | 650.2 | 1.9877
LC04 | 168 |  | 545.4 | 1.656 | 1.6667 | 0.021205 | 0.00044966
LC04 | 168 |  | 552.1 | 1.6773
LC04 | 169 |  | 49.1 | 0.08528 | 0.090027 | 0.0094949 | 9.0153e-05
LC04 | 169 |  | 52.1 | 0.094775
LC02 | 176 |  | 48.2 | 0.082431 | 0.080216 | 0.0044309 | 1.9633e-05
LC02 | 176 |  | 46.8 | 0.078
LC02 | 177 |  | 536.9 | 1.6291 | 1.5977 | 0.062983 | 0.0039668
LC02 | 177 |  | 517 | 1.5662
LC02 | 178 |  | 39 | 0.053314 | 0.04192 | 0.022788 | 0.00051928
LC02 | 178 |  | 31.8 | 0.030526
LC01 | 184 |  | 412 | 1.2338 | 1.2425 | 0.017407 | 0.00030301
LC01 | 184 |  | 417.5 | 1.2513
LC01 | 185 |  | 620.4 | 1.8934 | 1.874 | 0.038929 | 0.0015155
LC01 | 185 |  | 608.1 | 1.8545
LC01 | 186 |  | 33 | 0.034324 | 0.037647 | 0.0066464 | 4.4175e-05
LC01 | 186 |  | 35.1 | 0.04097
LD04 | 191 |  | 65.7 | 0.13782 | 0.125 | 0.025636 | 0.00065721
LD04 | 191 |  | 57.6 | 0.11218
LD04 | 192 |  | 217.6 | 0.61858 | 0.60307 | 0.031017 | 0.00096203
LD04 | 192 |  | 207.8 | 0.58756
LD04 | 193 |  | 47.4 | 0.079899 | 0.08164 | 0.0034815 | 1.2121e-05
LD04 | 193 |  | 48.5 | 0.083381
LD07 | 209 |  | 370.9 | 1.1038 | 1.1023 | 0.0028485 | 8.1137e-06
LD07 | 209 |  | 370 | 1.1009
LD07 | 210 |  | 77.3 | 0.17453 | 0.18529 | 0.021522 | 0.00046318
LD07 | 210 |  | 84.1 | 0.19605
LD07 | 211 |  | 24.2 | 0.0064723 | 0.011378 | 0.0098114 | 9.6263e-05
LD07 | 211 |  | 27.3 | 0.016284
LD09 | 228 |  | 127.2 | 0.32493 | 0.38605 | 0.12223 | 0.014941
LD09 | 228 |  | 167.8 | 0.44716
LD09 | 229 |  | 33 | 0.041322 | 0.036053 | 0.010537 | 0.00011104
LD09 | 229 |  | 29.5 | 0.030784
LD09 | 230 |  | 35.8 | 0.049752 | 0.031989 | 0.035526 | 0.0012621
LD09 | 230 |  | 24 | 0.014226
LD11 | 250 |  | 25.3 | 0.018139 | 0.06044 | 0.0846 | 0.0071572
LD11 | 250 |  | 53.4 | 0.10274
LD11 | 251 |  | 93.6 | 0.22377 | 0.19171 | 0.064128 | 0.0041124
LD11 | 251 |  | 72.3 | 0.15964
LD11 | 252 |  | 23.3 | 0.012118 | 0.048848 | 0.073461 | 0.0053965
LD11 | 252 |  | 47.7 | 0.085579
LG09 | 273 |  | 33.6 | 0.043128 | 0.044633 | 0.0030107 | 9.0642e-06
LG09 | 273 |  | 34.6 | 0.046139
LG09 | 274 |  | 31.3 | 0.036204 | 0.018102 | 0.036204 | 0.0013107
LG09 | 274 |  | 18.2 | 0
LG09 | 275 |  | 17.5 | 0 | 0 | 0 | 0
LG09 | 275 |  | 18 | 0
LG06 | 292 |  | 34.6 | 0.046139 | 0.095062 | 0.097847 | 0.0095741
LG06 | 292 |  | 67.1 | 0.14399
LG06 | 293 |  | 184.3 | 0.49684 | 0.49895 | 0.004215 | 1.7766e-05
LG06 | 293 |  | 185.7 | 0.50105
LG06 | 294 |  | 33.9 | 0.044031 | 0.036655 | 0.014752 | 0.00021763
LG06 | 294 |  | 29 | 0.029279
LG04 | 303 |  | 273.2 | 0.76449 | 0.66288 | 0.20322 | 0.041299
LG04 | 303 |  | 205.7 | 0.56127
LG04 | 304 |  | 514.8 | 1.4919 | 1.3072 | 0.36941 | 0.13646 |  | 4.3344 | yes
LG04 | 304 |  | 392.1 | 1.1225
LG04 | 305 |  | 29.4 | 0.030483 | 0.027623 | 0.0057203 | 3.2722e-05
LG04 | 305 |  | 27.5 | 0.024763
LG02 | 313 |  | 171.4 | 0.458 | 0.47185 | 0.027698 | 0.0007672
LG02 | 313 |  | 180.6 | 0.4857
LG02 | 314 |  | 285.6 | 0.80182 | 0.75847 | 0.086708 | 0.0075182
LG02 | 314 |  | 256.8 | 0.71511
LG02 | 315 |  | 68 | 0.1467 | 0.1467
LG02 | 315 | [6 empty] | copepod
LG01 | 320 |  | 127.8 | 0.32673 | 0.32673
LG01 | 320 | [6 empty] | sample overfilled
LG01 | 321 |  | 374.9 | 1.0707 | 1.295 | 0.44859 | 0.20124 |  | 5.3669 | yes
LG01 | 321 |  | 523.9 | 1.5193
LG01 | 322 |  | 254.6 | 0.70849 | 0.70352 | 0.0099353 | 9.871e-05
LG01 | 322 |  | 251.3 | 0.69855
CS09 | 427 |  | 381.7 | 1.1288 | 1.1285 | -0.00061902 | 3.8319e-07
CS09 | 427 |  | 381.5 | 1.1282
CS09 | 428 |  | 238.9 | 0.68682 | 0.67119 | -0.031261 | 0.00097723
CS09 | 428 |  | 228.8 | 0.65556
CS09 | 429 |  | 28 | 0.034062 | 0.025241 | -0.017642 | 0.00031125
CS09 | 429 |  | 22.3 | 0.01642
CS07 | 415 |  | 145.3 | 0.39712 | 0.41383 | 0.033427 | 0.0011174
CS07 | 415 |  | 156.1 | 0.43055
CS07 | 416 |  | 57.8 | 0.1263 | 0.15431 | 0.056022 | 0.0031384
CS07 | 416 |  | 75.9 | 0.18232
CS07 | 417 |  | 34.5 | 0.05418 | 0.037466 | -0.033427 | 0.0011174
CS07 | 417 |  | 23.7 | 0.020753
CS04 | 406 |  | 174.3 | 0.48688 | 0.47914 | -0.015476 | 0.00023949
CS04 | 406 |  | 169.3 | 0.4714
CS04 | 407 |  | 54.4 | 0.11577 | 0.09875 | -0.034046 | 0.0011591
CS04 | 407 |  | 43.4 | 0.081726
CS04 | 408 |  | 35 | 0.055728 | 0.10432 | 0.097187 | 0.0094452
CS04 | 408 |  | 66.4 | 0.15291
LBP7 | 342 |  | 99.1 | 0.25412 | 0.29761 | 0.086973 | 0.0075642
LBP7 | 342 |  | 127.2 | 0.3411
LBP7 | 343 |  | 155.5 | 0.42869 | 0.43519 | 0.012999 | 0.00016899
LBP7 | 343 |  | 159.7 | 0.44169
LBP7 | 344 |  | 77.7 | 0.18789 | 0.18866 | 0.0015476 | 2.3949e-06
LBP7 | 344 |  | 78.2 | 0.18944
LBP5 | 362 |  | 160.7 | 0.44478 | 0.49941 | 0.10926 | 0.011937
LBP5 | 362 |  | 196 | 0.55404
LBP5 | 363 |  | 233 | 0.66856 | 0.72489 | 0.11266 | 0.012693
LBP5 | 363 |  | 269.4 | 0.78122
LBP5 | 364 |  | 455 |  | 0.78679 |  |  | copepod
LBP5 | 364 |  | 271.2 | 0.78679
LBP3 | 374 |  | 98.4 | 0.25196 | 0.19439 | -0.11514 | 0.013257
LBP3 | 374 |  | 61.2 | 0.13682
LBP3 | 375 |  | 229.1 | 0.65649 | 0.65649
LBP3 | 375 |  | 267.2 |  |  |  |  | copepod
LBP3 | 376 |  | 226.4 | 0.64813 | 0.53454 | -0.22718 | 0.051611 |  | -3.4448 | yes
LBP3 | 376 |  | 153 | 0.42095
CS01 | 397 |  | 29.8 | 0.039633 | 0.04474 | 0.010214 | 0.00010432
CS01 | 397 |  | 33.1 | 0.049847
CS01 | 398 |  | 36.7 | 0.060989 | 0.082345 | 0.042713 | 0.0018244
CS01 | 398 |  | 50.5 | 0.1037
CS01 | 399 |  | 38.6 | 0.06687 | 0.071048 | 0.0083568 | 6.9836e-05
CS01 | 399 |  | 41.3 | 0.075227
|  |  | 0.006 |  | mean diff | 0.037005
[5 empty] | stdev | 0.076691
[5 empty] | MIN | 0
[5 empty] | MAX | 1.9877
3 OUTLIERS REMOVED
[6 empty] | count | 88 | 85
[6 empty] | SUM | 0.63219 | 0.24288
[6 empty] | Sp | 0.059933 | 0.037798
[6 empty] | min | 0
[6 empty] | max | 1.9877

## Sept 3, 2011
Cruise 2011-17 WCVI Ammonia Calculations
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 31.1
Saturday, Sept 3, 2011 | [8 empty] | Zero | 0 | 24.1
Start time of reaction |  |  | 15:30 | [5 empty] | S1 | 0.5 | 190.5
End time of reaction |  |  | 20:30 | [5 empty] | S1 | 0.5 | 186.8
[9 empty] | S3 | 1 | 339.3
Sensitivity Factor |  | 27 | [6 empty] | S3 | 1 | 351
S3 mid-range |  | 500 | [6 empty] | S4 | 1.5 | 498.8
[9 empty] | S4 | 1.5 | 497.8
Std water collected at LB11 300 m
WR Using WR Batch 1 prepared by JEB-C Aug 31, 2011
| Station | Sample | Depth | Raw Fluor | Conc | Avg | DIFF | Diff Sq | Comments
| LB01 | 1 |  | 113.2 | 0.26637 | 0.24485 | -0.043032 | 0.0018518
| LB01 | 1 |  | 99.7 | 0.22334 |  | -0.079051 | 0.0062491
| LB01 | 2 |  | 74.9 | 0.14428 | 0.18891 | 0.089252 | 0.0079658
| LB01 | 2 |  | 102.9 | 0.23354 |  | -0.15396 | 0.023703
| LB01 | 3 |  | 54.6 | 0.079577 | 0.084677 | 0.0102 | 0.00010404
| LB01 | 3 |  | 57.8 | 0.089778 |  | -0.029326 | 0.00085999
| LB02 | 5 |  | 48.6 | 0.060452 | 0.038139 | -0.044626 | 0.0019915
| LB02 | 5 |  | 34.6 | 0.015826 |  | 0.096583 | 0.0093283
| LB02 | 6 |  | 64.9 | 0.11241 | 0.12325 | 0.021675 | 0.00046982
| LB02 | 6 |  | 71.7 | 0.13408 |  | -0.054188 | 0.0029364
| LB02 | 7 |  | 54.7 | 0.079896 | 0.11097 | 0.062157 | 0.0038635
| LB02 | 7 |  | 74.2 | 0.14205 |  | -0.017532 | 0.00030736
| LB04 | 13 |  | 68.7 | 0.12452 | 0.14683 | 0.044626 | 0.0019915
| LB04 | 13 |  | 82.7 | 0.16915 |  | -0.11666 | 0.013611
| LB04 | 14 |  | 46.1 | 0.052483 | 0.037023 | -0.030919 | 0.000956
| LB04 | 14 |  | 36.4 | 0.021564 |  | 0.11603 | 0.013462
| LB04 | 15 |  | 72.8 | 0.13759 | 0.13807 | 0.00095627 | 9.1445e-07
| LB04 | 15 |  | 73.1 | 0.13855 |  | 0.1087 | 0.011815
| LB06 | 21 |  | 107.2 | 0.24724 | 0.27035 | 0.04622 | 0.0021362
| LB06 | 21 |  | 121.7 | 0.29346 |  | -0.0015938 | 2.5401e-06
| LB06 | 22 |  | 121.2 | 0.29187 | 0.26956 | -0.044626 | 0.0019915
| LB06 | 22 |  | 107.2 | 0.24724 |  | -0.29039 | 0.084324
| LB06 | 23 |  | 16.1 | -0.043144 | -0.040753 | 0.0047813 | 2.2861e-05
| LB06 | 23 |  | 17.6 | -0.038362 |  | 0.068851 | 0.0047405
| LB08 | 32 |  | 39.2 | 0.030489 | 0.041008 | 0.021038 | 0.00044259
| LB08 | 32 |  | 45.8 | 0.051527 |  | 0.047176 | 0.0022256
| LB08 | 33 |  | 60.6 | 0.098703 | 0.16261 | 0.12782 | 0.016338
| LB08 | 33 |  | 100.7 | 0.22652 |  | -0.12463 | 0.015533 | copepod
| LB08 | 34 |  | 61.6 | 0.10189 | 0.0995 | -0.0047813 | 2.2861e-05
| LB08 | 34 |  | 60.1 | 0.097109 |  | 0.25086 | 0.062931
| LB09 | 43 |  | 138.8 | 0.34797 | 0.34558 | -0.0047813 | 2.2861e-05
| LB09 | 43 |  | 137.3 | 0.34319 |  | 0.79785 | 0.63656
| LB09 | 44 |  | 387.6 | 1.141 | 1.1441 | 0.0060564 | 3.6679e-05
| LB09 | 44 |  | 389.5 | 1.1471 |  | -0.49694 | 0.24695
| LB09 | 45 |  | 233.6 | 0.65015 | 0.65907 | 0.01785 | 0.00031863
| LB09 | 45 |  | 239.2 | 0.668 |  | 0.25214 | 0.063572
| LB11 | 56 |  | 318.3 | 0.92014 | 0.9909 | 0.14153 | 0.02003
| LB11 | 56 |  | 362.7 | 1.0617 |  | -0.39239 | 0.15397 | copepod
| LB11 | 57 |  | 239.6 | 0.66928 | 0.66131 | -0.015938 | 0.00025401
| LB11 | 57 |  | 234.6 | 0.65334 |  | -0.065026 | 0.0042284
| LB11 | 58 |  | 214.2 | 0.58831 | 0.57668 | -0.023269 | 0.00054145
| LB11 | 58 |  | 206.9 | 0.56504 |  | -0.1393 | 0.019403
| LB12 | 73 |  | 163.2 | 0.42575 | 0.44551 | 0.039526 | 0.0015623
| LB12 | 73 |  | 175.6 | 0.46527 |  | -0.31397 | 0.09858
| LB12 | 74 |  | 77.1 | 0.1513 | 0.19353 | 0.08447 | 0.0071352
| LB12 | 74 |  | 103.6 | 0.23577 |  | -0.1852 | 0.034298 | copepod
| LB12 | 75 |  | 45.5 | 0.050571 | 0.089937 | 0.078733 | 0.0061988
| LB12 | 75 |  | 70.2 | 0.1293 |  | -0.1293 | 0.016719

## Sept 4, 2011
Cruise 2011-17 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 18.4
Sunday Sept 4, 2011 | [8 empty] | Zero | 0 | 18.7
Start time of reaction |  |  | 16:30 | [5 empty] | S1 | 0.5 | 182.4
End time of reaction |  |  | 21:51 | [5 empty] | S1 | 0.5 | 187.3
[9 empty] | S2 | 1 | 337.9
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 341.1
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 | 487.3
[9 empty] | S3 | 1.5 | 499.9
Std water collected at LB11 300 m
WR Using WR Batch 2 prepared by JEB-C Aug 31, 2011
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq
| LB14 | 93 |  | 21.6 | -0.0017566 | 0.00014242 | 0.0037979 | 1.4424e-05
| LB14 | 93 |  | 22.8 | 0.0020414
| LB14 | 94 |  | 26.4 | 0.013435 | 0.0036239 | -0.019623 | 0.00038505
| LB14 | 94 |  | 20.2 | -0.0061875
| LB14 | 95 |  | 31.7 | 0.03021 | 0.019607 | -0.021205 | 0.00044966
| LB14 | 95 |  | 25 | 0.0090043
| LC11 | 114 |  | 68.9 | 0.14795 | 0.1318 | -0.032283 | 0.0010422
| LC11 | 114 |  | 58.7 | 0.11566
| LC11 | 115 |  | 40.1 | 0.056795 | 0.036381 | -0.040828 | 0.0016669
| LC11 | 115 |  | 27.2 | 0.015967
| LC11 | 116 |  | 22.2 | 0.00014242 | 0.0066306 | 0.012976 | 0.00016839
| LC11 | 116 |  | 26.3 | 0.013119
| LC09 | 133 |  | 59.1 | 0.11693 | 0.11456 | -0.0047474 | 2.2538e-05
| LC09 | 133 |  | 57.6 | 0.11218
| LC09 | 134 |  | 53.3 | 0.098573 | 0.098573 | -0.098573 | 0.0097166
| LC09 | 134 | [6 empty] | SAMPLE OVERFILLED
| LC09 | 135 |  | 27.5 | 0.016917 | 0.0097955 | -0.014242 | 0.00020284
| LC09 | 135 |  | 23 | 0.0026744
| LC08 | 146 |  | 24.6 | 0.0077383 | 0.0045734 | -0.0063299 | 4.0068e-05
| LC08 | 146 |  | 22.6 | 0.0014084
| LC08 | 147 |  | 46.1 | 0.075785 | 0.079108 | 0.0066464 | 4.4175e-05
| LC08 | 147 |  | 48.2 | 0.082431
| LC08 | 148 |  | 21.5 | -0.002073 | -0.002706 | -0.001266 | 1.6027e-06
| LC08 | 148 |  | 21.1 | -0.003339
| LC06 | 155 |  | 103.1 | 0.25619 | 0.29338 | 0.074377 | 0.0055319
| LC06 | 155 |  | 126.6 | 0.33056
| LC06 | 156 |  | 130.1 | 0.34164 | 0.40067 | 0.11805 | 0.013936
| LC06 | 156 |  | 167.4 | 0.45969
| LC06 | 157 |  | 41.2 | 0.060277 | 0.093509 | 0.066464 | 0.0044175
| LC06 | 157 |  | 62.2 | 0.12674
| LC04 | 167 |  | 612.3 | 1.8678 | 1.9278 | 0.11995 | 0.014388
| LC04 | 167 |  | 650.2 | 1.9877
| LC04 | 168 |  | 545.4 | 1.656 | 1.6667 | 0.021205 | 0.00044966
| LC04 | 168 |  | 552.1 | 1.6773
| LC04 | 169 |  | 49.1 | 0.08528 | 0.090027 | 0.0094949 | 9.0153e-05
| LC04 | 169 |  | 52.1 | 0.094775
| LC02 | 176 |  | 48.2 | 0.082431 | 0.080216 | -0.0044309 | 1.9633e-05
| LC02 | 176 |  | 46.8 | 0.078
| LC02 | 177 |  | 536.9 | 1.6291 | 1.5977 | -0.062983 | 0.0039668
| LC02 | 177 |  | 517 | 1.5662
| LC02 | 178 |  | 39 | 0.053314 | 0.04192 | -0.022788 | 0.00051928
| LC02 | 178 |  | 31.8 | 0.030526
| LC01 | 184 |  | 412 | 1.2338 | 1.2425 | 0.017407 | 0.00030301
| LC01 | 184 |  | 417.5 | 1.2513
| LC01 | 185 |  | 620.4 | 1.8934 | 1.874 | -0.038929 | 0.0015155
| LC01 | 185 |  | 608.1 | 1.8545
| LC01 | 186 |  | 33 | 0.034324 | 0.037647 | 0.0066464 | 4.4175e-05
| LC01 | 186 |  | 35.1 | 0.04097
| LD04 | 191 |  | 65.7 | 0.13782 | 0.125 | -0.025636 | 0.00065721
| LD04 | 191 |  | 57.6 | 0.11218
| LD04 | 192 |  | 217.6 | 0.61858 | 0.60307 | -0.031017 | 0.00096203
| LD04 | 192 |  | 207.8 | 0.58756
| LD04 | 193 |  | 47.4 | 0.079899 | 0.08164 | 0.0034815 | 1.2121e-05
| LD04 | 193 |  | 48.5 | 0.083381
| LD07 | 209 |  | 370.9 | 1.1038 | 1.1023 | -0.0028485 | 8.1137e-06
| LD07 | 209 |  | 370 | 1.1009
| LD07 | 210 |  | 77.3 | 0.17453 | 0.18529 | 0.021522 | 0.00046318
| LD07 | 210 |  | 84.1 | 0.19605
| LD07 | 211 |  | 24.2 | 0.0064723 | 0.011378 | 0.0098114 | 9.6263e-05
| LD07 | 211 |  | 27.3 | 0.016284

## Sept 6, 2011
Cruise 2011-17 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 13.3
TUESDAY Sept 6. 2011 | [8 empty] | Zero | 0 | 14
Start time of reaction |  |  | 14:10 | [5 empty] | S1 | 0.5 | 192.9
End time of reaction |  |  | 23:30 | [5 empty] | S1 | 0.5 | 190.2
[9 empty] | S2 | 1 | 353.7
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 358.1
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 | 517.4
[9 empty] | S3 | 1.5 | 507.5
Std water collected at LB11 300 m
WR Using WR Batch 2 prepared by JEB-C Aug 31, 2011
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq | Comments
| LD09 | 228 |  | 127.2 | 0.32493 | 0.38605 | 0.12223 | 0.014941
| LD09 | 228 |  | 167.8 | 0.44716
| LD09 | 229 |  | 33 | 0.041322 | 0.036053 | -0.010537 | 0.00011104
| LD09 | 229 |  | 29.5 | 0.030784
| LD09 | 230 |  | 35.8 | 0.049752 | 0.031989 | -0.035526 | 0.0012621
| LD09 | 230 |  | 24 | 0.014226
| LD11 | 250 |  | 25.3 | 0.018139 | 0.06044 | 0.0846 | 0.0071572
| LD11 | 250 |  | 53.4 | 0.10274
| LD11 | 251 |  | 93.6 | 0.22377 | 0.19171 | -0.064128 | 0.0041124
| LD11 | 251 |  | 72.3 | 0.15964
| LD11 | 252 |  | 23.3 | 0.012118 | 0.048848 | 0.073461 | 0.0053965
| LD11 | 252 |  | 47.7 | 0.085579
| LG09 | 273 |  | 33.6 | 0.043128 | 0.044633 | 0.0030107 | 9.0642e-06
| LG09 | 273 |  | 34.6 | 0.046139
| LG09 | 274 |  | 31.3 | 0.036204 | 0.016484 | -0.03944 | 0.0015555
| LG09 | 274 |  | 18.2 | -0.0032365
| LG09 | 275 |  | 17.5 | -0.005344 | -0.0045913 | 0.0015053 | 2.2661e-06
| LG09 | 275 |  | 18 | -0.0038386
| LG06 | 292 |  | 34.6 | 0.046139 | 0.095062 | 0.097847 | 0.0095741
| LG06 | 292 |  | 67.1 | 0.14399
| LG06 | 293 |  | 184.3 | 0.49684 | 0.49895 | 0.004215 | 1.7766e-05
| LG06 | 293 |  | 185.7 | 0.50105
| LG06 | 294 |  | 33.9 | 0.044031 | 0.036655 | -0.014752 | 0.00021763
| LG06 | 294 |  | 29 | 0.029279
| LG04 | 303 |  | 273.2 | 0.76449 | 0.66288 | -0.20322 | 0.041299
| LG04 | 303 |  | 205.7 | 0.56127
| LG04 | 304 |  | 514.8 | 1.4919 | 1.3072 | -0.36941 | 0.13646
| LG04 | 304 |  | 392.1 | 1.1225
| LG04 | 305 |  | 29.4 | 0.030483 | 0.027623 | -0.0057203 | 3.2722e-05
| LG04 | 305 |  | 27.5 | 0.024763
| LG02 | 313 |  | 171.4 | 0.458 | 0.47185 | 0.027698 | 0.0007672
| LG02 | 313 |  | 180.6 | 0.4857
| LG02 | 314 |  | 285.6 | 0.80182 | 0.75847 | -0.086708 | 0.0075182
| LG02 | 314 |  | 256.8 | 0.71511
| LG02 | 315 |  | 68 | 0.1467 | 0.20194 | 0.11049 | 0.012209
| LG02 | 315 |  | 104.7 | 0.25719 |  |  |  | copepod
| LG01 | 320 |  | 127.8 | 0.32673 | 0.32673 | -0.32673 | 0.10676
| LG01 | 320 | [6 empty] | sample overfilled
| LG01 | 321 |  | 374.9 | 1.0707 | 1.295 | 0.44859 | 0.20124
| LG01 | 321 |  | 523.9 | 1.5193
| LG01 | 322 |  | 254.6 | 0.70849 | 0.70352 | -0.0099353 | 9.871e-05
| LG01 | 322 |  | 251.3 | 0.69855

## Sept 8, 2011
Cruise 2011-17 WCVI Ammonia Calculations | [9 empty] | Conc uM | Raw Fluor
(all times and dates are local) | [7 empty] | Standards | Zero | 0 | 12.6
Thursday Sept 8, 2011 | [8 empty] | Zero | 0 | 12.3
Start time of reaction |  |  | 22:17 | [5 empty] | S1 | 0.5 | 183
End time of reaction |  |  | 11:00 | [5 empty] | S1 | 0.5 | 182
[9 empty] | S2 | 1 | 347.2
Sensitivity Factor |  | 26 | [6 empty] | S2 | 1 | 344.4
S3 mid-range |  | 500 | [6 empty] | S3 | 1.5 | 492.6
[9 empty] | S3 | 1.5 | 500.4
Std water collected at LB11 300 m
WR UsingMixed Batch 1& 2 prepared by JEB-C Aug 31, 2011
| Station | Sample | Depth | Raw Fluor | Conc | Avg | diff | Diff Sq | Comments
| CS09 | 427 |  | 381.7 | 1.1288 | 1.1285 | -0.00061902 | 3.8319e-07
|  | 427 |  | 381.5 | 1.1282
|  | 428 |  | 238.9 | 0.68682 | 0.67119 | -0.031261 | 0.00097723
|  | 428 |  | 228.8 | 0.65556
|  | 429 |  | 28 | 0.034062 | 0.025241 | -0.017642 | 0.00031125
|  | 429 |  | 22.3 | 0.01642
| CS07 | 415 |  | 145.3 | 0.39712 | 0.41383 | 0.033427 | 0.0011174
|  | 415 |  | 156.1 | 0.43055
|  | 416 |  | 57.8 | 0.1263 | 0.15431 | 0.056022 | 0.0031384
|  | 416 |  | 75.9 | 0.18232
|  | 417 |  | 34.5 | 0.05418 | 0.037466 | -0.033427 | 0.0011174
|  | 417 |  | 23.7 | 0.020753
| CS04 | 406 |  | 174.3 | 0.48688 | 0.47914 | -0.015476 | 0.00023949
|  | 406 |  | 169.3 | 0.4714
|  | 407 |  | 54.4 | 0.11577 | 0.09875 | -0.034046 | 0.0011591
|  | 407 |  | 43.4 | 0.081726
|  | 408 |  | 35 | 0.055728 | 0.10432 | 0.097187 | 0.0094452
|  | 408 |  | 66.4 | 0.15291
| LBP7 | 342 |  | 99.1 | 0.25412 | 0.29761 | 0.086973 | 0.0075642
|  | 342 |  | 127.2 | 0.3411
|  | 343 |  | 155.5 | 0.42869 | 0.43519 | 0.012999 | 0.00016899
|  | 343 |  | 159.7 | 0.44169
|  | 344 |  | 77.7 | 0.18789 | 0.18866 | 0.0015476 | 2.3949e-06
|  | 344 |  | 78.2 | 0.18944
| LBP5 | 362 |  | 160.7 | 0.44478 | 0.49941 | 0.10926 | 0.011937
|  | 362 |  | 196 | 0.55404
|  | 363 |  | 233 | 0.66856 | 0.72489 | 0.11266 | 0.012693
|  | 363 |  | 269.4 | 0.78122
|  | 364 |  | 455 | 1.3557 | 1.0712 | -0.56888 | 0.32363 | copepod
|  | 364 |  | 271.2 | 0.78679
| LBP3 | 374 |  | 98.4 | 0.25196 | 0.19439 | -0.11514 | 0.013257
|  | 374 |  | 61.2 | 0.13682
|  | 375 |  | 229.1 | 0.65649 | 0.71545 | 0.11792 | 0.013906
|  | 375 |  | 267.2 | 0.77441 |  |  |  | copepod
|  | 376 |  | 226.4 | 0.64813 | 0.53454 | -0.22718 | 0.051611
|  | 376 |  | 153 | 0.42095
| CS01 | 397 |  | 29.8 | 0.039633 | 0.04474 | 0.010214 | 0.00010432
|  | 397 |  | 33.1 | 0.049847
|  | 398 |  | 36.7 | 0.060989 | 0.082345 | 0.042713 | 0.0018244
|  | 398 |  | 50.5 | 0.1037
|  | 399 |  | 38.6 | 0.06687 | 0.071048 | 0.0083568 | 6.9836e-05
|  | 399 |  | 41.3 | 0.075227