## Notes
Date, Initials | Comment
24 May 2012 SZ | Worksheet for DIC/Alk Analysis lists samples w/ salinity. Please complete Results and META spreadsheets.
12 Sep 2012 SZ | Data finished for majority of samples.
13 Aug 2014 SZ | There were a few samples accidently left in the NoGap fridge, but they were going to be analysed by fall 2013 (?have they been analysed?). Please see list in "Samples for DIC-Alk anlys" that still need adding: 1,7,8 14, 75,78,101,105,111,115,122,126,127,131,132,136,137,141,142,146,147,150,151,154. Samples 1,7,8,14 were not in fridge, so not sure why they are not in the data file. Might have been processed earlier or maybe not actually collected?

## Samples for DIC-Alk anlys
Cruise | Cast No. | Station Name | Water Depth [m] | Cast Depth [m] | Sample No. [All others match to this sample number] | Bottle Integrity [0=good, 1=leak, 2=bad] | Trip [US (up stop), UN (up no stop), USM (up stop mix) or DN (down no stop)] | Rosette Bot No. | Raw Pres [dbar] | CTD Salinity 0 | Salt | IOS QF | DIC Check from Sample Log | In Fridge in NoGap shop (2012-07-19) | Samples listed in Results page | Missing as of 2014-08-13
2011-18 | 3 | SLIP-1 | 80 | 75 | 1 | 0 | US | 1 | 74.459 | 32.3162 | 32.3246 |  | x |  | #N/A | x
2011-18 | 3 | SLIP-1 | 80 | 75 | 2 | 0 | US | 2 | 73.806 | 32.3159 | 32.3254 |  |  |  | #N/A
2011-18 | 3 | SLIP-1 | 80 | 75 | 3 | 0 | US | 3 | 50.377 | 31.7549 | 31.7528 |  |  |  | #N/A
2011-18 | 3 | SLIP-1 | 80 | 75 | 4 | 0 | US | 4 | 34.303 | 31.6174 | 31.626 |  |  |  | #N/A
2011-18 | 3 | SLIP-1 | 80 | 75 | 5 | 0 | US | 5 | 25.899 | 31.474 | 31.4621 |  |  |  | #N/A
2011-18 | 3 | SLIP-1 | 80 | 75 | 6 | 0 | US | 6 | 16.073 | 30.6527 | 30.7645 |  |  |  | #N/A
2011-18 | 3 | SLIP-1 | 80 | 75 | 7 | 0 | US | 7 | 5.491 | 30.6552 | 30.6558 |  | x |  | #N/A | x
2011-18 | 4 | SLIP-2 | 80 | 75 | 8 | 0 | US | 1 | 75.848 | 32.2915 | 32.2877 |  | x |  | 8 | Alk only
2011-18 | 4 | SLIP-2 | 80 | 75 | 9 | 0 | US | 2 | 75.887 | 32.292 | 32.2735 |  |  |  | #N/A
2011-18 | 4 | SLIP-2 | 80 | 75 | 10 | 0 | US | 3 | 51.307 | 31.7511 | 31.7639 |  |  |  | #N/A
2011-18 | 4 | SLIP-2 | 80 | 75 | 11 | 0 | US | 4 | 35.178 | 31.6568 | 31.6615 |  |  |  | #N/A
2011-18 | 4 | SLIP-2 | 80 | 75 | 12 | 0 | US | 5 | 25.725 | 31.4525 | 31.484 |  |  |  | #N/A
2011-18 | 4 | SLIP-2 | 80 | 75 | 13 | 0 | US | 6 | 15.35 | 30.5681 | 30.8643 |  |  |  | #N/A
2011-18 | 4 | SLIP-2 | 80 | 75 | 14 | 0 | US | 7 | 5.839 | 30.5567 | 30.5583 |  | x |  | #N/A | x
2011-18 | 5 | SLIP-3 | 68 | 65 | 15 | 0 | US | 1 | 65.526 | 32.0188 | 32.0188 |  |  |  | #N/A
2011-18 | 5 | SLIP-3 | 68 | 65 | 16 | 0 | US | 2 | 51.329 | 32.0185 | 32.0233 |  |  |  | #N/A
2011-18 | 5 | SLIP-3 | 68 | 65 | 17 | 0 | US | 3 | 35.962 | 32.0171 | 32.029 |  |  |  | #N/A
2011-18 | 5 | SLIP-3 | 68 | 65 | 18 | 0 | US | 4 | 25.311 | 31.8775 | 31.8562 |  |  |  | #N/A
2011-18 | 5 | SLIP-3 | 68 | 65 | 19 | 0 | US | 5 | 15.142 | 31.0073 | 31.0192 |  |  |  | #N/A
2011-18 | 5 | SLIP-3 | 68 | 65 | 20 | 0 | US | 6 | 5.861 | 30.9517 | 30.9507 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 21 | 0 | US | 1 | 59.775 | 32.1056 | 32.1002 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 22 | 0 | US | 2 | 51.082 | 32.0595 | 32.0675 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 23 | 0 | US | 3 | 35.221 | 31.9525 | 31.9521 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 24 | 0 | US | 4 | 25.416 | 31.9146 | 31.9113 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 25 | 0 | US | 5 | 14.748 | 30.7288 | 30.8536 |  |  |  | #N/A
2011-18 | 6 | SLIP-5 | 65 | 60 | 26 | 0 | US | 6 | 5.226 | 30.7074 | 30.717 |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 27 | 0 | US | 1 | 65.47 | 32.6318 | 32.6306 |  | x |  | 27
2011-18 | 7 | SLIP-4 | 71 | 65 | 28 | 0 | US | 2 | 50.324 | 32.4342 | 32.4552 |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 29 | 0 | US | 3 | 36.645 | 32.1494 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 30 | 0 | US | 4 | 34.972 | 32.0968 | 32.088 |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 31 | 0 | US | 5 | 26.531 | 31.4682 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 32 | 0 | US | 6 | 25.33 | 31.4411 | 31.456 |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 33 | 0 | US | 7 | 15.145 | 31.3471 | 31.3539 |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 34 | 0 | US | 8 | 10.803 | 31.3208 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 35 | 0 | US | 9 | 10.924 | 31.321 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 36 | 0 | US | 10 | 10.735 | 31.321 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 37 | 0 | US | 11 | 10.552 | 31.3178 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 38 | 0 | US | 12 | 10.8 | 31.3221 |  |  |  |  | #N/A
2011-18 | 7 | SLIP-4 | 71 | 65 | 39 | 0 | US | 13 | 5.637 | 31.296 | 31.3033 |  | x |  | 39
2011-18 | 8 | BCL-6A | 51 | 49 | 40 | 0 | US | 1 | 49.46 | 32.1059 | 32.1061 |  | x |  | 40
2011-18 | 8 | BCL-6A | 51 | 49 | 41 | 0 | US | 2 | 35.036 | 32.1052 | 32.1106 |  |  |  | #N/A
2011-18 | 8 | BCL-6A | 51 | 49 | 42 | 0 | US | 3 | 25.277 | 32.095 | 32.0997 |  |  |  | #N/A
2011-18 | 8 | BCL-6A | 51 | 49 | 43 | 0 | US | 4 | 15.477 | 31.4894 | 31.5842 |  |  |  | #N/A
2011-18 | 8 | BCL-6A | 51 | 49 | 44 | 0 | US | 5 | 5.683 | 31.5935 | 31.6032 |  | x |  | 44
[5 empty] | 45 | [9 empty] | #N/A
[5 empty] | 46 | [9 empty] | #N/A
[5 empty] | 47 | [9 empty] | #N/A
[5 empty] | 48 | [9 empty] | #N/A
[5 empty] | 49 | [9 empty] | #N/A
2011-18 | 9 | UTBS-5 | 47 | 42 | 50 | 0 | US | 1 | 42.014 | 32.0046 | 32.0098 |  |  |  | #N/A
2011-18 | 9 | UTBS-5 | 47 | 42 | 51 | 0 | US | 2 | 35.037 | 32.0019 | 32.0041 |  |  |  | #N/A
2011-18 | 9 | UTBS-5 | 47 | 42 | 52 | 0 | US | 3 | 25.063 | 31.9913 | 31.9937 |  |  |  | #N/A
2011-18 | 9 | UTBS-5 | 47 | 42 | 53 | 0 | US | 4 | 15.356 | 31.9907 | 32.0019 |  |  |  | #N/A
2011-18 | 9 | UTBS-5 | 47 | 42 | 54 | 0 | US | 5 | 5.279 | 31.9087 | 31.9307 |  |  |  | #N/A
2011-18 | 10 | UTBS-1 | 48 | 43 | 55 | 0 | US | 1 | 43.088 | 32.1555 | 32.0835 |  |  |  | #N/A
2011-18 | 10 | UTBS-1 | 48 | 43 | 56 | 0 | US | 2 | 34.759 | 31.8049 | 31.807 |  |  |  | #N/A
2011-18 | 10 | UTBS-1 | 48 | 43 | 57 | 0 | US | 4 | 25.705 | 31.7224 | 31.7262 |  |  |  | #N/A
2011-18 | 10 | UTBS-1 | 48 | 43 | 58 | 0 | US | 5 | 14.925 | 31.5755 | 31.5897 |  |  |  | #N/A
2011-18 | 10 | UTBS-1 | 48 | 43 | 59 | 0 | US | 10 | 5.408 | 31.5708 | 31.5814 |  |  |  | #N/A
2011-18 | 11 | UTBS-2 | 45 | 40 | 60 | 0 | US | 1 | 40.146 | 31.8414 | 31.8469 |  |  |  | #N/A
2011-18 | 11 | UTBS-2 | 45 | 40 | 61 | 0 | US | 2 | 34.946 | 31.8413 | 31.8419 |  |  |  | #N/A
2011-18 | 11 | UTBS-2 | 45 | 40 | 62 | 0 | US | 3 | 25.802 | 31.837 | 31.8458 |  |  |  | #N/A
2011-18 | 11 | UTBS-2 | 45 | 40 | 63 | 0 | US | 4 | 15.209 | 31.7961 | 31.8111 |  |  |  | #N/A
2011-18 | 11 | UTBS-2 | 45 | 40 | 64 | 0 | US | 5 | 5.337 | 31.7081 | 31.7285 |  |  |  | #N/A
2011-18 | 12 | UTBS-4 | 48 | 43 | 65 | 0 | US | 1 | 42.572 | 32.0194 | 31.9982 |  | x |  | 65
2011-18 | 12 | UTBS-4 | 48 | 43 | 66 | 0 | US | 2 | 35.346 | 31.962 | 31.9821 |  |  |  | #N/A
2011-18 | 12 | UTBS-4 | 48 | 43 | 67 | 0 | US | 3 | 25.54 | 31.9442 | 31.9475 |  |  |  | #N/A
2011-18 | 12 | UTBS-4 | 48 | 43 | 68 | 0 | US | 4 | 15.497 | 31.9366 | 31.9374 |  |  |  | #N/A
2011-18 | 12 | UTBS-4 | 48 | 43 | 69 | 0 | US | 5 | 5.883 | 31.8903 | 31.892 |  | x |  | 69
2011-18 | 13 | BRS-3 | 50 | 46 | 70 | 0 | US | 1 | 46.768 | 31.8031 | 31.8091 |  | x |  | 70
2011-18 | 13 | BRS-3 | 50 | 46 | 71 | 0 | US | 2 | 34.838 | 31.796 | 31.7945 |  |  |  | #N/A
2011-18 | 13 | BRS-3 | 50 | 46 | 72 | 0 | US | 3 | 24.878 | 31.7569 | 31.767 |  |  |  | #N/A
2011-18 | 13 | BRS-3 | 50 | 46 | 73 | 0 | US | 4 | 15.199 | 31.6435 | 31.6509 |  |  |  | #N/A
2011-18 | 13 | BRS-3 | 50 | 46 | 74 | 0 | US | 5 | 5.833 | 31.6245 | 31.6363 |  | x |  | 74
2011-18 | 14 | UTN-1 | 35 | 30 | 75 | 0 | US | 1 | 30.087 | 31.0159 | 30.9455 |  | x | x | #N/A | x
2011-18 | 14 | UTN-1 | 35 | 30 | 76 | 0 | US | 2 | 25.611 | 31.0128 | 31.0149 |  |  |  | #N/A
2011-18 | 14 | UTN-1 | 35 | 30 | 77 | 0 | US | 3 | 14.82 | 30.8091 | 30.821 |  |  |  | #N/A
2011-18 | 14 | UTN-1 | 35 | 30 | 78 | 0 | US | 4 | 5.961 | 30.6482 | 30.6239 |  | x | x | #N/A | x
2011-18 | 15 | UTN-2 | 45 | 40 | 79 | 0 | US | 1 | 40.824 | 31.7242 | 31.7237 |  |  |  | #N/A
2011-18 | 15 | UTN-2 | 45 | 40 | 80 | 0 | US | 2 | 35.212 | 31.7241 | 31.7298 |  |  |  | #N/A
2011-18 | 15 | UTN-2 | 45 | 40 | 81 | 0 | US | 3 | 25.27 | 31.7027 | 31.7039 |  |  |  | #N/A
2011-18 | 15 | UTN-2 | 45 | 40 | 82 | 0 | US | 4 | 15.611 | 31.6231 | 31.6222 |  |  |  | #N/A
2011-18 | 15 | UTN-2 | 45 | 40 | 83 | 0 | US | 5 | 5.554 | 31.6075 | 31.5775 |  |  |  | #N/A
2011-18 | 16 | UTN-3 | 49 | 44 | 84 | 0 | US | 1 | 44.096 | 32.0665 | 32.0694 |  |  |  | #N/A
2011-18 | 16 | UTN-3 | 49 | 44 | 85 | 0 | US | 2 | 34.624 | 32.0559 | 32.0557 |  |  |  | #N/A
2011-18 | 16 | UTN-3 | 49 | 44 | 86 | 0 | US | 3 | 25.159 | 32.0652 | 32.0754 |  |  |  | #N/A
2011-18 | 16 | UTN-3 | 49 | 44 | 87 | 0 | US | 4 | 15.441 | 32.0109 | 32.0272 |  |  |  | #N/A
2011-18 | 16 | UTN-3 | 49 | 44 | 88 | 0 | US | 5 | 5.508 | 31.9392 | 31.9444 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 89 | 0 | US | 1 | 45.428 | 32.5146 | 32.5082 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 90 | 0 | US | 2 | 35.526 | 32.4515 | 32.4662 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 91 | 0 | US | 3 | 25.423 | 32.393 | 32.4051 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 92 | 0 | US | 4 | 20.42 | 32.3741 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 93 | 0 | US | 5 | 15.676 | 32.3344 | 32.3425 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 94 | 0 | US | 6 | 15.604 | 32.3346 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 95 | 0 | US | 7 | 8.627 | 32.2242 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 96 | 0 | US | 8 | 6.042 | 32.0834 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 97 | 0 | US | 9 | 5.371 | 31.979 | 31.9839 |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 98 | 0 | US | 10 | 4.452 | 31.9759 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 99 | 0 | US | 11 | 4.422 | 31.975 |  |  |  |  | #N/A
2011-18 | 17 | UTN-4 | 49 | 45 | 100 | 0 | US | 12 | 2.706 | 31.9827 |  |  |  |  | #N/A
2011-18 | 18 | UTN-5 | 50 | 45 | 101 | 0 | US | 1 | 45.293 | 32.4622 | 32.4349 |  | x | x | #N/A | x
2011-18 | 18 | UTN-5 | 50 | 45 | 102 | 0 | US | 2 | 34.456 | 32.4214 | 32.4147 |  |  |  | #N/A
2011-18 | 18 | UTN-5 | 50 | 45 | 103 | 0 | US | 3 | 25.83 | 32.3751 | 32.3828 |  |  |  | #N/A
2011-18 | 18 | UTN-5 | 50 | 45 | 104 | 0 | US | 4 | 15.274 | 32.3548 | 32.3575 |  |  |  | #N/A
2011-18 | 18 | UTN-5 | 50 | 45 | 105 | 0 | US | 5 | 5.204 | 32.1445 | 32.083 |  | x | x | #N/A | x
2011-18 | 19 | UTN-6 | 49 | 44 | 106 | 0 | US | 1 | 44.565 | 32.133 | 32.1309 |  |  |  | #N/A
2011-18 | 19 | UTN-6 | 49 | 44 | 107 | 0 | US | 4 | 34.68 | 32.1295 | 32.1424 |  |  |  | #N/A
2011-18 | 19 | UTN-6 | 49 | 44 | 108 | 0 | US | 5 | 25.697 | 32.0685 | 32.0533 |  |  |  | #N/A
2011-18 | 19 | UTN-6 | 49 | 44 | 109 | 0 | US | 6 | 15.614 | 31.9422 | 31.9476 |  |  |  | #N/A
2011-18 | 19 | UTN-6 | 49 | 44 | 110 | 0 | US | 7 | 4.676 | 31.8947 | 31.912 |  |  |  | #N/A
2011-18 | 20 | SEC-2 | 50 | 45 | 111 | 0 | US | 1 | 45.508 | 32.231 | 32.2048 |  | x | x | #N/A | x
2011-18 | 20 | SEC-2 | 50 | 45 | 112 | 0 | US | 2 | 34.959 | 32.1256 | 32.146 |  |  |  | #N/A
2011-18 | 20 | SEC-2 | 50 | 45 | 113 | 0 | US | 3 | 25.835 | 32.1085 | 32.1088 |  |  |  | #N/A
2011-18 | 20 | SEC-2 | 50 | 45 | 114 | 0 | US | 4 | 15.622 | 31.997 | 32.0171 |  |  |  | #N/A
2011-18 | 20 | SEC-2 | 50 | 45 | 115 | 0 | US | 5 | 5.289 | 31.8709 | 31.8794 |  | x | x | #N/A | x
2011-18 | 21 | UTN-7 | 57 | 52 | 116 | 0 | US | 1 | 52.123 | 32.7131 | 32.7154 |  |  |  | #N/A
2011-18 | 21 | UTN-7 | 57 | 52 | 117 | 0 | US | 2 | 50.192 | 32.713 | 32.7188 |  |  |  | #N/A
2011-18 | 21 | UTN-7 | 57 | 52 | 118 | 0 | US | 3 | 35.087 | 32.6843 | 32.6936 |  |  |  | #N/A
2011-18 | 21 | UTN-7 | 57 | 52 | 119 | 0 | US | 4 | 24.765 | 32.6772 | 32.6976 |  |  |  | #N/A
2011-18 | 21 | UTN-7 | 57 | 52 | 120 | 0 | US | 5 | 14.792 | 32.6569 | 32.665 |  |  |  | #N/A
2011-18 | 21 | UTN-7 | 57 | 52 | 121 | 0 | US | 6 | 5.418 | 32.6276 | 32.6441 |  |  |  | #N/A
2011-18 | 22 | SEC-3 | 58 | 53 | 122 | 0 | US | 1 | 53.053 | 32.2712 | 32.2414 |  | x | x | #N/A | x
2011-18 | 22 | SEC-3 | 58 | 53 | 123 | 0 | US | 2 | 34.675 | 32.1719 | 32.1807 |  |  |  | #N/A
2011-18 | 22 | SEC-3 | 58 | 53 | 124 | 0 | US | 3 | 25.174 | 32.1656 | 32.1731 |  |  |  | #N/A
2011-18 | 22 | SEC-3 | 58 | 53 | 125 | 0 | US | 4 | 15.468 | 32.0695 | 32.0835 |  |  |  | #N/A
2011-18 | 22 | SEC-3 | 58 | 53 | 126 | 0 | US | 5 | 5.073 | 32.0178 | 32.029 |  | x | x | #N/A | x
2011-18 | 23 | SEC-4 | 52 | 48 | 127 | 0 | US | 1 | 48.122 | 32.1115 | 32.1005 |  | x | x | #N/A | x
2011-18 | 23 | SEC-4 | 52 | 48 | 128 | 0 | US | 2 | 34.931 | 32.0358 | 32.0527 |  |  |  | #N/A
2011-18 | 23 | SEC-4 | 52 | 48 | 129 | 0 | US | 3 | 25.241 | 31.9562 | 31.9596 |  |  |  | #N/A
2011-18 | 23 | SEC-4 | 52 | 48 | 130 | 0 | US | 4 | 15.344 | 31.8916 | 31.9006 |  |  |  | #N/A
2011-18 | 23 | SEC-4 | 52 | 48 | 131 | 0 | US | 5 | 5.807 | 31.8445 | 31.8601 |  | x | x | #N/A | x
2011-18 | 24 | SEC-5 | 49 | 44 | 132 | 0 | US | 1 | 44.535 | 31.8756 | 31.8848 |  | x | x | #N/A | x
2011-18 | 24 | SEC-5 | 49 | 44 | 133 | 0 | US | 2 | 34.881 | 31.8709 | 31.8782 |  |  |  | #N/A
2011-18 | 24 | SEC-5 | 49 | 44 | 134 | 0 | US | 3 | 25.664 | 31.8695 | 31.8714 |  |  |  | #N/A
2011-18 | 24 | SEC-5 | 49 | 44 | 135 | 0 | US | 4 | 15.372 | 31.8654 | 31.8773 |  |  |  | #N/A
2011-18 | 24 | SEC-5 | 49 | 44 | 136 | 0 | US | 5 | 5.073 | 31.8186 | 31.8239 |  | x | x | #N/A | x
2011-18 | 25 | SEC-6 | 47 | 42 | 137 | 0 | US | 1 | 42.541 | 31.8157 | 31.7907 |  | x | x | #N/A | x
2011-18 | 25 | SEC-6 | 47 | 42 | 138 | 0 | US | 2 | 35.183 | 31.7928 | 31.7981 |  |  |  | #N/A
2011-18 | 25 | SEC-6 | 47 | 42 | 139 | 0 | US | 3 | 25.549 | 31.7508 | 31.7601 |  |  |  | #N/A
2011-18 | 25 | SEC-6 | 47 | 42 | 140 | 0 | US | 4 | 15.623 | 31.7211 | 31.7305 |  |  |  | #N/A
2011-18 | 25 | SEC-6 | 47 | 42 | 141 | 0 | US | 5 | 5.679 | 31.7509 | 31.7388 |  | x | x | #N/A | x
2011-18 | 26 | SEC-7 | 43 | 38 | 142 | 0 | US | 1 | 38.09 | 31.4324 | 31.3986 |  | x | x | #N/A | x
2011-18 | 26 | SEC-7 | 43 | 38 | 143 | 0 | US | 2 | 35.338 | 31.4261 | 31.4335 |  |  |  | #N/A
2011-18 | 26 | SEC-7 | 43 | 38 | 144 | 0 | US | 3 | 25.427 | 31.3678 | 31.3789 |  |  |  | #N/A
2011-18 | 26 | SEC-7 | 43 | 38 | 145 | 0 | US | 4 | 15.735 | 31.3025 | 31.3286 |  |  |  | #N/A
2011-18 | 26 | SEC-7 | 43 | 38 | 146 | 0 | US | 5 | 5.239 | 30.185 | 30.4415 |  | x | x | #N/A | x
2011-18 | 27 | SEC-8 | 34 | 30 | 147 | 0 | US | 1 | 30.148 | 31.2336 | 31.2374 |  | x | x | #N/A | x
2011-18 | 27 | SEC-8 | 34 | 30 | 148 | 0 | US | 2 | 25.347 | 31.2255 | 31.3481 |  |  |  | #N/A
2011-18 | 27 | SEC-8 | 34 | 30 | 149 | 0 | US | 3 | 15.706 | 30.5307 | 30.6071 |  |  |  | #N/A
2011-18 | 27 | SEC-8 | 34 | 30 | 150 | 0 | US | 4 | 5.452 | 25.3395 | 25.9011 |  | xx | x | #N/A | x
2011-18 | 28 | CS-2011 | 19 | 15 | 151 | 0 | US | 1 | 15.595 | 31.3334 | 31.3336 |  | x | x | #N/A | x
2011-18 | 28 | CS-2011 | 19 | 15 | 152 | 0 | US | 2 | 15.605 | 31.324 | 31.3624 |  |  |  | #N/A
2011-18 | 28 | CS-2011 | 19 | 15 | 153 | 0 | US | 3 | 15.557 | 31.3574 | 31.31 |  |  |  | #N/A
2011-18 | 28 | CS-2011 | 19 | 15 | 154 | 0 | US | 4 | 4.897 | 30.9424 | 31.0543 |  | x | x | #N/A | x
2011-18 | 29 | BarC-10 | 62 | 58 | 155 | 0 | US | 1 | 57.73 | 32.37 | 32.4482 |  | x |  | 155
2011-18 | 29 | BarC-10 | 62 | 58 | 156 | 0 | US | 2 | 50.111 | 32.3669 | 32.3277 |  | x |  | 156
2011-18 | 29 | BarC-10 | 62 | 58 | 157 | 0 | US | 3 | 35.648 | 31.7025 | 31.8394 |  | xx |  | 157
2011-18 | 29 | BarC-10 | 62 | 58 | 158 | 0 | US | 4 | 26.083 | 30.8868 | 31.0132 |  | x |  | 158
2011-18 | 29 | BarC-10 | 62 | 58 | 159 | 0 | US | 5 | 15.621 | 30.8185 | 30.8921 |  | x |  | 159
2011-18 | 29 | BarC-10 | 62 | 58 | 160 | 0 | US | 6 | 4.971 | 30.7561 | 30.835 |  | x |  | 160
2011-18 | 30 | BarC-9 | 65 | 60 | 161 | 0 | US | 1 | 59.441 | 32.375 | 32.3564 |  | x |  | 161
2011-18 | 30 | BarC-9 | 65 | 60 | 162 | 0 | US | 2 | 50.371 | 32.2206 | 32.2508 |  | x |  | 162
2011-18 | 30 | BarC-9 | 65 | 60 | 163 | 0 | US | 3 | 34.997 | 31.5253 | 31.6689 |  | x |  | 163
2011-18 | 30 | BarC-9 | 65 | 60 | 164 | 0 | US | 4 | 25.075 | 30.9646 | 31.0595 |  | x |  | 164
2011-18 | 30 | BarC-9 | 65 | 60 | 165 | 0 | US | 5 | 15.26 | 30.86 | 30.9209 |  | x |  | 165
2011-18 | 30 | BarC-9 | 65 | 60 | 166 | 0 | US | 6 | 5.692 | 30.0766 | 30.3999 |  | x |  | 166
2011-18 | 31 | BarC-8 | 71 | 66 | 167 | 0 | US | 1 | 65.914 | 32.6454 | 32.4243 |  | x |  | 167
2011-18 | 31 | BarC-8 | 71 | 66 | 168 | 0 | US | 2 | 50.493 | 32.2042 | 32.2282 |  | xx |  | 168
2011-18 | 31 | BarC-8 | 71 | 66 | 169 | 0 | US | 3 | 35.679 | 31.6921 | 31.7342 |  | x |  | 169
2011-18 | 31 | BarC-8 | 71 | 66 | 170 | 0 | US | 4 | 25.737 | 31.3264 | 31.374 |  | x |  | 170
2011-18 | 31 | BarC-8 | 71 | 66 | 171 | 0 | US | 5 | 15.07 | 30.6878 | 30.7962 |  | x |  | 171
2011-18 | 31 | BarC-8 | 71 | 66 | 172 | 0 | US | 6 | 5.141 | 29.6495 | 29.8774 |  | x |  | 172
2011-18 | 32 | BarC-7 | 85 | 80 | 173 | 0 | US | 1 | 80.543 | 32.9004 | 32.8888 |  | x |  | 173
2011-18 | 32 | BarC-7 | 85 | 80 | 174 | 0 | US | 2 | 50.775 | 32.339 | 32.3502 |  | x |  | 174
2011-18 | 32 | BarC-7 | 85 | 80 | 175 | 0 | US | 3 | 35.427 | 31.8084 | 31.8685 |  | x |  | 175
2011-18 | 32 | BarC-7 | 85 | 80 | 176 | 0 | US | 4 | 25.441 | 31.7467 | 32.0408 |  | x |  | 176
2011-18 | 32 | BarC-7 | 85 | 80 | 177 | 0 | US | 5 | 15.559 | 31.6994 | 31.9832 |  | x |  | 177
2011-18 | 32 | BarC-7 | 85 | 80 | 178 | 0 | US | 6 | 5.075 | 30.2569 | 30.7215 |  | x |  | 178
2011-18 | 33 | BarC-6 | 108 | 100 | 179 | 0 | US | 1 | 100.888 | 32.9159 | 32.9285 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 180 | 0 | US | 2 | 75.852 | 32.9121 | 32.8885 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 181 | 0 | US | 3 | 50.701 | 32.4819 | 32.4823 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 182 | 0 | US | 4 | 35.345 | 32.3871 | 32.3994 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 183 | 0 | US | 5 | 25.679 | 32.286 | 32.2959 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 184 | 0 | US | 6 | 14.641 | 32.3055 | 32.3253 |  |  |  | #N/A
2011-18 | 33 | BarC-6 | 108 | 100 | 185 | 0 | US | 7 | 5.461 | 31.5091 | 31.5354 |  |  |  | #N/A
2011-18 | 34 | BarC-5 | 126 | 120 | 186 | 0 | US | 1 | 120.623 | 32.8799 | 32.9551 |  | x |  | 186
2011-18 | 34 | BarC-5 | 126 | 120 | 187 | 0 | US | 2 | 100.28 | 32.8802 | 32.9717 |  | x |  | 187
2011-18 | 34 | BarC-5 | 126 | 120 | 188 | 0 | US | 3 | 75.395 | 32.8751 | 32.9147 |  | x |  | 188
2011-18 | 34 | BarC-5 | 126 | 120 | 189 | 0 | US | 4 | 49.774 | 32.6943 | 32.8168 |  | x |  | 189
2011-18 | 34 | BarC-5 | 126 | 120 | 190 | 0 | US | 6 | 35.656 | 32.5657 | 32.5888 |  | x |  | 190
2011-18 | 34 | BarC-5 | 126 | 120 | 191 | 0 | US | 8 | 25.393 | 32.3797 | 32.6823 |  | xx |  | 191
2011-18 | 34 | BarC-5 | 126 | 120 | 192 | 0 | US | 10 | 14.838 | 32.3433 | 32.658 |  | x |  | 192
2011-18 | 34 | BarC-5 | 126 | 120 | 193 | 0 | US | 12 | 5.108 | 32.0832 | 32.4165 |  | x |  | 193
2011-18 | 35 | BarC-4 | 111 | 106 | 194 | 0 | US | 1 | 106.603 | 32.6305 | 32.7405 |  | x |  | 194
2011-18 | 35 | BarC-4 | 111 | 106 | 195 | 0 | US | 2 | 100.481 | 32.6325 | 32.6419 |  | xx |  | 195
2011-18 | 35 | BarC-4 | 111 | 106 | 196 | 0 | US | 3 | 75.206 | 32.5778 | 32.5948 |  | x |  | 196
2011-18 | 35 | BarC-4 | 111 | 106 | 197 | 0 | US | 4 | 50.866 | 32.5279 | 32.5397 |  | x |  | 197
2011-18 | 35 | BarC-4 | 111 | 106 | 198 | 0 | US | 5 | 35.702 | 32.5116 | 32.5058 |  | x |  | 198
2011-18 | 35 | BarC-4 | 111 | 106 | 199 | 0 | US | 6 | 25.74 | 32.4876 | 32.4936 |  | x |  | 199
2011-18 | 35 | BarC-4 | 111 | 106 | 200 | 0 | US | 7 | 15.211 | 32.4972 | 32.5058 |  | x |  | 200
2011-18 | 35 | BarC-4 | 111 | 106 | 201 | 0 | US | 8 | 6.141 | 32.3827 | 32.413 |  | x |  | 201
2011-18 | 36 | BarC-3 | 91 | 86 | 202 | 0 | US | 1 | 86.463 | 32.424 | 32.4335 |  | x |  | 202
2011-18 | 36 | BarC-3 | 91 | 86 | 203 | 0 | US | 2 | 74.797 | 32.4215 | 32.4299 |  | x |  | 203
2011-18 | 36 | BarC-3 | 91 | 86 | 204 | 0 | US | 3 | 51.056 | 32.42 | 32.4262 |  | x |  | 204
2011-18 | 36 | BarC-3 | 91 | 86 | 205 | 0 | US | 4 | 35.691 | 32.419 | 32.4249 |  | x |  | 205
2011-18 | 36 | BarC-3 | 91 | 86 | 206 | 0 | US | 5 | 24.843 | 32.4189 | 32.4554 |  | x |  | 206
2011-18 | 36 | BarC-3 | 91 | 86 | 207 | 0 | US | 6 | 14.721 | 32.208 | 32.2745 |  | xx |  | 207
2011-18 | 36 | BarC-3 | 91 | 86 | 208 | 0 | US | 7 | 5.226 | 31.3611 | 31.3537 |  | x |  | 208
2011-18 | 37 | BarC-2 | 59 | 54 | 209 | 0 | US | 1 | 53.858 | 32.2325 | 32.2185 |  | x |  | 209
2011-18 | 37 | BarC-2 | 59 | 54 | 210 | 0 | US | 2 | 25.086 | 32.2232 | 32.2314 |  | x |  | 210
2011-18 | 37 | BarC-2 | 59 | 54 | 211 | 0 | US | 3 | 15.148 | 31.8794 | 32.0203 |  | x |  | 211
2011-18 | 37 | BarC-2 | 59 | 54 | 212 | 0 | US | 4 | 5.559 | 31.1843 | 31.2018 |  | x |  | 212
2011-18 | 38 | BarC-10 | 48 | 43 | 213 | 0 | US | 1 | 43.16 | 31.8874 | 31.8572 |  | x |  | 213
2011-18 | 38 | BarC-10 | 48 | 43 | 214 | 0 | US | 2 | 25.905 | 31.8736 | 31.8744 |  | x |  | 214
2011-18 | 38 | BarC-10 | 48 | 43 | 215 | 0 | US | 3 | 15.754 | 31.6303 | 31.7351 |  | x |  | 215
2011-18 | 38 | BarC-10 | 48 | 43 | 216 | 0 | US | 4 | 5.269 | 31.1388 | 31.1567 |  | x |  | 216
88

## Results
Template for Data - please add updated data in black
DIC | [14 empty] | Alkalinity
Date of analysis | Time of analysis | System | Sample Number | Sample volume (250 or 500ml) | umol | Temp of analysis | Salinity | Density | Pipette volume | Uncorr. DIC | CRM certified value | CRM daily value | Correction factor | Corrected DIC | Date of analysis | Time of analysis | System | Sample Number | Sample volume (250 or 500ml) | Enot | Uncorr. Alk | CRM certified value | CRM daily value | Correction factor | Corrected Alk
[5 empty] | C | C |  | kg/m3 |  | umol/kg | umol/kg | umol/kg |  | umol/kg | [6 empty] | umol/kg | umol/kg | umol/kg |  | umol/kg
|  | SOMMA I | 8 | 250 | 565.06 | 20 | 32.2877 | 1.0227 | 20.9951 | 2198.7687 | 2007.45 | 2006.4906 | 1.0005 | 2200.7
|  | SOMMA I | 27 | 250 | 562.98 | 20 | 32.6306 | 1.023 | 20.9951 | 2190.1155 | 2007.45 | 2006.4906 | 1.0005 | 2192.0392 | 20120704 | 1152 | IOS #1 | 27 | 250 | 0.386 | 2169.13 | 2242.84 | 2239.1 | 1.0017 | 2173.6222
|  | SOMMA I | 39 | 250 | 494.74 | 20 | 31.3033 | 1.0219 | 20.9951 | 1926.5508 | 2007.45 | 2007.7734 | 0.99984 | 1927.0109 | 20120627 | 1212 | IOS #3 | 39 | 250 | 0.385 | 2137.16 | 2242.84 | 2237.48 | 1.0024 | 2143.1366
|  | SOMMA I | 40 | 250 | 556.92 | 20 | 32.1061 | 1.0226 | 20.9951 | 2167.3873 | 2007.45 | 2007.7734 | 0.99984 | 2167.905 | 20120628 | 1035 | IOS #1 | 40 | 250 | 0.387 | 2178.38 | 2242.84 | 2239.49 | 1.0015 | 2182.5112
|  | SOMMA I | 44 | 250 | 493.65 | 20 | 31.6032 | 1.0222 | 20.9951 | 1921.8769 | 2007.45 | 2006.4906 | 1.0005 | 1923.565 | 20120704 | 1237 | IOS #1 | 44 | 250 | 0.386 | 2137.78 | 2242.84 | 2239.1 | 1.0017 | 2142.2073
|  | SOMMA I | 65 | 250 | 528.03 | 20 | 31.9982 | 1.0225 | 20.9951 | 2055.1202 | 2007.45 | 2006.4906 | 1.0005 | 2056.9253 | 20120624 | 1152 | IOS #3 | 65 | 250 | 0.383 | 2181.39 | 2242.84 | 2241.64 | 1.0005 | 2183.4308
|  | SOMMA I | 69 | 250 | 534.84 | 20 | 31.892 | 1.0224 | 20.9951 | 2081.7898 | 2007.45 | 2007.7734 | 0.99984 | 2082.287 | 20120628 | 1059 | IOS #1 | 69 | 250 | 0.387 | 2157.63 | 2242.84 | 2239.49 | 1.0015 | 2161.7219
|  | SOMMA I | 70 | 250 | 525.55 | 20 | 31.8091 | 1.0223 | 20.9951 | 2045.756 | 2007.45 | 2007.7734 | 0.99984 | 2046.2447 | 20120626 | 1127 | IOS #3 | 70 | 250 | 0.38 | 2180.98 | 2242.84 | 2242.34 | 1.0002 | 2182.3389
|  | SOMMA I | 74 | 250 | 507.59 | 20 | 31.6363 | 1.0222 | 20.9951 | 1976.0993 | 2007.45 | 2007.7734 | 0.99984 | 1976.5713 | 20120628 | 1133 | IOS #1 | 74 | 250 | 0.387 | 2146.29 | 2242.84 | 2239.49 | 1.0015 | 2150.3604
|  | SOMMA I | 155 | 250 | 557.8 | 20 | 32.4482 | 1.0228 | 20.9951 | 2170.259 | 2007.45 | 2007.7734 | 0.99984 | 2170.7773 | 20120629 | 910 | IOS #1 | 155 | 250 | 0.388 | 2215.27 | 2242.84 | 2238.07 | 1.0021 | 2220.8794
|  | SOMMA I | 156 | 250 | 559.12 | 20 | 32.3277 | 1.0227 | 20.9951 | 2175.5901 | 2007.45 | 2007.7734 | 0.99984 | 2176.1097 | 20120627 | 1240 | IOS #3 | 156 | 250 | 0.386 | 2220.21 | 2242.84 | 2237.48 | 1.0024 | 2226.4188
|  | SOMMA I | 157 | 250 | 516.84 | 20 | 31.8394 | 1.0224 | 20.9951 | 2011.806 | 2007.45 | 2007.7734 | 0.99984 | 2012.2865 | 20120626 | 1226 | IOS #3 | 157 | 250 | 0.38 | 2201.21 | 2242.84 | 2242.34 | 1.0002 | 2202.5815
|  | SOMMA I | 157 | 250 | 517.02 | 20 | 31.8394 | 1.0224 | 20.9951 | 2012.5067 | 2007.45 | 2007.7734 | 0.99984 | 2012.9874 | 20120629 | 1112 | IOS #1 | 157 | 250 | 0.388 | 2193.92 | 2242.84 | 2238.07 | 1.0021 | 2199.4753
|  | SOMMA I | 158 | 250 | 518.87 | 20 | 31.0132 | 1.0217 | 20.9951 | 2020.9514 | 2007.45 | 2007.7734 | 0.99984 | 2021.4341 | 20120629 | 844 | IOS #1 | 158 | 250 | 0.388 | 2160.44 | 2242.84 | 2238.07 | 1.0021 | 2165.9106
|  | SOMMA I | 159 | 250 | 509.77 | 20 | 30.8921 | 1.0216 | 20.9951 | 1985.6868 | 2007.45 | 2007.8901 | 0.99978 | 1986.0457 | 20120628 | 917 | IOS #1 | 159 | 250 | 0.387 | 2140.08 | 2242.84 | 2239.49 | 1.0015 | 2144.1386
|  | SOMMA I | 160 | 250 | 508.09 | 20 | 30.835 | 1.0216 | 20.9951 | 1979.2271 | 2007.45 | 2006.4906 | 1.0005 | 1980.9656 | 20120704 | 913 | IOS #1 | 160 | 250 | 0.386 | 2122.03 | 2242.84 | 2239.1 | 1.0017 | 2126.4247
|  | SOMMA I | 161 | 250 | 564.14 | 20 | 32.3564 | 1.0227 | 20.9951 | 2195.0764 | 2007.45 | 2006.4906 | 1.0005 | 2197.0045 | 20120703 | 1341 | IOS #1 | 161 | 250 | 0.386 | 2179.56 | 2242.84 | 2238.07 | 1.0021 | 2185.079
|  | SOMMA I | 162 | 250 | 555.87 | 20 | 32.2508 | 1.0227 | 20.9951 | 2163.0679 | 2007.45 | 2006.4906 | 1.0005 | 2164.9678 | 20120629 | 1239 | IOS #1 | 162 | 250 | 0.387 | 2188.31 | 2242.84 | 2238.07 | 1.0021 | 2193.8511
|  | SOMMA I | 163 | 250 | 537.69 | 20 | 31.6689 | 1.0222 | 20.9951 | 2093.2309 | 2007.45 | 2006.4906 | 1.0005 | 2095.0695 | 20120627 | 1053 | IOS #3 | 163 | 250 | 0.385 | 2199.28 | 2242.84 | 2237.48 | 1.0024 | 2205.4303
|  | SOMMA I | 164 | 250 | 509.89 | 20 | 31.0595 | 1.0218 | 20.9951 | 1985.9067 | 2007.45 | 2006.4906 | 1.0005 | 1987.651 | 20120627 | 1432 | IOS #4 | 164 | 250 | 0.385 | 2164.54 | 2242.84 | 2237.48 | 1.0024 | 2170.5932
|  | SOMMA I | 165 | 250 | 511.15 | 20 | 30.9209 | 1.0217 | 20.9951 | 1991.0197 | 2007.45 | 2007.7734 | 0.99984 | 1991.4953 | 20120629 | 1002 | IOS #1 | 165 | 250 | 0.388 | 2137.11 | 2242.84 | 2238.07 | 1.0021 | 2142.5215
|  | SOMMA I | 166 | 250 | 504.83 | 20 | 30.3999 | 1.0213 | 20.9951 | 1967.1656 | 2007.45 | 2006.4906 | 1.0005 | 1968.8935 | 20120628 | 1003 | IOS #1 | 166 | 250 | 0.387 | 2024.58 | 2242.84 | 2239.49 | 1.0015 | 2028.4196
|  | SOMMA I | 167 | 250 | 563.08 | 20 | 32.4243 | 1.0228 | 20.9951 | 2190.8412 | 2007.45 | 2007.3069 | 1.0001 | 2191.8738 | 20120628 | 1411 | IOS #1 | 167 | 250 | 0.386 | 2098.21 | 2242.84 | 2239.49 | 1.0015 | 2102.1892
|  | SOMMA I | 168 | 250 | 556.14 | 20 | 32.2282 | 1.0227 | 20.9951 | 2164.155 | 2007.45 | 2006.4906 | 1.0005 | 2166.0559 | 20120704 | 956 | IOS #1 | 168 | 250 | 0.386 | 2148.47 | 2242.84 | 2239.1 | 1.0017 | 2152.9194
|  | SOMMA I | 169 | 250 | 539.9 | 20 | 31.7342 | 1.0223 | 20.9951 | 2101.7321 | 2007.45 | 2007.8901 | 0.99978 | 2102.112 | 20120624 | 1342 | IOS #3 | 169 | 250 | 0.383 | 2207.29 | 2242.84 | 2241.64 | 1.0005 | 2209.355
|  | SOMMA I | 170 | 250 | 529.14 | 20 | 31.374 | 1.022 | 20.9951 | 2060.3983 | 2007.45 | 2006.4906 | 1.0005 | 2062.2081 | 20120624 | 1519 | IOS #3 | 170 | 250 | 0.383 | 2198.42 | 2242.84 | 2241.64 | 1.0005 | 2200.4767
|  | SOMMA I | 171 | 250 | 510.15 | 20 | 30.7962 | 1.0216 | 20.9951 | 1987.3091 | 2007.45 | 2007.8901 | 0.99978 | 1987.6683 | 20120624 | 1543 | IOS #3 | 171 | 250 | 0.383 | 2145.15 | 2242.84 | 2241.64 | 1.0005 | 2147.1569
|  | SOMMA I | 172 | 250 | 498.77 | 20 | 29.8774 | 1.0209 | 20.9951 | 1944.3087 | 2007.45 | 2006.4906 | 1.0005 | 1946.0165 | 20120704 | 1127 | IOS #1 | 172 | 250 | 0.386 | 2090.53 | 2242.84 | 2239.1 | 1.0017 | 2094.8595
|  | SOMMA I | 173 | 250 | 564.86 | 20 | 32.8888 | 1.0232 | 20.9951 | 2197.0067 | 2007.45 | 2005.9852 | 1.0007 | 2199.4904 | 20120624 | 1420 | IOS #3 | 173 | 250 | 0.383 | 2270.76 | 2242.84 | 2241.64 | 1.0005 | 2272.8844
|  | SOMMA I | 174 | 250 | 559.41 | 20 | 32.3502 | 1.0227 | 20.9951 | 2176.6821 | 2007.45 | 2007.8901 | 0.99978 | 2177.0755 | 20120628 | 1220 | IOS #1 | 174 | 250 | 0.387 | 2215.99 | 2242.84 | 2239.49 | 1.0015 | 2220.1926
|  | SOMMA I | 175 | 250 | 534.97 | 20 | 31.8685 | 1.0224 | 20.9951 | 2082.3322 | 2007.45 | 2007.8901 | 0.99978 | 2082.7086 | 20120624 | 1314 | IOS #3 | 175 | 250 | 0.383 | 2214.83 | 2242.84 | 2241.64 | 1.0005 | 2216.9021
|  | SOMMA I | 176 | 250 | 518.12 | 20 | 32.0408 | 1.0225 | 20.9951 | 2016.4859 | 2007.45 | 2005.9852 | 1.0007 | 2018.7656 | 20120624 | 1457 | IOS #3 | 176 | 250 | 0.383 | 2201.28 | 2242.84 | 2241.64 | 1.0005 | 2203.3394
|  | SOMMA I | 177 | 250 | 516.78 | 20 | 31.9832 | 1.0225 | 20.9951 | 2011.3571 | 2007.45 | 2007.7734 | 0.99984 | 2011.8375 | 20120628 | 839 | IOS #1 | 177 | 250 | 0.387 | 2179.57 | 2242.84 | 2239.49 | 1.0015 | 2183.7035
|  | SOMMA I | 178 | 250 | 506.56 | 20 | 30.7215 | 1.0215 | 20.9951 | 1973.434 | 2007.45 | 2007.7734 | 0.99984 | 1973.9054 | 20120626 | 1159 | IOS #3 | 178 | 250 | 0.38 | 2157.54 | 2242.84 | 2242.34 | 1.0002 | 2158.8843
|  | SOMMA I | 186 | 250 | 561.76 | 20 | 32.9551 | 1.0232 | 20.9951 | 2184.8415 | 2007.45 | 2007.8901 | 0.99978 | 2185.2364 | 20120625 | 934 | IOS #3 | 186 | 250 | 0.382 | 2258.01 | 2242.84 | 2239.01 | 1.0017 | 2262.7772
|  | SOMMA I | 187 | 250 | 561.74 | 20 | 32.9717 | 1.0232 | 20.9951 | 2184.7367 | 2007.45 | 2007.8901 | 0.99978 | 2185.1315 | 20120625 | 1225 | IOS #3 | 187 | 250 | 0.382 | 2259.88 | 2242.84 | 2239.01 | 1.0017 | 2264.6512
|  | SOMMA I | 188 | 250 | 560.86 | 20 | 32.9147 | 1.0232 | 20.9951 | 2181.4067 | 2007.45 | 2005.9852 | 1.0007 | 2183.8728 | 20120627 | 1146 | IOS #3 | 188 | 250 | 0.385 | 2250.42 | 2242.84 | 2237.48 | 1.0024 | 2256.7133
|  | SOMMA I | 189 | 250 | 565.35 | 20 | 32.8168 | 1.0231 | 20.9951 | 2199.0304 | 2007.45 | 2005.9852 | 1.0007 | 2201.5164 | 20120624 | 1439 | IOS #3 | 189 | 250 | 0.383 | 2261.11 | 2242.84 | 2241.64 | 1.0005 | 2263.2254
|  | SOMMA I | 190 | 250 | 544.68 | 20 | 32.5888 | 1.0229 | 20.9951 | 2118.9905 | 2007.45 | 2006.6072 | 1.0004 | 2120.7285 | 20120625 | 1050 | IOS #3 | 190 | 250 | 0.382 | 2248.49 | 2242.84 | 2239.01 | 1.0017 | 2253.2372
|  | SOMMA I | 191 | 250 | 532.2 | 20 | 32.6823 | 1.023 | 20.9951 | 2070.2949 | 2007.45 | 2005.9852 | 1.0007 | 2072.6354 | 20120624 | 1401 | IOS #3 | 191 | 250 | 0.383 | 2243.53 | 2242.84 | 2241.64 | 1.0005 | 2245.6289
|  | SOMMA I | 191 | 250 | 532.48 | 20 | 32.6823 | 1.023 | 20.9951 | 2071.3842 | 2007.45 | 2005.9852 | 1.0007 | 2073.7259 | 20120629 | 937 | IOS #1 | 191 | 250 | 0.388 | 2237.66 | 2242.84 | 2238.07 | 1.0021 | 2243.3261
|  | SOMMA I | 192 | 250 | 522.59 | 20 | 32.658 | 1.023 | 20.9951 | 2032.9481 | 2007.45 | 2007.8901 | 0.99978 | 2033.3156 | 20120628 | 1245 | IOS #1 | 192 | 250 | 0.387 | 2230.45 | 2242.84 | 2239.49 | 1.0015 | 2234.68
|  | SOMMA I | 193 | 250 | 518.33 | 20 | 32.4165 | 1.0228 | 20.9951 | 2016.7389 | 2007.45 | 2006.6072 | 1.0004 | 2018.393 | 20120629 | 1149 | IOS #1 | 193 | 250 | 0.388 | 2214.34 | 2242.84 | 2238.07 | 1.0021 | 2219.947
|  | SOMMA I | 194 | 250 | 539.33 | 20 | 32.7405 | 1.023 | 20.9951 | 2097.9401 | 2007.45 | 2005.9852 | 1.0007 | 2100.3119 | 20120625 | 1310 | IOS #3 | 194 | 250 | 0.382 | 2248.2 | 2242.84 | 2239.01 | 1.0017 | 2252.9465
|  | SOMMA I | 195 | 250 | 540.05 | 20 | 32.6419 | 1.023 | 20.9951 | 2100.8952 | 2007.45 | 2007.8901 | 0.99978 | 2101.275 | 20120628 | 939 | IOS #1 | 195 | 250 | 0.387 | 2238.87 | 2242.84 | 2239.49 | 1.0015 | 2243.116
|  | SOMMA I | 195 | 250 | 540.25 | 20 | 32.6419 | 1.023 | 20.9951 | 2101.6733 | 2007.45 | 2007.3069 | 1.0001 | 2102.6638 | 20120703 | 1131 | IOS #1 | 195 | 250 | 0.386 | 2237.19 | 2242.84 | 2238.07 | 1.0021 | 2242.8549
|  | SOMMA I | 196 | 250 | 537.36 | 20 | 32.5948 | 1.0229 | 20.9951 | 2090.5039 | 2007.45 | 2006.6072 | 1.0004 | 2092.2185 | 20120625 | 1010 | IOS #3 | 196 | 250 | 0.382 | 2242.49 | 2242.84 | 2239.01 | 1.0017 | 2247.2245
|  | SOMMA I | 197 | 250 | 537.16 | 20 | 32.5397 | 1.0229 | 20.9951 | 2089.8117 | 2007.45 | 2006.6072 | 1.0004 | 2091.5257 | 20120624 | 1602 | IOS #3 | 197 | 250 | 0.383 | 2245.11 | 2242.84 | 2241.64 | 1.0005 | 2247.2104
|  | SOMMA I | 198 | 250 | 537.75 | 20 | 32.5058 | 1.0229 | 20.9951 | 2092.1599 | 2007.45 | 2005.9852 | 1.0007 | 2094.5251 | 20120624 | 1249 | IOS #3 | 198 | 250 | 0.383 | 2241.27 | 2242.84 | 2241.64 | 1.0005 | 2243.3668
|  | SOMMA I | 199 | 250 | 537.72 | 20 | 32.4936 | 1.0229 | 20.9951 | 2092.0621 | 2007.45 | 2007.8901 | 0.99978 | 2092.4403 | 20120628 | 1158 | IOS #1 | 199 | 250 | 0.387 | 2224.56 | 2242.84 | 2239.49 | 1.0015 | 2228.7788
|  | SOMMA I | 200 | 250 | 535.71 | 20 | 32.5058 | 1.0229 | 20.9951 | 2084.223 | 2007.45 | 2006.6072 | 1.0004 | 2085.9325 | 20120625 | 1250 | IOS #3 | 200 | 250 | 0.382 | 2240.83 | 2242.84 | 2239.01 | 1.0017 | 2245.561
|  | SOMMA I | 201 | 250 | 521.47 | 20 | 32.413 | 1.0228 | 20.9951 | 2028.9614 | 2007.45 | 2006.6072 | 1.0004 | 2030.6255 | 20120625 | 1111 | IOS #3 | 201 | 250 | 0.382 | 2235.57 | 2242.84 | 2239.01 | 1.0017 | 2240.2899
|  | SOMMA I | 202 | 250 | 538.79 | 20 | 32.4335 | 1.0228 | 20.9951 | 2096.3189 | 2007.45 | 2007.3069 | 1.0001 | 2097.3069 | 20120629 | 1048 | IOS #1 | 202 | 250 | 0.388 | 2214.78 | 2242.84 | 2238.07 | 1.0021 | 2220.3882
|  | SOMMA I | 203 | 250 | 538.86 | 20 | 32.4299 | 1.0228 | 20.9951 | 2096.5969 | 2007.45 | 2007.3069 | 1.0001 | 2097.5851 | 20120703 | 1020 | IOS #1 | 203 | 250 | 0.386 | 2139.7 | 2242.84 | 2238.07 | 1.0021 | 2145.118
|  | SOMMA I | 204 | 250 | 538.7 | 20 | 32.4262 | 1.0228 | 20.9951 | 2095.9802 | 2007.45 | 2007.3069 | 1.0001 | 2096.968 | 20120704 | 1213 | IOS #1 | 204 | 250 | 0.386 | 2201.99 | 2242.84 | 2239.1 | 1.0017 | 2206.5503
|  | SOMMA I | 205 | 250 | 538.86 | 20 | 32.4249 | 1.0228 | 20.9951 | 2096.6046 | 2007.45 | 2006.4906 | 1.0005 | 2098.4462 | 20120703 | 1249 | IOS #1 | 205 | 250 | 0.386 | 2217.43 | 2242.84 | 2238.07 | 1.0021 | 2223.0449
|  | SOMMA I | 206 | 250 | 538.77 | 20 | 32.4554 | 1.0228 | 20.9951 | 2096.2069 | 2007.45 | 2006.4906 | 1.0005 | 2098.0481 | 20120704 | 1251 | IOS #1 | 206 | 250 | 0.386 | 2224.85 | 2242.84 | 2239.1 | 1.0017 | 2229.4576
|  | SOMMA I | 207 | 250 | 522.53 | 20 | 32.2745 | 1.0227 | 20.9951 | 2033.2954 | 2007.45 | 2007.3069 | 1.0001 | 2034.2537 | 20120627 | 1114 | IOS #3 | 207 | 250 | 0.385 | 2213.06 | 2242.84 | 2237.48 | 1.0024 | 2219.2488
|  | SOMMA I | 207 | 250 | 500.83 | 20 | 32.2745 | 1.0227 | 20.9951 | 1948.8553 | 2007.45 | 2007.3069 | 1.0001 | 1949.7738 | 20120629 | 1305 | IOS #1 | 207 | 250 | 0.387 | 2176.8 | 2242.84 | 2238.07 | 1.0021 | 2182.312
|  | SOMMA I | 208 | 250 | 505.71 | 20 | 31.3537 | 1.022 | 20.9951 | 1969.1947 | 2007.45 | 2007.3069 | 1.0001 | 1970.1228 | 20120704 | 1104 | IOS #1 | 208 | 250 | 0.386 | 2148.74 | 2242.84 | 2239.1 | 1.0017 | 2153.19
|  | SOMMA I | 209 | 250 | 531.58 | 20 | 32.2185 | 1.0226 | 20.9951 | 2068.5975 | 2007.45 | 2007.3069 | 1.0001 | 2069.5724 | 20120704 | 1042 | IOS #1 | 209 | 250 | 0.386 | 2216.65 | 2242.84 | 2239.1 | 1.0017 | 2221.2406
|  | SOMMA I | 210 | 250 | 531.84 | 20 | 32.2314 | 1.0227 | 20.9951 | 2069.5894 | 2007.45 | 2007.3069 | 1.0001 | 2070.5648 | 20120703 | 1421 | IOS #1 | 210 | 250 | 0.386 | 2172.43 | 2242.84 | 2238.07 | 1.0021 | 2177.9309
|  | SOMMA I | 211 | 250 | 502.88 | 20 | 32.0203 | 1.0225 | 20.9951 | 1957.2029 | 2007.45 | 2006.4906 | 1.0005 | 1958.922 | 20120703 | 1442 | IOS #1 | 211 | 250 | 0.386 | 2150.31 | 2242.84 | 2238.07 | 1.0021 | 2155.7549
|  | SOMMA I | 212 | 250 | 508.15 | 20 | 31.2018 | 1.0219 | 20.9951 | 1978.9199 | 2007.45 | 2007.3069 | 1.0001 | 1979.8525 | 20120629 | 1030 | IOS #1 | 212 | 250 | 0.388 | 2137.98 | 2242.84 | 2238.07 | 1.0021 | 2143.3937
|  | SOMMA I | 213 | 250 | 524.28 | 20 | 31.8572 | 1.0224 | 20.9951 | 2040.7394 | 2007.45 | 2007.3069 | 1.0001 | 2041.7012 | 20120704 | 1018 | IOS #1 | 213 | 250 | 0.386 | 2195.08 | 2242.84 | 2239.1 | 1.0017 | 2199.626
|  | SOMMA I | 214 | 250 | 523.28 | 20 | 31.8744 | 1.0224 | 20.9951 | 2036.8207 | 2007.45 | 2007.3069 | 1.0001 | 2037.7807 | 20120703 | 1318 | IOS #1 | 214 | 250 | 0.386 | 2189.78 | 2242.84 | 2238.07 | 1.0021 | 2195.3249
|  | SOMMA I | 215 | 250 | 518.67 | 20 | 31.7351 | 1.0223 | 20.9951 | 2019.0863 | 2007.45 | 2007.3069 | 1.0001 | 2020.0379 | 20120703 | 1158 | IOS #1 | 215 | 250 | 0.386 | 2175.96 | 2242.84 | 2238.07 | 1.0021 | 2181.4699
|  | SOMMA I | 216 | 250 | 504.2 | 20 | 31.1567 | 1.0218 | 20.9951 | 1963.6032 | 2007.45 | 2006.4906 | 1.0005 | 1965.3279 | 20120703 | 1110 | IOS #1 | 216 | 250 | 0.386 | 2145.86 | 2242.84 | 2238.07 | 1.0021 | 2151.2936
|  |  | ad |  | 516.14 | 20 | 33.572 | 1.0237 | 20.9951 | 2006.4906 |  |  |  |  | 20120624 | 814 | IOS #3 | AD |  | 0.383 | 2241.64
|  |  | ad |  | 516.17 | 20 | 33.572 | 1.0237 | 20.9951 | 2006.6072 |  |  |  |  | 20120625 | 858 | IOS #3 | AD |  | 0.382 | 2239.01
|  |  | ad |  | 516.5 | 20 | 33.572 | 1.0237 | 20.9951 | 2007.8901 |  |  |  |  | 20120626 | 1101 | IOS #3 | AD |  | 0.38 | 2242.34
|  |  | ad |  | 516.01 | 20 | 33.572 | 1.0237 | 20.9951 | 2005.9852 |  |  |  |  | 20120627 | 1030 | IOS #3 | AD |  | 0.385 | 2237.48
|  |  | ad |  | 516.47 | 20 | 33.572 | 1.0237 | 20.9951 | 2007.7734 |  |  |  |  | 20120628 | 815 | IOS #1 | AD |  | 0.387 | 2239.49
|  |  | ad |  | 516.14 | 20 | 33.572 | 1.0237 | 20.9951 | 2006.4906 |  |  |  |  | 20120629 | 822 | IOS #1 | AD |  | 0.388 | 2238.07
|  |  | ad |  | 516.35 | 20 | 33.572 | 1.0237 | 20.9951 | 2007.3069 |  |  |  |  | 20120703 | 1003 | IOS #1 | AD |  | 0.386 | 2238.07
[15 empty] | 20120704 | 853 | IOS #1 | AD |  | 0.386 | 2239.1

## META
Total Inorganic Carbon
Coulometric titration
| Reference: | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 250-ml glass bottles with ground glass stoppers sealed with Apiezon M grease, electrical tape.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as alkalinity
Instrument: |  | SOMMA 1
Standardization technique: |  | CRM water
Analysis temperature (C): |  | 20
Analyst: |  | M. Davelaar
Standard used:
Dickson CRM |  | 115
certified value |  | 2007.45
correction formula
CRM correction formula
(known standard value/measured standard value) X analyzed sample value X 1.0004 (HgCl2 correction)
DIC calculation formula
SOMMA 1
ug Carbon *12.01/(pipette volume*denisty)*1000*1.003442*HgCl2 correction*CRM correction factor
| HgCl2 correction factor |  | 1.0004 for 250ml bottles
| CRM correction factor |  | (certified value/measured value)
| system calibration factor |  | 1.0034
Notes:
http://cdiac.esd.ornl.gov/oceans/Dickson_CRM/rmdata/Batch115.pdf
Total Alkalinity
Potentiometric titration
| Reference: | Dickson, A.G., Sabine, C.L. and Christian, J.R. (Eds.) 2007. Guide to best practices for ocean CO2 measurements. PICES Special Publication 3, 191 pp.
Sampling: | Collected in 250-ml glass bottles with ground glass stoppers sealed with Apiezon M grease and electrical tape.
Poisoned w/ 100 microlitres saturated HgCl2
Stored at 4 C in the dark and analyzed ashore
Analysis from the same glass bottle as alkalinity
Cell type |  | Open
Endpoint determination |  | Non-linear least squares fit
Instrument |  | IOS #1, IOS#3
Analyst |  | M. Davelaar
Standard used:
Dickson CRM |  | 115
certified value |  | 2242.84
Analysis temperature (C) |  | 25
Acid batch |  | 9
acid concentration |  | 0.09958
sample weight |  | approx. 100 g
correction formula
(uncorreted alkalinity*CRM correction factor *HgCl2 correction)
| HgCl2 correction factor |  | 1.0004 for 250ml bottles
| CRM correction factor |  | (certified value/measured value)
NOTES:
http://cdiac.esd.ornl.gov/oceans/Dickson_CRM/rmdata/Batch115.pdf