## Notes
Cruise 2011-24 April Sutherland | File: Cocc2011-24\QF 2011-24nuts.xls
Date : May 30, 2011
The nutrient tube was missing for Sample 23.
The nutrient tube was missing for Sample 44. A line was drawn through that row on the rosette log. Perhaps it was a misfire?
Samples 30 and 53 were bucket samples and the phosphates had poor peak shape.
This may be a turbidity issue if the Salinity was low in these inlets.
Four stations were rerun for nitrate since we were having drift problems with the column when they were first analyzed.
The Chauvent criteria was used to evaluate precision of duplicates.
Outliers were omitted from the Precision Statement.
Cast #4 was mistakenly identified as #3 on the rosette sheet

## Method
Cruise 2011-24 April Sutherland |  | File: Cocc2011-24\QF 2011-24nuts.xls
Date : May 30, 2011
Samples were collected in plastic test tubes.
Samples were stored frozen and later analysed at IOS by Wendy Richardson.
The Astoria Analyzer was used for sample analyses.
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Nutrient Analysis specific examples for quality flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).

## Station Data
Cruise 2011-24 April Sutherland | [9 empty] | File: Cocc2011-24\QF 2011-24nuts.xls
Nutrient data summary with Quality Flags | [9 empty] | Date : May 30, 2011
Samples were collected in plastic test tubes. | [9 empty] | Duplicates
Samples were stored frozen and later analysed at IOS by Wendy Richardson. | [9 empty] | Important comments
The Astoria Analyzer was used for sample analyses. | [9 empty] | Niskin didn't close
Quality Flags:
1 | Sample for this measurement was drawn from water bottle but not analyzed
3 | Questionable measurement
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value
5 | Measurement not reported because the value was clearly bad.
6 | Mean of replicate measurements
9 | Sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (uM) | QF | (uM) | QF | (uM) | QF
2011-24 | ScIR | 1 | 6 | 15.4 |  | 36.9 |  | 1.5
2011-24 | ScIR | 1 | 5 | 16.4 | 6 | 37.9 | 6 | 1.56 | 6
2011-24 | ScIR | 1 | 4 | 17.9 |  | 39.9 |  | 1.72
2011-24 | ScIR | 1 | 3 | 20.8 |  | 44.2 |  | 1.91
2011-24 | ScIR | 1 | 2 | 27.8 |  | 54.6 |  | 2.31
2011-24 | ScIR | 1 | 1 | 28.5 |  | 55 |  | 2.39
2011-24 | ScI1 | 2 | 16 | 3 |  | 15.6 |  | 0.63
2011-24 | ScI1 | 2 | 15 | 8 |  | 22.9 |  | 1.07
2011-24 | ScI1 | 2 | 14 | 12.8 |  | 30.5 |  | 1.42
2011-24 | ScI1 | 2 | 13 | 17.4 | 6 | 37.85 | 6 | 1.73 | 6
2011-24 | ScI1 | 2 | 12 | 19.1 |  | 40.9 |  | 1.85
2011-24 | ScI1 | 2 | 11 | 20.5 |  | 45.2 |  | 1.97
2011-24 | ScI1 | 2 | 10 | 21.3 |  | 45.9 |  | 1.98
2011-24 | ScI1 | 2 | 9 | 23.7 |  | 56.8 |  | 2.27
2011-24 | ScI1 | 2 | 8 | 27.4 |  | 80.6 |  | 3.08
2011-24 | ScI1 | 2 | 7 | 28.7 |  | 93.4 |  | 3.22 |  | loose cap
2011-24 | ScI2 | 4 | 23 |  | 9 |  | 9 |  | 9 | nutrient tube missing
2011-24 | ScI2 | 4 | 22 | 17.6 |  | 41.9 |  | 1.77
2011-24 | ScI2 | 4 | 21 | 20.2 | 6 | 43.4 | 6 | 1.935 | 6
2011-24 | ScI2 | 4 | 20 | 18.6 |  | 37.8 |  | 1.78
2011-24 | ScI2 | 4 | 19 | 21.5 |  | 44 |  | 1.95
2011-24 | ScI2 | 4 | 18 | 27.7 |  | 59.9 |  | 2.37
2011-24 | ScI2 | 4 | 17 | 27.5 |  | 60.8 |  | 2.46
2011-24 | ScI2.5 | 6 | 30 | 5.8 |  | 56.8 |  | 0.18 | 3 | PO4 poor peak shape, low sal?
2011-24 | ScI2.5 | 6 | 29 | 7.6 |  | 40.7 |  | 0.91
2011-24 | ScI2.5 | 6 | 28 | 17.9 |  | 46.2 |  | 1.84
2011-24 | ScI2.5 | 6 | 27 | 24.4 |  | 59.3 |  | 2.42
2011-24 | ScI2.5 | 6 | 26 | 25 |  | 57.5 |  | 2.34
2011-24 | ScI2.5 | 6 | 25 | 25.15 | 6 | 55.85 | 6 | 2.275 | 6
2011-24 | ScI2.5 | 6 | 24 | 24.2 |  | 55.6 |  | 2.27
2011-24 | ScI4.5 | 8 | 42 | 0 |  | 3.7 |  | 0.25
2011-24 | ScI4.5 | 8 | 41 | 1.7 |  | 6.2 |  | 0.58
2011-24 | ScI4.5 | 8 | 40 | 8.8 |  | 15.9 |  | 1.19
2011-24 | ScI4.5 | 8 | 39 | 26.2 |  | 43.5 |  | 2.55
2011-24 | ScI4.5 | 8 | 38 | 30.5 | 6 | 58.9 | 36 | 2.815 | 6 | Si poor dup
2011-24 | ScI4.5 | 8 | 37 | 31 |  | 63.9 |  | 2.87
2011-24 | ScI4.5 | 8 | 36 | 31.9 |  | 66.6 |  | 2.99
2011-24 | ScI4.5 | 8 | 35 | 33.2 |  | 70.3 |  | 3.14
2011-24 | ScI4.5 | 8 | 34 | 34.3 |  | 80.8 |  | 3.44
2011-24 | ScI4.5 | 8 | 33 | 33.3 |  | 94.2 |  | 3.64
2011-24 | ScI4.5 | 8 | 32 | 29.8 |  | 114.5 |  | 3.96
2011-24 | ScI4.5 | 8 | 31 | 27.2 |  | 117.8 |  | 4.23
2011-24 | ScI4 | 10 | 53 | 0.1 |  | 1 |  | 0.1 | 3 | PO4 poor peak shape, low sal?
2011-24 | ScI4 | 10 | 52 | 2 |  | 7.2 |  | 0.62
2011-24 | ScI4 | 10 | 51 | 10.5 |  | 22 |  | 1.41
2011-24 | ScI4 | 10 | 50 | 23.7 |  | 43.6 |  | 2.19
2011-24 | ScI4 | 10 | 49 | 29 |  | 58.5 |  | 2.61
2011-24 | ScI4 | 10 | 48 | 29 |  | 63.6 |  | 2.6
2011-24 | ScI4 | 10 | 47 | 28.5 |  | 64.3 |  | 2.58
2011-24 | ScI4 | 10 | 46 | 28.9 | 6 | 68.95 | 6 | 2.7 | 6
2011-24 | ScI4 | 10 | 45 | 31.5 |  | 83.5 |  | 3.23
2011-24 | ScI4 | 10 | 44 |  | 9 |  | 9 |  | 9 | nutrient tube missing, niskin mistrip?
2011-24 | ScI4 | 10 | 43 | 28.9 |  | 129.7 |  | 4.11
2011-24 | ScI3 | 14 | 66 | 0.2 |  | 2.7 |  | 0.3
2011-24 | ScI3 | 14 | 65 | 3.2 |  | 10.4 |  | 0.65
2011-24 | ScI3 | 14 | 64 | 12.8 |  | 27.4 |  | 1.51
2011-24 | ScI3 | 14 | 63 | 19.2 |  | 39.3 |  | 1.86
2011-24 | ScI3 | 14 | 62 | 20.7 |  | 42.7 |  | 2.01
2011-24 | ScI3 | 14 | 61 | 22.05 | 6 | 46.75 | 6 | 2.06 | 6
2011-24 | ScI3 | 14 | 60 | 23.2 |  | 49.9 |  | 2.18
2011-24 | ScI3 | 14 | 59 | 25 |  | 56.3 |  | 2.39
2011-24 | ScI3 | 14 | 58 | 28.9 |  | 79.1 |  | 2.95
2011-24 | ScI3 | 14 | 57 | 31.3 |  | 115.9 |  | 3.86
2011-24 | ScI3 | 14 | 56 | 29.1 |  | 133.3 |  | 4.14
2011-24 | ScI3 | 14 | 55 | 29 |  | 135.1 |  | 4.18
2011-24 | ScI3 | 14 | 54 | 28.2 |  | 137.5 |  | 4.23
2011-24 | ScI5 | 15 | 79 | 0 |  | 0.9 |  | 0.1
2011-24 | ScI5 | 15 | 78 | 2.1 |  | 4 |  | 0.42
2011-24 | ScI5 | 15 | 77 | 6.5 |  | 11 |  | 0.86
2011-24 | ScI5 | 15 | 76 | 24.9 |  | 47 |  | 2.31
2011-24 | ScI5 | 15 | 75 | 29.8 |  | 61.2 |  | 2.65
2011-24 | ScI5 | 15 | 74 | 29.1 |  | 63 |  | 2.57 |  | loose cap
2011-24 | ScI5 | 15 | 73 | 29.65 | 6 | 67.4 | 6 | 2.72 | 6
2011-24 | ScI5 | 15 | 72 | 29.6 |  | 70.1 |  | 2.75
2011-24 | ScI5 | 15 | 71 | 30.5 |  | 82.1 |  | 3.07
2011-24 | ScI5 | 15 | 70 | 30.6 |  | 113.8 |  | 3.78
2011-24 | ScI5 | 15 | 69 | 28.8 |  | 134.2 |  | 4.15
2011-24 | ScI5 | 15 | 68 | 28.7 |  | 135 |  | 4.17
2011-24 | ScI5 | 15 | 67 | 28.6 |  | 135.2 |  | 4.18
2011-24 | ScI6 | 17 | 87 | 0 |  | 4.9 |  | 0.19
2011-24 | ScI6 | 17 | 86 | 1.5 |  | 2.8 |  | 0.35
2011-24 | ScI6 | 17 | 85 | 6.3 |  | 10.2 |  | 0.87
2011-24 | ScI6 | 17 | 84 | 25.5 |  | 48 |  | 2.37
2011-24 | ScI6 | 17 | 83 | 30 |  | 63.1 |  | 2.71
2011-24 | ScI6 | 17 | 82 | 30.4 | 6 | 69.25 | 6 | 2.845 | 6
2011-24 | ScI6 | 17 | 81 | 30.4 |  | 70.8 |  | 2.88
2011-24 | ScI6 | 17 | 80 | 30.6 |  | 78.5 |  | 3.09
2011-24 | KA | 26 | 95 | 0 |  | 0.4 |  | 0.21
2011-24 | KA | 26 | 94 | 0.9 |  | 1.8 |  | 0.31
2011-24 | KA | 26 | 93 | 4.4 |  | 7.7 |  | 0.69
2011-24 | KA | 26 | 92 | 24.4 |  | 47.2 |  | 2.34
2011-24 | KA | 26 | 91 | 28.9 |  | 59.3 |  | 2.6
2011-24 | KA | 26 | 90 | 29.05 | 6 | 63.5 | 6 | 2.63 | 6
2011-24 | KA | 26 | 89 | 28.8 |  | 67.2 |  | 2.68
2011-24 | KA | 26 | 88 | 29.1 |  | 65.5 |  | 2.65
2011-24 | KB | 27 | 103 | 0.1 |  | 0.7 |  | 0.3
2011-24 | KB | 27 | 102 | 1.8 |  | 3.8 |  | 0.37
2011-24 | KB | 27 | 101 | 8.6 | 6 | 16.05 | 6 | 1.035 | 6
2011-24 | KB | 27 | 100 | 26.4 |  | 49 |  | 2.44
2011-24 | KB | 27 | 99 | 29.5 |  | 59.6 |  | 2.66
2011-24 | KB | 27 | 98 | 29.2 |  | 63.3 |  | 2.62
2011-24 | KB | 27 | 97 | 29.1 |  | 65.6 |  | 2.58
2011-24 | KB | 27 | 96 | 32.1 |  | 86.1 |  | 3.32
2011-24 | CA | 31 | 111 | 5.6 |  | 18.3 |  | 0.78
2011-24 | CA | 31 | 110 | 9.3 |  | 24.4 |  | 1.05
2011-24 | CA | 31 | 109 | 12.4 |  | 29.2 |  | 1.31
2011-24 | CA | 31 | 108 | 17.8 | 6 | 39.5 | 6 | 1.71 | 6
2011-24 | CA | 31 | 107 | 26.2 |  | 53.6 |  | 2.23
2011-24 | CA | 31 | 106 | 29.7 |  | 57.2 |  | 2.46
2011-24 | CA | 31 | 105 | 29.7 |  | 55.9 |  | 2.4
2011-24 | CA | 31 | 104 | 30.8 |  | 57.4 |  | 2.57
2011-24 | CB | 32 | 119 | 7 |  | 22.3 |  | 0.85
2011-24 | CB | 32 | 118 | 7.2 |  | 22.6 |  | 0.87
2011-24 | CB | 32 | 117 | 8.2 | 6 | 24.2 | 6 | 0.965 | 6
2011-24 | CB | 32 | 116 | 18.6 |  | 41.2 |  | 1.76
2011-24 | CB | 32 | 115 | 26 |  | 53.1 |  | 2.22
2011-24 | CB | 32 | 114 | 30 |  | 57.7 |  | 2.51
2011-24 | CB | 32 | 113 | 30.2 |  | 56.4 |  | 2.48
2011-24 | CB | 32 | 112 | 30.4 |  | 56.3 |  | 2.52
2011-24 | BS2 | 35 | 127 | 4.5 |  | 48.4 |  | 0.87
2011-24 | BS2 | 35 | 126 | 5.4 |  | 16.2 |  | 0.97
2011-24 | BS2 | 35 | 125 | 5.5 |  | 15.9 |  | 0.98
2011-24 | BS2 | 35 | 124 | 9.25 | 6 | 21.75 | 6 | 1.24 | 6
2011-24 | BS2 | 35 | 123 | 15.2 |  | 33.5 |  | 1.66
2011-24 | BS2 | 35 | 122 | 24.4 |  | 59 |  | 2.38
2011-24 | BS2 | 35 | 121 | 24.3 |  | 59.7 |  | 2.35
2011-24 | BS2 | 35 | 120 | 24.2 |  | 58.4 |  | 2.46
2011-24 | BS5 | 42 | 135 | 4.8 |  | 29.9 |  | 0.85
2011-24 | BS5 | 42 | 134 | 11.7 |  | 27.7 |  | 1.41
2011-24 | BS5 | 42 | 133 | 13 |  | 29.8 |  | 1.58
2011-24 | BS5 | 42 | 132 | 14.5 |  | 32.5 |  | 1.79
2011-24 | BS5 | 42 | 131 | 17 | 6 | 37.2 | 6 | 1.8 | 6
2011-24 | BS5 | 42 | 130 | 23 |  | 52.3 |  | 2.22
2011-24 | BS5 | 42 | 129 | 24 |  | 55.1 |  | 2.32
2011-24 | BS5 | 42 | 128 | 24.2 |  | 58.1 |  | 2.35
2011-24 | BS8 | 49 | 143 | 12.7 |  | 29.7 |  | 1.48
2011-24 | BS8 | 49 | 142 | 13.5 |  | 29.8 |  | 1.52
2011-24 | BS8 | 49 | 141 | 13.75 | 6 | 30.05 | 6 | 1.535 | 6
2011-24 | BS8 | 49 | 140 | 14.9 |  | 30.9 |  | 1.6
2011-24 | BS8 | 49 | 139 | 18 |  | 38.1 |  | 1.89
2011-24 | BS8 | 49 | 138 | 25.5 |  | 59.1 |  | 2.37
2011-24 | BS8 | 49 | 137 | 25.7 |  | 58 |  | 2.35
2011-24 | BS8 | 49 | 136 | 24.1 |  | 54.4 |  | 2.31
2011-24 | BS11 | 56 | 151 | 7 |  | 27 |  | 1.09 |  | NO3 rerun
2011-24 | BS11 | 56 | 150 | 7.6 |  | 26 |  | 1.2 |  | NO3 rerun
2011-24 | BS11 | 56 | 149 | 9.1 |  | 26.8 |  | 1.31 |  | NO3 rerun
2011-24 | BS11 | 56 | 148 | 13.9 |  | 29.4 |  | 1.56 |  | NO3 rerun
2011-24 | BS11 | 56 | 147 | 18.1 | 6 | 37.9 | 6 | 1.91 | 6 | NO3 rerun
2011-24 | BS11 | 56 | 146 | 25.1 |  | 58.7 |  | 2.37 |  | NO3 rerun
2011-24 | BS11 | 56 | 145 | 25.3 |  | 59.8 |  | 2.35 |  | NO3 rerun
2011-24 | BS11 | 56 | 144 | 24.4 |  | 57 |  | 2.32 |  | NO3 rerun
2011-24 | GS14 | 63 | 159 | 8.9 |  | 25.1 |  | 1.24 |  | NO3 rerun
2011-24 | GS14 | 63 | 158 | 8.5 |  | 24.4 |  | 1.27 |  | NO3 rerun
2011-24 | GS14 | 63 | 157 | 8.5 |  | 24.3 |  | 1.19 |  | NO3 rerun
2011-24 | GS14 | 63 | 156 | 14.9 |  | 30.6 |  | 1.62 |  | NO3 rerun
2011-24 | GS14 | 63 | 155 | 19.05 | 6 | 39.25 | 6 | 1.915 | 6 | NO3 rerun
2011-24 | GS14 | 63 | 154 | 24.4 |  | 57.1 |  | 2.31 |  | NO3 rerun
2011-24 | GS14 | 63 | 153 | 25 |  | 59.8 |  | 2.38 |  | NO3 rerun
2011-24 | GS14 | 63 | 152 | 24.5 |  | 57.7 |  | 2.38 |  | NO3 rerun
2011-24 | BS17 | 70 | 167 | 12.5 |  | 27.7 |  | 1.38 |  | NO3 rerun
2011-24 | BS17 | 70 | 166 | 12.5 |  | 27.8 |  | 1.5 |  | NO3 rerun
2011-24 | BS17 | 70 | 165 | 12.6 |  | 27.8 |  | 1.42 |  | NO3 rerun
2011-24 | BS17 | 70 | 164 | 15.9 |  | 32 |  | 1.69 |  | NO3 rerun
2011-24 | BS17 | 70 | 163 | 21.2 | 6 | 43.35 | 6 | 2.09 | 6 | NO3 rerun
2011-24 | BS17 | 70 | 162 | 26.6 |  | 52.8 |  | 2.34 |  | NO3 rerun
2011-24 | BS17 | 70 | 161 | 26.9 |  | 53.2 |  | 2.33 |  | NO3 rerun
2011-24 | BS17 | 70 | 160 | 26.7 |  | 53.2 |  | 2.36 |  | NO3 rerun
2011-24 | BS20 | 77 | 175 | 14.2 |  | 30.2 |  | 1.5 |  | NO3 rerun
2011-24 | BS20 | 77 | 174 | 13.7 |  | 30.5 |  | 1.49 |  | NO3 rerun
2011-24 | BS20 | 77 | 173 | 13.8 |  | 30.6 |  | 1.52 |  | NO3 rerun
2011-24 | BS20 | 77 | 172 | 15.2 |  | 31.3 |  | 1.63 |  | NO3 rerun
2011-24 | BS20 | 77 | 171 | 21.3 |  | 42.7 |  | 2.05 |  | NO3 rerun
2011-24 | BS20 | 77 | 170 | 25.2 |  | 50.4 |  | 2.26 |  | NO3 rerun
2011-24 | BS20 | 77 | 169 | 26.8 | 6 | 53.4 | 6 | 2.375 | 6 | NO3 rerun
2011-24 | BS20 | 77 | 168 | 28 |  | 55.8 |  | 2.46 |  | NO3 rerun
2011-24 | BS23 | 84/85 | 190 | 14.4 |  | 28.5 |  | 1.44
2011-24 | BS23 | 84/85 | 189 | 14.5 |  | 29.4 |  | 1.51
2011-24 | BS23 | 84/85 | 188 | 15.2 |  | 30.8 |  | 1.57
2011-24 | BS23 | 84/85 | 187 | 26.9 |  | 52.7 |  | 2.35
2011-24 | BS23 | 84/85 | 186 | 28.9 |  | 57.6 |  | 2.45
2011-24 | BS23 | 84/85 | 185 | 27.5 | 6 | 55.3 | 6 | 2.405 | 6
2011-24 | BS23 | 84/85 | 184 | 27.5 |  | 55.4 |  | 2.38
2011-24 | BS23 | 84/85 | 183 | 28.3 |  | 56.6 |  | 2.44
2011-24 | BS24 | 88 | 198 | 11.6 |  | 27.7 |  | 1.3
2011-24 | BS24 | 88 | 197 | 11 |  | 28 |  | 1.41
2011-24 | BS24 | 88 | 196 | 11.15 | 6 | 28.1 | 6 | 1.42 | 6
2011-24 | BS24 | 88 | 195 | 11.7 |  | 29.5 |  | 1.47
2011-24 | BS24 | 88 | 194 | 21.5 |  | 41 |  | 1.95
2011-24 | BS24 | 88 | 193 | 28.2 |  | 58.2 |  | 2.42
2011-24 | BS24 | 88 | 192 | 28.3 |  | 58.2 |  | 2.4
2011-24 | BS24 | 88 | 191 | 28.5 |  | 59.2 |  | 2.43
2011-24 | BS25 | 90 | 206 | 7 |  | 21.8 |  | 1.1
2011-24 | BS25 | 90 | 205 | 6.6 |  | 21.4 |  | 1.11
2011-24 | BS25 | 90 | 204 | 7 |  | 21.7 |  | 1.12
2011-24 | BS25 | 90 | 203 | 10.9 |  | 27.7 |  | 1.4
2011-24 | BS25 | 90 | 202 | 22.6 |  | 46.9 |  | 2.15
2011-24 | BS25 | 90 | 201 | 26.7 | 6 | 54.45 | 6 | 2.335 | 6
2011-24 | BS25 | 90 | 200 | 26.9 |  | 54.9 |  | 2.35
2011-24 | BS25 | 90 | 199 | 27.6 |  | 59 |  | 2.49
2011-24 | BS26 | 92 | 214 | 23.6 |  | 48.6 |  | 2.11
2011-24 | BS26 | 92 | 213 | 23.5 |  | 48.8 |  | 2.13
2011-24 | BS26 | 92 | 212 | 24 |  | 49.3 |  | 2.15
2011-24 | BS26 | 92 | 211 | 24.5 |  | 50 |  | 2.41
2011-24 | BS26 | 92 | 210 | 25.3 |  | 50.7 |  | 2.27
2011-24 | BS26 | 92 | 209 | 26.1 |  | 53.1 |  | 2.29 |  | omitted poor dup
2011-24 | BS26 | 92 | 208 | 26.4 |  | 53.7 |  | 2.32
2011-24 | BS26 | 92 | 207 | 26.6 |  | 54.1 |  | 2.37

## Calc precision
Averaging Duplicates from same Niskin and Calculating Precision | [11 empty] | File: Cocc2011-24\QF 2011-24nuts.xls
Date : May 30, 2011
Critical values
Station | Cast | Sample # | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Chauvenet statistic
|  |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 | n | Chauvenet
ScIR | 1 | 5 | 16.6 | 38.2 | 1.54 | [7 empty] | 0.4 | 0.6 | 0.04 | 1.8308 | 1.8526 | 1.8922 | 3 | 1.37
ScIR | 1 | 5 dup | 16.2 | 37.6 | 1.58 | 16.4 | 37.9 | 1.56 | 0.16 | 0.36 | 0.0016 | [7 empty] | 4 | 1.53
ScI1 | 2 | 13 | 17.3 | 37.8 | 1.73 | [7 empty] | 0.2 | 0.1 | 0 | 0.37879 | 0.71424 | 1.1619 | 5 | 1.64
ScI1 | 2 | 13 dup | 17.5 | 37.9 | 1.73 | 17.4 | 37.85 | 1.73 | 0.04 | 0.01 | 0 | [7 empty] | 6 | 1.73
ScI2 | 4 | 21 | 20.2 | 43.5 | 1.94 | [7 empty] | 0 | 0.2 | 0.01 | 1.0732 | 0.20088 | 0.39835 | 7 | 1.8
ScI2 | 4 | 21 dup | 20.2 | 43.3 | 1.93 | 20.2 | 43.4 | 1.935 | 0 | 0.04 | 0.0001 | [7 empty] | 8 | 1.87
ScI2.5 | 6 | 25 | 25.2 | 55.9 | 2.29 | [7 empty] | 0.1 | 0.1 | 0.03 | 0.34722 | 0.71424 | 1.1287 | 9 | 1.91
ScI2.5 | 6 | 25 dup | 25.1 | 55.8 | 2.26 | 25.15 | 55.85 | 2.275 | 0.01 | 0.01 | 0.0009 | [7 empty] | 10 | 1.97
ScI4.5 | 8 | 38 | 30.6 | 59.3 | 2.82 | [7 empty] | 0.2 | 0.8 | 0.01 | 0.37879 | 2.8793 | 0.39835 | 20 | 2.24
ScI4.5 | 8 | 38 dup | 30.4 | 58.5 | 2.81 | 30.5 | 58.9 | 2.815 | 0.04 | 0.64 | 0.0001 | [7 empty] | 30 | 2.39
ScI4 | 10 | 46 | 28.9 | 69 | 2.68 | [7 empty] | 0 | 0.1 | 0.04 | 1.0732 | 0.71424 | 1.8922 | 50 | 2.57
ScI4 | 10 | 46 dup | 28.9 | 68.9 | 2.72 | 28.9 | 68.95 | 2.7 | 0 | 0.01 | 0.0016 | [7 empty] | 80 | 2.74
ScI3 | 14 | 61 | 22 | 46.7 | 2.05 | [7 empty] | 0.1 | 0.1 | 0.02 | 0.34722 | 0.71424 | 0.36516 | 100 | 2.81
ScI3 | 14 | 61 dup | 22.1 | 46.8 | 2.07 | 22.05 | 46.75 | 2.06 | 0.01 | 0.01 | 0.0004 | [7 empty] | 150 | 2.93
ScI5 | 15 | 73 | 29.6 | 67.3 | 2.72 | [7 empty] | 0.1 | 0.2 | 0 | 0.34722 | 0.20088 | 1.1619 | 200 | 3.02
ScI5 | 15 | 73 dup | 29.7 | 67.5 | 2.72 | 29.65 | 67.4 | 2.72 | 0.01 | 0.04 | 0
ScI6 | 17 | 82 | 30.5 | 69.4 | 2.85 | [7 empty] | 0.2 | 0.3 | 0.01 | 0.37879 | 0.31248 | 0.39835
ScI6 | 17 | 82 dup | 30.3 | 69.1 | 2.84 | 30.4 | 69.25 | 2.845 | 0.04 | 0.09 | 0.0001
KA | 26 | 90 | 29.3 | 63.8 | 2.65 | [7 empty] | 0.5 | 0.6 | 0.04 | 2.5568 | 1.8526 | 1.8922
KA | 26 | 90 dup | 28.8 | 63.2 | 2.61 | 29.05 | 63.5 | 2.63 | 0.25 | 0.36 | 0.0016
KB | 27 | 101 | 8.6 | 16 | 1.04 | [7 empty] | 0 | 0.1 | 0.01 | 1.0732 | 0.71424 | 0.39835
KB | 27 | 101 dup | 8.6 | 16.1 | 1.03 | 8.6 | 16.05 | 1.035 | 0 | 0.01 | 0.0001
CA | 31 | 108 | 17.7 | 39.4 | 1.71 | [7 empty] | 0.2 | 0.2 | 0 | 0.37879 | 0.20088 | 1.1619
CA | 31 | 108 dup | 17.9 | 39.6 | 1.71 | 17.8 | 39.5 | 1.71 | 0.04 | 0.04 | 0
CB | 32 | 117 | 8.2 | 24.2 | 0.96 | [7 empty] | 0 | 0 | 0.01 | 1.0732 | 1.2276 | 0.39835
CB | 32 | 117 dup | 8.2 | 24.2 | 0.97 | 8.2 | 24.2 | 0.965 | 0 | 0 | 0.0001
BS2 | 35 | 124 | 9.2 | 21.7 | 1.23 | [7 empty] | 0.1 | 0.1 | 0.02 | 0.34722 | 0.71424 | 0.36516
BS2 | 35 | 124 dup | 9.3 | 21.8 | 1.25 | 9.25 | 21.75 | 1.24 | 0.01 | 0.01 | 0.0004
BS5 | 42 | 131 | 17.1 | 37.3 | 1.8 | [7 empty] | 0.2 | 0.2 | 0 | 0.37879 | 0.20088 | 1.1619
BS5 | 42 | 131 dup | 16.9 | 37.1 | 1.8 | 17 | 37.2 | 1.8 | 0.04 | 0.04 | 0
BS8 | 49 | 141 | 13.7 | 29.9 | 1.53 | [7 empty] | 0.1 | 0.3 | 0.01 | 0.34722 | 0.31248 | 0.39835
BS8 | 49 | 141 dup | 13.8 | 30.2 | 1.54 | 13.75 | 30.05 | 1.535 | 0.01 | 0.09 | 0.0001
BS11 | 56 | 147 | 18.1 | 37.8 | 1.9 | [6 empty] | NO3 rerun | 0 | 0.2 | 0.02 | 1.0732 | 0.20088 | 0.36516
BS11 | 56 | 147 dup | 18.1 | 38 | 1.92 | 18.1 | 37.9 | 1.91 | 0 | 0.04 | 0.0004 | NO3 rerun
GS14 | 63 | 155 | 19 | 39.3 | 1.92 | [6 empty] | NO3 rerun | 0.1 | 0.1 | 0.01 | 0.34722 | 0.71424 | 0.39835
GS14 | 63 | 155 dup | 19.1 | 39.2 | 1.91 | 19.05 | 39.25 | 1.915 | 0.01 | 0.01 | 0.0001 | NO3 rerun
BS17 | 70 | 163 | 21.2 | 43.3 | 2.09 | [6 empty] | NO3 rerun | 0 | 0.1 | 0 | 1.0732 | 0.71424 | 1.1619
BS17 | 70 | 163 dup | 21.2 | 43.4 | 2.09 | 21.2 | 43.35 | 2.09 | 0 | 0.01 | 0 | NO3 rerun
BS20 | 77 | 169 | 26.9 | 53.3 | 2.37 | [6 empty] | NO3 rerun | 0.2 | 0.2 | 0.01 | 0.37879 | 0.20088 | 0.39835
BS20 | 77 | 169 dup | 26.7 | 53.5 | 2.38 | 26.8 | 53.4 | 2.375 | 0.04 | 0.04 | 0.0001 | NO3 rerun
BS23 | 84/85 | 185 | 27.3 | 55.1 | 2.4 | [7 empty] | 0.4 | 0.4 | 0.01 | 1.8308 | 0.82584 | 0.39835
BS23 | 84/85 | 185 dup | 27.7 | 55.5 | 2.41 | 27.5 | 55.3 | 2.405 | 0.16 | 0.16 | 0.0001
BS24 | 88 | 196 | 11.2 | 28.2 | 1.41 | [7 empty] | 0.1 | 0.2 | 0.02 | 0.34722 | 0.20088 | 0.36516
BS24 | 88 | 196 dup | 11.1 | 28 | 1.43 | 11.15 | 28.1 | 1.42 | 0.01 | 0.04 | 0.0004
BS25 | 90 | 201 | 26.8 | 54.6 | 2.35 | [7 empty] | 0.2 | 0.3 | 0.03 | 0.37879 | 0.31248 | 1.1287
BS25 | 90 | 201 dup | 26.6 | 54.3 | 2.32 | 26.7 | 54.45 | 2.335 | 0.04 | 0.09 | 0.0009
[5 empty] | SUM OF (X-Y)SQ |  |  |  | 0.92 | 2.15 | 0.0091
[5 empty] | COUNT |  |  |  | 23 | 23 | 23
[5 empty] | SUM/2*COUNT |  |  |  | 0.02 | 0.046739 | 0.00019783
[5 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.14142 | 0.21619 | 0.014065 | mean diff | 0.14783 | 0.23913 | 0.015217
[12 empty] | stdev | 0.13774 | 0.19479 | 0.013097
[5 empty] | min |  |  |  | 8.2 | 16 | 0.96
[5 empty] | max |  |  |  | 30.6 | 69.4 | 2.85
Omit Outliers
[5 empty] | SUM OF (X-Y)SQ |  |  |  | 0.67 | 1.51
[5 empty] | COUNT |  |  |  | 22 | 22
[5 empty] | SUM/2*COUNT |  |  |  | 0.015227 | 0.034318
[5 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.1234 | 0.18525

## Precision Statement
Cruise 2011-24 April Sutherland |  | File: Cocc2011-24\QF 2011-24nuts.xls
Samples were stored frozen and later analysed at IOS by Wendy Richardson. |  | Date : May 30, 2011
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
This is the precision with outliers removed:
Sp for nitrate for the range 8.2 to 30.6 uM was 0.12, k = 22
Sp for silicate for the range 16.0 to 69.4 uM was 0.19 , k = 22
Sp for phosphate for the range 0.96 to 2.85 uM was 0.014, k = 23
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 11, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.