## Notes
Cruise 2011-25 August Terri Sutherland
Analysis: | Kenny Scozzafava and Janet Barwell-Clarke in lab, 15-NOV-2011 to 17-NOV-2011. Data processing by Kenny Scozzafava
2011-11-18 |  | KS
Event 1 samples were collected as part of a filtration experiment consisting of triplicate samples collected for each of unfiltered samples, glass fiber (GF) filtered samples , and polycarbonate (PC) filtered samples.
The average of the three unfiltered sample values is reported in the QF final data worksheet.
Aside from Event 1, only one set of duplicates was collected for the remainder of cruise therefore precision could not be assesed on events 2 to 66.
Pooled standard deviation was calculated for triplicate samples in event 1. the results of this analysis can be viewed in the 'Duplicates' worksheet
#35 Sample shown to have been collected on rosette log but it did not exist.

## QF 2011-25 NUTS Final
Cruise 2011-25 August Terri Sutherland
Header: | Nutrient samples were collected in 15 mL plastic test tubes and frozen and later
analyzed at IOS using an Astoria analyzer following methods described in Barwell-Clarke and Whitney (1996).
IOS Nutrient Methods (1996) Barwell-Clarke, J. and F. Whitney
Cruise_Number | Event_Number | Station | Sample_Number | Nitrate_plus_Nitrite | Flag:Nitrate_plus_Nitrite | Silicate | Flag:Silicate | Phosphate | Flag:Phosphate | Comments
|  |  |  | uM |  | uM |  | uM
2011-25 | 1 | 1 | 1 | 28.6667 | 6 | 54.1333 | 6 | 2.4567 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 2 | 27.3667 | 36 | 49.1667 | 36 | 2.3067 | 36 | NUT: Unfiltered sample triplicates. First value seems low
2011-25 | 1 | 1 | 3 | 28.0333 | 6 | 48.2333 | 6 | 2.3567 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 4 | 24.7667 | 6 | 46.3 | 6 | 2.1133 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 5 | 24.8 | 6 | 49.1333 | 6 | 1.86 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 6 | 23.3 | 6 | 47.4667 | 6 | 1.98 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 7 | 16.9333 | 6 | 43.8 | 6 | 1.5733 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 1 | 1 | 8 | 0.43333 | 6 | 42.9333 | 6 | 0.35333 | 6 | NUT: Unfiltered sample triplicates
2011-25 | 2 | NC1 | 10 | 24.9 |  | 45 |  | 1.97
2011-25 | 2 | NC1 | 12 | 25 |  | 46.5 |  | 1.86
2011-25 | 2 | NC1 | 14 | 25.1 |  | 46.1 |  | 1.83
2011-25 | 2 | NC1 | 16 | 24.95 | 6 | 47.2 | 6 | 1.855 | 36 | PO4: Poor duplication
2011-25 | 2 | NC1 | 18 | 24.2 |  | 47.5 |  | 2.03
2011-25 | 2 | NC1 | 19 | 24.3 |  | 47.8 |  | 1.84
2011-25 | 2 | NC1 | 20 | 24.1 |  | 48.2 |  | 2.01
2011-25 | 2 | NC1 | 21 | 23.9 |  | 47.9 |  | 2.01
2011-25 | 2 | NC1 | 22 | 23.4 |  | 48.1 |  | 2
2011-25 | 5 | NC4 | 23 | 25.2 |  | 45.9 |  | 1.8
2011-25 | 5 | NC4 | 25 | 24.7 |  | 44.9 |  | 1.96
2011-25 | 5 | NC4 | 27 | 24.6 |  | 45.1 |  | 2
2011-25 | 5 | NC4 | 29 | 24.8 |  | 46.5 |  | 1.71
2011-25 | 5 | NC4 | 30 | 24.6 |  | 47.1 |  | 1.72
2011-25 | 5 | NC4 | 31 | 24.9 |  | 48.1 |  | 1.85
2011-25 | 5 | NC4 | 32 | 24.8 |  | 48.2 |  | 2.03
2011-25 | 5 | NC4 | 33 | 24.5 |  | 48.4 |  | 2.02
2011-25 | 5 | NC4 | 34 | 24 |  | 48.9 |  | 1.85
2011-25 | 5 | NC4 | 35 | -99 | 9 | -99 | 9 | -99 | 9 | NUT: Rosette log shows that sample was collected but it did not exist
2011-25 | 6 | NC5 | 36 | 25.3 |  | 45.8 |  | 1.88
2011-25 | 6 | NC5 | 37 | 25.4 |  | 46.5 |  | 2.01
2011-25 | 6 | NC5 | 38 | 24.8 |  | 46.6 |  | 1.8
2011-25 | 6 | NC5 | 39 | 24.5 |  | 47.9 |  | 1.88
2011-25 | 6 | NC5 | 40 | 23.9 |  | 47.5 |  | 2.01
2011-25 | 6 | NC5 | 41 | 23.2 |  | 46.5 |  | 1.95
2011-25 | 6 | NC5 | 42 | 24.6 |  | 49.4 |  | 1.64
2011-25 | 6 | NC5 | 43 | 23.2 |  | 48.6 |  | 1.73
2011-25 | 7 | NC6 | 44 | 25.2 |  | 45.9 |  | 2.04
2011-25 | 7 | NC6 | 45 | 25.1 |  | 45.9 |  | 1.88
2011-25 | 7 | NC6 | 46 | 25.1 |  | 46.2 |  | 2.03
2011-25 | 7 | NC6 | 47 | 25 |  | 46.9 |  | 1.95
2011-25 | 7 | NC6 | 48 | 24.6 |  | 47.3 |  | 2.03
2011-25 | 7 | NC6 | 49 | 24.9 |  | 48.3 |  | 1.8
2011-25 | 7 | NC6 | 50 | 24.3 |  | 47.3 |  | 2.02
2011-25 | 7 | NC6 | 51 | 25 |  | 49.3 |  | 1.9
2011-25 | 7 | NC6 | 52 | 24.4 |  | 49.9 |  | 2.07
2011-25 | 9 | NC8 | 53 | 25.1 |  | 46.3 |  | 1.66
2011-25 | 9 | NC8 | 54 | 24.8 |  | 45.7 |  | 1.5
2011-25 | 9 | NC8 | 55 | 25 |  | 46.2 |  | 1.69
2011-25 | 9 | NC8 | 56 | 24.9 |  | 46.4 |  | 1.74
2011-25 | 9 | NC8 | 57 | 25 |  | 47.2 |  | 1.73
2011-25 | 9 | NC8 | 58 | 25 |  | 47.9 |  | 2.01
2011-25 | 9 | NC8 | 59 | 25.3 |  | 49.6 |  | 1.62
2011-25 | 9 | NC8 | 60 | 25.4 |  | 50.5 |  | 2.13
2011-25 | 9 | NC8 | 61 | 24.5 |  | 50.3 |  | 1.59
2011-25 | 10 | NC9 | 62 | 25 |  | 46.9 |  | 2.05
2011-25 | 10 | NC9 | 63 | 24.9 |  | 46.9 |  | 1.63
2011-25 | 10 | NC9 | 64 | 25 |  | 46.6 |  | 2.04
2011-25 | 10 | NC9 | 65 | 24.9 |  | 46.9 |  | 1.43
2011-25 | 10 | NC9 | 66 | 25.1 |  | 47.5 |  | 2.06
2011-25 | 10 | NC9 | 67 | 24.7 |  | 48.1 |  | 2.08
2011-25 | 10 | NC9 | 68 | 25.8 |  | 50.8 |  | 2.15
2011-25 | 10 | NC9 | 69 | 25.5 |  | 50.6 |  | 2.14
2011-25 | 10 | NC9 | 70 | 25.1 |  | 50.9 |  | 1.88
2011-25 | 10 | NC9 | 71 | 24.5 |  | 50.6 |  | 1.88
2011-25 | 11 | NC10 | 72 | 25.6 |  | 48.1 |  | 1.97
2011-25 | 11 | NC10 | 73 | 25.3 |  | 47.9 |  | 1.88
2011-25 | 11 | NC10 | 74 | 25.6 |  | 48.5 |  | 1.58
2011-25 | 11 | NC10 | 75 | 25.3 |  | 48.6 |  | 1.7
2011-25 | 11 | NC10 | 76 | 25.8 |  | 49.2 |  | 2.02
2011-25 | 11 | NC10 | 77 | 25.2 |  | 49.6 |  | 1.74
2011-25 | 11 | NC10 | 78 | 25.7 |  | 51 |  | 2.05
2011-25 | 11 | NC10 | 79 | 25.9 |  | 51.8 |  | 1.67
2011-25 | 11 | NC10 | 80 | 25.1 |  | 51.1 |  | 2.06
2011-25 | 11 | NC10 | 81 | 25.2 |  | 51.6 |  | 1.86
2011-25 | 14 | NC13 | 82 | 25 |  | 47 |  | 2.07
2011-25 | 14 | NC13 | 83 | 24.3 |  | 45.8 |  | 2.01
2011-25 | 14 | NC13 | 84 | 25.5 |  | 49.4 |  | 2.1
2011-25 | 14 | NC13 | 85 | 26.3 |  | 52.1 |  | 2.19
2011-25 | 14 | NC13 | 86 | 25.4 |  | 50.7 |  | 2.14
2011-25 | 14 | NC13 | 87 | 26 |  | 52.5 |  | 2.16
2011-25 | 14 | NC13 | 88 | 25.6 |  | 51.7 |  | 2.13
2011-25 | 14 | NC13 | 89 | 24.3 |  | 50.4 |  | 2.05
2011-25 | 17 | BS2 | 90 | 20.5 |  | 90.4 |  | 3.31
2011-25 | 17 | BS2 | 91 | 20.5 |  | 96.1 |  | 3.41
2011-25 | 17 | BS2 | 92 | 20.7 |  | 94 |  | 3.28
2011-25 | 17 | BS2 | 93 | 22.5 |  | 70.1 |  | 2.68
2011-25 | 17 | BS2 | 94 | 19.4 |  | 56.1 |  | 2.16
2011-25 | 17 | BS2 | 95 | 5.7 |  | 38.3 |  | 0.7
2011-25 | 17 | BS2 | 96 | 0.3 |  | 31.8 |  | 0.29
2011-25 | 24 | BS5 | 97 | 19.8 |  | 97.3 |  | 3.8
2011-25 | 24 | BS5 | 98 | 19.5 |  | 92.3 |  | 3.83
2011-25 | 24 | BS5 | 99 | 20 |  | 98.8 |  | 3.54
2011-25 | 24 | BS5 | 100 | 21.8 |  | 78.3 |  | 2.7
2011-25 | 24 | BS5 | 101 | 15.8 |  | 46.7 |  | 1.79
2011-25 | 24 | BS5 | 102 | 1.6 |  | 33 |  | 0.44
2011-25 | 24 | BS5 | 103 | 0.3 |  | 32 |  | 0.24
2011-25 | 31 | BS8 | 104 | 16.4 |  | 99.7 |  | 5.28
2011-25 | 31 | BS8 | 105 | 17.7 |  | 104.1 |  | 4.87
2011-25 | 31 | BS8 | 106 | 18.3 |  | 103.8 |  | 4.19
2011-25 | 31 | BS8 | 107 | 21.4 |  | 79.2 |  | 2.9
2011-25 | 31 | BS8 | 108 | 18.6 |  | 53 |  | 1.89
2011-25 | 31 | BS8 | 109 | 3.6 |  | 36.4 |  | 0.67
2011-25 | 31 | BS8 | 110 | 0.4 |  | 31.8 |  | 0.27
2011-25 | 38 | BS11 | 111 | 18.9 |  | 97.8 |  | 3.77
2011-25 | 38 | BS11 | 112 | 19.2 |  | 96.6 |  | 3.2
2011-25 | 38 | BS11 | 113 | 20.2 |  | 92.9 |  | 3.5
2011-25 | 38 | BS11 | 114 | 22.4 |  | 65.4 |  | 2.45
2011-25 | 38 | BS11 | 115 | 18.7 |  | 53.8 |  | 1.99
2011-25 | 38 | BS11 | 116 | 6 |  | 40.2 |  | 0.85
2011-25 | 38 | BS11 | 117 | 0.7 |  | 34.2 |  | 0.35
2011-25 | 45 | BS14 | 118 | 22 |  | 75.1 |  | 2.71
2011-25 | 45 | BS14 | 119 | 21.8 |  | 80.4 |  | 2.91
2011-25 | 45 | BS14 | 120 | 21.7 |  | 77.2 |  | 2.58
2011-25 | 45 | BS14 | 121 | 22.2 |  | 73.2 |  | 2.68
2011-25 | 45 | BS14 | 122 | 21.9 |  | 72.5 |  | 2.67
2011-25 | 45 | BS14 | 123 | 3.1 |  | 37.9 |  | 0.55
2011-25 | 45 | BS14 | 124 | 1 |  | 35.2 |  | 0.3
2011-25 | 52 | BS17 | 125 | 23.1 |  | 69.4 |  | 2.62
2011-25 | 52 | BS17 | 126 | 23.4 |  | 71.5 |  | 2.49
2011-25 | 52 | BS17 | 127 | 23 |  | 72 |  | 2.59
2011-25 | 52 | BS17 | 128 | 23.7 |  | 58.1 |  | 2.2
2011-25 | 52 | BS17 | 129 | 16.8 |  | 48.7 |  | 1.74
2011-25 | 52 | BS17 | 130 | 2.3 |  | 38.3 |  | 0.5
2011-25 | 52 | BS17 | 131 | 0.2 |  | 35.1 |  | 0.26
2011-25 | 59 | BS20 | 132 | 24.4 |  | 56.3 |  | 2.25
2011-25 | 59 | BS20 | 133 | 24.1 |  | 55.7 |  | 2.1
2011-25 | 59 | BS20 | 134 | 23.8 |  | 56.3 |  | 2.2
2011-25 | 59 | BS20 | 135 | 22.5 |  | 55.3 |  | 1.79
2011-25 | 59 | BS20 | 136 | 19 |  | 52.3 |  | 1.59
2011-25 | 59 | BS20 | 137 | 8.4 |  | 41.1 |  | 1.02
2011-25 | 59 | BS20 | 138 | 2.2 |  | 36.7 |  | 0.48
2011-25 | 64 | BS22 | 139 | 25.9 |  | 51.7 |  | 2.28
2011-25 | 64 | BS22 | 140 | 26.8 |  | 52.8 |  | 2.23
2011-25 | 64 | BS22 | 141 | 26.3 |  | 51.8 |  | 2.27
2011-25 | 64 | BS22 | 142 | 19.3 |  | 47.4 |  | 1.69
2011-25 | 64 | BS22 | 143 | 5.5 |  | 38.5 |  | 0.71
2011-25 | 64 | BS22 | 144 | 2.4 |  | 36.4 |  | 0.44
2011-25 | 66 | BS23 | 145 | 27.6 |  | 52.7 |  | 2.29
2011-25 | 66 | BS23 | 146 | 27.9 |  | 53.3 |  | 2.07
2011-25 | 66 | BS23 | 147 | 27.9 |  | 53.5 |  | 1.95
2011-25 | 66 | BS23 | 148 | 25.8 |  | 52.4 |  | 1.78
2011-25 | 66 | BS23 | 149 | 19.5 |  | 47 |  | 1.76
2011-25 | 66 | BS23 | 150 | 3.6 |  | 36.9 |  | 0.53
2011-25 | 66 | BS23 | 151 | 0.7 |  | 33.5 |  | 0.28

## Filtration Test Results
Cruise | Event | Station | Depth | Sample # | NO3 | SIO4 | PO4 | Comments
m
2011-25 | 1 | 1 | 200 | 1 | 28.2 | 53.4 | 2.44
2011-25 | 1 | 1 | 200 | 1 | 28.8 | 54.4 | 2.46
2011-25 | 1 | 1 | 200 | 1 | 29 | 54.6 | 2.47
2011-25 | 1 | 1 | 150 | 2 | 25.2 | 44.8 | 2.18 | NUT: Low in comparison to other two replicates
2011-25 | 1 | 1 | 150 | 2 | 28.6 | 51.5 | 2.43
2011-25 | 1 | 1 | 150 | 2 | 28.3 | 51.2 | 2.31
2011-25 | 1 | 1 | 100 | 3 | 27.6 | 47.7 | 2.35
2011-25 | 1 | 1 | 100 | 3 | 28.1 | 48.4 | 2.36
2011-25 | 1 | 1 | 100 | 3 | 28.4 | 48.6 | 2.36
2011-25 | 1 | 1 | 50 | 4 | 24.9 | 46.5 | 2.17
2011-25 | 1 | 1 | 50 | 4 | 24.8 | 46.4 | 2.17
2011-25 | 1 | 1 | 50 | 4 | 24.6 | 46 | 2
2011-25 | 1 | 1 | 30 | 5 | 24.7 | 49.3 | 1.59
2011-25 | 1 | 1 | 30 | 5 | 24.7 | 49 | 1.97
2011-25 | 1 | 1 | 30 | 5 | 25 | 49.1 | 2.02
2011-25 | 1 | 1 | 20 | 6 | 23.6 | 47.9 | 2.07
2011-25 | 1 | 1 | 20 | 6 | 23.5 | 47.9 | 1.9
2011-25 | 1 | 1 | 20 | 6 | 22.8 | 46.6 | 1.97
2011-25 | 1 | 1 | 10 | 7 | 16.9 | 43.7 | 1.61
2011-25 | 1 | 1 | 10 | 7 | 17 | 44.1 | 1.6
2011-25 | 1 | 1 | 10 | 7 | 16.9 | 43.6 | 1.51
2011-25 | 1 | 1 | 0 | 8 | 0.5 | 43 | 0.29
2011-25 | 1 | 1 | 0 | 8 | 0.4 | 43 | 0.41
2011-25 | 1 | 1 | 0 | 8 | 0.4 | 42.8 | 0.36
2011-25 | 1 | 1 | 200 | 1 GF1 | 29.1 | 54.9 | 2.39
2011-25 | 1 | 1 | 200 | 1 GF2 | 29.3 | 55.2 | 1.8
2011-25 | 1 | 1 | 200 | 1 GF3 | 29.2 | 55.2 | 1.71
2011-25 | 1 | 1 | 150 | 2 GF1 | 28.7 | 52.1 | 2.35
2011-25 | 1 | 1 | 150 | 2 GF2 | 28.5 | 51.9 | 2.01
2011-25 | 1 | 1 | 150 | 2 GF3 | 28.7 | 51.9 | 1.66
2011-25 | 1 | 1 | 100 | 3 GF1 | 28.4 | 48.7 | 2.32
2011-25 | 1 | 1 | 100 | 3 GF2 | 28.2 | 48.6 | 2.15
2011-25 | 1 | 1 | 100 | 3 GF3 | 28.3 | 48.7 | 2.28
2011-25 | 1 | 1 | 50 | 4 GF1 | 25.3 | 47.2 | 2.09
2011-25 | 1 | 1 | 50 | 4 GF2 | 25.1 | 47 | 1.45
2011-25 | 1 | 1 | 50 | 4 GF3 | 24.6 | 46.2 | 1.55
2011-25 | 1 | 1 | 30 | 5 GF1 | 24.7 | 48.9 | 1.87
2011-25 | 1 | 1 | 30 | 5 GF2 | 24.7 | 49.2 | 1.96
2011-25 | 1 | 1 | 30 | 5 GF3 | 24.8 | 49.3 | 1.87
2011-25 | 1 | 1 | 20 | 6 GF1 | 23.8 | 48.8 | 1.9
2011-25 | 1 | 1 | 20 | 6 GF2 | 23.6 | 48.4 | 1.81
2011-25 | 1 | 1 | 20 | 6 GF3 | 23.7 | 48.3 | 2.05
2011-25 | 1 | 1 | 10 | 7 GF1 | 17.6 | 44.5 | 1.54
2011-25 | 1 | 1 | 10 | 7 GF2 | 17.4 | 44.3 | 1.53
2011-25 | 1 | 1 | 10 | 7 GF3 | 17.4 | 44.3 | 1.5
2011-25 | 1 | 1 | 0 | 8 GF1 | 0.8 | 42.1 | 0.14
2011-25 | 1 | 1 | 0 | 8 GF2 | 0.5 | 41.3 | 0.13
2011-25 | 1 | 1 | 0 | 8 GF3 | 0.4 | 41 | 0.13
2011-25 | 1 | 1 | 200 | 1 PC1 | 28.6 | 54.7 | 1.32
2011-25 | 1 | 1 | 200 | 1 PC2 | 28.9 | 55 | 1.56
2011-25 | 1 | 1 | 200 | 1 PC3 | 28.8 | 55 | 1.81
2011-25 | 1 | 1 | 150 | 2 PC1 | 28.5 | 51.9 | 2.26
2011-25 | 1 | 1 | 150 | 2 PC2 | 28.5 | 51.8 | 2.35
2011-25 | 1 | 1 | 150 | 2 PC3 | 28.4 | 51.9 | 1.48
2011-25 | 1 | 1 | 100 | 3 PC1 | 28.1 | 48.7 | 2.18
2011-25 | 1 | 1 | 100 | 3 PC2 | 28.4 | 48.9 | 1.5
2011-25 | 1 | 1 | 100 | 3 PC3 | 28.3 | 48.8 | 1.49
2011-25 | 1 | 1 | 50 | 4 PC1 | 25 | 46.1 | 2.12
2011-25 | 1 | 1 | 50 | 4 PC2 | 25.3 | 46.8 | 1.95
2011-25 | 1 | 1 | 50 | 4 PC3 | 25.2 | 47 | 1.29
2011-25 | 1 | 1 | 30 | 5 PC1 | 24.9 | 49.6 | 1.94
2011-25 | 1 | 1 | 30 | 5 PC2 | 24.9 | 49.2 | 1.89
2011-25 | 1 | 1 | 30 | 5 PC3 | 24.9 | 49.1 | 1.92
2011-25 | 1 | 1 | 20 | 6 PC1 | 23.4 | 48.1 | 1.69
2011-25 | 1 | 1 | 20 | 6 PC2 | 23.5 | 48.3 | 1.35
2011-25 | 1 | 1 | 20 | 6 PC3 | 23.6 | 48.4 | 2
2011-25 | 1 | 1 | 10 | 7 PC1 | 17.3 | 44.2 | 1.49
2011-25 | 1 | 1 | 10 | 7 PC2 | 17.1 | 44 | 1.41
2011-25 | 1 | 1 | 10 | 7 PC3 | 17.2 | 44.1 | 1.47
2011-25 | 1 | 1 | 0 | 8 PC1 | 0.5 | 41.7 | 0.17 | PO4: Funny peak. Low salinity? Used mid peak as datum height
2011-25 | 1 | 1 | 0 | 8 PC2 | 0.4 | 40.8 | 0.17 | PO4: Funny peak. Low salinity? Used mid peak as datum height
2011-25 | 1 | 1 | 0 | 8 PC3 | 0.3 | 42.6 | 0.15 | PO4: Funny peak. Low salinity? Used mid peak as datum height

## Duplicates
Cruise 2011-25 August Terri Sutherland
Averaging Cast 1 triplicates from same Niskin
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Precision Statement for Triplicates
Sp for nitrate for the range 0.3 to 29.3 uM was 0.4, k = 24 with 0 outliers removed
Sp for silicate for the range 40.8 to 55.2 uM was 0.9, k = 24 with 0 outliers removed
Sp for phosphate for the range 0.1 to 2.5 uM was 0.23, k = 24 with 0 outliers removed
#2009-3 2500 uM Nitrate stock standard solution prepared September 26, 2011 was used for this cruise analyses.
#2009-2 7500 uM Silicate stock standard solution prepared September 26, 2011 was used for this cruise analyses.
#2011-1 Phosphate stock standard solution prepared Septmeber 26, 2011 (Primary) was used for this cruise analyses.
#2011-1 Phosphate stock standard solution prepared September 27, 2011 (Secondary) was used for this cruise analyses
Cast | Station | Sample # | NO3 | SiO3 | PO4 | Average |  |  | Difference of Squares |  |  | Comments
|  |  | uM | uM | uM | NO3 | SiO3 | PO4 | NO3 | SiO3 | PO4
1 | 1 | 1 | 28.2 | 53.4 | 2.44
1 | 1 | 1 | 28.8 | 54.4 | 2.46
1 | 1 | 1 | 29 | 54.6 | 2.47 | 28.6667 | 54.1333 | 2.4567 | 0.34667 | 0.82667 | 0.00046667
1 | 1 | 2 | 25.2 | 44.8 | 2.18
1 | 1 | 2 | 28.6 | 51.5 | 2.43
1 | 1 | 2 | 28.3 | 51.2 | 2.31 | 27.3667 | 49.1667 | 2.3067 | 7.0867 | 28.6467 | 0.031267
1 | 1 | 3 | 27.6 | 47.7 | 2.35
1 | 1 | 3 | 28.1 | 48.4 | 2.36
1 | 1 | 3 | 28.4 | 48.6 | 2.36 | 28.0333 | 48.2333 | 2.3567 | 0.32667 | 0.44667 | 6.6667e-05
1 | 1 | 4 | 24.9 | 46.5 | 2.17
1 | 1 | 4 | 24.8 | 46.4 | 2.17
1 | 1 | 4 | 24.6 | 46 | 2 | 24.7667 | 46.3 | 2.1133 | 0.046667 | 0.14 | 0.019267
1 | 1 | 5 | 24.7 | 49.3 | 1.59
1 | 1 | 5 | 24.7 | 49 | 1.97
1 | 1 | 5 | 25 | 49.1 | 2.02 | 24.8 | 49.1333 | 1.86 | 0.06 | 0.046667 | 0.1106
1 | 1 | 6 | 23.6 | 47.9 | 2.07
1 | 1 | 6 | 23.5 | 47.9 | 1.9
1 | 1 | 6 | 22.8 | 46.6 | 1.97 | 23.3 | 47.4667 | 1.98 | 0.38 | 1.1267 | 0.0146
1 | 1 | 7 | 16.9 | 43.7 | 1.61 | [7 empty] | SUM OF SQ | 8.26 | 31.4 | 0.1896
1 | 1 | 7 | 17 | 44.1 | 1.6 | [7 empty] | COUNT | 8 | 8 | 8
1 | 1 | 7 | 16.9 | 43.6 | 1.51 | 16.9333 | 43.8 | 1.5733 | 0.0066667 | 0.14 | 0.0060667 |  | SUM/2*COUNT | 0.51625 | 1.9625 | 0.01185
1 | 1 | 8 | 0.5 | 43 | 0.29 | [7 empty] | SQRT(SUM/2*COUNT) | 0.71851 | 1.4009 | 0.10886
1 | 1 | 8 | 0.4 | 43 | 0.41 | [7 empty] | min | 0.4 | 42.8 | 0.29
1 | 1 | 8 | 0.4 | 42.8 | 0.36 | 0.43333 | 42.9333 | 0.35333 | 0.0066667 | 0.026667 | 0.0072667 |  | max | 29 | 54.6 | 2.47
1 | 1 | 1 GF1 | 29.1 | 54.9 | 2.39
1 | 1 | 1 GF2 | 29.3 | 55.2 | 1.8
1 | 1 | 1 GF3 | 29.2 | 55.2 | 1.71 | 29.2 | 55.1 | 1.9667 | 0.02 | 0.06 | 0.27287
1 | 1 | 2 GF1 | 28.7 | 52.1 | 2.35
1 | 1 | 2 GF2 | 28.5 | 51.9 | 2.01
1 | 1 | 2 GF3 | 28.7 | 51.9 | 1.66 | 28.6333 | 51.9667 | 2.0067 | 0.026667 | 0.026667 | 0.23807
1 | 1 | 3 GF1 | 28.4 | 48.7 | 2.32
1 | 1 | 3 GF2 | 28.2 | 48.6 | 2.15
1 | 1 | 3 GF3 | 28.3 | 48.7 | 2.28 | 28.3 | 48.6667 | 2.25 | 0.02 | 0.0066667 | 0.0158
1 | 1 | 4 GF1 | 25.3 | 47.2 | 2.09
1 | 1 | 4 GF2 | 25.1 | 47 | 1.45
1 | 1 | 4 GF3 | 24.6 | 46.2 | 1.55 | 25 | 46.8 | 1.6967 | 0.26 | 0.56 | 0.23707
1 | 1 | 5 GF1 | 24.7 | 48.9 | 1.87
1 | 1 | 5 GF2 | 24.7 | 49.2 | 1.96
1 | 1 | 5 GF3 | 24.8 | 49.3 | 1.87 | 24.7333 | 49.1333 | 1.9 | 0.0066667 | 0.086667 | 0.0054
1 | 1 | 6 GF1 | 23.8 | 48.8 | 1.9
1 | 1 | 6 GF2 | 23.6 | 48.4 | 1.81
1 | 1 | 6 GF3 | 23.7 | 48.3 | 2.05 | 23.7 | 48.5 | 1.92 | 0.02 | 0.14 | 0.0294
1 | 1 | 7 GF1 | 17.6 | 44.5 | 1.54 | [7 empty] | SUM OF SQ | 0.46667 | 1.5533 | 0.79953
1 | 1 | 7 GF2 | 17.4 | 44.3 | 1.53 | [7 empty] | COUNT | 8 | 8 | 8
1 | 1 | 7 GF3 | 17.4 | 44.3 | 1.5 | 17.4667 | 44.3667 | 1.5233 | 0.026667 | 0.026667 | 0.00086667 |  | SUM/2*COUNT | 0.029167 | 0.097083 | 0.049971
1 | 1 | 8 GF1 | 0.8 | 42.1 | 0.14 | [7 empty] | SQRT(SUM/2*COUNT) | 0.17078 | 0.31158 | 0.22354
1 | 1 | 8 GF2 | 0.5 | 41.3 | 0.13 | [7 empty] | min | 0.4 | 41 | 0.13
1 | 1 | 8 GF3 | 0.4 | 41 | 0.13 | 0.56667 | 41.4667 | 0.13333 | 0.086667 | 0.64667 | 6.6667e-05 |  | max | 29.3 | 55.2 | 2.39
1 | 1 | 1 PC1 | 28.6 | 54.7 | 1.32
1 | 1 | 1 PC2 | 28.9 | 55 | 1.56
1 | 1 | 1 PC3 | 28.8 | 55 | 1.81 | 28.7667 | 54.9 | 1.5633 | 0.046667 | 0.06 | 0.12007
1 | 1 | 2 PC1 | 28.5 | 51.9 | 2.26
1 | 1 | 2 PC2 | 28.5 | 51.8 | 2.35
1 | 1 | 2 PC3 | 28.4 | 51.9 | 1.48 | 28.4667 | 51.8667 | 2.03 | 0.0066667 | 0.0066667 | 0.4578
1 | 1 | 3 PC1 | 28.1 | 48.7 | 2.18
1 | 1 | 3 PC2 | 28.4 | 48.9 | 1.5
1 | 1 | 3 PC3 | 28.3 | 48.8 | 1.49 | 28.2667 | 48.8 | 1.7233 | 0.046667 | 0.02 | 0.31287
1 | 1 | 4 PC1 | 25 | 46.1 | 2.12
1 | 1 | 4 PC2 | 25.3 | 46.8 | 1.95
1 | 1 | 4 PC3 | 25.2 | 47 | 1.29 | 25.1667 | 46.6333 | 1.7867 | 0.046667 | 0.44667 | 0.38447
1 | 1 | 5 PC1 | 24.9 | 49.6 | 1.94
1 | 1 | 5 PC2 | 24.9 | 49.2 | 1.89
1 | 1 | 5 PC3 | 24.9 | 49.1 | 1.92 | 24.9 | 49.3 | 1.9167 | 0 | 0.14 | 0.0012667
1 | 1 | 6 PC1 | 23.4 | 48.1 | 1.69
1 | 1 | 6 PC2 | 23.5 | 48.3 | 1.35
1 | 1 | 6 PC3 | 23.6 | 48.4 | 2 | 23.5 | 48.2667 | 1.68 | 0.02 | 0.046667 | 0.2114
1 | 1 | 7 PC1 | 17.3 | 44.2 | 1.49 | [7 empty] | SUM OF SQ | 0.20667 | 2.36 | 1.4916
1 | 1 | 7 PC2 | 17.1 | 44 | 1.41 | [7 empty] | COUNT | 8 | 8 | 8
1 | 1 | 7 PC3 | 17.2 | 44.1 | 1.47 | 17.2 | 44.1 | 1.4567 | 0.02 | 0.02 | 0.0034667 |  | SUM/2*COUNT | 0.012917 | 0.1475 | 0.093225
1 | 1 | 8 PC1 | 0.5 | 41.7 | 0.17 | [6 empty] | PO4: Funny peak. Low salinity? Used mid peak as datum height | SQRT(SUM/2*COUNT) | 0.11365 | 0.38406 | 0.30533
1 | 1 | 8 PC2 | 0.4 | 40.8 | 0.17 | [6 empty] | PO4: Funny peak. Low salinity? Used mid peak as datum height | min | 0.3 | 40.8 | 0.15
1 | 1 | 8 PC3 | 0.3 | 42.6 | 0.15 | 0.4 | 41.7 | 0.16333 | 0.02 | 1.62 | 0.00026667 | PO4: Funny peak. Low salinity? Used mid peak as datum height | max | 28.9 | 55 | 2.35
[7 empty] | SUM OF SQ |  | 8.9333 | 35.3133 | 2.4807
[7 empty] | COUNT |  | 24 | 24 | 24
[7 empty] | SUM/2*COUNT |  | 0.18611 | 0.73569 | 0.051682
[7 empty] | SQRT(SUM/2*COUNT) |  | 0.43141 | 0.85773 | 0.22734
[7 empty] | min |  | 0.3 | 40.8 | 0.13
[7 empty] | max |  | 29.3 | 55.2 | 2.47

## Flags
Quality Flags for Water Samples
No comment is necessary for flag "6".
For all flags other than "6" always enter a comment explaining the reason for the flag.
Preface comment with a three letter tag for the specific parameter ie: NUT-comment if the comment
applies to all nutrients, or NO3-comment, SIL-comment etc. if it only applies to one nutrient.
Enter comments relating to nutrient analysis only.
Do not repeat comments already noted for the cast - e.g. niskin tripped at wrong depth,
but do include comments explaining a missing sample - e.g. flag "9" niskin did not close.
Specific Nutrient Analysis Quality Flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).

## Nutrient Data
Cruise | Event | Station | Depth | Sample # | NO3 | Flag: NO3 | SiO4 | Flag: SiO4 | PO4 | Flag: PO4 | Comments | Avg | Avg | Avg
|  |  | m |  | uM |  | uM |  | uM |  |  | NO3 | SIO4 | PO4
2011-25 | 1 | 1 | 200 | 1 | 28.2 |  | 53.4 |  | 2.44
2011-25 | 1 | 1 | 200 | 1 | 28.8 |  | 54.4 |  | 2.46
2011-25 | 1 | 1 | 200 | 1 | 29 |  | 54.6 |  | 2.47 |  |  | 28.6667 | 54.1333 | 2.4567
2011-25 | 1 | 1 | 200 | 1 GF1 | 29.1 |  | 54.9 |  | 2.39
2011-25 | 1 | 1 | 200 | 1 GF2 | 29.3 |  | 55.2 |  | 1.8
2011-25 | 1 | 1 | 200 | 1 GF3 | 29.2 |  | 55.2 |  | 1.71 |  |  | 29.2 | 55.1 | 1.9667
2011-25 | 1 | 1 | 200 | 1 PC1 | 28.6 |  | 54.7 |  | 1.32
2011-25 | 1 | 1 | 200 | 1 PC2 | 28.9 |  | 55 |  | 1.56
2011-25 | 1 | 1 | 200 | 1 PC3 | 28.8 |  | 55 |  | 1.81 |  |  | 28.7667 | 54.9 | 1.5633
2011-25 | 1 | 1 | 150 | 2 | 25.2 | 3 | 44.8 | 3 | 2.18 | 3 | NUT: Low compared to other two replicates. See plots
2011-25 | 1 | 1 | 150 | 2 | 28.6 |  | 51.5 |  | 2.43
2011-25 | 1 | 1 | 150 | 2 | 28.3 |  | 51.2 |  | 2.31 |  |  | 27.3667 | 49.1667 | 2.3067
2011-25 | 1 | 1 | 150 | 2 GF1 | 28.7 |  | 52.1 |  | 2.35
2011-25 | 1 | 1 | 150 | 2 GF2 | 28.5 |  | 51.9 |  | 2.01
2011-25 | 1 | 1 | 150 | 2 GF3 | 28.7 |  | 51.9 |  | 1.66 |  |  | 28.6333 | 51.9667 | 2.0067
2011-25 | 1 | 1 | 150 | 2 PC1 | 28.5 |  | 51.9 |  | 2.26
2011-25 | 1 | 1 | 150 | 2 PC2 | 28.5 |  | 51.8 |  | 2.35
2011-25 | 1 | 1 | 150 | 2 PC3 | 28.4 |  | 51.9 |  | 1.48 |  |  | 28.4667 | 51.8667 | 2.03
2011-25 | 1 | 1 | 100 | 3 | 27.6 |  | 47.7 |  | 2.35
2011-25 | 1 | 1 | 100 | 3 | 28.1 |  | 48.4 |  | 2.36
2011-25 | 1 | 1 | 100 | 3 | 28.4 |  | 48.6 |  | 2.36 |  |  | 28.0333 | 48.2333 | 2.3567
2011-25 | 1 | 1 | 100 | 3 GF1 | 28.4 |  | 48.7 |  | 2.32
2011-25 | 1 | 1 | 100 | 3 GF2 | 28.2 |  | 48.6 |  | 2.15
2011-25 | 1 | 1 | 100 | 3 GF3 | 28.3 |  | 48.7 |  | 2.28 |  |  | 28.3 | 48.6667 | 2.25
2011-25 | 1 | 1 | 100 | 3 PC1 | 28.1 |  | 48.7 |  | 2.18
2011-25 | 1 | 1 | 100 | 3 PC2 | 28.4 |  | 48.9 |  | 1.5
2011-25 | 1 | 1 | 100 | 3 PC3 | 28.3 |  | 48.8 |  | 1.49 |  |  | 28.2667 | 48.8 | 1.7233
2011-25 | 1 | 1 | 50 | 4 | 24.9 |  | 46.5 |  | 2.17
2011-25 | 1 | 1 | 50 | 4 | 24.8 |  | 46.4 |  | 2.17
2011-25 | 1 | 1 | 50 | 4 | 24.6 |  | 46 |  | 2 |  |  | 24.7667 | 46.3 | 2.1133
2011-25 | 1 | 1 | 50 | 4 GF1 | 25.3 |  | 47.2 |  | 2.09
2011-25 | 1 | 1 | 50 | 4 GF2 | 25.1 |  | 47 |  | 1.45
2011-25 | 1 | 1 | 50 | 4 GF3 | 24.6 |  | 46.2 |  | 1.55 |  |  | 25 | 46.8 | 1.6967
2011-25 | 1 | 1 | 50 | 4 PC1 | 25 |  | 46.1 |  | 2.12
2011-25 | 1 | 1 | 50 | 4 PC2 | 25.3 |  | 46.8 |  | 1.95
2011-25 | 1 | 1 | 50 | 4 PC3 | 25.2 |  | 47 |  | 1.29 |  |  | 25.1667 | 46.6333 | 1.7867
2011-25 | 1 | 1 | 30 | 5 | 24.7 |  | 49.3 |  | 1.59
2011-25 | 1 | 1 | 30 | 5 | 24.7 |  | 49 |  | 1.97
2011-25 | 1 | 1 | 30 | 5 | 25 |  | 49.1 |  | 2.02 |  |  | 24.8 | 49.1333 | 1.86
2011-25 | 1 | 1 | 30 | 5 GF1 | 24.7 |  | 48.9 |  | 1.87
2011-25 | 1 | 1 | 30 | 5 GF2 | 24.7 |  | 49.2 |  | 1.96
2011-25 | 1 | 1 | 30 | 5 GF3 | 24.8 |  | 49.3 |  | 1.87 |  |  | 24.7333 | 49.1333 | 1.9
2011-25 | 1 | 1 | 30 | 5 PC1 | 24.9 |  | 49.6 |  | 1.94
2011-25 | 1 | 1 | 30 | 5 PC2 | 24.9 |  | 49.2 |  | 1.89
2011-25 | 1 | 1 | 30 | 5 PC3 | 24.9 |  | 49.1 |  | 1.92 |  |  | 24.9 | 49.3 | 1.9167
2011-25 | 1 | 1 | 20 | 6 | 23.6 |  | 47.9 |  | 2.07
2011-25 | 1 | 1 | 20 | 6 | 23.5 |  | 47.9 |  | 1.9
2011-25 | 1 | 1 | 20 | 6 | 22.8 |  | 46.6 |  | 1.97 |  |  | 23.3 | 47.4667 | 1.98
2011-25 | 1 | 1 | 20 | 6 GF1 | 23.8 |  | 48.8 |  | 1.9
2011-25 | 1 | 1 | 20 | 6 GF2 | 23.6 |  | 48.4 |  | 1.81
2011-25 | 1 | 1 | 20 | 6 GF3 | 23.7 |  | 48.3 |  | 2.05 |  |  | 23.7 | 48.5 | 1.92
2011-25 | 1 | 1 | 20 | 6 PC1 | 23.4 |  | 48.1 |  | 1.69
2011-25 | 1 | 1 | 20 | 6 PC2 | 23.5 |  | 48.3 |  | 1.35
2011-25 | 1 | 1 | 20 | 6 PC3 | 23.6 |  | 48.4 |  | 2 |  |  | 23.5 | 48.2667 | 1.68
2011-25 | 1 | 1 | 10 | 7 | 16.9 |  | 43.7 |  | 1.61
2011-25 | 1 | 1 | 10 | 7 | 17 |  | 44.1 |  | 1.6
2011-25 | 1 | 1 | 10 | 7 | 16.9 |  | 43.6 |  | 1.51 |  |  | 16.9333 | 43.8 | 1.5733
2011-25 | 1 | 1 | 10 | 7 GF1 | 17.6 |  | 44.5 |  | 1.54
2011-25 | 1 | 1 | 10 | 7 GF2 | 17.4 |  | 44.3 |  | 1.53
2011-25 | 1 | 1 | 10 | 7 GF3 | 17.4 |  | 44.3 |  | 1.5 |  |  | 17.4667 | 44.3667 | 1.5233
2011-25 | 1 | 1 | 10 | 7 PC1 | 17.3 |  | 44.2 |  | 1.49
2011-25 | 1 | 1 | 10 | 7 PC2 | 17.1 |  | 44 |  | 1.41
2011-25 | 1 | 1 | 10 | 7 PC3 | 17.2 |  | 44.1 |  | 1.47 |  |  | 17.2 | 44.1 | 1.4567
2011-25 | 1 | 1 | 0 | 8 | 0.5 |  | 43 |  | 0.29
2011-25 | 1 | 1 | 0 | 8 | 0.4 |  | 43 |  | 0.41
2011-25 | 1 | 1 | 0 | 8 | 0.4 |  | 42.8 |  | 0.36 |  |  | 0.43333 | 42.9333 | 0.35333
2011-25 | 1 | 1 | 0 | 8 GF1 | 0.8 |  | 42.1 |  | 0.14
2011-25 | 1 | 1 | 0 | 8 GF2 | 0.5 |  | 41.3 |  | 0.13
2011-25 | 1 | 1 | 0 | 8 GF3 | 0.4 |  | 41 |  | 0.13 |  |  | 0.56667 | 41.4667 | 0.13333
2011-25 | 1 | 1 | 0 | 8 PC1 | 0.5 |  | 41.7 |  | 0.17 |  | PO4: Funny peak. Low salinity? Used mid peak as datum height
2011-25 | 1 | 1 | 0 | 8 PC2 | 0.4 |  | 40.8 |  | 0.17 |  | PO4: Funny peak. Low salinity? Used mid peak as datum height
2011-25 | 1 | 1 | 0 | 8 PC3 | 0.3 |  | 42.6 |  | 0.15 |  | PO4: Funny peak. Low salinity? Used mid peak as datum height | 0.4 | 41.7 | 0.16333
2011-25 | 2 | NC1 | 300 | 10 | 24.9 |  | 45 |  | 1.97
2011-25 | 2 | NC1 | 200 | 12 | 25 |  | 46.5 |  | 1.86
2011-25 | 2 | NC1 | 150 | 14 | 25.1 |  | 46.1 |  | 1.83
2011-25 | 2 | NC1 | 100 | 16 | 24.8 |  | 47.4 |  | 1.92
2011-25 | 2 | NC1 | 100 | 16 | 25.1 |  | 47 |  | 1.79 |  |  | 24.95 | 47.2 | 1.855
2011-25 | 2 | NC1 | 50 | 18 | 24.2 |  | 47.5 |  | 2.03
2011-25 | 2 | NC1 | 30 | 19 | 24.3 |  | 47.8 |  | 1.84
2011-25 | 2 | NC1 | 20 | 20 | 24.1 |  | 48.2 |  | 2.01
2011-25 | 2 | NC1 | 10 | 21 | 23.9 |  | 47.9 |  | 2.01
2011-25 | 2 | NC1 | 2 | 22 | 23.4 |  | 48.1 |  | 2
2011-25 | 5 | NC4 | 250 | 23 | 25.2 |  | 45.9 |  | 1.8
2011-25 | 5 | NC4 | 200 | 25 | 24.7 |  | 44.9 |  | 1.96
2011-25 | 5 | NC4 | 150 | 27 | 24.6 |  | 45.1 |  | 2
2011-25 | 5 | NC4 | 100 | 29 | 24.8 |  | 46.5 |  | 1.71
2011-25 | 5 | NC4 | 75 | 30 | 24.6 |  | 47.1 |  | 1.72
2011-25 | 5 | NC4 | 50 | 31 | 24.9 |  | 48.1 |  | 1.85
2011-25 | 5 | NC4 | 30 | 32 | 24.8 |  | 48.2 |  | 2.03
2011-25 | 5 | NC4 | 20 | 33 | 24.5 |  | 48.4 |  | 2.02
2011-25 | 5 | NC4 | 10 | 34 | 24 |  | 48.9 |  | 1.85
2011-25 | 5 | NC4 | 0 | 35 | -99 | 9 | -99 | 9 | -99 | 9 | NUT: Rosette log shows that sample was collected but did not exist
2011-25 | 6 | NC5 | 200 | 36 | 25.3 |  | 45.8 |  | 1.88
2011-25 | 6 | NC5 | 150 | 37 | 25.4 |  | 46.5 |  | 2.01
2011-25 | 6 | NC5 | 100 | 38 | 24.8 |  | 46.6 |  | 1.8
2011-25 | 6 | NC5 | 50 | 39 | 24.5 |  | 47.9 |  | 1.88
2011-25 | 6 | NC5 | 30 | 40 | 23.9 |  | 47.5 |  | 2.01 |  | NUT: Salt crystals on tube threads
2011-25 | 6 | NC5 | 20 | 41 | 23.2 |  | 46.5 |  | 1.95
2011-25 | 6 | NC5 | 10 | 42 | 24.6 |  | 49.4 |  | 1.64
2011-25 | 6 | NC5 | 0 | 43 | 23.2 |  | 48.6 |  | 1.73
2011-25 | 7 | NC6 | 227 | 44 | 25.2 | 3 | 45.9 | 3 | 2.04 | 3 | NUT: Cap loose. Tightened before bath
2011-25 | 7 | NC6 | 200 | 45 | 25.1 |  | 45.9 |  | 1.88
2011-25 | 7 | NC6 | 150 | 46 | 25.1 |  | 46.2 |  | 2.03
2011-25 | 7 | NC6 | 100 | 47 | 25 |  | 46.9 |  | 1.95
2011-25 | 7 | NC6 | 50 | 48 | 24.6 |  | 47.3 |  | 2.03
2011-25 | 7 | NC6 | 30 | 49 | 24.9 |  | 48.3 |  | 1.8
2011-25 | 7 | NC6 | 20 | 50 | 24.3 |  | 47.3 |  | 2.02
2011-25 | 7 | NC6 | 10 | 51 | 25 |  | 49.3 |  | 1.9
2011-25 | 7 | NC6 | 0 | 52 | 24.4 |  | 49.9 |  | 2.07
2011-25 | 9 | NC8 | 254 | 53 | 25.1 |  | 46.3 |  | 1.66
2011-25 | 9 | NC8 | 200 | 54 | 24.8 |  | 45.7 |  | 1.5
2011-25 | 9 | NC8 | 150 | 55 | 25 |  | 46.2 |  | 1.69
2011-25 | 9 | NC8 | 100 | 56 | 24.9 |  | 46.4 |  | 1.74
2011-25 | 9 | NC8 | 50 | 57 | 25 |  | 47.2 |  | 1.73
2011-25 | 9 | NC8 | 30 | 58 | 25 |  | 47.9 |  | 2.01
2011-25 | 9 | NC8 | 20 | 59 | 25.3 |  | 49.6 |  | 1.62
2011-25 | 9 | NC8 | 10 | 60 | 25.4 |  | 50.5 |  | 2.13
2011-25 | 9 | NC8 | 0 | 61 | 24.5 |  | 50.3 |  | 1.59
2011-25 | 10 | NC9 | 279 | 62 | 25 |  | 46.9 |  | 2.05
2011-25 | 10 | NC9 | 250 | 63 | 24.9 |  | 46.9 |  | 1.63
2011-25 | 10 | NC9 | 200 | 64 | 25 |  | 46.6 |  | 2.04
2011-25 | 10 | NC9 | 150 | 65 | 24.9 |  | 46.9 |  | 1.43
2011-25 | 10 | NC9 | 100 | 66 | 25.1 |  | 47.5 |  | 2.06
2011-25 | 10 | NC9 | 50 | 67 | 24.7 |  | 48.1 |  | 2.08 |  | NUT: Salt crystals on tube threads
2011-25 | 10 | NC9 | 30 | 68 | 25.8 |  | 50.8 |  | 2.15
2011-25 | 10 | NC9 | 20 | 69 | 25.5 |  | 50.6 |  | 2.14
2011-25 | 10 | NC9 | 10 | 70 | 25.1 |  | 50.9 |  | 1.88
2011-25 | 10 | NC9 | 2 | 71 | 24.5 |  | 50.6 |  | 1.88
2011-25 | 11 | NC10 | 307 | 72 | 25.6 |  | 48.1 |  | 1.97
2011-25 | 11 | NC10 | 250 | 73 | 25.3 |  | 47.9 |  | 1.88
2011-25 | 11 | NC10 | 200 | 74 | 25.6 |  | 48.5 |  | 1.58
2011-25 | 11 | NC10 | 150 | 75 | 25.3 |  | 48.6 |  | 1.7
2011-25 | 11 | NC10 | 100 | 76 | 25.8 |  | 49.2 |  | 2.02
2011-25 | 11 | NC10 | 50 | 77 | 25.2 |  | 49.6 |  | 1.74 |  | NUT: Salt crystals on tube threads
2011-25 | 11 | NC10 | 30 | 78 | 25.7 |  | 51 |  | 2.05
2011-25 | 11 | NC10 | 20 | 79 | 25.9 |  | 51.8 |  | 1.67
2011-25 | 11 | NC10 | 10 | 80 | 25.1 |  | 51.1 |  | 2.06 |  | NUT: Salt crystals on tube threads
2011-25 | 11 | NC10 | 2 | 81 | 25.2 |  | 51.6 |  | 1.86
2011-25 | 14 | NC13 | 302 | 82 | 25 |  | 47 |  | 2.07
2011-25 | 14 | NC13 | 150 | 83 | 24.3 |  | 45.8 |  | 2.01
2011-25 | 14 | NC13 | 100 | 84 | 25.5 |  | 49.4 |  | 2.1
2011-25 | 14 | NC13 | 50 | 85 | 26.3 |  | 52.1 |  | 2.19
2011-25 | 14 | NC13 | 30 | 86 | 25.4 |  | 50.7 |  | 2.14
2011-25 | 14 | NC13 | 20 | 87 | 26 |  | 52.5 |  | 2.16
2011-25 | 14 | NC13 | 10 | 88 | 25.6 |  | 51.7 |  | 2.13
2011-25 | 14 | NC13 | 1 | 89 | 24.3 |  | 50.4 |  | 2.05
2011-25 | 17 | BS2 | 32 | 90 | 20.5 |  | 90.4 |  | 3.31
2011-25 | 17 | BS2 | 30 | 91 | 20.5 |  | 96.1 |  | 3.41
2011-25 | 17 | BS2 | 28 | 92 | 20.7 |  | 94 |  | 3.28
2011-25 | 17 | BS2 | 20 | 93 | 22.5 |  | 70.1 |  | 2.68
2011-25 | 17 | BS2 | 10 | 94 | 19.4 |  | 56.1 |  | 2.16
2011-25 | 17 | BS2 | 5 | 95 | 5.7 |  | 38.3 |  | 0.7 |  | NUT: Small crack in test tube. No leaks
2011-25 | 17 | BS2 | 2 | 96 | 0.3 |  | 31.8 |  | 0.29
2011-25 | 24 | BS5 | 39 | 97 | 19.8 |  | 97.3 |  | 3.8
2011-25 | 24 | BS5 | 37 | 98 | 19.5 |  | 92.3 |  | 3.83
2011-25 | 24 | BS5 | 35 | 99 | 20 |  | 98.8 |  | 3.54
2011-25 | 24 | BS5 | 25 | 100 | 21.8 |  | 78.3 |  | 2.7
2011-25 | 24 | BS5 | 10 | 101 | 15.8 |  | 46.7 |  | 1.79
2011-25 | 24 | BS5 | 5 | 102 | 1.6 |  | 33 |  | 0.44
2011-25 | 24 | BS5 | 1 | 103 | 0.3 |  | 32 |  | 0.24
2011-25 | 31 | BS8 | 44 | 104 | 16.4 |  | 99.7 |  | 5.28
2011-25 | 31 | BS8 | 41 | 105 | 17.7 |  | 104.1 |  | 4.87
2011-25 | 31 | BS8 | 39 | 106 | 18.3 |  | 103.8 |  | 4.19
2011-25 | 31 | BS8 | 25 | 107 | 21.4 |  | 79.2 |  | 2.9
2011-25 | 31 | BS8 | 10 | 108 | 18.6 |  | 53 |  | 1.89
2011-25 | 31 | BS8 | 5 | 109 | 3.6 |  | 36.4 |  | 0.67
2011-25 | 31 | BS8 | 1 | 110 | 0.4 |  | 31.8 |  | 0.27
2011-25 | 38 | BS11 | 44 | 111 | 18.9 |  | 97.8 |  | 3.77
2011-25 | 38 | BS11 | 42 | 112 | 19.2 |  | 96.6 |  | 3.2
2011-25 | 38 | BS11 | 40 | 113 | 20.2 |  | 92.9 |  | 3.5
2011-25 | 38 | BS11 | 25 | 114 | 22.4 |  | 65.4 |  | 2.45
2011-25 | 38 | BS11 | 10 | 115 | 18.7 |  | 53.8 |  | 1.99
2011-25 | 38 | BS11 | 5 | 116 | 6 |  | 40.2 |  | 0.85
2011-25 | 38 | BS11 | 1 | 117 | 0.7 |  | 34.2 |  | 0.35
2011-25 | 45 | BS14 | 34 | 118 | 22 |  | 75.1 |  | 2.71
2011-25 | 45 | BS14 | 32 | 119 | 21.8 |  | 80.4 |  | 2.91
2011-25 | 45 | BS14 | 30 | 120 | 21.7 |  | 77.2 |  | 2.58
2011-25 | 45 | BS14 | 25 | 121 | 22.2 |  | 73.2 |  | 2.68
2011-25 | 45 | BS14 | 10 | 122 | 21.9 |  | 72.5 |  | 2.67
2011-25 | 45 | BS14 | 5 | 123 | 3.1 |  | 37.9 |  | 0.55
2011-25 | 45 | BS14 | 1 | 124 | 1 |  | 35.2 |  | 0.3
2011-25 | 52 | BS17 | 46 | 125 | 23.1 |  | 69.4 |  | 2.62
2011-25 | 52 | BS17 | 44 | 126 | 23.4 |  | 71.5 |  | 2.49
2011-25 | 52 | BS17 | 42 | 127 | 23 |  | 72 |  | 2.59
2011-25 | 52 | BS17 | 25 | 128 | 23.7 |  | 58.1 |  | 2.2
2011-25 | 52 | BS17 | 10 | 129 | 16.8 |  | 48.7 |  | 1.74
2011-25 | 52 | BS17 | 5 | 130 | 2.3 |  | 38.3 |  | 0.5
2011-25 | 52 | BS17 | 1 | 131 | 0.2 |  | 35.1 |  | 0.26
2011-25 | 59 | BS20 | 36 | 132 | 24.4 |  | 56.3 |  | 2.25
2011-25 | 59 | BS20 | 34 | 133 | 24.1 |  | 55.7 |  | 2.1
2011-25 | 59 | BS20 | 32 | 134 | 23.8 |  | 56.3 |  | 2.2
2011-25 | 59 | BS20 | 25 | 135 | 22.5 |  | 55.3 |  | 1.79
2011-25 | 59 | BS20 | 10 | 136 | 19 |  | 52.3 |  | 1.59
2011-25 | 59 | BS20 | 5 | 137 | 8.4 |  | 41.1 |  | 1.02
2011-25 | 59 | BS20 | 1 | 138 | 2.2 |  | 36.7 |  | 0.48
2011-25 | 64 | BS22 | 35 | 139 | 25.9 |  | 51.7 |  | 2.28
2011-25 | 64 | BS22 | 33 | 140 | 26.8 |  | 52.8 |  | 2.23
2011-25 | 64 | BS22 | 30 | 141 | 26.3 |  | 51.8 |  | 2.27 |  | NUT: Salt crystals on tube threads
2011-25 | 64 | BS22 | 10 | 142 | 19.3 |  | 47.4 |  | 1.69
2011-25 | 64 | BS22 | 5 | 143 | 5.5 |  | 38.5 |  | 0.71
2011-25 | 64 | BS22 | 1 | 144 | 2.4 |  | 36.4 |  | 0.44
2011-25 | 66 | BS23 | 56 | 145 | 27.6 |  | 52.7 |  | 2.29 |  | NUT: Salt crystals on tube threads
2011-25 | 66 | BS23 | 54 | 146 | 27.9 |  | 53.3 |  | 2.07
2011-25 | 66 | BS23 | 52 | 147 | 27.9 |  | 53.5 |  | 1.95
2011-25 | 66 | BS23 | 25 | 148 | 25.8 |  | 52.4 |  | 1.78
2011-25 | 66 | BS23 | 10 | 149 | 19.5 |  | 47 |  | 1.76
2011-25 | 66 | BS23 | 5 | 150 | 3.6 |  | 36.9 |  | 0.53
2011-25 | 66 | BS23 | 1 | 151 | 0.7 |  | 33.5 |  | 0.28

## Raw FASPacII Output
FASPac II
Run date: 15/11/2011
Configuration: Nitrate Silicate Phosphate Low
Run Name: Nov 15, 2011-25
[6 empty] | Nitrate |  | Silicate |  | Phosphate
| Position | Identifier | Type | Comment | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM
1 | SR:1 | SYNC | SYNC |  | 0.6875 | 49.2 | 1.5022 | 183.3 | 0.03901 | 4.05
2 | SR:2 | CO | Carry over |  | 0.0227 | 1.7 | 0.0012 | 0.1 | 0.0004 | 0.07
|  | Carry over= |  |  |  | 3.3% |  | .1% |  | 1.0%
3 | SR:3 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0.03
4 | SR:4 | C1 | Calibrant |  | -0.002 | 0 | -0.0001 | -0.1 | -0.00026 | 0
5 | SR:5 | C2 | Calibrant |  | 0.1708 | 12 | 0.3767 | 45.2 | 0.00935 | 1
6 | SR:6 | C3 | Calibrant |  | 0.3414 | 24 | 0.7446 | 89.8 | 0.01905 | 2
7 | SR:7 | C4 | Calibrant |  | 0.5075 | 36 | 1.1136 | 135.1 | 0.02882 | 3
8 | SR:9 | w | Unknown |  | 0.0021 | 0.3 | 0.0001 | 0 | -0.0003 | 0
9 | SR:10 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0.03
10 | 3:1 | BF MIX | Unknown |  | 0.5984 | 42.7 | 1.2683 | 154.2 | 0.02744 | 2.86
11 | SR:12 | w | Unknown |  | -0.0009 | 0.1 | 0.0003 | 0 | -0.00026 | 0
12 | SR:11 | Cal 5m | Unknown |  | 0.1662 | 11.7 | 0.1333 | 15.9 | 0.01158 | 1.22
13 | 3:2 | Unk Med Std | Unknown |  | 0.3361 | 23.8 | 0.745 | 89.9 | 0.01904 | 1.99
14 | SR:13 | Cal 600m | Unknown |  | 0.6381 | 45.7 | 0.8714 | 105.4 | 0.03093 | 3.22
15 | SR:14 | w | Unknown |  | 0.0016 | 0.3 | 0.0005 | 0 | -0.00039 | -0.01
16 | SR:15 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.03
17 | 3:3 | NO3 Med | Unknown |  | 0.3327 | 23.7 | 0.748 | 90.3 | 0.01917 | 2.01
18 | SR:17 | NOX% | NO3 check |  | 0.3372 | 24 | 0.0001 | 0 | -0.00035 | -0.01
|  | NO3 Efficiency |  |  |  | 98.57%
19 | SR:16 | w | Unknown |  | 0.0021 | 0.3 | 0 | 0 | 0.00011 | 0.04
20 | SR:18 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.02
21 | 1:1 | 8 | Unknown |  | 0.0041 | 0.5 | 0.3579 | 43 | 0.0026 | 0.29
22 | 1:2 | 8 | Unknown |  | 0.0034 | 0.4 | 0.3586 | 43 | 0.00371 | 0.41
23 | 1:3 | 8 | Unknown |  | 0.0033 | 0.4 | 0.3562 | 42.8 | 0.0033 | 0.36
24 | 1:4 | 7 | Unknown |  | 0.2362 | 16.9 | 0.3643 | 43.7 | 0.01534 | 1.61
25 | 1:5 | 7 | Unknown |  | 0.2366 | 17 | 0.3672 | 44.1 | 0.01526 | 1.6
26 | 1:6 | 7 | Unknown |  | 0.2352 | 16.9 | 0.3628 | 43.6 | 0.01444 | 1.51
27 | 1:7 | 6 | Unknown |  | 0.328 | 23.6 | 0.3984 | 47.9 | 0.01986 | 2.07
28 | 1:8 | 6 | Unknown |  | 0.3267 | 23.5 | 0.3987 | 47.9 | 0.01815 | 1.9
29 | 1:9 | 6 | Unknown |  | 0.3161 | 22.8 | 0.388 | 46.6 | 0.01889 | 1.97
30 | 1:10 | 5 | Unknown |  | 0.3426 | 24.7 | 0.4099 | 49.3 | 0.01516 | 1.59
31 | 1:11 | 5 | Unknown |  | 0.3422 | 24.7 | 0.408 | 49 | 0.01883 | 1.97
32 | 1:12 | 5 | Unknown |  | 0.3458 | 25 | 0.4085 | 49.1 | 0.01939 | 2.02
33 | 1:13 | 4 | Unknown |  | 0.3446 | 24.9 | 0.3872 | 46.5 | 0.02077 | 2.17
34 | 1:14 | 4 | Unknown |  | 0.343 | 24.8 | 0.3859 | 46.4 | 0.02075 | 2.17
35 | 1:15 | 4 | Unknown |  | 0.3403 | 24.6 | 0.3831 | 46 | 0.01916 | 2
36 | 1:16 | 3 | Unknown |  | 0.3816 | 27.6 | 0.397 | 47.7 | 0.02252 | 2.35
37 | 1:17 | 3 | Unknown |  | 0.3881 | 28.1 | 0.4028 | 48.4 | 0.0226 | 2.36
38 | 1:18 | 3 | Unknown |  | 0.3916 | 28.4 | 0.4044 | 48.6 | 0.0226 | 2.36
39 | 1:19 | 2 | Unknown |  | 0.3463 | 25.2 | 0.3725 | 44.8 | 0.02089 | 2.18
40 | 1:20 | 2 | Unknown |  | 0.3937 | 28.6 | 0.4282 | 51.5 | 0.02332 | 2.43
41 | 1:21 | 2 | Unknown |  | 0.3894 | 28.3 | 0.4259 | 51.2 | 0.02212 | 2.31
42 | 1:22 | 1 | Unknown |  | 0.3873 | 28.2 | 0.4442 | 53.4 | 0.02346 | 2.44
43 | 1:23 | 1 | Unknown |  | 0.3949 | 28.8 | 0.4518 | 54.4 | 0.02366 | 2.46
44 | 1:24 | 1 | Unknown |  | 0.3968 | 29 | 0.4538 | 54.6 | 0.02371 | 2.47
45 | SR:14 | w | Unknown |  | 0.0051 | 0.6 | 0.0004 | 0 | -0.00015 | 0
46 | SR:15 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
47 | 3:1 | BF MIX | Unknown |  | 0.5854 | 42.7 | 1.2703 | 155.1 | 0.0275 | 2.86
48 | SR:12 | w | Unknown |  | 0.002 | 0.3 | 0.0006 | 0.1 | -0.00022 | -0.01
49 | SR:11 | Cal 5m | Unknown |  | 0.1624 | 12 | 0.1336 | 16 | 0.01168 | 1.22
50 | 3:2 | Unk Med Std | Unknown |  | 0.3296 | 24.2 | 0.7468 | 90.4 | 0.01914 | 1.99
51 | SR:13 | Cal 600m | Unknown |  | 0.6294 | 45.9 | 0.8739 | 106 | 0.03115 | 3.24
52 | SR:2 | w | Unknown |  | 0.004 | 0.5 | 0.0005 | 0.1 | -0.00025 | -0.02
53 | SR:3 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
54 | SR:4 | C1 | Calibrant |  | -0.0025 | 0 | -0.0002 | 0 | -2e-05 | 0.01
55 | SR:5 | C2 | Calibrant |  | 0.16 | 12 | 0.3747 | 45.1 | 0.00948 | 0.99
56 | SR:6 | C3 | Calibrant |  | 0.3257 | 24 | 0.7431 | 89.9 | 0.01917 | 2
57 | SR:7 | C4 | Calibrant |  | 0.4903 | 36 | 1.1085 | 135 | 0.0289 | 3
58 | SR:9 | w | Unknown |  | 0.004 | 0.5 | 0.0003 | 0 | -0.00025 | -0.02
59 | SR:10 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
60 | SR:19 | PAUSE | Pause |  | -0.0024 | 0 | -0.0002 | 0 | 1e-05 | 0.01
61 | SR:1 | SYNC | SYNC |  | ??? | ??? | ??? | ??? | ??? | ???
FASPac II
Run date: 16/11/2011
Configuration: Nitrate Silicate Phosphate Low
Run Name: Nov 16, 2011-25
[6 empty] | Nitrate |  | Silicate |  | Phosphate
| Position | Identifier | Type | Comment | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM
1 | SR:1 | SYNC | SYNC |  | 0.6356 | 48.3 | 1.4822 | 183.8 | 0.03945 | 4.07
2 | SR:2 | CO | Carry over |  | 0.0245 | 2 | 0.0014 | 0.2 | 6e-05 | 0.02
|  | Carry over= |  |  |  | 3.9% |  | .1% |  | .2%
3 | SR:3 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
4 | SR:4 | C1 | Calibrant |  | -0.0022 | 0 | -0.0002 | 0 | -1e-05 | 0.01
5 | SR:5 | C2 | Calibrant |  | 0.157 | 12 | 0.3696 | 45.1 | 0.00951 | 0.99
6 | SR:6 | C3 | Calibrant |  | 0.3158 | 24 | 0.7336 | 89.9 | 0.01929 | 2
7 | SR:7 | C4 | Calibrant |  | 0.4737 | 36 | 1.0952 | 135 | 0.02913 | 3.01
8 | SR:9 | w | Unknown |  | 0.0025 | 0.4 | 0.0001 | 0 | 2e-05 | 0.01
9 | SR:10 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
10 | 3:1 | BF Mix | Unknown |  | 0.5571 | 42.4 | 1.2512 | 154.6 | 0.02748 | 2.84
11 | SR:12 | w | Unknown |  | 0.0005 | 0.2 | 0.0004 | 0.1 | 3e-05 | 0.01
12 | SR:11 | Cal 5 m | Unknown |  | 0.1573 | 12 | 0.1316 | 16 | 0.01171 | 1.22
13 | 3:2 | Unk Med Std | Unknown |  | 0.3163 | 24.1 | 0.7338 | 89.9 | 0.01926 | 1.99
14 | SR:13 | Cal 600 m | Unknown |  | 0.6001 | 45.7 | 0.86 | 105.6 | 0.03128 | 3.23
15 | SR:14 | w | Unknown |  | 0.0025 | 0.4 | 0.0003 | 0 | 3e-05 | 0.01
16 | SR:15 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
17 | 3:3 | NO3 Med Std | Unknown |  | 0.3175 | 24.2 | 0.738 | 90.4 | 0.0193 | 2
18 | SR:17 | NOX% | NO3 check |  | 0.3172 | 24.2 | 0.0001 | 0 | -5e-05 | 0.01
|  | NO3 Efficiency |  |  |  | 100.09%
19 | SR:16 | w | Unknown |  | 0.0022 | 0.3 | 0 | 0 | 2e-05 | 0.01
20 | SR:18 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
21 | 1:1 | 8 GF1 | Unknown |  | 0.0079 | 0.8 | 0.3454 | 42.1 | 0.00128 | 0.14
22 | 1:2 | 8 GF2 | Unknown |  | 0.0038 | 0.5 | 0.3392 | 41.3 | 0.00114 | 0.13
23 | 1:3 | 8 GF3 | Unknown |  | 0.0032 | 0.4 | 0.3369 | 41 | 0.00114 | 0.13
24 | 1:4 | 7 GF1 | Unknown |  | 0.23 | 17.6 | 0.3653 | 44.5 | 0.01488 | 1.54
25 | 1:5 | 7 GF2 | Unknown |  | 0.2284 | 17.4 | 0.3641 | 44.3 | 0.01469 | 1.53
26 | 1:6 | 7 GF3 | Unknown |  | 0.2282 | 17.4 | 0.3638 | 44.3 | 0.0144 | 1.5
27 | 1:7 | 6 GF1 | Unknown |  | 0.3115 | 23.8 | 0.4001 | 48.8 | 0.01831 | 1.9
28 | 1:8 | 6 GF2 | Unknown |  | 0.3097 | 23.6 | 0.3971 | 48.4 | 0.01741 | 1.81
29 | 1:9 | 6 GF3 | Unknown |  | 0.3111 | 23.7 | 0.3967 | 48.3 | 0.01974 | 2.05
30 | 1:10 | 5 GF1 | Unknown |  | 0.3235 | 24.7 | 0.4017 | 48.9 | 0.01803 | 1.87
31 | 1:11 | 5 GF2 | Unknown |  | 0.3241 | 24.7 | 0.4039 | 49.2 | 0.01888 | 1.96
32 | 1:12 | 5 GF3 | Unknown |  | 0.3253 | 24.8 | 0.4044 | 49.3 | 0.01802 | 1.87
33 | 1:13 | 4 GF1 | Unknown |  | 0.3311 | 25.3 | 0.3876 | 47.2 | 0.02012 | 2.09
34 | 1:14 | 4 GF2 | Unknown |  | 0.3289 | 25.1 | 0.3859 | 47 | 0.01394 | 1.45
35 | 1:15 | 4 GF3 | Unknown |  | 0.3221 | 24.6 | 0.3791 | 46.2 | 0.01489 | 1.55
36 | 1:16 | 3 GF1 | Unknown |  | 0.3717 | 28.4 | 0.3997 | 48.7 | 0.02236 | 2.32
37 | 1:17 | 3 GF2 | Unknown |  | 0.3691 | 28.2 | 0.3989 | 48.6 | 0.02067 | 2.15
38 | 1:18 | 3 GF3 | Unknown |  | 0.3708 | 28.3 | 0.3996 | 48.7 | 0.02198 | 2.28
39 | 1:19 | 2 GF1 | Unknown |  | 0.3757 | 28.7 | 0.4277 | 52.1 | 0.02268 | 2.35
40 | 1:20 | 2 GF2 | Unknown |  | 0.3739 | 28.5 | 0.4261 | 51.9 | 0.01937 | 2.01
41 | 1:21 | 2 GF3 | Unknown |  | 0.376 | 28.7 | 0.4264 | 51.9 | 0.01599 | 1.66
42 | 1:22 | 1 GF1 | Unknown |  | 0.3805 | 29.1 | 0.4508 | 54.9 | 0.02301 | 2.39
43 | 1:23 | 1 GF2 | Unknown |  | 0.3837 | 29.3 | 0.453 | 55.2 | 0.01734 | 1.8
44 | 1:24 | 1 GF3 | Unknown |  | 0.3825 | 29.2 | 0.4533 | 55.2 | 0.01647 | 1.71
45 | 1:25 | w | Unknown |  | 0.0046 | 0.5 | 0.0002 | 0 | -1e-05 | 0.01
46 | 1:26 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
47 | 1:27 | 8 PC1 | Unknown | Funny peak. Turbid? | 0.0044 | 0.5 | 0.3431 | 41.7 | 0.00154 | 0.17
48 | 1:28 | 8 PC2 | Unknown | Funny peak. Turbid? | 0.0027 | 0.4 | 0.3356 | 40.8 | 0.00157 | 0.17
49 | 1:29 | 8 PC3 | Unknown | Funny peak. Turbid? | 0.0018 | 0.3 | 0.3499 | 42.6 | 0.00133 | 0.15
50 | 1:30 | 7 PC1 | Unknown |  | 0.225 | 17.3 | 0.3635 | 44.2 | 0.01432 | 1.49
51 | 1:31 | 7 PC2 | Unknown |  | 0.2229 | 17.1 | 0.3616 | 44 | 0.01353 | 1.41
52 | 1:32 | 7 PC3 | Unknown |  | 0.2242 | 17.2 | 0.3622 | 44.1 | 0.01412 | 1.47
53 | 1:33 | 6 PC1 | Unknown |  | 0.3048 | 23.4 | 0.3952 | 48.1 | 0.01619 | 1.69
54 | 1:34 | 6 PC2 | Unknown |  | 0.3067 | 23.5 | 0.3974 | 48.3 | 0.01292 | 1.35
55 | 1:35 | 6 PC3 | Unknown |  | 0.3081 | 23.6 | 0.3976 | 48.4 | 0.01921 | 2
56 | 1:36 | 5 PC1 | Unknown |  | 0.3255 | 24.9 | 0.4073 | 49.6 | 0.01858 | 1.94
57 | 1:37 | 5 PC2 | Unknown |  | 0.3254 | 24.9 | 0.4042 | 49.2 | 0.01812 | 1.89
58 | 1:38 | 5 PC3 | Unknown |  | 0.3247 | 24.9 | 0.4035 | 49.1 | 0.01844 | 1.92
59 | 1:39 | 4 PC1 | Unknown |  | 0.3265 | 25 | 0.3793 | 46.1 | 0.02035 | 2.12
60 | 1:40 | 4 PC2 | Unknown |  | 0.3302 | 25.3 | 0.385 | 46.8 | 0.01868 | 1.95
61 | 1:41 | 4 PC3 | Unknown |  | 0.3285 | 25.2 | 0.3863 | 47 | 0.01235 | 1.29
62 | 1:42 | 3 PC1 | Unknown |  | 0.3672 | 28.1 | 0.4006 | 48.7 | 0.02089 | 2.18
63 | 1:43 | 3 PC2 | Unknown |  | 0.3704 | 28.4 | 0.4023 | 48.9 | 0.01437 | 1.5
64 | 1:44 | 3 PC3 | Unknown |  | 0.3693 | 28.3 | 0.4009 | 48.8 | 0.01424 | 1.49
65 | 1:45 | 2 PC1 | Unknown |  | 0.3726 | 28.5 | 0.4267 | 51.9 | 0.02164 | 2.26
66 | 1:46 | 2 PC2 | Unknown |  | 0.3719 | 28.5 | 0.4259 | 51.8 | 0.02255 | 2.35
67 | 1:47 | 2 PC3 | Unknown |  | 0.37 | 28.4 | 0.4263 | 51.9 | 0.01415 | 1.48
68 | 1:48 | 1 PC1 | Unknown |  | 0.3727 | 28.6 | 0.4492 | 54.7 | 0.01266 | 1.32
69 | 1:49 | 1 PC2 | Unknown |  | 0.3766 | 28.9 | 0.4519 | 55 | 0.01491 | 1.56
70 | 1:50 | 1 PC3 | Unknown |  | 0.3756 | 28.8 | 0.4524 | 55 | 0.0173 | 1.81
71 | 1:51 | w | Unknown |  | 0.0058 | 0.6 | 0.0002 | 0 | 3e-05 | 0.02
72 | 1:52 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
73 | 3:1 | BF Mix | Unknown |  | 0.5487 | 41.9 | 1.2677 | 155.8 | 0.0273 | 2.84
74 | SR:12 | w | Unknown |  | 0.0025 | 0.4 | 0.0002 | 0 | 2e-05 | 0.01
75 | SR:11 | Cal 5 m | Unknown |  | 0.1561 | 12.1 | 0.1325 | 16 | 0.0116 | 1.22
76 | 3:2 | Unk Med Std | Unknown |  | 0.3094 | 23.8 | 0.7375 | 90 | 0.01905 | 1.99
77 | SR:13 | Cal 600 m | Unknown |  | 0.5889 | 45 | 0.8671 | 106 | 0.03102 | 3.23
78 | SR:2 | w | Unknown |  | 0.0034 | 0.4 | 0.0003 | 0 | 4e-05 | 0.02
79 | SR:3 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
80 | SR:4 | C1 | Calibrant |  | -0.0026 | 0 | -0.0002 | 0 | -2e-05 | 0.01
81 | SR:5 | C2 | Calibrant |  | 0.1552 | 12.1 | 0.3714 | 45.1 | 0.00939 | 0.99
82 | SR:6 | C3 | Calibrant |  | 0.3112 | 23.9 | 0.7367 | 89.9 | 0.01908 | 1.99
83 | SR:7 | C4 | Calibrant |  | 0.4704 | 36 | 1.1017 | 135 | 0.02885 | 3.01
84 | SR:9 | w | Unknown |  | 0.0039 | 0.5 | 0 | 0 | 1e-05 | 0.01
85 | SR:10 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
86 | 1:53 | 22 | Unknown |  | 0.3043 | 23.4 | 0.3962 | 48.1 | 0.01918 | 2
87 | 1:54 | 21 | Unknown |  | 0.31 | 23.9 | 0.3954 | 47.9 | 0.01926 | 2.01
88 | 1:55 | 20 | Unknown |  | 0.3124 | 24.1 | 0.3977 | 48.2 | 0.01926 | 2.01
89 | 1:56 | 19 | Unknown |  | 0.3149 | 24.3 | 0.3944 | 47.8 | 0.01764 | 1.84
90 | 1:57 | 18 | Unknown |  | 0.3142 | 24.2 | 0.3926 | 47.5 | 0.01941 | 2.03
91 | 1:58 | 16 | Unknown |  | 0.3217 | 24.8 | 0.3917 | 47.4 | 0.01839 | 1.92
92 | 1:59 | 16 | Unknown |  | 0.3252 | 25.1 | 0.3885 | 47 | 0.01713 | 1.79
93 | 1:60 | 14 | Unknown |  | 0.325 | 25.1 | 0.3816 | 46.1 | 0.01746 | 1.83
94 | 2:1 | 12 | Unknown |  | 0.3242 | 25 | 0.3846 | 46.5 | 0.01775 | 1.86
95 | 2:2 | 10 | Unknown |  | 0.3219 | 24.9 | 0.3724 | 45 | 0.01887 | 1.97
96 | 2:3 | w | Unknown |  | 0.0049 | 0.5 | 0.0003 | 0 | 4e-05 | 0.02
97 | 2:4 | W | Wash |  | 0 | 0.2 | 0 | -0.1 | 0 | 0.01
98 | 2:5 | 34 | Unknown |  | 0.3108 | 24 | 0.4053 | 48.9 | 0.01765 | 1.85
99 | 2:6 | 33 | Unknown |  | 0.3164 | 24.5 | 0.4015 | 48.4 | 0.01932 | 2.02
100 | 2:7 | 32 | Unknown |  | 0.3212 | 24.8 | 0.4003 | 48.2 | 0.01939 | 2.03
101 | 2:8 | 31 | Unknown |  | 0.3213 | 24.9 | 0.3997 | 48.1 | 0.01771 | 1.85
102 | 2:9 | 30 | Unknown |  | 0.3182 | 24.6 | 0.3915 | 47.1 | 0.01639 | 1.72
103 | 2:10 | 29 | Unknown |  | 0.3207 | 24.8 | 0.3867 | 46.5 | 0.01638 | 1.71
104 | 2:11 | 27 | Unknown |  | 0.3178 | 24.6 | 0.3756 | 45.1 | 0.01913 | 2
105 | 2:12 | 25 | Unknown |  | 0.3181 | 24.7 | 0.3736 | 44.9 | 0.01873 | 1.96
106 | 2:13 | 23 | Unknown |  | 0.325 | 25.2 | 0.3824 | 45.9 | 0.0172 | 1.8
107 | 2:14 | w | Unknown |  | 0.0053 | 0.6 | 0.0002 | -0.1 | 2e-05 | 0.01
108 | 2:15 | W | Wash |  | 0 | 0.2 | 0 | -0.1 | 0 | 0.01
109 | 2:16 | 43 | Unknown |  | 0.2992 | 23.2 | 0.4051 | 48.6 | 0.01654 | 1.73
110 | 2:17 | 42 | Unknown |  | 0.3166 | 24.6 | 0.4121 | 49.4 | 0.01571 | 1.64
111 | 2:18 | 41 | Unknown |  | 0.2985 | 23.2 | 0.3879 | 46.5 | 0.01863 | 1.95
112 | 2:19 | 40 | Unknown | Salt crystals on tube threads | 0.3072 | 23.9 | 0.3962 | 47.5 | 0.0192 | 2.01
113 | 2:20 | 39 | Unknown |  | 0.3154 | 24.5 | 0.4004 | 47.9 | 0.01796 | 1.88
114 | 2:21 | 38 | Unknown |  | 0.3193 | 24.8 | 0.3898 | 46.6 | 0.01724 | 1.8
115 | 2:22 | 37 | Unknown |  | 0.3263 | 25.4 | 0.3886 | 46.5 | 0.01921 | 2.01
116 | 2:23 | 36 | Unknown |  | 0.3257 | 25.3 | 0.3832 | 45.8 | 0.018 | 1.88
117 | 2:24 | w | Unknown |  | 0.0057 | 0.6 | 0.0001 | -0.1 | 5e-05 | 0.02
118 | 2:25 | W | Wash |  | 0 | 0.2 | 0 | -0.1 | 0 | 0.01
119 | SR:4 | C1 | Calibrant |  | -0.0021 | 0 | -0.0002 | -0.1 | -2e-05 | 0.01
120 | SR:5 | C2 | Calibrant |  | 0.1531 | 12 | 0.3809 | 45.4 | 0.0094 | 0.99
121 | SR:6 | C3 | Calibrant |  | 0.308 | 24 | 0.7418 | 89.6 | 0.01911 | 2
122 | SR:7 | C4 | Calibrant |  | 0.4634 | 36 | 1.1068 | 135.2 | 0.02881 | 3.01
123 | SR:9 | w | Unknown |  | 0.0067 | 0.7 | 0 | -0.1 | 1e-05 | 0.01
124 | SR:10 | W | Wash |  | 0 | 0.2 | 0 | -0.1 | 0 | 0.01
125 | 2:26 | 52 | Unknown |  | 0.3134 | 24.4 | 0.4173 | 49.9 | 0.01982 | 2.07
126 | 2:27 | 51 | Unknown |  | 0.3205 | 25 | 0.4123 | 49.3 | 0.01823 | 1.9
127 | 2:28 | 50 | Unknown |  | 0.3111 | 24.3 | 0.3961 | 47.3 | 0.01935 | 2.02
128 | 2:29 | 49 | Unknown |  | 0.3192 | 24.9 | 0.4038 | 48.3 | 0.01721 | 1.8
129 | 2:30 | 48 | Unknown |  | 0.3154 | 24.6 | 0.3955 | 47.3 | 0.01942 | 2.03
130 | 2:31 | 47 | Unknown |  | 0.3201 | 25 | 0.3921 | 46.9 | 0.01864 | 1.95
131 | 2:32 | 46 | Unknown |  | 0.3221 | 25.1 | 0.3866 | 46.2 | 0.01944 | 2.03
132 | 2:33 | 45 | Unknown |  | 0.3213 | 25.1 | 0.3838 | 45.9 | 0.01805 | 1.88
133 | 2:34 | 44 | Unknown | Cap loose. Tightened before bath | 0.3235 | 25.2 | 0.384 | 45.9 | 0.01958 | 2.04
134 | 2:35 | w | Unknown |  | 0.0061 | 0.7 | 0.0002 | 0 | 3e-05 | 0.01
135 | 2:36 | W | Wash |  | 0 | 0.2 | 0 | -0.1 | 0 | 0.01
136 | 2:37 | 61 | Unknown |  | 0.3137 | 24.5 | 0.4195 | 50.3 | 0.01522 | 1.59
137 | 2:38 | 60 | Unknown |  | 0.325 | 25.4 | 0.4215 | 50.5 | 0.02042 | 2.13
138 | 2:39 | 59 | Unknown |  | 0.3242 | 25.3 | 0.4138 | 49.6 | 0.01552 | 1.62
139 | 2:40 | 58 | Unknown |  | 0.3204 | 25 | 0.3998 | 47.9 | 0.01931 | 2.01
140 | 2:41 | 57 | Unknown |  | 0.3193 | 25 | 0.3934 | 47.2 | 0.01656 | 1.73
141 | 2:42 | 56 | Unknown |  | 0.3187 | 24.9 | 0.3873 | 46.4 | 0.01665 | 1.74
142 | 2:43 | 55 | Unknown |  | 0.3198 | 25 | 0.3856 | 46.2 | 0.01618 | 1.69
143 | 2:44 | 54 | Unknown |  | 0.3176 | 24.8 | 0.3814 | 45.7 | 0.01442 | 1.5
144 | 2:45 | 53 | Unknown |  | 0.321 | 25.1 | 0.3861 | 46.3 | 0.01591 | 1.66
145 | 2:46 | w | Unknown |  | 0.0062 | 0.7 | 0.0002 | 0 | 2e-05 | 0.01
146 | 2:47 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
147 | 3:1 | BF Mix | Unknown |  | 0.5436 | 42.5 | 1.2691 | 155.5 | 0.02725 | 2.83
148 | SR:12 | w | Unknown |  | 0.0053 | 0.7 | 0.0002 | 0 | 2e-05 | 0.01
149 | SR:11 | Cal 5 m | Unknown |  | 0.1537 | 12.1 | 0.1332 | 15.9 | 0.01164 | 1.21
150 | 3:2 | Unk Med Std | Unknown |  | 0.3068 | 24 | 0.7417 | 89.8 | 0.01917 | 1.99
151 | SR:13 | Cal 600 m | Unknown |  | 0.588 | 46.1 | 0.8708 | 105.7 | 0.03119 | 3.24
152 | SR:2 | w | Unknown |  | 0.0073 | 0.8 | 0.0004 | 0.1 | 4e-05 | 0.01
153 | SR:3 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
154 | SR:4 | C1 | Calibrant |  | -0.003 | 0 | -0.0002 | 0 | -1e-05 | 0.01
155 | SR:5 | C2 | Calibrant |  | 0.1507 | 11.9 | 0.3739 | 44.9 | 0.00947 | 0.99
156 | SR:6 | C3 | Calibrant |  | 0.3075 | 24.1 | 0.7436 | 90.1 | 0.01919 | 1.99
157 | SR:7 | C4 | Calibrant |  | 0.459 | 36 | 1.106 | 135 | 0.029 | 3.01
158 | SR:9 | w | Unknown |  | 0.0057 | 0.7 | 0.0002 | 0.1 | 2e-05 | 0.01
159 | SR:10 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
160 | SR:19 | PAUSE | Pause |  | -0.0024 | 0.1 | -0.0002 | 0 | -2e-05 | 0.01
161 | SR:1 | SYNC | SYNC |  | ??? | ??? | ??? | ??? | ??? | ???
FASPac II
Run date: 17/11/2011
Configuration: Nitrate Silicate Phosphate Low
Run Name: Nov 17, 2011-25
[6 empty] | Nitrate |  | Silicate |  | Phosphate
| Position | Identifier | Type | Comment | Cor Ht | uM | Cor Ht | uM | Cor Ht | uM
1 | SR:1 | SYNC | SYNC |  | 0.5989 | 48.1 | 1.4701 | 182.4 | 0.0409 | 4.07
2 | SR:2 | CO | Carry over |  | 0.0331 | 2.7 | 0.0014 | 0.1 | 7e-05 | 0.01
|  | Carry over= |  |  |  | 5.5% |  | .1% |  | .2%
3 | SR:3 | W | Wash |  | 0 | 0 | 0 | 0 | 0 | 0
4 | SR:4 | C1 | Calibrant |  | -0.0007 | 0 | -0.0002 | -0.1 | 2e-05 | 0.01
5 | SR:5 | C2 | Calibrant |  | 0.1478 | 12 | 0.3686 | 45.2 | 0.00994 | 0.99
6 | SR:6 | C3 | Calibrant |  | 0.2961 | 24 | 0.7298 | 89.8 | 0.02005 | 2
7 | SR:7 | C4 | Calibrant |  | 0.4469 | 36 | 1.0931 | 135.1 | 0.03021 | 3.01
8 | SR:9 | w | Unknown |  | 0.0054 | 0.5 | 0.0004 | 0 | 8e-05 | 0.01
9 | SR:10 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0
10 | 3:1 | BF Mix | Unknown |  | 0.5299 | 42.6 | 1.2514 | 154.8 | 0.02844 | 2.83
11 | SR:12 | w | Unknown |  | -0.0028 | -0.2 | 0.0003 | 0 | 3e-05 | 0.01
12 | SR:11 | Cal 5 m | Unknown |  | 0.1498 | 12.2 | 0.1316 | 16.1 | 0.01211 | 1.21
13 | 3:2 | Unk Med Std | Unknown |  | 0.3006 | 24.3 | 0.7344 | 90.3 | 0.02006 | 2
14 | SR:13 | Cal 600 m | Unknown |  | 0.5657 | 45.3 | 0.858 | 105.6 | 0.03233 | 3.22
15 | SR:14 | w | Unknown |  | 0 | 0.1 | 0.0002 | 0 | 0 | 0.01
16 | SR:15 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0.01
17 | 3:3 | MO3 Med Std | Unknown |  | 0.2968 | 24 | 0.7319 | 89.9 | 0.01996 | 1.99
18 | SR:17 | NOX% | NO3 check |  | 0.2974 | 24 | 0 | 0 | -5e-05 | 0
|  | NO3 Efficiency |  |  |  | 99.82%
19 | SR:16 | w | Unknown |  | -0.0002 | 0.1 | 0.0001 | 0 | 0 | 0
20 | SR:18 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0.01
21 | 1:1 | 71 | Unknown |  | 0.3037 | 24.5 | 0.4133 | 50.6 | 0.0188 | 1.88
22 | 1:2 | 70 | Unknown |  | 0.3105 | 25.1 | 0.4157 | 50.9 | 0.01882 | 1.88
23 | 1:3 | 69 | Unknown |  | 0.3161 | 25.5 | 0.4139 | 50.6 | 0.02148 | 2.14
24 | 1:4 | 68 | Unknown |  | 0.3205 | 25.8 | 0.4157 | 50.8 | 0.02153 | 2.15
25 | 1:5 | 67 | Unknown |  | 0.3064 | 24.7 | 0.393 | 48.1 | 0.02088 | 2.08
26 | 1:6 | 66 | Unknown |  | 0.3116 | 25.1 | 0.3882 | 47.5 | 0.02062 | 2.06
27 | 1:7 | 65 | Unknown |  | 0.3091 | 24.9 | 0.3839 | 46.9 | 0.01433 | 1.43
28 | 1:8 | 64 | Unknown |  | 0.31 | 25 | 0.3816 | 46.6 | 0.0204 | 2.04
29 | 1:9 | 63 | Unknown |  | 0.3095 | 24.9 | 0.3835 | 46.9 | 0.01626 | 1.63
30 | 1:10 | 62 | Unknown |  | 0.3104 | 25 | 0.384 | 46.9 | 0.02053 | 2.05
31 | 1:11 | w | Unknown |  | 0.0018 | 0.3 | 0.0003 | 0 | 2e-05 | 0.01
32 | 1:12 | W | Wash |  | 0 | 0.1 | 0 | 0 | 0 | 0.01
33 | 1:13 | 81 | Unknown |  | 0.3133 | 25.2 | 0.4226 | 51.6 | 0.01857 | 1.86
34 | 1:14 | 80 | Unknown |  | 0.3122 | 25.1 | 0.4181 | 51.1 | 0.0206 | 2.06
35 | 1:15 | 79 | Unknown |  | 0.3221 | 25.9 | 0.4242 | 51.8 | 0.01665 | 1.67
36 | 1:16 | 78 | Unknown |  | 0.3189 | 25.7 | 0.418 | 51 | 0.02048 | 2.05
37 | 1:17 | 77 | Unknown |  | 0.313 | 25.2 | 0.4065 | 49.6 | 0.01741 | 1.74
38 | 1:18 | 76 | Unknown |  | 0.3205 | 25.8 | 0.4033 | 49.2 | 0.02017 | 2.02
39 | 1:19 | 75 | Unknown |  | 0.315 | 25.3 | 0.3985 | 48.6 | 0.017 | 1.7
40 | 1:20 | 74 | Unknown |  | 0.3178 | 25.6 | 0.3974 | 48.5 | 0.01573 | 1.58
41 | 1:21 | 73 | Unknown |  | 0.3149 | 25.3 | 0.3929 | 47.9 | 0.01875 | 1.88
42 | 1:22 | 72 | Unknown |  | 0.3192 | 25.6 | 0.3947 | 48.1 | 0.01965 | 1.97
43 | 1:23 | w | Unknown |  | 0.0022 | 0.4 | 0.0009 | 0.1 | 4e-05 | 0.01
44 | 1:24 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
45 | 1:25 | 89 | Unknown |  | 0.3019 | 24.3 | 0.4133 | 50.4 | 0.02048 | 2.05
46 | 1:26 | 88 | Unknown |  | 0.3193 | 25.6 | 0.4239 | 51.7 | 0.02127 | 2.13
47 | 1:27 | 87 | Unknown |  | 0.3243 | 26 | 0.4308 | 52.5 | 0.0216 | 2.16
48 | 1:28 | 86 | Unknown |  | 0.3166 | 25.4 | 0.4157 | 50.7 | 0.02135 | 2.14
49 | 1:29 | 85 | Unknown |  | 0.3274 | 26.3 | 0.4271 | 52.1 | 0.02183 | 2.19
50 | 1:30 | 84 | Unknown |  | 0.3182 | 25.5 | 0.4055 | 49.4 | 0.02095 | 2.1
51 | 1:31 | 83 | Unknown |  | 0.3026 | 24.3 | 0.376 | 45.8 | 0.02002 | 2.01
52 | 1:32 | 82 | Unknown |  | 0.3115 | 25 | 0.3859 | 47 | 0.02059 | 2.07
53 | 1:33 | w | Unknown |  | 0.0016 | 0.3 | 0.0001 | 0 | 4e-05 | 0.01
54 | 1:34 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
55 | 1:35 | 96 | Unknown |  | 0.001 | 0.3 | 0.2618 | 31.8 | 0.00283 | 0.29
56 | 1:36 | 95 | Unknown |  | 0.0686 | 5.7 | 0.3147 | 38.3 | 0.00689 | 0.7
57 | 1:37 | 94 | Unknown |  | 0.241 | 19.4 | 0.4609 | 56.1 | 0.02147 | 2.16
58 | 1:38 | 93 | Unknown |  | 0.28 | 22.5 | 0.5749 | 70.1 | 0.02669 | 2.68
59 | 1:39 | 92 | Unknown |  | 0.2572 | 20.7 | 0.7695 | 94 | 0.03266 | 3.28
60 | 1:40 | 91 | Unknown |  | 0.2542 | 20.5 | 0.7865 | 96.1 | 0.03399 | 3.41
61 | 1:41 | 90 | Unknown |  | 0.2547 | 20.5 | 0.7403 | 90.4 | 0.03295 | 3.31
62 | 1:42 | w | Unknown |  | 0.0007 | 0.3 | 0.0001 | 0 | 2e-05 | 0.01
63 | 1:43 | W | Wash |  | 0 | 0.2 | 0 | 0 | 0 | 0.01
64 | 3:1 | BF Mix | Unknown |  | 0.5337 | 42.1 | 1.2607 | 154.6 | 0.029 | 2.91
65 | SR:12 | w | Unknown |  | -0.0022 | 0.1 | 0.0001 | 0 | -3e-05 | 0
66 | SR:11 | Cal 5 m | Unknown |  | 0.1525 | 12.4 | 0.132 | 16 | 0.01201 | 1.21
67 | 3:2 | Unk Med Std | Unknown |  | 0.3018 | 24.2 | 0.7392 | 90.1 | 0.01981 | 1.99
68 | SR:13 | Cal 600 m | Unknown |  | 0.5793 | 45.5 | 0.8651 | 105.6 | 0.03216 | 3.23
69 | SR:2 | w | Unknown |  | -0.0003 | 0.2 | 0.0002 | 0 | 1e-05 | 0.01
70 | SR:3 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
71 | SR:4 | C1 | Calibrant |  | -0.0035 | 0 | -0.0003 | 0 | 0 | 0.01
72 | SR:5 | C2 | Calibrant |  | 0.1475 | 12 | 0.3716 | 45.1 | 0.0098 | 0.99
73 | SR:6 | C3 | Calibrant |  | 0.2994 | 24 | 0.7376 | 89.9 | 0.01984 | 2
74 | SR:7 | C4 | Calibrant |  | 0.4553 | 36 | 1.1039 | 135 | 0.0299 | 3.01
75 | SR:9 | w | Unknown |  | -0.0006 | 0.2 | 0.0001 | 0 | 0 | 0.01
76 | SR:10 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
77 | 1:44 | 103 | Unknown |  | 0.0006 | 0.3 | 0.264 | 32 | 0.00231 | 0.24
78 | 1:45 | 102 | Unknown |  | 0.0161 | 1.6 | 0.2726 | 33 | 0.00432 | 0.44
79 | 1:46 | 101 | Unknown |  | 0.1949 | 15.8 | 0.385 | 46.7 | 0.01774 | 1.79
80 | 1:47 | 100 | Unknown |  | 0.2714 | 21.8 | 0.6435 | 78.3 | 0.02684 | 2.7
81 | 1:48 | 99 | Unknown |  | 0.2485 | 20 | 0.8108 | 98.8 | 0.03524 | 3.54
82 | 1:49 | 98 | Unknown |  | 0.2425 | 19.5 | 0.7581 | 92.3 | 0.03814 | 3.83
83 | 1:50 | 97 | Unknown |  | 0.2461 | 19.8 | 0.7983 | 97.3 | 0.03782 | 3.8
84 | 1:51 | w | Unknown |  | 0.0003 | 0.3 | 0.0002 | 0 | 3e-05 | 0.01
85 | 1:52 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
86 | 1:53 | 110 | Unknown |  | 0.0011 | 0.4 | 0.263 | 31.8 | 0.00263 | 0.27
87 | 1:54 | 109 | Unknown |  | 0.0417 | 3.6 | 0.3007 | 36.4 | 0.00661 | 0.67
88 | 1:55 | 108 | Unknown |  | 0.2316 | 18.6 | 0.4375 | 53 | 0.01883 | 1.89
89 | 1:56 | 107 | Unknown |  | 0.2666 | 21.4 | 0.6514 | 79.2 | 0.02883 | 2.9
90 | 1:57 | 106 | Unknown |  | 0.2276 | 18.3 | 0.8514 | 103.8 | 0.04174 | 4.19
91 | 1:58 | 105 | Unknown |  | 0.2195 | 17.7 | 0.8542 | 104.1 | 0.04848 | 4.87
92 | 1:59 | 104 | Unknown |  | 0.2032 | 16.4 | 0.8185 | 99.7 | 0.05262 | 5.28
93 | 1:60 | w | Unknown |  | 0.001 | 0.3 | 0 | 0 | 4e-05 | 0.01
94 | 2:1 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
95 | 2:2 | 117 | Unknown |  | 0.0059 | 0.7 | 0.2829 | 34.2 | 0.00345 | 0.35
96 | 2:3 | 116 | Unknown |  | 0.0717 | 6 | 0.3324 | 40.2 | 0.00844 | 0.85
97 | 2:4 | 115 | Unknown |  | 0.2323 | 18.7 | 0.444 | 53.8 | 0.0198 | 1.99
98 | 2:5 | 114 | Unknown |  | 0.279 | 22.4 | 0.539 | 65.4 | 0.02441 | 2.45
99 | 2:6 | 113 | Unknown |  | 0.2519 | 20.2 | 0.7635 | 92.9 | 0.0349 | 3.5
100 | 2:7 | 112 | Unknown |  | 0.2393 | 19.2 | 0.794 | 96.6 | 0.03192 | 3.2
101 | 2:8 | 111 | Unknown |  | 0.2356 | 18.9 | 0.8033 | 97.8 | 0.03758 | 3.77
102 | 2:9 | w | Unknown |  | 0.0008 | 0.3 | 0.0003 | 0 | 2e-05 | 0.01
103 | 2:10 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
104 | 2:11 | 124 | Unknown |  | 0.0091 | 1 | 0.2916 | 35.2 | 0.00295 | 0.3
105 | 2:12 | 123 | Unknown |  | 0.0358 | 3.1 | 0.3139 | 37.9 | 0.00538 | 0.55
106 | 2:13 | 122 | Unknown |  | 0.2737 | 21.9 | 0.5979 | 72.5 | 0.02657 | 2.67
107 | 2:14 | 121 | Unknown |  | 0.2773 | 22.2 | 0.6039 | 73.2 | 0.02666 | 2.68
108 | 2:15 | 120 | Unknown |  | 0.2712 | 21.7 | 0.6361 | 77.2 | 0.02569 | 2.58
109 | 2:16 | 119 | Unknown |  | 0.2716 | 21.8 | 0.6623 | 80.4 | 0.02894 | 2.91
110 | 2:17 | 118 | Unknown |  | 0.2744 | 22 | 0.6195 | 75.1 | 0.02694 | 2.71
111 | 2:18 | w | Unknown |  | 0.0007 | 0.3 | 0.0002 | 0 | 3e-05 | 0.01
112 | 2:19 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
113 | 3:1 | BF Mix | Unknown |  | 0.5346 | 42.7 | 1.2681 | 155.4 | 0.02824 | 2.84
114 | SR:12 | w | Unknown |  | -0.0016 | 0.1 | 0 | 0 | 6e-05 | 0.02
115 | SR:11 | Cal 5 m | Unknown |  | 0.1533 | 12.4 | 0.1333 | 16 | 0.01208 | 1.22
116 | 3:2 | Unk Med Std | Unknown |  | 0.2992 | 24 | 0.7394 | 89.8 | 0.01983 | 1.99
117 | SR:13 | Cal 600 m | Unknown |  | 0.5744 | 46 | 0.87 | 105.9 | 0.03221 | 3.23
118 | SR:2 | w | Unknown |  | 0.0005 | 0.3 | 0.0003 | 0 | 2e-05 | 0.01
119 | SR:3 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
120 | SR:4 | C1 | Calibrant |  | -0.0033 | 0 | -0.0002 | 0 | -1e-05 | 0.01
121 | SR:5 | C2 | Calibrant |  | 0.1489 | 12 | 0.3737 | 45.1 | 0.00982 | 0.99
122 | SR:6 | C3 | Calibrant |  | 0.2992 | 24 | 0.7409 | 89.9 | 0.01984 | 1.99
123 | SR:7 | C4 | Calibrant |  | 0.4495 | 36 | 1.1048 | 135 | 0.02996 | 3.01
124 | SR:9 | w | Unknown |  | 0.0002 | 0.3 | 0 | 0 | 1e-05 | 0.01
125 | SR:10 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
126 | 2:20 | 131 | Unknown |  | -0.0011 | 0.2 | 0.2913 | 35.1 | 0.00248 | 0.26
127 | 2:21 | 130 | Unknown |  | 0.0254 | 2.3 | 0.3179 | 38.3 | 0.00494 | 0.5
128 | 2:22 | 129 | Unknown |  | 0.2088 | 16.8 | 0.4035 | 48.7 | 0.01732 | 1.74
129 | 2:23 | 128 | Unknown |  | 0.2963 | 23.7 | 0.4811 | 58.1 | 0.02191 | 2.2
130 | 2:24 | 127 | Unknown |  | 0.2881 | 23 | 0.595 | 72 | 0.02573 | 2.59
131 | 2:25 | 126 | Unknown |  | 0.2924 | 23.4 | 0.5908 | 71.5 | 0.02476 | 2.49
132 | 2:26 | 125 | Unknown |  | 0.2887 | 23.1 | 0.5733 | 69.4 | 0.02606 | 2.62
133 | 2:27 | w | Unknown |  | 0.0008 | 0.3 | 0.0002 | 0 | -7e-05 | 0
134 | 2:28 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
135 | 2:29 | 138 | Unknown |  | 0.0245 | 2.2 | 0.3046 | 36.7 | 0.00469 | 0.48
136 | 2:30 | 137 | Unknown |  | 0.1034 | 8.4 | 0.3409 | 41.1 | 0.01007 | 1.02
137 | 2:31 | 136 | Unknown |  | 0.2372 | 19 | 0.4327 | 52.3 | 0.01581 | 1.59
138 | 2:32 | 135 | Unknown |  | 0.2814 | 22.5 | 0.4575 | 55.3 | 0.01781 | 1.79
139 | 2:33 | 134 | Unknown |  | 0.2987 | 23.8 | 0.4658 | 56.3 | 0.02184 | 2.2
140 | 2:34 | 133 | Unknown |  | 0.3026 | 24.1 | 0.4612 | 55.7 | 0.02088 | 2.1
141 | 2:35 | 132 | Unknown |  | 0.3062 | 24.4 | 0.4657 | 56.3 | 0.02235 | 2.25
142 | 2:36 | w | Unknown |  | 0.0009 | 0.3 | 0.0002 | 0 | 3e-05 | 0.01
143 | 2:37 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
144 | 2:38 | 144 | Unknown |  | 0.0267 | 2.4 | 0.3019 | 36.4 | 0.00436 | 0.44
145 | 2:39 | 143 | Unknown |  | 0.0668 | 5.5 | 0.3191 | 38.5 | 0.007 | 0.71
146 | 2:40 | 142 | Unknown |  | 0.2419 | 19.3 | 0.3924 | 47.4 | 0.01675 | 1.69
147 | 2:41 | 141 | Unknown |  | 0.3304 | 26.3 | 0.4288 | 51.8 | 0.02256 | 2.27
148 | 2:42 | 140 | Unknown |  | 0.3365 | 26.8 | 0.4368 | 52.8 | 0.02214 | 2.23
149 | 2:43 | 139 | Unknown |  | 0.3256 | 25.9 | 0.4278 | 51.7 | 0.02259 | 2.28
150 | 2:44 | w | Unknown |  | 0.0013 | 0.4 | 0.0003 | 0 | 3e-05 | 0.01
151 | 2:45 | W | Wash |  | 0 | 0.3 | 0 | 0 | 0 | 0.01
152 | 2:46 | 151 | Unknown |  | 0.0049 | 0.7 | 0.2779 | 33.5 | 0.00269 | 0.28
153 | 2:47 | 150 | Unknown |  | 0.0423 | 3.6 | 0.3058 | 36.9 | 0.00521 | 0.53
154 | 2:48 | 149 | Unknown |  | 0.2445 | 19.5 | 0.389 | 47 | 0.0174 | 1.76
155 | 2:49 | 148 | Unknown |  | 0.3254 | 25.8 | 0.4331 | 52.4 | 0.01768 | 1.78
156 | 2:50 | 147 | Unknown |  | 0.3514 | 27.9 | 0.4427 | 53.5 | 0.01931 | 1.95
157 | 2:51 | 146 | Unknown |  | 0.3517 | 27.9 | 0.4407 | 53.3 | 0.0205 | 2.07
158 | 2:52 | 145 | Unknown |  | 0.3489 | 27.6 | 0.4358 | 52.7 | 0.02275 | 2.29
159 | 2:53 | w | Unknown |  | -0.0023 | 0.1 | 0.0007 | 0 | -1e-05 | 0
160 | 2:54 | W | Wash |  | 0 | 0.3 | 0 | -0.1 | 0 | 0
161 | 3:1 | BF Mix | Unknown |  | 0.5258 | 41.5 | 1.2651 | 154.6 | 0.02824 | 2.85
162 | SR:12 | w | Unknown |  | 0.0007 | 0.4 | 0.0012 | 0.1 | -8e-05 | 0
163 | SR:11 | Cal 5 m | Unknown |  | 0.1529 | 12.3 | 0.133 | 16 | 0.012 | 1.21
164 | 3:2 | Unk Med Std | Unknown |  | 0.3039 | 24.1 | 0.7382 | 89.6 | 0.01974 | 1.99
165 | SR:13 | Cal 600 m | Unknown |  | 0.5659 | 44.6 | 0.865 | 105.2 | 0.03195 | 3.22
166 | SR:2 | w | Unknown |  | 0.0011 | 0.4 | 0.0003 | 0 | 4e-05 | 0.01
167 | SR:3 | W | Wash |  | 0 | 0.3 | 0 | -0.1 | 0 | 0
168 | SR:4 | C1 | Calibrant |  | -0.0034 | 0 | 0.0002 | -0.1 | 1e-05 | 0
169 | SR:5 | C2 | Calibrant |  | 0.1482 | 11.9 | 0.3738 | 45.2 | 0.00983 | 0.99
170 | SR:6 | C3 | Calibrant |  | 0.305 | 24.1 | 0.7397 | 89.8 | 0.01977 | 2
171 | SR:7 | C4 | Calibrant |  | 0.4564 | 36 | 1.1076 | 135.1 | 0.02976 | 3
172 | SR:9 | w | Unknown |  | 0.0138 | 1.4 | 0.0004 | 0 | 2e-05 | 0.01
173 | SR:10 | W | Wash |  | 0 | 0.3 | 0 | -0.1 | 0 | 0
174 | SR:19 | PAUSE | Pause |  | -0.009 | -0.4 | -0.0002 | -0.1 | 0.00019 | 0.02
175 | SR:1 | SYNC | SYNC |  | ??? | ??? | ??? | ??? | ??? | ???