## Notes
Cruise 2011-26 June Papa |  | File: QF 2011-26nuts.xls
Date: July 8, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke
Deep Silicate samples (400m and below) were analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
The Chauvenet criteria was used to evaluate precision of duplicates.
Outliers were omitted from the Precision Statement.
Samples 69 and 70 were stored cool for 12 hours before being frozen.
UBC cast #11 had hand corrected labels. Samples 88, 84, 79, and 74 were collected with one set frozen and one set cool.
Reported from frozen except cool for deep Si.
Sample 152 has an unusual Si profile but the tube looks fine.
Sample 169's tube was cracked but did not leak, the sample was transfered to new tube after thawing in hot water bath.
Samples 187 and 189 were closed at the wrong depths.
Sample 230 was in the wrong rack and not analyzed until the day after most of the profile was run. The result seems fine.
Sample 357 has a poor phosphate duplicate, but the tubes look fine.
For sample 765 the poor duplicate was omitted. The tubes looked fine, but it was obviously an outlier in the plotted profile.
Samples 794 and 795 had loose caps, but the results seem fine.
Used cool nitrate results in some profiles since they gave smoother profiles (noted in comments).
Cool samples were run within 3 weeks which was found to be fine during our storage study.
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers

## Method
Cruise 2011-26 June Papa |  | File: QF 2011-26nuts.xls
Date: July 8, 2011
Samples were collected in plastic test tubes. |  | Compiled by Wendy Richardson
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke.
Deep Silicate samples (400m and deeper) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Nutrient Analysis specific examples for quality flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).

## Data combo avg dup +QF
Cruise 2011-26 June Papa | [12 empty] | File: QF 2011-26nuts.xls
Date: July 8, 2011
Samples were collected in plastic test tubes. | [12 empty] | Compiled by Wendy Richardson
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke.
Deep Silicate samples (400m and deeper) analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Duplicates |  |  | Stored Cool
Loop samples
Niskins same depth
Important comments
Niskin didn't close or
Niskin Comment
Quality Flags:
3 = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
4 = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
5 = Not reported (lost sample; unredeemably bad measurement)
6 = average of duplicate samples
9 = sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) | (actual) |  | uM | QF | uM | QF | uM | QF
2011-26 | P1 | 1 | 2 | 5 | 4.921 | 2 | 10.5716 |  | 19.9 |  | 1.1276
2011-26 | P1 | 1 | 1 | Chl Max | 8.897 | 1 | 14.8889 |  | 25.3 |  | 1.4108
2011-26 | loop 1 | [5 empty] | 2.6239 |  | 11.6 |  | 0.6522
2011-26 | P2 | 2 | 13 | 0 | 1.715 | 11 | 0.1709 |  | 0.3 |  | 0.14645
2011-26 | P2 | 2 | 12 | 5 | 5.354 | 10 | 0.1709 |  | 0.4 |  | 0.14645
2011-26 | P2 | 2 | 11 | 10 | 10.394 | 9 | 0.1709 |  | 1.1 |  | 0.19703
2011-26 | P2 | 2 | 10 | 15 | 14.45 | 8 | 0.1709 |  | 2.1 |  | 0.2476
2011-26 | P2 | 2 | 9 | 20 | 20.477 | 7 |  | 9 |  | 9 |  | 9 | Closed in air, no water
2011-26 | P2 | 2 | 8 | 25 | 25.119 | 6 | 0.56338 |  | 6.6 |  | 0.47013
2011-26 | P2 | 2 | 7 | 30 | 30.507 | 5 | 6.2543 |  | 11.7 |  | 0.87473
2011-26 | P2 | 2 | 6 | 40 | 39.936 | 4 | 12.3378 |  | 16.4 |  | 1.2085
2011-26 | P2 | 2 | 5 | 50 | 49.532 | 3 | 12.8284 |  | 16 |  | 1.2591
2011-26 | P2 | 2 | 4 | 75 | 75.71 | 2 | 17.44 | 6 | 22.3 | 6 | 1.517 | 6
2011-26 | P2 | 2 | 3 | 100 | 100.652 | 15 | 30.0975 |  | 44.7 |  | 2.3616
2011-26 | P2 | 4 | 24 | 5 | 5.2 | 8 | 0.1709 | 6 | 0.3 | 6 | 0.13634 | 6
2011-26 | P2 | 4 | 23 | 10 | 10.275 | 7 | 0.1709 |  | 0.3 |  | 0.13634
2011-26 | P2 | 4 | 22 | 25 | 25.117 | 6 | 0.1709 |  | 3.2 |  | 0.29818
2011-26 | P2 | 4 | 21 | 50 | 49.929 | 5 | 10.3754 |  | 14.4 |  | 1.1276
2011-26 | P2 | 4 | 20 | 75 | 75.503 | 4 | 15.4776 |  | 19.1 |  | 1.3805
2011-26 | P2 | 4 | 19 | 75 | 75.793 | 3 | 15.6739 |  | 19.3 |  | 1.4209
2011-26 | P2 | 4 | 18 | 100 | 100.864 | 2 | 29.2144 |  | 43.2 |  | 2.2403
2011-26 | P2 | 4 | 17 | Bot-10 | 107.058 | 1 | 31.5693 |  | 48.2 |  | 2.4527
2011-26 | P3 | 5 | 26 | 5 | 5.244 | 2 | 0.1709 |  | 1.5 |  | 0.23749
2011-26 | P3 | 5 | 25 | Max | 25.287 | 1 | 3.6051 |  | 7 |  | 0.67243
2011-26 | P4 | 6 | 45 | 5 | 5.442 | 19 | 0.1709 |  | 4.3 |  | 0.36898
2011-26 | P4 | 6 | 44 | 10 | 10.169 | 18 | 0.1709 |  | 4.5 |  | 0.3791
2011-26 | P4 | 6 | 43 | 25 | 24.837 | 17 | 1.1521 |  | 5.3 |  | 0.54094
2011-26 | P4 | 6 | 42 | 50 | 50.282 | 16 | 5.96 |  | 6 |  | 0.82415
2011-26 | P4 | 6 | 41 | 75 | 76.014 | 15 | 8.8055 |  | 8.2 |  | 0.98599
2011-26 | P4 | 6 | 40 | 100 | 101.045 | 14 | 21.5611 |  | 24.5 |  | 1.7446
2011-26 | P4 | 6 | 39 | 125 | 126.166 | 13 | 27.203 | 6 | 32.4 | 6 | 2.043 | 6
2011-26 | P4 | 6 | 38 | 150 | 149.927 | 12 | 28.9201 |  | 35.8 |  | 2.1189
2011-26 | P4 | 6 | 37 | 175 | 174.094 | 11 | 30.3919 |  | 40.7 |  | 2.1492
2011-26 | P4 | 6 | 36 | 200 | 199.891 | 10 | 33.0411 |  | 46.3 |  | 2.3718
2011-26 | P4 | 6 | 35 | 250 | 249.463 | 9 | 36.5734 |  | 55.1 |  | 2.5943
2011-26 | P4 | 6 | 34 | 300 | 300.509 | 8 | 37.9471 |  | 62.1 |  | 2.7763
2011-26 | P4 | 6 | 33 | 400 | 400.49 | 7 |  | 9 |  | 9 |  | 9 | Closed in air, no water
2011-26 | P4 | 6 | 32 | 600 | 600.83 | 6 | 43.2456 |  | 93.5 |  | 3.1304
2011-26 | P4 | 6 | 31 | 800 | 800.227 | 5 | 44.8155 |  | 109.8 |  | 3.2214
2011-26 | P4 | 6 | 30 | 1000 | 1000.582 | 4 | 45.1099 |  | 124.5 |  | 3.272
2011-26 | P4 | 6 | 29 | 1250 | 1250.771 | 3 | 45.3061 | 6 | 141 | 6 | 3.3175 | 6 | Top valve open
2011-26 | P4 | 6 | 28 | 1250 | 1250.576 | 2 | 45.0117 |  | 141.1 |  | 3.2922
2011-26 | P4 | 6 | 27 | Bot-10 | 1319.807 | 1 | 45.0117 |  | 147.6 |  | 3.2518
2011-26 | P4 | 11 | 88 | 10 | 10.228 | 19 | 0.1709 |  | 4.3 |  | 0.3791
2011-26 | P4 | 11 | 84 | 500 | 501.081 | 15 | 42.0681 |  | 85.5 |  | 3.0899 |  | hand corrected labels
2011-26 | P4 | 11 | 79 | 1000 | 1000.829 | 10 | 45.1099 |  | 125.1 |  | 3.3023 |  | hand corrected labels
2011-26 | P4 | 11 | 74 | 1300 | 1301.214 | 5 | 45.0117 |  | 145.5 |  | 3.3124 |  | hand corrected labels
2011-26 | P4 | 16 | 161 | 0 | 1.659 | 13 |  | 9 |  | 9 |  | 9 | Closed in air, no water
2011-26 | P4 | 16 | 160 | 5 | 4.643 | 12 | 0.1709 |  | 4.7 |  | 0.3791
2011-26 | P4 | 16 | 159 | 10 | 9.977 | 11 | 0.1709 |  | 4.7 |  | 0.38921
2011-26 | P4 | 16 | 158 | 15 | 14.681 | 10 | 0.1709 |  | 4.7 |  | 0.38921
2011-26 | P4 | 16 | 157 | 20 | 20.106 | 9 | 0.1709 |  | 4.7 |  | 0.42967
2011-26 | P4 | 16 | 156 | 25 | 24.371 | 8 | 0.36714 |  | 4.8 |  | 0.46002
2011-26 | P4 | 16 | 155 | 30 | 29.335 | 7 | 1.1521 |  | 5.3 |  | 0.54094
2011-26 | P4 | 16 | 154 | 40 | 40.399 | 6 | 2.9673 | 6 | 6.45 | 6 | 0.67749 | 6
2011-26 | P4 | 16 | 153 | 50 | 50.035 | 5 | 4.2919 |  | 6.2 |  | 0.75335
2011-26 | P4 | 16 | 152 | 75 | 74.988 | 4 | 6.8431 |  | 5.8 |  | 0.89496 |  | unusual Si, tube looks fine
2011-26 | P4 | 16 | 151 | 100 | 101.155 | 3 | 17.7344 |  | 19.9 |  | 1.512 |  | Top valve open
2011-26 | P4 | 16 | 150 | 175 | 174.838 | 2 | 29.705 |  | 39.4 |  | 2.1796
2011-26 | P4 | 16 | 149 | 200 | 199.874 | 1 | 32.0599 |  | 45.1 |  | 2.3819 |  | Top valve open
2011-26 | P5 | 17 | 166 | 5 | 5.179 | 2 | 0.6615 |  | 4.4 |  | 0.46002
2011-26 | P5 | 17 | 165 | Max | 55.196 | 1 | 5.8619 |  | 6.2 |  | 0.80393
2011-26 | P6 | 18 | 168 | 5 | 4.611 | 2 | 1.7408 |  | 5.5 |  | 0.55105
2011-26 | P6 | 18 | 167 | Max | 45.239 | 1 | 4.1938 |  | 0.6 |  | 0.69266
2011-26 | P6 |  |  |  | Loop |  | 1.7408 |  | 5.5 |  | 0.59151
2011-26 | P7 | 19 | 170 | 5 | 4.899 | 2 | 0.75962 |  | 4.7 |  | 0.47013 |  | cool 12 hours before frozen
2011-26 | P7 | 19 | 169 | Max | 41.449 | 1 | 3.6051 |  | 9 |  | 0.66231 |  | Cracked tube
2011-26 | P8 | 21 | 189 | 5 | 24.962 | 19 | 0.1709 |  | 5 |  | 0.39932 |  | Closed at wrong depth
2011-26 | P8 | 21 | 188 | 10 | 11.156 | 18 | 0.1709 |  | 5 |  | 0.40944
2011-26 | P8 | 21 | 187 | 25 | 44.677 | 17 | 4.2919 |  | 3.1 |  | 0.72301 |  | Closed at wrong depth
2011-26 | P8 | 21 | 186 | 50 | 50.879 | 16 | 4.9788 |  | 3.8 |  | 0.75335
2011-26 | P8 | 21 | 185 | 75 | 74.544 | 15 | 9.0017 |  | 9 |  | 1.0062
2011-26 | P8 | 21 | 184 | 100 | 100.571 | 14 | 18.7156 |  | 21.1 |  | 1.5727
2011-26 | P8 | 21 | 183 | 125 | 123.765 | 13 | 26.8595 |  | 33.3 |  | 2.038
2011-26 | P8 | 21 | 182 | 150 | 149.103 | 12 | 29.5088 |  | 39.7 |  | 2.1593
2011-26 | P8 | 21 | 181 | 175 | 174.59 | 11 | 29.8031 | 6 | 42.65 | 6 | 2.1442 | 6
2011-26 | P8 | 21 | 180 | 200 | 199.812 | 10 | 31.7655 |  | 47.9 |  | 2.2504
2011-26 | P8 | 21 | 179 | 250 | 252.104 | 9 | 35.8866 |  | 57.7 |  | 2.6044
2011-26 | P8 | 21 | 178 | 300 | 299.419 | 8 | 38.2415 |  | 64.3 |  | 2.7763
2011-26 | P8 | 21 | 177 | 400 | 399.124 | 7 | 40.6945 |  | 79.9 |  | 2.9382
2011-26 | P8 | 21 | 176 | 600 | 600.667 | 6 | 43.9324 |  | 103.7 |  | 3.181
2011-26 | P8 | 21 | 175 | 800 | 799.374 | 5 | 44.8155 |  | 121.2 |  | 3.272
2011-26 | P8 | 21 | 174 | 1000 | 1000.847 | 4 | 45.208 | 6 | 134.25 | 6 | 3.2973 | 6
2011-26 | P8 | 21 | 173 | 1250 | 1250.478 | 3 | 45.208 |  | 148.9 |  | 3.3226
2011-26 | P8 | 21 | 172 | 1500 | 1500.355 | 2 | 44.0305 |  | 161.5 |  | 3.2113
2011-26 | P8 | 21 | 171 | 2000 | 1999.386 | 1 | 42.5587 |  | 174.5 |  | 3.0697
2011-26 | P9 | 22 | 194 | 5 | 5.549 | 2 | 3.6051 |  | 7.2 |  | 0.67243
2011-26 | P9 | 22 | 193 | Max | 61.019 | 1 | 7.4318 |  | 10.4 |  | 0.86462
2011-26 | P10 | 23 | 196 | 5 | 5.159 | 2 | 5.3713 |  | 10.1 |  | 0.79381
2011-26 | P10 | 23 | 195 | Max | 41.259 | 1 | 7.0393 |  | 11.4 |  | 0.91519
2011-26 | P10 |  |  |  | Loop |  | 5.4694 |  | 10.4 |  | 0.79381
2011-26 | P11 | 24 | 198 | 5 | 4.939 | 2 | 3.507 |  | 9.4 |  | 0.69266
2011-26 | P11 | 24 | 197 | Max | 54.216 | 1 | 7.5299 |  | 12.5 |  | 0.92531
2011-26 | P12 | 25 | 211 | 0 | 2.173 | 13 | 2.6239 |  | 8.1 |  | 0.59151
2011-26 | P12 | 25 | 210 | 5 | 5.75 | 12 | 2.6239 |  | 8 |  | 0.58139
2011-26 | P12 | 25 | 209 | 10 | 11.541 | 11 | 2.4277 |  | 7.6 |  | 0.56117
2011-26 | P12 | 25 | 208 | 15 | 15.349 | 10 | 2.5258 |  | 7.8 |  | 0.55105 |  | Leaky spigot
2011-26 | P12 | 25 | 207 | 20 | 21.277 | 9 | 2.9183 |  | 8.4 |  | 0.61174
2011-26 | P12 | 25 | 206 | 25 | 26.016 | 8 | 5.0769 |  | 10.1 |  | 0.7837
2011-26 | P12 | 25 | 205 | 30 | 39.599 | 7 | 7.0393 |  | 11.9 |  | 0.86462 |  | Closed at wrong depth
2011-26 | P12 | 25 | 204 | 40 | 39.607 | 6 | 7.0393 |  | 12 |  | 0.87473
2011-26 | P12 | 25 | 203 | 50 | 49.286 | 5 | 8.3149 |  | 13 |  | 0.98599
2011-26 | P12 | 25 | 202 | 75 | 76.584 | 4 | 11.3566 |  | 14.9 |  | 1.1175
2011-26 | P12 | 25 | 201 | 100 | 100.253 | 3 | 11.7 | 6 | 15.2 | 6 | 1.0821 | 6
2011-26 | P12 | 25 | 200 | 175 | 174.715 | 2 | 29.3125 |  | 45.6 |  | 2.038
2011-26 | P12 | 25 | 199 | 200 | 200.512 | 1 | 30.5881 |  | 49.1 |  | 2.1391 |  | Leaky spigot
2011-26 | P12 | 27 | 244 | 5 | 5.79 | 23 | 2.5258 |  | 8.5 |  | 0.60162
2011-26 | P12 | 27 | 243 | 10 | 9.686 | 22 | 2.5258 |  | 8.5 |  | 0.61174
2011-26 | P12 | 27 | 242 | 25 | 26.321 | 21 | 3.4089 |  | 9.3 |  | 0.67243
2011-26 | P12 | 27 | 241 | 50 | 50.372 | 20 | 7.0393 |  | 11.6 |  | 0.89496
2011-26 | P12 | 27 | 240 | 75 | 75.476 | 19 | 11.7981 | 6 | 15.3 | 6 | 1.158 | 6
2011-26 | P12 | 27 | 239 | 100 | 101.587 | 18 | 19.0099 |  | 23.9 |  | 1.512
2011-26 | P12 | 27 | 238 | 125 | 124.448 | 17 | 24.7009 |  | 32.3 |  | 1.8559
2011-26 | P12 | 27 | 237 | 150 | 150.151 | 16 | 28.4295 |  | 40.5 |  | 2.0582
2011-26 | P12 | 27 | 236 | 175 | 175.553 | 15 | 30.1956 |  | 45.4 |  | 2.1593
2011-26 | P12 | 27 | 235 | 200 | 200.353 | 14 | 32.6486 |  | 51.5 |  | 2.3414
2011-26 | P12 | 27 | 234 | 250 | 257.643 | 13 | 34.9054 |  | 58.8 |  | 2.4729
2011-26 | P12 | 27 | 233 | 300 | 298.437 | 12 | 38.0452 |  | 67.8 |  | 2.6651
2011-26 | P12 | 27 | 232 | 400 | 397.449 | 11 | 41.0869 |  | 81.1 |  | 2.9584
2011-26 | P12 | 27 | 231 | 600 | 598.502 | 10 | 44.1287 |  | 106.1 |  | 3.2012
2011-26 | P12 | 27 | 230 | 800 | 799.401 | 9 | 45.3061 |  | 122.1 |  | 3.2113 |  | in wrong rack, ran next day
2011-26 | P12 | 27 | 229 | 1000 | 1003.749 | 8 | 45.5023 |  | 140.6 |  | 3.1708
2011-26 | P12 | 27 | 228 | 1250 | 1252.315 | 7 | 45.6005 |  | 153.5 |  | 3.2821
2011-26 | P12 | 27 | 227 | 1500 | 1499.519 | 6 | 45.1099 |  | 162.7 |  | 3.2012
2011-26 | P12 | 27 | 226 | 2000 | 2002.354 | 5 | 42.8531 | 6 | 173.05 | 6 | 3.0039 | 6
2011-26 | P12 | 27 | 225 | 2500 | 2499.385 | 4 | 41.2832 |  | 176.7 |  | 2.9685
2011-26 | P12 | 27 | 224 | 3000 | 2998.619 | 3 | 40.4982 |  | 176.2 |  | 2.7966
2011-26 | P12 | 27 | 223 | 3000 | 2998.491 | 2 | 40.4982 |  | 176.4 |  | 2.8168
2011-26 | P12 | 27 | 222 | Bot-10 | 3269.231 | 1 | 40.4001 |  | 176.7 |  | 2.8876
2011-26 | P12 | 33 | 291 | 10 | 9.248 | 23 | 3.0164 |  | 9 |  | 0.62186
2011-26 | P12 | 33 | 285 | 500 | 500.725 | 17 | 43.0493 |  | 96.1 |  | 3.1506
2011-26 | P12 | 33 | 279 | 1000 | 1000.985 | 11 | 45.3061 |  | 138.2 |  | 3.2821
2011-26 | P12 | 33 | 273 | 2000 | 1998.119 | 5 | 42.8531 |  | 173.2 |  | 2.9584
2011-26 | P13 | 35 | 294 | 5 | 5.645 | 2 | 6.5487 |  | 12 |  | 0.90507
2011-26 | P13 | 35 | 293 | Max | 40.968 | 1 | 6.6468 |  | 11.5 |  | 0.8545
2011-26 | P14 | 36 | 296 | 5 | 5.505 | 3 | 6.6468 |  | 12 |  | 0.88484
2011-26 | P14 | 36 | 295 | Max | 51.21 | 2 | 7.7261 |  | 12.4 |  | 0.92531 |  | Top valve not closed
2011-26 | P15 | 37 | 298 | 5 | 5.454 | 2 | 5.6656 |  | 9.5 |  | 0.81404
2011-26 | P15 | 37 | 297 | Max | 50.76 | 1 | 7.5299 |  | 12.3 |  | 0.93542
2011-26 | P16 | 40 | 321 | 10 | 10.226 | 23 | 6.7449 |  | 12 |  | 0.87473
2011-26 | P16 | 40 | 315 | 500 | 500.597 | 17 | 43.1475 |  | 99.6 |  | 3.0596
2011-26 | P16 | 40 | 309 | 1000 | 1000.605 | 11 | 45.6986 |  | 140.6 |  | 3.2922
2011-26 | P16 | 40 | 303 | 2000 | 2001.846 | 5 | 43.4418 |  | 172.4 |  | 3.0697
2011-26 | P16 | 43 | 370 | 5 | 4.868 | 24 | 6.7449 |  | 12.1 |  | 0.8545 |  | Top valve not closed
2011-26 | P16 | 43 | 369 | 10 | 9.764 | 23 | 6.7449 |  | 12 |  | 0.88484
2011-26 | P16 | 43 | 368 | 25 | 24.587 | 22 | 6.7449 |  | 12 |  | 0.88484
2011-26 | P16 | 43 | 367 | 50 | 50.322 | 21 | 7.628 |  | 12.5 |  | 0.93542
2011-26 | P16 | 43 | 366 | 75 | 75.601 | 20 | 8.8055 |  | 12.9 |  | 0.98599
2011-26 | P16 | 43 | 365 | 100 | 100.942 | 19 | 16.0663 |  | 20.1 |  | 1.3501
2011-26 | P16 | 43 | 364 | 125 | 125.259 | 18 | 23.9159 |  | 33.2 |  | 1.7547
2011-26 | P16 | 43 | 363 | 150 | 150.602 | 17 | 26.6633 | 6 | 40.65 | 6 | 1.9368 | 6
2011-26 | P16 | 43 | 362 | 175 | 174.892 | 16 | 28.6257 |  | 45.9 |  | 2.0683
2011-26 | P16 | 43 | 361 | 200 | 200.397 | 15 | 30.3919 |  | 50.5 |  | 2.1897
2011-26 | P16 | 43 | 360 | 250 | 249.874 | 14 | 34.9054 |  | 63.1 |  | 2.5032
2011-26 | P16 | 43 | 359 | 300 | 298.123 | 13 | 37.1621 |  | 70.2 |  | 2.6347
2011-26 | P16 | 43 | 358 | 400 | 399.827 | 12 | 40.8907 |  | 85.4 |  | 2.9382
2011-26 | P16 | 43 | 357 | 600 | 600.103 | 11 | 44.374 | 6 | 110.2 | 6 | 3.1354 | 6
2011-26 | P16 | 43 | 356 | 800 | 799.331 | 10 | 45.0117 |  | 127.3 |  | 3.2518
2011-26 | P16 | 43 | 355 | 1000 | 1001.106 | 9 | 45.6005 |  | 141.8 |  | 3.2113
2011-26 | P16 | 43 | 354 | 1250 | 1248.673 | 8 | 45.7967 |  | 153.9 |  | 3.3023
2011-26 | P16 | 43 | 353 | 1500 | 1499.07 | 7 | 45.5023 |  | 161.9 |  | 3.2315
2011-26 | P16 | 43 | 352 | 2000 | 2000.224 | 6 | 43.3437 |  | 171.8 |  | 3.0191
2011-26 | P16 | 43 | 351 | 2500 | 2499.694 | 5 | 41.6757 |  | 173.6 |  | 2.8775
2011-26 | P16 | 43 | 350 | 3000 | 2999.115 | 4 | 40.0076 |  | 173.5 |  | 2.8269
2011-26 | P16 | 43 | 349 | 3500 | 3501.198 | 3 | 39.4189 |  | 175.2 |  | 2.7865
2011-26 | P16 | 43 | 348 | 3500 | 3501.628 | 2 | 39.517 |  | 175.3 |  | 2.7865
2011-26 | P16 | 43 | 347 | Bot-10 | 3682.089 | 1 | 39.2227 |  | 176.5 |  | 2.7662
2011-26 | P16 | 48 | 390 | 0 | 1.991 | 13 | 6.7449 |  | 12 |  | 0.83427
2011-26 | P16 | 48 | 389 | 5 | 4.948 | 12 | 6.7449 |  | 12 |  | 0.84439
2011-26 | P16 | 48 | 388 | 10 | 9.733 | 11 | 6.7449 |  | 12 |  | 0.87473
2011-26 | P16 | 48 | 387 | 15 | 15.053 | 10 | 6.7449 |  | 12 |  | 0.84439
2011-26 | P16 | 48 | 386 | 20 | 19.436 | 9 | 6.7449 |  | 12 |  | 0.87473
2011-26 | P16 | 48 | 385 | 25 | 24.488 | 8 | 6.7449 |  | 12 |  | 0.87473
2011-26 | P16 | 48 | 384 | 30 | 30.367 | 7 | 6.6468 |  | 12 |  | 0.88484
2011-26 | P16 | 48 | 383 | 40 | 39.516 | 6 | 6.7449 |  | 12.2 |  | 0.87473
2011-26 | P16 | 48 | 382 | 50 | 50.758 | 5 | 7.3337 |  | 12.4 |  | 0.90507
2011-26 | P16 | 48 | 381 | 75 | 74.832 | 4 | 8.413 |  | 12.8 |  | 0.95565
2011-26 | P16 | 48 | 380 | 100 | 100.138 | 3 | 14.987 |  | 18.5 |  | 1.2692
2011-26 | P16 | 48 | 379 | 175 | 175.729 | 2 | 28.2332 |  | 45.3 |  | 2.0278
2011-26 | P16 | 48 | 378 | 200 | 201.159 | 1 | 30.9806 | 6 | 51.3 | 6 | 2.2099 | 6
2011-26 | P17 | 49 | 395 | 5 | 5.983 | 2 | 7.2355 |  | 12.5 |  | 0.90507
2011-26 | P17 | 49 | 394 | Max | 60.853 | 1 | 8.413 |  | 12.2 |  | 0.96576
2011-26 | P18 | 50 | 397 | 5 | 4.935 | 2 | 7.3337 |  | 12.6 |  | 0.89496
2011-26 | P18 | 50 | 396 | Max | 25.493 | 1 | 7.3337 |  | 12.6 |  | 0.89496
2011-26 | P19 | 51 | 399 | 5 | 4.922 | 2 | 6.9412 |  | 12.5 |  | 0.87473
2011-26 | P19 | 51 | 398 | Max | 40.197 | 1 |  | 9 |  | 9 |  | 9 | Niskin didn't close
2011-26 | P20 | 55 | 454 | 5 | 5.108 | 24 | 7.628 |  | 13 |  | 0.92531
2011-26 | P20 | 55 | 453 | 10 | 10.064 | 23 |  | 9 |  | 9 |  | 9 | Niskin didn't close
2011-26 | P20 | 55 | 452 | 25 | 24.369 | 22 | 7.628 |  | 12.9 |  | 0.95565
2011-26 | P20 | 55 | 451 | 50 | 49.162 | 21 | 8.6092 |  | 13.8 |  | 0.98599
2011-26 | P20 | 55 | 450 | 75 | 75.178 | 20 | 12.6321 |  | 17.3 |  | 1.2186
2011-26 | P20 | 55 | 449 | 100 | 100.815 | 19 | 21.8064 | 6 | 28.5 | 6 | 1.6738 | 6
2011-26 | P20 | 55 | 448 | 125 | 124.646 | 18 | 27.252 |  | 39.4 |  | 1.957
2011-26 | P20 | 55 | 447 | 150 | 150.644 | 17 | 29.1163 |  | 44.9 |  | 2.0986
2011-26 | P20 | 55 | 446 | 175 | 174.612 | 16 | 31.7655 |  | 51.1 |  | 2.2706
2011-26 | P20 | 55 | 445 | 200 | 201.885 | 15 | 33.5317 |  | 57 |  | 2.392
2011-26 | P20 | 55 | 444 | 250 | 248.658 | 14 | 36.1809 |  | 65.5 |  | 2.5639
2011-26 | P20 | 55 | 443 | 300 | 300.272 | 13 | 40.302 |  | 75.9 |  | 2.7966
2011-26 | P20 | 55 | 442 | 400 | 399.379 | 12 | 42.4606 |  | 90.3 |  | 2.9989
2011-26 | P20 | 55 | 441 | 600 | 599.197 | 11 | 44.3249 |  | 112.7 |  | 3.1911 |  | used cool NO3
2011-26 | P20 | 55 | 440 | 800 | 801.018 | 10 | 44.5211 |  | 129.1 |  | 3.1911
2011-26 | P20 | 55 | 439 | 1000 | 1001.233 | 9 | 45.9929 |  | 143 |  | 3.1708
2011-26 | P20 | 55 | 438 | 1250 | 1250.605 | 8 | 46.1892 |  | 154.7 |  | 3.2619
2011-26 | P20 | 55 | 437 | 1500 | 1500.897 | 7 | 45.6986 |  | 163.6 |  | 3.181
2011-26 | P20 | 55 | 436 | 2000 | 1999.83 | 6 | 43.9324 |  | 171.4 |  | 3.0495
2011-26 | P20 | 55 | 435 | 2500 | 2499.602 | 5 | 41.4794 | 6 | 172.3 | 6 | 2.9028 | 6
2011-26 | P20 | 55 | 434 | 3000 | 2999.417 | 4 | 40.4001 |  | 171.4 |  | 2.7258
2011-26 | P20 | 55 | 433 | 3500 | 3499.846 | 3 | 40.9888 | 3 | 172.2 | 3 | 2.837 | 3 | mis-sample? mistrip?
2011-26 | P20 | 55 | 432 | 3500 | 3499.463 | 2 | 39.517 |  | 171.3 |  | 2.7157
2011-26 | P20 | 55 | 431 | Bot-10 | 4024.597 | 1 | 39.0264 |  | 174.7 |  | 2.6651
2011-26 | P20 | 60 | 467 | 0 | 1.727 | 13 | 7.5299 |  | 13 |  | 0.94554
2011-26 | P20 | 60 | 466 | 5 | 5.451 | 12 | 7.4318 |  | 13 |  | 0.92531
2011-26 | P20 | 60 | 465 | 10 | 9.957 | 11 | 7.4808 | 6 | 12.9 | 6 | 0.92531 | 6
2011-26 | P20 | 60 | 464 | 15 | 15.015 | 10 | 7.4318 |  | 12.9 |  | 0.91519
2011-26 | P20 | 60 | 463 | 20 | 20.132 | 9 | 7.4318 |  | 12.9 |  | 0.94554
2011-26 | P20 | 60 | 462 | 25 | 25.2 | 8 | 7.628 |  | 12.9 |  | 0.94554
2011-26 | P20 | 60 | 461 | 30 | 30.534 | 7 | 7.628 |  | 13.1 |  | 0.94554
2011-26 | P20 | 60 | 460 | 40 | 39.707 | 6 | 7.9224 |  | 13.4 |  | 0.95565
2011-26 | P20 | 60 | 459 | 50 | 50.359 | 5 | 8.413 |  | 13.7 |  | 0.99611
2011-26 | P20 | 60 | 458 | 75 | 75.092 | 4 | 12.4359 |  | 17.2 |  | 1.2085
2011-26 | P20 | 60 | 457 | 100 | 99.923 | 3 | 22.5423 |  | 29.9 |  | 1.7244
2011-26 | P20 | 60 | 456 | 175 | 175.089 | 2 | 32.5505 |  | 54.6 |  | 2.2807
2011-26 | P20 | 60 | 455 | 200 | 200.782 | 1 | 33.2373 |  | 57.6 |  | 2.3414
2011-26 | P20 | 62 | 493 | 10 | 9.603 | 23 | 7.4318 |  | 13 |  | 0.94554
2011-26 | P20 | 62 | 487 | 500 | 499.344 | 17 | 43.4418 |  | 101.8 |  | 3.1
2011-26 | P20 | 62 | 481 | 1000 | 1001.747 | 11 | 45.6005 |  | 140.6 |  | 3.2416
2011-26 | P20 | 62 | 475 | 2000 | 2000.859 | 5 | 43.4418 |  | 171.2 |  | 3.0596
2011-26 | P21 | 65 | 496 | 5 | 5.115 | 2 | 7.5299 |  | 13.2 |  | 0.94554
2011-26 | P21 | 65 | 495 | Max | 39.824 | 1 | 8.413 |  | 14 |  | 0.97588
2011-26 | P22 | 66 | 498 | 5 | 5.025 | 2 | 8.2167 |  | 13.9 |  | 0.95565
2011-26 | P22 | 66 | 497 | Max | 60.598 | 1 | 10.6697 |  | 15 |  | 1.0871
2011-26 | P23 | 67 | 522 | 5 | 4.876 | 24 | 8.7073 |  | 14.4 |  | 0.97588
2011-26 | P23 | 67 | 521 | Max | 77.656 | 23 |  | 9 |  | 9 |  | 9 | Niskin did not close
2011-26 | P24 | 68 | 525 | 5 | 5 | 3 | 11.3566 |  | 15.7 |  | 1.1478 |  | 5m water for nutrients calibration
2011-26 | P24 | 68 | 524 | 5 | 4.981 | 2 | 11.4547 |  | 15.6 |  | 1.158
2011-26 | P24 | 68 | 523 | Max | 50.459 | 1 | 11.9453 |  | 15.7 |  | 1.1883
2011-26 | P25 | 69 | 527 | 5 | 5.752 | 2 | 13.6133 |  | 21.1 |  | 1.3097
2011-26 | P25 | 69 | 526 | Max | 45.602 | 1 | 14.0058 |  | 21.5 |  | 1.3299
2011-26 | P35 | 70 | 529 | 5 | 5.576 | 2 | 13.7115 |  | 21.2 |  | 1.2996
2011-26 | P35 | 70 | 528 | Max | 44.608 | 1 | 14.5945 |  | 22.8 |  | 1.3704
2011-26 | P26 | 82 | 654 | 5 | 5.179 | 24 | 12.8284 |  | 20.2 |  | 1.249
2011-26 | P26 | 82 | 653 | 10 | 10.18 | 23 | 12.8284 |  | 20.1 |  | 1.249
2011-26 | P26 | 82 | 652 | 25 | 24.855 | 22 | 12.9265 |  | 20.2 |  | 1.2591
2011-26 | P26 | 82 | 651 | 50 | 48.794 | 21 | 16.9494 | 6 | 25.35 | 6 | 1.5271 | 6
2011-26 | P26 | 82 | 650 | 75 | 75.164 | 20 | 17.0475 |  | 25.5 |  | 1.5322
2011-26 | P26 | 82 | 649 | 100 | 99.702 | 19 | 17.8325 |  | 26.6 |  | 1.5727
2011-26 | P26 | 82 | 648 | 125 | 124.869 | 18 | 31.0787 |  | 52 |  | 2.2908
2011-26 | P26 | 82 | 647 | 150 | 149.493 | 17 | 34.3167 |  | 60 |  | 2.4729
2011-26 | P26 | 82 | 646 | 175 | 175.923 | 16 | 35.0035 |  | 63.8 |  | 2.5437
2011-26 | P26 | 82 | 645 | 200 | 199.775 | 15 | 36.8678 |  | 70 |  | 2.655
2011-26 | P26 | 82 | 644 | 250 | 250.12 | 14 | 39.2227 |  | 79.5 |  | 2.8168
2011-26 | P26 | 82 | 643 | 300 | 299.516 | 13 | 40.6945 |  | 86.2 |  | 2.9078
2011-26 | P26 | 82 | 642 | 400 | 399.878 | 12 | 42.3625 |  | 99.6 |  | 2.9989 |  | used cool NO3
2011-26 | P26 | 82 | 641 | 600 | 600.74 | 11 | 44.0305 |  | 120.8 |  | 3.1708
2011-26 | P26 | 82 | 640 | 800 | 800.203 | 10 | 45.1099 | 6 | 134.3 | 6 | 3.2113 | 6 | used cool NO3
2011-26 | P26 | 82 | 639 | 1000 | 1001.749 | 9 | 45.6005 |  | 145.5 |  | 3.2012 |  | used cool NO3
2011-26 | P26 | 82 | 638 | 1250 | 1249.407 | 8 | 45.8948 |  | 156.8 |  | 3.2416
2011-26 | P26 | 82 | 637 | 1500 | 1499.729 | 7 | 45.5023 |  | 164.2 |  | 3.2214
2011-26 | P26 | 82 | 636 | 2000 | 1999.675 | 6 | 42.5587 |  | 171.7 |  | 3.0292
2011-26 | P26 | 82 | 635 | 2500 | 2499.968 | 5 | 41.2341 | 6 | 172.15 | 6 | 2.9129 | 6
2011-26 | P26 | 82 | 634 | 3000 | 2999.751 | 4 | 39.7133 |  | 170.8 |  | 2.8067
2011-26 | P26 | 82 | 633 | 3500 | 3499.827 | 3 | 39.0264 |  | 168.8 |  | 2.7258
2011-26 | P26 | 82 | 632 | 4000 | 4001.08 | 2 | 37.6527 |  | 168.6 |  | 2.655
2011-26 | P26 | 82 | 631 | Bot-10 | 4317.551 | 1 | 37.5546 |  | 172.6 |  | 2.6449
2011-26 | P26 | 84 | 667 | 0 | 1.837 | 13 | 12.6321 |  | 20.3 |  | 1.2288
2011-26 | P26 | 84 | 666 | 5 | 4.43 | 12 | 12.7303 |  | 20.2 |  | 1.249
2011-26 | P26 | 84 | 665 | 10 | 10.642 | 11 | 12.7303 |  | 20.3 |  | 1.2389
2011-26 | P26 | 84 | 664 | 15 | 15.546 | 10 | 12.8284 |  | 20.3 |  | 1.2591
2011-26 | P26 | 84 | 663 | 20 | 20.415 | 9 | 12.7303 |  | 20.3 |  | 1.2591
2011-26 | P26 | 84 | 662 | 25 | 24.648 | 8 | 12.8284 |  | 20.3 |  | 1.2389
2011-26 | P26 | 84 | 661 | 30 | 30.536 | 7 | 13.1227 |  | 20.8 |  | 1.2591
2011-26 | P26 | 84 | 660 | 40 | 39.38 | 6 | 13.5152 | 6 | 21.1 | 6 | 1.2945 | 6
2011-26 | P26 | 84 | 659 | 50 | 49.516 | 5 | 14.5945 |  | 22.4 |  | 1.3906
2011-26 | P26 | 84 | 658 | 75 | 75.484 | 4 | 17.44 |  | 26.6 |  | 1.5524
2011-26 | P26 | 84 | 657 | 100 | 99.977 | 3 | 22.7385 |  | 34.8 |  | 1.8255
2011-26 | P26 | 84 | 656 | 175 | 174.766 | 2 | 36.3772 |  | 70.1 |  | 2.6449
2011-26 | P26 | 84 | 655 | 200 | 199.678 | 1 | 37.849 |  | 74.5 |  | 2.746
2011-26 | P26 | 87 | 698 | 10 | 10.252 | 23 | 12.7303 |  | 20.3 |  | 1.249
2011-26 | P26 | 87 | 692 | 500 | 500.037 | 17 | 43.2456 |  | 109.4 |  | 3.1101
2011-26 | P26 | 87 | 686 | 1000 | 1000.741 | 11 | 45.6986 |  | 145 |  | 3.1911
2011-26 | P26 | 87 | 680 | 2000 | 2000.043 | 5 | 43.9324 |  | 170.8 |  | 3.0495
2011-26 | Argos | 97 | 706 | 5 | 4.82 | 2 | 16.2626 |  | 27.5 |  | 1.4513
2011-26 | Argos | 97 | 705 | Max | 38.862 | 1 | 16.8513 |  | 28 |  | 1.5019
2011-26 | Eddy | 104 | 771 | 5 | 5.13 | 18 | 7.8243 |  | 13.7 |  | 0.96576
2011-26 | Eddy | 104 | 770 | 10 | 9.921 | 17 | 8.2167 |  | 14.3 |  | 0.99611
2011-26 | Eddy | 104 | 769 | 25 | 24.255 | 16 | 7.3337 |  | 12.9 |  | 0.88484
2011-26 | Eddy | 104 | 768 | 50 | 48.319 | 15 | 9.2961 |  | 14.4 |  | 1.0062
2011-26 | Eddy | 104 | 767 | 75 | 75.152 | 14 | 12.0434 |  | 16.3 |  | 1.1782
2011-26 | Eddy | 104 | 766 | 100 | 98.507 | 13 | 20.2855 |  | 27.3 |  | 1.603
2011-26 | Eddy | 104 | 765 | 125 | 125.055 | 12 | 33.1392 |  | 47.8 |  | 2.392 |  | omitted poor dup
2011-26 | Eddy | 104 | 764 | 150 | 148.882 | 11 | 34.7091 |  | 52.3 |  | 2.5032
2011-26 | Eddy | 104 | 763 | 175 | 175.382 | 10 | 33.6298 |  | 52.5 |  | 2.483
2011-26 | Eddy | 104 | 762 | 200 | 200.538 | 9 | 35.396 |  | 55.7 |  | 2.5437
2011-26 | Eddy | 104 | 761 | 250 | 250.854 | 8 | 33.0411 |  | 54.4 |  | 2.392
2011-26 | Eddy | 104 | 760 | 300 | 301.355 | 7 | 38.7321 |  | 65.3 |  | 2.7763
2011-26 | Eddy | 104 | 759 | 400 | 400.727 | 6 | 37.5056 | 6 | 74.1 | 6 | 2.6954 | 6
2011-26 | Eddy | 104 | 758 | 600 | 600.917 | 5 | 43.4418 |  | 102.5 |  | 3.1101
2011-26 | Eddy | 104 | 757 | 800 | 800.567 | 4 | 45.9929 |  | 124.1 |  | 3.2922
2011-26 | Eddy | 104 | 756 | 1000 | 998.736 | 3 | 42.4606 |  | 139.9 |  | 2.9989
2011-26 | Eddy | 104 | 755 | 1500 | 1499.104 | 2 | 42.4606 |  | 161.7 |  | 2.9989 |  | Loose cap
2011-26 | Eddy | 104 | 754 | 2000 | 2000.538 | 1 | 39.4189 |  | 171.4 |  | 2.7662 |  | Loose cap
2011-26 | LB08 | 109 | 783 | 5 | 5.052 | 9 | 0.95586 |  | 3 |  | 0.41956
2011-26 | LB08 | 109 | 782 | 10 | 9.929 | 8 | 1.7408 |  | 3.5 |  | 0.5207
2011-26 | LB08 | 109 | 781 | 20 | 20.324 | 7 | 12.8284 |  | 17.1 |  | 1.2591
2011-26 | LB08 | 109 | 780 | 30 | 30.608 | 6 | 17.2438 |  | 23.5 |  | 1.5423
2011-26 | LB08 | 109 | 779 | 50 | 51.021 | 5 | 29.6069 |  | 41.6 |  | 2.2706
2011-26 | LB08 | 109 | 778 | 75 | 75.18 | 4 | 32.158 |  | 47.2 |  | 2.4426
2011-26 | LB08 | 109 | 777 | 100 | 99.926 | 3 | 35.1997 |  | 55.4 |  | 2.7055
2011-26 | LB08 | 109 | 776 | 125 | 124.809 | 2 | 35.5432 | 6 | 57.6 | 6 | 2.7612 | 6
2011-26 | LB08 | 109 | 775 | Bot-10 | 129.541 | 1 | 35.9847 |  | 59.5 |  | 2.7865

## Calc Precision
Averaging Duplicates from same Niskin and Calculating Precision | [15 empty] | File: QF 2011-26nuts.xls
Calculating Combined (most Frozen, deep Silicate cool) Average Duplicates & Precision | [15 empty] | Date: July 8, 2011
[16 empty] | Compiled by Wendy Richardson | [6 empty] | Critical values
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Chauvenet statistic
|  |  |  | (nominal) | (actual) |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 | n | Chauvenet
2011-26 | P2 | 2 | 4 | 75 | 75.71 | 2 | 17.44 | 22.3 | 1.5322 | [7 empty] | 0 | 0 | 0.030345 | 0.72673 | 0.44679 | 0.23835 | 3 | 1.37
2011-26 | P2 | 2 | 4 | 75 | 75.71 | 2 | 17.44 | 22.3 | 1.5019 | 17.44 | 22.3 | 1.517 | 0 | 0 | 0.00092082 | [7 empty] | 4 | 1.53
2011-26 | P2 | 4 | 24 | 5 | 5.2 | 8 | 0.1709 | 0.3 | 0.13634 | [7 empty] | 0 | 0 | 0 | 0.72673 | 0.44679 | 0.93638 | 5 | 1.64
2011-26 | P2 | 4 | 24 | 5 | 5.2 | 8 | 0.1709 | 0.3 | 0.13634 | 0.1709 | 0.3 | 0.13634 | 0 | 0 | 0 | [7 empty] | 6 | 1.73
2011-26 | P4 | 6 | 39 | 125 | 126.166 | 13 | 27.1539 | 32.4 | 2.0481 | [7 empty] | 0.09812 | 0 | 0.010115 | 0.44815 | 0.44679 | 0.5448 | 7 | 1.8
2011-26 | P4 | 6 | 39 | 125 | 126.166 | 13 | 27.252 | 32.4 | 2.038 | 27.203 | 32.4 | 2.043 | 0.0096275 | 0 | 0.00010231 | [7 empty] | 8 | 1.87
2011-26 | P4 | 6 | 29 | 1250 | 1250.771 | 3 | 45.3061 | 141 | 3.3124 | [7 empty] | 0 | 0 | 0.010115 | 0.72673 | 0.44679 | 0.5448 | 9 | 1.91
2011-26 | P4 | 6 | 29 | 1250 | 1250.576 | 3 | 45.3061 | 141 | 3.3226 | 45.3061 | 141 | 3.3175 | 0 | 0 | 0.00010231 | [7 empty] | 10 | 1.97
2011-26 | P4 | 16 | 154 | 40 | 40.399 | 6 | 2.9183 | 6.4 | 0.68254 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.44815 | 0.1833 | 0.5448 | 20 | 2.24
2011-26 | P4 | 16 | 154 | 40 | 40.399 | 6 | 3.0164 | 6.5 | 0.67243 | 2.9673 | 6.45 | 0.67749 | 0.0096275 | 0.01 | 0.00010231 | [7 empty] | 30 | 2.39
2011-26 | P8 | 21 | 181 | 175 | 174.59 | 11 | 29.8031 | 42.7 | 2.1492 | [7 empty] | 0 | 0.1 | 0.010115 | 0.72673 | 0.1833 | 0.5448 | 50 | 2.57
2011-26 | P8 | 21 | 181 | 175 | 174.59 | 11 | 29.8031 | 42.6 | 2.1391 | 29.8031 | 42.65 | 2.1442 | 0 | 0.01 | 0.00010231 | [7 empty] | 80 | 2.74
2011-26 | P8 | 21 | 174 | 1000 | 1000.847 | 4 | 45.1099 | 134.3 | 3.3124 | [7 empty] | 0.19624 | 0.1 | 0.030345 | 0.16957 | 0.1833 | 0.23835 | 100 | 2.81
2011-26 | P8 | 21 | 174 | 1000 | 1000.847 | 4 | 45.3061 | 134.2 | 3.2821 | 45.208 | 134.25 | 3.2973 | 0.03851 | 0.01 | 0.00092082 | [7 empty] | 150 | 2.93
2011-26 | P12 | 25 | 201 | 100 | 100.253 | 3 | 11.8472 | 15.4 | 1.1074 | [7 empty] | 0.29436 | 0.4 | 0.050575 | 0.10901 | 0.60718 | 1.0215 | 200 | 3.02
2011-26 | P12 | 25 | 201 | 100 | 100.253 | 3 | 11.5528 | 15 | 1.0568 | 11.7 | 15.2 | 1.0821 | 0.086648 | 0.16 | 0.0025578
2011-26 | P12 | 27 | 240 | 75 | 75.476 | 19 | 11.7491 | 15.3 | 1.1478 | [7 empty] | 0.09812 | 0 | 0.02023 | 0.44815 | 0.44679 | 0.15323
2011-26 | P12 | 27 | 240 | 75 | 75.476 | 19 | 11.8472 | 15.3 | 1.1681 | 11.7981 | 15.3 | 1.158 | 0.0096275 | 0 | 0.00040925
2011-26 | P12 | 27 | 226 | 2000 | 2002.354 | 5 | 42.8531 | 173 | 2.9989 | [7 empty] | 0 | 0.1 | 0.010115 | 0.72673 | 0.1833 | 0.5448
2011-26 | P12 | 27 | 226 | 2000 | 2002.354 | 5 | 42.8531 | 173.1 | 3.009 | 42.8531 | 173.05 | 3.0039 | 0 | 0.01 | 0.00010231
2011-26 | P16 | 43 | 363 | 150 | 150.602 | 17 | 26.6633 | 40.7 | 1.9368 | [7 empty] | 0 | 0.1 | 0 | 0.72673 | 0.1833 | 0.93638
2011-26 | P16 | 43 | 363 | 150 | 150.602 | 17 | 26.6633 | 40.6 | 1.9368 | 26.6633 | 40.65 | 1.9368 | 0 | 0.01 | 0
2011-26 | P16 | 43 | 357 | 600 | 600.103 | 11 | 44.5211 | 110.2 | 3.181 | [7 empty] | 0.29436 | 0 | 0.091035 | 0.10901 | 0.44679 | 2.5878
2011-26 | P16 | 43 | 357 | 600 | 600.103 | 11 | 44.2268 | 110.2 | 3.0899 | 44.374 | 110.2 | 3.1354 | 0.086648 | 0 | 0.0082874
2011-26 | P16 | 48 | 378 | 200 | 201.159 | 1 | 30.5881 | 51.2 | 2.1897 | [7 empty] | 0.78496 | 0.2 | 0.04046 | 1.5019 | 0.080194 | 0.62993
2011-26 | P16 | 48 | 378 | 200 | 201.159 | 1 | 31.3731 | 51.4 | 2.2301 | 30.9806 | 51.3 | 2.2099 | 0.61616 | 0.04 | 0.001637
2011-26 | P20 | 55 | 449 | 100 | 100.815 | 19 | 21.7573 | 28.5 | 1.6738 | [7 empty] | 0.09812 | 0 | 0 | 0.44815 | 0.44679 | 0.93638
2011-26 | P20 | 55 | 449 | 100 | 100.815 | 19 | 21.8554 | 28.5 | 1.6738 | 21.8064 | 28.5 | 1.6738 | 0.0096275 | 0 | 0
2011-26 | P20 | 55 | 435 | 2500 | 2499.602 | 5 | 41.7738 | 172.3 | 2.9078 | [7 empty] | 0.58872 | 0 | 0.010115 | 0.94475 | 0.44679 | 0.5448
2011-26 | P20 | 55 | 435 | 2500 | 2499.602 | 5 | 41.1851 | 172.3 | 2.8977 | 41.4794 | 172.3 | 2.9028 | 0.34659 | 0 | 0.00010231
2011-26 | P20 | 60 | 465 | 10 | 9.957 | 11 | 7.4318 | 12.9 | 0.92531 | [7 empty] | 0.09812 | 0 | 0 | 0.44815 | 0.44679 | 0.93638
2011-26 | P20 | 60 | 465 | 10 | 9.957 | 11 | 7.5299 | 12.9 | 0.92531 | 7.4808 | 12.9 | 0.92531 | 0.0096275 | 0 | 0
2011-26 | P26 | 82 | 651 | 50 | 48.794 | 21 | 17.0475 | 25.6 | 1.5221 | [7 empty] | 0.19624 | 0.5 | 0.010115 | 0.16957 | 0.87068 | 0.5448
2011-26 | P26 | 82 | 651 | 50 | 48.794 | 21 | 16.8513 | 25.1 | 1.5322 | 16.9494 | 25.35 | 1.5271 | 0.03851 | 0.25 | 0.00010231
2011-26 | P26 | 82 | 640 | 800 | 800.203 | 10 | 44.8155 | 134.4 | 3.2315 | [7 empty] | 0.68684 | 0.2 | 0.04046 | 1.2233 | 0.080194 | 0.62993
2011-26 | P26 | 82 | 640 | 800 | 800.203 | 10 | 44.1287 | 134.2 | 3.1911 | 44.4721 | 134.3 | 3.2113 | 0.47175 | 0.04 | 0.001637
2011-26 | P26 | 82 | 635 | 2500 | 2499.968 | 5 | 41.3813 | 172.1 | 2.9078 | [7 empty] | 0.29436 | 0.1 | 0.010115 | 0.10901 | 0.1833 | 0.5448
2011-26 | P26 | 82 | 635 | 2500 | 2499.968 | 5 | 41.0869 | 172.2 | 2.918 | 41.2341 | 172.15 | 2.9129 | 0.086648 | 0.01 | 0.00010231
2011-26 | P26 | 84 | 660 | 40 | 39.38 | 6 | 13.5152 | 21.1 | 1.2793 | [7 empty] | 0 | 0 | 0.030345 | 0.72673 | 0.44679 | 0.23835
2011-26 | P26 | 84 | 660 | 40 | 39.38 | 6 | 13.5152 | 21.1 | 1.3097 | 13.5152 | 21.1 | 1.2945 | 0 | 0 | 0.00092082
2011-26 | Eddy | 104 | 765 | 125 | 125.055 | 12 | 33.1392 | 47.8 | 2.392 | [7 empty] | 1.4718 | 1.8 | 0.091035 | 3.452 | 4.2961 | 2.5878
2011-26 | Eddy | 104 | 765 | 125 | 125.055 | 12 | 31.6674 | 46 | 2.3009 | [6 empty] | Omit poor
2011-26 | Eddy | 104 | 759 | 400 | 400.727 | 6 | 37.2603 | 74.1 | 2.6752 | [7 empty] | 0.4906 | 0 | 0.04046 | 0.66617 | 0.44679 | 0.62993
2011-26 | Eddy | 104 | 759 | 400 | 400.727 | 6 | 37.7509 | 74.1 | 2.7157 | 37.5056 | 74.1 | 2.6954 | 0.24069 | 0 | 0.001637
2011-26 | LB08 | 109 | 776 | 125 | 124.809 | 2 | 35.4941 | 57.5 | 2.7662 | [7 empty] | 0.09812 | 0.2 | 0.010115 | 0.44815 | 0.080194 | 0.5448
2011-26 | LB08 | 109 | 776 | 125 | 124.809 | 2 | 35.5922 | 57.7 | 2.7561 | 35.5432 | 57.6 | 2.7612 | 0.0096275 | 0.04 | 0.00010231
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 2.0699 | 0.59 | 0.019849
[9 empty] | COUNT |  |  |  | 22 | 22 | 22
[9 empty] | SUM/2*COUNT |  |  |  | 0.047044 | 0.013409 | 0.00045111
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.2169 | 0.1158 | 0.021239 | mean diff | 0.25597 | 0.16957 | 0.024188
[16 empty] | stdev | 0.35221 | 0.37951 | 0.025831
[9 empty] | min |  |  |  | 0.1709 | 0.3 | 0.13634
[9 empty] | max |  |  |  | 45.3061 | 173.1 | 3.3226
Omit Outliers
[9 empty] | SUM OF (X-Y)SQ | [5 empty] | 0.011561
[9 empty] | COUNT | [5 empty] | 21
[9 empty] | SUM/2*COUNT | [5 empty] | 0.00027527
[9 empty] | SQRT(SUM/2*COUNT) | [5 empty] | 0.016591

## Precision statement
Cruise 2011-26 June Papa |  | File: QF 2011-26nuts.xls
Date: July 8, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Most samples were analysed frozen at IOS by Wendy Richardson and Janet Barwell-Clarke
Deep Silicate samples (400m and below) were analyzed cool at IOS by Wendy Richardson and Janet Barwell-Clarke.
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
The precision with outliers removed based on the Chauvenet criteria was:
Sp for nitrate for the range 0.2 to 45.3 uM, k=22 was 0.22
Sp for silicate for the range 0.3 to 173.1 uM, k=22 was 0.12
Sp for phosphate for the range 0.14 to 3.32 uM, k=21 was 0.017
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
The values were within 0.89 % of the 200 uM Silicate standard that was analyzed while running these samples.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 11, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.