## Notes
Cruise: 2011-26 June LineP, Marie Robert
Number crunching Notes for Germaine:
Sheet RawData:
There was a sample mix-up during the last day of analysis of chlorophylls.
I have made my best guess as to the samples, but it is only that….
I believe samples # 529 (P35 5 m ) and # 657 (P26 100 m) were read incorrectly and lost.
I have moved the remaining raw data down one row and it matches the number of samples analyzed, the Fluorometer and extracted chl.

## Final Chl archive
Cruise: 2011-26 June LineP, Marie Robert
Analyzed June 16-18, 2011 onboard JP Tully in portable RadVan by Hugh Maclean and Doug Yelland.
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
Cruise_Number | Event_Number | Station_Name | Sample_Number | Depth | Pressure | Bottle_Number | Chlorophyll:Extracted | Flag:Chlorophyll Extracted | Phaeo-Pigment:Exracted | Comments
[7 empty] | ug/L |  | ug/L
2011-26 | 1 | P1 | 2 | 5 | 4.921 | 2 | 8.8301 |  | 0.26321
2011-26 | 1 | P1 | 1 | Chl Max | 8.897 | 1 | 6.1726 |  | 0.80405
2011-26 |  | Loop 1 |  |  |  |  | 15.6225 |  | 0.37358
2011-26 | 2 | P2 | 13 | 0 | 1.715 | 11 | 0.78679 |  | 0.33396
2011-26 | 2 | P2 | 12 | 5 | 5.354 | 10 | 0.91697 |  | 0.36679
2011-26 | 2 | P2 | 11 | 10 | 10.394 | 9 | 0.91131 |  | 0.22472
2011-26 | 2 | P2 | 10 | 15 | 14.45 | 8 | 0.92263 | 6 | 0.3
2011-26 | 2 | P2 | 9 | 20 | 20.477 | 7 |  | 9 |  | Closed in air, no water
2011-26 | 2 | P2 | 8 | 25 | 25.119 | 6 | 1.2113 |  | 0.49528
2011-26 | 2 | P2 | 7 | 30 | 30.507 | 5 | 0.99622 |  | 0.43528
2011-26 | 2 | P2 | 6 | 40 | 39.936 | 4 | 0.48679 |  | 0.27226
2011-26 | 2 | P2 | 5 | 50 | 49.532 | 3 | 0.3566 |  | 0.28528
2011-26 | 2 | P2 | 4 | 75 | 75.71 | 2 | 0.14094 |  | 0.27221
2011-26 | 2 | P2 | 3 | 100 | 100.652 | 15 | 0.077547 |  | 0.29434
2011-26 | 5 | P3 | 26 | 5 | 5.244 | 2 | 0.67358 |  | 0.12623
2011-26 | 5 | P3 | 25 | Max | 25.287 | 1 | 0.87735 |  | 0.72226
2011-26 | 16 | P4 | 161 | 0 | 1.659 | 13 |  | 9 |  | Closed in air, no water
2011-26 | 16 | P4 | 160 | 5 | 4.643 | 12 | 0.24905 |  | 0.022981
2011-26 | 16 | P4 | 159 | 10 | 9.977 | 11 | 0.2867 | 6 | 0.030934
2011-26 | 16 | P4 | 158 | 15 | 14.681 | 10 | 0.26773 |  | 0.031302
2011-26 | 16 | P4 | 157 | 20 | 20.106 | 9 | 0.35773 |  | 0.094641
2011-26 | 16 | P4 | 156 | 25 | 24.371 | 8 | 0.44717 |  | 0.10811
2011-26 | 16 | P4 | 155 | 30 | 29.335 | 7 | 0.62264 |  | 0.18226
2011-26 | 16 | P4 | 154 | 40 | 40.399 | 6 | 0.46981 |  | 0.1466
2011-26 | 16 | P4 | 153 | 50 | 50.035 | 5 | 0.56603 |  | 0.22868
2011-26 | 16 | P4 | 152 | 75 | 74.988 | 4 | 0.16755 |  | 0.12334
2011-26 | 16 | P4 | 151 | 100 | 101.155 | 3 | 0.086603 |  | 0.083547
2011-26 | 17 | P5 | 166 | 5 | 47.91 | 2 | 0.91131 |  | -0.18792
2011-26 | 17 | P5 | 165 | Max | 38.372 | 1 | 1.3132 |  | -0.47773
2011-26 | 18 | P6 | 168 | 5 | 4.611 | 2 | 0.50377 |  | 0.04132
2011-26 | 18 | P6 | 167 | Max | 45.239 | 1 | 1.0868 |  | 0.29887
2011-26 |  | P6 | Loop |  |  |  | 0.43698 |  | 0.066339
2011-26 | 19 | P7 | 170 | 5 | 4.899 | 2 | 0.41434 |  | 0.073698
2011-26 | 19 | P7 | 169 | Max | 41.449 | 1 | 0.86037 |  | 0.28075
2011-26 | 21 | P8 | 189 | 5 | 24.962 | 19 | 0.33962 |  | 0.093396 | closed at wrong depth
2011-26 | 21 | P8 | 188 | 10 | 11.156 | 18 | 0.24339 | 6 | 0.043415
2011-26 | 21 | P8 | 187 | 25 | 44.677 | 17 | 0.61132 |  | 0.27 | closed at wrong depth
2011-26 | 21 | P8 | 186 | 50 | 50.879 | 16 |  | 9 |  | no sample collected
2011-26 | 21 | P8 | 185 | 75 | 74.544 | 15 | 0.22472 |  | 0.16907
2011-26 | 21 | P8 | 184 | 100 | 100.571 | 14 | 0.048679 |  | 0.083264
2011-26 | 22 | P9 | 194 | 5 | 5.549 | 2 | 0.43585 |  | 0.26717
2011-26 | 22 | P9 | 193 | Max | 61.019 | 1 | 0.27509 |  | 0.032604
2011-26 | 23 | P10 | 196 | 5 | 5.159 | 2 | 0.34132 |  | 0.049415
2011-26 | 23 | P10 | 195 | Max | 41.259 | 1 | 0.43019 |  | 0.22189
2011-26 |  | P10 | Loop |  |  |  | 0.3866 |  | 0.085641
2011-26 | 24 | P11 | 198 | 5 | 4.939 | 2 | 0.44151 |  | 0.073018
2011-26 | 24 | P11 | 197 | Max | 54.216 | 1 | 0.54905 |  | 0.12849
2011-26 | 25 | P12 | 211 | 0 | 2.173 | 13 | 0.39034 |  | 0.06652
2011-26 | 25 | P12 | 210 | 5 | 5.75 | 12 | 0.39039 |  | 0.059586
2011-26 | 25 | P12 | 209 | 10 | 11.541 | 11 | 0.40766 |  | 0.053275
2011-26 | 25 | P12 | 208 | 15 | 15.349 | 10 | 0.39051 |  | 0.055449
2011-26 | 25 | P12 | 207 | 20 | 21.277 | 9 | 0.37788 |  | 0.061398
2011-26 | 25 | P12 | 206 | 25 | 26.016 | 8 | 0.35513 | 6 | 0.00042736
2011-26 | 25 | P12 | 205 | 30 | 39.599 | 7 | 0.31828 |  | 0.22391 | Closed at wrong depth
2011-26 | 25 | P12 | 204 | 40 | 39.607 | 6 | 0.38966 |  | 0.12023
2011-26 | 25 | P12 | 203 | 50 | 49.286 | 5 | 0.38587 |  | 0.14389
2011-26 | 25 | P12 | 202 | 75 | 76.584 | 4 | 0.37992 |  | 0.23603
2011-26 | 25 | P12 | 201 | 100 | 100.253 | 3 | 0.3566 |  | 0.22924
2011-26 | 35 | P13 | 294 | 5 | 5.645 | 2 | 0.19641 |  | 0.032321
2011-26 | 35 | P13 | 293 | Max | 40.968 | 1 | 0.35004 |  | 0.065609
2011-26 | 36 | P14 | 296 | 5 | 5.505 | 3 | 0.37596 |  | 0.054
2011-26 | 36 | P14 | 295 | Max | 51.21 | 2 | 0.50207 |  | 0.15351 | Top valve not closed
2011-26 |  | Loop 2 |  |  |  |  | 0.49794 |  | 0.078022
2011-26 | 37 | P15 | 298 | 5 | 5.454 | 2 | 0.3639 |  | 0.034777
2011-26 | 37 | P15 | 297 | Max | 50.76 | 1 | 0.38411 |  | 0.10469
2011-26 | 48 | P16 | 390 | 0 | 1.991 | 13 | 0.28104 |  | 0.047241
2011-26 | 48 | P16 | 389 | 5 | 4.948 | 12 | 0.24555 |  | 0.032145
2011-26 | 48 | P16 | 388 | 10 | 9.733 | 11 | 0.26043 |  | 0.038858
2011-26 | 48 | P16 | 387 | 15 | 15.053 | 10 | 0.24651 |  | 0.033832
2011-26 | 48 | P16 | 386 | 20 | 19.436 | 9 | 0.26496 |  | 0.036622
2011-26 | 48 | P16 | 385 | 25 | 24.488 | 8 | 0.24085 |  | 0.039747
2011-26 | 48 | P16 | 384 | 30 | 30.367 | 7 | 0.26929 | 6 | 0.047575
2011-26 | 48 | P16 | 383 | 40 | 39.516 | 6 | 0.34285 |  | 0.08482
2011-26 | 48 | P16 | 382 | 50 | 50.758 | 5 | 0.31307 |  | 0.084486
2011-26 | 48 | P16 | 381 | 75 | 74.832 | 4 | 0.31902 |  | 0.11191
2011-26 | 48 | P16 | 380 | 100 | 100.138 | 3 | 0.24487 |  | 0.16935
2011-26 | 49 | P17 | 395 | 5 | 5.983 | 2 | 0.33226 |  | 0.028364
2011-26 | 49 | P17 | 394 | Max | 60.853 | 1 | 0.47677 |  | 0.17545
2011-26 | 50 | P18 | 397 | 5 | 4.935 | 2 | 0.28121 |  | 0.035609
2011-26 | 50 | P18 | 396 | Max | 25.493 | 1 | 0.23355 |  | 0.040986
2011-26 | 51 | P19 | 399 | 5 | 4.922 | 2 | 0.32162 |  | 0.045679
2011-26 | 51 | P19 | 398 | Max | 40.197 | 1 |  | 9 |  | Niskin didn't close
2011-26 | 60 | P20 | 467 | 0 | 1.727 | 13 | 0.25138 |  | 0.019183
2011-26 | 60 | P20 | 466 | 5 | 5.451 | 12 | 0.24192 |  | 0.045905
2011-26 | 60 | P20 | 465 | 10 | 9.957 | 11 | 0.26196 |  | 0.026479
2011-26 | 60 | P20 | 464 | 15 | 15.015 | 10 | 0.30968 |  | 0.037041
2011-26 | 60 | P20 | 463 | 20 | 20.132 | 9 | 0.32431 | 6 | 0.055828
2011-26 | 60 | P20 | 462 | 25 | 25.2 | 8 | 0.36175 |  | 0.075798
2011-26 | 60 | P20 | 461 | 30 | 30.534 | 7 | 0.38253 |  | 0.088901
2011-26 | 60 | P20 | 460 | 40 | 39.707 | 6 | 0.45102 |  | 0.13987
2011-26 | 60 | P20 | 459 | 50 | 50.359 | 5 | 0.56388 |  | 0.17566
2011-26 | 60 | P20 | 458 | 75 | 75.092 | 4 | 0.26083 |  | 0.19715
2011-26 | 60 | P20 | 457 | 100 | 99.923 | 3 | 0.10041 |  | 0.074167
2011-26 | 65 | P21 | 496 | 5 | 5.115 | 2 | 0.34602 |  | 0.049403
2011-26 | 65 | P21 | 495 | Max | 39.824 | 1 | 0.41977 |  | 0.10642
2011-26 | 66 | P22 | 498 | 5 | 5.025 | 2 | 0.20439 |  | 0.024696
2011-26 | 66 | P22 | 497 | Max | 60.598 | 1 | 0.28851 |  | 0.10788
2011-26 | 67 | P23 | 522 | 5 | 4.876 | 24 | 0.19013 |  | 0.023473
2011-26 | 67 | P23 | 521 | Max | 77.656 | 23 |  | 9 |  | Niskin did not close
2011-26 | 68 | P24 | 524 | 5 | 4.981 | 2 | 0.26077 |  | 0.045651
2011-26 | 68 | P24 | 523 | Max | 50.459 | 1 | 0.44626 |  | 0.2538
2011-26 | 69 | P25 | 527 | 5 | 5.752 | 2 | 0.30922 |  | 0.027204
2011-26 | 69 | P25 | 526 | Max | 45.602 | 1 | 0.6463 |  | 0.15891
2011-26 | 70 | P35 | 529 | 5 | 5.576 | 2 |  | 5 |  | lost sample on analysis
2011-26 | 70 | P35 | 528 | Max | 44.608 | 1 | 0.603 |  | 0.18647
2011-26 | 84 | P26 | 667 | 0 | 1.837 | 13 | 0.3952 |  | 0.068581
2011-26 | 84 | P26 | 666 | 5 | 4.43 | 12 | 0.35105 |  | 0.066118
2011-26 | 84 | P26 | 665 | 10 | 10.642 | 11 | 0.39136 | 6 | 0.056281
2011-26 | 84 | P26 | 664 | 15 | 15.546 | 10 | 0.36617 |  | 0.054215
2011-26 | 84 | P26 | 663 | 20 | 20.415 | 9 | 0.37704 |  | 0.053892
2011-26 | 84 | P26 | 662 | 25 | 24.648 | 8 | 0.3677 |  | 0.071586
2011-26 | 84 | P26 | 661 | 30 | 30.536 | 7 | 0.6785 |  | 0.18692
2011-26 | 84 | P26 | 660 | 40 | 39.38 | 6 | 0.68009 |  | 0.18401
2011-26 | 84 | P26 | 659 | 50 | 49.516 | 5 | 0.38734 |  | 0.19688
2011-26 | 84 | P26 | 658 | 75 | 75.484 | 4 | 0.16885 |  | 0.10074
2011-26 | 84 | P26 | 657 | 100 | 99.977 | 3 |  | 5 |  | lost sample on analysis
2011-26 | 97 | Argos | 706 | 5 | 4.82 | 2 | 0.30651 |  | 0.03257
2011-26 | 97 | Argos | 705 | Max | 38.862 | 1 | 0.3086 |  | 0.12564
2011-26 | 104 | Eddy | 771 | 5 | 5.13 | 18 | 0.22862 |  | 0.029202
2011-26 | 104 | Eddy | 770 | 10 | 9.921 | 17 | 0.2443 |  | 0.034104
2011-26 | 104 | Eddy | 769 | 25 | 24.255 | 16 | 0.236 |  | 0.040936
2011-26 | 104 | Eddy | 768 | 50 | 48.319 | 15 | 0.33871 |  | 0.11203
2011-26 | 104 | Eddy | 767 | 75 | 75.152 | 14 | 0.31709 |  | 0.16264
2011-26 | 104 | Eddy | 766 | 100 | 98.507 | 13 | 0.15673 |  | 0.11968

## Precision-dups
Cruise: 2011-26 June LineP, Marie Robert
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
Date | Sample | Station | Rep | Cast | Nominal | Chl.a | Phaeo | Avg Chl | CV% | Final Chl | Avg Phaeo | Flag:CHL | Flag Comments for Archive
(analyzed) | Number |  | Number | no. | Depth | ug/l | ug/L | ug/L |  | ug/L | ug/L
2011-06-17 | 10 | P2 | A | 2 | 15 | 0.90565 | 0.32717 | 0.92263 | 2.6028 | 0.92263 | 0.3 | 6
| 10 | P2 | B | 2 | 15 | 0.93962 | 0.27283
| 159 | P4 | A | 16 | 10 | 0.28471 | 0.029604 | 0.2867 | 0.97725 | 0.2867 | 0.030934 | 6
| 159 | P4 | B | 16 | 10 | 0.28868 | 0.032264
| 188 | P8 | A | 21 | 10 | 0.24396 | 0.045396 | 0.24339 | 0.32889 | 0.24339 | 0.043415 | 6
| 188 | P8 | B | 21 | 10 | 0.24283 | 0.041434
| 206 | P12 | A | 25 | 25 | 0.38824 | -0.073618 | 0.35513 | 13.1864 | 0.35513 | 0.00042736 | 6
| 206 | P12 | B | 25 | 25 | 0.32202 | 0.074473
| 384 | P16 | A | 48 | 30 | 0.26473 | 0.050756 | 0.26929 | 2.3929 | 0.26929 | 0.047575 | 6
| 384 | P16 | B | 48 | 30 | 0.27385 | 0.044394
| 463 | P20 | A | 60 | 20 | 0.32287 | 0.055132 | 0.32431 | 0.62942 | 0.32431 | 0.055828 | 6
| 463 | P20 | B | 60 | 20 | 0.32575 | 0.056524
2011-06-18 | 665 | P26 | A | 84 | 10 | 0.38264 | 0.055217 | 0.39136 | 3.15 | 0.39136 | 0.056281 | 6
| 665 | P26 | B | 84 | 10 | 0.40007 | 0.057345
| 769 | Eddy | A | 104 | 25 | 0.23049 | 0.040936 | 0.23595 | 3.2739 | 0.23595 | 0.038224 | 6
| 769 | Eddy | B | 104 | 25 | 0.24141 | 0.035513

## Raw Data
Cruise: 2011-26 June LineP, Marie Robert
May 2011 Chlorophyll Calibration Factors for the OSD fluorometer
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 10, 2011
Note: Excitation and emission filters were cleaned before calibration.
May 10, 2011: chl (ug/L)= 0.8848*(1.90(1.90-1)*(Fo-Fa)*(vol ext/vol filtered)
May 10, 2011: phaeo (ug/L)= 0.8848*(1.90/(1.90-1)*((1.90*Fa)-Fo)*1(vol ext/vol filtered)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Actual | Volume | Vol.acet. | Before | After | Chl.a | Phaeo | RATIO | Scale | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Pressure | Filtered | (ml) | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | dbar | (ml) |  |  |  |  | ug/L
2011-06-17 | 1 | P1 | 2011-06-04 | 1 | 1 | Max | 8.897 | 330 | 15 | 164 | 91.3 | 6.1726 | 0.80405 | 1.7963 |  | 2011-05-01
| 2 | P1 | 2011-06-04 | 2 | 1 | 5 | 4.921 | 330 | 15 | 223 | 119 | 8.8301 | 0.26321 | 1.8739
| Loop 1 | Loop 1 | 2011-06-04 |  |  |  | #N/A | 330 | 20 | 295 | 157 | 15.6225 | 0.37358 | 1.879
| 3 | P2 | 2011-06-04 | 15 | 2 | 100 | 100.652 | 330 | 10 | 8.67 | 7.3 | 0.077547 | 0.29434 | 1.1877
| 4 | P2 | 2011-06-04 | 2 | 2 | 75 | 75.71 | 330 | 10 | 10.6 | 8.11 | 0.14094 | 0.27221 | 1.307
| 5 | P2 | 2011-06-04 | 3 | 2 | 50 | 49.532 | 330 | 10 | 18.9 | 12.6 | 0.3566 | 0.28528 | 1.5
| 6 | P2 | 2011-06-04 | 4 | 2 | 40 | 39.936 | 330 | 10 | 23.5 | 14.9 | 0.48679 | 0.27226 | 1.5772
| 7 | P2 | 2011-06-04 | 5 | 2 | 30 | 30.507 | 330 | 10 | 45.7 | 28.1 | 0.99622 | 0.43528 | 1.6263
| 8 | P2 | 2011-06-04 | 6 | 2 | 25 | 25.119 | 330 | 10 | 54.9 | 33.5 | 1.2113 | 0.49528 | 1.6388
| 9 | P2 | 2011-06-04 | 7 | 2 | 20 | 20.477 | 330 | [7 empty] | Closed in air, no water
| 10 | P2 | 2011-06-04 | 8 | 2 | 15 | 14.45 | 330 | 10 | 40.2 | 24.2 | 0.90565 | 0.32717 | 1.6612
| 10 | P2 | 2011-06-04 | 8 | 2 | 15 | 14.45 | 330 | 10 | 40.4 | 23.8 | 0.93962 | 0.27283 | 1.6975
| 11 | P2 | 2011-06-04 | 9 | 2 | 10 | 10.394 | 330 | 10 | 38.4 | 22.3 | 0.91131 | 0.22472 | 1.722
| 12 | P2 | 2011-06-04 | 10 | 2 | 5 | 5.354 | 330 | 10 | 41.4 | 25.2 | 0.91697 | 0.36679 | 1.6429
| 13 | P2 | 2011-06-04 | 11 | 2 | 0 | 1.715 | 330 | 10 | 35.9 | 22 | 0.78679 | 0.33396 | 1.6318
| 25 | P3 | 2011-06-04 | 1 | 5 | Max | 25.287 | 330 | 10 | 46.9 | 31.4 | 0.87735 | 0.72226 | 1.4936
| 26 | P3 | 2011-06-04 | 2 | 5 | 5 | 5.244 | 330 | 10 | 27.6 | 15.7 | 0.67358 | 0.12623 | 1.758
| 151 | P4 | 2011-06-05 | 3 | 16 | 100 | 101.155 | 330 | 10 | 4.87 | 3.34 | 0.086603 | 0.083547 | 1.4581
| 152 | P4 | 2011-06-05 | 4 | 16 | 75 | 74.988 | 330 | 10 | 8.67 | 5.71 | 0.16755 | 0.12334 | 1.5184
| 153 | P4 | 2011-06-05 | 5 | 16 | 50 | 50.035 | 330 | 10 | 25.6 | 15.6 | 0.56603 | 0.22868 | 1.641
| 154 | P4 | 2011-06-05 | 6 | 16 | 40 | 40.399 | 330 | 10 | 20.4 | 12.1 | 0.46981 | 0.1466 | 1.686
| 155 | P4 | 2011-06-05 | 7 | 16 | 30 | 29.335 | 330 | 10 | 26.8 | 15.8 | 0.62264 | 0.18226 | 1.6962
| 156 | P4 | 2011-06-05 | 8 | 16 | 25 | 24.371 | 330 | 10 | 18.8 | 10.9 | 0.44717 | 0.10811 | 1.7248
| 157 | P4 | 2011-06-05 | 9 | 16 | 20 | 20.106 | 330 | 10 | 15.2 | 8.88 | 0.35773 | 0.094641 | 1.7117
| 158 | P4 | 2011-06-05 | 10 | 16 | 15 | 14.681 | 330 | 10 | 10.6 | 5.87 | 0.26773 | 0.031302 | 1.8058
| 159 | P4 | 2011-06-05 | 11 | 16 | 10 | 9.977 | 330 | 10 | 11.2 | 6.17 | 0.28471 | 0.029604 | 1.8152
| 159 | P4 | 2011-06-05 | 11 | 16 | 10 | 9.977 | 330 | 10 | 11.4 | 6.3 | 0.28868 | 0.032264 | 1.8095
| 160 | P4 | 2011-06-05 | 12 | 16 | 5 | 4.643 | 330 | 10 | 9.74 | 5.34 | 0.24905 | 0.022981 | 1.824
| 161 | P4 | 2011-06-05 | 13 | 16 | 0 | 1.659 | 330 | 10 | [6 empty] | Closed in air, no water
| 165 | P5 | 2011-06-05 | 1 | 17 | Max | 55.196 | 330 | 10 | 39.6 | 16.4 | 1.3132 | -0.47773 | 2.4146
| 166 | P5 | 2011-06-05 | 2 | 17 | 5 | 5.179 | 330 | 10 | 30.3 | 14.2 | 0.91131 | -0.18792 | 2.1338
| 167 | P6 | 2011-06-05 | 1 | 18 | Max | 45.239 | 330 | 10 | 46.4 | 27.2 | 1.0868 | 0.29887 | 1.7059
| 168 | P6 | 2011-06-05 | 2 | 18 | 5 | 4.611 | 330 | 10 | 19.6 | 10.7 | 0.50377 | 0.04132 | 1.8318
| Loop | P6 | 2011-06-05 |  |  |  |  | 330 | 10 | 17.6 | 9.88 | 0.43698 | 0.066339 | 1.7814
| 169 | P7 | 2011-06-06 | 1 | 19 | Max | 41.449 | 330 | 10 | 37.6 | 22.4 | 0.86037 | 0.28075 | 1.6786
| 170 | P7 | 2011-06-06 | 2 | 19 | 5 | 4.899 | 330 | 10 | 16.9 | 9.58 | 0.41434 | 0.073698 | 1.7641
| 184 | P8 | 2011-06-06 | 14 | 21 | 100 | 100.571 | 330 | 10 | 3.45 | 2.59 | 0.048679 | 0.083264 | 1.332
| 185 | P8 | 2011-06-06 | 15 | 21 | 75 | 74.544 | 330 | 10 | 11.7 | 7.73 | 0.22472 | 0.16907 | 1.5136
| 186 | P8 | 2011-06-06 | 16 | 21 | 50 | 50.879 | 330 | 10 | [6 empty] | No sample?
| 187 | P8 | 2011-06-06 | 17 | 21 | 25 | 44.677 | 330 | 10 | 28.1 | 17.3 | 0.61132 | 0.27 | 1.6243
| 188 | P8 | 2011-06-06 | 18 | 21 | 10 | 11.156 | 330 | 10 | 9.99 | 5.68 | 0.24396 | 0.045396 | 1.7588
| 188 | P8 | 2011-06-06 | 18 | 21 | 10 | 11.156 | 330 | 10 | 9.87 | 5.58 | 0.24283 | 0.041434 | 1.7688
| 189 | P8 | 2011-06-06 | 19 | 21 | 5 | 24.962 | 330 | 10 | 14.5 | 8.5 | 0.33962 | 0.093396 | 1.7059
| 193 | P9 | 2011-06-06 | 1 | 22 | Max | 61.019 | 330 | 10 | 10.9 | 6.04 | 0.27509 | 0.032604 | 1.8046
| 194 | P9 | 2011-06-06 | 2 | 22 | 5 | 5.549 | 330 | 10 | 21.5 | 13.8 | 0.43585 | 0.26717 | 1.558
| 195 | P10 | 2011-06-06 | 1 | 23 | Max | 41.259 | 330 | 10 | 20.4 | 12.8 | 0.43019 | 0.22189 | 1.5938
| 196 | P10 | 2011-06-06 | 2 | 23 | 5 | 5.159 | 330 | 10 | 13.7 | 7.67 | 0.34132 | 0.049415 | 1.7862
| Loop | P10 | 2011-06-06 |  |  |  |  | 330 | 10 | 16.1 | 9.27 | 0.3866 | 0.085641 | 1.7368
| 197 | P11 | 2011-06-06 | 1 | 24 | Max | 54.216 | 330 | 10 | 23 | 13.3 | 0.54905 | 0.12849 | 1.7293
| 198 | P11 | 2011-06-06 | 2 | 24 | 5 | 4.939 | 330 | 10 | 17.9 | 10.1 | 0.44151 | 0.073018 | 1.7723
| 201 | P12 | 2011-06-06 | 3 | 25 | 100 | 100.253 | 330 | 10 | 17.8 | 11.5 | 0.3566 | 0.22924 | 1.5478
| 202 | P12 | 2011-06-06 | 4 | 25 | 75 | 76.584 | 330 | 10 | 18.803 | 12.091 | 0.37992 | 0.23603 | 1.5551
| 203 | P12 | 2011-06-06 | 5 | 25 | 50 | 49.286 | 330 | 10 | 17.216 | 10.399 | 0.38587 | 0.14389 | 1.6555
| 204 | P12 | 2011-06-06 | 6 | 25 | 40 | 39.607 | 330 | 10 | 16.893 | 10.009 | 0.38966 | 0.12023 | 1.6878
| 205 | P12 | 2011-06-06 | 7 | 25 | 30 | 39.599 | 330 | 10 | 16.266 | 10.643 | 0.31828 | 0.22391 | 1.5283 |  | Closed at wrong depth
| 206 | P12 | 2011-06-06 | 8 | 25 | 25 | 26.016 | 330 | 10 | 13.035 | 6.176 | 0.38824 | -0.073618 | 2.1106
| 206 | P12 | 2011-06-06 | 8 | 25 | 25 | 26.016 | 330 | 10 | 13.472 | 7.783 | 0.32202 | 0.074473 | 1.731
| 207 | P12 | 2011-06-06 | 9 | 25 | 20 | 21.277 | 330 | 10 | 15.299 | 8.623 | 0.37788 | 0.061398 | 1.7742
| 208 | P12 | 2011-06-06 | 10 | 25 | 15 | 15.349 | 330 | 10 | 15.653 | 8.754 | 0.39051 | 0.055449 | 1.7881
| 209 | P12 | 2011-06-06 | 11 | 25 | 10 | 11.541 | 330 | 10 | 16.25 | 9.048 | 0.40766 | 0.053275 | 1.796
| 210 | P12 | 2011-06-06 | 12 | 25 | 5 | 5.75 | 330 | 10 | 15.73 | 8.833 | 0.39039 | 0.059586 | 1.7808
| 211 | P12 | 2011-06-06 | 13 | 25 | 0 | 2.173 | 330 | 10 | 15.864 | 8.968 | 0.39034 | 0.06652 | 1.769
| 293 | P13 | 2011-06-07 | 1 | 35 | Max | 40.968 | 330 | 10 | 14.343 | 8.159 | 0.35004 | 0.065609 | 1.7579
| 294 | P13 | 2011-06-07 | 2 | 35 | 5 | 5.645 | 330 | 10 | 7.96 | 4.49 | 0.19641 | 0.032321 | 1.7728
| 295 | P14 | 2011-06-07 | 2 | 36 | Max | 51.21 | 330 | 10 | 21.739 | 12.869 | 0.50207 | 0.15351 | 1.6893
| 296 | P14 | 2011-06-07 | 3 | 36 | 5 | 5.505 | 330 | 10 | 15.082 | 8.44 | 0.37596 | 0.054 | 1.787
| Loop 2 | Loop 2 | [5 empty] | 330 | 10 | 20.103 | 11.306 | 0.49794 | 0.078022 | 1.7781
| 297 | P15 | 2011-06-08 | 1 | 37 | Max | 50.76 | 330 | 10 | 16.381 | 9.595 | 0.38411 | 0.10469 | 1.7072
| 298 | P15 | 2011-06-08 | 2 | 37 | 5 | 5.454 | 330 | 10 | 14.255 | 7.826 | 0.3639 | 0.034777 | 1.8215
| 380 | P16 | 2011-06-08 | 3 | 48 | 100 | 100.138 | 330 | 10 | 12.457 | 8.131 | 0.24487 | 0.16935 | 1.532
| 381 | P16 | 2011-06-08 | 4 | 48 | 75 | 74.832 | 330 | 10 | 14.095 | 8.459 | 0.31902 | 0.11191 | 1.6663
| 382 | P16 | 2011-06-08 | 5 | 48 | 50 | 50.758 | 330 | 10 | 13.335 | 7.804 | 0.31307 | 0.084486 | 1.7087
| 383 | P16 | 2011-06-08 | 6 | 48 | 40 | 39.516 | 330 | 10 | 14.452 | 8.395 | 0.34285 | 0.08482 | 1.7215
| 384 | P16 | 2011-06-08 | 7 | 48 | 30 | 30.367 | 330 | 10 | 10.87 | 6.193 | 0.26473 | 0.050756 | 1.7552
| 384 | P16 | 2011-06-08 | 7 | 48 | 30 | 30.367 | 330 | 10 | 11.085 | 6.247 | 0.27385 | 0.044394 | 1.7745
| 385 | P16 | 2011-06-08 | 8 | 48 | 25 | 24.488 | 330 | 10 | 9.763 | 5.508 | 0.24085 | 0.039747 | 1.7725
| 386 | P16 | 2011-06-08 | 9 | 48 | 20 | 19.436 | 330 | 10 | 10.601 | 5.92 | 0.26496 | 0.036622 | 1.7907
| 387 | P16 | 2011-06-08 | 10 | 48 | 15 | 15.053 | 330 | 10 | 9.858 | 5.503 | 0.24651 | 0.033832 | 1.7914
| 388 | P16 | 2011-06-08 | 11 | 48 | 10 | 9.733 | 330 | 10 | 10.476 | 5.875 | 0.26043 | 0.038858 | 1.7831
| 389 | P16 | 2011-06-08 | 12 | 48 | 50 | 4.948 | 330 | 10 | 9.789 | 5.451 | 0.24555 | 0.032145 | 1.7958
| 390 | P16 | 2011-06-08 | 13 | 48 | 0 | 1.991 | 330 | 10 | 11.409 | 6.444 | 0.28104 | 0.047241 | 1.7705
| 394 | P17 | 2011-06-08 | 1 | 49 | Max | 60.853 | 330 | 10 | 21.226 | 12.803 | 0.47677 | 0.17545 | 1.6579
| 395 | P17 | 2011-06-08 | 2 | 49 | 5 | 5.983 | 330 | 10 | 12.949 | 7.079 | 0.33226 | 0.028364 | 1.8292
| 396 | P18 | 2011-06-09 | 1 | 50 | Max | 25.493 | 330 | 10 | 9.515 | 5.389 | 0.23355 | 0.040986 | 1.7656
| 397 | P18 | 2011-06-09 | 2 | 50 | 5 | 4.935 | 330 | 10 | 11.187 | 6.219 | 0.28121 | 0.035609 | 1.7988
| 398 | P19 | 2011-06-09 | 1 | 51 | Max | 4.922 | 330 | 10 | [6 empty] | Niskin didn't close
| 399 | P19 | 2011-06-09 | 2 | 51 | 5 | 40.197 | 330 | 10 | 12.892 | 7.21 | 0.32162 | 0.045679 | 1.7881
| 457 | P20 | 2011-06-09 | 3 | 60 | 100 | 99.923 | 330 | 10 | 5.201 | 3.427 | 0.10041 | 0.074167 | 1.5177
| 458 | P20 | 2011-06-09 | 4 | 60 | 75 | 75.092 | 330 | 10 | 13.598 | 8.99 | 0.26083 | 0.19715 | 1.5126
| 459 | P20 | 2011-06-09 | 5 | 60 | 50 | 50.359 | 330 | 10 | 24.479 | 14.517 | 0.56388 | 0.17566 | 1.6862
| 460 | P20 | 2011-06-09 | 6 | 60 | 40 | 39.707 | 330 | 10 | 19.567 | 11.599 | 0.45102 | 0.13987 | 1.687
| 461 | P20 | 2011-06-09 | 7 | 60 | 30 | 30.534 | 330 | 10 | 16.012 | 9.254 | 0.38253 | 0.088901 | 1.7303
| 462 | P20 | 2011-06-09 | 8 | 60 | 25 | 25.2 | 330 | 10 | 14.98 | 8.589 | 0.36175 | 0.075798 | 1.7441
| 463 | P20 | 2011-06-09 | 9 | 60 | 20 | 20.132 | 330 | 10 | 13.124 | 7.42 | 0.32287 | 0.055132 | 1.7687
| 463 | P20 | 2011-06-09 | 9 | 60 | 20 | 20.132 | 330 | 10 | 13.259 | 7.504 | 0.32575 | 0.056524 | 1.7669
| 464 | P20 | 2011-06-09 | 10 | 60 | 15 | 15.015 | 330 | 10 | 12.277 | 6.806 | 0.30968 | 0.037041 | 1.8038
| 465 | P20 | 2011-06-09 | 11 | 60 | 10 | 9.957 | 330 | 10 | 10.29 | 5.662 | 0.26196 | 0.026479 | 1.8174
| 466 | P20 | 2011-06-09 | 12 | 60 | 5 | 5.451 | 330 | 10 | 9.924 | 5.65 | 0.24192 | 0.045905 | 1.7565
| 467 | P20 | 2011-06-09 | 13 | 60 | 0 | 1.727 | 330 | 10 | 9.752 | 5.311 | 0.25138 | 0.019183 | 1.8362
2011-06-18 | 495 | P21 | 2011-06-10 | 1 | 65 | Max | 39.824 | 330 | 10 | 17.745 | 10.329 | 0.41977 | 0.10642 | 1.718
| 496 | P21 | 2011-06-10 | 2 | 65 | 5 | 5.115 | 330 | 10 | 13.875 | 7.762 | 0.34602 | 0.049403 | 1.7876
| 497 | P22 | 2011-06-10 | 1 | 66 | Max | 5.025 | 330 | 10 | 12.878 | 7.781 | 0.28851 | 0.10788 | 1.6551 |  | checks out with fluor trace
From here down: not sure at all …
| 498 | P22 | 2011-06-10 | 2 | 66 | 5 | 60.598 | 330 | 10 | 8.108 | 4.497 | 0.20439 | 0.024696 | 1.803 |  | checks out with fluor trace
| 521 | P23 | 2011-06-10 | 23 | 67 | Max | 77.656 | 330 | 10 | [6 empty] | Did not close
| 522 | P23 | 2011-06-10 | 24 | 67 | 5 | 4.876 | 330 | 10 | 7.552 | 4.193 | 0.19013 | 0.023473 | 1.8011
| 523 | P24 | 2011-06-11 | 1 | 68 | Max | 50.459 | 330 | 10 | 21.626 | 13.742 | 0.44626 | 0.2538 | 1.5737 |  | checks out with fluor trace
| 524 | P24 | 2011-06-11 | 2 | 68 | 5 | 4.981 | 330 | 10 | 10.622 | 6.015 | 0.26077 | 0.045651 | 1.7659
| 526 | P25 | 2011-06-11 | 1 | 69 | Max | 45.602 | 330 | 10 | 27.224 | 15.806 | 0.6463 | 0.15891 | 1.7224 |  | checks out with fluor trace
| 527 | P25 | 2011-06-11 | 2 | 69 | 5 | 5.752 | 330 | 10 | 12.067 | 6.604 | 0.30922 | 0.027204 | 1.8272
| 528 | P35 | 2011-06-11 | 1 | 70 | Max | 44.608 | 330 | 10 | 26.15 | 15.497 | 0.603 | 0.18647 | 1.6874
| 529 | P35 | 2011-06-11 | 2 | 70 | 5 | 5.576 | 330 | 10 | 11.238 | 2.825 | 0.4762 | -0.33229 | 3.9781 |  | too weird - Fa reading too low
| 657 | P26 | 2011-06-12 | 3 | 84 | 100 | 99.977 | 330 | 10 | [6 empty] | looks like reading lost in between
| 658 | P26 | 2011-06-12 | 4 | 84 | 75 | 75.484 | 330 | 10 | 8.275 | 5.292 | 0.16885 | 0.10074 | 1.5637
| 659 | P26 | 2011-06-12 | 5 | 84 | 50 | 49.516 | 330 | 10 | 18.311 | 11.468 | 0.38734 | 0.19688 | 1.5967
| 660 | P26 | 2011-06-12 | 6 | 84 | 40 | 39.38 | 330 | 10 | 28.977 | 16.962 | 0.68009 | 0.18401 | 1.7083
| 661 | P26 | 2011-06-12 | 7 | 84 | 30 | 30.536 | 330 | 10 | 28.975 | 16.988 | 0.6785 | 0.18692 | 1.7056
| 662 | P26 | 2011-06-12 | 8 | 84 | 25 | 24.648 | 330 | 10 | 15.119 | 8.623 | 0.3677 | 0.071586 | 1.7533
| 663 | P26 | 2011-06-12 | 9 | 84 | 20 | 20.415 | 330 | 10 | 15.12 | 8.459 | 0.37704 | 0.053892 | 1.7874
| 664 | P26 | 2011-06-12 | 10 | 84 | 15 | 15.546 | 330 | 10 | 14.721 | 8.252 | 0.36617 | 0.054215 | 1.7839
| 665 | P26 | 2011-06-12 | 11 | 84 | 10 | 10.642 | 330 | 10 | 15.355 | 8.595 | 0.38264 | 0.055217 | 1.7865
| 665 | P26 | 2011-06-12 | 11 | 84 | 10 | 10.642 | 330 | 10 | 16.047 | 8.979 | 0.40007 | 0.057345 | 1.7872
| 666 | P26 | 2011-06-12 | 12 | 84 | 5 | 4.43 | 330 | 10 | 14.391 | 8.189 | 0.35105 | 0.066118 | 1.7574
| 667 | P26 | 2011-06-12 | 13 | 84 | 0 | 1.837 | 330 | 10 | 16.086 | 9.104 | 0.3952 | 0.068581 | 1.7669
| 705 | Argos | 2011-06-14 | 1 | 97 | Max | 38.862 | 330 | 10 | 13.976 | 8.524 | 0.3086 | 0.12564 | 1.6396 |  | checks out with fluor trace
| 706 | Argos | 2011-06-14 | 2 | 97 | 5 | 4.82 | 330 | 10 | 12.071 | 6.656 | 0.30651 | 0.03257 | 1.8136
| 766 | Eddy | 2011-06-16 | 13 | 104 | 100 | 98.507 | 330 | 10 | 8.195 | 5.426 | 0.15673 | 0.11968 | 1.5103 |  | checks out with fluor trace
| 767 | Eddy | 2011-06-16 | 14 | 104 | 75 | 75.152 | 330 | 10 | 15.019 | 9.417 | 0.31709 | 0.16264 | 1.5949
| 768 | Eddy | 2011-06-16 | 15 | 104 | 50 | 48.319 | 330 | 10 | 14.832 | 8.848 | 0.33871 | 0.11203 | 1.6763
| 769 | Eddy | 2011-06-16 | 16 | 104 | 25 | 24.255 | 330 | 10 | 9.4 | 5.328 | 0.23049 | 0.040936 | 1.7643
| 769 | Eddy | 2011-06-16 | 16 | 104 | 25 | 24.255 | 330 | 10 | 9.701 | 5.436 | 0.24141 | 0.035513 | 1.7846
| 770 | Eddy | 2011-06-16 | 17 | 104 | 10 | 9.921 | 330 | 10 | 9.781 | 5.465 | 0.2443 | 0.034104 | 1.7898
| 771 | Eddy | 2011-06-16 | 18 | 104 | 5 | 5.13 | 330 | 10 | 9.1 | 5.061 | 0.22862 | 0.029202 | 1.7981
[11 empty] | 126 | chl samples analyzed
125

## Std & blanks
Cruise: 2011-26 June LineP, Marie Robert
Date Analyzed | Measurement | Blank | Low | High | Stand-by
2011-06-16 | before | 0 | 12.9 | 70.6 | 0 | Example only
2011-06-16 | after | 0.045 | 13 | 71.979
2011-06-16 | after,after | -0.015 | 12.999 | 71.624
2011-06-17 | before | -0.005 | 12.81 | 71.446
2011-06-17 | after | -0.011 | 13.084 | 70.685
2011-06-18 | before | 0.009 | 13.4 | 72.769
2011-06-18 | after

## Method
Cruise: 2011-26 June LineP, Marie Robert
Chlorophyll and phaeo-pigment analysis at IOS
A detailed description of chlorophyll sampling is found on the Water Properties Website:
http://www.waterproperties.ca/standards/Chlorophyll_sampling_12Feb2010.pdf
The following is a brief outline of chlorophyll sampling.
Chlorophyll and phaeo-pigment samples are collected in calibrated polycarbonate
bottles (~330ml) and filtered onto 25mm MFS GF/75 filters at <70mmHg vacuum.
The filters are placed in glass scintillation vials and frozen immediately at -20ºC until analysis.
The chlorophyll and phaeo-pigment is extracted in 10 ml of 90% acetone for 24 h at -20ºC.
The extract is brought to room temperature in the dark for one hour before being measured.
The sample is measured twice on the fluorometer: before and after acidification with 2 drops of 1.2 M HCl.
The Turner Model 10 AU fluorometer is calibrated annually using commercially available
pure chlorophyll a.
Chlorophyll samples were analyzed on board ship in a controlled temperature lab.
Chlorophyll and phaeo-pigment precision was determined by analyzing replicate samples drawn
from one Niskin.
For details see worksheet "Precision" in file QF20xx.xxchl.xls

## Flags
Cruise: 2011-26 June LineP, Marie Robert
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Chlorophyll IOS Quality Flags
Flag | Value Definition
1 | Sample was collected but not filtered (it was forgotten)
3 | Chlorophyll sample sat in the fridge >12 hours prior to filtration; variability of reps > 15%;
filter was stuck to side of vial and only half submerged in acetone after extraction; suspected
misfire/mis-sample as sample doesn’t fit profile
4 | Known problem with analysis; chl filter was askew; filtration volume uncertain due to large
spill; chl sample took >1 hour to filter; known dilution problem
5 | Forgot to acidify chl sample; sample holder turned so that no light getting into fluorometer;
value clearly unreasonable
9 | Planning to sample but for some reason sample not drawn for this measurement
from this bottle: niskin did not close, no water left in niskin, niskin emptied before sampling