File List for SeaBird Data          Cruise Number: _2011-27____

[osdcommon\cruise_data\2011-27\ARCHIVE]

[osdcommon\cruise_data\2011-27\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2011-27\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2011-27\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2011-27\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2011-27\ARCHIVE\LOOP] loop file

[osdcommon\cruise_data\2011-27\ARCHIVE\TSG] TSG files

[osdcommon\cruise_data\2011-27\PROCESSING]

[osdcommon\cruise_data\2011-27\PROCESSING\Angelica] files for use of A. Peña

[osdcommon\cruise_data\2011-27\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2011-27\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2011-27\PROCESSING\DO test] special versions of BOT, ROS, SAMAVG

[osdcommon\cruise_data\2011-27\PROCESSING\DOC]

2011-27-recal.ccf – calibration control file for all CTD and CHE files

2011-27-ctd.xmlcon – configuration files used in conversion for DO test

2011-27-ctd-new.xmlcon – configuration files with new DO calibration parameters

2011-27_file.doc - this document

2011-27_proc.doc - processing notes

2011-27-ctd-final.rpt – CHE file header check including channel summary

2011-27-ctd-altimeter.csv – report on header entries for altimetry

*hdr.txt – header files with comments for TSG, CTD and CHE files

[osdcommon\cruise_data\2011-27\PROCESSING\DOC\hydro]

2011-27-che-altimeter-bot.csv – report on header entries for altimetry from bottle files

2011-27-che-final.rpt – CTD file header check including channel summary

2011-27chl.csv – extracted chlorophyll data simplified from analyst’s s/s

2011-27dms.csv – edited version of DMS spreadsheet

2011-27nuts.csv – nutrients simplified from analyst’s s/s

2011-27oxy.csv – nutrients simplified from analyst’s s/s

2011-27sal-Nov.csv – salinity from Autosal analysis in November, simplified from analyst’s s/s

2011-27-fl-chl-comp1.csv & .xls – comparison of extracted CHL and CTD Fluorescence

2011-27-do-cal-study.xls – initial DO calibration data and plots

2011-27-dox-comp1.csv & .xls – comparison of titrated DO & CTD DO after initial calib.

2011-27-dox-comp2.csv & .xls - comparison of titrated DO and downcast CTD DO

2011-27-dox-comp3.csv & .xls – comparison of titrated DO and downcast CTD DO after 2nd recal

2011-27-sal-comp-Nov.csv & xls –salinity COMPARE file using only November analysis data

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2011-27-bottles-final.xls – summary of bottle data in CHE files

[osdcommon\cruise_data\2011-27\PROCESSING\DOC\hydro\January Salinity]

*.sal – salinity data from January analysis only

2011-27-sal-comp1-Jan.csv & xls – comparison of bottles (Jan only) & CTD salinity

2011-27sal-Jan.csv – January salinity spreadsheet adapted from analyst’s s/s

[osdcommon\cruise_data\2011-27\PROCESSING\DOC\tsg]

2011-27-tsg-recal1.ccf – calibration control file for recalibration of all TSG files

2011-27-loop.xls – all loop data

2011-27-TSG-rosette-loop-comp.xls – comparison of CTD & rosette & loops & TSG data

2011-27-tsg.xmlcon – configuration file for conversion of TSG HEX files.

2011-27-tsg-hdr.txt – header text file

[osdcommon\cruise_data\2011-27\PROCESSING\HYDRO]

*.bot* -*.ros files converted to IOS HEADERS + added event numbers; 2nd run pad values for bad data

*.bot* - separate files for split casts before combining in BOT files.

*.che – final bottle-averaged rosette files merged with chemistry data

*.chl – extracted chlorophyll data converted from simplified version of spreadsheet

*.dms – DMS files converted from simplified version of analyst’s spreadsheet

*.log – log files for the editing of 2 files

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – bottle from analyst after editing, formats fixed

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2011-27\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS

*.ctd - final files

*.del – after DELETE

*.del* - DEL files for split casts before merge

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log* - log files created by CTDEDIT

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2011-27\PROCESSING\Loop] 5m rosette plus loop data

2011-27-loop.csv – loop sample data

2011-27-che-surface.csv – rosette data

2011-27-che-surface-6linehdr.csv – combination of above 2 adapted for conversion to IOS Header format

2011-27-0001.ios – IOS Header version before some corrections

*.txt – header comments

2011-27-surface.loop – final file

[osdcommon\cruise_data\2011-27\PROCESSING\TM]

*.che – trace metal CTD rosette files with nutrient data added

*.che2 – rosette files from trace metal CTD casts

2011-25-tm-nuts.csv – nutrient data from trace metal CTD casts

*.nut – individual nutrient files from trace metal CTD casts

[osdcommon\cruise_data\2011-27\PROCESSING\TSG\]

*.cnv – converted TSG files

*.csv – files used to combine SCS files with TSG files to fix positions

*.xls – data from chief scientist with SCS matched to TSG

[osdcommon\cruise_data\2011-27\PROCESSING\TSG\IOS] after conversion to IOS SHELL

*.atc – after adding time/date channel; not needed for files 4 and 5

*.cln – files after start and end times and positions added; input for editing for files 4 and 5

*.ed1– after editing using CTDEDIT

*.ios – after conversion to IOS HEADERS

*.log – log files from editing

*.tob – final TSG files

______________________________________________________________________________

[osdcommon\cruise_data\2012-01\RAW]

[osdcommon\cruise_data\2012-01\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2012-01\RAW\Cruise files] cruise documents

[osdcommon\cruise_data\2012-01\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2012-01\RAW\SCS files] ship’s positions for part of cruise

[osdcommon\cruise_data\2012-01\RAW\TMR] rosette data from Trace Metal CTD

[osdcommon\cruise_data\2012-01\RAW\TSG files] raw TSG data