## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 11 | 21 | 2011-27-0001.mrgcln2 & 2011-27-0001.thn1
2 | 2011-27-0002.mrgcln2 | 2011-27-0002.thn1 | 23 | 23 | 2011-27-0002.mrgcln2 & 2011-27-0002.thn1
3 | 2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 25 | 32 | 2011-27-0004.mrgcln2 & 2011-27-0004.thn1
4 | 2011-27-0009.mrgcln2 | 2011-27-0009.thn1 | 34 | 34 | 2011-27-0009.mrgcln2 & 2011-27-0009.thn1
5 | 2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 36 | 51 | 2011-27-0012.mrgcln2 & 2011-27-0012.thn1
6 | 2011-27-0019.mrgcln2 | 2011-27-0019.thn1 | 53 | 53 | 2011-27-0019.mrgcln2 & 2011-27-0019.thn1
7 | 2011-27-0021.mrgcln2 | 2011-27-0021.thn1 | 55 | 55 | 2011-27-0021.mrgcln2 & 2011-27-0021.thn1
8 | 2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 57 | 76 | 2011-27-0024.mrgcln2 & 2011-27-0024.thn1
9 | 2011-27-0026.mrgcln2 | 2011-27-0026.thn1 | 78 | 78 | 2011-27-0026.mrgcln2 & 2011-27-0026.thn1
10 | 2011-27-0028.mrgcln2 | 2011-27-0028.thn1 | 80 | 80 | 2011-27-0028.mrgcln2 & 2011-27-0028.thn1
11 | 2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 82 | 105 | 2011-27-0031.mrgcln2 & 2011-27-0031.thn1
12 | 2011-27-0037.mrgcln2 | 2011-27-0037.thn1 | 107 | 107 | 2011-27-0037.mrgcln2 & 2011-27-0037.thn1
13 | 2011-27-0040.mrgcln2 | 2011-27-0040.thn1 | 109 | 109 | 2011-27-0040.mrgcln2 & 2011-27-0040.thn1
14 | 2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 111 | 134 | 2011-27-0042.mrgcln2 & 2011-27-0042.thn1
15 | 2011-27-0049.mrgcln2 | 2011-27-0049.thn1 | 136 | 136 | 2011-27-0049.mrgcln2 & 2011-27-0049.thn1
16 | 2011-27-0052.mrgcln2 | 2011-27-0052.thn1 | 138 | 138 | 2011-27-0052.mrgcln2 & 2011-27-0052.thn1
17 | 2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 140 | 163 | 2011-27-0057.mrgcln2 & 2011-27-0057.thn1
18 | 2011-27-0060.mrgcln2 | 2011-27-0060.thn1 | 165 | 165 | 2011-27-0060.mrgcln2 & 2011-27-0060.thn1
19 | 2011-27-0062.mrgcln2 | 2011-27-0062.thn1 | 167 | 167 | 2011-27-0062.mrgcln2 & 2011-27-0062.thn1
20 | 2011-27-0065.mrgcln2 | 2011-27-0065.thn1 | 169 | 169 | 2011-27-0065.mrgcln2 & 2011-27-0065.thn1
21 | 2011-27-0066.mrgcln2 | 2011-27-0066.thn1 | 171 | 171 | 2011-27-0066.mrgcln2 & 2011-27-0066.thn1
22 | 2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 173 | 196 | 2011-27-0070.mrgcln2 & 2011-27-0070.thn1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.099173 |  | X | CALC Y
m= | -0.0032948 | 0.0011102 |  | Std Dev of Resid |  | 0.024759 |  | 0.244 | 0.029774
b= | 0.030578 | 0.0044505 |  | Resid Sum of Squares |  | 0.04904 |  | 6.9527 | 0.0076703
# of Values Extracted = |  |  | 165
# of Values Used in Fit = |  |  | 82
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 215.464 | 0.11 | 0 | 0.11 | 0.030216 | -0.079784 |  | 6.894 | -0.035
1 | NO | 199.667 | 0.116 | 0.001 | 0.116 | 0.030196 | -0.085804 |  | 4.5605 | 0.0255
1 | NO | 175.991 | 0.1255 | 0.0021213 | 0.1255 | 0.030164 | -0.095336 |  | 4.5605 | 0.0505
1 | NO | 149.995 | 0.149 | 0 | 0.079 | 0.030087 | -0.048913 |  | 5.68 | 0.021
1 | NO | 125.999 | 0.6225 | 0.006364 | -0.0085 | 0.028527 | 0.037027 |  | 0.422 | 0.00099999
1 | NO | 99.998 | 1.14 | 0 | 0.199 | 0.026822 | -0.17218 |  | 0.2635 | 0.0185
1 | NO | 74.001 | 1.3985 | 0.15344 | 0.2275 | 0.02597 | -0.20153 |  | 0.434 | 0.026
1 | NO | 50.5003 | 3.141 | 0.037193 | 0.146 | 0.020229 | -0.12577 |  | 1.1605 | 0.0675
1 | NO | 25.66 | 3.641 | 0.035791 | 0.184 | 0.018582 | -0.16542 |  | 1.93 | 0.072
1 | NO | 10.997 | 4.4867 | 0.050649 | 0.36467 | 0.015795 | -0.34887 |  | 3.7485 | 0.0075002
1 | NO | 4.9997 | 5.5793 | 0.19373 | 0.50133 | 0.012195 | -0.48914 |  | 6.6775 | 0.0355
2 | YES | 4.9957 | 6.894 | 0.097247 | -0.035 | 0.0078636 | 0.042863 |  | 5.8833 | 0.026333
3 | NO | 104.786 | 2.0843 | 0.40335 | 0.25633 | 0.02371 | -0.23262 |  | 6.0067 | 0.0086665
3 | NO | 99.0085 | 3.563 | 0.093338 | 0.171 | 0.018839 | -0.15216 |  | 1.3205 | 0.0295
3 | YES | 73.9965 | 4.5605 | 0.17466 | 0.0255 | 0.015552 | -0.0099483 |  | 0.3825 | -0.0045
3 | YES | 73.9965 | 4.5605 | 0.17466 | 0.0505 | 0.015552 | -0.034948 |  | 0.244 | 0.007
3 | YES | 50.4955 | 5.68 | 0.024859 | 0.021 | 0.011863 | -0.0091364 |  | 0.2515 | 0.0185
3 | NO | 25.6697 | 4.8243 | 0.4301 | 0.43133 | 0.014683 | -0.41665 |  | 0.489 | 0.021
3 | NO | 11.0087 | 6.4623 | 0.075659 | -0.11567 | 0.0092859 | 0.12495 |  | 1.2015 | 0.0455
3 | NO | 5.0007 | 6.357 | 0.014731 | -0.081 | 0.0096329 | 0.090633 |  | 1.6265 | 0.0815
4 | NO | 4.9963 | 6.8137 | 0.030353 | -0.52533 | 0.0081283 | 0.53346 |  | 1.7755 | 0.0185
5 | NO | 1315.76 | 0.535 | 0 | -0.016 | 0.028815 | 0.044815 |  | 2.222 | 0.058
5 | YES | 1251 | 0.422 | 0 | 0.00099999 | 0.029188 | 0.028188 |  | 2.2525 | 0.0665
5 | NO | 1251 | 0.422 | 0 | 0.012 | 0.029188 | 0.017188 |  | 2.479 | 0.021
5 | YES | 1000.99 | 0.2635 | 0.0021213 | 0.0185 | 0.02971 | 0.01121 |  | 5.924 | 0.0059996
5 | YES | 601.003 | 0.434 | 0.0070711 | 0.026 | 0.029148 | 0.003148 |  | 5.8307 | -0.030333
5 | YES | 401.011 | 1.1605 | 0.0049498 | 0.0675 | 0.026754 | -0.040746 |  | 6.1223 | 0.010334
5 | YES | 301 | 1.93 | 0.0084853 | 0.072 | 0.024219 | -0.047781 |  | 2.211 | -0.015
5 | NO | 200.497 | 3.0115 | 0.0077781 | 0.1265 | 0.020656 | -0.10584 |  | 1.854 | 0.007
5 | NO | 150.002 | 3.464 | 0 | 0.114 | 0.019165 | -0.094835 |  | 1.4655 | 0.0545
5 | YES | 126.012 | 3.7485 | 0.041719 | 0.0075002 | 0.018227 | 0.010727 |  | 0.709 | 0.011
5 | NO | 99.994 | 4.955 | 0 | -0.055 | 0.014252 | 0.069253 |  | 0.4155 | 0.0165
5 | NO | 76.0085 | 6.152 | 0.02687 | -0.198 | 0.010308 | 0.20831 |  | 0.2985 | 0.0325
5 | YES | 50.4977 | 6.6775 | 0.030784 | 0.0355 | 0.0085769 | -0.026923 |  | 0.2675 | 0.0525
5 | NO | 25.002 | 5.989 | 0.041012 | -0.4 | 0.010845 | 0.41085 |  | 0.3935 | 0.0825
5 | NO | 11 | 5.83 | 0.013857 | -0.042 | 0.011369 | 0.05337 |  | 3.601 | 0.025
5 | YES | 4.9977 | 5.8833 | 0.012897 | 0.026333 | 0.011194 | -0.01514 |  | 4.586 | 0.07
6 | YES | 4.9957 | 6.0067 | 0.027062 | 0.0086665 | 0.010787 | 0.0021207 |  | 6.9527 | 0.0066667
7 | NO | 5.0033 | 5.852 | 0.014731 | -0.064 | 0.011297 | 0.075296 |  | 6.0407 | -0.0033336
8 | YES | 2000.99 | 1.3205 | 0.0021213 | 0.0295 | 0.026227 | -0.0032728 |  | 6.0067 | 0.0046668
8 | NO | 1498.99 | 0.6035 | 0.0007071 | -0.0955 | 0.02859 | 0.12409 |  | 6.0417 | 0.022667
8 | YES | 1248.98 | 0.3825 | 0.0021213 | -0.0045 | 0.029318 | 0.033818 |  | 6.1117 | 0.011667
8 | YES | 998.995 | 0.244 | 0.0028284 | 0.007 | 0.029774 | 0.022774 |  | 2.693 | -0.00099993
8 | YES | 799.006 | 0.2515 | 0.00070712 | 0.0185 | 0.029749 | 0.011249 |  | 2.4115 | -0.0155
8 | YES | 600.999 | 0.489 | 0.0028284 | 0.021 | 0.028967 | 0.0079668 |  | 1.948 | 0.013
8 | NO | 0 | 0 | 0 | -0.759 | 0.030578 | 0.78958 |  | 1.3015 | 0.0065001
8 | YES | 400.99 | 1.2015 | 0.012021 | 0.0455 | 0.026619 | -0.018881 |  | 0.594 | 0.059
8 | YES | 301 | 1.6265 | 0.0077781 | 0.0815 | 0.025219 | -0.056281 |  | 0.3415 | 0.0235
8 | YES | 248.997 | 1.7755 | 0.02192 | 0.0185 | 0.024728 | 0.0062279 |  | 0.3055 | 0.0195
8 | YES | 199.664 | 2.222 | 0.0017321 | 0.058 | 0.023257 | -0.034743 |  | 0.417 | 0.049
8 | YES | 175.999 | 2.2525 | 0.0021213 | 0.0665 | 0.023156 | -0.043343 |  | 0.605 | 0.044
8 | NO | 149.02 | 2.275 | 0.0028284 | 0.093 | 0.023082 | -0.069918 |  | 1.4695 | 0.0155
8 | NO | 126.001 | 2.294 | 0.0042427 | 0.105 | 0.02302 | -0.08198 |  | 4.152 | 0.025
8 | YES | 98.9985 | 2.479 | 0.02687 | 0.021 | 0.02241 | 0.00141 |  | 4.423 | -0.0099997
8 | NO | 73.9945 | 3.6065 | 0.17183 | -1.0345 | 0.018695 | 1.0532 |  | 5.405 | -0.0059996
8 | NO | 50.5037 | 6.369 | 0.013038 | 0.07 | 0.0095934 | -0.060407 |  | 6.8135 | -0.0155
8 | NO | 25.003 | 7.39 | 0.21779 | 0.442 | 0.0062294 | -0.43577 |  | 6.1623 | 0.030333
8 | YES | 11.001 | 5.924 | 0.01735 | 0.0059996 | 0.01106 | 0.00506 |  | 6.135 | 0.014
8 | YES | 4.9927 | 5.8307 | 0.060995 | -0.030333 | 0.011367 | 0.041701 |  | 6.138 | 0.027
9 | NO | 4.4013 | 5.8617 | 0.013074 | -0.03325 | 0.011265 | 0.044515 |  | 6.1723 | 0.036333
10 | YES | 5.002 | 6.1223 | 0.01365 | 0.010334 | 0.010406 | 7.2595e-05 |  | 2.8355 | -0.0135
11 | NO | 3270.5 | 2.256 | 0 | -0.032 | 0.023145 | 0.055145 |  | 1.279 | -0.011
11 | YES | 3000 | 2.211 | 0.0060827 | -0.015 | 0.023293 | 0.038293 |  | 0.6005 | 0.0185
11 | NO | 2999.01 | 2.2145 | 0.00070706 | -0.6135 | 0.023282 | 0.63678 |  | 0.3845 | 0.0335
11 | YES | 2498.99 | 1.854 | 0.0028284 | 0.007 | 0.024469 | 0.017469 |  | 0.3565 | 0.0135
11 | YES | 1998.99 | 1.4655 | 0.0021213 | 0.0545 | 0.025749 | -0.028751 |  | 0.426 | 0.022
11 | YES | 1499.01 | 0.709 | 0.0028284 | 0.011 | 0.028242 | 0.017242 |  | 0.637 | 0.062
11 | YES | 1251 | 0.4155 | 0.0049498 | 0.0165 | 0.029209 | 0.012709 |  | 5.5053 | 0.056334
11 | YES | 1000.99 | 0.2985 | 0.0035355 | 0.0325 | 0.029594 | -0.0029056 |  | 6.194 | 0.018
11 | YES | 800.99 | 0.2675 | 0.00070712 | 0.0525 | 0.029697 | -0.022803 |  | 6.2113 | 0.050334
11 | YES | 601.005 | 0.3935 | 0.016264 | 0.0825 | 0.029281 | -0.053219 |  | 6.175 | -0.024
11 | NO | 0 | 0 | 0 | -0.536 | 0.030578 | 0.56658 |  | 6.166 | -0.016
11 | NO | 400.987 | 1.0975 | 0.010607 | 0.1475 | 0.026962 | -0.12054 |  | 6.2407 | 0.0056663
11 | NO | 298.993 | 1.9695 | 0.026163 | 0.3535 | 0.024089 | -0.32941 |  | 6.202 | 0
11 | NO | 251.004 | 2.6915 | 0.024749 | 0.2185 | 0.02171 | -0.19679 |  | 3.18 | -0.018
11 | YES | 200.503 | 3.601 | 0.0014143 | 0.025 | 0.018713 | -0.0062865 |  | 0.6525 | 0.0355
11 | NO | 175.004 | 3.9707 | 0.007572 | 0.12667 | 0.017495 | -0.10917 |  | 0.46033 | 0.0083334
11 | NO | 150.01 | 4.226 | 0 | 0.171 | 0.016654 | -0.15435 |  | 0.657 | 0.004
11 | YES | 125.992 | 4.586 | 0.011314 | 0.07 | 0.015468 | -0.054532 |  | 1.612 | 0.031
11 | NO | 100.006 | 4.968 | 0 | -0.075 | 0.014209 | 0.08921 |  | 6.259 | 0.0029998
11 | NO | 73.9995 | 6.068 | 0.12728 | -0.411 | 0.010585 | 0.42159 |  | 6.264 | 0
11 | YES | 51.0023 | 6.9527 | 0.043062 | 0.0066667 | 0.0076703 | 0.0010036 |  | 6.2827 | 0.0066667
11 | NO | 25.6613 | 6.3877 | 0.10394 | -0.35533 | 0.0095319 | 0.36486
11 | YES | 10.9963 | 6.0407 | 0.022143 | -0.0033336 | 0.010675 | 0.014009
11 | YES | 4.9967 | 6.0067 | 0.020429 | 0.0046668 | 0.010787 | 0.0061204
12 | YES | 4.985 | 6.0417 | 0.010066 | 0.022667 | 0.010672 | -0.011995
13 | YES | 4.996 | 6.1117 | 0.0058595 | 0.011667 | 0.010441 | -0.0012256
14 | YES | 3686.27 | 2.693 | 0 | -0.00099993 | 0.021705 | 0.022705
14 | NO | 3501 | 2.6645 | 0.0021212 | -0.0215 | 0.021799 | 0.043299
14 | NO | 3501 | 2.6645 | 0.0021212 | -0.0425 | 0.021799 | 0.064299
14 | YES | 3001.12 | 2.4115 | 0.013435 | -0.0155 | 0.022633 | 0.038133
14 | YES | 2498.87 | 1.948 | 0.0014142 | 0.013 | 0.02416 | 0.01116
14 | YES | 1998.89 | 1.3015 | 0.00070714 | 0.0065001 | 0.02629 | 0.01979
14 | YES | 1500.2 | 0.594 | 0.0026458 | 0.059 | 0.028621 | -0.030379
14 | YES | 1250.99 | 0.3415 | 0.0049498 | 0.0235 | 0.029453 | 0.0059528
14 | YES | 1001.01 | 0.3055 | 0.0007071 | 0.0195 | 0.029571 | 0.010071
14 | YES | 801.11 | 0.417 | 0.0028284 | 0.049 | 0.029204 | -0.019796
14 | YES | 598.985 | 0.605 | 0.0028284 | 0.044 | 0.028585 | -0.015415
14 | YES | 398.953 | 1.4695 | 0.00070714 | 0.0155 | 0.025736 | 0.010236
14 | NO | 301.006 | 2.1465 | 0.026163 | 0.1195 | 0.023506 | -0.095994
14 | NO | 249.995 | 2.4853 | 0.0092916 | -0.027667 | 0.022389 | 0.050056
14 | NO | 200.498 | 3.312 | 0.012728 | -0.263 | 0.019666 | 0.28267
14 | NO | 173.99 | 3.611 | 0.0084853 | -0.336 | 0.01868 | 0.35468
14 | YES | 150.011 | 4.152 | 0 | 0.025 | 0.016898 | -0.0081022
14 | YES | 125.983 | 4.423 | 0.024042 | -0.0099997 | 0.016005 | 0.026005
14 | YES | 99.982 | 5.405 | 0 | -0.0059996 | 0.01277 | 0.018769
14 | YES | 75.996 | 6.8135 | 0.038891 | -0.0155 | 0.0081288 | 0.023629
14 | NO | 50.5105 | 7.1777 | 0.014127 | 0.10075 | 0.0069287 | -0.093821
14 | NO | 24.998 | 6.2785 | 0.2383 | -0.2035 | 0.0098915 | 0.21339
14 | YES | 9.671 | 6.1623 | 0.0032146 | 0.030333 | 0.010274 | -0.020059
14 | YES | 4.998 | 6.135 | 0.012767 | 0.014 | 0.010364 | -0.0036355
15 | YES | 5.001 | 6.138 | 0.016523 | 0.027 | 0.010354 | -0.016646
16 | YES | 4.996 | 6.1723 | 0.0050333 | 0.036333 | 0.010241 | -0.026092
17 | NO | 4024.02 | 2.953 | 0 | -0.035 | 0.020848 | 0.055848
17 | NO | 3501 | 2.8355 | 0.00070706 | -0.0275 | 0.021236 | 0.048735
17 | YES | 3501 | 2.8355 | 0.00070706 | -0.0135 | 0.021236 | 0.034736
17 | NO | 2998.99 | 2.493 | 0.0042427 | -0.019 | 0.022364 | 0.041364
17 | NO | 2499.99 | 1.9423 | 0.0035119 | -0.033667 | 0.024178 | 0.057845
17 | YES | 1999 | 1.279 | 0.012728 | -0.011 | 0.026364 | 0.037364
17 | YES | 1501 | 0.6005 | 0.006364 | 0.0185 | 0.028599 | 0.010099
17 | YES | 1251 | 0.3845 | 0.0007071 | 0.0335 | 0.029311 | -0.0041889
17 | YES | 999.007 | 0.3565 | 0.0077782 | 0.0135 | 0.029403 | 0.015903
17 | YES | 801 | 0.426 | 0.0056569 | 0.022 | 0.029174 | 0.0071744
17 | YES | 601.001 | 0.637 | 0.0014142 | 0.062 | 0.028479 | -0.033521
17 | NO | 399.004 | 1.4495 | 0.0021213 | 0.1965 | 0.025802 | -0.1707
17 | NO | 298.999 | 1.9845 | 0.013435 | 0.1945 | 0.024039 | -0.17046
17 | NO | 250.986 | 2.3565 | 0.0021213 | 0.1945 | 0.022814 | -0.17169
17 | NO | 200.501 | 3.0595 | 0.0077783 | 0.1345 | 0.020498 | -0.114
17 | NO | 174.002 | 3.521 | 0.0070711 | 0.301 | 0.018977 | -0.28202
17 | NO | 149.026 | 4.011 | 0.0070709 | 0.182 | 0.017363 | -0.16464
17 | NO | 123.999 | 4.298 | 0.029698 | 0.12 | 0.016417 | -0.10358
17 | YES | 98.3473 | 5.5053 | 0.11138 | 0.056334 | 0.012439 | -0.043895
17 | NO | 73.9995 | 6.74 | 0.062225 | -0.048 | 0.008371 | 0.056371
17 | NO | 48.9947 | 7.148 | 0.031607 | -0.057 | 0.0070267 | 0.064026
17 | NO | 24.9975 | 6.461 | 0.18809 | 0.14 | 0.0092902 | -0.13071
17 | YES | 10.99 | 6.194 | 0.0052914 | 0.018 | 0.01017 | -0.0078301
17 | YES | 5.0007 | 6.2113 | 0.016803 | 0.050334 | 0.010113 | -0.040221
18 | YES | 4.992 | 6.175 | 0.0151 | -0.024 | 0.010233 | 0.034233
19 | YES | 4.9973 | 6.166 | 0.007 | -0.016 | 0.010262 | 0.026263
20 | YES | 5.0133 | 6.2407 | 0.014012 | 0.0056663 | 0.010016 | 0.0043499
21 | YES | 5.0063 | 6.202 | 0.018 | 0 | 0.010144 | 0.010144
22 | YES | 4317.36 | 3.18 | 0 | -0.018 | 0.0201 | 0.0381
22 | NO | 3997 | 3.127 | 0.012728 | -0.05 | 0.020275 | 0.070275
22 | NO | 3500.01 | 2.893 | 0 | -0.083 | 0.021046 | 0.10405
22 | NO | 3001 | 2.525 | 0.0070711 | -0.044 | 0.022259 | 0.066258
22 | NO | 2500.99 | 1.9445 | 0.0063639 | -0.0535 | 0.024171 | 0.077671
22 | NO | 1999.01 | 1.308 | 0.0070711 | -0.023 | 0.026268 | 0.049268
22 | YES | 1499 | 0.6525 | 0.0021213 | 0.0355 | 0.028428 | -0.0070719
22 | YES | 1250.21 | 0.46033 | 0.0037859 | 0.0083334 | 0.029061 | 0.020728
22 | NO | 998.99 | 0.484 | 0.0028284 | -0.011 | 0.028983 | 0.039983
22 | NO | 801.003 | 0.5405 | 0.0021213 | -0.0315 | 0.028797 | 0.060297
22 | YES | 601.002 | 0.657 | 0.0014142 | 0.004 | 0.028413 | 0.024413
22 | NO | 400.674 | 1.0825 | 0.0049497 | -0.0285 | 0.027011 | 0.055511
22 | YES | 301 | 1.612 | 0.015556 | 0.031 | 0.025267 | -0.0057333
22 | NO | 249.005 | 2.2935 | 0.006364 | 0.1895 | 0.023021 | -0.16648
22 | NO | 201.327 | 2.936 | 0.012124 | 0.274 | 0.020904 | -0.2531
22 | NO | 174.001 | 3.3445 | 0.0091924 | 0.3145 | 0.019558 | -0.29494
22 | NO | 149.004 | 3.7675 | 0.047376 | 0.2305 | 0.018165 | -0.21234
22 | NO | 125.997 | 6.0315 | 0.29345 | 0.2695 | 0.010705 | -0.25879
22 | NO | 101.508 | 7.131 | 0.011314 | 0.093 | 0.0070827 | -0.085917
22 | NO | 76.006 | 7.148 | 0.045255 | 0.071 | 0.0070267 | -0.063973
22 | NO | 49.5017 | 7.4677 | 0.028442 | 0.17775 | 0.0059732 | -0.17178
22 | YES | 25.009 | 6.259 | 0.0014145 | 0.0029998 | 0.0099558 | 0.006956
22 | YES | 11.0007 | 6.264 | 0.020075 | 0 | 0.0099393 | 0.0099393
22 | YES | 5.0273 | 6.2827 | 0.019218 | 0.0066667 | 0.0098778 | 0.0032111
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
NO
NO
YES
YES
NO
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
NO
NO
NO
YES
YES
NO
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
NO
NO
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.093731 |  | X | CALC Y
m= | -1.7972e-05 | 4.9588e-06 |  | Std Dev of Resid |  | 0.063305 |  | 4.4013 | 0.038241
b= | 0.03832 | 0.0069697 |  | Resid Sum of Squares |  | 0.50896 |  | 4317.36 | -0.039272
# of Values Extracted = |  |  | 165
# of Values Used in Fit = |  |  | 129
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 215.464 | 0.11 | 0 | 0.11 | 0.034448 | -0.075552 |  | 4.9957 | -0.035
1 | NO | 199.667 | 0.116 | 0.001 | 0.116 | 0.034732 | -0.081268 |  | 99.0085 | 0.171
1 | NO | 175.991 | 0.1255 | 0.0021213 | 0.1255 | 0.035157 | -0.090343 |  | 50.4955 | 0.021
1 | NO | 149.995 | 0.149 | 0 | 0.079 | 0.035624 | -0.043376 |  | 11.0087 | -0.11567
1 | NO | 125.999 | 0.6225 | 0.006364 | -0.0085 | 0.036056 | 0.044556 |  | 5.0007 | -0.081
1 | NO | 99.998 | 1.14 | 0 | 0.199 | 0.036523 | -0.16248 |  | 1315.76 | -0.016
1 | NO | 74.001 | 1.3985 | 0.15344 | 0.2275 | 0.03699 | -0.19051 |  | 1251 | 0.00099999
1 | NO | 50.5003 | 3.141 | 0.037193 | 0.146 | 0.037412 | -0.10859 |  | 1251 | 0.012
1 | NO | 25.66 | 3.641 | 0.035791 | 0.184 | 0.037859 | -0.14614 |  | 1000.99 | 0.0185
1 | NO | 10.997 | 4.4867 | 0.050649 | 0.36467 | 0.038122 | -0.32654 |  | 601.003 | 0.026
1 | NO | 4.9997 | 5.5793 | 0.19373 | 0.50133 | 0.03823 | -0.4631 |  | 401.011 | 0.0675
2 | YES | 4.9957 | 6.894 | 0.097247 | -0.035 | 0.03823 | 0.07323 |  | 301 | 0.072
3 | NO | 104.786 | 2.0843 | 0.40335 | 0.25633 | 0.036437 | -0.2199 |  | 200.497 | 0.1265 | 0.025256
3 | YES | 99.0085 | 3.563 | 0.093338 | 0.171 | 0.036541 | -0.13446 |  | 150.002 | 0.114
3 | NO | 73.9965 | 4.5605 | 0.17466 | 0.0255 | 0.03699 | 0.01149 |  | 126.012 | 0.0075002
3 | NO | 73.9965 | 4.5605 | 0.17466 | 0.0505 | 0.03699 | -0.01351 |  | 99.994 | -0.055
3 | YES | 50.4955 | 5.68 | 0.024859 | 0.021 | 0.037412 | 0.016413 |  | 76.0085 | -0.198
3 | NO | 25.6697 | 4.8243 | 0.4301 | 0.43133 | 0.037859 | -0.39347 |  | 50.4977 | 0.0355
3 | YES | 11.0087 | 6.4623 | 0.075659 | -0.11567 | 0.038122 | 0.15379 |  | 11 | -0.042
3 | YES | 5.0007 | 6.357 | 0.014731 | -0.081 | 0.03823 | 0.11923 |  | 4.9977 | 0.026333
4 | NO | 4.9963 | 6.8137 | 0.030353 | -0.52533 | 0.03823 | 0.56356 |  | 4.9957 | 0.0086665
5 | YES | 1315.76 | 0.535 | 0 | -0.016 | 0.014673 | 0.030673 |  | 5.0033 | -0.064
5 | YES | 1251 | 0.422 | 0 | 0.00099999 | 0.015837 | 0.014837 |  | 2000.99 | 0.0295
5 | YES | 1251 | 0.422 | 0 | 0.012 | 0.015837 | 0.003837 |  | 1498.99 | -0.0955
5 | YES | 1000.99 | 0.2635 | 0.0021213 | 0.0185 | 0.02033 | 0.0018302 |  | 1248.98 | -0.0045
5 | YES | 601.003 | 0.434 | 0.0070711 | 0.026 | 0.027519 | 0.0015188 |  | 998.995 | 0.007
5 | YES | 401.011 | 1.1605 | 0.0049498 | 0.0675 | 0.031113 | -0.036387 |  | 799.006 | 0.0185
5 | YES | 301 | 1.93 | 0.0084853 | 0.072 | 0.03291 | -0.03909 |  | 600.999 | 0.021
5 | YES | 200.497 | 3.0115 | 0.0077781 | 0.1265 | 0.034717 | -0.091783 |  | 400.99 | 0.0455
5 | YES | 150.002 | 3.464 | 0 | 0.114 | 0.035624 | -0.078376 |  | 301 | 0.0815
5 | YES | 126.012 | 3.7485 | 0.041719 | 0.0075002 | 0.036055 | 0.028555 |  | 248.997 | 0.0185
5 | YES | 99.994 | 4.955 | 0 | -0.055 | 0.036523 | 0.091523 |  | 199.664 | 0.058
5 | YES | 76.0085 | 6.152 | 0.02687 | -0.198 | 0.036954 | 0.23495 |  | 175.999 | 0.0665
5 | YES | 50.4977 | 6.6775 | 0.030784 | 0.0355 | 0.037412 | 0.0019128 |  | 149.02 | 0.093
5 | NO | 25.002 | 5.989 | 0.041012 | -0.4 | 0.037871 | 0.43787 |  | 126.001 | 0.105
5 | YES | 11 | 5.83 | 0.013857 | -0.042 | 0.038122 | 0.080123 |  | 98.9985 | 0.021
5 | YES | 4.9977 | 5.8833 | 0.012897 | 0.026333 | 0.03823 | 0.011897 |  | 50.5037 | 0.07
6 | YES | 4.9957 | 6.0067 | 0.027062 | 0.0086665 | 0.03823 | 0.029564 |  | 11.001 | 0.0059996
7 | YES | 5.0033 | 5.852 | 0.014731 | -0.064 | 0.03823 | 0.10223 |  | 4.9927 | -0.030333
8 | YES | 2000.99 | 1.3205 | 0.0021213 | 0.0295 | 0.0023582 | -0.027142 |  | 4.4013 | -0.03325
8 | YES | 1498.99 | 0.6035 | 0.0007071 | -0.0955 | 0.01138 | 0.10688 |  | 5.002 | 0.010334
8 | YES | 1248.98 | 0.3825 | 0.0021213 | -0.0045 | 0.015873 | 0.020373 |  | 3270.5 | -0.032
8 | YES | 998.995 | 0.244 | 0.0028284 | 0.007 | 0.020366 | 0.013366 |  | 3000 | -0.015
8 | YES | 799.006 | 0.2515 | 0.00070712 | 0.0185 | 0.02396 | 0.0054602 |  | 2498.99 | 0.007
8 | YES | 600.999 | 0.489 | 0.0028284 | 0.021 | 0.027519 | 0.0065188 |  | 1998.99 | 0.0545
8 | NO | 0 | 0 | 0 | -0.759 | 0.03832 | 0.79732 |  | 1499.01 | 0.011
8 | YES | 400.99 | 1.2015 | 0.012021 | 0.0455 | 0.031113 | -0.014387 |  | 1251 | 0.0165
8 | YES | 301 | 1.6265 | 0.0077781 | 0.0815 | 0.03291 | -0.04859 |  | 1000.99 | 0.0325
8 | YES | 248.997 | 1.7755 | 0.02192 | 0.0185 | 0.033845 | 0.015345 |  | 800.99 | 0.0525
8 | YES | 199.664 | 2.222 | 0.0017321 | 0.058 | 0.034732 | -0.023268 |  | 601.005 | 0.0825
8 | YES | 175.999 | 2.2525 | 0.0021213 | 0.0665 | 0.035157 | -0.031343 |  | 400.987 | 0.1475
8 | YES | 149.02 | 2.275 | 0.0028284 | 0.093 | 0.035642 | -0.057358 |  | 200.503 | 0.025
8 | YES | 126.001 | 2.294 | 0.0042427 | 0.105 | 0.036055 | -0.068945 |  | 175.004 | 0.12667
8 | YES | 98.9985 | 2.479 | 0.02687 | 0.021 | 0.036541 | 0.015541 |  | 150.01 | 0.171
8 | NO | 73.9945 | 3.6065 | 0.17183 | -1.0345 | 0.03699 | 1.0715 |  | 125.992 | 0.07
8 | YES | 50.5037 | 6.369 | 0.013038 | 0.07 | 0.037412 | -0.032588 |  | 100.006 | -0.075
8 | NO | 25.003 | 7.39 | 0.21779 | 0.442 | 0.037871 | -0.40413 |  | 51.0023 | 0.0066667
8 | YES | 11.001 | 5.924 | 0.01735 | 0.0059996 | 0.038122 | 0.032123 |  | 10.9963 | -0.0033336
8 | YES | 4.9927 | 5.8307 | 0.060995 | -0.030333 | 0.03823 | 0.068564 |  | 4.9967 | 0.0046668
9 | YES | 4.4013 | 5.8617 | 0.013074 | -0.03325 | 0.038241 | 0.071491 |  | 4.985 | 0.022667
10 | YES | 5.002 | 6.1223 | 0.01365 | 0.010334 | 0.03823 | 0.027897 |  | 4.996 | 0.011667
11 | YES | 3270.5 | 2.256 | 0 | -0.032 | -0.020457 | 0.011543 |  | 3686.27 | -0.00099993
11 | YES | 3000 | 2.211 | 0.0060827 | -0.015 | -0.015596 | -0.00059596 |  | 3501 | -0.0215
11 | NO | 2999.01 | 2.2145 | 0.00070706 | -0.6135 | -0.015578 | 0.59792 |  | 3501 | -0.0425
11 | YES | 2498.99 | 1.854 | 0.0028284 | 0.007 | -0.0065919 | -0.013592 |  | 3001.12 | -0.0155
11 | YES | 1998.99 | 1.4655 | 0.0021213 | 0.0545 | 0.0023941 | -0.052106 |  | 2498.87 | 0.013
11 | YES | 1499.01 | 0.709 | 0.0028284 | 0.011 | 0.01138 | 0.00037976 |  | 1998.89 | 0.0065001
11 | YES | 1251 | 0.4155 | 0.0049498 | 0.0165 | 0.015837 | -0.000663 |  | 1500.2 | 0.059
11 | YES | 1000.99 | 0.2985 | 0.0035355 | 0.0325 | 0.02033 | -0.01217 |  | 1250.99 | 0.0235
11 | YES | 800.99 | 0.2675 | 0.00070712 | 0.0525 | 0.023925 | -0.028575 |  | 1001.01 | 0.0195
11 | YES | 601.005 | 0.3935 | 0.016264 | 0.0825 | 0.027519 | -0.054981 |  | 801.11 | 0.049
11 | NO | 0 | 0 | 0 | -0.536 | 0.03832 | 0.57432 |  | 598.985 | 0.044
11 | YES | 400.987 | 1.0975 | 0.010607 | 0.1475 | 0.031113 | -0.11639 |  | 398.953 | 0.0155
11 | NO | 298.993 | 1.9695 | 0.026163 | 0.3535 | 0.032946 | -0.32055 |  | 301.006 | 0.1195
11 | NO | 251.004 | 2.6915 | 0.024749 | 0.2185 | 0.033809 | -0.18469 |  | 249.995 | -0.027667
11 | YES | 200.503 | 3.601 | 0.0014143 | 0.025 | 0.034717 | 0.0097166 |  | 150.011 | 0.025
11 | YES | 175.004 | 3.9707 | 0.007572 | 0.12667 | 0.035175 | -0.091492 |  | 125.983 | -0.0099997
11 | YES | 150.01 | 4.226 | 0 | 0.171 | 0.035624 | -0.13538 |  | 99.982 | -0.0059996
11 | YES | 125.992 | 4.586 | 0.011314 | 0.07 | 0.036056 | -0.033945 |  | 75.996 | -0.0155
11 | YES | 100.006 | 4.968 | 0 | -0.075 | 0.036523 | 0.11152 |  | 50.5105 | 0.10075
11 | NO | 73.9995 | 6.068 | 0.12728 | -0.411 | 0.03699 | 0.44799 |  | 9.671 | 0.030333
11 | YES | 51.0023 | 6.9527 | 0.043062 | 0.0066667 | 0.037403 | 0.030737 |  | 4.998 | 0.014
11 | NO | 25.6613 | 6.3877 | 0.10394 | -0.35533 | 0.037859 | 0.39319 |  | 5.001 | 0.027
11 | YES | 10.9963 | 6.0407 | 0.022143 | -0.0033336 | 0.038122 | 0.041456 |  | 4.996 | 0.036333
11 | YES | 4.9967 | 6.0067 | 0.020429 | 0.0046668 | 0.03823 | 0.033563 |  | 4024.02 | -0.035
12 | YES | 4.985 | 6.0417 | 0.010066 | 0.022667 | 0.03823 | 0.015564 |  | 3501 | -0.0275
13 | YES | 4.996 | 6.1117 | 0.0058595 | 0.011667 | 0.03823 | 0.026563 |  | 3501 | -0.0135
14 | YES | 3686.27 | 2.693 | 0 | -0.00099993 | -0.02793 | -0.02693 |  | 2998.99 | -0.019
14 | YES | 3501 | 2.6645 | 0.0021212 | -0.0215 | -0.0246 | -0.0030999 |  | 2499.99 | -0.033667
14 | YES | 3501 | 2.6645 | 0.0021212 | -0.0425 | -0.0246 | 0.0179 |  | 1999 | -0.011
14 | YES | 3001.12 | 2.4115 | 0.013435 | -0.0155 | -0.015616 | -0.00011609 |  | 1501 | 0.0185
14 | YES | 2498.87 | 1.948 | 0.0014142 | 0.013 | -0.0065897 | -0.01959 |  | 1251 | 0.0335
14 | YES | 1998.89 | 1.3015 | 0.00070714 | 0.0065001 | 0.0023959 | -0.0041042 |  | 999.007 | 0.0135
14 | YES | 1500.2 | 0.594 | 0.0026458 | 0.059 | 0.011358 | -0.047642 |  | 801 | 0.022
14 | YES | 1250.99 | 0.3415 | 0.0049498 | 0.0235 | 0.015837 | -0.0076628 |  | 601.001 | 0.062
14 | YES | 1001.01 | 0.3055 | 0.0007071 | 0.0195 | 0.02033 | 0.00082982 |  | 399.004 | 0.1965
14 | YES | 801.11 | 0.417 | 0.0028284 | 0.049 | 0.023922 | -0.025078 |  | 298.999 | 0.1945
14 | YES | 598.985 | 0.605 | 0.0028284 | 0.044 | 0.027555 | -0.016445 |  | 250.986 | 0.1945
14 | YES | 398.953 | 1.4695 | 0.00070714 | 0.0155 | 0.03115 | 0.01565 |  | 200.501 | 0.1345
14 | YES | 301.006 | 2.1465 | 0.026163 | 0.1195 | 0.03291 | -0.08659 |  | 149.026 | 0.182
14 | YES | 249.995 | 2.4853 | 0.0092916 | -0.027667 | 0.033827 | 0.061494 |  | 123.999 | 0.12
14 | NO | 200.498 | 3.312 | 0.012728 | -0.263 | 0.034717 | 0.29772 |  | 73.9995 | -0.048
14 | NO | 173.99 | 3.611 | 0.0084853 | -0.336 | 0.035193 | 0.37119 |  | 48.9947 | -0.057
14 | YES | 150.011 | 4.152 | 0 | 0.025 | 0.035624 | 0.010624 |  | 10.99 | 0.018
14 | YES | 125.983 | 4.423 | 0.024042 | -0.0099997 | 0.036056 | 0.046056 |  | 5.0007 | 0.050334
14 | YES | 99.982 | 5.405 | 0 | -0.0059996 | 0.036523 | 0.042523 |  | 4.992 | -0.024
14 | YES | 75.996 | 6.8135 | 0.038891 | -0.0155 | 0.036954 | 0.052454 |  | 4.9973 | -0.016
14 | YES | 50.5105 | 7.1777 | 0.014127 | 0.10075 | 0.037412 | -0.063338 |  | 5.0133 | 0.0056663
14 | NO | 24.998 | 6.2785 | 0.2383 | -0.2035 | 0.037871 | 0.24137 |  | 5.0063 | 0
14 | YES | 9.671 | 6.1623 | 0.0032146 | 0.030333 | 0.038146 | 0.0078132 |  | 4317.36 | -0.018
14 | YES | 4.998 | 6.135 | 0.012767 | 0.014 | 0.03823 | 0.02423 |  | 3997 | -0.05
15 | YES | 5.001 | 6.138 | 0.016523 | 0.027 | 0.03823 | 0.01123 |  | 3500.01 | -0.083
16 | YES | 4.996 | 6.1723 | 0.0050333 | 0.036333 | 0.03823 | 0.0018971 |  | 3001 | -0.044
17 | YES | 4024.02 | 2.953 | 0 | -0.035 | -0.034 | 0.001 |  | 2500.99 | -0.0535
17 | YES | 3501 | 2.8355 | 0.00070706 | -0.0275 | -0.0246 | 0.0028999 |  | 1999.01 | -0.023
17 | YES | 3501 | 2.8355 | 0.00070706 | -0.0135 | -0.0246 | -0.0111 |  | 1499 | 0.0355
17 | YES | 2998.99 | 2.493 | 0.0042427 | -0.019 | -0.015578 | 0.0034222 |  | 1250.21 | 0.0083334
17 | YES | 2499.99 | 1.9423 | 0.0035119 | -0.033667 | -0.0066099 | 0.027057 |  | 998.99 | -0.011
17 | YES | 1999 | 1.279 | 0.012728 | -0.011 | 0.0023939 | 0.013394 |  | 801.003 | -0.0315
17 | YES | 1501 | 0.6005 | 0.006364 | 0.0185 | 0.011344 | -0.007156 |  | 601.002 | 0.004
17 | YES | 1251 | 0.3845 | 0.0007071 | 0.0335 | 0.015837 | -0.017663 |  | 400.674 | -0.0285
17 | YES | 999.007 | 0.3565 | 0.0077782 | 0.0135 | 0.020366 | 0.0068658 |  | 301 | 0.031
17 | YES | 801 | 0.426 | 0.0056569 | 0.022 | 0.023924 | 0.0019244 |  | 249.005 | 0.1895
17 | YES | 601.001 | 0.637 | 0.0014142 | 0.062 | 0.027519 | -0.034481 |  | 101.508 | 0.093
17 | YES | 399.004 | 1.4495 | 0.0021213 | 0.1965 | 0.031149 | -0.16535 |  | 76.006 | 0.071
17 | YES | 298.999 | 1.9845 | 0.013435 | 0.1945 | 0.032946 | -0.16155 |  | 49.5017 | 0.17775
17 | YES | 250.986 | 2.3565 | 0.0021213 | 0.1945 | 0.033809 | -0.16069 |  | 25.009 | 0.0029998
17 | YES | 200.501 | 3.0595 | 0.0077783 | 0.1345 | 0.034717 | -0.099783 |  | 11.0007 | 0
17 | NO | 174.002 | 3.521 | 0.0070711 | 0.301 | 0.035193 | -0.26581 |  | 5.0273 | 0.0066667
17 | YES | 149.026 | 4.011 | 0.0070709 | 0.182 | 0.035642 | -0.14636
17 | YES | 123.999 | 4.298 | 0.029698 | 0.12 | 0.036091 | -0.083909
17 | NO | 98.3473 | 5.5053 | 0.11138 | 0.056334 | 0.036552 | -0.019781
17 | YES | 73.9995 | 6.74 | 0.062225 | -0.048 | 0.03699 | 0.08499
17 | YES | 48.9947 | 7.148 | 0.031607 | -0.057 | 0.037439 | 0.094439
17 | NO | 24.9975 | 6.461 | 0.18809 | 0.14 | 0.037871 | -0.10213
17 | YES | 10.99 | 6.194 | 0.0052914 | 0.018 | 0.038122 | 0.020122
17 | YES | 5.0007 | 6.2113 | 0.016803 | 0.050334 | 0.03823 | -0.012103
18 | YES | 4.992 | 6.175 | 0.0151 | -0.024 | 0.03823 | 0.06223
19 | YES | 4.9973 | 6.166 | 0.007 | -0.016 | 0.03823 | 0.05423
20 | YES | 5.0133 | 6.2407 | 0.014012 | 0.0056663 | 0.03823 | 0.032564
21 | YES | 5.0063 | 6.202 | 0.018 | 0 | 0.03823 | 0.03823 |  |  |  | 0.023154
22 | YES | 4317.36 | 3.18 | 0 | -0.018 | -0.039272 | -0.021272
22 | YES | 3997 | 3.127 | 0.012728 | -0.05 | -0.033514 | 0.016486
22 | YES | 3500.01 | 2.893 | 0 | -0.083 | -0.024582 | 0.058418
22 | YES | 3001 | 2.525 | 0.0070711 | -0.044 | -0.015614 | 0.028386
22 | YES | 2500.99 | 1.9445 | 0.0063639 | -0.0535 | -0.0066278 | 0.046872
22 | YES | 1999.01 | 1.308 | 0.0070711 | -0.023 | 0.0023938 | 0.025394
22 | YES | 1499 | 0.6525 | 0.0021213 | 0.0355 | 0.01138 | -0.02412
22 | YES | 1250.21 | 0.46033 | 0.0037859 | 0.0083334 | 0.015851 | 0.0075178
22 | YES | 998.99 | 0.484 | 0.0028284 | -0.011 | 0.020366 | 0.031366
22 | YES | 801.003 | 0.5405 | 0.0021213 | -0.0315 | 0.023924 | 0.055424
22 | YES | 601.002 | 0.657 | 0.0014142 | 0.004 | 0.027519 | 0.023519
22 | YES | 400.674 | 1.0825 | 0.0049497 | -0.0285 | 0.031119 | 0.059619
22 | YES | 301 | 1.612 | 0.015556 | 0.031 | 0.03291 | 0.0019104
22 | YES | 249.005 | 2.2935 | 0.006364 | 0.1895 | 0.033845 | -0.15566
22 | NO | 201.327 | 2.936 | 0.012124 | 0.274 | 0.034702 | -0.2393
22 | NO | 174.001 | 3.3445 | 0.0091924 | 0.3145 | 0.035193 | -0.27931
22 | NO | 149.004 | 3.7675 | 0.047376 | 0.2305 | 0.035642 | -0.19486
22 | NO | 125.997 | 6.0315 | 0.29345 | 0.2695 | 0.036056 | -0.23344
22 | YES | 101.508 | 7.131 | 0.011314 | 0.093 | 0.036496 | -0.056504
22 | YES | 76.006 | 7.148 | 0.045255 | 0.071 | 0.036954 | -0.034046
22 | YES | 49.5017 | 7.4677 | 0.028442 | 0.17775 | 0.03743 | -0.14032
22 | YES | 25.009 | 6.259 | 0.0014145 | 0.0029998 | 0.037871 | 0.034871
22 | YES | 11.0007 | 6.264 | 0.020075 | 0 | 0.038122 | 0.038122
22 | YES | 5.0273 | 6.2827 | 0.019218 | 0.0066667 | 0.03823 | 0.031563
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
YES
NO
NO
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
NO
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.73731 |  | X | CALC Y
m= | -0.0049497 | 0.0017057 |  | Std Dev of Resid |  | 0.018466 |  | 8 | 0.042978
b= | 0.082575 | 0.025914 |  | Resid Sum of Squares |  | 0.001023 |  | 22 | -0.026317
# of Values Extracted = |  |  | 165
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 215.464 | 0.11 | 0 | 0.11 | 0.077625 | -0.032375 |  | 8 | 0.0295
1 | NO | 199.667 | 0.116 | 0.001 | 0.116 | 0.077625 | -0.038375 |  | 11 | 0.0545
1 | NO | 175.991 | 0.1255 | 0.0021213 | 0.1255 | 0.077625 | -0.047875 |  | 14 | 0.0065001
1 | NO | 149.995 | 0.149 | 0 | 0.079 | 0.077625 | -0.0013746 |  | 17 | -0.011
1 | NO | 125.999 | 0.6225 | 0.006364 | -0.0085 | 0.077625 | 0.086125 |  | 22 | -0.023
1 | NO | 99.998 | 1.14 | 0 | 0.199 | 0.077625 | -0.12137
1 | NO | 74.001 | 1.3985 | 0.15344 | 0.2275 | 0.077625 | -0.14987
1 | NO | 50.5003 | 3.141 | 0.037193 | 0.146 | 0.077625 | -0.068375
1 | NO | 25.66 | 3.641 | 0.035791 | 0.184 | 0.077625 | -0.10637
1 | NO | 10.997 | 4.4867 | 0.050649 | 0.36467 | 0.077625 | -0.28704
1 | NO | 4.9997 | 5.5793 | 0.19373 | 0.50133 | 0.077625 | -0.42371
2 | NO | 4.9957 | 6.894 | 0.097247 | -0.035 | 0.072676 | 0.10768
3 | NO | 104.786 | 2.0843 | 0.40335 | 0.25633 | 0.067726 | -0.18861
3 | NO | 99.0085 | 3.563 | 0.093338 | 0.171 | 0.067726 | -0.10327
3 | NO | 73.9965 | 4.5605 | 0.17466 | 0.0255 | 0.067726 | 0.042226
3 | NO | 73.9965 | 4.5605 | 0.17466 | 0.0505 | 0.067726 | 0.017226
3 | NO | 50.4955 | 5.68 | 0.024859 | 0.021 | 0.067726 | 0.046726
3 | NO | 25.6697 | 4.8243 | 0.4301 | 0.43133 | 0.067726 | -0.36361
3 | NO | 11.0087 | 6.4623 | 0.075659 | -0.11567 | 0.067726 | 0.18339
3 | NO | 5.0007 | 6.357 | 0.014731 | -0.081 | 0.067726 | 0.14873
4 | NO | 4.9963 | 6.8137 | 0.030353 | -0.52533 | 0.062776 | 0.58811
5 | NO | 1315.76 | 0.535 | 0 | -0.016 | 0.057827 | 0.073827
5 | NO | 1251 | 0.422 | 0 | 0.00099999 | 0.057827 | 0.056827
5 | NO | 1251 | 0.422 | 0 | 0.012 | 0.057827 | 0.045827
5 | NO | 1000.99 | 0.2635 | 0.0021213 | 0.0185 | 0.057827 | 0.039327
5 | NO | 601.003 | 0.434 | 0.0070711 | 0.026 | 0.057827 | 0.031827
5 | NO | 401.011 | 1.1605 | 0.0049498 | 0.0675 | 0.057827 | -0.0096732
5 | NO | 301 | 1.93 | 0.0084853 | 0.072 | 0.057827 | -0.014173
5 | NO | 200.497 | 3.0115 | 0.0077781 | 0.1265 | 0.057827 | -0.068673
5 | NO | 150.002 | 3.464 | 0 | 0.114 | 0.057827 | -0.056173
5 | NO | 126.012 | 3.7485 | 0.041719 | 0.0075002 | 0.057827 | 0.050327
5 | NO | 99.994 | 4.955 | 0 | -0.055 | 0.057827 | 0.11283
5 | NO | 76.0085 | 6.152 | 0.02687 | -0.198 | 0.057827 | 0.25583
5 | NO | 50.4977 | 6.6775 | 0.030784 | 0.0355 | 0.057827 | 0.022327
5 | NO | 25.002 | 5.989 | 0.041012 | -0.4 | 0.057827 | 0.45783
5 | NO | 11 | 5.83 | 0.013857 | -0.042 | 0.057827 | 0.099827
5 | NO | 4.9977 | 5.8833 | 0.012897 | 0.026333 | 0.057827 | 0.031494
6 | NO | 4.9957 | 6.0067 | 0.027062 | 0.0086665 | 0.052877 | 0.044211
7 | NO | 5.0033 | 5.852 | 0.014731 | -0.064 | 0.047928 | 0.11193
8 | YES | 2000.99 | 1.3205 | 0.0021213 | 0.0295 | 0.042978 | 0.013478
8 | NO | 1498.99 | 0.6035 | 0.0007071 | -0.0955 | 0.042978 | 0.13848
8 | NO | 1248.98 | 0.3825 | 0.0021213 | -0.0045 | 0.042978 | 0.047478
8 | NO | 998.995 | 0.244 | 0.0028284 | 0.007 | 0.042978 | 0.035978
8 | NO | 799.006 | 0.2515 | 0.00070712 | 0.0185 | 0.042978 | 0.024478
8 | NO | 600.999 | 0.489 | 0.0028284 | 0.021 | 0.042978 | 0.021978
8 | NO | 0 | 0 | 0 | -0.759 | 0.042978 | 0.80198
8 | NO | 400.99 | 1.2015 | 0.012021 | 0.0455 | 0.042978 | -0.0025221
8 | NO | 301 | 1.6265 | 0.0077781 | 0.0815 | 0.042978 | -0.038522
8 | NO | 248.997 | 1.7755 | 0.02192 | 0.0185 | 0.042978 | 0.024478
8 | NO | 199.664 | 2.222 | 0.0017321 | 0.058 | 0.042978 | -0.015022
8 | NO | 175.999 | 2.2525 | 0.0021213 | 0.0665 | 0.042978 | -0.023522
8 | NO | 149.02 | 2.275 | 0.0028284 | 0.093 | 0.042978 | -0.050022
8 | NO | 126.001 | 2.294 | 0.0042427 | 0.105 | 0.042978 | -0.062022
8 | NO | 98.9985 | 2.479 | 0.02687 | 0.021 | 0.042978 | 0.021978
8 | NO | 73.9945 | 3.6065 | 0.17183 | -1.0345 | 0.042978 | 1.0775
8 | NO | 50.5037 | 6.369 | 0.013038 | 0.07 | 0.042978 | -0.027022
8 | NO | 25.003 | 7.39 | 0.21779 | 0.442 | 0.042978 | -0.39902
8 | NO | 11.001 | 5.924 | 0.01735 | 0.0059996 | 0.042978 | 0.036978
8 | NO | 4.9927 | 5.8307 | 0.060995 | -0.030333 | 0.042978 | 0.073311
9 | NO | 4.4013 | 5.8617 | 0.013074 | -0.03325 | 0.038028 | 0.071278
10 | NO | 5.002 | 6.1223 | 0.01365 | 0.010334 | 0.033079 | 0.022745
11 | NO | 3270.5 | 2.256 | 0 | -0.032 | 0.028129 | 0.060129
11 | NO | 3000 | 2.211 | 0.0060827 | -0.015 | 0.028129 | 0.043129
11 | NO | 2999.01 | 2.2145 | 0.00070706 | -0.6135 | 0.028129 | 0.64163
11 | NO | 2498.99 | 1.854 | 0.0028284 | 0.007 | 0.028129 | 0.021129
11 | YES | 1998.99 | 1.4655 | 0.0021213 | 0.0545 | 0.028129 | -0.026371
11 | NO | 1499.01 | 0.709 | 0.0028284 | 0.011 | 0.028129 | 0.017129
11 | NO | 1251 | 0.4155 | 0.0049498 | 0.0165 | 0.028129 | 0.011629
11 | NO | 1000.99 | 0.2985 | 0.0035355 | 0.0325 | 0.028129 | -0.0043711
11 | NO | 800.99 | 0.2675 | 0.00070712 | 0.0525 | 0.028129 | -0.024371
11 | NO | 601.005 | 0.3935 | 0.016264 | 0.0825 | 0.028129 | -0.054371
11 | NO | 0 | 0 | 0 | -0.536 | 0.028129 | 0.56413
11 | NO | 400.987 | 1.0975 | 0.010607 | 0.1475 | 0.028129 | -0.11937
11 | NO | 298.993 | 1.9695 | 0.026163 | 0.3535 | 0.028129 | -0.32537
11 | NO | 251.004 | 2.6915 | 0.024749 | 0.2185 | 0.028129 | -0.19037
11 | NO | 200.503 | 3.601 | 0.0014143 | 0.025 | 0.028129 | 0.003129
11 | NO | 175.004 | 3.9707 | 0.007572 | 0.12667 | 0.028129 | -0.098538
11 | NO | 150.01 | 4.226 | 0 | 0.171 | 0.028129 | -0.14287
11 | NO | 125.992 | 4.586 | 0.011314 | 0.07 | 0.028129 | -0.041871
11 | NO | 100.006 | 4.968 | 0 | -0.075 | 0.028129 | 0.10313
11 | NO | 73.9995 | 6.068 | 0.12728 | -0.411 | 0.028129 | 0.43913
11 | NO | 51.0023 | 6.9527 | 0.043062 | 0.0066667 | 0.028129 | 0.021462
11 | NO | 25.6613 | 6.3877 | 0.10394 | -0.35533 | 0.028129 | 0.38346
11 | NO | 10.9963 | 6.0407 | 0.022143 | -0.0033336 | 0.028129 | 0.031462
11 | NO | 4.9967 | 6.0067 | 0.020429 | 0.0046668 | 0.028129 | 0.023462
12 | NO | 4.985 | 6.0417 | 0.010066 | 0.022667 | 0.023179 | 0.00051232
13 | NO | 4.996 | 6.1117 | 0.0058595 | 0.011667 | 0.01823 | 0.0065628
14 | NO | 3686.27 | 2.693 | 0 | -0.00099993 | 0.01328 | 0.01428
14 | NO | 3501 | 2.6645 | 0.0021212 | -0.0215 | 0.01328 | 0.03478
14 | NO | 3501 | 2.6645 | 0.0021212 | -0.0425 | 0.01328 | 0.05578
14 | NO | 3001.12 | 2.4115 | 0.013435 | -0.0155 | 0.01328 | 0.02878
14 | NO | 2498.87 | 1.948 | 0.0014142 | 0.013 | 0.01328 | 0.00027991
14 | YES | 1998.89 | 1.3015 | 0.00070714 | 0.0065001 | 0.01328 | 0.0067798
14 | NO | 1500.2 | 0.594 | 0.0026458 | 0.059 | 0.01328 | -0.04572
14 | NO | 1250.99 | 0.3415 | 0.0049498 | 0.0235 | 0.01328 | -0.01022
14 | NO | 1001.01 | 0.3055 | 0.0007071 | 0.0195 | 0.01328 | -0.0062201
14 | NO | 801.11 | 0.417 | 0.0028284 | 0.049 | 0.01328 | -0.03572
14 | NO | 598.985 | 0.605 | 0.0028284 | 0.044 | 0.01328 | -0.03072
14 | NO | 398.953 | 1.4695 | 0.00070714 | 0.0155 | 0.01328 | -0.0022202
14 | NO | 301.006 | 2.1465 | 0.026163 | 0.1195 | 0.01328 | -0.10622
14 | NO | 249.995 | 2.4853 | 0.0092916 | -0.027667 | 0.01328 | 0.040947
14 | NO | 200.498 | 3.312 | 0.012728 | -0.263 | 0.01328 | 0.27628
14 | NO | 173.99 | 3.611 | 0.0084853 | -0.336 | 0.01328 | 0.34928
14 | NO | 150.011 | 4.152 | 0 | 0.025 | 0.01328 | -0.01172
14 | NO | 125.983 | 4.423 | 0.024042 | -0.0099997 | 0.01328 | 0.02328
14 | NO | 99.982 | 5.405 | 0 | -0.0059996 | 0.01328 | 0.019279
14 | NO | 75.996 | 6.8135 | 0.038891 | -0.0155 | 0.01328 | 0.02878
14 | NO | 50.5105 | 7.1777 | 0.014127 | 0.10075 | 0.01328 | -0.08747
14 | NO | 24.998 | 6.2785 | 0.2383 | -0.2035 | 0.01328 | 0.21678
14 | NO | 9.671 | 6.1623 | 0.0032146 | 0.030333 | 0.01328 | -0.017053
14 | NO | 4.998 | 6.135 | 0.012767 | 0.014 | 0.01328 | -0.00071999
15 | NO | 5.001 | 6.138 | 0.016523 | 0.027 | 0.0083302 | -0.01867
16 | NO | 4.996 | 6.1723 | 0.0050333 | 0.036333 | 0.0033806 | -0.032953
17 | NO | 4024.02 | 2.953 | 0 | -0.035 | -0.0015691 | 0.033431
17 | NO | 3501 | 2.8355 | 0.00070706 | -0.0275 | -0.0015691 | 0.025931
17 | NO | 3501 | 2.8355 | 0.00070706 | -0.0135 | -0.0015691 | 0.011931
17 | NO | 2998.99 | 2.493 | 0.0042427 | -0.019 | -0.0015691 | 0.017431
17 | NO | 2499.99 | 1.9423 | 0.0035119 | -0.033667 | -0.0015691 | 0.032098
17 | YES | 1999 | 1.279 | 0.012728 | -0.011 | -0.0015691 | 0.0094308
17 | NO | 1501 | 0.6005 | 0.006364 | 0.0185 | -0.0015691 | -0.020069
17 | NO | 1251 | 0.3845 | 0.0007071 | 0.0335 | -0.0015691 | -0.035069
17 | NO | 999.007 | 0.3565 | 0.0077782 | 0.0135 | -0.0015691 | -0.015069
17 | NO | 801 | 0.426 | 0.0056569 | 0.022 | -0.0015691 | -0.023569
17 | NO | 601.001 | 0.637 | 0.0014142 | 0.062 | -0.0015691 | -0.063569
17 | NO | 399.004 | 1.4495 | 0.0021213 | 0.1965 | -0.0015691 | -0.19807
17 | NO | 298.999 | 1.9845 | 0.013435 | 0.1945 | -0.0015691 | -0.19607
17 | NO | 250.986 | 2.3565 | 0.0021213 | 0.1945 | -0.0015691 | -0.19607
17 | NO | 200.501 | 3.0595 | 0.0077783 | 0.1345 | -0.0015691 | -0.13607
17 | NO | 174.002 | 3.521 | 0.0070711 | 0.301 | -0.0015691 | -0.30257
17 | NO | 149.026 | 4.011 | 0.0070709 | 0.182 | -0.0015691 | -0.18357
17 | NO | 123.999 | 4.298 | 0.029698 | 0.12 | -0.0015691 | -0.12157
17 | NO | 98.3473 | 5.5053 | 0.11138 | 0.056334 | -0.0015691 | -0.057903
17 | NO | 73.9995 | 6.74 | 0.062225 | -0.048 | -0.0015691 | 0.046431
17 | NO | 48.9947 | 7.148 | 0.031607 | -0.057 | -0.0015691 | 0.055431
17 | NO | 24.9975 | 6.461 | 0.18809 | 0.14 | -0.0015691 | -0.14157
17 | NO | 10.99 | 6.194 | 0.0052914 | 0.018 | -0.0015691 | -0.019569
17 | NO | 5.0007 | 6.2113 | 0.016803 | 0.050334 | -0.0015691 | -0.051903
18 | NO | 4.992 | 6.175 | 0.0151 | -0.024 | -0.0065187 | 0.017481
19 | NO | 4.9973 | 6.166 | 0.007 | -0.016 | -0.011468 | 0.0045319
20 | NO | 5.0133 | 6.2407 | 0.014012 | 0.0056663 | -0.016418 | -0.022084
21 | NO | 5.0063 | 6.202 | 0.018 | 0 | -0.021368 | -0.021368
22 | NO | 4317.36 | 3.18 | 0 | -0.018 | -0.026317 | -0.0083174
22 | NO | 3997 | 3.127 | 0.012728 | -0.05 | -0.026317 | 0.023683
22 | NO | 3500.01 | 2.893 | 0 | -0.083 | -0.026317 | 0.056683
22 | NO | 3001 | 2.525 | 0.0070711 | -0.044 | -0.026317 | 0.017683
22 | NO | 2500.99 | 1.9445 | 0.0063639 | -0.0535 | -0.026317 | 0.027183
22 | YES | 1999.01 | 1.308 | 0.0070711 | -0.023 | -0.026317 | -0.0033173
22 | NO | 1499 | 0.6525 | 0.0021213 | 0.0355 | -0.026317 | -0.061817
22 | NO | 1250.21 | 0.46033 | 0.0037859 | 0.0083334 | -0.026317 | -0.034651
22 | NO | 998.99 | 0.484 | 0.0028284 | -0.011 | -0.026317 | -0.015317
22 | NO | 801.003 | 0.5405 | 0.0021213 | -0.0315 | -0.026317 | 0.0051827
22 | NO | 601.002 | 0.657 | 0.0014142 | 0.004 | -0.026317 | -0.030317
22 | NO | 400.674 | 1.0825 | 0.0049497 | -0.0285 | -0.026317 | 0.0021827
22 | NO | 301 | 1.612 | 0.015556 | 0.031 | -0.026317 | -0.057317
22 | NO | 249.005 | 2.2935 | 0.006364 | 0.1895 | -0.026317 | -0.21582
22 | NO | 201.327 | 2.936 | 0.012124 | 0.274 | -0.026317 | -0.30032
22 | NO | 174.001 | 3.3445 | 0.0091924 | 0.3145 | -0.026317 | -0.34082
22 | NO | 149.004 | 3.7675 | 0.047376 | 0.2305 | -0.026317 | -0.25682
22 | NO | 125.997 | 6.0315 | 0.29345 | 0.2695 | -0.026317 | -0.29582
22 | NO | 101.508 | 7.131 | 0.011314 | 0.093 | -0.026317 | -0.11932
22 | NO | 76.006 | 7.148 | 0.045255 | 0.071 | -0.026317 | -0.097317
22 | NO | 49.5017 | 7.4677 | 0.028442 | 0.17775 | -0.026317 | -0.20407
22 | NO | 25.009 | 6.259 | 0.0014145 | 0.0029998 | -0.026317 | -0.029317
22 | NO | 11.0007 | 6.264 | 0.020075 | 0 | -0.026317 | -0.026317
22 | NO | 5.0273 | 6.2827 | 0.019218 | 0.0066667 | -0.026317 | -0.032984
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2012/02/14 14:51:37
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 1 | 215.514 | 215.464 | 0 | -0.050003 | 0 | 0.11 | 0 | 0.11
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 3 | 199.963 | 199.667 | 1.5077 | -0.29601 | 0 | 0.116 | 0.001 | 0.116
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 2 | 175.02 | 175.991 | 1.4156 | 0.97099 | 0 | 0.1255 | 0.0021213 | 0.1255
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 1 | 150.489 | 149.995 | 0 | -0.494 | 0.07 | 0.149 | 0 | 0.079
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 2 | 125.255 | 125.999 | 1.4079 | 0.7445 | 0.631 | 0.6225 | 0.006364 | -0.0085
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 1 | 100.625 | 99.998 | 0 | -0.627 | 0.941 | 1.14 | 0 | 0.199
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 2 | 74.886 | 74.001 | 1.4057 | -0.88499 | 1.171 | 1.3985 | 0.15344 | 0.2275
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 4 | 50.331 | 50.5003 | 1.2916 | 0.16925 | 2.995 | 3.141 | 0.037193 | 0.146
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 3 | 25.368 | 25.66 | 1.5231 | 0.292 | 3.457 | 3.641 | 0.035791 | 0.184
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 3 | 10.637 | 10.997 | 0.9935 | 0.36 | 4.122 | 4.4867 | 0.050649 | 0.36467
2011-27-0001.mrgcln2 | 2011-27-0001.thn1 | 3 | 4.836 | 4.9997 | 0.99901 | 0.16367 | 5.078 | 5.5793 | 0.19373 | 0.50133
2011-27-0002.mrgcln2 | 2011-27-0002.thn1 | 3 | 4.709 | 4.9957 | 1.003 | 0.28667 | 6.929 | 6.894 | 0.097247 | -0.035
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 3 | 105.069 | 104.786 | 0.76654 | -0.28267 | 1.828 | 2.0843 | 0.40335 | 0.25633
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 2 | 99.752 | 99.0085 | 1.4178 | -0.7435 | 3.392 | 3.563 | 0.093338 | 0.171
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 2 | 74.731 | 73.9965 | 1.4248 | -0.7345 | 4.535 | 4.5605 | 0.17466 | 0.0255
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 2 | 74.807 | 73.9965 | 1.4248 | -0.8105 | 4.51 | 4.5605 | 0.17466 | 0.0505
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 4 | 50.299 | 50.4955 | 1.291 | 0.1965 | 5.659 | 5.68 | 0.024859 | 0.021
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 3 | 25.136 | 25.6697 | 1.5328 | 0.53367 | 4.393 | 4.8243 | 0.4301 | 0.43133
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 3 | 10.474 | 11.0087 | 1.0035 | 0.53467 | 6.578 | 6.4623 | 0.075659 | -0.11567
2011-27-0004.mrgcln2 | 2011-27-0004.thn1 | 3 | 5.282 | 5.0007 | 1.0155 | -0.28133 | 6.438 | 6.357 | 0.014731 | -0.081
2011-27-0009.mrgcln2 | 2011-27-0009.thn1 | 3 | 5.049 | 4.9963 | 1.0065 | -0.052667 | 7.339 | 6.8137 | 0.030353 | -0.52533
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 1 | 1315.01 | 1315.76 | 0 | 0.75 | 0.551 | 0.535 | 0 | -0.016
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 1250.62 | 1251 | 1.4171 | 0.38294 | 0.421 | 0.422 | 0 | 0.00099999
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 1250.74 | 1251 | 1.4171 | 0.26794 | 0.41 | 0.422 | 0 | 0.012
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 1001.13 | 1000.99 | 1.4071 | -0.14002 | 0.245 | 0.2635 | 0.0021213 | 0.0185
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 601.42 | 601.003 | 1.4114 | -0.41699 | 0.408 | 0.434 | 0.0070711 | 0.026
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 400.403 | 401.011 | 1.4135 | 0.60846 | 1.093 | 1.1605 | 0.0049498 | 0.0675
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 301.316 | 301 | 1.405 | -0.31552 | 1.858 | 1.93 | 0.0084853 | 0.072
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 200.112 | 200.497 | 0.72478 | 0.3855 | 2.885 | 3.0115 | 0.0077781 | 0.1265
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 1 | 150.378 | 150.002 | 0 | -0.37601 | 3.35 | 3.464 | 0 | 0.114
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 125.402 | 126.012 | 1.4149 | 0.6105 | 3.741 | 3.7485 | 0.041719 | 0.0075002
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 1 | 100.895 | 99.994 | 0 | -0.90099 | 5.01 | 4.955 | 0 | -0.055
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 76.089 | 76.0085 | 1.4163 | -0.080498 | 6.35 | 6.152 | 0.02687 | -0.198
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 4 | 50.131 | 50.4977 | 1.2919 | 0.36675 | 6.642 | 6.6775 | 0.030784 | 0.0355
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 2 | 24.694 | 25.002 | 1.4241 | 0.308 | 6.389 | 5.989 | 0.041012 | -0.4
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 3 | 10.038 | 11 | 1.0015 | 0.962 | 5.872 | 5.83 | 0.013857 | -0.042
2011-27-0012.mrgcln2 | 2011-27-0012.thn1 | 3 | 5.265 | 4.9977 | 1.016 | -0.26733 | 5.857 | 5.8833 | 0.012897 | 0.026333
2011-27-0019.mrgcln2 | 2011-27-0019.thn1 | 3 | 4.934 | 4.9957 | 1.005 | 0.061666 | 5.998 | 6.0067 | 0.027062 | 0.0086665
2011-27-0021.mrgcln2 | 2011-27-0021.thn1 | 3 | 5.666 | 5.0033 | 1.0015 | -0.66267 | 5.916 | 5.852 | 0.014731 | -0.064
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 2000.39 | 2000.99 | 1.4178 | 0.60339 | 1.291 | 1.3205 | 0.0021213 | 0.0295
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 1499.81 | 1498.99 | 1.405 | -0.81458 | 0.699 | 0.6035 | 0.0007071 | -0.0955
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 1248.96 | 1248.98 | 1.3944 | 0.028931 | 0.387 | 0.3825 | 0.0021213 | -0.0045
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 999.133 | 998.995 | 1.4135 | -0.13751 | 0.237 | 0.244 | 0.0028284 | 0.007
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 799.882 | 799.006 | 1.3986 | -0.87604 | 0.233 | 0.2515 | 0.00070712 | 0.0185
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 601.24 | 600.999 | 1.4389 | -0.24146 | 0.468 | 0.489 | 0.0028284 | 0.021
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 0 | 499.592 | 0 | 0 | -499.592 | 0.759 | 0 | 0 | -0.759
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 400.115 | 400.99 | 1.4156 | 0.875 | 1.156 | 1.2015 | 0.012021 | 0.0455
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 300.497 | 301 | 1.4135 | 0.50348 | 1.545 | 1.6265 | 0.0077781 | 0.0815
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 249.722 | 248.997 | 1.4022 | -0.72549 | 1.757 | 1.7755 | 0.02192 | 0.0185
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 3 | 199.834 | 199.664 | 1.5313 | -0.17 | 2.164 | 2.222 | 0.0017321 | 0.058
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 175.781 | 175.999 | 1.4149 | 0.2175 | 2.186 | 2.2525 | 0.0021213 | 0.0665
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 150.003 | 149.02 | 1.4163 | -0.9835 | 2.182 | 2.275 | 0.0028284 | 0.093
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 125.197 | 126.001 | 1.4093 | 0.80351 | 2.189 | 2.294 | 0.0042427 | 0.105
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 99.756 | 98.9985 | 1.4093 | -0.75749 | 2.458 | 2.479 | 0.02687 | 0.021
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 74.625 | 73.9945 | 1.4163 | -0.6305 | 4.641 | 3.6065 | 0.17183 | -1.0345
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 4 | 50.106 | 50.5037 | 1.2919 | 0.39775 | 6.299 | 6.369 | 0.013038 | 0.07
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 2 | 24.498 | 25.003 | 1.4114 | 0.505 | 6.948 | 7.39 | 0.21779 | 0.442
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 3 | 10.748 | 11.001 | 1.0035 | 0.253 | 5.918 | 5.924 | 0.01735 | 0.0059996
2011-27-0024.mrgcln2 | 2011-27-0024.thn1 | 3 | 4.718 | 4.9927 | 0.98701 | 0.27467 | 5.861 | 5.8307 | 0.060995 | -0.030333
2011-27-0026.mrgcln2 | 2011-27-0026.thn1 | 4 | 4.375 | 4.4013 | 1.4451 | 0.02625 | 5.895 | 5.8617 | 0.013074 | -0.03325
2011-27-0028.mrgcln2 | 2011-27-0028.thn1 | 3 | 5.291 | 5.002 | 1.006 | -0.289 | 6.112 | 6.1223 | 0.01365 | 0.010334
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 1 | 3269.3 | 3270.5 | 0 | 1.198 | 2.288 | 2.256 | 0 | -0.032
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 3000.01 | 3000 | 1.9915 | -0.0063477 | 2.226 | 2.211 | 0.0060827 | -0.015
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 2999.79 | 2999.01 | 1.4128 | -0.78296 | 2.828 | 2.2145 | 0.00070706 | -0.6135
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 2499.96 | 2498.99 | 1.4078 | -0.96533 | 1.847 | 1.854 | 0.0028284 | 0.007
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 1999.87 | 1998.99 | 1.4058 | -0.88391 | 1.411 | 1.4655 | 0.0021213 | 0.0545
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 1499.27 | 1499.01 | 1.4036 | -0.25952 | 0.698 | 0.709 | 0.0028284 | 0.011
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 1250.01 | 1251 | 1.4199 | 0.98694 | 0.399 | 0.4155 | 0.0049498 | 0.0165
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 1001.63 | 1000.99 | 1.4072 | -0.63501 | 0.266 | 0.2985 | 0.0035355 | 0.0325
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 800.426 | 800.99 | 1.4064 | 0.56445 | 0.215 | 0.2675 | 0.00070712 | 0.0525
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 600.037 | 601.005 | 1.3951 | 0.96851 | 0.311 | 0.3935 | 0.016264 | 0.0825
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 0 | 500.543 | 0 | 0 | -500.543 | 0.536 | 0 | 0 | -0.536
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 400.324 | 400.987 | 1.4029 | 0.66299 | 0.95 | 1.0975 | 0.010607 | 0.1475
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 299.4 | 298.993 | 1.4333 | -0.40649 | 1.616 | 1.9695 | 0.026163 | 0.3535
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 251.715 | 251.004 | 1.422 | -0.71051 | 2.473 | 2.6915 | 0.024749 | 0.2185
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 200.906 | 200.503 | 0.69296 | -0.40302 | 3.576 | 3.601 | 0.0014143 | 0.025
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 174.986 | 175.004 | 1.9894 | 0.01767 | 3.844 | 3.9707 | 0.007572 | 0.12667
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 1 | 150.234 | 150.01 | 0 | -0.224 | 4.055 | 4.226 | 0 | 0.171
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 125.837 | 125.992 | 1.4064 | 0.1545 | 4.516 | 4.586 | 0.011314 | 0.07
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 1 | 100.648 | 100.006 | 0 | -0.64201 | 5.043 | 4.968 | 0 | -0.075
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 2 | 74.775 | 73.9995 | 1.4107 | -0.7755 | 6.479 | 6.068 | 0.12728 | -0.411
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 51.017 | 51.0023 | 1.003 | -0.014664 | 6.946 | 6.9527 | 0.043062 | 0.0066667
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 25.259 | 25.6613 | 1.5372 | 0.40233 | 6.743 | 6.3877 | 0.10394 | -0.35533
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 10.797 | 10.9963 | 1.0145 | 0.19933 | 6.044 | 6.0407 | 0.022143 | -0.0033336
2011-27-0031.mrgcln2 | 2011-27-0031.thn1 | 3 | 5.565 | 4.9967 | 1.0005 | -0.56833 | 6.002 | 6.0067 | 0.020429 | 0.0046668
2011-27-0037.mrgcln2 | 2011-27-0037.thn1 | 3 | 4.829 | 4.985 | 1.011 | 0.156 | 6.019 | 6.0417 | 0.010066 | 0.022667
2011-27-0040.mrgcln2 | 2011-27-0040.thn1 | 3 | 4.915 | 4.996 | 1.0145 | 0.081 | 6.1 | 6.1117 | 0.0058595 | 0.011667
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 1 | 3685.22 | 3686.27 | 0 | 1.051 | 2.694 | 2.693 | 0 | -0.00099993
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 3500.6 | 3501 | 1.4087 | 0.39893 | 2.686 | 2.6645 | 0.0021212 | -0.0215
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 3500.4 | 3501 | 1.4087 | 0.59692 | 2.707 | 2.6645 | 0.0021212 | -0.0425
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 3001.2 | 3001.12 | 1.2573 | -0.085938 | 2.427 | 2.4115 | 0.013435 | -0.0155
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 2499.12 | 2498.87 | 1.5812 | -0.25391 | 1.935 | 1.948 | 0.0014142 | 0.013
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 1999.96 | 1998.89 | 1.2735 | -1.0655 | 1.295 | 1.3015 | 0.00070714 | 0.0065001
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 3 | 1500.45 | 1500.2 | 1.7002 | -0.25732 | 0.535 | 0.594 | 0.0026458 | 0.059
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 1251.29 | 1250.99 | 1.41 | -0.29602 | 0.318 | 0.3415 | 0.0049498 | 0.0235
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 1000.52 | 1001.01 | 1.3958 | 0.48798 | 0.286 | 0.3055 | 0.0007071 | 0.0195
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 800.521 | 801.11 | 1.2912 | 0.58899 | 0.368 | 0.417 | 0.0028284 | 0.049
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 599.876 | 598.985 | 1.3916 | -0.89099 | 0.561 | 0.605 | 0.0028284 | 0.044
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 399.265 | 398.953 | 1.3173 | -0.3125 | 1.454 | 1.4695 | 0.00070714 | 0.0155
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 300.142 | 301.006 | 1.4015 | 0.86401 | 2.027 | 2.1465 | 0.026163 | 0.1195
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 3 | 249.977 | 249.995 | 1.9776 | 0.017654 | 2.513 | 2.4853 | 0.0092916 | -0.027667
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 200.348 | 200.498 | 0.70428 | 0.14999 | 3.575 | 3.312 | 0.012728 | -0.263
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 174.945 | 173.99 | 1.4064 | -0.95551 | 3.947 | 3.611 | 0.0084853 | -0.336
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 1 | 150.479 | 150.011 | 0 | -0.468 | 4.127 | 4.152 | 0 | 0.025
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 125.664 | 125.983 | 1.4184 | 0.319 | 4.433 | 4.423 | 0.024042 | -0.0099997
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 1 | 100.797 | 99.982 | 0 | -0.815 | 5.411 | 5.405 | 0 | -0.0059996
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 75.583 | 75.996 | 1.417 | 0.413 | 6.829 | 6.8135 | 0.038891 | -0.0155
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 4 | 50.502 | 50.5105 | 1.2915 | 0.0084992 | 7.077 | 7.1777 | 0.014127 | 0.10075
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 2 | 24.983 | 24.998 | 1.4156 | 0.015001 | 6.482 | 6.2785 | 0.2383 | -0.2035
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 3 | 10 | 9.671 | 1.5198 | -0.329 | 6.132 | 6.1623 | 0.0032146 | 0.030333
2011-27-0042.mrgcln2 | 2011-27-0042.thn1 | 3 | 5.609 | 4.998 | 1.0025 | -0.611 | 6.121 | 6.135 | 0.012767 | 0.014
2011-27-0049.mrgcln2 | 2011-27-0049.thn1 | 3 | 4.629 | 5.001 | 1 | 0.372 | 6.111 | 6.138 | 0.016523 | 0.027
2011-27-0052.mrgcln2 | 2011-27-0052.thn1 | 3 | 5.184 | 4.996 | 0.9935 | -0.188 | 6.136 | 6.1723 | 0.0050333 | 0.036333
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 1 | 4022.68 | 4024.02 | 0 | 1.3469 | 2.988 | 2.953 | 0 | -0.035
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 3500.6 | 3501 | 1.4108 | 0.39648 | 2.863 | 2.8355 | 0.00070706 | -0.0275
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 3501.49 | 3501 | 1.4108 | -0.49243 | 2.849 | 2.8355 | 0.00070706 | -0.0135
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 2999.28 | 2998.99 | 1.4291 | -0.28369 | 2.512 | 2.493 | 0.0042427 | -0.019
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 3 | 2500 | 2499.99 | 1.9865 | -0.0080566 | 1.976 | 1.9423 | 0.0035119 | -0.033667
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 1999.76 | 1999 | 1.422 | -0.76343 | 1.29 | 1.279 | 0.012728 | -0.011
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 1500.09 | 1501 | 1.3972 | 0.90894 | 0.582 | 0.6005 | 0.006364 | 0.0185
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 1250.47 | 1251 | 1.4114 | 0.52502 | 0.351 | 0.3845 | 0.0007071 | 0.0335
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 999.566 | 999.007 | 1.4163 | -0.55853 | 0.343 | 0.3565 | 0.0077782 | 0.0135
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 800.135 | 801 | 1.4397 | 0.86499 | 0.404 | 0.426 | 0.0056569 | 0.022
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 600.064 | 601.001 | 1.4149 | 0.93744 | 0.575 | 0.637 | 0.0014142 | 0.062
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 399.365 | 399.004 | 1.4071 | -0.36099 | 1.253 | 1.4495 | 0.0021213 | 0.1965
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 299.9 | 298.999 | 1.4178 | -0.90149 | 1.79 | 1.9845 | 0.013435 | 0.1945
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 250.138 | 250.986 | 1.4121 | 0.8475 | 2.162 | 2.3565 | 0.0021213 | 0.1945
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 200.057 | 200.501 | 0.73116 | 0.444 | 2.925 | 3.0595 | 0.0077783 | 0.1345
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 174.66 | 174.002 | 1.4199 | -0.658 | 3.22 | 3.521 | 0.0070711 | 0.301
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 149.932 | 149.026 | 1.4135 | -0.90552 | 3.829 | 4.011 | 0.0070709 | 0.182
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 124.366 | 123.999 | 1.4163 | -0.3665 | 4.178 | 4.298 | 0.029698 | 0.12
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 3 | 98.96 | 98.3473 | 1.5272 | -0.61266 | 5.449 | 5.5053 | 0.11138 | 0.056334
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 74.958 | 73.9995 | 1.4093 | -0.9585 | 6.788 | 6.74 | 0.062225 | -0.048
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 3 | 48.629 | 48.9947 | 1.001 | 0.36567 | 7.205 | 7.148 | 0.031607 | -0.057
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 2 | 24.167 | 24.9975 | 1.4361 | 0.8305 | 6.321 | 6.461 | 0.18809 | 0.14
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 3 | 11.027 | 10.99 | 0.9995 | -0.037001 | 6.176 | 6.194 | 0.0052914 | 0.018
2011-27-0057.mrgcln2 | 2011-27-0057.thn1 | 3 | 4.839 | 5.0007 | 0.995 | 0.16167 | 6.161 | 6.2113 | 0.016803 | 0.050334
2011-27-0060.mrgcln2 | 2011-27-0060.thn1 | 3 | 5.374 | 4.992 | 1.0105 | -0.382 | 6.199 | 6.175 | 0.0151 | -0.024
2011-27-0062.mrgcln2 | 2011-27-0062.thn1 | 3 | 5.528 | 4.9973 | 1.0041 | -0.53067 | 6.182 | 6.166 | 0.007 | -0.016
2011-27-0065.mrgcln2 | 2011-27-0065.thn1 | 3 | 4.134 | 5.0133 | 0.981 | 0.87933 | 6.235 | 6.2407 | 0.014012 | 0.0056663
2011-27-0066.mrgcln2 | 2011-27-0066.thn1 | 3 | 5.531 | 5.0063 | 1.0065 | -0.52467 | 6.202 | 6.202 | 0.018 | 0
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 1 | 4315.98 | 4317.36 | 0 | 1.3818 | 3.198 | 3.18 | 0 | -0.018
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 3997.96 | 3997 | 1.4071 | -0.95508 | 3.177 | 3.127 | 0.012728 | -0.05
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 1 | 3500 | 3500.01 | 0 | 0.0061035 | 2.976 | 2.893 | 0 | -0.083
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 3000.11 | 3001 | 1.4411 | 0.88696 | 2.569 | 2.525 | 0.0070711 | -0.044
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 2500.32 | 2500.99 | 1.436 | 0.66748 | 1.998 | 1.9445 | 0.0063639 | -0.0535
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 1999.53 | 1999.01 | 1.4446 | -0.52051 | 1.331 | 1.308 | 0.0070711 | -0.023
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 1499.32 | 1499 | 1.422 | -0.32642 | 0.617 | 0.6525 | 0.0021213 | 0.0355
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 3 | 1250.43 | 1250.21 | 1.7135 | -0.22595 | 0.452 | 0.46033 | 0.0037859 | 0.0083334
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 999.832 | 998.99 | 1.4276 | -0.84149 | 0.495 | 0.484 | 0.0028284 | -0.011
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 800.324 | 801.003 | 1.4397 | 0.67902 | 0.572 | 0.5405 | 0.0021213 | -0.0315
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 600.49 | 601.002 | 1.4227 | 0.51196 | 0.653 | 0.657 | 0.0014142 | 0.004
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 400.439 | 400.674 | 0.97864 | 0.23502 | 1.111 | 1.0825 | 0.0049497 | -0.0285
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 301.499 | 301 | 1.4149 | -0.4985 | 1.581 | 1.612 | 0.015556 | 0.031
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 249.078 | 249.005 | 1.4093 | -0.073502 | 2.104 | 2.2935 | 0.006364 | 0.1895
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 3 | 201.165 | 201.327 | 1.5225 | 0.16167 | 2.662 | 2.936 | 0.012124 | 0.274
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 174.859 | 174.001 | 1.4142 | -0.85799 | 3.03 | 3.3445 | 0.0091924 | 0.3145
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 149.541 | 149.004 | 1.4425 | -0.537 | 3.537 | 3.7675 | 0.047376 | 0.2305
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 125.246 | 125.997 | 1.439 | 0.7515 | 5.762 | 6.0315 | 0.29345 | 0.2695
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 101.145 | 101.508 | 2.122 | 0.36251 | 7.038 | 7.131 | 0.011314 | 0.093
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 76.088 | 76.006 | 1.4269 | -0.082001 | 7.077 | 7.148 | 0.045255 | 0.071
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 4 | 49.345 | 49.5017 | 1.2868 | 0.15675 | 7.29 | 7.4677 | 0.028442 | 0.17775
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 2 | 24.929 | 25.009 | 1.417 | 0.079998 | 6.256 | 6.259 | 0.0014145 | 0.0029998
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 3 | 10.935 | 11.0007 | 0.98559 | 0.065666 | 6.264 | 6.264 | 0.020075 | 0
2011-27-0070.mrgcln2 | 2011-27-0070.thn1 | 3 | 5.134 | 5.0273 | 0.97256 | -0.10667 | 6.276 | 6.2827 | 0.019218 | 0.0066667
Create Fit Sheet