## Notes
Cruise 2011-27 August Papa | File: QF 2011-27nuts.xls
Notes | Date: September 29, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes. | Updated: April 23, 2012 to include JF Loops
Most samples were analysed fresh at Sea by Wendy Richardson
A few loop samples (#10 to 18) were analyzed from frozen at IOS
The Astoria Analyzer was used for sample analyses.
The Chauvenet criteria was used to evaluate precision of duplicates.
Outliers were omitted from the Precision Statement.
The Astoria analyzer was dropped a couple of feet while loading when the load shifted
as the bonnet was lowered on the deck.
The Silicate drifted more than usual at the beginning of the trip, although contstant troubleshooting throughout the
cruise improved the preformance of the analyzer.
A major overhaul of the Astoria was carried out when it returned to IOS, including replacing the
chipped flow cells.
Sample 72 is a possible mistrip, the values look closer to 100m than 175m.
Sample 150, the nutrient tube was empty.
Sample 251 looks like it was mis-sampled. The 5m is usually close in
value to the loop sample, but this looks the same as the 'Max' 30m bottle.
Sample 295 the nutrient tube was missing.
Sample 293 showed a dip in the profile; possible mistrip or mis-sample.
Sample 332 had a very high phosphate value and looked contaminated; flagged as a bad
result since I did not trust the values.
Samples 525 and 524 show an unusual dip in the silicate values.
Corrections made as follows on 27-Jan-2014 by Mark Belton
Nitrate and phosphate values were corrected for this cruise according to calculations made by Janet Barwell-Clarke to account
for system differences between technicon and astoria analyzing systems. For further details please see "Corrections to Nitrate and Phosphate Data 2009-2012"
Located on the OSD_DATA_ARCHIVE drive: L:\Cruise_Data\DOCUMENTS\Analysis Reference Papers

## Method
Cruise 2011-27 August Papa |  | File: QF 2011-27nuts.xls
Date: September 29, 2011
Samples were collected in plastic test tubes. |  | Compiled by Wendy Richardson
Most samples were analysed fresh at Sea by Wendy Richardson
A few loop samples (#10 to 18) were analyzed from frozen at IOS
The Astoria Analyzer was used for sample analyses.
Quality Flags for Water Samples
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).
Nutrient Analysis specific examples for quality flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).

## Data combo avg dup +QF
Cruise 2011-27 August Papa | [12 empty] | File: QF 2011-27nuts.xls
Date: September 29, 2011
Samples were collected in plastic test tubes. | [12 empty] | Compiled by Wendy Richardson
Samples were analysed fresh at Sea by Wendy Richardson | [12 empty] | Updated: April 23, 2012 to include JF Loops
The Astoria Analyzer was used for sample analyses.
Duplicates |  | Niskins same depth |  | Important comments
Loop samples |  |  |  | Niskin didn't close
Quality Flags:
1 = Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
3 = Questionable measurement (no problem observed in sampling or analysis,
but value is not trusted, nonetheless; includes outlyers)
4 = bad measurement (known problem with sampling or analysis,
but not serious enough to completely discard the value)
5 = Not reported (lost sample; unredeemably bad measurement)
6 = average of duplicate samples
9 = sample not drawn for this measurement from this bottle
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | NO3 | SiO3 | SiO3 | PO4 | PO4 | Comments
|  |  |  | (nominal) | (actual) |  | uM | QF | uM | QF | uM | QF
2011-27 | SI03 | 1 | 11 | 5 | 4.836 | 11 | 11.386 |  | 32.35 |  | 1.3602
2011-27 | SI03 | 1 | 10 | 10 | 10.635 | 10 | 16.8709 |  | 40.2 |  | 1.864
2011-27 | SI03 | 1 | 9 | 25 | 25.376 | 9 | 23.5136 |  | 37.79 |  | 2.2696
2011-27 | SI03 | 1 | 8 | 50 | 50.333 | 8 | 27.4973 |  | 45.7 |  | 2.6317
2011-27 | SI03 | 1 | 7 | 75 | 74.883 | 7 | 25.6134 |  | 73.26 |  | 3.6796
2011-27 | SI03 | 1 | 6 | 100 | 100.626 | 6 | 21.5807 |  | 78.76 |  | 3.9406
2011-27 | SI03 | 1 | 5 | 125 | 125.251 | 5 | 16.2822 |  | 87.66 |  | 4.3695
2011-27 | SI03 | 1 | 4 | 150 | 150.499 | 4 |  | 1 | 107.01 | 6 | 5.2611 | 6 | H2S, no nitrate analyzed
2011-27 | SI03 | 1 | 3 | 175 | 175.021 | 3 |  | 1 | 118.37 |  | 6.2519 |  | H2S, no nitrate analyzed
2011-27 | SI03 | 1 | 2 | 200 | 199.943 | 2 |  | 1 | 118.95 |  | 6.3439 |  | H2S, no nitrate analyzed
2011-27 | SI03 | 1 | 1 | Bot-10 | 215.517 | 1 |  | 1 | 117.07 |  | 6.2276 |  | H2S, no nitrate analyzed
2011-27 | JF1 |  |  | Loop |  | Loop | 27.7426 |  | 47 |  | 2.22
2011-27 | JF2 |  |  | Loop |  | Loop | 26.6633 |  | 45.2 |  | 2.1593
2011-27 | JF3 |  |  | Loop |  | Loop | 25.0934 |  | 43.3 |  | 2.0278
2011-27 | JF4 |  |  | Loop |  | Loop | 26.4671 |  | 44.2 |  | 2.0986
2011-27 | P1 |  |  | Loop |  | Loop | 3.7032 |  | 16.1 |  | 0.58139
2011-27 | P1 | 2 | 13 | 5 | 4.725 | 2 | 3.507 |  | 16.6 |  | 0.54094
2011-27 | P1 | 2 | 12 | Chl Max | 9.662 | 1 | 12.2397 |  | 32.3 |  | 1.2085
2011-27 | P2 | 4 | 22 | 5 | 5.269 | 8 | 0.1709 |  | 11.5 |  | 0.27794
2011-27 | P2 | 4 | 21 | 10 | 10.399 | 7 | 3.2126 |  | 18.3 |  | 0.66231
2011-27 | P2 | 4 | 20 | 25 | 25.143 | 6 | 18.6665 | 6 | 27.15 | 6 | 1.6688 | 6
2011-27 | P2 | 4 | 19 | 50 | 50.272 | 5 | 13.5152 |  | 15 |  | 1.2692
2011-27 | P2 | 4 | 18 | 75 | 74.818 | 4 | 20.7761 |  | 26.1 |  | 1.694
2011-27 | P2 | 4 | 17 | 75 | 74.87 | 3 | 20.7761 |  | 25.6 |  | 1.6839
2011-27 | P2 | 4 | 16 | 100 | 99.785 | 2 | 27.7426 |  | 36.8 |  | 2.0582
2011-27 | P2 | 4 | 15 | Bot-10 | 104.977 | 1 | 33.5317 |  | 51.8 |  | 2.6145
2011-27 | P2 | 6/7 | 33 | 0 | 1.428 | 15 | 0.1709 |  | 10.9 |  | 0.28806
2011-27 | P2 | 6/7 | 32 | 5 | 4.583 | 10 | 0.1709 |  | 11.1 |  | 0.29818
2011-27 | P2 | 6/7 | 31 | 10 | 10.04 | 9 | 0.1709 |  | 11.2 |  | 0.29818
2011-27 | P2 | 6/7 | 30 | 15 | 15.685 | 8 | 5.8619 |  | 18 |  | 0.90507
2011-27 | P2 | 6/7 | 29 | 20 | 20.154 | 7 | 15.772 |  | 22.1 |  | 1.5221
2011-27 | P2 | 6/7 | 28 | 25 | 25.624 | 6 | 16.5569 |  | 22.1 |  | 1.5626
2011-27 | P2 | 6/7 | 27 | 30 | 29.818 | 5 | 16.4588 |  | 22 |  | 1.5524
2011-27 | P2 | 6/7 | 26 | 40 | 40.633 | 4 | 10.2773 |  | 10.7 |  | 1.1175
2011-27 | P2 | 6/7 | 25 | 50 | 50.136 | 3 | 14.0058 |  | 15.2 |  | 1.3198
2011-27 | P2 | 6/7 | 24 | 75 | 73.61 | 2 | 21.1686 | 6 | 25.75 | 6 | 1.7649 | 6
2011-27 | P2 | 6/7 | 23 | 100 | 100.187 | 1 | 27.5464 |  | 34.8 |  | 2.1189
2011-27 | P3 |  |  | Loop |  | Loop | 0.26902 |  | 13.62 |  | 0.42866
2011-27 | P3 | 9 | 50 | 5 | 5.027 | 2 | 0.1709 |  | 13.43 |  | 0.39932
2011-27 | P3 | 9 | 49 | Max | 20.354 | 1 | 0.14146 |  | 4.77 |  | 0.459
2011-27 | P4 | 11 | 61 | 50 |  | 6 | 3.507 |  | 6.44 |  | 0.69772
2011-27 | P4 | 11 | 60 | 75 |  | 5 | 9.3844 |  | 8.59 |  | 1.0275
2011-27 | P4 | 11 | 59 | 100 |  | 4 | 18.0287 |  | 20.45 |  | 1.515
2011-27 | P4 | 11 | 58 | 150 |  | 3 | 28.243 |  | 36.77 |  | 2.0966
2011-27 | P4 | 11 | 57 | 200 |  | 2 | 31.2946 |  | 45.97 |  | 2.2777
2011-27 | P4 | 11 | 56 | 300 |  | 1 | 36.2791 |  | 60.69 |  | 2.6317
2011-27 | P4 | 12 | 80 | 5 | 5.296 | 19 | 0.1709 |  | 2.53 |  | 0.32953
2011-27 | P4 | 12 | 79 | 10 | 10.048 | 18 | 0.1709 |  | 2.5 |  | 0.33257
2011-27 | P4 | 12 | 78 | 25 | 24.694 | 17 | 0.1709 |  | 3.22 |  | 0.3619
2011-27 | P4 | 12 | 77 | 50 | 50.177 | 16 | 3.7523 |  | 6.38 |  | 0.72907
2011-27 | P4 | 12 | 76 | 75 | 76.04 | 15 | 8.1775 |  | 7.22 |  | 0.98195
2011-27 | P4 | 12 | 75 | 100 | 100.914 | 14 | 17.1947 |  | 19.95 |  | 1.51
2011-27 | P4 | 12 | 74 | 125 | 125.409 | 13 | 24.485 |  | 29.43 |  | 1.9398
2011-27 | P4 | 12 | 73 | 150 | 150.41 | 12 | 27.6837 |  | 34.89 |  | 2.0764
2011-27 | P4 | 12 | 72 | 175 | 175.15 | 11 | 17.4498 | 3 | 19.6 | 3 | 1.4867 | 3 | Possible mistrip?
2011-27 | P4 | 12 | 71 | 200 | 200.083 | 10 | 30.5096 |  | 43.46 |  | 2.2332
2011-27 | P4 | 12 | 70 | 250 | 250.443 | 9 |  | 9 |  | 9 |  | 9 | Niskin empty
2011-27 | P4 | 12 | 69 | 300 | 301.35 | 8 | 36.0926 |  | 60.63 |  | 2.6489
2011-27 | P4 | 12 | 68 | 400 | 400.409 | 7 | 39.9389 | 6 | 75.32 | 6 | 2.9534 | 6
2011-27 | P4 | 12 | 67 | 600 | 601.392 | 6 | 43.0788 |  | 96.07 |  | 3.2447
2011-27 | P4 | 12 | 66 | 800 | 800.548 | 5 |  | 9 |  | 9 |  | 9 | Niskin empty
2011-27 | P4 | 12 | 65 | 1000 | 1001.134 | 4 | 44.423 |  | 126.51 |  | 3.358
2011-27 | P4 | 12 | 64 | 1250 | 1250.7 | 3 | 44.0992 |  | 141.66 |  | 3.3266
2011-27 | P4 | 12 | 63 | 1250 | 1250.681 | 2 | 44.3445 |  | 141.11 |  | 3.3256
2011-27 | P4 | 12 | 62 | Bot-10 | 1315.04 | 1 | 44.1777 |  | 148.3 |  | 3.2882
2011-27 | P4 | 15 | 97 | 10 | 9.816 | 17 | 0.1709 |  | 2.25 |  | 0.33155
2011-27 | P4 | 15 | 94 | 500 | 500.034 | 14 | 41.4107 |  | 84.51 |  | 3.0707
2011-27 | P4 | 15 | 91 | 1000 | 1000.423 | 11 | 43.2848 |  | 121.4 |  | 3.3003
2011-27 | P4 | 15 | 88 | 1300 | 1300.568 | 8 | 43.8245 |  | 144.18 |  | 3.2942
2011-27 | P4 | 16 | 104 | 10 |  |  | 0.19052 |  | 2.17 |  | 0.32043
2011-27 | P4 | 16 | 103 | 20 |  |  | 0.1709 |  | 2.12 |  | 0.32852
2011-27 | P4 | 16 | 102 | 25 |  |  | 0.22977 |  | 3.65 |  | 0.40135
2011-27 | P4 | 16 | 101 | 40 |  |  | 2.4375 |  | 6.2 |  | 0.64613
2011-27 | P4 | 17 | 116 | 35 |  |  | 0.1709 |  | 4 |  | 0.39932
2011-27 | P4 | 17 | 115 | 175 |  |  | 29.4107 |  | 39.4 |  | 2.2099
2011-27 | P4 | 17 | 114 | 250 |  |  | 32.3543 |  | 48.6 |  | 2.4122
2011-27 | P4 | 17 | 113 | 360 |  |  | 37.9471 |  | 64.9 |  | 2.8168
2011-27 | P4 | 17 | 112 | 400 |  |  | 38.8302 |  | 69.3 |  | 2.9078
2011-27 | P4 | 17 | 111 | 600 |  |  | 42.1663 |  | 92.3 |  | 3.2214
2011-27 | P4 | 17 | 110 | 700 |  |  | 43.0493 |  | 102.4 |  | 3.2922
2011-27 | P4 | 17 | 109 | 800 |  |  | 43.2456 |  | 108.6 |  | 3.3428
2011-27 | P4 | 17 | 108 | 900 |  |  | 44.1287 |  | 115.9 |  | 3.3529
2011-27 | P4 | 17 | 107 | 1000 |  |  | 43.5399 |  | 122.2 |  | 3.363
2011-27 | P4 | 17 | 106 | 1100 |  |  | 43.6381 |  | 128.7 |  | 3.3327
2011-27 | P4 | 17 | 105 | 1200 |  |  | 43.6381 |  | 135.9 |  | 3.3226
2011-27 | P4 | 18 | 129 | 0 | 1.547 | 13 | 0.18071 |  | 2.17 |  | 0.3184
2011-27 | P4 | 18 | 128 | 5 | 5.012 | 12 | 0.15618 | 6 | 2.225 | 6 | 0.33206 | 6
2011-27 | P4 | 18 | 127 | 10 | 10.486 | 11 |  | 9 |  | 9 |  | 9 | Niskin empty
2011-27 | P4 | 18 | 126 | 15 | 15.166 | 10 | 0.13165 |  | 2.27 |  | 0.33965
2011-27 | P4 | 18 | 125 | 20 | 20.326 | 9 | 0.13165 |  | 2.25 |  | 0.33459
2011-27 | P4 | 18 | 124 | 25 | 25.583 | 8 | 0.1709 |  | 2.67 |  | 0.36595
2011-27 | P4 | 18 | 123 | 30 | 30.37 | 7 |  | 9 |  | 9 |  | 9 | Niskin empty
2011-27 | P4 | 18 | 122 | 40 | 40.692 | 6 | 0.71056 |  | 5.86 |  | 0.6259
2011-27 | P4 | 18 | 121 | 50 | 50.072 | 5 |  | 9 |  | 9 |  | 9 | Niskin empty
2011-27 | P4 | 18 | 120 | 75 | 76.163 | 4 | 8.2266 |  | 6.51 |  | 0.97993
2011-27 | P4 | 18 | 119 | 100 | 100.283 | 3 | 13.9862 |  | 16.03 |  | 1.3279
2011-27 | P4 | 18 | 118 | 175 | 174.857 | 2 | 29.5677 |  | 39.45 |  | 2.2261
2011-27 | P4 | 18 | 117 | 200 | 200.698 | 1 | 30.019 |  | 41.79 |  | 2.2372
2011-27 | P5 |  |  | Loop |  | Loop | 0.1709 |  | 2 |  | 0.3184
2011-27 | P5 | 19 | 134 | 5 | 4.88 | 2 | 0.1709 |  | 2 |  | 0.30829
2011-27 | P5 | 19 | 133 | Max | 36.708 | 1 | 0.1709 |  | 3.8 |  | 0.4499
2011-27 | P6 | 20 | 136 | 5 | 5.478 | 2 | 0.1709 |  | 7.3 |  | 0.30829
2011-27 | P6 | 20 | 135 | Max | 20.973 | 1 | 0.1709 |  | 5.9 |  | 0.40944
2011-27 | P7 |  |  | Loop |  | Loop | 0.1709 |  | 2.3 |  | 0.34875
2011-27 | P7 | 21 | 138 | 5 | 5.65 | 2 | 0.1709 |  | 2.3 |  | 0.32852
2011-27 | P7 | 21 | 137 | Max | 50.884 | 1 | 5.6656 |  | 4.8 |  | 0.81404
2011-27 | P8 | 24 | 158 | 5 | 4.721 | 20 | 0.1709 |  | 2.4 |  | 0.3184
2011-27 | P8 | 24 | 157 | 10 | 10.729 | 19 | 0.1709 |  | 2.7 |  | 0.32852
2011-27 | P8 | 24 | 156 | 25 | 24.545 | 18 | 0.1709 |  | 2.2 |  | 0.38921
2011-27 | P8 | 24 | 155 | 50 | 50.06 | 17 | 7.3337 |  | 5.6 |  | 0.91519
2011-27 | P8 | 24 | 154 | 75 | 74.67 | 16 | 17.9306 |  | 20.3 |  | 1.5524
2011-27 | P8 | 24 | 153 | 100 | 99.85 | 15 | 30.2937 |  | 38.7 |  | 2.3414
2011-27 | P8 | 24 | 152 | 125 | 125.193 | 14 | 31.7655 |  | 41.8 |  | 2.4426
2011-27 | P8 | 24 | 151 | 150 | 150.066 | 13 | 32.0108 | 6 | 42.35 | 6 | 2.4375 | 6
2011-27 | P8 | 24 | 150 | 175 | 175.751 | 12 |  | 9 |  | 9 |  | 9 | Nutrient tube empty
2011-27 | P8 | 24 | 149 | 200 | 199.863 | 11 | 32.2561 |  | 43.7 |  | 2.4426
2011-27 | P8 | 24 | 148 | 250 | 249.742 | 10 | 34.5129 |  | 49.6 |  | 2.6044
2011-27 | P8 | 24 | 147 | 300 | 300.439 | 9 | 35.8866 |  | 53 |  | 2.6752
2011-27 | P8 | 24 | 146 | 400 | 400.142 | 8 | 38.9283 |  | 65.5 |  | 2.8775
2011-27 | P8 | 24 | 145 | 500 | 499.592 | 7 | 41.4794 |  | 79.6 |  | 3.0798
2011-27 | P8 | 24 | 144 | 600 | 601.282 | 6 | 42.755 |  | 91.8 |  | 3.2113
2011-27 | P8 | 24 | 143 | 800 | 799.929 | 5 | 44.0305 |  | 112.2 |  | 3.3327
2011-27 | P8 | 24 | 142 | 1000 | 999.159 | 4 | 44.6193 |  | 126.2 |  | 3.3529
2011-27 | P8 | 24 | 141 | 1250 | 1248.859 | 3 | 45.0117 |  | 145.1 |  | 3.3226
2011-27 | P8 | 24 | 140 | 1500 | 1499.88 | 2 | 44.5211 |  | 156.7 |  | 3.2416
2011-27 | P8 | 24 | 139 | 2000 | 2000.276 | 1 | 42.9022 | 6 | 173.85 | 6 | 3.0849 | 6
2011-27 | P9 |  |  | Loop |  | Loop | 0.1709 |  | 1.8 |  | 0.30829
2011-27 | P9 | 26 | 164 | 5 | 4.385 | 2 | 0.1709 |  | 1.9 |  | 0.29818
2011-27 | P9 | 26 | 163 | Max | 39.969 | 1 | 10.3754 |  | 11.9 |  | 1.1377
2011-27 | P10 | 27 | 166 | 5 | 4.803 | 2 | 0.1709 |  | 3 |  | 0.34875
2011-27 | P10 | 27 | 165 | Max | 43.732 | 1 | 4.7825 |  | 8.5 |  | 0.74323
2011-27 | P11 |  |  | Loop |  | Loop | 0.75962 |  | 8.8 |  | 0.50048
2011-27 | P11 | 28 | 168 | 5 | 5.311 | 2 | 0.6615 |  | 8.4 |  | 0.49036
2011-27 | P11 | 28 | 167 | Max | 35.55 | 1 | 3.8995 |  | 9.6 |  | 0.69266
2011-27 | P12 | 29 | 182 | 0 | 1.464 | 14 | 0.1709 |  | 6.8 |  | 0.42967
2011-27 | P12 | 29 | 181 | 5 | 5.334 | 13 | 0.1709 |  | 6.7 |  | 0.42967
2011-27 | P12 | 29 | 180 | 10 | 10.746 | 12 | 0.1709 |  | 6.7 |  | 0.42967
2011-27 | P12 | 29 | 179 | 15 | 15.813 | 11 | 0.1709 |  | 5.7 |  | 0.41956
2011-27 | P12 | 29 | 178 | 20 | 20.407 | 10 | 0.36714 |  | 6.3 |  | 0.4499
2011-27 | P12 | 29 | 177 | 25 | 25.697 | 9 | 1.054 |  | 6.9 |  | 0.5207
2011-27 | P12 | 29 | 176 | 30 | 30.373 | 8 | 3.9976 |  | 10.4 |  | 0.71289
2011-27 | P12 | 29 | 175 | 40 | 40.358 | 7 | 5.3713 |  | 11.1 |  | 0.81404
2011-27 | P12 | 29 | 174 | 50 | 50.457 | 6 | 6.9412 |  | 11.6 |  | 0.91519
2011-27 | P12 | 29 | 173 | 75 | 76.162 | 5 | 14.1039 |  | 17.6 |  | 1.2996
2011-27 | P12 | 29 | 172 | 100 | 100.249 | 4 | 20.5799 |  | 26.6 |  | 1.6334
2011-27 | P12 | 29 | 171 | 175 | 175.505 | 3 | 28.8219 | 6 | 44.4 | 6 | 2.0986 | 6
2011-27 | P12 | 29 | 170 | 200 | 200.761 | 2 | 30.5881 |  | 50 |  | 2.2099
2011-27 | P12 | 29 | 169 | 300 | 299.271 | 1 | 38.1433 |  | 70.4 |  | 2.746
2011-27 | P12 | 30 | 191 | 50 |  | 6 | 5.7637 |  | 11.1 |  | 0.82415
2011-27 | P12 | 30 | 190 | 75 |  | 5 | 12.0434 |  | 15.3 |  | 1.1681
2011-27 | P12 | 30 | 189 | 100 |  | 4 | 20.1874 |  | 25.6 |  | 1.603
2011-27 | P12 | 30 | 188 | 150 |  | 3 | 25.7802 |  | 36.8 |  | 1.9166
2011-27 | P12 | 30 | 187 | 200 |  | 2 | 29.9994 |  | 49.3 |  | 2.1998
2011-27 | P12 | 30 | 186 | 300 |  | 1 | 37.9471 |  | 69.1 |  | 2.7561
2011-27 | P12 | 31 | 215 | 5 | 5.573 | 24 | 0.1709 |  | 6.1 |  | 0.42967
2011-27 | P12 | 31 | 214 | 10 | 10.864 | 23 | 0.1709 |  | 6.1 |  | 0.42967
2011-27 | P12 | 31 | 213 | 25 | 25.118 | 22 | 1.3483 |  | 7.2 |  | 0.54094
2011-27 | P12 | 31 | 212 | 50 | 51.018 | 21 | 6.5487 |  | 11.4 |  | 0.90507
2011-27 | P12 | 31 | 211 | 75 | 74.938 | 20 | 10.5716 |  | 13.7 |  | 1.1276
2011-27 | P12 | 31 | 210 | 100 | 100.493 | 19 | 19.6968 |  | 25.2 |  | 1.603
2011-27 | P12 | 31 | 209 | 125 | 125.849 | 18 | 23.0329 |  | 30.7 |  | 1.775
2011-27 | P12 | 31 | 208 | 150 | 150.346 | 17 | 26.6633 |  | 39.1 |  | 1.9975
2011-27 | P12 | 31 | 207 | 175 | 175.206 | 16 | 28.4295 |  | 44 |  | 2.0986
2011-27 | P12 | 31 | 206 | 200 | 200.991 | 15 | 29.9013 | 6 | 48.4 | 6 | 2.2099 | 6
2011-27 | P12 | 31 | 205 | 250 | 251.873 | 14 | 35.1016 |  | 60.2 |  | 2.5741
2011-27 | P12 | 31 | 204 | 300 | 299.383 | 13 | 38.8302 |  | 70.9 |  | 2.8269
2011-27 | P12 | 31 | 203 | 400 | 400.337 | 12 | 41.2832 |  | 82.4 |  | 3.0393
2011-27 | P12 | 31 | 202 | 500 | 500.47 | 11 | 42.9512 |  | 93.8 |  | 3.181
2011-27 | P12 | 31 | 201 | 600 | 600.03 | 10 | 43.6381 |  | 104.1 |  | 3.272
2011-27 | P12 | 31 | 200 | 800 | 800.59 | 9 | 44.423 |  | 119.4 |  | 3.3327
2011-27 | P12 | 31 | 199 | 1000 | 1001.59 | 8 | 44.7174 |  | 133.5 |  | 3.3226
2011-27 | P12 | 31 | 198 | 1250 | 1250.181 | 7 | 44.6193 |  | 147.7 |  | 3.2821
2011-27 | P12 | 31 | 197 | 1500 | 1499.317 | 6 | 43.7362 |  | 156.1 |  | 3.2012
2011-27 | P12 | 31 | 196 | 2000 | 1999.702 | 5 | 41.97 |  | 165.8 |  | 3.0596
2011-27 | P12 | 31 | 195 | 2500 | 2499.949 | 4 | 40.6945 |  | 168.5 |  | 2.9685
2011-27 | P12 | 31 | 194 | 3000 | 2999.855 | 3 | 40.4001 |  | 168.3 |  | 2.8775
2011-27 | P12 | 31 | 193 | 3000 | 2999.902 | 2 | 40.7926 |  | 170.7 |  | 2.8876
2011-27 | P12 | 31 | 192 | Bot-10 | 3269.313 | 1 | 40.7926 |  | 173.2 |  | 2.8775
2011-27 | P12 | 32 | 227 | 250 |  | 12 | 34.5129 |  | 58.9 |  | 2.5437
2011-27 | P12 | 32 | 226 | 400 |  | 11 | 41.8719 |  | 86.2 |  | 3.0798
2011-27 | P12 | 32 | 225 | 600 |  | 10 | 43.7362 |  | 107.5 |  | 3.2821
2011-27 | P12 | 32 | 224 | 675 |  | 9 | 44.2268 |  | 115.6 |  | 3.3023
2011-27 | P12 | 32 | 223 | 700 |  | 8 | 44.5211 |  | 116.7 |  | 3.3327
2011-27 | P12 | 32 | 222 | 800 |  | 7 | 44.423 |  | 123.2 |  | 3.3529
2011-27 | P12 | 32 | 221 | 1000 |  | 6 | 44.7174 |  | 136.6 |  | 3.3428
2011-27 | P12 | 32 | 220 | 1200 |  | 5 | 44.7174 |  | 148.7 |  | 3.3226
2011-27 | P12 | 32 | 219 | 1400 |  | 4 | 44.2268 |  | 159.1 |  | 3.2518
2011-27 | P12 | 32 | 218 | 1600 |  | 3 | 43.6381 |  | 162.8 |  | 3.2012
2011-27 | P12 | 32 | 217 | 1800 |  | 2 | 42.8531 |  | 165.8 |  | 3.1203
2011-27 | P12 | 32 | 216 | 2000 |  | 1 | 42.0681 |  | 169.7 |  | 3.0899
2011-27 | P12 | 35 | 246 | 10 | 10.412 | 19 | 0.1709 |  | 5.7 |  | 0.41956
2011-27 | P12 | 35 | 240 | 500 | 502.613 | 13 | 42.5587 |  | 97.7 |  | 3.1911
2011-27 | P12 | 35 | 237 | 1000 | 1001.274 | 10 | 44.7174 |  | 136.6 |  | 3.3327
2011-27 | P12 | 35 | 234 | 2000 | 2001.338 | 7 | 41.97 |  | 170.1 |  | 3.0697
2011-27 | P12 | 36 | 250 | 40 |  |  | 4.3901 |  | 10 |  | 0.73312
2011-27 | P12 | 36 | 249 | 25 |  |  | 0.95586 |  | 6.7 |  | 0.48024
2011-27 | P12 | 36 | 248 | 20 |  |  | 0.26902 |  | 6 |  | 0.42967
2011-27 | P12 | 36 | 247 | 10 |  |  | 0.26902 |  | 6.2 |  | 0.42967
2011-27 | P13 |  |  | Loop |  | Loop | 0.1709 |  | 1.9 |  | 0.39932
2011-27 | P13 | 37 | 251 | 5 | 4.847 | 2 | 2.5258 | 3 | 7.8 | 3 | 0.60162 | 3 | mis sampled?
2011-27 | P13 | 37 | 250 | Max | 29.84 | 1 | 2.5258 |  | 7.8 |  | 0.61174
2011-27 | P14 | 38 | 253 | 5 | 5.633 | 2 | 4.3901 |  | 8.7 |  | 0.72301
2011-27 | P14 | 38 | 252 | Max | 45.855 | 1 | 7.3337 |  | 12.1 |  | 0.92531
2011-27 | P15 |  |  | Loop |  | Loop | 4.9788 |  | 9.3 |  | 0.74323
2011-27 | P15 | 40 | 255 | 5 | 4.954 | 2 | 4.9788 |  | 9.2 |  | 0.74323
2011-27 | P15 | 40 | 254 | Max | 30.103 | 1 | 4.9788 |  | 9.3 |  | 0.75335
2011-27 | P16 | 41 | 264 | 10 |  | 9 | 5.6656 |  | 11.5 |  | 0.7837
2011-27 | P16 | 41 | 263 | 25 |  | 8 | 5.7637 |  | 11.4 |  | 0.80393
2011-27 | P16 | 41 | 262 | 40 |  | 7 | 6.9412 |  | 12.8 |  | 0.89496
2011-27 | P16 | 41 | 261 | 50 |  | 6 | 7.628 |  | 13 |  | 0.93542
2011-27 | P16 | 41 | 260 | 75 |  | 5 | 11.0622 |  | 14.8 |  | 1.1276
2011-27 | P16 | 41 | 259 | 100 |  | 4 | 15.9682 |  | 19.5 |  | 1.3704
2011-27 | P16 | 41 | 258 | 150 |  | 3 | 27.3501 |  | 41.7 |  | 1.9874
2011-27 | P16 | 41 | 257 | 200 |  | 2 | 32.158 |  | 55.7 |  | 2.3718
2011-27 | P16 | 41 | 256 | 300 |  | 1 | 37.6527 |  | 73.4 |  | 2.7561
2011-27 | P16 | 42 | 288 | 5 | 5.556 | 24 | 5.3713 |  | 11.3 |  | 0.77358 |  | Leaky spipot
2011-27 | P16 | 42 | 287 | 10 | 9.994 | 23 | 5.3713 |  | 11.3 |  | 0.77358
2011-27 | P16 | 42 | 286 | 25 | 24.886 | 22 | 5.6656 |  | 11.3 |  | 0.80393
2011-27 | P16 | 42 | 285 | 50 | 50.485 | 21 | 8.5111 |  | 13.5 |  | 0.98599
2011-27 | P16 | 42 | 284 | 75 | 75.544 | 20 | 10.4735 |  | 14.4 |  | 1.0973
2011-27 | P16 | 42 | 283 | 100 | 100.647 | 19 | 19.2062 |  | 24.1 |  | 1.5423
2011-27 | P16 | 42 | 282 | 125 | 125.859 | 18 | 25.0934 |  | 34.9 |  | 1.8357
2011-27 | P16 | 42 | 281 | 150 | 150.667 | 17 | 27.203 | 6 | 41 | 6 | 1.9722 | 6
2011-27 | P16 | 42 | 280 | 175 | 174.844 | 16 | 27.9389 |  | 44.9 |  | 2.0582
2011-27 | P16 | 42 | 279 | 200 | 200.458 | 15 | 30.0975 |  | 50.4 |  | 2.2301
2011-27 | P16 | 42 | 278 | 250 | 249.98 | 14 | 35.4941 |  | 64.2 |  | 2.6044
2011-27 | P16 | 42 | 277 | 300 | 299.909 | 13 | 38.0452 |  | 74.3 |  | 2.7763
2011-27 | P16 | 42 | 276 | 400 | 399.351 | 12 | 40.302 |  | 86.1 |  | 2.9483
2011-27 | P16 | 42 | 275 | 600 | 599.797 | 11 | 43.5399 |  | 108.4 |  | 3.1708
2011-27 | P16 | 42 | 274 | 800 | 800.3 | 10 | 44.5211 |  | 125.4 |  | 3.2416
2011-27 | P16 | 42 | 273 | 1000 | 1000.595 | 9 | 45.1589 | 6 | 140.7 | 6 | 3.3074 | 6
2011-27 | P16 | 42 | 272 | 1250 | 1251.372 | 8 | 44.8155 |  | 153.9 |  | 3.3124
2011-27 | P16 | 42 | 271 | 1500 | 1500.31 | 7 | 44.5211 |  | 161.1 |  | 3.2518
2011-27 | P16 | 42 | 270 | 2000 | 1999.963 | 6 | 42.9512 |  | 170.4 |  | 3.1
2011-27 | P16 | 42 | 269 | 2500 | 2499.228 | 5 | 41.3813 |  | 171.6 |  | 2.9685
2011-27 | P16 | 42 | 268 | 3000 | 3000.946 | 4 | 39.9095 |  | 171.7 |  | 2.8472
2011-27 | P16 | 42 | 267 | 3500 | 3500.499 | 3 | 39.2227 |  | 174.3 |  | 2.7966
2011-27 | P16 | 42 | 266 | 3500 | 3500.369 | 2 | 39.6151 |  | 175.4 |  | 2.8067
2011-27 | P16 | 42 | 265 | Bot-10 | 3685.129 | 1 | 39.3208 |  | 176.8 |  | 2.8067
2011-27 | P16 | 43 | 300 | 130 |  | 12 | 25.1915 |  | 35.7 |  | 1.866
2011-27 | P16 | 43 | 299 | 175 |  | 11 | 36.8678 |  | 66.2 |  | 2.655
2011-27 | P16 | 43 | 298 | 400 |  | 10 | 41.3813 |  | 88.6 |  | 2.9787
2011-27 | P16 | 43 | 297 | 600 |  | 9 | 45.6986 |  | 110.4 |  | 3.181
2011-27 | P16 | 43 | 296 | 800 |  | 8 | 44.9136 |  | 129.2 |  | 3.272
2011-27 | P16 | 43 | 295 | 1000 |  | 7 |  | 9 |  | 9 |  | 9 | nut tube missing
2011-27 | P16 | 43 | 294 | 1100 |  | 6 | 45.3061 |  | 146.9 |  | 3.3327
2011-27 | P16 | 43 | 293 | 1200 |  | 5 | 44.2268 | 3 | 141.6 | 3 | 3.2619 | 3 | dip in profile, mistrip?
2011-27 | P16 | 43 | 292 | 1400 |  | 4 | 44.6193 |  | 156.4 |  | 3.2821
2011-27 | P16 | 43 | 291 | 1600 |  | 3 | 44.0305 |  | 162.5 |  | 3.2113
2011-27 | P16 | 43 | 290 | 1800 |  | 2 | 43.5399 |  | 165.4 |  | 3.1506
2011-27 | P16 | 43 | 289 | 2000 |  | 1 | 42.755 |  | 167.8 |  | 3.0899
2011-27 | P16 | 44 | 314 | 0 | 1.378 | 14 | 5.2731 | 6 | 11.15 | 6 | 0.77864 | 6
2011-27 | P16 | 44 | 313 | 5 | 5.588 | 13 | 5.2731 |  | 11.2 |  | 0.7837
2011-27 | P16 | 44 | 312 | 10 | 11.003 | 12 | 5.2731 |  | 11.3 |  | 0.7837
2011-27 | P16 | 44 | 311 | 15 | 15.439 | 11 | 5.2731 |  | 11.2 |  | 0.77358
2011-27 | P16 | 44 | 310 | 20 | 21.114 | 10 | 5.175 |  | 11.2 |  | 0.77358
2011-27 | P16 | 44 | 309 | 25 | 26.06 | 9 | 5.175 |  | 11.1 |  | 0.77358
2011-27 | P16 | 44 | 308 | 30 | 30.462 | 8 | 5.4694 |  | 10.9 |  | 0.79381
2011-27 | P16 | 44 | 307 | 40 | 40.061 | 7 | 7.0393 |  | 12.6 |  | 0.90507
2011-27 | P16 | 44 | 306 | 50 | 50.477 | 6 | 8.413 |  | 13.3 |  | 0.98599
2011-27 | P16 | 44 | 305 | 75 | 74.734 | 5 | 10.7679 |  | 14.6 |  | 1.1377
2011-27 | P16 | 44 | 304 | 100 | 101.405 | 4 | 19.1081 |  | 24.7 |  | 1.5727
2011-27 | P16 | 44 | 303 | 175 | 174.626 | 3 | 28.3313 |  | 46.5 |  | 2.129
2011-27 | P16 | 44 | 302 | 200 | 200.392 | 2 | 29.8031 |  | 49.5 |  | 2.1998
2011-27 | P16 | 44 | 301 | 300 | 301.064 | 1 | 37.064 |  | 70 |  | 2.7258
2011-27 | P16 | 47 | 338 | 10 | 10.051 | 19 | 5.0769 |  | 10.8 |  | 0.76346
2011-27 | P16 | 47 | 332 | 500 | 500.498 | 13 |  | 5 |  | 5 |  | 5 | bad result
2011-27 | P16 | 47 | 329 | 1000 | 1000.394 | 10 | 44.5211 |  | 136.1 |  | 3.3023
2011-27 | P16 | 47 | 326 | 2000 | 2000.365 | 7 | 41.4794 |  | 161.1 |  | 3.0191
2011-27 | P17 |  |  | Loop |  | Loop | 5.0769 |  | 10 |  | 0.76346
2011-27 | P17 | 49 | 343 | 5 | 4.907 | 2 | 5.0769 |  | 10 |  | 0.76346
2011-27 | P17 | 49 | 342 | Max | 53.844 | 1 | 8.1186 |  | 12.9 |  | 0.97588
2011-27 | P18 | 51 | 345 | 5 | 6.083 | 2 | 5.2731 |  | 11.6 |  | 0.77358
2011-27 | P18 | 51 | 344 | Max | 57.283 | 1 | 8.413 |  | 12.6 |  | 0.98599
2011-27 | P19 |  |  | Loop |  | Loop | 5.2731 |  | 11.3 |  | 0.7837
2011-27 | P19 | 52 | 347 | 5 | 5.196 | 2 | 5.2731 |  | 11.2 |  | 0.7837
2011-27 | P19 | 52 | 346 | Max | 55.044 | 1 | 9.0017 |  | 13.4 |  | 1.0366
2011-27 | P20 | 55 | 358 | 10 | 10.191 | 11 | 7.4318 |  | 13 |  | 0.91519
2011-27 | P20 | 55 | 355 | 500 | 500.304 | 8 | 42.9512 |  | 102.1 |  | 3.1304
2011-27 | P20 | 55 | 349 | 2000 | 1999.626 | 2 | 43.1475 |  | 170.2 |  | 3.0798
2011-27 | P20 | 56 | 368 | 300 |  | 9 | 7.5299 |  | 12.9 |  | 0.91519
2011-27 | P20 | 56 | 367 | 200 |  | 8 | 8.0205 |  | 13.3 |  | 0.95565
2011-27 | P20 | 56 | 366 | 150 |  | 7 | 9.3942 |  | 14.7 |  | 1.0467
2011-27 | P20 | 56 | 365 | 100 |  | 6 | 10.4735 |  | 15.2 |  | 1.1074
2011-27 | P20 | 56 | 364 | 75 |  | 5 | 13.4171 |  | 17 |  | 1.2793
2011-27 | P20 | 56 | 363 | 50 |  | 4 | 20.9723 |  | 27.4 |  | 1.6637
2011-27 | P20 | 56 | 362 | 40 |  | 3 | 28.9201 |  | 44.1 |  | 2.0986
2011-27 | P20 | 56 | 361 | 25 |  | 2 | 33.4336 |  | 55.5 |  | 2.392
2011-27 | P20 | 56 | 360 | 10 |  | 1 | 39.7133 |  | 76.2 |  | 2.8067
2011-27 | P20 | 57 | 392 | 5 | 4.77 | 24 | 7.0393 |  | 12.9 |  | 0.87473
2011-27 | P20 | 57 | 391 | 10 | 10.851 | 23 | 7.0393 |  | 12.9 |  | 0.87473
2011-27 | P20 | 57 | 390 | 25 | 24.16 | 22 | 7.628 |  | 13.2 |  | 0.91519
2011-27 | P20 | 57 | 389 | 50 | 48.554 | 21 | 9.4923 |  | 14.7 |  | 1.0265
2011-27 | P20 | 57 | 388 | 75 | 74.973 | 20 | 12.8284 |  | 16.8 |  | 1.2389
2011-27 | P20 | 57 | 387 | 100 | 99.05 | 19 | 20.0893 |  | 26 |  | 1.603
2011-27 | P20 | 57 | 386 | 125 | 124.585 | 18 | 27.1048 | 6 | 38.5 | 6 | 1.9823 | 6
2011-27 | P20 | 57 | 385 | 150 | 149.9 | 17 | 29.4107 |  | 46.1 |  | 2.1391
2011-27 | P20 | 57 | 384 | 175 | 174.75 | 16 | 32.4524 |  | 54.2 |  | 2.3718
2011-27 | P20 | 57 | 383 | 200 | 200.021 | 15 | 34.1204 |  | 59.8 |  | 2.483
2011-27 | P20 | 57 | 382 | 250 | 249.948 | 14 | 38.0452 |  | 70.4 |  | 2.7359
2011-27 | P20 | 57 | 381 | 300 | 299.997 | 13 | 40.0076 |  | 78.3 |  | 2.8674
2011-27 | P20 | 57 | 380 | 400 | 399.695 | 12 | 42.1663 |  | 92.7 |  | 3.0393
2011-27 | P20 | 57 | 379 | 600 | 599.843 | 11 | 44.423 |  | 115.7 |  | 3.2012
2011-27 | P20 | 57 | 378 | 800 | 799.866 | 10 | 45.0608 | 6 | 131.6 | 6 | 3.277 | 6
2011-27 | P20 | 57 | 377 | 1000 | 999.641 | 9 | 45.3061 |  | 142.8 |  | 3.3124
2011-27 | P20 | 57 | 376 | 1250 | 1250.041 | 8 | 45.208 |  | 154.7 |  | 3.3023
2011-27 | P20 | 57 | 375 | 1500 | 1500.479 | 7 | 44.6193 |  | 162.3 |  | 3.2416
2011-27 | P20 | 57 | 374 | 2000 | 1999.796 | 6 | 42.9512 |  | 169.6 |  | 3.0899
2011-27 | P20 | 57 | 373 | 2500 | 2500.707 | 5 | 41.1851 |  | 171 |  | 2.9483
2011-27 | P20 | 57 | 372 | 3000 | 2999.442 | 4 | 40.1057 |  | 171.4 |  | 2.837
2011-27 | P20 | 57 | 371 | 3500 | 3500.837 | 3 | 39.0264 | 6 | 172.55 | 6 | 2.7612 | 6
2011-27 | P20 | 57 | 370 | 3500 | 3501.596 | 2 | 39.0264 |  | 173.8 |  | 2.7662
2011-27 | P20 | 57 | 369 | 4024 | 4023.233 | 1 | 38.4377 |  | 178.6 |  | 2.746
2011-27 | P20 | 58 | 404 |  |  | 12 | 27.8407 |  | 40.5 |  | 2.038
2011-27 | P20 | 58 | 403 |  |  | 11 | 37.7509 |  | 68.3 |  | 2.6853
2011-27 | P20 | 58 | 402 |  |  | 10 | 42.5587 |  | 93.1 |  | 3.0292
2011-27 | P20 | 58 | 401 |  |  | 9 | 44.9136 |  | 115.4 |  | 3.181
2011-27 | P20 | 58 | 400 |  |  | 8 | 45.6986 |  | 131.1 |  | 3.2619
2011-27 | P20 | 58 | 399 |  |  | 7 | 45.6005 |  | 143.7 |  | 3.2922
2011-27 | P20 | 58 | 398 |  |  | 6 | 45.6005 |  | 148.8 |  | 3.3023
2011-27 | P20 | 58 | 397 |  |  | 5 | 45.4042 |  | 152.5 |  | 3.2922
2011-27 | P20 | 58 | 396 |  |  | 4 | 45.4042 |  | 159.8 |  | 3.2518
2011-27 | P20 | 58 | 395 |  |  | 3 | 45.1099 |  | 164.8 |  | 3.2012
2011-27 | P20 | 58 | 394 |  |  | 2 | 44.3249 |  | 167.3 |  | 3.1405
2011-27 | P20 | 58 | 393 |  |  | 1 | 43.6381 |  | 170.3 |  | 3.0798
2011-27 | P20 | 59 | 418 | 0 | 2.413 | 14 | 7.2355 |  | 13 |  | 0.88484
2011-27 | P20 | 59 | 417 | 5 | 5.003 | 13 | 7.3337 |  | 13 |  | 0.89496
2011-27 | P20 | 59 | 416 | 10 | 10.41 | 12 | 7.3337 |  | 12.9 |  | 0.89496
2011-27 | P20 | 59 | 415 | 15 | 14.955 | 11 | 7.3337 |  | 12.9 |  | 0.89496
2011-27 | P20 | 59 | 414 | 20 | 20.1 | 10 | 7.3337 |  | 12.9 |  | 0.89496
2011-27 | P20 | 59 | 413 | 25 | 24.533 | 9 | 7.7261 |  | 13.1 |  | 0.92531
2011-27 | P20 | 59 | 412 | 30 | 30.418 | 8 | 8.413 |  | 13.5 |  | 0.96576
2011-27 | P20 | 59 | 411 | 40 | 41.108 | 7 | 9.0017 |  | 14.3 |  | 1.0062
2011-27 | P20 | 59 | 410 | 50 | 50.265 | 6 | 9.8848 |  | 14.7 |  | 1.0467
2011-27 | P20 | 59 | 409 | 75 | 75.137 | 5 | 12.0434 |  | 16 |  | 1.2085
2011-27 | P20 | 59 | 408 | 100 | 101.169 | 4 | 19.9911 |  | 25.6 |  | 1.603
2011-27 | P20 | 59 | 407 | 175 | 175.309 | 3 | 32.943 | 6 | 53.7 | 6 | 2.3515 | 6
2011-27 | P20 | 59 | 406 | 200 | 200.174 | 2 | 35.4941 |  | 60.2 |  | 2.5134
2011-27 | P20 | 59 | 405 | 300 | 300.3 | 1 | 40.302 |  | 78.5 |  | 2.8269
2011-27 | P21 |  |  | Loop |  | Loop | 7.7261 |  | 13.9 |  | 0.92531
2011-27 | P21 | 60 | 427 | 5 | 5.454 | 2 | 7.7261 |  | 13.8 |  | 0.92531
2011-27 | P21 | 60 | 426 | Max | 36.371 | 1 | 10.3754 |  | 14.9 |  | 1.1074
2011-27 | P22 | 61 | 429 | 5 | 4.825 | 2 | 7.1374 |  | 13.5 |  | 0.90507
2011-27 | P22 | 61 | 428 | Max | 73.785 | 1 | 12.1415 |  | 16 |  | 1.2288
|  |  |  | Loop |  | Loop | 6.5487 |  | 12.6 |  | 0.87473
2011-27 | P23 | 62 | 431 | 5 | 5.28 | 2 | 6.5487 |  | 12.6 |  | 0.87473
2011-27 | P23 | 62 | 430 | Max | 73.014 | 1 | 11.1603 |  | 15.8 |  | 1.1883
2011-27 | P24 | 64 | 455 | 5 | 5.146 | 24 | 8.2167 |  | 14.9 |  | 0.98599
2011-27 | P24 | 64 | 454 | Max | 45.893 | 23 | 10.081 |  | 15.6 |  | 1.1175
|  |  |  | Loop |  | Loop | 10.7679 |  | 10.1 |  | 1.1883
2011-27 | P25 | 65 | 457 | 5 | 3.934 | 2 | 10.866 |  | 10 |  | 1.2085
2011-27 | P25 | 65 | 456 | Max | 48.434 | 1 | 13.1227 |  | 16.1 |  | 1.3299
|  |  |  | Loop |  | Loop | 12.1415 |  | 12.6 |  | 1.249
2011-27 | P35 | 66 | 459 | 5 | 5.513 | 2 | 11.8472 |  | 12.7 |  | 1.2389
2011-27 | P35 | 66 | 458 | Max | 50.997 | 1 | 15.8701 |  | 24.3 |  | 1.5929
2011-27 | P26 | 67 | 480 | 10 | 10.209 | 21 | 11.2585 |  | 15 |  | 1.2085
2011-27 | P26 | 67 | 470 | 500 | 499.645 | 11 | 41.3813 |  | 104.9 |  | 3.1607
2011-27 | P26 | 67 | 467 | 1000 | 999.582 | 8 | 43.0493 |  | 137.8 |  | 3.272
2011-27 | P26 | 67 | 465 | 2000 | 2001.21 | 6 | 41.1851 |  | 160.9 |  | 3.1
2011-27 | P26 | 69 | 490 | 10 |  | 9 | 10.866 |  | 14.6 |  | 1.1681
2011-27 | P26 | 69 | 489 | 25 |  | 8 | 11.1603 |  | 14.3 |  | 1.1883
2011-27 | P26 | 69 | 488 | 40 |  | 7 | 13.5152 |  | 11 |  | 1.4007
2011-27 | P26 | 69 | 487 | 50 |  | 6 | 15.5757 |  | 23.2 |  | 1.512
2011-27 | P26 | 69 | 486 | 75 |  | 5 | 18.5193 |  | 27.8 |  | 1.6738
2011-27 | P26 | 69 | 485 | 100 |  | 4 | 19.6968 |  | 30 |  | 1.7345
2011-27 | P26 | 69 | 484 | 150 |  | 3 | 32.7467 |  | 58.3 |  | 2.4931
2011-27 | P26 | 69 | 483 | 200 |  | 2 | 36.1809 |  | 69.5 |  | 2.7258
2011-27 | P26 | 69 | 482 | 300 |  | 1 | 40.7926 |  | 87.8 |  | 3.009
2011-27 | P26 | 70 | 517 | 5 | 5.036 | 24 | 11.4547 |  | 16 |  | 1.1478
2011-27 | P26 | 70 | 516 | 10 | 10.876 | 23 | 11.5528 |  | 16 |  | 1.158
2011-27 | P26 | 70 | 515 | 25 | 24.907 | 22 | 11.6509 |  | 15.9 |  | 1.1681
2011-27 | P26 | 70 | 514 | 50 | 49.351 | 21 | 17.0475 |  | 27 |  | 1.5524
2011-27 | P26 | 70 | 513 | 75 | 75.915 | 20 | 19.893 |  | 30.3 |  | 1.7042
2011-27 | P26 | 70 | 512 | 100 | 100.859 | 19 | 20.8742 |  | 32.5 |  | 1.7547
2011-27 | P26 | 70 | 511 | 125 | 125.2 | 18 | 25.0934 |  | 40.9 |  | 1.9874
2011-27 | P26 | 70 | 510 | 150 | 149.459 | 17 | 33.9242 | 6 | 60.95 | 6 | 2.4931 | 6
2011-27 | P26 | 70 | 509 | 175 | 174.881 | 16 | 36.3772 |  | 68 |  | 2.6449
2011-27 | P26 | 70 | 508 | 200 | 201.365 | 15 | 38.0452 |  | 73 |  | 2.746
2011-27 | P26 | 70 | 507 | 250 | 249.114 | 14 | 40.0076 |  | 80.8 |  | 2.8573
2011-27 | P26 | 70 | 506 | 300 | 301.58 | 13 | 41.8719 |  | 87.8 |  | 2.9685
2011-27 | P26 | 70 | 505 | 400 | 400.49 | 12 | 43.2456 |  | 100 |  | 3.1
2011-27 | P26 | 70 | 504 | 600 | 600.999 | 11 | 44.3249 |  | 119.3 |  | 3.1911
2011-27 | P26 | 70 | 503 | 800 | 800.438 | 10 | 45.0117 |  | 135.4 |  | 3.2416
2011-27 | P26 | 70 | 502 | 1000 | 999.778 | 9 | 45.1099 |  | 146.7 |  | 3.2619
2011-27 | P26 | 70 | 501 | 1250 | 1250.662 | 8 | 45.4042 |  | 158.2 |  | 3.2821
2011-27 | P26 | 70 | 500 | 1500 | 1499.75 | 7 | 45.208 | 6 | 165.7 | 6 | 3.2416 | 6
2011-27 | P26 | 70 | 499 | 2000 | 1999.731 | 6 | 43.1475 |  | 170.6 |  | 3.0899
2011-27 | P26 | 70 | 498 | 2500 | 2500.301 | 5 | 41.3813 |  | 172.1 |  | 2.9584
2011-27 | P26 | 70 | 497 | 3000 | 2999.762 | 4 | 39.7133 |  | 170.9 |  | 2.8269
2011-27 | P26 | 70 | 496 | 3500 | 3500.497 | 3 | 38.4377 |  | 169.2 |  | 2.7359
2011-27 | P26 | 70 | 495 | 4000 | 3998.269 | 2 | 37.849 |  | 168.6 |  | 2.6853
2011-27 | P26 | 70 | 494 | Bot-10 | 4315.763 | 1 | 37.849 |  | 172.9 |  | 2.6853
2011-27 | P26 | 71 | 531 | 0 | 2.41 | 14 | 10.9641 |  | 16 |  | 1.1478
2011-27 | P26 | 71 | 530 | 5 | 5.237 | 13 | 11.1603 |  | 15.9 |  | 1.1478
2011-27 | P26 | 71 | 529 | 10 | 10.773 | 12 | 11.1603 |  | 15.8 |  | 1.1478
2011-27 | P26 | 71 | 528 | 15 | 15.265 | 11 | 11.2585 |  | 15.9 |  | 1.158
2011-27 | P26 | 71 | 527 | 20 | 20.93 | 10 | 11.2585 |  | 15.8 |  | 1.158
2011-27 | P26 | 71 | 526 | 25 | 24.778 | 9 | 11.3566 |  | 15.8 |  | 1.158
2011-27 | P26 | 71 | 525 | 30 | 30.513 | 8 | 12.0434 |  | 14.5 | 3 | 1.2186 |  | Unusual Si
2011-27 | P26 | 71 | 524 | 40 | 40.301 | 7 | 14.0058 |  | 10.7 | 3 | 1.3805 |  | Unusual Si
2011-27 | P26 | 71 | 523 | 50 | 50.54 | 6 | 16.6551 |  | 26.9 |  | 1.5423
2011-27 | P26 | 71 | 522 | 75 | 76.66 | 5 | 19.5005 |  | 30.3 |  | 1.6839
2011-27 | P26 | 71 | 521 | 100 | 100.364 | 4 | 20.4817 |  | 32.7 |  | 1.7345
2011-27 | P26 | 71 | 520 | 175 | 175.014 | 3 | 35.6903 |  | 69.3 |  | 2.655
2011-27 | P26 | 71 | 519 | 200 | 201.322 | 2 | 37.3584 |  | 74.3 |  | 2.7865
2011-27 | P26 | 71 | 518 | 300 | 300.326 | 1 | 40.9888 | 6 | 89.6 |  | 2.9736 | 6
2011-27 | P26 | 72 | 551 | 130 |  | 12 | 27.9389 |  | 48 |  | 2.1593
2011-27 | P26 | 72 | 550 | 185 |  | 11 | 36.2791 |  | 70.7 |  | 2.6954
2011-27 | P26 | 72 | 549 | 500 |  | 10 | 41.97 |  | 100.8 |  | 3.1
2011-27 | P26 | 72 | 548 | 700 |  | 9 | 42.9512 |  | 119.9 |  | 3.181
2011-27 | P26 | 72 | 547 | 900 |  | 8 | 43.5399 |  | 134 |  | 3.2315
2011-27 | P26 | 72 | 546 | 1000 |  | 7 | 43.8343 |  | 144.5 |  | 3.2619
2011-27 | P26 | 72 | 545 | 1100 |  | 6 | 44.2268 |  | 148.4 |  | 3.272
2011-27 | P26 | 72 | 544 | 1200 |  | 5 | 44.3249 |  | 152.2 |  | 3.2619
2011-27 | P26 | 72 | 543 | 1400 |  | 4 | 44.3249 |  | 159.8 |  | 3.2619
2011-27 | P26 | 72 | 542 | 1600 |  | 3 | 43.8343 |  | 164.5 |  | 3.1911
2011-27 | P26 | 72 | 541 | 1800 |  | 2 | 43.3437 |  | 167.2 |  | 3.1304
2011-27 | P26 | 72 | 540 | 2000 |  | 1 | 42.6569 |  | 169.7 |  | 3.0798
2011-27 | uws |  | Loop 2 | Loop |  | Loop | 0.1709 |  | 2.05 |  | 0.33054
2011-27 | uws |  | Loop 3 | Loop |  | Loop | 0.1709 |  | 1.9 |  | 0.3184
2011-27 | uws |  | Loop 4 | Loop |  | Loop | 0.6615 |  | 4.8 |  | 0.43978
2011-27 | uws |  | Loop 5 | Loop |  | Loop | 4.9788 |  | 10.4 |  | 0.76346
2011-27 | uws |  | Loop 6 | Loop |  | Loop | 5.2731 |  | 11.7 |  | 0.77358
2011-27 | uws |  | Loop 7 | Loop |  | Loop | 8.7073 |  | 13.7 |  | 0.96576
2011-27 | uws |  | Loop 8 | Loop |  | Loop | 6.8431 |  | 13.4 |  | 0.89496
2011-27 | uws |  | Loop 9 | Loop |  | Loop | 7.5299 |  | 14.3 |  | 0.94554
2011-27 | uws |  | Loop 10 | Loop |  | Loop | 11.9453 |  | 12.8 |  | 1.2186
2011-27 | uws |  | Loop 11 | Loop |  | Loop | 8.2167 |  | 15.4 |  | 0.96576
2011-27 | uws |  | Loop 12 | Loop |  | Loop | 7.8243 |  | 13.5 |  | 0.92531
2011-27 | uws |  | Loop 13 | Loop |  | Loop | 4.1938 |  | 9.1 |  | 0.68254
2011-27 | uws |  | Loop 14 | Loop |  | Loop | 3.507 |  | 7.7 |  | 0.6522
2011-27 | uws |  | Loop 15 | Loop |  | Loop | 0.1709 |  | 2.1 |  | 0.34875
2011-27 | uws |  | Loop 16 | Loop |  | Loop | 0.1709 |  | 4 |  | 0.3184
2011-27 | uws |  | Loop 17 | Loop |  | Loop | 0.1709 |  | 10 |  | 0.40944
2011-27 | uws |  | Loop 18 | Loop |  | Loop | 18.5193 |  | 33.2 |  | 1.5828

## Calc Precision
Averaging Duplicates from same Niskin and Calculating Precision | [15 empty] | File: QF 2011-27nuts.xls
Calculating Average Duplicates & Precision | [15 empty] | Date: September 29, 2011
Critical values
Cruise | Station | Cast | Sample # | Depth | Pressure | Niskin | NO3 | SiO3 | PO4 |  | Average |  | NO3 diff sq | Si diff sq | PO4 diff sq | Comments |  | CHAUVENET DIFF |  |  | CHAUV REJECT |  | Chauvenet statistic
|  |  |  | (nominal) | (actual) |  | uM | uM | uM | NO3 | SiO3 | PO4 |  |  |  |  | NO3 | SIL | PO4 | NO3 | SIL | PO4 | n | Chauvenet
2011-27 | SI03 | 1 | 4 | 150 | 150.499 | 4 |  | 107.07 | 5.2505 | [8 empty] | 0.12 | 0.021242 |  | 0.71562 | 2.0547 | 3 | 1.37
2011-27 | SI03 | 1 | 4 dup | 150 | 150.499 | 4 |  | 106.95 | 5.2717 |  | 107.01 | 5.2611 |  | 0.0144 | 0.0004512 | [7 empty] | 4 | 1.53
2011-27 | P2 | 4 | 20 | 25 | 25.143 | 6 | 18.7156 | 27 | 1.6637 | [7 empty] | 0.09812 | 0.3 | 0.010115 | 0.17311 | 0.29438 | 0.25791 | 5 | 1.64
2011-27 | P2 | 4 | 20 dup | 25 | 25.143 | 6 | 18.6175 | 27.3 | 1.6738 | 18.6665 | 27.15 | 1.6688 | 0.0096275 | 0.09 | 0.00010231 | [7 empty] | 6 | 1.73
2011-27 | P2 | 6/7 | 24 | 75 | 73.61 | 2 | 21.0705 | 25.8 | 1.7649 | [7 empty] | 0.19624 | 0.1 | 0 | 0.71715 | 0.76242 | 1.3755 | 7 | 1.8
2011-27 | P2 | 6/7 | 24 dup | 75 | 73.61 | 2 | 21.2667 | 25.7 | 1.7649 | 21.1686 | 25.75 | 1.7649 | 0.03851 | 0.01 | 0 | [7 empty] | 8 | 1.87
2011-27 | P4 | 12 | 68 | 400 | 400.409 | 7 | 39.9291 | 75.63 | 2.9534 | [7 empty] | 0.019624 | 0.62 | 0 | 0.88531 | 0.4545 | 1.3755 | 9 | 1.91
2011-27 | P4 | 12 | 68 dup | 400 | 400.409 | 7 | 39.9487 | 75.01 | 2.9534 | 39.9389 | 75.32 | 2.9534 | 0.0003851 | 0.3844 | 0 | [7 empty] | 10 | 1.97
2011-27 | P4 | 18 | 128 | 5 | 5.012 | 12 | 0.1709 | 2.2 | 0.32751 | [7 empty] | 0.029436 | 0.05 | 0.0091035 | 0.79629 | 0.87943 | 0.094568 | 20 | 2.24
2011-27 | P4 | 18 | 128 dup | 5 | 5.012 | 12 | 0.14146 | 2.25 | 0.33661 | 0.15618 | 2.225 | 0.33206 | 0.00086648 | 0.0025 | 8.2874e-05 | [7 empty] | 30 | 2.39
2011-27 | P8 | 24 | 151 | 150 | 150.066 | 13 | 31.9618 | 42.3 | 2.4426 | [7 empty] | 0.09812 | 0.1 | 0.010115 | 0.17311 | 0.76242 | 0.25791 | 50 | 2.57
2011-27 | P8 | 24 | 151 dup | 150 | 150.066 | 13 | 32.0599 | 42.4 | 2.4324 | 32.0108 | 42.35 | 2.4375 | 0.0096275 | 0.01 | 0.00010231 | [7 empty] | 80 | 2.74
2011-27 | P8 | 24 | 139 | 2000 | 2000.276 | 1 | 42.8531 | 173.7 | 3.0798 | [7 empty] | 0.09812 | 0.3 | 0.010115 | 0.17311 | 0.29438 | 0.25791 | 100 | 2.81
2011-27 | P8 | 24 | 139 dup | 2000 | 2000.276 | 1 | 42.9512 | 174 | 3.0899 | 42.9022 | 173.85 | 3.0849 | 0.0096275 | 0.09 | 0.00010231 | [7 empty] | 150 | 2.93
2011-27 | P12 | 29 | 171 | 175 | 175.505 | 3 | 28.8219 | 44.6 | 2.1088 | [7 empty] | 0 | 0.4 | 0.02023 | 1.0634 | 0.060353 | 1.8914 | 200 | 3.02
2011-27 | P12 | 29 | 171 dup | 175 | 175.505 | 3 | 28.8219 | 44.2 | 2.0885 | 28.8219 | 44.4 | 2.0986 | 0 | 0.16 | 0.00040925
2011-27 | P12 | 31 | 206 | 200 | 200.991 | 15 | 29.9013 | 48.5 | 2.2099 | [7 empty] | 0 | 0.2 | 0 | 1.0634 | 0.5284 | 1.3755
2011-27 | P12 | 31 | 206 dup | 200 | 200.991 | 15 | 29.9013 | 48.3 | 2.2099 | 29.9013 | 48.4 | 2.2099 | 0 | 0.04 | 0
2011-27 | P16 | 42 | 281 | 150 | 150.667 | 17 | 27.1539 | 40.9 | 1.9671 | [7 empty] | 0.09812 | 0.2 | 0.010115 | 0.17311 | 0.5284 | 0.25791
2011-27 | P16 | 42 | 281 dup | 150 | 150.667 | 17 | 27.252 | 41.1 | 1.9773 | 27.203 | 41 | 1.9722 | 0.0096275 | 0.04 | 0.00010231
2011-27 | P16 | 42 | 273 | 1000 | 1000.595 | 9 | 45.3061 | 140.3 | 3.3023 | [7 empty] | 0.29436 | 0.8 | 0.010115 | 1.6074 | 0.87574 | 0.25791
2011-27 | P16 | 42 | 273 dup | 1000 | 1000.595 | 9 | 45.0117 | 141.1 | 3.3124 | 45.1589 | 140.7 | 3.3074 | 0.086648 | 0.64 | 0.00010231
2011-27 | P16 | 44 | 314 | 0 | 1.378 | 14 | 5.2731 | 11.1 | 0.77358 | [7 empty] | 0 | 0.1 | 0.010115 | 1.0634 | 0.76242 | 0.25791
2011-27 | P16 | 44 | 314 dup | 0 | 1.378 | 14 | 5.2731 | 11.2 | 0.7837 | 5.2731 | 11.15 | 0.77864 | 0 | 0.01 | 0.00010231
2011-27 | P20 | 57 | 386 | 125 | 124.585 | 18 | 26.9577 | 38.4 | 1.9773 | [7 empty] | 0.29436 | 0.2 | 0.010115 | 1.6074 | 0.5284 | 0.25791
2011-27 | P20 | 57 | 386 dup | 125 | 124.585 | 18 | 27.252 | 38.6 | 1.9874 | 27.1048 | 38.5 | 1.9823 | 0.086648 | 0.04 | 0.00010231
2011-27 | P20 | 57 | 378 | 800 | 799.866 | 10 | 45.208 | 131.3 | 3.272 | [7 empty] | 0.29436 | 0.6 | 0.010115 | 1.6074 | 0.40769 | 0.25791
2011-27 | P20 | 57 | 378 dup | 800 | 799.866 | 10 | 44.9136 | 131.9 | 3.2821 | 45.0608 | 131.6 | 3.277 | 0.086648 | 0.36 | 0.00010231
2011-27 | P20 | 57 | 371 | 3500 | 3500.837 | 3 | 39.0264 | 172.1 | 2.7561 | [7 empty] | 0 | 0.9 | 0.010115 | 1.0634 | 1.1098 | 0.25791
2011-27 | P20 | 57 | 371 dup | 3500 | 3500.837 | 3 | 39.0264 | 173 | 2.7662 | 39.0264 | 172.55 | 2.7612 | 0 | 0.81 | 0.00010231
2011-27 | P20 | 59 | 407 | 175 | 175.309 | 3 | 32.8449 | 53.7 | 2.3515 | [7 empty] | 0.19624 | 0 | 0 | 0.71715 | 0.99645 | 1.3755
2011-27 | P20 | 59 | 407 dup | 175 | 175.309 | 3 | 33.0411 | 53.7 | 2.3515 | 32.943 | 53.7 | 2.3515 | 0.03851 | 0 | 0
2011-27 | P26 | 70 | 510 | 150 | 149.459 | 17 | 33.8261 | 61.1 | 2.4931 | [7 empty] | 0.19624 | 0.3 | 0 | 0.71715 | 0.29438 | 1.3755
2011-27 | P26 | 70 | 510 dup | 150 | 149.459 | 17 | 34.0223 | 60.8 | 2.4931 | 33.9242 | 60.95 | 2.4931 | 0.03851 | 0.09 | 0
2011-27 | P26 | 70 | 500 | 1500 | 1499.75 | 7 | 45.208 | 165.7 | 3.2416 | [7 empty] | 0 | 1.3 | 0.010115 | 1.0634 | 2.0459 | 0.25791
2011-27 | P26 | 70 | 500 dup | 1500 | 1499.75 | 7 | 45.208 | 164.4 | 3.2315 | 45.208 | 165.05 | 3.2366 | 0 |  | 0.00010231 | Omit
2011-27 | P26 | 71 | 518 | 300 | 300.326 | 1 | 41.0869 | 89.6 | 2.9685 | [7 empty] | 0.19624 | 1.5 | 0.010115 | 0.71715 | 2.5139 | 0.25791
2011-27 | P26 | 71 | 518 dup | 300 | 300.326 | 1 | 40.8907 | 88.1 | 2.9787 | 40.9888 | 88.85 | 2.9736 | 0.03851 |  | 0.00010231 | Omit
[9 empty] | SUM OF (X-Y)SQ |  |  |  | 0.45375 | 2.7913 | 0.0020688
[9 empty] | COUNT |  |  |  | 18 | 17 | 19
[9 empty] | SUM/2*COUNT |  |  |  | 0.012604 | 0.082097 | 5.4441e-05
[9 empty] | SQRT(SUM/2*COUNT) |  |  |  | 0.11227 | 0.28653 | 0.0073784 | mean diff | 0.1172 | 0.42579 | 0.0085179
[16 empty] | stdev | 0.11022 | 0.42731 | 0.0061925
[9 empty] | min |  |  |  | 0.14146 | 2.2 | 0.32751
[9 empty] | max |  |  |  | 45.3061 | 174 | 5.2717

## Precision Statement
Cruise 2011-27 August Papa |  | File: QF 2011-27nuts.xls
Date: September 29, 2011
Compiled by Wendy Richardson
Samples were collected in plastic test tubes.
Most samples were analysed fresh at sea by Wendy Richardson
A few loop samples (#10 to 18) were analyzed from frozen at IOS
The Astoria Analyzer was used for sample analyses.
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
The precision with outliers removed based on the Chauvenet criteria was:
Sp for nitrate for the range 0.1 to 45.3 uM, k=18 was 0.11
Sp for silicate for the range 2.2 to 174.0 uM, k=17 was 0.29
Sp for phosphate for the range 0.33 to 5.27 uM, k=19 was 0.007
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.15 % of the 20 uM Nitrate Standard.
The values were within 0.80 % of the 100 uM Silicate Standard.
The values were within 0.64 % of the 200 uM Silicate standard that was analyzed while running these samples.
Feb 10, 2011 Nitrate stock standard solution was used for this cruise analyses.
Feb 11, 2011 Silicate stock standard solution was used for this cruise analyses.
Feb 10, 2011 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were the same as the previous (May 2010) stock solution.