## Notes
Analysis: | Kenny Scozzafava, 9-NOV-11 to 11-NOV-11 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
2011-11-14 |  | KS
Samples were generally in good condition at time of analysis with a few exceptions. See comments about particualr samples.
Samples analyzed in random order
Imported all data from salinometer into salinity spreadsheet template
2011-11-28 |  | KS
#446 Salinity calculated using the average of the salinometer conductivity reading (from the display) divided by 2. The Sal78 Macro was used to calculated the final salinity value.
An unexpected error occurred during acquisition and the program aborted the analysis for this sample
Duplicate analysis was performed for Loop samples and the corresponding 5 m bottles at various stations.
2011-12-06 |  | KS
Adjusted Ratios (under the RAW salinty output worksheet), highlighted in blue lettering, indicate those values where the autosal program stopped applying corrections after an acquisition error occurred.
These valuse were recalculated with the correct ratio adjustment and using the SAL78 Macro to calculate final salinity concentrations.
Final Loop data in its own QF spreadsheet
There are two underway LOOP 8 samples. Not enough information from sample labels and daily logs to determine which one is incorrectly identified.
Three missing Loop samples: Loops 4, 10, and 18. Perhaps one of the two LOOP 8 samples is actually LOOP 18?
2012-02-28 |  | KS
#507- A loop sample for P7 was mislabeled as 507. This error was corrected and the Loop data was placed with its appropriate 5 m bottle (#138) for duplicate analysis.
Duplicate spreadsheet was also updated with the corrected information. Please note that the final values (Sp) are slightly different with the corrections than they were previously.
2012-04-18 |  | KS
#436 - Outlier in COMPARE and out of line from all other bottles closed at same depth. No problem was observed during the analysis. It may have been an insert and cap that were not sealed properly.
#457 - Outlier in comparison with loop sample and CTD salinity. Flagged as a "5", padded value and commented accordingly. Not included in the duplicate analysis
#138/LOOP - Flagged as outliers for rejection by the Chauvenet criteria. Sample 138 had a leaky insert. Downgraded flag from a 3 to 4 and commented accordingly
2012-04-24 |  | KS
#63 - Flagged for rejection by the Chauvenet criteria. In COMPARE, Dup 1 (34.4631) looked much better than Dup 2 (34.4737) and a little better than the average
The higher value for dup 2 to could be due to evaporation if the bottle was not sealed properly for some reason. Only dup 1 was reported and flag and comment removed.

## QF 2011-27 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 2.5 months after collection. For details including a duplicate analysis, see document QF2011-27sal.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2011-27 | 2 | P1 | 13 | 31.2415
2011-27 | 4 | P2 | 22 | 31.513
2011-27 | 9 | P3 | 50 | 31.917
2011-27 | 12 | P4 | 63 | 34.4631
2011-27 | 12 | P4 | 67 | 34.176
2011-27 | 12 | P4 | 80 | 32.1857
2011-27 | 15 | P4 | 88 | 34.4828 | 3 | SAL: Aborted accidentally after third reading
2011-27 | 15 | P4 | 91 | 34.3871
2011-27 | 15 | P4 | 94 | 34.0651
2011-27 | 15 | P4 | 97 | 32.1722
2011-27 | 19 | P5 | 134 | 32.0287
2011-27 | 20 | P6 | 136 | 31.8204
2011-27 | 21 | P7 | 138 | 32.2606 | 4 | SAL: Not a good seal with insert. A slight outlier in COMPARE from the corresponding loop sample
2011-27 | 24 | P8 | 139 | 34.5885 | 6
2011-27 | 24 | P8 | 141 | 34.4577
2011-27 | 24 | P8 | 142 | 34.3778 | 6
2011-27 | 24 | P8 | 143 | 34.289
2011-27 | 24 | P8 | 158 | 32.1797
2011-27 | 26 | P9 | 164 | 32.0769
2011-27 | 27 | P10 | 166 | 32.4052
2011-27 | 28 | P11 | 168 | 32.475
2011-27 | 31 | P12 | 193 | 34.6452 | 6
2011-27 | 31 | P12 | 196 | 34.5918
2011-27 | 31 | P12 | 199 | 34.4026 | 6
2011-27 | 31 | P12 | 200 | 34.328
2011-27 | 31 | P12 | 215 | 32.4301
2011-27 | 35 | P12 | 234 | 34.5972
2011-27 | 35 | P12 | 237 | 34.4031
2011-27 | 35 | P12 | 240 | 34.1384
2011-27 | 35 | P12 | 246 | 32.4172
2011-27 | 37 | P13 | 251 | 32.2837
2011-27 | 38 | P14 | 252 | 32.5495
2011-27 | 38 | P14 | 253 | 32.4235
2011-27 | 40 | P15 | 255 | 32.4052
2011-27 | 42 | P16 | 266 | 34.6675
2011-27 | 42 | P16 | 268 | 34.6536 | 6
2011-27 | 42 | P16 | 270 | 34.5889
2011-27 | 42 | P16 | 273 | 34.3669 | 6
2011-27 | 42 | P16 | 274 | 34.2682
2011-27 | 42 | P16 | 288 | 32.4041
2011-27 | 47 | P16 | 326 | 34.5953
2011-27 | 47 | P16 | 329 | 34.3671
2011-27 | 47 | P16 | 332 | 34.0991
2011-27 | 47 | P16 | 338 | 32.4023
2011-27 | 49 | P17 | 343 | 32.4158
2011-27 | 51 | P18 | 345 | 32.6738
2011-27 | 52 | P19 | 347 | 32.4497
2011-27 | 55 | P20 | 349 | 34.5884
2011-27 | 55 | P20 | 352 | 34.3633
2011-27 | 55 | P20 | 355 | 34.082
2011-27 | 55 | P20 | 358 | 32.4946
2011-27 | 57 | P20 | 370 | 34.6721
2011-27 | 57 | P20 | 372 | 34.6554 | 6
2011-27 | 57 | P20 | 374 | 34.5887
2011-27 | 57 | P20 | 377 | 34.3647 | 6
2011-27 | 57 | P20 | 378 | 34.2874
2011-27 | 57 | P20 | 392 | 32.473
2011-27 | 60 | P21 | 427 | 32.4958
2011-27 | 61 | P22 | 429 | 32.8001
2011-27 | 62 | P23 | 431 | 32.4892 | 3 | SAL: Leaky insert
2011-27 | 64 | P24 | 432 | 34.5811
2011-27 | 64 | P24 | 433 | 34.5782
2011-27 | 64 | P24 | 434 | 34.5771
2011-27 | 64 | P24 | 435 | 34.5803
2011-27 | 64 | P24 | 436 | 34.617 | 3 | SAL: Outlier in COMPARE and out of line from all other bottles closed at same depth
2011-27 | 64 | P24 | 437 | 34.5797
2011-27 | 64 | P24 | 438 | 34.5781
2011-27 | 64 | P24 | 439 | 34.5787
2011-27 | 64 | P24 | 440 | 34.5793
2011-27 | 64 | P24 | 441 | 34.5785
2011-27 | 64 | P24 | 442 | 34.5803
2011-27 | 64 | P24 | 443 | 34.5802
2011-27 | 64 | P24 | 444 | 34.5802
2011-27 | 64 | P24 | 445 | 34.5797 | 3 | SAL: Always increasing conductivity value. Took 4 readings
2011-27 | 64 | P24 | 446 | 34.5798
2011-27 | 64 | P24 | 447 | 34.583
2011-27 | 64 | P24 | 448 | 34.5816
2011-27 | 64 | P24 | 449 | 34.5797
2011-27 | 64 | P24 | 450 | 34.58
2011-27 | 64 | P24 | 451 | 34.578
2011-27 | 64 | P24 | 452 | 34.5783
2011-27 | 64 | P24 | 453 | 34.5837
2011-27 | 64 | P24 | 454 | 32.6785
2011-27 | 64 | P24 | 455 | 32.4522
2011-27 | 65 | P25 | 457 | -99 | 5 | SAL: Outlier in COMPARE. See notes
2011-27 | 66 | P35 | 459 | 32.511
2011-27 | 67 | P26 | 464 | 34.5936
2011-27 | 67 | P26 | 467 | 34.3962
2011-27 | 67 | P26 | 470 | 34.1327
2011-27 | 67 | P26 | 480 | 32.529
2011-27 | 70 | P26 | 494 | 34.6853
2011-27 | 70 | P26 | 495 | 34.6796
2011-27 | 70 | P26 | 496 | 34.6806
2011-27 | 70 | P26 | 497 | 34.6581 | 6
2011-27 | 70 | P26 | 498 | 34.6294
2011-27 | 70 | P26 | 499 | 34.5868
2011-27 | 70 | P26 | 500 | 34.5102
2011-27 | 70 | P26 | 501 | 34.4579
2011-27 | 70 | P26 | 502 | 34.3784 | 6
2011-27 | 70 | P26 | 503 | 34.3068
2011-27 | 70 | P26 | 504 | 34.1992
2011-27 | 70 | P26 | 505 | 34.0322
2011-27 | 70 | P26 | 506 | 33.9164
2011-27 | 70 | P26 | 507 | 33.8538 | 3 | SAL: Cap loose
2011-27 | 70 | P26 | 508 | 33.7724
2011-27 | 70 | P26 | 509 | 33.7395
2011-27 | 70 | P26 | 510 | 33.6762
2011-27 | 70 | P26 | 511 | 33.1313
2011-27 | 70 | P26 | 512 | 32.8195
2011-27 | 70 | P26 | 513 | 32.794
2011-27 | 70 | P26 | 514 | 32.765
2011-27 | 70 | P26 | 515 | 32.5219
2011-27 | 70 | P26 | 516 | 32.5176
2011-27 | 70 | P26 | 517 | 32.5223 | 6

## QF 2011-27 SAL LOOP FINAL
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2011-27 | 2 | P1 | LOOP | 31.2391
2011-27 | 9 | P3 | LOOP | 31.9173
2011-27 | 19 | P5 | LOOP | 32.0296
2011-27 | 21 | P7 | LOOP | 32.2857 | 3 | SAL: Possible outlier from 5 m bottle according to the Chauvenet statistic
2011-27 | 26 | P9 | LOOP | 32.0727
2011-27 | 28 | P11 | LOOP | 32.4754
2011-27 | 37 | P13 | LOOP | 32.2816 | 3 | SAL: Not a good seal with insert
2011-27 | 40 | P15 | LOOP | 32.4031
2011-27 | 49 | P17 | LOOP | 32.4166
2011-27 | 52 | P19 | LOOP | 32.4518
2011-27 | 60 | P21 | LOOP | 32.4987
2011-27 | 62 | P23 | LOOP | 32.4846
2011-27 | 65 | P25 | LOOP | 32.5421
2011-27 | 66 | P35 | LOOP | 32.5052
2011-27 |  | JF1 | LOOP | 31.5395
2011-27 |  | JF2 | LOOP | 31.3099
2011-27 |  | JF2 | LOOP | 31.3681
2011-27 |  | JF3 | LOOP | 31.3486
2011-27 |  | JF4 | LOOP | 31.3613
2011-27 |  | USW | LOOP 2 | 32.0586
2011-27 |  | USW | LOOP 3 | 32.233
2011-27 |  | USW | LOOP 4 | -99 | 9 | SAL: Sample missing but shown to be collected on underwar loops log sheet
2011-27 |  | USW | LOOP 5 | 32.4321
2011-27 |  | USW | LOOP 6 | 32.4671
2011-27 |  | USW | LOOP 7 | 32.5119
2011-27 |  | USW | LOOP 8 | 32.5024
2011-27 |  | USW | LOOP 8 | 32.4779
2011-27 |  | USW | LOOP 9 | 32.4745
2011-27 |  | USW | LOOP 10 | -99 | 9 | SAL: Sample missing but shown to be collected on underway loops log sheet
2011-27 |  | USW | LOOP 11 | 32.482
2011-27 |  | USW | LOOP 12 | 32.4976
2011-27 |  | USW | LOOP 13 | 32.4489
2011-27 |  | USW | LOOP 14 | 32.4527
2011-27 |  | USW | LOOP 15 | 32.4173
2011-27 |  | USW | LOOP 16 | 31.8863
2011-27 |  | USW | LOOP 17 | 31.7319
2011-27 |  | USW | LOOP 18 | -99 | 9 | SAL: Sample missing but it may be one of the two LOOP8.
2011-27 |  | USW | LOOP | 32.3612 |  | SAL: Unknown sample. Mislabeled on salinity bottle. It may be one of the three missing samples above

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Sp for Salinity for the range 32.5185 to 34.6584 mL/L was 0.0024, k = 12 with 1 outlier(s) removed
Precision Statement for Samples Drawn From the Loop and a corresponding 5 m Niskin Bottle:
Sp for Salinity for the range 31.2391 to 32.5110 mL/L was 0.0021, k = 13 with 1 outlier(s) removed
Precision Calculation for Duplicate Samples:
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Determination of Outliers
Outliers are discarded on the basis of Chauevenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauevenet criterion for the given n, the datapoint can be discarded
Precision Analysis for Replicate Samples Drawn From a Single Niskin bottle:
Event # | Sample# | SAL1 | SAL2 | SALAvg | Difference | Diff2 | Chauvenet | Reject? | SAL1 Comment | SAL2 Comment | Critical values for Chauvenet statistic
12 | 63 | 34.4631 | 34.4737 | 34.4684 | 0.010557 | 0.00011146 | 2.073 | y |  |  | n | Chauvenet
24 | 139 | 34.5865 | 34.5905 | 34.5885 | 0.0040253 | 1.6203e-05 | 0.43082 |  |  |  | 3 | 1.37
24 | 142 | 34.3785 | 34.3771 | 34.3778 | -0.0014551 | 2.1173e-06 | 0.947 |  |  |  | 4 | 1.53
31 | 193 | 34.645 | 34.6454 | 34.6452 | 0.00039116 | 1.53e-07 | 0.48283 |  |  |  | 5 | 1.64
31 | 199 | 34.4019 | 34.4033 | 34.4026 | 0.0014131 | 1.997e-06 | 0.2259 |  |  |  | 6 | 1.73
42 | 268 | 34.6533 | 34.6539 | 34.6536 | 0.00059027 | 3.4842e-07 | 0.43277 |  |  |  | 7 | 1.8
42 | 273 | 34.3638 | 34.37 | 34.3669 | 0.0062365 | 3.8894e-05 | 0.98673 |  | Cap loose |  | 8 | 1.87
57 | 372 | 34.6562 | 34.6545 | 34.6554 | -0.0017076 | 2.9158e-06 | 1.0105 |  |  |  | 9 | 1.91
57 | 377 | 34.3656 | 34.3639 | 34.3647 | -0.0017053 | 2.9081e-06 | 1.0099 |  |  | Cap loose | 10 | 1.97
70 | 497 | 34.6578 | 34.6584 | 34.6581 | 0.00059028 | 3.4843e-07 | 0.43277 |  |  |  | 20 | 2.24
70 | 502 | 34.3779 | 34.379 | 34.3784 | 0.0010808 | 1.1681e-06 | 0.30945 |  |  |  | 30 | 2.39
70 | 517 | 32.5185 | 32.5262 | 32.5223 | 0.0077232 | 5.9648e-05 | 1.3605 |  |  |  | 50 | 2.57
[11 empty] | 80 | 2.74
|  |  |  | mean diff | 0.0023117 | [5 empty] | 100 | 2.81
|  |  |  | stdev | 0.0039776 | [5 empty] | 150 | 2.93
|  |  |  | count |  | 12 |  |  |  |  | 200 | 3.02
|  |  |  | SUM |  | 0.00023816
|  |  |  | Sp |  | 0.0031501
|  |  |  | MIN/MAX | 32.5185 | 34.6584
with 1 outlier removed
|  |  |  | count |  | 11
|  |  |  | SUM |  | 0.0001267
|  |  |  | Sp |  | 0.0023998
Precision Analysis for Samples Drawn From the Loop and a corresponding 5 m Niskin Bottle::
Event # | Sample# | SAL1 | LOOP | SALAvg | Difference | Diff2 | Chauvenet | Reject? | SAL1 Comment | LOOP Comment | Critical values for Chauvenet statistic
2 | 13 | 31.2415 | 31.2391 | 31.2403 | -0.0023375 | 5.4639e-06 | 0.41621 |  |  |  | n | Chauvenet
9 | 50 | 31.917 | 31.9173 | 31.9172 | 0.0003099 | 9.6036e-08 | 0.075514 |  |  |  | 3 | 1.37
19 | 134 | 32.0287 | 32.0296 | 32.0291 | 0.00098572 | 9.7164e-07 | 0.011457 |  |  |  | 4 | 1.53
21 | 138 | 32.2606 | 32.2857 | 32.2731 | 0.025169 | 0.0006335 | 3.1236 | y | Not a good seal with insert. A slight outlier in COMPARE |  | 5 | 1.64
26 | 164 | 32.0769 | 32.0727 | 32.0748 | -0.0041358 | 1.7105e-05 | 0.64763 |  |  |  | 6 | 1.73
28 | 168 | 32.475 | 32.4754 | 32.4752 | 0.0004081 | 1.6655e-07 | 0.062876 |  |  |  | 7 | 1.8
37 | 251 | 32.2837 | 32.2816 | 32.2826 | -0.0020641 | 4.2607e-06 | 0.38103 |  |  | Not a good seal with insert | 8 | 1.87
40 | 255 | 32.4052 | 32.4031 | 32.4041 | -0.0020676 | 4.2752e-06 | 0.38148 |  |  |  | 9 | 1.91
49 | 343 | 32.4158 | 32.4166 | 32.4162 | 0.00081134 | 6.5828e-07 | 0.010983 |  |  |  | 10 | 1.97
52 | 347 | 32.4497 | 32.4518 | 32.4507 | 0.0021261 | 4.5201e-06 | 0.15821 |  |  |  | 20 | 2.24
60 | 427 | 32.4958 | 32.4987 | 32.4972 | 0.0029196 | 8.5242e-06 | 0.26033 |  |  |  | 30 | 2.39
62 | 431 | 32.4892 | 32.4846 | 32.4869 | -0.0046332 | 2.1466e-05 | 0.71163 |  | Leaky insert |  | 50 | 2.57
66 | 459 | 32.511 | 32.5052 | 32.5081 | -0.0058349 | 3.4046e-05 | 0.86628 |  |  |  | 80 | 2.74
[11 empty] | 100 | 2.81
|  |  |  | mean diff | 0.00089669 | [5 empty] | 150 | 2.93
|  |  |  | stdev | 0.0077707 | [5 empty] | 200 | 3.02
|  |  |  | count |  | 13
|  |  |  | SUM |  | 0.00073505
|  |  |  | Sp |  | 0.0053171
|  |  |  | MIN/MAX | 31.2391 | 32.511
with 1 outlier removed
|  |  |  | count |  | 12
|  |  |  | SUM |  | 0.00010155
|  |  |  | Sp |  | 0.002057

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: April 2012
Double click document to use.

## RAW Salinity Output
Sample ID | Event | Station | Bottle Label | DateTime | Bath T (C) | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comment
Calibration#1 |  |  | K15 | 2011-11-09 09:23 | 24C | 0.99986 | 2.7426e-06 | -1.6868e-05 | 0.99984 |  |  | #VALUE!
Calibration#2 |  |  | K15 | 2011-11-09 09:24 | 24C | 0.99986 | 3.5403e-06 | -2.0027e-05 | 0.99984 |  |  | #VALUE!
2011-27 Line P#17 | 2 | P1 | 13 | 2011-11-09 11:19 | 24C | 0.90369 | 1.1199e-06 | -1.9908e-05 | 0.90367 | 31.2415 | 4.5422e-05 | #VALUE!
2011-27 Line P#82 | 2 | P1 | LOOP | 2011-11-09 15:11 | 24C | 0.90363 | 3.1999e-06 | -1.9908e-05 | 0.90361 | 31.2391 | 0.0001221 | #VALUE!
2011-27 Line P#117 | 4 | P2 | 22 | 2011-11-10 09:29 | 24C | 0.91071 | 1.3712e-06 | -2.0027e-05 | 0.91069 | 31.513 | 5.5392e-05 | #VALUE!
2011-27 Line P#66 | 9 | P3 | 50 | 2011-11-09 14:30 | 24C | 0.92113 | 2.2394e-06 | -2.0027e-05 | 0.92111 | 31.917 | 8.7006e-05 | #VALUE!
2011-27 Line P#101 | 9 | P3 | LOOP | 2011-11-09 16:10 | 24C | 0.92114 | 2.7425e-06 | -2.0027e-05 | 0.92112 | 31.9173 | 0.00010709 | #VALUE!
2011-27 Line P#26 | 12 | P4 | 63 | 2011-11-09 11:44 | 24C | 0.98636 | 2.0945e-06 | -1.9908e-05 | 0.98634 | 34.4631 | 8.3668e-05 | #VALUE!
2011-27 Line P#58 | 12 | P4 | 63 | 2011-11-09 14:06 | 24C | 0.98663 | 2.8893e-06 | -2.0027e-05 | 0.98661 | 34.4737 | 0.0001144 | #VALUE! | 3 | Not reported. Outlier in COMPARE.
2011-27 Line P#14 | 12 | P4 | 67 | 2011-11-09 11:11 | 24C | 0.97905 | 1.7932e-06 | -2.0027e-05 | 0.97903 | 34.176 | 6.8803e-05 | #VALUE!
2011-27 Line P#100 | 12 | P4 | 80 | 2011-11-09 16:08 | 24C | 0.92805 | 2.0945e-06 | -2.0027e-05 | 0.92803 | 32.1857 | 8.1638e-05 | #VALUE!
2011-27 Line P#49 | 15 | P4 | 88 | 2011-11-09 13:44 | 24C | 0.98686 | 4.7277e-06 | -1.9968e-05 | 0.98684 | 34.4828 | 0.00018961 | #VALUE! |  | Aborted before third reading
2011-27 Line P#145 | 15 | P4 | 91 | 2011-11-10 11:35 | 24C | 0.98443 | 2.5367e-06 | -2.0027e-05 | 0.98441 | 34.3879 | 9.8233e-05 | #VALUE!
2011-27 Line P#24 | 15 | P4 | 94 | 2011-11-09 11:37 | 24C | 0.97622 | 3.3596e-06 | -1.9968e-05 | 0.9762 | 34.0651 | 0.00013255 | #VALUE!
2011-27 Line P#33 | 15 | P4 | 97 | 2011-11-09 12:00 | 24C | 0.9277 | 3.6232e-06 | -1.9908e-05 | 0.92768 | 32.1722 | 0.00013994 | #VALUE!
2011-27 Line P#152 | 19 | P5 | 134 | 2011-11-10 11:56 | 24C | 0.92401 | 3.5764e-06 | -2.0027e-05 | 0.92399 | 32.0294 | 0.00013945 | #VALUE!
2011-27 Line P#15 | 19 | P5 | LOOP | 2011-11-09 11:14 | 24C | 0.92403 | 1.3713e-06 | -1.9968e-05 | 0.92401 | 32.0296 | 5.2235e-05 | #VALUE!
2011-27 Line P#63 | 20 | P6 | 136 | 2011-11-09 14:21 | 24C | 0.91864 | 3.4551e-06 | -2.0027e-05 | 0.91862 | 31.8204 | 0.00013433 | #VALUE!
2011-27 Line P#40 | 21 | P7 | 138 | 2011-11-09 12:17 | 24C | 0.92998 | 3.8598e-06 | -1.9908e-05 | 0.92996 | 32.2606 | 0.00015076 | #VALUE! | 4 | Not a good seal with insert. A slight outlier in COMPARE
2011-27 Line P#75 | 21 | P7 | LOOP | 2011-11-09 14:52 | 24C | 0.93063 | 3.9974e-06 | -2.0027e-05 | 0.93061 | 32.2857 | 0.00015654 | #VALUE!
2011-27 Line P#7 | 24 | P8 | 139 | 2011-11-09 10:49 | 24C | 0.9895 | 2.7425e-06 | -1.9908e-05 | 0.98948 | 34.5865 | 0.00010761 | #VALUE!
2011-27 Line P#71 | 24 | P8 | 139 | 2011-11-09 14:41 | 24C | 0.98961 | 4.4783e-06 | -2.0027e-05 | 0.98959 | 34.5905 | 0.00017648 | #VALUE!
2011-27 Line P#10 | 24 | P8 | 141 | 2011-11-09 11:00 | 24C | 0.98622 | 3.6104e-06 | -2.0027e-05 | 0.9862 | 34.4577 | 0.00014263 | #VALUE!
2011-27 Line P#54 | 24 | P8 | 142 | 2011-11-09 13:57 | 24C | 0.98421 | 2.8904e-06 | -1.9908e-05 | 0.98419 | 34.3785 | 0.00011346 | #VALUE!
2011-27 Line P#151 | 24 | P8 | 142 | 2011-11-10 11:53 | 24C | 0.98417 | 3.9742e-06 | -2.0027e-05 | 0.98415 | 34.3779 | 0.00015416 | #VALUE!
2011-27 Line P#18 | 24 | P8 | 143 | 2011-11-09 11:21 | 24C | 0.98193 | 2.1278e-06 | -1.9968e-05 | 0.98191 | 34.289 | 8.1621e-05 | #VALUE!
2011-27 Line P#109 | 24 | P8 | 158 | 2011-11-10 09:11 | 24C | 0.9279 | 3.6105e-06 | -2.0027e-05 | 0.92788 | 32.1797 | 0.00014389 | #VALUE!
2011-27 Line P#39 | 26 | P9 | 164 | 2011-11-09 12:14 | 24C | 0.92525 | 3.865e-06 | -1.9968e-05 | 0.92523 | 32.0769 | 0.00015042 | #VALUE!
2011-27 Line P#30 | 26 | P9 | LOOP | 2011-11-09 11:54 | 24C | 0.92514 | 4.7277e-06 | -2.0027e-05 | 0.92512 | 32.0727 | 0.00018187 | #VALUE!
2011-27 Line P#50 | 27 | P10 | 166 | 2011-11-09 13:48 | 24C | 0.9337 | 2.7261e-06 | -1.9908e-05 | 0.93368 | 32.4052 | 0.00010656 | #VALUE!
2011-27 Line P#144 | 28 | P11 | 168 | 2011-11-10 11:32 | 24C | 0.93549 | 5.5033e-06 | -2.0027e-05 | 0.93547 | 32.4758 | 0.00021414 | #VALUE!
2011-27 Line P#68 | 28 | P11 | LOOP | 2011-11-09 14:35 | 24C | 0.93551 | 3.5954e-06 | -2.0027e-05 | 0.93549 | 32.4754 | 0.00014113 | #VALUE!
2011-27 Line P#46 | 31 | P12 | 193 | 2011-11-09 12:30 | 24C | 0.99099 | 3.2141e-06 | -1.9908e-05 | 0.99097 | 34.645 | 0.0001292 | #VALUE!
2011-27 Line P#64 | 31 | P12 | 193 | 2011-11-09 14:26 | 24C | 0.991 | 3.2144e-06 | -2.0027e-05 | 0.99098 | 34.6454 | 0.00012554 | #VALUE!
2011-27 Line P#53 | 31 | P12 | 196 | 2011-11-09 13:54 | 24C | 0.98964 | 3.5958e-06 | -1.9968e-05 | 0.98962 | 34.5918 | 0.00014029 | #VALUE!
2011-27 Line P#29 | 31 | P12 | 199 | 2011-11-09 11:51 | 24C | 0.9848 | 2.2394e-06 | -2.0027e-05 | 0.98478 | 34.4019 | 8.5352e-05 | #VALUE!
2011-27 Line P#146 | 31 | P12 | 199 | 2011-11-10 11:39 | 24C | 0.98484 | 2.4612e-06 | -2.0027e-05 | 0.98482 | 34.4041 | 9.6791e-05 | #VALUE!
2011-27 Line P#86 | 31 | P12 | 200 | 2011-11-09 15:33 | 24C | 0.98292 | 3.8647e-06 | -2.0027e-05 | 0.9829 | 34.328 | 0.00015069 | #VALUE!
2011-27 Line P#44 | 31 | P12 | 215 | 2011-11-09 12:25 | 24C | 0.93434 | 1.1203e-06 | -2.0027e-05 | 0.93432 | 32.4301 | 4.2703e-05 | #VALUE!
2011-27 Line P#87 | 35 | P12 | 234 | 2011-11-09 15:36 | 24C | 0.98978 | 4.5981e-06 | -2.0027e-05 | 0.98976 | 34.5972 | 0.00017848 | #VALUE!
2011-27 Line P#69 | 35 | P12 | 237 | 2011-11-09 14:37 | 24C | 0.98484 | 3.53e-06 | -2.0027e-05 | 0.98482 | 34.4031 | 0.00013759 | #VALUE!
2011-27 Line P#166 | 35 | P12 | 240 | 2011-11-10 12:34 | 24C | 0.97809 | 3.6105e-06 | -2.0027e-05 | 0.97807 | 34.1392 | 0.0001403 | #VALUE!
2011-27 Line P#154 | 35 | P12 | 246 | 2011-11-10 12:01 | 24C | 0.93401 | 2.4784e-06 | -2.0027e-05 | 0.93399 | 32.418 | 9.4938e-05 | #VALUE!
2011-27 Line P#70 | 37 | P13 | 251 | 2011-11-09 14:39 | 24C | 0.93057 | 4.1894e-06 | -2.0027e-05 | 0.93055 | 32.2837 | 0.00016286 | #VALUE!
2011-27 Line P#137 | 37 | P13 | LOOP | 2011-11-10 11:04 | 24C | 0.93052 | 2.1278e-06 | -2.0027e-05 | 0.9305 | 32.2824 | 8.1169e-05 | #VALUE! | 3 | Not a good seal with insert
2011-27 Line P#42 | 38 | P14 | 252 | 2011-11-09 12:21 | 24C | 0.93741 | 2.7435e-06 | -1.9908e-05 | 0.93739 | 32.5495 | 0.00010656 | #VALUE!
2011-27 Line P#72 | 38 | P14 | 253 | 2011-11-09 14:43 | 24C | 0.93417 | 2.4911e-06 | -2.0027e-05 | 0.93415 | 32.4235 | 9.6599e-05 | #VALUE!
2011-27 Line P#52 | 40 | P15 | 255 | 2011-11-09 13:52 | 24C | 0.9337 | 3.3454e-06 | -1.9908e-05 | 0.93368 | 32.4052 | 0.00012993 | #VALUE!
2011-27 Line P#65 | 40 | P15 | LOOP | 2011-11-09 14:28 | 24C | 0.93365 | 3.4657e-06 | -2.0027e-05 | 0.93363 | 32.4031 | 0.00013203 | #VALUE!
2011-27 Line P#120 | 42 | P16 | 266 | 2011-11-10 09:39 | 24C | 0.99157 | 2.2401e-06 | -1.9968e-05 | 0.99155 | 34.6675 | 8.792e-05 | #VALUE! |  | Cap loose
2011-27 Line P#23 | 42 | P16 | 268 | 2011-11-09 11:34 | 24C | 0.99121 | 2.0841e-06 | -1.9968e-05 | 0.99119 | 34.6533 | 8.3896e-05 | #VALUE!
2011-27 Line P#73 | 42 | P16 | 268 | 2011-11-09 14:47 | 24C | 0.99122 | 2.8901e-06 | -1.9968e-05 | 0.9912 | 34.6539 | 0.00011346 | #VALUE!
2011-27 Line P#25 | 42 | P16 | 270 | 2011-11-09 11:42 | 24C | 0.98957 | 1.3712e-06 | -1.9968e-05 | 0.98955 | 34.5889 | 5.2235e-05 | #VALUE!
2011-27 Line P#51 | 42 | P16 | 273 | 2011-11-09 13:50 | 24C | 0.98383 | 2.5224e-06 | -2.0027e-05 | 0.98381 | 34.3638 | 9.7279e-05 | #VALUE! |  | Cap loose
2011-27 Line P#114 | 42 | P16 | 273 | 2011-11-10 09:22 | 24C | 0.98399 | 2.2392e-06 | -2.0027e-05 | 0.98397 | 34.37 | 8.7223e-05 | #VALUE!
2011-27 Line P#11 | 42 | P16 | 274 | 2011-11-09 11:03 | 24C | 0.9814 | 3.865e-06 | -2.0027e-05 | 0.98138 | 34.2682 | 0.00015202 | #VALUE!
2011-27 Line P#57 | 42 | P16 | 288 | 2011-11-09 14:04 | 24C | 0.93367 | 2.7425e-06 | -2.0027e-05 | 0.93365 | 32.4041 | 0.0001097 | #VALUE!
2011-27 Line P#111 | 47 | P16 | 326 | 2011-11-10 09:15 | 24C | 0.98973 | 3.6233e-06 | -2.0027e-05 | 0.98971 | 34.5953 | 0.00014165 | #VALUE!
2011-27 Line P#55 | 47 | P16 | 329 | 2011-11-09 13:59 | 24C | 0.98392 | 2.4915e-06 | -2.0027e-05 | 0.9839 | 34.3671 | 9.4885e-05 | #VALUE!
2011-27 Line P#4 | 47 | P16 | 332 | 2011-11-09 10:37 | 24C | 0.97708 | 1.3712e-06 | -1.9968e-05 | 0.97706 | 34.0991 | 5.2235e-05 | #VALUE!
2011-27 Line P#43 | 47 | P16 | 338 | 2011-11-09 12:23 | 24C | 0.93363 | 1.1529e-06 | -1.9968e-05 | 0.93361 | 32.4023 | 4.6915e-05 | #VALUE! |  | Too full
2011-27 Line P#38 | 49 | P17 | 343 | 2011-11-09 12:12 | 24C | 0.93397 | 2.0945e-06 | -1.9908e-05 | 0.93395 | 32.4158 | 8.1621e-05 | #VALUE!
2011-27 Line P#74 | 49 | P17 | LOOP | 2011-11-09 14:49 | 24C | 0.93399 | 4.4783e-06 | -2.0027e-05 | 0.93397 | 32.4166 | 0.0001763 | #VALUE!
2011-27 Line P#27 | 51 | P18 | 345 | 2011-11-09 11:46 | 24C | 0.9406 | 2.4908e-06 | -1.9908e-05 | 0.94058 | 32.6738 | 9.4885e-05 | #VALUE!
2011-27 Line P#116 | 52 | P19 | 347 | 2011-11-10 09:26 | 24C | 0.93484 | 3.4354e-06 | -2.0087e-05 | 0.93482 | 32.4497 | 0.00013596 | #VALUE!
2011-27 Line P#12 | 52 | P19 | LOOP | 2011-11-09 11:06 | 24C | 0.9349 | 2.4908e-06 | -1.9968e-05 | 0.93488 | 32.4518 | 9.4938e-05 | #VALUE!
2011-27 Line P#34 | 55 | P20 | 349 | 2011-11-09 12:02 | 24C | 0.98955 | 2.2398e-06 | -2.0027e-05 | 0.98953 | 34.5884 | 8.9613e-05 | #VALUE!
2011-27 Line P#81 | 55 | P20 | 352 | 2011-11-09 15:09 | 24C | 0.98382 | 2.8901e-06 | -1.9968e-05 | 0.9838 | 34.3633 | 0.0001147 | #VALUE!
2011-27 Line P#102 | 55 | P20 | 355 | 2011-11-09 16:13 | 24C | 0.97665 | 3.1417e-06 | -2.0027e-05 | 0.97663 | 34.082 | 0.00012312 | #VALUE!
2011-27 Line P#150 | 55 | P20 | 358 | 2011-11-10 11:51 | 24C | 0.936 | 2.2401e-06 | -2.0027e-05 | 0.93598 | 32.4954 | 8.7041e-05 | #VALUE!
2011-27 Line P#79 | 57 | P20 | 370 | 2011-11-09 15:03 | 24C | 0.99168 | 3.5792e-06 | -1.9968e-05 | 0.99166 | 34.6721 | 0.00013903 | #VALUE! |  | Cap loose
2011-27 Line P#28 | 57 | P20 | 372 | 2011-11-09 11:49 | 24C | 0.99128 | 2.4777e-06 | -1.9908e-05 | 0.99126 | 34.6562 | 9.8045e-05 | #VALUE!
2011-27 Line P#89 | 57 | P20 | 372 | 2011-11-09 15:40 | 24C | 0.99124 | 3.2141e-06 | -1.9908e-05 | 0.99122 | 34.6545 | 0.00012388 | #VALUE!
2011-27 Line P#132 | 57 | P20 | 374 | 2011-11-10 10:50 | 24C | 0.98956 | 1.1203e-06 | -2.0027e-05 | 0.98954 | 34.5894 | 4.5227e-05 | #VALUE!
2011-27 Line P#47 | 57 | P20 | 377 | 2011-11-09 12:33 | 24C | 0.98388 | 1.4046e-06 | -2.0027e-05 | 0.98386 | 34.3656 | 5.1197e-05 | #VALUE!
2011-27 Line P#125 | 57 | P20 | 377 | 2011-11-10 09:51 | 24C | 0.98383 | 3.5987e-06 | -1.9968e-05 | 0.98382 | 34.3639 | 0.00013946 | #VALUE! |  | Cap loose
2011-27 Line P#32 | 57 | P20 | 378 | 2011-11-09 11:58 | 24C | 0.98189 | 4.1138e-06 | -2.0027e-05 | 0.98187 | 34.2874 | 0.00016194 | #VALUE!
2011-27 Line P#21 | 57 | P20 | 392 | 2011-11-09 11:29 | 24C | 0.93544 | 2.2392e-06 | -2.0027e-05 | 0.93542 | 32.473 | 8.8188e-05 | #VALUE!
2011-27 Line P#60 | 60 | P21 | 427 | 2011-11-09 14:15 | 24C | 0.93603 | 3.8402e-06 | -2.0027e-05 | 0.93601 | 32.4958 | 0.0001486 | #VALUE!
2011-27 Line P#108 | 60 | P21 | LOOP | 2011-11-10 09:08 | 24C | 0.9361 | 3.7946e-06 | -2.0027e-05 | 0.93608 | 32.4987 | 0.00014628 | #VALUE!
2011-27 Line P#56 | 61 | P22 | 429 | 2011-11-09 14:02 | 24C | 0.94384 | 1.3712e-06 | -1.9908e-05 | 0.94382 | 32.8001 | 5.4326e-05 | #VALUE!
2011-27 Line P#115 | 62 | P23 | 431 | 2011-11-10 09:24 | 24C | 0.93586 | 2.2394e-06 | -2.0027e-05 | 0.93584 | 32.5068 | 8.7013e-05 | #VALUE! | 3 | Leaky insert
2011-27 Line P#141 | 62 | P23 | LOOP | 2011-11-10 11:18 | 24C | 0.93574 | 3.4657e-06 | -2.0027e-05 | 0.93572 | 32.4854 | 0.00013386 | #VALUE!
2011-27 Line P#35 | 64 | P24 | 432 | 2011-11-09 12:06 | 24C | 0.98937 | 3.8748e-06 | -1.9968e-05 | 0.98935 | 34.5811 | 0.00015049 | #VALUE!
2011-27 Line P#148 | 64 | P24 | 433 | 2011-11-10 11:46 | 24C | 0.98929 | 5.9592e-06 | -2.0027e-05 | 0.98927 | 34.579 | 0.00023599 | #VALUE!
2011-27 Line P#85 | 64 | P24 | 434 | 2011-11-09 15:30 | 24C | 0.98927 | 3.3588e-06 | -1.9968e-05 | 0.98925 | 34.5771 | 0.00013089 | #VALUE!
2011-27 Line P#88 | 64 | P24 | 435 | 2011-11-09 15:38 | 24C | 0.98935 | 3.3587e-06 | -2.0027e-05 | 0.98933 | 34.5803 | 0.00013116 | #VALUE!
2011-27 Line P#5 | 64 | P24 | 436 | 2011-11-09 10:40 | 24C | 0.99028 | 6.3499e-06 | -1.9968e-05 | 0.99026 | 34.617 | 0.00024733 | #VALUE!
2011-27 Line P#134 | 64 | P24 | 437 | 2011-11-10 10:56 | 24C | 0.98933 | 3.2145e-06 | -2.0027e-05 | 0.98931 | 34.5805 | 0.00012382 | #VALUE!
2011-27 Line P#37 | 64 | P24 | 438 | 2011-11-09 12:10 | 24C | 0.98929 | 5.8913e-06 | -2.0027e-05 | 0.98927 | 34.5781 | 0.00023059 | #VALUE!
2011-27 Line P#90 | 64 | P24 | 439 | 2011-11-09 15:43 | 24C | 0.98931 | 2.7425e-06 | -1.9968e-05 | 0.98929 | 34.5787 | 0.00011074 | #VALUE!
2011-27 Line P#121 | 64 | P24 | 440 | 2011-11-10 09:41 | 24C | 0.98932 | 3.9739e-06 | -2.0027e-05 | 0.9893 | 34.5793 | 0.00015708 | #VALUE!
2011-27 Line P#77 | 64 | P24 | 441 | 2011-11-09 14:58 | 24C | 0.9893 | 2.7425e-06 | -2.0027e-05 | 0.98928 | 34.5785 | 0.0001066 | #VALUE!
2011-27 Line P#122 | 64 | P24 | 442 | 2011-11-10 09:43 | 24C | 0.98935 | 4.3836e-06 | -2.0027e-05 | 0.98933 | 34.5803 | 0.00017061 | #VALUE!
2011-27 Line P#9 | 64 | P24 | 443 | 2011-11-09 10:57 | 24C | 0.98934 | 3.466e-06 | -2.0027e-05 | 0.98932 | 34.5802 | 0.00013549 | #VALUE!
2011-27 Line P#160 | 64 | P24 | 444 | 2011-11-10 12:22 | 24C | 0.98934 | 3.2144e-06 | -2.0027e-05 | 0.98932 | 34.581 | 0.00012822 | #VALUE!
2011-27 Line P#142 | 64 | P24 | 445 | 2011-11-10 11:22 | 24C | 0.98933 | 3.5475e-06 | -2.0027e-05 | 0.98931 | 34.5805 | 0.00013852 | #VALUE! | 3 | Always increasing conductivity value. Took 4 readings
2011-27 Line P#161 | 64 | P24 | 446 |  | 24C | 0.98933 |  | -2.0027e-05 | 0.98931 |  |  | #VALUE! |  | Calculated manually. Acquisition error aborted the analysis
2011-27 Line P#167 | 64 | P24 | 447 | 2011-11-10 12:37 | 24C | 0.98942 | 2.8897e-06 | -2.0027e-05 | 0.9894 | 34.5838 | 0.00011537 | #VALUE!
2011-27 Line P#113 | 64 | P24 | 448 | 2011-11-10 09:19 | 24C | 0.98938 | 2.2397e-06 | -2.0027e-05 | 0.98936 | 34.5816 | 9.3829e-05 | #VALUE!
2011-27 Line P#93 | 64 | P24 | 449 | 2011-11-09 15:50 | 24C | 0.98933 | 4.2257e-06 | -2.0027e-05 | 0.98931 | 34.5797 | 0.00016619 | #VALUE!
2011-27 Line P#124 | 64 | P24 | 450 | 2011-11-10 09:48 | 24C | 0.98934 | 2.4908e-06 | -2.0027e-05 | 0.98932 | 34.58 | 9.9734e-05 | #VALUE!
2011-27 Line P#159 | 64 | P24 | 451 | 2011-11-10 12:19 | 24C | 0.98929 | 3.2248e-06 | -2.0027e-05 | 0.98927 | 34.5788 | 0.00012864 | #VALUE!
2011-27 Line P#138 | 64 | P24 | 452 | 2011-11-10 11:07 | 24C | 0.9893 | 2.89e-06 | -2.0027e-05 | 0.98928 | 34.5791 | 0.00011603 | #VALUE!
2011-27 Line P#105 | 64 | P24 | 453 | 2011-11-10 09:01 | 24C | 0.98943 | 3.5406e-06 | -2.0027e-05 | 0.98941 | 34.5837 | 0.00013965 | #VALUE!
2011-27 Line P#80 | 64 | P24 | 454 | 2011-11-09 15:06 | 24C | 0.94072 | 3.1309e-06 | -2.0027e-05 | 0.9407 | 32.6785 | 0.00012186 | #VALUE!
2011-27 Line P#41 | 64 | P24 | 455 | 2011-11-09 12:19 | 24C | 0.93491 | 2.7425e-06 | -1.9968e-05 | 0.93489 | 32.4522 | 0.00010447 | #VALUE!
2011-27 Line P#155 | 65 | P25 | 457 | 2011-11-10 12:04 | 24C | 0.96535 | 2.4908e-06 | -2.0027e-05 | 0.96533 | 33.6406 | 9.765e-05 | -99 | 5 | SAL: An outlier in COMPARE. Replicate outlier with LOOP sample
2011-27 Line P#130 | 65 | P25 | LOOP | 2011-11-10 10:46 | 24C | 0.93722 | 2.7426e-06 | -2.0027e-05 | 0.9372 | 32.5421 | 0.00010865 | #VALUE!
2011-27 Line P#119 | 66 | P35 | 459 | 2011-11-10 09:36 | 24C | 0.93642 | 2.5918e-06 | -2.0027e-05 | 0.9364 | 32.511 | 9.9981e-05 | #VALUE!
2011-27 Line P#157 | 66 | P35 | LOOP | 2011-11-10 12:12 | 24C | 0.93627 | 2.7425e-06 | -2.0027e-05 | 0.93625 | 32.506 | 0.00010656 | #VALUE!
2011-27 Line P#96 | 67 | P26 | 464 | 2011-11-09 15:58 | 24C | 0.98969 | 2.0947e-06 | -1.9968e-05 | 0.98967 | 34.5936 | 8.1169e-05 | #VALUE! |  | Many salt crystals on threads
2011-27 Line P#94 | 67 | P26 | 467 | 2011-11-09 15:53 | 24C | 0.98466 | 3.2034e-06 | -1.9908e-05 | 0.98464 | 34.3962 | 0.00012451 | #VALUE!
2011-27 Line P#19 | 67 | P26 | 470 | 2011-11-09 11:24 | 24C | 0.97794 | 4.1137e-06 | -1.9908e-05 | 0.97792 | 34.1327 | 0.00016194 | #VALUE!
2011-27 Line P#84 | 67 | P26 | 480 | 2011-11-09 15:16 | 24C | 0.93688 | 3.1414e-06 | -2.0027e-05 | 0.93686 | 32.529 | 0.00012486 | #VALUE!
2011-27 Line P#48 | 70 | P26 | 494 | 2011-11-09 12:35 | 24C | 0.99202 | 1.1199e-06 | -2.0027e-05 | 0.992 | 34.6853 | 4.265e-05 | #VALUE!
2011-27 Line P#164 | 70 | P26 | 495 | 2011-11-10 12:30 | 24C | 0.99187 | 2.2391e-06 | -2.0027e-05 | 0.99185 | 34.6804 | 8.8804e-05 | #VALUE!
2011-27 Line P#13 | 70 | P26 | 496 | 2011-11-09 11:08 | 24C | 0.9919 | 1.4046e-06 | -2.0027e-05 | 0.99188 | 34.6806 | 5.4326e-05 | #VALUE!
2011-27 Line P#99 | 70 | P26 | 497 | 2011-11-09 16:05 | 24C | 0.99132 | 3.6111e-06 | -1.9908e-05 | 0.9913 | 34.6578 | 0.00014042 | #VALUE!
2011-27 Line P#135 | 70 | P26 | 497 | 2011-11-10 10:59 | 24C | 0.99133 | 3.5826e-06 | -2.0027e-05 | 0.99131 | 34.6592 | 0.00014113 | #VALUE!
2011-27 Line P#45 | 70 | P26 | 498 | 2011-11-09 12:27 | 24C | 0.9906 | 2.2394e-06 | -2.0027e-05 | 0.99058 | 34.6294 | 8.7024e-05 | #VALUE!
2011-27 Line P#98 | 70 | P26 | 499 | 2011-11-09 16:03 | 24C | 0.98951 | 3.4658e-06 | -2.0027e-05 | 0.98949 | 34.5868 | 0.00013595 | #VALUE!
2011-27 Line P#97 | 70 | P26 | 500 | 2011-11-09 16:01 | 24C | 0.98756 | 4.8958e-06 | -1.9968e-05 | 0.98754 | 34.5102 | 0.00019462 | #VALUE!
2011-27 Line P#129 | 70 | P26 | 501 | 2011-11-10 10:43 | 24C | 0.98623 | 4.487e-06 | -2.0027e-05 | 0.98621 | 34.4579 | 0.00017732 | #VALUE!
2011-27 Line P#158 | 70 | P26 | 502 | 2011-11-10 12:15 | 24C | 0.98419 | 3.1415e-06 | -2.0027e-05 | 0.98417 | 34.3787 | 0.00012276 | #VALUE!
2011-27 Line P#162 | 70 | P26 | 502 | 2011-11-10 12:25 | 24C | 0.98422 | 3.4522e-06 | -2.0027e-05 | 0.9842 | 34.3797 | 0.00013459 | #VALUE!
2011-27 Line P#126 | 70 | P26 | 503 | 2011-11-10 09:53 | 24C | 0.98238 | 2.4744e-06 | -2.0027e-05 | 0.98236 | 34.3068 | 9.6599e-05 | #VALUE!
2011-27 Line P#110 | 70 | P26 | 504 | 2011-11-10 09:13 | 24C | 0.97964 | 4.3338e-06 | -2.0027e-05 | 0.97962 | 34.1992 | 0.00017211 | #VALUE!
2011-27 Line P#67 | 70 | P26 | 505 | 2011-11-09 14:32 | 24C | 0.97538 | 2.7426e-06 | -1.9968e-05 | 0.97536 | 34.0322 | 0.00010447 | #VALUE!
2011-27 Line P#91 | 70 | P26 | 506 | 2011-11-09 15:45 | 24C | 0.97242 | 2.5369e-06 | -1.9908e-05 | 0.9724 | 33.9164 | 9.7279e-05 | #VALUE!
2011-27 Line P#76 | 70 | P26 | 507 | 2011-11-09 14:54 | 24C | 0.97082 | 2.4911e-06 | -2.0027e-05 | 0.9708 | 33.8538 | 0.00010061 | #VALUE! |  | Cap loose
2011-27 Line P#16 | 70 | P26 | 508 | 2011-11-09 11:16 | 24C | 0.96874 | 1.1196e-06 | -1.9908e-05 | 0.96872 | 33.7724 | 4.5217e-05 | #VALUE!
2011-27 Line P#106 | 70 | P26 | 509 | 2011-11-10 09:03 | 24C | 0.9679 | 2.7425e-06 | -1.9968e-05 | 0.96788 | 33.7395 | 0.00010447 | #VALUE!
2011-27 Line P#92 | 70 | P26 | 510 | 2011-11-09 15:47 | 24C | 0.96628 | 3.8033e-06 | -2.0027e-05 | 0.96626 | 33.6762 | 0.00014912 | #VALUE!
2011-27 Line P#165 | 70 | P26 | 511 | 2011-11-10 12:32 | 24C | 0.95234 | 4.4793e-06 | -2.0027e-05 | 0.95232 | 33.1321 | 0.00017402 | #VALUE!
2011-27 Line P#59 | 70 | P26 | 512 | 2011-11-09 14:12 | 24C | 0.94434 | 3.4661e-06 | -1.9968e-05 | 0.94432 | 32.8195 | 0.00013595 | #VALUE!
2011-27 Line P#143 | 70 | P26 | 513 | 2011-11-10 11:27 | 24C | 0.94369 | 2.7426e-06 | -2.0027e-05 | 0.94367 | 32.7947 | 0.00011079 | #VALUE!
2011-27 Line P#20 | 70 | P26 | 514 | 2011-11-09 11:27 | 24C | 0.94294 | 2.4908e-06 | -1.9908e-05 | 0.94292 | 32.765 | 9.6599e-05 | #VALUE! |  | Salt crystals around insert
2011-27 Line P#153 | 70 | P26 | 515 | 2011-11-10 11:59 | 24C | 0.9367 | 1.3712e-06 | -2.0027e-05 | 0.93668 | 32.5227 | 5.2235e-05 | #VALUE!
2011-27 Line P#6 | 70 | P26 | 516 | 2011-11-09 10:44 | 24C | 0.93659 | 3.1072e-06 | -2.0027e-05 | 0.93657 | 32.5176 | 0.00012131 | #VALUE!
2011-27 Line P#78 | 70 | P26 | 517 | 2011-11-09 15:00 | 24C | 0.93661 | 3.2144e-06 | -2.0027e-05 | 0.93659 | 32.5185 | 0.00012371 | #VALUE!
2011-27 Line P#149 | 70 | P26 | 517 | 2011-11-10 11:48 | 24C | 0.93681 | 2.2405e-06 | -2.0027e-05 | 0.93679 | 32.527 | 8.7013e-05 | #VALUE!
Deep Water reference
2011-27 Line P#2 | 67 | P23 | 0 STD | 2011-11-09 09:58 | 24C | 0.9896 | 2.7425e-06 | -1.9908e-05 | 0.98958 | 34.5904 | 0.0001066 | #VALUE! |  | 2011-26 Deep water reference
2011-27 Line P#103 | 67 | P23 | 0 STD | 2011-11-10 08:54 | 24C | 0.98968 | 2.4908e-06 | -2.0027e-05 | 0.98966 | 34.5932 | 9.802e-05 | #VALUE! |  | 2011-26 Deep water reference
2011-27 Line P#104 | 67 | P23 | 0 STD | 2011-11-10 08:57 | 24C | 0.98962 | 2.5747e-06 | -2.0027e-05 | 0.9896 | 34.5911 | 0.00010273 | #VALUE! |  | 2011-26 Deep water reference
2011-27 Line P#128 | 67 | P23 | 0 STD | 2011-11-10 09:58 | 24C | 0.98962 | 3.1147e-06 | -2.0027e-05 | 0.9896 | 34.5909 | 0.00012104 | #VALUE! |  | 2011-26 Deep water reference
2011-27 Line P#168 | 67 | P23 | 0 STD | 2011-11-10 12:40 | 24C | 0.98975 | 1.7702e-06 | -2.0027e-05 | 0.98973 | 34.5968 | 7.0132e-05 | #VALUE! |  | 2011-26 Deep water reference
2011-27 Line P#1 | ? | CB | 1334 DWR | 2011-11-09 09:31 | 24C | 0.99905 | 2.5639e-06 | -2.0027e-05 | 0.99903 | 34.9616 | 0.00010062 | #VALUE! |  | Ran this assuming it was a line P sample

## Loop Salinity Output
Sample ID | Event | Station | Bottle Label | DateTime | Bath T (C) | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comment
2011-27 Line P#82 | 2 | P1 | LOOP | 2011-11-09 15:11 | 24C | 0.90363 | 3.1999e-06 | -1.9908e-05 | 0.90361 | 31.2391 | 0.0001221 | 31.2391
2011-27 Line P#101 | 9 | P3 | LOOP | 2011-11-09 16:10 | 24C | 0.92114 | 2.7425e-06 | -2.0027e-05 | 0.92112 | 31.9173 | 0.00010709 | 31.9173
2011-27 Line P#15 | 19 | P5 | LOOP | 2011-11-09 11:14 | 24C | 0.92403 | 1.3713e-06 | -1.9968e-05 | 0.92401 | 32.0296 | 5.2235e-05 | 32.0296
2011-27 Line P#75 | 21 | P7 | LOOP | 2011-11-09 14:52 | 24C | 0.93063 | 3.9974e-06 | -2.0027e-05 | 0.93061 | 32.2857 | 0.00015654 | #VALUE!
2011-27 Line P#30 | 26 | P9 | LOOP | 2011-11-09 11:54 | 24C | 0.92514 | 4.7277e-06 | -2.0027e-05 | 0.92512 | 32.0727 | 0.00018187 | 32.0727
2011-27 Line P#68 | 28 | P11 | LOOP | 2011-11-09 14:35 | 24C | 0.93551 | 3.5954e-06 | -2.0027e-05 | 0.93549 | 32.4754 | 0.00014113 | 32.4754
2011-27 Line P#137 | 37 | P13 | LOOP | 2011-11-10 11:04 | 24C | 0.93052 | 2.1278e-06 | -2.0027e-05 | 0.9305 | 32.2824 | 8.1169e-05 | 32.2816 | 3 | Not a good seal with insert
2011-27 Line P#65 | 40 | P15 | LOOP | 2011-11-09 14:28 | 24C | 0.93365 | 3.4657e-06 | -2.0027e-05 | 0.93363 | 32.4031 | 0.00013203 | 32.4031
2011-27 Line P#74 | 49 | P17 | LOOP | 2011-11-09 14:49 | 24C | 0.93399 | 4.4783e-06 | -2.0027e-05 | 0.93397 | 32.4166 | 0.0001763 | 32.4166
2011-27 Line P#12 | 52 | P19 | LOOP | 2011-11-09 11:06 | 24C | 0.9349 | 2.4908e-06 | -1.9968e-05 | 0.93488 | 32.4518 | 9.4938e-05 | 32.4518
2011-27 Line P#108 | 60 | P21 | LOOP | 2011-11-10 09:08 | 24C | 0.9361 | 3.7946e-06 | -2.0027e-05 | 0.93608 | 32.4987 | 0.00014628 | 32.4987
2011-27 Line P#141 | 62 | P23 | LOOP | 2011-11-10 11:18 | 24C | 0.93574 | 3.4657e-06 | -2.0027e-05 | 0.93572 | 32.4854 | 0.00013386 | 32.4846
2011-27 Line P#130 | 65 | P25 | LOOP | 2011-11-10 10:46 | 24C | 0.93722 | 2.7426e-06 | -2.0027e-05 | 0.9372 | 32.5421 | 0.00010865 | 32.5421
2011-27 Line P#157 | 66 | P35 | LOOP | 2011-11-10 12:12 | 24C | 0.93627 | 2.7425e-06 | -2.0027e-05 | 0.93625 | 32.506 | 0.00010656 | 32.5052
2011-27 Line P#147 |  | JF1 | LOOP | 2011-11-10 11:44 | 24C | 0.91139 | 3.466e-06 | -2.0027e-05 | 0.91137 | 31.5403 | 0.00013415 | 31.5395 |  | Many salt crystals around insert
2011-27 Line P#123 |  | JF2 | LOOP | 2011-11-10 09:46 | 24C | 0.90546 | 2.2394e-06 | -2.0027e-05 | 0.90544 | 31.3099 | 8.9564e-05 | 31.3099
2011-27 Line P#61 |  | JF2 | LOOP | 2011-11-09 14:17 | 24C | 0.90697 | 2.7263e-06 | -2.0027e-05 | 0.90695 | 31.3681 | 0.00010656 | 31.3681
2011-27 Line P#22 |  | JF3 | LOOP | 2011-11-09 11:31 | 24C | 0.90646 | 2.6731e-06 | -2.0027e-05 | 0.90644 | 31.3486 | 0.00010388 | 31.3486
2011-27 Line P#8 |  | JF4 | LOOP | 2011-11-09 10:52 | 24C | 0.90679 | 3.1309e-06 | -1.9968e-05 | 0.90677 | 31.3613 | 0.00011933 | 31.3613 |  | Cap loose
2011-27 Line P#36 |  | USW | LOOP 2 | 2011-11-09 12:08 | 24C | 0.92478 | 1.3713e-06 | -2.0027e-05 | 0.92476 | 32.0586 | 5.2235e-05 | 32.0586
2011-27 Line P#31 |  | USW | LOOP 3 | 2011-11-09 11:56 | 24C | 0.92927 | 3.4516e-06 | -2.0027e-05 | 0.92925 | 32.233 | 0.00013387 | 32.233
2011-27 Line P#3 |  | USW | LOOP 5 | 2011-11-09 10:34 | 24C | 0.93439 | 1.7705e-06 | -2.0027e-05 | 0.93437 | 32.4322 | 6.8817e-05 | 32.4321
2011-27 Line P#62 |  | USW | LOOP 6 | 2011-11-09 14:19 | 24C | 0.93529 | 3.3595e-06 | -2.0027e-05 | 0.93527 | 32.4671 | 0.00012798 | 32.4671
2011-27 Line P#83 |  | USW | LOOP 7 | 2011-11-09 15:13 | 24C | 0.93644 | 2.8897e-06 | -2.0027e-05 | 0.93642 | 32.5119 | 0.00011471 | 32.5119
2011-27 Line P#133 |  | USW | LOOP 8 | 2011-11-10 10:54 | 24C | 0.9362 | 2.4911e-06 | -2.0027e-05 | 0.93618 | 32.5032 | 9.6599e-05 | 32.5024
2011-27 Line P#163 |  | USW | LOOP 8 | 2011-11-10 12:27 | 24C | 0.93557 | 3.853e-06 | -2.0027e-05 | 0.93555 | 32.4787 | 0.00014927 | 32.4779
2011-27 Line P#136 |  | USW | LOOP 9 | 2011-11-10 11:01 | 24C | 0.93548 | 2.4921e-06 | -2.0027e-05 | 0.93546 | 32.4753 | 0.0001006 | 32.4745
2011-27 Line P#140 |  | USW | LOOP 11 | 2011-11-10 11:11 | 24C | 0.93567 | 3.2011e-06 | -2.0027e-05 | 0.93565 | 32.4828 | 0.00012415 | 32.482
2011-27 Line P#139 |  | USW | LOOP 12 | 2011-11-10 11:09 | 24C | 0.93608 | 1.1529e-06 | -2.0027e-05 | 0.93606 | 32.4984 | 4.4364e-05 | 32.4976
2011-27 Line P#112 |  | USW | LOOP 13 | 2011-11-10 09:17 | 24C | 0.93482 | 3.1418e-06 | -1.9968e-05 | 0.9348 | 32.4489 | 0.00012491 | 32.4489
2011-27 Line P#107 |  | USW | LOOP 14 | 2011-11-10 09:05 | 24C | 0.93492 | 2.7425e-06 | -2.0027e-05 | 0.9349 | 32.4527 | 0.00010761 | 32.4527 |  | Too ful
2011-27 Line P#95 |  | USW | LOOP 15 | 2011-11-09 15:55 | 24C | 0.93401 | 2.5753e-06 | -1.9848e-05 | 0.93399 | 32.4173 | 9.9503e-05 | 32.4173
2011-27 Line P#118 |  | USW | LOOP 16 | 2011-11-10 09:31 | 24C | 0.92034 | 3.4658e-06 | -2.0027e-05 | 0.92032 | 31.8863 | 0.00013637 | 31.8863 |  | Salt around insert
2011-27 Line P#127 |  | USW | LOOP 17 | 2011-11-10 09:55 | 24C | 0.91636 | 2.4911e-06 | -2.0027e-05 | 0.91634 | 31.7319 | 9.3957e-05 | 31.7319
2011-27 Line P#156 |  | USW | LOOP | 2011-11-10 12:10 | 24C | 0.93257 | 2.2259e-06 | -2.0027e-05 | 0.93255 | 32.362 | 8.6154e-05 | 32.3612 |  | Unknown Sample. Not enough info on label or log sheets