## DO cal tests
Event | Pressure | Temperature:Primary | Temperature:Secondary | Salinity:T0:C0 | Salinity:T1:C1 | Oxygen:saturation' | Oxygen:Voltage:SBE | Bottle:Position | Bottle_Number | Sample_Number | Phi | DObot/Phi | Oxygen:Dissolved | Flag:Oxygen:Dissolved | diff from fit | 1st fit m | 1st fit b
15 | 198.968 | 8.642 | 8.6423 | 30.6799 | 30.6804 | 6.6906 | 1.7473 | 5 | 5 | 49 | 6.8396 | 0.54301 | 3.714 |  | 0.0032743 | 0.4511 | -0.2419 |  |  | Summary of Soc Voffset including the original values in the factory calibration
15 | 249.436 | 9.0711 | 9.0717 | 30.8465 | 30.8472 | 6.6195 | 1.5546 | 3 | 3 | 47 | 6.8137 | 0.46406 | 3.162 | 6 | 0.0046782
12 | 73.998 | 8.3114 | 8.3127 | 29.81 | 29.8117 | 6.7788 | 2.0265 | 11 | 11 | 31 | 6.8178 | 0.66738 | 4.55 |  | 0.0048562 | [6 empty] | m | b | Soc | Voffset | R2
12 | 199.042 | 8.9107 | 8.9143 | 30.5675 | 30.5689 | 6.6553 | 1.7415 | 5 | 5 | 25 | 6.8054 | 0.53869 | 3.666 |  | 0.0049987 |  |  |  |  | original |  | 0.4329 | -0.22177 | 0.4329 | -0.5123
15 | 99.123 | 7.7191 | 7.7184 | 29.9772 | 29.9786 | 6.8633 | 2.3452 | 9 | 9 | 53 | 6.9214 | 0.81053 | 5.61 |  | 0.0054924 |  |  |  |  | early April-2011-28 | all | 0.4511 | -0.2419 | 0.4511 | -0.53624 | 0.9851
15 | 312.523 | 9.2239 | 9.2243 | 30.9167 | 30.9172 | 6.5941 | 1.4591 | 1 | 1 | 45 | 6.8435 | 0.42654 | 2.919 |  | 0.010223 |  |  |  |  | early April-2011-28 | 1 outlier excluded | 0.4377 | -0.2165 | 0.4377 | -0.49463 | 0.9963
15 | 49.319 | 7.7749 | 7.7756 | 29.7439 | 29.7445 | 6.865 | 2.3025 | 13 | 13 | 57 | 6.8794 | 0.78612 | 5.408 | 6 | 0.010633 |  |  |  |  | early April-2011-28 | 2 outliers excluded | 0.4323 | -0.2066 | 0.4323 | -0.47791 | 0.9984
12 | 333.591 | 9.1558 | 9.1562 | 30.7072 | 30.7078 | 6.613 | 1.5921 | 1 | 1 | 21 | 6.8811 | 0.46504 | 3.2 |  | 0.011273 |  |  |  |  | early April-2011-28 | 3 outliers excluded | 0.4334 | -0.2087 | 0.4334 | -0.48154 | 0.9983
15 | 149.251 | 7.9715 | 7.9728 | 30.3102 | 30.3114 | 6.8091 | 2.0705 | 7 | 7 | 51 | 6.9124 | 0.68081 | 4.706 |  | 0.011289 |  |  |  |  | early April-2011-28 | 7 outliers excluded | 0.432 | -0.2102 | 0.432 | -0.48657 | 0.9981
12 | 249.571 | 8.9534 | 8.9534 | 30.6197 | 30.6201 | 6.6467 | 1.7043 | 3 | 3 | 23 | 6.8409 | 0.53852 | 3.684 |  | 0.011613 |  |  |  |  | mid-April | 2011-08 best fit | 0.4346 | -0.21352 | 0.4346 | -0.4913
15 | 74.093 | 7.6669 | 7.6654 | 29.8271 | 29.8272 | 6.8782 | 2.3251 | 11 | 11 | 55 | 6.9139 | 0.79506 | 5.497 |  | 0.011869
15 | 13.901 | 7.7033 | 7.701 | 29.0136 | 28.9848 | 6.9091 | 2.4871 | 17 | 17 | 61 | 6.8918 | 0.8928 | 6.153 |  | 0.012752
12 | 148.473 | 8.8123 | 8.8125 | 30.4497 | 30.4466 | 6.675 | 1.8078 | 7 | 7 | 27 | 6.781 | 0.58649 | 3.977 | 6 | 0.012911
12 | 4.249 | 7.7076 | 7.7084 | 28.4764 | 28.4771 | 6.9327 | 2.941 | 23 | 23 | 43 | 6.9069 | 1.071 | 7.397 | 6 | 0.013815
12 | 49.037 | 7.7675 | 7.7675 | 29.1566 | 29.1569 | 6.8925 | 2.4861 | 13 | 13 | 33 | 6.9067 | 0.86569 | 5.979 | 6 | 0.013903
15 | 23.879 | 7.7043 | 7.7046 | 29.3601 | 29.3583 | 6.8933 | 2.4112 | 15 | 15 | 59 | 6.8849 | 0.83168 | 5.726 |  | 0.01413
12 | 98.858 | 8.6697 | 8.6701 | 30.2113 | 30.2121 | 6.7067 | 1.8796 | 9 | 9 | 29 | 6.7692 | 0.62238 | 4.213 |  | 0.016414
12 | 4.531 | 7.7059 | 7.7055 | 28.476 | 28.4766 | 6.933 | 2.9554 | 21 | 21 | 41 | 6.9074 | 1.0715 | 7.401 |  | 0.019832
15 | 2.998 | 7.528 | 7.5268 | 27.2903 | 27.2905 | 7.0156 | 2.8804 | 23 | 23 | 67 | 6.9873 | 1.037 | 7.246 | 6 | 0.020416
15 | 9.419 | 7.5834 | 7.5662 | 27.677 | 27.6799 | 6.989 | 2.7938 | 19 | 19 | 63 | 6.9668 | 0.99558 | 6.936 |  | 0.022792
12 | 14.2 | 7.7282 | 7.7293 | 28.4828 | 28.4838 | 6.9291 | 2.9562 | 17 | 17 | 37 | 6.9122 | 1.068 | 7.382 |  | 0.023696
12 | 23.595 | 7.7728 | 7.7714 | 28.6109 | 28.6082 | 6.9163 | 2.9447 | 15 | 15 | 35 | 6.908 | 1.0588 | 7.314 |  | 0.027692
15 | 4.492 | 7.5369 | 7.5381 | 27.298 | 27.2983 | 7.0138 | 2.8757 | 21 | 21 | 65 | 6.9869 | 1.0895 | 7.612 |  | 0.034143
12 | 8.896 | 7.7059 | 7.7058 | 28.476 | 28.4766 | 6.933 | 2.9542 | 19 | 19 | 39 | 6.9112 | 1.208 | 8.349 |  | 0.11729
[17 empty] | Sample_number | Oxygen:Dissolved | Flag:Oxygen:Dissolved
[17 empty] | 21 | 3.2
[17 empty] | 23 | 3.684
[17 empty] | 25 | 3.666
[17 empty] | 27 | 3.977 | 6
[17 empty] | 29 | 4.213
[17 empty] | 31 | 4.55
[17 empty] | 33 | 5.979 | 6
[17 empty] | 35 | 7.314
[17 empty] | 37 | 7.382
[17 empty] | 39 | 8.349
[17 empty] | 41 | 7.401
[17 empty] | 43 | 7.397 | 6
[17 empty] | 45 | 2.919
[17 empty] | 47 | 3.162 | 6
[17 empty] | 49 | 3.714
[17 empty] | 51 | 4.706
[17 empty] | 53 | 5.61
[17 empty] | 55 | 5.497
[17 empty] | 57 | 5.408 | 6
[17 empty] | 59 | 5.726
[17 empty] | 61 | 6.153
[17 empty] | 63 | 6.936
[17 empty] | 65 | 7.612
[17 empty] | 67 | 7.246 | 6