## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-44-0001.mrg | 2011-44-0001.sam | 11 | 16 | 2011-44-0001.mrg & 2011-44-0001.sam
2 | 2011-44-0003.mrg | 2011-44-0003.sam | 18 | 30 | 2011-44-0003.mrg & 2011-44-0003.sam
3 | 2011-44-0004.mrg | 2011-44-0004.sam | 32 | 36 | 2011-44-0004.mrg & 2011-44-0004.sam
4 | 2011-44-0005.mrg | 2011-44-0005.sam | 38 | 44 | 2011-44-0005.mrg & 2011-44-0005.sam
5 | 2011-44-0006.mrg | 2011-44-0006.sam | 46 | 54 | 2011-44-0006.mrg & 2011-44-0006.sam
6 | 2011-44-0007.mrg | 2011-44-0007.sam | 56 | 67 | 2011-44-0007.mrg & 2011-44-0007.sam
7 | 2011-44-0008.mrg | 2011-44-0008.sam | 69 | 79 | 2011-44-0008.mrg & 2011-44-0008.sam
8 | 2011-44-0009.mrg | 2011-44-0009.sam | 81 | 93 | 2011-44-0009.mrg & 2011-44-0009.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.049848 |  | X | CALC Y
m= | 0.038682 | 0.022369 |  | Std Dev of Resid |  | 0.03684 |  | 5.1984 | -0.02344
b= | -0.22452 | 0.12696 |  | Resid Sum of Squares |  | 0.07736 |  | 6.4056 | 0.023259
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 59
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 70.6744 | 5.2994 | 0.01061 | 0.21939 | -0.019532 | -0.23892 |  | 5.1984 | -0.060643
1 | NO | 50.4008 | 5.5421 | 0.011616 | 0.30306 | -0.010145 | -0.3132 |  | 5.8867 | 0.03868
1 | YES | 30.2477 | 5.1984 | 0.013064 | -0.060643 | -0.02344 | 0.037204 |  | 5.8867 | 0.04268
1 | NO | 20.5488 | 5.2165 | 0.013827 | 0.07849 | -0.022738 | -0.10123 |  | 5.8734 | -0.017639
1 | NO | 9.9603 | 6.189 | 0.025873 | 0.33896 | 0.014878 | -0.32408 |  | 5.8699 | -0.031096
1 | NO | 2.0324 | 7.7381 | 0.14165 | -0.69087 | 0.074803 | 0.76567 |  | 5.8754 | 0.029378
2 | YES | 238.028 | 5.8867 | 0.0066531 | 0.03868 | 0.0031857 | -0.035494 |  | 5.8703 | 0.024332
2 | YES | 238.028 | 5.8867 | 0.0066531 | 0.04268 | 0.0031857 | -0.039494 |  | 5.8672 | 0.023208
2 | YES | 202.269 | 5.8734 | 0.0045824 | -0.017639 | 0.0026705 | 0.020309 |  | 5.8402 | -0.051755
2 | YES | 176.325 | 5.8699 | 0.0081135 | -0.031096 | 0.0025366 | 0.033632 |  | 5.6243 | -0.082743
2 | YES | 151.53 | 5.8754 | 0.003818 | 0.029378 | 0.0027486 | -0.026629 |  | 5.7171 | 0.063063
2 | YES | 126.505 | 5.8703 | 0.0057494 | 0.024332 | 0.0025533 | -0.021778 |  | 5.8149 | 0.02993
2 | YES | 102.024 | 5.8672 | 0.0037057 | 0.023208 | 0.0024326 | -0.020775 |  | 5.7035 | 0.050527
2 | YES | 75.9296 | 5.8402 | 0.0056238 | -0.051755 | 0.0013893 | 0.053145 |  | 5.5712 | 0.0022078
2 | NO | 50.708 | 5.751 | 0.02109 | -0.11703 | -0.0020634 | 0.11496 |  | 5.5273 | -0.050697
2 | YES | 30.723 | 5.6243 | 0.013341 | -0.082743 | -0.0069651 | 0.075778 |  | 5.5981 | -0.027929
2 | NO | 19.8124 | 5.6414 | 0.012165 | -0.16159 | -0.0063013 | 0.15528 |  | 5.7568 | -0.030191
2 | NO | 9.7111 | 5.7046 | 0.0065902 | -0.12743 | -0.0038586 | 0.12357 |  | 6.4056 | 0.050614
2 | NO | 2.2719 | 6.1749 | 0.017864 | -0.15315 | 0.014333 | 0.16749 |  | 5.4596 | 0.058585
3 | NO | 41.1589 | 5.7619 | 0.019095 | 0.14994 | -0.0016394 | -0.15158 |  | 5.4367 | 0.045677
3 | YES | 29.6575 | 5.7171 | 0.0084079 | 0.063063 | -0.0033754 | -0.066438 |  | 5.3988 | 0.032826
3 | YES | 20.3882 | 5.8149 | 0.014563 | 0.02993 | 0.00041032 | -0.029519 |  | 5.3064 | -0.0096183
3 | NO | 9.7744 | 6.2685 | 0.0063227 | 0.16449 | 0.017955 | -0.14654 |  | 5.2971 | -0.031867
3 | NO | 2.0431 | 7.6531 | 0.030312 | -0.3119 | 0.071514 | 0.38341 |  | 5.3479 | 0.0088959
4 | NO | 95.9336 | 6.0299 | 0.0057102 | 0.36192 | 0.0087265 | -0.35319 |  | 5.3748 | -0.012212
4 | YES | 76.5512 | 5.7035 | 0.015331 | 0.050527 | -0.0038988 | -0.054426 |  | 5.7402 | -0.017767
4 | YES | 50.6515 | 5.5712 | 0.011302 | 0.0022078 | -0.0090172 | -0.011225 |  | 5.7159 | -0.012133
4 | YES | 30.6302 | 5.5273 | 0.016507 | -0.050697 | -0.010716 | 0.039982 |  | 5.7191 | 0.0030789
4 | YES | 20.26 | 5.5981 | 0.0088755 | -0.027929 | -0.0079782 | 0.019951 |  | 5.7346 | -0.0023732
4 | YES | 9.9208 | 5.7568 | 0.0045329 | -0.030191 | -0.0018379 | 0.028353 |  | 5.6961 | 0.00011206
4 | YES | 2.5325 | 6.4056 | 0.017212 | 0.050614 | 0.023259 | -0.027355 |  | 5.5669 | 0.039859
5 | NO | 157.004 | 4.0273 | 0.038859 | -1.4387 | -0.068738 | 1.37 |  | 5.5216 | 0.033565
5 | NO | 126.401 | 3.7535 | 0.040864 | -1.6705 | -0.079329 | 1.5912 |  | 5.4425 | 0.011485
5 | YES | 100.533 | 5.4596 | 0.0043188 | 0.058585 | -0.013335 | -0.07192 |  | 5.3713 | 0.0063157
5 | YES | 75.0525 | 5.4367 | 0.012921 | 0.045677 | -0.014221 | -0.059898 |  | 5.3004 | -0.051548
5 | YES | 49.8962 | 5.3988 | 0.01889 | 0.032826 | -0.015685 | -0.048511 |  | 5.3137 | -0.021336
5 | YES | 30.4692 | 5.3064 | 0.014568 | -0.0096183 | -0.019261 | -0.0096429 |  | 5.3437 | -0.0092573
5 | YES | 20.4987 | 5.2971 | 0.005259 | -0.031867 | -0.019619 | 0.012248 |  | 5.8292 | 0.025183
5 | YES | 10.133 | 5.3479 | 0.0056438 | 0.0088959 | -0.017655 | -0.026551 |  | 5.8146 | 0.0015764
5 | YES | 3.1857 | 5.3748 | 0.0031039 | -0.012212 | -0.016615 | -0.0044032 |  | 5.7976 | 0.012568
6 | YES | 303.146 | 5.7402 | 0.0080728 | -0.017767 | -0.0024792 | 0.015288 |  | 5.7868 | 0.0087552
6 | YES | 250.237 | 5.7159 | 0.0073183 | -0.012133 | -0.0034215 | 0.0087116 |  | 5.7856 | 0.016643
6 | YES | 199.979 | 5.7191 | 0.0068232 | 0.0030789 | -0.0032973 | -0.0063763 |  | 5.7516 | -0.020444
6 | YES | 175.18 | 5.7346 | 0.0086396 | -0.0023732 | -0.0026958 | -0.00032259 |  | 5.6629 | -0.032083
6 | YES | 125.241 | 5.6961 | 0.0065 | 0.00011206 | -0.0041858 | -0.0042979 |  | 5.4827 | -0.08734
6 | YES | 100.098 | 5.5669 | 0.0039724 | 0.039859 | -0.0091854 | -0.049044 |  | 5.4966 | -0.046365
6 | YES | 75.1518 | 5.5216 | 0.010006 | 0.033565 | -0.010938 | -0.044502 |  | 5.7294 | 0.064357
6 | YES | 50.0622 | 5.4425 | 0.01219 | 0.011485 | -0.013996 | -0.025481 |  | 5.8214 | -0.02361
6 | YES | 30.2398 | 5.3713 | 0.012892 | 0.0063157 | -0.016749 | -0.023065 |  | 5.822 | -0.013033
6 | YES | 19.9548 | 5.3004 | 0.016885 | -0.051548 | -0.019491 | 0.032057 |  | 5.8208 | -0.013158
6 | YES | 10.4378 | 5.3137 | 0.010598 | -0.021336 | -0.01898 | 0.0023565 |  | 5.8162 | -0.0067554
6 | YES | 3.0474 | 5.3437 | 0.0050191 | -0.0092573 | -0.017816 | -0.0085587 |  | 5.8209 | -0.0051165
7 | YES | 200.019 | 5.8292 | 0.0053743 | 0.025183 | 0.00096153 | -0.024221 |  | 5.8243 | 0.014349
7 | YES | 174.779 | 5.8146 | 0.0045829 | 0.0015764 | 0.00039678 | -0.0011796 |  | 5.8186 | 0.0066433
7 | YES | 150.413 | 5.7976 | 0.0070454 | 0.012568 | -0.00026119 | -0.01283 |  | 5.7698 | -0.039224
7 | YES | 125.087 | 5.7868 | 0.0051351 | 0.0087552 | -0.00067934 | -0.0094346 |  | 5.7753 | -0.050722
7 | YES | 100.389 | 5.7856 | 0.0052207 | 0.016643 | -0.00072266 | -0.017366 |  | 5.7472 | -0.050788
7 | YES | 75.1622 | 5.7516 | 0.01808 | -0.020444 | -0.0020409 | 0.018403 |  | 5.7552 | -0.053763
7 | YES | 50.1252 | 5.6629 | 0.023817 | -0.032083 | -0.0054697 | 0.026613 |  | 5.7337 | -0.084311 | -0.0051259
7 | YES | 30.3219 | 5.4827 | 0.0095555 | -0.08734 | -0.012442 | 0.074898
7 | YES | 20.3451 | 5.4966 | 0.012928 | -0.046365 | -0.011902 | 0.034463
7 | YES | 10.3149 | 5.7294 | 0.0095217 | 0.064357 | -0.0028997 | -0.067256
7 | NO | 3.7092 | 5.7999 | 0.0084477 | -0.099071 | -0.00016991 | 0.098901
8 | NO | 316.785 | 5.8309 | 0.0064211 | 0.21395 | 0.00103 | -0.21292
8 | YES | 251.011 | 5.8214 | 0.006024 | -0.02361 | 0.0006602 | 0.02427
8 | YES | 200.803 | 5.822 | 0.0048613 | -0.013033 | 0.00068264 | 0.013716
8 | YES | 174.023 | 5.8208 | 0.0070604 | -0.013158 | 0.00063893 | 0.013797
8 | YES | 150.912 | 5.8162 | 0.006829 | -0.0067554 | 0.00046099 | 0.0072163
8 | YES | 125.231 | 5.8209 | 0.0069865 | -0.0051165 | 0.00064047 | 0.0057569
8 | YES | 100.545 | 5.8243 | 0.0055358 | 0.014349 | 0.0007747 | -0.013574
8 | YES | 74.123 | 5.8186 | 0.0065895 | 0.0066433 | 0.00055383 | -0.0060895
8 | YES | 50.2031 | 5.7698 | 0.030045 | -0.039224 | -0.0013362 | 0.037888
8 | YES | 30.3901 | 5.7753 | 0.0062217 | -0.050722 | -0.0011234 | 0.049599
8 | YES | 20.3898 | 5.7472 | 0.014359 | -0.050788 | -0.0022092 | 0.048579
8 | YES | 10.3968 | 5.7552 | 0.0075193 | -0.053763 | -0.0018986 | 0.051865
8 | YES | 1.8821 | 5.7337 | 0.011746 | -0.084311 | -0.0027322 | 0.081579
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.040304 |  | X | CALC Y
m= | 0.00012451 | 7.7164e-05 |  | Std Dev of Resid |  | 0.047966 |  | 1.8821 | -0.016985
b= | -0.017219 | 0.0089377 |  | Resid Sum of Squares |  | 0.14265 |  | 303.146 | 0.020527
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 64
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 70.6744 | 5.2994 | 0.01061 | 0.21939 | -0.0084194 | -0.22781 |  | 30.2477 | -0.060643
1 | NO | 50.4008 | 5.5421 | 0.011616 | 0.30306 | -0.010944 | -0.314 |  | 20.5488 | 0.07849
1 | YES | 30.2477 | 5.1984 | 0.013064 | -0.060643 | -0.013453 | 0.04719 |  | 238.028 | 0.03868
1 | YES | 20.5488 | 5.2165 | 0.013827 | 0.07849 | -0.014661 | -0.093151 |  | 238.028 | 0.04268
1 | NO | 9.9603 | 6.189 | 0.025873 | 0.33896 | -0.015979 | -0.35494 |  | 202.269 | -0.017639
1 | NO | 2.0324 | 7.7381 | 0.14165 | -0.69087 | -0.016966 | 0.6739 |  | 176.325 | -0.031096
2 | YES | 238.028 | 5.8867 | 0.0066531 | 0.03868 | 0.012419 | -0.026261 |  | 151.53 | 0.029378
2 | YES | 238.028 | 5.8867 | 0.0066531 | 0.04268 | 0.012419 | -0.030261 |  | 126.505 | 0.024332
2 | YES | 202.269 | 5.8734 | 0.0045824 | -0.017639 | 0.007966 | 0.025605 |  | 102.024 | 0.023208
2 | YES | 176.325 | 5.8699 | 0.0081135 | -0.031096 | 0.0047356 | 0.035831 |  | 75.9296 | -0.051755
2 | YES | 151.53 | 5.8754 | 0.003818 | 0.029378 | 0.0016483 | -0.027729 |  | 50.708 | -0.11703
2 | YES | 126.505 | 5.8703 | 0.0057494 | 0.024332 | -0.0014677 | -0.025799 |  | 30.723 | -0.082743
2 | YES | 102.024 | 5.8672 | 0.0037057 | 0.023208 | -0.0045159 | -0.027724 |  | 9.7111 | -0.12743
2 | YES | 75.9296 | 5.8402 | 0.0056238 | -0.051755 | -0.007765 | 0.04399 |  | 41.1589 | 0.14994
2 | YES | 50.708 | 5.751 | 0.02109 | -0.11703 | -0.010905 | 0.10612 |  | 29.6575 | 0.063063
2 | YES | 30.723 | 5.6243 | 0.013341 | -0.082743 | -0.013394 | 0.069349 |  | 20.3882 | 0.02993
2 | NO | 19.8124 | 5.6414 | 0.012165 | -0.16159 | -0.014752 | 0.14683 |  | 76.5512 | 0.050527
2 | YES | 9.7111 | 5.7046 | 0.0065902 | -0.12743 | -0.01601 | 0.11142 |  | 50.6515 | 0.0022078
2 | NO | 2.2719 | 6.1749 | 0.017864 | -0.15315 | -0.016936 | 0.13622 |  | 30.6302 | -0.050697
3 | YES | 41.1589 | 5.7619 | 0.019095 | 0.14994 | -0.012094 | -0.16203 |  | 20.26 | -0.027929
3 | YES | 29.6575 | 5.7171 | 0.0084079 | 0.063063 | -0.013527 | -0.076589 |  | 9.9208 | -0.030191
3 | YES | 20.3882 | 5.8149 | 0.014563 | 0.02993 | -0.014681 | -0.04461 |  | 2.5325 | 0.050614
3 | NO | 9.7744 | 6.2685 | 0.0063227 | 0.16449 | -0.016002 | -0.1805 |  | 100.533 | 0.058585
3 | NO | 2.0431 | 7.6531 | 0.030312 | -0.3119 | -0.016965 | 0.29493 |  | 75.0525 | 0.045677
4 | NO | 95.9336 | 6.0299 | 0.0057102 | 0.36192 | -0.0052743 | -0.3672 |  | 49.8962 | 0.032826
4 | YES | 76.5512 | 5.7035 | 0.015331 | 0.050527 | -0.0076876 | -0.058215 |  | 30.4692 | -0.0096183
4 | YES | 50.6515 | 5.5712 | 0.011302 | 0.0022078 | -0.010913 | -0.01312 |  | 20.4987 | -0.031867
4 | YES | 30.6302 | 5.5273 | 0.016507 | -0.050697 | -0.013405 | 0.037292 |  | 10.133 | 0.0088959
4 | YES | 20.26 | 5.5981 | 0.0088755 | -0.027929 | -0.014697 | 0.013233 |  | 3.1857 | -0.012212
4 | YES | 9.9208 | 5.7568 | 0.0045329 | -0.030191 | -0.015984 | 0.014207 |  | 303.146 | -0.017767
4 | YES | 2.5325 | 6.4056 | 0.017212 | 0.050614 | -0.016904 | -0.067518 |  | 250.237 | -0.012133
5 | NO | 157.004 | 4.0273 | 0.038859 | -1.4387 | 0.0023299 | 1.441 |  | 199.979 | 0.0030789
5 | NO | 126.401 | 3.7535 | 0.040864 | -1.6705 | -0.0014806 | 1.669 |  | 175.18 | -0.0023732
5 | YES | 100.533 | 5.4596 | 0.0043188 | 0.058585 | -0.0047016 | -0.063287 |  | 125.241 | 0.00011206
5 | YES | 75.0525 | 5.4367 | 0.012921 | 0.045677 | -0.0078743 | -0.053551 |  | 100.098 | 0.039859
5 | YES | 49.8962 | 5.3988 | 0.01889 | 0.032826 | -0.011007 | -0.043832 |  | 75.1518 | 0.033565
5 | YES | 30.4692 | 5.3064 | 0.014568 | -0.0096183 | -0.013426 | -0.0038072 |  | 50.0622 | 0.011485
5 | YES | 20.4987 | 5.2971 | 0.005259 | -0.031867 | -0.014667 | 0.0172 |  | 30.2398 | 0.0063157
5 | YES | 10.133 | 5.3479 | 0.0056438 | 0.0088959 | -0.015958 | -0.024854 |  | 19.9548 | -0.051548
5 | YES | 3.1857 | 5.3748 | 0.0031039 | -0.012212 | -0.016823 | -0.0046109 |  | 10.4378 | -0.021336
6 | YES | 303.146 | 5.7402 | 0.0080728 | -0.017767 | 0.020527 | 0.038294 |  | 3.0474 | -0.0092573
6 | YES | 250.237 | 5.7159 | 0.0073183 | -0.012133 | 0.013939 | 0.026072 |  | 200.019 | 0.025183
6 | YES | 199.979 | 5.7191 | 0.0068232 | 0.0030789 | 0.0076809 | 0.0046019 |  | 174.779 | 0.0015764
6 | YES | 175.18 | 5.7346 | 0.0086396 | -0.0023732 | 0.004593 | 0.0069663 |  | 150.413 | 0.012568
6 | YES | 125.241 | 5.6961 | 0.0065 | 0.00011206 | -0.0016251 | -0.0017371 |  | 125.087 | 0.0087552
6 | YES | 100.098 | 5.5669 | 0.0039724 | 0.039859 | -0.0047557 | -0.044615 |  | 100.389 | 0.016643
6 | YES | 75.1518 | 5.5216 | 0.010006 | 0.033565 | -0.0078619 | -0.041426 |  | 75.1622 | -0.020444
6 | YES | 50.0622 | 5.4425 | 0.01219 | 0.011485 | -0.010986 | -0.022471 |  | 50.1252 | -0.032083
6 | YES | 30.2398 | 5.3713 | 0.012892 | 0.0063157 | -0.013454 | -0.01977 |  | 30.3219 | -0.08734
6 | YES | 19.9548 | 5.3004 | 0.016885 | -0.051548 | -0.014735 | 0.036813 |  | 20.3451 | -0.046365
6 | YES | 10.4378 | 5.3137 | 0.010598 | -0.021336 | -0.01592 | 0.0054164 |  | 10.3149 | 0.064357
6 | YES | 3.0474 | 5.3437 | 0.0050191 | -0.0092573 | -0.01684 | -0.0075826 |  | 3.7092 | -0.099071
7 | YES | 200.019 | 5.8292 | 0.0053743 | 0.025183 | 0.0076858 | -0.017497 |  | 251.011 | -0.02361
7 | YES | 174.779 | 5.8146 | 0.0045829 | 0.0015764 | 0.0045431 | 0.0029667 |  | 200.803 | -0.013033
7 | YES | 150.413 | 5.7976 | 0.0070454 | 0.012568 | 0.0015092 | -0.011059 |  | 174.023 | -0.013158
7 | YES | 125.087 | 5.7868 | 0.0051351 | 0.0087552 | -0.0016442 | -0.010399 |  | 150.912 | -0.0067554
7 | YES | 100.389 | 5.7856 | 0.0052207 | 0.016643 | -0.0047195 | -0.021362 |  | 125.231 | -0.0051165
7 | YES | 75.1622 | 5.7516 | 0.01808 | -0.020444 | -0.0078606 | 0.012583 |  | 100.545 | 0.014349
7 | YES | 50.1252 | 5.6629 | 0.023817 | -0.032083 | -0.010978 | 0.021105 |  | 74.123 | 0.0066433
7 | YES | 30.3219 | 5.4827 | 0.0095555 | -0.08734 | -0.013444 | 0.073897 |  | 50.2031 | -0.039224
7 | YES | 20.3451 | 5.4966 | 0.012928 | -0.046365 | -0.014686 | 0.031679 |  | 30.3901 | -0.050722
7 | YES | 10.3149 | 5.7294 | 0.0095217 | 0.064357 | -0.015935 | -0.080292 |  | 20.3898 | -0.050788
7 | YES | 3.7092 | 5.7999 | 0.0084477 | -0.099071 | -0.016757 | 0.082314 |  | 10.3968 | -0.053763
8 | NO | 316.785 | 5.8309 | 0.0064211 | 0.21395 | 0.022225 | -0.19173 |  | 1.8821 | -0.084311
8 | YES | 251.011 | 5.8214 | 0.006024 | -0.02361 | 0.014035 | 0.037645
8 | YES | 200.803 | 5.822 | 0.0048613 | -0.013033 | 0.0077835 | 0.020817
8 | YES | 174.023 | 5.8208 | 0.0070604 | -0.013158 | 0.004449 | 0.017607
8 | YES | 150.912 | 5.8162 | 0.006829 | -0.0067554 | 0.0015713 | 0.0083267
8 | YES | 125.231 | 5.8209 | 0.0069865 | -0.0051165 | -0.0016263 | 0.0034901
8 | YES | 100.545 | 5.8243 | 0.0055358 | 0.014349 | -0.0047001 | -0.019049
8 | YES | 74.123 | 5.8186 | 0.0065895 | 0.0066433 | -0.00799 | -0.014633
8 | YES | 50.2031 | 5.7698 | 0.030045 | -0.039224 | -0.010968 | 0.028256
8 | YES | 30.3901 | 5.7753 | 0.0062217 | -0.050722 | -0.013435 | 0.037287
8 | YES | 20.3898 | 5.7472 | 0.014359 | -0.050788 | -0.014681 | 0.036108
8 | YES | 10.3968 | 5.7552 | 0.0075193 | -0.053763 | -0.015925 | 0.037839
8 | YES | 1.8821 | 5.7337 | 0.011746 | -0.084311 | -0.016985 | 0.067326
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/11/16 14:40:30
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 70.674 | 70.6744 | 0.025465 | 0.0004425 | 5.08 | 5.2994 | 0.01061 | 0.21939
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 50.401 | 50.4008 | 0.026335 | -0.00018692 | 5.239 | 5.5421 | 0.011616 | 0.30306
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 30.248 | 30.2477 | 0.028456 | -0.0002861 | 5.259 | 5.1984 | 0.013064 | -0.060643
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 20.549 | 20.5488 | 0.02413 | -0.00016594 | 5.138 | 5.2165 | 0.013827 | 0.07849
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 9.96 | 9.9603 | 0.028961 | 0.0002985 | 5.85 | 6.189 | 0.025873 | 0.33896
2011-44-0001.mrg | 2011-44-0001.sam | 241 | 2.032 | 2.0324 | 0.027146 | 0.00035667 | 8.429 | 7.7381 | 0.14165 | -0.69087
2011-44-0003.mrg | 2011-44-0003.sam | 440 | 238.009 | 238.028 | 0.031899 | 0.018539 | 5.848 | 5.8867 | 0.0066531 | 0.03868
2011-44-0003.mrg | 2011-44-0003.sam | 440 | 238.043 | 238.028 | 0.031899 | -0.015457 | 5.844 | 5.8867 | 0.0066531 | 0.04268
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 202.269 | 202.269 | 0.023945 | -1.5259e-05 | 5.891 | 5.8734 | 0.0045824 | -0.017639
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 176.325 | 176.325 | 0.024334 | -0.00027466 | 5.901 | 5.8699 | 0.0081135 | -0.031096
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 151.53 | 151.53 | 0.044611 | -0.0004425 | 5.846 | 5.8754 | 0.003818 | 0.029378
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 126.505 | 126.505 | 0.025194 | -6.8665e-05 | 5.846 | 5.8703 | 0.0057494 | 0.024332
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 102.024 | 102.024 | 0.028307 | -0.00036621 | 5.844 | 5.8672 | 0.0037057 | 0.023208
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 75.93 | 75.9296 | 0.028464 | -0.00037384 | 5.892 | 5.8402 | 0.0056238 | -0.051755
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 50.708 | 50.708 | 0.025753 | -1.9073e-05 | 5.868 | 5.751 | 0.02109 | -0.11703
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 30.723 | 30.723 | 0.071968 | -4.1962e-05 | 5.707 | 5.6243 | 0.013341 | -0.082743
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 19.812 | 19.8124 | 0.041905 | 0.00039864 | 5.803 | 5.6414 | 0.012165 | -0.16159
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 9.711 | 9.7111 | 0.063562 | 6.5804e-05 | 5.832 | 5.7046 | 0.0065902 | -0.12743
2011-44-0003.mrg | 2011-44-0003.sam | 241 | 2.272 | 2.2719 | 0.036291 | -9.1314e-05 | 6.328 | 6.1749 | 0.017864 | -0.15315
2011-44-0004.mrg | 2011-44-0004.sam | 241 | 41.159 | 41.1589 | 0.022989 | -0.00012207 | 5.612 | 5.7619 | 0.019095 | 0.14994
2011-44-0004.mrg | 2011-44-0004.sam | 241 | 29.657 | 29.6575 | 0.023572 | 0.00046921 | 5.654 | 5.7171 | 0.0084079 | 0.063063
2011-44-0004.mrg | 2011-44-0004.sam | 241 | 20.388 | 20.3882 | 0.026293 | 0.00019455 | 5.785 | 5.8149 | 0.014563 | 0.02993
2011-44-0004.mrg | 2011-44-0004.sam | 241 | 9.774 | 9.7744 | 0.02371 | 0.00039768 | 6.104 | 6.2685 | 0.0063227 | 0.16449
2011-44-0004.mrg | 2011-44-0004.sam | 241 | 2.043 | 2.0431 | 0.024098 | 0.00012875 | 7.965 | 7.6531 | 0.030312 | -0.3119
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 95.934 | 95.9336 | 0.027669 | -0.00041962 | 5.668 | 6.0299 | 0.0057102 | 0.36192
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 76.551 | 76.5512 | 0.022365 | 0.00022125 | 5.653 | 5.7035 | 0.015331 | 0.050527
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 50.651 | 50.6515 | 0.024619 | 0.0004921 | 5.569 | 5.5712 | 0.011302 | 0.0022078
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 30.63 | 30.6302 | 0.023509 | 0.00019074 | 5.578 | 5.5273 | 0.016507 | -0.050697
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 20.26 | 20.26 | 0.024004 | -4.5776e-05 | 5.626 | 5.5981 | 0.0088755 | -0.027929
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 9.921 | 9.9208 | 0.026109 | -0.00016975 | 5.787 | 5.7568 | 0.0045329 | -0.030191
2011-44-0005.mrg | 2011-44-0005.sam | 241 | 2.532 | 2.5325 | 0.024125 | 0.00046468 | 6.355 | 6.4056 | 0.017212 | 0.050614
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 157.004 | 157.004 | 0.024818 | 0 | 5.466 | 4.0273 | 0.038859 | -1.4387
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 126.401 | 126.401 | 0.022404 | 0.00048065 | 5.424 | 3.7535 | 0.040864 | -1.6705
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 100.533 | 100.533 | 0.021104 | -0.00048828 | 5.401 | 5.4596 | 0.0043188 | 0.058585
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 75.052 | 75.0525 | 0.023917 | 0.00049591 | 5.391 | 5.4367 | 0.012921 | 0.045677
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 49.896 | 49.8962 | 0.024256 | 0.00015259 | 5.366 | 5.3988 | 0.01889 | 0.032826
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 30.469 | 30.4692 | 0.02801 | 0.00016594 | 5.316 | 5.3064 | 0.014568 | -0.0096183
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 20.499 | 20.4987 | 0.020704 | -0.00034904 | 5.329 | 5.2971 | 0.005259 | -0.031867
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 10.133 | 10.133 | 0.021775 | -8.5831e-06 | 5.339 | 5.3479 | 0.0056438 | 0.0088959
2011-44-0006.mrg | 2011-44-0006.sam | 241 | 3.186 | 3.1857 | 0.026973 | -0.000278 | 5.387 | 5.3748 | 0.0031039 | -0.012212
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 303.146 | 303.146 | 0.028406 | -0.00042725 | 5.758 | 5.7402 | 0.0080728 | -0.017767
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 250.237 | 250.237 | 0.023768 | -0.00048828 | 5.728 | 5.7159 | 0.0073183 | -0.012133
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 199.979 | 199.979 | 0.022806 | 0.00041199 | 5.716 | 5.7191 | 0.0068232 | 0.0030789
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 175.18 | 175.18 | 0.02658 | -0.00027466 | 5.737 | 5.7346 | 0.0086396 | -0.0023732
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 125.241 | 125.241 | 0.017572 | 0.00028992 | 5.696 | 5.6961 | 0.0065 | 0.00011206
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 100.098 | 100.098 | 0.027272 | -0.00034332 | 5.527 | 5.5669 | 0.0039724 | 0.039859
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 75.152 | 75.1518 | 0.024539 | -0.00018311 | 5.488 | 5.5216 | 0.010006 | 0.033565
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 50.062 | 50.0622 | 0.022671 | 0.00016022 | 5.431 | 5.4425 | 0.01219 | 0.011485
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 30.24 | 30.2398 | 0.025806 | -0.00023651 | 5.365 | 5.3713 | 0.012892 | 0.0063157
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 19.955 | 19.9548 | 0.019473 | -0.0002079 | 5.352 | 5.3004 | 0.016885 | -0.051548
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 10.438 | 10.4378 | 0.021306 | -0.00017452 | 5.335 | 5.3137 | 0.010598 | -0.021336
2011-44-0007.mrg | 2011-44-0007.sam | 241 | 3.047 | 3.0474 | 0.023357 | 0.0003736 | 5.353 | 5.3437 | 0.0050191 | -0.0092573
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 200.019 | 200.019 | 0.0275 | 0.00032043 | 5.804 | 5.8292 | 0.0053743 | 0.025183
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 174.779 | 174.779 | 0.023505 | 0.00045776 | 5.813 | 5.8146 | 0.0045829 | 0.0015764
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 150.413 | 150.413 | 0.02342 | 0 | 5.785 | 5.7976 | 0.0070454 | 0.012568
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 125.087 | 125.087 | 0.023327 | -0.00016022 | 5.778 | 5.7868 | 0.0051351 | 0.0087552
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 100.389 | 100.389 | 0.023854 | 0.00019836 | 5.769 | 5.7856 | 0.0052207 | 0.016643
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 75.162 | 75.1622 | 0.023108 | 0.00016022 | 5.772 | 5.7516 | 0.01808 | -0.020444
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 50.125 | 50.1252 | 0.027898 | 0.00018311 | 5.695 | 5.6629 | 0.023817 | -0.032083
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 30.322 | 30.3219 | 0.029366 | -0.00012589 | 5.57 | 5.4827 | 0.0095555 | -0.08734
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 20.345 | 20.3451 | 0.021779 | 9.5367e-05 | 5.543 | 5.4966 | 0.012928 | -0.046365
2011-44-0008.mrg | 2011-44-0008.sam | 241 | 10.315 | 10.3149 | 0.020037 | -5.8174e-05 | 5.665 | 5.7294 | 0.0095217 | 0.064357
2011-44-0008.mrg | 2011-44-0008.sam | 240 | 3.709 | 3.7092 | 0.023372 | 0.00023746 | 5.899 | 5.7999 | 0.0084477 | -0.099071
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 316.785 | 316.785 | 0.033801 | -0.00042725 | 5.617 | 5.8309 | 0.0064211 | 0.21395
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 251.011 | 251.011 | 0.032286 | -0.00021362 | 5.845 | 5.8214 | 0.006024 | -0.02361
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 200.803 | 200.803 | 0.05126 | 0.00030518 | 5.835 | 5.822 | 0.0048613 | -0.013033
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 174.023 | 174.023 | 0.02813 | 0.00028992 | 5.834 | 5.8208 | 0.0070604 | -0.013158
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 150.912 | 150.912 | 0.040639 | 0.00030518 | 5.823 | 5.8162 | 0.006829 | -0.0067554
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 125.231 | 125.231 | 0.032542 | 0.00034332 | 5.826 | 5.8209 | 0.0069865 | -0.0051165
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 100.545 | 100.545 | 0.038159 | 0.00028229 | 5.81 | 5.8243 | 0.0055358 | 0.014349
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 74.123 | 74.123 | 0.059767 | 2.2888e-05 | 5.812 | 5.8186 | 0.0065895 | 0.0066433
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 50.203 | 50.2031 | 0.41515 | 7.6294e-05 | 5.809 | 5.7698 | 0.030045 | -0.039224
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 30.39 | 30.3901 | 0.076017 | 7.6294e-05 | 5.826 | 5.7753 | 0.0062217 | -0.050722
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 20.39 | 20.3898 | 0.060713 | -0.00023651 | 5.798 | 5.7472 | 0.014359 | -0.050788
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 10.397 | 10.3968 | 0.062749 | -0.00020409 | 5.809 | 5.7552 | 0.0075193 | -0.053763
2011-44-0009.mrg | 2011-44-0009.sam | 241 | 1.882 | 1.8821 | 0.037852 | 8.297e-05 | 5.818 | 5.7337 | 0.011746 | -0.084311
Create Fit Sheet