## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-44-0001.mrg | 2011-44-0001.th1 | 11 | 16 | 2011-44-0001.mrg & 2011-44-0001.th1
2 | 2011-44-0003.mrg | 2011-44-0003.th1 | 18 | 30 | 2011-44-0003.mrg & 2011-44-0003.th1
3 | 2011-44-0004.mrg | 2011-44-0004.th1 | 32 | 36 | 2011-44-0004.mrg & 2011-44-0004.th1
4 | 2011-44-0005.mrg | 2011-44-0005.th1 | 38 | 44 | 2011-44-0005.mrg & 2011-44-0005.th1
5 | 2011-44-0006.mrg | 2011-44-0006.th1 | 46 | 54 | 2011-44-0006.mrg & 2011-44-0006.th1
6 | 2011-44-0007.mrg | 2011-44-0007.th1 | 56 | 67 | 2011-44-0007.mrg & 2011-44-0007.th1
7 | 2011-44-0008.mrg | 2011-44-0008.th1 | 69 | 79 | 2011-44-0008.mrg & 2011-44-0008.th1
8 | 2011-44-0009.mrg | 2011-44-0009.th1 | 81 | 93 | 2011-44-0009.mrg & 2011-44-0009.th1

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0006554 |  | X | CALC Y
m= | 1.8693e-05 | 0.00011688 |  | Std Dev of Resid |  | 0.067941 |  | 2.637 | 0.062963
b= | 0.062913 | 0.013925 |  | Resid Sum of Squares |  | 0.18002 |  | 302.469 | 0.068568
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 41
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 70.597 | 5.321 | 0 | 0.241 | 0.064233 | -0.17677 |  | 30.994 | 0.087
1 | NO | 50.5047 | 5.6465 | 0.017916 | 0.4075 | 0.063858 | -0.34364 |  | 3.1075 | -0.0905
1 | YES | 30.994 | 5.346 | 0.039598 | 0.087 | 0.063493 | -0.023507 |  | 237.882 | 0.064
1 | NO | 20.987 | 5.3805 | 0.016264 | 0.2425 | 0.063306 | -0.17919 |  | 237.882 | 0.068
1 | NO | 9.6523 | 6.3173 | 0.2081 | 0.46733 | 0.063094 | -0.40424 |  | 201.998 | 0.098001
1 | YES | 3.1075 | 8.3385 | 0.016264 | -0.0905 | 0.062972 | 0.15347 |  | 50.4938 | 0.13225
2 | YES | 237.882 | 5.912 | 0 | 0.064 | 0.06736 | 0.0033601 |  | 31.0075 | 0.14
2 | YES | 237.882 | 5.912 | 0 | 0.068 | 0.06736 | -0.00064008 |  | 18.9965 | 0.0365
2 | YES | 201.998 | 5.989 | 0.0056568 | 0.098001 | 0.066689 | -0.031311 |  | 9.6617 | -0.00033331
2 | NO | 176.009 | 6.3025 | 0.0077783 | 0.4015 | 0.066204 | -0.3353 |  | 29.0015 | 0.111
2 | NO | 151.499 | 6.3445 | 0.00070706 | 0.4985 | 0.065745 | -0.43275 |  | 20.9985 | 0.0485
2 | NO | 125.998 | 6.3045 | 0.0035356 | 0.4585 | 0.065269 | -0.39323 |  | 9.6647 | 0.023333
2 | NO | 103.505 | 6.2505 | 0.0021212 | 0.4065 | 0.064848 | -0.34165 |  | 31.0055 | 0.1745
2 | NO | 75.9955 | 6.1895 | 0.0063638 | 0.2975 | 0.064334 | -0.23317 |  | 21.0065 | 0.121
2 | YES | 50.4938 | 6.0003 | 0.015945 | 0.13225 | 0.063857 | -0.068393 |  | 3.3035 | 0.0465
2 | YES | 31.0075 | 5.847 | 0.012728 | 0.14 | 0.063493 | -0.076507 |  | 155.754 | 0.0435
2 | YES | 18.9965 | 5.8395 | 0.016263 | 0.0365 | 0.063269 | 0.026769 |  | 126.002 | 0.1455
2 | YES | 9.6617 | 5.8317 | 0.012097 | -0.00033331 | 0.063094 | 0.063427 |  | 49.4987 | 0.09725
2 | NO | 3.162 | 5.818 | 0.029699 | -0.51 | 0.062973 | 0.57297 |  | 30.9875 | 0.035
3 | NO | 40.957 | 5.816 | 0 | 0.204 | 0.063679 | -0.14032 |  | 21.008 | 0.019
3 | YES | 29.0015 | 5.765 | 0.0028286 | 0.111 | 0.063456 | -0.047545 |  | 10.385 | 0.011
3 | YES | 20.9985 | 5.8335 | 0.0091924 | 0.0485 | 0.063306 | 0.014806 |  | 4.537 | -0.061
3 | YES | 9.6647 | 6.1273 | 0.036665 | 0.023333 | 0.063094 | 0.039761 |  | 302.469 | -0.014
3 | NO | 3.0315 | 7.064 | 0.58831 | -0.901 | 0.06297 | 0.96397 |  | 251.002 | 0.0365
4 | NO | 95.852 | 6.063 | 0 | 0.395 | 0.064705 | -0.33029 |  | 199.668 | 0.101
4 | NO | 76.002 | 5.9925 | 0.00070706 | 0.3395 | 0.064334 | -0.27517 |  | 10.9853 | 0.13567
4 | NO | 50.497 | 5.8448 | 0.013301 | 0.27575 | 0.063857 | -0.21189 |  | 4.5025 | 0.0415
4 | YES | 31.0055 | 5.7525 | 0.026163 | 0.1745 | 0.063493 | -0.11101 |  | 199.934 | 0.057
4 | YES | 21.0065 | 5.747 | 0.0014145 | 0.121 | 0.063306 | -0.057694 |  | 50.4945 | 0.1645
4 | NO | 9.6597 | 6.114 | 0.14228 | 0.327 | 0.063094 | -0.26391 |  | 30.991 | 0.169
4 | YES | 3.3035 | 6.4015 | 0.0091924 | 0.0465 | 0.062975 | 0.016476 |  | 20.9885 | 0.102
5 | YES | 155.754 | 5.5095 | 0.00070739 | 0.0435 | 0.065825 | 0.022325 |  | 10.995 | -0.035333
5 | YES | 126.002 | 5.5695 | 0.00070739 | 0.1455 | 0.065269 | -0.080231 |  | 4.531 | -0.0725
5 | NO | 99.999 | 5.617 | 0 | 0.216 | 0.064783 | -0.15122 |  | 251.003 | -0.0049996
5 | NO | 76.0075 | 5.604 | 0.0028282 | 0.213 | 0.064334 | -0.14867 |  | 200.499 | 0.0445
5 | YES | 49.4987 | 5.4633 | 0.0083015 | 0.09725 | 0.063839 | -0.033411 |  | 174.001 | 0.1545
5 | YES | 30.9875 | 5.351 | 0.015556 | 0.035 | 0.063493 | 0.028493 |  | 50.4985 | 0.15025
5 | YES | 21.008 | 5.348 | 0.031113 | 0.019 | 0.063306 | 0.044306 |  | 30.9945 | 0.091499
5 | YES | 10.385 | 5.35 | 0.0042427 | 0.011 | 0.063108 | 0.052107 |  | 21.0005 | 0.1005
5 | YES | 4.537 | 5.326 | 0.0070709 | -0.061 | 0.062998 | 0.124 |  | 10.999 | 0.044
6 | YES | 302.469 | 5.744 | 0.0014141 | -0.014 | 0.068568 | 0.082567 |  | 2.637 | 0.023 | 0.064356
6 | YES | 251.002 | 5.7645 | 0.0035356 | 0.0365 | 0.067605 | 0.031105
6 | YES | 199.668 | 5.817 | 0.003 | 0.101 | 0.066646 | -0.034354
6 | NO | 175.991 | 5.973 | 0.018385 | 0.236 | 0.066203 | -0.1698
6 | NO | 125.991 | 6.0625 | 0.02192 | 0.3665 | 0.065269 | -0.30123
6 | NO | 99.997 | 5.943 | 0 | 0.416 | 0.064783 | -0.35122
6 | NO | 76.012 | 5.8405 | 0.0063638 | 0.3525 | 0.064334 | -0.28817
6 | NO | 50.4965 | 5.6798 | 0.0093942 | 0.24875 | 0.063857 | -0.18489
6 | NO | 30.9985 | 5.612 | 0.0098995 | 0.247 | 0.063493 | -0.18351
6 | NO | 19.008 | 5.569 | 0.0028286 | 0.217 | 0.063269 | -0.15373
6 | YES | 10.9853 | 5.4707 | 0.0025167 | 0.13567 | 0.063119 | -0.072548
6 | YES | 4.5025 | 5.3945 | 0.00070706 | 0.0415 | 0.062998 | 0.021498
7 | YES | 199.934 | 5.861 | 0 | 0.057 | 0.066651 | 0.0096507
7 | NO | 174.005 | 6.0665 | 0.023335 | 0.2535 | 0.066166 | -0.18733
7 | NO | 149.999 | 6.208 | 0 | 0.423 | 0.065717 | -0.35728
7 | NO | 126 | 6.171 | 0.0042423 | 0.393 | 0.065269 | -0.32773
7 | NO | 99.995 | 6.137 | 0 | 0.368 | 0.064783 | -0.30322
7 | NO | 76.005 | 6.065 | 0.018385 | 0.293 | 0.064334 | -0.22867
7 | YES | 50.4945 | 5.8595 | 0.031214 | 0.1645 | 0.063857 | -0.10064
7 | YES | 30.991 | 5.739 | 0.0070709 | 0.169 | 0.063493 | -0.10551
7 | YES | 20.9885 | 5.645 | 0.014142 | 0.102 | 0.063306 | -0.038694
7 | YES | 10.995 | 5.6297 | 0.0025167 | -0.035333 | 0.063119 | 0.098452
7 | YES | 4.531 | 5.8265 | 0.10112 | -0.0725 | 0.062998 | 0.1355
8 | NO | 0 | 0 | 0 | -5.617 | 0.062913 | 5.6799
8 | YES | 251.003 | 5.84 | 0.0070709 | -0.0049996 | 0.067605 | 0.072605
8 | YES | 200.499 | 5.8795 | 0.0063638 | 0.0445 | 0.066661 | 0.022162
8 | YES | 174.001 | 5.9885 | 0.017678 | 0.1545 | 0.066166 | -0.088334
8 | NO | 149.992 | 6.232 | 0 | 0.409 | 0.065717 | -0.34328
8 | NO | 126.001 | 6.203 | 0.0056568 | 0.377 | 0.065269 | -0.31173
8 | NO | 100 | 6.18 | 0 | 0.37 | 0.064783 | -0.30522
8 | NO | 73.992 | 6.0855 | 0.0063642 | 0.2735 | 0.064297 | -0.2092
8 | YES | 50.4985 | 5.9592 | 0.006076 | 0.15025 | 0.063857 | -0.086393
8 | YES | 30.9945 | 5.9175 | 0.0091924 | 0.091499 | 0.063493 | -0.028006
8 | YES | 21.0005 | 5.8985 | 0.0021215 | 0.1005 | 0.063306 | -0.037194
8 | YES | 10.999 | 5.853 | 0.01 | 0.044 | 0.063119 | 0.019119
8 | YES | 2.637 | 5.841 | 0 | 0.023 | 0.062963 | 0.039963
NO
NO
YES
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
NO
NO
NO
NO
YES
YES
NO
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.44407 |  | X | CALC Y
m= | 0.35372 | 0.05242 |  | Std Dev of Resid |  | 0.11119 |  | 5.326 | -0.0025591
b= | -1.8864 | 0.30779 |  | Resid Sum of Squares |  | 0.70472 |  | 6.4015 | 0.37786
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 59
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 70.597 | 5.321 | 0 | 0.241 | -0.0043277 | -0.24533 |  | 5.346 | 0.087
1 | NO | 50.5047 | 5.6465 | 0.017916 | 0.4075 | 0.11081 | -0.29669 |  | 5.912 | 0.064
1 | YES | 30.994 | 5.346 | 0.039598 | 0.087 | 0.0045152 | -0.082485 |  | 5.912 | 0.068
1 | NO | 20.987 | 5.3805 | 0.016264 | 0.2425 | 0.016718 | -0.22578 |  | 5.989 | 0.098001
1 | NO | 9.6523 | 6.3173 | 0.2081 | 0.46733 | 0.34809 | -0.11924 |  | 6.3025 | 0.4015
1 | NO | 3.1075 | 8.3385 | 0.016264 | -0.0905 | 1.063 | 1.1535 |  | 6.3445 | 0.4985
2 | YES | 237.882 | 5.912 | 0 | 0.064 | 0.20472 | 0.14072 |  | 6.3045 | 0.4585
2 | YES | 237.882 | 5.912 | 0 | 0.068 | 0.20472 | 0.13672 |  | 6.2505 | 0.4065
2 | YES | 201.998 | 5.989 | 0.0056568 | 0.098001 | 0.23195 | 0.13395 |  | 6.1895 | 0.2975
2 | YES | 176.009 | 6.3025 | 0.0077783 | 0.4015 | 0.34284 | -0.058656 |  | 5.847 | 0.14
2 | YES | 151.499 | 6.3445 | 0.00070706 | 0.4985 | 0.3577 | -0.1408 |  | 5.765 | 0.111
2 | YES | 125.998 | 6.3045 | 0.0035356 | 0.4585 | 0.34355 | -0.11495 |  | 5.8335 | 0.0485
2 | YES | 103.505 | 6.2505 | 0.0021212 | 0.4065 | 0.32445 | -0.082049 |  | 5.9925 | 0.3395
2 | YES | 75.9955 | 6.1895 | 0.0063638 | 0.2975 | 0.30287 | 0.0053739 |  | 5.8448 | 0.27575
2 | NO | 50.4938 | 6.0003 | 0.015945 | 0.13225 | 0.23593 | 0.10368 |  | 5.7525 | 0.1745
2 | YES | 31.0075 | 5.847 | 0.012728 | 0.14 | 0.18173 | 0.041726 |  | 5.747 | 0.121
2 | NO | 18.9965 | 5.8395 | 0.016263 | 0.0365 | 0.17907 | 0.14257 |  | 6.114 | 0.327
2 | NO | 9.6617 | 5.8317 | 0.012097 | -0.00033331 | 0.1763 | 0.17664 |  | 6.4015 | 0.0465
2 | NO | 3.162 | 5.818 | 0.029699 | -0.51 | 0.17147 | 0.68147 |  | 5.617 | 0.216
3 | NO | 40.957 | 5.816 | 0 | 0.204 | 0.17076 | -0.033239 |  | 5.604 | 0.213
3 | YES | 29.0015 | 5.765 | 0.0028286 | 0.111 | 0.15272 | 0.041721 |  | 5.4633 | 0.09725
3 | YES | 20.9985 | 5.8335 | 0.0091924 | 0.0485 | 0.17695 | 0.12845 |  | 5.351 | 0.035
3 | NO | 9.6647 | 6.1273 | 0.036665 | 0.023333 | 0.28088 | 0.25755 |  | 5.348 | 0.019
3 | NO | 3.0315 | 7.064 | 0.58831 | -0.901 | 0.6122 | 1.5132 |  | 5.35 | 0.011
4 | NO | 95.852 | 6.063 | 0 | 0.395 | 0.25813 | -0.13687 |  | 5.326 | -0.061
4 | YES | 76.002 | 5.9925 | 0.00070706 | 0.3395 | 0.23319 | -0.10631 |  | 5.744 | -0.014
4 | YES | 50.497 | 5.8448 | 0.013301 | 0.27575 | 0.18093 | -0.094819 |  | 5.7645 | 0.0365
4 | YES | 31.0055 | 5.7525 | 0.026163 | 0.1745 | 0.1483 | -0.0262 |  | 5.817 | 0.101
4 | YES | 21.0065 | 5.747 | 0.0014145 | 0.121 | 0.14635 | 0.025355 |  | 5.973 | 0.236
4 | YES | 9.6597 | 6.114 | 0.14228 | 0.327 | 0.27617 | -0.050832 |  | 6.0625 | 0.3665
4 | YES | 3.3035 | 6.4015 | 0.0091924 | 0.0465 | 0.37786 | 0.33136 |  | 5.943 | 0.416
5 | NO | 155.754 | 5.5095 | 0.00070739 | 0.0435 | 0.062348 | 0.018848 |  | 5.8405 | 0.3525
5 | NO | 126.002 | 5.5695 | 0.00070739 | 0.1455 | 0.083571 | -0.061929 |  | 5.6798 | 0.24875
5 | YES | 99.999 | 5.617 | 0 | 0.216 | 0.10037 | -0.11563 |  | 5.612 | 0.247
5 | YES | 76.0075 | 5.604 | 0.0028282 | 0.213 | 0.095774 | -0.11723 |  | 5.569 | 0.217
5 | YES | 49.4987 | 5.4633 | 0.0083015 | 0.09725 | 0.045988 | -0.051262 |  | 5.4707 | 0.13567
5 | YES | 30.9875 | 5.351 | 0.015556 | 0.035 | 0.0062838 | -0.028716 |  | 5.3945 | 0.0415
5 | YES | 21.008 | 5.348 | 0.031113 | 0.019 | 0.0052226 | -0.013777 |  | 5.861 | 0.057
5 | YES | 10.385 | 5.35 | 0.0042427 | 0.011 | 0.00593 | -0.0050702 |  | 6.0665 | 0.2535
5 | YES | 4.537 | 5.326 | 0.0070709 | -0.061 | -0.0025591 | 0.058441 |  | 6.208 | 0.423
6 | YES | 302.469 | 5.744 | 0.0014141 | -0.014 | 0.14529 | 0.15929 |  | 6.171 | 0.393
6 | YES | 251.002 | 5.7645 | 0.0035356 | 0.0365 | 0.15254 | 0.11604 |  | 6.137 | 0.368
6 | YES | 199.668 | 5.817 | 0.003 | 0.101 | 0.17112 | 0.070115 |  | 6.065 | 0.293
6 | YES | 175.991 | 5.973 | 0.018385 | 0.236 | 0.22629 | -0.0097054 |  | 5.8595 | 0.1645
6 | YES | 125.991 | 6.0625 | 0.02192 | 0.3665 | 0.25795 | -0.10855 |  | 5.739 | 0.169
6 | YES | 99.997 | 5.943 | 0 | 0.416 | 0.21568 | -0.20032 |  | 5.645 | 0.102
6 | YES | 76.012 | 5.8405 | 0.0063638 | 0.3525 | 0.17943 | -0.17307 |  | 5.6297 | -0.035333
6 | YES | 50.4965 | 5.6798 | 0.0093942 | 0.24875 | 0.12257 | -0.12618 |  | 5.84 | -0.0049996
6 | YES | 30.9985 | 5.612 | 0.0098995 | 0.247 | 0.098603 | -0.1484 |  | 5.8795 | 0.0445
6 | YES | 19.008 | 5.569 | 0.0028286 | 0.217 | 0.083394 | -0.13361 |  | 5.9885 | 0.1545
6 | YES | 10.9853 | 5.4707 | 0.0025167 | 0.13567 | 0.048613 | -0.087054 |  | 6.232 | 0.409
6 | YES | 4.5025 | 5.3945 | 0.00070706 | 0.0415 | 0.02167 | -0.019829 |  | 6.203 | 0.377
7 | YES | 199.934 | 5.861 | 0 | 0.057 | 0.18668 | 0.12968 |  | 6.18 | 0.37
7 | YES | 174.005 | 6.0665 | 0.023335 | 0.2535 | 0.25937 | 0.0058669 |  | 6.0855 | 0.2735
7 | YES | 149.999 | 6.208 | 0 | 0.423 | 0.30942 | -0.11358 |  | 5.9592 | 0.15025
7 | YES | 126 | 6.171 | 0.0042423 | 0.393 | 0.29633 | -0.09667 |  | 5.9175 | 0.091499
7 | YES | 99.995 | 6.137 | 0 | 0.368 | 0.2843 | -0.083696 |  | 5.8985 | 0.1005
7 | YES | 76.005 | 6.065 | 0.018385 | 0.293 | 0.25884 | -0.034164 |  | 5.853 | 0.044
7 | YES | 50.4945 | 5.8595 | 0.031214 | 0.1645 | 0.18615 | 0.021648 |  | 5.841 | 0.023
7 | YES | 30.991 | 5.739 | 0.0070709 | 0.169 | 0.14353 | -0.025475
7 | YES | 20.9885 | 5.645 | 0.014142 | 0.102 | 0.11028 | 0.008276
7 | YES | 10.995 | 5.6297 | 0.0025167 | -0.035333 | 0.10485 | 0.14019
7 | NO | 4.531 | 5.8265 | 0.10112 | -0.0725 | 0.17448 | 0.24698
8 | NO | 0 | 0 | 0 | -5.617 | -1.8864 | 3.7306
8 | YES | 251.003 | 5.84 | 0.0070709 | -0.0049996 | 0.17925 | 0.18425
8 | YES | 200.499 | 5.8795 | 0.0063638 | 0.0445 | 0.19322 | 0.14872
8 | YES | 174.001 | 5.9885 | 0.017678 | 0.1545 | 0.23178 | 0.077277
8 | YES | 149.992 | 6.232 | 0 | 0.409 | 0.31791 | -0.091093
8 | YES | 126.001 | 6.203 | 0.0056568 | 0.377 | 0.30765 | -0.069351
8 | YES | 100 | 6.18 | 0 | 0.37 | 0.29951 | -0.070486
8 | YES | 73.992 | 6.0855 | 0.0063642 | 0.2735 | 0.26609 | -0.0074125
8 | YES | 50.4985 | 5.9592 | 0.006076 | 0.15025 | 0.22143 | 0.071181
8 | YES | 30.9945 | 5.9175 | 0.0091924 | 0.091499 | 0.20666 | 0.11516
8 | YES | 21.0005 | 5.8985 | 0.0021215 | 0.1005 | 0.19994 | 0.099443
8 | YES | 10.999 | 5.853 | 0.01 | 0.044 | 0.18385 | 0.13985 |  |  |  | 0.18811
8 | YES | 2.637 | 5.841 | 0 | 0.023 | 0.1796 | 0.1566
NO
NO
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.27208 |  | X | CALC Y
m= | 0.0012844 | 0.00070029 |  | Std Dev of Resid |  | 0.15261 |  | 4.531 | 0.087888
b= | 0.082068 | 0.075688 |  | Resid Sum of Squares |  | 0.20962 |  | 199.934 | 0.33887
# of Values Extracted = |  |  | 11
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
7 | YES | 199.934 | 5.861 | 0 | 0.057 | 0.33887 | 0.28187 |  | 199.934 | 0.057
7 | YES | 174.005 | 6.0665 | 0.023335 | 0.2535 | 0.30556 | 0.052065 |  | 174.005 | 0.2535
7 | YES | 149.999 | 6.208 | 0 | 0.423 | 0.27473 | -0.14827 |  | 149.999 | 0.423
7 | YES | 126 | 6.171 | 0.0042423 | 0.393 | 0.24391 | -0.14909 |  | 126 | 0.393
7 | YES | 99.995 | 6.137 | 0 | 0.368 | 0.2105 | -0.1575 |  | 99.995 | 0.368
7 | YES | 76.005 | 6.065 | 0.018385 | 0.293 | 0.17969 | -0.11331 |  | 76.005 | 0.293
7 | YES | 50.4945 | 5.8595 | 0.031214 | 0.1645 | 0.14692 | -0.017576 |  | 50.4945 | 0.1645
7 | YES | 30.991 | 5.739 | 0.0070709 | 0.169 | 0.12187 | -0.047126 |  | 30.991 | 0.169
7 | YES | 20.9885 | 5.645 | 0.014142 | 0.102 | 0.10903 | 0.007026 |  | 20.9885 | 0.102
7 | YES | 10.995 | 5.6297 | 0.0025167 | -0.035333 | 0.09619 | 0.13152 |  | 10.995 | -0.035333
7 | YES | 4.531 | 5.8265 | 0.10112 | -0.0725 | 0.087888 | 0.16039 |  | 4.531 | -0.0725
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.13502 |  | X | CALC Y
m= | 0.0011432 | 0.00087245 |  | Std Dev of Resid |  | 0.25917 |  | 3.162 | 0.03922
b= | 0.035605 | 0.11959 |  | Resid Sum of Squares |  | 0.73888 |  | 237.882 | 0.30756
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | YES | 237.882 | 5.912 | 0 | 0.064 | 0.30756 | 0.24356 |  | 237.882 | 0.064
2 | YES | 237.882 | 5.912 | 0 | 0.068 | 0.30756 | 0.23956 |  | 237.882 | 0.068
2 | YES | 201.998 | 5.989 | 0.0056568 | 0.098001 | 0.26653 | 0.16853 |  | 201.998 | 0.098001
2 | YES | 176.009 | 6.3025 | 0.0077783 | 0.4015 | 0.23682 | -0.16468 |  | 176.009 | 0.4015
2 | YES | 151.499 | 6.3445 | 0.00070706 | 0.4985 | 0.2088 | -0.2897 |  | 151.499 | 0.4985
2 | YES | 125.998 | 6.3045 | 0.0035356 | 0.4585 | 0.17965 | -0.27885 |  | 125.998 | 0.4585
2 | YES | 103.505 | 6.2505 | 0.0021212 | 0.4065 | 0.15393 | -0.25257 |  | 103.505 | 0.4065
2 | YES | 75.9955 | 6.1895 | 0.0063638 | 0.2975 | 0.12248 | -0.17502 |  | 75.9955 | 0.2975
2 | YES | 50.4938 | 6.0003 | 0.015945 | 0.13225 | 0.093331 | -0.038919 |  | 50.4938 | 0.13225
2 | YES | 31.0075 | 5.847 | 0.012728 | 0.14 | 0.071054 | -0.068946 |  | 31.0075 | 0.14
2 | YES | 18.9965 | 5.8395 | 0.016263 | 0.0365 | 0.057322 | 0.020822 |  | 18.9965 | 0.0365
2 | YES | 9.6617 | 5.8317 | 0.012097 | -0.00033331 | 0.046651 | 0.046984 |  | 9.6617 | -0.00033331
2 | YES | 3.162 | 5.818 | 0.029699 | -0.51 | 0.03922 | 0.54922 |  | 3.162 | -0.51
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2011/11/21 09:37:37
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-44-0001.mrg | 2011-44-0001.th1 | 2 | 70.674 | 70.597 | 0 | -0.077004 | 5.08 | 5.321 | 0 | 0.241
2011-44-0001.mrg | 2011-44-0001.th1 | 4 | 50.401 | 50.5047 | 1.2948 | 0.10375 | 5.239 | 5.6465 | 0.017916 | 0.4075
2011-44-0001.mrg | 2011-44-0001.th1 | 2 | 30.248 | 30.994 | 1.4029 | 0.746 | 5.259 | 5.346 | 0.039598 | 0.087
2011-44-0001.mrg | 2011-44-0001.th1 | 2 | 20.549 | 20.987 | 1.4142 | 0.438 | 5.138 | 5.3805 | 0.016264 | 0.2425
2011-44-0001.mrg | 2011-44-0001.th1 | 3 | 9.96 | 9.6523 | 1.5376 | -0.30767 | 5.85 | 6.3173 | 0.2081 | 0.46733
2011-44-0001.mrg | 2011-44-0001.th1 | 2 | 2.032 | 3.1075 | 1.2537 | 1.0755 | 8.429 | 8.3385 | 0.016264 | -0.0905
2011-44-0003.mrg | 2011-44-0003.th1 | 1 | 238.009 | 237.882 | 0 | -0.127 | 5.848 | 5.912 | 0 | 0.064
2011-44-0003.mrg | 2011-44-0003.th1 | 1 | 238.043 | 237.882 | 0 | -0.16099 | 5.844 | 5.912 | 0 | 0.068
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 202.269 | 201.998 | 1.417 | -0.271 | 5.891 | 5.989 | 0.0056568 | 0.098001
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 176.325 | 176.009 | 1.4029 | -0.31599 | 5.901 | 6.3025 | 0.0077783 | 0.4015
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 151.53 | 151.499 | 2.1404 | -0.030502 | 5.846 | 6.3445 | 0.00070706 | 0.4985
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 126.505 | 125.998 | 1.4001 | -0.507 | 5.846 | 6.3045 | 0.0035356 | 0.4585
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 102.024 | 103.505 | 0.71983 | 1.481 | 5.844 | 6.2505 | 0.0021212 | 0.4065
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 75.93 | 75.9955 | 1.4079 | 0.065498 | 5.892 | 6.1895 | 0.0063638 | 0.2975
2011-44-0003.mrg | 2011-44-0003.th1 | 4 | 50.708 | 50.4938 | 1.2925 | -0.21425 | 5.868 | 6.0003 | 0.015945 | 0.13225
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 30.723 | 31.0075 | 1.4149 | 0.2845 | 5.707 | 5.847 | 0.012728 | 0.14
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 19.812 | 18.9965 | 1.4135 | -0.8155 | 5.803 | 5.8395 | 0.016263 | 0.0365
2011-44-0003.mrg | 2011-44-0003.th1 | 3 | 9.711 | 9.6617 | 1.5213 | -0.049334 | 5.832 | 5.8317 | 0.012097 | -0.00033331
2011-44-0003.mrg | 2011-44-0003.th1 | 2 | 2.272 | 3.162 | 0.97722 | 0.89 | 6.328 | 5.818 | 0.029699 | -0.51
2011-44-0004.mrg | 2011-44-0004.th1 | 1 | 41.159 | 40.957 | 0 | -0.202 | 5.612 | 5.816 | 0 | 0.204
2011-44-0004.mrg | 2011-44-0004.th1 | 2 | 29.657 | 29.0015 | 1.4121 | -0.6555 | 5.654 | 5.765 | 0.0028286 | 0.111
2011-44-0004.mrg | 2011-44-0004.th1 | 2 | 20.388 | 20.9985 | 1.4093 | 0.6105 | 5.785 | 5.8335 | 0.0091924 | 0.0485
2011-44-0004.mrg | 2011-44-0004.th1 | 3 | 9.774 | 9.6647 | 1.5309 | -0.10933 | 6.104 | 6.1273 | 0.036665 | 0.023333
2011-44-0004.mrg | 2011-44-0004.th1 | 2 | 2.043 | 3.0315 | 1.3329 | 0.9885 | 7.965 | 7.064 | 0.58831 | -0.901
2011-44-0005.mrg | 2011-44-0005.th1 | 1 | 95.934 | 95.852 | 0 | -0.082001 | 5.668 | 6.063 | 0 | 0.395
2011-44-0005.mrg | 2011-44-0005.th1 | 2 | 76.551 | 76.002 | 1.4142 | -0.549 | 5.653 | 5.9925 | 0.00070706 | 0.3395
2011-44-0005.mrg | 2011-44-0005.th1 | 4 | 50.651 | 50.497 | 1.29 | -0.154 | 5.569 | 5.8448 | 0.013301 | 0.27575
2011-44-0005.mrg | 2011-44-0005.th1 | 2 | 30.63 | 31.0055 | 1.4192 | 0.3755 | 5.578 | 5.7525 | 0.026163 | 0.1745
2011-44-0005.mrg | 2011-44-0005.th1 | 2 | 20.26 | 21.0065 | 1.4206 | 0.7465 | 5.626 | 5.747 | 0.0014145 | 0.121
2011-44-0005.mrg | 2011-44-0005.th1 | 3 | 9.921 | 9.6597 | 1.5298 | -0.26133 | 5.787 | 6.114 | 0.14228 | 0.327
2011-44-0005.mrg | 2011-44-0005.th1 | 2 | 2.532 | 3.3035 | 0.97793 | 0.7715 | 6.355 | 6.4015 | 0.0091924 | 0.0465
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 157.004 | 155.754 | 0.15839 | -1.25 | 5.466 | 5.5095 | 0.00070739 | 0.0435
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 126.401 | 126.002 | 1.4142 | -0.399 | 5.424 | 5.5695 | 0.00070739 | 0.1455
2011-44-0006.mrg | 2011-44-0006.th1 | 1 | 100.533 | 99.999 | 0 | -0.534 | 5.401 | 5.617 | 0 | 0.216
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 75.052 | 76.0075 | 1.4135 | 0.95551 | 5.391 | 5.604 | 0.0028282 | 0.213
2011-44-0006.mrg | 2011-44-0006.th1 | 4 | 49.896 | 49.4987 | 1.2899 | -0.39725 | 5.366 | 5.4633 | 0.0083015 | 0.09725
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 30.469 | 30.9875 | 1.3994 | 0.5185 | 5.316 | 5.351 | 0.015556 | 0.035
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 20.499 | 21.008 | 1.4199 | 0.509 | 5.329 | 5.348 | 0.031113 | 0.019
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 10.133 | 10.385 | 0.55013 | 0.252 | 5.339 | 5.35 | 0.0042427 | 0.011
2011-44-0006.mrg | 2011-44-0006.th1 | 2 | 3.186 | 4.537 | 0.64205 | 1.351 | 5.387 | 5.326 | 0.0070709 | -0.061
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 303.146 | 302.469 | 0.6463 | -0.677 | 5.758 | 5.744 | 0.0014141 | -0.014
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 250.237 | 251.002 | 1.4185 | 0.765 | 5.728 | 5.7645 | 0.0035356 | 0.0365
2011-44-0007.mrg | 2011-44-0007.th1 | 3 | 199.979 | 199.668 | 1.5367 | -0.31134 | 5.716 | 5.817 | 0.003 | 0.101
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 175.18 | 175.991 | 1.4036 | 0.81149 | 5.737 | 5.973 | 0.018385 | 0.236
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 125.241 | 125.991 | 1.4156 | 0.75 | 5.696 | 6.0625 | 0.02192 | 0.3665
2011-44-0007.mrg | 2011-44-0007.th1 | 1 | 100.098 | 99.997 | 0 | -0.101 | 5.527 | 5.943 | 0 | 0.416
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 75.152 | 76.012 | 1.4213 | 0.86 | 5.488 | 5.8405 | 0.0063638 | 0.3525
2011-44-0007.mrg | 2011-44-0007.th1 | 4 | 50.062 | 50.4965 | 1.2928 | 0.4345 | 5.431 | 5.6798 | 0.0093942 | 0.24875
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 30.24 | 30.9985 | 1.4135 | 0.7585 | 5.365 | 5.612 | 0.0098995 | 0.247
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 19.955 | 19.008 | 1.4185 | -0.947 | 5.352 | 5.569 | 0.0028286 | 0.217
2011-44-0007.mrg | 2011-44-0007.th1 | 3 | 10.438 | 10.9853 | 1.0015 | 0.54733 | 5.335 | 5.4707 | 0.0025167 | 0.13567
2011-44-0007.mrg | 2011-44-0007.th1 | 2 | 3.047 | 4.5025 | 0.70074 | 1.4555 | 5.353 | 5.3945 | 0.00070706 | 0.0415
2011-44-0008.mrg | 2011-44-0008.th1 | 1 | 200.019 | 199.934 | 0 | -0.084991 | 5.804 | 5.861 | 0 | 0.057
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 174.779 | 174.005 | 1.4114 | -0.774 | 5.813 | 6.0665 | 0.023335 | 0.2535
2011-44-0008.mrg | 2011-44-0008.th1 | 1 | 150.413 | 149.999 | 0 | -0.414 | 5.785 | 6.208 | 0 | 0.423
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 125.087 | 126 | 1.4001 | 0.913 | 5.778 | 6.171 | 0.0042423 | 0.393
2011-44-0008.mrg | 2011-44-0008.th1 | 1 | 100.389 | 99.995 | 0 | -0.394 | 5.769 | 6.137 | 0 | 0.368
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 75.162 | 76.005 | 1.4199 | 0.843 | 5.772 | 6.065 | 0.018385 | 0.293
2011-44-0008.mrg | 2011-44-0008.th1 | 4 | 50.125 | 50.4945 | 1.2892 | 0.3695 | 5.695 | 5.8595 | 0.031214 | 0.1645
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 30.322 | 30.991 | 1.4128 | 0.669 | 5.57 | 5.739 | 0.0070709 | 0.169
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 20.345 | 20.9885 | 1.422 | 0.6435 | 5.543 | 5.645 | 0.014142 | 0.102
2011-44-0008.mrg | 2011-44-0008.th1 | 3 | 10.315 | 10.995 | 0.9905 | 0.68 | 5.665 | 5.6297 | 0.0025167 | -0.035333
2011-44-0008.mrg | 2011-44-0008.th1 | 2 | 3.709 | 4.531 | 0.64771 | 0.822 | 5.899 | 5.8265 | 0.10112 | -0.0725
2011-44-0009.mrg | 2011-44-0009.th1 | 0 | 316.785 | 0 | 0 | -316.785 | 5.617 | 0 | 0 | -5.617
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 251.011 | 251.003 | 1.4043 | -0.0080109 | 5.845 | 5.84 | 0.0070709 | -0.0049996
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 200.803 | 200.499 | 0.7156 | -0.304 | 5.835 | 5.8795 | 0.0063638 | 0.0445
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 174.023 | 174.001 | 1.4008 | -0.0215 | 5.834 | 5.9885 | 0.017678 | 0.1545
2011-44-0009.mrg | 2011-44-0009.th1 | 1 | 150.912 | 149.992 | 0 | -0.92 | 5.823 | 6.232 | 0 | 0.409
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 125.231 | 126.001 | 1.4149 | 0.7695 | 5.826 | 6.203 | 0.0056568 | 0.377
2011-44-0009.mrg | 2011-44-0009.th1 | 1 | 100.545 | 100 | 0 | -0.545 | 5.81 | 6.18 | 0 | 0.37
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 74.123 | 73.992 | 1.4213 | -0.131 | 5.812 | 6.0855 | 0.0063642 | 0.2735
2011-44-0009.mrg | 2011-44-0009.th1 | 4 | 50.203 | 50.4985 | 1.2959 | 0.2955 | 5.809 | 5.9592 | 0.006076 | 0.15025
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 30.39 | 30.9945 | 1.4079 | 0.6045 | 5.826 | 5.9175 | 0.0091924 | 0.091499
2011-44-0009.mrg | 2011-44-0009.th1 | 2 | 20.39 | 21.0005 | 1.4107 | 0.6105 | 5.798 | 5.8985 | 0.0021215 | 0.1005
2011-44-0009.mrg | 2011-44-0009.th1 | 3 | 10.397 | 10.999 | 1.0015 | 0.602 | 5.809 | 5.853 | 0.01 | 0.044
2011-44-0009.mrg | 2011-44-0009.th1 | 1 | 1.882 | 2.637 | 0 | 0.755 | 5.818 | 5.841 | 0 | 0.023
Create Fit Sheet