File List for SeaBird Data          Cruise Number: _2011-45____

[osdcommon\cruise_data\2011-45\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2011-45\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2011-45\ARCHIVE\DOC\HYDRO] Comparisons of bottles and CTD and combined versions of spreadsheets from analysts

[osdcommon\cruise_data\2011-45\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2011-45\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2011-45\PROCESSING\DOC]

2011-45-ctd.xmlcon – configuration file used in processing

2011-45_file.doc - this document

2011-45_proc.doc - processing notes

2011-45-ctd-final.rpt – CHE file header check including channel summary

2011-45-hdr*.txt – header comment files

[osdcommon\cruise_data\2011-45\PROCESSING\DOC\hydro]

2011-45-bottles data.xls – combined bottle data from nutrient/CHL and salinity spreadsheets

2011-45-bottle-ctd-summary.xls – all bottle sample data with corresponding CTD data

2011-45-ctd-bottle-comps.xls – comparison of ctd and bottle salinity and fluorescence/CHL

Data Analysis Comments.doc – description of methods used in analysis of bottle samples

[osdcommon\cruise_data\2011-45\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

*.reo – files just before addition of final headers

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2011-45\PROCESSING\pH] special files for Marc Trudel WITH pH channel _____________________________________________________________________________

[osdcommon\cruise_data\2011-45\RAW]

[osdcommon\cruise_data\2011-45\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2011-45\RAW\CTD] raw CTD data