## Notes
Analysis: Hugh Maclean, 22-NOV-12 to 25-NOV-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
2012-03-21 | KS
Samples analyzed 17 days after end of cruise.
Five Line P P23 DWR samples were analyzed as a check for system stability. Data can be found in the 2011 internal standards spredsheet.
No duplicates were collected so no precision analysis was performed
No notes stating wether or not there were any problem samplecondiditon, bottles, inserts or analysis
Salinometer was calibrated on November 22, 2011. The system seems to have remained stable for the remainder of the analysis period thereby requiring no further calibrations

## QF 2011-45 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 17 days after end of cruise. For details including a duplicate analysis, see document QF2011-45SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2011-45 | 1 | JS 01 | 1 |  | 30.5409
2011-45 | 4 | JS 02 | 4 |  | 30.5738
2011-45 | 7 | JS 03 | 7 |  | 30.4737
2011-45 | 10 | JS 04 | 10 |  | 30.5318
2011-45 | 13 | QCST 01 | 13 |  | 30.9212
2011-45 | 16 | QCST 02 | 16 |  | 30.4227
2011-45 | 19 | QCST 03 | 19 |  | 30.9099
2011-45 | 22 | QCST 04 | 22 |  | 30.1023
2011-45 | 25 | QCST 05 | 25 |  | 31.0337
2011-45 | 28 | QCST 06 | 28 |  | 31.1388
2011-45 | 31 | QCST 07 | 31 |  | 31.0373
2011-45 | 34 | IVI 01 | 34 |  | 28.7513
2011-45 | 37 | IVI 02 | 37 |  | 28.8044
2011-45 | 40 | IVI 03 | 40 |  | 29.2873
2011-45 | 43 | IVI 04 | 43 |  | 29.8711
2011-45 | 46 | IVI 05 | 46 |  | 29.5774
2011-45 | 49 | IVI 06 | 49 |  | 29.944
2011-45 | 52 | IVI 07 | 52 |  | 30.3326
2011-45 | 55 | IVI 08 | 55 |  | 30.7242
2011-45 | 58 | IVI 09 | 58 |  | 30.5642
2011-45 | 61 | VI 01 | 61 |  | 31.169
2011-45 | 64 | VI 02 | 64 |  | 31.0899
2011-45 | 67 | VI 03 | 67 |  | 31.8592
2011-45 | 70 | T 07 | 70 |  | 31.6687
2011-45 | 73 | T 06 | 73 |  | 31.8584
2011-45 | 76 | T 05 | 76 |  | 31.8494
2011-45 | 79 | T 04 | 79 |  | 31.7365
2011-45 | 82 | T 03 | 82 |  | 31.609
2011-45 | 85 | T 02 | 85 |  | 31.4322
2011-45 | 88 | T 01 | 88 |  | 31.5401
2011-45 | 91 | H 01 | 91 |  | 31.4319
2011-45 | 94 | H 02 | 94 |  | 29.8185
2011-45 | 97 | H 03 | 97 |  | 31.6225
2011-45 | 100 | H 04 | 100 |  | 31.9116
2011-45 | 103 | H 05 | 103 |  | 32.1108
2011-45 | 106 | H 06 | 106 |  | 31.8747
2011-45 | 109 | IBC 01 | 109 |  | 28.687
2011-45 | 112 | IBC 02 | 112 |  | 28.2977
2011-45 | 115 | IBC 03 | 115 |  | 27.8948
2011-45 | 118 | IBC 04 | 118 |  | 26.5818
2011-45 | 121 | IBC 05 | 121 |  | 26.4935
2011-45 | 124 | IBC 06 | 124 |  | 28.564
2011-45 | 127 | IBC 07 | 127 |  | 31.0566
2011-45 | 130 | IBC 08 | 130 |  | 31.1663
2011-45 | 133 | IBC 09 | 133 |  | 31.128
2011-45 | 136 | IBC 10 | 136 |  | 30.8979
2011-45 | 139 | IBC 11 | 139 |  | 30.7245
2011-45 | 142 | IBC 12 | 142 |  | 29.3956
2011-45 | 145 | DE 01 | 145 |  | 31.9524
2011-45 | 148 | DE 02 | 148 |  | 32.082
2011-45 | 151 | DE 03 | 151 |  | 32.0313
2011-45 | 154 | DE 04 | 154 |  | 31.8583
2011-45 | 157 | DE 05 | 157 |  | 31.7534
2011-45 | 160 | DE 06 | 160 |  | 32.1632
2011-45 | 163 | FI 01 | 163 |  | 30.2318
2011-45 | 166 | FI 02 | 166 |  | 30.6096
2011-45 | 169 | FI 03 | 169 |  | 30.8579
2011-45 | 172 | FI 04 | 172 |  | 31.0395
2011-45 | 175 | FI 05 | 175 |  | 31.5372
2011-45 | 178 | FI 06 | 178 |  | 30.7849
2011-45 | 181 | FI 07 | 181 |  | 32.0667
2011-45 | 184 | B 07 | 184 |  | 32.1751
2011-45 | 187 | B 06 | 187 |  | 32.2893
2011-45 | 190 | B 05 | 190 |  | 32.0331
2011-45 | 193 | B 04 | 193 |  | 32.0121
2011-45 | 196 | B 03 | 196 |  | 30.5979
2011-45 | 199 | B 02 | 199 |  | 30.7896
2011-45 | 202 | B 01 | 202 |  | 30.6892
2011-45 | 205 | ISEA 01 | 205 |  | 30.4416
2011-45 | 208 | ISEA 02 | 208 |  | 30.4991
2011-45 | 211 | ISEA 03 | 211 |  | 30.2428
2011-45 | 214 | ISEA 04 | 214 |  | 30.1233
2011-45 | 217 | ISEA 05 | 217 |  | 29.4819
2011-45 | 220 | ISEA 06 | 220 |  | 30.3367
2011-45 | 223 | ISEA 07 | 223 |  | 30.0768
2011-45 | 226 | ISEA 08 | 226 |  | 28.7606
2011-45 | 229 | ISEA 09 | 229 |  | 26.5138
2011-45 | 232 | ISEA 10 | 232 |  | 27.0226
2011-45 | 235 | IBC 13 | 235 |  | 30.0532
2011-45 | 238 | IBC 14 | 238 |  | 30.0679
2011-45 | 241 | IBC 15 | 241 |  | 29.9422
2011-45 | 244 | IBC 16 | 244 |  | 29.433
2011-45 | 247 | IBC 17 | 247 |  | 29.496
2011-45 | 250 | IBC 18 | 250 |  | 31.6361
2011-45 | 253 | QCSD 01 | 253 |  | 31.8256
2011-45 | 256 | QCSD 02 | 256 |  | 31.7082
2011-45 | 259 | QCSD 03 | 259 |  | 30.4356
2011-45 | 262 | QCSD 04 | 262 |  | 30.333
2011-45 | 265 | QCSD 05 | 265 |  | 30.6027
2011-45 | 268 | QCSD 06 | 268 |  | 31.3241
2011-45 | 271 | IBC 19 | 271 |  | 28.1243
2011-45 | 274 | IBC 20 | 274 |  | 27.6628
2011-45 | 277 | IBC 21 | 277 |  | 28.7406
2011-45 | 280 | IBC 22 | 280 |  | 29.0452
2011-45 | 283 | IBC 23 | 283 |  | 28.8831
2011-45 | 286 | IBC 24 | 286 |  | 27.9379
2011-45 | 289 | IBC 25 | 289 |  | 28.5384
2011-45 | 292 | IBC 26 | 292 |  | 28.8939
2011-45 | 295 | IBC 27 | 295 |  | 25.933
2011-45 | 298 | IBC 28 | 298 |  | 28.6002
2011-45 | 301 | JF 01 | 301 |  | 31.8342
2011-45 | 304 | IVI 10 | 304 |  | 30.8615
2011-45 | 307 | IVI 11 | 307 |  | 30.0133
2011-45 | 310 | IVI 12 | 310 |  | 30.9234
2011-45 | 313 | VI 04 | 313 |  | 30.6936
2011-45 | 316 | VI 05 | 316 |  | 30.874
2011-45 | 319 | VI 06 | 319 |  | 31.0207
2011-45 | 322 | VI 07 | 322 |  | 31.5292
2011-45 | 325 | VI 08 | 325 |  | 31.4345
2011-45 | 328 | VI 09 | 328 |  | 32.1155
2011-45 | 331 | VI 10 | 331 |  | 32.3513
2011-45 | 334 | VI 11 | 334 |  | 32.3221
2011-45 | 337 | VI 12 | 337 |  | 32.3521
2011-45 | 340 | VI 13 | 340 |  | 32.3807
2011-45 | 343 | EP 07 | 343 |  | 32.2089
2011-45 | 346 | EP 06 | 346 |  | 32.0985
2011-45 | 349 | EP 05 | 349 |  | 31.9557
2011-45 | 352 | EP 04 | 352 |  | 31.5599
2011-45 | 355 | EP 03 | 355 |  | 31.3159
2011-45 | 358 | EP 02 | 358 |  | 31.2962
2011-45 | 361 | IVI 13 | 361 |  | 30.5383
2011-45 | 364 | VI 14 | 364 |  | 31.2171
2011-45 | 367 | VI 15 | 367 |  | 31.3844
2011-45 | 370 | VI 16 | 370 |  | 31.7601
2011-45 | 373 | VI 17 | 373 |  | 31.9297
2011-45 | 376 | VI 18 | 376 |  | 31.8608
2011-45 | 379 | VI 19 | 379 |  | 31.8055
2011-45 | 382 | VI 20 | 382 |  | 31.258
2011-45 | 385 | IVI 14 | 385 |  | 30.1492
2011-45 | 388 | IVI 15 | 388 |  | 29.3084
2011-45 | 391 | IVI 16 | 391 |  | 30.1714
2011-45 | 394 | IVI 17 | 394 |  | 30.3069
2011-45 | 397 | IVI 18 | 397 |  | 30.5091
2011-45 | 400 | IVI 19 | 400 |  | 30.0399
2011-45 | 403 | IVI 20 | 403 |  | 30.1856
2011-45 | 406 | IVI 21 | 406 |  | 30.6783
2011-45 | 409 | IVI 22 | 409 |  | 30.577
2011-45 | 412 | IVI 23 | 412 |  | 30.6958
2011-45 | 415 | IVI 24 | 415 |  | 30.3681
2011-45 | 418 | IVI 25 | 418 |  | 30.6604
2011-45 | 421 | IVI 26 | 421 |  | 30.683
2011-45 | 424 | IVI 27 | 424 | 5 | -99 | SAL: Program crash. Sample lost
2011-45 | 427 | VI 21 | 427 |  | 30.7323
2011-45 | 430 | VI 22 | 430 |  | 31.0513
2011-45 | 433 | VI 23 | 433 |  | 31.0035
2011-45 | 436 | VI 24 | 436 |  | 30.9669
2011-45 | 439 | VI 25 | 439 |  | 31.0196
2011-45 | 442 | VI 26 | 442 |  | 31.1113
2011-45 | 445 | VI 27 | 445 |  | 31.4081
2011-45 | 448 | VI 28 | 448 |  | 31.7356
2011-45 | 451 | JF 06 | 451 |  | 31.444
2011-45 | 454 | JF 05 | 454 |  | 31.9155
2011-45 | 457 | JF 04 | 457 |  | 31.872
2011-45 | 460 | JF 03 | 460 |  | 31.6895

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Flag | New Calculated Salinity | Comments
2011-45#1 | 1 | JS 01 | 1 | 2011-11-22 13:02 | 24C | 0.88553 | 5.5671e-06 | 0 | 0.88553 | 30.5409 | 0.00021381 |  | #VALUE!
2011-45#2 | 4 | JS 02 | 4 | 2011-11-22 13:05 | 24C | 0.88638 | 3.9635e-06 | 0 | 0.88638 | 30.5738 | 0.00015199 |  | #VALUE!
2011-45#3 | 7 | JS 03 | 7 | 2011-11-22 13:07 | 24C | 0.88379 | 4.2257e-06 | 0 | 0.88379 | 30.4737 | 0.00016147 |  | #VALUE!
2011-45#4 | 10 | JS 04 | 10 | 2011-11-22 13:09 | 24C | 0.88529 | 2.2391e-06 | 0 | 0.88529 | 30.5318 | 8.4881e-05 |  | #VALUE!
2011-45#5 | 13 | QCST 01 | 13 | 2011-11-22 13:11 | 24C | 0.89539 | 3.3588e-06 | 0 | 0.89539 | 30.9212 | 0.00012796 |  | #VALUE!
2011-45#6 | 16 | QCST 02 | 16 | 2011-11-22 13:13 | 24C | 0.88246 | 6.5043e-06 | 0 | 0.88246 | 30.4227 | 0.00025113 |  | #VALUE!
2011-45#7 | 19 | QCST 03 | 19 | 2011-11-22 13:15 | 24C | 0.89509 | 3.2141e-06 | 0 | 0.89509 | 30.9099 | 0.00012375 |  | #VALUE!
2011-45#8 | 22 | QCST 04 | 22 | 2011-11-22 13:17 | 24C | 0.87414 | 2.978e-06 | 0 | 0.87414 | 30.1023 | 0.00011348 |  | #VALUE!
2011-45#9 | 25 | QCST 05 | 25 | 2011-11-22 13:20 | 24C | 0.8983 | 3.1414e-06 | 0 | 0.8983 | 31.0337 | 0.00012137 |  | #VALUE!
2011-45#10 | 28 | QCST 06 | 28 | 2011-11-22 13:22 | 24C | 0.90102 | 4.2152e-06 | 0 | 0.90102 | 31.1388 | 0.00016237 |  | #VALUE!
2011-45#11 | 31 | QCST 07 | 31 | 2011-11-22 13:24 | 24C | 0.89839 | 2.7426e-06 | 0 | 0.89839 | 31.0373 | 0.00010657 |  | #VALUE!
2011-45#12 | 34 | IVI 01 | 34 | 2011-11-22 13:26 | 24C | 0.8389 | 3.1311e-06 | 0 | 0.8389 | 28.7513 | 0.00011882 |  | #VALUE!
2011-45#13 | 37 | IVI 02 | 37 | 2011-11-22 13:28 | 24C | 0.84029 | 3.8651e-06 | 0 | 0.84029 | 28.8044 | 0.00014644 |  | #VALUE!
2011-45#14 | 40 | IVI 03 | 40 | 2011-11-22 13:30 | 24C | 0.85291 | 4.9353e-06 | 0 | 0.85291 | 29.2873 | 0.00018963 |  | #VALUE!
2011-45#15 | 43 | IVI 04 | 43 | 2011-11-22 13:32 | 24C | 0.86812 | 4.6154e-06 | 0 | 0.86812 | 29.8711 | 0.00017887 |  | #VALUE!
2011-45#16 | 46 | IVI 05 | 46 | 2011-11-22 13:34 | 24C | 0.86047 | 5.1439e-06 | 0 | 0.86047 | 29.5774 | 0.0001991 |  | #VALUE!
2011-45#17 | 49 | IVI 06 | 49 | 2011-11-22 13:37 | 24C | 0.87002 | 5.0343e-06 | 0 | 0.87002 | 29.944 | 0.00019536 |  | #VALUE!
2011-45#18 | 52 | IVI 07 | 52 | 2011-11-22 13:39 | 24C | 0.88012 | 2.4908e-06 | 0 | 0.88012 | 30.3326 | 9.4478e-05 |  | #VALUE!
2011-45#19 | 55 | IVI 08 | 55 | 2011-11-22 13:41 | 24C | 0.89028 | 2.4908e-06 | 0 | 0.89028 | 30.7242 | 9.9641e-05 |  | #VALUE!
2011-45#20 | 58 | IVI 09 | 58 | 2011-11-22 13:43 | 24C | 0.88613 | 5.6098e-06 | 0 | 0.88613 | 30.5642 | 0.00021622 |  | #VALUE!
2011-45#21 | 61 | VI 01 | 61 | 2011-11-22 13:46 | 24C | 0.9018 | 2.8792e-06 | 0 | 0.9018 | 31.169 | 0.00011136 |  | #VALUE!
2011-45#22 | 64 | VI 02 | 64 | 2011-11-22 13:48 | 24C | 0.89975 | 5.3588e-06 | 0 | 0.89975 | 31.0899 | 0.00020923 |  | #VALUE!
2011-45#23 | 67 | VI 03 | 67 | 2011-11-22 13:50 | 24C | 0.91962 | 1.7705e-06 | 0 | 0.91962 | 31.8592 | 6.851e-05 |  | #VALUE!
2011-45#24 | 70 | T 07 | 70 | 2011-11-22 13:53 | 24C | 0.91471 | 4.7428e-06 | 0 | 0.91471 | 31.6687 | 0.00017982 |  | #VALUE!
2011-45#26 | 73 | T 06 | 73 | 2011-11-22 13:59 | 24C | 0.9196 | 5.2336e-06 | 0 | 0.9196 | 31.8584 | 0.00020371 |  | #VALUE!
2011-45#27 | 76 | T 05 | 76 | 2011-11-22 14:01 | 24C | 0.91937 | 3.4659e-06 | 0 | 0.91937 | 31.8494 | 0.00013375 |  | #VALUE!
2011-45#28 | 79 | T 04 | 79 | 2011-11-22 14:03 | 24C | 0.91646 | 3.865e-06 | 0 | 0.91646 | 31.7365 | 0.00014818 |  | #VALUE!
2011-45#29 | 82 | T 03 | 82 | 2011-11-22 14:05 | 24C | 0.91317 | 4.1786e-06 | 0 | 0.91317 | 31.609 | 0.00016085 |  | #VALUE!
2011-45#30 | 85 | T 02 | 85 | 2011-11-22 14:07 | 24C | 0.9086 | 5.1397e-06 | 0 | 0.9086 | 31.4322 | 0.00019958 |  | #VALUE!
2011-45#31 | 88 | T 01 | 88 | 2011-11-22 14:09 | 24C | 0.91139 | 5.9205e-06 | 0 | 0.91139 | 31.5401 | 0.00023034 |  | #VALUE!
2011-45#32 | 91 | H 01 | 91 | 2011-11-22 14:11 | 24C | 0.90859 | 3.452e-06 | 0 | 0.90859 | 31.4319 | 0.00013117 |  | #VALUE!
2011-45#33 | 94 | H 02 | 94 | 2011-11-22 14:13 | 24C | 0.86675 | 4.9116e-06 | 0 | 0.86675 | 29.8185 | 0.00018777 |  | #VALUE!
2011-45#34 | 97 | H 03 | 97 | 2011-11-22 14:15 | 24C | 0.91352 | 4.2633e-06 | 0 | 0.91352 | 31.6225 | 0.00016417 |  | #VALUE!
2011-45#35 | 100 | H 04 | 100 | 2011-11-22 14:17 | 24C | 0.92097 | 3.9682e-06 | 0 | 0.92097 | 31.9116 | 0.00015528 |  | #VALUE!
2011-45#36 | 103 | H 05 | 103 | 2011-11-22 14:20 | 24C | 0.9261 | 2.4747e-06 | 0 | 0.9261 | 32.1108 | 9.7452e-05 |  | #VALUE!
2011-45#37 | 106 | H 06 | 106 | 2011-11-22 14:22 | 24C | 0.92002 | 5.0342e-06 | 0 | 0.92002 | 31.8747 | 0.00019695 |  | #VALUE!
2011-45#38 | 109 | IBC 01 | 109 | 2011-11-22 14:24 | 24C | 0.83722 | 2.8901e-06 | 0 | 0.83722 | 28.687 | 0.00010932 |  | #VALUE!
2011-45#39 | 112 | IBC 02 | 112 | 2011-11-22 14:26 | 24C | 0.82701 | 3.6232e-06 | 0 | 0.82701 | 28.2977 | 0.00014042 |  | #VALUE!
2011-45#40 | 115 | IBC 03 | 115 | 2011-11-22 14:28 | 24C | 0.81643 | 4.0697e-06 | 0 | 0.81643 | 27.8948 | 0.00015448 |  | #VALUE!
2011-45#41 | 118 | IBC 04 | 118 | 2011-11-22 14:31 | 24C | 0.78181 | 2.7425e-06 | 0 | 0.78181 | 26.5818 | 0.00010134 |  | #VALUE!
2011-45#42 | 121 | IBC 05 | 121 | 2011-11-22 14:33 | 24C | 0.77947 | 4.4783e-06 | 0 | 0.77947 | 26.4935 | 0.00017017 |  | #VALUE!
2011-45#43 | 124 | IBC 06 | 124 | 2011-11-22 14:35 | 24C | 0.83399 | 5.9928e-06 | 0 | 0.83399 | 28.564 | 0.00022766 |  | #VALUE!
2011-45#44 | 127 | IBC 07 | 127 | 2011-11-22 14:37 | 24C | 0.89889 | 3.4494e-06 | 0 | 0.89889 | 31.0566 | 0.0001338 |  | #VALUE!
2011-45#45 | 130 | IBC 08 | 130 | 2011-11-22 14:40 | 24C | 0.90173 | 3.4657e-06 | 0 | 0.90173 | 31.1663 | 0.00013592 |  | #VALUE!
2011-45#46 | 133 | IBC 09 | 133 | 2011-11-22 14:42 | 24C | 0.90074 | 3.2034e-06 | 0 | 0.90074 | 31.128 | 0.00012156 |  | #VALUE!
2011-45#47 | 136 | IBC 10 | 136 | 2011-11-22 14:44 | 24C | 0.89478 | 3.1417e-06 | 0 | 0.89478 | 30.8979 | 0.00012104 |  | #VALUE!
2011-45#48 | 139 | IBC 11 | 139 | 2011-11-22 14:46 | 24C | 0.89029 | 3.9596e-06 | 0 | 0.89029 | 30.7245 | 0.00015476 |  | #VALUE!
2011-45#49 | 142 | IBC 12 | 142 | 2011-11-22 14:48 | 24C | 0.85573 | 2.4909e-06 | 0 | 0.85573 | 29.3956 | 9.4898e-05 |  | #VALUE!
2011-45#51 | 145 | DE 01 | 145 | 2011-11-23 11:32 | 24C | 0.92202 | 2.7261e-06 | 0 | 0.92202 | 31.9524 | 0.00010396 |  | #VALUE!
2011-45#52 | 148 | DE 02 | 148 | 2011-11-23 11:34 | 24C | 0.92536 | 2.71e-06 | 0 | 0.92536 | 32.082 | 0.00010239 |  | #VALUE!
2011-45#53 | 151 | DE 03 | 151 | 2011-11-23 11:36 | 24C | 0.92406 | 3.3456e-06 | 0 | 0.92406 | 32.0313 | 0.00012967 |  | #VALUE!
2011-45#54 | 154 | DE 04 | 154 | 2011-11-23 11:38 | 24C | 0.9196 | 4.2739e-06 | 0 | 0.9196 | 31.8583 | 0.00016643 |  | #VALUE!
2011-45#55 | 157 | DE 05 | 157 | 2011-11-23 11:40 | 24C | 0.91689 | 4.8936e-06 | 0 | 0.91689 | 31.7534 | 0.00018859 |  | #VALUE!
2011-45#56 | 160 | DE 06 | 160 | 2011-11-23 11:43 | 24C | 0.92745 | 4.189e-06 | 0 | 0.92745 | 32.1632 | 0.00016281 |  | #VALUE!
2011-45#57 | 163 | FI 01 | 163 | 2011-11-23 11:45 | 24C | 0.8775 | 5.1605e-06 | 0 | 0.8775 | 30.2318 | 0.0001977 |  | #VALUE!
2011-45#58 | 166 | FI 02 | 166 | 2011-11-23 11:47 | 24C | 0.88731 | 3.85e-06 | 0 | 0.88731 | 30.6096 | 0.00014631 |  | #VALUE!
2011-45#59 | 169 | FI 03 | 169 | 2011-11-23 11:50 | 24C | 0.89375 | 3.4104e-06 | 0 | 0.89375 | 30.8579 | 0.00013254 |  | #VALUE!
2011-45#60 | 172 | FI 04 | 172 | 2011-11-23 11:52 | 24C | 0.89845 | 3.2144e-06 | 0 | 0.89845 | 31.0395 | 0.00012157 |  | #VALUE!
2011-45#61 | 175 | FI 05 | 175 | 2011-11-23 11:55 | 24C | 0.91131 | 5.5828e-06 | 0 | 0.91131 | 31.5372 | 0.00021197 |  | #VALUE!
2011-45#62 | 178 | FI 06 | 178 | 2011-11-23 11:57 | 24C | 0.89185 | 4.1895e-06 | 0 | 0.89185 | 30.7849 | 0.00016154 |  | #VALUE!
2011-45#63 | 181 | FI 07 | 181 | 2011-11-23 13:20 | 24C | 0.92497 | 2.4918e-06 | 0 | 0.92497 | 32.0667 | 9.802e-05 |  | #VALUE!
2011-45#64 | 184 | B 07 | 184 | 2011-11-23 13:22 | 24C | 0.92776 | 2.7442e-06 | 0 | 0.92776 | 32.1751 | 0.0001087 |  | #VALUE!
2011-45#65 | 187 | B 06 | 187 | 2011-11-23 13:24 | 24C | 0.9307 | 3.2141e-06 | 0 | 0.9307 | 32.2893 | 0.000126 |  | #VALUE!
2011-45#66 | 190 | B 05 | 190 | 2011-11-23 13:26 | 24C | 0.9241 | 2.8897e-06 | 0 | 0.9241 | 32.0331 | 0.00011062 |  | #VALUE!
2011-45#67 | 193 | B 04 | 193 | 2011-11-23 13:28 | 24C | 0.92356 | 2.4909e-06 | 0 | 0.92356 | 32.0121 | 9.6599e-05 |  | #VALUE!
2011-45#68 | 196 | B 03 | 196 | 2011-11-23 13:31 | 24C | 0.88701 | 4.1748e-06 | 0 | 0.88701 | 30.5979 | 0.00016279 |  | #VALUE!
2011-45#69 | 199 | B 02 | 199 | 2011-11-23 13:33 | 24C | 0.89198 | 1.1529e-06 | 0 | 0.89198 | 30.7896 | 4.2224e-05 |  | #VALUE!
2011-45#70 | 202 | B 01 | 202 | 2011-11-23 13:35 | 24C | 0.88937 | 5.4235e-06 | 0 | 0.88937 | 30.6892 | 0.00020691 |  | #VALUE!
2011-45#71 | 205 | ISEA 01 | 205 | 2011-11-23 13:37 | 24C | 0.88295 | 3.4659e-06 | 0 | 0.88295 | 30.4416 | 0.00013595 |  | #VALUE!
2011-45#72 | 208 | ISEA 02 | 208 | 2011-11-23 13:39 | 24C | 0.88444 | 4.5128e-06 | 0 | 0.88444 | 30.4991 | 0.00017485 |  | #VALUE!
2011-45#73 | 211 | ISEA 03 | 211 | 2011-11-23 13:42 | 24C | 0.87779 | 5.3286e-06 | 0 | 0.87779 | 30.2428 | 0.00020503 |  | #VALUE!
2011-45#74 | 214 | ISEA 04 | 214 | 2011-11-23 13:44 | 24C | 0.87468 | 2.0945e-06 | 0 | 0.87468 | 30.1233 | 7.9449e-05 |  | #VALUE!
2011-45#76 | 217 | ISEA 05 | 217 | 2011-11-23 13:48 | 24C | 0.85798 | 3.8598e-06 | 0 | 0.85798 | 29.4819 | 0.00014974 |  | #VALUE!
2011-45#77 | 220 | ISEA 06 | 220 | 2011-11-23 13:51 | 24C | 0.88023 | 3.3588e-06 | 0 | 0.88023 | 30.3367 | 0.00012966 |  | #VALUE!
2011-45#78 | 223 | ISEA 07 | 223 | 2011-11-23 13:53 | 24C | 0.87347 | 5.1484e-06 | 0 | 0.87347 | 30.0768 | 0.0002 |  | #VALUE!
2011-45#79 | 226 | ISEA 08 | 226 | 2011-11-23 13:55 | 24C | 0.83914 | 3.974e-06 | 0 | 0.83914 | 28.7606 | 0.00015211 |  | #VALUE!
2011-45#80 | 229 | ISEA 09 | 229 | 2011-11-23 13:57 | 24C | 0.78001 | 2.7425e-06 | 0 | 0.78001 | 26.5138 | 0.00010135 |  | #VALUE!
2011-45#81 | 232 | ISEA 10 | 232 | 2011-11-23 14:00 | 24C | 0.79346 | 4.9821e-06 | 0 | 0.79346 | 27.0226 | 0.0001893 |  | #VALUE!
2011-45#82 | 235 | IBC 13 | 235 | 2011-11-23 14:02 | 24C | 0.87286 | 2.4909e-06 | 0 | 0.87286 | 30.0532 | 9.6591e-05 |  | #VALUE!
2011-45#83 | 238 | IBC 14 | 238 | 2011-11-23 14:04 | 24C | 0.87324 | 4.1894e-06 | 0 | 0.87324 | 30.0679 | 0.00016384 |  | #VALUE!
2011-45#84 | 241 | IBC 15 | 241 | 2011-11-23 14:06 | 24C | 0.86997 | 4.199e-06 | 0 | 0.86997 | 29.9422 | 0.00015983 |  | #VALUE!
2011-45#85 | 244 | IBC 16 | 244 | 2011-11-23 14:08 | 24C | 0.85671 | 5.7638e-06 | 0 | 0.85671 | 29.433 | 0.00022043 |  | #VALUE!
2011-45#86 | 247 | IBC 17 | 247 | 2011-11-23 14:11 | 24C | 0.85835 | 3.4658e-06 | 0 | 0.85835 | 29.496 | 0.00013016 |  | #VALUE!
2011-45#87 | 250 | IBC 18 | 250 | 2011-11-23 14:13 | 24C | 0.91387 | 4.0293e-06 | 0 | 0.91387 | 31.6361 | 0.00015713 |  | #VALUE!
2011-45#88 | 253 | QCSD 01 | 253 | 2011-11-23 14:16 | 24C | 0.91876 | 4.4783e-06 | 0 | 0.91876 | 31.8256 | 0.00017504 |  | #VALUE!
2011-45#89 | 256 | QCSD 02 | 256 | 2011-11-23 14:18 | 24C | 0.91573 | 4.7821e-06 | 0 | 0.91573 | 31.7082 | 0.00018667 |  | #VALUE!
2011-45#90 | 259 | QCSD 03 | 259 | 2011-11-23 14:21 | 24C | 0.8828 | 2.4908e-06 | 0 | 0.8828 | 30.4356 | 9.4898e-05 |  | #VALUE!
2011-45#91 | 262 | QCSD 04 | 262 | 2011-11-23 14:23 | 24C | 0.88013 | 3.8747e-06 | 0 | 0.88013 | 30.333 | 0.00014952 |  | #VALUE!
2011-45#92 | 265 | QCSD 05 | 265 | 2011-11-23 14:25 | 24C | 0.88713 | 2.1562e-06 | 0 | 0.88713 | 30.6027 | 8.3057e-05 |  | #VALUE!
2011-45#93 | 268 | QCSD 06 | 268 | 2011-11-23 14:28 | 24C | 0.90581 | 3.1415e-06 | 0 | 0.90581 | 31.3241 | 0.00012106 |  | #VALUE!
2011-45#94 | 271 | IBC 19 | 271 | 2011-11-23 14:30 | 24C | 0.82246 | 3.7312e-06 | 0 | 0.82246 | 28.1243 | 0.00014173 |  | #VALUE!
2011-45#95 | 274 | IBC 20 | 274 | 2011-11-23 14:33 | 24C | 0.81033 | 1.3712e-06 | 0 | 0.81033 | 27.6628 | 5.4857e-05 |  | #VALUE!
2011-45#96 | 277 | IBC 21 | 277 | 2011-11-23 14:35 | 24C | 0.83862 | 3.4659e-06 | 0 | 0.83862 | 28.7406 | 0.00013346 |  | #VALUE!
2011-45#97 | 280 | IBC 22 | 280 | 2011-11-23 14:37 | 24C | 0.84658 | 3.8651e-06 | 0 | 0.84658 | 29.0452 | 0.00014661 |  | #VALUE!
2011-45#98 | 283 | IBC 23 | 283 | 2011-11-23 14:40 | 24C | 0.84235 | 3.6104e-06 | 0 | 0.84235 | 28.8831 | 0.00013664 |  | #VALUE!
2011-45#99 | 286 | IBC 24 | 286 | 2011-11-23 14:42 | 24C | 0.81757 | 2.7425e-06 | 0 | 0.81757 | 27.9379 | 0.0001071 |  | #VALUE!
2011-45#101 | 289 | IBC 25 | 289 | 2011-11-23 15:11 | 24C | 0.83332 | 2.4925e-06 | 0 | 0.83332 | 28.5384 | 9.394e-05 |  | #VALUE!
2011-45#102 | 292 | IBC 26 | 292 | 2011-11-23 15:13 | 24C | 0.84263 | 2.8439e-06 | 0 | 0.84263 | 28.8939 | 0.00010934 |  | #VALUE!
2011-45#103 | 295 | IBC 27 | 295 | 2011-11-23 15:16 | 24C | 0.76461 | 3.2141e-06 | 0 | 0.76461 | 25.933 | 0.00012031 |  | #VALUE!
2011-45#104 | 298 | IBC 28 | 298 | 2011-11-23 15:18 | 24C | 0.83494 | 2.7423e-06 | 0 | 0.83494 | 28.6002 | 0.00010501 |  | #VALUE!
2011-45#105 | 301 | JF 01 | 301 | 2011-11-23 15:20 | 24C | 0.91898 | 3.8622e-06 | 0 | 0.91898 | 31.8342 | 0.00015187 |  | #VALUE!
2011-45#106 | 304 | IVI 10 | 304 | 2011-11-23 15:22 | 24C | 0.89384 | 4.2741e-06 | 0 | 0.89384 | 30.8615 | 0.00016643 |  | #VALUE!
2011-45#107 | 307 | IVI 11 | 307 | 2011-11-23 15:24 | 24C | 0.87182 | 3.4515e-06 | 0 | 0.87182 | 30.0133 | 0.0001343 |  | #VALUE!
2011-45#108 | 310 | IVI 12 | 310 | 2011-11-23 15:27 | 24C | 0.89544 | 3.611e-06 | 0 | 0.89544 | 30.9234 | 0.00013841 |  | #VALUE!
2011-45#109 | 313 | VI 04 | 313 | 2011-11-23 15:29 | 24C | 0.88949 | 4.949e-06 | 0 | 0.88949 | 30.6936 | 0.00019272 |  | #VALUE!
2011-45#110 | 316 | VI 05 | 316 | 2011-11-23 15:31 | 24C | 0.89416 | 2.7262e-06 | 0 | 0.89416 | 30.874 | 0.00010709 |  | #VALUE!
2011-45#111 | 319 | VI 06 | 319 | 2011-11-23 15:33 | 24C | 0.89796 | 2.128e-06 | 0 | 0.89796 | 31.0207 | 8.3146e-05 |  | #VALUE!
2011-45#112 | 322 | VI 07 | 322 | 2011-11-23 15:35 | 24C | 0.91111 | 5.6983e-06 | 0 | 0.91111 | 31.5292 | 0.00022147 |  | #VALUE!
2011-45#113 | 325 | VI 08 | 325 | 2011-11-23 15:38 | 24C | 0.90866 | 3.862e-06 | 0 | 0.90866 | 31.4345 | 0.00014819 |  | #VALUE!
2011-45#114 | 328 | VI 09 | 328 | 2011-11-23 15:40 | 24C | 0.92623 | 3.8647e-06 | 0 | 0.92623 | 32.1155 | 0.00014723 |  | #VALUE!
2011-45#115 | 331 | VI 10 | 331 | 2011-11-23 15:43 | 24C | 0.93229 | 7.9328e-06 | 0 | 0.93229 | 32.3513 | 0.00030804 |  | #VALUE!
2011-45#116 | 334 | VI 11 | 334 | 2011-11-23 15:45 | 24C | 0.93154 | 4.4252e-06 | 0 | 0.93154 | 32.3221 | 0.0001706 |  | #VALUE!
2011-45#117 | 337 | VI 12 | 337 | 2011-11-23 15:47 | 24C | 0.93231 | 5.4339e-06 | 0 | 0.93231 | 32.3521 | 0.00021141 |  | #VALUE!
2011-45#118 | 340 | VI 13 | 340 | 2011-11-23 15:50 | 24C | 0.93305 | 4.9583e-06 | 0 | 0.93305 | 32.3807 | 0.00019134 |  | #VALUE!
2011-45#119 | 343 | EP 07 | 343 | 2011-11-23 15:52 | 24C | 0.92863 | 4.1894e-06 | 0 | 0.92863 | 32.2089 | 0.00016485 |  | #VALUE!
2011-45#120 | 346 | EP 06 | 346 | 2011-11-23 15:54 | 24C | 0.92579 | 3.623e-06 | 0 | 0.92579 | 32.0985 | 0.00013998 |  | #VALUE!
2011-45#121 | 349 | EP 05 | 349 | 2011-11-23 15:56 | 24C | 0.92211 | 4.7145e-06 | 0 | 0.92211 | 31.9557 | 0.00018219 |  | #VALUE!
2011-45#122 | 352 | EP 04 | 352 | 2011-11-23 15:58 | 24C | 0.9119 | 5.654e-06 | 0 | 0.9119 | 31.5599 | 0.00021976 |  | #VALUE!
2011-45#123 | 355 | EP 03 | 355 | 2011-11-23 16:01 | 24C | 0.9056 | 3.6105e-06 | 0 | 0.9056 | 31.3159 | 0.00013908 |  | #VALUE!
2011-45#124 | 358 | EP 02 | 358 | 2011-11-23 16:03 | 24C | 0.90509 | 5.5447e-06 | 0 | 0.90509 | 31.2962 | 0.00021332 |  | #VALUE!
2011-45#125 | 361 | IVI 13 | 361 | 2011-11-24 08:25 | 24C | 0.88546 | 3.3461e-06 | 0 | 0.88546 | 30.5383 | 0.00012968 |  | #VALUE!
2011-45#126 | 364 | VI 14 | 364 | 2011-11-24 08:28 | 24C | 0.90304 | 5.5968e-06 | 0 | 0.90304 | 31.2171 | 0.00021727 |  | #VALUE!
2011-45#127 | 367 | VI 15 | 367 | 2011-11-24 08:30 | 24C | 0.90737 | 2.8904e-06 | 0 | 0.90737 | 31.3844 | 0.00010976 |  | #VALUE!
2011-45#128 | 370 | VI 16 | 370 | 2011-11-24 08:32 | 24C | 0.91707 | 4.4787e-06 | 0 | 0.91707 | 31.7601 | 0.00017474 |  | #VALUE!
2011-45#129 | 373 | VI 17 | 373 | 2011-11-24 08:34 | 24C | 0.92144 | 2.7425e-06 | 0 | 0.92144 | 31.9297 | 0.00010656 |  | #VALUE!
2011-45#130 | 376 | VI 18 | 376 | 2011-11-24 08:37 | 24C | 0.91966 | 1.3712e-06 | 0 | 0.91966 | 31.8608 | 5.5913e-05 |  | #VALUE!
2011-45#131 | 379 | VI 19 | 379 | 2011-11-24 08:39 | 24C | 0.91824 | 6.5727e-06 | 0 | 0.91824 | 31.8055 | 0.0002561 |  | #VALUE!
2011-45#132 | 382 | VI 20 | 382 | 2011-11-24 08:42 | 24C | 0.9041 | 3.7809e-06 | 0 | 0.9041 | 31.258 | 0.00014634 |  | #VALUE!
2011-45#133 | 385 | IVI 14 | 385 | 2011-11-24 08:44 | 24C | 0.87536 | 4.5129e-06 | 0 | 0.87536 | 30.1492 | 0.00017517 |  | #VALUE!
2011-45#134 | 388 | IVI 15 | 388 | 2011-11-24 08:46 | 24C | 0.85346 | 4.9059e-06 | 0 | 0.85346 | 29.3084 | 0.00018779 |  | #VALUE!
2011-45#135 | 391 | IVI 16 | 391 | 2011-11-24 08:49 | 24C | 0.87593 | 3.7955e-06 | 0 | 0.87593 | 30.1714 | 0.00014753 |  | #VALUE!
2011-45#136 | 394 | IVI 17 | 394 | 2011-11-24 08:51 | 24C | 0.87945 | 3.4389e-06 | 0 | 0.87945 | 30.3069 | 0.00013116 |  | #VALUE!
2011-45#137 | 397 | IVI 18 | 397 | 2011-11-24 08:54 | 24C | 0.8847 | 3.8619e-06 | 0 | 0.8847 | 30.5091 | 0.00015096 |  | #VALUE!
2011-45#138 | 400 | IVI 19 | 400 | 2011-11-24 08:56 | 24C | 0.87252 | 3.85e-06 | 0 | 0.87252 | 30.0399 | 0.0001487 |  | #VALUE!
2011-45#139 | 403 | IVI 20 | 403 | 2011-11-24 08:59 | 24C | 0.8763 | 3.2144e-06 | 0 | 0.8763 | 30.1856 | 0.00012416 |  | #VALUE!
2011-45#140 | 406 | IVI 21 | 406 | 2011-11-24 09:01 | 24C | 0.88909 | 3.4658e-06 | 0 | 0.88909 | 30.6783 | 0.00013105 |  | #VALUE!
2011-45#141 | 409 | IVI 22 | 409 | 2011-11-24 09:07 | 24C | 0.88647 | 3.6105e-06 | 0 | 0.88647 | 30.577 | 0.00013894 |  | #VALUE!
2011-45#142 | 412 | IVI 23 | 412 | 2011-11-24 09:10 | 24C | 0.88954 | 2.8797e-06 | 0 | 0.88954 | 30.6957 | 0.00011189 |  | #VALUE!
2011-45#143 | 415 | IVI 24 | 415 | 2011-11-24 09:12 | 24C | 0.88104 | 3.1415e-06 | 0 | 0.88104 | 30.3681 | 0.00011934 |  | #VALUE!
2011-45#144 | 418 | IVI 25 | 418 | 2011-11-24 09:15 | 24C | 0.88863 | 3.1866e-06 | 0 | 0.88863 | 30.6604 | 0.00012156 |  | #VALUE!
2011-45#145 | 421 | IVI 26 | 421 | 2011-11-24 09:17 | 24C | 0.88921 | 4.4783e-06 | 0 | 0.88921 | 30.683 | 0.00017236 |  | #VALUE!
| 424 | IVI 27 | 424 | [6 empty] | -99 |  | 5 | -99 | SAL: Program crash. Sample lost
2011-45#146 | 427 | VI 21 | 427 | 2011-11-24 09:26 | 24C | 0.89049 | 5.3089e-06 | 0 | 0.89049 | 30.7323 | 0.00020345 |  | #VALUE!
2011-45#147 | 430 | VI 22 | 430 | 2011-11-24 09:28 | 24C | 0.89875 | 3.2141e-06 | 0 | 0.89875 | 31.0513 | 0.00012339 |  | #VALUE!
2011-45#149 | 433 | VI 23 | 433 | 2011-11-25 08:48 | 24C | 0.89752 | 4.2257e-06 | 0 | 0.89752 | 31.0035 | 0.00016413 |  | #VALUE!
2011-45#150 | 436 | VI 24 | 436 | 2011-11-25 08:51 | 24C | 0.89657 | 9.3554e-06 | 0 | 0.89657 | 30.9669 | 0.00036157 |  | #VALUE!
2011-45#151 | 439 | VI 25 | 439 | 2011-11-25 08:53 | 24C | 0.89793 | 2.89e-06 | 0 | 0.89793 | 31.0196 | 0.00011206 |  | #VALUE!
2011-45#152 | 442 | VI 26 | 442 | 2011-11-25 08:56 | 24C | 0.90031 | 5.0787e-06 | 0 | 0.90031 | 31.1113 | 0.00019653 |  | #VALUE!
2011-45#153 | 445 | VI 27 | 445 | 2011-11-25 08:58 | 24C | 0.90798 | 3.8402e-06 | 0 | 0.90798 | 31.4081 | 0.00014949 |  | #VALUE!
2011-45#154 | 448 | VI 28 | 448 | 2011-11-25 09:01 | 24C | 0.91644 | 4.2256e-06 | 0 | 0.91644 | 31.7356 | 0.00016285 |  | #VALUE!
2011-45#155 | 451 | JF 06 | 451 | 2011-11-25 09:03 | 24C | 0.90891 | 4.5997e-06 | 0 | 0.90891 | 31.444 | 0.00017928 |  | #VALUE!
2011-45#156 | 454 | JF 05 | 454 | 2011-11-25 09:05 | 24C | 0.92107 | 1.3713e-06 | 0 | 0.92107 | 31.9155 | 5.2246e-05 |  | #VALUE!
2011-45#157 | 457 | JF 04 | 457 | 2011-11-25 09:08 | 24C | 0.91995 | 2.4915e-06 | 0 | 0.91995 | 31.872 | 9.6802e-05 |  | #VALUE!
2011-45#158 | 460 | JF 03 | 460 | 2011-11-25 09:11 | 24C | 0.91524 | 3.2142e-06 | 0 | 0.91524 | 31.6895 | 0.00012447 |  | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2011-45#1 | JS 01 | 2011-11-22 13:02 | 24C | 0.88553 | 5.5671e-06 | 0 | 0.88553 | 30.5409 | 0.00021381
2011-45#2 | JS 02 | 2011-11-22 13:05 | 24C | 0.88638 | 3.9635e-06 | 0 | 0.88638 | 30.5738 | 0.00015199
2011-45#3 | JS 03 | 2011-11-22 13:07 | 24C | 0.88379 | 4.2257e-06 | 0 | 0.88379 | 30.4737 | 0.00016147
2011-45#4 | JS 04 | 2011-11-22 13:09 | 24C | 0.88529 | 2.2391e-06 | 0 | 0.88529 | 30.5318 | 8.4881e-05
2011-45#5 | QCST 01 | 2011-11-22 13:11 | 24C | 0.89539 | 3.3588e-06 | 0 | 0.89539 | 30.9212 | 0.00012796
2011-45#6 | QCST 02 | 2011-11-22 13:13 | 24C | 0.88246 | 6.5043e-06 | 0 | 0.88246 | 30.4227 | 0.00025113
2011-45#7 | QCST 03 | 2011-11-22 13:15 | 24C | 0.89509 | 3.2141e-06 | 0 | 0.89509 | 30.9099 | 0.00012375
2011-45#8 | QCST 04 | 2011-11-22 13:17 | 24C | 0.87414 | 2.978e-06 | 0 | 0.87414 | 30.1023 | 0.00011348
2011-45#9 | QCST 05 | 2011-11-22 13:20 | 24C | 0.8983 | 3.1414e-06 | 0 | 0.8983 | 31.0337 | 0.00012137
2011-45#10 | QCST 06 | 2011-11-22 13:22 | 24C | 0.90102 | 4.2152e-06 | 0 | 0.90102 | 31.1388 | 0.00016237
2011-45#11 | QCST 07 | 2011-11-22 13:24 | 24C | 0.89839 | 2.7426e-06 | 0 | 0.89839 | 31.0373 | 0.00010657
2011-45#12 | IVI 01 | 2011-11-22 13:26 | 24C | 0.8389 | 3.1311e-06 | 0 | 0.8389 | 28.7513 | 0.00011882
2011-45#13 | IVI 02 | 2011-11-22 13:28 | 24C | 0.84029 | 3.8651e-06 | 0 | 0.84029 | 28.8044 | 0.00014644
2011-45#14 | IVI 03 | 2011-11-22 13:30 | 24C | 0.85291 | 4.9353e-06 | 0 | 0.85291 | 29.2873 | 0.00018963
2011-45#15 | IVI 04 | 2011-11-22 13:32 | 24C | 0.86812 | 4.6154e-06 | 0 | 0.86812 | 29.8711 | 0.00017887
2011-45#16 | IVI 05 | 2011-11-22 13:34 | 24C | 0.86047 | 5.1439e-06 | 0 | 0.86047 | 29.5774 | 0.0001991
2011-45#17 | IVI 06 | 2011-11-22 13:37 | 24C | 0.87002 | 5.0343e-06 | 0 | 0.87002 | 29.944 | 0.00019536
2011-45#18 | IVI 07 | 2011-11-22 13:39 | 24C | 0.88012 | 2.4908e-06 | 0 | 0.88012 | 30.3326 | 9.4478e-05
2011-45#19 | IVI 08 | 2011-11-22 13:41 | 24C | 0.89028 | 2.4908e-06 | 0 | 0.89028 | 30.7242 | 9.9641e-05
2011-45#20 | IVI 09 | 2011-11-22 13:43 | 24C | 0.88613 | 5.6098e-06 | 0 | 0.88613 | 30.5642 | 0.00021622
2011-45#21 | VI 01 | 2011-11-22 13:46 | 24C | 0.9018 | 2.8792e-06 | 0 | 0.9018 | 31.169 | 0.00011136
2011-45#22 | VI 02 | 2011-11-22 13:48 | 24C | 0.89975 | 5.3588e-06 | 0 | 0.89975 | 31.0899 | 0.00020923
2011-45#23 | VI 03 | 2011-11-22 13:50 | 24C | 0.91962 | 1.7705e-06 | 0 | 0.91962 | 31.8592 | 6.851e-05
2011-45#24 | T 07 | 2011-11-22 13:53 | 24C | 0.91471 | 4.7428e-06 | 0 | 0.91471 | 31.6687 | 0.00017982
2011-45#25 | Sta P Standard | 2011-11-22 13:55 | 24C | 0.98964 | 4.5126e-06 | 0 | 0.98964 | 34.5928 | 0.00017536
2011-45#26 | T 06 | 2011-11-22 13:59 | 24C | 0.9196 | 5.2336e-06 | 0 | 0.9196 | 31.8584 | 0.00020371
2011-45#27 | T 05 | 2011-11-22 14:01 | 24C | 0.91937 | 3.4659e-06 | 0 | 0.91937 | 31.8494 | 0.00013375
2011-45#28 | T 04 | 2011-11-22 14:03 | 24C | 0.91646 | 3.865e-06 | 0 | 0.91646 | 31.7365 | 0.00014818
2011-45#29 | T 03 | 2011-11-22 14:05 | 24C | 0.91317 | 4.1786e-06 | 0 | 0.91317 | 31.609 | 0.00016085
2011-45#30 | T 02 | 2011-11-22 14:07 | 24C | 0.9086 | 5.1397e-06 | 0 | 0.9086 | 31.4322 | 0.00019958
2011-45#31 | T 01 | 2011-11-22 14:09 | 24C | 0.91139 | 5.9205e-06 | 0 | 0.91139 | 31.5401 | 0.00023034
2011-45#32 | H 01 | 2011-11-22 14:11 | 24C | 0.90859 | 3.452e-06 | 0 | 0.90859 | 31.4319 | 0.00013117
2011-45#33 | H 02 | 2011-11-22 14:13 | 24C | 0.86675 | 4.9116e-06 | 0 | 0.86675 | 29.8185 | 0.00018777
2011-45#34 | H 03 | 2011-11-22 14:15 | 24C | 0.91352 | 4.2633e-06 | 0 | 0.91352 | 31.6225 | 0.00016417
2011-45#35 | H 04 | 2011-11-22 14:17 | 24C | 0.92097 | 3.9682e-06 | 0 | 0.92097 | 31.9116 | 0.00015528
2011-45#36 | H 05 | 2011-11-22 14:20 | 24C | 0.9261 | 2.4747e-06 | 0 | 0.9261 | 32.1108 | 9.7452e-05
2011-45#37 | H 06 | 2011-11-22 14:22 | 24C | 0.92002 | 5.0342e-06 | 0 | 0.92002 | 31.8747 | 0.00019695
2011-45#38 | IBC 01 | 2011-11-22 14:24 | 24C | 0.83722 | 2.8901e-06 | 0 | 0.83722 | 28.687 | 0.00010932
2011-45#39 | IBC 02 | 2011-11-22 14:26 | 24C | 0.82701 | 3.6232e-06 | 0 | 0.82701 | 28.2977 | 0.00014042
2011-45#40 | IBC 03 | 2011-11-22 14:28 | 24C | 0.81643 | 4.0697e-06 | 0 | 0.81643 | 27.8948 | 0.00015448
2011-45#41 | IBC 04 | 2011-11-22 14:31 | 24C | 0.78181 | 2.7425e-06 | 0 | 0.78181 | 26.5818 | 0.00010134
2011-45#42 | IBC 05 | 2011-11-22 14:33 | 24C | 0.77947 | 4.4783e-06 | 0 | 0.77947 | 26.4935 | 0.00017017
2011-45#43 | IBC 06 | 2011-11-22 14:35 | 24C | 0.83399 | 5.9928e-06 | 0 | 0.83399 | 28.564 | 0.00022766
2011-45#44 | IBC 07 | 2011-11-22 14:37 | 24C | 0.89889 | 3.4494e-06 | 0 | 0.89889 | 31.0566 | 0.0001338
2011-45#45 | IBC 08 | 2011-11-22 14:40 | 24C | 0.90173 | 3.4657e-06 | 0 | 0.90173 | 31.1663 | 0.00013592
2011-45#46 | IBC 09 | 2011-11-22 14:42 | 24C | 0.90074 | 3.2034e-06 | 0 | 0.90074 | 31.128 | 0.00012156
2011-45#47 | IBC 10 | 2011-11-22 14:44 | 24C | 0.89478 | 3.1417e-06 | 0 | 0.89478 | 30.8979 | 0.00012104
2011-45#48 | IBC 11 | 2011-11-22 14:46 | 24C | 0.89029 | 3.9596e-06 | 0 | 0.89029 | 30.7245 | 0.00015476
2011-45#49 | IBC 12 | 2011-11-22 14:48 | 24C | 0.85573 | 2.4909e-06 | 0 | 0.85573 | 29.3956 | 9.4898e-05
2011-45#50 | Sta P Standard | 2011-11-22 14:50 | 24C | 0.98974 | 4.2152e-06 | 0 | 0.98974 | 34.5967 | 0.00016635
2011-45#51 | DE 01 | 2011-11-23 11:32 | 24C | 0.92202 | 2.7261e-06 | 0 | 0.92202 | 31.9524 | 0.00010396
2011-45#52 | DE 02 | 2011-11-23 11:34 | 24C | 0.92536 | 2.71e-06 | 0 | 0.92536 | 32.082 | 0.00010239
2011-45#53 | DE 03 | 2011-11-23 11:36 | 24C | 0.92406 | 3.3456e-06 | 0 | 0.92406 | 32.0313 | 0.00012967
2011-45#54 | DE 04 | 2011-11-23 11:38 | 24C | 0.9196 | 4.2739e-06 | 0 | 0.9196 | 31.8583 | 0.00016643
2011-45#55 | DE 05 | 2011-11-23 11:40 | 24C | 0.91689 | 4.8936e-06 | 0 | 0.91689 | 31.7534 | 0.00018859
2011-45#56 | DE 06 | 2011-11-23 11:43 | 24C | 0.92745 | 4.189e-06 | 0 | 0.92745 | 32.1632 | 0.00016281
2011-45#57 | FI 01 | 2011-11-23 11:45 | 24C | 0.8775 | 5.1605e-06 | 0 | 0.8775 | 30.2318 | 0.0001977
2011-45#58 | FI 02 | 2011-11-23 11:47 | 24C | 0.88731 | 3.85e-06 | 0 | 0.88731 | 30.6096 | 0.00014631
2011-45#59 | FI 03 | 2011-11-23 11:50 | 24C | 0.89375 | 3.4104e-06 | 0 | 0.89375 | 30.8579 | 0.00013254
2011-45#60 | FI 04 | 2011-11-23 11:52 | 24C | 0.89845 | 3.2144e-06 | 0 | 0.89845 | 31.0395 | 0.00012157
2011-45#61 | FI 05 | 2011-11-23 11:55 | 24C | 0.91131 | 5.5828e-06 | 0 | 0.91131 | 31.5372 | 0.00021197
2011-45#62 | FI 06 | 2011-11-23 11:57 | 24C | 0.89185 | 4.1895e-06 | 0 | 0.89185 | 30.7849 | 0.00016154
2011-45#63 | FI 07 | 2011-11-23 13:20 | 24C | 0.92497 | 2.4918e-06 | 0 | 0.92497 | 32.0667 | 9.802e-05
2011-45#64 | B 07 | 2011-11-23 13:22 | 24C | 0.92776 | 2.7442e-06 | 0 | 0.92776 | 32.1751 | 0.0001087
2011-45#65 | B 06 | 2011-11-23 13:24 | 24C | 0.9307 | 3.2141e-06 | 0 | 0.9307 | 32.2893 | 0.000126
2011-45#66 | B 05 | 2011-11-23 13:26 | 24C | 0.9241 | 2.8897e-06 | 0 | 0.9241 | 32.0331 | 0.00011062
2011-45#67 | B 04 | 2011-11-23 13:28 | 24C | 0.92356 | 2.4909e-06 | 0 | 0.92356 | 32.0121 | 9.6599e-05
2011-45#68 | B 03 | 2011-11-23 13:31 | 24C | 0.88701 | 4.1748e-06 | 0 | 0.88701 | 30.5979 | 0.00016279
2011-45#69 | B 02 | 2011-11-23 13:33 | 24C | 0.89198 | 1.1529e-06 | 0 | 0.89198 | 30.7896 | 4.2224e-05
2011-45#70 | B 01 | 2011-11-23 13:35 | 24C | 0.88937 | 5.4235e-06 | 0 | 0.88937 | 30.6892 | 0.00020691
2011-45#71 | ISEA 01 | 2011-11-23 13:37 | 24C | 0.88295 | 3.4659e-06 | 0 | 0.88295 | 30.4416 | 0.00013595
2011-45#72 | ISEA 02 | 2011-11-23 13:39 | 24C | 0.88444 | 4.5128e-06 | 0 | 0.88444 | 30.4991 | 0.00017485
2011-45#73 | ISEA 03 | 2011-11-23 13:42 | 24C | 0.87779 | 5.3286e-06 | 0 | 0.87779 | 30.2428 | 0.00020503
2011-45#74 | ISEA 04 | 2011-11-23 13:44 | 24C | 0.87468 | 2.0945e-06 | 0 | 0.87468 | 30.1233 | 7.9449e-05
2011-45#75 | Sta P Standard | 2011-11-23 13:46 | 24C | 0.98975 | 4.5688e-06 | 0 | 0.98975 | 34.597 | 0.00017825
2011-45#76 | ISEA 05 | 2011-11-23 13:48 | 24C | 0.85798 | 3.8598e-06 | 0 | 0.85798 | 29.4819 | 0.00014974
2011-45#77 | ISEA 06 | 2011-11-23 13:51 | 24C | 0.88023 | 3.3588e-06 | 0 | 0.88023 | 30.3367 | 0.00012966
2011-45#78 | ISEA 07 | 2011-11-23 13:53 | 24C | 0.87347 | 5.1484e-06 | 0 | 0.87347 | 30.0768 | 0.0002
2011-45#79 | ISEA 08 | 2011-11-23 13:55 | 24C | 0.83914 | 3.974e-06 | 0 | 0.83914 | 28.7606 | 0.00015211
2011-45#80 | ISEA 09 | 2011-11-23 13:57 | 24C | 0.78001 | 2.7425e-06 | 0 | 0.78001 | 26.5138 | 0.00010135
2011-45#81 | ISEA 10 | 2011-11-23 14:00 | 24C | 0.79346 | 4.9821e-06 | 0 | 0.79346 | 27.0226 | 0.0001893
2011-45#82 | IBC 13 | 2011-11-23 14:02 | 24C | 0.87286 | 2.4909e-06 | 0 | 0.87286 | 30.0532 | 9.6591e-05
2011-45#83 | IBC 14 | 2011-11-23 14:04 | 24C | 0.87324 | 4.1894e-06 | 0 | 0.87324 | 30.0679 | 0.00016384
2011-45#84 | IBC 15 | 2011-11-23 14:06 | 24C | 0.86997 | 4.199e-06 | 0 | 0.86997 | 29.9422 | 0.00015983
2011-45#85 | IBC 16 | 2011-11-23 14:08 | 24C | 0.85671 | 5.7638e-06 | 0 | 0.85671 | 29.433 | 0.00022043
2011-45#86 | IBC 17 | 2011-11-23 14:11 | 24C | 0.85835 | 3.4658e-06 | 0 | 0.85835 | 29.496 | 0.00013016
2011-45#87 | IBC 18 | 2011-11-23 14:13 | 24C | 0.91387 | 4.0293e-06 | 0 | 0.91387 | 31.6361 | 0.00015713
2011-45#88 | QCSD 01 | 2011-11-23 14:16 | 24C | 0.91876 | 4.4783e-06 | 0 | 0.91876 | 31.8256 | 0.00017504
2011-45#89 | QCSD 02 | 2011-11-23 14:18 | 24C | 0.91573 | 4.7821e-06 | 0 | 0.91573 | 31.7082 | 0.00018667
2011-45#90 | QCSD 03 | 2011-11-23 14:21 | 24C | 0.8828 | 2.4908e-06 | 0 | 0.8828 | 30.4356 | 9.4898e-05
2011-45#91 | QCSD 04 | 2011-11-23 14:23 | 24C | 0.88013 | 3.8747e-06 | 0 | 0.88013 | 30.333 | 0.00014952
2011-45#92 | QCSD 05 | 2011-11-23 14:25 | 24C | 0.88713 | 2.1562e-06 | 0 | 0.88713 | 30.6027 | 8.3057e-05
2011-45#93 | QCSD 06 | 2011-11-23 14:28 | 24C | 0.90581 | 3.1415e-06 | 0 | 0.90581 | 31.3241 | 0.00012106
2011-45#94 | IBC 19 | 2011-11-23 14:30 | 24C | 0.82246 | 3.7312e-06 | 0 | 0.82246 | 28.1243 | 0.00014173
2011-45#95 | IBC 20 | 2011-11-23 14:33 | 24C | 0.81033 | 1.3712e-06 | 0 | 0.81033 | 27.6628 | 5.4857e-05
2011-45#96 | IBC 21 | 2011-11-23 14:35 | 24C | 0.83862 | 3.4659e-06 | 0 | 0.83862 | 28.7406 | 0.00013346
2011-45#97 | IBC 22 | 2011-11-23 14:37 | 24C | 0.84658 | 3.8651e-06 | 0 | 0.84658 | 29.0452 | 0.00014661
2011-45#98 | IBC 23 | 2011-11-23 14:40 | 24C | 0.84235 | 3.6104e-06 | 0 | 0.84235 | 28.8831 | 0.00013664
2011-45#99 | IBC 24 | 2011-11-23 14:42 | 24C | 0.81757 | 2.7425e-06 | 0 | 0.81757 | 27.9379 | 0.0001071
2011-45#100 | Sta P Standard | 2011-11-23 14:44 | 24C | 0.98961 | 4.5022e-06 | 0 | 0.98961 | 34.5914 | 0.00017823
2011-45#101 | IBC 25 | 2011-11-23 15:11 | 24C | 0.83332 | 2.4925e-06 | 0 | 0.83332 | 28.5384 | 9.394e-05
2011-45#102 | IBC 26 | 2011-11-23 15:13 | 24C | 0.84263 | 2.8439e-06 | 0 | 0.84263 | 28.8939 | 0.00010934
2011-45#103 | IBC 27 | 2011-11-23 15:16 | 24C | 0.76461 | 3.2141e-06 | 0 | 0.76461 | 25.933 | 0.00012031
2011-45#104 | IBC 28 | 2011-11-23 15:18 | 24C | 0.83494 | 2.7423e-06 | 0 | 0.83494 | 28.6002 | 0.00010501
2011-45#105 | JF 01 | 2011-11-23 15:20 | 24C | 0.91898 | 3.8622e-06 | 0 | 0.91898 | 31.8342 | 0.00015187
2011-45#106 | IVI 10 | 2011-11-23 15:22 | 24C | 0.89384 | 4.2741e-06 | 0 | 0.89384 | 30.8615 | 0.00016643
2011-45#107 | IVI 11 | 2011-11-23 15:24 | 24C | 0.87182 | 3.4515e-06 | 0 | 0.87182 | 30.0133 | 0.0001343
2011-45#108 | IVI 12 | 2011-11-23 15:27 | 24C | 0.89544 | 3.611e-06 | 0 | 0.89544 | 30.9234 | 0.00013841
2011-45#109 | VI 04 | 2011-11-23 15:29 | 24C | 0.88949 | 4.949e-06 | 0 | 0.88949 | 30.6936 | 0.00019272
2011-45#110 | VI 05 | 2011-11-23 15:31 | 24C | 0.89416 | 2.7262e-06 | 0 | 0.89416 | 30.874 | 0.00010709
2011-45#111 | VI 06 | 2011-11-23 15:33 | 24C | 0.89796 | 2.128e-06 | 0 | 0.89796 | 31.0207 | 8.3146e-05
2011-45#112 | VI 07 | 2011-11-23 15:35 | 24C | 0.91111 | 5.6983e-06 | 0 | 0.91111 | 31.5292 | 0.00022147
2011-45#113 | VI 08 | 2011-11-23 15:38 | 24C | 0.90866 | 3.862e-06 | 0 | 0.90866 | 31.4345 | 0.00014819
2011-45#114 | VI 09 | 2011-11-23 15:40 | 24C | 0.92623 | 3.8647e-06 | 0 | 0.92623 | 32.1155 | 0.00014723
2011-45#115 | VI 10 | 2011-11-23 15:43 | 24C | 0.93229 | 7.9328e-06 | 0 | 0.93229 | 32.3513 | 0.00030804
2011-45#116 | VI 11 | 2011-11-23 15:45 | 24C | 0.93154 | 4.4252e-06 | 0 | 0.93154 | 32.3221 | 0.0001706
2011-45#117 | VI 12 | 2011-11-23 15:47 | 24C | 0.93231 | 5.4339e-06 | 0 | 0.93231 | 32.3521 | 0.00021141
2011-45#118 | VI 13 | 2011-11-23 15:50 | 24C | 0.93305 | 4.9583e-06 | 0 | 0.93305 | 32.3807 | 0.00019134
2011-45#119 | EP 07 | 2011-11-23 15:52 | 24C | 0.92863 | 4.1894e-06 | 0 | 0.92863 | 32.2089 | 0.00016485
2011-45#120 | EP 06 | 2011-11-23 15:54 | 24C | 0.92579 | 3.623e-06 | 0 | 0.92579 | 32.0985 | 0.00013998
2011-45#121 | EP 05 | 2011-11-23 15:56 | 24C | 0.92211 | 4.7145e-06 | 0 | 0.92211 | 31.9557 | 0.00018219
2011-45#122 | EP 04 | 2011-11-23 15:58 | 24C | 0.9119 | 5.654e-06 | 0 | 0.9119 | 31.5599 | 0.00021976
2011-45#123 | EP 03 | 2011-11-23 16:01 | 24C | 0.9056 | 3.6105e-06 | 0 | 0.9056 | 31.3159 | 0.00013908
2011-45#124 | EP 02 | 2011-11-23 16:03 | 24C | 0.90509 | 5.5447e-06 | 0 | 0.90509 | 31.2962 | 0.00021332
2011-45#125 | IVI 13 | 2011-11-24 08:25 | 24C | 0.88546 | 3.3461e-06 | 0 | 0.88546 | 30.5383 | 0.00012968
2011-45#126 | VI 14 | 2011-11-24 08:28 | 24C | 0.90304 | 5.5968e-06 | 0 | 0.90304 | 31.2171 | 0.00021727
2011-45#127 | VI 15 | 2011-11-24 08:30 | 24C | 0.90737 | 2.8904e-06 | 0 | 0.90737 | 31.3844 | 0.00010976
2011-45#128 | VI 16 | 2011-11-24 08:32 | 24C | 0.91707 | 4.4787e-06 | 0 | 0.91707 | 31.7601 | 0.00017474
2011-45#129 | VI 17 | 2011-11-24 08:34 | 24C | 0.92144 | 2.7425e-06 | 0 | 0.92144 | 31.9297 | 0.00010656
2011-45#130 | VI 18 | 2011-11-24 08:37 | 24C | 0.91966 | 1.3712e-06 | 0 | 0.91966 | 31.8608 | 5.5913e-05
2011-45#131 | VI 19 | 2011-11-24 08:39 | 24C | 0.91824 | 6.5727e-06 | 0 | 0.91824 | 31.8055 | 0.0002561
2011-45#132 | VI 20 | 2011-11-24 08:42 | 24C | 0.9041 | 3.7809e-06 | 0 | 0.9041 | 31.258 | 0.00014634
2011-45#133 | IVI 14 | 2011-11-24 08:44 | 24C | 0.87536 | 4.5129e-06 | 0 | 0.87536 | 30.1492 | 0.00017517
2011-45#134 | IVI 15 | 2011-11-24 08:46 | 24C | 0.85346 | 4.9059e-06 | 0 | 0.85346 | 29.3084 | 0.00018779
2011-45#135 | IVI 16 | 2011-11-24 08:49 | 24C | 0.87593 | 3.7955e-06 | 0 | 0.87593 | 30.1714 | 0.00014753
2011-45#136 | IVI 17 | 2011-11-24 08:51 | 24C | 0.87945 | 3.4389e-06 | 0 | 0.87945 | 30.3069 | 0.00013116
2011-45#137 | IVI 18 | 2011-11-24 08:54 | 24C | 0.8847 | 3.8619e-06 | 0 | 0.8847 | 30.5091 | 0.00015096
2011-45#138 | IVI 19 | 2011-11-24 08:56 | 24C | 0.87252 | 3.85e-06 | 0 | 0.87252 | 30.0399 | 0.0001487
2011-45#139 | IVI 20 | 2011-11-24 08:59 | 24C | 0.8763 | 3.2144e-06 | 0 | 0.8763 | 30.1856 | 0.00012416
2011-45#140 | IVI 21 | 2011-11-24 09:01 | 24C | 0.88909 | 3.4658e-06 | 0 | 0.88909 | 30.6783 | 0.00013105
2011-45#141 | IVI 22 | 2011-11-24 09:07 | 24C | 0.88647 | 3.6105e-06 | 0 | 0.88647 | 30.577 | 0.00013894
2011-45#142 | IVI 23 | 2011-11-24 09:10 | 24C | 0.88954 | 2.8797e-06 | 0 | 0.88954 | 30.6957 | 0.00011189
2011-45#143 | IVI 24 | 2011-11-24 09:12 | 24C | 0.88104 | 3.1415e-06 | 0 | 0.88104 | 30.3681 | 0.00011934
2011-45#144 | IVI 25 | 2011-11-24 09:15 | 24C | 0.88863 | 3.1866e-06 | 0 | 0.88863 | 30.6604 | 0.00012156
2011-45#145 | IVI 26 | 2011-11-24 09:17 | 24C | 0.88921 | 4.4783e-06 | 0 | 0.88921 | 30.683 | 0.00017236
2011-45#146 | VI 21 | 2011-11-24 09:26 | 24C | 0.89049 | 5.3089e-06 | 0 | 0.89049 | 30.7323 | 0.00020345
2011-45#147 | VI 22 | 2011-11-24 09:28 | 24C | 0.89875 | 3.2141e-06 | 0 | 0.89875 | 31.0513 | 0.00012339
2011-45#148 | Sta P Standard | 2011-11-24 09:31 | 24C | 0.98963 | 1.3712e-06 | 0 | 0.98963 | 34.5924 | 5.2235e-05
2011-45#149 | VI 23 | 2011-11-25 08:48 | 24C | 0.89752 | 4.2257e-06 | 0 | 0.89752 | 31.0035 | 0.00016413
2011-45#150 | VI 24 | 2011-11-25 08:51 | 24C | 0.89657 | 9.3554e-06 | 0 | 0.89657 | 30.9669 | 0.00036157
2011-45#151 | VI 25 | 2011-11-25 08:53 | 24C | 0.89793 | 2.89e-06 | 0 | 0.89793 | 31.0196 | 0.00011206
2011-45#152 | VI 26 | 2011-11-25 08:56 | 24C | 0.90031 | 5.0787e-06 | 0 | 0.90031 | 31.1113 | 0.00019653
2011-45#153 | VI 27 | 2011-11-25 08:58 | 24C | 0.90798 | 3.8402e-06 | 0 | 0.90798 | 31.4081 | 0.00014949
2011-45#154 | VI 28 | 2011-11-25 09:01 | 24C | 0.91644 | 4.2256e-06 | 0 | 0.91644 | 31.7356 | 0.00016285
2011-45#155 | JF 06 | 2011-11-25 09:03 | 24C | 0.90891 | 4.5997e-06 | 0 | 0.90891 | 31.444 | 0.00017928
2011-45#156 | JF 05 | 2011-11-25 09:05 | 24C | 0.92107 | 1.3713e-06 | 0 | 0.92107 | 31.9155 | 5.2246e-05
2011-45#157 | JF 04 | 2011-11-25 09:08 | 24C | 0.91995 | 2.4915e-06 | 0 | 0.91995 | 31.872 | 9.6802e-05
2011-45#158 | JF 03 | 2011-11-25 09:11 | 24C | 0.91524 | 3.2142e-06 | 0 | 0.91524 | 31.6895 | 0.00012447