## Notes
Analysis: Hugh Maclean, 21-MARCH-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
2012-03-22 | KS
Samples analyzed approximately 7 months after collection. Samples were left in an office and forgotten.
Samples were collected in old style sqare bottles with caps that have built in cone inserts.
Two Feb Line P 2012-01 P24 DWR samples were analyzed as a check for system stability. Data can be found in the 2012 Deep Water Reference Spreadsheet
No duplicates were collected so no precision analysis was performed
Salinometer was calibrated in early March. The system seems to have remained stable for the remainder of the analysis period thereby requiring no further calibrations
22-Mar-12 GG
The CTD file names are based on the CTD # as entered in the log rather than the event number in the log.

## QF 2011-58 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater approximately 7 months after end of cruise. For details including a duplicate analysis, see document QF2011-58SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2011-58 | 1 | ctd 01 | 1 |  | 32.2122
2011-58 | 4 | ctd 02 | 2 |  | 34.063
2011-58 | 6 | ctd 03 | 3 |  | 34.0868
2011-58 | 7 | ctd 04 | 4 |  | 33.9186
2011-58 | 8 | ctd 05 | 5 |  | 32.8394
2011-58 | 10 | ctd 06 | 6 |  | 33.1188
2011-58 | 11 | ctd 07 | 7 |  | 34.0828
2011-58 | 13 | ctd 08 | 8 |  | 32.5458
2011-58 | 15 | ctd 09 | 9 |  | 32.972
2011-58 | 17 | ctd 10 | 10 |  | 32.9819
2011-58 | 19 | ctd 11 | 11 |  | 33.9532
2011-58 | 20 | ctd 12 | 12 |  | 32.357
2011-58 | 22 | ctd 13 | 13 | 5 | -99 | SAL: Sample was analyzed. Missing?
2011-58 | 23 | ctd 14 | 14 |  | 34.098
2011-58 | 25 | ctd 15 | 15 |  | 32.5243
2011-58 | 27 | ctd 16 | 16 |  | 33.8944
2011-58 | 29 | ctd 17 | 17 |  | 33.8493
2011-58 | 30 | ctd 18 | 18 |  | 32.2209
2011-58 | 32 | ctd 19 | 19 |  | 33.9223
2011-58 | 34 | ctd 20 | 20 |  | 34.029
2011-58 | 36 | ctd 21 | 21 |  | 32.7751
2011-58 | 38 | ctd 22 | 22 |  | 34.0388
2011-58 | 40 | ctd 23 | 23 |  | 33.2091
2011-58 | 42 | ctd 24 | 24 |  | 33.0887
2011-58 | 43 | ctd 25 | 25 |  | 32.4921
2011-58 | 45 | ctd 26 | 26 |  | 33.0569
2011-58 | 47 | ctd 27 | 27 |  | 32.8473
2011-58 | 49 | ctd 28 | 28 |  | 33.7783
2011-58 | 50 | ctd 29 | 29 |  | 33.8348
2011-58 | 52 | ctd 30 | 30 |  | 33.7293
2011-58 | 53 | ctd 31 | 31 |  | 33.2148
2011-58 | 55 | ctd 32 | 32 |  | 33.2114
2011-58 | 56 | ctd 33 | 33 |  | 33.0203

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Flag | New Calculated Salinity | Comments
2011-58#3 | 1 | ctd 01 | 1 | 2012-03-21 09:01 | 24C | 0.92871 | 2.7425e-06 | 0 | 0.92871 | 32.2122 | 0.00010553 |  | #VALUE! | 40m
2011-58#4 | 4 | ctd 02 | 2 | 2012-03-21 09:05 | 24C | 0.97614 | 3.2002e-06 | 0 | 0.97614 | 34.063 | 0.00012431 |  | #VALUE! | 500m
2011-58#5 | 6 | ctd 03 | 3 | 2012-03-21 09:07 | 24C | 0.97675 | 6.7483e-06 | 0 | 0.97675 | 34.0868 | 0.00026494 |  | #VALUE! | 485m
2011-58#6 | 7 | ctd 04 | 4 | 2012-03-21 09:10 | 24C | 0.97246 | 3.4354e-06 | 0 | 0.97246 | 33.9186 | 0.00013664 |  | #VALUE! | 170m
2011-58#7 | 8 | ctd 05 | 5 | 2012-03-21 09:13 | 24C | 0.94483 | 2.7425e-06 | 0 | 0.94483 | 32.8394 | 0.00010657 |  | #VALUE! | 50m
2011-58#8 | 10 | ctd 06 | 6 | 2012-03-21 09:15 | 24C | 0.952 | 2.4912e-06 | 0 | 0.952 | 33.1188 | 9.6831e-05 |  | #VALUE! | 70m
2011-58#9 | 11 | ctd 07 | 7 | 2012-03-21 09:18 | 24C | 0.97665 | 4.4783e-06 | 0 | 0.97665 | 34.0828 | 0.00017562 |  | #VALUE! | 500m
2011-58#10 | 13 | ctd 08 | 8 | 2012-03-21 09:20 | 24C | 0.93729 | 2.7757e-06 | 0 | 0.93729 | 32.5458 | 0.00010683 |  | #VALUE! | 50m
2011-58#11 | 15 | ctd 09 | 9 | 2012-03-21 09:22 | 24C | 0.94824 | 3.999e-06 | 0 | 0.94824 | 32.972 | 0.00015573 |  | #VALUE! | 67m
2011-58#12 | 17 | ctd 10 | 10 | 2012-03-21 09:25 | 24C | 0.94849 | 4.2166e-06 | 0 | 0.94849 | 32.9819 | 0.00016574 |  | #VALUE! | 150m
2011-58#13 | 19 | ctd 11 | 11 | 2012-03-21 09:27 | 24C | 0.97334 | 1.4046e-06 | 0 | 0.97334 | 33.9532 | 5.3295e-05 |  | #VALUE! | 240m
2011-58#14 | 20 | ctd 12 | 12 | 2012-03-21 09:30 | 24C | 0.93244 | 2.7262e-06 | 0 | 0.93244 | 32.357 | 0.00010656 |  | #VALUE! | 40m
| 22 | ctd 13 | 13 | [8 empty] | 5 | -99 | SAL: Sample was analyzed. Missing?
2011-58#15 | 23 | ctd 14 | 14 | 2012-03-21 10:28 | 24C | 0.97704 | 2.8797e-06 | 0 | 0.97704 | 34.098 | 0.00011223 |  | #VALUE! | 500m
2011-58#16 | 25 | ctd 15 | 15 | 2012-03-21 10:31 | 24C | 0.93674 | 3.4657e-06 | 0 | 0.93674 | 32.5243 | 0.00013478 |  | #VALUE! | 41m
2011-58#17 | 27 | ctd 16 | 16 | 2012-03-21 10:33 | 24C | 0.97184 | 4.3188e-06 | 0 | 0.97184 | 33.8944 | 0.00016909 |  | #VALUE! | 150m
2011-58#18 | 29 | ctd 17 | 17 | 2012-03-21 10:35 | 24C | 0.97069 | 2.4911e-06 | 0 | 0.97069 | 33.8493 | 9.6791e-05 |  | #VALUE! | 90m
2011-58#19 | 30 | ctd 18 | 18 | 2012-03-21 10:38 | 24C | 0.92894 | 2.6659e-06 | 0 | 0.92894 | 32.2209 | 0.00010457 |  | #VALUE! | 30m
2011-58#20 | 32 | ctd 19 | 19 | 2012-03-21 10:40 | 24C | 0.97255 | 2.2391e-06 | 0 | 0.97255 | 33.9223 | 8.6186e-05 |  | #VALUE! | 140m
2011-58#21 | 34 | ctd 20 | 20 | 2012-03-21 10:43 | 24C | 0.97528 | 3.8543e-06 | 0 | 0.97528 | 34.029 | 0.00015018 |  | #VALUE! | 335m
2011-58#22 | 36 | ctd 21 | 21 | 2012-03-21 10:46 | 24C | 0.94318 | 1.3551e-06 | 0 | 0.94318 | 32.7751 | 5.3286e-05 |  | #VALUE! | 70m
2011-58#23 | 38 | ctd 22 | 22 | 2012-03-21 10:48 | 24C | 0.97553 | 2.0803e-06 | 0 | 0.97553 | 34.0388 | 8.2071e-05 |  | #VALUE! | 350m
2011-58#24 | 40 | ctd 23 | 23 | 2012-03-21 10:51 | 24C | 0.95431 | 3.5406e-06 | 0 | 0.95431 | 33.2091 | 0.00013826 |  | #VALUE! | 150m
2011-58#25 | 42 | ctd 24 | 24 | 2012-03-21 10:53 | 24C | 0.95123 | 3.6105e-06 | 0 | 0.95123 | 33.0887 | 0.0001403 |  | #VALUE! | 130m
2011-58#26 | 43 | ctd 25 | 25 | 2012-03-21 10:56 | 24C | 0.93591 | 2.4908e-06 | 0 | 0.93591 | 32.4921 | 9.7862e-05 |  | #VALUE! | 60m
2011-58#27 | 45 | ctd 26 | 26 | 2012-03-21 10:58 | 24C | 0.95041 | 3.1414e-06 | 0 | 0.95041 | 33.0569 | 0.00012207 |  | #VALUE! | 75m
2011-58#28 | 47 | ctd 27 | 27 | 2012-03-21 11:00 | 24C | 0.94504 | 4.1893e-06 | 0 | 0.94504 | 32.8473 | 0.00016414 |  | #VALUE! | 80m
2011-58#29 | 49 | ctd 28 | 28 | 2012-03-21 11:02 | 24C | 0.96888 | 2.7425e-06 | 0 | 0.96888 | 33.7783 | 0.00010659 |  | #VALUE! | 90m
2011-58#30 | 50 | ctd 29 | 29 | 2012-03-21 11:04 | 24C | 0.97032 | 4.2458e-06 | 0 | 0.97032 | 33.8348 | 0.00016648 |  | #VALUE! | 120m
2011-58#31 | 52 | ctd 30 | 30 | 2012-03-21 11:07 | 24C | 0.96762 | 3.1421e-06 | 0 | 0.96762 | 33.7293 | 0.00012381 |  | #VALUE! | 115m
2011-58#32 | 53 | ctd 31 | 31 | 2012-03-21 11:09 | 24C | 0.95446 | 2.475e-06 | 0 | 0.95446 | 33.2148 | 9.4742e-05 |  | #VALUE! | 120m
2011-58#33 | 55 | ctd 32 | 32 | 2012-03-21 11:11 | 24C | 0.95437 | 3.4661e-06 | 0 | 0.95437 | 33.2114 | 0.0001356 |  | #VALUE! | 150m
2011-58#34 | 56 | ctd 33 | 33 | 2012-03-21 11:14 | 24C | 0.94947 | 3.4657e-06 | 0 | 0.94947 | 33.0203 | 0.00013493 |  | #VALUE! | 96m

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2011-58#1 | P 24 DWR | 2012-03-21 08:57 | 24C | 0.98924 | 4.3836e-06 | 0 | 0.98924 | 34.577 | 0.00017042
2011-58#2 | P 24 DWR | 2012-03-21 08:58 | 24C | 0.98926 | 3.2034e-06 | 0 | 0.98926 | 34.5775 | 0.00012605
2011-58#3 | ctd 01-40m | 2012-03-21 09:01 | 24C | 0.92871 | 2.7425e-06 | 0 | 0.92871 | 32.2122 | 0.00010553
2011-58#4 | ctd 02-500m | 2012-03-21 09:05 | 24C | 0.97614 | 3.2002e-06 | 0 | 0.97614 | 34.063 | 0.00012431
2011-58#5 | ctd 03-485m | 2012-03-21 09:07 | 24C | 0.97675 | 6.7483e-06 | 0 | 0.97675 | 34.0868 | 0.00026494
2011-58#6 | ctd 04-170m | 2012-03-21 09:10 | 24C | 0.97246 | 3.4354e-06 | 0 | 0.97246 | 33.9186 | 0.00013664
2011-58#7 | ctd 05-50m | 2012-03-21 09:13 | 24C | 0.94483 | 2.7425e-06 | 0 | 0.94483 | 32.8394 | 0.00010657
2011-58#8 | ctd 06-70m | 2012-03-21 09:15 | 24C | 0.952 | 2.4912e-06 | 0 | 0.952 | 33.1188 | 9.6831e-05
2011-58#9 | ctd 07-500m | 2012-03-21 09:18 | 24C | 0.97665 | 4.4783e-06 | 0 | 0.97665 | 34.0828 | 0.00017562
2011-58#10 | ctd 08-50m | 2012-03-21 09:20 | 24C | 0.93729 | 2.7757e-06 | 0 | 0.93729 | 32.5458 | 0.00010683
2011-58#11 | ctd 09-67m | 2012-03-21 09:22 | 24C | 0.94824 | 3.999e-06 | 0 | 0.94824 | 32.972 | 0.00015573
2011-58#12 | ctd 10-150m | 2012-03-21 09:25 | 24C | 0.94849 | 4.2166e-06 | 0 | 0.94849 | 32.9819 | 0.00016574
2011-58#13 | ctd 11-240m | 2012-03-21 09:27 | 24C | 0.97334 | 1.4046e-06 | 0 | 0.97334 | 33.9532 | 5.3295e-05
2011-58#14 | ctd 12-40m | 2012-03-21 09:30 | 24C | 0.93244 | 2.7262e-06 | 0 | 0.93244 | 32.357 | 0.00010656
2011-58#15 | ctd 14-500m | 2012-03-21 10:28 | 24C | 0.97704 | 2.8797e-06 | 0 | 0.97704 | 34.098 | 0.00011223
2011-58#16 | ctd 15-41m | 2012-03-21 10:31 | 24C | 0.93674 | 3.4657e-06 | 0 | 0.93674 | 32.5243 | 0.00013478
2011-58#17 | ctd 16-150m | 2012-03-21 10:33 | 24C | 0.97184 | 4.3188e-06 | 0 | 0.97184 | 33.8944 | 0.00016909
2011-58#18 | ctd 17-90m | 2012-03-21 10:35 | 24C | 0.97069 | 2.4911e-06 | 0 | 0.97069 | 33.8493 | 9.6791e-05
2011-58#19 | ctd 18-30m | 2012-03-21 10:38 | 24C | 0.92894 | 2.6659e-06 | 0 | 0.92894 | 32.2209 | 0.00010457
2011-58#20 | ctd 19-140m | 2012-03-21 10:40 | 24C | 0.97255 | 2.2391e-06 | 0 | 0.97255 | 33.9223 | 8.6186e-05
2011-58#21 | ctd 20-335 | 2012-03-21 10:43 | 24C | 0.97528 | 3.8543e-06 | 0 | 0.97528 | 34.029 | 0.00015018
2011-58#22 | ctd 21-70m | 2012-03-21 10:46 | 24C | 0.94318 | 1.3551e-06 | 0 | 0.94318 | 32.7751 | 5.3286e-05
2011-58#23 | ctd 22-350m | 2012-03-21 10:48 | 24C | 0.97553 | 2.0803e-06 | 0 | 0.97553 | 34.0388 | 8.2071e-05
2011-58#24 | ctd 23-150m | 2012-03-21 10:51 | 24C | 0.95431 | 3.5406e-06 | 0 | 0.95431 | 33.2091 | 0.00013826
2011-58#25 | ctd 24-130m | 2012-03-21 10:53 | 24C | 0.95123 | 3.6105e-06 | 0 | 0.95123 | 33.0887 | 0.0001403
2011-58#26 | ctd 25-60m | 2012-03-21 10:56 | 24C | 0.93591 | 2.4908e-06 | 0 | 0.93591 | 32.4921 | 9.7862e-05
2011-58#27 | ctd 26-75m | 2012-03-21 10:58 | 24C | 0.95041 | 3.1414e-06 | 0 | 0.95041 | 33.0569 | 0.00012207
2011-58#28 | ctd 27-80m | 2012-03-21 11:00 | 24C | 0.94504 | 4.1893e-06 | 0 | 0.94504 | 32.8473 | 0.00016414
2011-58#29 | ctd 28-90m | 2012-03-21 11:02 | 24C | 0.96888 | 2.7425e-06 | 0 | 0.96888 | 33.7783 | 0.00010659
2011-58#30 | ctd 29-120m | 2012-03-21 11:04 | 24C | 0.97032 | 4.2458e-06 | 0 | 0.97032 | 33.8348 | 0.00016648
2011-58#31 | ctd 30-115m | 2012-03-21 11:07 | 24C | 0.96762 | 3.1421e-06 | 0 | 0.96762 | 33.7293 | 0.00012381
2011-58#32 | ctd 31-120m | 2012-03-21 11:09 | 24C | 0.95446 | 2.475e-06 | 0 | 0.95446 | 33.2148 | 9.4742e-05
2011-58#33 | ctd 32-150m | 2012-03-21 11:11 | 24C | 0.95437 | 3.4661e-06 | 0 | 0.95437 | 33.2114 | 0.0001356
2011-58#34 | ctd 33-96m | 2012-03-21 11:14 | 24C | 0.94947 | 3.4657e-06 | 0 | 0.94947 | 33.0203 | 0.00013493