## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 10May2012 | Missing Salinity sample was found and analyzed (28.7463) but the result is considered unreliable because of the long storage time; the value is higher than the corresponding CTD data by 0.01. |

## PROCESSING NOTES

Cruise: 2011-59

Agency: IOS, Ocean Sciences Division, Sidney, B.C.

Project: Discovery Islands Circulation

Chief Scientist: Tuele D.

Platform: Blackie

Date: 27 July 2011 – 28 July 2011

Processed by: Germaine Gatien

Date of Processing: 10 January 2012 – 10 January 2012

Number of original CTD casts:  8

Number of casts processed: 8

# INSTRUMENT SUMMARY

A Sea Bird Model SBE 19 SEACAT CTD (S/N#1294) was mounted with a Sea-Point fluorometer (serial number 2356).

# SUMMARY OF QUALITY AND CONCERNS

The file names were non-standard and needed to be corrected.

The log books were in good order with full equipment lists and clear comments about work done. The only problem was that times were missing for the first two casts. The times from notes in the file header were used for those casts. The times in the headers were 5-8 minutes later than those in the log; they were not changed since it is not a large difference and it is unknown which clock is more reliable.

The soak period was long enough for temperature and conductivity to equilibrate.

The fluorescence data went off-scale during one cast; off-scale values have been replaced with pad values.

A single salinity sample was taken, but no analysis results are available and it is likely the sample was lost.

Upcasts were used for the CTD files because there were many stops during the downcasts which corrupted much of the data.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.hex.

2. Preliminary Steps

The CTD Daily Log was obtained.

The CTD data is to be used with UV data, so either the upcast or downcast should be chosen to capture the shallowest data. There were many stops during the downcasts, so the upcast is likely to be better for archiving.

The file names were non-standard.

The configuration file, 1294 w-flu June 2011.xmlcon, was checked and the only correction made was to add a serial number to the fluorometer entry.

The Cruise summary sheet was completed.

The times in the log book are in local time, PDT.

- Conversion of Raw Data

- The raw data were converted using conversion file 1294 w-flu June 2011.con.

- The file names were non-standard, so were fixed after conversion based on log book records.

The CTD was soaked at the surface for at least 1 minute (and generally much longer) and the conductivity reached equilibrium.

- The descent rate of the CTD was mostly low and steady but there were many stops during some of the downcasts.

- Temperature and conductivity look ok. The fluorescence is very noisy in most casts and went off-scale during cast #4 with a value of 13.656ug/L; later off-scale values will need to be replaced with pad values. There is no significant vertical offset between fluorescence and temperature, as expected since it was not pumped.

- FILTER

The conductivity was low-pass filtered with a time constant of 0.5 seconds to force it to have the same response as the temperature.

The pressure was filtered with a time constant of 2 seconds to increase the pressure resolution.

The results look good with pressure reversals removed.

The conductivity was not aligned at this point – that step will be done later using SHIFT.

6. DERIVE

Program DERIVE was run to calculate salinity.

7.  Conversion to IOS Headers

The IOSSHELL routine for Sea Bird ASCII files was used to convert the Sea-Bird data to IOS Headers.

The time is in Pacific Daylight Time, so 7 hours will need to be added later.

The station names, bottom depths and positions are missing from the headers. Header Edit was used to add lines to which those entries could be added. A text editor was used to add the information as taken from the log book.

8. Checking Headers

Track plots and header checks turned up no header errors.

A cross reference list was produced and details were checked against the log records.

The times in the headers were 5-8 minutes later than those in the log; they were not changed since it is not a large difference and it is unknown which clock is more reliable.

The surface check was run. The average surface pressure is -0.025db, but all the negative pressures correspond to very low conductivity. The pressure values from the first few scans are probably not reliable and pressure from this sensor is considered accurate to 1db only. So no adjustment will be made to pressure.

9. Test Plots and Fix Time

Profiles were plotted for all casts and up and down traces compared. For the casts with many stops the data looks very odd during downcasts, with salinity and temperature varying notably, especially during cast #1. Whether these were due to real variations or instrumental problems is unclear, but in any case the upcast data are more suitable for archiving.

ADD TIME CHANNEL was used to add 7 hours to the start times so they are in UTC.

10. SHIFT

Tests were run to determine the best parameter for alignment of the conductivity channel. In the past -1.5 has worked well for this sensor. For this cruise there was not a lot of difference, but -1.5 and -2 both smoothed salinity somewhat.

SHIFT was run using -1.5 records for all casts.

ALL casts were put through REVERSE

11. DELETE

Plots were made of pressure versus scan number to see what casts have an initial drop before the main cast. Where that happens, the records from the initial drop will have to be removed before running DELETE to enable the selection of the best data. For these casts the CTD was generally soaked at 1 to 2m and sometimes raised slightly before the full cast. Editing was applied to casts 1, 4, 6, 7 and 8 to remove some initial records.

The following DELETE parameters were used for both runs:

Surface Record Removal: Last Press Min    Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0	     Pressure not filtered

Swells deleted. Warning message if pressure difference of 2.00

***Minimum Drop Rate 0.3m/s over 5 records between 10db and 10db above maximum pressure

There were no warnings in the DELETE log.

The same parameters were chosen for a second run of DELETE on the REVERSE files, with output REVDEL, and again there were no warnings.

*** It was later realized that the minimum drop rate feature should have been relaxed somewhat for these casts due to the slow steady descent rate. However, since casts #1-5 were less than 20db deep no data were removed from those due to the drop rate, and the rate for casts 6-8 was >0.3m/s for the upcast sections. The same applies to most of the downcast data, though a little may have been removed unnecessarily. The upcasts were selected for archiving, so this is not worth rerunning.***

The minimum pressures were compared in the two sets of files and for most casts the results were very close, but overall the REVDEL files have the shallowest readings, with casts #1 and #3 being the only exceptions and the difference being only 0.2 and 0.1db for those.

12. CTDEDIT

The REVDEL files were opened in CTDEDIT was used to clean salinity lightly, remove bad surface records for all casts and bottom records corrupted by shed wakes for some.

Notes about editing were made in the headers.

The output files were copied to REVEDT.

Next the DEL files were opened in CTDEDIT but they were too difficult to edit.

13. BIN AVERAGE

CLEAN was run to replace off-scale fluorescence values (>0.13.656ug/L) with pad values.

The following Bin Average values were used:

Bin channel = pressure

Averaging interval = 1.000            Minimum bin value = .000

Average value will be used.	   Interpolated values are NOT used for empty bins

Page plots were examined. There were some small instabilities, but nothing that justified further editing.

14. Calibration information

COMPARE – There was only 1 calibration sample and it is missing and presumed lost.

Previous Use of CTD – This CTD was used in April 2010 and February 2011. During the earlier cruise there were only 3 salinity samples were available, from about 80m. The CTD was found to be higher than the samples by an average of either 0.0001 or 0.002 depending on whether the Niskin was 1.5m or 1m above the CTD. The later cruise included many samples from about 10m. There was a lot of scatter in the results; when large outliers were excluded the CTD salinity was found to be low by 0.008 with a standard deviation of 0.02. Due to the scatter and the method used for comparison, this result was not considered reliable enough to justify recalibration.

Historic ranges – No local climatology was available for this area.

15. CALIBRATION

There is no indication that the salinity or pressure data need recalibration. None was applied.

16. REMOVE and HEADEDIT

REMOVE was run to remove the following channels from all casts: Scan_Number, Conductivity, Descent_Rate and Flag.

The standards check routine was run and no problems were found.

17. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

c.) The sensor histories were updated.

Particulars including relevant notes from log book

6. Salinity calibration sample taken at 100m. Sample missing.

## Institute of Ocean Sciences

## CRUISE SUMMARY

Cruise ID#: 2011-59

Dates: Start: 27 July 2011 End: 29 July 2011

Location: Discovery Islands

Vessel: Blackie

Party Chief: Tuele D.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | SBE19 SEACAT | 1294 | No | Yes |

CTD Calibration Information

Make/Model/Serial#: SEABIRD/19 SEACAT / 1294       Cruise ID#:	2011-59

| Calibration Information SBE 19 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 1294 | 1 Apr 2008 | Factory |  |  |
| Conductivity | 1294 | 1 Apr. 2008 | Factory |  |  |
| SeaPoint Fluorometer | 2356 | n/a | n/a |  |  |
| Pressure Sensor | 163223 | 2 Apr. 2008 | Factory |  |  |