## Notes
Analysis: | Steve Romaine, SoG sediments onboard CCGS Vector, 05-AUG-11 to 08-AUG-11 using IOS Kit #4. Data processing by Kenny Scozzafava
2011-09-27 |  | KS
Duplicate Temperatures were not recorded therefore I used the same T as the first duplicate
2011-10-28 |  | KS
Nina mentioned that in general, there are consistent problems with bubbles in the oxygen samples associated with Sophie's cruises when they return to the lab for analysis.
Although it was not noted for this particualr cruise, this may help explain any oddities in the data.
2011-11-03 |  | KS
#21 - Duplicate's titration was incomplete but somehow came up with a final value that is relatively reasonable but not trusted
since there is no clear endpoint. I reported only the first value and not the average of the duplicates.
Discovered quite a positive skew in the mean of the differences between replicates. Chauvenet's criteria assumes a normal distribution (difficult with such a small sample size) which this set of replicates does not have.
This resulted in odd outlier choices.
Upon closer review, it was observed that the majority of the duplicates are quite far apart (mean difference is ~0.02), trending towards the second DO value being higher than the first (Aside from #43)
As a result, all replicates were flagged as suspicious but still reported as averages.
Precision is not very good at a pooled standard deviation of 0.020
2011-01-16 |  | KS
Data reported to the second decimal place as opposed to the third. A precision of 0.02 dictates that we can not trust the third decimal place in this dataset.
Comparison to the ctd confirmed relatively poor replication in duplicate samples.
Cast #13- the CTD is closer to the 1st duplicate for samples #45 and #51. It is closer to the 2nd dup for sample #67 but CTD data not tusted at the surface.
Cast #15 - the CTD sample is closest to the 1st duplicate for sample #21. For sample #27 the CTD data is closer to the 2nd value, but the CTD data is noisier than usual, so may not be trustworthy.
For sample #43 the CTD is closer to the 2nd sample, but not very close, and again this is a surface sample so the CTD is not trusted.
Excerpt from an email written by Nina on January 16, 2011 between Germaine, Nina and Kenny to help explain the positive skew and the resultant rejection of the duplicate values:
Positively skewed duplicates indicate that this dataset may not have been sampled correctly. As air enters the top of the Niskin, it creates convective flow and introduces atmospheric oxygen
that can quickly contaminate samples with low DO (below saturation). Sampler(s) likely had too high of a flowrate and probably let a lot of water run through between replicates thus introducing more
air than necessary into the top of the Niskin. If sampling is done correctly, there should be no evidence of this kind of positive skew which is exactly why we take replicates, it is more important
as a test of sampling proficiency rather than analysis. As a side note, water samples that are supersaturated would show the opposite trend,
with the second sample showing lower DO if flow rate is too vigorous and oxygen is allowed to escape, The saturation DO for the last sample #43 was >110%, so the fact that the replicate is lower
than the first sample is still indicative of this type of poor sampling only in the opposite direction because of the original saturation state of the sample.
So if a sampler is properly trained, and the difference between replicates is small and random, then using the average DO value is perfectly acceptable, but in this case I would say the first
value would be the better choice. Of course, these poor replicates indicate poor sampling in general and make us doubt the entire dataset
2012-01-25 |  | KS
The absolute diffeence between replicates was calculated when it should not have been. Corrected.

## QF 2011-60 OXY FINAL
HEADER: | Oxygen samples were analyzed at IOS within a week of collection using an automated Winkler titration system
(Brinkmann Dosimat model 765 and a PC 950 Colorimeter controlled by AutoOxy software V3.4) with modifications
based on Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a duplicate analysis, see document QF2011-60oxy.xls.
Cruise_Number | Event_Number | Station | Sample_number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2011-60 | 13 | SOGN | 45 | 2.956 |  | 8.7 | OXY: Only 1st duplicate value reported. Positive skew in duplicate samples likely caused by poor sampling. See notes
2011-60 | 13 | SOGN | 47 | 3.499 |  | 8.7
2011-60 | 13 | SOGN | 49 | 3.642 |  | 8.7
2011-60 | 13 | SOGN | 51 | 3.759 |  | 8.6 | OXY: Only 1st duplicate value reported. Positive skew in duplicate samples likely caused by poor sampling. See notes
2011-60 | 13 | SOGN | 53 | 4.049 |  | 8.5
2011-60 | 13 | SOGN | 55 | 4.059 |  | 8.9
2011-60 | 13 | SOGN | 57 | 4.032 |  | 9.2
2011-60 | 13 | SOGN | 59 | 4.081 |  | 9.7
2011-60 | 13 | SOGN | 61 | 4.437 |  | 10.9
2011-60 | 13 | SOGN | 63 | 5.467 |  | 14
2011-60 | 13 | SOGN | 65 | 6.341 |  | 16.8
2011-60 | 13 | SOGN | 67 | 6.338 |  | 19.9 | OXY: Only 1st duplicate value reported. Positive skew in duplicate samples likely caused by poor sampling. See notes
2011-60 | 15 | SOGS | 21 | 3.1594 |  | 9 | OXY: Duplicate value not trusted. Incomplete titration. First replicate reported, not the average
2011-60 | 15 | SOGS | 23 | 3.316 |  | 9
2011-60 | 15 | SOGS | 25 | 3.42 |  | 9
2011-60 | 15 | SOGS | 27 | 3.617 |  | 9.2 | OXY: Only 1st duplicate value reported. Positive skew in duplicate samples likely caused by poor sampling. See notes
2011-60 | 15 | SOGS | 29 | 3.567 |  | 9.5
2011-60 | 15 | SOGS | 31 | 3.562 |  | 9.9
2011-60 | 15 | SOGS | 33 | 3.838 |  | 10.1
2011-60 | 15 | SOGS | 35 | 4.183 |  | 10.7
2011-60 | 15 | SOGS | 37 | 4.473 |  | 12.1
2011-60 | 15 | SOGS | 39 | 5.028 |  | 13.7
2011-60 | 15 | SOGS | 41 | -99 | 5 | 18.9 | OXY: Titration Incomplete. Datum Unreasonable. Extreme outlier in COMPARE
2011-60 | 15 | SOGS | 43 | 6.7637 |  | 18.6 | OXY: Only 1st duplicate value reported. Positive skew in duplicate samples likely caused by poor sampling. See notes

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Sp for Dissolved Oxygen for the range 2.956 to 6.764 mL/L was 0.020, k = 6 with 0 outlier removed
Precision Calculation for Duplicate Samples:
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Determination of Outliers
Outliers are normally discarded on the basis of Chauvenet's criteria, assuming that the data is normally distributed.
In this case, the statistic was not used since the data is positively skewed and the sample size is quite small.
Duplicate Analysis for Samples Drawn From a Single Niskin bottle:
Event # | Sample# | Pressure | DO1 | DO2 | DOAvg | Draw T1 | Draw T2 | Draw TAvg | Difference | Diff2 | Reject? | Comment
13 | 45 | 329 | 2.956 | 2.98 | 2.968 | 8.7 | 8.7 | 8.7 | 0.024 | 0.000576 |  | Poor reps
13 | 51 | 150 | 3.759 | 3.773 | 3.766 | 8.6 | 8.6 | 8.6 | 0.014 | 0.000196 |  | Poor reps
13 | 67 | 0 | 6.338 | 6.383 | 6.3605 | 19.9 | 19.9 | 19.9 | 0.045 | 0.002025 |  | Poor reps
15 | 21 | 310 | 3.159 | 3.177 | 3.168 | 9 | 9 | 9 | 0.018 | 0.000324 |  | Poor reps
15 | 27 | 150 | 3.617 | 3.648 | 3.6325 | 9.2 | 9.2 | 9.2 | 0.031 | 0.000961 |  | Poor reps
15 | 43 | 0 | 6.7637 | 6.735 | 6.7494 | 18.6 | 18.6 | 18.6 | -0.02874 | 0.00082599 |  | Poor reps
[8 empty] | Mean Diff | 0.01721
[8 empty] | Stdev | 0.025024
[8 empty] | Count |  | 6
[8 empty] | Sum |  | 0.004908
[8 empty] | Sp |  | 0.020224
[8 empty] | MIN/MAX | 2.956 | 6.7637

## Flags
Institute of Ocean Sciences -Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Raw Auto Oxy Data
|  |  | Count | 30 | Min/Max | 1.17 | 6.775
File Name | LOC:EVENT_NUMBER | STN:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | Draw Temp | Oxygen:Dissolved | Flag | Comment
2011-600013.oxy | 13 | SOGN | 45 | 329 | 2.956 | 0.527 | 2068 | 141.98 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.7 | 2.9557
2011-600013.oxy | 13 | SOGN | 45 | 329 | 2.98 | 0.512 | 1144 | 136.84 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.7 | 2.9798
2011-600013.oxy | 13 | SOGN | 47 | 250 | 3.499 | 0.598 | 631 | 136.38 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.7 | 3.4993
2011-600013.oxy | 13 | SOGN | 49 | 200 | 3.642 | 0.615 | 468 | 134.84 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.7 | 3.6417
2011-600013.oxy | 13 | SOGN | 51 | 150 | 3.759 | 0.613 | 1475 | 130.27 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.6 | 3.7591
2011-600013.oxy | 13 | SOGN | 51 | 150 | 3.773 | 0.687 | 1248 | 145.41 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.6 | 3.7729
2011-600013.oxy | 13 | SOGN | 53 | 100 | 4.049 | 0.683 | 1397 | 134.85 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.5 | 4.0488
2011-600013.oxy | 13 | SOGN | 55 | 75 | 4.059 | 0.72 | 3028 | 141.77 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 8.9 | 4.059
2011-600013.oxy | 13 | SOGN | 57 | 50 | 4.032 | 0.682 | 1373 | 135.2 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.2 | 4.0322
2011-600013.oxy | 13 | SOGN | 59 | 25 | 4.081 | 0.731 | 3151 | 143.15 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.7 | 4.0814
2011-600013.oxy | 13 | SOGN | 61 | 15 | 4.437 | 0.741 | 1318 | 133.63 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 10.9 | 4.437
2011-600013.oxy | 13 | SOGN | 63 | 10 | 5.467 | 0.887 | 745 | 130.09 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 14 | 5.4668
2011-600013.oxy | 13 | SOGN | 65 | 5 | 6.341 | 1.154 | 2020 | 145.95 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 16.8 | 6.3406
2011-600013.oxy | 13 | SOGN | 67 | 0 | 6.338 | 1.084 | 1300 | 137.22 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 19.9 | 6.338
2011-600013.oxy | 13 | SOGN | 67 | 0 | 6.383 | 1.078 | 1395 | 135.52 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 19.9 | 6.3829
2011-600015.oxy | 15 | SOGS | 21 | 310 | 3.159 | 0.54 | 1321 | 136.23 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9 | 3.1594
2011-600015.oxy | 15 | SOGS | 21 | 310 | 3.177 | 0.55 | 1406 | 137.98 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9 | 3.1772 | 4 | Titration ends at 81%. Value not trusted. See titration plot worksheet
2011-600015.oxy | 15 | SOGS | 23 | 250 | 3.316 | 0.593 | 1407 | 142.61 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9 | 3.316
2011-600015.oxy | 15 | SOGS | 25 | 200 | 3.42 | 0.568 | 1476 | 132.51 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9 | 3.4201
2011-600015.oxy | 15 | SOGS | 27 | 150 | 3.617 | 0.616 | 1123 | 135.99 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.2 | 3.6164
2011-600015.oxy | 15 | SOGS | 27 | 150 | 3.648 | 0.614 | 1330 | 134.4 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.2 | 3.6478
2011-600015.oxy | 15 | SOGS | 29 | 100 | 3.567 | 0.626 | 1411 | 140.09 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.5 | 3.5667
2011-600015.oxy | 15 | SOGS | 31 | 75 | 3.562 | 0.59 | 650 | 132.24 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 9.9 | 3.5617
2011-600015.oxy | 15 | SOGS | 33 | 50 | 3.838 | 0.695 | 3124 | 144.64 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 10.1 | 3.8379
2011-600015.oxy | 15 | SOGS | 35 | 25 | 4.183 | 0.706 | 3191 | 134.95 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 10.7 | 4.1835
2011-600015.oxy | 15 | SOGS | 37 | 15 | 4.473 | 0.815 | 3166 | 145.75 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 12.1 | 4.4726 |  | Bot 17 gurgles alot when venting creating gas in the line
2011-600015.oxy | 15 | SOGS | 39 | 10 | 5.028 | 0.91 | 3160 | 144.9 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 13.7 | 5.0283
2011-600015.oxy | 15 | SOGS | 41 | 5 | 1.17 | 0.202 | 471 | 134.51 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 18.9 | 1.1703 | 5 | Titration Incomplete. Datum Unreasonable
2011-600015.oxy | 15 | SOGS | 43 | 0 | 6.775 | 1.216 | 2064 | 144.24 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 18.6 | 6.7637 |  | Endpoint late. Recalculated with a new endpoint of 1.260 mL
2011-600015.oxy | 15 | SOGS | 43 | 0 | 6.735 | 1.112 | 3040 | 132.56 | 0.005 | 0.7027 | 10.0127 | 0.0099064 | 18.6 | 6.7349

## Titration Plots
Sample 21 dup
3 | 0.002 | 13 | 0.002
6 | 0.2 | 32.6 | 0.202
9 | 0.1 | 37.1 | 0.302
12 | 0.1 | 52.6 | 0.402
14 | 0.02 | 50.2 | 0.422
16 | 0.02 | 56.4 | 0.442
18 | 0.02 | 57.4 | 0.462
20 | 0.02 | 61.8 | 0.482
22 | 0.02 | 68 | 0.502
24 | 0.02 | 69.6 | 0.522
26 | 0.02 | 74.7 | 0.542
28 | 0.008 | 78.6 | 0.55
30 | 0.008 | 79 | 0.558
32 | 0.008 | 78.6 | 0.566
34 | 0.008 | 79.2 | 0.574
36 | 0.008 | 78.8 | 0.582
38 | 0.008 | 81.1 | 0.59
40 | 0.004 | 78.7 | 0.594
42 | 0.008 | 81.5 | 0.602
44 | 0.004 | 81.2 | 0.606
Sample 41
3 | 0.002 | 3 | 0.002
6 | 0.2 | 7.1 | 0.202
9 | 0.2 | 18.9 | 0.402
12 | 0.1 | 19.8 | 0.502
15 | 0.1 | 33.3 | 0.602
18 | 0.1 | 41.5 | 0.702
21 | 0.05 | 49.8 | 0.752
24 | 0.02 | 41.2 | 0.772
27 | 0.05 | 52.2 | 0.822
29 | 0.02 | 44.3 | 0.842