## File List
Number of Files= |  | 26
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-63-0001.mrgcln2 | 2011-63-0001.sam | 11 | 14 | 2011-63-0001.mrgcln2 & 2011-63-0001.sam
2 | 2011-63-0003.mrgcln2 | 2011-63-0003.sam | 16 | 21 | 2011-63-0003.mrgcln2 & 2011-63-0003.sam
3 | 2011-63-0004.mrgcln2 | 2011-63-0004.sam | 23 | 24 | 2011-63-0004.mrgcln2 & 2011-63-0004.sam
4 | 2011-63-0006.mrgcln2 | 2011-63-0006.sam | 26 | 34 | 2011-63-0006.mrgcln2 & 2011-63-0006.sam
5 | 2011-63-0007.mrgcln2 | 2011-63-0007.sam | 36 | 42 | 2011-63-0007.mrgcln2 & 2011-63-0007.sam
6 | 2011-63-0008.mrgcln2 | 2011-63-0008.sam | 44 | 47 | 2011-63-0008.mrgcln2 & 2011-63-0008.sam
7 | 2011-63-0009.mrgcln2 | 2011-63-0009.sam | 49 | 53 | 2011-63-0009.mrgcln2 & 2011-63-0009.sam
8 | 2011-63-0010.mrgcln2 | 2011-63-0010.sam | 55 | 59 | 2011-63-0010.mrgcln2 & 2011-63-0010.sam
9 | 2011-63-0011.mrgcln2 | 2011-63-0011.sam | 61 | 66 | 2011-63-0011.mrgcln2 & 2011-63-0011.sam
10 | 2011-63-0012.mrgcln2 | 2011-63-0012.sam | 68 | 76 | 2011-63-0012.mrgcln2 & 2011-63-0012.sam
11 | 2011-63-0013.mrgcln2 | 2011-63-0013.sam | 78 | 84 | 2011-63-0013.mrgcln2 & 2011-63-0013.sam
12 | 2011-63-0014.mrgcln2 | 2011-63-0014.sam | 86 | 89 | 2011-63-0014.mrgcln2 & 2011-63-0014.sam
13 | 2011-63-0015.mrgcln2 | 2011-63-0015.sam | 91 | 96 | 2011-63-0015.mrgcln2 & 2011-63-0015.sam
14 | 2011-63-0016.mrgcln2 | 2011-63-0016.sam | 98 | 105 | 2011-63-0016.mrgcln2 & 2011-63-0016.sam
15 | 2011-63-0017.mrgcln2 | 2011-63-0017.sam | 107 | 112 | 2011-63-0017.mrgcln2 & 2011-63-0017.sam
16 | 2011-63-0018.mrgcln2 | 2011-63-0018.sam | 114 | 124 | 2011-63-0018.mrgcln2 & 2011-63-0018.sam
17 | 2011-63-0019.mrgcln2 | 2011-63-0019.sam | 126 | 127 | 2011-63-0019.mrgcln2 & 2011-63-0019.sam
18 | 2011-63-0021.mrgcln2 | 2011-63-0021.sam | 129 | 129 | 2011-63-0021.mrgcln2 & 2011-63-0021.sam
19 | 2011-63-0023.mrgcln2 | 2011-63-0023.sam | 131 | 139 | 2011-63-0023.mrgcln2 & 2011-63-0023.sam
20 | 2011-63-0024.mrgcln2 | 2011-63-0024.sam | 141 | 148 | 2011-63-0024.mrgcln2 & 2011-63-0024.sam
21 | 2011-63-0025.mrgcln2 | 2011-63-0025.sam | 150 | 156 | 2011-63-0025.mrgcln2 & 2011-63-0025.sam
22 | 2011-63-0026.mrgcln2 | 2011-63-0026.sam | 158 | 162 | 2011-63-0026.mrgcln2 & 2011-63-0026.sam
23 | 2011-63-0027.mrgcln2 | 2011-63-0027.sam | 164 | 170 | 2011-63-0027.mrgcln2 & 2011-63-0027.sam
24 | 2011-63-0028.mrgcln2 | 2011-63-0028.sam | 172 | 178 | 2011-63-0028.mrgcln2 & 2011-63-0028.sam
25 | 2011-63-0029.mrgcln2 | 2011-63-0029.sam | 180 | 186 | 2011-63-0029.mrgcln2 & 2011-63-0029.sam
26 | 2011-63-0030.mrgcln2 | 2011-63-0030.sam | 188 | 194 | 2011-63-0030.mrgcln2 & 2011-63-0030.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00047405 |  | X | CALC Y
m= | 0.0011569 | 0.0047707 |  | Std Dev of Resid |  | 0.10075 |  | 0.035546 | 0.0040864
b= | 0.0040452 | 0.018616 |  | Resid Sum of Squares |  | 1.2586 |  | 8.6308 | 0.01403
# of Values Extracted = |  |  | 159
# of Values Used in Fit = |  |  | 126
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | bottle
1 | YES | 49.473 | 0.090454 | 0.0073534 | 0.090454 | 0.0041499 | -0.086305 |  | 0.090454 | 0.090454 | 0
1 | YES | 40.0006 | 0.043 | 0 | 0.043 | 0.004095 | -0.038905 |  | 0.043 | 0.043 | 0
1 | YES | 34.8929 | 0.036 | 0 | 0.036 | 0.0040869 | -0.031913 |  | 0.036 | 0.036 | 0
1 | NO | 30.267 | 3.0534 | 0.065985 | 3.0084 | 0.0075777 | -3.0008 |  | 4.6226 | -0.062455 | 0.045
2 | YES | 68.6139 | 4.6226 | 0.005047 | -0.062455 | 0.0093932 | 0.071848 |  | 4.6639 | -0.037091 | 4.685
2 | YES | 49.7301 | 4.6639 | 0.0051857 | -0.037091 | 0.009441 | 0.046532 |  | 4.4704 | -0.090545 | 4.701
2 | YES | 29.8183 | 4.4704 | 0.0063461 | -0.090545 | 0.0092172 | 0.099762 |  | 4.1708 | -0.072182 | 4.561
2 | YES | 20.0269 | 4.1708 | 0.0050164 | -0.072182 | 0.0088705 | 0.081052 |  | 4.2989 | 0.016909 | 4.243
2 | YES | 9.4688 | 4.2989 | 0.0053001 | 0.016909 | 0.0090187 | -0.0078904 |  | 0.056454 | 0.056454 | 4.282
2 | NO | 1.7525 | 9.2754 | 0.77742 | 1.0394 | 0.014776 | -1.0247 |  | 0.043 | 0.043 | 8.236
3 | YES | 47.3669 | 0.056454 | 0.0032362 | 0.056454 | 0.0041106 | -0.052344 |  | 0.052667 | 0.052667 | 0
3 | YES | 39.856 | 0.043 | 0 | 0.043 | 0.004095 | -0.038905 |  | 0.052667 | -0.039333 | 0
4 | YES | 120.078 | 0.052667 | 0.0023805 | 0.052667 | 0.0041062 | -0.048561 |  | 0.038 | 0.003 | 0
4 | YES | 120.078 | 0.052667 | 0.0023805 | -0.039333 | 0.0041062 | 0.043439 |  | 3.829 | 0.236 | 0.092
4 | YES | 99.3803 | 0.038 | 0 | 0.003 | 0.0040892 | 0.0010892 |  | 4.0508 | -0.037181 | 0.035
4 | YES | 74.3811 | 3.829 | 0.019016 | 0.236 | 0.0084751 | -0.22752 |  | 3.8664 | 0.0023637 | 3.593
4 | YES | 51.2875 | 4.0508 | 0.0079853 | -0.037181 | 0.0087317 | 0.045913 |  | 4.035 | 0.035 | 4.088
4 | YES | 31.1317 | 3.8664 | 0.003749 | 0.0023637 | 0.0085183 | 0.0061546 |  | 3.6362 | -0.056818 | 3.864
4 | YES | 19.5237 | 4.035 | 0.0042426 | 0.035 | 0.0087134 | -0.026286 |  | 0.068 | 0.068 | 4
4 | YES | 9.3105 | 3.6362 | 0.030485 | -0.056818 | 0.008252 | 0.06507 |  | 4.4613 | 0.11027 | 3.693
4 | NO | 1.7426 | 7.1649 | 1.3729 | -0.49109 | 0.012334 | 0.50343 |  | 4.5454 | -0.028636 | 7.656
5 | YES | 101.876 | 0.068 | 0.0036332 | 0.068 | 0.0041239 | -0.063876 |  | 3.9212 | -0.064818 | 0
5 | YES | 74.5764 | 4.4613 | 0.0046064 | 0.11027 | 0.0092066 | -0.10107 |  | 3.9264 | -0.021636 | 4.351
5 | YES | 49.3428 | 4.5454 | 0.0057493 | -0.028636 | 0.0093038 | 0.03794 |  | 3.9344 | 0.030364 | 4.574
5 | YES | 29.6454 | 3.9212 | 0.0038162 | -0.064818 | 0.0085817 | 0.0734 |  | 4.6772 | -0.016818 | 3.986
5 | YES | 19.0779 | 3.9264 | 0.0049451 | -0.021636 | 0.0085877 | 0.030224 |  | 4.1335 | -0.24146 | 3.948
5 | YES | 9.6698 | 3.9344 | 0.043562 | 0.030364 | 0.008597 | -0.021767 |  | 3.9606 | -0.10036 | 3.904
5 | NO | 1.7326 | 8.3084 | 0.14058 | 0.57536 | 0.013657 | -0.56171 |  | 4.4343 | 0.27727 | 7.733
6 | YES | 49.7313 | 4.6772 | 0.0043317 | -0.016818 | 0.0094564 | 0.026274 |  | 4.6916 | -0.0063634 | 4.694
6 | YES | 29.1929 | 4.1335 | 0.010681 | -0.24146 | 0.0088274 | 0.25028 |  | 4.5273 | -0.022728 | 4.375
6 | YES | 19.4573 | 3.9606 | 0.0059879 | -0.10036 | 0.0086274 | 0.10899 |  | 4.3682 | -0.062818 | 4.061
6 | YES | 9.6404 | 4.4343 | 0.0084391 | 0.27727 | 0.0091753 | -0.2681 |  | 4.0606 | -0.069455 | 4.157
7 | YES | 65.1224 | 4.6916 | 0.0095107 | -0.0063634 | 0.0094731 | 0.015836 |  | 4.7907 | -0.043273 | 4.698
7 | YES | 49.4732 | 4.5273 | 0.0020047 | -0.022728 | 0.0092829 | 0.03201 |  | 4.7526 | -0.13645 | 4.55
7 | YES | 29.5942 | 4.3682 | 0.0038163 | -0.062818 | 0.0090989 | 0.071917 |  | 4.2206 | -0.13936 | 4.431
7 | YES | 19.6924 | 4.0606 | 0.0038044 | -0.069455 | 0.008743 | 0.078198 |  | 4.5572 | 0.15818 | 4.13
7 | NO | 9.6914 | 4.2359 | 0.025185 | -2.2471 | 0.0089458 | 2.256 |  | 6.231 | 0.211 | 6.483
8 | YES | 53.1817 | 4.7907 | 0.0054054 | -0.043273 | 0.0095877 | 0.052861 |  | 4.789 | -0.034 | 4.834
8 | YES | 30.1118 | 4.7526 | 0.0069622 | -0.13645 | 0.0095435 | 0.146 |  | 4.8491 | -0.025909 | 4.889
8 | YES | 19.5347 | 4.2206 | 0.056585 | -0.13936 | 0.0089282 | 0.14829 |  | 4.8646 | -0.042455 | 4.36
8 | YES | 9.7902 | 4.5572 | 0.010226 | 0.15818 | 0.0093175 | -0.14886 |  | 4.8523 | -0.028727 | 4.399
8 | YES | 1.7434 | 6.231 | 0.12781 | 0.211 | 0.011254 | -0.19975 |  | 4.9445 | -0.020454 | 6.02
9 | YES | 73.6867 | 4.789 | 0.0026077 | -0.034 | 0.0095857 | 0.043586 |  | 5.3918 | 0.0778 | 4.823
9 | YES | 50.1317 | 4.8491 | 0.0032389 | -0.025909 | 0.0096552 | 0.035564 |  | 4.8584 | -0.019636 | 4.875
9 | YES | 29.9259 | 4.8646 | 0.0061541 | -0.042455 | 0.0096731 | 0.052128 |  | 4.8434 | -0.039636 | 4.907
9 | YES | 19.9552 | 4.8523 | 0.0061658 | -0.028727 | 0.0096589 | 0.038386 |  | 4.8581 | -0.036909 | 4.881
9 | YES | 9.5426 | 4.9445 | 0.0069767 | -0.020454 | 0.0097657 | 0.03022 |  | 4.8651 | -0.024909 | 4.965
9 | YES | 1.8813 | 5.3918 | 0.056182 | 0.0778 | 0.010283 | -0.067517 |  | 4.8906 | -0.039363 | 5.314
10 | YES | 147.475 | 4.8584 | 0.0036951 | -0.019636 | 0.009666 | 0.029302 |  | 4.9256 | -0.034455 | 4.878
10 | YES | 124.697 | 4.8434 | 0.0041779 | -0.039636 | 0.0096486 | 0.049285 |  | 4.9124 | -0.037545 | 4.883
10 | YES | 99.8119 | 4.8581 | 0.0048466 | -0.036909 | 0.0096657 | 0.046575 |  | 4.9013 | -0.029728 | 4.895
10 | YES | 74.7422 | 4.8651 | 0.0059742 | -0.024909 | 0.0096737 | 0.034583 |  | 5.1518 | 0.0038185 | 4.89
10 | YES | 49.4405 | 4.8906 | 0.0055905 | -0.039363 | 0.0097033 | 0.049067 |  | 4.7039 | -0.053091 | 4.93
10 | YES | 30.0063 | 4.9256 | 0.0078786 | -0.034455 | 0.0097437 | 0.044198 |  | 4.7833 | -0.044727 | 4.96
10 | YES | 19.6698 | 4.9124 | 0.0051061 | -0.037545 | 0.0097285 | 0.047274 |  | 4.8813 | -0.050727 | 4.95
10 | YES | 10.0484 | 4.9013 | 0.0080136 | -0.029728 | 0.0097156 | 0.039443 |  | 4.8903 | -0.045727 | 4.931
10 | YES | 1.5687 | 5.1518 | 0.010515 | 0.0038185 | 0.010005 | 0.006187 |  | 4.9376 | -0.0063634 | 5.148
11 | YES | 88.2053 | 4.7039 | 0.006123 | -0.053091 | 0.0094873 | 0.062578 |  | 4.9376 | -0.044364 | 4.757
11 | YES | 74.8985 | 4.7833 | 0.0053496 | -0.044727 | 0.0095791 | 0.054306 |  | 4.9314 | -0.054545 | 4.828
11 | YES | 49.9885 | 4.8813 | 0.010287 | -0.050727 | 0.0096925 | 0.06042 |  | 1.243 | 0.114 | 4.932
11 | YES | 30.1782 | 4.8903 | 0.0036356 | -0.045727 | 0.0097029 | 0.05543 |  | 1.2677 | 0.086727 | 4.936
11 | YES | 19.2767 | 4.9376 | 0.0095841 | -0.0063634 | 0.0097577 | 0.016121 |  | 2.3215 | 0.022454 | 4.944
11 | YES | 9.6468 | 4.9376 | 0.0078393 | -0.044364 | 0.0097577 | 0.054121 |  | 3.955 | 0.12 | 4.982
11 | YES | 1.535 | 4.9314 | 0.011405 | -0.054545 | 0.0097505 | 0.064296 |  | 0.046182 | 0.046182 | 4.986
12 | NO | 31.8388 | 1.359 | 0.29623 | -2.232 | 0.0056175 | 2.2376 |  | 0.035546 | 0.035546 | 3.591
12 | NO | 19.5943 | 4.8273 | 0.063084 | 0.87227 | 0.00963 | -0.86264 |  | 3.1115 | 0.17045 | 3.955
12 | NO | 9.7169 | 7.1577 | 0.012158 | 0.51773 | 0.012326 | -0.5054 |  | 4.3199 | 0.17391 | 6.64
12 | NO | 1.8348 | 7.4206 | 0.27489 | -0.52336 | 0.01263 | 0.53599 |  | 5.4402 | -0.13682 | 7.944
13 | YES | 66.9742 | 1.243 | 0.0082219 | 0.114 | 0.0054833 | -0.10852 |  | 8.6308 | 0.0248 | 1.129
13 | YES | 49.4777 | 1.2677 | 0.02866 | 0.086727 | 0.0055119 | -0.081215 |  | 2.0994 | -0.15664 | 1.181
13 | YES | 30.6011 | 2.3215 | 0.014659 | 0.022454 | 0.006731 | -0.015724 |  | 2.428 | 0.023 | 2.299
13 | YES | 19.8428 | 3.955 | 0.025187 | 0.12 | 0.0086209 | -0.11138 |  | 5.107 | -0.193 | 3.835
13 | NO | 9.9861 | 6.855 | 0.0067082 | 0.804 | 0.011976 | -0.79202 |  | 0.11245 | 0.091455 | 6.051
13 | NO | 1.653 | 8.0081 | 0.38159 | -0.61591 | 0.01331 | 0.62922 |  | 0.20918 | 0.12518 | 8.624
14 | YES | 113.973 | 0.046182 | 0.0027136 | 0.046182 | 0.0040987 | -0.042083 |  | 0.21636 | 0.058364 | 0
14 | YES | 99.6479 | 0.035546 | 0.0044803 | 0.035546 | 0.0040864 | -0.031459 |  | 1.5687 | -0.027273 | 0
14 | NO | 74.6526 | 1.0276 | 0.0038281 | 0.41364 | 0.0052341 | -0.4084 |  | 1.6124 | -0.22054 | 0.614
14 | NO | 50.0698 | 1.3308 | 0.0097552 | -0.37018 | 0.0055849 | 0.37577 |  | 1.6593 | -0.26073 | 1.701
14 | YES | 30.0063 | 3.1115 | 0.058736 | 0.17045 | 0.0076449 | -0.16281 |  | 3.0573 | 0.17427 | 2.941
14 | YES | 19.9268 | 4.3199 | 0.019725 | 0.17391 | 0.009043 | -0.16487 |  | 0.45682 | -0.077182 | 4.146
14 | YES | 9.7954 | 5.4402 | 0.065953 | -0.13682 | 0.010339 | 0.14716 |  | 1.6437 | -0.0052727 | 5.577
14 | YES | 1.9581 | 8.6308 | 0.50364 | 0.0248 | 0.01403 | -0.01077 |  | 1.754 | -0.045 | 8.606
15 | YES | 61.0388 | 2.0994 | 0.025676 | -0.15664 | 0.006474 | 0.16311 |  | 1.8602 | -0.0078182 | 2.256
15 | YES | 50.217 | 2.428 | 0 | 0.023 | 0.0068542 | -0.016146 |  | 2.4334 | 0.015364 | 2.405
15 | NO | 29.9874 | 3.1512 | 0.0095375 | -0.30682 | 0.0076909 | 0.31451 |  | 3.4844 | 0.060364 | 3.458
15 | NO | 20.2294 | 3.7155 | 0.004947 | -0.33145 | 0.0083438 | 0.3398 |  | 3.9985 | -0.034545 | 4.047
15 | YES | 10.0953 | 5.107 | 0.078219 | -0.193 | 0.0099536 | 0.20295 |  | 4.7544 | 0.057363 | 5.3
15 | NO | 1.9307 | 6.2372 | 0.1431 | -1.8348 | 0.011261 | 1.8461 |  | 8.5777 | 0.23673 | 8.072
16 | YES | 197.637 | 0.11245 | 0.025777 | 0.091455 | 0.0041753 | -0.087279 |  | 1.4592 | -0.17382 | 0.021
16 | YES | 175.347 | 0.20918 | 0.0068676 | 0.12518 | 0.0042873 | -0.12089 |  | 1.74 | -0.02 | 0.084
16 | YES | 149.99 | 0.21636 | 0.027631 | 0.058364 | 0.0042956 | -0.054068 |  | 1.8278 | -0.020182 | 0.158
16 | YES | 125.173 | 1.5687 | 0.017217 | -0.027273 | 0.0058601 | 0.033133 |  | 2.485 | 0.132 | 1.596
16 | YES | 100.146 | 1.6124 | 0.0015076 | -0.22054 | 0.0059107 | 0.22646 |  | 3.4804 | 0.069454 | 1.833
16 | YES | 74.9621 | 1.6593 | 0.011748 | -0.26073 | 0.0059649 | 0.26669 |  | 3.8056 | -0.039364 | 1.92
16 | NO | 50.3125 | 2.1152 | 0.0027863 | -0.33782 | 0.0064923 | 0.34431 |  | 4.8579 | 0.085909 | 2.453
16 | YES | 30.2665 | 3.0573 | 0.0053308 | 0.17427 | 0.0075823 | -0.16669 |  | 1.7419 | -0.034091 | 2.883
16 | NO | 19.9071 | 3.6235 | 0.010746 | -0.44355 | 0.0082373 | 0.45178 |  | 1.7643 | -0.011727 | 4.067
16 | NO | 10.0955 | 4.1821 | 0.020535 | -0.64791 | 0.0088836 | 0.65679 |  | 2.5151 | 0.20809 | 4.83
16 | NO | 2.0714 | 4.63 | 0.22162 | -3.592 | 0.0094018 | 3.6014 |  | 3.3819 | 0.055909 | 8.222
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.40859 | 0.0045282 | 0.41312 |  | 3.7856 | 0.086545 | 0.826
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.34759 | 0.0045282 | 0.35212 |  | 7.9222 | 0.1842 | 0.765
18 | NO | 44.0698 | 0.79073 | 0.03987 | -0.41527 | 0.0049601 | 0.42023 |  | 1.9063 | -0.29073 | 1.206
19 | YES | 154.771 | 0.45682 | 0.012836 | -0.077182 | 0.0045737 | 0.081756 |  | 2.486 | 0.124 | 0.534
19 | YES | 124.637 | 1.6437 | 0.0045407 | -0.0052727 | 0.0059469 | 0.01122 |  | 3.3411 | 0.062091 | 1.649
19 | YES | 99.4457 | 1.754 | 0 | -0.045 | 0.0060745 | 0.051075 |  | 3.7707 | 0.022728 | 1.799
19 | YES | 74.6117 | 1.8602 | 0.0028572 | -0.0078182 | 0.0061973 | 0.014016 |  | 1.5446 | -0.035455 | 1.868
19 | YES | 49.9593 | 2.4334 | 0.010689 | 0.015364 | 0.0068604 | -0.0085033 |  | 1.6586 | 0.014636 | 2.418
19 | YES | 30.1711 | 3.4844 | 0.0055547 | 0.060364 | 0.0080764 | -0.052287 |  | 2.7477 | 0.091727 | 3.424
19 | YES | 19.965 | 3.9985 | 0.012103 | -0.034545 | 0.0086711 | 0.043217 |  | 3.3826 | 0.090636 | 4.033
19 | YES | 9.5909 | 4.7544 | 0.026684 | 0.057363 | 0.0095456 | -0.047818 |  | 3.7229 | 0.057909 | 4.697
19 | YES | 1.8714 | 8.5777 | 0.12177 | 0.23673 | 0.013969 | -0.22276 |  | 4.6594 | 0.26636 | 8.341
20 | YES | 117.886 | 1.4592 | 0.0048748 | -0.17382 | 0.0057334 | 0.17955 |  | 7.7641 | -0.10191 | 1.633
20 | YES | 99.2075 | 1.74 | 0.002 | -0.02 | 0.0060583 | 0.026058 |  | 1.6994 | 0.055454 | 1.76
20 | YES | 74.9063 | 1.8278 | 0.0063533 | -0.020182 | 0.0061599 | 0.026342 |  | 3.3898 | 0.024818 | 1.848
20 | YES | 49.8422 | 2.485 | 0.0074431 | 0.132 | 0.0069202 | -0.12508 |  | 3.7337 | -0.011273 | 2.353
20 | YES | 29.9991 | 3.4804 | 0.0045026 | 0.069454 | 0.0080718 | -0.061383 |  | 1.9023 | -0.010727 | 3.411
20 | YES | 19.8593 | 3.8056 | 0.0074736 | -0.039364 | 0.0084481 | 0.047812 |  | 1.9186 | 0.015636 | 3.845
20 | YES | 9.7442 | 4.8579 | 0.010473 | 0.085909 | 0.0096654 | -0.076244 |  | 2.8641 | 0.095091 | 4.772
20 | NO | 1.7615 | 8.6347 | 0.064293 | 0.5597 | 0.014035 | -0.54567 |  | 3.4913 | 0.035273 | 8.075
21 | YES | 83.2452 | 1.7419 | 0.014842 | -0.034091 | 0.0060605 | 0.040151 |  | 3.7647 | -0.15127 | 1.776
21 | YES | 74.6074 | 1.7643 | 0.0051787 | -0.011727 | 0.0060864 | 0.017814 |  | 8.0508 | 0.11182 | 1.776
21 | YES | 49.639 | 2.5151 | 0.0073682 | 0.20809 | 0.006955 | -0.20114 |  | 2.0394 | -0.0045455 | 2.307
21 | YES | 29.4204 | 3.3819 | 0.0029481 | 0.055909 | 0.0079578 | -0.047951 |  | 1.8885 | -0.037455 | 3.326
21 | YES | 19.9645 | 3.7856 | 0.0047194 | 0.086545 | 0.0084248 | -0.078121 |  | 2.8973 | 0.081273 | 3.699
21 | NO | 9.5416 | 5.1457 | 0.0063733 | 0.59473 | 0.0099984 | -0.58473 |  | 3.6317 | 0.020727 | 4.551
21 | YES | 1.6553 | 7.9222 | 0.14048 | 0.1842 | 0.013211 | -0.17099 |  | 4.0445 | -0.0015454 | 7.738 | 0.0080004 | 0.10037
22 | YES | 59.7893 | 1.9063 | 0.004101 | -0.29073 | 0.0062506 | 0.29698 |  |  |  | 2.197
22 | YES | 49.2192 | 2.486 | 0.044098 | 0.124 | 0.0069213 | -0.11708 |  |  |  | 2.362
22 | YES | 30.1262 | 3.3411 | 0.0051079 | 0.062091 | 0.0079106 | -0.05418 |  |  |  | 3.279
22 | YES | 20.3572 | 3.7707 | 0.0057809 | 0.022728 | 0.0084077 | -0.01432 |  |  |  | 3.748
22 | NO | 9.6536 | 4.7092 | 0.08778 | 0.36518 | 0.0094934 | -0.35569 |  |  |  | 4.344
23 | YES | 95.0512 | 1.5446 | 0.0090151 | -0.035455 | 0.0058322 | 0.041287 |  |  |  | 1.58
23 | YES | 74.6829 | 1.6586 | 0.014644 | 0.014636 | 0.0059642 | -0.0086721 |  |  |  | 1.644
23 | YES | 49.897 | 2.7477 | 0.0029695 | 0.091727 | 0.0072241 | -0.084503 |  |  |  | 2.656
23 | YES | 29.6953 | 3.3826 | 0.0064385 | 0.090636 | 0.0079587 | -0.082678 |  |  |  | 3.292
23 | YES | 20.0008 | 3.7229 | 0.0033602 | 0.057909 | 0.0083523 | -0.049557 |  |  |  | 3.665
23 | YES | 9.6757 | 4.6594 | 0.0070466 | 0.26636 | 0.0094357 | -0.25693 |  |  |  | 4.393
23 | YES | 1.7511 | 7.7641 | 0.06079 | -0.10191 | 0.013028 | 0.11494 |  |  |  | 7.866
24 | YES | 83.3142 | 1.6994 | 0.056842 | 0.055454 | 0.0060114 | -0.049443 |  |  |  | 1.644
24 | NO | 74.6951 | 1.7416 | 0.0056617 | 0.39264 | 0.0060602 | -0.38658 |  |  |  | 1.349
24 | NO | 49.9684 | 2.7786 | 0.005716 | 0.34654 | 0.0072598 | -0.33929 |  |  |  | 2.432
24 | YES | 29.8785 | 3.3898 | 0.0054003 | 0.024818 | 0.007967 | -0.016851 |  |  |  | 3.365
24 | YES | 19.6254 | 3.7337 | 0.0053869 | -0.011273 | 0.0083649 | 0.019638 |  |  |  | 3.745
24 | NO | 9.638 | 5.1068 | 0.0068384 | 0.74182 | 0.0099534 | -0.73186 |  |  |  | 4.365
24 | NO | 2.2094 | 8.4906 | 0.44296 | 0.54664 | 0.013868 | -0.53277 |  |  |  | 7.944
25 | YES | 85.6643 | 1.9023 | 0.010306 | -0.010727 | 0.006246 | 0.016973 |  |  |  | 1.913
25 | YES | 74.5976 | 1.9186 | 0.0036407 | 0.015636 | 0.006265 | -0.0093713 |  |  |  | 1.903
25 | YES | 49.9842 | 2.8641 | 0.0046358 | 0.095091 | 0.0073588 | -0.087732 |  |  |  | 2.769
25 | YES | 29.5866 | 3.4913 | 0.0075643 | 0.035273 | 0.0080844 | -0.027188 |  |  |  | 3.456
25 | YES | 19.889 | 3.7647 | 0.0057635 | -0.15127 | 0.0084007 | 0.15967 |  |  |  | 3.916
25 | NO | 9.8508 | 5.378 | 0.017765 | 0.709 | 0.010267 | -0.69873 |  |  |  | 4.669
25 | YES | 2.4898 | 8.0508 | 0.020619 | 0.11182 | 0.013359 | -0.098459 |  |  |  | 7.939
26 | YES | 96.8162 | 2.0394 | 0.0044803 | -0.0045455 | 0.0064047 | 0.01095 |  |  |  | 2.044
26 | YES | 74.4521 | 1.8885 | 0.0046122 | -0.037455 | 0.0062301 | 0.043685 |  |  |  | 1.926
26 | YES | 49.9776 | 2.8973 | 0.0045845 | 0.081273 | 0.0073971 | -0.073876 |  |  |  | 2.816
26 | YES | 29.7865 | 3.6317 | 0.0036357 | 0.020727 | 0.0082469 | -0.01248 |  |  |  | 3.611
26 | YES | 19.7318 | 4.0445 | 0.0063146 | -0.0015454 | 0.0087243 | 0.01027 |  |  |  | 4.046
26 | NO | 9.5166 | 5.2614 | 0.039444 | 0.32636 | 0.010132 | -0.31623 |  |  |  | 4.935
26 | NO | 2.1082 | 8.6261 | 0.045105 | 0.36209 | 0.014025 | -0.34807 |  |  |  | 8.264
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.011632 |  | X | CALC Y
m= | -0.00026656 | 0.00022066 |  | Std Dev of Resid |  | 0.10018 |  | 1.535 | 0.021024
b= | 0.021433 | 0.014258 |  | Resid Sum of Squares |  | 1.2445 |  | 197.637 | -0.03125
# of Values Extracted = |  |  | 159
# of Values Used in Fit = |  |  | 126
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 49.473 | 0.090454 | 0.0073534 | 0.090454 | 0.0082451 | -0.082209 |  | 49.473 | 0.090454
1 | YES | 40.0006 | 0.043 | 0 | 0.043 | 0.01077 | -0.03223 |  | 40.0006 | 0.043
1 | YES | 34.8929 | 0.036 | 0 | 0.036 | 0.012132 | -0.023868 |  | 34.8929 | 0.036
1 | NO | 30.267 | 3.0534 | 0.065985 | 3.0084 | 0.013365 | -2.995 |  | 68.6139 | -0.062455
2 | YES | 68.6139 | 4.6226 | 0.005047 | -0.062455 | 0.0031429 | 0.065598 |  | 49.7301 | -0.037091
2 | YES | 49.7301 | 4.6639 | 0.0051857 | -0.037091 | 0.0081766 | 0.045268 |  | 29.8183 | -0.090545
2 | YES | 29.8183 | 4.4704 | 0.0063461 | -0.090545 | 0.013484 | 0.10403 |  | 20.0269 | -0.072182
2 | YES | 20.0269 | 4.1708 | 0.0050164 | -0.072182 | 0.016094 | 0.088276 |  | 9.4688 | 0.016909
2 | YES | 9.4688 | 4.2989 | 0.0053001 | 0.016909 | 0.018909 | 0.0019996 |  | 47.3669 | 0.056454
2 | NO | 1.7525 | 9.2754 | 0.77742 | 1.0394 | 0.020966 | -1.0185 |  | 39.856 | 0.043
3 | YES | 47.3669 | 0.056454 | 0.0032362 | 0.056454 | 0.0088066 | -0.047648 |  | 120.078 | 0.052667
3 | YES | 39.856 | 0.043 | 0 | 0.043 | 0.010809 | -0.032191 |  | 120.078 | -0.039333
4 | YES | 120.078 | 0.052667 | 0.0023805 | 0.052667 | -0.010575 | -0.063242 |  | 99.3803 | 0.003
4 | YES | 120.078 | 0.052667 | 0.0023805 | -0.039333 | -0.010575 | 0.028758 |  | 74.3811 | 0.236
4 | YES | 99.3803 | 0.038 | 0 | 0.003 | -0.0050583 | -0.0080583 |  | 51.2875 | -0.037181
4 | YES | 74.3811 | 3.829 | 0.019016 | 0.236 | 0.0016056 | -0.23439 |  | 31.1317 | 0.0023637
4 | YES | 51.2875 | 4.0508 | 0.0079853 | -0.037181 | 0.0077615 | 0.044943 |  | 19.5237 | 0.035
4 | YES | 31.1317 | 3.8664 | 0.003749 | 0.0023637 | 0.013134 | 0.010771 |  | 9.3105 | -0.056818
4 | YES | 19.5237 | 4.035 | 0.0042426 | 0.035 | 0.016228 | -0.018771 |  | 101.876 | 0.068
4 | YES | 9.3105 | 3.6362 | 0.030485 | -0.056818 | 0.018951 | 0.075769 |  | 74.5764 | 0.11027
4 | NO | 1.7426 | 7.1649 | 1.3729 | -0.49109 | 0.020968 | 0.51206 |  | 49.3428 | -0.028636
5 | YES | 101.876 | 0.068 | 0.0036332 | 0.068 | -0.0057235 | -0.073724 |  | 29.6454 | -0.064818
5 | YES | 74.5764 | 4.4613 | 0.0046064 | 0.11027 | 0.0015535 | -0.10872 |  | 19.0779 | -0.021636
5 | YES | 49.3428 | 4.5454 | 0.0057493 | -0.028636 | 0.0082799 | 0.036916 |  | 9.6698 | 0.030364
5 | YES | 29.6454 | 3.9212 | 0.0038162 | -0.064818 | 0.01353 | 0.078349 |  | 49.7313 | -0.016818
5 | YES | 19.0779 | 3.9264 | 0.0049451 | -0.021636 | 0.016347 | 0.037984 |  | 29.1929 | -0.24146
5 | YES | 9.6698 | 3.9344 | 0.043562 | 0.030364 | 0.018855 | -0.011508 |  | 19.4573 | -0.10036
5 | NO | 1.7326 | 8.3084 | 0.14058 | 0.57536 | 0.020971 | -0.55439 |  | 9.6404 | 0.27727
6 | YES | 49.7313 | 4.6772 | 0.0043317 | -0.016818 | 0.0081763 | 0.024994 |  | 65.1224 | -0.0063634
6 | YES | 29.1929 | 4.1335 | 0.010681 | -0.24146 | 0.013651 | 0.25511 |  | 49.4732 | -0.022728
6 | YES | 19.4573 | 3.9606 | 0.0059879 | -0.10036 | 0.016246 | 0.11661 |  | 29.5942 | -0.062818
6 | YES | 9.6404 | 4.4343 | 0.0084391 | 0.27727 | 0.018863 | -0.25841 |  | 19.6924 | -0.069455
7 | YES | 65.1224 | 4.6916 | 0.0095107 | -0.0063634 | 0.0040736 | 0.010437 |  | 53.1817 | -0.043273
7 | YES | 49.4732 | 4.5273 | 0.0020047 | -0.022728 | 0.0082451 | 0.030973 |  | 30.1118 | -0.13645
7 | YES | 29.5942 | 4.3682 | 0.0038163 | -0.062818 | 0.013544 | 0.076363 |  | 19.5347 | -0.13936
7 | YES | 19.6924 | 4.0606 | 0.0038044 | -0.069455 | 0.016184 | 0.085638 |  | 9.7902 | 0.15818
7 | NO | 9.6914 | 4.2359 | 0.025185 | -2.2471 | 0.018849 | 2.2659 |  | 1.7434 | 0.211
8 | YES | 53.1817 | 4.7907 | 0.0054054 | -0.043273 | 0.0072565 | 0.05053 |  | 73.6867 | -0.034
8 | YES | 30.1118 | 4.7526 | 0.0069622 | -0.13645 | 0.013406 | 0.14986 |  | 50.1317 | -0.025909
8 | YES | 19.5347 | 4.2206 | 0.056585 | -0.13936 | 0.016226 | 0.15559 |  | 29.9259 | -0.042455
8 | YES | 9.7902 | 4.5572 | 0.010226 | 0.15818 | 0.018823 | -0.13936 |  | 19.9552 | -0.028727
8 | YES | 1.7434 | 6.231 | 0.12781 | 0.211 | 0.020968 | -0.19003 |  | 9.5426 | -0.020454
9 | YES | 73.6867 | 4.789 | 0.0026077 | -0.034 | 0.0017907 | 0.035791 |  | 1.8813 | 0.0778
9 | YES | 50.1317 | 4.8491 | 0.0032389 | -0.025909 | 0.0080696 | 0.033978 |  | 147.475 | -0.019636
9 | YES | 29.9259 | 4.8646 | 0.0061541 | -0.042455 | 0.013456 | 0.05591 |  | 124.697 | -0.039636
9 | YES | 19.9552 | 4.8523 | 0.0061658 | -0.028727 | 0.016113 | 0.044841 |  | 99.8119 | -0.036909
9 | YES | 9.5426 | 4.9445 | 0.0069767 | -0.020454 | 0.018889 | 0.039343 |  | 74.7422 | -0.024909
9 | YES | 1.8813 | 5.3918 | 0.056182 | 0.0778 | 0.020931 | -0.056869 |  | 49.4405 | -0.039363
10 | YES | 147.475 | 4.8584 | 0.0036951 | -0.019636 | -0.017878 | 0.0017577 |  | 30.0063 | -0.034455
10 | YES | 124.697 | 4.8434 | 0.0041779 | -0.039636 | -0.011807 | 0.027829 |  | 19.6698 | -0.037545
10 | YES | 99.8119 | 4.8581 | 0.0048466 | -0.036909 | -0.0051733 | 0.031736 |  | 10.0484 | -0.029728
10 | YES | 74.7422 | 4.8651 | 0.0059742 | -0.024909 | 0.0015093 | 0.026418 |  | 1.5687 | 0.0038185
10 | YES | 49.4405 | 4.8906 | 0.0055905 | -0.039363 | 0.0082538 | 0.047617 |  | 88.2053 | -0.053091
10 | YES | 30.0063 | 4.9256 | 0.0078786 | -0.034455 | 0.013434 | 0.047889 |  | 74.8985 | -0.044727
10 | YES | 19.6698 | 4.9124 | 0.0051061 | -0.037545 | 0.01619 | 0.053735 |  | 49.9885 | -0.050727
10 | YES | 10.0484 | 4.9013 | 0.0080136 | -0.029728 | 0.018754 | 0.048482 |  | 30.1782 | -0.045727
10 | YES | 1.5687 | 5.1518 | 0.010515 | 0.0038185 | 0.021015 | 0.017196 |  | 19.2767 | -0.0063634
11 | YES | 88.2053 | 4.7039 | 0.006123 | -0.053091 | -0.0020794 | 0.051012 |  | 9.6468 | -0.044364
11 | YES | 74.8985 | 4.7833 | 0.0053496 | -0.044727 | 0.0014677 | 0.046195 |  | 1.535 | -0.054545
11 | YES | 49.9885 | 4.8813 | 0.010287 | -0.050727 | 0.0081077 | 0.058835 |  | 66.9742 | 0.114
11 | YES | 30.1782 | 4.8903 | 0.0036356 | -0.045727 | 0.013388 | 0.059116 |  | 49.4777 | 0.086727
11 | YES | 19.2767 | 4.9376 | 0.0095841 | -0.0063634 | 0.016294 | 0.022658 |  | 30.6011 | 0.022454
11 | YES | 9.6468 | 4.9376 | 0.0078393 | -0.044364 | 0.018861 | 0.063225 |  | 19.8428 | 0.12
11 | YES | 1.535 | 4.9314 | 0.011405 | -0.054545 | 0.021024 | 0.075569 |  | 113.973 | 0.046182
12 | NO | 31.8388 | 1.359 | 0.29623 | -2.232 | 0.012946 | 2.2449 |  | 99.6479 | 0.035546
12 | NO | 19.5943 | 4.8273 | 0.063084 | 0.87227 | 0.01621 | -0.85606 |  | 30.0063 | 0.17045
12 | NO | 9.7169 | 7.1577 | 0.012158 | 0.51773 | 0.018843 | -0.49888 |  | 19.9268 | 0.17391
12 | NO | 1.8348 | 7.4206 | 0.27489 | -0.52336 | 0.020944 | 0.54431 |  | 9.7954 | -0.13682
13 | YES | 66.9742 | 1.243 | 0.0082219 | 0.114 | 0.00358 | -0.11042 |  | 1.9581 | 0.0248
13 | YES | 49.4777 | 1.2677 | 0.02866 | 0.086727 | 0.0082439 | -0.078483 |  | 61.0388 | -0.15664
13 | YES | 30.6011 | 2.3215 | 0.014659 | 0.022454 | 0.013276 | -0.0091788 |  | 50.217 | 0.023
13 | YES | 19.8428 | 3.955 | 0.025187 | 0.12 | 0.016143 | -0.10386 |  | 10.0953 | -0.193
13 | NO | 9.9861 | 6.855 | 0.0067082 | 0.804 | 0.018771 | -0.78523 |  | 197.637 | 0.091455
13 | NO | 1.653 | 8.0081 | 0.38159 | -0.61591 | 0.020992 | 0.6369 |  | 175.347 | 0.12518
14 | YES | 113.973 | 0.046182 | 0.0027136 | 0.046182 | -0.0089481 | -0.05513 |  | 149.99 | 0.058364
14 | YES | 99.6479 | 0.035546 | 0.0044803 | 0.035546 | -0.0051296 | -0.040675 |  | 125.173 | -0.027273
14 | NO | 74.6526 | 1.0276 | 0.0038281 | 0.41364 | 0.0015332 | -0.4121 |  | 100.146 | -0.22054
14 | NO | 50.0698 | 1.3308 | 0.0097552 | -0.37018 | 0.0080861 | 0.37827 |  | 74.9621 | -0.26073
14 | YES | 30.0063 | 3.1115 | 0.058736 | 0.17045 | 0.013434 | -0.15702 |  | 30.2665 | 0.17427
14 | YES | 19.9268 | 4.3199 | 0.019725 | 0.17391 | 0.016121 | -0.15779 |  | 154.771 | -0.077182
14 | YES | 9.7954 | 5.4402 | 0.065953 | -0.13682 | 0.018822 | 0.15564 |  | 124.637 | -0.0052727
14 | YES | 1.9581 | 8.6308 | 0.50364 | 0.0248 | 0.020911 | -0.0038895 |  | 99.4457 | -0.045
15 | YES | 61.0388 | 2.0994 | 0.025676 | -0.15664 | 0.0051621 | 0.1618 |  | 74.6117 | -0.0078182
15 | YES | 50.217 | 2.428 | 0 | 0.023 | 0.0080468 | -0.014953 |  | 49.9593 | 0.015364
15 | NO | 29.9874 | 3.1512 | 0.0095375 | -0.30682 | 0.013439 | 0.32026 |  | 30.1711 | 0.060364
15 | NO | 20.2294 | 3.7155 | 0.004947 | -0.33145 | 0.01604 | 0.3475 |  | 19.965 | -0.034545
15 | YES | 10.0953 | 5.107 | 0.078219 | -0.193 | 0.018742 | 0.21174 |  | 9.5909 | 0.057363
15 | NO | 1.9307 | 6.2372 | 0.1431 | -1.8348 | 0.020918 | 1.8557 |  | 1.8714 | 0.23673
16 | YES | 197.637 | 0.11245 | 0.025777 | 0.091455 | -0.03125 | -0.1227 |  | 117.886 | -0.17382
16 | YES | 175.347 | 0.20918 | 0.0068676 | 0.12518 | -0.025308 | -0.15049 |  | 99.2075 | -0.02
16 | YES | 149.99 | 0.21636 | 0.027631 | 0.058364 | -0.018549 | -0.076912 |  | 74.9063 | -0.020182
16 | YES | 125.173 | 1.5687 | 0.017217 | -0.027273 | -0.011934 | 0.015339 |  | 49.8422 | 0.132
16 | YES | 100.146 | 1.6124 | 0.0015076 | -0.22054 | -0.0052624 | 0.21528 |  | 29.9991 | 0.069454
16 | YES | 74.9621 | 1.6593 | 0.011748 | -0.26073 | 0.0014507 | 0.26218 |  | 19.8593 | -0.039364
16 | NO | 50.3125 | 2.1152 | 0.0027863 | -0.33782 | 0.0080214 | 0.34584 |  | 9.7442 | 0.085909
16 | YES | 30.2665 | 3.0573 | 0.0053308 | 0.17427 | 0.013365 | -0.16091 |  | 83.2452 | -0.034091
16 | NO | 19.9071 | 3.6235 | 0.010746 | -0.44355 | 0.016126 | 0.45967 |  | 74.6074 | -0.011727
16 | NO | 10.0955 | 4.1821 | 0.020535 | -0.64791 | 0.018742 | 0.66665 |  | 49.639 | 0.20809
16 | NO | 2.0714 | 4.63 | 0.22162 | -3.592 | 0.020881 | 3.6129 |  | 29.4204 | 0.055909
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.40859 | 0.011224 | 0.41981 |  | 19.9645 | 0.086545
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.34759 | 0.011224 | 0.35881 |  | 1.6553 | 0.1842
18 | NO | 44.0698 | 0.79073 | 0.03987 | -0.41527 | 0.0096854 | 0.42496 |  | 59.7893 | -0.29073
19 | YES | 154.771 | 0.45682 | 0.012836 | -0.077182 | -0.019823 | 0.057358 |  | 49.2192 | 0.124
19 | YES | 124.637 | 1.6437 | 0.0045407 | -0.0052727 | -0.011791 | -0.006518 |  | 30.1262 | 0.062091
19 | YES | 99.4457 | 1.754 | 0 | -0.045 | -0.0050757 | 0.039924 |  | 20.3572 | 0.022728
19 | YES | 74.6117 | 1.8602 | 0.0028572 | -0.0078182 | 0.0015441 | 0.0093623 |  | 95.0512 | -0.035455
19 | YES | 49.9593 | 2.4334 | 0.010689 | 0.015364 | 0.0081155 | -0.0072482 |  | 74.6829 | 0.014636
19 | YES | 30.1711 | 3.4844 | 0.0055547 | 0.060364 | 0.01339 | -0.046973 |  | 49.897 | 0.091727
19 | YES | 19.965 | 3.9985 | 0.012103 | -0.034545 | 0.016111 | 0.050656 |  | 29.6953 | 0.090636
19 | YES | 9.5909 | 4.7544 | 0.026684 | 0.057363 | 0.018876 | -0.038487 |  | 20.0008 | 0.057909
19 | YES | 1.8714 | 8.5777 | 0.12177 | 0.23673 | 0.020934 | -0.21579 |  | 9.6757 | 0.26636
20 | YES | 117.886 | 1.4592 | 0.0048748 | -0.17382 | -0.0099912 | 0.16383 |  | 1.7511 | -0.10191
20 | YES | 99.2075 | 1.74 | 0.002 | -0.02 | -0.0050122 | 0.014988 |  | 83.3142 | 0.055454
20 | YES | 74.9063 | 1.8278 | 0.0063533 | -0.020182 | 0.0014656 | 0.021647 |  | 29.8785 | 0.024818
20 | YES | 49.8422 | 2.485 | 0.0074431 | 0.132 | 0.0081467 | -0.12385 |  | 19.6254 | -0.011273
20 | YES | 29.9991 | 3.4804 | 0.0045026 | 0.069454 | 0.013436 | -0.056018 |  | 85.6643 | -0.010727
20 | YES | 19.8593 | 3.8056 | 0.0074736 | -0.039364 | 0.016139 | 0.055503 |  | 74.5976 | 0.015636
20 | YES | 9.7442 | 4.8579 | 0.010473 | 0.085909 | 0.018835 | -0.067074 |  | 49.9842 | 0.095091
20 | NO | 1.7615 | 8.6347 | 0.064293 | 0.5597 | 0.020963 | -0.53874 |  | 29.5866 | 0.035273
21 | YES | 83.2452 | 1.7419 | 0.014842 | -0.034091 | -0.00075725 | 0.033334 |  | 19.889 | -0.15127
21 | YES | 74.6074 | 1.7643 | 0.0051787 | -0.011727 | 0.0015453 | 0.013273 |  | 2.4898 | 0.11182
21 | YES | 49.639 | 2.5151 | 0.0073682 | 0.20809 | 0.0082009 | -0.19989 |  | 96.8162 | -0.0045455
21 | YES | 29.4204 | 3.3819 | 0.0029481 | 0.055909 | 0.01359 | -0.042319 |  | 74.4521 | -0.037455
21 | YES | 19.9645 | 3.7856 | 0.0047194 | 0.086545 | 0.016111 | -0.070435 |  | 49.9776 | 0.081273
21 | NO | 9.5416 | 5.1457 | 0.0063733 | 0.59473 | 0.018889 | -0.57584 |  | 29.7865 | 0.020727
21 | YES | 1.6553 | 7.9222 | 0.14048 | 0.1842 | 0.020992 | -0.16321 |  | 19.7318 | -0.0015454
22 | YES | 59.7893 | 1.9063 | 0.004101 | -0.29073 | 0.0054952 | 0.29622
22 | YES | 49.2192 | 2.486 | 0.044098 | 0.124 | 0.0083128 | -0.11569
22 | YES | 30.1262 | 3.3411 | 0.0051079 | 0.062091 | 0.013402 | -0.048689
22 | YES | 20.3572 | 3.7707 | 0.0057809 | 0.022728 | 0.016006 | -0.0067212
22 | NO | 9.6536 | 4.7092 | 0.08778 | 0.36518 | 0.018859 | -0.34632
23 | YES | 95.0512 | 1.5446 | 0.0090151 | -0.035455 | -0.0039043 | 0.03155
23 | YES | 74.6829 | 1.6586 | 0.014644 | 0.014636 | 0.0015251 | -0.013111
23 | YES | 49.897 | 2.7477 | 0.0029695 | 0.091727 | 0.0081321 | -0.083595
23 | YES | 29.6953 | 3.3826 | 0.0064385 | 0.090636 | 0.013517 | -0.077119
23 | YES | 20.0008 | 3.7229 | 0.0033602 | 0.057909 | 0.016101 | -0.041808
23 | YES | 9.6757 | 4.6594 | 0.0070466 | 0.26636 | 0.018854 | -0.24751
23 | YES | 1.7511 | 7.7641 | 0.06079 | -0.10191 | 0.020966 | 0.12288
24 | YES | 83.3142 | 1.6994 | 0.056842 | 0.055454 | -0.00077564 | -0.05623
24 | NO | 74.6951 | 1.7416 | 0.0056617 | 0.39264 | 0.0015219 | -0.39111
24 | NO | 49.9684 | 2.7786 | 0.005716 | 0.34654 | 0.0081131 | -0.33843
24 | YES | 29.8785 | 3.3898 | 0.0054003 | 0.024818 | 0.013468 | -0.01135
24 | YES | 19.6254 | 3.7337 | 0.0053869 | -0.011273 | 0.016201 | 0.027474
24 | NO | 9.638 | 5.1068 | 0.0068384 | 0.74182 | 0.018864 | -0.72295
24 | NO | 2.2094 | 8.4906 | 0.44296 | 0.54664 | 0.020844 | -0.52579
25 | YES | 85.6643 | 1.9023 | 0.010306 | -0.010727 | -0.0014021 | 0.0093252
25 | YES | 74.5976 | 1.9186 | 0.0036407 | 0.015636 | 0.0015479 | -0.014088
25 | YES | 49.9842 | 2.8641 | 0.0046358 | 0.095091 | 0.0081089 | -0.086982
25 | YES | 29.5866 | 3.4913 | 0.0075643 | 0.035273 | 0.013546 | -0.021726
25 | YES | 19.889 | 3.7647 | 0.0057635 | -0.15127 | 0.016131 | 0.1674
25 | NO | 9.8508 | 5.378 | 0.017765 | 0.709 | 0.018807 | -0.69019
25 | YES | 2.4898 | 8.0508 | 0.020619 | 0.11182 | 0.020769 | -0.091049
26 | YES | 96.8162 | 2.0394 | 0.0044803 | -0.0045455 | -0.0043748 | 0.00017069
26 | YES | 74.4521 | 1.8885 | 0.0046122 | -0.037455 | 0.0015867 | 0.039041
26 | YES | 49.9776 | 2.8973 | 0.0045845 | 0.081273 | 0.0081106 | -0.073162
26 | YES | 29.7865 | 3.6317 | 0.0036357 | 0.020727 | 0.013493 | -0.0072344
26 | YES | 19.7318 | 4.0445 | 0.0063146 | -0.0015454 | 0.016173 | 0.017718
26 | NO | 9.5166 | 5.2614 | 0.039444 | 0.32636 | 0.018896 | -0.30747
26 | NO | 2.1082 | 8.6261 | 0.045105 | 0.36209 | 0.020871 | -0.34122
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.01123 |  | X | CALC Y
m= | 0.0014106 | 0.0011886 |  | Std Dev of Resid |  | 0.1002 |  | 1 | -0.0099004
b= | -0.011311 | 0.01856 |  | Resid Sum of Squares |  | 1.245 |  | 26 | 0.025364
# of Values Extracted = |  |  | 159
# of Values Used in Fit = |  |  | 126
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 49.473 | 0.090454 | 0.0073534 | 0.090454 | -0.0099004 | -0.10035 |  | 1 | 0.090454
1 | YES | 40.0006 | 0.043 | 0 | 0.043 | -0.0099004 | -0.0529 |  | 1 | 0.043
1 | YES | 34.8929 | 0.036 | 0 | 0.036 | -0.0099004 | -0.0459 |  | 1 | 0.036
1 | NO | 30.267 | 3.0534 | 0.065985 | 3.0084 | -0.0099004 | -3.0183 |  | 2 | -0.062455
2 | YES | 68.6139 | 4.6226 | 0.005047 | -0.062455 | -0.0084899 | 0.053965 |  | 2 | -0.037091
2 | YES | 49.7301 | 4.6639 | 0.0051857 | -0.037091 | -0.0084899 | 0.028601 |  | 2 | -0.090545
2 | YES | 29.8183 | 4.4704 | 0.0063461 | -0.090545 | -0.0084899 | 0.082055 |  | 2 | -0.072182
2 | YES | 20.0269 | 4.1708 | 0.0050164 | -0.072182 | -0.0084899 | 0.063692 |  | 2 | 0.016909
2 | YES | 9.4688 | 4.2989 | 0.0053001 | 0.016909 | -0.0084899 | -0.025399 |  | 3 | 0.056454
2 | NO | 1.7525 | 9.2754 | 0.77742 | 1.0394 | -0.0084899 | -1.0479 |  | 3 | 0.043
3 | YES | 47.3669 | 0.056454 | 0.0032362 | 0.056454 | -0.0070793 | -0.063534 |  | 4 | 0.052667
3 | YES | 39.856 | 0.043 | 0 | 0.043 | -0.0070793 | -0.050079 |  | 4 | -0.039333
4 | YES | 120.078 | 0.052667 | 0.0023805 | 0.052667 | -0.0056687 | -0.058335 |  | 4 | 0.003
4 | YES | 120.078 | 0.052667 | 0.0023805 | -0.039333 | -0.0056687 | 0.033665 |  | 4 | 0.236
4 | YES | 99.3803 | 0.038 | 0 | 0.003 | -0.0056687 | -0.0086687 |  | 4 | -0.037181
4 | YES | 74.3811 | 3.829 | 0.019016 | 0.236 | -0.0056687 | -0.24167 |  | 4 | 0.0023637
4 | YES | 51.2875 | 4.0508 | 0.0079853 | -0.037181 | -0.0056687 | 0.031513 |  | 4 | 0.035
4 | YES | 31.1317 | 3.8664 | 0.003749 | 0.0023637 | -0.0056687 | -0.0080324 |  | 4 | -0.056818
4 | YES | 19.5237 | 4.035 | 0.0042426 | 0.035 | -0.0056687 | -0.040669 |  | 5 | 0.068
4 | YES | 9.3105 | 3.6362 | 0.030485 | -0.056818 | -0.0056687 | 0.051149 |  | 5 | 0.11027
4 | NO | 1.7426 | 7.1649 | 1.3729 | -0.49109 | -0.0056687 | 0.48542 |  | 5 | -0.028636
5 | YES | 101.876 | 0.068 | 0.0036332 | 0.068 | -0.0042581 | -0.072258 |  | 5 | -0.064818
5 | YES | 74.5764 | 4.4613 | 0.0046064 | 0.11027 | -0.0042581 | -0.11453 |  | 5 | -0.021636
5 | YES | 49.3428 | 4.5454 | 0.0057493 | -0.028636 | -0.0042581 | 0.024378 |  | 5 | 0.030364
5 | YES | 29.6454 | 3.9212 | 0.0038162 | -0.064818 | -0.0042581 | 0.06056 |  | 6 | -0.016818
5 | YES | 19.0779 | 3.9264 | 0.0049451 | -0.021636 | -0.0042581 | 0.017378 |  | 6 | -0.24146
5 | YES | 9.6698 | 3.9344 | 0.043562 | 0.030364 | -0.0042581 | -0.034622 |  | 6 | -0.10036
5 | NO | 1.7326 | 8.3084 | 0.14058 | 0.57536 | -0.0042581 | -0.57962 |  | 6 | 0.27727
6 | YES | 49.7313 | 4.6772 | 0.0043317 | -0.016818 | -0.0028476 | 0.01397 |  | 7 | -0.0063634
6 | YES | 29.1929 | 4.1335 | 0.010681 | -0.24146 | -0.0028476 | 0.23861 |  | 7 | -0.022728
6 | YES | 19.4573 | 3.9606 | 0.0059879 | -0.10036 | -0.0028476 | 0.097515 |  | 7 | -0.062818
6 | YES | 9.6404 | 4.4343 | 0.0084391 | 0.27727 | -0.0028476 | -0.28012 |  | 7 | -0.069455
7 | YES | 65.1224 | 4.6916 | 0.0095107 | -0.0063634 | -0.001437 | 0.0049264 |  | 8 | -0.043273
7 | YES | 49.4732 | 4.5273 | 0.0020047 | -0.022728 | -0.001437 | 0.02129 |  | 8 | -0.13645
7 | YES | 29.5942 | 4.3682 | 0.0038163 | -0.062818 | -0.001437 | 0.061381 |  | 8 | -0.13936
7 | YES | 19.6924 | 4.0606 | 0.0038044 | -0.069455 | -0.001437 | 0.068018 |  | 8 | 0.15818
7 | NO | 9.6914 | 4.2359 | 0.025185 | -2.2471 | -0.001437 | 2.2457 |  | 8 | 0.211
8 | YES | 53.1817 | 4.7907 | 0.0054054 | -0.043273 | -2.6441e-05 | 0.043247 |  | 9 | -0.034
8 | YES | 30.1118 | 4.7526 | 0.0069622 | -0.13645 | -2.6441e-05 | 0.13643 |  | 9 | -0.025909
8 | YES | 19.5347 | 4.2206 | 0.056585 | -0.13936 | -2.6441e-05 | 0.13934 |  | 9 | -0.042455
8 | YES | 9.7902 | 4.5572 | 0.010226 | 0.15818 | -2.6441e-05 | -0.15821 |  | 9 | -0.028727
8 | YES | 1.7434 | 6.231 | 0.12781 | 0.211 | -2.6441e-05 | -0.21103 |  | 9 | -0.020454
9 | YES | 73.6867 | 4.789 | 0.0026077 | -0.034 | 0.0013841 | 0.035384 |  | 9 | 0.0778
9 | YES | 50.1317 | 4.8491 | 0.0032389 | -0.025909 | 0.0013841 | 0.027293 |  | 10 | -0.019636
9 | YES | 29.9259 | 4.8646 | 0.0061541 | -0.042455 | 0.0013841 | 0.043839 |  | 10 | -0.039636
9 | YES | 19.9552 | 4.8523 | 0.0061658 | -0.028727 | 0.0013841 | 0.030112 |  | 10 | -0.036909
9 | YES | 9.5426 | 4.9445 | 0.0069767 | -0.020454 | 0.0013841 | 0.021839 |  | 10 | -0.024909
9 | YES | 1.8813 | 5.3918 | 0.056182 | 0.0778 | 0.0013841 | -0.076416 |  | 10 | -0.039363
10 | YES | 147.475 | 4.8584 | 0.0036951 | -0.019636 | 0.0027947 | 0.022431 |  | 10 | -0.034455
10 | YES | 124.697 | 4.8434 | 0.0041779 | -0.039636 | 0.0027947 | 0.042431 |  | 10 | -0.037545
10 | YES | 99.8119 | 4.8581 | 0.0048466 | -0.036909 | 0.0027947 | 0.039704 |  | 10 | -0.029728
10 | YES | 74.7422 | 4.8651 | 0.0059742 | -0.024909 | 0.0027947 | 0.027704 |  | 10 | 0.0038185
10 | YES | 49.4405 | 4.8906 | 0.0055905 | -0.039363 | 0.0027947 | 0.042158 |  | 11 | -0.053091
10 | YES | 30.0063 | 4.9256 | 0.0078786 | -0.034455 | 0.0027947 | 0.037249 |  | 11 | -0.044727
10 | YES | 19.6698 | 4.9124 | 0.0051061 | -0.037545 | 0.0027947 | 0.04034 |  | 11 | -0.050727
10 | YES | 10.0484 | 4.9013 | 0.0080136 | -0.029728 | 0.0027947 | 0.032522 |  | 11 | -0.045727
10 | YES | 1.5687 | 5.1518 | 0.010515 | 0.0038185 | 0.0027947 | -0.0010238 |  | 11 | -0.0063634
11 | YES | 88.2053 | 4.7039 | 0.006123 | -0.053091 | 0.0042053 | 0.057296 |  | 11 | -0.044364
11 | YES | 74.8985 | 4.7833 | 0.0053496 | -0.044727 | 0.0042053 | 0.048933 |  | 11 | -0.054545
11 | YES | 49.9885 | 4.8813 | 0.010287 | -0.050727 | 0.0042053 | 0.054933 |  | 13 | 0.114
11 | YES | 30.1782 | 4.8903 | 0.0036356 | -0.045727 | 0.0042053 | 0.049933 |  | 13 | 0.086727
11 | YES | 19.2767 | 4.9376 | 0.0095841 | -0.0063634 | 0.0042053 | 0.010569 |  | 13 | 0.022454
11 | YES | 9.6468 | 4.9376 | 0.0078393 | -0.044364 | 0.0042053 | 0.048569 |  | 13 | 0.12
11 | YES | 1.535 | 4.9314 | 0.011405 | -0.054545 | 0.0042053 | 0.058751 |  | 14 | 0.046182
12 | NO | 31.8388 | 1.359 | 0.29623 | -2.232 | 0.0056158 | 2.2376 |  | 14 | 0.035546
12 | NO | 19.5943 | 4.8273 | 0.063084 | 0.87227 | 0.0056158 | -0.86666 |  | 14 | 0.17045
12 | NO | 9.7169 | 7.1577 | 0.012158 | 0.51773 | 0.0056158 | -0.51211 |  | 14 | 0.17391
12 | NO | 1.8348 | 7.4206 | 0.27489 | -0.52336 | 0.0056158 | 0.52898 |  | 14 | -0.13682
13 | YES | 66.9742 | 1.243 | 0.0082219 | 0.114 | 0.0070264 | -0.10697 |  | 14 | 0.0248
13 | YES | 49.4777 | 1.2677 | 0.02866 | 0.086727 | 0.0070264 | -0.079701 |  | 15 | -0.15664
13 | YES | 30.6011 | 2.3215 | 0.014659 | 0.022454 | 0.0070264 | -0.015428 |  | 15 | 0.023
13 | YES | 19.8428 | 3.955 | 0.025187 | 0.12 | 0.0070264 | -0.11297 |  | 15 | -0.193
13 | NO | 9.9861 | 6.855 | 0.0067082 | 0.804 | 0.0070264 | -0.79697 |  | 16 | 0.091455
13 | NO | 1.653 | 8.0081 | 0.38159 | -0.61591 | 0.0070264 | 0.62294 |  | 16 | 0.12518
14 | YES | 113.973 | 0.046182 | 0.0027136 | 0.046182 | 0.008437 | -0.037745 |  | 16 | 0.058364
14 | YES | 99.6479 | 0.035546 | 0.0044803 | 0.035546 | 0.008437 | -0.027109 |  | 16 | -0.027273
14 | NO | 74.6526 | 1.0276 | 0.0038281 | 0.41364 | 0.008437 | -0.4052 |  | 16 | -0.22054
14 | NO | 50.0698 | 1.3308 | 0.0097552 | -0.37018 | 0.008437 | 0.37862 |  | 16 | -0.26073
14 | YES | 30.0063 | 3.1115 | 0.058736 | 0.17045 | 0.008437 | -0.16202 |  | 16 | 0.17427
14 | YES | 19.9268 | 4.3199 | 0.019725 | 0.17391 | 0.008437 | -0.16547 |  | 19 | -0.077182
14 | YES | 9.7954 | 5.4402 | 0.065953 | -0.13682 | 0.008437 | 0.14525 |  | 19 | -0.0052727
14 | YES | 1.9581 | 8.6308 | 0.50364 | 0.0248 | 0.008437 | -0.016363 |  | 19 | -0.045
15 | YES | 61.0388 | 2.0994 | 0.025676 | -0.15664 | 0.0098475 | 0.16648 |  | 19 | -0.0078182
15 | YES | 50.217 | 2.428 | 0 | 0.023 | 0.0098475 | -0.013152 |  | 19 | 0.015364
15 | NO | 29.9874 | 3.1512 | 0.0095375 | -0.30682 | 0.0098475 | 0.31667 |  | 19 | 0.060364
15 | NO | 20.2294 | 3.7155 | 0.004947 | -0.33145 | 0.0098475 | 0.3413 |  | 19 | -0.034545
15 | YES | 10.0953 | 5.107 | 0.078219 | -0.193 | 0.0098475 | 0.20285 |  | 19 | 0.057363
15 | NO | 1.9307 | 6.2372 | 0.1431 | -1.8348 | 0.0098475 | 1.8446 |  | 19 | 0.23673
16 | YES | 197.637 | 0.11245 | 0.025777 | 0.091455 | 0.011258 | -0.080196 |  | 20 | -0.17382
16 | YES | 175.347 | 0.20918 | 0.0068676 | 0.12518 | 0.011258 | -0.11392 |  | 20 | -0.02
16 | YES | 149.99 | 0.21636 | 0.027631 | 0.058364 | 0.011258 | -0.047105 |  | 20 | -0.020182
16 | YES | 125.173 | 1.5687 | 0.017217 | -0.027273 | 0.011258 | 0.038531 |  | 20 | 0.132
16 | YES | 100.146 | 1.6124 | 0.0015076 | -0.22054 | 0.011258 | 0.2318 |  | 20 | 0.069454
16 | YES | 74.9621 | 1.6593 | 0.011748 | -0.26073 | 0.011258 | 0.27199 |  | 20 | -0.039364
16 | NO | 50.3125 | 2.1152 | 0.0027863 | -0.33782 | 0.011258 | 0.34908 |  | 20 | 0.085909
16 | YES | 30.2665 | 3.0573 | 0.0053308 | 0.17427 | 0.011258 | -0.16301 |  | 21 | -0.034091
16 | NO | 19.9071 | 3.6235 | 0.010746 | -0.44355 | 0.011258 | 0.4548 |  | 21 | -0.011727
16 | NO | 10.0955 | 4.1821 | 0.020535 | -0.64791 | 0.011258 | 0.65917 |  | 21 | 0.20809
16 | NO | 2.0714 | 4.63 | 0.22162 | -3.592 | 0.011258 | 3.6033 |  | 21 | 0.055909
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.40859 | 0.012669 | 0.42126 |  | 21 | 0.086545
17 | NO | 38.298 | 0.41741 | 0.081272 | -0.34759 | 0.012669 | 0.36026 |  | 21 | 0.1842
18 | NO | 44.0698 | 0.79073 | 0.03987 | -0.41527 | 0.014079 | 0.42935 |  | 22 | -0.29073
19 | YES | 154.771 | 0.45682 | 0.012836 | -0.077182 | 0.01549 | 0.092672 |  | 22 | 0.124
19 | YES | 124.637 | 1.6437 | 0.0045407 | -0.0052727 | 0.01549 | 0.020763 |  | 22 | 0.062091
19 | YES | 99.4457 | 1.754 | 0 | -0.045 | 0.01549 | 0.06049 |  | 22 | 0.022728
19 | YES | 74.6117 | 1.8602 | 0.0028572 | -0.0078182 | 0.01549 | 0.023308 |  | 23 | -0.035455
19 | YES | 49.9593 | 2.4334 | 0.010689 | 0.015364 | 0.01549 | 0.00012612 |  | 23 | 0.014636
19 | YES | 30.1711 | 3.4844 | 0.0055547 | 0.060364 | 0.01549 | -0.044874 |  | 23 | 0.091727
19 | YES | 19.965 | 3.9985 | 0.012103 | -0.034545 | 0.01549 | 0.050035 |  | 23 | 0.090636
19 | YES | 9.5909 | 4.7544 | 0.026684 | 0.057363 | 0.01549 | -0.041874 |  | 23 | 0.057909
19 | YES | 1.8714 | 8.5777 | 0.12177 | 0.23673 | 0.01549 | -0.22124 |  | 23 | 0.26636
20 | YES | 117.886 | 1.4592 | 0.0048748 | -0.17382 | 0.0169 | 0.19072 |  | 23 | -0.10191
20 | YES | 99.2075 | 1.74 | 0.002 | -0.02 | 0.0169 | 0.0369 |  | 24 | 0.055454
20 | YES | 74.9063 | 1.8278 | 0.0063533 | -0.020182 | 0.0169 | 0.037082 |  | 24 | 0.024818
20 | YES | 49.8422 | 2.485 | 0.0074431 | 0.132 | 0.0169 | -0.1151 |  | 24 | -0.011273
20 | YES | 29.9991 | 3.4804 | 0.0045026 | 0.069454 | 0.0169 | -0.052554 |  | 25 | -0.010727
20 | YES | 19.8593 | 3.8056 | 0.0074736 | -0.039364 | 0.0169 | 0.056264 |  | 25 | 0.015636
20 | YES | 9.7442 | 4.8579 | 0.010473 | 0.085909 | 0.0169 | -0.069009 |  | 25 | 0.095091
20 | NO | 1.7615 | 8.6347 | 0.064293 | 0.5597 | 0.0169 | -0.5428 |  | 25 | 0.035273
21 | YES | 83.2452 | 1.7419 | 0.014842 | -0.034091 | 0.018311 | 0.052402 |  | 25 | -0.15127
21 | YES | 74.6074 | 1.7643 | 0.0051787 | -0.011727 | 0.018311 | 0.030038 |  | 25 | 0.11182
21 | YES | 49.639 | 2.5151 | 0.0073682 | 0.20809 | 0.018311 | -0.18978 |  | 26 | -0.0045455
21 | YES | 29.4204 | 3.3819 | 0.0029481 | 0.055909 | 0.018311 | -0.037598 |  | 26 | -0.037455
21 | YES | 19.9645 | 3.7856 | 0.0047194 | 0.086545 | 0.018311 | -0.068235 |  | 26 | 0.081273
21 | NO | 9.5416 | 5.1457 | 0.0063733 | 0.59473 | 0.018311 | -0.57642 |  | 26 | 0.020727
21 | YES | 1.6553 | 7.9222 | 0.14048 | 0.1842 | 0.018311 | -0.16589 |  | 26 | -0.0015454
22 | YES | 59.7893 | 1.9063 | 0.004101 | -0.29073 | 0.019722 | 0.31045
22 | YES | 49.2192 | 2.486 | 0.044098 | 0.124 | 0.019722 | -0.10428
22 | YES | 30.1262 | 3.3411 | 0.0051079 | 0.062091 | 0.019722 | -0.042369
22 | YES | 20.3572 | 3.7707 | 0.0057809 | 0.022728 | 0.019722 | -0.003006
22 | NO | 9.6536 | 4.7092 | 0.08778 | 0.36518 | 0.019722 | -0.34546
23 | YES | 95.0512 | 1.5446 | 0.0090151 | -0.035455 | 0.021132 | 0.056587
23 | YES | 74.6829 | 1.6586 | 0.014644 | 0.014636 | 0.021132 | 0.0064958
23 | YES | 49.897 | 2.7477 | 0.0029695 | 0.091727 | 0.021132 | -0.070595
23 | YES | 29.6953 | 3.3826 | 0.0064385 | 0.090636 | 0.021132 | -0.069504
23 | YES | 20.0008 | 3.7229 | 0.0033602 | 0.057909 | 0.021132 | -0.036777
23 | YES | 9.6757 | 4.6594 | 0.0070466 | 0.26636 | 0.021132 | -0.24523
23 | YES | 1.7511 | 7.7641 | 0.06079 | -0.10191 | 0.021132 | 0.12304
24 | YES | 83.3142 | 1.6994 | 0.056842 | 0.055454 | 0.022543 | -0.032912
24 | NO | 74.6951 | 1.7416 | 0.0056617 | 0.39264 | 0.022543 | -0.37009
24 | NO | 49.9684 | 2.7786 | 0.005716 | 0.34654 | 0.022543 | -0.324
24 | YES | 29.8785 | 3.3898 | 0.0054003 | 0.024818 | 0.022543 | -0.0022755
24 | YES | 19.6254 | 3.7337 | 0.0053869 | -0.011273 | 0.022543 | 0.033815
24 | NO | 9.638 | 5.1068 | 0.0068384 | 0.74182 | 0.022543 | -0.71928
24 | NO | 2.2094 | 8.4906 | 0.44296 | 0.54664 | 0.022543 | -0.52409
25 | YES | 85.6643 | 1.9023 | 0.010306 | -0.010727 | 0.023953 | 0.034681
25 | YES | 74.5976 | 1.9186 | 0.0036407 | 0.015636 | 0.023953 | 0.0083169
25 | YES | 49.9842 | 2.8641 | 0.0046358 | 0.095091 | 0.023953 | -0.071138
25 | YES | 29.5866 | 3.4913 | 0.0075643 | 0.035273 | 0.023953 | -0.011319
25 | YES | 19.889 | 3.7647 | 0.0057635 | -0.15127 | 0.023953 | 0.17523
25 | NO | 9.8508 | 5.378 | 0.017765 | 0.709 | 0.023953 | -0.68505
25 | YES | 2.4898 | 8.0508 | 0.020619 | 0.11182 | 0.023953 | -0.087865
26 | YES | 96.8162 | 2.0394 | 0.0044803 | -0.0045455 | 0.025364 | 0.029909
26 | YES | 74.4521 | 1.8885 | 0.0046122 | -0.037455 | 0.025364 | 0.062818
26 | YES | 49.9776 | 2.8973 | 0.0045845 | 0.081273 | 0.025364 | -0.055909
26 | YES | 29.7865 | 3.6317 | 0.0036357 | 0.020727 | 0.025364 | 0.0046366
26 | YES | 19.7318 | 4.0445 | 0.0063146 | -0.0015454 | 0.025364 | 0.026909
26 | NO | 9.5166 | 5.2614 | 0.039444 | 0.32636 | 0.025364 | -0.301
26 | NO | 2.1082 | 8.6261 | 0.045105 | 0.36209 | 0.025364 | -0.33673
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2012/03/06 17:05:30
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-63-0001.mrgcln2 | 2011-63-0001.sam | 11 | 49.473 | 49.473 | 0.0046044 | 0 | 0 | 0.090454 | 0.0073534 | 0.090454
2011-63-0001.mrgcln2 | 2011-63-0001.sam | 11 | 40.001 | 40.0006 | 0.0021104 | -0.0003624 | 0 | 0.043 | 0 | 0.043
2011-63-0001.mrgcln2 | 2011-63-0001.sam | 11 | 34.893 | 34.8929 | 0.0021662 | -9.1553e-05 | 0 | 0.036 | 0 | 0.036
2011-63-0001.mrgcln2 | 2011-63-0001.sam | 11 | 30.267 | 30.267 | 0.0010952 | 0 | 0.045 | 3.0534 | 0.065985 | 3.0084
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 68.614 | 68.6139 | 0.00070027 | -9.1553e-05 | 4.685 | 4.6226 | 0.005047 | -0.062455
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 49.73 | 49.7301 | 0.0042058 | 9.1553e-05 | 4.701 | 4.6639 | 0.0051857 | -0.037091
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 29.818 | 29.8183 | 0.15203 | 0.00027275 | 4.561 | 4.4704 | 0.0063461 | -0.090545
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 20.027 | 20.0269 | 0.0033006 | -9.1553e-05 | 4.243 | 4.1708 | 0.0050164 | -0.072182
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 9.469 | 9.4688 | 0.0035445 | -0.00018215 | 4.282 | 4.2989 | 0.0053001 | 0.016909
2011-63-0003.mrgcln2 | 2011-63-0003.sam | 11 | 1.752 | 1.7525 | 0.024639 | 0.00045454 | 8.236 | 9.2754 | 0.77742 | 1.0394
2011-63-0004.mrgcln2 | 2011-63-0004.sam | 11 | 47.367 | 47.3669 | 0.0033602 | -9.1553e-05 | 0 | 0.056454 | 0.0032362 | 0.056454
2011-63-0004.mrgcln2 | 2011-63-0004.sam | 11 | 39.856 | 39.856 | 0.0029999 | 0 | 0 | 0.043 | 0 | 0.043
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 15 | 120.04 | 120.078 | 0.029366 | 0.038399 | 0 | 0.052667 | 0.0023805 | 0.052667
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 15 | 120.092 | 120.078 | 0.029366 | -0.013603 | 0.092 | 0.052667 | 0.0023805 | -0.039333
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 99.38 | 99.3803 | 0.00064631 | 0.00027466 | 0.035 | 0.038 | 0 | 0.003
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 74.381 | 74.3811 | 0.0087809 | 9.1553e-05 | 3.593 | 3.829 | 0.019016 | 0.236
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 51.288 | 51.2875 | 0.006919 | -0.00045395 | 4.088 | 4.0508 | 0.0079853 | -0.037181
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 31.132 | 31.1317 | 0.003744 | -0.00027275 | 3.864 | 3.8664 | 0.003749 | 0.0023637
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 19.524 | 19.5237 | 0.0048803 | -0.00027275 | 4 | 4.035 | 0.0042426 | 0.035
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 9.311 | 9.3105 | 0.0035317 | -0.0004549 | 3.693 | 3.6362 | 0.030485 | -0.056818
2011-63-0006.mrgcln2 | 2011-63-0006.sam | 11 | 1.743 | 1.7426 | 0.30518 | -0.00036371 | 7.656 | 7.1649 | 1.3729 | -0.49109
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 101.876 | 101.876 | 0.27308 | 0 | 0 | 0.068 | 0.0036332 | 0.068
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 74.576 | 74.5764 | 0.0031412 | 0.00036621 | 4.351 | 4.4613 | 0.0046064 | 0.11027
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 49.343 | 49.3428 | 0.0027509 | -0.00017929 | 4.574 | 4.5454 | 0.0057493 | -0.028636
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 29.645 | 29.6454 | 0.0025403 | 0.0003624 | 3.986 | 3.9212 | 0.0038162 | -0.064818
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 19.078 | 19.0779 | 0.0036457 | -8.9645e-05 | 3.948 | 3.9264 | 0.0049451 | -0.021636
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 9.67 | 9.6698 | 0.0035725 | -0.00018215 | 3.904 | 3.9344 | 0.043562 | 0.030364
2011-63-0007.mrgcln2 | 2011-63-0007.sam | 11 | 1.733 | 1.7326 | 0.056737 | -0.00036371 | 7.733 | 8.3084 | 0.14058 | 0.57536
2011-63-0008.mrgcln2 | 2011-63-0008.sam | 11 | 49.731 | 49.7313 | 0.0019541 | 0.00027466 | 4.694 | 4.6772 | 0.0043317 | -0.016818
2011-63-0008.mrgcln2 | 2011-63-0008.sam | 11 | 29.193 | 29.1929 | 0.00070101 | -9.1553e-05 | 4.375 | 4.1335 | 0.010681 | -0.24146
2011-63-0008.mrgcln2 | 2011-63-0008.sam | 11 | 19.457 | 19.4573 | 0.004101 | 0.00027275 | 4.061 | 3.9606 | 0.0059879 | -0.10036
2011-63-0008.mrgcln2 | 2011-63-0008.sam | 11 | 9.64 | 9.6404 | 0.0035598 | 0.00045395 | 4.157 | 4.4343 | 0.0084391 | 0.27727
2011-63-0009.mrgcln2 | 2011-63-0009.sam | 11 | 65.122 | 65.1224 | 0.04555 | 0.00035858 | 4.698 | 4.6916 | 0.0095107 | -0.0063634
2011-63-0009.mrgcln2 | 2011-63-0009.sam | 11 | 49.473 | 49.4732 | 0.0036556 | 0.00018311 | 4.55 | 4.5273 | 0.0020047 | -0.022728
2011-63-0009.mrgcln2 | 2011-63-0009.sam | 11 | 29.594 | 29.5942 | 0.0048128 | 0.0001812 | 4.431 | 4.3682 | 0.0038163 | -0.062818
2011-63-0009.mrgcln2 | 2011-63-0009.sam | 11 | 19.692 | 19.6924 | 0.003472 | 0.0003643 | 4.13 | 4.0606 | 0.0038044 | -0.069455
2011-63-0009.mrgcln2 | 2011-63-0009.sam | 11 | 9.691 | 9.6914 | 0.0032049 | 0.0004549 | 6.483 | 4.2359 | 0.025185 | -2.2471
2011-63-0010.mrgcln2 | 2011-63-0010.sam | 11 | 53.182 | 53.1817 | 0.0043622 | -0.00027084 | 4.834 | 4.7907 | 0.0054054 | -0.043273
2011-63-0010.mrgcln2 | 2011-63-0010.sam | 11 | 30.112 | 30.1118 | 0.0055999 | -0.0001812 | 4.889 | 4.7526 | 0.0069622 | -0.13645
2011-63-0010.mrgcln2 | 2011-63-0010.sam | 11 | 19.535 | 19.5347 | 0.0081249 | -0.00027275 | 4.36 | 4.2206 | 0.056585 | -0.13936
2011-63-0010.mrgcln2 | 2011-63-0010.sam | 11 | 9.79 | 9.7902 | 0.00343 | 0.00018215 | 4.399 | 4.5572 | 0.010226 | 0.15818
2011-63-0010.mrgcln2 | 2011-63-0010.sam | 11 | 1.743 | 1.7434 | 0.015403 | 0.00036359 | 6.02 | 6.231 | 0.12781 | 0.211
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 11 | 73.687 | 73.6867 | 0.053081 | -0.00026703 | 4.823 | 4.789 | 0.0026077 | -0.034
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 11 | 50.132 | 50.1317 | 0.0039267 | -0.00027084 | 4.875 | 4.8491 | 0.0032389 | -0.025909
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 11 | 29.926 | 29.9259 | 0.011058 | -9.1553e-05 | 4.907 | 4.8646 | 0.0061541 | -0.042455
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 11 | 19.955 | 19.9552 | 0.0036831 | 0.0001812 | 4.881 | 4.8523 | 0.0061658 | -0.028727
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 11 | 9.543 | 9.5426 | 0.03897 | -0.0003643 | 4.965 | 4.9445 | 0.0069767 | -0.020454
2011-63-0011.mrgcln2 | 2011-63-0011.sam | 10 | 1.881 | 1.8813 | 0.021072 | 0.00029993 | 5.314 | 5.3918 | 0.056182 | 0.0778
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 147.475 | 147.475 | 0.025068 | -0.00036621 | 4.878 | 4.8584 | 0.0036951 | -0.019636
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 124.697 | 124.697 | 0.0045257 | 9.1553e-05 | 4.883 | 4.8434 | 0.0041779 | -0.039636
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 99.812 | 99.8119 | 0.0032097 | -8.3923e-05 | 4.895 | 4.8581 | 0.0048466 | -0.036909
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 74.742 | 74.7422 | 0.0035465 | 0.00018311 | 4.89 | 4.8651 | 0.0059742 | -0.024909
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 49.441 | 49.4405 | 0.012485 | -0.00045395 | 4.93 | 4.8906 | 0.0055905 | -0.039363
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 30.006 | 30.0063 | 0.0026493 | 0.00027275 | 4.96 | 4.9256 | 0.0078786 | -0.034455
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 19.67 | 19.6698 | 0.058356 | -0.0001812 | 4.95 | 4.9124 | 0.0051061 | -0.037545
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 10.048 | 10.0484 | 0.00067402 | 0.00036335 | 4.931 | 4.9013 | 0.0080136 | -0.029728
2011-63-0012.mrgcln2 | 2011-63-0012.sam | 11 | 1.569 | 1.5687 | 0.036976 | -0.00027275 | 5.148 | 5.1518 | 0.010515 | 0.0038185
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 88.205 | 88.2053 | 0.10088 | 0.00026703 | 4.757 | 4.7039 | 0.006123 | -0.053091
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 74.898 | 74.8985 | 0.011826 | 0.00045013 | 4.828 | 4.7833 | 0.0053496 | -0.044727
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 49.988 | 49.9885 | 0.03681 | 0.00045395 | 4.932 | 4.8813 | 0.010287 | -0.050727
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 30.178 | 30.1782 | 0.034441 | 0.00018311 | 4.936 | 4.8903 | 0.0036356 | -0.045727
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 19.277 | 19.2767 | 0.31935 | -0.00027275 | 4.944 | 4.9376 | 0.0095841 | -0.0063634
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 9.647 | 9.6468 | 0.16387 | -0.00018215 | 4.982 | 4.9376 | 0.0078393 | -0.044364
2011-63-0013.mrgcln2 | 2011-63-0013.sam | 11 | 1.535 | 1.535 | 0.15179 | 0 | 4.986 | 4.9314 | 0.011405 | -0.054545
2011-63-0014.mrgcln2 | 2011-63-0014.sam | 11 | 31.839 | 31.8388 | 0.0036556 | -0.00018311 | 3.591 | 1.359 | 0.29623 | -2.232
2011-63-0014.mrgcln2 | 2011-63-0014.sam | 11 | 19.594 | 19.5943 | 0.0036908 | 0.00027275 | 3.955 | 4.8273 | 0.063084 | 0.87227
2011-63-0014.mrgcln2 | 2011-63-0014.sam | 11 | 9.717 | 9.7169 | 0.006379 | -9.0599e-05 | 6.64 | 7.1577 | 0.012158 | 0.51773
2011-63-0014.mrgcln2 | 2011-63-0014.sam | 11 | 1.835 | 1.8348 | 0.0028572 | -0.00018191 | 7.944 | 7.4206 | 0.27489 | -0.52336
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 66.974 | 66.9742 | 0.010533 | 0.00018311 | 1.129 | 1.243 | 0.0082219 | 0.114
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 49.478 | 49.4777 | 0.019754 | -0.00027466 | 1.181 | 1.2677 | 0.02866 | 0.086727
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 30.601 | 30.6011 | 0.006252 | 9.1553e-05 | 2.299 | 2.3215 | 0.014659 | 0.022454
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 19.843 | 19.8428 | 0.0030595 | -0.00018311 | 3.835 | 3.955 | 0.025187 | 0.12
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 9.986 | 9.9861 | 0.0025478 | 9.0599e-05 | 6.051 | 6.855 | 0.0067082 | 0.804
2011-63-0015.mrgcln2 | 2011-63-0015.sam | 11 | 1.653 | 1.653 | 0.0078103 | 0 | 8.624 | 8.0081 | 0.38159 | -0.61591
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 113.973 | 113.973 | 0.0045257 | 9.1553e-05 | 0 | 0.046182 | 0.0027136 | 0.046182
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 99.648 | 99.6479 | 0.010578 | -9.1553e-05 | 0 | 0.035546 | 0.0044803 | 0.035546
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 74.653 | 74.6526 | 0.0040788 | -0.00036621 | 0.614 | 1.0276 | 0.0038281 | 0.41364
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 50.07 | 50.0698 | 0.0031247 | -0.00018311 | 1.701 | 1.3308 | 0.0097552 | -0.37018
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 30.006 | 30.0063 | 0.00046684 | 0.00027275 | 2.941 | 3.1115 | 0.058736 | 0.17045
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 19.927 | 19.9268 | 0.00060269 | -0.0001812 | 4.146 | 4.3199 | 0.019725 | 0.17391
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 11 | 9.795 | 9.7954 | 0.0028729 | 0.00036335 | 5.577 | 5.4402 | 0.065953 | -0.13682
2011-63-0016.mrgcln2 | 2011-63-0016.sam | 10 | 1.958 | 1.9581 | 0.0038716 | 0.00010002 | 8.606 | 8.6308 | 0.50364 | 0.0248
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 11 | 61.039 | 61.0388 | 0.0036556 | -0.00018311 | 2.256 | 2.0994 | 0.025676 | -0.15664
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 11 | 50.217 | 50.217 | 0.0035497 | 0 | 2.405 | 2.428 | 0 | 0.023
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 11 | 29.987 | 29.9874 | 0.0042721 | 0.0003643 | 3.458 | 3.1512 | 0.0095375 | -0.30682
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 11 | 20.229 | 20.2294 | 0.003472 | 0.0003643 | 4.047 | 3.7155 | 0.004947 | -0.33145
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 11 | 10.095 | 10.0953 | 0.003165 | 0.00027275 | 5.3 | 5.107 | 0.078219 | -0.193
2011-63-0017.mrgcln2 | 2011-63-0017.sam | 10 | 1.931 | 1.9307 | 0.0035606 | -0.00030005 | 8.072 | 6.2372 | 0.1431 | -1.8348
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 197.637 | 197.637 | 0 | 0 | 0.021 | 0.11245 | 0.025777 | 0.091455
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 175.347 | 175.347 | 0.0019916 | -0.00018311 | 0.084 | 0.20918 | 0.0068676 | 0.12518
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 149.99 | 149.99 | 0.00040122 | 0.00018311 | 0.158 | 0.21636 | 0.027631 | 0.058364
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 125.173 | 125.173 | 0.00040738 | 0.00018311 | 1.596 | 1.5687 | 0.017217 | -0.027273
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 100.146 | 100.146 | 0.0031148 | -9.9182e-05 | 1.833 | 1.6124 | 0.0015076 | -0.22054
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 74.962 | 74.9621 | 0.00070026 | 9.1553e-05 | 1.92 | 1.6593 | 0.011748 | -0.26073
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 50.312 | 50.3125 | 0.0022521 | 0.00045395 | 2.453 | 2.1152 | 0.0027863 | -0.33782
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 30.266 | 30.2665 | 0.00068758 | 0.00045395 | 2.883 | 3.0573 | 0.0053308 | 0.17427
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 19.907 | 19.9071 | 0.0020226 | 9.1553e-05 | 4.067 | 3.6235 | 0.010746 | -0.44355
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 11 | 10.096 | 10.0955 | 0.0020669 | -0.00045395 | 4.83 | 4.1821 | 0.020535 | -0.64791
2011-63-0018.mrgcln2 | 2011-63-0018.sam | 10 | 2.071 | 2.0714 | 0.00084326 | 0.00040007 | 8.222 | 4.63 | 0.22162 | -3.592
2011-63-0019.mrgcln2 | 2011-63-0019.sam | 17 | 38.296 | 38.298 | 0.0043008 | 0.0019989 | 0.826 | 0.41741 | 0.081272 | -0.40859
2011-63-0019.mrgcln2 | 2011-63-0019.sam | 17 | 38.299 | 38.298 | 0.0043008 | -0.00099945 | 0.765 | 0.41741 | 0.081272 | -0.34759
2011-63-0021.mrgcln2 | 2011-63-0021.sam | 11 | 44.07 | 44.0698 | 0.0080489 | -0.00018311 | 1.206 | 0.79073 | 0.03987 | -0.41527
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 154.771 | 154.771 | 0.0042172 | 0.00027466 | 0.534 | 0.45682 | 0.012836 | -0.077182
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 124.637 | 124.637 | 0.0058694 | 0.00036621 | 1.649 | 1.6437 | 0.0045407 | -0.0052727
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 99.446 | 99.4457 | 0.0096443 | -0.00027466 | 1.799 | 1.754 | 0 | -0.045
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 74.612 | 74.6117 | 0.0031634 | -0.00027466 | 1.868 | 1.8602 | 0.0028572 | -0.0078182
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 49.959 | 49.9593 | 0.0041738 | 0.00027466 | 2.418 | 2.4334 | 0.010689 | 0.015364
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 30.171 | 30.1711 | 0.0022115 | 9.1553e-05 | 3.424 | 3.4844 | 0.0055547 | 0.060364
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 19.965 | 19.965 | 0.016438 | 0 | 4.033 | 3.9985 | 0.012103 | -0.034545
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 9.591 | 9.5909 | 0.0025867 | -9.0599e-05 | 4.697 | 4.7544 | 0.026684 | 0.057363
2011-63-0023.mrgcln2 | 2011-63-0023.sam | 11 | 1.871 | 1.8714 | 0.0068742 | 0.00036359 | 8.341 | 8.5777 | 0.12177 | 0.23673
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 117.886 | 117.886 | 0.003123 | -0.00018311 | 1.633 | 1.4592 | 0.0048748 | -0.17382
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 99.207 | 99.2075 | 0.0023804 | 0.00045776 | 1.76 | 1.74 | 0.002 | -0.02
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 74.906 | 74.9063 | 0.002453 | 0.00027466 | 1.848 | 1.8278 | 0.0063533 | -0.020182
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 49.842 | 49.8422 | 0.0032197 | 0.00018311 | 2.353 | 2.485 | 0.0074431 | 0.132
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 29.999 | 29.9991 | 0.0028091 | 8.9645e-05 | 3.411 | 3.4804 | 0.0045026 | 0.069454
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 19.859 | 19.8593 | 0.0026111 | 0.00027275 | 3.845 | 3.8056 | 0.0074736 | -0.039364
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 11 | 9.744 | 9.7442 | 0.013681 | 0.0001812 | 4.772 | 4.8579 | 0.010473 | 0.085909
2011-63-0024.mrgcln2 | 2011-63-0024.sam | 10 | 1.762 | 1.7615 | 0.013058 | -0.00049996 | 8.075 | 8.6347 | 0.064293 | 0.5597
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 83.245 | 83.2452 | 0.002041 | 0.00018311 | 1.776 | 1.7419 | 0.014842 | -0.034091
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 74.607 | 74.6074 | 0.0028011 | 0.00036621 | 1.776 | 1.7643 | 0.0051787 | -0.011727
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 49.639 | 49.639 | 0.0025687 | 0 | 2.307 | 2.5151 | 0.0073682 | 0.20809
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 29.42 | 29.4204 | 0.0040807 | 0.0003643 | 3.326 | 3.3819 | 0.0029481 | 0.055909
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 19.965 | 19.9645 | 0.00311 | -0.00045395 | 3.699 | 3.7856 | 0.0047194 | 0.086545
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 11 | 9.542 | 9.5416 | 0.0042017 | -0.00036335 | 4.551 | 5.1457 | 0.0063733 | 0.59473
2011-63-0025.mrgcln2 | 2011-63-0025.sam | 10 | 1.655 | 1.6553 | 0.0029833 | 0.00030005 | 7.738 | 7.9222 | 0.14048 | 0.1842
2011-63-0026.mrgcln2 | 2011-63-0026.sam | 11 | 59.789 | 59.7893 | 0.017013 | 0.00027084 | 2.197 | 1.9063 | 0.004101 | -0.29073
2011-63-0026.mrgcln2 | 2011-63-0026.sam | 11 | 49.219 | 49.2192 | 0.00075155 | 0.00017929 | 2.362 | 2.486 | 0.044098 | 0.124
2011-63-0026.mrgcln2 | 2011-63-0026.sam | 11 | 30.126 | 30.1262 | 0.0084121 | 0.00018311 | 3.279 | 3.3411 | 0.0051079 | 0.062091
2011-63-0026.mrgcln2 | 2011-63-0026.sam | 11 | 20.357 | 20.3572 | 0.0029601 | 0.0001812 | 3.748 | 3.7707 | 0.0057809 | 0.022728
2011-63-0026.mrgcln2 | 2011-63-0026.sam | 11 | 9.654 | 9.6536 | 0.0011199 | -0.0003643 | 4.344 | 4.7092 | 0.08778 | 0.36518
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 95.051 | 95.0512 | 0.41663 | 0.00018311 | 1.58 | 1.5446 | 0.0090151 | -0.035455
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 74.683 | 74.6829 | 0.0050683 | -9.1553e-05 | 1.644 | 1.6586 | 0.014644 | 0.014636
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 49.897 | 49.897 | 0.004074 | 0 | 2.656 | 2.7477 | 0.0029695 | 0.091727
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 29.695 | 29.6953 | 0.005387 | 0.00027275 | 3.292 | 3.3826 | 0.0064385 | 0.090636
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 20.001 | 20.0008 | 0.0019401 | -0.0001812 | 3.665 | 3.7229 | 0.0033602 | 0.057909
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 9.676 | 9.6757 | 0.0030362 | -0.00027275 | 4.393 | 4.6594 | 0.0070466 | 0.26636
2011-63-0027.mrgcln2 | 2011-63-0027.sam | 11 | 1.751 | 1.7511 | 0.037732 | 9.0838e-05 | 7.866 | 7.7641 | 0.06079 | -0.10191
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 83.314 | 83.3142 | 0.0062102 | 0.00017548 | 1.644 | 1.6994 | 0.056842 | 0.055454
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 74.695 | 74.6951 | 0.0070637 | 9.1553e-05 | 1.349 | 1.7416 | 0.0056617 | 0.39264
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 49.968 | 49.9684 | 0.0073657 | 0.00036621 | 2.432 | 2.7786 | 0.005716 | 0.34654
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 29.879 | 29.8785 | 0.009004 | -0.00045395 | 3.365 | 3.3898 | 0.0054003 | 0.024818
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 19.625 | 19.6254 | 0.0045226 | 0.0003643 | 3.745 | 3.7337 | 0.0053869 | -0.011273
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 9.638 | 9.638 | 0.0076685 | 0 | 4.365 | 5.1068 | 0.0068384 | 0.74182
2011-63-0028.mrgcln2 | 2011-63-0028.sam | 11 | 2.209 | 2.2094 | 0.0062172 | 0.00036359 | 7.944 | 8.4906 | 0.44296 | 0.54664
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 85.664 | 85.6643 | 0.017384 | 0.00027466 | 1.913 | 1.9023 | 0.010306 | -0.010727
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 74.598 | 74.5976 | 0.016506 | -0.00035858 | 1.903 | 1.9186 | 0.0036407 | 0.015636
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 49.984 | 49.9842 | 0.010457 | 0.00018311 | 2.769 | 2.8641 | 0.0046358 | 0.095091
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 29.587 | 29.5866 | 0.033073 | -0.0003643 | 3.456 | 3.4913 | 0.0075643 | 0.035273
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 19.889 | 19.889 | 0.0087748 | 0 | 3.916 | 3.7647 | 0.0057635 | -0.15127
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 9.851 | 9.8508 | 0.031629 | -0.0001812 | 4.669 | 5.378 | 0.017765 | 0.709
2011-63-0029.mrgcln2 | 2011-63-0029.sam | 11 | 2.49 | 2.4898 | 0.01846 | -0.00018191 | 7.939 | 8.0508 | 0.020619 | 0.11182
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 96.816 | 96.8162 | 0.032279 | 0.00017548 | 2.044 | 2.0394 | 0.0044803 | -0.0045455
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 74.452 | 74.4521 | 0.04601 | 9.1553e-05 | 1.926 | 1.8885 | 0.0046122 | -0.037455
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 49.978 | 49.9776 | 0.031294 | -0.0003624 | 2.816 | 2.8973 | 0.0045845 | 0.081273
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 29.786 | 29.7865 | 0.015069 | 0.00045586 | 3.611 | 3.6317 | 0.0036357 | 0.020727
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 19.732 | 19.7318 | 0.022511 | -0.00018311 | 4.046 | 4.0445 | 0.0063146 | -0.0015454
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 9.517 | 9.5166 | 0.025959 | -0.0004549 | 4.935 | 5.2614 | 0.039444 | 0.32636
2011-63-0030.mrgcln2 | 2011-63-0030.sam | 11 | 2.108 | 2.1082 | 0.019073 | 0.00018168 | 8.264 | 8.6261 | 0.045105 | 0.36209
Create Fit Sheet