## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-76-0016.mrgcln2 | 2011-76-0016.sam | 11 | 22 | 2011-76-0016.mrgcln2 & 2011-76-0016.sam
2 | 2011-76-0018.mrgcln2 | 2011-76-0018.sam | 24 | 35 | 2011-76-0018.mrgcln2 & 2011-76-0018.sam

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.14421 |  | X | CALC Y
m= | -7.4323e-05 | 4.1536e-05 |  | Std Dev of Resid |  | 0.020024 |  | 2.5764 | -0.0067741
b= | -0.0065826 | 0.0063204 |  | Resid Sum of Squares |  | 0.0076184 |  | 324.04 | -0.030666
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 313.206 | 2.6529 | 0.011176 | -0.022143 | -0.029861 | -0.007718 |  | 313.206 | -0.022143
1 | YES | 252.348 | 2.9276 | 0.0035949 | -0.018385 | -0.025338 | -0.0069531 |  | 252.348 | -0.018385
1 | YES | 201.623 | 3.1688 | 0.0087354 | -0.021154 | -0.021568 | -0.00041388 |  | 201.623 | -0.021154
1 | YES | 151.125 | 3.6545 | 0.0041556 | -0.0084617 | -0.017815 | -0.0093529 |  | 151.125 | -0.0084617
1 | NO | 100.533 | 3.571 | 0.0046904 | -0.055 | -0.014055 | 0.040945 |  | 75.1339 | -0.041615
1 | YES | 75.1339 | 3.6514 | 0.006789 | -0.041615 | -0.012167 | 0.029449 |  | 49.8022 | -0.047538
1 | YES | 49.8022 | 3.6045 | 0.0053169 | -0.047538 | -0.010284 | 0.037254 |  | 25.0853 | -0.044231
1 | YES | 25.0853 | 4.5278 | 0.04598 | -0.044231 | -0.008447 | 0.035784 |  | 15.01 | -0.018231
1 | YES | 15.01 | 5.0028 | 0.009248 | -0.018231 | -0.0076982 | 0.010533 |  | 10.2491 | -0.00030756
1 | YES | 10.2491 | 5.3217 | 0.015939 | -0.00030756 | -0.0073444 | -0.0070368 |  | 324.04 | -0.037714
1 | NO | 4.9015 | 5.742 | 0.0063771 | 0.189 | -0.0069469 | -0.19595 |  | 252.628 | -0.041429
1 | NO | 2.5051 | 6.0413 | 0.056957 | 0.11031 | -0.0067688 | -0.11708 |  | 201.638 | -0.023846
2 | YES | 324.04 | 2.7413 | 0.0053698 | -0.037714 | -0.030666 | 0.0070484 |  | 151.46 | -0.021231
2 | YES | 252.628 | 2.8326 | 0.0045015 | -0.041429 | -0.025359 | 0.01607 |  | 100.878 | 0.038692
2 | YES | 201.638 | 2.8561 | 0.0056399 | -0.023846 | -0.021569 | 0.0022775 |  | 75.6291 | -0.0072141
2 | YES | 151.46 | 2.9208 | 0.0059463 | -0.021231 | -0.01784 | 0.0033912 |  | 50.3625 | 0.00023079
2 | YES | 100.878 | 4.6227 | 0.0097672 | 0.038692 | -0.01408 | -0.052772 |  | 25.7438 | 0.0033078
2 | YES | 75.6291 | 5.5288 | 0.0083958 | -0.0072141 | -0.012204 | -0.0049895 |  | 15.4293 | -0.0053844
2 | YES | 50.3625 | 5.6632 | 0.0064051 | 0.00023079 | -0.010326 | -0.010556 |  | 9.7529 | -0.0016155
2 | YES | 25.7438 | 5.7613 | 0.009114 | 0.0033078 | -0.008496 | -0.011804 |  | 5.0333 | -0.0012498
2 | YES | 15.4293 | 5.8386 | 0.0046822 | -0.0053844 | -0.0077294 | -0.0023449 |  | 2.5764 | 0.0096922
2 | YES | 9.7529 | 5.9164 | 0.0058813 | -0.0016155 | -0.0073075 | -0.005692
2 | YES | 5.0333 | 5.9218 | 0.0076529 | -0.0012498 | -0.0069567 | -0.0057069
2 | YES | 2.5764 | 5.9287 | 0.011153 | 0.0096922 | -0.0067741 | -0.016466
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.37711 |  | X | CALC Y
m= | 0.010056 | 0.0029649 |  | Std Dev of Resid |  | 0.017084 |  | 2.6529 | -0.031673
b= | -0.058349 | 0.013384 |  | Resid Sum of Squares |  | 0.0055451 |  | 5.9287 | 0.0012674
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 313.206 | 2.6529 | 0.011176 | -0.022143 | -0.031673 | -0.0095301 |  | 2.6529 | -0.022143
1 | YES | 252.348 | 2.9276 | 0.0035949 | -0.018385 | -0.02891 | -0.010525 |  | 2.9276 | -0.018385
1 | YES | 201.623 | 3.1688 | 0.0087354 | -0.021154 | -0.026484 | -0.0053305 |  | 3.1688 | -0.021154
1 | YES | 151.125 | 3.6545 | 0.0041556 | -0.0084617 | -0.021601 | -0.013139 |  | 3.6545 | -0.0084617
1 | NO | 100.533 | 3.571 | 0.0046904 | -0.055 | -0.022441 | 0.032559 |  | 3.6514 | -0.041615
1 | YES | 75.1339 | 3.6514 | 0.006789 | -0.041615 | -0.021632 | 0.019983 |  | 3.6045 | -0.047538
1 | YES | 49.8022 | 3.6045 | 0.0053169 | -0.047538 | -0.022104 | 0.025434 |  | 4.5278 | -0.044231
1 | YES | 25.0853 | 4.5278 | 0.04598 | -0.044231 | -0.01282 | 0.031411 |  | 5.0028 | -0.018231
1 | YES | 15.01 | 5.0028 | 0.009248 | -0.018231 | -0.0080433 | 0.010188 |  | 5.3217 | -0.00030756
1 | YES | 10.2491 | 5.3217 | 0.015939 | -0.00030756 | -0.0048364 | -0.0045288 |  | 2.7413 | -0.037714
1 | NO | 4.9015 | 5.742 | 0.0063771 | 0.189 | -0.00060991 | -0.18961 |  | 2.8326 | -0.041429
1 | NO | 2.5051 | 6.0413 | 0.056957 | 0.11031 | 0.0023998 | -0.10791 |  | 2.8561 | -0.023846
2 | YES | 324.04 | 2.7413 | 0.0053698 | -0.037714 | -0.030784 | 0.0069307 |  | 2.9208 | -0.021231
2 | YES | 252.628 | 2.8326 | 0.0045015 | -0.041429 | -0.029866 | 0.011563 |  | 4.6227 | 0.038692
2 | YES | 201.638 | 2.8561 | 0.0056399 | -0.023846 | -0.029629 | -0.0057824 |  | 5.5288 | -0.0072141
2 | YES | 151.46 | 2.9208 | 0.0059463 | -0.021231 | -0.028979 | -0.0077483 |  | 5.6632 | 0.00023079
2 | YES | 100.878 | 4.6227 | 0.0097672 | 0.038692 | -0.011865 | -0.050557 |  | 5.7613 | 0.0033078
2 | YES | 75.6291 | 5.5288 | 0.0083958 | -0.0072141 | -0.0027539 | 0.0044602 |  | 5.8386 | -0.0053844
2 | YES | 50.3625 | 5.6632 | 0.0064051 | 0.00023079 | -0.001402 | -0.0016328 |  | 5.9164 | -0.0016155
2 | YES | 25.7438 | 5.7613 | 0.009114 | 0.0033078 | -0.00041574 | -0.0037236 |  | 5.9218 | -0.0012498
2 | YES | 15.4293 | 5.8386 | 0.0046822 | -0.0053844 | 0.00036166 | 0.0057461 |  | 5.9287 | 0.0096922
2 | YES | 9.7529 | 5.9164 | 0.0058813 | -0.0016155 | 0.0011436 | 0.0027591
2 | YES | 5.0333 | 5.9218 | 0.0076529 | -0.0012498 | 0.0011976 | 0.0024474
2 | YES | 2.5764 | 5.9287 | 0.011153 | 0.0096922 | 0.0012674 | -0.0084248
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.17412 |  | X | CALC Y
m= | 0.017361 | 0.0086742 |  | Std Dev of Resid |  | 0.019671 |  | 1 | -0.024674
b= | -0.042035 | 0.014291 |  | Resid Sum of Squares |  | 0.0073522 |  | 2 | -0.0073134
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 313.206 | 2.6529 | 0.011176 | -0.022143 | -0.024674 | -0.0025312 |  | 1 | -0.022143
1 | YES | 252.348 | 2.9276 | 0.0035949 | -0.018385 | -0.024674 | -0.0062894 |  | 1 | -0.018385
1 | YES | 201.623 | 3.1688 | 0.0087354 | -0.021154 | -0.024674 | -0.0035202 |  | 1 | -0.021154
1 | YES | 151.125 | 3.6545 | 0.0041556 | -0.0084617 | -0.024674 | -0.016212 |  | 1 | -0.0084617
1 | NO | 100.533 | 3.571 | 0.0046904 | -0.055 | -0.024674 | 0.030326 |  | 1 | -0.041615
1 | YES | 75.1339 | 3.6514 | 0.006789 | -0.041615 | -0.024674 | 0.016941 |  | 1 | -0.047538
1 | YES | 49.8022 | 3.6045 | 0.0053169 | -0.047538 | -0.024674 | 0.022864 |  | 1 | -0.044231
1 | YES | 25.0853 | 4.5278 | 0.04598 | -0.044231 | -0.024674 | 0.019557 |  | 1 | -0.018231
1 | YES | 15.01 | 5.0028 | 0.009248 | -0.018231 | -0.024674 | -0.0064432 |  | 1 | -0.00030756
1 | YES | 10.2491 | 5.3217 | 0.015939 | -0.00030756 | -0.024674 | -0.024367 |  | 2 | -0.037714
1 | NO | 4.9015 | 5.742 | 0.0063771 | 0.189 | -0.024674 | -0.21367 |  | 2 | -0.041429
1 | NO | 2.5051 | 6.0413 | 0.056957 | 0.11031 | -0.024674 | -0.13498 |  | 2 | -0.023846
2 | YES | 324.04 | 2.7413 | 0.0053698 | -0.037714 | -0.0073134 | 0.030401 |  | 2 | -0.021231
2 | YES | 252.628 | 2.8326 | 0.0045015 | -0.041429 | -0.0073134 | 0.034115 |  | 2 | 0.038692
2 | YES | 201.638 | 2.8561 | 0.0056399 | -0.023846 | -0.0073134 | 0.016533 |  | 2 | -0.0072141
2 | YES | 151.46 | 2.9208 | 0.0059463 | -0.021231 | -0.0073134 | 0.013917 |  | 2 | 0.00023079
2 | YES | 100.878 | 4.6227 | 0.0097672 | 0.038692 | -0.0073134 | -0.046005 |  | 2 | 0.0033078
2 | YES | 75.6291 | 5.5288 | 0.0083958 | -0.0072141 | -0.0073134 | -9.9366e-05 |  | 2 | -0.0053844
2 | YES | 50.3625 | 5.6632 | 0.0064051 | 0.00023079 | -0.0073134 | -0.0075442 |  | 2 | -0.0016155
2 | YES | 25.7438 | 5.7613 | 0.009114 | 0.0033078 | -0.0073134 | -0.010621 |  | 2 | -0.0012498
2 | YES | 15.4293 | 5.8386 | 0.0046822 | -0.0053844 | -0.0073134 | -0.001929 |  | 2 | 0.0096922
2 | YES | 9.7529 | 5.9164 | 0.0058813 | -0.0016155 | -0.0073134 | -0.0056979
2 | YES | 5.0333 | 5.9218 | 0.0076529 | -0.0012498 | -0.0073134 | -0.0060636
2 | YES | 2.5764 | 5.9287 | 0.011153 | 0.0096922 | -0.0073134 | -0.017006
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.095206 |  | X | CALC Y
m= | 0.0071907 | 0.0083785 |  | Std Dev of Resid |  | 0.019501 |  | 2.9276 | -0.035581
b= | -0.056632 | 0.033618 |  | Resid Sum of Squares |  | 0.0026619 |  | 5.3217 | -0.018366
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 313.206 | 2.6529 | 0.011176 | -0.022143 | -0.037556 | -0.015413 |  | 2.9276 | -0.018385 | 2.675
1 | YES | 252.348 | 2.9276 | 0.0035949 | -0.018385 | -0.035581 | -0.017196 |  | 3.1688 | -0.021154 | 2.946
1 | YES | 201.623 | 3.1688 | 0.0087354 | -0.021154 | -0.033846 | -0.012692 |  | 3.6545 | -0.0084617 | 3.19
1 | YES | 151.125 | 3.6545 | 0.0041556 | -0.0084617 | -0.030354 | -0.021892 |  | 3.571 | -0.055 | 3.663
1 | YES | 100.533 | 3.571 | 0.0046904 | -0.055 | -0.030954 | 0.024046 |  | 3.6514 | -0.041615 | 3.626
1 | YES | 75.1339 | 3.6514 | 0.006789 | -0.041615 | -0.030376 | 0.011239 |  | 3.6045 | -0.047538 | 3.693
1 | YES | 49.8022 | 3.6045 | 0.0053169 | -0.047538 | -0.030714 | 0.016825 |  | 4.5278 | -0.044231 | 3.652
1 | YES | 25.0853 | 4.5278 | 0.04598 | -0.044231 | -0.024074 | 0.020156 |  | 5.0028 | -0.018231 | 4.572
1 | YES | 15.01 | 5.0028 | 0.009248 | -0.018231 | -0.020659 | -0.002428 |  | 5.3217 | -0.00030756 | 5.021
1 | YES | 10.2491 | 5.3217 | 0.015939 | -0.00030756 | -0.018366 | -0.018058 |  |  |  | 5.322
1 | NO | 4.9015 | 5.742 | 0.0063771 | 0.189 | -0.015343 | -0.20434 |  |  |  | 5.553
1 | NO | 2.5051 | 6.0413 | 0.056957 | 0.11031 | -0.013191 | -0.1235 |  |  |  | 5.931
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (5)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.85466 |  | X | CALC Y
m= | 0.010508 | 0.0014444 |  | Std Dev of Resid |  | 0.0068369 |  | 2.7413 | -0.032278
b= | -0.061083 | 0.0071211 |  | Resid Sum of Squares |  | 0.00042069 |  | 5.9287 | 0.0012151
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | YES | 324.04 | 2.7413 | 0.0053698 | -0.037714 | -0.032278 | 0.0054365 |  | 2.7413 | -0.037714
2 | YES | 252.628 | 2.8326 | 0.0045015 | -0.041429 | -0.031319 | 0.01011 |  | 2.8326 | -0.041429
2 | YES | 201.638 | 2.8561 | 0.0056399 | -0.023846 | -0.031071 | -0.0072247 |  | 2.8561 | -0.023846
2 | YES | 151.46 | 2.9208 | 0.0059463 | -0.021231 | -0.030392 | -0.0091614 |  | 2.9208 | -0.021231
2 | NO | 100.878 | 4.6227 | 0.0097672 | 0.038692 | -0.012508 | -0.0512 |  | 5.5288 | -0.0072141
2 | YES | 75.6291 | 5.5288 | 0.0083958 | -0.0072141 | -0.002987 | 0.0042271 |  | 5.6632 | 0.00023079
2 | YES | 50.3625 | 5.6632 | 0.0064051 | 0.00023079 | -0.0015743 | -0.0018051 |  | 5.7613 | 0.0033078
2 | YES | 25.7438 | 5.7613 | 0.009114 | 0.0033078 | -0.00054369 | -0.0038515 |  | 5.8386 | -0.0053844
2 | YES | 15.4293 | 5.8386 | 0.0046822 | -0.0053844 | 0.00026868 | 0.0056531 |  | 5.9164 | -0.0016155
2 | YES | 9.7529 | 5.9164 | 0.0058813 | -0.0016155 | 0.0010858 | 0.0027013 |  | 5.9218 | -0.0012498
2 | YES | 5.0333 | 5.9218 | 0.0076529 | -0.0012498 | 0.0011422 | 0.002392 |  | 5.9287 | 0.0096922
2 | YES | 2.5764 | 5.9287 | 0.011153 | 0.0096922 | 0.0012151 | -0.0084771
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2012/03/16 17:17:23
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 14 | 313.214 | 313.206 | 0.014649 | -0.0075684 | 2.675 | 2.6529 | 0.011176 | -0.022143
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 252.333 | 252.348 | 0.023169 | 0.015076 | 2.946 | 2.9276 | 0.0035949 | -0.018385
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 201.604 | 201.623 | 0.01859 | 0.019302 | 3.19 | 3.1688 | 0.0087354 | -0.021154
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 151.132 | 151.125 | 0.023609 | -0.007309 | 3.663 | 3.6545 | 0.0041556 | -0.0084617
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 100.521 | 100.533 | 0.017022 | 0.012077 | 3.626 | 3.571 | 0.0046904 | -0.055
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 75.13 | 75.1339 | 0.040523 | 0.0039215 | 3.693 | 3.6514 | 0.006789 | -0.041615
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 49.771 | 49.8022 | 0.017656 | 0.031231 | 3.652 | 3.6045 | 0.0053169 | -0.047538
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 25.027 | 25.0853 | 0.033883 | 0.058308 | 4.572 | 4.5278 | 0.04598 | -0.044231
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 15.003 | 15.01 | 0.012497 | 0.007 | 5.021 | 5.0028 | 0.009248 | -0.018231
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 10.226 | 10.2491 | 0.027088 | 0.023077 | 5.322 | 5.3217 | 0.015939 | -0.00030756
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 4.92 | 4.9015 | 0.023272 | -0.018538 | 5.553 | 5.742 | 0.0063771 | 0.189
2011-76-0016.mrgcln2 | 2011-76-0016.sam | 13 | 2.484 | 2.5051 | 0.026463 | 0.021154 | 5.931 | 6.0413 | 0.056957 | 0.11031
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 14 | 323.917 | 324.04 | 0.20867 | 0.12308 | 2.779 | 2.7413 | 0.0053698 | -0.037714
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 14 | 252.633 | 252.628 | 0.10361 | -0.004776 | 2.874 | 2.8326 | 0.0045015 | -0.041429
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 201.503 | 201.638 | 0.12978 | 0.135 | 2.88 | 2.8561 | 0.0056399 | -0.023846
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 151.411 | 151.46 | 0.086076 | 0.049469 | 2.942 | 2.9208 | 0.0059463 | -0.021231
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 100.739 | 100.878 | 0.10896 | 0.13939 | 4.584 | 4.6227 | 0.0097672 | 0.038692
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 14 | 75.691 | 75.6291 | 0.082866 | -0.061859 | 5.536 | 5.5288 | 0.0083958 | -0.0072141
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 50.418 | 50.3625 | 0.12003 | -0.055462 | 5.663 | 5.6632 | 0.0064051 | 0.00023079
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 25.756 | 25.7438 | 0.060979 | -0.012232 | 5.758 | 5.7613 | 0.009114 | 0.0033078
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 15.465 | 15.4293 | 0.12537 | -0.035692 | 5.844 | 5.8386 | 0.0046822 | -0.0053844
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 9.744 | 9.7529 | 0.07604 | 0.0088453 | 5.918 | 5.9164 | 0.0058813 | -0.0016155
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 12 | 5.124 | 5.0333 | 0.089731 | -0.090667 | 5.923 | 5.9218 | 0.0076529 | -0.0012498
2011-76-0018.mrgcln2 | 2011-76-0018.sam | 13 | 2.636 | 2.5764 | 0.083693 | -0.059615 | 5.919 | 5.9287 | 0.011153 | 0.0096922
Create Fit Sheet