## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2011-76-0016.mrgcln2 | 2011-76-0016.thn | 11 | 22 | 2011-76-0016.mrgcln2 & 2011-76-0016.thn
2 | 2011-76-0018.mrgcln2 | 2011-76-0018.thn | 24 | 35 | 2011-76-0018.mrgcln2 & 2011-76-0018.thn

## (DOX_CTD - DOX_BOT)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=DOX_CTD
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.023075 |  | X | CALC Y
m= | 0.0053779 | 0.0080278 |  | Std Dev of Resid |  | 0.047856 |  | 2.623 | -0.035115
b= | -0.049221 | 0.037269 |  | Resid Sum of Squares |  | 0.043513 |  | 5.9694 | -0.017118
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 21
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | DOX_CTD
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 312.107 | 2.623 | 0 | -0.052 | -0.035115 | 0.016885 |  | 2.623 | -0.052
1 | YES | 251.774 | 2.9237 | 0.0035119 | -0.022333 | -0.033498 | -0.011164 |  | 2.9237 | -0.022333
1 | NO | 0 | 0 | 0 | -3.19 | -0.049221 | 3.1408 |  | 3.602 | -0.061
1 | YES | 150.561 | 3.602 | 0.03995 | -0.061 | -0.02985 | 0.03115 |  | 3.6007 | -0.025333
1 | YES | 100.103 | 3.6007 | 0.015011 | -0.025333 | -0.029857 | -0.0045238 |  | 3.6665 | -0.0265
1 | YES | 74.8658 | 3.6665 | 0.016663 | -0.0265 | -0.029503 | -0.003003 |  | 3.6928 | 0.04075
1 | YES | 49.4735 | 3.6928 | 0.0090323 | 0.04075 | -0.029362 | -0.070112 |  | 4.96 | -0.061
1 | NO | 25.0437 | 4.121 | 0.03751 | -0.451 | -0.027059 | 0.42394 |  | 5.1405 | -0.1815
1 | YES | 14.8325 | 4.96 | 0.0042427 | -0.061 | -0.022547 | 0.038453 |  | 5.5835 | 0.0305
1 | YES | 9.924 | 5.1405 | 0.028991 | -0.1815 | -0.021576 | 0.15992 |  | 5.9694 | 0.0384
1 | YES | 4.8398 | 5.5835 | 0.15592 | 0.0305 | -0.019194 | -0.049694 |  | 2.737 | -0.042
1 | YES | 2.883 | 5.9694 | 0.40986 | 0.0384 | -0.017118 | -0.055518 |  | 2.8327 | -0.041333
2 | YES | 323.871 | 2.737 | 0 | -0.042 | -0.034502 | 0.0074983 |  | 2.8603 | -0.01975
2 | YES | 252.062 | 2.8327 | 0.0023095 | -0.041333 | -0.033987 | 0.0073461 |  | 2.9277 | -0.014333
2 | YES | 201.725 | 2.8603 | 0.0032016 | -0.01975 | -0.033839 | -0.014089 |  | 5.5413 | 0.0053334
2 | YES | 151.844 | 2.9277 | 0.0065064 | -0.014333 | -0.033476 | -0.019143 |  | 5.6537 | -0.0092502
2 | NO | 100.371 | 3.7883 | 0.2667 | -0.79567 | -0.028848 | 0.76682 |  | 5.758 | 0
2 | YES | 75.365 | 5.5413 | 0.0040414 | 0.0053334 | -0.01942 | -0.024754 |  | 5.8663 | 0.022334
2 | YES | 50.479 | 5.6537 | 0.010308 | -0.0092502 | -0.018816 | -0.0095657 |  | 5.8898 | -0.02825
2 | YES | 27.007 | 5.758 | 0 | 0 | -0.018255 | -0.018255 |  | 5.8794 | -0.043571
2 | YES | 15.2817 | 5.8663 | 0.020108 | 0.022334 | -0.017673 | -0.040006 |  | 5.8795 | -0.0395 | -0.025254
2 | YES | 9.245 | 5.8898 | 0.0024998 | -0.02825 | -0.017547 | 0.010704
2 | YES | 5.039 | 5.8794 | 0.0058554 | -0.043571 | -0.017602 | 0.025969
2 | YES | 3.7475 | 5.8795 | 0.0064031 | -0.0395 | -0.017602 | 0.021898
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (2)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18868 |  | X | CALC Y
m= | -0.0001252 | 6.1195e-05 |  | Std Dev of Resid |  | 0.029193 |  | 2.883 | -0.0047998
b= | -0.0044388 | 0.0091106 |  | Resid Sum of Squares |  | 0.01534 |  | 323.871 | -0.044989
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 312.107 | 2.623 | 0 | -0.052 | -0.043516 | 0.0084842 |  | 312.107 | -0.052
1 | YES | 251.774 | 2.9237 | 0.0035119 | -0.022333 | -0.035962 | -0.013628 |  | 251.774 | -0.022333
1 | NO | 0 | 0 | 0 | -3.19 | -0.0044388 | 3.1856 |  | 150.561 | -0.061
1 | YES | 150.561 | 3.602 | 0.03995 | -0.061 | -0.02329 | 0.03771 |  | 100.103 | -0.025333
1 | YES | 100.103 | 3.6007 | 0.015011 | -0.025333 | -0.016972 | 0.0083611 |  | 74.8658 | -0.0265
1 | YES | 74.8658 | 3.6665 | 0.016663 | -0.0265 | -0.013812 | 0.012688 |  | 49.4735 | 0.04075
1 | YES | 49.4735 | 3.6928 | 0.0090323 | 0.04075 | -0.010633 | -0.051383 |  | 14.8325 | -0.061
1 | NO | 25.0437 | 4.121 | 0.03751 | -0.451 | -0.0075744 | 0.44343 |  | 4.8398 | 0.0305
1 | YES | 14.8325 | 4.96 | 0.0042427 | -0.061 | -0.0062959 | 0.054704 |  | 2.883 | 0.0384
1 | NO | 9.924 | 5.1405 | 0.028991 | -0.1815 | -0.0056814 | 0.17582 |  | 323.871 | -0.042
1 | YES | 4.8398 | 5.5835 | 0.15592 | 0.0305 | -0.0050448 | -0.035545 |  | 252.062 | -0.041333
1 | YES | 2.883 | 5.9694 | 0.40986 | 0.0384 | -0.0047998 | -0.0432 |  | 201.725 | -0.01975
2 | YES | 323.871 | 2.737 | 0 | -0.042 | -0.044989 | -0.0029886 |  | 151.844 | -0.014333
2 | YES | 252.062 | 2.8327 | 0.0023095 | -0.041333 | -0.035998 | 0.0053355 |  | 75.365 | 0.0053334
2 | YES | 201.725 | 2.8603 | 0.0032016 | -0.01975 | -0.029696 | -0.0099455 |  | 50.479 | -0.0092502
2 | YES | 151.844 | 2.9277 | 0.0065064 | -0.014333 | -0.02345 | -0.0091171 |  | 27.007 | 0
2 | NO | 100.371 | 3.7883 | 0.2667 | -0.79567 | -0.017006 | 0.77866 |  | 15.2817 | 0.022334
2 | YES | 75.365 | 5.5413 | 0.0040414 | 0.0053334 | -0.013875 | -0.019208 |  | 9.245 | -0.02825
2 | YES | 50.479 | 5.6537 | 0.010308 | -0.0092502 | -0.010759 | -0.0015088 |  | 5.039 | -0.043571
2 | YES | 27.007 | 5.758 | 0 | 0 | -0.0078202 | -0.0078202 |  | 3.7475 | -0.0395
2 | YES | 15.2817 | 5.8663 | 0.020108 | 0.022334 | -0.0063522 | -0.028686
2 | YES | 9.245 | 5.8898 | 0.0024998 | -0.02825 | -0.0055964 | 0.022654
2 | YES | 5.039 | 5.8794 | 0.0058554 | -0.043571 | -0.0050698 | 0.038501
2 | YES | 3.7475 | 5.8795 | 0.0064031 | -0.0395 | -0.0049081 | 0.034592
YES
YES
NO
YES
YES
YES
YES
NO
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (3)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.022851 |  | X | CALC Y
m= | 0.00020094 | 0.00043799 |  | Std Dev of Resid |  | 0.14675 |  | 2.883 | -0.087714
b= | -0.088294 | 0.059429 |  | Resid Sum of Squares |  | 0.19382 |  | 312.107 | -0.02558
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 312.107 | 2.623 | 0 | -0.052 | -0.02558 | 0.02642 |  | 312.107 | -0.052
1 | YES | 251.774 | 2.9237 | 0.0035119 | -0.022333 | -0.037703 | -0.01537 |  | 251.774 | -0.022333
1 | NO | 0 | 0 | 0 | -3.19 | -0.088294 | 3.1017 |  | 150.561 | -0.061
1 | YES | 150.561 | 3.602 | 0.03995 | -0.061 | -0.058041 | 0.0029595 |  | 100.103 | -0.025333
1 | YES | 100.103 | 3.6007 | 0.015011 | -0.025333 | -0.068179 | -0.042846 |  | 74.8658 | -0.0265
1 | YES | 74.8658 | 3.6665 | 0.016663 | -0.0265 | -0.07325 | -0.04675 |  | 49.4735 | 0.04075
1 | YES | 49.4735 | 3.6928 | 0.0090323 | 0.04075 | -0.078353 | -0.1191 |  | 25.0437 | -0.451
1 | YES | 25.0437 | 4.121 | 0.03751 | -0.451 | -0.083262 | 0.36774 |  | 14.8325 | -0.061
1 | YES | 14.8325 | 4.96 | 0.0042427 | -0.061 | -0.085313 | -0.024313 |  | 9.924 | -0.1815
1 | YES | 9.924 | 5.1405 | 0.028991 | -0.1815 | -0.0863 | 0.0952 |  | 4.8398 | 0.0305
1 | YES | 4.8398 | 5.5835 | 0.15592 | 0.0305 | -0.087321 | -0.11782 |  | 2.883 | 0.0384
1 | YES | 2.883 | 5.9694 | 0.40986 | 0.0384 | -0.087714 | -0.12611
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (DOX_CTD - DOX_BOT) (4)
Calculation of Linear Least Squares Fit For
(DOX_CTD - DOX_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (DOX_CTD - DOX_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.13422 |  | X | CALC Y
m= | -7.1705e-05 | 6.0704e-05 |  | Std Dev of Resid |  | 0.021747 |  | 3.7475 | -0.012116
b= | -0.011847 | 0.0089944 |  | Resid Sum of Squares |  | 0.0042563 |  | 323.871 | -0.035071
# of Values Extracted = |  |  | 12
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | DOX_CTD | DOX_CTD | Diff (DOX_CTD - DOX_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
2 | YES | 323.871 | 2.737 | 0 | -0.042 | -0.035071 | 0.0069294 |  | 323.871 | -0.042
2 | YES | 252.062 | 2.8327 | 0.0023095 | -0.041333 | -0.029922 | 0.011412 |  | 252.062 | -0.041333
2 | YES | 201.725 | 2.8603 | 0.0032016 | -0.01975 | -0.026312 | -0.0065621 |  | 201.725 | -0.01975
2 | YES | 151.844 | 2.9277 | 0.0065064 | -0.014333 | -0.022735 | -0.0084023 |  | 151.844 | -0.014333
2 | NO | 100.371 | 3.7883 | 0.2667 | -0.79567 | -0.019045 | 0.77662 |  | 75.365 | 0.0053334
2 | YES | 75.365 | 5.5413 | 0.0040414 | 0.0053334 | -0.017252 | -0.022585 |  | 50.479 | -0.0092502
2 | YES | 50.479 | 5.6537 | 0.010308 | -0.0092502 | -0.015467 | -0.0062169 |  | 27.007 | 0
2 | YES | 27.007 | 5.758 | 0 | 0 | -0.013784 | -0.013784 |  | 15.2817 | 0.022334
2 | YES | 15.2817 | 5.8663 | 0.020108 | 0.022334 | -0.012943 | -0.035277 |  | 9.245 | -0.02825
2 | YES | 9.245 | 5.8898 | 0.0024998 | -0.02825 | -0.01251 | 0.01574 |  | 5.039 | -0.043571
2 | YES | 5.039 | 5.8794 | 0.0058554 | -0.043571 | -0.012209 | 0.031362 |  | 3.7475 | -0.0395
2 | YES | 3.7475 | 5.8795 | 0.0064031 | -0.0395 | -0.012116 | 0.027384
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. DOX_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2012/03/19 08:56:33
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | DOX_BOT | DOX_CTD |  | DOX_CTD - DOX_BOT
Average Size: | 2
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | DOX_BOT | DOX_CTD | DOX_CTD | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 1 | 313.214 | 312.107 | 0 | -1.107 | 2.675 | 2.623 | 0 | -0.052
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 3 | 252.333 | 251.774 | 0.99151 | -0.55933 | 2.946 | 2.9237 | 0.0035119 | -0.022333
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 0 | 201.604 | 0 | 0 | -201.604 | 3.19 | 0 | 0 | -3.19
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 3 | 151.132 | 150.561 | 1.5216 | -0.57068 | 3.663 | 3.602 | 0.03995 | -0.061
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 3 | 100.521 | 100.103 | 1.5245 | -0.41834 | 3.626 | 3.6007 | 0.015011 | -0.025333
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 4 | 75.13 | 74.8658 | 1.318 | -0.26424 | 3.693 | 3.6665 | 0.016663 | -0.0265
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 4 | 49.771 | 49.4735 | 1.3104 | -0.2975 | 3.652 | 3.6928 | 0.0090323 | 0.04075
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 3 | 25.027 | 25.0437 | 1.5506 | 0.016666 | 4.572 | 4.121 | 0.03751 | -0.451
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 2 | 15.003 | 14.8325 | 0.72337 | -0.1705 | 5.021 | 4.96 | 0.0042427 | -0.061
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 2 | 10.226 | 9.924 | 0.66751 | -0.302 | 5.322 | 5.1405 | 0.028991 | -0.1815
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 6 | 4.92 | 4.8398 | 1.0993 | -0.080167 | 5.553 | 5.5835 | 0.15592 | 0.0305
2011-76-0016.mrgcln2 | 2011-76-0016.thn | 5 | 2.484 | 2.883 | 0.91203 | 0.399 | 5.931 | 5.9694 | 0.40986 | 0.0384
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 1 | 323.917 | 323.871 | 0 | -0.04599 | 2.779 | 2.737 | 0 | -0.042
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 3 | 252.633 | 252.062 | 1.1555 | -0.571 | 2.874 | 2.8327 | 0.0023095 | -0.041333
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 4 | 201.503 | 201.725 | 1.3632 | 0.2215 | 2.88 | 2.8603 | 0.0032016 | -0.01975
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 3 | 151.411 | 151.844 | 1.4845 | 0.43333 | 2.942 | 2.9277 | 0.0065064 | -0.014333
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 3 | 100.739 | 100.371 | 1.6011 | -0.36833 | 4.584 | 3.7883 | 0.2667 | -0.79567
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 3 | 75.691 | 75.365 | 1.6891 | -0.326 | 5.536 | 5.5413 | 0.0040414 | 0.0053334
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 4 | 50.418 | 50.479 | 1.2418 | 0.061001 | 5.663 | 5.6537 | 0.010308 | -0.0092502
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 1 | 25.756 | 27.007 | 0 | 1.251 | 5.758 | 5.758 | 0 | 0
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 3 | 15.465 | 15.2817 | 1.5973 | -0.18333 | 5.844 | 5.8663 | 0.020108 | 0.022334
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 4 | 9.744 | 9.245 | 0.74988 | -0.499 | 5.918 | 5.8898 | 0.0024998 | -0.02825
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 7 | 5.124 | 5.039 | 1.1966 | -0.085 | 5.923 | 5.8794 | 0.0058554 | -0.043571
2011-76-0018.mrgcln2 | 2011-76-0018.thn | 4 | 2.636 | 3.7475 | 0.60449 | 1.1115 | 5.919 | 5.8795 | 0.0064031 | -0.0395
Create Fit Sheet