## Notes
Analysis: Melissa Hennekes, 09-JAN-2012 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Melissa Hennekes and Kenny Scozzafava
2012-01-20 |  | KS
No duplicate samples were taken therefore no precision analysis was performed
There were no comments or any problems recorded about the analysis.
2012-03-19 |  | KS
The rosette log sheets had an error in event #s for the first 2 rosette casts.
Station FR1 was changed to event #4 from #5
Station FR2 was changed to event #5 from # 6

## QF 2011-76 SAL FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 01 months after collection. For details including a duplicate analysis, see document QF2011-76SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2011-76 | 4 | FR1 | 1 |  | 26.0353
2011-76 | 4 | FR1 | 2 |  | 25.9283
2011-76 | 5 | FR2 | 3 |  | 25.4357
2011-76 | 5 | FR2 | 4 |  | 25.443
2011-76 | 6 | FR3 | 5 |  | 26.4095
2011-76 | 6 | FR3 | 6 |  | 26.3648
2011-76 | 7 | FR4 | 7 |  | 25.8994
2011-76 | 7 | FR4 | 8 |  | 25.8881
2011-76 | 8 | FR5 | 9 |  | 25.6005
2011-76 | 8 | FR5 | 10 |  | 25.6116
2011-76 | 9 | FR6 | 11 |  | 25.6224
2011-76 | 9 | FR6 | 12 |  | 25.6222
2011-76 | 10 | FR7 | 13 |  | 25.84
2011-76 | 10 | FR7 | 14 |  | 25.8387
2011-76 | 11 | FR8 | 15 |  | 26.0142
2011-76 | 11 | FR8 | 16 |  | 26.0178
2011-76 | 12 | FR9 | 17 |  | 25.9941
2011-76 | 12 | FR9 | 18 |  | 25.9844
2011-76 | 13 | FR10 | 19 |  | 26.0242
2011-76 | 13 | FR10 | 20 |  | 26.0214
2011-76 | 16 | SOGS | 21 |  | 31.0996
2011-76 | 16 | SOGS | 22 |  | 31.1025
2011-76 | 16 | SOGS | 23 |  | 30.99
2011-76 | 16 | SOGS | 24 |  | 30.9919
2011-76 | 16 | SOGS | 25 |  | 30.8833
2011-76 | 16 | SOGS | 26 |  | 30.8901
2011-76 | 16 | SOGS | 27 |  | 30.7039
2011-76 | 16 | SOGS | 28 |  | 30.7043
2011-76 | 16 | SOGS | 29 |  | 30.3333
2011-76 | 16 | SOGS | 30 |  | 30.3365
2011-76 | 16 | SOGS | 31 |  | 30.2119
2011-76 | 16 | SOGS | 32 |  | 30.1944
2011-76 | 16 | SOGS | 33 |  | 29.9183
2011-76 | 16 | SOGS | 34 |  | 29.9194
2011-76 | 16 | SOGS | 35 |  | 29.3724
2011-76 | 16 | SOGS | 36 |  | 29.372
2011-76 | 16 | SOGS | 37 |  | 28.5721
2011-76 | 16 | SOGS | 38 |  | 28.6357
2011-76 | 16 | SOGS | 39 |  | 28.0004
2011-76 | 16 | SOGS | 40 |  | 27.99
2011-76 | 16 | SOGS | 41 |  | 27.497
2011-76 | 16 | SOGS | 42 |  | 27.4071
2011-76 | 16 | SOGS | 43 |  | 26.6205
2011-76 | 16 | SOGS | 44 |  | 26.6014
2011-76 | 18 | SOGN | 45 |  | 30.7856
2011-76 | 18 | SOGN | 46 |  | 30.7829
2011-76 | 18 | SOGN | 47 |  | 30.7182
2011-76 | 18 | SOGN | 48 |  | 30.7223
2011-76 | 18 | SOGN | 49 |  | 30.6437
2011-76 | 18 | SOGN | 50 |  | 30.6478
2011-76 | 18 | SOGN | 52 |  | 30.4833
2011-76 | 18 | SOGN | 53 |  | 29.4225
2011-76 | 18 | SOGN | 54 |  | 29.4366
2011-76 | 18 | SOGN | 55 |  | 29.001
2011-76 | 18 | SOGN | 56 |  | 28.9992
2011-76 | 18 | SOGN | 57 |  | 28.9139
2011-76 | 18 | SOGN | 58 |  | 28.9157
2011-76 | 18 | SOGN | 59 |  | 28.8173
2011-76 | 18 | SOGN | 60 |  | 28.8188
2011-76 | 18 | SOGN | 61 |  | 30.4853
2011-76 | 18 | SOGN | 61 |  | 28.7726
2011-76 | 18 | SOGN | 62 |  | 28.773
2011-76 | 18 | SOGN | 63 |  | 28.7347
2011-76 | 18 | SOGN | 64 |  | 28.7356
2011-76 | 18 | SOGN | 65 |  | 28.7205
2011-76 | 18 | SOGN | 66 |  | 28.721
2011-76 | 18 | SOGN | 67 |  | 28.7205
2011-76 | 18 | SOGN | 68 |  | 28.7186

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Flag | New Calculated Salinity | Comments
2011-76#37 | 4 | FR1 | 1 | 2012-01-09 12:49 | 24C | 0.76745 | 3.1145e-06 | -0.00011891 | 0.76733 | 26.0353 | 0.00011762 |  | #VALUE!
2011-76#36 | 4 | FR1 | 2 | 2012-01-09 12:47 | 24C | 0.76461 | 3.6105e-06 | -0.00011897 | 0.76449 | 25.9283 | 0.00013671 |  | #VALUE!
2011-76#42 | 5 | FR2 | 3 | 2012-01-09 12:58 | 24C | 0.75152 | 3.1312e-06 | -0.00011897 | 0.7514 | 25.4357 | 0.00011814 |  | #VALUE!
2011-76#40 | 5 | FR2 | 4 | 2012-01-09 12:54 | 24C | 0.75171 | 3.8619e-06 | -0.00011897 | 0.75159 | 25.443 | 0.00014428 |  | #VALUE!
2011-76#30 | 6 | FR3 | 5 | 2012-01-09 12:35 | 24C | 0.77737 | 4.8797e-06 | -0.00011891 | 0.77725 | 26.4095 | 0.00018385 |  | #VALUE!
2011-76#38 | 6 | FR3 | 6 | 2012-01-09 12:50 | 24C | 0.77619 | 3.2141e-06 | -0.00011897 | 0.77607 | 26.3648 | 0.00012245 |  | #VALUE!
2011-76#34 | 7 | FR4 | 7 | 2012-01-09 12:42 | 24C | 0.76384 | 6.0505e-06 | -0.00011897 | 0.76372 | 25.8994 | 0.00022716 |  | #VALUE!
2011-76#32 | 7 | FR4 | 8 | 2012-01-09 12:39 | 24C | 0.76354 | 4.1056e-06 | -0.00011897 | 0.76342 | 25.8881 | 0.00015423 |  | #VALUE!
2011-76#45 | 8 | FR5 | 9 | 2012-01-09 13:03 | 24C | 0.7559 | 5.2184e-06 | -0.00011903 | 0.75578 | 25.6005 | 0.00019644 |  | #VALUE!
2011-76#28 | 8 | FR5 | 10 | 2012-01-09 12:30 | 24C | 0.7562 | 4.2257e-06 | -0.00011897 | 0.75608 | 25.6116 | 0.00015874 |  | #VALUE!
2011-76#41 | 9 | FR6 | 11 | 2012-01-09 12:56 | 24C | 0.75648 | 2.7425e-06 | -0.00011897 | 0.75636 | 25.6224 | 0.00010345 |  | #VALUE!
2011-76#43 | 9 | FR6 | 12 | 2012-01-09 13:00 | 24C | 0.75648 | 3.9596e-06 | -0.00011897 | 0.75636 | 25.6222 | 0.00014881 |  | #VALUE!
2011-76#29 | 10 | FR7 | 13 | 2012-01-09 12:32 | 24C | 0.76226 | 5.9752e-06 | -0.00011897 | 0.76215 | 25.84 | 0.00022557 |  | #VALUE!
2011-76#39 | 10 | FR7 | 14 | 2012-01-09 12:52 | 24C | 0.76223 | 4.0093e-06 | -0.00011897 | 0.76211 | 25.8387 | 0.0001504 |  | #VALUE!
2011-76#33 | 11 | FR8 | 15 | 2012-01-09 12:41 | 24C | 0.76689 | 4.4252e-06 | -0.00011897 | 0.76677 | 26.0142 | 0.00016735 |  | #VALUE!
2011-76#35 | 11 | FR8 | 16 | 2012-01-09 12:45 | 24C | 0.76699 | 6.9614e-06 | -0.00011897 | 0.76687 | 26.0178 | 0.00026177 |  | #VALUE!
2011-76#27 | 12 | FR9 | 17 | 2012-01-09 12:29 | 24C | 0.76636 | 6.0358e-06 | -0.00011897 | 0.76624 | 25.9941 | 0.00022763 |  | #VALUE!
2011-76#46 | 12 | FR9 | 18 | 2012-01-09 13:05 | 24C | 0.7661 | 2.0945e-06 | -0.00011897 | 0.76598 | 25.9844 | 7.8651e-05 |  | #VALUE!
2011-76#44 | 13 | FR10 | 19 | 2012-01-09 13:01 | 24C | 0.76716 | 8.1649e-06 | -0.00011897 | 0.76704 | 26.0242 | 0.00030809 |  | #VALUE!
2011-76#31 | 13 | FR10 | 20 | 2012-01-09 12:37 | 24C | 0.76708 | 4.2257e-06 | -0.00011897 | 0.76696 | 26.0214 | 0.00016019 |  | #VALUE!
2011-76#55 | 16 | SOGS | 21 | 2012-01-09 13:49 | 24C | 0.90012 | 4.2256e-06 | -0.00011891 | 0.9 | 31.0996 | 0.00016386 |  | #VALUE!
2011-76#61 | 16 | SOGS | 22 | 2012-01-09 14:02 | 24C | 0.9002 | 4.3338e-06 | -0.00011897 | 0.90008 | 31.1025 | 0.00016885 |  | #VALUE!
2011-76#50 | 16 | SOGS | 23 | 2012-01-09 13:40 | 24C | 0.89729 | 5.3294e-06 | -0.00011891 | 0.89717 | 30.99 | 0.00020485 |  | #VALUE!
2011-76#57 | 16 | SOGS | 24 | 2012-01-09 13:54 | 24C | 0.89733 | 2.3982e-06 | -0.00011897 | 0.89722 | 30.9919 | 9.1988e-05 |  | #VALUE!
2011-76#65 | 16 | SOGS | 25 | 2012-01-09 14:09 | 24C | 0.89452 | 3.6104e-06 | -0.00011891 | 0.8944 | 30.8833 | 0.0001393 |  | #VALUE!
2011-76#51 | 16 | SOGS | 26 | 2012-01-09 13:42 | 24C | 0.8947 | 7.2224e-06 | -0.00011897 | 0.89458 | 30.8901 | 0.00027868 |  | #VALUE!
2011-76#70 | 16 | SOGS | 27 | 2012-01-09 14:19 | 24C | 0.88988 | 2.7425e-06 | -0.00011897 | 0.88976 | 30.7039 | 0.00010553 |  | #VALUE!
2011-76#48 | 16 | SOGS | 28 | 2012-01-09 13:35 | 24C | 0.88988 | 3.8029e-06 | -0.00011891 | 0.88977 | 30.7043 | 0.00014659 |  | #VALUE!
2011-76#60 | 16 | SOGS | 29 | 2012-01-09 14:00 | 24C | 0.88026 | 1.1446e-05 | -0.00011897 | 0.88014 | 30.3333 | 0.00044038 |  | #VALUE!
2011-76#53 | 16 | SOGS | 30 | 2012-01-09 13:45 | 24C | 0.88034 | 5.0197e-06 | -0.00011897 | 0.88022 | 30.3365 | 0.00019318 |  | #VALUE!
2011-76#63 | 16 | SOGS | 31 | 2012-01-09 14:06 | 24C | 0.8771 | 8.0728e-06 | -0.00011897 | 0.87699 | 30.2119 | 0.00031089 |  | #VALUE!
2011-76#64 | 16 | SOGS | 32 | 2012-01-09 14:08 | 24C | 0.87665 | 4.9489e-06 | -0.00011885 | 0.87653 | 30.1944 | 0.00019105 |  | #VALUE!
2011-76#67 | 16 | SOGS | 33 | 2012-01-09 14:13 | 24C | 0.86947 | 9.1248e-06 | -0.00011897 | 0.86935 | 29.9183 | 0.00035086 |  | #VALUE!
2011-76#52 | 16 | SOGS | 34 | 2012-01-09 13:43 | 24C | 0.8695 | 4.7144e-06 | -0.00011909 | 0.86938 | 29.9194 | 0.0001805 |  | #VALUE!
2011-76#59 | 16 | SOGS | 35 | 2012-01-09 13:58 | 24C | 0.85525 | 5.0845e-06 | -0.00011897 | 0.85513 | 29.3724 | 0.00019336 |  | #VALUE!
2011-76#69 | 16 | SOGS | 36 | 2012-01-09 14:16 | 24C | 0.85524 | 4.5983e-06 | -0.00011897 | 0.85512 | 29.372 | 0.00017716 |  | #VALUE!
2011-76#54 | 16 | SOGS | 37 | 2012-01-09 13:47 | 24C | 0.83432 | 3.541e-06 | -0.00011891 | 0.83421 | 28.5721 | 0.00013521 |  | #VALUE!
2011-76#56 | 16 | SOGS | 38 | 2012-01-09 13:52 | 24C | 0.83599 | 6.5281e-06 | -0.00011891 | 0.83587 | 28.6357 | 0.00024957 |  | #VALUE!
2011-76#62 | 16 | SOGS | 39 | 2012-01-09 14:04 | 24C | 0.81933 | 3.5971e-06 | -0.00011897 | 0.81921 | 28.0004 | 0.00013859 |  | #VALUE!
2011-76#49 | 16 | SOGS | 40 | 2012-01-09 13:38 | 24C | 0.81905 | 3.3475e-06 | -0.00011897 | 0.81894 | 27.99 | 0.00012672 |  | #VALUE!
2011-76#66 | 16 | SOGS | 41 | 2012-01-09 14:11 | 24C | 0.80609 | 2.7434e-06 | -0.00011909 | 0.80597 | 27.497 | 0.00010552 |  | #VALUE!
2011-76#68 | 16 | SOGS | 42 | 2012-01-09 14:15 | 24C | 0.80372 | 3.865e-06 | -0.00011891 | 0.8036 | 27.4071 | 0.00014622 |  | #VALUE!
2011-76#58 | 16 | SOGS | 43 | 2012-01-09 13:56 | 24C | 0.78295 | 3.5403e-06 | -0.00011897 | 0.78283 | 26.6205 | 0.00013422 |  | #VALUE!
2011-76#71 | 16 | SOGS | 44 | 2012-01-09 14:20 | 24C | 0.78245 | 4.6245e-06 | -0.00011897 | 0.78233 | 26.6014 | 0.00017526 |  | #VALUE!
2011-76#25 | 18 | SOGN | 45 | 2012-01-09 12:25 | 24C | 0.89199 | 4.3337e-06 | -0.00011897 | 0.89187 | 30.7856 | 0.0001672 |  | #VALUE!
2011-76#3 | 18 | SOGN | 46 | 2012-01-09 09:54 | 24C | 0.89192 | 7.213e-06 | -0.00011897 | 0.8918 | 30.7829 | 0.00027777 |  | #VALUE!
2011-76#22 | 18 | SOGN | 47 | 2012-01-09 12:19 | 24C | 0.89025 | 3.4657e-06 | -0.00011897 | 0.89013 | 30.7182 | 0.00013295 |  | #VALUE!
2011-76#19 | 18 | SOGN | 48 | 2012-01-09 11:10 | 24C | 0.89035 | 5.4724e-06 | -0.00011897 | 0.89023 | 30.7223 | 0.00021082 |  | #VALUE!
2011-76#18 | 18 | SOGN | 49 | 2012-01-09 11:08 | 24C | 0.88831 | 4.4786e-06 | -0.00011903 | 0.88819 | 30.6437 | 0.00017309 |  | #VALUE!
2011-76#13 | 18 | SOGN | 50 | 2012-01-09 10:57 | 24C | 0.88842 | 6.0065e-06 | -0.00011897 | 0.8883 | 30.6478 | 0.00023199 |  | #VALUE!
2011-76#8 | 18 | SOGN | 52 | 2012-01-09 10:47 | 24C | 0.88415 | 3.5826e-06 | -0.00011909 | 0.88404 | 30.4833 | 0.00013851 |  | #VALUE!
2011-76#17 | 18 | SOGN | 53 | 2012-01-09 11:06 | 24C | 0.85655 | 4.2256e-06 | -0.00011897 | 0.85644 | 29.4225 | 0.00016346 |  | #VALUE!
2011-76#23 | 18 | SOGN | 54 | 2012-01-09 12:21 | 24C | 0.85692 | 6.4282e-06 | -0.00011897 | 0.8568 | 29.4366 | 0.00024587 |  | #VALUE!
2011-76#14 | 18 | SOGN | 55 | 2012-01-09 10:59 | 24C | 0.84555 | 5.0935e-06 | -0.00011897 | 0.84543 | 29.001 | 0.00019604 |  | #VALUE!
2011-76#20 | 18 | SOGN | 56 | 2012-01-09 12:16 | 24C | 0.8455 | 6.2514e-06 | -0.00011897 | 0.84538 | 28.9992 | 0.0002395 |  | #VALUE!
2011-76#5 | 18 | SOGN | 57 | 2012-01-09 09:58 | 24C | 0.84327 | 4.5981e-06 | -0.00011897 | 0.84315 | 28.9139 | 0.00017458 |  | #VALUE!
2011-76#15 | 18 | SOGN | 58 | 2012-01-09 11:02 | 24C | 0.84332 | 6.5727e-06 | -0.00011891 | 0.8432 | 28.9157 | 0.00025277 |  | #VALUE!
2011-76#9 | 18 | SOGN | 59 | 2012-01-09 10:50 | 24C | 0.84074 | 3.5987e-06 | -0.00011897 | 0.84063 | 28.8173 | 0.00013817 |  | #VALUE!
2011-76#7 | 18 | SOGN | 60 | 2012-01-09 10:45 | 24C | 0.84078 | 5.3441e-06 | -0.00011897 | 0.84066 | 28.8188 | 0.00020519 |  | #VALUE!
2011-76#11 | 18 | SOGN | 61 | 2012-01-09 10:53 | 24C | 0.8842 | 7.7299e-06 | -0.00011897 | 0.88409 | 30.4853 | 0.00029714 |  | #VALUE!
2011-76#26 | 18 | SOGN | 61 | 2012-01-09 12:26 | 24C | 0.83957 | 1.1196e-06 | -0.00011897 | 0.83946 | 28.7726 | 4.4143e-05 |  | #VALUE!
2011-76#24 | 18 | SOGN | 62 | 2012-01-09 12:23 | 24C | 0.83959 | 2.7425e-06 | -0.00011897 | 0.83947 | 28.773 | 0.00010447 |  | #VALUE!
2011-76#4 | 18 | SOGN | 63 | 2012-01-09 09:56 | 24C | 0.83858 | 4.9029e-06 | -0.00011903 | 0.83846 | 28.7347 | 0.00018656 |  | #VALUE!
2011-76#21 | 18 | SOGN | 64 | 2012-01-09 12:17 | 24C | 0.83861 | 3.1417e-06 | -0.00011897 | 0.83849 | 28.7356 | 0.00012054 |  | #VALUE!
2011-76#6 | 18 | SOGN | 65 | 2012-01-09 10:43 | 24C | 0.83821 | 2.2405e-06 | -0.00011909 | 0.83809 | 28.7205 | 8.619e-05 |  | #VALUE!
2011-76#16 | 18 | SOGN | 66 | 2012-01-09 11:04 | 24C | 0.83822 | 5.7088e-06 | -0.00011903 | 0.8381 | 28.721 | 0.0002189 |  | #VALUE!
2011-76#12 | 18 | SOGN | 67 | 2012-01-09 10:55 | 24C | 0.83821 | 4.4675e-06 | -0.00011897 | 0.83809 | 28.7205 | 0.00017071 |  | #VALUE!
2011-76#10 | 18 | SOGN | 68 | 2012-01-09 10:52 | 24C | 0.83816 | 4.7428e-06 | -0.00011891 | 0.83804 | 28.7186 | 0.00018237 |  | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2011-76#1 | stnPstd | 2012-01-09 09:05 | 24C | 0.98955 | 5.8084e-06 | 0 | 0.98955 | 34.589 | 0.00022833
Calibration#1 | K15 | 2012-01-09 09:43 | 24C | 0.99996 | 5.4847e-06 | -0.00011891 | 0.99984
2011-76#2 | stnPstd | 2012-01-09 09:44 | 24C | 0.98974 | 5.4533e-06 | -0.00011897 | 0.98962 | 34.5919 | 0.00021381
2011-76#3 | 46 | 2012-01-09 09:54 | 24C | 0.89192 | 7.213e-06 | -0.00011897 | 0.8918 | 30.7829 | 0.00027777
2011-76#4 | 63 | 2012-01-09 09:56 | 24C | 0.83858 | 4.9029e-06 | -0.00011903 | 0.83846 | 28.7347 | 0.00018656
2011-76#5 | 57 | 2012-01-09 09:58 | 24C | 0.84327 | 4.5981e-06 | -0.00011897 | 0.84315 | 28.9139 | 0.00017458
2011-76#6 | 65 | 2012-01-09 10:43 | 24C | 0.83821 | 2.2405e-06 | -0.00011909 | 0.83809 | 28.7205 | 8.619e-05
2011-76#7 | 60 | 2012-01-09 10:45 | 24C | 0.84078 | 5.3441e-06 | -0.00011897 | 0.84066 | 28.8188 | 0.00020519
2011-76#8 | 52 | 2012-01-09 10:47 | 24C | 0.88415 | 3.5826e-06 | -0.00011909 | 0.88404 | 30.4833 | 0.00013851
2011-76#9 | 59 | 2012-01-09 10:50 | 24C | 0.84074 | 3.5987e-06 | -0.00011897 | 0.84063 | 28.8173 | 0.00013817
2011-76#10 | 68 | 2012-01-09 10:52 | 24C | 0.83816 | 4.7428e-06 | -0.00011891 | 0.83804 | 28.7186 | 0.00018237
2011-76#11 | 61 | 2012-01-09 10:53 | 24C | 0.8842 | 7.7299e-06 | -0.00011897 | 0.88409 | 30.4853 | 0.00029714
2011-76#12 | 67 | 2012-01-09 10:55 | 24C | 0.83821 | 4.4675e-06 | -0.00011897 | 0.83809 | 28.7205 | 0.00017071
2011-76#13 | 50 | 2012-01-09 10:57 | 24C | 0.88842 | 6.0065e-06 | -0.00011897 | 0.8883 | 30.6478 | 0.00023199
2011-76#14 | 55 | 2012-01-09 10:59 | 24C | 0.84555 | 5.0935e-06 | -0.00011897 | 0.84543 | 29.001 | 0.00019604
2011-76#15 | 58 | 2012-01-09 11:02 | 24C | 0.84332 | 6.5727e-06 | -0.00011891 | 0.8432 | 28.9157 | 0.00025277
2011-76#16 | 66 | 2012-01-09 11:04 | 24C | 0.83822 | 5.7088e-06 | -0.00011903 | 0.8381 | 28.721 | 0.0002189
2011-76#17 | 53 | 2012-01-09 11:06 | 24C | 0.85655 | 4.2256e-06 | -0.00011897 | 0.85644 | 29.4225 | 0.00016346
2011-76#18 | 49 | 2012-01-09 11:08 | 24C | 0.88831 | 4.4786e-06 | -0.00011903 | 0.88819 | 30.6437 | 0.00017309
2011-76#19 | 48 | 2012-01-09 11:10 | 24C | 0.89035 | 5.4724e-06 | -0.00011897 | 0.89023 | 30.7223 | 0.00021082
2011-76#20 | 56 | 2012-01-09 12:16 | 24C | 0.8455 | 6.2514e-06 | -0.00011897 | 0.84538 | 28.9992 | 0.0002395
2011-76#21 | 64 | 2012-01-09 12:17 | 24C | 0.83861 | 3.1417e-06 | -0.00011897 | 0.83849 | 28.7356 | 0.00012054
2011-76#22 | 47 | 2012-01-09 12:19 | 24C | 0.89025 | 3.4657e-06 | -0.00011897 | 0.89013 | 30.7182 | 0.00013295
2011-76#23 | 54 | 2012-01-09 12:21 | 24C | 0.85692 | 6.4282e-06 | -0.00011897 | 0.8568 | 29.4366 | 0.00024587
2011-76#24 | 62 | 2012-01-09 12:23 | 24C | 0.83959 | 2.7425e-06 | -0.00011897 | 0.83947 | 28.773 | 0.00010447
2011-76#25 | 45 | 2012-01-09 12:25 | 24C | 0.89199 | 4.3337e-06 | -0.00011897 | 0.89187 | 30.7856 | 0.0001672
2011-76#26 | 61 | 2012-01-09 12:26 | 24C | 0.83957 | 1.1196e-06 | -0.00011897 | 0.83946 | 28.7726 | 4.4143e-05
2011-76#27 | 17 | 2012-01-09 12:29 | 24C | 0.76636 | 6.0358e-06 | -0.00011897 | 0.76624 | 25.9941 | 0.00022763
2011-76#28 | 10 | 2012-01-09 12:30 | 24C | 0.7562 | 4.2257e-06 | -0.00011897 | 0.75608 | 25.6116 | 0.00015874
2011-76#29 | 13 | 2012-01-09 12:32 | 24C | 0.76226 | 5.9752e-06 | -0.00011897 | 0.76215 | 25.84 | 0.00022557
2011-76#30 | 5 | 2012-01-09 12:35 | 24C | 0.77737 | 4.8797e-06 | -0.00011891 | 0.77725 | 26.4095 | 0.00018385
2011-76#31 | 20 | 2012-01-09 12:37 | 24C | 0.76708 | 4.2257e-06 | -0.00011897 | 0.76696 | 26.0214 | 0.00016019
2011-76#32 | 8 | 2012-01-09 12:39 | 24C | 0.76354 | 4.1056e-06 | -0.00011897 | 0.76342 | 25.8881 | 0.00015423
2011-76#33 | 15 | 2012-01-09 12:41 | 24C | 0.76689 | 4.4252e-06 | -0.00011897 | 0.76677 | 26.0142 | 0.00016735
2011-76#34 | 7 | 2012-01-09 12:42 | 24C | 0.76384 | 6.0505e-06 | -0.00011897 | 0.76372 | 25.8994 | 0.00022716
2011-76#35 | 16 | 2012-01-09 12:45 | 24C | 0.76699 | 6.9614e-06 | -0.00011897 | 0.76687 | 26.0178 | 0.00026177
2011-76#36 | 2 | 2012-01-09 12:47 | 24C | 0.76461 | 3.6105e-06 | -0.00011897 | 0.76449 | 25.9283 | 0.00013671
2011-76#37 | 1 | 2012-01-09 12:49 | 24C | 0.76745 | 3.1145e-06 | -0.00011891 | 0.76733 | 26.0353 | 0.00011762
2011-76#38 | 6 | 2012-01-09 12:50 | 24C | 0.77619 | 3.2141e-06 | -0.00011897 | 0.77607 | 26.3648 | 0.00012245
2011-76#39 | 14 | 2012-01-09 12:52 | 24C | 0.76223 | 4.0093e-06 | -0.00011897 | 0.76211 | 25.8387 | 0.0001504
2011-76#40 | 4 | 2012-01-09 12:54 | 24C | 0.75171 | 3.8619e-06 | -0.00011897 | 0.75159 | 25.443 | 0.00014428
2011-76#41 | 11 | 2012-01-09 12:56 | 24C | 0.75648 | 2.7425e-06 | -0.00011897 | 0.75636 | 25.6224 | 0.00010345
2011-76#42 | 3 | 2012-01-09 12:58 | 24C | 0.75152 | 3.1312e-06 | -0.00011897 | 0.7514 | 25.4357 | 0.00011814
2011-76#43 | 12 | 2012-01-09 13:00 | 24C | 0.75648 | 3.9596e-06 | -0.00011897 | 0.75636 | 25.6222 | 0.00014881
2011-76#44 | 19 | 2012-01-09 13:01 | 24C | 0.76716 | 8.1649e-06 | -0.00011897 | 0.76704 | 26.0242 | 0.00030809
2011-76#45 | 9 | 2012-01-09 13:03 | 24C | 0.7559 | 5.2184e-06 | -0.00011903 | 0.75578 | 25.6005 | 0.00019644
2011-76#46 | 18 | 2012-01-09 13:05 | 24C | 0.7661 | 2.0945e-06 | -0.00011897 | 0.76598 | 25.9844 | 7.8651e-05
2011-76#47 | stnPstd | 2012-01-09 13:07 | 24C | 0.98969 | 3.865e-06 | -0.00011897 | 0.98957 | 34.5899 | 0.00015178
2011-76#48 | 28 | 2012-01-09 13:35 | 24C | 0.88988 | 3.8029e-06 | -0.00011891 | 0.88977 | 30.7043 | 0.00014659
2011-76#49 | 40 | 2012-01-09 13:38 | 24C | 0.81905 | 3.3475e-06 | -0.00011897 | 0.81894 | 27.99 | 0.00012672
2011-76#50 | 23 | 2012-01-09 13:40 | 24C | 0.89729 | 5.3294e-06 | -0.00011891 | 0.89717 | 30.99 | 0.00020485
2011-76#51 | 26 | 2012-01-09 13:42 | 24C | 0.8947 | 7.2224e-06 | -0.00011897 | 0.89458 | 30.8901 | 0.00027868
2011-76#52 | 34 | 2012-01-09 13:43 | 24C | 0.8695 | 4.7144e-06 | -0.00011909 | 0.86938 | 29.9194 | 0.0001805
2011-76#53 | 30 | 2012-01-09 13:45 | 24C | 0.88034 | 5.0197e-06 | -0.00011897 | 0.88022 | 30.3365 | 0.00019318
2011-76#54 | 37 | 2012-01-09 13:47 | 24C | 0.83432 | 3.541e-06 | -0.00011891 | 0.83421 | 28.5721 | 0.00013521
2011-76#55 | 21 | 2012-01-09 13:49 | 24C | 0.90012 | 4.2256e-06 | -0.00011891 | 0.9 | 31.0996 | 0.00016386
2011-76#56 | 38 | 2012-01-09 13:52 | 24C | 0.83599 | 6.5281e-06 | -0.00011891 | 0.83587 | 28.6357 | 0.00024957
2011-76#57 | 24 | 2012-01-09 13:54 | 24C | 0.89733 | 2.3982e-06 | -0.00011897 | 0.89722 | 30.9919 | 9.1988e-05
2011-76#58 | 43 | 2012-01-09 13:56 | 24C | 0.78295 | 3.5403e-06 | -0.00011897 | 0.78283 | 26.6205 | 0.00013422
2011-76#59 | 35 | 2012-01-09 13:58 | 24C | 0.85525 | 5.0845e-06 | -0.00011897 | 0.85513 | 29.3724 | 0.00019336
2011-76#60 | 29 | 2012-01-09 14:00 | 24C | 0.88026 | 1.1446e-05 | -0.00011897 | 0.88014 | 30.3333 | 0.00044038
2011-76#61 | 22 | 2012-01-09 14:02 | 24C | 0.9002 | 4.3338e-06 | -0.00011897 | 0.90008 | 31.1025 | 0.00016885
2011-76#62 | 39 | 2012-01-09 14:04 | 24C | 0.81933 | 3.5971e-06 | -0.00011897 | 0.81921 | 28.0004 | 0.00013859
2011-76#63 | 31 | 2012-01-09 14:06 | 24C | 0.8771 | 8.0728e-06 | -0.00011897 | 0.87699 | 30.2119 | 0.00031089
2011-76#64 | 32 | 2012-01-09 14:08 | 24C | 0.87665 | 4.9489e-06 | -0.00011885 | 0.87653 | 30.1944 | 0.00019105
2011-76#65 | 25 | 2012-01-09 14:09 | 24C | 0.89452 | 3.6104e-06 | -0.00011891 | 0.8944 | 30.8833 | 0.0001393
2011-76#66 | 41 | 2012-01-09 14:11 | 24C | 0.80609 | 2.7434e-06 | -0.00011909 | 0.80597 | 27.497 | 0.00010552
2011-76#67 | 33 | 2012-01-09 14:13 | 24C | 0.86947 | 9.1248e-06 | -0.00011897 | 0.86935 | 29.9183 | 0.00035086
2011-76#68 | 42 | 2012-01-09 14:15 | 24C | 0.80372 | 3.865e-06 | -0.00011891 | 0.8036 | 27.4071 | 0.00014622
2011-76#69 | 36 | 2012-01-09 14:16 | 24C | 0.85524 | 4.5983e-06 | -0.00011897 | 0.85512 | 29.372 | 0.00017716
2011-76#70 | 27 | 2012-01-09 14:19 | 24C | 0.88988 | 2.7425e-06 | -0.00011897 | 0.88976 | 30.7039 | 0.00010553
2011-76#71 | 44 | 2012-01-09 14:20 | 24C | 0.78245 | 4.6245e-06 | -0.00011897 | 0.78233 | 26.6014 | 0.00017526
2011-76#81 | stnPstd | 2012-01-09 14:48 | 24C | 0.98996 | 8.4388e-06 | -0.00011897 | 0.98984 | 34.6005 | 0.00033258
2011-76#82 | stnPstd | 2012-01-09 14:51 | 24C | 0.98968 | 4.6353e-06 | -0.00011897 | 0.98957 | 34.5897 | 0.00018174