## Notes
Cruise: 2012-01 February Line P Marie Robert
Analysis: | Kenny Scozzafava onboard CCGS J.P. Tully 18 FEB 2012 to 19 FEB 2012 using Water Properties Turner 10-AU Fluorometer. Data processing by Kenny Scozzafava
A detailed description of chlorophyll sampling is found on the Water Properties Website:
http://www.waterproperties.ca/standards/Chlorophyll_sampling_12Feb2010.pdf
2012-03-06 |  | KS
Averages of duplicate chl-a and Phaeopigment are reported in the QF file except where otherwise noted.
Raw Fluorometer Output contains the unprocessed output from Hyperterminal.
Data Organization' worksheet was used temporarily for organizing the readings and manual data entry
Chl-a Data' worksheet contains processed data ready for duplicate analysis and transfer to the QF worksheet'
#141B - Approximately 100 mL of the sample was spilled by Kenny before filtering. This resulted in a much lower chl-a concentration than expected.
This is reflected in the %CV for this sample number (21.4%). Since there was a known problem with the sample, only duplicate A is reported in the QF file with no flag.
#217 - Approximately 50 mL of the sample was spilled by Kenny before filtering. The final concentration is most likely lower then expected. Flagged as a 4
#219 - The filter was dropped filtrate side down on the bench top prior to being placed in the scintillation vile for freezing. It is unclear whether or not the final value was affected.
2012-03-08 |  | KS
The May 10, 2011 calibration shown on this file is the most up to date fluorometer calibration and is the one used to calculate final values.
2012-04-26 |  | KS
Altered header information

## QF 2012-01 CHL Final
Cruise: 2012-01 February Line P Marie Robert
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis. Samples were extracted in 90%
acetone at -20C for 24 hours onboard ship and analyzed on a Turner 10AU fluorometer calibrated with commercially pure chlorophyll-a standard (Sigma).
Fluorescence readings taken before and after acidification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965). Chlorophyll samples
were analyzed on board ship in a temperature controlled lab. The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2012-01CHL.xls
Cruise_Number | Event_Number | Station | Sample_Number | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Comments
|  |  |  | µg/L |  | µg/L
2012-01 | 2 | P1 | 12 | 0.41428 |  | 0.34258
2012-01 | 2 | P1 | 13 | 0.99435 |  | 0.38463
2012-01 | 4 | P2 | 29 | 0.1419 |  | 0.25076
2012-01 | 4 | P2 | 30 | 0.16573 |  | 0.23208
2012-01 | 4 | P2 | 31 | 0.16234 |  | 0.21897
2012-01 | 4 | P2 | 32 | 0.48877 |  | 0.32734
2012-01 | 4 | P2 | 33 | 0.90107 | 6 | 0.25702
2012-01 | 4 | P2 | 34 | 1.0474 |  | 0.27544
2012-01 | 4 | P2 | 35 | 0.87113 |  | 0.25461
2012-01 | 10 | P4 | 98 | 0.035037 |  | 0.082182
2012-01 | 10 | P4 | 99 | 0.087792 |  | 0.14206
2012-01 | 10 | P4 | 100 | 0.53247 |  | 0.27498
2012-01 | 10 | P4 | 101 | 0.61347 |  | 0.26571
2012-01 | 10 | P4 | 102 | 0.63147 | 6 | 0.26426
2012-01 | 10 | P4 | 104 | 0.58678 | 6 | 0.28824
2012-01 | 10 | P4 | 105 | 0.59094 | 6 | 0.27919
2012-01 | 10 | P4 | 106 | 0.64383 | 6 | 0.27067
2012-01 | 14 | P6 | 119 | 0.47377 |  | 0.17545
2012-01 | 14 | P6 | 120 | 0.45005 |  | 0.17532
2012-01 | 15 | P8 | 134 | 0.051905 |  | 0.056196
2012-01 | 15 | P8 | 135 | 0.33798 |  | 0.13431
2012-01 | 15 | P8 | 137 | 0.39962 |  | 0.13268
2012-01 | 15 | P8 | 138 | 0.47315 |  | 0.14729
2012-01 | 15 | P8 | 140 | 0.40208 | 6 | 0.15101
2012-01 | 15 | P8 | 141 | 0.44134 |  | 0.13845 | CHL: Duplicate not used
2012-01 | 15 | P8 | 142 | 0.46817 | 6 | 0.15301
2012-01 | 17 | P10 | 143 | 0.30226 |  | 0.1009
2012-01 | 17 | P10 | 144 | 0.29117 |  | 0.099412
2012-01 | 23 | P12 | 177 | 0.087169 | 6 | 0.051218
2012-01 | 23 | P12 | 183 | 0.35069 | 6 | 0.087398
2012-01 | 23 | P12 | 186 | 0.35824 | 6 | 0.088197
2012-01 | 25 | P12 | 216 | 0.11524 |  | 0.054192
2012-01 | 25 | P12 | 217 | 0.28121 | 4 | 0.086807 | CHL: Lost approximately 50 mL
2012-01 | 25 | P12 | 218 | 0.28007 |  | 0.090792
2012-01 | 25 | P12 | 219 | 0.29128 | 3 | 0.094409 | CHL: Dropped filter face down on the bench top after filtering
2012-01 | 25 | P12 | 220 | 0.28061 | 6 | 0.084166
2012-01 | 25 | P12 | 221 | 0.28885 |  | 0.077994
2012-01 | 28 | P16 | 234 | 0.07016 | 6 | 0.061299
2012-01 | 28 | P16 | 240 | 0.35326 | 6 | 0.074176
2012-01 | 28 | P16 | 243 | 0.42008 | 6 | 0.072257
2012-01 | 34 | P16 | 303 | 0.41988 |  | 0.09133
2012-01 | 34 | P16 | 304 | 0.43205 |  | 0.089145
2012-01 | 34 | P16 | 305 | 0.447 |  | 0.081945
2012-01 | 34 | P16 | 306 | 0.45042 | 6 | 0.076381
2012-01 | 34 | P16 | 307 | 0.4106 |  | 0.077586
2012-01 | 34 | P16 | 308 | 0.43466 |  | 0.097799
2012-01 | 36 | P24 | 334 | 0.45786 |  | 0.12778
2012-01 | 36 | P24 | 335 | 0.43653 |  | 0.10551
2012-01 | 37 | P25 | 336 | 0.39877 |  | 0.11351
2012-01 | 37 | P25 | 337 | 0.41151 |  | 0.12319
2012-01 | 49 | P26 | 432 | 0.40324 | 6 | 0.13268
2012-01 | 49 | P26 | 433 | 0.40828 | 6 | 0.12377
2012-01 | 49 | P26 | 434 | 0.42266 | 6 | 0.13458
2012-01 | 50 | P26 | 453 | 0.37924 |  | 0.12143
2012-01 | 50 | P26 | 454 | 0.39345 |  | 0.11588
2012-01 | 50 | P26 | 455 | 0.39283 |  | 0.11686
2012-01 | 50 | P26 | 456 | 0.38202 |  | 0.11656
2012-01 | 50 | P26 | 457 | 0.41323 | 6 | 0.099101
2012-01 | 50 | P26 | 458 | 0.37556 |  | 0.092297
2012-01 | 58 | P22 | 473 | 0.49352 |  | 0.11555
2012-01 | 58 | P22 | 474 | 0.49715 |  | 0.11605
2012-01 | 59 | P21 | 476 | 0.53286 |  | 0.1162
2012-01 | 59 | P21 | 477 | 0.51158 |  | 0.12816
2012-01 | 60 | P20 | 491 | 0.30883 |  | 0.10289
2012-01 | 60 | P20 | 492 | 0.45871 |  | 0.10925
2012-01 | 60 | P20 | 493 | 0.49607 |  | 0.10867
2012-01 | 60 | P20 | 494 | 0.53026 |  | 0.12232
2012-01 | 60 | P20 | 495 | 0.49941 | 6 | 0.10161
2012-01 | 60 | P20 | 497 | 0.51345 |  | 0.11774
2012-01 | 60 | P20 | 498 | 0.51905 | 6 | 0.10846
2012-01 | 60 | P20 | 499 | 0.49568 | 6 | 0.10454
2012-01 | 65 | P18 | 527 | 0.64347 |  | 0.084203
2012-01 | 65 | P18 | 528 | 0.64754 |  | 0.10422
2012-01 | 66 | P14 | 529 | 0.64013 |  | 0.12427
2012-01 | 66 | P14 | 530 | 0.61935 |  | 0.16074

## QF 2012-01 LOOP CHL
Cruise_Number | Event_Number | Station | Sample_Number | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Comments
2012-01 |  | JF2 | LOOP | 0.36373 |  | 0.23154
2012-01 |  | JF3 | LOOP | 1.0168 |  | 0.47617
2012-01 |  | JF1 | LOOP | 0.41247 |  | 0.27501
2012-01 |  | JF4 | LOOP | 1.0749 |  | 0.38085
2012-01 |  | P1 | LOOP 1 | 0.8919 |  | 0.36639
2012-01 |  | P15 | LOOP P15 | 0.52347 |  | 0.21465
2012-01 |  | PA-005/P22 | LOOP 2 | 0.47717 |  | 0.10919

## Flags
Institute of Ocean Sciences -Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## CV %
Cruise: 2012-01 February Line P Marie Robert
Averaging Duplicates and calculating CV %
Average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
When CV % is greater than 15 %, Quality Flag is 3 with an associated comment (see example).
When CV % is greater than 50 %, Quality Flag is 4 with an associated comment.
Cruise_Number | Sample_Number | Dup | Chl.a | Phaeo | Chl | CV% | Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Flag | Comments
|  |  | µg/L | µg/L | Avg | Chl |  | Avg
2012-01 | 33 | A | 0.87831 | 0.25929 | 0.90107 | 3.5713 | 0.90107 | 0.25702
2012-01 | 33 | B | 0.92382 | 0.25474
2012-01 | 102 | A | 0.64437 | 0.25829 | 0.63147 | 2.8903 | 0.63147 | 0.26426
2012-01 | 102 | B | 0.61856 | 0.27024
2012-01 | 104 | A | 0.58709 | 0.28928 | 0.58678 | 0.075032 | 0.58678 | 0.28824
2012-01 | 104 | B | 0.58647 | 0.28721
2012-01 | 105 | A | 0.59909 | 0.27835 | 0.59094 | 1.9506 | 0.59094 | 0.27919
2012-01 | 105 | B | 0.58279 | 0.28003
2012-01 | 106 | A | 0.67652 | 0.27331 | 0.64383 | 7.1802 | 0.64383 | 0.27067
2012-01 | 106 | B | 0.61115 | 0.26803
2012-01 | 140 | A | 0.39962 | 0.15377 | 0.40208 | 0.86603 | 0.40208 | 0.15101
2012-01 | 140 | B | 0.40454 | 0.14824
2012-01 | 141 | A | 0.44134 | 0.13845 | 0.38326 | 21.4294 | 0.38326 | 0.13035 | 4 | CHL: variability of reps > 15 %. Second value low as a result of losing approximately 100 mL of the sample before filtering.
2012-01 | 141 | B | 0.32519 | 0.12225
2012-01 | 142 | A | 0.45147 | 0.14686 | 0.46817 | 5.044 | 0.46817 | 0.15301
2012-01 | 142 | B | 0.48486 | 0.15916
2012-01 | 177 | A | 0.087452 | 0.049432 | 0.087169 | 0.45916 | 0.087169 | 0.051218
2012-01 | 177 | B | 0.086886 | 0.053003
2012-01 | 183 | A | 0.34647 | 0.090775 | 0.35069 | 1.7006 | 0.35069 | 0.087398
2012-01 | 183 | B | 0.3549 | 0.084022
2012-01 | 186 | A | 0.37585 | 0.083099 | 0.35824 | 6.9493 | 0.35824 | 0.088197
2012-01 | 186 | B | 0.34064 | 0.093294
2012-01 | 220 | A | 0.27402 | 0.088952 | 0.28061 | 3.3234 | 0.28061 | 0.084166
2012-01 | 220 | B | 0.28721 | 0.079381
2012-01 | 234 | A | 0.073641 | 0.063956 | 0.07016 | 7.0169 | 0.07016 | 0.061299
2012-01 | 234 | B | 0.066679 | 0.058641
2012-01 | 240 | A | 0.36809 | 0.071445 | 0.35326 | 5.9369 | 0.35326 | 0.074176
2012-01 | 240 | B | 0.33843 | 0.076907
2012-01 | 243 | A | 0.40222 | 0.069916 | 0.42008 | 6.0121 | 0.42008 | 0.072257
2012-01 | 243 | B | 0.43794 | 0.074598
2012-01 | 306 | A | 0.44343 | 0.070737 | 0.45042 | 2.1949 | 0.45042 | 0.076381
2012-01 | 306 | B | 0.45741 | 0.082024
2012-01 | 432 | A | 0.41337 | 0.12494 | 0.40324 | 3.5534 | 0.40324 | 0.13268
2012-01 | 432 | B | 0.39311 | 0.14042
2012-01 | 433 | A | 0.40698 | 0.12986 | 0.40828 | 0.45095 | 0.40828 | 0.12377
2012-01 | 433 | B | 0.40958 | 0.11768
2012-01 | 434 | A | 0.42339 | 0.1271 | 0.42266 | 0.24621 | 0.42266 | 0.13458
2012-01 | 434 | B | 0.42192 | 0.14207
2012-01 | 457 | A | 0.41643 | 0.095445 | 0.41323 | 1.0945 | 0.41323 | 0.099101
2012-01 | 457 | B | 0.41003 | 0.10276
2012-01 | 495 | A | 0.49466 | 0.10143 | 0.49941 | 1.3464 | 0.49941 | 0.10161
2012-01 | 495 | B | 0.50417 | 0.1018
2012-01 | 498 | A | 0.51905 | 0.10846 | 0.51331 | 1.5829 | 0.51331 | 0.1059
2012-01 | 498 | B | 0.50756 | 0.10335
2012-01 | 499 | A | 0.48951 | 0.11534 | 0.49568 | 1.7603 | 0.49568 | 0.10454
2012-01 | 499 | B | 0.50185 | 0.09373
[6 empty] | Count | 23

## Chl-a Data
Cruise: 2012-01 February Line P Marie Robert
May 2011 Chlorophyll Calibration Factors for the OSD Water Properties Fluorometer
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a May 10, 2011
May 10, 2011: chl (ug/L)= 0.8848*(1.90/(1.90-1)*(Fo-Fa)*(vol ext/vol filtered)*(dilution factor)
May 10, 2011: phaeo (ug/L)= 0.8848*(1.90/(1.90-1)*((1.90*Fa)-Fo)*1(vol ext/vol filtered)*(dilution factor)
Cruise_Number | Analyzed_Date | Event | Station | Sample_Number | Dup | Volume | Vol.acet. | Dilution | Before | After | Chl.a | Phaeo | RATIO | Flag | Comments
[6 empty] | Filtered | (ml) | Factor | acid | acid | µg/L | µg/L | Rb/Ra
(ml)
2012-01 | 2/19/12 | 2 | P1 | 12 |  | 330 | 10 | 1 | 22.176 | 14.857 | 0.41428 | 0.34258 | 1.4926
2012-01 | 2/19/12 | 2 | P1 | 13 |  | 330 | 10 | 1 | 44.636 | 27.069 | 0.99435 | 0.38463 | 1.649
2012-01 | 2/19/12 | 4 | P2 | 29 |  | 330 | 10 | 1 | 10.215 | 7.708 | 0.1419 | 0.25076 | 1.3252
2012-01 | 2/19/12 | 4 | P2 | 30 |  | 330 | 10 | 1 | 10.737 | 7.809 | 0.16573 | 0.23208 | 1.375
2012-01 | 2/19/12 | 4 | P2 | 31 |  | 330 | 10 | 1 | 10.353 | 7.485 | 0.16234 | 0.21897 | 1.3832
2012-01 | 2/19/12 | 4 | P2 | 32 |  | 330 | 10 | 1 | 24.655 | 16.02 | 0.48877 | 0.32734 | 1.539
2012-01 | 2/19/12 | 4 | P2 | 33 | A | 330 | 10 | 1 | 37.848 | 22.331 | 0.87831 | 0.25929 | 1.6949
2012-01 | 2/19/12 | 4 | P2 | 33 | B | 330 | 10 | 1 | 39.456 | 23.135 | 0.92382 | 0.25474 | 1.7055
2012-01 | 2/19/12 | 4 | P2 | 34 |  | 330 | 10 | 1 | 44.473 | 25.968 | 1.0474 | 0.27544 | 1.7126
2012-01 | 2/19/12 | 4 | P2 | 35 |  | 330 | 10 | 1 | 37.488 | 22.098 | 0.87113 | 0.25461 | 1.6964
2012-01 | 2/19/12 | 10 | P4 | 98 |  | 330 | 10 | 1 | 2.92 | 2.301 | 0.035037 | 0.082182 | 1.269
2012-01 | 2/19/12 | 10 | P4 | 99 |  | 330 | 10 | 1 | 6.063 | 4.512 | 0.087792 | 0.14206 | 1.3438
2012-01 | 2/19/12 | 10 | P4 | 100 |  | 330 | 10 | 1 | 25.257 | 15.85 | 0.53247 | 0.27498 | 1.5935
2012-01 | 2/19/12 | 10 | P4 | 101 |  | 330 | 10 | 1 | 28.096 | 17.258 | 0.61347 | 0.26571 | 1.628
2012-01 | 2/19/12 | 10 | P4 | 102 | A | 330 | 10 | 1 | 29.103 | 17.719 | 0.64437 | 0.25829 | 1.6425
2012-01 | 2/19/12 | 10 | P4 | 102 | B | 330 | 10 | 1 | 28.375 | 17.447 | 0.61856 | 0.27024 | 1.6264
2012-01 | 2/19/12 | 10 | P4 | 104 | A | 330 | 10 | 1 | 27.575 | 17.203 | 0.58709 | 0.28928 | 1.6029
2012-01 | 2/19/12 | 10 | P4 | 104 | B | 330 | 10 | 1 | 27.511 | 17.15 | 0.58647 | 0.28721 | 1.6041
2012-01 | 2/19/12 | 10 | P4 | 105 | A | 330 | 10 | 1 | 27.808 | 17.224 | 0.59909 | 0.27835 | 1.6145
2012-01 | 2/19/12 | 10 | P4 | 105 | B | 330 | 10 | 1 | 27.233 | 16.937 | 0.58279 | 0.28003 | 1.6079
2012-01 | 2/19/12 | 10 | P4 | 106 | A | 330 | 10 | 1 | 30.597 | 18.645 | 0.67652 | 0.27331 | 1.641
2012-01 | 2/19/12 | 10 | P4 | 106 | B | 330 | 10 | 1 | 28.055 | 17.258 | 0.61115 | 0.26803 | 1.6256
2012-01 | 2/19/12 | 14 | P6 | 119 |  | 330 | 10 | 1 | 21.114 | 12.744 | 0.47377 | 0.17545 | 1.6568
2012-01 | 2/19/12 | 14 | P6 | 120 |  | 330 | 10 | 1 | 20.227 | 12.276 | 0.45005 | 0.17532 | 1.6477
2012-01 | 2/19/12 | 15 | P8 | 134 |  | 330 | 10 | 1 | 3.039 | 2.122 | 0.051905 | 0.056196 | 1.4321
2012-01 | 2/19/12 | 15 | P8 | 135 |  | 330 | 10 | 1 | 15.242 | 9.271 | 0.33798 | 0.13431 | 1.6441
2012-01 | 2/19/12 | 15 | P8 | 137 |  | 330 | 10 | 1 | 17.509 | 10.449 | 0.39962 | 0.13268 | 1.6757
2012-01 | 2/19/12 | 15 | P8 | 138 |  | 330 | 10 | 1 | 20.538 | 12.179 | 0.47315 | 0.14729 | 1.6863
2012-01 | 2/19/12 | 15 | P8 | 140 | A | 330 | 10 | 1 | 17.923 | 10.863 | 0.39962 | 0.15377 | 1.6499
2012-01 | 2/19/12 | 15 | P8 | 140 | B | 330 | 10 | 1 | 17.998 | 10.851 | 0.40454 | 0.14824 | 1.6586
2012-01 | 2/19/12 | 15 | P8 | 141 | A | 330 | 10 | 1 | 19.178 | 11.381 | 0.44134 | 0.13845 | 1.6851
2012-01 | 2/19/12 | 15 | P8 | 141 | B | 330 | 10 | 1 | 14.528 | 8.783 | 0.32519 | 0.12225 | 1.6541 | 4 | CHL: Lost approximately 100 mL
2012-01 | 2/19/12 | 15 | P8 | 142 | A | 330 | 10 | 1 | 19.721 | 11.745 | 0.45147 | 0.14686 | 1.6791
2012-01 | 2/19/12 | 15 | P8 | 142 | B | 330 | 10 | 1 | 21.208 | 12.642 | 0.48486 | 0.15916 | 1.6776
2012-01 | 2/19/12 | 17 | P10 | 143 |  | 330 | 10 | 1 | 13.254 | 7.914 | 0.30226 | 0.1009 | 1.6748
2012-01 | 2/19/12 | 17 | P10 | 144 |  | 330 | 10 | 1 | 12.811 | 7.667 | 0.29117 | 0.099412 | 1.6709
2012-01 | 2/19/12 | 23 | P12 | 177 | A | 330 | 10 | 1 | 4.232 | 2.687 | 0.087452 | 0.049432 | 1.575
2012-01 | 2/19/12 | 23 | P12 | 177 | B | 330 | 10 | 1 | 4.281 | 2.746 | 0.086886 | 0.053003 | 1.559
2012-01 | 2/19/12 | 23 | P12 | 183 | A | 330 | 10 | 1 | 14.704 | 8.583 | 0.34647 | 0.090775 | 1.7132
2012-01 | 2/19/12 | 23 | P12 | 183 | B | 330 | 10 | 1 | 14.886 | 8.616 | 0.3549 | 0.084022 | 1.7277
2012-01 | 2/19/12 | 23 | P12 | 186 | A | 330 | 10 | 1 | 15.649 | 9.009 | 0.37585 | 0.083099 | 1.737
2012-01 | 2/19/12 | 23 | P12 | 186 | B | 330 | 10 | 1 | 14.536 | 8.518 | 0.34064 | 0.093294 | 1.7065
2012-01 | 2/19/12 | 25 | P12 | 216 |  | 330 | 10 | 1 | 5.362 | 3.326 | 0.11524 | 0.054192 | 1.6121
2012-01 | 2/19/12 | 25 | P12 | 217 |  | 330 | 10 | 1 | 12.192 | 7.224 | 0.28121 | 0.086807 | 1.6877 | 4 | CHL: Lost approximately 50 mL
2012-01 | 2/19/12 | 25 | P12 | 218 |  | 330 | 10 | 1 | 12.228 | 7.28 | 0.28007 | 0.090792 | 1.6797
2012-01 | 2/19/12 | 25 | P12 | 219 |  | 330 | 10 | 1 | 12.717 | 7.571 | 0.29128 | 0.094409 | 1.6797 | 3 | CHL: Dropped filter face down on the benchtop after filtering
2012-01 | 2/19/12 | 25 | P12 | 220 | A | 330 | 10 | 1 | 11.966 | 7.125 | 0.27402 | 0.088952 | 1.6794
2012-01 | 2/19/12 | 25 | P12 | 220 | B | 330 | 10 | 1 | 12.27 | 7.196 | 0.28721 | 0.079381 | 1.7051
2012-01 | 2/19/12 | 25 | P12 | 221 |  | 330 | 10 | 1 | 12.304 | 7.201 | 0.28885 | 0.077994 | 1.7087
2012-01 | 2/19/12 | 28 | P16 | 234 | A | 330 | 10 | 1 | 4.002 | 2.701 | 0.073641 | 0.063956 | 1.4817
2012-01 | 2/19/12 | 28 | P16 | 234 | B | 330 | 10 | 1 | 3.638 | 2.46 | 0.066679 | 0.058641 | 1.4789
2012-01 | 2/19/12 | 28 | P16 | 240 | A | 330 | 10 | 1 | 15.131 | 8.628 | 0.36809 | 0.071445 | 1.7537
2012-01 | 2/19/12 | 28 | P16 | 240 | B | 330 | 10 | 1 | 14.132 | 8.153 | 0.33843 | 0.076907 | 1.7333
2012-01 | 2/19/12 | 28 | P16 | 243 | A | 330 | 10 | 1 | 16.374 | 9.268 | 0.40222 | 0.069916 | 1.7667
2012-01 | 2/19/12 | 28 | P16 | 243 | B | 330 | 10 | 1 | 17.798 | 10.061 | 0.43794 | 0.074598 | 1.769 |  | A few floaters in the cuvette
2012-01 | 2/19/12 | 34 | P16 | 303 |  | 330 | 10 | 1 | 17.453 | 10.035 | 0.41988 | 0.09133 | 1.7392
2012-01 | 2/19/12 | 34 | P16 | 304 |  | 330 | 10 | 1 | 17.864 | 10.231 | 0.43205 | 0.089145 | 1.7461
2012-01 | 2/19/12 | 34 | P16 | 305 |  | 330 | 10 | 1 | 18.28 | 10.383 | 0.447 | 0.081945 | 1.7606
2012-01 | 2/19/12 | 34 | P16 | 306 | A | 330 | 10 | 1 | 17.927 | 10.093 | 0.44343 | 0.070737 | 1.7762
2012-01 | 2/19/12 | 34 | P16 | 306 | B | 330 | 10 | 1 | 18.67 | 10.589 | 0.45741 | 0.082024 | 1.7632
2012-01 | 2/19/12 | 34 | P16 | 307 |  | 330 | 10 | 1 | 16.837 | 9.583 | 0.4106 | 0.077586 | 1.757
2012-01 | 2/19/12 | 34 | P16 | 308 |  | 330 | 10 | 1 | 18.131 | 10.452 | 0.43466 | 0.097799 | 1.7347
2012-01 | 2/19/12 | 36 | P24 | 334 |  | 330 | 10 | 1 | 19.585 | 11.496 | 0.45786 | 0.12778 | 1.7036 |  | A few floaters in the cuvette
2012-01 | 2/19/12 | 36 | P24 | 335 |  | 330 | 10 | 1 | 18.352 | 10.64 | 0.43653 | 0.10551 | 1.7248
2012-01 | 2/19/12 | 37 | P25 | 336 |  | 330 | 10 | 1 | 17.101 | 10.056 | 0.39877 | 0.11351 | 1.7006
2012-01 | 2/19/12 | 37 | P25 | 337 |  | 330 | 10 | 1 | 17.766 | 10.496 | 0.41151 | 0.12319 | 1.6926
2012-01 | 2/19/12 | 49 | P26 | 432 | A | 330 | 10 | 1 | 17.87 | 10.567 | 0.41337 | 0.12494 | 1.6911
2012-01 | 2/19/12 | 49 | P26 | 432 | B | 330 | 10 | 1 | 17.418 | 10.473 | 0.39311 | 0.14042 | 1.6631
2012-01 | 2/19/12 | 49 | P26 | 433 | A | 330 | 10 | 1 | 17.728 | 10.538 | 0.40698 | 0.12986 | 1.6823
2012-01 | 2/19/12 | 49 | P26 | 433 | B | 330 | 10 | 1 | 17.586 | 10.35 | 0.40958 | 0.11768 | 1.6991
2012-01 | 2/19/12 | 49 | P26 | 434 | A | 330 | 10 | 1 | 18.286 | 10.806 | 0.42339 | 0.1271 | 1.6922
2012-01 | 2/19/12 | 49 | P26 | 434 | B | 330 | 10 | 1 | 18.525 | 11.071 | 0.42192 | 0.14207 | 1.6733
2012-01 | 2/19/12 | 50 | P26 | 453 |  | 330 | 10 | 1 | 16.528 | 9.828 | 0.37924 | 0.12143 | 1.6817
2012-01 | 2/19/12 | 50 | P26 | 454 |  | 330 | 10 | 1 | 16.949 | 9.998 | 0.39345 | 0.11588 | 1.6952
2012-01 | 2/19/12 | 50 | P26 | 455 |  | 330 | 10 | 1 | 16.945 | 10.005 | 0.39283 | 0.11686 | 1.6937
2012-01 | 2/19/12 | 50 | P26 | 456 |  | 330 | 10 | 1 | 16.536 | 9.787 | 0.38202 | 0.11656 | 1.6896
2012-01 | 2/19/12 | 50 | P26 | 457 | A | 330 | 10 | 1 | 17.405 | 10.048 | 0.41643 | 0.095445 | 1.7322
2012-01 | 2/19/12 | 50 | P26 | 457 | B | 330 | 10 | 1 | 17.31 | 10.066 | 0.41003 | 0.10276 | 1.7197
2012-01 | 2/19/12 | 50 | P26 | 458 |  | 330 | 10 | 1 | 15.819 | 9.184 | 0.37556 | 0.092297 | 1.7225
2012-01 | 2/19/12 | 58 | P22 | 473 |  | 330 | 10 | 1 | 20.675 | 11.956 | 0.49352 | 0.11555 | 1.7293
2012-01 | 2/19/12 | 58 | P22 | 474 |  | 330 | 10 | 1 | 20.82 | 12.037 | 0.49715 | 0.11605 | 1.7297
2012-01 | 2/19/12 | 59 | P21 | 476 |  | 330 | 10 | 1 | 22.155 | 12.741 | 0.53286 | 0.1162 | 1.7389
2012-01 | 2/19/12 | 59 | P21 | 477 |  | 330 | 10 | 1 | 21.596 | 12.558 | 0.51158 | 0.12816 | 1.7197
2012-01 | 2/19/12 | 60 | P20 | 491 |  | 330 | 10 | 1 | 13.538 | 8.082 | 0.30883 | 0.10289 | 1.6751
2012-01 | 2/19/12 | 60 | P20 | 492 |  | 330 | 10 | 1 | 19.253 | 11.149 | 0.45871 | 0.10925 | 1.7269
2012-01 | 2/19/12 | 60 | P20 | 493 |  | 330 | 10 | 1 | 20.635 | 11.871 | 0.49607 | 0.10867 | 1.7383
2012-01 | 2/19/12 | 60 | P20 | 494 |  | 330 | 10 | 1 | 22.178 | 12.81 | 0.53026 | 0.12232 | 1.7313
2012-01 | 2/19/12 | 60 | P20 | 495 | A | 330 | 10 | 1 | 20.44 | 11.701 | 0.49466 | 0.10143 | 1.7469
2012-01 | 2/19/12 | 60 | P20 | 495 | B | 330 | 10 | 1 | 20.802 | 11.895 | 0.50417 | 0.1018 | 1.7488
2012-01 | 2/19/12 | 60 | P20 | 497 |  | 330 | 10 | 1 | 21.461 | 12.39 | 0.51345 | 0.11774 | 1.7321
2012-01 | 2/19/12 | 60 | P20 | 498 | A | 330 | 10 | 1 | 21.488 | 12.318 | 0.51905 | 0.10846 | 1.7444
2012-01 | 2/19/12 | 60 | P20 | 498 | B | 330 | 10 | 1 | 20.959 | 11.992 | 0.50756 | 0.10335 | 1.7477
2012-01 | 2/19/12 | 60 | P20 | 499 | A | 330 | 10 | 1 | 20.521 | 11.873 | 0.48951 | 0.11534 | 1.7284
2012-01 | 2/19/12 | 60 | P20 | 499 | B | 330 | 10 | 1 | 20.557 | 11.691 | 0.50185 | 0.09373 | 1.7584
2012-01 | 2/19/12 | 65 | P18 | 527 |  | 330 | 10 | 1 | 25.652 | 14.284 | 0.64347 | 0.084203 | 1.7959
2012-01 | 2/19/12 | 65 | P18 | 528 |  | 330 | 10 | 1 | 26.197 | 14.757 | 0.64754 | 0.10422 | 1.7752
2012-01 | 2/19/12 | 66 | P14 | 529 |  | 330 | 10 | 1 | 26.314 | 15.005 | 0.64013 | 0.12427 | 1.7537
2012-01 | 2/19/12 | 66 | P14 | 530 |  | 330 | 10 | 1 | 26.255 | 15.313 | 0.61935 | 0.16074 | 1.7146
2012-01 | 2/19/12 |  | JF2 | LOOP |  | 330 | 10 | 1 | 18.111 | 11.685 | 0.36373 | 0.23154 | 1.5499
2012-01 | 2/19/12 |  | JF3 | LOOP |  | 330 | 10 | 1 | 47.269 | 29.306 | 1.0168 | 0.47617 | 1.6129
2012-01 | 2/19/12 |  | JF1 | LOOP |  | 330 | 10 | 1 | 20.782 | 13.495 | 0.41247 | 0.27501 | 1.54
2012-01 | 2/19/12 |  | JF4 | LOOP |  | 330 | 10 | 1 | 47.566 | 28.576 | 1.0749 | 0.38085 | 1.6645
2012-01 | 2/19/12 |  | P1 | LOOP 1 |  | 330 | 10 | 1 | 40.457 | 24.7 | 0.8919 | 0.36639 | 1.6379
2012-01 | 2/19/12 |  | P15 | LOOP P15 |  | 330 | 10 | 1 | 23.737 | 14.489 | 0.52347 | 0.21465 | 1.6383
2012-01 | 2/19/12 |  | PA-005/P22 | LOOP 2 |  | 330 | 10 | 1 | 19.94 | 11.51 | 0.47717 | 0.10919 | 1.7324

## Std & blanks
Cruise: 2012-01 February Line P Marie Robert
Date Analyzed | Time Analyzed | Blank |  | Solid Standard |  | Stand-by
|  | Rb | Ra | Low | High
2012-02-19 | 15:14 | 0.002 | 0.002 | 13.103 | 72.798 | -0.021
2012-02-19 | 16:59 | -0.003 | 0 | 13.113 | 72.387 | -0.022
2012-02-19 | 18:34 | 0.002 | 0 | 12.988 | 71.888 | -0.023
2012-02-19 | 19:52 | -0.018 | -0.018 | 13.098 | 72.213 | -0.022
2012-02-19 | 21:19 | -0.005 | -0.004 | 13.044 | 72.456 | -0.022
2012-02-19 | 22:23 | -0.01 | -0.008 | 13.044 | 71.582 | -0.022

## Data Organization
Station | Sample ID | Dup | Sequence | Unique ID | Date | Time | Rb | Sequence | Unique ID | Date | Time | Ra
P20 | 495 | A | 1 | 7894 | 2/19/12 | 15:50 | 20.44 | 2 | 7895 | 2/19/12 | 15:51 | 11.701
P18 | 528 |  | 3 | 7896 | 2/19/12 | 15:54 | 26.197 | 4 | 7897 | 2/19/12 | 15:55 | 14.757
P18 | 527 |  | 5 | 7898 | 2/19/12 | 15:57 | 25.652 | 6 | 7899 | 2/19/12 | 15:58 | 14.284
JF2 | LOOP |  | 7 | 7900 | 2/19/12 | 15:59 | 18.111 | 8 | 7901 | 2/19/12 | 16:00 | 11.685
JF3 | LOOP |  | 1 | 7902 | 2/19/12 | 16:02 | 47.269 | 2 | 7903 | 2/19/12 | 16:03 | 29.306
JF1 | LOOP |  | 3 | 7904 | 2/19/12 | 16:05 | 20.782 | 4 | 7905 | 2/19/12 | 16:06 | 13.495
JF4 | LOOP |  | 5 | 7906 | 2/19/12 | 16:07 | 47.566 | 6 | 7907 | 2/19/12 | 16:08 | 28.576
P4 | 106 | A | 7 | 7908 | 2/19/12 | 16:10 | 30.597 | 8 | 7909 | 2/19/12 | 16:11 | 18.645
P2 | 33 | B | 1 | 7910 | 2/19/12 | 16:13 | 39.456 | 2 | 7911 | 2/19/12 | 16:13 | 23.135
P1 | 13 |  | 3 | 7912 | 2/19/12 | 16:15 | 44.636 | 4 | 7913 | 2/19/12 | 16:16 | 27.069
P2 | 34 |  | 5 | 7914 | 2/19/12 | 16:18 | 44.473 | 6 | 7915 | 2/19/12 | 16:19 | 25.968
P1 | LOOP |  | 7 | 7916 | 2/19/12 | 16:21 | 40.457 | 8 | 7917 | 2/19/12 | 16:22 | 24.7
P4 | 106 | B | 1 | 7918 | 2/19/12 | 16:24 | 28.055 | 2 | 7919 | 2/19/12 | 16:25 | 17.258
P2 | 35 |  | 3 | 7920 | 2/19/12 | 16:26 | 37.488 | 4 | 7921 | 2/19/12 | 16:27 | 22.098
P4 | 100 |  | 5 | 7922 | 2/19/12 | 16:29 | 25.257 | 6 | 7923 | 2/19/12 | 16:30 | 15.85
P1 | 12 |  | 7 | 7924 | 2/19/12 | 16:32 | 22.176 | 8 | 7925 | 2/19/12 | 16:33 | 14.857
P2 | 30 |  | 1 | 7926 | 2/19/12 | 16:34 | 10.737 | 2 | 7927 | 2/19/12 | 16:35 | 7.809
P2 | 31 |  | 3 | 7928 | 2/19/12 | 16:37 | 10.353 | 4 | 7929 | 2/19/12 | 16:38 | 7.485
P2 | 33 | A | 5 | 7930 | 2/19/12 | 16:39 | 37.848 | 6 | 7931 | 2/19/12 | 16:41 | 22.331
P2 | 29 |  | 7 | 7932 | 2/19/12 | 16:42 | 10.215 | 8 | 7933 | 2/19/12 | 16:43 | 7.708
P2 | 32 |  | 1 | 7934 | 2/19/12 | 16:45 | 24.655 | 2 | 7935 | 2/19/12 | 16:46 | 16.02
P4 | 98 |  | 3 | 7936 | 2/19/12 | 16:47 | 2.92 | 4 | 7937 | 2/19/12 | 16:48 | 2.301
P4 | 104 | A | 5 | 7938 | 2/19/12 | 16:50 | 27.575 | 6 | 7939 | 2/19/12 | 16:51 | 17.203
P8 | 140 | A | 7 | 7940 | 2/19/12 | 16:52 | 17.923 | 8 | 7941 | 2/19/12 | 16:53 | 10.863
P8 | 137 |  | 1 | 7952 | 2/19/12 | 18:43 | 17.509 | 2 | 7953 | 2/19/12 | 18:44 | 10.449
P12 | 177 |  | 3 | 7954 | 2/19/12 | 18:46 | 4.232 | 4 | 7955 | 2/19/12 | 18:47 | 2.687
P8 | 141 | A | 5 | 7956 | 2/19/12 | 18:48 | 19.178 | 6 | 7957 | 2/19/12 | 18:49 | 11.381
P8 | 140 | B | 7 | 7958 | 2/19/12 | 18:50 | 17.998 | 8 | 7959 | 2/19/12 | 18:51 | 10.851
P8 | 135 |  | 1 | 7960 | 2/19/12 | 18:53 | 15.242 | 2 | 7961 | 2/19/12 | 18:54 | 9.271
P8 | 134 |  | 3 | 7962 | 2/19/12 | 18:55 | 3.039 | 4 | 7963 | 2/19/12 | 18:56 | 2.122
P12 | 186 |  | 5 | 7964 | 2/19/12 | 18:58 | 15.649 | 6 | 7965 | 2/19/12 | 18:59 | 9.009
P4 | 104 | B | 7 | 7966 | 2/19/12 | 19:00 | 27.511 | 8 | 7967 | 2/19/12 | 19:01 | 17.15
P4 | 99 |  | 1 | 7968 | 2/19/12 | 19:06 | 6.063 | 2 | 7969 | 2/19/12 | 19:07 | 4.512
P4 | 101 |  | 3 | 7970 | 2/19/12 | 19:09 | 28.096 | 4 | 7971 | 2/19/12 | 19:10 | 17.258
P4 | 105 | A | 5 | 7972 | 2/19/12 | 19:11 | 27.808 | 6 | 7973 | 2/19/12 | 19:12 | 17.224
P4 | 102 | A | 7 | 7974 | 2/19/12 | 19:14 | 29.103 | 8 | 7975 | 2/19/12 | 19:15 | 17.719
P6 | 120 |  | 1 | 7976 | 2/19/12 | 19:16 | 20.227 | 2 | 7977 | 2/19/12 | 19:17 | 12.276
P8 | 141 | B | 3 | 7978 | 2/19/12 | 19:19 | 14.528 | 4 | 7979 | 2/19/12 | 19:19 | 8.783
P10 | 144 |  | 5 | 7980 | 2/19/12 | 19:21 | 12.811 | 6 | 7981 | 2/19/12 | 19:22 | 7.667
P8 | 142 | A | 7 | 7982 | 2/19/12 | 19:23 | 19.721 | 8 | 7983 | 2/19/12 | 19:24 | 11.745
P12 | 216 |  | 1 | 7984 | 2/19/12 | 19:26 | 5.362 | 2 | 7985 | 2/19/12 | 19:27 | 3.326
P12 | 177 |  | 3 | 7986 | 2/19/12 | 19:28 | 4.281 | 4 | 7987 | 2/19/12 | 19:29 | 2.746
P6 | 119 |  | 5 | 7988 | 2/19/12 | 19:30 | 21.114 | 6 | 7989 | 2/19/12 | 19:31 | 12.744
P4 | 105 | B | 7 | 7990 | 2/19/12 | 19:32 | 27.233 | 8 | 7991 | 2/19/12 | 19:33 | 16.937
P8 | 142 | B | 1 | 7992 | 2/19/12 | 19:35 | 21.208 | 2 | 7993 | 2/19/12 | 19:36 | 12.642
P12 | 183 |  | 3 | 7994 | 2/19/12 | 19:37 | 14.704 | 4 | 7995 | 2/19/12 | 19:38 | 8.583
P4 | 102 | B | 5 | 7996 | 2/19/12 | 19:40 | 28.375 | 6 | 7997 | 2/19/12 | 19:41 | 17.447
P8 | 138 |  | 7 | 7998 | 2/19/12 | 19:42 | 20.538 | 8 | 7999 | 2/19/12 | 19:43 | 12.179
P16 | 305 |  | 1 | 8006 | 2/19/12 | 19:59 | 18.28 | 2 | 8007 | 2/19/12 | 20:00 | 10.383
P16 | 234 | A | 3 | 8008 | 2/19/12 | 20:02 | 4.002 | 4 | 8009 | 2/19/12 | 20:02 | 2.701
P12 | 218 |  | 5 | 8010 | 2/19/12 | 20:04 | 12.228 | 6 | 8011 | 2/19/12 | 20:05 | 7.28
P12 | 217 |  | 7 | 8012 | 2/19/12 | 20:06 | 12.192 | 8 | 8013 | 2/19/12 | 20:07 | 7.224
| LOOP15 |  | 1 | 8014 | 2/19/12 | 20:09 | 23.737 | 2 | 8015 | 2/19/12 | 20:10 | 14.489
P12 | 221 |  | 3 | 8016 | 2/19/12 | 20:11 | 12.304 | 4 | 8017 | 2/19/12 | 20:12 | 7.201
P12 | 220 | B | 5 | 8018 | 2/19/12 | 20:13 | 12.27 | 6 | 8019 | 2/19/12 | 20:14 | 7.196
P16 | 304 |  | 7 | 8020 | 2/19/12 | 20:16 | 17.864 | 8 | 8021 | 2/19/12 | 20:16 | 10.231
P21 | 476 |  | 1 | 8022 | 2/19/12 | 20:36 | 22.155 | 2 | 8023 | 2/19/12 | 20:37 | 12.741
P10 | 143 |  | 3 | 8024 | 2/19/12 | 20:39 | 13.254 | 4 | 8025 | 2/19/12 | 20:40 | 7.914
P16 | 234 | B | 5 | 8026 | 2/19/12 | 20:41 | 3.638 | 6 | 8027 | 2/19/12 | 20:42 | 2.46
P12 | 186 |  | 7 | 8028 | 2/19/12 | 20:44 | 14.536 | 8 | 8029 | 2/19/12 | 20:45 | 8.518
P12 | 183 |  | 1 | 8030 | 2/19/12 | 20:46 | 14.886 | 2 | 8031 | 2/19/12 | 20:47 | 8.616
P20 | 491 |  | 3 | 8032 | 2/19/12 | 20:48 | 13.538 | 4 | 8033 | 2/19/12 | 20:49 | 8.082
P20 | 499 |  | 5 | 8034 | 2/19/12 | 20:51 | 20.521 | 6 | 8035 | 2/19/12 | 20:52 | 11.873
P24 | 334 |  | 7 | 8036 | 2/19/12 | 20:53 | 19.585 | 8 | 8037 | 2/19/12 | 20:54 | 11.496
P20 | 494 |  | 1 | 8038 | 2/19/12 | 20:55 | 22.178 | 2 | 8039 | 2/19/12 | 20:56 | 12.81
P26 | 454 |  | 3 | 8040 | 2/19/12 | 20:57 | 16.949 | 4 | 8041 | 2/19/12 | 20:58 | 9.998
P24 | 335 |  | 5 | 8042 | 2/19/12 | 21:00 | 18.352 | 6 | 8043 | 2/19/12 | 21:01 | 10.64
P16 | 243 | A | 7 | 8044 | 2/19/12 | 21:02 | 16.374 | 8 | 8045 | 2/19/12 | 21:03 | 9.268
P26 | 453 |  | 1 | 8046 | 2/19/12 | 21:04 | 16.528 | 2 | 8047 | 2/19/12 | 21:05 | 9.828
P16 | 306 | A | 3 | 8048 | 2/19/12 | 21:06 | 17.927 | 4 | 8049 | 2/19/12 | 21:07 | 10.093
P16 | 306 | B | 5 | 8050 | 2/19/12 | 21:09 | 18.67 | 6 | 8051 | 2/19/12 | 21:10 | 10.589
P20 | 493 |  | 7 | 8052 | 2/19/12 | 21:11 | 20.635 | 8 | 8053 | 2/19/12 | 21:12 | 11.871
P22 | 474 |  | 1 | 8059 | 2/19/12 | 21:26 | 20.82 | 2 | 8060 | 2/19/12 | 21:27 | 12.037
P25 | 336 |  | 3 | 8061 | 2/19/12 | 21:28 | 17.101 | 4 | 8062 | 2/19/12 | 21:29 | 10.056
P25 | 337 |  | 5 | 8063 | 2/19/12 | 21:31 | 17.766 | 6 | 8064 | 2/19/12 | 21:31 | 10.496
P26 | 432 | B | 7 | 8065 | 2/19/12 | 21:33 | 17.418 | 8 | 8066 | 2/19/12 | 21:34 | 10.473
P26 | 457 | B | 1 | 8067 | 2/19/12 | 21:35 | 17.31 | 2 | 8068 | 2/19/12 | 21:36 | 10.066
P26 | 433 | B | 3 | 8069 | 2/19/12 | 21:37 | 17.586 | 4 | 8070 | 2/19/12 | 21:38 | 10.35
P26 | 433 | A | 5 | 8071 | 2/19/12 | 21:40 | 17.728 | 6 | 8072 | 2/19/12 | 21:40 | 10.538
P16 | 243 | B | 7 | 8073 | 2/19/12 | 21:42 | 17.798 | 8 | 8074 | 2/19/12 | 21:43 | 10.061
P26 | 434 | B | 1 | 8075 | 2/19/12 | 21:44 | 18.525 | 2 | 8076 | 2/19/12 | 21:45 | 11.071
P20 | 498 | A | 3 | 8077 | 2/19/12 | 21:47 | 21.488 | 4 | 8078 | 2/19/12 | 21:47 | 12.318
P22 | 473 |  | 5 | 8079 | 2/19/12 | 21:49 | 20.675 | 6 | 8080 | 2/19/12 | 21:50 | 11.956
| LOOP2 |  | 7 | 8081 | 2/19/12 | 21:51 | 19.94 | 8 | 8082 | 2/19/12 | 21:52 | 11.51
P26 | 432 | A | 1 | 8083 | 2/19/12 | 21:53 | 17.87 | 2 | 8084 | 2/19/12 | 21:54 | 10.567
P26 | 457 | A | 3 | 8085 | 2/19/12 | 21:56 | 17.405 | 4 | 8086 | 2/19/12 | 21:57 | 10.048
P26 | 456 |  | 5 | 8087 | 2/19/12 | 21:59 | 16.536 | 6 | 8088 | 2/19/12 | 22:00 | 9.787
P26 | 455 |  | 7 | 8089 | 2/19/12 | 22:01 | 16.945 | 8 | 8090 | 2/19/12 | 22:02 | 10.005
P20 | 492 |  | 1 | 8091 | 2/19/12 | 22:04 | 19.253 | 2 | 8092 | 2/19/12 | 22:05 | 11.149
P20 | 499 |  | 3 | 8093 | 2/19/12 | 22:06 | 20.557 | 4 | 8094 | 2/19/12 | 22:07 | 11.691
P21 | 477 |  | 5 | 8095 | 2/19/12 | 22:08 | 21.596 | 6 | 8096 | 2/19/12 | 22:09 | 12.558
P20 | 497 |  | 7 | 8097 | 2/19/12 | 22:10 | 21.461 | 8 | 8098 | 2/19/12 | 22:11 | 12.39
P20 | 498 | B | 1 | 8099 | 2/19/12 | 22:13 | 20.959 | 2 | 8100 | 2/19/12 | 22:14 | 11.992
P26 | 458 |  | 3 | 8101 | 2/19/12 | 22:15 | 15.819 | 4 | 8102 | 2/19/12 | 22:16 | 9.184
P20 | 495 | B | 5 | 8103 | 2/19/12 | 22:18 | 20.802 | 6 | 8104 | 2/19/12 | 22:19 | 11.895
P16 | 307 |  | 7 | 8105 | 2/19/12 | 22:20 | 16.837 | 8 | 8106 | 2/19/12 | 22:21 | 9.583
P14 | 529 |  | 1 | 8112 | 2/19/12 | 22:30 | 26.314 | 2 | 8113 | 2/19/12 | 22:31 | 15.005
P26 | 434 | A | 3 | 8114 | 2/19/12 | 22:33 | 18.286 | 4 | 8115 | 2/19/12 | 22:34 | 10.806
P16 | 308 |  | 5 | 8116 | 2/19/12 | 22:35 | 18.131 | 6 | 8117 | 2/19/12 | 22:36 | 10.452
P16 | 240 | A | 7 | 8118 | 2/19/12 | 22:38 | 15.131 | 8 | 8119 | 2/19/12 | 22:39 | 8.628
P12 | 219 |  | 1 | 8120 | 2/19/12 | 22:40 | 12.717 | 2 | 8121 | 2/19/12 | 22:41 | 7.571
P14 | 530 |  | 3 | 8122 | 2/19/12 | 22:42 | 26.255 | 4 | 8123 | 2/19/12 | 22:43 | 15.313
P16 | 303 |  | 5 | 8124 | 2/19/12 | 22:45 | 17.453 | 6 | 8125 | 2/19/12 | 22:45 | 10.035
P16 | 240 | B | 7 | 8126 | 2/19/12 | 22:47 | 14.132 | 8 | 8127 | 2/19/12 | 22:48 | 8.153
P12 | 220 | A | 1 | 8128 | 2/19/12 | 22:49 | 11.966 | 2 | 8129 | 2/19/12 | 22:50 | 7.125
stby |  |  | 1 | 7891 | 2/19/12 | 15:14 | -0.021
l |  |  | 1 | 7889 | 2/19/12 | 15:07 | 13.103
h |  |  | 2 | 7890 | 2/19/12 | 15:09 | 72.798
blank |  |  | 6 | 7892 | 2/19/12 | 15:16 | 0.002 | 6 | 7893 | 2/19/12 | 15:17 | 0.002
blank |  |  | 3 | 7942 | 2/19/12 | 16:54 | -0.003 | 4 | 7943 | 2/19/12 | 16:55 | 0
l |  |  | 5 | 7944 | 2/19/12 | 16:57 | 13.113
h |  |  | 7 | 7945 | 2/19/12 | 16:58 | 72.387
stby |  |  | 8 | 7946 | 2/19/12 | 16:59 | -0.022
stby |  |  | 1 | 7947 | 2/19/12 | 18:34 | -0.023
l |  |  | 2 | 7948 | 2/19/12 | 18:36 | 12.988
h |  |  | 4 | 7949 | 2/19/12 | 18:37 | 71.888
blank |  |  | 6 | 7950 | 2/19/12 | 18:39 | 0.002 | 7 | 7951 | 2/19/12 | 18:40 | 0
stby |  |  | 1 | 8001 | 2/19/12 | 19:52 | -0.022
l |  |  | 2 | 8002 | 2/19/12 | 19:54 | 13.098
h |  |  | 4 | 8003 | 2/19/12 | 19:55 | 72.213
blank |  |  | 6 | 8004 | 2/19/12 | 19:57 | -0.018 | 7 | 8005 | 2/19/12 | 19:58 | -0.018
stby |  |  | 1 | 8054 | 2/19/12 | 21:19 | -0.022
l |  |  | 2 | 8055 | 2/19/12 | 21:21 | 13.044
h |  |  | 4 | 8056 | 2/19/12 | 21:22 | 72.456
blank |  |  | 6 | 8057 | 2/19/12 | 21:24 | -0.005 | 7 | 8058 | 2/19/12 | 21:24 | -0.004
stby |  |  | 1 | 8107 | 2/19/12 | 22:23 | -0.022
l |  |  | 2 | 8108 | 2/19/12 | 22:24 | 13.044
h |  |  | 4 | 8109 | 2/19/12 | 22:25 | 71.582
blank |  |  | 6 | 8110 | 2/19/12 | 22:27 | -0.01 | 7 | 8111 | 2/19/12 | 22:28 | -0.008

## Raw Fluorometer Output
Button | Unique | Date | Time | Fluorescence
Sequence | Identifier |  |  | (FSU)
1 | 7889 | 2/19/12 | 15:07 | 13.103
2 | 7890 | 2/19/12 | 15:09 | 72.798
1 | 7891 | 2/19/12 | 15:14 | -0.021
6 | 7892 | 2/19/12 | 15:16 | 0.002
6 | 7893 | 2/19/12 | 15:17 | 0.002
1 | 7894 | 2/19/12 | 15:50 | 20.44
2 | 7895 | 2/19/12 | 15:51 | 11.701
3 | 7896 | 2/19/12 | 15:54 | 26.197
4 | 7897 | 2/19/12 | 15:55 | 14.757
5 | 7898 | 2/19/12 | 15:57 | 25.652
6 | 7899 | 2/19/12 | 15:58 | 14.284
7 | 7900 | 2/19/12 | 15:59 | 18.111
8 | 7901 | 2/19/12 | 16:00 | 11.685
1 | 7902 | 2/19/12 | 16:02 | 47.269
2 | 7903 | 2/19/12 | 16:03 | 29.306
3 | 7904 | 2/19/12 | 16:05 | 20.782
4 | 7905 | 2/19/12 | 16:06 | 13.495
5 | 7906 | 2/19/12 | 16:07 | 47.566
6 | 7907 | 2/19/12 | 16:08 | 28.576
7 | 7908 | 2/19/12 | 16:10 | 30.597
8 | 7909 | 2/19/12 | 16:11 | 18.645
1 | 7910 | 2/19/12 | 16:13 | 39.456
2 | 7911 | 2/19/12 | 16:13 | 23.135
3 | 7912 | 2/19/12 | 16:15 | 44.636
4 | 7913 | 2/19/12 | 16:16 | 27.069
5 | 7914 | 2/19/12 | 16:18 | 44.473
6 | 7915 | 2/19/12 | 16:19 | 25.968
7 | 7916 | 2/19/12 | 16:21 | 40.457
8 | 7917 | 2/19/12 | 16:22 | 24.7
1 | 7918 | 2/19/12 | 16:24 | 28.055
2 | 7919 | 2/19/12 | 16:25 | 17.258
3 | 7920 | 2/19/12 | 16:26 | 37.488
4 | 7921 | 2/19/12 | 16:27 | 22.098
5 | 7922 | 2/19/12 | 16:29 | 25.257
6 | 7923 | 2/19/12 | 16:30 | 15.85
7 | 7924 | 2/19/12 | 16:32 | 22.176
8 | 7925 | 2/19/12 | 16:33 | 14.857
1 | 7926 | 2/19/12 | 16:34 | 10.737
2 | 7927 | 2/19/12 | 16:35 | 7.809
3 | 7928 | 2/19/12 | 16:37 | 10.353
4 | 7929 | 2/19/12 | 16:38 | 7.485
5 | 7930 | 2/19/12 | 16:39 | 37.848
6 | 7931 | 2/19/12 | 16:41 | 22.331
7 | 7932 | 2/19/12 | 16:42 | 10.215
8 | 7933 | 2/19/12 | 16:43 | 7.708
1 | 7934 | 2/19/12 | 16:45 | 24.655
2 | 7935 | 2/19/12 | 16:46 | 16.02
3 | 7936 | 2/19/12 | 16:47 | 2.92
4 | 7937 | 2/19/12 | 16:48 | 2.301
5 | 7938 | 2/19/12 | 16:50 | 27.575
7 | 7939 | 2/19/12 | 16:51 | 17.203
7 | 7940 | 2/19/12 | 16:52 | 17.923
8 | 7941 | 2/19/12 | 16:53 | 10.863
3 | 7942 | 2/19/12 | 16:54 | -0.003
4 | 7943 | 2/19/12 | 16:55 | 0
5 | 7944 | 2/19/12 | 16:57 | 13.113
7 | 7945 | 2/19/12 | 16:58 | 72.387
8 | 7946 | 2/19/12 | 16:59 | -0.022
1 | 7947 | 2/19/12 | 18:34 | -0.023
2 | 7948 | 2/19/12 | 18:36 | 12.988
4 | 7949 | 2/19/12 | 18:37 | 71.888
6 | 7950 | 2/19/12 | 18:39 | 0.002
7 | 7951 | 2/19/12 | 18:40 | 0
1 | 7952 | 2/19/12 | 18:43 | 17.509
2 | 7953 | 2/19/12 | 18:44 | 10.449
3 | 7954 | 2/19/12 | 18:46 | 4.232
4 | 7955 | 2/19/12 | 18:47 | 2.687
5 | 7956 | 2/19/12 | 18:48 | 19.178
6 | 7957 | 2/19/12 | 18:49 | 11.381
7 | 7958 | 2/19/12 | 18:50 | 17.998
8 | 7959 | 2/19/12 | 18:51 | 10.851
1 | 7960 | 2/19/12 | 18:53 | 15.242
2 | 7961 | 2/19/12 | 18:54 | 9.271
3 | 7962 | 2/19/12 | 18:55 | 3.039
4 | 7963 | 2/19/12 | 18:56 | 2.122
5 | 7964 | 2/19/12 | 18:58 | 15.649
6 | 7965 | 2/19/12 | 18:59 | 9.009
7 | 7966 | 2/19/12 | 19:00 | 27.511
8 | 7967 | 2/19/12 | 19:01 | 17.15
1 | 7968 | 2/19/12 | 19:06 | 6.063
2 | 7969 | 2/19/12 | 19:07 | 4.512
3 | 7970 | 2/19/12 | 19:09 | 28.096
4 | 7971 | 2/19/12 | 19:10 | 17.258
5 | 7972 | 2/19/12 | 19:11 | 27.808
6 | 7973 | 2/19/12 | 19:12 | 17.224
7 | 7974 | 2/19/12 | 19:14 | 29.103
8 | 7975 | 2/19/12 | 19:15 | 17.719
1 | 7976 | 2/19/12 | 19:16 | 20.227
2 | 7977 | 2/19/12 | 19:17 | 12.276
3 | 7978 | 2/19/12 | 19:19 | 14.528
4 | 7979 | 2/19/12 | 19:19 | 8.783
5 | 7980 | 2/19/12 | 19:21 | 12.811
6 | 7981 | 2/19/12 | 19:22 | 7.667
7 | 7982 | 2/19/12 | 19:23 | 19.721
8 | 7983 | 2/19/12 | 19:24 | 11.745
1 | 7984 | 2/19/12 | 19:26 | 5.362
2 | 7985 | 2/19/12 | 19:27 | 3.326
3 | 7986 | 2/19/12 | 19:28 | 4.281
4 | 7987 | 2/19/12 | 19:29 | 2.746
5 | 7988 | 2/19/12 | 19:30 | 21.114
6 | 7989 | 2/19/12 | 19:31 | 12.744
7 | 7990 | 2/19/12 | 19:32 | 27.233
8 | 7991 | 2/19/12 | 19:33 | 16.937
1 | 7992 | 2/19/12 | 19:35 | 21.208
2 | 7993 | 2/19/12 | 19:36 | 12.642
3 | 7994 | 2/19/12 | 19:37 | 14.704
4 | 7995 | 2/19/12 | 19:38 | 8.583
5 | 7996 | 2/19/12 | 19:40 | 28.375
6 | 7997 | 2/19/12 | 19:41 | 17.447
7 | 7998 | 2/19/12 | 19:42 | 20.538
8 | 7999 | 2/19/12 | 19:43 | 12.179
8 | 8000 | 2/19/12 | 19:43 | 12.342
1 | 8001 | 2/19/12 | 19:52 | -0.022
2 | 8002 | 2/19/12 | 19:54 | 13.098
4 | 8003 | 2/19/12 | 19:55 | 72.213
6 | 8004 | 2/19/12 | 19:57 | -0.018
7 | 8005 | 2/19/12 | 19:58 | -0.018
1 | 8006 | 2/19/12 | 19:59 | 18.28
2 | 8007 | 2/19/12 | 20:00 | 10.383
3 | 8008 | 2/19/12 | 20:02 | 4.002
4 | 8009 | 2/19/12 | 20:02 | 2.701
5 | 8010 | 2/19/12 | 20:04 | 12.228
6 | 8011 | 2/19/12 | 20:05 | 7.28
7 | 8012 | 2/19/12 | 20:06 | 12.192
8 | 8013 | 2/19/12 | 20:07 | 7.224
1 | 8014 | 2/19/12 | 20:09 | 23.737
2 | 8015 | 2/19/12 | 20:10 | 14.489
3 | 8016 | 2/19/12 | 20:11 | 12.304
4 | 8017 | 2/19/12 | 20:12 | 7.201
5 | 8018 | 2/19/12 | 20:13 | 12.27
6 | 8019 | 2/19/12 | 20:14 | 7.196
7 | 8020 | 2/19/12 | 20:16 | 17.864
8 | 8021 | 2/19/12 | 20:16 | 10.231
1 | 8022 | 2/19/12 | 20:36 | 22.155
2 | 8023 | 2/19/12 | 20:37 | 12.741
3 | 8024 | 2/19/12 | 20:39 | 13.254
4 | 8025 | 2/19/12 | 20:40 | 7.914
5 | 8026 | 2/19/12 | 20:41 | 3.638
6 | 8027 | 2/19/12 | 20:42 | 2.46
7 | 8028 | 2/19/12 | 20:44 | 14.536
8 | 8029 | 2/19/12 | 20:45 | 8.518
1 | 8030 | 2/19/12 | 20:46 | 14.886
2 | 8031 | 2/19/12 | 20:47 | 8.616
3 | 8032 | 2/19/12 | 20:48 | 13.538
4 | 8033 | 2/19/12 | 20:49 | 8.082
5 | 8034 | 2/19/12 | 20:51 | 20.521
6 | 8035 | 2/19/12 | 20:52 | 11.873
7 | 8036 | 2/19/12 | 20:53 | 19.585
8 | 8037 | 2/19/12 | 20:54 | 11.496
1 | 8038 | 2/19/12 | 20:55 | 22.178
2 | 8039 | 2/19/12 | 20:56 | 12.81
3 | 8040 | 2/19/12 | 20:57 | 16.949
4 | 8041 | 2/19/12 | 20:58 | 9.998
5 | 8042 | 2/19/12 | 21:00 | 18.352
6 | 8043 | 2/19/12 | 21:01 | 10.64
7 | 8044 | 2/19/12 | 21:02 | 16.374
8 | 8045 | 2/19/12 | 21:03 | 9.268
1 | 8046 | 2/19/12 | 21:04 | 16.528
3 | 8047 | 2/19/12 | 21:05 | 9.828
3 | 8048 | 2/19/12 | 21:06 | 17.927
4 | 8049 | 2/19/12 | 21:07 | 10.093
5 | 8050 | 2/19/12 | 21:09 | 18.67
6 | 8051 | 2/19/12 | 21:10 | 10.589
7 | 8052 | 2/19/12 | 21:11 | 20.635
8 | 8053 | 2/19/12 | 21:12 | 11.871
1 | 8054 | 2/19/12 | 21:19 | -0.022
2 | 8055 | 2/19/12 | 21:21 | 13.044
4 | 8056 | 2/19/12 | 21:22 | 72.456
6 | 8057 | 2/19/12 | 21:24 | -0.005
7 | 8058 | 2/19/12 | 21:24 | -0.004
1 | 8059 | 2/19/12 | 21:26 | 20.82
2 | 8060 | 2/19/12 | 21:27 | 12.037
3 | 8061 | 2/19/12 | 21:28 | 17.101
4 | 8062 | 2/19/12 | 21:29 | 10.056
5 | 8063 | 2/19/12 | 21:31 | 17.766
6 | 8064 | 2/19/12 | 21:31 | 10.496
7 | 8065 | 2/19/12 | 21:33 | 17.418
8 | 8066 | 2/19/12 | 21:34 | 10.473
1 | 8067 | 2/19/12 | 21:35 | 17.31
2 | 8068 | 2/19/12 | 21:36 | 10.066
3 | 8069 | 2/19/12 | 21:37 | 17.586
4 | 8070 | 2/19/12 | 21:38 | 10.35
5 | 8071 | 2/19/12 | 21:40 | 17.728
6 | 8072 | 2/19/12 | 21:40 | 10.538
7 | 8073 | 2/19/12 | 21:42 | 17.798
8 | 8074 | 2/19/12 | 21:43 | 10.061
1 | 8075 | 2/19/12 | 21:44 | 18.525
2 | 8076 | 2/19/12 | 21:45 | 11.071
3 | 8077 | 2/19/12 | 21:47 | 21.488
4 | 8078 | 2/19/12 | 21:47 | 12.318
5 | 8079 | 2/19/12 | 21:49 | 20.675
6 | 8080 | 2/19/12 | 21:50 | 11.956
7 | 8081 | 2/19/12 | 21:51 | 19.94
8 | 8082 | 2/19/12 | 21:52 | 11.51
1 | 8083 | 2/19/12 | 21:53 | 17.87
2 | 8084 | 2/19/12 | 21:54 | 10.567
3 | 8085 | 2/19/12 | 21:56 | 17.405
4 | 8086 | 2/19/12 | 21:57 | 10.048
5 | 8087 | 2/19/12 | 21:59 | 16.536
6 | 8088 | 2/19/12 | 22:00 | 9.787
7 | 8089 | 2/19/12 | 22:01 | 16.945
8 | 8090 | 2/19/12 | 22:02 | 10.005
1 | 8091 | 2/19/12 | 22:04 | 19.253
2 | 8092 | 2/19/12 | 22:05 | 11.149
3 | 8093 | 2/19/12 | 22:06 | 20.557
4 | 8094 | 2/19/12 | 22:07 | 11.691
5 | 8095 | 2/19/12 | 22:08 | 21.596
6 | 8096 | 2/19/12 | 22:09 | 12.558
7 | 8097 | 2/19/12 | 22:10 | 21.461
8 | 8098 | 2/19/12 | 22:11 | 12.39
1 | 8099 | 2/19/12 | 22:13 | 20.959
2 | 8100 | 2/19/12 | 22:14 | 11.992
3 | 8101 | 2/19/12 | 22:15 | 15.819
4 | 8102 | 2/19/12 | 22:16 | 9.184
5 | 8103 | 2/19/12 | 22:18 | 20.802
6 | 8104 | 2/19/12 | 22:19 | 11.895
7 | 8105 | 2/19/12 | 22:20 | 16.837
8 | 8106 | 2/19/12 | 22:21 | 9.583
1 | 8107 | 2/19/12 | 22:23 | -0.022
2 | 8108 | 2/19/12 | 22:24 | 13.044
4 | 8109 | 2/19/12 | 22:25 | 71.582
6 | 8110 | 2/19/12 | 22:27 | -0.01
7 | 8111 | 2/19/12 | 22:28 | -0.008
1 | 8112 | 2/19/12 | 22:30 | 26.314
2 | 8113 | 2/19/12 | 22:31 | 15.005
3 | 8114 | 2/19/12 | 22:33 | 18.286
4 | 8115 | 2/19/12 | 22:34 | 10.806
5 | 8116 | 2/19/12 | 22:35 | 18.131
6 | 8117 | 2/19/12 | 22:36 | 10.452
7 | 8118 | 2/19/12 | 22:38 | 15.131
8 | 8119 | 2/19/12 | 22:39 | 8.628
1 | 8120 | 2/19/12 | 22:40 | 12.717
2 | 8121 | 2/19/12 | 22:41 | 7.571
4 | 8122 | 2/19/12 | 22:42 | 26.255
4 | 8123 | 2/19/12 | 22:43 | 15.313
5 | 8124 | 2/19/12 | 22:45 | 17.453
6 | 8125 | 2/19/12 | 22:45 | 10.035
7 | 8126 | 2/19/12 | 22:47 | 14.132
8 | 8127 | 2/19/12 | 22:48 | 8.153
1 | 8128 | 2/19/12 | 22:49 | 11.966
2 | 8129 | 2/19/12 | 22:50 | 7.125