## Notes
Analysis: | Kenny Scozzafava, 29-FEB-12 to 02-MAR-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
2012-03-05 |  | KS
All samples for this cruise were sealed with the new silicone inserts newly purchased by Steve. They seem to provide a good seal short term but it is now more important to ensure screw caps are tightened
down properly. Their suppleness may allow them to be pushed out more easily when head space pressure increases as the sample warms.
#145 and #231- were found to have the insert crushed into the neck of the bottle. This may be an additional problem associated with the silicone inserts. More care will need to be taken when
sampling as to make sure they are inserted fully but not pushed in too far as with these.
See 'Raw Salinometer Output' worksheet for all calibration data related to this period of analysis
#355- was mislabelled as 255 during analysis. Error corrected
#465- was mislabelled as 355 during analysis. Error corrected
#25 and 26 are samples taken from the Gorge waterway analyzed for Sophie and Cindy. Included here in case they need to be archived.
#86- Replicate outliers as determined by the Chauvenet criteria. Please check
2012-03-06 |  | KS
#319- 30 samples were taken from the same Niskin bottle for a storage time series experiment on 14 Feb 2012 during 2012-01 Line P..
#319 Station P24 Event 36 bot 8
These samples were also sealed with the new silicone inserts so the storage time experiment should provide good evidence to their effectiveness relative to the nylon inserts supplied by Guildline/OSIL.
5 of these samples were analyzed during this analysis period with the goal of analyzing 5 samples every month for the next six months.
Samples were analyzed randomly throughout the analysis period.
Data can be found in the duplicates worksheet and the '2012 Deep Water Reference Data' excel file.
2012-03-07 |  | KS
Loop data can be found in QF 2012-01 LOOP FINAL worksheet
See '2012-01 Sanility Analysis Report" for additional details regarding sample collection, analysis, deep water reference material and silicone inserts.
2012-04-18 |  | KS
Sample #86 - cast #10 - the average looks ok in comparison to the CTD salinity though both readings seem slightly out of line. Flag and comments remain.
Sample #200 - Dropped flag and comment since duplication was ok and because the ctd comparison was also ok
Sample #231 - cast #27 - This is likely an outlier in the comparison with CTD salinity, but the CTD data are fairly noisy. The standard deviation in the CTD salinity was 0.03 and
the difference is 0.02. So it may be an outlier, but it is definitely not clear. Bottle value is quite high (32.6608 psu) relative to the ctd value (32.6451 psu).
Flag downgraded to a 4 from a 3 due to the known problem with the sample.
Sample #528 - cast #65 - This looks ok in comparison to CTD salinity. Difficult to judge at the surface; however. Flag and comment remain.
2012-04-26 |  | KS
#319 - Reworded comment for clearer interpretation.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-01 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 9-11 days after cruise end. For details including a duplicate analysis, see document QF2012-01SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2012-01 | 1 | SI03 | 2 |  | 31.2816
2012-01 | 1 | SI03 | 3 |  | 31.2654
2012-01 | 1 | SI03 | 11 |  | 29.0828
2012-01 | 2 | P1 | 13 |  | 29.4625
2012-01 | 4 | P2 | 29 |  | 32.6123
2012-01 | 5 | P4 | 57 |  | 32.3914
2012-01 | 10 | P4 | 86 | 36 | 34.4618 | SAL: Replicate Outliers. Average ok. Individual values slightly out of line.
2012-01 | 10 | P4 | 88 |  | 34.3825
2012-01 | 10 | P4 | 89 |  | 34.3002
2012-01 | 10 | P4 | 103 |  | 32.4219
2012-01 | 13 | P4 | 107 |  | 34.4741
2012-01 | 13 | P4 | 110 |  | 34.3867
2012-01 | 13 | P4 | 113 |  | 34.1147
2012-01 | 13 | P4 | 116 |  | 32.4428
2012-01 | 14 | P6 | 120 |  | 32.6059
2012-01 | 15 | P8 | 121 | 6 | 34.5874
2012-01 | 15 | P8 | 123 |  | 34.4467
2012-01 | 15 | P8 | 124 | 6 | 34.3803
2012-01 | 15 | P8 | 125 |  | 34.2759
2012-01 | 15 | P8 | 139 |  | 32.6305
2012-01 | 17 | P10 | 144 |  | 32.6775
2012-01 | 18 | P12 | 145 | 3 | 34.2997 | SAL: Insert crushed into bottle neck. Sample leaking
2012-01 | 20 | P12 | 173 |  | 32.6382
2012-01 | 23 | P12 | 195 |  | 32.6386
2012-01 | 25 | P12 | 200 | 6 | 34.6476
2012-01 | 25 | P12 | 203 |  | 34.5857
2012-01 | 25 | P12 | 206 |  | 34.3819 | SAL: Duplicate bottle was empty. It was labeled but not sampled.
2012-01 | 25 | P12 | 207 |  | 34.294
2012-01 | 25 | P12 | 221 |  | 32.6601
2012-01 | 27 | P12 | 222 |  | 34.5857
2012-01 | 27 | P12 | 225 |  | 34.3743
2012-01 | 27 | P12 | 228 |  | 34.1202
2012-01 | 27 | P12 | 231 | 4 | 32.6608 | SAL: Insert crushed into bottle neck. Sample leaking
2012-01 | 28 | P16 | 252 |  | 32.6364
2012-01 | 29 | P16 | 253 |  | 34.2936
2012-01 | 31 | P16 | 281 |  | 33.8477
2012-01 | 34 | P16 | 286 |  | 34.6659
2012-01 | 34 | P16 | 288 | 6 | 34.6528
2012-01 | 34 | P16 | 290 |  | 34.5934
2012-01 | 34 | P16 | 293 | 6 | 34.3744
2012-01 | 34 | P16 | 294 |  | 34.2876
2012-01 | 34 | P16 | 308 |  | 32.6458
2012-01 | 36 | P24 | 312 |  | 34.5772
2012-01 | 36 | P24 | 313 |  | 34.577
2012-01 | 36 | P24 | 314 |  | 34.5765
2012-01 | 36 | P24 | 315 |  | 34.5767
2012-01 | 36 | P24 | 316 |  | 34.5768
2012-01 | 36 | P24 | 317 |  | 34.5767
2012-01 | 36 | P24 | 318 |  | 34.5765
2012-01 | 36 | P24 | 319 | 6 | 34.5783 | SAL: Average of 5 samples. See notes
2012-01 | 36 | P24 | 320 |  | 34.5765
2012-01 | 36 | P24 | 321 |  | 34.5775
2012-01 | 36 | P24 | 322 |  | 34.577
2012-01 | 36 | P24 | 323 |  | 34.5771
2012-01 | 36 | P24 | 324 |  | 34.5772
2012-01 | 36 | P24 | 325 |  | 34.5775
2012-01 | 36 | P24 | 326 |  | 34.5768
2012-01 | 36 | P24 | 327 |  | 34.5773
2012-01 | 36 | P24 | 328 |  | 34.5768
2012-01 | 36 | P24 | 329 |  | 34.5773
2012-01 | 36 | P24 | 330 |  | 34.5773
2012-01 | 36 | P24 | 331 |  | 34.5767
2012-01 | 36 | P24 | 332 |  | 34.5774
2012-01 | 36 | P24 | 333 |  | 34.5775
2012-01 | 36 | P24 | 334 |  | 32.685
2012-01 | 36 | P24 | 335 |  | 32.685
2012-01 | 37 | P25 | 337 |  | 32.694
2012-01 | 38 | P26 | 340 |  | 34.5788
2012-01 | 38 | P26 | 343 |  | 34.3739
2012-01 | 38 | P26 | 346 |  | 34.1033
2012-01 | 38 | P26 | 349 |  | 32.688
2012-01 | 38 | P26 | 352 |  | 32.6838
2012-01 | 38 | P26 | 353 |  | 32.688
2012-01 | 38 | P26 | 354 |  | 32.6854
2012-01 | 38 | P26 | 355 |  | 32.6851
2012-01 | 38 | P26 | 356 |  | 32.6858
2012-01 | 40 | P26 | 357 |  | 33.7396
2012-01 | 40 | P26 | 358 |  | 33.365
2012-01 | 40 | P26 | 359 |  | 32.6907
2012-01 | 40 | P26 | 360 |  | 32.69
2012-01 | 40 | P26 | 361 |  | 32.6829
2012-01 | 41 | P26 | 362 |  | 34.3021
2012-01 | 45 | P26 | 390 |  | 33.6096
2012-01 | 50 | P26 | 436 |  | 34.68
2012-01 | 50 | P26 | 437 |  | 34.6705
2012-01 | 50 | P26 | 438 | 6 | 34.6537
2012-01 | 50 | P26 | 440 |  | 34.582
2012-01 | 50 | P26 | 443 | 6 | 34.3773
2012-01 | 50 | P26 | 444 |  | 34.3038
2012-01 | 50 | P26 | 458 |  | 32.6884
2012-01 | 56 | PA-005 | 460 |  | 33.7847
2012-01 | 56 | PA-005 | 461 |  | 33.7305
2012-01 | 56 | PA-005 | 462 |  | 33.5196
2012-01 | 56 | PA-005 | 463 |  | 32.6994
2012-01 | 56 | PA-005 | 464 |  | 32.693
2012-01 | 56 | PA-005 | 465 |  | 32.6933
2012-01 | 56 | PA-005 | 466 |  | 32.6918
2012-01 | 56 | PA-005 | 467 |  | 32.6908
2012-01 | 56 | PA-005 | 468 |  | 32.6899
2012-01 | 56 | PA-005 | 469 |  | 32.6904
2012-01 | 56 | PA-005 | 470 |  | 32.6896
2012-01 | 56 | PA-005 | 471 |  | 32.6907
2012-01 | 58 | P22 | 474 |  | 32.6566
2012-01 | 59 | P22 | 477 |  | 32.6348
2012-01 | 60 | P20 | 479 | 6 | 34.4968
2012-01 | 60 | P20 | 481 | 6 | 34.3713
2012-01 | 60 | P20 | 482 |  | 34.2826
2012-01 | 60 | P20 | 496 |  | 32.6424
2012-01 | 65 | P18 | 528 | 3 | 32.6578 | SAL: Sample was not sealed properly. Insert not fully pushed in.
2012-01 | 66 | P14 | 530 |  | 32.6582

## QF 2012-01 LOOP FINAL
Cruise_Number | Event_Number | Station | Sample_Number | Flag:Salinity Bottle | Salinity:Bottle | Comments
2012-01 |  | P1 | LOOP1 |  | 29.6574
2012-01 |  | PA-005/P22 | LOOP2 |  | 32.6837
2012-01 |  | P15 | LOOP P15 |  | 32.642
2012-01 |  | JF1 | LOOP |  | 30.9415
2012-01 |  | JF2 | LOOP |  | 31.111
2012-01 |  | JF3 | LOOP |  | 30.1837
2012-01 |  | JF4 | LOOP |  | 28.9236

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Sp for Salinity for the range 34.3712 to 34.6541 PSU was 0.0006, k = 11 with 1 outlier(s) removed
Precision Calculation for Duplicate Samples:
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Determination of Outliers
Outliers are discarded on the basis of Chauevenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauevenet criterion for the given n, the datapoint can be discarded
Precision Analysis for Replicate Samples Drawn From a Single Niskin bottle:
Event # | Sample# | SAL1 | SAL2 | SALAvg | Difference | Diff2 | Chauvenet | Reject? | Comment |  | Critical values for Chauvenet statistic
10 | 86 | 34.4596 | 34.464 | 34.4618 | 0.0043763 | 1.9152e-05 | 2.4997 | Yes | No obvious reason why its bad |  | n | Chauvenet
10 | 88 | 34.3826 | 34.3825 | 34.3825 | -7.2522e-05 | 5.2595e-09 | 0.61459 |  |  |  | 3 | 1.37
15 | 121 | 34.5875 | 34.5873 | 34.5874 | -0.00015923 | 2.5355e-08 | 0.67529 |  |  |  | 4 | 1.53
15 | 124 | 34.3799 | 34.3807 | 34.3803 | 0.00085856 | 7.3713e-07 | 0.037198 |  |  |  | 5 | 1.64
25 | 200 | 34.6465 | 34.6486 | 34.6476 | 0.0020729 | 4.297e-06 | 0.88729 |  | Sal2 was not sealed properly. Duplication ok |  | 6 | 1.73
34 | 288 | 34.6529 | 34.6527 | 34.6528 | -0.00017333 | 3.0044e-08 | 0.68516 |  |  |  | 7 | 1.8
34 | 293 | 34.3737 | 34.3751 | 34.3744 | 0.0013755 | 1.8921e-06 | 0.39909 |  |  |  | 8 | 1.87
50 | 438 | 34.6533 | 34.6541 | 34.6537 | 0.00084559 | 7.1502e-07 | 0.028115 |  |  |  | 9 | 1.91
50 | 443 | 34.3776 | 34.3769 | 34.3773 | -0.0007486 | 5.604e-07 | 1.0879 |  |  |  | 10 | 1.97
60 | 479 | 34.4966 | 34.4969 | 34.4968 | 0.00031365 | 9.8375e-08 | 0.34426 |  |  |  | 20 | 2.24
60 | 481 | 34.3712 | 34.3714 | 34.3713 | 0.00017077 | 2.9162e-08 | 0.44428 |  |  |  | 30 | 2.39
[11 empty] | 50 | 2.57
|  |  |  | mean diff | 0.00080542 | [5 empty] | 80 | 2.74
|  |  |  | stdev | 0.0014285 | [5 empty] | 100 | 2.81
|  |  |  | count |  | 11 |  |  |  |  | 150 | 2.93
|  |  |  | SUM |  | 2.7542e-05 |  |  |  |  | 200 | 3.02
|  |  |  | Sp |  | 0.0011189
|  |  |  | MIN/MAX | 34.3712 | 34.6541
with 1 outlier removed
|  |  |  | count |  | 10
|  |  |  | SUM |  | 8.3898e-06
|  |  |  | Sp |  | 0.00064768
2012-01 February Line P #319 Storage Time Experiment
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2012-01 Feb Line P#19 | 319 | 2012-02-29 13:21 | 24C | 0.98925 | 3.8749e-06 | -1.9073e-06 | 0.98925 | 34.5774 | 0.00015266 | P24
2012-01 Feb Line P#46 | 319 | 2012-03-01 09:44 | 24C | 0.9893 | 3.4657e-06 | -1.9073e-06 | 0.9893 | 34.5791 | 0.00013597 | P24
2012-01 Feb Line P#51 | 319 | 2012-03-01 13:35 | 24C | 0.9893 | 2.7426e-06 | 0 | 0.9893 | 34.5791 | 0.00011004 | P24
2012-01 Feb Line P#62 | 319 | 2012-03-01 14:10 | 24C | 0.98927 | 4.9386e-06 | 0 | 0.98927 | 34.5782 | 0.00019055 | P24
2012-01 Feb Line P#71 | 319 | 2012-03-01 14:34 | 24C | 0.98926 | 2.5861e-06 | 0 | 0.98926 | 34.5778 | 0.00010156 | P24 | Sample too full.
[7 empty] | mean | 34.5783
[7 empty] | Stdev | 0.00075411
[7 empty] | Count | 5
[7 empty] | %CV | 0.0021809

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data
Sample ID | Station | Event | Bottle Label | Depth | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Flag | New Calculated Salinity | Comments
2012-01 Feb Line P#153 | SI03 | 1 | 2 | 200 | 2012-03-02 13:57 | 24C | 0.90471 | 4.1859e-06 | 0 | 0.90471 | 31.2816 | 0.00016103 |  | #VALUE!
2012-01 Feb Line P#36 | SI03 | 1 | 3 | 175 | 2012-02-29 14:07 | 24C | 0.90429 | 3.2034e-06 | -1.9073e-06 | 0.90429 | 31.2654 | 0.00012156 |  | #VALUE!
2012-01 Feb Line P#27 | SI03 | 1 | 11 | 5 | 2012-02-29 13:42 | 24C | 0.84757 | 2.7426e-06 | -1.9073e-06 | 0.84757 | 29.0828 | 0.00010971 |  | #VALUE!
2012-01 Feb Line P#133 | P1 | 2 | 13 | 5 | 2012-03-02 13:01 | 24C | 0.85748 | 3.4658e-06 | 0 | 0.85748 | 29.4625 | 0.00013464 |  | #VALUE!
2012-01 Feb Line P#92 | P2 | 4 | 29 | 100 | 2012-03-01 16:21 | 24C | 0.939 | 4.6448e-06 | 0 | 0.939 | 32.6123 | 0.00018106 |  | #VALUE!
2012-01 Feb Line P#13 | P4 | 5 | 57 | 5 | 2012-02-29 13:07 | 24C | 0.93333 | 2.5749e-06 | -1.9073e-06 | 0.93333 | 32.3914 | 0.00010062 |  | #VALUE!
2012-01 Feb Line P#17 | P4 | 10 | 86 | 1250 | 2012-02-29 13:17 | 24C | 0.98626 | 3.9638e-06 | -1.9073e-06 | 0.98625 | 34.4596 | 0.00015496 |  | #VALUE!
2012-01 Feb Line P#105 | P4 | 10 | 86 | 1250 | 2012-03-02 09:55 | 24C | 0.98637 | 5.0818e-06 | 0 | 0.98637 | 34.464 | 0.00020126 |  | #VALUE! | SAL: Bad dup. Chauvenet Outlier but do not know which is bad.
2012-01 Feb Line P#42 | P4 | 10 | 88 | 1000 | 2012-02-29 14:21 | 24C | 0.98429 | 2.6733e-06 | -1.9073e-06 | 0.98429 | 34.3826 | 0.00010502 |  | #VALUE!
2012-01 Feb Line P#119 | P4 | 10 | 88 | 1000 | 2012-03-02 11:07 | 24C | 0.98429 | 6.5391e-06 | 0 | 0.98429 | 34.3825 | 0.00025729 |  | #VALUE!
2012-01 Feb Line P#33 | P4 | 10 | 89 | 800 | 2012-02-29 14:00 | 24C | 0.9822 | 3.2148e-06 | -1.9073e-06 | 0.98219 | 34.3002 | 0.00012553 |  | #VALUE!
2012-01 Feb Line P#34 | P4 | 10 | 103 | 5 | 2012-02-29 14:02 | 24C | 0.93411 | 1.1196e-06 | -1.9073e-06 | 0.93411 | 32.4219 | 4.4364e-05 |  | #VALUE!
2012-01 Feb Line P#80 | P4 | 13 | 107 | 1300 | 2012-03-01 15:51 | 24C | 0.98662 | 2.2725e-06 | 0 | 0.98662 | 34.4741 | 9.0121e-05 |  | #VALUE!
2012-01 Feb Line P#161 | P4 | 13 | 110 | 1000 | 2012-03-02 14:17 | 24C | 0.9844 | 4.1682e-06 | 0 | 0.9844 | 34.3867 | 0.00016141 |  | #VALUE!
2012-01 Feb Line P#18 | P4 | 13 | 113 | 500 | 2012-02-29 13:19 | 24C | 0.97746 | 2.2128e-06 | -1.8477e-06 | 0.97746 | 34.1147 | 8.8748e-05 |  | #VALUE!
2012-01 Feb Line P#10 | P4 | 13 | 116 | 10 | 2012-02-29 13:00 | 24C | 0.93465 | 3.1418e-06 | -1.9073e-06 | 0.93465 | 32.4428 | 0.00012488 |  | #VALUE!
2012-01 Feb Line P#122 | P6 | 14 | 120 | 5 | 2012-03-02 11:14 | 24C | 0.93884 | 3.5195e-06 | 0 | 0.93884 | 32.6059 | 0.00013624 |  | #VALUE!
2012-01 Feb Line P#41 | P8 | 15 | 121 | 2000 | 2012-02-29 14:19 | 24C | 0.98951 | 4.3338e-06 | -1.9073e-06 | 0.98951 | 34.5875 | 0.00016979 |  | #VALUE!
2012-01 Feb Line P#89 | P8 | 15 | 121 | 2000 | 2012-03-01 16:14 | 24C | 0.98951 | 4.9815e-06 | 0 | 0.98951 | 34.5873 | 0.00019732 |  | #VALUE!
2012-01 Feb Line P#22 | P8 | 15 | 123 | 1250 | 2012-02-29 13:29 | 24C | 0.98593 | 3.0462e-06 | -1.9073e-06 | 0.98593 | 34.4467 | 0.00011757 |  | #VALUE!
2012-01 Feb Line P#38 | P8 | 15 | 124 | 1000 | 2012-02-29 14:12 | 24C | 0.98422 | 3.1309e-06 | -1.8477e-06 | 0.98422 | 34.3799 | 0.00012315 |  | #VALUE!
2012-01 Feb Line P#75 | P8 | 15 | 124 | 1000 | 2012-03-01 14:47 | 24C | 0.98424 | 6.5727e-06 | 0 | 0.98424 | 34.3807 | 0.0002582 |  | #VALUE!
2012-01 Feb Line P#9 | P8 | 15 | 125 | 800 | 2012-02-29 12:58 | 24C | 0.98158 | 7.6417e-06 | -1.9073e-06 | 0.98157 | 34.2759 | 0.00029746 |  | #VALUE!
2012-01 Feb Line P#16 | P8 | 15 | 139 | 5 | 2012-02-29 13:15 | 24C | 0.93947 | 2.8897e-06 | -1.9073e-06 | 0.93947 | 32.6306 | 0.00011147 |  | #VALUE!
2012-01 Feb Line P#135 | P10 | 17 | 144 | 5 | 2012-03-02 13:07 | 24C | 0.94068 | 4.9353e-06 | 0 | 0.94068 | 32.6775 | 0.0001931 |  | #VALUE! | A very large head space inside the sample bottle.
2012-01 Feb Line P#29 | P12 | 18 | 145 | 800 | 2012-02-29 13:49 | 24C | 0.98218 | 3.057e-06 | -1.9073e-06 | 0.98218 | 34.2997 | 0.00011991 | 3 | #VALUE! | SAL: Insert crushed into bottle neck. Sample leaking
2012-01 Feb Line P#53 | P12 | 20 | 173 | 150 | 2012-03-01 13:45 | 24C | 0.93967 | 3.8545e-06 | 0 | 0.93967 | 32.6382 | 0.00014862 |  | #VALUE!
2012-01 Feb Line P#147 | P12 | 23 | 195 | 5 | 2012-03-02 13:39 | 24C | 0.93968 | 3.3474e-06 | 0 | 0.93968 | 32.6386 | 0.00012945 |  | #VALUE!
2012-01 Feb Line P#64 | P12 | 25 | 200 | 3000 | 2012-03-01 14:15 | 24C | 0.99101 | 5.9633e-06 | 0 | 0.99101 | 34.6465 | 0.00023654 |  | #VALUE!
2012-01 Feb Line P#159 | P12 | 25 | 200 | 3000 | 2012-03-02 14:12 | 24C | 0.99107 | 2.8661e-06 | 0 | 0.99107 | 34.6486 | 0.00011317 | 3 | #VALUE! | SAL: Sample was not sealed properly. Insert not fully pushed in.
2012-01 Feb Line P#156 | P12 | 25 | 203 | 2000 | 2012-03-02 14:05 | 24C | 0.98946 | 7.0609e-06 | 0 | 0.98946 | 34.5857 | 0.00027605 |  | #VALUE!
2012-01 Feb Line P#43 | P12 | 25 | 206 | 1000 | 2012-02-29 14:24 | 24C | 0.98428 | 3.466e-06 | -1.9073e-06 | 0.98427 | 34.3819 | 0.00013906 |  | #VALUE! | SAL: Duplicate bottle was empty. It was labeled but not sampled.
2012-01 Feb Line P#8 | P12 | 25 | 207 | 800 | 2012-02-29 12:55 | 24C | 0.98204 | 2.2394e-06 | -1.9073e-06 | 0.98203 | 34.294 | 8.959e-05 |  | #VALUE!
2012-01 Feb Line P#6 | P12 | 25 | 221 | 5 | 2012-02-29 12:50 | 24C | 0.94023 | 1.1196e-06 | -1.9073e-06 | 0.94023 | 32.6601 | 4.5217e-05 |  | #VALUE!
2012-01 Feb Line P#14 | P12 | 27 | 222 | 2000 | 2012-02-29 13:10 | 24C | 0.98947 | 3.8746e-06 | -1.9073e-06 | 0.98946 | 34.5857 | 0.00014972 |  | #VALUE!
2012-01 Feb Line P#88 | P12 | 27 | 225 | 1000 | 2012-03-01 16:11 | 24C | 0.98408 | 5.1516e-06 | 0 | 0.98408 | 34.3743 | 0.00020287 |  | #VALUE!
2012-01 Feb Line P#91 | P12 | 27 | 228 | 500 | 2012-03-01 16:18 | 24C | 0.9776 | 4.3341e-06 | 0 | 0.9776 | 34.1202 | 0.00017176 |  | #VALUE!
2012-01 Feb Line P#28 | P12 | 27 | 231 | 10 | 2012-02-29 13:46 | 24C | 0.94025 | 2.7425e-06 | -1.9073e-06 | 0.94025 | 32.6608 | 0.00010972 | 4 | #VALUE! | SAL: Insert crushed into bottle neck. Sample leaking
2012-01 Feb Line P#139 | P16 | 28 | 252 |  | 2012-03-02 13:19 | 24C | 0.93962 | 3.4551e-06 | 0 | 0.93962 | 32.6364 | 0.0001339 |  | #VALUE! | Salt crystals on bottle threads.
2012-01 Feb Line P#65 | P16 | 29 | 253 | 800 | 2012-03-01 14:18 | 24C | 0.98202 | 4.5837e-06 | 0 | 0.98202 | 34.2936 | 0.00017707 |  | #VALUE!
2012-01 Feb Line P#100 | P16 | 31 | 281 | 150 | 2012-03-02 09:40 | 24C | 0.97065 | 5.1275e-06 | 0 | 0.97065 | 33.8477 | 0.00020311 |  | #VALUE!
2012-01 Feb Line P#55 | P16 | 34 | 286 | 3500 | 2012-03-01 13:50 | 24C | 0.9915 | 4.3079e-06 | 0 | 0.9915 | 34.6659 | 0.0001717 |  | #VALUE!
2012-01 Feb Line P#78 | P16 | 34 | 288 | 3000 | 2012-03-01 14:55 | 24C | 0.99117 | 4.2256e-06 | 0 | 0.99117 | 34.6529 | 0.0001681 |  | #VALUE!
2012-01 Feb Line P#98 | P16 | 34 | 288 | 3000 | 2012-03-02 09:35 | 24C | 0.99117 | 3.8647e-06 | 0 | 0.99117 | 34.6527 | 0.00015248 |  | #VALUE!
2012-01 Feb Line P#108 | P16 | 34 | 290 | 2000 | 2012-03-02 10:03 | 24C | 0.98966 | 3.4497e-06 | 0 | 0.98966 | 34.5934 | 0.0001359 |  | #VALUE!
2012-01 Feb Line P#24 | P16 | 34 | 293 | 1000 | 2012-02-29 13:34 | 24C | 0.98407 | 2.7426e-06 | -1.9073e-06 | 0.98407 | 34.3737 | 0.00010447 |  | #VALUE!
2012-01 Feb Line P#40 | P16 | 34 | 293 | 1000 | 2012-02-29 14:16 | 24C | 0.9841 | 2.4912e-06 | -1.9073e-06 | 0.9841 | 34.3751 | 0.00010062 |  | #VALUE!
2012-01 Feb Line P#54 | P16 | 34 | 294 | 800 | 2012-03-01 13:47 | 24C | 0.98187 | 5.3578e-06 | 0 | 0.98187 | 34.2876 | 0.00020853 |  | #VALUE!
2012-01 Feb Line P#26 | P16 | 34 | 308 | 5 | 2012-02-29 13:40 | 24C | 0.93986 | 3.8647e-06 | -1.9073e-06 | 0.93986 | 32.6458 | 0.00015043 |  | #VALUE!
2012-01 Feb Line P#138 | P24 | 36 | 312 | 2000 | 2012-03-02 13:16 | 24C | 0.98925 | 4.5979e-06 | 0 | 0.98925 | 34.5772 | 0.00018118 |  | #VALUE!
2012-01 Feb Line P#101 | P24 | 36 | 313 | 2000 | 2012-03-02 09:43 | 24C | 0.98924 | 4.2738e-06 | 0 | 0.98924 | 34.577 | 0.00017095 |  | #VALUE!
2012-01 Feb Line P#111 | P24 | 36 | 314 | 2000 | 2012-03-02 10:45 | 24C | 0.98923 | 5.2913e-06 | 0 | 0.98923 | 34.5765 | 0.00020561 |  | #VALUE!
2012-01 Feb Line P#76 | P24 | 36 | 315 | 2000 | 2012-03-01 14:50 | 24C | 0.98923 | 5.5543e-06 | 0 | 0.98923 | 34.5767 | 0.00021595 |  | #VALUE!
2012-01 Feb Line P#59 | P24 | 36 | 316 | 2000 | 2012-03-01 14:01 | 24C | 0.98924 | 2.5989e-06 | 0 | 0.98924 | 34.5768 | 0.00010028 |  | #VALUE!
2012-01 Feb Line P#131 | P24 | 36 | 317 | 2000 | 2012-03-02 12:57 | 24C | 0.98924 | 6.8628e-06 | 0 | 0.98924 | 34.5767 | 0.00027038 |  | #VALUE!
2012-01 Feb Line P#164 | P24 | 36 | 318 | 2000 | 2012-03-02 14:24 | 24C | 0.98923 | 5.7962e-06 | 0 | 0.98923 | 34.5765 | 0.00022441 |  | #VALUE!
2012-01 Feb Line P#19 | P24 | 36 | 319 | 2000 | 2012-02-29 13:21 | 24C | 0.98925 | 3.8749e-06 | -1.9073e-06 | 0.98925 | 34.5783 | 0.00015266 | 6 | 34.5783 | SAL: Average of 5 samples. See notes
2012-01 Feb Line P#137 | P24 | 36 | 320 | 2000 | 2012-03-02 13:13 | 24C | 0.98923 | 7.0674e-06 | 0 | 0.98923 | 34.5765 | 0.00027626 |  | #VALUE!
2012-01 Feb Line P#129 | P24 | 36 | 321 | 2000 | 2012-03-02 12:52 | 24C | 0.98926 | 2.0945e-06 | 0 | 0.98926 | 34.5775 | 8.1174e-05 |  | #VALUE!
2012-01 Feb Line P#109 | P24 | 36 | 322 | 2000 | 2012-03-02 10:05 | 24C | 0.98924 | 5.4532e-06 | 0 | 0.98924 | 34.577 | 0.00021796 |  | #VALUE!
2012-01 Feb Line P#134 | P24 | 36 | 323 | 2000 | 2012-03-02 13:05 | 24C | 0.98924 | 4.1136e-06 | 0 | 0.98924 | 34.5771 | 0.00016404 |  | #VALUE!
2012-01 Feb Line P#162 | P24 | 36 | 324 | 2000 | 2012-03-02 14:19 | 24C | 0.98925 | 3.6104e-06 | 0 | 0.98925 | 34.5772 | 0.00014379 |  | #VALUE!
2012-01 Feb Line P#66 | P24 | 36 | 325 | 2000 | 2012-03-01 14:20 | 24C | 0.98925 | 4.6139e-06 | 0 | 0.98925 | 34.5775 | 0.00018264 |  | #VALUE!
2012-01 Feb Line P#58 | P24 | 36 | 326 | 2000 | 2012-03-01 13:57 | 24C | 0.98924 | 4.1421e-06 | 0 | 0.98924 | 34.5768 | 0.00016417 |  | #VALUE!
2012-01 Feb Line P#85 | P24 | 36 | 327 | 2000 | 2012-03-01 16:02 | 24C | 0.98925 | 4.3339e-06 | 0 | 0.98925 | 34.5773 | 0.00016863 |  | #VALUE!
2012-01 Feb Line P#74 | P24 | 36 | 328 | 2000 | 2012-03-01 14:44 | 24C | 0.98924 | 4.6245e-06 | 0 | 0.98924 | 34.5768 | 0.00018341 |  | #VALUE!
2012-01 Feb Line P#143 | P24 | 36 | 329 | 2000 | 2012-03-02 13:29 | 24C | 0.98925 | 4.3337e-06 | 0 | 0.98925 | 34.5773 | 0.00016797 |  | #VALUE!
2012-01 Feb Line P#130 | P24 | 36 | 330 | 2000 | 2012-03-02 12:54 | 24C | 0.98925 | 5.7674e-06 | 0 | 0.98925 | 34.5773 | 0.00022338 |  | #VALUE!
2012-01 Feb Line P#68 | P24 | 36 | 331 | 2000 | 2012-03-01 14:26 | 24C | 0.98924 | 4.949e-06 | 0 | 0.98924 | 34.5767 | 0.0001938 |  | #VALUE!
2012-01 Feb Line P#160 | P24 | 36 | 332 | 2000 | 2012-03-02 14:14 | 24C | 0.98925 | 2.7426e-06 | 0 | 0.98925 | 34.5774 | 0.00010447 |  | #VALUE!
2012-01 Feb Line P#118 | P24 | 36 | 333 | 2000 | 2012-03-02 11:04 | 24C | 0.98926 | 4.9815e-06 | 0 | 0.98926 | 34.5775 | 0.00019137 |  | #VALUE!
2012-01 Feb Line P#67 | P24 | 36 | 334 | 2000 | 2012-03-01 14:23 | 24C | 0.94087 | 5.4753e-06 | 0 | 0.94087 | 32.685 | 0.00021491 |  | #VALUE!
2012-01 Feb Line P#151 | P24 | 36 | 335 | 2000 | 2012-03-02 13:51 | 24C | 0.94087 | 4.4783e-06 | 0 | 0.94087 | 32.685 | 0.00017729 |  | #VALUE!
2012-01 Feb Line P#31 | P25 | 37 | 337 | 5 | 2012-02-29 13:55 | 24C | 0.9411 | 3.0089e-06 | -1.9073e-06 | 0.9411 | 32.694 | 0.00011691 |  | #VALUE!
2012-01 Feb Line P#121 | P26 | 38 | 340 | 2000 | 2012-03-02 11:12 | 24C | 0.98929 | 4.7428e-06 | 0 | 0.98929 | 34.5788 | 0.00018409 |  | #VALUE!
2012-01 Feb Line P#110 | P26 | 38 | 343 | 1000 | 2012-03-02 10:07 | 24C | 0.98407 | 3.4658e-06 | 0 | 0.98407 | 34.3739 | 0.00013822 |  | #VALUE!
2012-01 Feb Line P#83 | P26 | 38 | 346 | 500 | 2012-03-01 15:57 | 24C | 0.97717 | 5.0343e-06 | 0 | 0.97717 | 34.1033 | 0.00019689 |  | #VALUE!
2012-01 Feb Line P#149 | P26 | 38 | 349 | 10 | 2012-03-02 13:46 | 24C | 0.94095 | 5.4779e-06 | 0 | 0.94095 | 32.688 | 0.00021377 |  | #VALUE!
2012-01 Feb Line P#163 | P26 | 38 | 352 | 30 | 2012-03-02 14:21 | 24C | 0.94084 | 3.2141e-06 | 0 | 0.94084 | 32.6838 | 0.000126 |  | #VALUE!
2012-01 Feb Line P#81 | P26 | 38 | 353 | 20 | 2012-03-01 15:53 | 24C | 0.94095 | 4.4485e-06 | 0 | 0.94095 | 32.688 | 0.00017436 |  | #VALUE!
2012-01 Feb Line P#3 | P26 | 38 | 354 | 10 | 2012-02-29 11:34 | 24C | 0.94088 | 1.1196e-06 | -1.9073e-06 | 0.94088 | 32.6854 | 4.2703e-05 |  | #VALUE!
2012-01 Feb Line P#99 | P26 | 38 | 355 | 5 | 2012-03-02 09:37 | 24C | 0.94087 | 3.359e-06 | 0 | 0.94087 | 32.6851 | 0.00012945 |  | #VALUE!
2012-01 Feb Line P#35 | P26 | 38 | 356 | 0 | 2012-02-29 14:05 | 24C | 0.94089 | 4.2256e-06 | -1.9073e-06 | 0.94089 | 32.6858 | 0.00016822 |  | #VALUE!
2012-01 Feb Line P#79 | P26 | 40 | 357 | 200 | 2012-03-01 15:48 | 24C | 0.96788 | 4.4924e-06 | 0 | 0.96788 | 33.7396 | 0.00017668 |  | #VALUE!
2012-01 Feb Line P#155 | P26 | 40 | 358 | 150 | 2012-03-02 14:03 | 24C | 0.9583 | 3.4659e-06 | 0 | 0.9583 | 33.365 | 0.00013599 |  | #VALUE!
2012-01 Feb Line P#113 | P26 | 40 | 359 | 100 | 2012-03-02 10:51 | 24C | 0.94102 | 4.3839e-06 | 0 | 0.94102 | 32.6907 | 0.00017273 |  | #VALUE!
2012-01 Feb Line P#123 | P26 | 40 | 360 | 50 | 2012-03-02 11:16 | 24C | 0.941 | 3.6273e-06 | 0 | 0.941 | 32.69 | 0.00014152 |  | #VALUE!
2012-01 Feb Line P#157 | P26 | 40 | 361 | 10 | 2012-03-02 14:08 | 24C | 0.94081 | 6.6267e-06 | 0 | 0.94081 | 32.6829 | 0.00025666 |  | #VALUE!
2012-01 Feb Line P#158 | P26 | 41 | 362 | 800 | 2012-03-02 14:10 | 24C | 0.98224 | 5.1679e-06 | 0 | 0.98224 | 34.3021 | 0.00020066 |  | #VALUE!
2012-01 Feb Line P#132 | P26 | 45 | 390 | 150 | 2012-03-02 12:59 | 24C | 0.96456 | 4.5832e-06 | 0 | 0.96456 | 33.6096 | 0.0001789 |  | #VALUE!
2012-01 Feb Line P#103 | P26 | 50 | 436 | 4000 | 2012-03-02 09:50 | 24C | 0.99186 | 6.1081e-06 | 0 | 0.99186 | 34.68 | 0.00023831 |  | #VALUE!
2012-01 Feb Line P#144 | P26 | 50 | 437 | 3500 | 2012-03-02 13:32 | 24C | 0.99162 | 6.1862e-06 | 0 | 0.99162 | 34.6705 | 0.00024234 |  | #VALUE! | Very dirty under screw cap. Sample seems ok.
2012-01 Feb Line P#97 | P26 | 50 | 438 | 3000 | 2012-03-02 09:32 | 24C | 0.99118 | 3.1414e-06 | 0 | 0.99118 | 34.6533 | 0.00012486 |  | #VALUE!
2012-01 Feb Line P#106 | P26 | 50 | 438 | 3000 | 2012-03-02 09:57 | 24C | 0.99121 | 4.2741e-06 | 0 | 0.99121 | 34.6541 | 0.00016608 |  | #VALUE!
2012-01 Feb Line P#84 | P26 | 50 | 440 | 2000 | 2012-03-01 16:00 | 24C | 0.98937 | 5.085e-06 | 0 | 0.98937 | 34.582 | 0.00020016 |  | #VALUE!
2012-01 Feb Line P#69 | P26 | 50 | 443 | 1000 | 2012-03-01 14:28 | 24C | 0.98417 | 5.7677e-06 | 0 | 0.98417 | 34.3776 | 0.00022957 |  | #VALUE!
2012-01 Feb Line P#117 | P26 | 50 | 443 | 1000 | 2012-03-02 11:02 | 24C | 0.98415 | 3.862e-06 | 0 | 0.98415 | 34.3769 | 0.00015094 |  | #VALUE!
2012-01 Feb Line P#145 | P26 | 50 | 444 | 800 | 2012-03-02 13:34 | 24C | 0.98228 | 5.246e-06 | 0 | 0.98228 | 34.3038 | 0.00020384 |  | #VALUE!
2012-01 Feb Line P#23 | P26 | 50 | 458 | 5 | 2012-02-29 13:31 | 24C | 0.94096 | 3.9655e-06 | -1.9073e-06 | 0.94096 | 32.6884 | 0.00015511 |  | #VALUE!
2012-01 Feb Line P#15 | PA-005 | 56 | 460 | 250 | 2012-02-29 13:13 | 24C | 0.96904 | 3.1902e-06 | -1.9073e-06 | 0.96904 | 33.7847 | 0.00012429 |  | #VALUE!
2012-01 Feb Line P#32 | PA-005 | 56 | 461 | 200 | 2012-02-29 13:58 | 24C | 0.96766 | 2.7425e-06 | -1.9073e-06 | 0.96765 | 33.7305 | 0.0001097 |  | #VALUE!
2012-01 Feb Line P#120 | PA-005 | 56 | 462 | 150 | 2012-03-02 11:09 | 24C | 0.96226 | 3.5725e-06 | 0 | 0.96226 | 33.5196 | 0.00014002 |  | #VALUE!
2012-01 Feb Line P#77 | PA-005 | 56 | 463 | 125 | 2012-03-01 14:52 | 24C | 0.94124 | 4.2257e-06 | 0 | 0.94124 | 32.6994 | 0.00016282 |  | #VALUE!
2012-01 Feb Line P#63 | PA-005 | 56 | 464 | 100 | 2012-03-01 14:13 | 24C | 0.94107 | 5.9834e-06 | 0 | 0.94107 | 32.693 | 0.00023171 |  | #VALUE!
2012-01 Feb Line P#150 | PA-005 | 56 | 465 | 75 | 2012-03-02 13:49 | 24C | 0.94108 | 4.7294e-06 | 0 | 0.94108 | 32.6932 | 0.00018261 |  | #VALUE!
2012-01 Feb Line P#102 | PA-005 | 56 | 466 | 50 | 2012-03-02 09:47 | 24C | 0.94104 | 3.7319e-06 | 0 | 0.94104 | 32.6918 | 0.00014417 |  | #VALUE!
2012-01 Feb Line P#146 | PA-005 | 56 | 467 | 30 | 2012-03-02 13:37 | 24C | 0.94102 | 1.3713e-06 | 0 | 0.94102 | 32.6908 | 5.5371e-05 |  | #VALUE!
2012-01 Feb Line P#52 | PA-005 | 56 | 468 | 20 | 2012-03-01 13:42 | 24C | 0.941 | 5.3585e-06 | 0 | 0.941 | 32.6899 | 0.00020789 |  | #VALUE!
2012-01 Feb Line P#56 | PA-005 | 56 | 469 | 10 | 2012-03-01 13:52 | 24C | 0.94101 | 4.7704e-06 | 0 | 0.94101 | 32.6904 | 0.0001843 |  | #VALUE!
2012-01 Feb Line P#37 | PA-005 | 56 | 470 | 5 | 2012-02-29 14:09 | 24C | 0.94099 | 2.7263e-06 | -1.7881e-06 | 0.94099 | 32.6896 | 0.00010447 |  | #VALUE!
2012-01 Feb Line P#20 | PA-005 | 56 | 471 | 0 | 2012-02-29 13:24 | 24C | 0.94102 | 3.4659e-06 | -1.9073e-06 | 0.94102 | 32.6907 | 0.00013596 |  | #VALUE!
2012-01 Feb Line P#154 | P22 | 58 | 474 | 5 | 2012-03-02 14:00 | 24C | 0.94014 | 5.9071e-06 | 0 | 0.94014 | 32.6566 | 0.00023199 |  | #VALUE!
2012-01 Feb Line P#107 | P22 | 59 | 477 | 5 | 2012-03-02 09:59 | 24C | 0.93958 | 4.622e-06 | 0 | 0.93958 | 32.6348 | 0.00017928 |  | #VALUE!
2012-01 Feb Line P#70 | P20 | 60 | 479 | 1500 | 2012-03-01 14:31 | 24C | 0.9872 | 5.5032e-06 | 0 | 0.9872 | 34.4966 | 0.00021422 |  | #VALUE!
2012-01 Feb Line P#124 | P20 | 60 | 479 | 1500 | 2012-03-02 11:19 | 24C | 0.9872 | 5.5823e-06 | 0 | 0.9872 | 34.4969 | 0.00021749 |  | #VALUE!
2012-01 Feb Line P#11 | P20 | 60 | 481 | 1000 | 2012-02-29 13:03 | 24C | 0.984 | 2.475e-06 | -1.7881e-06 | 0.984 | 34.3712 | 9.9734e-05 |  | #VALUE!
2012-01 Feb Line P#82 | P20 | 60 | 481 | 1000 | 2012-03-01 15:55 | 24C | 0.98401 | 6.7791e-06 | 0 | 0.98401 | 34.3714 | 0.00026736 |  | #VALUE!
2012-01 Feb Line P#57 | P20 | 60 | 482 | 800 | 2012-03-01 13:55 | 24C | 0.98174 | 3.865e-06 | 0 | 0.98174 | 34.2826 | 0.00015074 |  | #VALUE!
2012-01 Feb Line P#148 | P20 | 60 | 496 | 5 | 2012-03-02 13:41 | 24C | 0.93977 | 5.4852e-06 | 0 | 0.93977 | 32.6424 | 0.00020894 |  | #VALUE!
2012-01 Feb Line P#90 | P18 | 65 | 528 | 5 | 2012-03-01 16:16 | 24C | 0.94017 | 4.9165e-06 | 0 | 0.94017 | 32.6578 | 0.00018905 | 3 | #VALUE! | SAL: Sample was not sealed properly. Insert not fully pushed in.
2012-01 Feb Line P#104 | P14 | 66 | 530 | 5 | 2012-03-02 09:52 | 24C | 0.94018 | 4.583e-06 | 0 | 0.94018 | 32.6582 | 0.00017826 |  | #VALUE!
2012-01 Feb Line P#136 | P1 |  | LOOP1 | 5 | 2012-03-02 13:10 | 24C | 0.86256 | 6.9443e-06 | 0 | 0.86256 | 29.6574 | 0.00026698 |  | #VALUE!
2012-01 Feb Line P#2 | PA-005/P22 |  | LOOP2 | 5 | 2012-02-29 11:31 | 24C | 0.94084 | 2.4909e-06 | -2.0266e-06 | 0.94084 | 32.6837 | 9.8725e-05 |  | #VALUE!
2012-01 Feb Line P#7 | P15 |  | LOOP P15 | 5 | 2012-02-29 12:52 | 24C | 0.93977 | 3.8587e-06 | -1.7881e-06 | 0.93976 | 32.642 | 0.00014951 |  | #VALUE!
2012-01 Feb Line P#112 | JF1 |  | LOOP | 5 | 2012-03-02 10:47 | 24C | 0.89591 | 5.1377e-06 | 0 | 0.89591 | 30.9415 | 0.00019591 |  | #VALUE!
2012-01 Feb Line P#21 | JF2 |  | LOOP | 5 | 2012-02-29 13:26 | 24C | 0.9003 | 2.4615e-06 | -1.9073e-06 | 0.9003 | 31.111 | 9.4895e-05 |  | #VALUE!
2012-01 Feb Line P#125 | JF3 |  | LOOP | 5 | 2012-03-02 11:22 | 24C | 0.87625 | 5.5427e-06 | 0 | 0.87625 | 30.1837 | 0.00021416 |  | #VALUE!
2012-01 Feb Line P#30 | JF4 |  | LOOP | 5 | 2012-02-29 13:52 | 24C | 0.84341 | 1.8176e-06 | -1.9073e-06 | 0.84341 | 28.9236 | 6.7567e-05 |  | #VALUE!
2012-01 Feb Line P#166 | GORGE |  | 25 |  | 2012-03-02 14:30 | 24C | 0.88273 | 4.7425e-06 | 0 | 0.88273 | 30.433 | 0.00018067 |  | #VALUE! | For Sophie and Cindy
2012-01 Feb Line P#165 | GORGE |  | 26 |  | 2012-03-02 14:27 | 24C | 0.88411 | 5.2964e-06 | 0 | 0.88411 | 30.486 | 0.00020307 |  | #VALUE! | For Sophie and Cindy
[11 empty] | Count | 128

## Raw Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-02-29 11:22 | 24C | 0.99984 | 3.541e-06 | 0 | 0.99984
Calibration#2 | K15 | 2012-02-29 11:23 | 24C | 0.99984 | 2.7425e-06 | -1.9073e-06 | 0.99984
2012-01 Feb Line P#1 | P149 | 2012-02-29 11:24 | 24C | 0.99984 | 2.4908e-06 | -1.9073e-06 | 0.99984 | 34.9937 | 9.869e-05 | Standard run as a sample
2012-01 Feb Line P#2 | Loop2 | 2012-02-29 11:31 | 24C | 0.94084 | 2.4909e-06 | -2.0266e-06 | 0.94084 | 32.6837 | 9.8725e-05
2012-01 Feb Line P#3 | 354 | 2012-02-29 11:34 | 24C | 0.94088 | 1.1196e-06 | -1.9073e-06 | 0.94088 | 32.6854 | 4.2703e-05 | P26
2012-01 Feb Line P#4 | DWR | 2012-02-29 11:36 | 24C | 0.98926 | 3.1326e-06 | -1.9073e-06 | 0.98926 | 34.5778 | 0.00012544 | P24
2012-01 Feb Line P#5 | DWR | 2012-02-29 12:48 | 24C | 0.98926 | 3.1417e-06 | -1.9073e-06 | 0.98925 | 34.5775 | 0.00012001 | P24
2012-01 Feb Line P#6 | 221 | 2012-02-29 12:50 | 24C | 0.94023 | 1.1196e-06 | -1.9073e-06 | 0.94023 | 32.6601 | 4.5217e-05 | P12
2012-01 Feb Line P#7 | Loop15 | 2012-02-29 12:52 | 24C | 0.93977 | 3.8587e-06 | -1.7881e-06 | 0.93976 | 32.642 | 0.00014951
2012-01 Feb Line P#8 | 207 | 2012-02-29 12:55 | 24C | 0.98204 | 2.2394e-06 | -1.9073e-06 | 0.98203 | 34.294 | 8.959e-05 | P12
2012-01 Feb Line P#9 | 125 | 2012-02-29 12:58 | 24C | 0.98158 | 7.6417e-06 | -1.9073e-06 | 0.98157 | 34.2759 | 0.00029746 | P8
2012-01 Feb Line P#10 | 116 | 2012-02-29 13:00 | 24C | 0.93465 | 3.1418e-06 | -1.9073e-06 | 0.93465 | 32.4428 | 0.00012488 | P4
2012-01 Feb Line P#11 | 481 | 2012-02-29 13:03 | 24C | 0.984 | 2.475e-06 | -1.7881e-06 | 0.984 | 34.3712 | 9.9734e-05 | P20
2012-01 Feb Line P#12 | DWR | 2012-02-29 13:05 | 24C | 0.98925 | 2.4909e-06 | -1.9073e-06 | 0.98925 | 34.5774 | 9.7202e-05 | P24
2012-01 Feb Line P#13 | 57 | 2012-02-29 13:07 | 24C | 0.93333 | 2.5749e-06 | -1.9073e-06 | 0.93333 | 32.3914 | 0.00010062 | P4
2012-01 Feb Line P#14 | 222 | 2012-02-29 13:10 | 24C | 0.98947 | 3.8746e-06 | -1.9073e-06 | 0.98946 | 34.5857 | 0.00014972 | P12
2012-01 Feb Line P#15 | 460 | 2012-02-29 13:13 | 24C | 0.96904 | 3.1902e-06 | -1.9073e-06 | 0.96904 | 33.7847 | 0.00012429 | PA-005
2012-01 Feb Line P#16 | 139 | 2012-02-29 13:15 | 24C | 0.93947 | 2.8897e-06 | -1.9073e-06 | 0.93947 | 32.6306 | 0.00011147 | P8
2012-01 Feb Line P#17 | 86 | 2012-02-29 13:17 | 24C | 0.98626 | 3.9638e-06 | -1.9073e-06 | 0.98625 | 34.4596 | 0.00015496 | P4
2012-01 Feb Line P#18 | 113 | 2012-02-29 13:19 | 24C | 0.97746 | 2.2128e-06 | -1.8477e-06 | 0.97746 | 34.1147 | 8.8748e-05 | P4
2012-01 Feb Line P#19 | 319 | 2012-02-29 13:21 | 24C | 0.98925 | 3.8749e-06 | -1.9073e-06 | 0.98925 | 34.5774 | 0.00015266 | P24
2012-01 Feb Line P#20 | 471 | 2012-02-29 13:24 | 24C | 0.94102 | 3.4659e-06 | -1.9073e-06 | 0.94102 | 32.6907 | 0.00013596 | PA-005
2012-01 Feb Line P#21 | LOOP | 2012-02-29 13:26 | 24C | 0.9003 | 2.4615e-06 | -1.9073e-06 | 0.9003 | 31.111 | 9.4895e-05 | JF2
2012-01 Feb Line P#22 | 123 | 2012-02-29 13:29 | 24C | 0.98593 | 3.0462e-06 | -1.9073e-06 | 0.98593 | 34.4467 | 0.00011757 | P8
2012-01 Feb Line P#23 | 458 | 2012-02-29 13:31 | 24C | 0.94096 | 3.9655e-06 | -1.9073e-06 | 0.94096 | 32.6884 | 0.00015511 | P26
2012-01 Feb Line P#24 | 293 | 2012-02-29 13:34 | 24C | 0.98407 | 2.7426e-06 | -1.9073e-06 | 0.98407 | 34.3737 | 0.00010447 | P16
2012-01 Feb Line P#25 | DWR | 2012-02-29 13:36 | 24C | 0.98927 | 1.7932e-06 | -1.9073e-06 | 0.98927 | 34.5779 | 6.8797e-05 | P24
2012-01 Feb Line P#26 | 308 | 2012-02-29 13:40 | 24C | 0.93986 | 3.8647e-06 | -1.9073e-06 | 0.93986 | 32.6458 | 0.00015043 | P16
2012-01 Feb Line P#27 | 11 | 2012-02-29 13:42 | 24C | 0.84757 | 2.7426e-06 | -1.9073e-06 | 0.84757 | 29.0828 | 0.00010971 | SI03
2012-01 Feb Line P#28 | 231 | 2012-02-29 13:46 | 24C | 0.94025 | 2.7425e-06 | -1.9073e-06 | 0.94025 | 32.6608 | 0.00010972 | P12
2012-01 Feb Line P#29 | 145 | 2012-02-29 13:49 | 24C | 0.98218 | 3.057e-06 | -1.9073e-06 | 0.98218 | 34.2997 | 0.00011991 | P12
2012-01 Feb Line P#30 | LOOP | 2012-02-29 13:52 | 24C | 0.84341 | 1.8176e-06 | -1.9073e-06 | 0.84341 | 28.9236 | 6.7567e-05 | JF4
2012-01 Feb Line P#31 | 337 | 2012-02-29 13:55 | 24C | 0.9411 | 3.0089e-06 | -1.9073e-06 | 0.9411 | 32.694 | 0.00011691 | P25
2012-01 Feb Line P#32 | 461 | 2012-02-29 13:58 | 24C | 0.96766 | 2.7425e-06 | -1.9073e-06 | 0.96765 | 33.7305 | 0.0001097 | PA-005
2012-01 Feb Line P#33 | 89 | 2012-02-29 14:00 | 24C | 0.9822 | 3.2148e-06 | -1.9073e-06 | 0.98219 | 34.3002 | 0.00012553 | P4
2012-01 Feb Line P#34 | 103 | 2012-02-29 14:02 | 24C | 0.93411 | 1.1196e-06 | -1.9073e-06 | 0.93411 | 32.4219 | 4.4364e-05 | P4
2012-01 Feb Line P#35 | 356 | 2012-02-29 14:05 | 24C | 0.94089 | 4.2256e-06 | -1.9073e-06 | 0.94089 | 32.6858 | 0.00016822 | P26
2012-01 Feb Line P#36 | 3 | 2012-02-29 14:07 | 24C | 0.90429 | 3.2034e-06 | -1.9073e-06 | 0.90429 | 31.2654 | 0.00012156 | SI03
2012-01 Feb Line P#37 | 470 | 2012-02-29 14:09 | 24C | 0.94099 | 2.7263e-06 | -1.7881e-06 | 0.94099 | 32.6896 | 0.00010447 | PA-005
2012-01 Feb Line P#38 | 124 | 2012-02-29 14:12 | 24C | 0.98422 | 3.1309e-06 | -1.8477e-06 | 0.98422 | 34.3799 | 0.00012315 | P8
2012-01 Feb Line P#39 | DWR | 2012-02-29 14:14 | 24C | 0.98926 | 4.3337e-06 | -1.9073e-06 | 0.98926 | 34.5777 | 0.00016932 | P24
2012-01 Feb Line P#40 | 293 | 2012-02-29 14:16 | 24C | 0.9841 | 2.4912e-06 | -1.9073e-06 | 0.9841 | 34.3751 | 0.00010062 | P16
2012-01 Feb Line P#41 | 121 | 2012-02-29 14:19 | 24C | 0.98951 | 4.3338e-06 | -1.9073e-06 | 0.98951 | 34.5875 | 0.00016979 | P8
2012-01 Feb Line P#42 | 88 | 2012-02-29 14:21 | 24C | 0.98429 | 2.6733e-06 | -1.9073e-06 | 0.98429 | 34.3826 | 0.00010502 | P4
2012-01 Feb Line P#43 | 206 | 2012-02-29 14:24 | 24C | 0.98428 | 3.466e-06 | -1.9073e-06 | 0.98427 | 34.3819 | 0.00013906 | P12
2012-01 Feb Line P#44 | DWR | 2012-03-01 09:36 | 24C | 0.98926 | 3.4583e-06 | -1.9073e-06 | 0.98926 | 34.5777 | 0.00013586 | P24
2012-01 Feb Line P#45 | DWR 2011-26 | 2012-03-01 09:40 | 24C | 0.98997 | 4.7679e-06 | -1.9073e-06 | 0.98997 | 34.6054 | 0.00018604 | P23
2012-01 Feb Line P#46 | 319 | 2012-03-01 09:44 | 24C | 0.9893 | 3.4657e-06 | -1.9073e-06 | 0.9893 | 34.5791 | 0.00013597 | P24
2012-01 Feb Line P#47 | P143 | 2012-03-01 09:58 | 24C | 0.99984 | 7.3489e-06 | -1.9073e-06 | 0.99983 | 34.9934 | 0.00029025 | Standard run as a sample as a check. System needs maintenance
Calibration#3 | K15 | 2012-03-01 13:21 | 24C | 0.99978 | 4.1893e-06 | 9.5367e-07 | 0.99978
Calibration#4 | K15 | 2012-03-01 13:22 | 24C | 0.99978 | 7.0807e-06 | 0 | 0.99978
2012-01 Feb Line P#48 | P150 | 2012-03-01 13:23 | 24C | 0.99978 | 6.0358e-06 | 0 | 0.99978 | 34.9914 | 0.00023914 | standard as sample
2012-01 Feb Line P#49 | DWR | 2012-03-01 13:27 | 24C | 0.98926 | 4.7286e-06 | 0 | 0.98926 | 34.5778 | 0.00018963 | P24
2012-01 Feb Line P#50 | DWR 2011-26 | 2012-03-01 13:31 | 24C | 0.98982 | 4.0692e-06 | 0 | 0.98982 | 34.5995 | 0.00016263 | P23
2012-01 Feb Line P#51 | 319 | 2012-03-01 13:35 | 24C | 0.9893 | 2.7426e-06 | 0 | 0.9893 | 34.5791 | 0.00011004 | P24
2012-01 Feb Line P#52 | 468 | 2012-03-01 13:42 | 24C | 0.941 | 5.3585e-06 | 0 | 0.941 | 32.6899 | 0.00020789 | PA-005
2012-01 Feb Line P#53 | 173 | 2012-03-01 13:45 | 24C | 0.93967 | 3.8545e-06 | 0 | 0.93967 | 32.6382 | 0.00014862 | P12
2012-01 Feb Line P#54 | 294 | 2012-03-01 13:47 | 24C | 0.98187 | 5.3578e-06 | 0 | 0.98187 | 34.2876 | 0.00020853 | P16
2012-01 Feb Line P#55 | 286 | 2012-03-01 13:50 | 24C | 0.9915 | 4.3079e-06 | 0 | 0.9915 | 34.6659 | 0.0001717 | P16
2012-01 Feb Line P#56 | 469 | 2012-03-01 13:52 | 24C | 0.94101 | 4.7704e-06 | 0 | 0.94101 | 32.6904 | 0.0001843 | PA-005
2012-01 Feb Line P#57 | 482 | 2012-03-01 13:55 | 24C | 0.98174 | 3.865e-06 | 0 | 0.98174 | 34.2826 | 0.00015074 | P20
2012-01 Feb Line P#58 | 326 | 2012-03-01 13:57 | 24C | 0.98924 | 4.1421e-06 | 0 | 0.98924 | 34.5768 | 0.00016417 | P24
2012-01 Feb Line P#59 | 316 | 2012-03-01 14:01 | 24C | 0.98924 | 2.5989e-06 | 0 | 0.98924 | 34.5768 | 0.00010028 | P24
2012-01 Feb Line P#60 | DWR | 2012-03-01 14:04 | 24C | 0.98926 | 5.1662e-06 | 0 | 0.98926 | 34.5775 | 0.00020157 | P24
2012-01 Feb Line P#61 | DWR 2011-26 | 2012-03-01 14:07 | 24C | 0.98967 | 5.4532e-06 | 0 | 0.98967 | 34.594 | 0.00021462 | P23
2012-01 Feb Line P#62 | 319 | 2012-03-01 14:10 | 24C | 0.98927 | 4.9386e-06 | 0 | 0.98927 | 34.5782 | 0.00019055 | P24
2012-01 Feb Line P#63 | 464 | 2012-03-01 14:13 | 24C | 0.94107 | 5.9834e-06 | 0 | 0.94107 | 32.693 | 0.00023171 | PA-005
2012-01 Feb Line P#64 | 200 | 2012-03-01 14:15 | 24C | 0.99101 | 5.9633e-06 | 0 | 0.99101 | 34.6465 | 0.00023654 | P12
2012-01 Feb Line P#65 | 253 | 2012-03-01 14:18 | 24C | 0.98202 | 4.5837e-06 | 0 | 0.98202 | 34.2936 | 0.00017707 | P16
2012-01 Feb Line P#66 | 325 | 2012-03-01 14:20 | 24C | 0.98925 | 4.6139e-06 | 0 | 0.98925 | 34.5775 | 0.00018264 | P24
2012-01 Feb Line P#67 | 334 | 2012-03-01 14:23 | 24C | 0.94087 | 5.4753e-06 | 0 | 0.94087 | 32.685 | 0.00021491 | P24
2012-01 Feb Line P#68 | 331 | 2012-03-01 14:26 | 24C | 0.98924 | 4.949e-06 | 0 | 0.98924 | 34.5767 | 0.0001938 | P24
2012-01 Feb Line P#69 | 443 | 2012-03-01 14:28 | 24C | 0.98417 | 5.7677e-06 | 0 | 0.98417 | 34.3776 | 0.00022957 | P26
2012-01 Feb Line P#70 | 479 | 2012-03-01 14:31 | 24C | 0.9872 | 5.5032e-06 | 0 | 0.9872 | 34.4966 | 0.00021422 | P20
2012-01 Feb Line P#71 | 319 | 2012-03-01 14:34 | 24C | 0.98926 | 2.5861e-06 | 0 | 0.98926 | 34.5778 | 0.00010156 | P24
2012-01 Feb Line P#72 | DWR 2011-26 | 2012-03-01 14:38 | 24C | 0.98961 | 3.1418e-06 | 0 | 0.98961 | 34.5914 | 0.00012514 | P23
2012-01 Feb Line P#73 | DWR | 2012-03-01 14:41 | 24C | 0.98926 | 4.9102e-06 | 0 | 0.98926 | 34.5776 | 0.00019183 | P24
2012-01 Feb Line P#74 | 328 | 2012-03-01 14:44 | 24C | 0.98924 | 4.6245e-06 | 0 | 0.98924 | 34.5768 | 0.00018341 | P24
2012-01 Feb Line P#75 | 124 | 2012-03-01 14:47 | 24C | 0.98424 | 6.5727e-06 | 0 | 0.98424 | 34.3807 | 0.0002582 | P8
2012-01 Feb Line P#76 | 315 | 2012-03-01 14:50 | 24C | 0.98923 | 5.5543e-06 | 0 | 0.98923 | 34.5767 | 0.00021595 | P24
2012-01 Feb Line P#77 | 463 | 2012-03-01 14:52 | 24C | 0.94124 | 4.2257e-06 | 0 | 0.94124 | 32.6994 | 0.00016282 | PA-005
2012-01 Feb Line P#78 | 288 | 2012-03-01 14:55 | 24C | 0.99117 | 4.2256e-06 | 0 | 0.99117 | 34.6529 | 0.0001681 | P16
2012-01 Feb Line P#79 | 357 | 2012-03-01 15:48 | 24C | 0.96788 | 4.4924e-06 | 0 | 0.96788 | 33.7396 | 0.00017668 | P26
2012-01 Feb Line P#80 | 107 | 2012-03-01 15:51 | 24C | 0.98662 | 2.2725e-06 | 0 | 0.98662 | 34.4741 | 9.0121e-05 | P4
2012-01 Feb Line P#81 | 353 | 2012-03-01 15:53 | 24C | 0.94095 | 4.4485e-06 | 0 | 0.94095 | 32.688 | 0.00017436 | P26
2012-01 Feb Line P#82 | 481 | 2012-03-01 15:55 | 24C | 0.98401 | 6.7791e-06 | 0 | 0.98401 | 34.3714 | 0.00026736 | P20
2012-01 Feb Line P#83 | 346 | 2012-03-01 15:57 | 24C | 0.97717 | 5.0343e-06 | 0 | 0.97717 | 34.1033 | 0.00019689 | P26
2012-01 Feb Line P#84 | 440 | 2012-03-01 16:00 | 24C | 0.98937 | 5.085e-06 | 0 | 0.98937 | 34.582 | 0.00020016 | P26
2012-01 Feb Line P#85 | 327 | 2012-03-01 16:02 | 24C | 0.98925 | 4.3339e-06 | 0 | 0.98925 | 34.5773 | 0.00016863 | P24
2012-01 Feb Line P#86 | DWR 2011-26 | 2012-03-01 16:05 | 24C | 0.98972 | 4.6355e-06 | 0 | 0.98972 | 34.5956 | 0.00018058 | P23
2012-01 Feb Line P#87 | DWR | 2012-03-01 16:07 | 24C | 0.98927 | 4.6037e-06 | 0 | 0.98927 | 34.5779 | 0.00018015 | P24
2012-01 Feb Line P#88 | 225 | 2012-03-01 16:11 | 24C | 0.98408 | 5.1516e-06 | 0 | 0.98408 | 34.3743 | 0.00020287 | P12
2012-01 Feb Line P#89 | 121 | 2012-03-01 16:14 | 24C | 0.98951 | 4.9815e-06 | 0 | 0.98951 | 34.5873 | 0.00019732 | P8
2012-01 Feb Line P#90 | 528 | 2012-03-01 16:16 | 24C | 0.94017 | 4.9165e-06 | 0 | 0.94017 | 32.6578 | 0.00018905 | P18
2012-01 Feb Line P#91 | 228 | 2012-03-01 16:18 | 24C | 0.9776 | 4.3341e-06 | 0 | 0.9776 | 34.1202 | 0.00017176 | P12
2012-01 Feb Line P#92 | 29 | 2012-03-01 16:21 | 24C | 0.939 | 4.6448e-06 | 0 | 0.939 | 32.6123 | 0.00018106 | P2
2012-01 Feb Line P#93 | DWR | 2012-03-02 09:16 | 24C | 0.98927 | 5.3376e-06 | 0 | 0.98927 | 34.5782 | 0.00020493 | P24
2012-01 Feb Line P#94 | DWR | 2012-03-02 09:20 | 24C | 0.98927 | 4.4668e-06 | 0 | 0.98927 | 34.5781 | 0.00017757 | P24
2012-01 Feb Line P#95 |  | 2012-03-02 09:25 | 24C | 0 | 0 | 0 | 0 | 0 | 0 | DITCH THIS
2012-01 Feb Line P#96 | DWR | 2012-03-02 09:29 | 24C | 0.98926 | 2.7425e-06 | 0 | 0.98926 | 34.5777 | 0.00010978 | P24
2012-01 Feb Line P#97 | 438 | 2012-03-02 09:32 | 24C | 0.99118 | 3.1414e-06 | 0 | 0.99118 | 34.6533 | 0.00012486 | P26
2012-01 Feb Line P#98 | 288 | 2012-03-02 09:35 | 24C | 0.99117 | 3.8647e-06 | 0 | 0.99117 | 34.6527 | 0.00015248 | P16
2012-01 Feb Line P#99 | 255 | 2012-03-02 09:37 | 24C | 0.94087 | 3.359e-06 | 0 | 0.94087 | 32.6851 | 0.00012945 | P26. Mislabeled as 255 but should be 355. Error corrected in Salinity Data spreadsheet
2012-01 Feb Line P#100 | 281 | 2012-03-02 09:40 | 24C | 0.97065 | 5.1275e-06 | 0 | 0.97065 | 33.8477 | 0.00020311 | P16
2012-01 Feb Line P#101 | 313 | 2012-03-02 09:43 | 24C | 0.98924 | 4.2738e-06 | 0 | 0.98924 | 34.577 | 0.00017095 | P24
2012-01 Feb Line P#102 | 466 | 2012-03-02 09:47 | 24C | 0.94104 | 3.7319e-06 | 0 | 0.94104 | 32.6918 | 0.00014417 | PA-005
2012-01 Feb Line P#103 | 436 | 2012-03-02 09:50 | 24C | 0.99186 | 6.1081e-06 | 0 | 0.99186 | 34.68 | 0.00023831 | P26
2012-01 Feb Line P#104 | 530 | 2012-03-02 09:52 | 24C | 0.94018 | 4.583e-06 | 0 | 0.94018 | 32.6582 | 0.00017826 | P14
2012-01 Feb Line P#105 | 86 | 2012-03-02 09:55 | 24C | 0.98637 | 5.0818e-06 | 0 | 0.98637 | 34.464 | 0.00020126 | P4
2012-01 Feb Line P#106 | 438 | 2012-03-02 09:57 | 24C | 0.99121 | 4.2741e-06 | 0 | 0.99121 | 34.6541 | 0.00016608 | P26
2012-01 Feb Line P#107 | 477 | 2012-03-02 09:59 | 24C | 0.93958 | 4.622e-06 | 0 | 0.93958 | 32.6348 | 0.00017928 | P22
2012-01 Feb Line P#108 | 290 | 2012-03-02 10:03 | 24C | 0.98966 | 3.4497e-06 | 0 | 0.98966 | 34.5934 | 0.0001359 | P16
2012-01 Feb Line P#109 | 322 | 2012-03-02 10:05 | 24C | 0.98924 | 5.4532e-06 | 0 | 0.98924 | 34.577 | 0.00021796 | P24
2012-01 Feb Line P#110 | 343 | 2012-03-02 10:07 | 24C | 0.98407 | 3.4658e-06 | 0 | 0.98407 | 34.3739 | 0.00013822 | P26
2012-01 Feb Line P#111 | 314 | 2012-03-02 10:45 | 24C | 0.98923 | 5.2913e-06 | 0 | 0.98923 | 34.5765 | 0.00020561 | P24
2012-01 Feb Line P#112 | LOOP | 2012-03-02 10:47 | 24C | 0.89591 | 5.1377e-06 | 0 | 0.89591 | 30.9415 | 0.00019591 | JF1
2012-01 Feb Line P#113 | 359 | 2012-03-02 10:51 | 24C | 0.94102 | 4.3839e-06 | 0 | 0.94102 | 32.6907 | 0.00017273 | P26
2012-01 Feb Line P#114 | DWR | 2012-03-02 10:53 | 24C | 0.98926 | 5.7291e-06 | 0 | 0.98926 | 34.5777 | 0.00022729 | P24
2012-01 Feb Line P#115 | 1334 DWR | 2012-03-02 10:57 | 24C | 0.99895 | 4.2064e-06 | 0 | 0.99895 | 34.9587 | 0.00016667 | CB6
2012-01 Feb Line P#116 | 1334 DWR | 2012-03-02 11:00 | 24C | 0.99888 | 5.6894e-06 | 0 | 0.99888 | 34.9558 | 0.00022552 | CB6
2012-01 Feb Line P#117 | 443 | 2012-03-02 11:02 | 24C | 0.98415 | 3.862e-06 | 0 | 0.98415 | 34.3769 | 0.00015094 | P26
2012-01 Feb Line P#118 | 333 | 2012-03-02 11:04 | 24C | 0.98926 | 4.9815e-06 | 0 | 0.98926 | 34.5775 | 0.00019137 | P24
2012-01 Feb Line P#119 | 88 | 2012-03-02 11:07 | 24C | 0.98429 | 6.5391e-06 | 0 | 0.98429 | 34.3825 | 0.00025729 | P4
2012-01 Feb Line P#120 | 462 | 2012-03-02 11:09 | 24C | 0.96226 | 3.5725e-06 | 0 | 0.96226 | 33.5196 | 0.00014002 | PA-005
2012-01 Feb Line P#121 | 340 | 2012-03-02 11:12 | 24C | 0.98929 | 4.7428e-06 | 0 | 0.98929 | 34.5788 | 0.00018409 | P26
2012-01 Feb Line P#122 | 120 | 2012-03-02 11:14 | 24C | 0.93884 | 3.5195e-06 | 0 | 0.93884 | 32.6059 | 0.00013624 | P6
2012-01 Feb Line P#123 | 360 | 2012-03-02 11:16 | 24C | 0.941 | 3.6273e-06 | 0 | 0.941 | 32.69 | 0.00014152 | P26
2012-01 Feb Line P#124 | 479 | 2012-03-02 11:19 | 24C | 0.9872 | 5.5823e-06 | 0 | 0.9872 | 34.4969 | 0.00021749 | P20
2012-01 Feb Line P#125 | LOOP | 2012-03-02 11:22 | 24C | 0.87625 | 5.5427e-06 | 0 | 0.87625 | 30.1837 | 0.00021416 | JF3
2012-01 Feb Line P#126 | DWR | 2012-03-02 11:25 | 24C | 0.98926 | 4.5981e-06 | 0 | 0.98926 | 34.5776 | 0.00017978 | P24
2012-01 Feb Line P#127 | 1334 DWR | 2012-03-02 11:27 | 24C | 0.99889 | 7.1797e-06 | 0 | 0.99889 | 34.9565 | 0.0002827 | CB6
2012-01 Feb Line P#128 | 1334 DWR | 2012-03-02 11:30 | 24C | 0.99891 | 5.5188e-06 | 0 | 0.99891 | 34.9573 | 0.00021571 | CB6
2012-01 Feb Line P#129 | 321 | 2012-03-02 12:52 | 24C | 0.98926 | 2.0945e-06 | 0 | 0.98926 | 34.5775 | 8.1174e-05 | P24
2012-01 Feb Line P#130 | 330 | 2012-03-02 12:54 | 24C | 0.98925 | 5.7674e-06 | 0 | 0.98925 | 34.5773 | 0.00022338 | P24
2012-01 Feb Line P#131 | 317 | 2012-03-02 12:57 | 24C | 0.98924 | 6.8628e-06 | 0 | 0.98924 | 34.5767 | 0.00027038 | P24
2012-01 Feb Line P#132 | 390 | 2012-03-02 12:59 | 24C | 0.96456 | 4.5832e-06 | 0 | 0.96456 | 33.6096 | 0.0001789 | P26
2012-01 Feb Line P#133 | 13 | 2012-03-02 13:01 | 24C | 0.85748 | 3.4658e-06 | 0 | 0.85748 | 29.4625 | 0.00013464 | P1
2012-01 Feb Line P#134 | 323 | 2012-03-02 13:05 | 24C | 0.98924 | 4.1136e-06 | 0 | 0.98924 | 34.5771 | 0.00016404 | P24
2012-01 Feb Line P#135 | 144 | 2012-03-02 13:07 | 24C | 0.94068 | 4.9353e-06 | 0 | 0.94068 | 32.6775 | 0.0001931 | P10
2012-01 Feb Line P#136 | LOOP | 2012-03-02 13:10 | 24C | 0.86256 | 6.9443e-06 | 0 | 0.86256 | 29.6574 | 0.00026698 | P1
2012-01 Feb Line P#137 | 320 | 2012-03-02 13:13 | 24C | 0.98923 | 7.0674e-06 | 0 | 0.98923 | 34.5765 | 0.00027626 | P24
2012-01 Feb Line P#138 | 312 | 2012-03-02 13:16 | 24C | 0.98925 | 4.5979e-06 | 0 | 0.98925 | 34.5772 | 0.00018118 | P24
2012-01 Feb Line P#139 | 252 | 2012-03-02 13:19 | 24C | 0.93962 | 3.4551e-06 | 0 | 0.93962 | 32.6364 | 0.0001339 | P16
2012-01 Feb Line P#140 | DWR | 2012-03-02 13:21 | 24C | 0.98927 | 4.2632e-06 | 0 | 0.98927 | 34.5779 | 0.00016692 | P24
2012-01 Feb Line P#141 | 1334 DWR | 2012-03-02 13:24 | 24C | 0.99887 | 3.611e-06 | 0 | 0.99887 | 34.9555 | 0.00014157 | CB6
2012-01 Feb Line P#142 | 1334 DWR | 2012-03-02 13:27 | 24C | 0.99898 | 3.4658e-06 | 0 | 0.99898 | 34.9599 | 0.00013595 | CB6
2012-01 Feb Line P#143 | 329 | 2012-03-02 13:29 | 24C | 0.98925 | 4.3337e-06 | 0 | 0.98925 | 34.5773 | 0.00016797 | P24
2012-01 Feb Line P#144 | 437 | 2012-03-02 13:32 | 24C | 0.99162 | 6.1862e-06 | 0 | 0.99162 | 34.6705 | 0.00024234 | P26
2012-01 Feb Line P#145 | 444 | 2012-03-02 13:34 | 24C | 0.98228 | 5.246e-06 | 0 | 0.98228 | 34.3038 | 0.00020384 | P26
2012-01 Feb Line P#146 | 467 | 2012-03-02 13:37 | 24C | 0.94102 | 1.3713e-06 | 0 | 0.94102 | 32.6908 | 5.5371e-05 | PA-005
2012-01 Feb Line P#147 | 195 | 2012-03-02 13:39 | 24C | 0.93968 | 3.3474e-06 | 0 | 0.93968 | 32.6386 | 0.00012945 | P12
2012-01 Feb Line P#148 | 496 | 2012-03-02 13:41 | 24C | 0.93977 | 5.4852e-06 | 0 | 0.93977 | 32.6424 | 0.00020894 | P20
2012-01 Feb Line P#149 | 349 | 2012-03-02 13:46 | 24C | 0.94095 | 5.4779e-06 | 0 | 0.94095 | 32.688 | 0.00021377 | P26
2012-01 Feb Line P#150 | 335 | 2012-03-02 13:49 | 24C | 0.94108 | 4.7294e-06 | 0 | 0.94108 | 32.6932 | 0.00018261 | PA-005. Mislabeled as 355 but should be 465. Error corrected in Salinity Data spreadsheet
2012-01 Feb Line P#151 | 335 | 2012-03-02 13:51 | 24C | 0.94087 | 4.4783e-06 | 0 | 0.94087 | 32.685 | 0.00017729 | P24
2012-01 Feb Line P#152 | DWR | 2012-03-02 13:54 | 24C | 0.98926 | 4.2255e-06 | 0 | 0.98926 | 34.5778 | 0.0001637 | P24
2012-01 Feb Line P#153 | 2 | 2012-03-02 13:57 | 24C | 0.90471 | 4.1859e-06 | 0 | 0.90471 | 31.2816 | 0.00016103 | SI03
2012-01 Feb Line P#154 | 474 | 2012-03-02 14:00 | 24C | 0.94014 | 5.9071e-06 | 0 | 0.94014 | 32.6566 | 0.00023199 | P22
2012-01 Feb Line P#155 | 358 | 2012-03-02 14:03 | 24C | 0.9583 | 3.4659e-06 | 0 | 0.9583 | 33.365 | 0.00013599 | P26
2012-01 Feb Line P#156 | 203 | 2012-03-02 14:05 | 24C | 0.98946 | 7.0609e-06 | 0 | 0.98946 | 34.5857 | 0.00027605 | P12
2012-01 Feb Line P#157 | 361 | 2012-03-02 14:08 | 24C | 0.94081 | 6.6267e-06 | 0 | 0.94081 | 32.6829 | 0.00025666 | P26
2012-01 Feb Line P#158 | 362 | 2012-03-02 14:10 | 24C | 0.98224 | 5.1679e-06 | 0 | 0.98224 | 34.3021 | 0.00020066 | P26
2012-01 Feb Line P#159 | 200 | 2012-03-02 14:12 | 24C | 0.99107 | 2.8661e-06 | 0 | 0.99107 | 34.6486 | 0.00011317 | P12
2012-01 Feb Line P#160 | 332 | 2012-03-02 14:14 | 24C | 0.98925 | 2.7426e-06 | 0 | 0.98925 | 34.5774 | 0.00010447 | P24
2012-01 Feb Line P#161 | 110 | 2012-03-02 14:17 | 24C | 0.9844 | 4.1682e-06 | 0 | 0.9844 | 34.3867 | 0.00016141 | P4
2012-01 Feb Line P#162 | 324 | 2012-03-02 14:19 | 24C | 0.98925 | 3.6104e-06 | 0 | 0.98925 | 34.5772 | 0.00014379 | P24
2012-01 Feb Line P#163 | 352 | 2012-03-02 14:21 | 24C | 0.94084 | 3.2141e-06 | 0 | 0.94084 | 32.6838 | 0.000126 | P26
2012-01 Feb Line P#164 | 318 | 2012-03-02 14:24 | 24C | 0.98923 | 5.7962e-06 | 0 | 0.98923 | 34.5765 | 0.00022441 | P24
2012-01 Feb Line P#165 | 26G | 2012-03-02 14:27 | 24C | 0.88411 | 5.2964e-06 | 0 | 0.88411 | 30.486 | 0.00020307 | GORGE
2012-01 Feb Line P#166 | 25G | 2012-03-02 14:30 | 24C | 0.88273 | 4.7425e-06 | 0 | 0.88273 | 30.433 | 0.00018067 | GORGE
2012-01 Feb Line P#167 | DWR | 2012-03-02 14:33 | 24C | 0.98926 | 5.6724e-06 | 0 | 0.98926 | 34.5779 | 0.00022281 | P24
[7 empty] | count | 171