2012-03 Sample Analysis Comments

Data quality for bottle samples is expressed with the following flags

----------------------------------------------------------------------------

1 = Sample for this measurement was drawn from water bottle but not analyzed

(not normally used).

2 = Acceptable measurement (not normally used).

3 = Questionable measurement (no problem observed in sampling or analysis,

but value is not trusted, nonetheless; includes outlyers).

4 = Bad measurement (known problem with sampling or analysis, but not

serious enough to completely discard the value).

5 = Not reported (lost sample; unredeemably bad measurement).

6 = Mean of replicate measurements.

7 = Manual chromatographic peak measurement.

8 = Irregular digital chromatographic peak integration.

9 = Sample not drawn for this measurement from this bottle (not normally

used).

----------------------------------------------------------------------------

Niskin Sample Analysis methods:

-----------------

Chlorophyll samples were filtered onto 25mm GF/F filters and stored

in glass scintillation vials at -20C prior to analysis. Samples were

extracted in 90% acetone at -20C for 24 hours and analyzed in the lab

at IOS on a Turner 10AU fluorometer which is calibrated with

commercially pure chlorophyll a (Sigma).

Fluorescence readings taken before and after acidification were used to

calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965).

The average of two samples is reported. Variability is assessed as the

CV% (std dev / mean*100).

For details see worksheet “CV%” in file QF2012-03nut-chl*.xls.

Phaeopigment data are provided for information only and no quality flags are

assigned to them.

Nutrient samples were collected in plastic tubes.

All samples were later analyzed at IOS using the Astoria analyzer following

methods described in Barwell-Clarke and Whitney (1996).

File "QF2012-03nut-chl*.xls" includes the raw data and a precision study.

Salinity samples were collected in 200 mL type II glass bottles with

disposable plastic inserts and screw cap supplied by Ocean Scientific

International Limited. They were analyzed in a temperature-controlled

lab on a Guildline 8400B Salinometer standardized with IAPSO standard

seawater 07 days after end of cruise.

For details including a duplicate analysis, see document QF2012-03SAL*.xls.

References:

1. Barwell-Clarke, J. and Whitney, F. 1996. Institute of Ocean Sciences

Nutrient Methods and Analysis. Canadian Technical Report of Hydrography

and Ocean Sciences, No. 182, 43 pp.

2. Holm-Hansen, O., Lorenzen, C.J., Holmes, R.W., and Strickland J.D.H. 1965.

Fluorometric Determination of Chlorophyll. J.du Cons. Intl. Pour l’Epl.

De la Mer. 30:3-15.

* For PDF versions of these papers see folder

\\Cruise_Data\DOCUMENTS\Analysis Reference Papers