## Final CHL archive
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C at sea and -80C in the lab
Samples were extracted in 90% acetone for 24 hours in the lab 3 weeks after collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2012-04_chl.xls
Cruise_Number | Event | Station | Sample_Number | CHL:extracted | Flag:CHL Extracted | Phaeo-Pigment:Extracted | Comments (preceded by CHL:)
2012-04 | 2 | SI | 6 | 1.0269 | 36 | 1.1244 | CHL:variability of reps >15% CV
2012-04 | 2 | SI | 7 | 2.2641 | 36 | 1.1095 | CHL:variability of reps >15% CV
2012-04 | 2 | SI | 9 | 17.5361 | 6 | 2.7144
2012-04 | 4 | 59 | 20 | 0.66661 | 6 | 0.77212
2012-04 | 4 | 59 | 21 | 0.79273 | 6 | 0.82867
2012-04 | 4 | 59 | 23 | 0.92485 | 6 | 0.8093
2012-04 | 8 | 102 | 34 | 0.48345 | 6 | 0.6486
2012-04 | 8 | 102 | 35 | 1.081 | 6 | 0.8065
2012-04 | 8 | 102 | 37 | 0.96989 | 6 | 0.59738
2012-04 | 11 | 75 | 48 | 0.69064 | 6 | 0.65564
2012-04 | 11 | 75 | 49 | 1.2582 | 6 | 0.83004
2012-04 | 11 | 75 | 51 | 1.6125 | 6 | 0.55239
2012-04 | 14 | 72 | 61 | 0.89182 | 6 | 0.73409
2012-04 | 14 | 72 | 62 | 3.8435 | 6 | 0.86957
2012-04 | 14 | 72 | 64 | 3.9156 | 6 | 0.49532
2012-04 | 17 | 69 | 74 | 1.8017 | 6 | 0.5346
2012-04 | 17 | 69 | 75 | 3.1589 | 6 | 0.4898
2012-04 | 17 | 69 | 76 | 2.3452 | 6 | 0.55938
2012-04 | 20 | ADCP | 83 | 0.82876 | 6 | 0.59419
2012-04 | 20 | ADCP | 84 | 1.8437 | 6 | 0.62787
2012-04 | 20 | ADCP | 86 | 1.9728 | 6 | 0.57091
2012-04 | 24 | 65 | 93 | 2.3422 | 6 | 0.71798
2012-04 | 24 | 65 | 94 | 3.0178 | 6 | 0.64672
2012-04 | 24 | 65 | 96 | 2.8226 | 6 | 0.71787
2012-04 | 27 | 62 | 104 | 1.3482 | 6 | 0.67456
2012-04 | 27 | 62 | 105 | 1.5194 | 6 | 0.69283
2012-04 | 27 | 62 | 107 | 1.3542 | 6 | 0.68209
2012-04 | 32 | 56 | 118 | 3.0238 | 6 | 1.1774
2012-04 | 32 | 56 | 119 | 4.9245 | 6 | 1.4573
2012-04 | 32 | 56 | 121 | 7.2667 | 6 | 1.7762
2012-04 | 42 | 46 | 130 | 3.5733 | 6 | 1.3428
2012-04 | 42 | 46 | 131 | 8.1675 | 6 | 2.2058
2012-04 | 42 | 46 | 133 | 29.1508 | 6 | 3.8905
2012-04 | 46 | 42 | 146 | 4.0838 | 6 | 1.6667
2012-04 | 46 | 42 | 147 | 8.3777 | 6 | 2.3564
2012-04 | 46 | 42 | 149 | 28.9466 | 6 | 3.8422
2012-04 | 51 | 39 | 163 | 8.8882 | 6 | 2.8382
2012-04 | 51 | 39 | 164 | 14.9538 | 6 | 3.4477
2012-04 | 51 | 39 | 166 | 24.4425 | 6 | 3.2047
2012-04 | 54 | 27 | 179 | 18.2928 | 36 | 0.71294 | CHL:variability of reps >15% CV
2012-04 | 54 | 27 | 180 | 18.7973 | 6 | 5.5575
2012-04 | 54 | 27 | 182 | 13.6926 | 6 | 2.4763
2012-04 | 58 | 2 | 195 | 2.7595 | 6 | 2.0009
2012-04 | 58 | 2 | 196 | 6.0356 | 6 | 3.1201
2012-04 | 58 | 2 | 198 | 11.921 | 6 | 1.9252
2012-04 | 61 | 3 | 211 | 8.4077 | 6 | 2.146
2012-04 | 61 | 3 | 212 | 16.5753 | 6 | 4.0361
2012-04 | 61 | 3 | 214 | 47.0833 | 36 | 2.8891 | CHL:variability of reps >15% CV
2012-04 | 63 | 6 | 224 | 3.1529 | 6 | 1.47
2012-04 | 63 | 6 | 225 | 7.4168 | 6 | 2.1672
2012-04 | 63 | 6 | 227 | 15.4342 | 6 | 3.3731
2012-04 | 67 | 9 | 236 | 6.3358 | 6 | 1.5344
2012-04 | 67 | 9 | 237 | 8.708 | 6 | 2.3193
2012-04 | 67 | 9 | 239 | 33.8712 | 36 | -7.8025 | CHL:variability of reps >15% CV
2012-04 | 70 | 12 | 252 | 1.6335 | 6 | 0.68697
2012-04 | 70 | 12 | 253 | 3.0538 | 6 | 0.69638
2012-04 | 70 | 12 | 255 | 18.6171 | 6 | 2.0845
2012-04 | 72 | 14 | 267 | 1.9038 | 6 | 0.5836
2012-04 | 72 | 14 | 268 | 2.7175 | 6 | 0.63129
2012-04 | 72 | 14 | 270 | 2.6484 | 6 | 0.59436
2012-04 | 75 | 16 | 278 | 1.2161 | 6 | 0.66912
2012-04 | 75 | 16 | 279 | 1.09 | 6 | 0.59905
2012-04 | 75 | 16 | 281 | 2.7926 | 6 | 0.81555
2012-04 | 39 | 44 | 301 | 1.1531 | 36 | 1.1088
2012-04 | 39 | 44 | 302 | 1.4143 | 36 | 1.0099 | CHL:variability of reps >15% CV
2012-04 | 39 | 44 | 303 | 43.6001 | 6 | -8.1503 | CHL:variability of reps >15% CV

## Raw-data
Cruise: | 2012-04 | April 5-9, 2012
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C at sea and -80C in the lab
Samples were extracted in 90% acetone for 24 hours in the lab 3 weeks after collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: | May 1-3, 2012
Fluorometer calibration |  | Apr 30, 2012: chl (ug/L) = (1.751/(1.751-1)*(Fo-Fa)*0.850*(vol ext/vol filtered)
Apr 30, 2012: phaeo (ug/L) = (1.751/(1.751-1)*((1.751*Fa)-Fo)*0.850*(vol ext/vol filtered)
Calibration linear up to a fluoresence reading of 475, no need to dilute samples
Analysis Date | Station | Sample | Rep | Size fraction | Volume Acetone | Volume filtered | Fo | Fa | Acid Factor | Dilution | Chorophyll a (ug/L) | Phaeopigments (ug/L) | Flag | Comments from Filtration Log and Analyst
2012-05-02 | SI | 6 | A | TOTAL | 10 | 330 | 58.6 | 44.1 | 1.3288 | 1 | 0.8708 | 1.1182
2012-05-01 | SI | 6 | B | TOTAL | 10 | 330 | 71 | 51.3 | 1.384 | 1 | 1.1831 | 1.1306
2012-05-02 | SI | 7 | A | TOTAL | 10 | 330 | 101 | 67.4 | 1.4985 | 1 | 2.0179 | 1.022
2012-05-01 | SI | 7 | B | TOTAL | 10 | 330 | 124 | 82.2 | 1.5085 | 1 | 2.5103 | 1.197
2012-05-02 | SI | 9 | A | TOTAL | 20 | 330 | 369 | 225 | 1.64 | 1 | 17.2959 | 2.9998
2012-05-01 | SI | 9 | B | TOTAL | 10 | 330 | 186 | 112 | 1.6607 | 4 | 17.7764 | 2.4291
2012-05-03 | 59 | 20 | A | TOTAL | 10 | 330 | 42.3 | 31.6 | 1.3386 | 1 | 0.64259 | 0.78262
2012-05-03 | 59 | 20 | B | TOTAL | 10 | 330 | 43.7 | 32.2 | 1.3571 | 1 | 0.69064 | 0.76163
2012-05-03 | 59 | 21 | A | TOTAL | 10 | 330 | 49.8 | 36.4 | 1.3681 | 1 | 0.80474 | 0.83695
2012-05-03 | 59 | 21 | B | TOTAL | 10 | 330 | 48.5 | 35.5 | 1.3662 | 1 | 0.78072 | 0.82039
2012-05-01 | 59 | 23 | A | TOTAL | 10 | 330 | 54.9 | 39 | 1.4077 | 1 | 0.95488 | 0.80408
2012-05-02 | 59 | 23 | B | TOTAL | 10 | 330 | 52.8 | 37.9 | 1.3931 | 1 | 0.89482 | 0.81452
2012-05-01 | 102 | 34 | A | TOTAL | 10 | 330 | 34.9 | 26.4 | 1.322 | 1 | 0.51047 | 0.68021
2012-05-01 | 102 | 34 | B | TOTAL | 10 | 330 | 31.4 | 23.8 | 1.3193 | 1 | 0.45642 | 0.617
2012-05-02 | 102 | 35 | A | TOTAL | 10 | 330 | 58.9 | 41.5 | 1.4193 | 1 | 1.045 | 0.82675
2012-05-02 | 102 | 35 | B | TOTAL | 10 | 330 | 60.8 | 42.2 | 1.4408 | 1 | 1.117 | 0.78626
2012-05-01 | 102 | 37 | A | TOTAL | 10 | 330 | 49.3 | 34.2 | 1.4415 | 1 | 0.90683 | 0.63564
2012-05-03 | 102 | 37 | B | TOTAL | 10 | 330 | 52.5 | 35.3 | 1.4873 | 1 | 1.033 | 0.55913
2012-05-03 | 75 | 48 | A | TOTAL | 10 | 330 | 40 | 28.7 | 1.3937 | 1 | 0.67862 | 0.61579
2012-05-03 | 75 | 48 | B | TOTAL | 10 | 330 | 42.7 | 31 | 1.3774 | 1 | 0.70265 | 0.6955
2012-05-02 | 75 | 49 | A | TOTAL | 10 | 330 | 67 | 46.1 | 1.4534 | 1 | 1.2552 | 0.82402
2012-05-01 | 75 | 49 | B | TOTAL | 10 | 330 | 67.5 | 46.5 | 1.4516 | 1 | 1.2612 | 0.83606
2012-05-02 | 75 | 51 | A | TOTAL | 10 | 330 | 74.2 | 47.2 | 1.572 | 1 | 1.6215 | 0.5073
2012-05-01 | 75 | 51 | B | TOTAL | 10 | 330 | 75.5 | 48.8 | 1.5471 | 1 | 1.6035 | 0.59748
2012-05-01 | 72 | 61 | A | TOTAL | 10 | 330 | 50.7 | 35.8 | 1.4162 | 1 | 0.89482 | 0.71981
2012-05-02 | 72 | 61 | B | TOTAL | 10 | 330 | 51.1 | 36.3 | 1.4077 | 1 | 0.88882 | 0.74837
2012-05-01 | 72 | 62 | A | TOTAL | 10 | 330 | 167 | 104 | 1.6058 | 1 | 3.7835 | 0.90707
2012-05-03 | 72 | 62 | B | TOTAL | 10 | 330 | 170 | 105 | 1.619 | 1 | 3.9036 | 0.83207
2012-05-03 | 72 | 64 | A | TOTAL | 10 | 330 | 151 | 90.6 | 1.6667 | 1 | 3.6273 | 0.45886
2012-05-03 | 72 | 64 | B | TOTAL | 10 | 330 | 175 | 105 | 1.6667 | 1 | 4.2039 | 0.53179
2012-05-01 | 69 | 74 | A | TOTAL | 10 | 330 | 85 | 53.7 | 1.5829 | 1 | 1.8797 | 0.54222
2012-05-01 | 69 | 74 | B | TOTAL | 10 | 330 | 78.6 | 49.9 | 1.5752 | 1 | 1.7236 | 0.52698
2012-05-01 | 69 | 75 | A | TOTAL | 10 | 330 | 140 | 85.1 | 1.6451 | 1 | 3.297 | 0.5411
2012-05-02 | 69 | 75 | B | TOTAL | 10 | 330 | 127 | 76.7 | 1.6558 | 1 | 3.0208 | 0.43851
2012-05-02 | 69 | 76 | A | TOTAL | 10 | 330 | 95.9 | 60.6 | 1.5825 | 1 | 2.12 | 0.6132
2012-05-03 | 69 | 76 | B | TOTAL | 10 | 330 | 111 | 68.2 | 1.6276 | 1 | 2.5704 | 0.50556
2012-05-03 | ADCP | 83 | A | TOTAL | 10 | 330 | 48.2 | 33.2 | 1.4518 | 1 | 0.90083 | 0.59654
2012-05-03 | ADCP | 83 | B | TOTAL | 10 | 330 | 42.5 | 29.9 | 1.4214 | 1 | 0.7567 | 0.59184
2012-05-03 | ADCP | 84 | A | TOTAL | 10 | 330 | 89.7 | 57.3 | 1.5654 | 1 | 1.9458 | 0.63853
2012-05-03 | ADCP | 84 | B | TOTAL | 10 | 330 | 81.3 | 52.3 | 1.5545 | 1 | 1.7416 | 0.61721
2012-05-01 | ADCP | 86 | A | TOTAL | 10 | 330 | 85.9 | 54.5 | 1.5761 | 1 | 1.8857 | 0.5723
2012-05-02 | ADCP | 86 | B | TOTAL | 10 | 330 | 92.6 | 58.3 | 1.5883 | 1 | 2.0599 | 0.56952
2012-05-02 | 65 | 93 | A | TOTAL | 10 | 330 | 116 | 73.5 | 1.5782 | 1 | 2.5523 | 0.76261
2012-05-02 | 65 | 93 | B | TOTAL | 10 | 330 | 97.7 | 62.2 | 1.5707 | 1 | 2.132 | 0.67335
2012-05-01 | 65 | 94 | A | TOTAL | 10 | 330 | 146 | 90.6 | 1.6115 | 1 | 3.3271 | 0.75913
2012-05-03 | 65 | 94 | B | TOTAL | 10 | 330 | 117 | 71.9 | 1.6273 | 1 | 2.7085 | 0.53431
2012-05-03 | 65 | 96 | A | TOTAL | 10 | 330 | 125 | 76.5 | 1.634 | 1 | 2.9127 | 0.53758
2012-05-03 | 65 | 96 | B | TOTAL | 10 | 330 | 126 | 80.5 | 1.5652 | 1 | 2.7325 | 0.89816
2012-05-03 | 62 | 104 | A | TOTAL | 10 | 330 | 70.4 | 47.1 | 1.4947 | 1 | 1.3993 | 0.72499
2012-05-03 | 62 | 104 | B | TOTAL | 10 | 330 | 64.2 | 42.6 | 1.507 | 1 | 1.2972 | 0.62413
2012-05-01 | 62 | 105 | A | TOTAL | 10 | 330 | 72.1 | 48.2 | 1.4959 | 1 | 1.4353 | 0.73857
2012-05-02 | 62 | 105 | B | TOTAL | 10 | 330 | 76.6 | 49.9 | 1.5351 | 1 | 1.6035 | 0.64709
2012-05-02 | 62 | 107 | A | TOTAL | 10 | 330 | 67.8 | 45.4 | 1.4934 | 1 | 1.3452 | 0.70237
2012-05-02 | 62 | 107 | B | TOTAL | 10 | 330 | 67.6 | 44.9 | 1.5056 | 1 | 1.3633 | 0.6618
2012-05-02 | 56 | 118 | A | TOTAL | 10 | 330 | 142 | 93.4 | 1.5203 | 1 | 2.9187 | 1.2938
2012-05-03 | 56 | 118 | B | TOTAL | 10 | 330 | 145 | 92.9 | 1.5608 | 1 | 3.1289 | 1.0611
2012-05-03 | 56 | 119 | A | TOTAL | 10 | 330 | 223 | 141 | 1.5816 | 1 | 4.9245 | 1.4348
2012-05-03 | 56 | 119 | B | TOTAL | 10 | 330 | 224 | 142 | 1.5775 | 1 | 4.9245 | 1.4799
2012-05-03 | 56 | 121 | A | TOTAL | 10 | 330 | 316 | 196 | 1.6122 | 1 | 7.2066 | 1.6333
2012-05-03 | 56 | 121 | B | TOTAL | 10 | 330 | 327 | 205 | 1.5951 | 1 | 7.3267 | 1.9191
2012-05-03 | 46 | 130 | A | TOTAL | 10 | 330 | 167 | 108 | 1.5463 | 1 | 3.5433 | 1.3277
2012-05-03 | 46 | 130 | B | TOTAL | 10 | 330 | 170 | 110 | 1.5455 | 1 | 3.6033 | 1.3578
2012-05-01 | 46 | 131 | A | TOTAL | 10 | 330 | 348 | 220 | 1.5818 | 1 | 7.6871 | 2.2353
2012-05-03 | 46 | 131 | B | TOTAL | 20 | 330 | 192 | 120 | 1.6 | 1 | 8.648 | 2.1764
2012-05-01 | 46 | 133 | A | TOTAL | 20 | 330 | 590 | 355 | 1.662 | 1 | 28.226 | 3.7961
2012-05-03 | 46 | 133 | B | TOTAL | 20 | 330 | 157 | 94.4 | 1.6631 | 4 | 30.0757 | 3.985
2012-05-02 | 42 | 146 | A | TOTAL | 10 | 330 | 201 | 130 | 1.5462 | 1 | 4.2639 | 1.5993
2012-05-01 | 42 | 146 | B | TOTAL | 10 | 330 | 190 | 125 | 1.52 | 1 | 3.9036 | 1.7341
2012-05-02 | 42 | 147 | A | TOTAL | 10 | 330 | 371 | 234 | 1.5855 | 1 | 8.2276 | 2.3262
2012-05-03 | 42 | 147 | B | TOTAL | 20 | 330 | 192 | 121 | 1.5868 | 1 | 8.5278 | 2.3867
2012-05-03 | 42 | 149 | A | TOTAL | 20 | 330 | 159 | 96 | 1.6562 | 4 | 30.2679 | 4.3701
2012-05-03 | 42 | 149 | B | TOTAL | 20 | 330 | 573 | 343 | 1.6706 | 1 | 27.6254 | 3.3142
2012-05-03 | 39 | 163 | A | TOTAL | 10 | 330 | 410 | 261 | 1.5709 | 1 | 8.9482 | 2.8233
2012-05-03 | 39 | 163 | B | TOTAL | 10 | 330 | 406 | 259 | 1.5676 | 1 | 8.8281 | 2.8532
2012-05-02 | 39 | 164 | A | TOTAL | 20 | 330 | 315 | 194 | 1.6237 | 1 | 14.5334 | 2.966
2012-05-01 | 39 | 164 | B | TOTAL | 10 | 330 | 171 | 107 | 1.5981 | 4 | 15.3742 | 3.9293
2012-05-01 | 39 | 164 | B | TOTAL | 10 | 330 | 174 | 105 | 1.6571 | 4 | 16.5753 | 2.3674 |  | same sample run again on 2nd aliquot
2012-05-02 | 39 | 166 | A | TOTAL | 20 | 330 | 485 | 293 | 1.6553 | 1 | 23.0612 | 3.3683
2012-05-02 | 39 | 166 | B | TOTAL | 20 | 330 | 535 | 320 | 1.6719 | 1 | 25.8238 | 3.0412
2012-05-02 | 27 | 179 | A | TOTAL | 10 | 330 | 185 | 97.7 | 1.8936 | 4 | 20.9713 | -3.3456
2012-05-03 | 27 | 179 | A | TOTAL | 20 | 330 | 356 | 226 | 1.5752 | 1 | 15.6144 | 4.7715
2012-05-03 | 27 | 180 | A | TOTAL | 20 | 330 | 429 | 271 | 1.583 | 1 | 18.9775 | 5.4676
2012-05-03 | 27 | 180 | B | TOTAL | 20 | 330 | 424 | 269 | 1.5762 | 1 | 18.6171 | 5.6475
2012-05-03 | 27 | 182 | A | TOTAL | 20 | 330 | 302 | 187 | 1.615 | 1 | 13.8127 | 3.0553
2012-05-03 | 27 | 182 | B | TOTAL | 10 | 330 | 569 | 343 | 1.6589 | 1 | 13.5725 | 1.8973
2012-05-02 | 2 | 195 | A | TOTAL | 10 | 330 | 142 | 99.1 | 1.4329 | 1 | 2.5764 | 1.8932
2012-05-02 | 2 | 195 | B | TOTAL | 10 | 330 | 161 | 112 | 1.4375 | 1 | 2.9427 | 2.1087
2012-05-02 | 2 | 196 | A | TOTAL | 10 | 330 | 313 | 214 | 1.4626 | 1 | 5.9455 | 3.7063
2012-05-02 | 2 | 196 | B | TOTAL | 10 | 330 | 294 | 192 | 1.5312 | 1 | 6.1256 | 2.5339
2012-05-02 | 2 | 198 | A | TOTAL | 10 | 330 | 508 | 307 | 1.6547 | 1 | 12.0711 | 1.7751
2012-05-03 | 2 | 198 | B | TOTAL | 10 | 330 | 503 | 307 | 1.6384 | 1 | 11.7708 | 2.0753
2012-05-03 | 3 | 211 | A | TOTAL | 10 | 330 | 389 | 244 | 1.5943 | 1 | 8.708 | 2.2968
2012-05-03 | 3 | 211 | B | TOTAL | 10 | 330 | 359 | 224 | 1.6027 | 1 | 8.1075 | 1.9953
2012-05-03 | 3 | 212 | A | TOTAL | 20 | 330 | 364 | 227 | 1.6035 | 1 | 16.4551 | 4.0209
2012-05-03 | 3 | 212 | B | TOTAL | 20 | 330 | 369 | 230 | 1.6043 | 1 | 16.6954 | 4.0513
2012-05-01 | 3 | 214 | A | TOTAL | 20 | 330 | 251 | 140 | 1.7929 | 4 | 53.3291 | -2.8154
2012-05-01 | 3 | 214 | B | TOTAL | 20 | 330 | 222 | 137 | 1.6204 | 4 | 40.8376 | 8.5937
2012-05-01 | 6 | 224 | A | TOTAL | 10 | 330 | 156 | 104 | 1.5 | 1 | 3.1229 | 1.5677
2012-05-01 | 6 | 224 | B | TOTAL | 10 | 330 | 154 | 101 | 1.5248 | 1 | 3.1829 | 1.3723
2012-05-01 | 6 | 225 | A | TOTAL | 10 | 330 | 346 | 220 | 1.5727 | 1 | 7.567 | 2.3554
2012-05-01 | 6 | 225 | B | TOTAL | 10 | 330 | 326 | 205 | 1.5902 | 1 | 7.2667 | 1.9791
2012-05-02 | 6 | 227 | A | TOTAL | 20 | 330 | 342 | 209 | 1.6364 | 1 | 15.9747 | 2.8777
2012-05-02 | 6 | 227 | B | TOTAL | 20 | 330 | 332 | 208 | 1.5962 | 1 | 14.8937 | 3.8685
2012-05-01 | 9 | 236 | A | TOTAL | 10 | 330 | 273 | 171 | 1.5965 | 1 | 6.1256 | 1.5867
2012-05-01 | 9 | 236 | B | TOTAL | 10 | 330 | 287 | 178 | 1.6124 | 1 | 6.546 | 1.482
2012-05-02 | 9 | 237 | A | TOTAL | 10 | 330 | 383 | 247 | 1.5506 | 1 | 8.1675 | 2.9726
2012-05-02 | 9 | 237 | B | TOTAL | 10 | 330 | 396 | 242 | 1.6364 | 1 | 9.2485 | 1.6661
2012-05-01 | 9 | 239 | A | TOTAL | 10 | 330 | 250 | 145 | 1.7241 | 4 | 25.2232 | 0.93566
2012-05-02 | 9 | 239 | B | TOTAL | 10 | 330 | 321 | 144 | 2.2292 | 4 | 42.5191 | -16.5407
2012-05-01 | 12 | 252 | A | TOTAL | 10 | 330 | 82.5 | 54.4 | 1.5165 | 1 | 1.6876 | 0.76597
2012-05-02 | 12 | 252 | B | TOTAL | 10 | 330 | 74.8 | 48.5 | 1.5423 | 1 | 1.5795 | 0.60797
2012-05-01 | 12 | 253 | A | TOTAL | 10 | 330 | 143 | 88.7 | 1.6122 | 1 | 3.261 | 0.7395
2012-05-02 | 12 | 253 | B | TOTAL | 10 | 330 | 125 | 77.6 | 1.6108 | 1 | 2.8466 | 0.65326
2012-05-01 | 12 | 255 | A | TOTAL | 20 | 330 | 379 | 229 | 1.655 | 1 | 18.0166 | 2.6399
2012-05-01 | 12 | 255 | B | TOTAL | 10 | 330 | 195 | 115 | 1.6957 | 4 | 19.2177 | 1.529
2012-05-01 | 14 | 267 | A | TOTAL | 10 | 330 | 85.4 | 54.5 | 1.567 | 1 | 1.8557 | 0.60232
2012-05-02 | 14 | 267 | B | TOTAL | 10 | 330 | 88.3 | 55.8 | 1.5824 | 1 | 1.9518 | 0.56487
2012-05-01 | 14 | 268 | A | TOTAL | 10 | 330 | 125 | 78.1 | 1.6005 | 1 | 2.8166 | 0.70584
2012-05-02 | 14 | 268 | B | TOTAL | 10 | 330 | 114 | 70.4 | 1.6193 | 1 | 2.6184 | 0.55674
2012-05-02 | 14 | 270 | A | TOTAL | 10 | 330 | 114 | 70.5 | 1.617 | 1 | 2.6124 | 0.56725
2012-05-01 | 14 | 270 | B | TOTAL | 10 | 330 | 118 | 73.3 | 1.6098 | 1 | 2.6845 | 0.62147
2012-05-01 | 16 | 278 | A | TOTAL | 10 | 330 | 63.7 | 42.7 | 1.4918 | 1 | 1.2612 | 0.66467
2012-05-01 | 16 | 278 | B | TOTAL | 10 | 330 | 60.4 | 40.9 | 1.4768 | 1 | 1.1711 | 0.67357
2012-05-02 | 16 | 279 | A | TOTAL | 10 | 330 | 56.6 | 37.8 | 1.4974 | 1 | 1.129 | 0.5758
2012-05-02 | 16 | 279 | B | TOTAL | 10 | 330 | 54.6 | 37.1 | 1.4717 | 1 | 1.051 | 0.6223
2012-05-01 | 16 | 281 | A | TOTAL | 10 | 330 | 128 | 80.5 | 1.5901 | 1 | 2.8526 | 0.77805
2012-05-01 | 16 | 281 | B | TOTAL | 10 | 330 | 125 | 79.5 | 1.5723 | 1 | 2.7325 | 0.85306
2012-05-02 | 44 | 301 | A | TOTAL | 10 | 330 | 68.7 | 49.5 | 1.3879 | 1 | 1.1531 | 1.0795 |  | sample #'s assigned after cruise
2012-05-02 | 44 | 301 | B | TOTAL | 20 | 330 | 35 | 25.4 | 1.378 | 1 | 1.1531 | 1.1381 |  | sample #'s assigned after cruise
2012-05-01 | 44 | 302 | A | TOTAL | 10 | 330 | 83.2 | 56.8 | 1.4648 | 1 | 1.5855 | 0.97631 |  | sample #'s assigned after cruise
2012-05-02 | 44 | 302 | B | TOTAL | 10 | 330 | 71.4 | 50.7 | 1.4083 | 1 | 1.2431 | 1.0435 |  | sample #'s assigned after cruise
2012-05-02 | 44 | 303 | A | TOTAL | 20 | 330 | 204 | 101 | 2.0198 | 4 | 49.4856 | -13.0435 |  | sample #'s assigned after cruise
2012-05-03 | 44 | 303 | B | TOTAL | 20 | 330 | 174 | 95.5 | 1.822 | 4 | 37.7147 | -3.2572 |  | sample #'s assigned after cruise
2012-05-01 | CC-EEE |  | A | TOTAL | 10 | 330 | 128 | 79.6 | 1.608 | 1 | 2.9067 | 0.68341
2012-05-01 | CC-EEE |  | B | TOTAL | 10 | 330 | 131 | 83 | 1.5783 | 1 | 2.8827 | 0.86077
2012-05-01 | BUOY 134 | 0M |  | TOTAL | 10 | 200 | 33.1 | 22.1 | 1.4977 | 1 | 1.09 | 0.55462
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!
[11 empty] | #DIV/0! | #DIV/0!

## %CV
Cruise
Average of two samples is reported. Variability is assessed as the % (std dev/mean*100).
Analysis date | Latitude | Longitude | Event | Station | Sample | rep | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | FLAG:CHL | Flag Comments for Archive
2012-05-02 |  |  | 2 | SI | 6 | A | 20 | 0.8708 | 1.1182 | 1.0269 | 21.5% | 1.0269 | 1.1244 | 0.78254 | 36 | variability of reps >15% CV | 6 | 20
2012-05-01 |  |  | 2 | SI | 6 | B | 20 | 1.1831 | 1.1306 | [7 empty] | 6 | 20
2012-05-02 |  |  | 2 | SI | 7 | A | 10 | 2.0179 | 1.022 | 2.2641 | 15.38% | 2.2641 | 1.1095 | 11.1561 | 36 | variability of reps >15% CV
2012-05-01 |  |  | 2 | SI | 7 | B | 10 | 2.5103 | 1.197
2012-05-02 |  |  | 2 | SI | 9 | A | 0 | 17.2959 | 2.9998 | 17.5361 | 1.937% | 17.5361 | 2.7144 | 14.8652 | 6
2012-05-01 |  |  | 2 | SI | 9 | B | 0 | 17.7764 | 2.4291
2012-05-03 |  |  | 4 | 59 | 20 | A | 20 | 0.64259 | 0.78262 | 0.66661 | 5.096% | 0.66661 | 0.77212 | 1.9216 | 6
2012-05-03 |  |  | 4 | 59 | 20 | B | 20 | 0.69064 | 0.76163
2012-05-03 |  |  | 4 | 59 | 21 | A | 10 | 0.80474 | 0.83695 | 0.79273 | 2.143% | 0.79273 | 0.82867 | 1.4139 | 6
2012-05-03 |  |  | 4 | 59 | 21 | B | 10 | 0.78072 | 0.82039
2012-05-01 |  |  | 4 | 59 | 23 | A | 0 | 0.95488 | 0.80408 | 0.92485 | 4.592% | 0.92485 | 0.8093 | 0.91248 | 6
2012-05-02 |  |  | 4 | 59 | 23 | B | 0 | 0.89482 | 0.81452 | [7 empty] | 23 | 0
2012-05-01 |  |  | 8 | 102 | 34 | A | 20 | 0.51047 | 0.68021 | 0.48345 | 7.906% | 0.48345 | 0.6486 | 6.8916 | 6 |  | 35 | 20
2012-05-01 |  |  | 8 | 102 | 34 | B | 20 | 0.45642 | 0.617 | [7 empty] | 35 | 20
2012-05-02 |  |  | 8 | 102 | 35 | A | 10 | 1.045 | 0.82675 | 1.081 | 4.714% | 1.081 | 0.8065 | 3.5504 | 6 |  | 36 | 10
2012-05-02 |  |  | 8 | 102 | 35 | B | 10 | 1.117 | 0.78626 | [7 empty] | 36 | 10
2012-05-01 |  |  | 8 | 102 | 37 | A | 0 | 0.90683 | 0.63564 | 0.96989 | 9.195% | 0.96989 | 0.59738 | 9.0556 | 6 |  | 38 | 0
2012-05-03 |  |  | 8 | 102 | 37 | B | 0 | 1.033 | 0.55913 | [7 empty] | 38 | 0
2012-05-03 |  |  | 11 | 75 | 48 | A | 20 | 0.67862 | 0.61579 | 0.69064 | 2.46% | 0.69064 | 0.65564 | 8.5968 | 6 |  | 49 | 20
2012-05-03 |  |  | 11 | 75 | 48 | B | 20 | 0.70265 | 0.6955 | [7 empty] | 49 | 20
2012-05-02 |  |  | 11 | 75 | 49 | A | 10 | 1.2552 | 0.82402 | 1.2582 | 0.3375% | 1.2582 | 0.83004 | 1.0253 | 6 |  | 50 | 10
2012-05-01 |  |  | 11 | 75 | 49 | B | 10 | 1.2612 | 0.83606 | [7 empty] | 50 | 10
2012-05-02 |  |  | 11 | 75 | 51 | A | 0 | 1.6215 | 0.5073 | 1.6125 | 0.7901% | 1.6125 | 0.55239 | 11.5437 | 6 |  | 52 | 0
2012-05-01 |  |  | 11 | 75 | 51 | B | 0 | 1.6035 | 0.59748 | [7 empty] | 52 | 0
2012-05-01 |  |  | 14 | 72 | 61 | A | 20 | 0.89482 | 0.71981 | 0.89182 | 0.4762% | 0.89182 | 0.73409 | 2.7507 | 6 |  | 53 | 5
2012-05-02 |  |  | 14 | 72 | 61 | B | 20 | 0.88882 | 0.74837 | [7 empty] | 53 | 5
2012-05-01 |  |  | 14 | 72 | 62 | A | 10 | 3.7835 | 0.90707 | 3.8435 | 2.21% | 3.8435 | 0.86957 | 6.0995 | 6 |  | 63 | 20
2012-05-03 |  |  | 14 | 72 | 62 | B | 10 | 3.9036 | 0.83207 | [7 empty] | 63 | 20
2012-05-03 |  |  | 14 | 72 | 64 | A | 0 | 3.6273 | 0.45886 | 3.9156 | 10.41% | 3.9156 | 0.49532 | 10.4114 | 6 |  | 64 | 10
2012-05-03 |  |  | 14 | 72 | 64 | B | 0 | 4.2039 | 0.53179 | [7 empty] | 64 | 10
2012-05-01 |  |  | 17 | 69 | 74 | A | 20 | 1.8797 | 0.54222 | 1.8017 | 6.128% | 1.8017 | 0.5346 | 2.016 | 6 |  | 65 | 5
2012-05-01 |  |  | 17 | 69 | 74 | B | 20 | 1.7236 | 0.52698 | [7 empty] | 65 | 5
2012-05-01 |  |  | 17 | 69 | 75 | A | 10 | 3.297 | 0.5411 | 3.1589 | 6.184% | 3.1589 | 0.4898 | 14.8116 | 6 |  | 66 | 0
2012-05-02 |  |  | 17 | 69 | 75 | B | 10 | 3.0208 | 0.43851 | [7 empty] | 66 | 0
2012-05-02 |  |  | 17 | 69 | 76 | A | 0 | 2.12 | 0.6132 | 2.3452 | 13.58% | 2.3452 | 0.55938 | 13.6071 | 6 |  | 67 | 5
2012-05-03 |  |  | 17 | 69 | 76 | B | 0 | 2.5704 | 0.50556 | [7 empty] | 67 | 5
2012-05-03 |  |  | 20 | ADCP | 83 | A | 20 | 0.90083 | 0.59654 | 0.82876 | 12.3% | 0.82876 | 0.59419 | 0.55959 | 6 |  | 76 | 20
2012-05-03 |  |  | 20 | ADCP | 83 | B | 20 | 0.7567 | 0.59184 | [7 empty] | 76 | 20
2012-05-03 |  |  | 20 | ADCP | 84 | A | 10 | 1.9458 | 0.63853 | 1.8437 | 7.831% | 1.8437 | 0.62787 | 2.401 | 6 |  | 77 | 10
2012-05-03 |  |  | 20 | ADCP | 84 | B | 10 | 1.7416 | 0.61721 | [7 empty] | 77 | 10
2012-05-01 |  |  | 20 | ADCP | 86 | A | 0 | 1.8857 | 0.5723 | 1.9728 | 6.242% | 1.9728 | 0.57091 | 0.34365 | 6 |  | 79 | 0
2012-05-02 |  |  | 20 | ADCP | 86 | B | 0 | 2.0599 | 0.56952 | [7 empty] | 79 | 0
2012-05-02 |  |  | 24 | 65 | 93 | A | 20 | 2.5523 | 0.76261 | 2.3422 | 12.69% | 2.3422 | 0.71798 | 8.7908 | 6 |  | 86 | 20
2012-05-02 |  |  | 24 | 65 | 93 | B | 20 | 2.132 | 0.67335 | [7 empty] | 86 | 20
2012-05-01 |  |  | 24 | 65 | 94 | A | 10 | 3.3271 | 0.75913 | 3.0178 | 14.49% | 3.0178 | 0.64672 | 24.5822 | 6 |  | 87 | 10
2012-05-03 |  |  | 24 | 65 | 94 | B | 10 | 2.7085 | 0.53431 | [7 empty] | 87 | 10
2012-05-03 |  |  | 24 | 65 | 96 | A | 0 | 2.9127 | 0.53758 | 2.8226 | 4.513% | 2.8226 | 0.71787 | 35.5165 | 6 |  | 89 | 0
2012-05-03 |  |  | 24 | 65 | 96 | B | 0 | 2.7325 | 0.89816 | [7 empty] | 89 | 0
2012-05-03 |  |  | 27 | 62 | 104 | A | 20 | 1.3993 | 0.72499 | 1.3482 | 5.354% | 1.3482 | 0.67456 | 10.5729 | 6 |  | 96 | 20
2012-05-03 |  |  | 27 | 62 | 104 | B | 20 | 1.2972 | 0.62413 | [7 empty] | 96 | 20
2012-05-01 |  |  | 27 | 62 | 105 | A | 10 | 1.4353 | 0.73857 | 1.5194 | 7.826% | 1.5194 | 0.69283 | 9.3367 | 6 |  | 97 | 10
2012-05-02 |  |  | 27 | 62 | 105 | B | 10 | 1.6035 | 0.64709 | [7 empty] | 97 | 10
2012-05-02 |  |  | 27 | 62 | 107 | A | 0 | 1.3452 | 0.70237 | 1.3542 | 0.9407% | 1.3542 | 0.68209 | 4.2055 | 6 |  | 99 | 0
2012-05-02 |  |  | 27 | 62 | 107 | B | 0 | 1.3633 | 0.6618 | [7 empty] | 99 | 0
2012-05-02 |  |  | 32 | 56 | 118 | A | 20 | 2.9187 | 1.2938 | 3.0238 | 4.915% | 3.0238 | 1.1774 | 13.9776 | 6 |  | 107 | 20
2012-05-03 |  |  | 32 | 56 | 118 | B | 20 | 3.1289 | 1.0611 | [7 empty] | 107 | 20
2012-05-03 |  |  | 32 | 56 | 119 | A | 10 | 4.9245 | 1.4348 | 4.9245 | 0% | 4.9245 | 1.4573 | 2.1884 | 6 |  | 108 | 10
2012-05-03 |  |  | 32 | 56 | 119 | B | 10 | 4.9245 | 1.4799 | [7 empty] | 108 | 10
2012-05-03 |  |  | 32 | 56 | 121 | A | 0 | 7.2066 | 1.6333 | 7.2667 | 1.169% | 7.2667 | 1.7762 | 11.3781 | 6 |  | 110 | 0
2012-05-03 |  |  | 32 | 56 | 121 | B | 0 | 7.3267 | 1.9191 | [7 empty] | 110 | 0
2012-05-03 |  |  | 42 | 46 | 130 | A | 20 | 3.5433 | 1.3277 | 3.5733 | 1.188% | 3.5733 | 1.3428 | 1.5876 | 6 |  | 120 | 20
2012-05-03 |  |  | 42 | 46 | 130 | B | 20 | 3.6033 | 1.3578 | [7 empty] | 120 | 20
2012-05-01 |  |  | 42 | 46 | 131 | A | 10 | 7.6871 | 2.2353 | 8.1675 | 8.319% | 8.1675 | 2.2058 | 1.8866 | 6 |  | 121 | 10
2012-05-03 |  |  | 42 | 46 | 131 | B | 10 | 8.648 | 2.1764 | [7 empty] | 121 | 10
2012-05-01 |  |  | 42 | 46 | 133 | A | 0 | 28.226 | 3.7961 | 29.1508 | 4.487% | 29.1508 | 3.8905 | 3.433 | 6 |  | 123 | 0
2012-05-03 |  |  | 42 | 46 | 133 | B | 0 | 30.0757 | 3.985 | [7 empty] | 123 | 0
2012-05-02 |  |  | 46 | 42 | 146 | A | 20 | 4.2639 | 1.5993 | 4.0838 | 6.239% | 4.0838 | 1.6667 | 5.72 | 6 |  | 124 | 5
2012-05-01 |  |  | 46 | 42 | 146 | B | 20 | 3.9036 | 1.7341 | [7 empty] | 124 | 5
2012-05-02 |  |  | 46 | 42 | 147 | A | 10 | 8.2276 | 2.3262 | 8.3777 | 2.534% | 8.3777 | 2.3564 | 1.8165 | 6 |  | 125 | 5
2012-05-03 |  |  | 46 | 42 | 147 | B | 10 | 8.5278 | 2.3867 | [7 empty] | 125 | 5
2012-05-03 |  |  | 46 | 42 | 149 | A | 0 | 30.2679 | 4.3701 | 28.9466 | 6.455% | 28.9466 | 3.8422 | 19.4325 | 6 |  | 126 | 5
2012-05-03 |  |  | 46 | 42 | 149 | B | 0 | 27.6254 | 3.3142 | [7 empty] | 126 | 5
2012-05-03 |  |  | 51 | 39 | 163 | A | 20 | 8.9482 | 2.8233 | 8.8882 | 0.9555% | 8.8882 | 2.8382 | 0.74511 | 6 |  | 135 | 20
2012-05-03 |  |  | 51 | 39 | 163 | B | 20 | 8.8281 | 2.8532 | [7 empty] | 135 | 20
2012-05-02 |  |  | 51 | 39 | 164 | A | 10 | 14.5334 | 2.966 | 14.9538 | 3.976% | 14.9538 | 3.4477 | 19.7568 | 6 |  | 136 | 10
2012-05-01 |  |  | 51 | 39 | 164 | B | 10 | 15.3742 | 3.9293 | [7 empty] | 136 | 10
2012-05-01 |  |  | 51 | 39 | 164 | B | 10 | 16.5753 | 2.3674 | [7 empty] | 137 | 5
2012-05-02 |  |  | 51 | 39 | 166 | A | 0 | 23.0612 | 3.3683 | 24.4425 | 7.992% | 24.4425 | 3.2047 | 7.2164 | 6 |  | 137 | 5
2012-05-02 |  |  | 51 | 39 | 166 | B | 0 | 25.8238 | 3.0412 | [7 empty] | 138 | 0
2012-05-02 |  |  | 54 | 27 | 179 | A | 20 | 20.9713 | -3.3456 | 18.2928 | 20.71% | 18.2928 | 0.71294 | 805.0727 | 36 | variability of reps >15% CV | 138 | 0
2012-05-03 |  |  | 54 | 27 | 179 | A | 20 | 15.6144 | 4.7715 | [7 empty] | 139 | 5
2012-05-03 |  |  | 54 | 27 | 180 | A | 10 | 18.9775 | 5.4676 | 18.7973 | 1.355% | 18.7973 | 5.5575 | 2.2893 | 6 |  | 139 | 5
2012-05-03 |  |  | 54 | 27 | 180 | B | 10 | 18.6171 | 5.6475 | [7 empty] | 140 | 5
2012-05-03 |  |  | 54 | 27 | 182 | A | 0 | 13.8127 | 3.0553 | 13.6926 | 1.241% | 13.6926 | 2.4763 | 33.0647 | 6 |  | 140 | 5
2012-05-03 |  |  | 54 | 27 | 182 | B | 0 | 13.5725 | 1.8973 | [7 empty] | 153 | 20
2012-05-02 |  |  | 58 | 2 | 195 | A | 20 | 2.5764 | 1.8932 | 2.7595 | 9.387% | 2.7595 | 2.0009 | 7.6146 | 6 |  | 153 | 20
2012-05-02 |  |  | 58 | 2 | 195 | B | 20 | 2.9427 | 2.1087 | [7 empty] | 154 | 10
2012-05-02 |  |  | 58 | 2 | 196 | A | 10 | 5.9455 | 3.7063 | 6.0356 | 2.111% | 6.0356 | 3.1201 | 26.5704 | 6 |  | 154 | 10
2012-05-02 |  |  | 58 | 2 | 196 | B | 10 | 6.1256 | 2.5339 | [7 empty] | 155 | 5
2012-05-02 |  |  | 58 | 2 | 198 | A | 0 | 12.0711 | 1.7751 | 11.921 | 1.781% | 11.921 | 1.9252 | 11.0289 | 6 |  | 155 | 5
2012-05-03 |  |  | 58 | 2 | 198 | B | 0 | 11.7708 | 2.0753 | [7 empty] | 156 | 0
2012-05-03 |  |  | 61 | 3 | 211 | A | 20 | 8.708 | 2.2968 | 8.4077 | 5.051% | 8.4077 | 2.146 | 9.9336 | 6 |  | 156 | 0
2012-05-03 |  |  | 61 | 3 | 211 | B | 20 | 8.1075 | 1.9953 | [7 empty] | 157 | 0
2012-05-03 |  |  | 61 | 3 | 212 | A | 10 | 16.4551 | 4.0209 | 16.5753 | 1.025% | 16.5753 | 4.0361 | 0.53238 | 6 |  | 157 | 0
2012-05-03 |  |  | 61 | 3 | 212 | B | 10 | 16.6954 | 4.0513 | [7 empty] | 158 | 10
2012-05-01 |  |  | 61 | 3 | 214 | A | 0 | 53.3291 | -2.8154 | 47.0833 | 18.76% | 47.0833 | 2.8891 | 279.2328 | 36 | variability of reps >15% CV | 158 | 10
2012-05-01 |  |  | 61 | 3 | 214 | B | 0 | 40.8376 | 8.5937 | [7 empty] | 159 | 2
2012-05-01 |  |  | 63 | 6 | 224 | A | 30 | 3.1229 | 1.5677 | 3.1529 | 1.347% | 3.1529 | 1.47 | 9.3973 | 6 |  | 159 | 2
2012-05-01 |  |  | 63 | 6 | 224 | B | 30 | 3.1829 | 1.3723 | [7 empty] | 173 | 20
2012-05-01 |  |  | 63 | 6 | 225 | A | 20 | 7.567 | 2.3554 | 7.4168 | 2.863% | 7.4168 | 2.1672 | 12.2758 | 6 |  | 173 | 20
2012-05-01 |  |  | 63 | 6 | 225 | B | 20 | 7.2667 | 1.9791 | [7 empty] | 174 | 10
2012-05-02 |  |  | 63 | 6 | 227 | A | 5 | 15.9747 | 2.8777 | 15.4342 | 4.952% | 15.4342 | 3.3731 | 20.7699 | 6 |  | 174 | 10
2012-05-02 |  |  | 63 | 6 | 227 | B | 5 | 14.8937 | 3.8685 | [7 empty] | 175 | 5
2012-05-01 |  |  | 67 | 9 | 236 | A | 20 | 6.1256 | 1.5867 | 6.3358 | 4.692% | 6.3358 | 1.5344 | 4.8239 | 6 |  | 175 | 5
2012-05-01 |  |  | 67 | 9 | 236 | B | 20 | 6.546 | 1.482 | [7 empty] | 176 | 0
2012-05-02 |  |  | 67 | 9 | 237 | A | 10 | 8.1675 | 2.9726 | 8.708 | 8.778% | 8.708 | 2.3193 | 39.8325 | 6 |  | 176 | 0
2012-05-02 |  |  | 67 | 9 | 237 | B | 10 | 9.2485 | 1.6661 | [7 empty] | 190 | 20
2012-05-01 |  |  | 67 | 9 | 239 | A | 0 | 25.2232 | 0.93566 | 33.8712 | 36.11% | 33.8712 | -7.8025 | -158.3803 | 36 | variability of reps >15% CV | 190 | 20
2012-05-02 |  |  | 67 | 9 | 239 | B | 0 | 42.5191 | -16.5407 | [7 empty] | 191 | 10
2012-05-01 |  |  | 70 | 12 | 252 | A | 20 | 1.6876 | 0.76597 | 1.6335 | 4.679% | 1.6335 | 0.68697 | 16.2631 | 6 |  | 191 | 10
2012-05-02 |  |  | 70 | 12 | 252 | B | 20 | 1.5795 | 0.60797 | [7 empty] | 192 | 5
2012-05-01 |  |  | 70 | 12 | 253 | A | 10 | 3.261 | 0.7395 | 3.0538 | 9.595% | 3.0538 | 0.69638 | 8.7574 | 6 |  | 192 | 5
2012-05-02 |  |  | 70 | 12 | 253 | B | 10 | 2.8466 | 0.65326 | [7 empty] | 193 | 0
2012-05-01 |  |  | 70 | 12 | 255 | A | 0 | 18.0166 | 2.6399 | 18.6171 | 4.562% | 18.6171 | 2.0845 | 37.6849 | 6 |  | 193 | 0
2012-05-01 |  |  | 70 | 12 | 255 | B | 0 | 19.2177 | 1.529 | [7 empty] | 207 | 20
2012-05-01 |  |  | 72 | 14 | 267 | A | 20 | 1.8557 | 0.60232 | 1.9038 | 3.569% | 1.9038 | 0.5836 | 4.5384 | 6 |  | 207 | 20
2012-05-02 |  |  | 72 | 14 | 267 | B | 20 | 1.9518 | 0.56487 | [7 empty] | 208 | 10
2012-05-01 |  |  | 72 | 14 | 268 | A | 10 | 2.8166 | 0.70584 | 2.7175 | 5.157% | 2.7175 | 0.63129 | 16.7007 | 6 |  | 208 | 10
2012-05-02 |  |  | 72 | 14 | 268 | B | 10 | 2.6184 | 0.55674 | [7 empty] | 210 | 0
2012-05-02 |  |  | 72 | 14 | 270 | A | 0 | 2.6124 | 0.56725 | 2.6484 | 1.924% | 2.6484 | 0.59436 | 6.4503 | 6 |  | 210 | 0
2012-05-01 |  |  | 72 | 14 | 270 | B | 0 | 2.6845 | 0.62147 | [7 empty] | 223 | 20
2012-05-01 |  |  | 75 | 16 | 278 | A | 20 | 1.2612 | 0.66467 | 1.2161 | 5.238% | 1.2161 | 0.66912 | 0.94054 | 6 |  | 223 | 20
2012-05-01 |  |  | 75 | 16 | 278 | B | 20 | 1.1711 | 0.67357 | [7 empty] | 224 | 10
2012-05-02 |  |  | 75 | 16 | 279 | A | 10 | 1.129 | 0.5758 | 1.09 | 5.065% | 1.09 | 0.59905 | 5.4889 | 6 |  | 224 | 10
2012-05-02 |  |  | 75 | 16 | 279 | B | 10 | 1.051 | 0.6223 | [7 empty] | 226 | 0
2012-05-01 |  |  | 75 | 16 | 281 | A | 0 | 2.8526 | 0.77805 | 2.7926 | 3.041% | 2.7926 | 0.81555 | 6.5035 | 6 |  | 226 | 0
2012-05-01 |  |  | 75 | 16 | 281 | B | 0 | 2.7325 | 0.85306 | [7 empty] | 236 | 20
2012-05-02 |  |  | 39 | 44 | 301 | A | 20 | 1.1531 | 1.0795 | 1.1531 | 0% | 1.1531 | 1.1088 | 3.7392 | 6 |  | 236 | 20
2012-05-02 |  |  | 39 | 44 | 301 | B | 20 | 1.1531 | 1.1381 | [7 empty] | 237 | 10
2012-05-01 |  |  | 39 | 44 | 302 | A | 10 | 1.5855 | 0.97631 | 1.4143 | 17.11% | 1.4143 | 1.0099 | 4.7049 | 36 | variability of reps >15% CV | 237 | 10
2012-05-02 |  |  | 39 | 44 | 302 | B | 10 | 1.2431 | 1.0435 | [7 empty] | 239 | 0
2012-05-02 |  |  | 39 | 44 | 303 | A | 5 | 49.4856 | -13.0435 | 43.6001 | 19.09% | 43.6001 | -8.1503 | -84.9045 | 36 | variability of reps >15% CV | 239 | 0
2012-05-03 |  |  | 39 | 44 | 303 | B | 5 | 37.7147 | -3.2572 | [7 empty] | 248 | 20
2012-05-01 |  |  |  | CC-EEE | 0 | A |  | 2.9067 | 0.68341 | 2.8947 | 0.5868% | 2.8947 | 0.77209 | 16.2439 | 6 |  | 248 | 20
2012-05-01 |  |  |  | CC-EEE | 0 | B |  | 2.8827 | 0.86077 | [7 empty] | 249 | 10
2012-05-01 |  |  |  | BUOY 134 | 0M | 0 |  | 1.09 | 0.55462 | [7 empty] | 249 | 10
[10 empty] | average | 6.586%

## Stn 44 fluor comp
event | station | Sample # | rep | depth | chl:extracted | phaeo | SeaPoint | Eco
39 | 44 | 301 | A | 20 | 1.1531 | 1.0795 | 0.731 | 0.827
39 | 44 | 301 | B | 20 | 1.1531 | 1.1381 | 0.731 | 0.827
39 | 44 | 302 | A | 10 | 1.5855 | 0.97631 | 0.623 | 0.735
39 | 44 | 302 | B | 10 | 1.2431 | 1.0435 | 0.623 | 0.735
39 | 44 | 303 | A | 5 | 49.4856 | -13.0435 | 6.379 | 9.725
39 | 44 | 303 | B | 5 | 37.7147 | -3.2572 | 6.379 | 9.725