## File List
Number of Files= |  | 21
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2012-06-0001.mrg | 2012-06-0001.sam | 12 | 12 | 2012-06-0001.mrg & 2012-06-0001.sam
2 | 2012-06-0003.mrg | 2012-06-0003.sam | 14 | 14 | 2012-06-0003.mrg & 2012-06-0003.sam
3 | 2012-06-0007.mrg | 2012-06-0007.sam | 16 | 16 | 2012-06-0007.mrg & 2012-06-0007.sam
4 | 2012-06-0010.mrg | 2012-06-0010.sam | 18 | 18 | 2012-06-0010.mrg & 2012-06-0010.sam
5 | 2012-06-0013.mrg | 2012-06-0013.sam | 20 | 20 | 2012-06-0013.mrg & 2012-06-0013.sam
6 | 2012-06-0016.mrg | 2012-06-0016.sam | 22 | 22 | 2012-06-0016.mrg & 2012-06-0016.sam
7 | 2012-06-0019.mrg | 2012-06-0019.sam | 24 | 24 | 2012-06-0019.mrg & 2012-06-0019.sam
8 | 2012-06-0023.mrg | 2012-06-0023.sam | 26 | 26 | 2012-06-0023.mrg & 2012-06-0023.sam
9 | 2012-06-0026.mrg | 2012-06-0026.sam | 28 | 28 | 2012-06-0026.mrg & 2012-06-0026.sam
10 | 2012-06-0031.mrg | 2012-06-0031.sam | 30 | 30 | 2012-06-0031.mrg & 2012-06-0031.sam
11 | 2012-06-0039.mrg | 2012-06-0039.sam | 32 | 32 | 2012-06-0039.mrg & 2012-06-0039.sam
12 | 2012-06-0043.mrg | 2012-06-0043.sam | 34 | 34 | 2012-06-0043.mrg & 2012-06-0043.sam
13 | 2012-06-0050.mrg | 2012-06-0050.sam | 36 | 36 | 2012-06-0050.mrg & 2012-06-0050.sam
14 | 2012-06-0055.mrg | 2012-06-0055.sam | 38 | 38 | 2012-06-0055.mrg & 2012-06-0055.sam
15 | 2012-06-0059.mrg | 2012-06-0059.sam | 40 | 40 | 2012-06-0059.mrg & 2012-06-0059.sam
16 | 2012-06-0064.mrg | 2012-06-0064.sam | 42 | 42 | 2012-06-0064.mrg & 2012-06-0064.sam
17 | 2012-06-0068.mrg | 2012-06-0068.sam | 44 | 44 | 2012-06-0068.mrg & 2012-06-0068.sam
18 | 2012-06-0071.mrg | 2012-06-0071.sam | 46 | 46 | 2012-06-0071.mrg & 2012-06-0071.sam
19 | 2012-06-0076.mrg | 2012-06-0076.sam | 48 | 48 | 2012-06-0076.mrg & 2012-06-0076.sam
20 | 2012-06-0082.mrg | 2012-06-0082.sam | 50 | 50 | 2012-06-0082.mrg & 2012-06-0082.sam
21 | 2012-06-0088.mrg | 2012-06-0088.sam | 52 | 52 | 2012-06-0088.mrg & 2012-06-0088.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.090219 |  | X | CALC Y
m= | -7.5387e-06 | 7.2181e-06 |  | Std Dev of Resid |  | 0.0019715 |  | 101.097 | -0.003244
b= | -0.0024818 | 0.0015679 |  | Resid Sum of Squares |  | 4.2756e-05 |  | 351.527 | -0.0051319
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 102.107 | 31.1489 | 0.00026778 | 0.022537 | -0.0032516 | -0.025789 |  | 203.774 | -0.0054321
2 | YES | 203.774 | 32.0911 | 0.005098 | -0.0054321 | -0.004018 | 0.0014141 |  | 202.497 | -0.0035477
3 | YES | 202.497 | 33.8772 | 0.00024243 | -0.0035477 | -0.0040084 | -0.00046073 |  | 201.897 | -0.0053635
4 | YES | 201.897 | 33.9023 | 0.00065573 | -0.0053635 | -0.0040039 | 0.0013596 |  | 176.073 | -0.0054588
5 | YES | 176.073 | 33.8623 | 0.00021217 | -0.0054588 | -0.0038092 | 0.0016496 |  | 150.988 | -0.0034332
6 | YES | 150.988 | 33.8597 | 0.00024071 | -0.0034332 | -0.0036201 | -0.00018685 |  | 101.097 | -0.0013428
7 | YES | 101.097 | 33.4817 | 0.009817 | -0.0013428 | -0.003244 | -0.0019012 |  | 101.283 | -0.0023842
8 | YES | 101.283 | 32.8545 | 0.00090208 | -0.0023842 | -0.0032454 | -0.00086118 |  | 126.31 | -0.0025673
9 | YES | 126.31 | 32.5388 | 0.00056208 | -0.0025673 | -0.003434 | -0.00086675 |  | 351.527 | -0.0012093
10 | NO | 201.338 | 31.3071 | 0.0026756 | -0.031946 | -0.0039997 | 0.027947 |  | 301.444 | -0.0068455
11 | NO | 151.235 | 30.8826 | 0.00046858 | -0.014084 | -0.0036219 | 0.010462 |  | 175.984 | -0.0054016
12 | NO | 301.395 | 31.1116 | 0.00032965 | -0.039612 | -0.004754 | 0.034858 |  | 301.083 | -0.0068626
13 | YES | 351.527 | 31.2882 | 0.0016399 | -0.0012093 | -0.0051319 | -0.0039226 |  | 252.619 | -0.002367 | -0.0040166 | 0.001979
14 | YES | 301.444 | 31.2021 | 0.00036882 | -0.0068455 | -0.0047543 | 0.0020911
15 | NO | 251.647 | 30.9733 | 0.00026572 | -0.020966 | -0.0043789 | 0.016587
16 | NO | 301.096 | 31.1215 | 0.00019399 | -0.01145 | -0.0047517 | 0.0066981
17 | YES | 175.984 | 30.7638 | 0.00024488 | -0.0054016 | -0.0038085 | 0.0015931
18 | NO | 150.933 | 30.6963 | 0.00029505 | -0.012592 | -0.0036197 | 0.0089726
19 | YES | 301.083 | 30.6986 | 0.00022983 | -0.0068626 | -0.0047516 | 0.002111
20 | YES | 252.619 | 30.6486 | 0.00035586 | -0.002367 | -0.0043863 | -0.0020192
21 | NO | 124.098 | 29.77 | 0.0030629 | -0.077242 | -0.0034174 | 0.073825
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.013946 |  | X | CALC Y
m= | -3.4017e-06 | 8.6243e-06 |  | Std Dev of Resid |  | 0.0023556 |  | 101.097 | -0.0021126
b= | -0.0017687 | 0.0018734 |  | Resid Sum of Squares |  | 6.1038e-05 |  | 351.527 | -0.0029645
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 102.107 | 31.1509 | 0.00033118 | 0.024475 | -0.002116 | -0.026591 |  | 203.774 | -0.004818
2 | YES | 203.774 | 32.0917 | 0.0048697 | -0.004818 | -0.0024619 | 0.0023561 |  | 202.497 | -0.0020905
3 | YES | 202.497 | 33.8786 | 0.00025194 | -0.0020905 | -0.0024575 | -0.00036707 |  | 201.897 | -0.0039253
4 | YES | 201.897 | 33.9038 | 0.00077412 | -0.0039253 | -0.0024555 | 0.0014698 |  | 176.073 | -0.0039558
5 | YES | 176.073 | 33.8638 | 0.0002442 | -0.0039558 | -0.0023676 | 0.0015882 |  | 150.988 | -0.0017357
6 | YES | 150.988 | 33.8614 | 0.00030685 | -0.0017357 | -0.0022823 | -0.00054661 |  | 101.097 | -0.00043869
7 | YES | 101.097 | 33.4826 | 0.010865 | -0.00043869 | -0.0021126 | -0.0016739 |  | 101.283 | -0.00065613
8 | YES | 101.283 | 32.8562 | 0.00067265 | -0.00065613 | -0.0021132 | -0.0014571 |  | 126.31 | -0.00088882
9 | YES | 126.31 | 32.5405 | 0.00043829 | -0.00088882 | -0.0021984 | -0.0013095 |  | 351.527 | 0.0020714
10 | NO | 201.338 | 31.3056 | 0.0015429 | -0.033432 | -0.0024536 | 0.030978 |  | 301.444 | -0.005333
11 | NO | 151.235 | 30.8878 | 0.00062522 | -0.0088558 | -0.0022831 | 0.0065727 |  | 175.984 | -0.0042133
12 | NO | 301.395 | 31.1134 | 0.0002657 | -0.037788 | -0.0027939 | 0.034994 |  | 301.083 | -0.0051308
13 | YES | 351.527 | 31.2915 | 0.0024917 | 0.0020714 | -0.0029645 | -0.0050359 |  | 252.619 | -0.00088119 | -0.0024612 | 0.0022712
14 | YES | 301.444 | 31.2036 | 0.00050285 | -0.005333 | -0.0027941 | 0.0025388
15 | NO | 251.647 | 30.9762 | 0.00043163 | -0.018148 | -0.0026247 | 0.015524
16 | NO | 301.096 | 31.1236 | 0.00021003 | -0.0094261 | -0.0027929 | 0.0066332
17 | YES | 175.984 | 30.765 | 0.00031236 | -0.0042133 | -0.0023673 | 0.001846
18 | NO | 150.933 | 30.6979 | 0.00027837 | -0.010965 | -0.0022821 | 0.0086832
19 | YES | 301.083 | 30.7004 | 0.00024663 | -0.0051308 | -0.0027929 | 0.0023379
20 | YES | 252.619 | 30.6501 | 0.00036809 | -0.00088119 | -0.002628 | -0.0017468
21 | NO | 124.098 | 29.7738 | 0.0021994 | -0.073395 | -0.0021908 | 0.071204
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0083892 |  | X | CALC Y
m= | -2.933e-05 | 9.6144e-05 |  | Std Dev of Resid |  | 0.0020583 |  | 2 | -0.0037887
b= | -0.0037301 | 0.0010991 |  | Resid Sum of Squares |  | 4.6601e-05 |  | 20 | -0.0043166
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 102.107 | 31.1489 | 0.00026778 | 0.022537 | -0.0037594 | -0.026297 | 31.1264 | 2 | -0.0054321
2 | YES | 203.774 | 32.0911 | 0.005098 | -0.0054321 | -0.0037887 | 0.0016434 | 32.0965 | 3 | -0.0035477
3 | YES | 202.497 | 33.8772 | 0.00024243 | -0.0035477 | -0.003818 | -0.00027037 | 33.8807 | 4 | -0.0053635
4 | YES | 201.897 | 33.9023 | 0.00065573 | -0.0053635 | -0.0038474 | 0.0015161 | 33.9077 | 5 | -0.0054588
5 | YES | 176.073 | 33.8623 | 0.00021217 | -0.0054588 | -0.0038767 | 0.0015821 | 33.8678 | 6 | -0.0034332
6 | YES | 150.988 | 33.8597 | 0.00024071 | -0.0034332 | -0.003906 | -0.0004728 | 33.8631 | 7 | -0.0013428
7 | YES | 101.097 | 33.4817 | 0.009817 | -0.0013428 | -0.0039354 | -0.0025926 | 33.483 | 8 | -0.0023842
8 | YES | 101.283 | 32.8545 | 0.00090208 | -0.0023842 | -0.0039647 | -0.0015805 | 32.8569 | 9 | -0.0025673
9 | YES | 126.31 | 32.5388 | 0.00056208 | -0.0025673 | -0.003994 | -0.0014267 | 32.5414 | 13 | -0.0012093
10 | NO | 201.338 | 31.3071 | 0.0026756 | -0.031946 | -0.0040234 | 0.027923 | 31.339 | 14 | -0.0068455
11 | NO | 151.235 | 30.8826 | 0.00046858 | -0.014084 | -0.0040527 | 0.010031 | 30.8967 | 17 | -0.0054016
12 | NO | 301.395 | 31.1116 | 0.00032965 | -0.039612 | -0.004082 | 0.03553 | 31.1512 | 19 | -0.0068626
13 | YES | 351.527 | 31.2882 | 0.0016399 | -0.0012093 | -0.0041113 | -0.0029021 | 31.2894 | 20 | -0.002367
14 | YES | 301.444 | 31.2021 | 0.00036882 | -0.0068455 | -0.0041407 | 0.0027048 | 31.2089
15 | NO | 251.647 | 30.9733 | 0.00026572 | -0.020966 | -0.00417 | 0.016796 | 30.9943
16 | NO | 301.096 | 31.1215 | 0.00019399 | -0.01145 | -0.0041993 | 0.0072505 | 31.1329
17 | YES | 175.984 | 30.7638 | 0.00024488 | -0.0054016 | -0.0042287 | 0.001173 | 30.7692
18 | NO | 150.933 | 30.6963 | 0.00029505 | -0.012592 | -0.004258 | 0.0083343 | 30.7089
19 | YES | 301.083 | 30.6986 | 0.00022983 | -0.0068626 | -0.0042873 | 0.0025753 | 30.7055
20 | YES | 252.619 | 30.6486 | 0.00035586 | -0.002367 | -0.0043166 | -0.0019496 | 30.651
21 | NO | 124.098 | 29.77 | 0.0030629 | -0.077242 | -0.004346 | 0.072896 | 29.8472
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 8.6096e-09 |  | X | CALC Y
m= | -3.4101e-08 | 0.00011081 |  | Std Dev of Resid |  | 0.0023722 |  | 2 | -0.0024609
b= | -0.0024609 | 0.0012668 |  | Resid Sum of Squares |  | 6.1901e-05 |  | 20 | -0.0024616
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 102.107 | 31.1509 | 0.00033118 | 0.024475 | -0.0024609 | -0.026936 |  | 2 | -0.004818
2 | YES | 203.774 | 32.0917 | 0.0048697 | -0.004818 | -0.0024609 | 0.002357 |  | 3 | -0.0020905
3 | YES | 202.497 | 33.8786 | 0.00025194 | -0.0020905 | -0.002461 | -0.00037053 |  | 4 | -0.0039253
4 | YES | 201.897 | 33.9038 | 0.00077412 | -0.0039253 | -0.002461 | 0.0014643 |  | 5 | -0.0039558
5 | YES | 176.073 | 33.8638 | 0.0002442 | -0.0039558 | -0.0024611 | 0.0014948 |  | 6 | -0.0017357
6 | YES | 150.988 | 33.8614 | 0.00030685 | -0.0017357 | -0.0024611 | -0.00072539 |  | 7 | -0.00043869
7 | YES | 101.097 | 33.4826 | 0.010865 | -0.00043869 | -0.0024611 | -0.0020224 |  | 8 | -0.00065613
8 | YES | 101.283 | 32.8562 | 0.00067265 | -0.00065613 | -0.0024612 | -0.001805 |  | 9 | -0.00088882
9 | YES | 126.31 | 32.5405 | 0.00043829 | -0.00088882 | -0.0024612 | -0.0015724 |  | 13 | 0.0020714
10 | NO | 201.338 | 31.3056 | 0.0015429 | -0.033432 | -0.0024612 | 0.030971 |  | 14 | -0.005333
11 | NO | 151.235 | 30.8878 | 0.00062522 | -0.0088558 | -0.0024613 | 0.0063946 |  | 17 | -0.0042133
12 | NO | 301.395 | 31.1134 | 0.0002657 | -0.037788 | -0.0024613 | 0.035327 |  | 19 | -0.0051308
13 | YES | 351.527 | 31.2915 | 0.0024917 | 0.0020714 | -0.0024613 | -0.0045327 |  | 20 | -0.00088119
14 | YES | 301.444 | 31.2036 | 0.00050285 | -0.005333 | -0.0024614 | 0.0028716
15 | NO | 251.647 | 30.9762 | 0.00043163 | -0.018148 | -0.0024614 | 0.015687
16 | NO | 301.096 | 31.1236 | 0.00021003 | -0.0094261 | -0.0024614 | 0.0069647
17 | YES | 175.984 | 30.765 | 0.00031236 | -0.0042133 | -0.0024615 | 0.0017519
18 | NO | 150.933 | 30.6979 | 0.00027837 | -0.010965 | -0.0024615 | 0.0085038
19 | YES | 301.083 | 30.7004 | 0.00024663 | -0.0051308 | -0.0024615 | 0.0026692
20 | YES | 252.619 | 30.6501 | 0.00036809 | -0.00088119 | -0.0024616 | -0.0015804
21 | NO | 124.098 | 29.7738 | 0.0021994 | -0.073395 | -0.0024616 | 0.070933
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (3)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Sal1
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.013428 |  | X | CALC Y
m= | 0.00019661 | 0.00050811 |  | Std Dev of Resid |  | 0.0023562 |  | 30.6501 | -0.0028036
b= | -0.0088296 | 0.016471 |  | Resid Sum of Squares |  | 6.107e-05 |  | 33.9038 | -0.0021639
# of Values Extracted = |  |  | 21
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Sal1
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 102.107 | 31.1509 | 0.00033118 | 0.024475 | -0.0027051 | -0.02718 |  | 32.0917 | -0.004818
2 | YES | 203.774 | 32.0917 | 0.0048697 | -0.004818 | -0.0025202 | 0.0022978 |  | 33.8786 | -0.0020905
3 | YES | 202.497 | 33.8786 | 0.00025194 | -0.0020905 | -0.0021688 | -7.8384e-05 |  | 33.9038 | -0.0039253
4 | YES | 201.897 | 33.9038 | 0.00077412 | -0.0039253 | -0.0021639 | 0.0017614 |  | 33.8638 | -0.0039558
5 | YES | 176.073 | 33.8638 | 0.0002442 | -0.0039558 | -0.0021717 | 0.0017841 |  | 33.8614 | -0.0017357
6 | YES | 150.988 | 33.8614 | 0.00030685 | -0.0017357 | -0.0021722 | -0.00043653 |  | 33.4826 | -0.00043869
7 | YES | 101.097 | 33.4826 | 0.010865 | -0.00043869 | -0.0022467 | -0.001808 |  | 32.8562 | -0.00065613
8 | YES | 101.283 | 32.8562 | 0.00067265 | -0.00065613 | -0.0023698 | -0.0017137 |  | 32.5405 | -0.00088882
9 | YES | 126.31 | 32.5405 | 0.00043829 | -0.00088882 | -0.0024319 | -0.0015431 |  | 31.2915 | 0.0020714
10 | NO | 201.338 | 31.3056 | 0.0015429 | -0.033432 | -0.0026747 | 0.030757 |  | 31.2036 | -0.005333
11 | NO | 151.235 | 30.8878 | 0.00062522 | -0.0088558 | -0.0027568 | 0.006099 |  | 30.765 | -0.0042133
12 | NO | 301.395 | 31.1134 | 0.0002657 | -0.037788 | -0.0027125 | 0.035076 |  | 30.7004 | -0.0051308
13 | YES | 351.527 | 31.2915 | 0.0024917 | 0.0020714 | -0.0026775 | -0.0047489 |  | 30.6501 | -0.00088119
14 | YES | 301.444 | 31.2036 | 0.00050285 | -0.005333 | -0.0026948 | 0.0026382
15 | NO | 251.647 | 30.9762 | 0.00043163 | -0.018148 | -0.0027395 | 0.015409
16 | NO | 301.096 | 31.1236 | 0.00021003 | -0.0094261 | -0.0027105 | 0.0067156
17 | YES | 175.984 | 30.765 | 0.00031236 | -0.0042133 | -0.002781 | 0.0014323
18 | NO | 150.933 | 30.6979 | 0.00027837 | -0.010965 | -0.0027942 | 0.0081711
19 | YES | 301.083 | 30.7004 | 0.00024663 | -0.0051308 | -0.0027937 | 0.0023371
20 | YES | 252.619 | 30.6501 | 0.00036809 | -0.00088119 | -0.0028036 | -0.0019224
21 | NO | 124.098 | 29.7738 | 0.0021994 | -0.073395 | -0.0029759 | 0.070419
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
NO
NO
YES
NO
YES
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2013/02/27 14:09:55
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 0.4
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2012-06-0001.mrg | 2012-06-0001.sam | 121 | 102.107 | 102.107 | 0.031746 | 0.00025177 | 31.1264 | 31.1489 | 0.00026778 | 0.022537 | 31.1264 | 31.1509 | 0.00033118 | 0.024475
2012-06-0003.mrg | 2012-06-0003.sam | 121 | 203.774 | 203.774 | 0.058641 | -0.00041199 | 32.0965 | 32.0911 | 0.005098 | -0.0054321 | 32.0965 | 32.0917 | 0.0048697 | -0.004818
2012-06-0007.mrg | 2012-06-0007.sam | 121 | 202.497 | 202.497 | 0.089769 | 0.00041199 | 33.8807 | 33.8772 | 0.00024243 | -0.0035477 | 33.8807 | 33.8786 | 0.00025194 | -0.0020905
2012-06-0010.mrg | 2012-06-0010.sam | 121 | 201.897 | 201.897 | 0.14061 | 0.00022888 | 33.9077 | 33.9023 | 0.00065573 | -0.0053635 | 33.9077 | 33.9038 | 0.00077412 | -0.0039253
2012-06-0013.mrg | 2012-06-0013.sam | 109 | 176.119 | 176.073 | 0.22646 | -0.046341 | 33.8678 | 33.8623 | 0.00021217 | -0.0054588 | 33.8678 | 33.8638 | 0.0002442 | -0.0039558
2012-06-0016.mrg | 2012-06-0016.sam | 119 | 150.995 | 150.988 | 0.22006 | -0.0072174 | 33.8631 | 33.8597 | 0.00024071 | -0.0034332 | 33.8631 | 33.8614 | 0.00030685 | -0.0017357
2012-06-0019.mrg | 2012-06-0019.sam | 121 | 101.097 | 101.097 | 0.10289 | 6.1035e-05 | 33.483 | 33.4817 | 0.009817 | -0.0013428 | 33.483 | 33.4826 | 0.010865 | -0.00043869
2012-06-0023.mrg | 2012-06-0023.sam | 41 | 101.314 | 101.283 | 0.23476 | -0.031197 | 32.8569 | 32.8545 | 0.00090208 | -0.0023842 | 32.8569 | 32.8562 | 0.00067265 | -0.00065613
2012-06-0026.mrg | 2012-06-0026.sam | 121 | 126.31 | 126.31 | 0.16314 | -6.1035e-05 | 32.5414 | 32.5388 | 0.00056208 | -0.0025673 | 32.5414 | 32.5405 | 0.00043829 | -0.00088882
2012-06-0031.mrg | 2012-06-0031.sam | 121 | 201.338 | 201.338 | 0.035878 | 0.00010681 | 31.339 | 31.3071 | 0.0026756 | -0.031946 | 31.339 | 31.3056 | 0.0015429 | -0.033432
2012-06-0039.mrg | 2012-06-0039.sam | 121 | 151.235 | 151.235 | 0.029829 | 0.00019836 | 30.8967 | 30.8826 | 0.00046858 | -0.014084 | 30.8967 | 30.8878 | 0.00062522 | -0.0088558
2012-06-0043.mrg | 2012-06-0043.sam | 121 | 301.395 | 301.395 | 0.029167 | 0 | 31.1512 | 31.1116 | 0.00032965 | -0.039612 | 31.1512 | 31.1134 | 0.0002657 | -0.037788
2012-06-0050.mrg | 2012-06-0050.sam | 121 | 351.527 | 351.527 | 0.036055 | 3.0518e-05 | 31.2894 | 31.2882 | 0.0016399 | -0.0012093 | 31.2894 | 31.2915 | 0.0024917 | 0.0020714
2012-06-0055.mrg | 2012-06-0055.sam | 121 | 301.444 | 301.444 | 0.034692 | -0.00027466 | 31.2089 | 31.2021 | 0.00036882 | -0.0068455 | 31.2089 | 31.2036 | 0.00050285 | -0.005333
2012-06-0059.mrg | 2012-06-0059.sam | 121 | 251.647 | 251.647 | 0.034999 | 0.00041199 | 30.9943 | 30.9733 | 0.00026572 | -0.020966 | 30.9943 | 30.9762 | 0.00043163 | -0.018148
2012-06-0064.mrg | 2012-06-0064.sam | 121 | 301.096 | 301.096 | 0.041831 | -0.00030518 | 31.133 | 31.1215 | 0.00019399 | -0.01145 | 31.133 | 31.1236 | 0.00021003 | -0.0094261
2012-06-0068.mrg | 2012-06-0068.sam | 121 | 175.984 | 175.984 | 0.030222 | -0.00013733 | 30.7692 | 30.7638 | 0.00024488 | -0.0054016 | 30.7692 | 30.765 | 0.00031236 | -0.0042133
2012-06-0071.mrg | 2012-06-0071.sam | 121 | 150.933 | 150.933 | 0.034691 | -0.00022888 | 30.7089 | 30.6963 | 0.00029505 | -0.012592 | 30.7089 | 30.6979 | 0.00027837 | -0.010965
2012-06-0076.mrg | 2012-06-0076.sam | 121 | 301.083 | 301.083 | 0.032053 | -0.00036621 | 30.7055 | 30.6986 | 0.00022983 | -0.0068626 | 30.7055 | 30.7004 | 0.00024663 | -0.0051308
2012-06-0082.mrg | 2012-06-0082.sam | 121 | 252.619 | 252.619 | 0.053739 | -0.00019836 | 30.651 | 30.6486 | 0.00035586 | -0.002367 | 30.651 | 30.6501 | 0.00036809 | -0.00088119
2012-06-0088.mrg | 2012-06-0088.sam | 121 | 124.098 | 124.098 | 0.12801 | -0.00023651 | 29.8472 | 29.77 | 0.0030629 | -0.077242 | 29.8472 | 29.7738 | 0.0021994 | -0.073395
Create Fit Sheet