## Notes
Analysis: | Kenny Scozzafava, 09 NOV 2012 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Peter Chandler, SoG
Cruise Dates: | 19 Sep 2012 to 25 Sep 2012
2012-11-21 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-11-09 08:47 | 24C | 0.99979 | 2.7426e-06 | -1.967e-06 | 0.99979
Calibration#2 | K15 | 2012-11-09 08:47 | 24C | 0.99979 | 2.7426e-06 | -1.967e-06 | 0.99979
2012-71#1 | IAPSO STD | 2012-11-09 08:48 | 24C | 0.9998 | 3.9648e-06 | -1.9073e-06 | 0.9998 | 34.9919 | 0.00015279 | RAN AS SAMPLE
Deep Water Reference Data (2012-12 Line P Sample #: Station: P25)
Bottle Label |  | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Julian Day subsampled into 200 mL sample bottles | Julian Day analyzed | Days stored
2012-71#74 | DWR | 2012-11-09 13:42 | 24C | 0.98983 | 3.8456e-06 | -1.9073e-06 | 0.98983 | 34.6002 | 0.00015092 | 243 | 314 | 71
No duplicates were collected so a precision analysis was not completed.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-06 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 1.5 months after collection. For details including a duplicate analysis, see document QF2012-06SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-06 | 1 | SI | 1 | 31.1264
2012-06 | 3 | 59 | 11 | 32.0965
2012-06 | 7 | 102 | 25 | 33.8807 | 2 | SAL: Ratio bounced around. Took third reading
2012-06 | 10 | 75 | 39 | 33.9077
2012-06 | 13 | 72 | 53 | 33.8678
2012-06 | 16 | 69 | 66 | 33.8631
2012-06 | 19 | ADCP | 78 | 33.483
2012-06 | 23 | 65 | 88 | 32.8569
2012-06 | 26 | 62 | 98 | 32.5414
2012-06 | 31 | 56 | 109 | 31.339
2012-06 | 39 | 46 | 123 | 30.8967
2012-06 | 43 | 42 | 135 | 31.1512
2012-06 | 50 | 39 | 151 | 31.2894
2012-06 | 55 | 27 | 168 | 31.2089
2012-06 | 59 | 2 | 184 | 30.9943
2012-06 | 64 | 3 | 199 | 31.133
2012-06 | 68 | 6 | 215 | 30.7692
2012-06 | 71 | 9 | 228 | 30.7089
2012-06 | 76 | 12 | 240 | 30.7055
2012-06 | 82 | 14 | 256 | 30.651
2012-06 | 88 | 16 | 271 | 29.8472

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-71#71 | 1 | SI | 1 | 2012-11-09 13:34 | 24C | 0.9007 | 0 | -1.967e-06 | 0.9007 | 31.1264 | 0 | #VALUE!
2012-71#72 | 3 | 59 | 11 | 2012-11-09 13:36 | 24C | 0.92574 | 3.8654e-06 | -2.1458e-06 | 0.92574 | 32.0965 | 0.0001486 | #VALUE!
2012-71#73 | 7 | 102 | 25 | 2012-11-09 13:38 | 24C | 0.97149 | 2.0947e-06 | -2.0266e-06 | 0.97149 | 33.8807 | 8.1621e-05 | #VALUE! | 2 | SAL: Ratio bounced around. Took third reading
2012-71#75 | 10 | 75 | 39 | 2012-11-09 13:44 | 24C | 0.97218 | 2.4912e-06 | -2.0266e-06 | 0.97218 | 33.9077 | 9.9568e-05 | #VALUE!
2012-71#76 | 13 | 72 | 53 | 2012-11-09 13:47 | 24C | 0.97116 | 2.7425e-06 | -1.967e-06 | 0.97116 | 33.8678 | 0.00010241 | #VALUE!
2012-71#77 | 16 | 69 | 66 | 2012-11-09 13:49 | 24C | 0.97104 | 2.2391e-06 | -2.0266e-06 | 0.97104 | 33.8631 | 8.3598e-05 | #VALUE!
2012-71#78 | 19 | ADCP | 78 | 2012-11-09 13:52 | 24C | 0.96133 | 4.2256e-06 | -2.0266e-06 | 0.96132 | 33.483 | 0.00016286 | #VALUE!
2012-71#79 | 23 | 65 | 88 | 2012-11-09 13:54 | 24C | 0.94528 | 2.8904e-06 | -1.9073e-06 | 0.94528 | 32.8569 | 0.00011318 | #VALUE!
2012-71#80 | 26 | 62 | 98 | 2012-11-09 13:56 | 24C | 0.93718 | 3.6105e-06 | -1.967e-06 | 0.93718 | 32.5414 | 0.00013779 | #VALUE!
2012-71#81 | 31 | 56 | 109 | 2012-11-09 13:59 | 24C | 0.9062 | 2.7426e-06 | -1.967e-06 | 0.9062 | 31.339 | 0.00010448 | #VALUE!
2012-71#86 | 39 | 46 | 123 | 2012-11-09 14:12 | 24C | 0.89475 | 2.7425e-06 | -2.0266e-06 | 0.89475 | 30.8967 | 0.00010656 | #VALUE!
2012-71#82 | 43 | 42 | 135 | 2012-11-09 14:02 | 24C | 0.90134 | 0 | -2.0266e-06 | 0.90134 | 31.1512 | 0 | #VALUE!
2012-71#83 | 50 | 39 | 151 | 2012-11-09 14:04 | 24C | 0.90492 | 1.8176e-06 | -1.9073e-06 | 0.90491 | 31.2894 | 7.1402e-05 | #VALUE!
2012-71#84 | 55 | 27 | 168 | 2012-11-09 14:07 | 24C | 0.90283 | 2.2405e-06 | -2.0266e-06 | 0.90283 | 31.2089 | 8.5326e-05 | #VALUE!
2012-71#85 | 59 | 2 | 184 | 2012-11-09 14:09 | 24C | 0.89728 | 2.4908e-06 | -1.9073e-06 | 0.89728 | 30.9943 | 9.4885e-05 | #VALUE!
2012-71#87 | 64 | 3 | 199 | 2012-11-09 14:14 | 24C | 0.90087 | 5.3324e-06 | -1.967e-06 | 0.90087 | 31.1329 | 0.000208 | #VALUE!
2012-71#88 | 68 | 6 | 215 | 2012-11-09 14:16 | 24C | 0.89145 | 2.4908e-06 | -1.967e-06 | 0.89145 | 30.7692 | 9.4898e-05 | #VALUE!
2012-71#89 | 71 | 9 | 228 | 2012-11-09 14:19 | 24C | 0.88989 | 2.7425e-06 | -2.0862e-06 | 0.88988 | 30.7089 | 0.00010343 | #VALUE!
2012-71#90 | 76 | 12 | 240 | 2012-11-09 14:21 | 24C | 0.8898 | 2.8897e-06 | -2.0266e-06 | 0.8898 | 30.7055 | 0.0001118 | #VALUE!
2012-71#91 | 82 | 14 | 256 | 2012-11-09 14:24 | 24C | 0.88839 | 2.7425e-06 | -2.0266e-06 | 0.88838 | 30.651 | 0.00010396 | #VALUE!
2012-71#92 | 88 | 16 | 271 | 2012-11-09 14:26 | 24C | 0.8675 | 4.1136e-06 | -2.0266e-06 | 0.8675 | 29.8472 | 0.00015671 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2012-71#71 | 1 | 2012-11-09 13:34 | 24C | 0.9007 | 0 | -1.967e-06 | 0.9007 | 31.1264 | 0 | SI 2012-06
2012-71#72 | 11 | 2012-11-09 13:36 | 24C | 0.92574 | 3.8654e-06 | -2.1458e-06 | 0.92574 | 32.0965 | 0.0001486 | 59
2012-71#73 | 25 | 2012-11-09 13:38 | 24C | 0.97149 | 2.0947e-06 | -2.0266e-06 | 0.97149 | 33.8807 | 8.1621e-05 | 102
2012-71#74 | DWR | 2012-11-09 13:42 | 24C | 0.98983 | 3.8456e-06 | -1.9073e-06 | 0.98983 | 34.6002 | 0.00015092 | 25 2012-12
2012-71#75 | 39 | 2012-11-09 13:44 | 24C | 0.97218 | 2.4912e-06 | -2.0266e-06 | 0.97218 | 33.9077 | 9.9568e-05 | 75
2012-71#76 | 53 | 2012-11-09 13:47 | 24C | 0.97116 | 2.7425e-06 | -1.967e-06 | 0.97116 | 33.8678 | 0.00010241 | 72
2012-71#77 | 66 | 2012-11-09 13:49 | 24C | 0.97104 | 2.2391e-06 | -2.0266e-06 | 0.97104 | 33.8631 | 8.3598e-05 | 69
2012-71#78 | 78 | 2012-11-09 13:52 | 24C | 0.96133 | 4.2256e-06 | -2.0266e-06 | 0.96132 | 33.483 | 0.00016286 | ADCP
2012-71#79 | 88 | 2012-11-09 13:54 | 24C | 0.94528 | 2.8904e-06 | -1.9073e-06 | 0.94528 | 32.8569 | 0.00011318 | 65
2012-71#80 | 98 | 2012-11-09 13:56 | 24C | 0.93718 | 3.6105e-06 | -1.967e-06 | 0.93718 | 32.5414 | 0.00013779 | 62
2012-71#81 | 109 | 2012-11-09 13:59 | 24C | 0.9062 | 2.7426e-06 | -1.967e-06 | 0.9062 | 31.339 | 0.00010448 | 56
2012-71#82 | 135 | 2012-11-09 14:02 | 24C | 0.90134 | 0 | -2.0266e-06 | 0.90134 | 31.1512 | 0 | 42
2012-71#83 | 151 | 2012-11-09 14:04 | 24C | 0.90492 | 1.8176e-06 | -1.9073e-06 | 0.90491 | 31.2894 | 7.1402e-05 | 39
2012-71#84 | 168 | 2012-11-09 14:07 | 24C | 0.90283 | 2.2405e-06 | -2.0266e-06 | 0.90283 | 31.2089 | 8.5326e-05 | 27
2012-71#85 | 184 | 2012-11-09 14:09 | 24C | 0.89728 | 2.4908e-06 | -1.9073e-06 | 0.89728 | 30.9943 | 9.4885e-05 | 2
2012-71#86 | 123 | 2012-11-09 14:12 | 24C | 0.89475 | 2.7425e-06 | -2.0266e-06 | 0.89475 | 30.8967 | 0.00010656 | 46
2012-71#87 | 199 | 2012-11-09 14:14 | 24C | 0.90087 | 5.3324e-06 | -1.967e-06 | 0.90087 | 31.1329 | 0.000208 | 3
2012-71#88 | 215 | 2012-11-09 14:16 | 24C | 0.89145 | 2.4908e-06 | -1.967e-06 | 0.89145 | 30.7692 | 9.4898e-05 | 6
2012-71#89 | 228 | 2012-11-09 14:19 | 24C | 0.88989 | 2.7425e-06 | -2.0862e-06 | 0.88988 | 30.7089 | 0.00010343 | 9
2012-71#90 | 240 | 2012-11-09 14:21 | 24C | 0.8898 | 2.8897e-06 | -2.0266e-06 | 0.8898 | 30.7055 | 0.0001118 | 12
2012-71#91 | 256 | 2012-11-09 14:24 | 24C | 0.88839 | 2.7425e-06 | -2.0266e-06 | 0.88838 | 30.651 | 0.00010396 | 14
2012-71#92 | 271 | 2012-11-09 14:26 | 24C | 0.8675 | 4.1136e-06 | -2.0266e-06 | 0.8675 | 29.8472 | 0.00015671 | 16