## Notes
Date, Initials | Comment
5 May 2010 SZ | Template for Analysis based on Marty Davelaar's 2009-20 analysis
20 June 2014 SZ | Data added to spreadsheet by Marty Davelaar.
Swapped headers and column in "Samples for DIC-ALK anlys" sheet for DIC's certified and daily CRM values so headers match columns and column order is same as for Alk.
1 Mar 2018 SZ | Sp worksheet added for precision statement

## Samples for DIC-ALK anlys
Samples to be Analysed
Cruise | Cast No. | Station Name | Water Depth [m] | Cast Depth [m] | Sample No. [All others match to this sample number] | Rosette Bot No. | Raw Pres [dbar] | CTD Salinity 0 | Salt-1 | DIC/ALK | DIC |  | ALK
2012-09 | 1 | SLIP-1 | 80 | 75 | 1 | 1 | 75.459 | 31.935 | 31.9515
2012-09 | 1 | SLIP-1 | 80 | 75 | 2 | 2 | 75.337 | 31.935 | 31.9382
2012-09 | 1 | SLIP-1 | 80 | 75 | 3 | 3 | 50.449 | 31.9109 | 31.9222
2012-09 | 1 | SLIP-1 | 80 | 75 | 4 | 4 | 35.457 | 31.7531 | 31.7806
2012-09 | 1 | SLIP-1 | 80 | 75 | 5 | 5 | 25.55 | 31.6485 | 31.6622
2012-09 | 1 | SLIP-1 | 80 | 75 | 6 | 6 | 15.425 | 31.2813 | 31.3678
2012-09 | 1 | SLIP-1 | 80 | 75 | 7 | 7 | 4.586 | 31.3088 | 31.3237
2012-09 | 2 | SLIP-2 | 81 | 76 | 8 | 1 | 76.436 | 31.9717 | 31.9736 | x | 2080.2931 |  | 2185.2838
2012-09 | 2 | SLIP-2 | 81 | 76 | 9 | 2 | 75.691 | 31.9731 | 31.9763
2012-09 | 2 | SLIP-2 | 81 | 76 | 10 | 3 | 50.774 | 31.9316 | 31.9385
2012-09 | 2 | SLIP-2 | 81 | 76 | 11 | 4 | 35.764 | 31.8534 | 31.8502
2012-09 | 2 | SLIP-2 | 81 | 76 | 12 | 5 | 24.36 | 31.6715 | 31.6787
2012-09 | 2 | SLIP-2 | 81 | 76 | 13 | 6 | 14.761 | 31.333 | 31.4082
2012-09 | 2 | SLIP-2 | 81 | 76 | 14 | 7 | 4.695 | 31.316 | 31.3402 | x | 1898.7479 |  | 2155.7117
2012-09 | 3 | SLIP-3 | 70 | 65 | 15 | 1 | 65.604 | 31.9747 | 31.9836
2012-09 | 3 | SLIP-3 | 70 | 65 | 16 | 2 | 35.121 | 31.8098 | 31.8157
2012-09 | 3 | SLIP-3 | 70 | 65 | 17 | 3 | 35.013 | 31.808 | 31.8156
2012-09 | 3 | SLIP-3 | 70 | 65 | 18 | 4 | 25.294 | 31.6985 | 31.7093
2012-09 | 3 | SLIP-3 | 70 | 65 | 19 | 5 | 15.052 | 30.9987 | 31.1198
2012-09 | 3 | SLIP-3 | 70 | 65 | 20 | 6 | 4.226 | 30.9411 | 30.9455
2012-09 | 4 | SLIP-5 | 66 | 61 | 21 | 1 | 60.164 | 32.1726 | 32.1628
2012-09 | 4 | SLIP-5 | 66 | 61 | 22 | 2 | 49.293 | 32.1119 | 32.1245
2012-09 | 4 | SLIP-5 | 66 | 61 | 23 | 3 | 34.659 | 31.9218 | 31.9347
2012-09 | 4 | SLIP-5 | 66 | 61 | 24 | 4 | 24.896 | 31.8467 | 31.8577
2012-09 | 4 | SLIP-5 | 66 | 61 | 25 | 5 | 14.694 | 31.5332 | 31.582
2012-09 | 4 | SLIP-5 | 66 | 61 | 26 | 6 | 4.819 | 30.0096 | 30.0518
2012-09 | 5 | SLIP-4 | 71 | 66 | 27 | 1 | 66.23 | 32.6074 | 32.6282 | x | 2183.5635 |  | 2212.6943
2012-09 | 5 | SLIP-4 | 71 | 66 | 28 | 2 | 50.152 | 32.2988 | 32.3477
2012-09 | 5 | SLIP-4 | 71 | 66 | 29 | 5 | 35.211 | 32.0581 | 32.0828
2012-09 | 5 | SLIP-4 | 71 | 66 | 30 | 6 | 25.62 | 31.9492 | 31.9503
2012-09 | 5 | SLIP-4 | 71 | 66 | 31 | 8 | 15.064 | 31.3618 | 31.4647
2012-09 | 5 | SLIP-4 | 71 | 66 | 32 | 12 | 5.182 | 31.0109 | 31.0698 | x | 1665.1609 |  | 2130.8935
2012-09 | 6 | BCL6A | 54 | 49 | 33 | 1 | 49.209 | 32.8434 | 32.8427 | x | 2174.3707 |  | 2235.0783
2012-09 | 6 | BCL6A | 54 | 49 | 34 | 2 | 35.084 | 32.8407 | 32.8429
2012-09 | 6 | BCL6A | 54 | 49 | 35 | 3 | 25.053 | 32.8371 | 32.8416
2012-09 | 6 | BCL6A | 54 | 49 | 36 | 4 | 15.297 | 32.3325 | 32.5397
2012-09 | 6 | BCL6A | 54 | 49 | 37 | 5 | 5.176 | 31.0825 | 31.1536 | x | 1694.5687 |  | 2140.3296
2012-09 | 7 | UTBS-5 | 43 | 38 | 38 | 1 | 41.827 | 32.6828 | 32.6908
2012-09 | 7 | UTBS-5 | 43 | 38 | 39 | 2 | 35.57 | 32.679 | 32.6818
2012-09 | 7 | UTBS-5 | 43 | 38 | 40 | 3 | 25.748 | 32.6776 | 32.6811
2012-09 | 7 | UTBS-5 | 43 | 38 | 41 | 4 | 15.45 | 32.6839 | 32.671
2012-09 | 7 | UTBS-5 | 43 | 38 | 42 | 5 | 5.672 | 32.6611 | 32.663
2012-09 | 8 | UTBS-2 | 45 | 40 | 43 | 1 | 40.516 | 32.6409 | 32.632
2012-09 | 8 | UTBS-2 | 45 | 40 | 44 | 2 | 34.637 | 32.5687 | 32.578
2012-09 | 8 | UTBS-2 | 45 | 40 | 45 | 3 | 25.476 | 32.5022 | 32.531
2012-09 | 8 | UTBS-2 | 45 | 40 | 46 | 4 | 14.303 | 32.4674 | 32.4788
2012-09 | 8 | UTBS-2 | 45 | 40 | 47 | 5 | 4.421 | 32.5202 | 32.3191
2012-09 | 9 | UTBS-1 | 49 | 44 | 48 | 1 | 43.79 | 32.6752 | 32.6691
2012-09 | 9 | UTBS-1 | 49 | 44 | 49 | 2 | 35.651 | 32.6133 | 32.6237
2012-09 | 9 | UTBS-1 | 49 | 44 | 50 | 3 | 24.791 | 32.594 | 32.6086
2012-09 | 9 | UTBS-1 | 49 | 44 | 51 | 4 | 14.597 | 32.5572 | 32.5784
2012-09 | 9 | UTBS-1 | 49 | 44 | 52 | 5 | 4.911 | 32.4658 | 32.489
2012-09 | 9 | UTBS-4 | 49 | 44 | 53 | 1 | 44.179 | 32.6618 | 32.6664 | x | 2135.6585 |  | 2241.7055
2012-09 | 9 | UTBS-4 | 49 | 44 | 54 | 2 | 35.097 | 32.6592 | 32.6625
2012-09 | 9 | UTBS-4 | 49 | 44 | 55 | 4 | 24.994 | 32.662 | 32.6717
2012-09 | 9 | UTBS-4 | 49 | 44 | 56 | 5 | 15.414 | 32.6633 | 32.684
2012-09 | 9 | UTBS-4 | 49 | 44 | 57 | 9 | 5.131 | 32.605 | 32.6273 | x | 2105.0426 |  | 2222.4973
2012-09 | 10 | BRS-3 | 53 | 48 | 58 | 1 | 46.559 | 32.5478 | 32.548 | x | 2061.5359 |  | 2249.9908
2012-09 | 10 | BRS-3 | 53 | 48 | 59 | 2 | 35.688 | 32.5466 | 32.551
2012-09 | 10 | BRS-3 | 53 | 48 | 60 | 3 | 25.7 | 32.5382 | 32.5552
2012-09 | 10 | BRS-3 | 53 | 48 | 61 | 4 | 14.67 | 32.3787 | 32.4201
2012-09 | 10 | BRS-3 | 53 | 48 | 62 | 5 | 4.829 | 31.904 | 32.0273 | x | 1916.0369 |  | 2221.4623
2012-09 | 11 | UTN-1 | 34 | 29 | 63 | 1 | 29.092 | 31.556 | 31.5556 | x | 1799.4354 |  | 2185.4836
2012-09 | 11 | UTN-1 | 34 | 29 | 64 | 2 | 25.277 | 31.5464 | 31.5692
2012-09 | 11 | UTN-1 | 34 | 29 | 65 | 3 | 15.179 | 31.503 | 31.5435
2012-09 | 11 | UTN-1 | 34 | 29 | 66 | 4 | 5.138 | 31.1572 | 31.2194 | x | 1895.4972 |  | 2179.4298
2012-09 | 12 | UTN-2 | 45 | 40 | 67 | 1 | 40.717 | 32.5842 | 32.5553
2012-09 | 12 | UTN-2 | 45 | 40 | 68 | 2 | 35.404 | 32.5829 | 32.5848
2012-09 | 12 | UTN-2 | 45 | 40 | 69 | 3 | 25.269 | 32.5809 | 32.5838
2012-09 | 12 | UTN-2 | 45 | 40 | 70 | 4 | 15.381 | 32.5836 | 32.5737
2012-09 | 12 | UTN-2 | 45 | 40 | 71 | 5 | 5.686 | 31.9636 | 31.9719
2012-09 | 13 | UTN-3 | 49 | 44 | 72 | 1 | 44.684 | 32.784 | 32.7922
2012-09 | 13 | UTN-3 | 49 | 44 | 73 | 2 | 35.521 | 32.7835 | 32.7976
2012-09 | 13 | UTN-3 | 49 | 44 | 74 | 3 | 25.255 | 32.7237 | 32.7521
2012-09 | 13 | UTN-3 | 49 | 44 | 75 | 4 | 15.61 | 32.6916 | 32.7165
2012-09 | 13 | UTN-3 | 49 | 44 | 76 | 5 | 4.538 | 32.4478 | 32.4828
2012-09 | 14 | UTN-4 | 50 | 45 | 77 | 1 | 45.303 | 32.7607 | 32.7706
2012-09 | 14 | UTN-4 | 50 | 45 | 78 | 4 | 35.663 | 32.7554 | 32.7604
2012-09 | 14 | UTN-4 | 50 | 45 | 79 | 5 | 25.62 | 32.7531 | 32.7659
2012-09 | 14 | UTN-4 | 50 | 45 | 80 | 6 | 15.258 | 32.7528 | 32.7599
2012-09 | 14 | UTN-4 | 50 | 45 | 81 | 7 | 4.648 | 32.7318 | 32.746
2012-09 | 15 | UTN-5 | 50 | 45 | 82 | 1 | 45.5 | 32.7518 | 32.7686 | x | 2151.9413 |  | 2248.7901
2012-09 | 15 | UTN-5 | 50 | 45 | 83 | 4 | 34.913 | 32.7572 | 32.7935
2012-09 | 15 | UTN-5 | 50 | 45 | 84 | 5 | 25.235 | 32.7572 | 32.7704
2012-09 | 15 | UTN-5 | 50 | 45 | 85 | 6 | 15.267 | 32.754 | 32.7572
2012-09 | 15 | UTN-5 | 50 | 45 | 86 | 7 | 5.154 | 32.6264 | 32.6662 | x | 1988.6883 |  | 2250.0748
2012-09 | 16 | UTN-6 | 50 | 45 | 87 | 1 | 44.605 | 32.7916 | 32.7962
2012-09 | 16 | UTN-6 | 50 | 45 | 88 | 2 | 35.184 | 32.788 | 32.7897
2012-09 | 16 | UTN-6 | 50 | 45 | 89 | 3 | 25.322 | 32.7876 | 32.7913
2012-09 | 16 | UTN-6 | 50 | 45 | 90 | 4 | 15.53 | 32.7886 | 32.7964
2012-09 | 16 | UTN-6 | 50 | 45 | 91 | 5 | 4.604 | 32.6748 | 32.7043
2012-09 | 17 | SEC-2 | 50 | 45 | 92 | 1 | 45.281 | 32.8179 | 32.8182 | x | 2131.2184 |  | 2254.6944
2012-09 | 17 | SEC-2 | 50 | 45 | 93 | 2 | 35.039 | 32.8176 | 32.8224
2012-09 | 17 | SEC-2 | 50 | 45 | 94 | 3 | 25.321 | 32.8187 | 32.8208
2012-09 | 17 | SEC-2 | 50 | 45 | 95 | 4 | 15.564 | 32.8198 | 32.8388
2012-09 | 17 | SEC-2 | 50 | 45 | 96 | 5 | 5.53 | 32.5345 | 32.5854 | x | 1926.0793 |  | 2264.0677
2012-09 | 18 | UTN-7 | 58 | 53 | 97 | 1 | 52.986 | 32.8923 | 32.8954
2012-09 | 18 | UTN-7 | 58 | 53 | 98 | 2 | 50.08 | 32.8903 | 32.8942
2012-09 | 18 | UTN-7 | 58 | 53 | 99 | 3 | 35.133 | 32.8826 | 32.887
2012-09 | 18 | UTN-7 | 58 | 53 | 100 | 4 | 25.39 | 32.85 | 32.855
2012-09 | 18 | UTN-7 | 58 | 53 | 101 | 5 | 15.365 | 32.7675 | 32.765
2012-09 | 18 | UTN-7 | 58 | 53 | 102 | 6 | 4.646 | 32.5985 | 32.6189
2012-09 | 20 | SEC-3 | 59 | 54 | 103 | 1 | 53.81 | 32.8783 | 32.8831 | x | 2091.0285 |  | 2261.5295
2012-09 | 20 | SEC-3 | 59 | 54 | 104 | 2 | 34.877 | 32.8786 | 32.8919
2012-09 | 20 | SEC-3 | 59 | 54 | 105 | 3 | 24.995 | 32.8772 | 32.8936
2012-09 | 20 | SEC-3 | 59 | 54 | 106 | 4 | 15.716 | 32.8618 | 32.8652
2012-09 | 20 | SEC-3 | 59 | 54 | 107 | 5 | 4.751 | 32.7865 | 32.8027 | x | 1926.7012 |  | 2250.6891
2012-09 | 21 | SEC-4 | 55 | 50 | 108 | 1 | 48.974 | 32.7835 | 32.7672 | x | 2121.9695 |  | 2253.3603
2012-09 | 21 | SEC-4 | 55 | 50 | 109 | 2 | 35.531 | 32.769 | 32.7828
2012-09 | 21 | SEC-4 | 55 | 50 | 110 | 3 | 24.623 | 32.7425 | 32.7448
2012-09 | 21 | SEC-4 | 55 | 50 | 111 | 4 | 15.085 | 32.738 | 32.7455
2012-09 | 21 | SEC-4 | 55 | 50 | 112 | 5 | 5.193 | 32.3372 | 32.3868 | xx | 1927.2203 | 1927.9296 | 2222.4907 | 2220.8585
2012-09 | 22 | SEC-5 | 51 | 46 | 113 | 1 | 45.678 | 32.4868 | 32.4957 | x | 2065.2782 |  | 2251.9708
2012-09 | 22 | SEC-5 | 51 | 46 | 114 | 2 | 35.294 | 32.4867 | 32.4901
2012-09 | 22 | SEC-5 | 51 | 46 | 115 | 4 | 25.778 | 32.4866 | 32.4872
2012-09 | 22 | SEC-5 | 51 | 46 | 116 | 5 | 14.755 | 32.4794 | 32.478
2012-09 | 22 | SEC-5 | 51 | 46 | 117 | 9 | 5.338 | 32.4054 | 32.409 | x | 1932.3612 |  | 2236.052
2012-09 | 23 | SEC-6 | 49 | 44 | 118 | 1 | 44.312 | 32.3816 | 32.388 | x | 2037.1624 |  | 2247.5808
2012-09 | 23 | SEC-6 | 49 | 44 | 119 | 2 | 35.516 | 32.3776 | 32.3978
2012-09 | 23 | SEC-6 | 49 | 44 | 120 | 3 | 25.211 | 32.3758 | 32.3838
2012-09 | 23 | SEC-6 | 49 | 44 | 121 | 4 | 15.073 | 32.3668 | 32.36
2012-09 | 23 | SEC-6 | 49 | 44 | 122 | 5 | 5.345 | 32.2461 | 32.2641 | x | 1965.4265 |  | 2221.2042
2012-09 | 24 | SEC-7 | 44 | 39 | 123 | 1 | 39.005 | 32.1216 | 32.117 | x | 2005.9235 |  | 2237.1972
2012-09 | 24 | SEC-7 | 44 | 39 | 124 | 2 | 34.798 | 32.0846 | 32.1261
2012-09 | 24 | SEC-7 | 44 | 39 | 125 | 3 | 24.976 | 32.073 | 32.0786
2012-09 | 24 | SEC-7 | 44 | 39 | 126 | 4 | 14.602 | 32.0755 | 32.0893
2012-09 | 24 | SEC-7 | 44 | 39 | 127 | 5 | 4.4 | 32.082 | 32.0867 | x | 1976.1846 |  | 2211.6424
2012-09 | 25 | SEC-8 | 35 | 30 | 128 | 1 | 30.767 | 31.87 | 31.8508 | xx | 1990.5711 | 1990.2988 | 2227.8155 | 2231.5508
2012-09 | 25 | SEC-8 | 35 | 30 | 129 | 2 | 26.054 | 31.8678 | 31.8759
2012-09 | 25 | SEC-8 | 35 | 30 | 130 | 3 | 15.307 | 31.881 | 31.8859
2012-09 | 25 | SEC-8 | 35 | 30 | 131 | 4 | 4.791 | 31.103 | 31.1505 | x | 1952.8944 |  | 2182.3968
2012-09 | 26 | CS-2011 | 20 | 15 | 132 | 1 | 15.568 | 31.8218 | 31.5328 | x | 1981.0382 |  | 2229.7721
2012-09 | 26 | CS-2011 | 20 | 15 | 133 | 2 | 15.581 | 31.8177 | 31.7196
2012-09 | 26 | CS-2011 | 20 | 15 | 134 | 3 | 15.583 | 31.8183 | 31.7113
2012-09 | 26 | CS-2011 | 20 | 15 | 135 | 4 | 4.426 | 30.563 | 30.8634 | x | 1939.1818 |  | 2158.3235

## Results
Template for Data - please add updated data in black
DIC | [15 empty] | Alkalinity
Date of analysis | Time of analysis | System | Sample Number | Sample volume (250 or 500ml) | umol | counts | Temp of analysis | Salinity | Density | Pipette volume | Uncorr. DIC | CRM certified value | CRM daily value | Correction factor | Corrected DIC | Date of analysis | Time of analysis | System | Sample Number | Sample volume (250 or 500ml) | Uncorr. Alk | CRM certified value | CRM daily value | Correction factor | Corrected Alk
[5 empty] | C |  | C |  | kg/m3 |  | umol/kg | umol/kg | umol/kg |  | umol/kg | [5 empty] | umol/kg | umol/kg | umol/kg |  | umol/kg
20130530 | 849 | SOMMA | 8 | 500 | 535.35 |  | 20 | 31.9736 | 1.0225 | 21.018 | 2081.3779 | 2022.04 | 2023.4991 | 0.99928 | 2080.2931 | 20130604 | 847 | IOS 1 | 8 | 500 | 2186.84 | 2225.21 | 2227.24 | 0.99909 | 2185.2838
20130530 | 751 | SOMMA | 14 | 500 | 488.4 |  | 20 | 31.3402 | 1.022 | 21.018 | 1899.7381 | 2022.04 | 2023.4991 | 0.99928 | 1898.7479 | 20130531 | 747 | IOS 1 | 14 | 500 | 2155.3 | 2225.21 | 2225.23 | 0.99999 | 2155.7117
20130530 | 912 | SOMMA | 27 | 500 | 562.2 |  | 20 | 32.6282 | 1.023 | 21.018 | 2184.7022 | 2022.04 | 2023.4991 | 0.99928 | 2183.5635 | 20130604 | 902 | IOS 1 | 27 | 500 | 2214.27 | 2225.21 | 2227.24 | 0.99909 | 2212.6943
20130530 | 724 | SOMMA | 32 | 500 | 428.23 |  | 20 | 31.0698 | 1.0218 | 21.018 | 1666.0293 | 2022.04 | 2023.4991 | 0.99928 | 1665.1609 | 20130605 | 1017 | IOS 1 | 32 | 500 | 2129.51 | 2225.21 | 2224.21 | 1.0004 | 2130.8935
20130602 | 750 | SOMMA | 33 | 500 | 559.31 |  | 20 | 32.8427 | 1.0231 | 21.018 | 2173.1246 | 2022.04 | 2021.2854 | 1.0004 | 2174.3707 | 20130604 | 918 | IOS 1 | 33 | 500 | 2236.67 | 2225.21 | 2227.24 | 0.99909 | 2235.0783
20130530 | 938 | SOMMA | 37 | 500 | 435.82 |  | 20 | 31.1536 | 1.0218 | 21.018 | 1695.4525 | 2022.04 | 2023.4991 | 0.99928 | 1694.5687 | 20130605 | 1058 | IOS 1 | 37 | 500 | 2138.94 | 2225.21 | 2224.21 | 1.0004 | 2140.3296
20130602 | 1000 | SOMMA | 53 | 500 | 549.28 |  | 20 | 32.6664 | 1.023 | 21.018 | 2134.4345 | 2022.04 | 2021.2854 | 1.0004 | 2135.6585 | 20130605 | 824 | IOS 1 | 53 | 500 | 2240.25 | 2225.21 | 2224.21 | 1.0004 | 2241.7055
20130602 | 1020 | SOMMA | 57 | 500 | 541.39 |  | 20 | 32.6273 | 1.023 | 21.018 | 2103.8362 | 2022.04 | 2021.2854 | 1.0004 | 2105.0426 | 20130604 | 938 | IOS 1 | 57 | 500 | 2224.08 | 2225.21 | 2227.24 | 0.99909 | 2222.4973
20130530 | 1016 | SOMMA | 58 | 500 | 530.75 |  | 20 | 32.548 | 1.0229 | 21.018 | 2062.611 | 2022.04 | 2023.4991 | 0.99928 | 2061.5359 | 20130605 | 1119 | IOS 1 | 58 | 500 | 2248.53 | 2225.21 | 2224.21 | 1.0004 | 2249.9908
20130602 | 641 | SOMMA | 62 | 500 | 492.56 |  | 20 | 32.0273 | 1.0225 | 21.018 | 1914.9388 | 2022.04 | 2021.2854 | 1.0004 | 1916.0369 | 20130605 | 918 | IOS 1 | 62 | 500 | 2220.02 | 2225.21 | 2224.21 | 1.0004 | 2221.4623
20130603 | 648 | SOMMA | 63 | 500 | 463 |  | 20 | 31.5556 | 1.0221 | 21.018 | 1800.6503 | 2022.04 | 2023.8098 | 0.99913 | 1799.4354 | 20130604 | 1032 | IOS 1 | 63 | 500 | 2187.04 | 2225.21 | 2227.24 | 0.99909 | 2185.4836
20130530 | 824 | SOMMA | 66 | 500 | 487.52 |  | 20 | 31.2194 | 1.0219 | 21.018 | 1896.4857 | 2022.04 | 2023.4991 | 0.99928 | 1895.4972 | 20130603 | 1005 | IOS 1 | 66 | 500 | 2175.88 | 2225.21 | 2222.03 | 1.0014 | 2179.4298
20130602 | 706 | SOMMA | 82 | 500 | 553.51 |  | 20 | 32.7686 | 1.0231 | 21.018 | 2150.7081 | 2022.04 | 2021.2854 | 1.0004 | 2151.9413 | 20130605 | 1138 | IOS 1 | 82 | 500 | 2247.33 | 2225.21 | 2224.21 | 1.0004 | 2248.7901
20130602 | 908 | SOMMA | 86 | 500 | 511.48 |  | 20 | 32.6662 | 1.023 | 21.018 | 1987.5486 | 2022.04 | 2021.2854 | 1.0004 | 1988.6883 | 20130603 | 1034 | IOS 1 | 86 | 500 | 2246.41 | 2225.21 | 2222.03 | 1.0014 | 2250.0748
20130602 | 848 | SOMMA | 92 | 500 | 548.2 |  | 20 | 32.8182 | 1.0231 | 21.018 | 2129.997 | 2022.04 | 2021.2854 | 1.0004 | 2131.2184 | 20130604 | 1055 | IOS 1 | 92 | 500 | 2256.3 | 2225.21 | 2227.24 | 0.99909 | 2254.6944
20130530 | 700 | SOMMA | 96 | 500 | 495.89 |  | 20 | 32.5854 | 1.0229 | 21.018 | 1927.0838 | 2022.04 | 2023.4991 | 0.99928 | 1926.0793 | 20130604 | 803 | IOS 2 | 96 | 500 | 2265.68 | 2225.21 | 2227.24 | 0.99909 | 2264.0677
20130603 | 618 | SOMMA | 103 | 500 | 538.56 |  | 20 | 32.8831 | 1.0231 | 21.018 | 2092.4402 | 2022.04 | 2023.8098 | 0.99913 | 2091.0285 | 20130604 | 1122 | IOS 1 | 103 | 500 | 2263.14 | 2225.21 | 2227.24 | 0.99909 | 2261.5295
20130528 | 920 | SOMMA | 107 | 500 | 495.54 |  | 20 | 32.8027 | 1.0231 | 21.018 | 1925.412 | 2022.04 | 2021.0912 | 1.0005 | 1926.7012 | 20130530 | 947 | IOS 1 | 107 | 500 | 2247.63 | 2225.21 | 2222.63 | 1.0012 | 2250.6891
20130528 | 629 | SOMMA | 108 | 500 | 546.01 |  | 20 | 32.7672 | 1.0231 | 21.018 | 2121.5684 | 2022.04 | 2022.0621 | 0.99999 | 2121.9695 | 20130531 | 824 | IOS 1 | 108 | 500 | 2252.93 | 2225.21 | 2225.23 | 0.99999 | 2253.3603
20130528 | 858 | SOMMA | 112 | 500 | 495.52 |  | 20 | 32.3868 | 1.0228 | 21.018 | 1925.9307 | 2022.04 | 2021.0912 | 1.0005 | 1927.2203 | 20130530 | 1018 | IOS 1 | 112 | 500 | 2219.47 | 2225.21 | 2222.63 | 1.0012 | 2222.4907
20130602 | 732 | SOMMA | 112 | 500 | 495.75 |  | 20 | 32.3868 | 1.0228 | 21.018 | 1926.8247 | 2022.04 | 2021.2854 | 1.0004 | 1927.9296 | 20130530 | 1138 | IOS 1 | 112 | 500 | 2217.84 | 2225.21 | 2222.63 | 1.0012 | 2220.8585
20130528 | 1148 | SOMMA | 113 | 500 | 531.06 |  | 20 | 32.4957 | 1.0229 | 21.018 | 2063.8963 | 2022.04 | 2021.0912 | 1.0005 | 2065.2782 | 20130530 | 1039 | IOS 1 | 113 | 500 | 2248.91 | 2225.21 | 2222.63 | 1.0012 | 2251.9708
20130528 | 959 | SOMMA | 117 | 500 | 496.85 |  | 20 | 32.409 | 1.0228 | 21.018 | 1931.0682 | 2022.04 | 2021.0912 | 1.0005 | 1932.3612 | 20130603 | 1057 | IOS 1 | 117 | 500 | 2232.41 | 2225.21 | 2222.03 | 1.0014 | 2236.052
20130528 | 652 | SOMMA | 118 | 500 | 524.04 |  | 20 | 32.388 | 1.0228 | 21.018 | 2036.7773 | 2022.04 | 2022.0621 | 0.99999 | 2037.1624 | 20130603 | 1117 | IOS 1 | 118 | 500 | 2243.92 | 2225.21 | 2222.03 | 1.0014 | 2247.5808
20130528 | 712 | SOMMA | 122 | 500 | 505.54 |  | 20 | 32.2641 | 1.0227 | 21.018 | 1965.0549 | 2022.04 | 2022.0621 | 0.99999 | 1965.4265 | 20130531 | 857 | IOS 1 | 122 | 500 | 2220.78 | 2225.21 | 2225.23 | 0.99999 | 2221.2042
20130528 | 1020 | SOMMA | 123 | 500 | 515.9 |  | 20 | 32.117 | 1.0226 | 21.018 | 2005.5444 | 2022.04 | 2022.0621 | 0.99999 | 2005.9235 | 20130531 | 928 | IOS 1 | 123 | 500 | 2236.77 | 2225.21 | 2225.23 | 0.99999 | 2237.1972
20130528 | 956 | SOMMA | 127 | 500 | 508.24 |  | 20 | 32.0867 | 1.0225 | 21.018 | 1975.8111 | 2022.04 | 2022.0621 | 0.99999 | 1976.1846 | 20130531 | 1003 | IOS 1 | 127 | 500 | 2211.22 | 2225.21 | 2225.23 | 0.99999 | 2211.6424
20130528 | 811 | SOMMA | 128 | 500 | 511.85 |  | 20 | 31.8508 | 1.0224 | 21.018 | 1990.1948 | 2022.04 | 2022.0621 | 0.99999 | 1990.5711 | 20130531 | 1047 | IOS 1 | 128 | 500 | 2227.39 | 2225.21 | 2225.23 | 0.99999 | 2227.8155
20130528 | 914 | SOMMA | 128 | 500 | 511.78 |  | 20 | 31.8508 | 1.0224 | 21.018 | 1989.9226 | 2022.04 | 2022.0621 | 0.99999 | 1990.2988 | 20130604 | 1139 | IOS 1 | 128 | 500 | 2233.14 | 2225.21 | 2227.24 | 0.99909 | 2231.5508
20130528 | 845 | SOMMA | 131 | 500 | 501.9 |  | 20 | 31.1505 | 1.0218 | 21.018 | 1952.5252 | 2022.04 | 2022.0621 | 0.99999 | 1952.8944 | 20130531 | 1115 | IOS 1 | 131 | 500 | 2181.98 | 2225.21 | 2225.23 | 0.99999 | 2182.3968
20130530 | 636 | SOMMA | 132 | 500 | 509.64 |  | 20 | 31.5328 | 1.0221 | 21.018 | 1982.0713 | 2022.04 | 2023.4991 | 0.99928 | 1981.0382 | 20130604 | 1202 | IOS 1 | 132 | 500 | 2231.36 | 2225.21 | 2227.24 | 0.99909 | 2229.7721
20130528 | 1202 | SOMMA | 135 | 500 | 498.03 |  | 20 | 30.8634 | 1.0216 | 21.018 | 1937.8843 | 2022.04 | 2021.0912 | 1.0005 | 1939.1818 | 20130530 | 1118 | IOS 1 | 135 | 500 | 2155.39 | 2225.21 | 2222.63 | 1.0012 | 2158.3235

## META
ALKALINITY
Type of system used for analysis: |  | System and program are from PMEL, Seattle, WA
CRM |  | Dickson Batch 123 certified value 2225.21
Correction formula
(uncorreted alkalinity*CRM correction factor *HgCl2 correction)
HgCl2 correction factor |  | 1.0002 for 500ml bottles
CRM correction factor |  | (certified value/measured value)
DIC
Type of system used for analysis:
CRM |  | Dickson Batch 123 certified value 2202.04
Data corrected for CRM |  | yes
Data correcetd for HgCl2 |  | yes
Two types of Systems
SOMMA 1
data calculation
ug Carbon *12.01/(pipette volume*denisty)*1000*1.003442*HgCl2 correction*CRM correction factor
| HgCl2 correction factor |  | 1.0002 for 500ml bottles
| CRM correction factor |  | (certified value/measured value)
| system calibration factor |  | 1.0034
CRM reference
http://cdiac.esd.ornl.gov/oceans/Dickson_CRM/rmdata/Batch123.pdf

## Sp Calc
Standard Pool calculated for replicates
Cruise | Cast No. | Station Name | Water Depth [m] | Cast Depth [m] | Sample No. [All others match to this sample number] | Rosette Bot No. | Raw Pres [dbar] | CTD Salinity 0 | Salt-1 | DIC/ALK | DIC-1 | DIC-2 | Diff | Diff2 | ALK-1 | ALK-2 | Diff | Diff2
2012-09 | 21 | SEC-4 | 55 | 50 | 112 | 5 | 5.193 | 32.3372 | 32.3868 | xx | 1927.2203 | 1927.9296 | 0.7093 | 0.5031 | 2222.4907 | 2220.8585 | -1.6322 | 2.6641
2012-09 | 25 | SEC-8 | 35 | 30 | 128 | 1 | 30.767 | 31.87 | 31.8508 | xx | 1990.5711 | 1990.2988 | -0.27223 | 0.074108 | 2227.8155 | 2231.5508 | 3.7354 | 13.9531
[12 empty] | MEAN | 0.21853 |  |  | MEAN | 1.0516
[12 empty] | STDEV | 0.69404 |  |  | STDEV | 3.7955
[12 empty] | COUNT | 2 |  |  | COUNT | 2
[12 empty] | Ccritical | 1.3035 |  |  | Ccritical | 1.3035
[12 empty] | SS |  | 0.57721 |  | SS |  | 16.6173
[12 empty] | n w/o outliers |  | 2 |  | n w/o outliers |  | 2
[12 empty] | sp |  | 0.37987 |  | sp |  | 2.0382