File List for SeaBird Data          Cruise Number: _2012-09____

[osdcommon\cruise_data\2012-09\ARCHIVE]

[osdcommon\cruise_data\2012-09\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2012-09\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2012-09\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2012-09\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2012-09\ARCHIVE\DOC\Underway] TSG files

[osdcommon\cruise_data\2012-09\PROCESSING]

[osdcommon\cruise_data\2012-09\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2012-09\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2012-09\PROCESSING\DOC]

2012-09-recal1.ccf – calibration control file for all CTD and CHE files

2012-09-ctd.xmlcon – configuration files used in processing

2010-09-post-cruise-ctd.xmlcon – configuration file with post-cruise DO parameters

2012-09_File.doc - this document

2012-09_Processing_Report.doc - processing notes

2012-09_header_info.csv – data to add to headers

2012-09-ctd-final.rpt – CTD file header check including channel summary

2012-09-ctd-xref.lis – cross-reference list of casts with stn names/positions/times

2012-09-altimeter-ctd.csv – report on header entries for altimetry

DO_Cal_study.xlsx – comparison of DO using pre-cruise and post-cruise cals

*hdr.txt – header files with comments for TSG, CTD and CHE files

[osdcommon\cruise_data\2012-09\PROCESSING\DOC\hydro]

2012-09-che-altimeter.csv – report on header entries for altimetry from bottle files

2012-09-che-final.rpt – CHE file header check including channel summary

2012-09-che-xref.lis – list of time/position header info for each cast

2012-09-bottle data.csv – spreadsheet with all analysis data from OSD

2012-09-UMCES_samples.csv – spreadsheet with all analysis data from UMCES

2012-09-sal-comp1.csv & xls –comparison of rosette bottle and CTD salinity

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2012-09-bottles-final.xlsx – summary of bottle data in CHE files

2012-09-bot-hdr.txt – header comments for CHE files

[osdcommon\cruise_data\2012-09\PROCESSING\HYDRO]

*.bot -  ros files converted to IOS HEADERS

*.che – final bottle-averaged rosette files merged with chemistry data

*.ed1 & LOG – editing output for 2 files

*.mrg1 – chemistry data from OSD

*.mrg2 – OSD and UMCES chemistry merged

*.mrg – after addition of chemistry data to BOT files

*.mrgmrh – after addition of positions etc to headers

*.mrgreo – penultimate step – just before running Head Edit

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam – bottle files with sample numbers added

*.umces – chemistry data from Univ. Maryland CES

[osdcommon\cruise_data\2012-09\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.clip –after removing initial soak from SHFC1 files – input to DELETE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log - log files created by CTDEDIT

*.mrh – files after CLN with missing headers added

*.reo – penultimate step – just before running Head Edit

Delete.log - log from routine DELETE

______________________________________________________________________________

[osdcommon\cruise_data\2012-09\RAW]

[osdcommon\cruise_data\2012-09\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2012-09\RAW\CTD] raw CTD data

[osdcommon\cruise_data\2012-09\RAW\Docs] cruise documents

[osdcommon\cruise_data\2012-09\RAW\Logs] cruise logs

[osdcommon\cruise_data\2012-09\RAW\TSG] files concerning TSG but no raw data

[osdcommon\cruise_data\2012-09\RAW\UCTD] raw UCTD data

[osdcommon\cruise_data\2012-09\RAW\xctd] XCTD data