## Notes and Updates
Current Status of Seawater Loop Log: | CTD | Sal | Chl-a (Grebmeier)
Analysts File date |  | 2012-12-05
Last Update |  | 2012-12-05
Notes | Prelim data | done
2012-10-23 SZ:
This is a combination of two files:
From 2012-09 (C3O) TSG and Underway Log.xls
From 2012-21 (Leg 3) Event log for the thermosalinograph.xls
2012-12-05 SZ:
Salt analysis performed by Hugh Maclean. Data entered from N:\SHARE\DATA\2012\2012-SWL\2012-09_C3O\Data\Chemistry\Salt\SWL TSG data for 2012-09 and 2012-21 Salinity Samples.xls

## Seawater Loop Log
TSG comments and loop samples | [10 empty] | 2012-01-01
Setup: TSG sn# w/ Flr sn# and ?
2012:00
Many changes to the fluorometer. See Humfrey's note on 23 Sep re having the 10x and 1x replaced with a 3x giving a 100x increased response.
System kept crashing during the 2012-21 trip thought to be due to the usb to serial converter.
Lat and Lon would hang mid-way through data acquistion so file might start out showing changing Lat and Lon, but then freeze.
Request for 2013: Please add updated processing software to this computer.
Cruise | Date (UTC) | Time (UTC) | TSG Filename | Comments - General | Comments - TSG | Comments -Blue Cooler | Comments -Black Box | Who? | Lat (deg N) | Lat (min N) | Long (deg W) | Lat (min W) | Sample | Chl? | Salt? | Tem'ture | Chlorophyll-a | QC | Analyst Comment | Salt | QC | Analyst Comment
2012-09 | 2012-07-05 | 18:00 | July5.hex | Prior to this time we had problems with both TSG and cooler. Cooler was missing power supply to GTD and TSG would not run. Discovered bad outlet behind laptop and bad? Serial cable. Now seems to work. Running both systems. Fluorometer cable = 30x | Prior to this time we had problems with both TSG and cooler. TSG would not run. Discovered bad outlet behind laptop and bad? Serial cable. Now seems to work. Running both systems. Fluorometer cable = 30x | Cooler was missing power supply to GTD |  |  | 48 | 9.811 | 128 | 32.634
2012-09 | 2012-07-06 | 14:35 | July6.hex | Fluorometer cable changed to 3x. Signal was saturating | Fluorometer cable changed to 3x. Signal was saturating |  |  |  | 47 | 42.54 | 133 | 42.08
2012-09 | 2012-07-06 | 22:30 | July6_2.hex | Fluorometer cable changed to 30x | Fluorometer cable changed to 30x |  |  |  | 47 | 41.384 | 135 | 41.586
2012-09 | 2012-07-07 | 0:47 | July7.hex | Fluorometer cable changed to 10x | Fluorometer cable changed to 10x |  |  |  | 47 | 40.589 | 136 | 15.857
2012-09 | 2012-07-07 | 4:17 | July7_2.hex | Fluorometer cable changed back to 3x | Fluorometer cable changed back to 3x |  |  |  | 47 | 39.355 | 137 | 9.761
2012-09 | 2012-07-07 | 14:32 |  | Salt sample |  |  |  |  | 47 | 33.36 | 139 | 45.592 | TSG-1 |  | TSG-1 |  |  |  |  | 32.6153
2012-09 | 2012-07-08 | 3:20 | July8.hex | Started new file | Started new file |  |  |  | 47 | 22.676 | 142 | 57.5
2012-09 | 2012-07-08 | 22:45 |  | Salt sample |  |  |  |  | 47 | 25.228 | 147 | 42.289 | TSG-2 |  | TSG-2 |  |  |  |  | 32.7051
2012-09 | 2012-07-08 | 22:48 | July9.hex | Started new file. Please load updated processing software on this computer | Started new file. Please load updated processing software on this computer |  |  |  | 47 | 25.502 | 147 | 42.778
2012-09 | 2012-07-10 | 9:34 | July10.hex | Started new file | Started new file |  |  |  | 51 | 4.774 | 154 | 51.446
2012-09 | 2012-07-10 | 9:38 |  | Salt sample |  |  |  |  | 51 | 5.29 | 154 | 52.492 | TSG-3 |  | TSG-3 |  |  |  |  | 32.6196
2012-09 | 2012-07-11 | 5:21 | July11.hex | Started new file | Started new file |  |  |  | 52 | 40.414 | 159 | 32.635
2012-09 | 2012-07-12 | 14:21 |  | Salt sample |  |  |  |  | 56 | 9.036 | 166 | 33.6 | TSG-4 |  | TSG-4 |  |  |  |  | 31.4921
2012-09 | 2012-07-12 | 14:23 | July12.hex | Started new file | Started new file |  |  |  | 56 | 9.319 | 166 | 33.898
2012-09 | 2012-07-13 | 15:15 | July13.hex | Started new file |  |  |  |  | 60 | 1.904 | 170 | 43.04
2012-09 | 2012-07-13 | 15:18 |  | Salt sample | Salt sample |  |  |  | 60 | 2.725 | 170 | 43.836 | TSG-5 |  | TSG-5 |  |  |  |  | 28.1807
2012-09 | 2012-07-13 | 23:10 | July14.hex | Fluorometer cable changed to 10x | Fluorometer cable changed to 10x |  |  |  | 60 | 57.689 | 172 | 45.168
2012-09 | 2012-07-14 08:02 | 41104.3347 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 62 | 0.73 | 175 | 3.98 | SLIP-1 | yes
2012-09 | 2012-07-14 10:18 | 41104.4292 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 62 | 2.99 | 175 | 12.7 | SLIP-2 | yes
2012-09 | 2012-07-14 13:57 | 41104.5813 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 62 | 23.38 | 174 | 34.25 | SLIP-3 | yes
2012-09 | 2012-07-14 | 15:21 |  | Salt sample |  |  |  |  | 62 | 23.933 | 174 | 30.562 | TSG-6 |  | TSG-6 |  |  |  |  | 30.9021
2012-09 | 2012-07-14 18:06 | 41104.7542 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 62 | 33.63 | 173 | 33.03 | SLIP-5 | yes
2012-09 | 2012-07-14 21:46 | 41104.9069 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 63 | 1.8 | 173 | 27.6 | SLIP-4 | yes
2012-09 | 2012-07-15 | 1:58 |  | Salt sample |  |  |  | JD | 63 | 25.638 | 172 | 51.474 | TSG-7 |  | TSG-7 |  |  |  |  | 31.5292
2012-09 | 2012-07-15 | 3:52 | July15.hex | Started new file | Started new file |  |  |  | 63 | 43.196 | 172 | 25.434
2012-09 | 2012-07-15 05:12 | 41105.2167 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 63 | 55.23 | 172 | 5.63 | BCL6A | yes
2012-09 | 2012-07-15 11:49 | 41105.4924 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 64 | 40.16 | 169 | 55.16 | UTBS-5 | yes
2012-09 | 2012-07-15 14:49 | 41105.6174 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 64 | 40.81 | 169 | 6.04 | UTBS-2 | yes
2012-09 | 2012-07-15 17:32 | 41105.7306 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 64 | 59.45 | 169 | 8.28 | UTBS-1 | yes
2012-09 | 2012-07-15 20:26 | 41105.8514 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 64 | 57.63 | 169 | 53.09 | UTBS-4 | yes
2012-09 | 2012-07-16 02:16 | 41106.0944 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 65 | 42.15 | 168 | 46.46 | BRS-3 | yes
2012-09 | 2012-07-16 | 2:40 |  | Salt sample |  |  |  | JD | 65 | 42.691 | 168 | 45.811 | TSG-8 |  | TSG-8 |  |  |  |  | 31.8868
2012-09 | 2012-07-16 | 3:31 | July16,hex | Started new file | Started new file |  |  |  | 65 | 51.1 | 168 | 43.282
2012-09 | 2012-07-16 07:55 | 41106.3299 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 66 | 42.69 | 168 | 23.86 | UTN-1 | yes
2012-09 | 2012-07-16 10:57 | 41106.4563 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 3 | 168 | 43.67 | UTN-2 | yes
2012-09 | 2012-07-16 13:39 | 41106.5687 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 19.77 | 168 | 54.49 | UTN-3 | yes
2012-09 | 2012-07-16 15:21 | 41106.6396 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 30.02 | 168 | 54.26 | UTN-4 | yes
2012-09 | 2012-07-16 17:24 | 41106.725 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 40.18 | 168 | 54.32 | UTN-5 | yes
2012-09 | 2012-07-16 20:41 | 41106.8618 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 44.4 | 168 | 26.42 | UTN-6 | yes
2012-09 | 2012-07-16 22:12 | 41106.925 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 46.8 | 168 | 36.14 | SEC-2 | yes
2012-09 | 2012-07-17 00:49 | 41107.034 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 0.03 | 168 | 54.55 | UTN-7 | yes
2012-09 | 2012-07-17 | 1:36 |  | Salt sample |  |  |  |  | 68 | 0.032 | 168 | 54.523 | TSG-9 |  | TSG-9 |  |  |  |  | 32.6129
2012-09 | 2012-07-17 | 1:39 | July17.hex | Started new file | Started new file |  |  |  | 68 | 0.049 | 168 | 54.271
2012-09 | 2012-07-17 03:29 | 41107.1451 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 67 | 54.06 | 168 | 14.63 | SEC-3 | yes
2012-09 | 2012-07-17 05:30 | 41107.2292 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 0.6 | 167 | 52.34 | SEC-4 | yes
2012-09 | 2012-07-17 07:27 | 41107.3104 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 7.84 | 167 | 30.59 | SEC-5 | yes
2012-09 | 2012-07-17 09:05 | 41107.3785 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 11.46 | 167 | 18.89 | SEC-6 | yes
2012-09 | 2012-07-17 10:23 | 41107.4326 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 14.49 | 167 | 7.25 | SEC-7 | yes
2012-09 | 2012-07-17 11:38 | 41107.4847 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 68 | 18.14 | 166 | 56.66 | SEC-8 | yes
2012-09 | 2012-07-18 | 17:43 | July18.hex | Started new file | Started new file |  |  |  | 69 | 48.749 | 164 | 53.798
2012-09 | 2012-07-18 | 17:46 |  | Salt sample |  |  |  |  | 69 | 48.706 | 164 | 52.476 | TSG-10 |  | TSG-10 |  |  |  |  | 29.2033
2012-09 | 2012-07-18 20:44 | 41108.8639 |  | Chlorophyll sample |  |  |  | mk/lw/dd | 69 | 48.608 | 163 | 25.83 | CS-2011 | yes
2012-09 | 2012-07-21 | 0:45 |  | Shutting down the system | Shutting down the system
2012-21 | Date utc | Day | File name | Comments | Comments |  |  |  | Latitude |  | Longitude |  | Sample No |  | Salinity | Tem'ture
2012-21 | 2012-09-19 16:10 | 263.6734 | Start-up on 19 Sep (Cambridge Bay)-1.hex | Start up, Cambridge Bay, w/ gas box. Flow measured as 1.77 litres per 22 s (4.8 l/s) Fluorometer cables are 10x in series with 1x | Start up, Cambridge Bay, w/ gas box. Flow measured as 1.77 litres per 22 s (4.8 l/s) Fluorometer cables are 10x in series with 1x | Start up, Cambridge Bay, w/ gas box.
2012-21 | 2012-09-19 19:03 | 263.7937 | Start-up on 19 Sep (Cambridge Bay)-2.hex | Re-start logging | Re-start logging
2012-21 | 2012-09-19 19:10 | 263.7986 | Start-up on 19 Sep (Cambridge Bay)-2.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-19 19:19 | 263.8049 |  | Re-start logging after laptop crashed Run CHKDSK, no problems. Run Restore to 16:00 19 Sep COM6 for TSG. COM8 for NMEA | Re-start logging after laptop crashed Run CHKDSK, no problems. Run Restore to 16:00 19 Sep COM6 for TSG. COM8 for NMEA
2012-21 | 2012-09-19 20:42 | 263.8628 | Start-up on 19 Sep (Cambridge Bay)-2.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed |  |  |  | 69 | 6.5 | 105 | 3.7 |  |  | 27.56 | 3.46
2012-21 | 2012-09-19 21:59 | 263.9159 | Start-up on 19 Sep (Cambridge Bay)-3.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-20 21:48 | 264.9084 | Start-up on 20 Sep (Dease Strait).hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed |  |  |  | 68 | 47.84 | 107 | 51.89 |  |  | 24.76 | 6.18
2012-21 | 2012-09-21 13:38 | 265.5683 | Start-up on 21 Sep (Kugluktuk)-1.hex | Re-start logging after laptop crashed Move logging to a Lenovo N200 Laptop. Re-start a test file --> crash. Re-start | Re-start logging after laptop crashed Move logging to a Lenovo N200 Laptop. Re-start a test file --> crash. Re-start |  |  |  | 67 | 52.8 | 115 | 1.7 |  |  | 14.9 | 6.1
2012-21 | 2012-09-21 14:04 | 265.5864 | Start-up on 21 Sep (Kugluktuk)-2.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed |  |  |  | 67 | 52.8 | 115 | 1.7 |  |  | 14.9 | 6.1
2012-21 | 2012-09-21 16:40 | 265.6942 | Start-up on 21 Sep (Kugluktuk)-3.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-21 23:01 | 265.9589 | Start-up on 21 Sep (Coronation Gulf)-1.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-22 00:15 | 266.0104 | Start-up on 22 Sep (Coronation Gulf)-2.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-22 03:35 | 266.1494 | Start-up on 22 Sep (Dolphin & Union)-1.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-22 05:04 | 266.2112 | Start-up on 22 Sep (Dolphin & Union)-2.hex | Re-start logging after laptop crashed | Re-start logging after laptop crashed
2012-21 | 2012-09-22 15:13 | 266.634 | Start-up on 22 Sep (Amundsen Gulf).hex | Re-start logging after laptop crashed Substitute ATEN USB-serial converter for Keyspan | Re-start logging after laptop crashed Substitute ATEN USB-serial converter for Keyspan
2012-21 | 2012-09-23 15:28 | 267.6442 | Start-up on 23 Sep (Cape Bathurst).hex | Stop logging to switch computers: Replace Lenovo with Acer | Stop logging to switch computers: Replace Lenovo with Acer |  |  |  | 71 | 0.06 | 128 | 40.92
2012-21 | 2012-09-23 17:15 | 267.7188 |  | Change fluorometer cable from 10x with 1x to a single 3x cable. Fluorescence changes by about 100 x. Strange. | Change fluorometer cable from 10x with 1x to a single 3x cable. Fluorescence changes by about 100 x. Strange.
2012-21 | 2012-09-24 11:00 | 268.4583 |  | TSG pump stopped | TSG pump stopped
2012-21 | 2012-09-24 14:10 | 268.5903 |  | TSG pump re-started | TSG pump re-started
2012-21 | 2012-09-25 20:14 | 269.8431 |  | All channels noisy. Poor synchronization. Stop | All channels noisy. Poor synchronization. Stop |  |  |  | 70 | 40.79 | 135 | 58.19
2012-21 | 2012-09-25 20:15 | 269.8438 | Start-up on 25 Sep (Coke Cap).hex | Re-start logging | Re-start logging |  |  |  | 70 | 40.79 | 135 | 58.19 |  |  | 26.52 | 5.32
2012-21 | 2012-09-26 02:27 | 270.1021 |  | Sample for salinity |  |  |  |  | 70 | 40.75 | 135 | 58.058 | 2012-21-S01 |  | 26.538 | 5.51 |  |  |  | 26.5552
2012-21 | 2012-09-26 13:08 | 270.5472 | Start-up on 26 Sep (Deep expulsion feature).hex | Re-start logging because logged data becoming noisy | Re-start logging because logged data becoming noisy |  |  |  | 70 | 48.97 | 136 | 8.9 |  |  | 26.62 | 5.16
2012-21 | 2012-09-28 13:15 | 272.5521 | Start-up on 28 Sep (Site SIC12-2).hex | Re-start logging because logged data becoming noisy | Re-start logging because logged data becoming noisy |  |  |  | 70 | 57.08 | 133 | 44.85 |  |  | 27.68 | 4.58
2012-21 | 2012-09-29 03:10 | 273.1319 |  | Sample for salinity |  |  |  |  | 70 | 43.86 | 135 | 18.44 | 2012-21-S02 |  | 27.467 | 4.5 |  |  |  | 27.4878
2012-21 | 2012-09-29 16:41 | 273.6951 | Start-up on 29 Sep (Site BR-B).hex | Re-start logging because logged data becoming noisy. Now using Easy Sync USB-serial in place of Dynex DX UBDB9 unit. | Re-start logging because logged data becoming noisy. Now using Easy Sync USB-serial in place of Dynex DX UBDB9 unit. |  |  |  | 70 | 41.54 | 135 | 35.06 |  |  | 27.573 | 4.57
2012-21 | 2012-10-02 14:16 | 276.5944 |  | Sample for salinity |  |  |  |  | 70 | 40.153 | 135 | 59.59 | 2012-21-S03 |  | 26.902 | 3.877 |  |  |  | 26.93
2012-21 | 2012-10-05 13:45 | 279.5729 |  | Sample for salinity |  |  |  |  | 70 | 30.56 | 146 | 4.7 | 2012-21-S04 | [6 empty] | 27.0983
2012-21 | 2012-10-05 14:43 | 279.6132 | Start-up of 5 Oct (At 146 36 W).hex | Re-start logging before leaving Sir Wilfrid Laurier | Re-start logging before leaving Sir Wilfrid Laurier |  |  |  | 70 | 30.7 | 146 | 37.05
2012-21 |  | -40908
2012-21 |  | -40908
2012-21 |  | -40908
2012-21 |  | -40908
2012-21 |  | -40908
2012-21 | 2012-10-19 15:40 |  |  | Stopped logging and packing up system at Pat Bay | Stopped logging and packing up system at Pat Bay