## Notes
Analysis: | Hugh MacLean, Line P onboard CCGS JP Tully, 22-May-12 to 09-JUN-12 using IOS Kit #1. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert
2012-06-28 |  | KS
Statistical method for the determination of outliers was modified from what has been used recently for a more accurate representation of the true precision of the data.
As a result, precision is no longer reported as the pooled standard deviation (inapprpriate for use with an n of 2) but more accurately represented by the mean difference.
The final two casts (78 and 107) went 4 and 7 days respectively without the Thiosulfate being standardized. This is not acceptable and the data is likely not as accurate as it should be.
To what degree the data was affected is difficult to determine.
Sample 1 was problematic from sampling to analysis therefore the value is not reported. Padded and flagged as a 5.
Samples 2 and 3 were anoxic. The titrations produced just noise so values are reported as 0.000 mL/L
Sample 131 - Analyst noted that the endpoint was bad but the titration looks very good and the end point is actually very clear. Flagged as a two for further inspection but
I suspect we may drop the flag and comment altogether. I inspected each adjacent titration as well to make sure the comment wasnt misplaced.
Sample 387 - Titration ended abruptly most likely due to an obstruction in the light path. No end point to speak of. Flagged as a 5 and padded.
Sample 830 - Analyst did not acidify sample. Sample received an excessive dose of thiosulfate as a result. Flagged as a five and padded.
2012-09-26 |  | KS
Cast 61, samples number 484 to 507 were actually from station P20, not P26. Corrected spreadsheet
2012-10-31 |  | GG
Cast 1, sample 9 - outlier in compare, but not significant given local gradient; added comment only
Cast 15, sample 131 - flag and comment removed since the data look fine in COMPARE and in post-processing.
Cast 61, sample 484 - outlier in Compare so flag changed from 2 to 3; comment amended
Cast 107, sample 820 - extreme outlier in Compare and in profile; replaced with pad value and 5 flag assigned
Cast 107, sample 821 - flag changed to 4 - significantly out of line in comparison to CTD DO sensor and in profile.
Cast 107, sample 825 - flag 3 added based on comparison with CTD DO sensor.

## QF 2012-12 OXY FINAL
HEADER: | Oxygen samples were analyzed at sea using an automated Winkler titration system
(Brinkmann Dosimat model 765 and a PC 950 Colorimeter controlled by AutoOxy software V3.4)
with modifications based on Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a replicate analysis, see document QF2012-12OXY.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2012-12 | 1 | SI03 | 1 | -99 | 5 | 11.1 | OXY: Spigot open, Bubble in burrette. Overall a bad sample. Should be anoxic as well
2012-12 | 1 | SI03 | 2 | 0 |  | 9.3 | OXY: Anoxic sample
2012-12 | 1 | SI03 | 3 | 0 |  | 9.3 | OXY: Anoxic sample
2012-12 | 1 | SI03 | 4 | 0.048318 |  | 9.3
2012-12 | 1 | SI03 | 5 | 0.20088 |  | 9.3
2012-12 | 1 | SI03 | 6 | 1.4382 |  | 9.1
2012-12 | 1 | SI03 | 7 | 3.0286 |  | 8.5
2012-12 | 1 | SI03 | 8 | 4.5418 | 6 | 8.35
2012-12 | 1 | SI03 | 9 | 7.1246 | 2 | 9.2 | OXY: Bubble on lens, however; Titration clean and ended at 100%. outlier in COMPARE but local gradient high and complex so probably ok.
2012-12 | 1 | SI03 | 10 | 8.2681 |  | 10.2
2012-12 | 1 | SI03 | 11 | 9.1191 |  | 11.4
2012-12 | 3 | P2 | 148 | 2.1171 | 6 | 7.5
2012-12 | 3 | P2 | 149 | 2.1619 |  | 7.5
2012-12 | 3 | P2 | 150 | 3.8234 |  | 8.1
2012-12 | 3 | P2 | 151 | 3.8312 |  | 8.1
2012-12 | 3 | P2 | 152 | 5.4703 |  | 8.2
2012-12 | 3 | P2 | 153 | 6.2451 | 6 | 8.75
2012-12 | 3 | P2 | 154 | 6.9793 |  | 9.9
2012-12 | 3 | P2 | 155 | 6.8716 |  | 10.6
2012-12 | 15 | P4 | 117 | 0.49809 |  | 4.2
2012-12 | 15 | P4 | 118 | 0.42501 |  | 4.2
2012-12 | 15 | P4 | 119 | 0.42451 |  | 4.2
2012-12 | 15 | P4 | 120 | 0.27507 | 6 | 5
2012-12 | 15 | P4 | 121 | 0.20883 |  | 5.7
2012-12 | 15 | P4 | 122 | 0.33822 |  | 5.2
2012-12 | 15 | P4 | 123 | 0.87618 |  | 6.4
2012-12 | 15 | P4 | 124 | 1.3221 |  | 6.7
2012-12 | 15 | P4 | 125 | 1.8716 |  | 7
2012-12 | 15 | P4 | 126 | 3.3624 |  | 7.4
2012-12 | 15 | P4 | 127 | 3.1963 |  | 7.7
2012-12 | 15 | P4 | 128 | 3.1174 | 6 | 8.05
2012-12 | 15 | P4 | 129 | 3.6335 |  | 8.3
2012-12 | 15 | P4 | 130 | 5.7407 |  | 8
2012-12 | 15 | P4 | 131 | 5.9984 |  | 8.6
2012-12 | 15 | P4 | 132 | 6.1403 |  | 8.9
2012-12 | 15 | P4 | 133 | 6.7767 |  | 10.3
2012-12 | 15 | P4 | 134 | 6.7374 |  | 10.8
2012-12 | 15 | P4 | 135 | 6.7356 |  | 10.9
2012-12 | 22 | P8 | 186 | 1.4619 | 6 | 3.5
2012-12 | 22 | P8 | 187 | 0.69333 |  | 3.6
2012-12 | 22 | P8 | 188 | 0.46049 |  | 4
2012-12 | 22 | P8 | 189 | 0.2572 | 6 | 4.55
2012-12 | 22 | P8 | 190 | 0.23351 |  | 5
2012-12 | 22 | P8 | 191 | 0.35497 |  | 5.6
2012-12 | 22 | P8 | 192 | 1.1514 |  | 6.1
2012-12 | 22 | P8 | 193 | 1.8162 |  | 6.4
2012-12 | 22 | P8 | 194 | 2.5382 |  | 6.8
2012-12 | 22 | P8 | 195 | 3.036 |  | 7.3
2012-12 | 22 | P8 | 196 | 3.1199 |  | 7.4
2012-12 | 22 | P8 | 197 | 3.4887 |  | 7.6
2012-12 | 22 | P8 | 198 | 3.8277 |  | 7.8
2012-12 | 22 | P8 | 199 | 5.1704 |  | 7.7
2012-12 | 22 | P8 | 200 | 6.7057 | 6 | 7.5
2012-12 | 22 | P8 | 201 | 6.9022 |  | 7.8
2012-12 | 22 | P8 | 202 | 6.9215 |  | 9.4
2012-12 | 22 | P8 | 203 | 6.7431 |  | 10.3
2012-12 | 22 | P8 | 204 | 6.7335 |  | 10.3
2012-12 | 29 | P12 | 232 | 2.3219 |  | 2.8
2012-12 | 29 | P12 | 233 | 2.2911 |  | 2.6
2012-12 | 29 | P12 | 234 | 2.2898 | 6 | 2.7
2012-12 | 29 | P12 | 235 | 1.8866 |  | 2.7
2012-12 | 29 | P12 | 236 | 1.3533 |  | 3
2012-12 | 29 | P12 | 237 | 0.64016 |  | 3.4
2012-12 | 29 | P12 | 238 | 0.33864 |  | 3.9
2012-12 | 29 | P12 | 239 | 0.24531 |  | 4.2
2012-12 | 29 | P12 | 240 | 0.31365 |  | 4.6
2012-12 | 29 | P12 | 241 | 0.5753 |  | 5.2
2012-12 | 29 | P12 | 242 | 1.5601 |  | 5.6
2012-12 | 29 | P12 | 243 | 2.5342 | 6 | 6.05
2012-12 | 29 | P12 | 244 | 2.8974 |  | 6.5
2012-12 | 29 | P12 | 245 | 3.7095 |  | 7.1
2012-12 | 29 | P12 | 246 | 4.0465 |  | 7.3
2012-12 | 29 | P12 | 247 | 4.3319 |  | 7.4
2012-12 | 29 | P12 | 248 | 6.2652 |  | 7.3
2012-12 | 29 | P12 | 249 | 6.7999 |  | 7.4
2012-12 | 29 | P12 | 250 | 6.853 | 6 | 7.6
2012-12 | 29 | P12 | 251 | 6.9397 |  | 8.2
2012-12 | 29 | P12 | 252 | 6.7861 |  | 9.1
2012-12 | 29 | P12 | 253 | 6.7824 |  | 9
2012-12 | 29 | P12 | 254 | 6.7837 |  | 9.1
2012-12 | 46 | P16 | 370 | 2.7938 |  | 2.6
2012-12 | 46 | P16 | 371 | 2.6963 |  | 2.4
2012-12 | 46 | P16 | 372 | 2.7006 | 6 | 2.4
2012-12 | 46 | P16 | 373 | 2.455 |  | 2.3
2012-12 | 46 | P16 | 374 | 1.9129 |  | 2.4
2012-12 | 46 | P16 | 375 | 1.2869 |  | 2.6
2012-12 | 46 | P16 | 376 | 0.50764 |  | 3.1
2012-12 | 46 | P16 | 377 | 0.30608 |  | 3.3
2012-12 | 46 | P16 | 378 | 0.25257 |  | 3.7
2012-12 | 46 | P16 | 379 | 0.34552 | 6 | 4.1
2012-12 | 46 | P16 | 380 | 0.53153 |  | 4.5
2012-12 | 46 | P16 | 381 | 1.1106 |  | 5.1
2012-12 | 46 | P16 | 382 | 1.9926 |  | 5.5
2012-12 | 46 | P16 | 383 | 2.4424 |  | 5.7
2012-12 | 46 | P16 | 384 | 2.9798 |  | 5.9
2012-12 | 46 | P16 | 385 | 3.3454 |  | 6.2
2012-12 | 46 | P16 | 386 | 3.7191 |  | 6.7
2012-12 | 46 | P16 | 387 | -99 | 5 | 6.9 | OXY: Titration incomplete. Likely a bubble in light path
2012-12 | 46 | P16 | 388 | 6.4824 |  | 6.7
2012-12 | 46 | P16 | 389 | 6.9545 | 3 | 6.9 | OXY: Bubble on lens. Messy curve. End point at only 96%. Vlaue not trusted
2012-12 | 46 | P16 | 390 | 7.1116 |  | 7.2
2012-12 | 46 | P16 | 391 | 6.9978 |  | 7.8
2012-12 | 46 | P16 | 392 | 6.9553 |  | 8.1
2012-12 | 46 | P16 | 393 | 6.9678 | 6 | 8.05
2012-12 | 61 | P20 | 484 | 3.1644 | 3 | 2.4 | OXY: Bubbles from MnCl2 Dispenser; outlier in comparison to CTD.
2012-12 | 61 | P20 | 485 | 2.8839 | 2 | 2.3 | OXY: Bubbles from MnCl2 Dispenser
2012-12 | 61 | P20 | 486 | 2.8765 | 2 | 2.3 | OXY: Bubbles from MnCl2 Dispenser
2012-12 | 61 | P20 | 487 | 2.5156 |  | 2.4
2012-12 | 61 | P20 | 488 | 1.9124 | 6 | 2.6
2012-12 | 61 | P20 | 489 | 1.2886 |  | 2.7
2012-12 | 61 | P20 | 490 | 0.53108 |  | 3.1
2012-12 | 61 | P20 | 491 | 0.303 |  | 3.4
2012-12 | 61 | P20 | 492 | 0.33402 | 6 | 3.8
2012-12 | 61 | P20 | 493 | 0.45611 | 2 | 4.1 | OXY: Draw temperature may be incorrect
2012-12 | 61 | P20 | 494 | 0.6152 |  | 4.7
2012-12 | 61 | P20 | 495 | 1.2795 |  | 5.2
2012-12 | 61 | P20 | 496 | 1.9204 |  | 5.5
2012-12 | 61 | P20 | 497 | 2.3869 |  | 5.7
2012-12 | 61 | P20 | 498 | 3.0959 |  | 6
2012-12 | 61 | P20 | 499 | 3.3558 |  | 6.2
2012-12 | 61 | P20 | 500 | 3.7133 |  | 6.3
2012-12 | 61 | P20 | 501 | 4.6684 | 6 | 6.35
2012-12 | 61 | P20 | 502 | 6.4976 |  | 6.2
2012-12 | 61 | P20 | 503 | 7.0858 |  | 6.6
2012-12 | 61 | P20 | 504 | 7.0784 |  | 7.3
2012-12 | 61 | P20 | 505 | 7.0296 | 2 | 7.4 | OXY: Top valve open slightly
2012-12 | 61 | P20 | 506 | 7.0317 |  | 7.5
2012-12 | 61 | P20 | 507 | 7.0304 |  | 7.4
2012-12 | 78 | P26 | 604 | 3.2155 |  | 2.4
2012-12 | 78 | P26 | 605 | 3.1516 |  | 2.1
2012-12 | 78 | P26 | 606 | 2.9312 |  | 2.1
2012-12 | 78 | P26 | 607 | 2.5438 |  | 2.2
2012-12 | 78 | P26 | 608 | 1.9615 | 6 | 2.35
2012-12 | 78 | P26 | 609 | 1.2776 |  | 2.4
2012-12 | 78 | P26 | 610 | 0.5114 |  | 2.8
2012-12 | 78 | P26 | 611 | 0.49682 |  | 3.1
2012-12 | 78 | P26 | 612 | 0.50514 | 6 | 3.4
2012-12 | 78 | P26 | 613 | 0.5381 |  | 3.8
2012-12 | 78 | P26 | 614 | 0.6519 |  | 4.2
2012-12 | 78 | P26 | 615 | 1.1716 |  | 4.5
2012-12 | 78 | P26 | 616 | 1.6715 |  | 4.5
2012-12 | 78 | P26 | 617 | 2.1962 |  | 4.5
2012-12 | 78 | P26 | 618 | 2.8942 |  | 4.7
2012-12 | 78 | P26 | 619 | 3.8003 |  | 5
2012-12 | 78 | P26 | 620 | 4.9 |  | 5.2
2012-12 | 78 | P26 | 621 | 6.9216 | 6 | 4.85
2012-12 | 78 | P26 | 622 | 7.0857 |  | 5.6
2012-12 | 78 | P26 | 623 | 7.2047 |  | 5.9
2012-12 | 78 | P26 | 624 | 7.2054 |  | 6.4
2012-12 | 78 | P26 | 625 | 7.1929 | 2 | 6.7 | OXY: Top valve leaking
2012-12 | 78 | P26 | 626 | 7.2412 |  | 6.7
2012-12 | 78 | P26 | 627 | 7.2363 | 2 | 6.7 | OXY: Top valve leaking
2012-12 | 107 | P4 | 812 | 0.54343 |  | 4
2012-12 | 107 | P4 | 813 | 0.42582 |  | 4
2012-12 | 107 | P4 | 814 | 0.46542 |  | 4
2012-12 | 107 | P4 | 815 | 0.26602 | 6 | 4.7
2012-12 | 107 | P4 | 816 | 0.23008 |  | 5.2
2012-12 | 107 | P4 | 817 | 0.3802 |  | 5.7
2012-12 | 107 | P4 | 818 | 1.1973 |  | 6.2
2012-12 | 107 | P4 | 819 | 2.1015 |  | 6.5
2012-12 | 107 | P4 | 820 | -99 | 5 | 6.9 | OXY: Outlier in profile and in comparison to CTD DO; higher than CTD by 1.5mL/L.
2012-12 | 107 | P4 | 821 | 3.4494 | 4 | 7.3 | OXY: Messy curve. End point ambiguous. Outlier in profile and in comparison to CTD DO sensor.
2012-12 | 107 | P4 | 822 | 3.219 |  | 7.5
2012-12 | 107 | P4 | 823 | 3.6176 | 6 | 7.7
2012-12 | 107 | P4 | 824 | 3.7084 |  | 7.8
2012-12 | 107 | P4 | 825 | 4.5535 | 3 | 8 | OXY: Outlier inc omparison to CTD DO sensor.
2012-12 | 107 | P4 | 826 | 6.5967 |  | 7.9
2012-12 | 107 | P4 | 827 | 6.5784 |  | 8.5
2012-12 | 107 | P4 | 828 | 6.7293 |  | 10.6
2012-12 | 107 | P4 | 829 | 6.7426 | 6 | 10.6
2012-12 | 107 | P4 | 830 | -99 | 5 | 10.7 | OXY: Analyst did not add acid to sample. 5 mL of Thio added. Sample lost.

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
The mean difference for Dissolved Oxygen for the range 0.249 to 6.973 mL/L was 0.009, k = 46 with 0 outlier(s) removed
Precision Statement for Samples Drawn From Duplicate Niskin Bottles:
The mean difference for Dissolved Oxygen for the range 0.425 to 3.831 mL/L was 0.004, k = 12 with 1 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns O, P and Q).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [21 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | ABS Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
1 | SI03 | 8 | 50 | 4.545 | 4.5386 | 4.5418 | 3084 | 3090 | 8.5 | 8.2 | 8.35 | -0.0063737 | 0.0063737 | 0.0031868 | -0.0031868 |  | 2.0312e-05 | 2 |  |  |  | 3 | 1.37
3 | P2 | 148 | 105 | 2.1235 | 2.1108 | 2.1171 | 3104 | 3107 | 7.5 | 7.5 | 7.5 | -0.012738 | 0.012738 | 0.0063692 | -0.0063692 |  | 8.1134e-05 | 2 |  |  |  | 4 | 1.53
3 | P2 | 153 | 25 | 6.2482 | 6.2421 | 6.2451 | 3121 | 3124 | 8.7 | 8.8 | 8.75 | -0.0061028 | 0.0061028 | 0.0030514 | -0.0030514 |  | 1.8622e-05 | 2 |  |  |  | 5 | 1.64
15 | P4 | 120 | 1000 | 0.26573 | 0.2844 | 0.27507 | 2027 | 864 | 4.7 | 5.3 | 5 | 0.01867 | 0.01867 | -0.0093352 | 0.0093352 |  | 0.00017429 | 2 |  |  |  | 6 | 1.73
15 | P4 | 128 | 150 | 3.1243 | 3.1105 | 3.1174 | 872 | 873 | 8 | 8.1 | 8.05 | -0.013816 | 0.013816 | 0.0069081 | -0.0069081 |  | 9.5443e-05 | 2 |  |  |  | 7 | 1.8
22 | P8 | 186 | 2000 | 1.4653 | 1.4585 | 1.4619 | 3040 | 3043 | 3.5 | 3.5 | 3.5 | -0.0067332 | 0.0067332 | 0.0033666 | -0.0033666 |  | 2.2668e-05 | 2 |  |  |  | 8 | 1.87
22 | P8 | 189 | 1000 | 0.26547 | 0.24892 | 0.2572 | 3061 | 3067 | 4.5 | 4.6 | 4.55 | -0.016553 | 0.016553 | 0.0082767 | -0.0082767 |  | 0.00013701 | 2 |  |  |  | 9 | 1.91
22 | P8 | 200 | 75 | 6.704 | 6.7075 | 6.7057 | 3118 | 3119 | 7.5 | 7.5 | 7.5 | 0.0035513 | 0.0035513 | -0.0017757 | 0.0017757 |  | 6.3059e-06 | 2 |  |  |  | 10 | 1.97
29 | P12 | 234 | 3000 | 2.2956 | 2.284 | 2.2898 | 862 | 2027 | 2.6 | 2.8 | 2.7 | -0.011651 | 0.011651 | 0.0058255 | -0.0058255 |  | 6.7873e-05 | 2 |  |  |  | 20 | 2.24
29 | P12 | 243 | 300 | 2.5399 | 2.5286 | 2.5342 | 872 | 873 | 6 | 6.1 | 6.05 | -0.011379 | 0.011379 | 0.0056895 | -0.0056895 |  | 6.474e-05 | 2 |  |  |  | 30 | 2.39
29 | P12 | 250 | 75 | 6.8541 | 6.8518 | 6.853 | 881 | 876 | 7.6 | 7.6 | 7.6 | -0.0023161 | 0.0023161 | 0.0011581 | -0.0011581 |  | 2.6822e-06 | 2 |  |  |  | 50 | 2.57
46 | P16 | 372 | 3500 | 2.6968 | 2.7044 | 2.7006 | 862 | 2027 | 2.4 | 2.4 | 2.4 | 0.0075535 | 0.0075535 | -0.0037767 | 0.0037767 |  | 2.8527e-05 | 2 |  |  |  | 80 | 2.74
46 | P16 | 379 | 800 | 0.34603 | 0.34501 | 0.34552 | 870 | 3164 | 4 | 4.2 | 4.1 | -0.0010251 | 0.0010251 | 0.00051254 | -0.00051254 |  | 5.2539e-07 | 2 |  |  |  | 100 | 2.81
46 | P16 | 393 | 5 | 6.9727 | 6.9629 | 6.9678 | 3194 | 886 | 8 | 8.1 | 8.05 | -0.0098228 | 0.0098228 | 0.0049114 | -0.0049114 |  | 4.8244e-05 | 2 |  |  |  | 150 | 2.93
61 | P20 | 488 | 2500 | 1.9138 | 1.9109 | 1.9124 | 804 | 805 | 2.5 | 2.7 | 2.6 | -0.0028486 | 0.0028486 | 0.0014243 | -0.0014243 |  | 4.0573e-06 | 2 |  |  |  | 200 | 3.02
61 | P20 | 492 | 1000 | 0.33014 | 0.33791 | 0.33402 | 809 | 810 | 3.8 | 3.8 | 3.8 | 0.0077688 | 0.0077688 | -0.0038844 | 0.0038844 |  | 3.0177e-05 | 2 |  |  | Depth info was incorrect. Corrected
61 | P20 | 501 | 125 | 4.6694 | 4.6674 | 4.6684 | 820 | 822 | 6.3 | 6.4 | 6.35 | -0.0019719 | 0.0019719 | 0.00098597 | -0.00098597 |  | 1.9443e-06 | 2
78 | P26 | 608 | 2500 | 1.9647 | 1.9583 | 1.9615 | 864 | 865 | 2.3 | 2.4 | 2.35 | -0.0063956 | 0.0063956 | 0.0031978 | -0.0031978 |  | 2.0452e-05 | 2
78 | P26 | 612 | 1000 | 0.51553 | 0.49474 | 0.50514 | 869 | 870 | 3.4 | 3.4 | 3.4 | -0.020785 | 0.020785 | 0.010392 | -0.010392 |  | 0.000216 | 2
78 | P26 | 621 | 125 | 6.9217 | 6.9215 | 6.9216 | 879 | 880 | 4.8 | 4.9 | 4.85 | -0.00021241 | 0.00021241 | 0.0001062 | -0.0001062 |  | 2.2558e-08 | 2
107 | P4 | 815 | 1000 | 0.27796 | 0.25407 | 0.26602 | 2027 | 864 | 4.7 | 4.7 | 4.7 | -0.023881 | 0.023881 | 0.011941 | -0.011941 |  | 0.00028516 | 2 |  | Corrected Sample ID.
107 | P4 | 823 | 150 | 3.6141 | 3.6211 | 3.6176 | 872 | 873 | 7.7 | 7.7 | 7.7 | 0.0070597 | 0.0070597 | -0.0035298 | 0.0035298 |  | 2.492e-05 | 2
107 | P4 | 829 | 10 | 6.742 | 6.7431 | 6.7426 | 879 | 880 | 10.6 | 10.6 | 10.6 | 0.0011249 | 0.0011249 | -0.00056247 | 0.00056247 |  | 6.3273e-07 | 2
[16 empty] | Sum | 0.0013517
[16 empty] | Count |  | 46
[16 empty] | σ | 0.0054807
[16 empty] | dmax/σ for n (Table 2) | 2.57
[16 empty] | Thus dmax = 2.57 x σ | 0.014086
[16 empty] | Mean Diff | 0.0087102
[16 empty] | MIN | 0.24892
[16 empty] | MAX | 6.9727
0 Outlier(s) Removed
[16 empty] | Mean Diff = | 0.0088287
Table 1. Replicate Analysis for Samples Drawn From Duplicate Niskin Bottles | [21 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Flask1 | Flask2 | Draw T1 | Draw T2 | Draw TAvg | Diff | ABS Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
3 | P2 | 150/151 | 75 | 3.8234 | 3.8312 | 3.8273 | 3116 | 3118 | 8.1 | 8.1 | 8.1 | 0.007713 | 0.007713 | -0.0038565 | 0.0038565 |  | 2.9745e-05 | 2 |  |  |  | 3 | 1.37
15 | P4 | 118/119 | 1250 | 0.42501 | 0.42451 | 0.42476 | 861 | 862 | 4.2 | 4.2 | 4.2 | -0.00050108 | 0.00050108 | 0.00025054 | -0.00025054 |  | 1.2554e-07 | 2 |  |  |  | 4 | 1.53
29 | P12 | 233/234 | 3000 | 2.2911 | 2.2898 | 2.2905 | 861 | 862 | 2.6 | 2.7 | 2.65 | -0.0013426 | 0.0013426 | 0.00067129 | -0.00067129 |  | 9.0126e-07 | 2 |  |  |  | 5 | 1.64
46 | P16 | 371/372 | 3500 | 2.6963 | 2.7006 | 2.6984 | 861 | 862 | 2.4 | 2.4 | 2.4 | 0.0042922 | 0.0042922 | -0.0021461 | 0.0021461 |  | 9.2115e-06 | 2 |  |  |  | 6 | 1.73
61 | P26 | 485/486 | 3500 | 2.8839 | 2.8765 | 2.8802 | 801 | 802 | 2.3 | 2.3 | 2.3 | -0.0073835 | 0.0073835 | 0.0036918 | -0.0036918 |  | 2.7258e-05 | 2 |  | OXY: Bubbles from MnCl2 Dispenser | OXY: Bubbles from MnCl2 Dispenser | 7 | 1.8
107 | P4 | 813/814 | 1250 | 0.42582 | 0.46542 | 0.44562 | 861 | 862 | 4 | 4 | 4 | 0.039598 | 0.039598 | -0.019799 | 0.019799 |  | 0.00078401 | 2 | y |  |  | 8 | 1.87
[22 empty] | 9 | 1.91
[22 empty] | 10 | 1.97
[22 empty] | 20 | 2.24
[22 empty] | 30 | 2.39
[22 empty] | 50 | 2.57
[22 empty] | 80 | 2.74
[22 empty] | 100 | 2.81
[22 empty] | 150 | 2.93
[22 empty] | 200 | 3.02
[16 empty] | Sum | 0.00085125
[16 empty] | Count |  | 12
[16 empty] | σ | 0.0087969
[16 empty] | dmax/σ for n (Table 2) | 1.97
[16 empty] | Thus dmax = 1.97 x σ | 0.01733
[16 empty] | Mean Diff | 0.010138
[16 empty] | MIN | 0.42451
[16 empty] | MAX | 3.8312
1 Outlier(s) Removed
[16 empty] | Mean Diff = | 0.0042465

## Flags
Institute of Ocean Sciences -Quality Flags for Water Sampling | Last Updated: April 2012
Double click document to use.

## Oxy Data Processing
File Name | Event | Station | Sample_ Number | Depth | Raw Oxygen: Dissolved | AutoOxy Thiosulfate_ titer | Regression Thiosulfate_ titer | Flask_ Number | Flask_ Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | THIO N | AutoOxy Oxygen: Dissolved | AutoOxy Oxygen: Dissolved | Flag | Temperature: Draw | Comment
2012-120001.oxy | 1 | SI03 | 1 | 214 | 9.121 | 1.518 | 1.518 | 3040 | 132.56 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | -99 | -99 | 5 | 11.1 | OXY: Spigot open, Bubble in burrette. Overall a bad sample. Should be anoxic as well
2012-120001.oxy | 1 | SI03 | 2 | 200 | 0 | 0 | 0 | 3043 | 135.86 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0 | 0 |  | 9.3 | OXY: No curve. Just noise. Anoxic sample
2012-120001.oxy | 1 | SI03 | 3 | 175 | 0.113 | 0.023 | 0 | 3047 | 135.5 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0 | 0 |  | 9.3 | OXY: No curve. Just noise. Anoxic sample
2012-120001.oxy | 1 | SI03 | 4 | 150 | 0.046 | 0.012 | 0.0124 | 3055 | 140.98 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.046055 | 0.048318 |  | 9.3
2012-120001.oxy | 1 | SI03 | 5 | 125 | 0.201 | 0.04 | 0.04 | 3061 | 143.49 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.20088 | 0.20088 |  | 9.3
2012-120001.oxy | 1 | SI03 | 6 | 100 | 1.438 | 0.259 | 0.259 | 3067 | 141.52 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 1.4382 | 1.4382 |  | 9.1
2012-120001.oxy | 1 | SI03 | 7 | 75 | 3.032 | 0.52 | 0.5195 | 3075 | 135.9 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.0316 | 3.0286 |  | 8.5
2012-120001.oxy | 1 | SI03 | 8 | 50 | 4.545 | 0.828 | 0.828 | 3084 | 144.61 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 4.545 | 4.545 |  | 8.5
2012-120001.oxy | 1 | SI03 | 8 | 50 | 4.542 | 0.766 | 0.7655 | 3090 | 133.98 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 4.5416 | 4.5386 |  | 8.2
2012-120001.oxy | 1 | SI03 | 9 | 25 | 7.125 | 1.254 | 1.254 | 3094 | 140 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 7.1246 | 7.1246 | 2 | 9.2 | OXY: Bubble on lens. Titration clean and ended at 100%.
2012-120001.oxy | 1 | SI03 | 10 | 10 | 8.268 | 1.505 | 1.505 | 3098 | 144.79 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 8.2681 | 8.2681 |  | 10.2
2012-120001.oxy | 1 | SI03 | 11 | 5 | 9.113 | 1.641 | 1.642 | 3100 | 143.28 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 9.1136 | 9.1191 |  | 11.4
2012-120003.oxy | 3 | P2 | 148 | 105 | 2.124 | 0.385 | 0.385 | 3104 | 143.16 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 2.1235 | 2.1235 |  | 7.5
2012-120003.oxy | 3 | P2 | 148 | 105 | 2.114 | 0.379 | 0.3785 | 3107 | 141.59 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 2.1136 | 2.1108 |  | 7.5
2012-120003.oxy | 3 | P2 | 149 | 100 | 2.16 | 0.395 | 0.3954 | 3109 | 144.44 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 2.1596 | 2.1619 |  | 7.5
2012-120003.oxy | 3 | P2 | 150 | 75 | 3.824 | 0.68 | 0.68 | 3116 | 141.08 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.8234 | 3.8234 |  | 8.1
2012-120003.oxy | 3 | P2 | 151 | 75 | 3.837 | 0.681 | 0.68 | 3118 | 140.8 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.8368 | 3.8312 |  | 8.1
2012-120003.oxy | 3 | P2 | 152 | 50 | 5.472 | 0.965 | 0.9647 | 3119 | 140.14 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 5.4721 | 5.4703 |  | 8.2
2012-120003.oxy | 3 | P2 | 153 | 25 | 6.246 | 1.133 | 1.1335 | 3121 | 144.19 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.2454 | 6.2482 |  | 8.7
2012-120003.oxy | 3 | P2 | 153 | 25 | 6.242 | 1.137 | 1.137 | 3124 | 144.77 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.2421 | 6.2421 |  | 8.8
2012-120003.oxy | 3 | P2 | 154 | 10 | 6.981 | 1.277 | 1.2766 | 3126 | 145.42 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.9815 | 6.9793 |  | 9.9
2012-120003.oxy | 3 | P2 | 155 | 5 | 6.872 | 1.213 | 1.213 | 3135 | 140.39 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.8716 | 6.8716 |  | 10.6
2012-120015.oxy | 15 | P4 | 117 | 1315 | 0.499 | 0.085 | 0.0848 | 860 | 129.8 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.49932 | 0.49809 |  | 4.2
2012-120015.oxy | 15 | P4 | 118 | 1250 | 0.425 | 0.074 | 0.074 | 861 | 131.79 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.42501 | 0.42501 |  | 4.2
2012-120015.oxy | 15 | P4 | 119 | 1250 | 0.426 | 0.073 | 0.0728 | 862 | 129.72 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.42574 | 0.42451 |  | 4.2
2012-120015.oxy | 15 | P4 | 120 | 1000 | 0.268 | 0.052 | 0.0516 | 2027 | 143.29 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.26796 | 0.26573 |  | 4.7
2012-120015.oxy | 15 | P4 | 120 | 1000 | 0.284 | 0.05 | 0.05 | 864 | 129.59 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.2844 | 0.2844 |  | 5.3
2012-120015.oxy | 15 | P4 | 121 | 800 | 0.215 | 0.039 | 0.038 | 865 | 130.57 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.21494 | 0.20883 |  | 5.7
2012-120015.oxy | 15 | P4 | 122 | 600 | 0.339 | 0.059 | 0.0588 | 866 | 129.75 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.33945 | 0.33822 |  | 5.2
2012-120015.oxy | 15 | P4 | 123 | 400 | 0.876 | 0.144 | 0.144 | 867 | 127.79 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 0.87618 | 0.87618 |  | 6.4
2012-120015.oxy | 15 | P4 | 124 | 300 | 1.327 | 0.213 | 0.2122 | 868 | 125.93 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 1.3272 | 1.3221 |  | 6.7
2012-120015.oxy | 15 | P4 | 125 | 250 | 1.872 | 0.339 | 0.339 | 869 | 142.83 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 1.8716 | 1.8716 |  | 7
2012-120015.oxy | 15 | P4 | 126 | 200 | 3.361 | 0.554 | 0.5543 | 870 | 130.75 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.3605 | 3.3624 |  | 7.4
2012-120015.oxy | 15 | P4 | 127 | 175 | 3.196 | 0.576 | 0.576 | 3164 | 142.78 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.1963 | 3.1963 |  | 7.7
2012-120015.oxy | 15 | P4 | 128 | 150 | 3.127 | 0.514 | 0.5135 | 872 | 130.29 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.1274 | 3.1243 |  | 8
2012-120015.oxy | 15 | P4 | 128 | 150 | 3.114 | 0.5 | 0.4995 | 873 | 127.32 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.1136 | 3.1105 |  | 8.1
2012-120015.oxy | 15 | P4 | 129 | 125 | 3.633 | 0.607 | 0.607 | 874 | 132.55 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 3.6335 | 3.6335 |  | 8.3
2012-120015.oxy | 15 | P4 | 130 | 100 | 5.744 | 0.946 | 0.9454 | 875 | 130.99 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 5.7444 | 5.7407 |  | 8
2012-120015.oxy | 15 | P4 | 131 | 75 | 6.001 | 0.975 | 0.9747 | 877 | 129.29 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.0003 | 5.9984 | 2 | 8.6 | OXY: Bad end point. Started bad
2012-120015.oxy | 15 | P4 | 132 | 50 | 6.142 | 0.986 | 0.9858 | 878 | 127.77 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.1416 | 6.1403 |  | 8.9
2012-120015.oxy | 15 | P4 | 133 | 25 | 6.779 | 1.168 | 1.1677 | 879 | 137.07 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.7784 | 6.7767 |  | 10.3
2012-120015.oxy | 15 | P4 | 134 | 10 | 6.734 | 1.101 | 1.1015 | 880 | 130.13 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.7343 | 6.7374 |  | 10.8
2012-120015.oxy | 15 | P4 | 135 | 5 | 6.739 | 1.1 | 1.0995 | 881 | 129.93 | 0.0017 | 0.705 | 10.0277 | 0.0098535 | 0.14049 | 6.7387 | 6.7356 |  | 10.9
2012-120022.oxy | 22 | P8 | 186 | 2000 | 1.465 | 0.247 | 0.247 | 3040 | 132.56 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.4653 | 1.4653 |  | 3.5
2012-120022.oxy | 22 | P8 | 186 | 2000 | 1.459 | 0.252 | 0.252 | 3043 | 135.86 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.4585 | 1.4585 |  | 3.5
2012-120022.oxy | 22 | P8 | 187 | 1500 | 0.696 | 0.122 | 0.1215 | 3047 | 135.5 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.69628 | 0.69333 |  | 3.6
2012-120022.oxy | 22 | P8 | 188 | 1250 | 0.465 | 0.086 | 0.0852 | 3055 | 140.98 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.46502 | 0.46049 |  | 4
2012-120022.oxy | 22 | P8 | 189 | 1000 | 0.268 | 0.052 | 0.0516 | 3061 | 143.49 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.2677 | 0.26547 |  | 4.5
2012-120022.oxy | 22 | P8 | 189 | 1000 | 0.249 | 0.048 | 0.048 | 3067 | 141.52 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.24892 | 0.24892 |  | 4.6
2012-120022.oxy | 22 | P8 | 190 | 800 | 0.236 | 0.044 | 0.0436 | 3075 | 135.9 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.23586 | 0.23351 |  | 5
2012-120022.oxy | 22 | P8 | 191 | 600 | 0.359 | 0.069 | 0.0682 | 3084 | 144.61 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.35939 | 0.35497 |  | 5.6
2012-120022.oxy | 22 | P8 | 192 | 400 | 1.151 | 0.197 | 0.197 | 3090 | 133.98 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.1514 | 1.1514 |  | 6.1
2012-120022.oxy | 22 | P8 | 193 | 300 | 1.814 | 0.322 | 0.3224 | 3094 | 140 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.8139 | 1.8162 |  | 6.4
2012-120022.oxy | 22 | P8 | 194 | 250 | 2.541 | 0.465 | 0.4645 | 3098 | 144.79 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.541 | 2.5382 |  | 6.8
2012-120022.oxy | 22 | P8 | 195 | 200 | 3.036 | 0.549 | 0.549 | 3100 | 143.28 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 3.036 | 3.036 |  | 7.3
2012-120022.oxy | 22 | P8 | 196 | 175 | 3.117 | 0.563 | 0.5636 | 3104 | 143.16 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 3.1166 | 3.1199 |  | 7.4
2012-120022.oxy | 22 | P8 | 197 | 150 | 3.484 | 0.622 | 0.6228 | 3107 | 141.59 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 3.4842 | 3.4887 |  | 7.6
2012-120022.oxy | 22 | P8 | 198 | 125 | 3.829 | 0.697 | 0.6968 | 3109 | 144.44 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 3.8288 | 3.8277 |  | 7.8
2012-120022.oxy | 22 | P8 | 199 | 100 | 5.172 | 0.918 | 0.9178 | 3116 | 141.08 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 5.1715 | 5.1704 |  | 7.7
2012-120022.oxy | 22 | P8 | 200 | 75 | 6.707 | 1.187 | 1.1865 | 3118 | 140.8 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7068 | 6.704 |  | 7.5
2012-120022.oxy | 22 | P8 | 200 | 75 | 6.71 | 1.182 | 1.1815 | 3119 | 140.14 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7104 | 6.7075 |  | 7.5
2012-120022.oxy | 22 | P8 | 201 | 50 | 6.901 | 1.251 | 1.2512 | 3121 | 144.19 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.9011 | 6.9022 |  | 7.8
2012-120022.oxy | 22 | P8 | 202 | 20 | 6.923 | 1.26 | 1.2598 | 3124 | 144.77 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.9226 | 6.9215 |  | 9.4
2012-120022.oxy | 22 | P8 | 203 | 10 | 6.749 | 1.234 | 1.233 | 3126 | 145.42 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7486 | 6.7431 |  | 10.3
2012-120022.oxy | 22 | P8 | 204 | 5 | 6.738 | 1.189 | 1.1882 | 3135 | 140.39 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.738 | 6.7335 |  | 10.3
2012-120029.oxy | 29 | P12 | 232 | 3274 | 2.322 | 0.381 | 0.381 | 860 | 129.8 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.3219 | 2.3219 |  | 2.8
2012-120029.oxy | 29 | P12 | 233 | 3000 | 2.292 | 0.382 | 0.3818 | 861 | 131.79 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.2923 | 2.2911 |  | 2.6
2012-120029.oxy | 29 | P12 | 234 | 3000 | 2.299 | 0.377 | 0.3765 | 862 | 129.72 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.2987 | 2.2956 |  | 2.6
2012-120029.oxy | 29 | P12 | 234 | 3000 | 2.284 | 0.414 | 0.414 | 2027 | 143.29 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.284 | 2.284 |  | 2.8
2012-120029.oxy | 29 | P12 | 235 | 2500 | 1.888 | 0.31 | 0.3098 | 864 | 129.59 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.8879 | 1.8866 |  | 2.7
2012-120029.oxy | 29 | P12 | 236 | 2000 | 1.353 | 0.225 | 0.225 | 865 | 130.57 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.3533 | 1.3533 |  | 3
2012-120029.oxy | 29 | P12 | 237 | 1500 | 0.641 | 0.108 | 0.1078 | 866 | 129.75 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.64139 | 0.64016 |  | 3.4
2012-120029.oxy | 29 | P12 | 238 | 1250 | 0.339 | 0.058 | 0.058 | 867 | 127.79 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.33864 | 0.33864 |  | 3.9
2012-120029.oxy | 29 | P12 | 239 | 1000 | 0.242 | 0.042 | 0.0425 | 868 | 125.93 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.24214 | 0.24531 |  | 4.2
2012-120029.oxy | 29 | P12 | 240 | 800 | 0.314 | 0.06 | 0.06 | 869 | 142.83 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.31365 | 0.31365 |  | 4.6
2012-120029.oxy | 29 | P12 | 241 | 600 | 0.575 | 0.098 | 0.098 | 870 | 130.75 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 0.5753 | 0.5753 |  | 5.2
2012-120029.oxy | 29 | P12 | 242 | 400 | 1.566 | 0.284 | 0.283 | 3164 | 142.78 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 1.5657 | 1.5601 |  | 5.6
2012-120029.oxy | 29 | P12 | 243 | 300 | 2.54 | 0.418 | 0.418 | 872 | 130.29 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.5399 | 2.5399 |  | 6
2012-120029.oxy | 29 | P12 | 243 | 300 | 2.531 | 0.407 | 0.4066 | 873 | 127.32 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.5311 | 2.5286 |  | 6.1
2012-120029.oxy | 29 | P12 | 244 | 250 | 2.9 | 0.485 | 0.4846 | 874 | 132.55 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 2.8998 | 2.8974 |  | 6.5
2012-120029.oxy | 29 | P12 | 245 | 200 | 3.716 | 0.613 | 0.612 | 875 | 130.99 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 3.7156 | 3.7095 |  | 7.1
2012-120029.oxy | 29 | P12 | 246 | 175 | 4.05 | 0.659 | 0.6585 | 877 | 129.29 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 4.0496 | 4.0465 |  | 7.3
2012-120029.oxy | 29 | P12 | 247 | 150 | 4.336 | 0.697 | 0.6963 | 878 | 127.77 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 4.3362 | 4.3319 |  | 7.4
2012-120029.oxy | 29 | P12 | 248 | 125 | 6.263 | 1.079 | 1.0794 | 879 | 137.07 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.2629 | 6.2652 |  | 7.3
2012-120029.oxy | 29 | P12 | 249 | 100 | 6.805 | 1.112 | 1.1112 | 880 | 130.13 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.8048 | 6.7999 |  | 7.4
2012-120029.oxy | 29 | P12 | 250 | 75 | 6.858 | 1.119 | 1.1183 | 881 | 129.93 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.8585 | 6.8541 |  | 7.6
2012-120029.oxy | 29 | P12 | 250 | 75 | 6.853 | 1.102 | 1.1019 | 876 | 128.09 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.8525 | 6.8518 |  | 7.6
2012-120029.oxy | 29 | P12 | 251 | 50 | 6.937 | 1.14 | 1.1405 | 882 | 130.87 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.9366 | 6.9397 |  | 8.2
2012-120029.oxy | 29 | P12 | 252 | 25 | 6.789 | 1.091 | 1.0905 | 883 | 127.99 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7892 | 6.7861 |  | 9.1
2012-120029.oxy | 29 | P12 | 253 | 10 | 6.785 | 1.211 | 1.2106 | 884 | 141.99 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7847 | 6.7824 |  | 9
2012-120029.oxy | 29 | P12 | 254 | 5 | 6.785 | 1.148 | 1.1478 | 3194 | 134.68 | 0.0017 | 0.7047 | 10.0277 | 0.0098535 | 0.14055 | 6.7849 | 6.7837 |  | 9.1
2012-120046.oxy | 46 | P16 | 370 | 3685 | 2.794 | 0.458 | 0.458 | 860 | 129.8 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.7938 | 2.7938 |  | 2.6
2012-120046.oxy | 46 | P16 | 371 | 3500 | 2.696 | 0.449 | 0.449 | 861 | 131.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.6963 | 2.6963 |  | 2.4
2012-120046.oxy | 46 | P16 | 372 | 3500 | 2.703 | 0.443 | 0.442 | 862 | 129.72 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.703 | 2.6968 |  | 2.4
2012-120046.oxy | 46 | P16 | 372 | 3500 | 2.706 | 0.49 | 0.4898 | 2027 | 143.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.7055 | 2.7044 |  | 2.4
2012-120046.oxy | 46 | P16 | 373 | 3000 | 2.459 | 0.403 | 0.4024 | 864 | 129.59 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.4587 | 2.455 |  | 2.3
2012-120046.oxy | 46 | P16 | 374 | 2500 | 1.913 | 0.317 | 0.317 | 865 | 130.57 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9129 | 1.9129 |  | 2.4
2012-120046.oxy | 46 | P16 | 375 | 2000 | 1.29 | 0.214 | 0.2135 | 866 | 129.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.2899 | 1.2869 |  | 2.6
2012-120046.oxy | 46 | P16 | 376 | 1500 | 0.508 | 0.086 | 0.0859 | 867 | 127.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.50826 | 0.50764 |  | 3.1
2012-120046.oxy | 46 | P16 | 377 | 1250 | 0.306 | 0.053 | 0.053 | 868 | 125.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.30608 | 0.30608 |  | 3.3
2012-120046.oxy | 46 | P16 | 378 | 1000 | 0.253 | 0.05 | 0.05 | 869 | 142.83 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.25257 | 0.25257 |  | 3.7
2012-120046.oxy | 46 | P16 | 379 | 800 | 0.35 | 0.062 | 0.0614 | 870 | 130.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.3497 | 0.34603 |  | 4
2012-120046.oxy | 46 | P16 | 379 | 800 | 0.342 | 0.066 | 0.0665 | 3164 | 142.78 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.34221 | 0.34501 |  | 4.2
2012-120046.oxy | 46 | P16 | 380 | 600 | 0.535 | 0.092 | 0.0914 | 872 | 130.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.53521 | 0.53153 |  | 4.5
2012-120046.oxy | 46 | P16 | 381 | 400 | 1.107 | 0.181 | 0.1815 | 873 | 127.32 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.1075 | 1.1106 |  | 5.1
2012-120046.oxy | 46 | P16 | 382 | 300 | 1.993 | 0.335 | 0.335 | 874 | 132.55 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9926 | 1.9926 |  | 5.5
2012-120046.oxy | 46 | P16 | 383 | 250 | 2.444 | 0.405 | 0.4047 | 875 | 130.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.4443 | 2.4424 |  | 5.7
2012-120046.oxy | 46 | P16 | 384 | 200 | 2.982 | 0.482 | 0.4817 | 876 | 128.09 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.9816 | 2.9798 |  | 5.9
2012-120046.oxy | 46 | P16 | 385 | 175 | 3.35 | 0.546 | 0.5453 | 877 | 129.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.3497 | 3.3454 |  | 6.2
2012-120046.oxy | 46 | P16 | 386 | 150 | 3.722 | 0.599 | 0.5985 | 878 | 127.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.7222 | 3.7191 |  | 6.7
2012-120046.oxy | 46 | P16 | 387 | 125 | 3.95 | 0.682 | 0.682 | 879 | 137.07 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | -99 | -99 | 5 | 6.9 | OXY: Titration incomplete. Likely a bubble in light path
2012-120046.oxy | 46 | P16 | 388 | 100 | 6.483 | 1.059 | 1.059 | 880 | 130.13 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.4824 | 6.4824 |  | 6.7
2012-120046.oxy | 46 | P16 | 389 | 75 | 6.948 | 1.133 | 1.134 | 881 | 129.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.9483 | 6.9545 | 3 | 6.9 | OXY: Bubble on lens. Messy curve. End point at only 96%. Vlaue not trusted
2012-120046.oxy | 46 | P16 | 390 | 50 | 7.112 | 1.168 | 1.168 | 882 | 130.87 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.1116 | 7.1116 |  | 7.2
2012-120046.oxy | 46 | P16 | 391 | 25 | 6.999 | 1.124 | 1.1238 | 883 | 127.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.999 | 6.9978 |  | 7.8
2012-120046.oxy | 46 | P16 | 392 | 10 | 6.958 | 1.241 | 1.2406 | 884 | 141.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.9576 | 6.9553 |  | 8.1
2012-120046.oxy | 46 | P16 | 393 | 5 | 6.973 | 1.179 | 1.179 | 3194 | 134.68 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.9727 | 6.9727 |  | 8
2012-120046.oxy | 46 | P16 | 393 | 5 | 6.963 | 1.24 | 1.24 | 886 | 141.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.9629 | 6.9629 |  | 8.1
2012-120061.oxy | 61 | P20 | 484 | 4023 | 3.164 | 0.518 | 0.518 | 800 | 129.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.1644 | 3.1644 | 2 | 2.4 | OXY: Bubbles from MnCl2 Dispenser
2012-120061.oxy | 61 | P20 | 485 | 3500 | 2.884 | 0.481 | 0.481 | 801 | 132.09 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.8839 | 2.8839 | 2 | 2.3 | OXY: Bubbles from MnCl2 Dispenser
2012-120061.oxy | 61 | P20 | 486 | 3500 | 2.877 | 0.48 | 0.48 | 802 | 132.15 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.8765 | 2.8765 | 2 | 2.3 | OXY: Bubbles from MnCl2 Dispenser
2012-120061.oxy | 61 | P20 | 487 | 3000 | 2.52 | 0.416 | 0.4153 | 803 | 130.56 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.5198 | 2.5156 |  | 2.4
2012-120061.oxy | 61 | P20 | 488 | 2500 | 1.915 | 0.322 | 0.3218 | 804 | 132.49 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.915 | 1.9138 |  | 2.5
2012-120061.oxy | 61 | P20 | 488 | 2500 | 1.911 | 0.319 | 0.319 | 805 | 131.53 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9109 | 1.9109 |  | 2.7
2012-120061.oxy | 61 | P20 | 489 | 2000 | 1.289 | 0.216 | 0.216 | 806 | 131.11 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.2886 | 1.2886 |  | 2.7
2012-120061.oxy | 61 | P20 | 490 | 1500 | 0.537 | 0.091 | 0.09 | 807 | 128.32 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.53732 | 0.53108 |  | 3.1
2012-120061.oxy | 61 | P20 | 491 | 1250 | 0.304 | 0.054 | 0.0538 | 808 | 129.27 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.30424 | 0.303 |  | 3.4
2012-120061.oxy | 61 | P20 | 492 | 1000 | 0.33 | 0.059 | 0.059 | 809 | 131.22 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.33014 | 0.33014 |  | 3.8
2012-120061.oxy | 61 | P20 | 492 | 1000 | 0.34 | 0.061 | 0.0606 | 810 | 131.98 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.34033 | 0.33791 |  | 3.8 | Depth info was incorrect. Corrected
2012-120061.oxy | 61 | P20 | 493 | 800 | 0.458 | 0.08 | 0.0797 | 811 | 131.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.45794 | 0.45611 | 2 | 4.1 | OXY: Draw temperature may be incorrect
2012-120061.oxy | 61 | P20 | 494 | 600 | 0.615 | 0.105 | 0.105 | 812 | 130.26 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.6152 | 0.6152 |  | 4.7
2012-120061.oxy | 61 | P20 | 495 | 400 | 1.278 | 0.208 | 0.2082 | 813 | 127.22 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.2782 | 1.2795 |  | 5.2
2012-120061.oxy | 61 | P20 | 496 | 300 | 1.922 | 0.317 | 0.3167 | 814 | 129.95 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9222 | 1.9204 |  | 5.5
2012-120061.oxy | 61 | P20 | 497 | 250 | 2.389 | 0.402 | 0.4017 | 815 | 133 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.3887 | 2.3869 |  | 5.7
2012-120061.oxy | 61 | P20 | 498 | 200 | 3.097 | 0.516 | 0.5158 | 816 | 132.04 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.0971 | 3.0959 |  | 6
2012-120061.oxy | 61 | P20 | 499 | 175 | 3.36 | 0.549 | 0.5483 | 818 | 129.6 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.3601 | 3.3558 |  | 6.2
2012-120061.oxy | 61 | P20 | 500 | 150 | 3.713 | 0.607 | 0.607 | 819 | 129.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.7133 | 3.7133 |  | 6.3
2012-120061.oxy | 61 | P20 | 501 | 125 | 4.67 | 0.775 | 0.7749 | 820 | 131.94 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 4.67 | 4.6694 |  | 6.3
2012-120061.oxy | 61 | P20 | 501 | 125 | 4.672 | 0.806 | 0.8052 | 822 | 137.11 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 4.6721 | 4.6674 |  | 6.4
2012-120061.oxy | 61 | P20 | 502 | 100 | 6.501 | 1.084 | 1.0834 | 823 | 132.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.5012 | 6.4976 |  | 6.2
2012-120061.oxy | 61 | P20 | 503 | 75 | 7.086 | 1.169 | 1.169 | 825 | 131.45 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.0858 | 7.0858 |  | 6.6
2012-120061.oxy | 61 | P20 | 504 | 50 | 7.079 | 1.166 | 1.1658 | 826 | 131.23 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.0796 | 7.0784 |  | 7.3
2012-120061.oxy | 61 | P20 | 505 | 25 | 7.036 | 1.143 | 1.142 | 827 | 129.46 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.0357 | 7.0296 | 2 | 7.4 | OXY: Top valve open slightly
2012-120061.oxy | 61 | P20 | 506 | 10 | 7.036 | 1.136 | 1.1353 | 828 | 128.67 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.0361 | 7.0317 |  | 7.5
2012-120061.oxy | 61 | P20 | 507 | 5 | 7.033 | 1.19 | 1.1896 | 829 | 134.78 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.0328 | 7.0304 |  | 7.4
2012-120078.oxy | 78 | P26 | 604 | 4316 | 3.219 | 0.527 | 0.5264 | 860 | 129.8 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.2192 | 3.2155 |  | 2.4
2012-120078.oxy | 78 | P26 | 605 | 4000 | 3.152 | 0.524 | 0.524 | 861 | 131.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.1516 | 3.1516 |  | 2.1
2012-120078.oxy | 78 | P26 | 606 | 3500 | 2.931 | 0.48 | 0.48 | 862 | 129.72 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.9312 | 2.9312 |  | 2.1
2012-120078.oxy | 78 | P26 | 607 | 3000 | 2.544 | 0.461 | 0.461 | 2027 | 143.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.5438 | 2.5438 |  | 2.2
2012-120078.oxy | 78 | P26 | 608 | 2500 | 1.965 | 0.323 | 0.323 | 864 | 129.59 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9647 | 1.9647 |  | 2.3
2012-120078.oxy | 78 | P26 | 608 | 2500 | 1.968 | 0.326 | 0.3244 | 865 | 130.57 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.9681 | 1.9583 |  | 2.4
2012-120078.oxy | 78 | P26 | 609 | 2000 | 1.278 | 0.212 | 0.212 | 866 | 129.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.2776 | 1.2776 |  | 2.4
2012-120078.oxy | 78 | P26 | 610 | 1500 | 0.515 | 0.087 | 0.0865 | 867 | 127.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.51453 | 0.5114 |  | 2.8
2012-120078.oxy | 78 | P26 | 611 | 1250 | 0.497 | 0.083 | 0.083 | 868 | 125.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.49682 | 0.49682 |  | 3.1
2012-120078.oxy | 78 | P26 | 612 | 1000 | 0.516 | 0.097 | 0.097 | 869 | 142.83 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.51553 | 0.51553 |  | 3.4
2012-120078.oxy | 78 | P26 | 612 | 1000 | 0.497 | 0.086 | 0.0857 | 870 | 130.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.49658 | 0.49474 |  | 3.4
2012-120078.oxy | 78 | P26 | 613 | 800 | 0.538 | 0.101 | 0.101 | 3164 | 142.78 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.5381 | 0.5381 |  | 3.8
2012-120078.oxy | 78 | P26 | 614 | 600 | 0.652 | 0.111 | 0.111 | 872 | 130.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.6519 | 0.6519 |  | 4.2
2012-120078.oxy | 78 | P26 | 615 | 400 | 1.177 | 0.192 | 0.1912 | 873 | 127.32 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.1766 | 1.1716 |  | 4.5
2012-120078.oxy | 78 | P26 | 616 | 300 | 1.673 | 0.282 | 0.2818 | 874 | 132.55 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.6727 | 1.6715 |  | 4.5
2012-120078.oxy | 78 | P26 | 617 | 250 | 2.194 | 0.364 | 0.3644 | 875 | 130.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.1938 | 2.1962 |  | 4.5
2012-120078.oxy | 78 | P26 | 618 | 200 | 2.894 | 0.468 | 0.468 | 876 | 128.09 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.8942 | 2.8942 |  | 4.7
2012-120078.oxy | 78 | P26 | 619 | 175 | 3.802 | 0.619 | 0.6188 | 877 | 129.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.8016 | 3.8003 |  | 5
2012-120078.oxy | 78 | P26 | 620 | 150 | 4.9 | 0.787 | 0.787 | 878 | 127.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 4.9 | 4.9 |  | 5.2
2012-120078.oxy | 78 | P26 | 621 | 125 | 6.92 | 1.191 | 1.1914 | 879 | 137.07 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.9194 | 6.9217 |  | 4.8
2012-120078.oxy | 78 | P26 | 621 | 125 | 6.919 | 1.13 | 1.1304 | 880 | 130.13 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.919 | 6.9215 |  | 4.9
2012-120078.oxy | 78 | P26 | 622 | 100 | 7.09 | 1.156 | 1.1553 | 881 | 129.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.09 | 7.0857 |  | 5.6
2012-120078.oxy | 78 | P26 | 623 | 75 | 7.203 | 1.183 | 1.1832 | 882 | 130.87 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.2033 | 7.2047 |  | 5.9
2012-120078.oxy | 78 | P26 | 624 | 50 | 7.205 | 1.157 | 1.157 | 883 | 127.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.2054 | 7.2054 |  | 6.4
2012-120078.oxy | 78 | P26 | 625 | 25 | 7.194 | 1.283 | 1.2828 | 884 | 141.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.194 | 7.1929 | 2 | 6.7 | OXY: Top valve leaking
2012-120078.oxy | 78 | P26 | 626 | 10 | 7.24 | 1.224 | 1.2242 | 3194 | 134.68 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.24 | 7.2412 |  | 6.7
2012-120078.oxy | 78 | P26 | 627 | 5 | 7.234 | 1.288 | 1.2885 | 886 | 141.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 7.2335 | 7.2363 | 2 | 6.7 | OXY: Top valve leaking
2012-120107.oxy | 107 | P4 | 812 | 1322 | 0.543 | 0.093 | 0.093 | 860 | 129.8 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.54343 | 0.54343 |  | 4
2012-120107.oxy | 107 | P4 | 813 | 1250 | 0.432 | 0.076 | 0.075 | 861 | 131.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.43189 | 0.42582 |  | 4
2012-120107.oxy | 107 | P4 | 814 | 1250 | 0.47 | 0.081 | 0.0803 | 862 | 129.72 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.46974 | 0.46542 |  | 4
2012-120107.oxy | 107 | P4 | 815 | 1000 | 0.28 | 0.055 | 0.0547 | 2027 | 143.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.27963 | 0.27796 |  | 4.7 | Corrected Sample ID.
2012-120107.oxy | 107 | P4 | 815 | 1000 | 0.254 | 0.046 | 0.046 | 864 | 129.59 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.25407 | 0.25407 |  | 4.7
2012-120107.oxy | 107 | P4 | 816 | 800 | 0.234 | 0.043 | 0.0424 | 865 | 130.57 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.23375 | 0.23008 |  | 5.2
2012-120107.oxy | 107 | P4 | 817 | 600 | 0.383 | 0.067 | 0.0665 | 866 | 129.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 0.38328 | 0.3802 |  | 5.7
2012-120107.oxy | 107 | P4 | 818 | 400 | 1.204 | 0.197 | 0.196 | 867 | 127.79 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 1.2036 | 1.1973 |  | 6.2
2012-120107.oxy | 107 | P4 | 819 | 300 | 2.105 | 0.336 | 0.3354 | 868 | 125.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 2.1054 | 2.1015 |  | 6.5
2012-120107.oxy | 107 | P4 | 820 | 250 | 4.186 | 0.753 | 0.753 | 869 | 142.83 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 4.1858 | 4.1858 |  | 6.9
2012-120107.oxy | 107 | P4 | 821 | 200 | 3.453 | 0.569 | 0.5685 | 870 | 130.75 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.4525 | 3.4494 | 3 | 7.3 | OXY: Messy curve. End point ambiguous
2012-120107.oxy | 107 | P4 | 822 | 175 | 3.219 | 0.58 | 0.58 | 3164 | 142.78 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.219 | 3.219 |  | 7.5
2012-120107.oxy | 107 | P4 | 823 | 150 | 3.612 | 0.593 | 0.5933 | 872 | 130.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.6122 | 3.6141 |  | 7.7
2012-120107.oxy | 107 | P4 | 823 | 150 | 3.622 | 0.581 | 0.5808 | 873 | 127.32 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.6224 | 3.6211 |  | 7.7
2012-120107.oxy | 107 | P4 | 824 | 125 | 3.707 | 0.619 | 0.6193 | 874 | 132.55 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 3.7066 | 3.7084 |  | 7.8
2012-120107.oxy | 107 | P4 | 825 | 100 | 4.558 | 0.751 | 0.7503 | 875 | 130.99 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 4.5578 | 4.5535 |  | 8
2012-120107.oxy | 107 | P4 | 826 | 75 | 6.6 | 1.061 | 1.0605 | 876 | 128.09 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.5998 | 6.5967 |  | 7.9
2012-120107.oxy | 107 | P4 | 827 | 50 | 6.581 | 1.068 | 1.0676 | 877 | 129.29 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.5809 | 6.5784 |  | 8.5
2012-120107.oxy | 107 | P4 | 828 | 25 | 6.729 | 1.079 | 1.079 | 878 | 127.77 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.7293 | 6.7293 |  | 10.6
2012-120107.oxy | 107 | P4 | 829 | 10 | 6.745 | 1.161 | 1.1606 | 879 | 137.07 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.7443 | 6.742 |  | 10.6
2012-120107.oxy | 107 | P4 | 829 | 10 | 6.747 | 1.102 | 1.1014 | 880 | 130.13 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | 6.7468 | 6.7431 |  | 10.6
2012-120107.oxy | 107 | P4 | 830 | 5 | 23.387 | 3.802 | 3.802 | 881 | 129.93 | 0.0027 | 0.7047 | 10.0277 | 0.0098535 | 0.14075 | -99 | -99 | 5 | 10.7 | OXY: Analyst did not add acid to sample. 5 mL of Thio added. Sample lost.

## Raw AutoOxy Data
File Name | LOC:EVENT_NUMBER | LOC:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard
2012-120001.oxy | 1 | SI03 | 999 | 999 | 6.706 | 1.195 | 3137 | 141.69 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 1 | 214 | 9.121 | 1.518 | 3040 | 132.56 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 2 | 200 | 0 | 0 | 3043 | 135.86 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 3 | 175 | 0.113 | 0.023 | 3047 | 135.5 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 4 | 150 | 0.046 | 0.012 | 3055 | 140.98 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 5 | 125 | 0.201 | 0.04 | 3061 | 143.49 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 6 | 100 | 1.438 | 0.259 | 3067 | 141.52 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 7 | 75 | 3.032 | 0.52 | 3075 | 135.9 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 8 | 50 | 4.545 | 0.828 | 3084 | 144.61 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 8 | 50 | 4.542 | 0.766 | 3090 | 133.98 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 9 | 25 | 7.125 | 1.254 | 3094 | 140 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 10 | 10 | 8.268 | 1.505 | 3098 | 144.79 | 0.0017 | 0.705
2012-120001.oxy | 1 | SI03 | 11 | 5 | 9.113 | 1.641 | 3100 | 143.28 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 14 | 105 | 2.124 | 0.385 | 3104 | 143.16 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 14 | 105 | 2.114 | 0.379 | 3107 | 141.59 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 15 | 100 | 2.16 | 0.395 | 3109 | 144.44 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 16 | 75 | 3.824 | 0.68 | 3116 | 141.08 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 17 | 75 | 3.837 | 0.681 | 3118 | 140.8 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 18 | 50 | 5.472 | 0.965 | 3119 | 140.14 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 19 | 25 | 6.246 | 1.133 | 3121 | 144.19 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 19 | 25 | 6.242 | 1.137 | 3124 | 144.77 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 20 | 10 | 6.981 | 1.277 | 3126 | 145.42 | 0.0017 | 0.705
2012-120003.oxy | 3 | P2 | 21 | 5 | 6.872 | 1.213 | 3135 | 140.39 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 117 | 1315 | 0.499 | 0.085 | 860 | 129.8 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 118 | 1250 | 0.425 | 0.074 | 861 | 131.79 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 119 | 1250 | 0.426 | 0.073 | 862 | 129.72 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 120 | 1000 | 0.268 | 0.052 | 2027 | 143.29 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 120 | 1000 | 0.284 | 0.05 | 864 | 129.59 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 121 | 800 | 0.215 | 0.039 | 865 | 130.57 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 122 | 600 | 0.339 | 0.059 | 866 | 129.75 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 123 | 400 | 0.876 | 0.144 | 867 | 127.79 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 124 | 300 | 1.327 | 0.213 | 868 | 125.93 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 125 | 250 | 1.872 | 0.339 | 869 | 142.83 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 126 | 200 | 3.361 | 0.554 | 870 | 130.75 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 127 | 175 | 3.196 | 0.576 | 3164 | 142.78 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 128 | 150 | 3.127 | 0.514 | 872 | 130.29 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 128 | 150 | 3.114 | 0.5 | 873 | 127.32 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 129 | 125 | 3.633 | 0.607 | 874 | 132.55 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 130 | 100 | 5.744 | 0.946 | 875 | 130.99 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 131 | 75 | 6.001 | 0.975 | 877 | 129.29 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 132 | 50 | 6.142 | 0.986 | 878 | 127.77 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 133 | 25 | 6.779 | 1.168 | 879 | 137.07 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 134 | 10 | 6.734 | 1.101 | 880 | 130.13 | 0.0017 | 0.705
2012-120015.oxy | 15 | P4 | 135 | 5 | 6.739 | 1.1 | 881 | 129.93 | 0.0017 | 0.705
2012-120022.oxy | 22 | P8 | 186 | 2000 | 1.465 | 0.247 | 3040 | 132.56 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 186 | 2000 | 1.459 | 0.252 | 3043 | 135.86 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 187 | 1500 | 0.696 | 0.122 | 3047 | 135.5 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 188 | 1250 | 0.465 | 0.086 | 3055 | 140.98 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 189 | 1000 | 0.268 | 0.052 | 3061 | 143.49 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 189 | 1000 | 0.249 | 0.048 | 3067 | 141.52 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 190 | 800 | 0.236 | 0.044 | 3075 | 135.9 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 191 | 600 | 0.359 | 0.069 | 3084 | 144.61 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 192 | 400 | 1.151 | 0.197 | 3090 | 133.98 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 193 | 300 | 1.814 | 0.322 | 3094 | 140 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 194 | 250 | 2.541 | 0.465 | 3098 | 144.79 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 195 | 200 | 3.036 | 0.549 | 3100 | 143.28 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 196 | 175 | 3.117 | 0.563 | 3104 | 143.16 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 197 | 150 | 3.484 | 0.622 | 3107 | 141.59 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 198 | 125 | 3.829 | 0.697 | 3109 | 144.44 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 199 | 100 | 5.172 | 0.918 | 3116 | 141.08 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 200 | 75 | 6.707 | 1.187 | 3118 | 140.8 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 200 | 75 | 6.71 | 1.182 | 3119 | 140.14 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 201 | 50 | 6.901 | 1.251 | 3121 | 144.19 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 202 | 20 | 6.923 | 1.26 | 3124 | 144.77 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 203 | 10 | 6.749 | 1.234 | 3126 | 145.42 | 0.0017 | 0.7047
2012-120022.oxy | 22 | P8 | 204 | 5 | 6.738 | 1.189 | 3135 | 140.39 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 232 | 3274 | 2.322 | 0.381 | 860 | 129.8 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 233 | 3000 | 2.292 | 0.382 | 861 | 131.79 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 234 | 3000 | 2.299 | 0.377 | 862 | 129.72 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 234 | 3000 | 2.284 | 0.414 | 2027 | 143.29 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 235 | 2500 | 1.888 | 0.31 | 864 | 129.59 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 236 | 2000 | 1.353 | 0.225 | 865 | 130.57 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 237 | 1500 | 0.641 | 0.108 | 866 | 129.75 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 238 | 1250 | 0.339 | 0.058 | 867 | 127.79 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 239 | 1000 | 0.242 | 0.042 | 868 | 125.93 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 240 | 800 | 0.314 | 0.06 | 869 | 142.83 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 241 | 600 | 0.575 | 0.098 | 870 | 130.75 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 242 | 400 | 1.566 | 0.284 | 3164 | 142.78 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 243 | 300 | 2.54 | 0.418 | 872 | 130.29 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 243 | 300 | 2.531 | 0.407 | 873 | 127.32 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 244 | 250 | 2.9 | 0.485 | 874 | 132.55 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 245 | 200 | 3.716 | 0.613 | 875 | 130.99 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 246 | 175 | 4.05 | 0.659 | 877 | 129.29 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 247 | 150 | 4.336 | 0.697 | 878 | 127.77 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 248 | 125 | 6.263 | 1.079 | 879 | 137.07 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 249 | 100 | 6.805 | 1.112 | 880 | 130.13 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 250 | 75 | 6.858 | 1.119 | 881 | 129.93 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 250 | 75 | 6.853 | 1.102 | 876 | 128.09 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 251 | 50 | 6.937 | 1.14 | 882 | 130.87 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 252 | 25 | 6.789 | 1.091 | 883 | 127.99 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 253 | 10 | 6.785 | 1.211 | 884 | 141.99 | 0.0017 | 0.7047
2012-120029.oxy | 29 | P12 | 254 | 5 | 6.785 | 1.148 | 3194 | 134.68 | 0.0017 | 0.7047
2012-120046.oxy | 46 | P16 | 370 | 3685 | 2.794 | 0.458 | 860 | 129.8 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 371 | 3500 | 2.696 | 0.449 | 861 | 131.79 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 372 | 3500 | 2.703 | 0.443 | 862 | 129.72 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 372 | 3500 | 2.706 | 0.49 | 2027 | 143.29 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 373 | 3000 | 2.459 | 0.403 | 864 | 129.59 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 374 | 2500 | 1.913 | 0.317 | 865 | 130.57 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 375 | 2000 | 1.29 | 0.214 | 866 | 129.75 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 376 | 1500 | 0.508 | 0.086 | 867 | 127.79 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 377 | 1250 | 0.306 | 0.053 | 868 | 125.93 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 378 | 1000 | 0.253 | 0.05 | 869 | 142.83 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 379 | 800 | 0.35 | 0.062 | 870 | 130.75 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 379 | 800 | 0.342 | 0.066 | 3164 | 142.78 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 380 | 600 | 0.535 | 0.092 | 872 | 130.29 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 381 | 400 | 1.107 | 0.181 | 873 | 127.32 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 382 | 300 | 1.993 | 0.335 | 874 | 132.55 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 383 | 250 | 2.444 | 0.405 | 875 | 130.99 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 384 | 200 | 2.982 | 0.482 | 876 | 128.09 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 385 | 175 | 3.35 | 0.546 | 877 | 129.29 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 386 | 150 | 3.722 | 0.599 | 878 | 127.77 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 387 | 125 | 3.95 | 0.682 | 879 | 137.07 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 388 | 100 | 6.483 | 1.059 | 880 | 130.13 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 389 | 75 | 6.948 | 1.133 | 881 | 129.93 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 390 | 50 | 7.112 | 1.168 | 882 | 130.87 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 391 | 25 | 6.999 | 1.124 | 883 | 127.99 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 392 | 10 | 6.958 | 1.241 | 884 | 141.99 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 393 | 5 | 6.973 | 1.179 | 3194 | 134.68 | 0.0027 | 0.7047
2012-120046.oxy | 46 | P16 | 393 | 5 | 6.963 | 1.24 | 886 | 141.77 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 484 | 4023 | 3.164 | 0.518 | 800 | 129.77 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 485 | 3500 | 2.884 | 0.481 | 801 | 132.09 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 486 | 3500 | 2.877 | 0.48 | 802 | 132.15 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 487 | 3000 | 2.52 | 0.416 | 803 | 130.56 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 488 | 2500 | 1.915 | 0.322 | 804 | 132.49 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 488 | 2500 | 1.911 | 0.319 | 805 | 131.53 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 489 | 2000 | 1.289 | 0.216 | 806 | 131.11 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 490 | 1500 | 0.537 | 0.091 | 807 | 128.32 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 491 | 1250 | 0.304 | 0.054 | 808 | 129.27 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 492 | 1000 | 0.33 | 0.059 | 809 | 131.22 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 492 | 800 | 0.34 | 0.061 | 810 | 131.98 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 493 | 800 | 0.458 | 0.08 | 811 | 131.29 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 494 | 600 | 0.615 | 0.105 | 812 | 130.26 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 495 | 400 | 1.278 | 0.208 | 813 | 127.22 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 496 | 300 | 1.922 | 0.317 | 814 | 129.95 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 497 | 250 | 2.389 | 0.402 | 815 | 133 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 498 | 200 | 3.097 | 0.516 | 816 | 132.04 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 499 | 175 | 3.36 | 0.549 | 818 | 129.6 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 500 | 150 | 3.713 | 0.607 | 819 | 129.77 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 501 | 125 | 4.67 | 0.775 | 820 | 131.94 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 501 | 125 | 4.672 | 0.806 | 822 | 137.11 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 502 | 100 | 6.501 | 1.084 | 823 | 132.79 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 503 | 75 | 7.086 | 1.169 | 825 | 131.45 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 504 | 50 | 7.079 | 1.166 | 826 | 131.23 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 505 | 25 | 7.036 | 1.143 | 827 | 129.46 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 506 | 10 | 7.036 | 1.136 | 828 | 128.67 | 0.0027 | 0.7047
2012-120061.oxy | 61 | P26 | 507 | 5 | 7.033 | 1.19 | 829 | 134.78 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 604 | 4316 | 3.219 | 0.527 | 860 | 129.8 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 605 | 4000 | 3.152 | 0.524 | 861 | 131.79 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 606 | 3500 | 2.931 | 0.48 | 862 | 129.72 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 607 | 3000 | 2.544 | 0.461 | 2027 | 143.29 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 608 | 2500 | 1.965 | 0.323 | 864 | 129.59 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 608 | 2500 | 1.968 | 0.326 | 865 | 130.57 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 609 | 2000 | 1.278 | 0.212 | 866 | 129.75 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 610 | 1500 | 0.515 | 0.087 | 867 | 127.79 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 611 | 1250 | 0.497 | 0.083 | 868 | 125.93 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 612 | 1000 | 0.516 | 0.097 | 869 | 142.83 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 612 | 1000 | 0.497 | 0.086 | 870 | 130.75 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 613 | 800 | 0.538 | 0.101 | 3164 | 142.78 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 614 | 600 | 0.652 | 0.111 | 872 | 130.29 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 615 | 400 | 1.177 | 0.192 | 873 | 127.32 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 616 | 300 | 1.673 | 0.282 | 874 | 132.55 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 617 | 250 | 2.194 | 0.364 | 875 | 130.99 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 618 | 200 | 2.894 | 0.468 | 876 | 128.09 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 619 | 175 | 3.802 | 0.619 | 877 | 129.29 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 620 | 150 | 4.9 | 0.787 | 878 | 127.77 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 621 | 125 | 6.92 | 1.191 | 879 | 137.07 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 621 | 125 | 6.919 | 1.13 | 880 | 130.13 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 622 | 100 | 7.09 | 1.156 | 881 | 129.93 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 623 | 75 | 7.203 | 1.183 | 882 | 130.87 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 624 | 50 | 7.205 | 1.157 | 883 | 127.99 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 625 | 25 | 7.194 | 1.283 | 884 | 141.99 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 626 | 10 | 7.24 | 1.224 | 3194 | 134.68 | 0.0027 | 0.7047
2012-120078.oxy | 78 | P26 | 627 | 5 | 7.234 | 1.288 | 886 | 141.77 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 812 | 1322 | 0.543 | 0.093 | 860 | 129.8 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 813 | 1250 | 0.432 | 0.076 | 861 | 131.79 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 814 | 1250 | 0.47 | 0.081 | 862 | 129.72 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 81 | 1000 | 0.28 | 0.055 | 2027 | 143.29 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 815 | 1000 | 0.254 | 0.046 | 864 | 129.59 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 816 | 800 | 0.234 | 0.043 | 865 | 130.57 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 817 | 600 | 0.383 | 0.067 | 866 | 129.75 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 818 | 400 | 1.204 | 0.197 | 867 | 127.79 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 819 | 300 | 2.105 | 0.336 | 868 | 125.93 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 820 | 250 | 4.186 | 0.753 | 869 | 142.83 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 821 | 200 | 3.453 | 0.569 | 870 | 130.75 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 822 | 175 | 3.219 | 0.58 | 3164 | 142.78 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 823 | 150 | 3.612 | 0.593 | 872 | 130.29 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 823 | 150 | 3.622 | 0.581 | 873 | 127.32 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 824 | 125 | 3.707 | 0.619 | 874 | 132.55 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 825 | 100 | 4.558 | 0.751 | 875 | 130.99 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 826 | 75 | 6.6 | 1.061 | 876 | 128.09 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 827 | 50 | 6.581 | 1.068 | 877 | 129.29 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 828 | 25 | 6.729 | 1.079 | 878 | 127.77 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 829 | 10 | 6.745 | 1.161 | 879 | 137.07 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 829 | 10 | 6.747 | 1.102 | 880 | 130.13 | 0.0027 | 0.7047
2012-120107.oxy | 107 | P4 | 830 | 5 | 23.387 | 3.802 | 881 | 129.93 | 0.0027 | 0.7047