## Notes
Cruise: 2012-12 May/June LineP Marie Robert
Analysis: | By Marie Robert and Doug Yelland onboard J.P. Tully (May 26 - June 4) and Janet Barwell-Clarke @ IOS lab (June 14, 2012)
Chlorophyll and phaeo-pigment analysis at IOS
Notes:
Chlorophyll samples were analyzed successfully - no issues noted during analysis, and there were no duplicate outliers where CV > 15 %.
Extracted chlorophyll values were compared to the CTD fluorescence traces and two outliers were noted.
Stn P8, sample 202 at 26.8 m is low compared to CTD fluor. trace and the next closest depth for extracted - flagged as "3" - suspected mis-trip.
Stn PA-006, sample 695 at 40.8 m is low compared to CTD and does not match sample 686, also tripped at 40.8 m - flagged as "3" - suspected mis-trip as this should be the CHL MAX
Sample 695 later changed to flag 5 and pad value ……G.G.
HPLC analysis on sample 695 may help solve the problem.
A detailed description of chlorophyll sampling is found on the Water Properties Website:
http://www.waterproperties.ca/standards/Chlorophyll_sampling_12Feb2010.pdf
To be included in this section:
Any comments that will help the data archivist sort out data.
Any comments regarding missing samples, bucket samples, problems with analysis.
Keep clutter from the spreadsheets (the clutter goes into the "notes" page,
and you can say "see notes" in the spreadsheet).
Important Excel Notes:
Always keep the same format in every cell within a column.
If an equation is in a cell, exactly the same equation should be in every cell in that column.
If the numbers were typed, then every number in the column should be typed.
Try to use same font and size for all spreadsheets in a workbook.
Avoid using colours, but if you must, provide ample notes for their meaning.
Highlight the entire spreadsheet and format NUMBERS as "general".
Also do the same with ALIGNMENT (make it "general").
Do not hide columns or freeze frames.
If you use a function (e.g. VLOOKUP) then convert the formulaes to values after transferring the data.
Always leave cursor in cell A-1 and zoom at 100 % for every spreadsheet in a workbook.
Have the book open to the most important spreadsheet, e.g. the Notes or QF data.

## QF CHL Profile
Cruise: 2012-12 May/June LineP Marie Robert | [7 empty] | File: QF20XX-XXchl.xls
Notes: | Flags and comments apply to chlorophyll values only. No flags or comments are assigned for Phaeo-Pigment values | [6 empty] | Date: Month day, Year
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis | [6 empty] | Updated: Month day, Year
Samples were extracted in 90% acetone at -20C for 24 hours in the lab
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standrd (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen, 0. et al. 1965)
Chlorophyll samples were analyzed on board ship in a controlled temperature lab.
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %"
Cruise_Number | Event_Number | Station | Sample_Number | Nominal depth | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Comments
[5 empty] | µg/L |  | µg/L
2012-12 | 2 | P1 | 12 | 30.828 | 0.70866 | 6 | 0.62785
2012-12 | 2 | P1 | 13 | 5.607 | 22.5179 | 6 | 2.82
2012-12 | 5 | P2 | 14 | 99.8 | 0.094111 |  | 0.39078
2012-12 | 5 | P2 | 15 | 75.5 | 0.12731 |  | 0.28038
2012-12 | 5 | P2 | 16 | 49.9 | 0.19121 |  | 0.22124
2012-12 | 5 | P2 | 17 | 39.7 | 0.42635 |  | 0.23536
2012-12 | 5 | P2 | 18 | 29.8 | 0.59271 |  | 0.36938
2012-12 | 5 | P2 | 19 | 25.1 | 1.0586 |  | 0.52631
2012-12 | 5 | P2 | 20 | 20 | 2.0671 |  | 0.83054
2012-12 | 5 | P2 | 21 | 15.3 | 2.6144 |  | 0.55919
2012-12 | 5 | P2 | 22 | 9.511 | 1.0571 |  | 0.54972
2012-12 | 5 | P2 | 23 | 5.047 | 0.55892 |  | 0.21593
2012-12 | 5 | P2 | 24 | 1.869 | 0.54916 |  | 0.2101
2012-12 | 5 | P2 | 25 | 29.93 | 0.62786 | 6 | 0.40415
2012-12 | 5 | P2 | 26 | 15.231 | 2.5232 | 6 | 0.7369
2012-12 | 5 | P2 | 27 | 5.182 | 0.6581 | 6 | 0.28075
2012-12 | 6 | P3 | 28 | 40.127 | 1.0639 | 6 | 0.42011
2012-12 | 6 | P3 | 29 | 4.54 | 0.46831 | 6 | 0.10396
2012-12 | 7 | P4 | 33 | 99.759 | 0.19159 |  | 0.31381
2012-12 | 7 | P4 | 34 | 73.859 | 0.25668 |  | 0.23612
2012-12 | 7 | P4 | 35 | 49.786 | 0.49573 |  | 0.36964
2012-12 | 7 | P4 | 36 | 40.234 | 0.58642 |  | 0.40412
2012-12 | 7 | P4 | 37 | 30.067 | 1.8829 |  | 0.38945
2012-12 | 7 | P4 | 38 | 25.968 | 0.88769 |  | 0.22452
2012-12 | 7 | P4 | 39 | 21.065 | 0.52149 |  | 0.13267
2012-12 | 7 | P4 | 40 | 14.396 | 0.48336 |  | 0.052709
2012-12 | 7 | P4 | 41 | 9.899 | 0.4225 |  | 0.061775
2012-12 | 7 | P4 | 42 | 5.188 | 0.38344 |  | 0.04036
2012-12 | 7 | P4 | 43 | 1.923 | 0.34694 |  | 0.031991
2012-12 | 7 | P4 | 44 | 40.352 | 0.61463 | 6 | 0.3613
2012-12 | 7 | P4 | 45 | 29.869 | 1.8246 | 6 | 0.38303
2012-12 | 7 | P4 | 46 | 5.202 | 0.3883 | 6 | 0.038785
2012-12 | 19 | P5 | 180 | 30.644 | 2.9528 | 6 | 0.32247
2012-12 | 19 | P5 | 181 | 4.454 | 0.24531 | 6 | 0.068524
2012-12 | 20 | P6 | 182 | 43.373 | 1.7731 | 6 | 0.91855
2012-12 | 20 | P6 | 183 | 4.847 | 0.74071 | 6 | 0.21195
2012-12 | 21 | P7 | 184 | 15.008 | 1.6302 | 6 | 0.48715
2012-12 | 21 | P7 | 185 | 6.177 | 1.7092 | 6 | 0.47964
2012-12 | 22 | P8 | 199 | 100.125 | 0.084944 |  | 0.074001
2012-12 | 22 | P8 | 200 | 74.714 | 0.23444 |  | 0.13695
2012-12 | 22 | P8 | 201 | 49.413 | 0.34325 |  | 0.1719
2012-12 | 22 | P8 | 202 | 26.837 | 0.16278 | 3 | 0.047234 | CHL: seems low compared to Fluor trace - suspect mis-trip
2012-12 | 22 | P8 | 203 | 9.834 | 0.57015 |  | 0.1511
2012-12 | 22 | P8 | 204 | 5.399 | 0.56613 |  | 0.14406
2012-12 | 22 | P8 | 205 | 49.305 | 0.34838 | 6 | 0.16079
2012-12 | 22 | P8 | 206 | 20.753 | 0.3739 | 6 | 0.078825
2012-12 | 22 | P8 | 207 | 5.547 | 0.55021 | 6 | 0.15621
2012-12 | 24 | P9 | 208 | 51.539 | 1.9075 | 6 | 0.51737
2012-12 | 24 | P9 | 209 | 4.518 | 0.405 | 6 | 0.10369
2012-12 | 25 | P10 | 210 | 5.006 | 0.37634 | 6 | 0.19342
2012-12 | 25 | P10 | 211 | 50.033 | 0.32524 | 6 | 0.072227
2012-12 | 26 | P11 | 212 | 60.534 | 0.37786 | 6 | 0.19358
2012-12 | 26 | P11 | 213 | 5.363 | 0.25616 | 6 | 0.039679
2012-12 | 27 | P12 | 217 | 100.164 | 0.16316 |  | 0.10206
2012-12 | 27 | P12 | 218 | 74.791 | 0.33674 |  | 0.17015
2012-12 | 27 | P12 | 219 | 50.605 | 0.32112 |  | 0.16982
2012-12 | 27 | P12 | 220 | 39.778 | 0.26205 |  | 0.061731
2012-12 | 27 | P12 | 221 | 29.979 | 0.23422 |  | 0.044373
2012-12 | 27 | P12 | 222 | 24.847 | 0.23558 |  | 0.053448
2012-12 | 27 | P12 | 223 | 20.496 | 0.23607 |  | 0.046763
2012-12 | 27 | P12 | 224 | 14.633 | 0.24822 |  | 0.050466
2012-12 | 27 | P12 | 225 | 10.101 | 0.26867 |  | 0.058521
2012-12 | 27 | P12 | 226 | 5.41 | 0.29996 |  | 0.025984
2012-12 | 27 | P12 | 227 | 1.183 | 0.24854 |  | 0.050502
2012-12 | 27 | P12 | 228 | 59.976 | 0.32402 | 6 | 0.13087
2012-12 | 27 | P12 | 229 | 50.678 | 0.325 | 6 | 0.10735
2012-12 | 27 | P12 | 230 | 5.375 | 0.31076 | 6 | 0.040699
2012-12 | 38 | P13 | 326 | 51.712 | 0.52377 | 6 | 0.20982
2012-12 | 38 | P13 | 327 | 5.062 | 0.3145 | 6 | 0.02921
2012-12 | 39 | P14 | 328 | 51.692 | 0.66201 | 6 | 0.26894
2012-12 | 39 | P14 | 329 | 4.853 | 0.32201 | 6 | 0.06257
2012-12 | 40 | P15 | 330 | 49.639 | 0.56974 | 6 | 0.10025
2012-12 | 40 | P15 | 331 | 5.13 | 0.26861 | 6 | 0.068903
2012-12 | 44 | P16 | 355 | 100.706 | 0.14515 |  | 0.07106
2012-12 | 44 | P16 | 356 | 74.719 | 0.28732 |  | 0.12951
2012-12 | 44 | P16 | 357 | 49.691 | 0.55312 |  | 0.25623
2012-12 | 44 | P16 | 358 | 40.543 | 0.52887 |  | 0.12406
2012-12 | 44 | P16 | 359 | 29.755 | 0.4219 |  | 0.11623
2012-12 | 44 | P16 | 360 | 24.522 | 0.35654 |  | 0.088592
2012-12 | 44 | P16 | 361 | 19.825 | 0.3464 |  | 0.071676
2012-12 | 44 | P16 | 362 | 15.236 | 0.35958 |  | 0.060354
2012-12 | 44 | P16 | 363 | 10.172 | 0.34423 |  | 0.086033
2012-12 | 44 | P16 | 364 | 5.314 | 0.30946 |  | 0.06937
2012-12 | 44 | P16 | 365 | 1.062 | 0.31016 |  | 0.072176
2012-12 | 44 | P16 | 366 | 59.74 | 0.43161 | 6 | 0.24313
2012-12 | 44 | P16 | 367 | 49.671 | 0.53511 | 6 | 0.18981
2012-12 | 44 | P16 | 368 | 5.125 | 0.30807 | 6 | 0.067087
2012-12 | 53 | P17 | 434 | 49.013 | 0.51726 | 6 | 0.29283
2012-12 | 53 | P17 | 435 | 5.413 | 0.47088 | 6 | 0.088345
2012-12 | 54 | P18 | 436 | 50.225 | 0.46112 | 6 | 0.21982
2012-12 | 54 | P18 | 437 | 4.875 | 0.22779 | 6 | 0.06921
2012-12 | 55 | P19 | 438 | 50.831 | 0.388 | 6 | 0.22981
2012-12 | 55 | P19 | 439 | 5.526 | 0.35345 | 6 | 0.061087
2012-12 | 62 | P20 | 511 | 99.952 | 0.081636 |  | 0.053608
2012-12 | 62 | P20 | 512 | 74.301 | 0.23493 |  | 0.19631
2012-12 | 62 | P20 | 513 | 50.069 | 0.4238 |  | 0.18962
2012-12 | 62 | P20 | 514 | 40.261 | 0.26725 |  | 0.092516
2012-12 | 62 | P20 | 515 | 30.507 | 0.28591 |  | 0.079743
2012-12 | 62 | P20 | 516 | 25.669 | 0.29671 |  | 0.077779
2012-12 | 62 | P20 | 517 | 20.743 | 0.28651 |  | 0.092108
2012-12 | 62 | P20 | 518 | 14.754 | 0.27317 |  | 0.087326
2012-12 | 62 | P20 | 519 | 9.765 | 0.26628 |  | 0.10836
2012-12 | 62 | P20 | 520 | 5.251 | 0.28863 |  | 0.11566
2012-12 | 62 | P20 | 521 | 1.022 | 0.27599 |  | 0.078619
2012-12 | 62 | P20 | 522 | 70.356 | 0.3576 | 6 | 0.2921
2012-12 | 62 | P20 | 523 | 60.006 | 0.40064 | 6 | 0.30726
2012-12 | 62 | P20 | 524 | 5.25 | 0.30116 | 6 | 0.079321
2012-12 | 67 | P21 | 541 | 50.373 | 0.32955 | 6 | 0.21847
2012-12 | 67 | P21 | 542 | 4.973 | 0.23558 | 6 | 0.092771
2012-12 | 70 | P22 | 543 | 49.742 | 0.3235 | 6 | 0.25586
2012-12 | 70 | P22 | 544 | 5.121 | 0.27363 | 6 | 0.071632
2012-12 | 71 | P23 | 567 | 49.816 | 0.29687 |  | 0.17924
2012-12 | 71 | P23 | 568 | 5.639 | 0.31171 |  | 0.055319
2012-12 | 72 | P24 | 569 | 50.052 | 0.28876 | 6 | 0.17003
2012-12 | 72 | P24 | 570 | 5.334 | 0.24987 | 6 | 0.065723
2012-12 | 73 | P25 | 574 | 50.963 | 0.33934 | 6 | 0.091405
2012-12 | 73 | P25 | 575 | 5.515 | 0.3449 | 6 | 0.079881
2012-12 | 74 | P35 | 576 | 50.947 | 0.41615 | 6 | 0.24894
2012-12 | 74 | P35 | 577 | 4.76 | 0.47791 | 6 | 0.063711
2012-12 | 86 | PA-006 | 683 | 99.407 | 0.095251 |  | 0.081975
2012-12 | 86 | PA-006 | 684 | 74.806 | 0.39109 |  | 0.2513
2012-12 | 86 | PA-006 | 685 | 50.25 | 0.55849 |  | 0.21574
2012-12 | 86 | PA-006 | 686 | 40.776 | 0.64169 |  | 0.15686
2012-12 | 86 | PA-006 | 687 | 30.318 | 0.558 |  | 0.083259
2012-12 | 86 | PA-006 | 688 | 25.63 | 0.50685 |  | 0.090775
2012-12 | 86 | PA-006 | 689 | 19.972 | 0.41452 |  | 0.076668
2012-12 | 86 | PA-006 | 690 | 15.519 | 0.40503 |  | 0.063078
2012-12 | 86 | PA-006 | 691 | 10.688 | 0.40937 |  | 0.061217
2012-12 | 86 | PA-006 | 692 | 5.32 | 0.38588 |  | 0.0641
2012-12 | 86 | PA-006 | 693 | 0.97 | 0.39163 |  | 0.082518
2012-12 | 86 | PA-006 | 694 | 50.192 | 0.54259 | 6 | 0.19595
2012-12 | 86 | PA-006 | 695 | 40.794 | -99 | 5 | 0.048612 | CHL: no duplicate and suspect mistrip as it should be from CHL MAX; out of line in profile and compared to sample #686 at same depth.
2012-12 | 86 | PA-006 | 696 | 5.367 | 0.39402 | 6 | 0.068022
2012-12 | 107 | P4 | 831 | 25 | 1.0288 | 6 | 0.70393
2012-12 | 107 | P4 | 832 | 13 | 1.0395 | 6 | 0.68
2012-12 | 107 | P4 | 833 | 5 | 1.0602 | 6 | 0.63728

## QF Loop CHL
Cruise: 2012-12 May/June LineP Marie Robert | [5 empty] | File: QF20XX-XXchl.xls
Notes: | Flags and comments apply to chlorophyll values only. No flags or comments are assigned for Phaeo-Pigment values |  |  |  |  | Date: Month day, Year
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C prior to analysis |  |  |  |  | Updated: Month day, Year
Samples were extracted in 90% acetone at -20C for 24 hours in the lab
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standrd (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965)
Chlorophyll samples were analyzed on board ship in a controlled temperature lab.
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %"
Cruise_Number | Event_Number | Station | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | Comments
|  |  | µg/L |  | µg/L
2012-12 | Loop | JF1 | 0.77345 |  | 0.55507
2012-12 | Loop | JF2 | 4.5815 |  | 0.73575
2012-12 | Loop | JF3 | 11.0372 |  | 2.4852
2012-12 | Loop | JF4 | 3.2942 |  | 0.91143
2012-12 | Loop | P11 | 0.25405 | 6 | 0.043137
2012-12 | Loop | P21 | 0.23202 | 6 | 0.070634
2012-12 | Loop | P22 | 0.24596 | 6 | 0.077555
2012-12 | Loop 1 |  | 0.20856 | 6 | 0.035716
2012-12 | Loop 2 |  | 0.18359 | 6 | 0.032396
2012-12 | Loop 4 |  | 0.40907 | 6 | 0.083127
2012-12 | Loop 5 |  | 0.32326 | 6 | 0.083114
2012-12 | Loop 6 |  | 0.2828 | 6 | 0.066596
2012-12 | Loop 7 |  | 0.90925 | 6 | 0.56128

## Niskin Loop Comp
Cruise: 2012-12 May/June LineP Marie Robert
Comparison between Loop and Niskin
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Actual | Volume | Vol.acet. | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Pressure | Filtered | (ml) | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  | dbar | (ml) |  |  | ug/L
2012-05-27 | 213 | P11 | 2012-05-26 | 2 | 26 | 5 | 5.363 | 330 | 10 | 0.25616 | 0.039679 | 1.82
2012-05-27 | Loop A | P11 | 2012-05-26 |  |  |  |  | 330 | 10 | 0.25405 | 0.043137 | 1.82
2012-06-04 | 542 | P21 | 2012-05-31 | 2 | 67 | 5 | 4.973 | 330 | 10 | 0.23558 | 0.092771 | 1.6691
2012-06-05 | Loop a | P21 | 2012-05-31 |  |  |  |  | 330 | 10 | 0.23202 | 0.070634 | 1.7256
2012-06-04 | 544 | P22 | 2012-05-31 | 2 | 70 | 5 | 5.121 | 330 | 10 | 0.27363 | 0.071632 | 1.7625
2012-06-05 | Loop a | P22 | 2012-05-31 |  |  |  |  | 330 | 10 | 0.24596 | 0.077555 | 1.7034

## CV %
Cruise: 2012-12 May/June LineP Marie Robert
Averaging Duplicates
Analysis:
Averaging Duplicates 2012-12
Average of two samples is reported. Variability is assessed as the % CV (std dev/mean*100).
There were no outliers of CV> 15 %
Cast | Station | Niskin # | Sample # | Rep. | Pressure | Chl a | Phaeo | Avg Chl | CV% CHL | FINAL Chl | Avg Phaeo | CV% PHA | Data Flag | Flag Comments for Archive
2 | P1 | 1 | 12 | A | 30.828 | 0.66431 | 0.60813 | 0.70866 | 8.8493 | 0.70866 | 0.62785 | 4.4408 | 6
2 | P1 | 1 | 12 | B | 30.828 | 0.753 | 0.64756
2 | P1 | 2 | 13 | A | 5.607 | 22.5119 | 2.9545 | 22.5179 | 0.037473 | 22.5179 | 2.82 | 6.7476 | 6
2 | P1 | 2 | 13 | B | 5.607 | 22.5238 | 2.6854
5 | P2 | 12 | 25 | A | 29.93 | 0.63166 | 0.39266 | 0.62786 | 0.85525 | 0.62786 | 0.40415 | 4.0211 | 6
5 | P2 | 12 | 25 | B | 29.93 | 0.62406 | 0.41564
5 | P2 | 13 | 26 | A | 15.231 | 2.5476 | 0.78001 | 2.5232 | 1.3712 | 2.5232 | 0.7369 | 8.2727 | 6
5 | P2 | 13 | 26 | B | 15.231 | 2.4987 | 0.69379
5 | P2 | 14 | 27 | A | 5.182 | 0.64538 | 0.28702 | 0.6581 | 2.7334 | 0.6581 | 0.28075 | 3.1559 | 6
5 | P2 | 14 | 27 | B | 5.182 | 0.67082 | 0.27449
6 | P3 | 1 | 28 | A | 40.127 | 1.0912 | 0.39508 | 1.0639 | 3.6267 | 1.0639 | 0.42011 | 8.4284 | 6
6 | P3 | 1 | 28 | B | 40.127 | 1.0366 | 0.44515
6 | P3 | 2 | 29 | A | 4.54 | 0.44924 | 0.10898 | 0.46831 | 5.7578 | 0.46831 | 0.10396 | 6.8296 | 6
6 | P3 | 2 | 29 | B | 4.54 | 0.48737 | 0.09894
7 | P4 | 15 | 44 | A | 40.352 | 0.63074 | 0.34561 | 0.61463 | 3.7068 | 0.61463 | 0.3613 | 6.1441 | 6
7 | P4 | 15 | 44 | B | 40.352 | 0.59852 | 0.377
7 | P4 | 16 | 45 | A | 29.869 | 1.8586 | 0.38829 | 1.8246 | 2.636 | 1.8246 | 0.38303 | 1.9426 | 6
7 | P4 | 16 | 45 | B | 29.869 | 1.7906 | 0.37777
7 | P4 | 17 | 46 | A | 5.202 | 0.39266 | 0.040486 | 0.3883 | 1.5903 | 0.3883 | 0.038785 | 6.2026 | 6
7 | P4 | 17 | 46 | B | 5.202 | 0.38393 | 0.037084
19 | P5 | 1 | 180 | A | 30.644 | 2.9457 | 0.25481 | 2.9528 | 0.34024 | 2.9528 | 0.32247 | 29.6739 | 6
19 | P5 | 1 | 180 | B | 30.644 | 2.9599 | 0.39014
19 | P5 | 2 | 181 | A | 4.454 | 0.24518 | 0.066465 | 0.24531 | 0.078177 | 0.24531 | 0.068524 | 4.2495 | 6
19 | P5 | 2 | 181 | B | 4.454 | 0.24545 | 0.070583
20 | P6 | 1 | 182 | A | 43.373 | 1.7907 | 0.97776 | 1.7731 | 1.4017 | 1.7731 | 0.91855 | 9.1165 | 6
20 | P6 | 1 | 182 | B | 43.373 | 1.7556 | 0.85934
20 | P6 | 2 | 183 | A | 4.847 | 0.74269 | 0.19311 | 0.74071 | 0.37801 | 0.74071 | 0.21195 | 12.5707 | 6
20 | P6 | 2 | 183 | B | 4.847 | 0.73873 | 0.23079
21 | P7 | 1 | 184 | A | 15.008 | 1.6501 | 0.47091 | 1.6302 | 1.727 | 1.6302 | 0.48715 | 4.7147 | 6
21 | P7 | 1 | 184 | B | 15.008 | 1.6103 | 0.50339
21 | P7 | 2 | 185 | A | 6.177 | 1.6646 | 0.47775 | 1.7092 | 3.6914 | 1.7092 | 0.47964 | 0.55619 | 6
21 | P7 | 2 | 185 | B | 6.177 | 1.7538 | 0.48152
22 | P8 | 20 | 205 | A | 49.305 | 0.34922 | 0.17151 | 0.34838 | 0.3413 | 0.34838 | 0.16079 | 9.4345 | 6
22 | P8 | 20 | 205 | B | 49.305 | 0.34753 | 0.15006
22 | P8 | 21 | 206 | A | 20.753 | 0.36543 | 0.081452 | 0.3739 | 3.2006 | 0.3739 | 0.078825 | 4.7125 | 6
22 | P8 | 21 | 206 | B | 20.753 | 0.38236 | 0.076198
22 | P8 | 22 | 207 | A | 5.547 | 0.55811 | 0.16624 | 0.55021 | 2.0286 | 0.55021 | 0.15621 | 9.0771 | 6
22 | P8 | 22 | 207 | B | 5.547 | 0.54232 | 0.14619
24 | P9 | 1 | 208 | A | 51.539 | 1.935 | 0.46777 | 1.9075 | 2.039 | 1.9075 | 0.51737 | 13.5587 | 6
24 | P9 | 1 | 208 | B | 51.539 | 1.88 | 0.56698
24 | P9 | 2 | 209 | A | 4.518 | 0.41143 | 0.082497 | 0.405 | 2.2445 | 0.405 | 0.10369 | 28.9088 | 6
24 | P9 | 2 | 209 | B | 4.518 | 0.39858 | 0.12489
25 | P10 | 1 | 210 | A | 5.006 | 0.38024 | 0.17612 | 0.37634 | 1.4676 | 0.37634 | 0.19342 | 12.6531 | 6
25 | P10 | 1 | 210 | B | 5.006 | 0.37243 | 0.21073
25 | P10 | 2 | 211 | A | 50.033 | 0.34097 | 0.066566 | 0.32524 | 6.8399 | 0.32524 | 0.072227 | 11.0839 | 6
25 | P10 | 2 | 211 | B | 50.033 | 0.30951 | 0.077888
26 | P11 | 1 | 212 | A | 60.534 | 0.38729 | 0.18673 | 0.37786 | 3.5325 | 0.37786 | 0.19358 | 5.0088 | 6
26 | P11 | 1 | 212 | B | 60.534 | 0.36842 | 0.20044
26 | P11 | 2 | 213 | A | 5.363 | 0.2672 | 0.042945 | 0.25616 | 6.0941 | 0.25616 | 0.039679 | 11.6391 | 6
26 | P11 | 2 | 213 | B | 5.363 | 0.24512 | 0.036413
| P11 |  | Loop A | A |  | 0.25337 | 0.040407 | 0.25405 | 0.37745 | 0.25405 | 0.043137 | 8.9506 | 6
| P11 |  | Loop B | B |  | 0.25472 | 0.045867
27 | P12 | 15 | 228 | A | 59.976 | 0.31586 | 0.11636 | 0.32402 | 3.5631 | 0.32402 | 0.13087 | 15.6756 | 6
27 | P12 | 15 | 228 | B | 59.976 | 0.33218 | 0.14538
27 | P12 | 16 | 229 | A | 50.678 | 0.31027 | 0.12154 | 0.325 | 6.4084 | 0.325 | 0.10735 | 18.6862 | 6
27 | P12 | 16 | 229 | B | 50.678 | 0.33972 | 0.093169
27 | P12 | 17 | 230 | A | 5.375 | 0.30034 | 0.044194 | 0.31076 | 4.7396 | 0.31076 | 0.040699 | 12.1444 | 6
27 | P12 | 17 | 230 | B | 5.375 | 0.32117 | 0.037204
38 | P13 | 4 | 326 | A | 51.712 | 0.51786 | 0.2385 | 0.52377 | 1.5964 | 0.52377 | 0.20982 | 19.3345 | 6
38 | P13 | 4 | 326 | B | 51.712 | 0.52968 | 0.18113
38 | P13 | 5 | 327 | A | 5.062 | 0.32459 | 0.027332 | 0.3145 | 4.5368 | 0.3145 | 0.02921 | 9.0949 | 6
38 | P13 | 5 | 327 | B | 5.062 | 0.30441 | 0.031089
39 | P14 | 1 | 328 | A | 51.692 | 0.65574 | 0.23405 | 0.66201 | 1.3384 | 0.66201 | 0.26894 | 18.3472 | 6
39 | P14 | 1 | 328 | B | 51.692 | 0.66827 | 0.30384
39 | P14 | 2 | 329 | A | 4.853 | 0.32307 | 0.05152 | 0.32201 | 0.46454 | 0.32201 | 0.06257 | 24.9751 | 6
39 | P14 | 2 | 329 | B | 4.853 | 0.32096 | 0.07362
40 | P15 | 1 | 330 | A | 49.639 | 0.55745 | 0.090463 | 0.56974 | 3.0496 | 0.56974 | 0.10025 | 13.8099 | 6
40 | P15 | 1 | 330 | B | 49.639 | 0.58203 | 0.11004
40 | P15 | 2 | 331 | A | 5.13 | 0.28212 | 0.080958 | 0.26861 | 7.111 | 0.26861 | 0.068903 | 24.7423 | 6
40 | P15 | 2 | 331 | B | 5.13 | 0.2551 | 0.056848
44 | P16 | 15 | 366 | A | 59.74 | 0.41143 | 0.29138 | 0.43161 | 6.6116 | 0.43161 | 0.24313 | 28.0618 | 6
44 | P16 | 15 | 366 | B | 59.74 | 0.45179 | 0.19489
44 | P16 | 16 | 367 | A | 49.671 | 0.53234 | 0.18168 | 0.53511 | 0.73112 | 0.53511 | 0.18981 | 6.0572 | 6
44 | P16 | 16 | 367 | B | 49.671 | 0.53787 | 0.19794
44 | P16 | 17 | 368 | A | 5.125 | 0.32117 | 0.061475 | 0.30807 | 6.0134 | 0.30807 | 0.067087 | 11.8303 | 6
44 | P16 | 17 | 368 | B | 5.125 | 0.29497 | 0.072699
53 | P17 | 1 | 434 | A | 49.013 | 0.50072 | 0.32148 | 0.51726 | 4.5232 | 0.51726 | 0.29283 | 13.8381 | 6
53 | P17 | 1 | 434 | B | 49.013 | 0.5338 | 0.26418
53 | P17 | 2 | 435 | A | 5.413 | 0.46248 | 0.072198 | 0.47088 | 2.5251 | 0.47088 | 0.088345 | 25.8477 | 6
53 | P17 | 2 | 435 | B | 5.413 | 0.47929 | 0.10449
54 | P18 | 1 | 436 | A | 50.225 | 0.46117 | 0.24412 | 0.46112 | 0.016636 | 0.46112 | 0.21982 | 15.6292 | 6
54 | P18 | 1 | 436 | B | 50.225 | 0.46106 | 0.19553
54 | P18 | 2 | 437 | A | 4.875 | 0.21486 | 0.068902 | 0.22779 | 8.0317 | 0.22779 | 0.06921 | 0.63045 | 6
54 | P18 | 2 | 437 | B | 4.875 | 0.24073 | 0.069519
55 | P19 | 1 | 438 | A | 50.831 | 0.39706 | 0.22535 | 0.388 | 3.3017 | 0.388 | 0.22981 | 2.7462 | 6
55 | P19 | 1 | 438 | B | 50.831 | 0.37894 | 0.23428
55 | P19 | 2 | 439 | A | 5.526 | 0.35269 | 0.055934 | 0.35345 | 0.30385 | 0.35345 | 0.061087 | 11.9302 | 6
55 | P19 | 2 | 439 | B | 5.526 | 0.35421 | 0.066241
62 | P20 | 15 | 522 | A | 70.356 | 0.36994 | 0.26125 | 0.3576 | 4.8803 | 0.3576 | 0.2921 | 14.9374 | 6
62 | P20 | 15 | 522 | B | 70.356 | 0.34526 | 0.32296
62 | P20 | 16 | 523 | A | 60.006 | 0.40134 | 0.27585 | 0.40064 | 0.24891 | 0.40064 | 0.30726 | 14.4546 | 6
62 | P20 | 16 | 523 | B | 60.006 | 0.39993 | 0.33866
62 | P20 | 17 | 524 | A | 5.25 | 0.29004 | 0.064363 | 0.30116 | 5.2218 | 0.30116 | 0.079321 | 26.6685 | 6
62 | P20 | 17 | 524 | B | 5.25 | 0.31228 | 0.094279
67 | P21 | 1 | 541 | A | 50.373 | 0.33115 | 0.21483 | 0.32955 | 0.68668 | 0.32955 | 0.21847 | 2.3562 | 6
67 | P21 | 1 | 541 | B | 50.373 | 0.32795 | 0.22211
67 | P21 | 2 | 542 | A | 4.973 | 0.2167 | 0.091638 | 0.23558 | 11.3319 | 0.23558 | 0.092771 | 1.7282 | 6
67 | P21 | 2 | 542 | B | 4.973 | 0.25445 | 0.093905
| P21 |  | Loop a | A |  | 0.2314 | 0.072187 | 0.23202 | 0.38021 | 0.23202 | 0.070634 | 3.11 | 6
| P21 |  | Loop b | B |  | 0.23265 | 0.06908
70 | P22 | 1 | 543 | A | 49.742 | 0.32047 | 0.28113 | 0.3235 | 1.3279 | 0.3235 | 0.25586 | 13.9664 | 6
70 | P22 | 1 | 543 | B | 49.742 | 0.32654 | 0.23059
70 | P22 | 2 | 544 | A | 5.121 | 0.27371 | 0.068039 | 0.27363 | 0.042052 | 0.27363 | 0.071632 | 7.0933 | 6
70 | P22 | 2 | 544 | B | 5.121 | 0.27355 | 0.075225
| P22 |  | Loop a | A |  | 0.24035 | 0.084925 | 0.24596 | 3.2279 | 0.24596 | 0.077555 | 13.4389 | 6
| P22 |  | Loop b | B |  | 0.25158 | 0.070186
71 | P23 | 23 | 567 | A | 49.816 | 0.3056 | 0.19901 | 0.29687 | 4.1602 | 0.29687 | 0.17924 | 15.5998 | 6
71 | P23 | 23 | 567 | B | 49.816 | 0.28814 | 0.15947
71 | P23 | 24 | 568 | A | 5.639 | 0.30468 | 0.053694 | 0.31171 | 3.187 | 0.31171 | 0.055319 | 4.1546 | 6
71 | P23 | 24 | 568 | B | 5.639 | 0.31873 | 0.056944
72 | P24 | 1 | 569 | A | 0 | 0.27941 | 0.19903 | 0.28876 | 4.5825 | 0.28876 | 0.17003 | 24.1257 | 6
72 | P24 | 1 | 569 | B | 0 | 0.29812 | 0.14102
72 | P24 | 2 | 570 | A | 0 | 0.24138 | 0.053118 | 0.24987 | 4.8046 | 0.24987 | 0.065723 | 27.1244 | 6
72 | P24 | 2 | 570 | B | 0 | 0.25836 | 0.078329
73 | P25 | 4 | 574 | A | 50.963 | 0.34113 | 0.086749 | 0.33934 | 0.74599 | 0.33934 | 0.091405 | 7.2037 | 6
73 | P25 | 4 | 574 | B | 50.963 | 0.33755 | 0.096061
73 | P25 | 5 | 575 | A | 5.515 | 0.34683 | 0.080227 | 0.3449 | 0.78957 | 0.3449 | 0.079881 | 0.61345 | 6
73 | P25 | 5 | 575 | B | 5.515 | 0.34298 | 0.079534
74 | P35 | 1 | 576 | A | 50.947 | 0.42044 | 0.27112 | 0.41615 | 1.4562 | 0.41615 | 0.24894 | 12.6005 | 6
74 | P35 | 1 | 576 | B | 50.947 | 0.41187 | 0.22676
74 | P35 | 2 | 577 | A | 4.76 | 0.48667 | 0.074755 | 0.47791 | 2.5923 | 0.47791 | 0.063711 | 24.5134 | 6
74 | P35 | 2 | 577 | B | 4.76 | 0.46915 | 0.052668
86 | PA-006 | 15 | 694 | A | 50.192 | 0.52778 | 0.19811 | 0.54259 | 3.8596 | 0.54259 | 0.19595 | 1.5565 | 6
86 | PA-006 | 15 | 694 | B | 50.192 | 0.5574 | 0.1938
86 | PA-006 | 16 | 695 | A | 40.794 | 0.20401 | 0.048612
86 | PA-006 | 16 | 695 | B | 40.794 | [8 empty] | CHL: Duplicate missing
86 | PA-006 | 17 | 696 | A | 5.367 | 0.40509 | 0.067103 | 0.39402 | 3.9716 | 0.39402 | 0.068022 | 1.9095 | 6
86 | PA-006 | 17 | 696 | B | 5.367 | 0.38296 | 0.06894
|  |  | Loop 1 | A |  | 0.19983 | 0.031358 | 0.20856 | 5.9217 | 0.20856 | 0.035716 | 17.254 | 6
|  |  | Loop 1 | B |  | 0.2173 | 0.040073
|  |  | Loop 2 | A |  | 0.1803 | 0.030798 | 0.18359 | 2.528 | 0.18359 | 0.032396 | 6.9768 | 6
|  |  | Loop 2 | B |  | 0.18687 | 0.033994
|  |  | Loop 4 | A |  | 0.40688 | 0.089532 | 0.40907 | 0.75947 | 0.40907 | 0.083127 | 10.8974 | 6
|  |  | Loop 4 | B |  | 0.41127 | 0.076721
|  |  | Loop 5 | A |  | 0.34732 | 0.088776 | 0.32326 | 10.5244 | 0.32326 | 0.083114 | 9.6335 | 6
|  |  | Loop 5 | B |  | 0.2992 | 0.077453
|  |  | Loop 6 | A |  | 0.28423 | 0.070632 | 0.2828 | 0.71884 | 0.2828 | 0.066596 | 8.5715 | 6
|  |  | Loop 6 | B |  | 0.28136 | 0.062559
|  |  | Loop 7 | A |  | 0.92267 | 0.58308 | 0.90925 | 2.0881 | 0.90925 | 0.56128 | 5.4909 | 6
|  |  | Loop 7 | B |  | 0.89582 | 0.53949
107 | P4 | 20 | 831 | A | Max+10 | 1.0491 | 0.72341 | 1.0288 | 2.7924 | 1.0288 | 0.70393 | 3.9124 | 6
107 | P4 | 20 | 831 | B | Max+10 | 1.0085 | 0.68446
107 | P4 | 21 | 832 | A | Max | 1.0198 | 0.70664 | 1.0395 | 2.6861 | 1.0395 | 0.68 | 5.54 | 6
107 | P4 | 21 | 832 | B | Max | 1.0593 | 0.65336
107 | P4 | 22 | 833 | A | 5 | 1.0274 | 0.75295 | 1.0602 | 4.3776 | 1.0602 | 0.63728 | 25.6692 | 6
107 | P4 | 22 | 833 | B | 5 | 1.093 | 0.52161

## RAW DATA single value
Cruise: 2012-12 May/June LineP Marie Robert
April 12, 2012 OSD Fluorometer Calibration Factors:
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a April 12, 2012
Apr 12, 2012: chl (ug/L)= 0.873*(1.952/(1.952-1)*Fo-Fa)*(vol ext/vol filtered)*(dilution factor)
Apr 12, 2012: phaeo (ug/L)= 0.873*(1.952/(1.952-1)*((1.952*Fa)-Fo)*1(vol ext/vol filtered)*(dilution factor)
Date | Sampling | Event | Station | Sample | Niskin | Nominal | Actual | Volume | Vol.acet. | Dilution | Before | After | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Date | no. |  | Number | Number | Depth | Pressure | Filtered | (ml) |  | acid | acid | ug/l |  | Rb/Ra
(local) | UTC | [6 empty] | (ml) | [5 empty] | ug/L
2012-05-27 | 2012-05-24 |  | JF1 | Loop |  |  |  | 330 | 10 |  | 39.986 | 25.727 | 0.77345 | 0.55507 | 1.5542
2012-05-27 | 2012-05-24 |  | JF2 | Loop |  |  |  | 330 | 12 |  | 156.192 | 85.807 | 4.5815 | 0.73575 | 1.8203
2012-06-14 | 2012-05-24 |  | JF3 | Loop |  |  |  | 330 | 20 |  | 232.671 | 130.932 | 11.0372 | 2.4852 | 1.777
2012-06-14 | 2012-05-24 |  | JF4 | Loop |  |  |  | 330 | 10 |  | 142.172 | 81.442 | 3.2942 | 0.91143 | 1.7457
2012-05-27 | 2012-05-24 | 2 | P1 | 12 | 1 | Max | 30.828 | 330 | 10 |  | 36.888 | 24.641 | 0.70866 | 0.62785 | 1.497
2012-06-14 | 2012-05-24 | 2 | P1 | 13 | 2 | 5 | 5.607 | 330 | 20 | 10 | 45.409 | 24.658 | 22.5119 | 2.9545 | 1.8416 | 10 X dilution
2012-05-27 | 2012-05-24 | 5 | P2 | 14 | 1 | 100 | 99.8 | 330 | 10 |  | 11.125 | 9.39 | 0.094111 | 0.39078 | 1.1848
2012-05-27 | 2012-05-24 | 5 | P2 | 15 | 2 | 75 | 75.5 | 330 | 10 |  | 10.242 | 7.895 | 0.12731 | 0.28038 | 1.2973
2012-05-27 | 2012-05-24 | 5 | P2 | 16 | 3 | 50 | 49.9 | 330 | 10 |  | 11.512 | 7.987 | 0.19121 | 0.22124 | 1.4413
2012-05-27 | 2012-05-24 | 5 | P2 | 17 | 4 | 40 | 39.7 | 330 | 10 |  | 20.674 | 12.814 | 0.42635 | 0.23536 | 1.6134
2012-05-27 | 2012-05-24 | 5 | P2 | 18 | 5 | 30 | 29.8 | 330 | 10 |  | 29.558 | 18.631 | 0.59271 | 0.36938 | 1.5865
2012-05-27 | 2012-05-24 | 5 | P2 | 19 | 6 | 25 | 25.1 | 330 | 10 |  | 50.206 | 30.691 | 1.0586 | 0.52631 | 1.6359
2012-05-27 | 2012-05-24 | 5 | P2 | 20 | 7 | 20 | 20 | 330 | 10 |  | 94.221 | 56.113 | 2.0671 | 0.83054 | 1.6791
2012-05-29 | 2012-05-24 | 5 | P2 | 21 | 8 | 15 | 15.3 | 330 | 10 |  | 109.655 | 61.457 | 2.6144 | 0.55919 | 1.7843
2012-05-29 | 2012-05-24 | 5 | P2 | 22 | 9 | 10 | 9.511 | 330 | 10 |  | 50.604 | 31.116 | 1.0571 | 0.54972 | 1.6263
2012-06-04 | 2012-05-24 | 5 | P2 | 23 | 10 | 5 | 5.047 | 330 | 10 |  | 25.309 | 15.005 | 0.55892 | 0.21593 | 1.6867
2012-05-27 | 2012-05-24 | 5 | P2 | 24 | 11 | 0 | 1.869 | 330 | 10 |  | 24.827 | 14.703 | 0.54916 | 0.2101 | 1.6886
2012-05-29 | 2012-05-24 | 5 | P2 | 25 | 12 | Max+10 | 29.93 | 330 | 10 |  | 31.481 | 19.836 | 0.62786 | 0.40415 | 1.5871
2012-05-27 | 2012-05-24 | 5 | P2 | 26 | 13 | Max | 15.231 | 330 | 10 |  | 111.407 | 64.44 | 2.5232 | 0.7369 | 1.7288
2012-06-04 | 2012-05-24 | 5 | P2 | 27 | 14 | 5 | 5.182 | 330 | 10 |  | 29.954 | 18.056 | 0.6581 | 0.28075 | 1.6589
2012-05-27 | 2012-05-24 | 6 | P3 | 28 | 1 | Max | 40.127 | 330 | 10 |  | 48.899 | 28.782 | 1.0639 | 0.42011 | 1.6989
2012-05-27 | 2012-05-24 | 6 | P3 | 29 | 2 | 5 | 4.54 | 330 | 10 |  | 19.092 | 10.81 | 0.46831 | 0.10396 | 1.7661
2012-05-29 | 2012-05-24 | 7 | P4 | 33 | 4 | 100 | 99.759 | 330 | 10 |  | 13.319 | 9.787 | 0.19159 | 0.31381 | 1.3609
2012-05-27 | 2012-05-24 | 7 | P4 | 34 | 5 | 75 | 73.859 | 330 | 10 |  | 14.275 | 9.543 | 0.25668 | 0.23612 | 1.4959
2012-05-29 | 2012-05-24 | 7 | P4 | 35 | 6 | 50 | 49.786 | 330 | 10 |  | 25.897 | 16.758 | 0.49573 | 0.36964 | 1.5454
2012-05-27 | 2012-05-24 | 7 | P4 | 36 | 7 | 40 | 40.234 | 330 | 10 |  | 29.993 | 19.182 | 0.58642 | 0.40412 | 1.5636
2012-05-27 | 2012-05-24 | 7 | P4 | 37 | 8 | 30 | 30.067 | 330 | 10 |  | 78.718 | 44.005 | 1.8829 | 0.38945 | 1.7888
2012-05-29 | 2012-05-24 | 7 | P4 | 38 | 9 | 25 | 25.968 | 330 | 10 |  | 37.903 | 21.538 | 0.88769 | 0.22452 | 1.7598
2012-05-27 | 2012-05-24 | 7 | P4 | 39 | 10 | 20 | 21.065 | 330 | 10 |  | 22.282 | 12.668 | 0.52149 | 0.13267 | 1.7589
2012-05-27 | 2012-05-24 | 7 | P4 | 40 | 11 | 15 | 14.396 | 330 | 10 |  | 19.292 | 10.381 | 0.48336 | 0.052709 | 1.8584
2012-05-29 | 2012-05-24 | 7 | P4 | 41 | 12 | 10 | 9.899 | 330 | 10 |  | 17.167 | 9.378 | 0.4225 | 0.061775 | 1.8306
2012-05-27 | 2012-05-24 | 7 | P4 | 42 | 13 | 5 | 5.188 | 330 | 10 |  | 15.276 | 8.207 | 0.38344 | 0.04036 | 1.8613
2012-06-04 | 2012-05-24 | 7 | P4 | 43 | 14 | 0 | 1.923 | 330 | 10 |  | 13.734 | 7.338 | 0.34694 | 0.031991 | 1.8716
2012-05-27 | 2012-05-24 | 7 | P4 | 44 | 15 | Max+10 | 40.352 | 330 | 10 |  | 30.535 | 18.907 | 0.61463 | 0.3613 | 1.615
2012-05-27 | 2012-05-24 | 7 | P4 | 45 | 16 | Max | 29.869 | 330 | 10 |  | 77.777 | 43.512 | 1.8246 | 0.38303 | 1.7875
2012-05-29 | 2012-05-24 | 7 | P4 | 46 | 17 | 5 | 5.202 | 330 | 10 |  | 15.627 | 8.388 | 0.3883 | 0.038785 | 1.863
2012-05-27 | 2012-05-25 | 19 | P5 | 180 | 1 | Max | 30.644 | 160 | 10 |  | 56.38 | 30.05 | 2.9528 | 0.32247 | 1.8762
2012-05-29 | 2012-05-25 | 19 | P5 | 181 | 2 | 5 | 4.454 | 330 | 10 |  | 10.555 | 6.035 | 0.24531 | 0.068524 | 1.749
2012-05-27 | 2012-05-25 | 20 | P6 | 182 | 1 | Max | 43.373 | 330 | 10 |  | 86.625 | 53.612 | 1.7731 | 0.91855 | 1.6158
2012-05-27 | 2012-05-25 | 20 | P6 | 183 | 2 | 5 | 4.847 | 330 | 10 |  | 31.814 | 18.122 | 0.74071 | 0.21195 | 1.7555
2012-05-27 | 2012-05-25 | 21 | P7 | 184 | 1 | Max | 15.008 | 330 | 10 |  | 71.493 | 41.073 | 1.6302 | 0.48715 | 1.7406
2012-05-27 | 2012-05-25 | 21 | P7 | 185 | 2 | 5 | 6.177 | 330 | 10 |  | 72.175 | 41.487 | 1.7092 | 0.47964 | 1.7397
2012-05-27 | 2012-05-26 | 22 | P8 | 199 | 14 | 100 | 100.125 | 330 | 10 |  | 4.644 | 3.078 | 0.084944 | 0.074001 | 1.5088
2012-05-29 | 2012-05-26 | 22 | P8 | 200 | 15 | 75 | 74.714 | 330 | 10 |  | 11.514 | 7.192 | 0.23444 | 0.13695 | 1.6009
2012-05-29 | 2012-05-26 | 22 | P8 | 201 | 16 | 50 | 49.413 | 330 | 10 |  | 16.304 | 9.976 | 0.34325 | 0.1719 | 1.6343
2012-05-27 | 2012-05-26 | 22 | P8 | 202 | 17 | 25 | 26.837 | 330 | 10 |  | 7.068 | 4.067 | 0.16278 | 0.047234 | 1.7379
2012-05-29 | 2012-05-26 | 22 | P8 | 203 | 18 | 10 | 9.834 | 330 | 10 |  | 24.478 | 13.967 | 0.57015 | 0.1511 | 1.7526
2012-05-29 | 2012-05-26 | 22 | P8 | 204 | 19 | 5 | 5.399 | 330 | 10 |  | 24.19 | 13.753 | 0.56613 | 0.14406 | 1.7589
2012-05-27 | 2012-05-26 | 22 | P8 | 205 | 20 | Max+10 | 49.305 | 330 | 10 |  | 16.522 | 10.084 | 0.34838 | 0.16079 | 1.6384
2012-05-27 | 2012-05-26 | 22 | P8 | 206 | 21 | Max | 20.753 | 330 | 10 |  | 15.391 | 8.654 | 0.3739 | 0.078825 | 1.7785
2012-05-29 | 2012-05-26 | 22 | P8 | 207 | 22 | 5 | 5.547 | 330 | 10 |  | 24.316 | 14.027 | 0.55021 | 0.15621 | 1.7335
2012-05-27 | 2012-05-26 | 24 | P9 | 208 | 1 | Max | 51.539 | 330 | 10 |  | 82.201 | 46.529 | 1.9075 | 0.51737 | 1.7667
2012-05-27 | 2012-05-26 | 24 | P9 | 209 | 2 | 5 | 4.518 | 330 | 10 |  | 17.15 | 9.565 | 0.405 | 0.10369 | 1.793
2012-05-27 | 2012-05-26 | 25 | P10 | 210 | 1 | Max | 5.006 | 330 | 10 |  | 17.784 | 10.774 | 0.37634 | 0.19342 | 1.6506
2012-05-27 | 2012-05-26 | 25 | P10 | 211 | 2 | 5 | 50.033 | 330 | 10 |  | 14.178 | 7.892 | 0.32524 | 0.072227 | 1.7965
2012-05-29 | 2012-05-26 | 26 | P11 | 212 | 1 | Max | 60.534 | 330 | 10 |  | 18.256 | 11.116 | 0.37786 | 0.19358 | 1.6423
2012-05-27 | 2012-05-26 | 26 | P11 | 213 | 2 | 5 | 5.363 | 330 | 10 |  | 10.932 | 6.006 | 0.25616 | 0.039679 | 1.8202
2012-05-27 | 2012-05-26 |  | P11 | Loop A |  |  |  | 330 | 10 |  | 10.36 | 5.689 | 0.25405 | 0.043137 | 1.8211
2012-06-04 | 2012-05-26 | 27 | P12 | 217 | 4 | 100 | 100.164 | 330 | 10 |  | 8.144 | 5.136 | 0.16316 | 0.10206 | 1.5857
2012-05-29 | 2012-05-26 | 27 | P12 | 218 | 5 | 75 | 74.791 | 330 | 10 |  | 16.024 | 9.816 | 0.33674 | 0.17015 | 1.6324
2012-05-29 | 2012-05-26 | 27 | P12 | 219 | 6 | 50 | 50.605 | 330 | 10 |  | 15.427 | 9.507 | 0.32112 | 0.16982 | 1.6227
2012-05-29 | 2012-05-26 | 27 | P12 | 220 | 7 | 40 | 39.778 | 330 | 10 |  | 11.101 | 6.27 | 0.26205 | 0.061731 | 1.7705
2012-05-29 | 2012-05-26 | 27 | P12 | 221 | 8 | 30 | 29.979 | 330 | 10 |  | 9.713 | 5.395 | 0.23422 | 0.044373 | 1.8004
2012-05-29 | 2012-05-26 | 27 | P12 | 222 | 9 | 25 | 24.847 | 330 | 10 |  | 9.94 | 5.597 | 0.23558 | 0.053448 | 1.776
2012-05-29 | 2012-05-26 | 27 | P12 | 223 | 10 | 20 | 20.496 | 330 | 10 |  | 9.829 | 5.477 | 0.23607 | 0.046763 | 1.7946
2012-06-04 | 2012-05-26 | 27 | P12 | 224 | 11 | 15 | 14.633 | 330 | 10 |  | 10.36 | 5.784 | 0.24822 | 0.050466 | 1.7911
2012-05-29 | 2012-05-26 | 27 | P12 | 225 | 12 | 10 | 10.101 | 330 | 10 |  | 11.289 | 6.336 | 0.26867 | 0.058521 | 1.7817
2012-05-29 | 2012-05-26 | 27 | P12 | 226 | 13 | 5 | 5.41 | 330 | 10 |  | 11.842 | 6.312 | 0.29996 | 0.025984 | 1.8761
2012-06-04 | 2012-05-26 | 27 | P12 | 227 | 14 | 0 | 1.183 | 330 | 10 |  | 10.373 | 5.791 | 0.24854 | 0.050502 | 1.7912
2012-06-04 | 2012-05-26 | 27 | P12 | 228 | 15 | Max+10 | 59.976 | 330 | 10 |  | 14.193 | 8.37 | 0.32402 | 0.13087 | 1.6957
2012-05-29 | 2012-05-26 | 27 | P12 | 229 | 16 | Max | 50.678 | 330 | 10 |  | 14.082 | 8.362 | 0.325 | 0.10735 | 1.684
2012-05-29 | 2012-05-26 | 27 | P12 | 230 | 17 | 5 | 5.375 | 330 | 10 |  | 12.209 | 6.672 | 0.31076 | 0.040699 | 1.8299
2012-06-04 | 2012-05-27 | 38 | P13 | 326 | 4 | Max | 51.712 | 330 | 10 |  | 24.194 | 14.647 | 0.52377 | 0.20982 | 1.6518
2012-05-29 | 2012-05-27 | 38 | P13 | 327 | 5 | 5 | 5.062 | 330 | 10 |  | 12.799 | 6.815 | 0.3145 | 0.02921 | 1.8781
2012-05-29 | 2012-05-28 | 39 | P14 | 328 | 1 | Max | 51.692 | 330 | 10 |  | 29.32 | 17.231 | 0.66201 | 0.26894 | 1.7016
2012-05-29 | 2012-05-28 | 39 | P14 | 329 | 2 | 5 | 4.853 | 330 | 10 |  | 13.21 | 7.254 | 0.32201 | 0.06257 | 1.8211
2012-05-29 | 2012-05-28 | 40 | P15 | 330 | 1 | Max | 49.639 | 330 | 10 |  | 22.824 | 12.547 | 0.56974 | 0.10025 | 1.8191
2012-06-04 | 2012-05-28 | 40 | P15 | 331 | 2 | 5 | 5.13 | 330 | 10 |  | 12.232 | 7.031 | 0.26861 | 0.068903 | 1.7397
2012-06-04 | 2012-05-28 | 44 | P16 | 355 | 4 | 100 | 100.706 | 330 | 10 |  | 6.863 | 4.187 | 0.14515 | 0.07106 | 1.6391
2012-06-04 | 2012-05-28 | 44 | P16 | 356 | 5 | 75 | 74.719 | 330 | 10 |  | 13.369 | 8.072 | 0.28732 | 0.12951 | 1.6562
2012-06-04 | 2012-05-28 | 44 | P16 | 357 | 6 | 50 | 49.691 | 330 | 10 |  | 25.87 | 15.673 | 0.55312 | 0.25623 | 1.6506
2012-06-04 | 2012-05-28 | 44 | P16 | 358 | 7 | 40 | 40.543 | 330 | 10 |  | 22.394 | 12.644 | 0.52887 | 0.12406 | 1.7711
2012-06-04 | 2012-05-28 | 44 | P16 | 359 | 8 | 30 | 29.755 | 330 | 10 |  | 18.199 | 10.421 | 0.4219 | 0.11623 | 1.7464
2012-06-04 | 2012-05-28 | 44 | P16 | 360 | 9 | 25 | 24.522 | 330 | 10 |  | 15.193 | 8.62 | 0.35654 | 0.088592 | 1.7625
2012-06-04 | 2012-05-28 | 44 | P16 | 361 | 10 | 20 | 19.825 | 330 | 10 |  | 14.482 | 8.096 | 0.3464 | 0.071676 | 1.7888
2012-06-04 | 2012-05-28 | 44 | P16 | 362 | 11 | 15 | 15.236 | 330 | 10 |  | 14.761 | 8.132 | 0.35958 | 0.060354 | 1.8152
2012-06-05 | 2012-05-28 | 44 | P16 | 363 | 12 | 10 | 10.172 | 330 | 10 |  | 14.678 | 8.332 | 0.34423 | 0.086033 | 1.7616
2012-06-05 | 2012-05-28 | 44 | P16 | 364 | 13 | 5 | 5.314 | 330 | 10 |  | 13.041 | 7.336 | 0.30946 | 0.06937 | 1.7777
2012-06-05 | 2012-05-28 | 44 | P16 | 365 | 14 | 0 | 1.062 | 330 | 10 |  | 13.122 | 7.404 | 0.31016 | 0.072176 | 1.7723
2012-06-05 | 2012-05-28 | 44 | P16 | 366 | 15 | Max+10 | 59.74 | 330 | 10 |  | 21.195 | 13.61 | 0.43161 | 0.24313 | 1.5573
2012-06-04 | 2012-05-28 | 44 | P16 | 367 | 16 | Max | 49.671 | 330 | 10 |  | 23.641 | 13.827 | 0.53511 | 0.18981 | 1.7098
2012-06-04 | 2012-05-28 | 44 | P16 | 368 | 17 | 5 | 5.125 | 330 | 10 |  | 13.331 | 7.41 | 0.30807 | 0.067087 | 1.7991
2012-06-04 | 2012-05-29 | 53 | P17 | 434 | 1 | Max | 49.013 | 330 | 10 |  | 25.153 | 15.922 | 0.51726 | 0.29283 | 1.5798
2012-06-04 | 2012-05-29 | 53 | P17 | 435 | 2 | 5 | 5.413 | 330 | 10 |  | 18.88 | 10.354 | 0.47088 | 0.088345 | 1.8234
2012-06-05 | 2012-05-29 | 54 | P18 | 436 | 1 | Max | 50.225 | 330 | 10 |  | 22.16 | 13.658 | 0.46112 | 0.21982 | 1.6225
2012-06-04 | 2012-05-29 | 54 | P18 | 437 | 2 | 5 | 4.875 | 330 | 10 |  | 9.456 | 5.495 | 0.22779 | 0.06921 | 1.7208
2012-06-04 | 2012-05-30 | 55 | P19 | 438 | 1 | Max | 50.831 | 330 | 10 |  | 19.373 | 12.053 | 0.388 | 0.22981 | 1.6073
2012-06-04 | 2012-05-30 | 55 | P19 | 439 | 2 | 5 | 5.526 | 330 | 10 |  | 14.415 | 7.913 | 0.35345 | 0.061087 | 1.8217
2012-06-04 | 2012-05-30 | 62 | P20 | 511 | 4 | 100 | 99.952 | 330 | 10 |  | 4.124 | 2.619 | 0.081636 | 0.053608 | 1.5746
2012-06-04 | 2012-05-30 | 62 | P20 | 512 | 5 | 75 | 74.301 | 330 | 10 |  | 12.682 | 8.351 | 0.23493 | 0.19631 | 1.5186
2012-06-04 | 2012-05-30 | 62 | P20 | 513 | 6 | 50 | 50.069 | 330 | 10 |  | 19.692 | 11.879 | 0.4238 | 0.18962 | 1.6577
2012-06-04 | 2012-05-30 | 62 | P20 | 514 | 7 | 40 | 40.261 | 330 | 10 |  | 11.894 | 6.967 | 0.26725 | 0.092516 | 1.7072
2012-06-04 | 2012-05-30 | 62 | P20 | 515 | 8 | 30 | 30.507 | 330 | 10 |  | 12.352 | 7.081 | 0.28591 | 0.079743 | 1.7444
2012-06-04 | 2012-05-30 | 62 | P20 | 516 | 9 | 25 | 25.669 | 330 | 10 |  | 12.722 | 7.252 | 0.29671 | 0.077779 | 1.7543
2012-06-04 | 2012-05-30 | 62 | P20 | 517 | 10 | 20 | 20.743 | 330 | 10 |  | 12.614 | 7.332 | 0.28651 | 0.092108 | 1.7204
2012-06-05 | 2012-05-30 | 62 | P20 | 518 | 11 | 15 | 14.754 | 330 | 10 |  | 12.017 | 6.981 | 0.27317 | 0.087326 | 1.7214
2012-06-04 | 2012-05-30 | 62 | P20 | 519 | 12 | 10 | 9.765 | 330 | 10 |  | 12.164 | 7.255 | 0.26628 | 0.10836 | 1.6766
2012-06-05 | 2012-05-30 | 62 | P20 | 520 | 13 | 5 | 5.251 | 330 | 10 |  | 13.15 | 7.829 | 0.28863 | 0.11566 | 1.6797
2012-06-04 | 2012-05-30 | 62 | P20 | 521 | 14 | 0 | 1.022 | 330 | 10 |  | 11.955 | 6.867 | 0.27599 | 0.078619 | 1.7409
2012-06-05 | 2012-05-30 | 62 | P20 | 522 | 15 | Max+10 | 70.356 | 330 | 10 |  | 19.043 | 12.223 | 0.3576 | 0.2921 | 1.558
2012-06-04 | 2012-05-30 | 62 | P20 | 523 | 16 | Max | 60.006 | 330 | 10 |  | 20.513 | 13.114 | 0.40064 | 0.30726 | 1.5642
2012-06-04 | 2012-05-30 | 62 | P20 | 524 | 17 | 5 | 5.25 | 330 | 10 |  | 12.21 | 6.863 | 0.30116 | 0.079321 | 1.7791
2012-06-04 | 2012-05-31 | 67 | P21 | 541 | 1 | Max | 50.373 | 330 | 10 |  | 16.678 | 10.573 | 0.32955 | 0.21847 | 1.5774
2012-06-04 | 2012-05-31 | 67 | P21 | 542 | 2 | 5 | 4.973 | 330 | 10 |  | 9.966 | 5.971 | 0.23558 | 0.092771 | 1.6691
2012-06-05 | 2012-05-31 |  | P21 | Loop a |  |  |  | 330 | 10 |  | 10.145 | 5.879 | 0.23202 | 0.070634 | 1.7256
2012-06-04 | 2012-05-31 | 70 | P22 | 543 | 1 | Max | 49.742 | 330 | 10 |  | 17.558 | 11.65 | 0.3235 | 0.25586 | 1.5071
2012-06-04 | 2012-05-31 | 70 | P22 | 544 | 2 | 5 | 5.121 | 330 | 10 |  | 11.664 | 6.618 | 0.27363 | 0.071632 | 1.7625
2012-06-05 | 2012-05-31 |  | P22 | Loop a |  |  |  | 330 | 10 |  | 10.73 | 6.299 | 0.24596 | 0.077555 | 1.7034
2012-06-05 | 2012-06-01 | 71 | P23 | 567 | 23 | Max | 49.816 | 330 | 10 |  | 15.406 | 9.772 | 0.29687 | 0.17924 | 1.5765
2012-06-05 | 2012-06-01 | 71 | P23 | 568 | 24 | 5 | 5.639 | 330 | 10 |  | 12.557 | 6.94 | 0.31171 | 0.055319 | 1.8094
2012-06-05 | 2012-06-01 | 72 | P24 | 569 | 1 | Max | 50.052 | 330 | 10 |  | 14.416 | 9.265 | 0.28876 | 0.17003 | 1.556
2012-06-05 | 2012-06-01 | 72 | P24 | 570 | 2 | 5 | 5.334 | 330 | 10 |  | 10.153 | 5.703 | 0.24987 | 0.065723 | 1.7803
2012-06-04 | 2012-06-01 | 73 | P25 | 574 | 4 | Max | 50.963 | 330 | 10 |  | 14.575 | 8.286 | 0.33934 | 0.091405 | 1.759
2012-06-04 | 2012-06-01 | 73 | P25 | 575 | 5 | 5 | 5.515 | 330 | 10 |  | 14.664 | 8.27 | 0.3449 | 0.079881 | 1.7732
2012-06-05 | 2012-06-01 | 74 | P35 | 576 | 1 | Max | 50.947 | 330 | 10 |  | 21.143 | 13.392 | 0.41615 | 0.24894 | 1.5788
2012-06-04 | 2012-06-01 | 74 | P35 | 577 | 2 | 5 | 4.76 | 330 | 10 |  | 19.844 | 10.872 | 0.47791 | 0.063711 | 1.8252
2012-06-04 | 2012-06-02 | 86 | PA-006 | 683 | 4 | 100 | 99.407 | 330 | 10 |  | 5.188 | 3.432 | 0.095251 | 0.081975 | 1.5117
2012-06-04 | 2012-06-02 | 86 | PA-006 | 684 | 5 | 75 | 74.806 | 330 | 10 |  | 19.65 | 12.44 | 0.39109 | 0.2513 | 1.5796
2012-06-05 | 2012-06-02 | 86 | PA-006 | 685 | 6 | 50 | 50.25 | 330 | 10 |  | 25.289 | 14.993 | 0.55849 | 0.21574 | 1.6867
2012-06-04 | 2012-06-02 | 86 | PA-006 | 686 | 7 | 40 | 40.776 | 330 | 10 |  | 27.294 | 15.464 | 0.64169 | 0.15686 | 1.765
2012-06-04 | 2012-06-02 | 86 | PA-006 | 687 | 8 | 30 | 30.318 | 330 | 10 |  | 22.705 | 12.418 | 0.558 | 0.083259 | 1.8284
2012-06-05 | 2012-06-02 | 86 | PA-006 | 688 | 9 | 25 | 25.63 | 330 | 10 |  | 20.917 | 11.573 | 0.50685 | 0.090775 | 1.8074
2012-06-05 | 2012-06-02 | 86 | PA-006 | 689 | 10 | 20 | 19.972 | 330 | 10 |  | 17.154 | 9.512 | 0.41452 | 0.076668 | 1.8034
2012-06-04 | 2012-06-02 | 86 | PA-006 | 690 | 11 | 15 | 15.519 | 330 | 10 |  | 16.532 | 9.065 | 0.40503 | 0.063078 | 1.8237
2012-06-04 | 2012-06-02 | 86 | PA-006 | 691 | 12 | 10 | 10.688 | 330 | 10 |  | 16.66 | 9.113 | 0.40937 | 0.061217 | 1.8282
2012-06-05 | 2012-06-02 | 86 | PA-006 | 692 | 13 | 5 | 5.32 | 330 | 10 |  | 15.828 | 8.714 | 0.38588 | 0.0641 | 1.8164
2012-06-04 | 2012-06-02 | 86 | PA-006 | 693 | 14 | 0 | 0.97 | 330 | 10 |  | 16.402 | 9.182 | 0.39163 | 0.082518 | 1.7863
2012-06-04 | 2012-06-02 | 86 | PA-006 | 694 | 15 | Max+10 | 50.192 | 330 | 10 |  | 23.787 | 14.057 | 0.54259 | 0.19595 | 1.6922
2012-06-04 | 2012-06-02 | 86 | PA-006 | 695 | 16 | Max | 40.794 | 330 | 10 |  | 8.653 | 4.892 | 0.20401 | 0.048612 | 1.7688
2012-06-05 | 2012-06-02 | 86 | PA-006 | 695 | 16 | Max | 40.794 | 330 | 10 | [6 empty] | Missing?
2012-06-05 | 2012-06-02 | 86 | PA-006 | 696 | 17 | 5 | 5.367 | 330 | 10 |  | 16.612 | 9.144 | 0.39402 | 0.068022 | 1.8167
2012-06-14 | 2012-06-05 |  |  | Loop 1 |  |  |  | 330 | 10 |  | 8.161 | 4.477 | 0.19983 | 0.031358 | 1.8229
2012-06-14 | 2012-06-05 |  |  | Loop 1 |  |  |  | 330 | 10 |  | 8.99 | 4.984 | 0.2173 | 0.040073 | 1.8038
2012-06-14 | 2012-06-05 |  |  | Loop 2 |  |  |  | 330 | 10 |  | 7.412 | 4.088 | 0.1803 | 0.030798 | 1.8131
2012-06-14 | 2012-06-05 |  |  | Loop 2 |  |  |  | 330 | 10 |  | 7.722 | 4.277 | 0.18687 | 0.033994 | 1.8055
2012-06-14 | 2012-06-06 |  |  | Loop 4 |  |  |  | 330 | 10 |  | 17.114 | 9.613 | 0.40688 | 0.089532 | 1.7803
2012-06-14 | 2012-06-06 |  |  | Loop 4 |  |  |  | 330 | 10 |  | 17.032 | 9.45 | 0.41127 | 0.076721 | 1.8023
2012-06-14 | 2012-06-06 |  |  | Loop 5 |  |  |  | 330 | 10 |  | 14.848 | 8.445 | 0.34732 | 0.088776 | 1.7582
2012-06-14 | 2012-06-06 |  |  | Loop 5 |  |  |  | 330 | 10 |  | 12.81 | 7.294 | 0.2992 | 0.077453 | 1.7562
2012-06-14 | 2012-06-07 |  |  | Loop 6 |  |  |  | 330 | 10 |  | 12.112 | 6.872 | 0.28423 | 0.070632 | 1.7625
2012-06-14 | 2012-06-07 |  |  | Loop 6 |  |  |  | 330 | 10 |  | 11.847 | 6.66 | 0.28136 | 0.062559 | 1.7788
2012-06-14 | 2012-06-07 |  |  | Loop 7 |  |  |  | 330 | 10 |  | 46.169 | 29.159 | 0.92267 | 0.58308 | 1.5834
2012-06-14 | 2012-06-07 |  |  | Loop 7 |  |  |  | 330 | 10 |  | 44.31 | 27.795 | 0.89582 | 0.53949 | 1.5942
2012-06-14 | 2012-06-07 | 107 | P4 | 831 | 20 | Max+10 | 25 | 330 | 10 |  | 53.666 | 34.325 | 1.0491 | 0.72341 | 1.5635
2012-06-14 | 2012-06-07 | 107 | P4 | 831 | 20 | Max+10 | 25 | 330 | 10 |  | 51.376 | 32.784 | 1.0085 | 0.68446 | 1.5671
2012-06-14 | 2012-06-07 | 107 | P4 | 832 | 21 | Max | 13 | 330 | 10 |  | 52.232 | 33.432 | 1.0198 | 0.70664 | 1.5623
2012-06-14 | 2012-06-07 | 107 | P4 | 832 | 21 | Max | 13 | 330 | 10 |  | 52.693 | 33.165 | 1.0593 | 0.65336 | 1.5888
2012-06-14 | 2012-06-07 | 107 | P4 | 833 | 22 | 5 | 5 | 330 | 10 |  | 53.416 | 34.476 | 1.0274 | 0.75295 | 1.5494
2012-06-14 | 2012-06-07 | 107 | P4 | 833 | 22 | 5 | 5 | 330 | 10 |  | 51.417 | 31.267 | 1.093 | 0.52161 | 1.6444

## Sheet1+dups
April 12, 2012 OSD Fluorometer Calibration Factors:
Analyzed using Water Properties Turner 10 AU calibrated with pure chlorophyll a April 12, 2012
Apr 12, 2012: chl (ug/L)= 0.873*(1.952/(1.952-1)*Fo-Fa)*(vol ext/vol filtered)*(dilution factor)
Apr 12, 2012: phaeo (ug/L)= 0.873*(1.952/(1.952-1)*((1.952*Fa)-Fo)*1(vol ext/vol filtered)*(dilution factor)
Date | Sample | Station | Sampling | Niskin | Cast | Nominal | Actual | Volume | Vol.acet. | Dilution | Before | After | Chl.a | Phaeo | RATIO | Comments
(analyzed) | Number |  | Date | Number | no. | Depth | Pressure | Filtered | (ml) |  | acid | acid | ug/l |  | Rb/Ra
(local) |  |  | UTC |  |  |  |  | (ml) | [5 empty] | ug/L
2012-05-27 | Loop | JF1 | 2012-05-24 |  |  |  |  | 330 | 10 |  | 39.986 | 25.727 | 0.77345 | 0.55507 | 1.5542
2012-05-27 | Loop | JF2 | 2012-05-24 |  |  |  |  | 330 | 12 |  | 156.192 | 85.807 | 4.5815 | 0.73575 | 1.8203
2012-06-14 | Loop | JF3 | 2012-05-24 |  |  |  |  | 330 | 20 |  | 232.671 | 130.932 | 11.0372 | 2.4852 | 1.777
2012-06-14 | Loop | JF4 | 2012-05-24 |  |  |  |  | 330 | 10 |  | 142.172 | 81.442 | 3.2942 | 0.91143 | 1.7457
2012-05-27 | 12 | P1 | 2012-05-24 | 1 | 2 | Max | 30.828 | 330 | 10 |  | 36.888 | 24.641 | 0.66431 | 0.60813 | 1.497
2012-06-04 | 12 | P1 | 2012-05-24 | 1 | 2 | Max | 30.828 | 330 | 10 |  | 41.004 | 27.122 | 0.753 | 0.64756 | 1.5118
2012-06-14 | 13 | P1 | 2012-05-24 | 2 | 2 | 5 | 5.607 | 330 | 20 | 10 | 45.409 | 24.658 | 22.5119 | 2.9545 | 1.8416 | 10 X dilution
2012-06-14 | 13 | P1 | 2012-05-24 | 2 | 2 | 5 | 5.607 | 330 | 20 | 10 | 45.171 | 24.409 | 22.5238 | 2.6854 | 1.8506 | 10 X dilution
2012-05-27 | 14 | P2 | 2012-05-24 | 1 | 5 | 100 | 99.8 | 330 | 10 |  | 11.125 | 9.39 | 0.094111 | 0.39078 | 1.1848
2012-05-27 | 15 | P2 | 2012-05-24 | 2 | 5 | 75 | 75.5 | 330 | 10 |  | 10.242 | 7.895 | 0.12731 | 0.28038 | 1.2973
2012-05-27 | 16 | P2 | 2012-05-24 | 3 | 5 | 50 | 49.9 | 330 | 10 |  | 11.512 | 7.987 | 0.19121 | 0.22124 | 1.4413
2012-05-27 | 17 | P2 | 2012-05-24 | 4 | 5 | 40 | 39.7 | 330 | 10 |  | 20.674 | 12.814 | 0.42635 | 0.23536 | 1.6134
2012-05-27 | 18 | P2 | 2012-05-24 | 5 | 5 | 30 | 29.8 | 330 | 10 |  | 29.558 | 18.631 | 0.59271 | 0.36938 | 1.5865
2012-05-27 | 19 | P2 | 2012-05-24 | 6 | 5 | 25 | 25.1 | 330 | 10 |  | 50.206 | 30.691 | 1.0586 | 0.52631 | 1.6359
2012-05-27 | 20 | P2 | 2012-05-24 | 7 | 5 | 20 | 20 | 330 | 10 |  | 94.221 | 56.113 | 2.0671 | 0.83054 | 1.6791
2012-05-29 | 21 | P2 | 2012-05-24 | 8 | 5 | 15 | 15.3 | 330 | 10 |  | 109.655 | 61.457 | 2.6144 | 0.55919 | 1.7843
2012-05-29 | 22 | P2 | 2012-05-24 | 9 | 5 | 10 | 9.511 | 330 | 10 |  | 50.604 | 31.116 | 1.0571 | 0.54972 | 1.6263
2012-06-04 | 23 | P2 | 2012-05-24 | 10 | 5 | 5 | 5.047 | 330 | 10 |  | 25.309 | 15.005 | 0.55892 | 0.21593 | 1.6867
2012-05-27 | 24 | P2 | 2012-05-24 | 11 | 5 | 0 | 1.869 | 330 | 10 |  | 24.827 | 14.703 | 0.54916 | 0.2101 | 1.6886
2012-05-29 | 25 | P2 | 2012-05-24 | 12 | 5 | Max+10 | 29.93 | 330 | 10 |  | 31.481 | 19.836 | 0.63166 | 0.39266 | 1.5871
2012-05-27 | 25 | P2 | 2012-05-24 | 12 | 5 | Max+10 | 29.93 | 330 | 10 |  | 31.639 | 20.134 | 0.62406 | 0.41564 | 1.5714
2012-05-27 | 26 | P2 | 2012-05-24 | 13 | 5 | Max | 15.231 | 330 | 10 |  | 111.407 | 64.44 | 2.5476 | 0.78001 | 1.7288
2012-05-27 | 26 | P2 | 2012-05-24 | 13 | 5 | Max | 15.231 | 330 | 10 |  | 107.888 | 61.823 | 2.4987 | 0.69379 | 1.7451
2012-06-04 | 27 | P2 | 2012-05-24 | 14 | 5 | 5 | 5.182 | 330 | 10 |  | 29.954 | 18.056 | 0.64538 | 0.28702 | 1.6589
2012-05-27 | 27 | P2 | 2012-05-24 | 14 | 5 | 5 | 5.182 | 330 | 10 |  | 30.673 | 18.306 | 0.67082 | 0.27449 | 1.6756
2012-05-27 | 28 | P3 | 2012-05-24 | 1 | 6 | Max | 40.127 | 330 | 10 |  | 48.899 | 28.782 | 1.0912 | 0.39508 | 1.6989
2012-05-29 | 28 | P3 | 2012-05-24 | 1 | 6 | Max | 40.127 | 330 | 10 |  | 47.806 | 28.695 | 1.0366 | 0.44515 | 1.666
2012-05-27 | 29 | P3 | 2012-05-24 | 2 | 6 | 5 | 4.54 | 330 | 10 |  | 19.092 | 10.81 | 0.44924 | 0.10898 | 1.7661
2012-05-27 | 29 | P3 | 2012-05-24 | 2 | 6 | 5 | 4.54 | 330 | 10 |  | 20.339 | 11.354 | 0.48737 | 0.09894 | 1.7914
2012-05-29 | 33 | P4 | 2012-05-24 | 4 | 7 | 100 | 99.759 | 330 | 10 |  | 13.319 | 9.787 | 0.19159 | 0.31381 | 1.3609
2012-05-27 | 34 | P4 | 2012-05-24 | 5 | 7 | 75 | 73.859 | 330 | 10 |  | 14.275 | 9.543 | 0.25668 | 0.23612 | 1.4959
2012-05-29 | 35 | P4 | 2012-05-24 | 6 | 7 | 50 | 49.786 | 330 | 10 |  | 25.897 | 16.758 | 0.49573 | 0.36964 | 1.5454
2012-05-27 | 36 | P4 | 2012-05-24 | 7 | 7 | 40 | 40.234 | 330 | 10 |  | 29.993 | 19.182 | 0.58642 | 0.40412 | 1.5636
2012-05-27 | 37 | P4 | 2012-05-24 | 8 | 7 | 30 | 30.067 | 330 | 10 |  | 78.718 | 44.005 | 1.8829 | 0.38945 | 1.7888
2012-05-29 | 38 | P4 | 2012-05-24 | 9 | 7 | 25 | 25.968 | 330 | 10 |  | 37.903 | 21.538 | 0.88769 | 0.22452 | 1.7598
2012-05-27 | 39 | P4 | 2012-05-24 | 10 | 7 | 20 | 21.065 | 330 | 10 |  | 22.282 | 12.668 | 0.52149 | 0.13267 | 1.7589
2012-05-27 | 40 | P4 | 2012-05-24 | 11 | 7 | 15 | 14.396 | 330 | 10 |  | 19.292 | 10.381 | 0.48336 | 0.052709 | 1.8584
2012-05-29 | 41 | P4 | 2012-05-24 | 12 | 7 | 10 | 9.899 | 330 | 10 |  | 17.167 | 9.378 | 0.4225 | 0.061775 | 1.8306
2012-05-27 | 42 | P4 | 2012-05-24 | 13 | 7 | 5 | 5.188 | 330 | 10 |  | 15.276 | 8.207 | 0.38344 | 0.04036 | 1.8613
2012-06-04 | 43 | P4 | 2012-05-24 | 14 | 7 | 0 | 1.923 | 330 | 10 |  | 13.734 | 7.338 | 0.34694 | 0.031991 | 1.8716
2012-05-27 | 44 | P4 | 2012-05-24 | 15 | 7 | Max+10 | 40.352 | 330 | 10 |  | 30.535 | 18.907 | 0.63074 | 0.34561 | 1.615
2012-05-27 | 44 | P4 | 2012-05-24 | 15 | 7 | Max+10 | 40.352 | 330 | 10 |  | 29.925 | 18.891 | 0.59852 | 0.377 | 1.5841
2012-05-27 | 45 | P4 | 2012-05-24 | 16 | 7 | Max | 29.869 | 330 | 10 |  | 77.777 | 43.512 | 1.8586 | 0.38829 | 1.7875
2012-05-29 | 45 | P4 | 2012-05-24 | 16 | 7 | Max | 29.869 | 330 | 10 |  | 75.002 | 41.991 | 1.7906 | 0.37777 | 1.7861
2012-05-29 | 46 | P4 | 2012-05-24 | 17 | 7 | 5 | 5.202 | 330 | 10 |  | 15.627 | 8.388 | 0.39266 | 0.040486 | 1.863
2012-05-27 | 46 | P4 | 2012-05-24 | 17 | 7 | 5 | 5.202 | 330 | 10 |  | 15.231 | 8.153 | 0.38393 | 0.037084 | 1.8681
2012-05-27 | 180 | P5 | 2012-05-25 | 1 | 19 | Max | 30.644 | 160 | 10 |  | 56.38 | 30.05 | 2.9457 | 0.25481 | 1.8762
2012-06-04 | 180 | P5 | 2012-05-25 | 1 | 19 | Max | 30.644 | 160 | 10 |  | 57.911 | 31.454 | 2.9599 | 0.39014 | 1.8411
2012-05-29 | 181 | P5 | 2012-05-25 | 2 | 19 | 5 | 4.454 | 330 | 10 |  | 10.555 | 6.035 | 0.24518 | 0.066465 | 1.749
2012-05-29 | 181 | P5 | 2012-05-25 | 2 | 19 | 5 | 4.454 | 330 | 10 |  | 10.645 | 6.12 | 0.24545 | 0.070583 | 1.7394
2012-05-27 | 182 | P6 | 2012-05-25 | 1 | 20 | Max | 43.373 | 330 | 10 |  | 86.625 | 53.612 | 1.7907 | 0.97776 | 1.6158
2012-05-29 | 182 | P6 | 2012-05-25 | 1 | 20 | Max | 43.373 | 330 | 10 |  | 83.003 | 50.638 | 1.7556 | 0.85934 | 1.6391
2012-05-27 | 183 | P6 | 2012-05-25 | 2 | 20 | 5 | 4.847 | 330 | 10 |  | 31.814 | 18.122 | 0.74269 | 0.19311 | 1.7555
2012-05-27 | 183 | P6 | 2012-05-25 | 2 | 20 | 5 | 4.847 | 330 | 10 |  | 32.394 | 18.775 | 0.73873 | 0.23079 | 1.7254
2012-05-27 | 184 | P7 | 2012-05-25 | 1 | 21 | Max | 15.008 | 330 | 10 |  | 71.493 | 41.073 | 1.6501 | 0.47091 | 1.7406
2012-05-29 | 184 | P7 | 2012-05-25 | 1 | 21 | Max | 15.008 | 330 | 10 |  | 70.617 | 40.931 | 1.6103 | 0.50339 | 1.7253
2012-05-27 | 185 | P7 | 2012-05-25 | 2 | 21 | 5 | 6.177 | 330 | 10 |  | 72.175 | 41.487 | 1.6646 | 0.47775 | 1.7397
2012-05-29 | 185 | P7 | 2012-05-25 | 2 | 21 | 5 | 6.177 | 330 | 10 |  | 75.621 | 43.288 | 1.7538 | 0.48152 | 1.7469
2012-05-27 | 199 | P8 | 2012-05-26 | 14 | 22 | 100 | 100.125 | 330 | 10 |  | 4.644 | 3.078 | 0.084944 | 0.074001 | 1.5088
2012-05-29 | 200 | P8 | 2012-05-26 | 15 | 22 | 75 | 74.714 | 330 | 10 |  | 11.514 | 7.192 | 0.23444 | 0.13695 | 1.6009
2012-05-29 | 201 | P8 | 2012-05-26 | 16 | 22 | 50 | 49.413 | 330 | 10 |  | 16.304 | 9.976 | 0.34325 | 0.1719 | 1.6343
2012-05-27 | 202 | P8 | 2012-05-26 | 17 | 22 | 25 | 26.837 | 330 | 10 |  | 7.068 | 4.067 | 0.16278 | 0.047234 | 1.7379
2012-05-29 | 203 | P8 | 2012-05-26 | 18 | 22 | 10 | 9.834 | 330 | 10 |  | 24.478 | 13.967 | 0.57015 | 0.1511 | 1.7526
2012-05-29 | 204 | P8 | 2012-05-26 | 19 | 22 | 5 | 5.399 | 330 | 10 |  | 24.19 | 13.753 | 0.56613 | 0.14406 | 1.7589
2012-05-27 | 205 | P8 | 2012-05-26 | 20 | 22 | Max+10 | 49.305 | 330 | 10 |  | 16.522 | 10.084 | 0.34922 | 0.17151 | 1.6384
2012-05-27 | 205 | P8 | 2012-05-26 | 20 | 22 | Max+10 | 49.305 | 330 | 10 |  | 16.043 | 9.636 | 0.34753 | 0.15006 | 1.6649
2012-05-27 | 206 | P8 | 2012-05-26 | 21 | 22 | Max | 20.753 | 330 | 10 |  | 15.391 | 8.654 | 0.36543 | 0.081452 | 1.7785
2012-05-27 | 206 | P8 | 2012-05-26 | 21 | 22 | Max | 20.753 | 330 | 10 |  | 15.929 | 8.88 | 0.38236 | 0.076198 | 1.7938
2012-05-29 | 207 | P8 | 2012-05-26 | 22 | 22 | 5 | 5.547 | 330 | 10 |  | 24.316 | 14.027 | 0.55811 | 0.16624 | 1.7335
2012-06-04 | 207 | P8 | 2012-05-26 | 22 | 22 | 5 | 5.547 | 330 | 10 |  | 23.331 | 13.333 | 0.54232 | 0.14619 | 1.7499
2012-05-27 | 208 | P9 | 2012-05-26 | 1 | 24 | Max | 51.539 | 330 | 10 |  | 82.201 | 46.529 | 1.935 | 0.46777 | 1.7667
2012-05-29 | 208 | P9 | 2012-05-26 | 1 | 24 | Max | 51.539 | 330 | 10 |  | 82.043 | 47.385 | 1.88 | 0.56698 | 1.7314
2012-05-27 | 209 | P9 | 2012-05-26 | 2 | 24 | 5 | 4.518 | 330 | 10 |  | 17.15 | 9.565 | 0.41143 | 0.082497 | 1.793
2012-05-29 | 209 | P9 | 2012-05-26 | 2 | 24 | 5 | 4.518 | 330 | 10 |  | 17.485 | 10.137 | 0.39858 | 0.12489 | 1.7249
2012-05-27 | 210 | P10 | 2012-05-26 | 1 | 25 | Max | 5.006 | 330 | 10 |  | 17.784 | 10.774 | 0.38024 | 0.17612 | 1.6506
2012-05-29 | 210 | P10 | 2012-05-26 | 1 | 25 | Max | 5.006 | 330 | 10 |  | 18.159 | 11.293 | 0.37243 | 0.21073 | 1.608
2012-05-27 | 211 | P10 | 2012-05-26 | 2 | 25 | 5 | 50.033 | 330 | 10 |  | 14.178 | 7.892 | 0.34097 | 0.066566 | 1.7965
2012-05-29 | 211 | P10 | 2012-05-26 | 2 | 25 | 5 | 50.033 | 330 | 10 |  | 13.208 | 7.502 | 0.30951 | 0.077888 | 1.7606
2012-05-29 | 212 | P11 | 2012-05-26 | 1 | 26 | Max | 60.534 | 330 | 10 |  | 18.256 | 11.116 | 0.38729 | 0.18673 | 1.6423
2012-05-29 | 212 | P11 | 2012-05-26 | 1 | 26 | Max | 60.534 | 330 | 10 |  | 17.808 | 11.016 | 0.36842 | 0.20044 | 1.6166
2012-05-27 | 213 | P11 | 2012-05-26 | 2 | 26 | 5 | 5.363 | 330 | 10 |  | 10.932 | 6.006 | 0.2672 | 0.042945 | 1.8202
2012-05-27 | 213 | P11 | 2012-05-26 | 2 | 26 | 5 | 5.363 | 330 | 10 |  | 9.971 | 5.452 | 0.24512 | 0.036413 | 1.8289
2012-05-27 | Loop A | P11 | 2012-05-26 |  |  |  |  | 330 | 10 |  | 10.36 | 5.689 | 0.25337 | 0.040407 | 1.8211
2012-05-27 | Loop B | P11 | 2012-05-26 |  |  |  |  | 330 | 10 |  | 10.517 | 5.821 | 0.25472 | 0.045867 | 1.8067
2012-06-04 | 217 | P12 | 2012-05-26 | 4 | 27 | 100 | 100.164 | 330 | 10 |  | 8.144 | 5.136 | 0.16316 | 0.10206 | 1.5857
2012-05-29 | 218 | P12 | 2012-05-26 | 5 | 27 | 75 | 74.791 | 330 | 10 |  | 16.024 | 9.816 | 0.33674 | 0.17015 | 1.6324
2012-05-29 | 219 | P12 | 2012-05-26 | 6 | 27 | 50 | 50.605 | 330 | 10 |  | 15.427 | 9.507 | 0.32112 | 0.16982 | 1.6227
2012-05-29 | 220 | P12 | 2012-05-26 | 7 | 27 | 40 | 39.778 | 330 | 10 |  | 11.101 | 6.27 | 0.26205 | 0.061731 | 1.7705
2012-05-29 | 221 | P12 | 2012-05-26 | 8 | 27 | 30 | 29.979 | 330 | 10 |  | 9.713 | 5.395 | 0.23422 | 0.044373 | 1.8004
2012-05-29 | 222 | P12 | 2012-05-26 | 9 | 27 | 25 | 24.847 | 330 | 10 |  | 9.94 | 5.597 | 0.23558 | 0.053448 | 1.776
2012-05-29 | 223 | P12 | 2012-05-26 | 10 | 27 | 20 | 20.496 | 330 | 10 |  | 9.829 | 5.477 | 0.23607 | 0.046763 | 1.7946
2012-06-04 | 224 | P12 | 2012-05-26 | 11 | 27 | 15 | 14.633 | 330 | 10 |  | 10.36 | 5.784 | 0.24822 | 0.050466 | 1.7911
2012-05-29 | 225 | P12 | 2012-05-26 | 12 | 27 | 10 | 10.101 | 330 | 10 |  | 11.289 | 6.336 | 0.26867 | 0.058521 | 1.7817
2012-05-29 | 226 | P12 | 2012-05-26 | 13 | 27 | 5 | 5.41 | 330 | 10 |  | 11.842 | 6.312 | 0.29996 | 0.025984 | 1.8761
2012-06-04 | 227 | P12 | 2012-05-26 | 14 | 27 | 0 | 1.183 | 330 | 10 |  | 10.373 | 5.791 | 0.24854 | 0.050502 | 1.7912
2012-06-04 | 228 | P12 | 2012-05-26 | 15 | 27 | Max+10 | 59.976 | 330 | 10 |  | 14.193 | 8.37 | 0.31586 | 0.11636 | 1.6957
2012-05-29 | 228 | P12 | 2012-05-26 | 15 | 27 | Max+10 | 59.976 | 330 | 10 |  | 15.372 | 9.248 | 0.33218 | 0.14538 | 1.6622
2012-05-29 | 229 | P12 | 2012-05-26 | 16 | 27 | Max | 50.678 | 330 | 10 |  | 14.082 | 8.362 | 0.31027 | 0.12154 | 1.684
2012-05-29 | 229 | P12 | 2012-05-26 | 16 | 27 | Max | 50.678 | 330 | 10 |  | 14.646 | 8.383 | 0.33972 | 0.093169 | 1.7471
2012-05-29 | 230 | P12 | 2012-05-26 | 17 | 27 | 5 | 5.375 | 330 | 10 |  | 12.209 | 6.672 | 0.30034 | 0.044194 | 1.8299
2012-05-29 | 230 | P12 | 2012-05-26 | 17 | 27 | 5 | 5.375 | 330 | 10 |  | 12.861 | 6.94 | 0.32117 | 0.037204 | 1.8532
2012-06-04 | 326 | P13 | 2012-05-27 | 4 | 38 | Max | 51.712 | 330 | 10 |  | 24.194 | 14.647 | 0.51786 | 0.2385 | 1.6518
2012-05-29 | 326 | P13 | 2012-05-27 | 4 | 38 | Max | 51.712 | 330 | 10 |  | 23.53 | 13.765 | 0.52968 | 0.18113 | 1.7094
2012-05-29 | 327 | P13 | 2012-05-27 | 5 | 38 | 5 | 5.062 | 330 | 10 |  | 12.799 | 6.815 | 0.32459 | 0.027332 | 1.8781
2012-05-29 | 327 | P13 | 2012-05-27 | 5 | 38 | 5 | 5.062 | 330 | 10 |  | 12.109 | 6.497 | 0.30441 | 0.031089 | 1.8638
2012-05-29 | 328 | P14 | 2012-05-28 | 1 | 39 | Max | 51.692 | 330 | 10 |  | 29.32 | 17.231 | 0.65574 | 0.23405 | 1.7016
2012-06-04 | 328 | P14 | 2012-05-28 | 1 | 39 | Max | 51.692 | 330 | 10 |  | 31.145 | 18.825 | 0.66827 | 0.30384 | 1.6544
2012-05-29 | 329 | P14 | 2012-05-28 | 2 | 39 | 5 | 4.853 | 330 | 10 |  | 13.21 | 7.254 | 0.32307 | 0.05152 | 1.8211
2012-05-29 | 329 | P14 | 2012-05-28 | 2 | 39 | 5 | 4.853 | 330 | 10 |  | 13.558 | 7.641 | 0.32096 | 0.07362 | 1.7744
2012-05-29 | 330 | P15 | 2012-05-28 | 1 | 40 | Max | 49.639 | 330 | 10 |  | 22.824 | 12.547 | 0.55745 | 0.090463 | 1.8191
2012-05-29 | 330 | P15 | 2012-05-28 | 1 | 40 | Max | 49.639 | 330 | 10 |  | 24.132 | 13.402 | 0.58203 | 0.11004 | 1.8006
2012-06-04 | 331 | P15 | 2012-05-28 | 2 | 40 | 5 | 5.13 | 330 | 10 |  | 12.232 | 7.031 | 0.28212 | 0.080958 | 1.7397
2012-05-29 | 331 | P15 | 2012-05-28 | 2 | 40 | 5 | 5.13 | 330 | 10 |  | 10.744 | 6.041 | 0.2551 | 0.056848 | 1.7785
2012-06-04 | 355 | P16 | 2012-05-28 | 4 | 44 | 100 | 100.706 | 330 | 10 |  | 6.863 | 4.187 | 0.14515 | 0.07106 | 1.6391
2012-06-04 | 356 | P16 | 2012-05-28 | 5 | 44 | 75 | 74.719 | 330 | 10 |  | 13.369 | 8.072 | 0.28732 | 0.12951 | 1.6562
2012-06-04 | 357 | P16 | 2012-05-28 | 6 | 44 | 50 | 49.691 | 330 | 10 |  | 25.87 | 15.673 | 0.55312 | 0.25623 | 1.6506
2012-06-04 | 358 | P16 | 2012-05-28 | 7 | 44 | 40 | 40.543 | 330 | 10 |  | 22.394 | 12.644 | 0.52887 | 0.12406 | 1.7711
2012-06-04 | 359 | P16 | 2012-05-28 | 8 | 44 | 30 | 29.755 | 330 | 10 |  | 18.199 | 10.421 | 0.4219 | 0.11623 | 1.7464
2012-06-04 | 360 | P16 | 2012-05-28 | 9 | 44 | 25 | 24.522 | 330 | 10 |  | 15.193 | 8.62 | 0.35654 | 0.088592 | 1.7625
2012-06-04 | 361 | P16 | 2012-05-28 | 10 | 44 | 20 | 19.825 | 330 | 10 |  | 14.482 | 8.096 | 0.3464 | 0.071676 | 1.7888
2012-06-04 | 362 | P16 | 2012-05-28 | 11 | 44 | 15 | 15.236 | 330 | 10 |  | 14.761 | 8.132 | 0.35958 | 0.060354 | 1.8152
2012-06-05 | 363 | P16 | 2012-05-28 | 12 | 44 | 10 | 10.172 | 330 | 10 |  | 14.678 | 8.332 | 0.34423 | 0.086033 | 1.7616
2012-06-05 | 364 | P16 | 2012-05-28 | 13 | 44 | 5 | 5.314 | 330 | 10 |  | 13.041 | 7.336 | 0.30946 | 0.06937 | 1.7777
2012-06-05 | 365 | P16 | 2012-05-28 | 14 | 44 | 0 | 1.062 | 330 | 10 |  | 13.122 | 7.404 | 0.31016 | 0.072176 | 1.7723
2012-06-05 | 366 | P16 | 2012-05-28 | 15 | 44 | Max+10 | 59.74 | 330 | 10 |  | 21.195 | 13.61 | 0.41143 | 0.29138 | 1.5573
2012-06-04 | 366 | P16 | 2012-05-28 | 15 | 44 | Max+10 | 59.74 | 330 | 10 |  | 20.852 | 12.523 | 0.45179 | 0.19489 | 1.6651
2012-06-04 | 367 | P16 | 2012-05-28 | 16 | 44 | Max | 49.671 | 330 | 10 |  | 23.641 | 13.827 | 0.53234 | 0.18168 | 1.7098
2012-06-04 | 367 | P16 | 2012-05-28 | 16 | 44 | Max | 49.671 | 330 | 10 |  | 24.165 | 14.249 | 0.53787 | 0.19794 | 1.6959
2012-06-04 | 368 | P16 | 2012-05-28 | 17 | 44 | 5 | 5.125 | 330 | 10 |  | 13.331 | 7.41 | 0.32117 | 0.061475 | 1.7991
2012-06-04 | 368 | P16 | 2012-05-28 | 17 | 44 | 5 | 5.125 | 330 | 10 |  | 12.558 | 7.12 | 0.29497 | 0.072699 | 1.7638
2012-06-04 | 434 | P17 | 2012-05-29 | 1 | 53 | Max | 49.013 | 330 | 10 |  | 25.153 | 15.922 | 0.50072 | 0.32148 | 1.5798
2012-06-05 | 434 | P17 | 2012-05-29 | 1 | 53 | Max | 49.013 | 330 | 10 |  | 25.294 | 15.453 | 0.5338 | 0.26418 | 1.6368
2012-06-04 | 435 | P17 | 2012-05-29 | 2 | 53 | 5 | 5.413 | 330 | 10 |  | 18.88 | 10.354 | 0.46248 | 0.072198 | 1.8234
2012-06-05 | 435 | P17 | 2012-05-29 | 2 | 53 | 5 | 5.413 | 330 | 10 |  | 20.141 | 11.305 | 0.47929 | 0.10449 | 1.7816
2012-06-05 | 436 | P18 | 2012-05-29 | 1 | 54 | Max | 50.225 | 330 | 10 |  | 22.16 | 13.658 | 0.46117 | 0.24412 | 1.6225
2012-06-04 | 436 | P18 | 2012-05-29 | 1 | 54 | Max | 50.225 | 330 | 10 |  | 21.215 | 12.715 | 0.46106 | 0.19553 | 1.6685
2012-06-04 | 437 | P18 | 2012-05-29 | 2 | 54 | 5 | 4.875 | 330 | 10 |  | 9.456 | 5.495 | 0.21486 | 0.068902 | 1.7208
2012-06-04 | 437 | P18 | 2012-05-29 | 2 | 54 | 5 | 4.875 | 330 | 10 |  | 10.446 | 6.008 | 0.24073 | 0.069519 | 1.7387
2012-06-04 | 438 | P19 | 2012-05-30 | 1 | 55 | Max | 50.831 | 330 | 10 |  | 19.373 | 12.053 | 0.39706 | 0.22535 | 1.6073
2012-06-05 | 438 | P19 | 2012-05-30 | 1 | 55 | Max | 50.831 | 330 | 10 |  | 18.861 | 11.875 | 0.37894 | 0.23428 | 1.5883
2012-06-04 | 439 | P19 | 2012-05-30 | 2 | 55 | 5 | 5.526 | 330 | 10 |  | 14.415 | 7.913 | 0.35269 | 0.055934 | 1.8217
2012-06-05 | 439 | P19 | 2012-05-30 | 2 | 55 | 5 | 5.526 | 330 | 10 |  | 14.672 | 8.142 | 0.35421 | 0.066241 | 1.802
2012-06-04 | 511 | P20 | 2012-05-30 | 4 | 62 | 100 | 99.952 | 330 | 10 |  | 4.124 | 2.619 | 0.081636 | 0.053608 | 1.5746
2012-06-04 | 512 | P20 | 2012-05-30 | 5 | 62 | 75 | 74.301 | 330 | 10 |  | 12.682 | 8.351 | 0.23493 | 0.19631 | 1.5186
2012-06-04 | 513 | P20 | 2012-05-30 | 6 | 62 | 50 | 50.069 | 330 | 10 |  | 19.692 | 11.879 | 0.4238 | 0.18962 | 1.6577
2012-06-04 | 514 | P20 | 2012-05-30 | 7 | 62 | 40 | 40.261 | 330 | 10 |  | 11.894 | 6.967 | 0.26725 | 0.092516 | 1.7072
2012-06-04 | 515 | P20 | 2012-05-30 | 8 | 62 | 30 | 30.507 | 330 | 10 |  | 12.352 | 7.081 | 0.28591 | 0.079743 | 1.7444
2012-06-04 | 516 | P20 | 2012-05-30 | 9 | 62 | 25 | 25.669 | 330 | 10 |  | 12.722 | 7.252 | 0.29671 | 0.077779 | 1.7543
2012-06-04 | 517 | P20 | 2012-05-30 | 10 | 62 | 20 | 20.743 | 330 | 10 |  | 12.614 | 7.332 | 0.28651 | 0.092108 | 1.7204
2012-06-05 | 518 | P20 | 2012-05-30 | 11 | 62 | 15 | 14.754 | 330 | 10 |  | 12.017 | 6.981 | 0.27317 | 0.087326 | 1.7214
2012-06-04 | 519 | P20 | 2012-05-30 | 12 | 62 | 10 | 9.765 | 330 | 10 |  | 12.164 | 7.255 | 0.26628 | 0.10836 | 1.6766
2012-06-05 | 520 | P20 | 2012-05-30 | 13 | 62 | 5 | 5.251 | 330 | 10 |  | 13.15 | 7.829 | 0.28863 | 0.11566 | 1.6797
2012-06-04 | 521 | P20 | 2012-05-30 | 14 | 62 | 0 | 1.022 | 330 | 10 |  | 11.955 | 6.867 | 0.27599 | 0.078619 | 1.7409
2012-06-05 | 522 | P20 | 2012-05-30 | 15 | 62 | Max+10 | 70.356 | 330 | 10 |  | 19.043 | 12.223 | 0.36994 | 0.26125 | 1.558
2012-06-04 | 522 | P20 | 2012-05-30 | 15 | 62 | Max+10 | 70.356 | 330 | 10 |  | 19.305 | 12.94 | 0.34526 | 0.32296 | 1.4919
2012-06-04 | 523 | P20 | 2012-05-30 | 16 | 62 | Max | 60.006 | 330 | 10 |  | 20.513 | 13.114 | 0.40134 | 0.27585 | 1.5642
2012-06-05 | 523 | P20 | 2012-05-30 | 16 | 62 | Max | 60.006 | 330 | 10 |  | 21.676 | 14.303 | 0.39993 | 0.33866 | 1.5155
2012-06-04 | 524 | P20 | 2012-05-30 | 17 | 62 | 5 | 5.25 | 330 | 10 |  | 12.21 | 6.863 | 0.29004 | 0.064363 | 1.7791
2012-06-05 | 524 | P20 | 2012-05-30 | 17 | 62 | 5 | 5.25 | 330 | 10 |  | 13.63 | 7.873 | 0.31228 | 0.094279 | 1.7312
2012-06-04 | 541 | P21 | 2012-05-31 | 1 | 67 | Max | 50.373 | 330 | 10 |  | 16.678 | 10.573 | 0.33115 | 0.21483 | 1.5774
2012-06-05 | 541 | P21 | 2012-05-31 | 1 | 67 | Max | 50.373 | 330 | 10 |  | 16.698 | 10.652 | 0.32795 | 0.22211 | 1.5676
2012-06-04 | 542 | P21 | 2012-05-31 | 2 | 67 | 5 | 4.973 | 330 | 10 |  | 9.966 | 5.971 | 0.2167 | 0.091638 | 1.6691
2012-06-05 | 542 | P21 | 2012-05-31 | 2 | 67 | 5 | 4.973 | 330 | 10 |  | 11.437 | 6.746 | 0.25445 | 0.093905 | 1.6954
2012-06-05 | Loop a | P21 | 2012-05-31 |  |  |  |  | 330 | 10 |  | 10.145 | 5.879 | 0.2314 | 0.072187 | 1.7256
2012-06-04 | Loop b | P21 | 2012-05-31 |  |  |  |  | 330 | 10 |  | 10.132 | 5.843 | 0.23265 | 0.06908 | 1.734
2012-06-04 | 543 | P22 | 2012-05-31 | 1 | 70 | Max | 49.742 | 330 | 10 |  | 17.558 | 11.65 | 0.32047 | 0.28113 | 1.5071
2012-06-05 | 543 | P22 | 2012-05-31 | 1 | 70 | Max | 49.742 | 330 | 10 |  | 16.809 | 10.789 | 0.32654 | 0.23059 | 1.558
2012-06-04 | 544 | P22 | 2012-05-31 | 2 | 70 | 5 | 5.121 | 330 | 10 |  | 11.664 | 6.618 | 0.27371 | 0.068039 | 1.7625
2012-06-04 | 544 | P22 | 2012-05-31 | 2 | 70 | 5 | 5.121 | 330 | 10 |  | 11.797 | 6.754 | 0.27355 | 0.075225 | 1.7467
2012-06-05 | Loop a | P22 | 2012-05-31 |  |  |  |  | 330 | 10 |  | 10.73 | 6.299 | 0.24035 | 0.084925 | 1.7034
2012-06-05 | Loop b | P22 | 2012-05-31 |  |  |  |  | 330 | 10 |  | 10.869 | 6.231 | 0.25158 | 0.070186 | 1.7443
2012-06-05 | 567 | P23 | 2012-06-01 | 23 | 71 | Max | 49.816 | 330 | 10 |  | 15.406 | 9.772 | 0.3056 | 0.19901 | 1.5765
2012-06-04 | 567 | P23 | 2012-06-01 | 23 | 71 | Max | 49.816 | 330 | 10 |  | 13.98 | 8.668 | 0.28814 | 0.15947 | 1.6128
2012-06-05 | 568 | P23 | 2012-06-01 | 24 | 71 | 5 | 5.639 | 330 | 10 |  | 12.557 | 6.94 | 0.30468 | 0.053694 | 1.8094
2012-06-04 | 568 | P23 | 2012-06-01 | 24 | 71 | 5 | 5.639 | 330 | 10 |  | 13.151 | 7.275 | 0.31873 | 0.056944 | 1.8077
2012-06-05 | 569 | P24 | 2012-06-01 | 1 | 72 | Max | 50.052 | 330 | 10 |  | 14.416 | 9.265 | 0.27941 | 0.19903 | 1.556
2012-06-04 | 569 | P24 | 2012-06-01 | 1 | 72 | Max | 50.052 | 330 | 10 |  | 14 | 8.504 | 0.29812 | 0.14102 | 1.6463
2012-06-05 | 570 | P24 | 2012-06-01 | 2 | 72 | 5 | 5.334 | 330 | 10 |  | 10.153 | 5.703 | 0.24138 | 0.053118 | 1.7803
2012-06-05 | 570 | P24 | 2012-06-01 | 2 | 72 | 5 | 5.334 | 330 | 10 |  | 11.283 | 6.52 | 0.25836 | 0.078329 | 1.7305
2012-06-04 | 574 | P25 | 2012-06-01 | 4 | 73 | Max | 50.963 | 330 | 10 |  | 14.575 | 8.286 | 0.34113 | 0.086749 | 1.759
2012-06-05 | 574 | P25 | 2012-06-01 | 4 | 73 | Max | 50.963 | 330 | 10 |  | 14.62 | 8.397 | 0.33755 | 0.096061 | 1.7411
2012-06-04 | 575 | P25 | 2012-06-01 | 5 | 73 | 5 | 5.515 | 330 | 10 |  | 14.664 | 8.27 | 0.34683 | 0.080227 | 1.7732
2012-06-05 | 575 | P25 | 2012-06-01 | 5 | 73 | 5 | 5.515 | 330 | 10 |  | 14.505 | 8.182 | 0.34298 | 0.079534 | 1.7728
2012-06-05 | 576 | P35 | 2012-06-01 | 1 | 74 | Max | 50.947 | 330 | 10 |  | 21.143 | 13.392 | 0.42044 | 0.27112 | 1.5788
2012-06-05 | 576 | P35 | 2012-06-01 | 1 | 74 | Max | 50.947 | 330 | 10 |  | 19.96 | 12.367 | 0.41187 | 0.22676 | 1.614
2012-06-04 | 577 | P35 | 2012-06-01 | 2 | 74 | 5 | 4.76 | 330 | 10 |  | 19.844 | 10.872 | 0.48667 | 0.074755 | 1.8252
2012-06-04 | 577 | P35 | 2012-06-01 | 2 | 74 | 5 | 4.76 | 330 | 10 |  | 18.754 | 10.105 | 0.46915 | 0.052668 | 1.8559
2012-06-04 | 683 | PA-006 | 2012-06-02 | 4 | 86 | 100 | 99.407 | 330 | 10 |  | 5.188 | 3.432 | 0.095251 | 0.081975 | 1.5117
2012-06-04 | 684 | PA-006 | 2012-06-02 | 5 | 86 | 75 | 74.806 | 330 | 10 |  | 19.65 | 12.44 | 0.39109 | 0.2513 | 1.5796
2012-06-05 | 685 | PA-006 | 2012-06-02 | 6 | 86 | 50 | 50.25 | 330 | 10 |  | 25.289 | 14.993 | 0.55849 | 0.21574 | 1.6867
2012-06-04 | 686 | PA-006 | 2012-06-02 | 7 | 86 | 40 | 40.776 | 330 | 10 |  | 27.294 | 15.464 | 0.64169 | 0.15686 | 1.765
2012-06-04 | 687 | PA-006 | 2012-06-02 | 8 | 86 | 30 | 30.318 | 330 | 10 |  | 22.705 | 12.418 | 0.558 | 0.083259 | 1.8284
2012-06-05 | 688 | PA-006 | 2012-06-02 | 9 | 86 | 25 | 25.63 | 330 | 10 |  | 20.917 | 11.573 | 0.50685 | 0.090775 | 1.8074
2012-06-05 | 689 | PA-006 | 2012-06-02 | 10 | 86 | 20 | 19.972 | 330 | 10 |  | 17.154 | 9.512 | 0.41452 | 0.076668 | 1.8034
2012-06-04 | 690 | PA-006 | 2012-06-02 | 11 | 86 | 15 | 15.519 | 330 | 10 |  | 16.532 | 9.065 | 0.40503 | 0.063078 | 1.8237
2012-06-04 | 691 | PA-006 | 2012-06-02 | 12 | 86 | 10 | 10.688 | 330 | 10 |  | 16.66 | 9.113 | 0.40937 | 0.061217 | 1.8282
2012-06-05 | 692 | PA-006 | 2012-06-02 | 13 | 86 | 5 | 5.32 | 330 | 10 |  | 15.828 | 8.714 | 0.38588 | 0.0641 | 1.8164
2012-06-04 | 693 | PA-006 | 2012-06-02 | 14 | 86 | 0 | 0.97 | 330 | 10 |  | 16.402 | 9.182 | 0.39163 | 0.082518 | 1.7863
2012-06-04 | 694 | PA-006 | 2012-06-02 | 15 | 86 | Max+10 | 50.192 | 330 | 10 |  | 23.787 | 14.057 | 0.52778 | 0.19811 | 1.6922
2012-06-04 | 694 | PA-006 | 2012-06-02 | 15 | 86 | Max+10 | 50.192 | 330 | 10 |  | 24.823 | 14.547 | 0.5574 | 0.1938 | 1.7064
2012-06-04 | 695 | PA-006 | 2012-06-02 | 16 | 86 | Max | 40.794 | 330 | 10 |  | 8.653 | 4.892 | 0.20401 | 0.048612 | 1.7688
2012-06-05 | 695 | PA-006 | 2012-06-02 | 16 | 86 | Max | 40.794 | 330 | 10 | [6 empty] | Missing?
2012-06-05 | 696 | PA-006 | 2012-06-02 | 17 | 86 | 5 | 5.367 | 330 | 10 |  | 16.612 | 9.144 | 0.40509 | 0.067103 | 1.8167
2012-06-05 | 696 | PA-006 | 2012-06-02 | 17 | 86 | 5 | 5.367 | 330 | 10 |  | 15.811 | 8.751 | 0.38296 | 0.06894 | 1.8068
2012-06-14 | Loop 1 |  | 2012-06-05 |  |  |  |  | 330 | 10 |  | 8.161 | 4.477 | 0.19983 | 0.031358 | 1.8229
2012-06-14 | Loop 1 |  | 2012-06-05 |  |  |  |  | 330 | 10 |  | 8.99 | 4.984 | 0.2173 | 0.040073 | 1.8038
2012-06-14 | Loop 2 |  | 2012-06-05 |  |  |  |  | 330 | 10 |  | 7.412 | 4.088 | 0.1803 | 0.030798 | 1.8131
2012-06-14 | Loop 2 |  | 2012-06-05 |  |  |  |  | 330 | 10 |  | 7.722 | 4.277 | 0.18687 | 0.033994 | 1.8055
2012-06-14 | Loop 4 |  | 2012-06-06 |  |  |  |  | 330 | 10 |  | 17.114 | 9.613 | 0.40688 | 0.089532 | 1.7803
2012-06-14 | Loop 4 |  | 2012-06-06 |  |  |  |  | 330 | 10 |  | 17.032 | 9.45 | 0.41127 | 0.076721 | 1.8023
2012-06-14 | Loop 5 |  | 2012-06-06 |  |  |  |  | 330 | 10 |  | 14.848 | 8.445 | 0.34732 | 0.088776 | 1.7582
2012-06-14 | Loop 5 |  | 2012-06-06 |  |  |  |  | 330 | 10 |  | 12.81 | 7.294 | 0.2992 | 0.077453 | 1.7562
2012-06-14 | Loop 6 |  | 2012-06-07 |  |  |  |  | 330 | 10 |  | 12.112 | 6.872 | 0.28423 | 0.070632 | 1.7625
2012-06-14 | Loop 6 |  | 2012-06-07 |  |  |  |  | 330 | 10 |  | 11.847 | 6.66 | 0.28136 | 0.062559 | 1.7788
2012-06-14 | Loop 7 |  | 2012-06-07 |  |  |  |  | 330 | 10 |  | 46.169 | 29.159 | 0.92267 | 0.58308 | 1.5834
2012-06-14 | Loop 7 |  | 2012-06-07 |  |  |  |  | 330 | 10 |  | 44.31 | 27.795 | 0.89582 | 0.53949 | 1.5942
2012-06-14 | 831 | P4 | 2012-06-07 | 20 | 107 | Max+10 | 25 | 330 | 10 |  | 53.666 | 34.325 | 1.0491 | 0.72341 | 1.5635
2012-06-14 | 831 | P4 | 2012-06-07 | 20 | 107 | Max+10 | 25 | 330 | 10 |  | 51.376 | 32.784 | 1.0085 | 0.68446 | 1.5671
2012-06-14 | 832 | P4 | 2012-06-07 | 21 | 107 | Max | 13 | 330 | 10 |  | 52.232 | 33.432 | 1.0198 | 0.70664 | 1.5623
2012-06-14 | 832 | P4 | 2012-06-07 | 21 | 107 | Max | 13 | 330 | 10 |  | 52.693 | 33.165 | 1.0593 | 0.65336 | 1.5888
2012-06-14 | 833 | P4 | 2012-06-07 | 22 | 107 | 5 | 5 | 330 | 10 |  | 53.416 | 34.476 | 1.0274 | 0.75295 | 1.5494
2012-06-14 | 833 | P4 | 2012-06-07 | 22 | 107 | 5 | 5 | 330 | 10 |  | 51.417 | 31.267 | 1.093 | 0.52161 | 1.6444

## Std & blanks
Cruise: 2012-12 May/June LineP Marie Robert
|  | Blank | Low | High | Stand-by
2012-05-27 | before | -0.005 | 13.476 | 72.908 | -0.033
2012-05-27 | after | -0.02 | 13.52 | 73.647 | -0.029
2012-05-29 | before | 0.146 | 13.692 | 75.742 | -0.027
2012-05-29 | after | -0.007 | 13.523 | 74.065 | -0.028
2012-06-04 | before | -0.009 | 13.712 | 75.164 | -0.024
2012-06-04 | after | -0.012 | 13.586 | 74 | -0.026
2012-06-05 | before | -0.004 | 13.78 | 75.014 | -0.023
2012-06-05 | after | no reading after
2012-06-14 | before | 0.087 | 13.7 | 75.1 | -0.023
2012-06-14 | after | 0.011 | 13.507 | 73.956 | -0.03