## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 11 | 51 | 2012-13-0034testfl.thn & 2012-13-0034testfl.thn

## (WetLabs_Voltage - SeaPt FL)
Calculation of Linear Least Squares Fit For
(WetLabs_Voltage - SeaPt FL)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (WetLabs_Voltage - SeaPt FL), Prop=WetLabs_Voltage
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.98873 |  | X | CALC Y
m= | -6.2109 | 0.10901 |  | Std Dev of Resid |  | 0.035378 |  | 0.082 | 0.016349
b= | 0.52564 | 0.014842 |  | Resid Sum of Squares |  | 0.04631 |  | 0.241 | -0.97118
# of Values Extracted = |  |  | 41
# of Values Used in Fit = |  |  | 39
File | Use | Pressure | WetLabs_Voltage | WetLabs_Voltage | Diff (WetLabs_Voltage - SeaPt FL) |  |  |  | Fit vs. | WetLabs_Voltage
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | WetLabs Volt | SeaPt FL
1 | YES | 2.186 | 0.118 | 0 | -0.199 | -0.20724 | -0.0082428 |  | 0.118 | -0.199 | 0.118 | 0.317
1 | YES | 6.999 | 0.127 | 0 | -0.276 | -0.26314 | 0.012859 |  | 0.127 | -0.276 | 0.127 | 0.403
1 | YES | 11.984 | 0.138 | 0 | -0.411 | -0.33146 | 0.07954 |  | 0.138 | -0.411 | 0.138 | 0.549
1 | YES | 16.992 | 0.148 | 0 | -0.499 | -0.39357 | 0.10543 |  | 0.148 | -0.499 | 0.148 | 0.647
1 | YES | 22.001 | 0.175 | 0 | -0.643 | -0.56126 | 0.081737 |  | 0.175 | -0.643 | 0.175 | 0.818
1 | NO | 26.997 | 0.167 | 0 | -0.675 | -0.51158 | 0.16342 |  | 0.201 | -0.666 | 0.167 | 0.842
1 | NO | 32.009 | 0.154 | 0 | -0.676 | -0.43083 | 0.24517 |  | 0.227 | -0.921 | 0.154 | 0.83
1 | YES | 37.002 | 0.201 | 0 | -0.666 | -0.72275 | -0.056746 |  | 0.241 | -0.931 | 0.201 | 0.867
1 | YES | 41.986 | 0.227 | 0 | -0.921 | -0.88423 | 0.036771 |  | 0.238 | -0.885 | 0.227 | 1.148
1 | YES | 47.002 | 0.241 | 0 | -0.931 | -0.97118 | -0.040181 |  | 0.229 | -0.894 | 0.241 | 1.172
1 | YES | 52.006 | 0.238 | 0 | -0.885 | -0.95255 | -0.067548 |  | 0.221 | -0.829 | 0.238 | 1.123
1 | YES | 56.983 | 0.229 | 0 | -0.894 | -0.89665 | -0.0026504 |  | 0.193 | -0.649 | 0.229 | 1.123
1 | YES | 61.989 | 0.221 | 0 | -0.829 | -0.84696 | -0.017963 |  | 0.172 | -0.548 | 0.221 | 1.05
1 | YES | 66.997 | 0.193 | 0 | -0.649 | -0.67306 | -0.024059 |  | 0.156 | -0.442 | 0.193 | 0.842
1 | YES | 72.014 | 0.172 | 0 | -0.548 | -0.54263 | 0.0053697 |  | 0.139 | -0.349 | 0.172 | 0.72
1 | YES | 77.013 | 0.156 | 0 | -0.442 | -0.44326 | -0.0012562 |  | 0.128 | -0.324 | 0.156 | 0.598
1 | YES | 81.982 | 0.139 | 0 | -0.349 | -0.33767 | 0.011329 |  | 0.123 | -0.268 | 0.139 | 0.488
1 | YES | 87.01 | 0.128 | 0 | -0.324 | -0.26935 | 0.054648 |  | 0.112 | -0.193 | 0.128 | 0.452
1 | YES | 92.011 | 0.123 | 0 | -0.268 | -0.2383 | 0.029703 |  | 0.105 | -0.127 | 0.123 | 0.391
1 | YES | 96.979 | 0.112 | 0 | -0.193 | -0.16998 | 0.023022 |  | 0.1 | -0.095 | 0.112 | 0.305 | 7.21
1 | YES | 102.006 | 0.105 | 0 | -0.127 | -0.1265 | 0.00049857 |  | 0.095 | -0.064 | 0.105 | 0.232 | 0.072899
1 | YES | 107.014 | 0.1 | 0 | -0.095 | -0.095447 | -0.00044703 |  | 0.092 | -0.03 | 0.1 | 0.195
1 | YES | 112.01 | 0.095 | 0 | -0.064 | -0.064393 | -0.00039264 |  | 0.088 | -0.01 | 0.095 | 0.159
1 | YES | 116.996 | 0.092 | 0 | -0.03 | -0.04576 | -0.01576 |  | 0.086 | 0.001 | 0.092 | 0.122 | 0.052381
1 | YES | 122.004 | 0.088 | 0 | -0.01 | -0.020916 | -0.010916 |  | 0.086 | 0.013 | 0.088 | 0.098
1 | YES | 127.003 | 0.086 | 0 | 0.001 | -0.0084947 | -0.0094947 |  | 0.086 | 0.013 | 0.086 | 0.085 | 0.073611
1 | YES | 131.981 | 0.086 | 0 | 0.013 | -0.0084947 | -0.021495 |  | 0.084 | 0.011 | 0.086 | 0.073
1 | YES | 136.981 | 0.086 | 0 | 0.013 | -0.0084947 | -0.021495 |  | 0.086 | 0.025 | 0.086 | 0.073
1 | YES | 141.993 | 0.084 | 0 | 0.011 | 0.003927 | -0.007073 |  | 0.087 | 0.026 | 0.084 | 0.073
1 | YES | 146.994 | 0.086 | 0 | 0.025 | -0.0084947 | -0.033495 |  | 0.083 | 0.022 | 0.086 | 0.061
1 | YES | 152.024 | 0.087 | 0 | 0.026 | -0.014706 | -0.040706 |  | 0.082 | 0.021 | 0.087 | 0.061
1 | YES | 157.014 | 0.083 | 0 | 0.022 | 0.010138 | -0.011862 |  | 0.082 | 0.021 | 0.083 | 0.061
1 | YES | 162.019 | 0.082 | 0 | 0.021 | 0.016349 | -0.0046512 |  | 0.084 | 0.023 | 0.082 | 0.061
1 | YES | 166.986 | 0.082 | 0 | 0.021 | 0.016349 | -0.0046512 |  | 0.084 | -0.001 | 0.082 | 0.061
1 | YES | 171.992 | 0.084 | 0 | 0.023 | 0.003927 | -0.019073 |  | 0.083 | 0.022 | 0.084 | 0.061
1 | YES | 177.024 | 0.084 | 0 | -0.001 | 0.003927 | 0.004927 |  | 0.082 | -0.003 | 0.084 | 0.085
1 | YES | 181.992 | 0.083 | 0 | 0.022 | 0.010138 | -0.011862 |  | 0.083 | 0.022 | 0.083 | 0.061
1 | YES | 186.992 | 0.082 | 0 | -0.003 | 0.016349 | 0.019349 |  | 0.082 | 0.021 | 0.082 | 0.085
1 | YES | 192.012 | 0.083 | 0 | 0.022 | 0.010138 | -0.011862 |  | 0.082 | 0.033 | 0.083 | 0.061
1 | YES | 197.012 | 0.082 | 0 | 0.021 | 0.016349 | -0.0046512 |  |  |  | 0.082 | 0.061
1 | YES | 201.248 | 0.082 | 0 | 0.033 | 0.016349 | -0.016651 |  |  |  | 0.082 | 0.049
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. WetLabs_Voltage
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2013/01/25 15:12:11
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | SeaPt FL | WetLabs_Voltage |  | WetLabs_Voltage - SeaPt FL
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | SeaPt FL | WetLabs_Voltage | WetLabs_Voltage | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 2.186 | 2.186 | 0 | 0 | 0.317 | 0.118 | 0 | -0.199
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 6.999 | 6.999 | 0 | 0 | 0.403 | 0.127 | 0 | -0.276
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 11.984 | 11.984 | 0 | 0 | 0.549 | 0.138 | 0 | -0.411
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 16.992 | 16.992 | 0 | 0 | 0.647 | 0.148 | 0 | -0.499
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 22.001 | 22.001 | 0 | 0 | 0.818 | 0.175 | 0 | -0.643
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 26.997 | 26.997 | 0 | 0 | 0.842 | 0.167 | 0 | -0.675
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 32.009 | 32.009 | 0 | 0 | 0.83 | 0.154 | 0 | -0.676
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 37.002 | 37.002 | 0 | 0 | 0.867 | 0.201 | 0 | -0.666
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 41.986 | 41.986 | 0 | 0 | 1.148 | 0.227 | 0 | -0.921
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 47.002 | 47.002 | 0 | 0 | 1.172 | 0.241 | 0 | -0.931
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 52.006 | 52.006 | 0 | 0 | 1.123 | 0.238 | 0 | -0.885
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 56.983 | 56.983 | 0 | 0 | 1.123 | 0.229 | 0 | -0.894
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 61.989 | 61.989 | 0 | 0 | 1.05 | 0.221 | 0 | -0.829
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 66.997 | 66.997 | 0 | 0 | 0.842 | 0.193 | 0 | -0.649
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 72.014 | 72.014 | 0 | 0 | 0.72 | 0.172 | 0 | -0.548
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 77.013 | 77.013 | 0 | 0 | 0.598 | 0.156 | 0 | -0.442
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 81.982 | 81.982 | 0 | 0 | 0.488 | 0.139 | 0 | -0.349
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 87.01 | 87.01 | 0 | 0 | 0.452 | 0.128 | 0 | -0.324
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 92.011 | 92.011 | 0 | 0 | 0.391 | 0.123 | 0 | -0.268
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 96.979 | 96.979 | 0 | 0 | 0.305 | 0.112 | 0 | -0.193
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 102.006 | 102.006 | 0 | 0 | 0.232 | 0.105 | 0 | -0.127
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 107.014 | 107.014 | 0 | 0 | 0.195 | 0.1 | 0 | -0.095
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 112.01 | 112.01 | 0 | 0 | 0.159 | 0.095 | 0 | -0.064
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 116.996 | 116.996 | 0 | 0 | 0.122 | 0.092 | 0 | -0.03
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 122.004 | 122.004 | 0 | 0 | 0.098 | 0.088 | 0 | -0.01
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 127.003 | 127.003 | 0 | 0 | 0.085 | 0.086 | 0 | 0.001
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 131.981 | 131.981 | 0 | 0 | 0.073 | 0.086 | 0 | 0.013
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 136.981 | 136.981 | 0 | 0 | 0.073 | 0.086 | 0 | 0.013
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 141.993 | 141.993 | 0 | 0 | 0.073 | 0.084 | 0 | 0.011
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 146.994 | 146.994 | 0 | 0 | 0.061 | 0.086 | 0 | 0.025
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 152.024 | 152.024 | 0 | 0 | 0.061 | 0.087 | 0 | 0.026
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 157.014 | 157.014 | 0 | 0 | 0.061 | 0.083 | 0 | 0.022
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 162.019 | 162.019 | 0 | 0 | 0.061 | 0.082 | 0 | 0.021
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 166.986 | 166.986 | 0 | 0 | 0.061 | 0.082 | 0 | 0.021
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 171.992 | 171.992 | 0 | 0 | 0.061 | 0.084 | 0 | 0.023
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 177.024 | 177.024 | 0 | 0 | 0.085 | 0.084 | 0 | -0.001
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 181.992 | 181.992 | 0 | 0 | 0.061 | 0.083 | 0 | 0.022
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 186.992 | 186.992 | 0 | 0 | 0.085 | 0.082 | 0 | -0.003
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 192.012 | 192.012 | 0 | 0 | 0.061 | 0.083 | 0 | 0.022
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 197.012 | 197.012 | 0 | 0 | 0.061 | 0.082 | 0 | 0.021
2012-13-0034testfl.thn | 2012-13-0034testfl.thn | 1 | 201.248 | 201.248 | 0 | 0 | 0.049 | 0.082 | 0 | 0.033
Create Fit Sheet