## File List
Number of Files= |  | 22
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2012-14-0001.mrgcln2 | 2012-14-0001.sam | 12 | 12 | 2012-14-0001.mrgcln2 & 2012-14-0001.sam
2 | 2012-14-0002.mrgcln2 | 2012-14-0002.sam | 14 | 16 | 2012-14-0002.mrgcln2 & 2012-14-0002.sam
3 | 2012-14-0003.mrgcln2 | 2012-14-0003.sam | 18 | 20 | 2012-14-0003.mrgcln2 & 2012-14-0003.sam
4 | 2012-14-0004.mrgcln2 | 2012-14-0004.sam | 22 | 24 | 2012-14-0004.mrgcln2 & 2012-14-0004.sam
5 | 2012-14-0005.mrgcln2 | 2012-14-0005.sam | 26 | 28 | 2012-14-0005.mrgcln2 & 2012-14-0005.sam
6 | 2012-14-0006.mrgcln2 | 2012-14-0006.sam | 30 | 32 | 2012-14-0006.mrgcln2 & 2012-14-0006.sam
7 | 2012-14-0007.mrgcln2 | 2012-14-0007.sam | 34 | 36 | 2012-14-0007.mrgcln2 & 2012-14-0007.sam
8 | 2012-14-0008.mrgcln2 | 2012-14-0008.sam | 38 | 40 | 2012-14-0008.mrgcln2 & 2012-14-0008.sam
9 | 2012-14-0009.mrgcln2 | 2012-14-0009.sam | 42 | 44 | 2012-14-0009.mrgcln2 & 2012-14-0009.sam
10 | 2012-14-0010.mrgcln2 | 2012-14-0010.sam | 46 | 51 | 2012-14-0010.mrgcln2 & 2012-14-0010.sam
11 | 2012-14-0011.mrgcln2 | 2012-14-0011.sam | 53 | 55 | 2012-14-0011.mrgcln2 & 2012-14-0011.sam
12 | 2012-14-0012.mrgcln2 | 2012-14-0012.sam | 57 | 59 | 2012-14-0012.mrgcln2 & 2012-14-0012.sam
13 | 2012-14-0013.mrgcln2 | 2012-14-0013.sam | 61 | 63 | 2012-14-0013.mrgcln2 & 2012-14-0013.sam
14 | 2012-14-0014.mrgcln2 | 2012-14-0014.sam | 65 | 67 | 2012-14-0014.mrgcln2 & 2012-14-0014.sam
15 | 2012-14-0015.mrgcln2 | 2012-14-0015.sam | 69 | 71 | 2012-14-0015.mrgcln2 & 2012-14-0015.sam
16 | 2012-14-0016.mrgcln2 | 2012-14-0016.sam | 73 | 75 | 2012-14-0016.mrgcln2 & 2012-14-0016.sam
17 | 2012-14-0017.mrgcln2 | 2012-14-0017.sam | 77 | 79 | 2012-14-0017.mrgcln2 & 2012-14-0017.sam
18 | 2012-14-0018.mrgcln2 | 2012-14-0018.sam | 81 | 83 | 2012-14-0018.mrgcln2 & 2012-14-0018.sam
19 | 2012-14-0019.mrgcln2 | 2012-14-0019.sam | 85 | 87 | 2012-14-0019.mrgcln2 & 2012-14-0019.sam
20 | 2012-14-0020.mrgcln2 | 2012-14-0020.sam | 89 | 91 | 2012-14-0020.mrgcln2 & 2012-14-0020.sam
21 | 2012-14-0021.mrgcln2 | 2012-14-0021.sam | 93 | 95 | 2012-14-0021.mrgcln2 & 2012-14-0021.sam
22 | 2012-14-0022.mrgcln2 | 2012-14-0022.sam | 97 | 99 | 2012-14-0022.mrgcln2 & 2012-14-0022.sam

## (FL_SeaPoint - CHL_BOT)
Calculation of Linear Least Squares Fit For
(FL_SeaPoint - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_SeaPoint - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 5.4051e-06 |  | X | CALC Y
m= | -2.9121e-05 | 0.0015536 |  | Std Dev of Resid |  | 0.11114 |  | 2.5406 | 0.14554
b= | 0.14561 | 0.022704 |  | Resid Sum of Squares |  | 0.80292 |  | 50.1925 | 0.14415
# of Values Extracted = |  |  | 67
# of Values Used in Fit = |  |  | 67
File | Use | Pressure | FL_SeaPoint | FL_SeaPoint | Diff (FL_SeaPoint - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y |  | CHL
1 | YES | 2.9761 | 12.753 | 0.58419 | 0.68302 | 0.14552 | -0.53749 |  | 2.9761 | 0.68302
2 | YES | 20.0614 | 0.29279 | 0.011071 | -0.027212 | 0.14503 | 0.17224 |  | 20.0614 | -0.027212
2 | YES | 9.9627 | 0.81978 | 0.042502 | 0.23978 | 0.14532 | -0.09446 |  | 9.9627 | 0.23978
2 | YES | 3.2562 | 0.77735 | 0.018301 | -0.022647 | 0.14551 | 0.16816 |  | 3.2562 | -0.022647 | 0.75905
3 | YES | 20.0365 | 0.52342 | 0.017105 | 0.16342 | 0.14503 | -0.018393 |  | 20.0365 | 0.16342
3 | YES | 9.9582 | 0.92656 | 0.02444 | 0.06656 | 0.14532 | 0.07876 |  | 9.9582 | 0.06656
3 | YES | 2.8035 | 0.8104 | 0.017787 | 0.1604 | 0.14553 | -0.014875 |  | 2.8035 | 0.1604
4 | YES | 20.0883 | 0.58069 | 0.024974 | 0.23069 | 0.14502 | -0.08566 |  | 20.0883 | 0.23069
4 | YES | 10.0328 | 0.9725 | 0.076642 | 0.3525 | 0.14532 | -0.20718 |  | 10.0328 | 0.3525
4 | YES | 3.0543 | 0.71356 | 0.027746 | 0.27356 | 0.14552 | -0.12804 |  | 3.0543 | 0.27356
5 | YES | 20.2948 | 0.56598 | 0.014368 | 0.17598 | 0.14502 | -0.03096 |  | 20.2948 | 0.17598
5 | YES | 9.9823 | 0.81307 | 0.024881 | 0.11307 | 0.14532 | 0.032248 |  | 9.9823 | 0.11307
5 | YES | 3.1826 | 0.82409 | 0.036688 | 0.17409 | 0.14552 | -0.028574 |  | 3.1826 | 0.17409
6 | YES | 20.3033 | 0.6454 | 0.017067 | 0.1954 | 0.14502 | -0.050384 |  | 20.3033 | 0.1954
6 | YES | 10.2671 | 0.89222 | 0.016976 | 0.22222 | 0.14531 | -0.076909 |  | 10.2671 | 0.22222
6 | YES | 2.8355 | 0.89683 | 0.033363 | 0.18683 | 0.14553 | -0.041307 |  | 2.8355 | 0.18683
7 | YES | 20.2201 | 0.44792 | 0.010274 | 0.24792 | 0.14502 | -0.1029 |  | 20.2201 | 0.24792
7 | YES | 10.4067 | 0.85195 | 0.025461 | 0.18195 | 0.14531 | -0.036643 |  | 10.4067 | 0.18195
7 | YES | 2.9133 | 0.71536 | 0.016934 | 0.23536 | 0.14552 | -0.089832 |  | 2.9133 | 0.23536
8 | YES | 20.1692 | 0.9335 | 0.025951 | 0.1435 | 0.14502 | 0.0015204 |  | 20.1692 | 0.1435
8 | YES | 9.9831 | 0.7407 | 0.017406 | 0.1407 | 0.14532 | 0.0046141 |  | 9.9831 | 0.1407
8 | YES | 2.912 | 0.732 | 0.019153 | 0.202 | 0.14552 | -0.056475 |  | 2.912 | 0.202
9 | YES | 20.1279 | 0.84569 | 0.021278 | 0.14569 | 0.14502 | -0.00066136 |  | 20.1279 | 0.14569
9 | YES | 10.0141 | 0.85381 | 0.023126 | 0.22381 | 0.14532 | -0.078487 |  | 10.0141 | 0.22381
9 | YES | 2.5406 | 0.77305 | 0.01932 | 0.14305 | 0.14554 | 0.0024858 |  | 2.5406 | 0.14305
10 | YES | 50.1925 | 0.29899 | 0.0096585 | 0.16899 | 0.14415 | -0.02484 |  | 50.1925 | 0.16899
10 | YES | 29.7788 | 0.44859 | 0.011253 | 0.19859 | 0.14474 | -0.053846 |  | 29.7788 | 0.19859
10 | YES | 19.8194 | 0.70255 | 0.033311 | 0.062552 | 0.14503 | 0.082481 |  | 19.8194 | 0.062552
10 | YES | 9.9039 | 0.93571 | 0.030809 | 0.2057 | 0.14532 | -0.060384 |  | 9.9039 | 0.2057
10 | YES | 5.0383 | 0.88273 | 0.034327 | 0.06273 | 0.14546 | 0.082733 |  | 5.0383 | 0.06273
10 | YES | 2.6912 | 0.86969 | 0.026157 | -0.12031 | 0.14553 | 0.26584 |  | 2.6912 | -0.12031
11 | YES | 20.1326 | 0.67126 | 0.032939 | 0.011261 | 0.14502 | 0.13376 |  | 20.1326 | 0.011261
11 | YES | 9.8097 | 0.81982 | 0.021196 | 0.0098216 | 0.14532 | 0.1355 |  | 9.8097 | 0.0098216
11 | YES | 3.5306 | 0.78617 | 0.019453 | -0.083834 | 0.14551 | 0.22934 |  | 3.5306 | -0.083834
12 | YES | 21.0202 | 0.64467 | 0.028021 | 0.14467 | 0.145 | 0.00032966 |  | 21.0202 | 0.14467
12 | YES | 9.83 | 0.7339 | 0.025917 | 0.1739 | 0.14532 | -0.028572 |  | 9.83 | 0.1739
12 | YES | 3.2717 | 0.76906 | 0.050649 | 0.10906 | 0.14551 | 0.036453 |  | 3.2717 | 0.10906
13 | YES | 19.8382 | 0.35143 | 0.0080816 | 0.071431 | 0.14503 | 0.073601 |  | 19.8382 | 0.071431
13 | YES | 9.6005 | 0.56677 | 0.013933 | 0.086768 | 0.14533 | 0.058563 |  | 9.6005 | 0.086768
13 | YES | 2.8061 | 0.47009 | 0.01488 | 0.1501 | 0.14553 | -0.0045669 |  | 2.8061 | 0.1501
14 | YES | 20.1434 | 0.71891 | 0.020639 | 0.12891 | 0.14502 | 0.01611 |  | 20.1434 | 0.12891
14 | YES | 10.0137 | 0.86332 | 0.038976 | 0.08332 | 0.14532 | 0.061999 |  | 10.0137 | 0.08332
14 | YES | 2.7199 | 0.92106 | 0.08273 | 0.16106 | 0.14553 | -0.015531 |  | 2.7199 | 0.16106
15 | YES | 20.2085 | 0.89984 | 0.029723 | -0.00015765 | 0.14502 | 0.14518 |  | 20.2085 | -0.00015765
15 | YES | 10.0964 | 0.93559 | 0.03357 | 0.085593 | 0.14532 | 0.059722 |  | 10.0964 | 0.085593
15 | YES | 3.2121 | 0.94807 | 0.058458 | 0.068071 | 0.14552 | 0.077446 |  | 3.2121 | 0.068071
16 | YES | 20.5674 | 0.81256 | 0.03761 | 0.10256 | 0.14501 | 0.042447 |  | 20.5674 | 0.10256
16 | YES | 10.2712 | 0.81681 | 0.045327 | 0.17681 | 0.14531 | -0.031498 |  | 10.2712 | 0.17681
16 | YES | 2.9205 | 0.80223 | 0.022855 | -0.0077718 | 0.14552 | 0.1533 |  | 2.9205 | -0.0077718
17 | YES | 20.3538 | 0.39637 | 0.017452 | 0.13636 | 0.14502 | 0.0086521 |  | 20.3538 | 0.13636
17 | YES | 10.209 | 0.4879 | 0.016494 | 0.1579 | 0.14531 | -0.012593 |  | 10.209 | 0.1579
17 | YES | 2.9968 | 0.50563 | 0.048341 | 0.16563 | 0.14552 | -0.020108 |  | 2.9968 | 0.16563
18 | YES | 20.3199 | 0.36903 | 0.018502 | 0.13903 | 0.14502 | 0.005985 |  | 20.3199 | 0.13903
18 | YES | 9.9588 | 0.49673 | 0.018085 | 0.19673 | 0.14532 | -0.051414 |  | 9.9588 | 0.19673
18 | YES | 3.1693 | 0.52061 | 0.016461 | 0.21061 | 0.14552 | -0.065097 |  | 3.1693 | 0.21061
19 | YES | 20.4222 | 0.59781 | 0.01273 | 0.19781 | 0.14502 | -0.052794 |  | 20.4222 | 0.19781
19 | YES | 10.4612 | 0.58534 | 0.019753 | 0.27534 | 0.14531 | -0.13003 |  | 10.4612 | 0.27534
19 | YES | 3.0072 | 0.58723 | 0.03303 | 0.24723 | 0.14552 | -0.10171 |  | 3.0072 | 0.24723
20 | YES | 20.1284 | 0.70186 | 0.11502 | 0.17186 | 0.14502 | -0.026831 |  | 20.1284 | 0.17186
20 | YES | 10.0058 | 0.64865 | 0.025799 | 0.14865 | 0.14532 | -0.0033326 |  | 10.0058 | 0.14865
20 | YES | 2.6946 | 0.63936 | 0.019385 | 0.17936 | 0.14553 | -0.03383 |  | 2.6946 | 0.17936
21 | YES | 20.0326 | 0.72786 | 0.022352 | 0.16786 | 0.14503 | -0.022837 |  | 20.0326 | 0.16786
21 | YES | 9.5588 | 0.74988 | 0.016605 | 0.17988 | 0.14533 | -0.034549 |  | 9.5588 | 0.17988
21 | YES | 2.8862 | 0.75182 | 0.018742 | 0.021822 | 0.14553 | 0.1237 |  | 2.8862 | 0.021822
22 | YES | 20.0263 | 0.61016 | 0.015722 | 0.14016 | 0.14503 | 0.0048686 |  | 20.0263 | 0.14016 |  | 0.47
22 | YES | 10.0468 | 0.72704 | 0.071855 | 0.087041 | 0.14532 | 0.058276 |  | 10.0468 | 0.087041
22 | YES | 2.6244 | 0.69825 | 0.022016 | 0.008249 | 0.14553 | 0.13728 |  | 2.6244 | 0.008249
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL_SeaPoint
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (FL_ECO - CHL_BOT)
Calculation of Linear Least Squares Fit For
(FL_ECO - CHL_BOT)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (FL_ECO - CHL_BOT), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0031713 |  | X | CALC Y
m= | -0.00083019 | 0.0018398 |  | Std Dev of Resid |  | 0.13062 |  | 2.5406 | 0.4354
b= | 0.43751 | 0.027081 |  | Resid Sum of Squares |  | 1.0919 |  | 50.1925 | 0.39584
# of Values Extracted = |  |  | 67
# of Values Used in Fit = |  |  | 66
File | Use | Pressure | FL_ECO | FL_ECO | Diff (FL_ECO - CHL_BOT) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 2.9761 | 18.1653 | 4.1195 | 6.0953 | 0.43504 | -5.6603 |  | 20.0614 | 0.13507
2 | YES | 20.0614 | 0.45507 | 0.066656 | 0.13507 | 0.42086 | 0.28578 |  | 9.9627 | 0.66036
2 | YES | 9.9627 | 1.2404 | 0.080737 | 0.66036 | 0.42924 | -0.23113 |  | 3.2562 | 0.28475
2 | YES | 3.2562 | 1.0848 | 0.078816 | 0.28475 | 0.43481 | 0.15006 |  | 20.0365 | 0.30577
3 | YES | 20.0365 | 0.66577 | 0.029745 | 0.30577 | 0.42088 | 0.11511 |  | 9.9582 | 0.43598
3 | YES | 9.9582 | 1.296 | 0.09031 | 0.43598 | 0.42924 | -0.0067316 |  | 2.8035 | 0.45444
3 | YES | 2.8035 | 1.1044 | 0.057565 | 0.45444 | 0.43518 | -0.019261 |  | 20.0883 | 0.55393
4 | YES | 20.0883 | 0.90393 | 0.07077 | 0.55393 | 0.42083 | -0.1331 |  | 10.0328 | 0.72906
4 | YES | 10.0328 | 1.3491 | 0.1067 | 0.72906 | 0.42918 | -0.29988 |  | 3.0543 | 0.52867
4 | YES | 3.0543 | 0.96867 | 0.072145 | 0.52867 | 0.43497 | -0.093697 |  | 20.2948 | 0.39666
5 | YES | 20.2948 | 0.78666 | 0.08693 | 0.39666 | 0.42066 | 0.024006 |  | 9.9823 | 0.46532
5 | YES | 9.9823 | 1.1653 | 0.11946 | 0.46532 | 0.42922 | -0.036101 |  | 3.1826 | 0.4477
5 | YES | 3.1826 | 1.0977 | 0.081317 | 0.4477 | 0.43487 | -0.012833 |  | 20.3033 | 0.47683
6 | YES | 20.3033 | 0.92683 | 0.074755 | 0.47683 | 0.42066 | -0.056171 |  | 10.2671 | 0.66832
6 | YES | 10.2671 | 1.3383 | 0.082259 | 0.66832 | 0.42899 | -0.23934 |  | 2.8355 | 0.62012
6 | YES | 2.8355 | 1.3301 | 0.092495 | 0.62012 | 0.43516 | -0.18496 |  | 20.2201 | 0.45011
7 | YES | 20.2201 | 0.65011 | 0.053087 | 0.45011 | 0.42072 | -0.029388 |  | 10.4067 | 0.48733
7 | YES | 10.4067 | 1.1573 | 0.062695 | 0.48733 | 0.42887 | -0.058457 |  | 2.9133 | 0.51081
7 | YES | 2.9133 | 0.99081 | 0.045542 | 0.51081 | 0.43509 | -0.075721 |  | 20.1692 | 0.72121
8 | YES | 20.1692 | 1.5112 | 0.11596 | 0.72121 | 0.42077 | -0.30045 |  | 9.9831 | 0.48314
8 | YES | 9.9831 | 1.0832 | 0.086525 | 0.48314 | 0.42922 | -0.053922 |  | 2.912 | 0.45765
8 | YES | 2.912 | 0.98765 | 0.077091 | 0.45765 | 0.43509 | -0.022554 |  | 20.1279 | 0.56855
9 | YES | 20.1279 | 1.2686 | 0.086764 | 0.56855 | 0.4208 | -0.14775 |  | 10.0141 | 0.58183
9 | YES | 10.0141 | 1.2118 | 0.07559 | 0.58183 | 0.4292 | -0.15264 |  | 2.5406 | 0.42398
9 | YES | 2.5406 | 1.054 | 0.078833 | 0.42398 | 0.4354 | 0.011422 |  | 50.1925 | 0.32179
10 | YES | 50.1925 | 0.45179 | 0.043258 | 0.32179 | 0.39584 | 0.074053 |  | 29.7788 | 0.4467
10 | YES | 29.7788 | 0.6967 | 0.097033 | 0.4467 | 0.41279 | -0.033908 |  | 19.8194 | 0.42297
10 | YES | 19.8194 | 1.063 | 0.090905 | 0.42297 | 0.42106 | -0.0019182 |  | 9.9039 | 0.81129
10 | YES | 9.9039 | 1.5413 | 0.13936 | 0.81129 | 0.42929 | -0.382 |  | 5.0383 | 0.39935
10 | YES | 5.0383 | 1.2193 | 0.077138 | 0.39935 | 0.43333 | 0.033975 |  | 2.6912 | 0.2844
10 | YES | 2.6912 | 1.2744 | 0.11878 | 0.2844 | 0.43528 | 0.15087 |  | 20.1326 | 0.30342
11 | YES | 20.1326 | 0.96342 | 0.077079 | 0.30342 | 0.4208 | 0.11738 |  | 9.8097 | 0.27177
11 | YES | 9.8097 | 1.0818 | 0.075023 | 0.27177 | 0.42937 | 0.1576 |  | 3.5306 | 0.2128
11 | YES | 3.5306 | 1.0828 | 0.088062 | 0.2128 | 0.43458 | 0.22178 |  | 21.0202 | 0.39566
12 | YES | 21.0202 | 0.89566 | 0.067289 | 0.39566 | 0.42006 | 0.024396 |  | 9.83 | 0.40402
12 | YES | 9.83 | 0.96402 | 0.061788 | 0.40402 | 0.42935 | 0.025329 |  | 3.2717 | 0.32105
12 | YES | 3.2717 | 0.98105 | 0.076515 | 0.32105 | 0.43479 | 0.11374 |  | 19.8382 | 0.21523
13 | YES | 19.8382 | 0.49523 | 0.059347 | 0.21523 | 0.42104 | 0.20581 |  | 9.6005 | 0.2673
13 | YES | 9.6005 | 0.7473 | 0.053665 | 0.2673 | 0.42954 | 0.16225 |  | 2.8061 | 0.29566
13 | YES | 2.8061 | 0.61566 | 0.061242 | 0.29566 | 0.43518 | 0.13952 |  | 20.1434 | 0.3997
14 | YES | 20.1434 | 0.9897 | 0.079431 | 0.3997 | 0.42079 | 0.021087 |  | 10.0137 | 0.47631
14 | YES | 10.0137 | 1.2563 | 0.089506 | 0.47631 | 0.4292 | -0.04711 |  | 2.7199 | 0.491
14 | YES | 2.7199 | 1.251 | 0.10385 | 0.491 | 0.43525 | -0.055743 |  | 20.2085 | 0.35449
15 | YES | 20.2085 | 1.2545 | 0.10609 | 0.35449 | 0.42073 | 0.066244 |  | 10.0964 | 0.45539
15 | YES | 10.0964 | 1.3054 | 0.095319 | 0.45539 | 0.42913 | -0.026261 |  | 3.2121 | 0.4301
15 | YES | 3.2121 | 1.3101 | 0.11563 | 0.4301 | 0.43484 | 0.004744 |  | 20.5674 | 0.43005
16 | YES | 20.5674 | 1.1401 | 0.070464 | 0.43005 | 0.42044 | -0.0096182 |  | 10.2712 | 0.47436
16 | YES | 10.2712 | 1.1144 | 0.18353 | 0.47436 | 0.42898 | -0.045373 |  | 2.9205 | 0.26116
16 | YES | 2.9205 | 1.0712 | 0.067323 | 0.26116 | 0.43509 | 0.17393 |  | 20.3538 | 0.28025
17 | YES | 20.3538 | 0.54025 | 0.075687 | 0.28025 | 0.42061 | 0.14036 |  | 10.209 | 0.41065
17 | YES | 10.209 | 0.74065 | 0.22341 | 0.41065 | 0.42904 | 0.018388 |  | 2.9968 | 0.30446
17 | YES | 2.9968 | 0.64446 | 0.054825 | 0.30446 | 0.43502 | 0.13056 |  | 20.3199 | 0.27903
18 | YES | 20.3199 | 0.50902 | 0.051479 | 0.27903 | 0.42064 | 0.14162 |  | 9.9588 | 0.34264
18 | YES | 9.9588 | 0.64264 | 0.044241 | 0.34264 | 0.42924 | 0.086604 |  | 3.1693 | 0.39073
18 | YES | 3.1693 | 0.70073 | 0.046364 | 0.39073 | 0.43488 | 0.044153 |  | 20.4222 | 0.42019
19 | YES | 20.4222 | 0.82019 | 0.052313 | 0.42019 | 0.42056 | 0.00036932 |  | 10.4612 | 0.49015
19 | YES | 10.4612 | 0.80015 | 0.072561 | 0.49015 | 0.42883 | -0.061323 |  | 3.0072 | 0.55575
19 | YES | 3.0072 | 0.89575 | 0.070613 | 0.55575 | 0.43501 | -0.12074 |  | 20.1284 | 0.40308
20 | YES | 20.1284 | 0.93307 | 0.10041 | 0.40308 | 0.4208 | 0.017725 |  | 10.0058 | 0.40175
20 | YES | 10.0058 | 0.90175 | 0.077761 | 0.40175 | 0.4292 | 0.027453 |  | 2.6946 | 0.44682
20 | YES | 2.6946 | 0.90682 | 0.077732 | 0.44682 | 0.43527 | -0.011543 |  | 20.0326 | 0.54269
21 | YES | 20.0326 | 1.1027 | 0.10364 | 0.54269 | 0.42088 | -0.12181 |  | 9.5588 | 0.53194
21 | YES | 9.5588 | 1.1019 | 0.09396 | 0.53194 | 0.42957 | -0.10237 |  | 2.8862 | 0.3091
21 | YES | 2.8862 | 1.0391 | 0.075936 | 0.3091 | 0.43511 | 0.12602 |  | 20.0263 | 0.4213
22 | YES | 20.0263 | 0.8913 | 0.068611 | 0.4213 | 0.42088 | -0.000418 |  | 10.0468 | 0.41241
22 | YES | 10.0468 | 1.0524 | 0.1057 | 0.41241 | 0.42917 | 0.016763 |  | 2.6244 | 0.29022
22 | YES | 2.6244 | 0.98022 | 0.10864 | 0.29022 | 0.43533 | 0.14511
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. FL_ECO
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3 |  |  |  | COMPARE Version 3.3 | Run at 2012/04/19 11:43:14
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | CHL_BOT | FL_SeaPoint |  | FL_SeaPoint - CHL_BOT
Comp 2 | CHL_BOT | FL_ECO |  | FL_ECO - CHL_BOT
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | CHL_BOT | FL_SeaPoint | FL_SeaPoint | (S-P) | CHL_BOT | FL_ECO | FL_ECO | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2012-14-0001.mrgcln2 | 2012-14-0001.sam | 408 | 2.975 | 2.9761 | 0.033762 | 0.0010665 | 12.07 | 12.753 | 0.58419 | 0.68302 | 12.07 | 18.1653 | 4.1195 | 6.0953
2012-14-0002.mrgcln2 | 2012-14-0002.sam | 241 | 20.061 | 20.0614 | 0.035735 | 0.00038528 | 0.32 | 0.29279 | 0.011071 | -0.027212 | 0.32 | 0.45507 | 0.066656 | 0.13507
2012-14-0002.mrgcln2 | 2012-14-0002.sam | 241 | 9.963 | 9.9627 | 0.038022 | -0.00034523 | 0.58 | 0.81978 | 0.042502 | 0.23978 | 0.58 | 1.2404 | 0.080737 | 0.66036
2012-14-0002.mrgcln2 | 2012-14-0002.sam | 241 | 3.256 | 3.2562 | 0.10267 | 0.00021148 | 0.8 | 0.77735 | 0.018301 | -0.022647 | 0.8 | 1.0848 | 0.078816 | 0.28475
2012-14-0003.mrgcln2 | 2012-14-0003.sam | 241 | 20.036 | 20.0365 | 0.034908 | 0.00045204 | 0.36 | 0.52342 | 0.017105 | 0.16342 | 0.36 | 0.66577 | 0.029745 | 0.30577
2012-14-0003.mrgcln2 | 2012-14-0003.sam | 241 | 9.958 | 9.9582 | 0.044093 | 0.00022411 | 0.86 | 0.92656 | 0.02444 | 0.06656 | 0.86 | 1.296 | 0.09031 | 0.43598
2012-14-0003.mrgcln2 | 2012-14-0003.sam | 241 | 2.804 | 2.8035 | 0.096987 | -0.00047708 | 0.65 | 0.8104 | 0.017787 | 0.1604 | 0.65 | 1.1044 | 0.057565 | 0.45444
2012-14-0004.mrgcln2 | 2012-14-0004.sam | 241 | 20.088 | 20.0883 | 0.039718 | 0.00028229 | 0.35 | 0.58069 | 0.024974 | 0.23069 | 0.35 | 0.90393 | 0.07077 | 0.55393
2012-14-0004.mrgcln2 | 2012-14-0004.sam | 241 | 10.033 | 10.0328 | 0.055116 | -0.00023651 | 0.62 | 0.9725 | 0.076642 | 0.3525 | 0.62 | 1.3491 | 0.1067 | 0.72906
2012-14-0004.mrgcln2 | 2012-14-0004.sam | 241 | 3.054 | 3.0543 | 0.162 | 0.00026155 | 0.44 | 0.71356 | 0.027746 | 0.27356 | 0.44 | 0.96867 | 0.072145 | 0.52867
2012-14-0005.mrgcln2 | 2012-14-0005.sam | 241 | 20.295 | 20.2948 | 0.039851 | -0.00024986 | 0.39 | 0.56598 | 0.014368 | 0.17598 | 0.39 | 0.78666 | 0.08693 | 0.39666
2012-14-0005.mrgcln2 | 2012-14-0005.sam | 241 | 9.982 | 9.9823 | 0.045752 | 0.0003233 | 0.7 | 0.81307 | 0.024881 | 0.11307 | 0.7 | 1.1653 | 0.11946 | 0.46532
2012-14-0005.mrgcln2 | 2012-14-0005.sam | 241 | 3.183 | 3.1826 | 0.17937 | -0.00037766 | 0.65 | 0.82409 | 0.036688 | 0.17409 | 0.65 | 1.0977 | 0.081317 | 0.4477
2012-14-0006.mrgcln2 | 2012-14-0006.sam | 241 | 20.303 | 20.3033 | 0.031428 | 0.00032043 | 0.45 | 0.6454 | 0.017067 | 0.1954 | 0.45 | 0.92683 | 0.074755 | 0.47683
2012-14-0006.mrgcln2 | 2012-14-0006.sam | 241 | 10.267 | 10.2671 | 0.033678 | 8.297e-05 | 0.67 | 0.89222 | 0.016976 | 0.22222 | 0.67 | 1.3383 | 0.082259 | 0.66832
2012-14-0006.mrgcln2 | 2012-14-0006.sam | 241 | 2.836 | 2.8355 | 0.043275 | -0.00048542 | 0.71 | 0.89683 | 0.033363 | 0.18683 | 0.71 | 1.3301 | 0.092495 | 0.62012
2012-14-0007.mrgcln2 | 2012-14-0007.sam | 241 | 20.22 | 20.2201 | 0.033557 | 0.00011635 | 0.2 | 0.44792 | 0.010274 | 0.24792 | 0.2 | 0.65011 | 0.053087 | 0.45011
2012-14-0007.mrgcln2 | 2012-14-0007.sam | 241 | 10.407 | 10.4067 | 0.040774 | -0.0003233 | 0.67 | 0.85195 | 0.025461 | 0.18195 | 0.67 | 1.1573 | 0.062695 | 0.48733
2012-14-0007.mrgcln2 | 2012-14-0007.sam | 241 | 2.913 | 2.9133 | 0.034073 | 0.00034833 | 0.48 | 0.71536 | 0.016934 | 0.23536 | 0.48 | 0.99081 | 0.045542 | 0.51081
2012-14-0008.mrgcln2 | 2012-14-0008.sam | 241 | 20.169 | 20.1692 | 0.038273 | 0.00023651 | 0.79 | 0.9335 | 0.025951 | 0.1435 | 0.79 | 1.5112 | 0.11596 | 0.72121
2012-14-0008.mrgcln2 | 2012-14-0008.sam | 241 | 9.983 | 9.9831 | 0.045397 | 0.00012493 | 0.6 | 0.7407 | 0.017406 | 0.1407 | 0.6 | 1.0832 | 0.086525 | 0.48314
2012-14-0008.mrgcln2 | 2012-14-0008.sam | 241 | 2.912 | 2.912 | 0.062031 | 0 | 0.53 | 0.732 | 0.019153 | 0.202 | 0.53 | 0.98765 | 0.077091 | 0.45765
2012-14-0009.mrgcln2 | 2012-14-0009.sam | 241 | 20.128 | 20.1279 | 0.035204 | -9.1553e-05 | 0.7 | 0.84569 | 0.021278 | 0.14569 | 0.7 | 1.2686 | 0.086764 | 0.56855
2012-14-0009.mrgcln2 | 2012-14-0009.sam | 241 | 10.014 | 10.0141 | 0.041239 | 0.00010395 | 0.63 | 0.85381 | 0.023126 | 0.22381 | 0.63 | 1.2118 | 0.07559 | 0.58183
2012-14-0009.mrgcln2 | 2012-14-0009.sam | 241 | 2.541 | 2.5406 | 0.072539 | -0.00037742 | 0.63 | 0.77305 | 0.01932 | 0.14305 | 0.63 | 1.054 | 0.078833 | 0.42398
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 50.193 | 50.1925 | 0.025633 | -0.00047302 | 0.13 | 0.29899 | 0.0096585 | 0.16899 | 0.13 | 0.45179 | 0.043258 | 0.32179
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 29.779 | 29.7788 | 0.034261 | -0.00015259 | 0.25 | 0.44859 | 0.011253 | 0.19859 | 0.25 | 0.6967 | 0.097033 | 0.4467
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 19.819 | 19.8194 | 0.032472 | 0.00039482 | 0.64 | 0.70255 | 0.033311 | 0.062552 | 0.64 | 1.063 | 0.090905 | 0.42297
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 9.904 | 9.9039 | 0.034601 | -8.297e-05 | 0.73 | 0.93571 | 0.030809 | 0.2057 | 0.73 | 1.5413 | 0.13936 | 0.81129
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 5.038 | 5.0383 | 0.032632 | 0.00026941 | 0.82 | 0.88273 | 0.034327 | 0.06273 | 0.82 | 1.2193 | 0.077138 | 0.39935
2012-14-0010.mrgcln2 | 2012-14-0010.sam | 241 | 2.691 | 2.6912 | 0.061282 | 0.00016594 | 0.99 | 0.86969 | 0.026157 | -0.12031 | 0.99 | 1.2744 | 0.11878 | 0.2844
2012-14-0011.mrgcln2 | 2012-14-0011.sam | 241 | 20.133 | 20.1326 | 0.039297 | -0.00035667 | 0.66 | 0.67126 | 0.032939 | 0.011261 | 0.66 | 0.96342 | 0.077079 | 0.30342
2012-14-0011.mrgcln2 | 2012-14-0011.sam | 241 | 9.81 | 9.8097 | 0.068786 | -0.00030708 | 0.81 | 0.81982 | 0.021196 | 0.0098216 | 0.81 | 1.0818 | 0.075023 | 0.27177
2012-14-0011.mrgcln2 | 2012-14-0011.sam | 241 | 3.531 | 3.5306 | 0.25559 | -0.00041056 | 0.87 | 0.78617 | 0.019453 | -0.083834 | 0.87 | 1.0828 | 0.088062 | 0.2128
2012-14-0012.mrgcln2 | 2012-14-0012.sam | 241 | 21.02 | 21.0202 | 0.067294 | 0.00017357 | 0.5 | 0.64467 | 0.028021 | 0.14467 | 0.5 | 0.89566 | 0.067289 | 0.39566
2012-14-0012.mrgcln2 | 2012-14-0012.sam | 241 | 9.83 | 9.83 | 0.09294 | 4.1962e-05 | 0.56 | 0.7339 | 0.025917 | 0.1739 | 0.56 | 0.96402 | 0.061788 | 0.40402
2012-14-0012.mrgcln2 | 2012-14-0012.sam | 241 | 3.272 | 3.2717 | 0.20801 | -0.00034451 | 0.66 | 0.76906 | 0.050649 | 0.10906 | 0.66 | 0.98105 | 0.076515 | 0.32105
2012-14-0013.mrgcln2 | 2012-14-0013.sam | 241 | 19.838 | 19.8382 | 0.04687 | 0.00023651 | 0.28 | 0.35143 | 0.0080816 | 0.071431 | 0.28 | 0.49523 | 0.059347 | 0.21523
2012-14-0013.mrgcln2 | 2012-14-0013.sam | 241 | 9.601 | 9.6005 | 0.11712 | -0.00049782 | 0.48 | 0.56677 | 0.013933 | 0.086768 | 0.48 | 0.7473 | 0.053665 | 0.2673
2012-14-0013.mrgcln2 | 2012-14-0013.sam | 241 | 2.806 | 2.8061 | 0.20092 | 0.00014114 | 0.32 | 0.47009 | 0.01488 | 0.1501 | 0.32 | 0.61566 | 0.061242 | 0.29566
2012-14-0014.mrgcln2 | 2012-14-0014.sam | 241 | 20.143 | 20.1434 | 0.065178 | 0.00038147 | 0.59 | 0.71891 | 0.020639 | 0.12891 | 0.59 | 0.9897 | 0.079431 | 0.3997
2012-14-0014.mrgcln2 | 2012-14-0014.sam | 241 | 10.014 | 10.0137 | 0.042116 | -0.0002985 | 0.78 | 0.86332 | 0.038976 | 0.08332 | 0.78 | 1.2563 | 0.089506 | 0.47631
2012-14-0014.mrgcln2 | 2012-14-0014.sam | 241 | 2.72 | 2.7199 | 0.11968 | -9.9659e-05 | 0.76 | 0.92106 | 0.08273 | 0.16106 | 0.76 | 1.251 | 0.10385 | 0.491
2012-14-0015.mrgcln2 | 2012-14-0015.sam | 241 | 20.208 | 20.2085 | 0.066125 | 0.00046539 | 0.9 | 0.89984 | 0.029723 | -0.00015765 | 0.9 | 1.2545 | 0.10609 | 0.35449
2012-14-0015.mrgcln2 | 2012-14-0015.sam | 241 | 10.096 | 10.0964 | 0.12119 | 0.00041103 | 0.85 | 0.93559 | 0.03357 | 0.085593 | 0.85 | 1.3054 | 0.095319 | 0.45539
2012-14-0015.mrgcln2 | 2012-14-0015.sam | 241 | 3.212 | 3.2121 | 0.091304 | 5.4121e-05 | 0.88 | 0.94807 | 0.058458 | 0.068071 | 0.88 | 1.3101 | 0.11563 | 0.4301
2012-14-0016.mrgcln2 | 2012-14-0016.sam | 241 | 20.567 | 20.5674 | 0.042459 | 0.00039864 | 0.71 | 0.81256 | 0.03761 | 0.10256 | 0.71 | 1.1401 | 0.070464 | 0.43005
2012-14-0016.mrgcln2 | 2012-14-0016.sam | 241 | 10.271 | 10.2712 | 0.047258 | 0.00018692 | 0.64 | 0.81681 | 0.045327 | 0.17681 | 0.64 | 1.1144 | 0.18353 | 0.47436
2012-14-0016.mrgcln2 | 2012-14-0016.sam | 241 | 2.92 | 2.9205 | 0.23714 | 0.00047708 | 0.81 | 0.80223 | 0.022855 | -0.0077718 | 0.81 | 1.0712 | 0.067323 | 0.26116
2012-14-0017.mrgcln2 | 2012-14-0017.sam | 241 | 20.354 | 20.3538 | 0.047208 | -0.00016594 | 0.26 | 0.39637 | 0.017452 | 0.13636 | 0.26 | 0.54025 | 0.075687 | 0.28025
2012-14-0017.mrgcln2 | 2012-14-0017.sam | 241 | 10.209 | 10.209 | 0.059481 | 8.5831e-06 | 0.33 | 0.4879 | 0.016494 | 0.1579 | 0.33 | 0.74065 | 0.22341 | 0.41065
2012-14-0017.mrgcln2 | 2012-14-0017.sam | 241 | 2.997 | 2.9968 | 0.15808 | -0.00018263 | 0.34 | 0.50563 | 0.048341 | 0.16563 | 0.34 | 0.64446 | 0.054825 | 0.30446
2012-14-0018.mrgcln2 | 2012-14-0018.sam | 241 | 20.32 | 20.3199 | 0.03264 | -9.1553e-05 | 0.23 | 0.36903 | 0.018502 | 0.13903 | 0.23 | 0.50902 | 0.051479 | 0.27903
2012-14-0018.mrgcln2 | 2012-14-0018.sam | 241 | 9.959 | 9.9588 | 0.031607 | -0.00020695 | 0.3 | 0.49673 | 0.018085 | 0.19673 | 0.3 | 0.64264 | 0.044241 | 0.34264
2012-14-0018.mrgcln2 | 2012-14-0018.sam | 241 | 3.169 | 3.1693 | 0.038745 | 0.000278 | 0.31 | 0.52061 | 0.016461 | 0.21061 | 0.31 | 0.70073 | 0.046364 | 0.39073
2012-14-0019.mrgcln2 | 2012-14-0019.sam | 241 | 20.422 | 20.4222 | 0.029196 | 0.00021934 | 0.4 | 0.59781 | 0.01273 | 0.19781 | 0.4 | 0.82019 | 0.052313 | 0.42019
2012-14-0019.mrgcln2 | 2012-14-0019.sam | 241 | 10.461 | 10.4612 | 0.03282 | 0.00022793 | 0.31 | 0.58534 | 0.019753 | 0.27534 | 0.31 | 0.80015 | 0.072561 | 0.49015
2012-14-0019.mrgcln2 | 2012-14-0019.sam | 241 | 3.007 | 3.0072 | 0.039804 | 0.00020742 | 0.34 | 0.58723 | 0.03303 | 0.24723 | 0.34 | 0.89575 | 0.070613 | 0.55575
2012-14-0020.mrgcln2 | 2012-14-0020.sam | 241 | 20.128 | 20.1284 | 0.062533 | 0.00041962 | 0.53 | 0.70186 | 0.11502 | 0.17186 | 0.53 | 0.93307 | 0.10041 | 0.40308
2012-14-0020.mrgcln2 | 2012-14-0020.sam | 241 | 10.006 | 10.0058 | 0.034266 | -0.00020695 | 0.5 | 0.64865 | 0.025799 | 0.14865 | 0.5 | 0.90175 | 0.077761 | 0.40175
2012-14-0020.mrgcln2 | 2012-14-0020.sam | 241 | 2.695 | 2.6946 | 0.038903 | -0.00036931 | 0.46 | 0.63936 | 0.019385 | 0.17936 | 0.46 | 0.90682 | 0.077732 | 0.44682
2012-14-0021.mrgcln2 | 2012-14-0021.sam | 241 | 20.033 | 20.0326 | 0.037917 | -0.00040817 | 0.56 | 0.72786 | 0.022352 | 0.16786 | 0.56 | 1.1027 | 0.10364 | 0.54269
2012-14-0021.mrgcln2 | 2012-14-0021.sam | 241 | 9.559 | 9.5588 | 0.033315 | -0.00014973 | 0.57 | 0.74988 | 0.016605 | 0.17988 | 0.57 | 1.1019 | 0.09396 | 0.53194
2012-14-0021.mrgcln2 | 2012-14-0021.sam | 241 | 2.886 | 2.8862 | 0.049344 | 0.00022411 | 0.73 | 0.75182 | 0.018742 | 0.021822 | 0.73 | 1.0391 | 0.075936 | 0.3091
2012-14-0022.mrgcln2 | 2012-14-0022.sam | 241 | 20.026 | 20.0263 | 0.03771 | 0.00032043 | 0.47 | 0.61016 | 0.015722 | 0.14016 | 0.47 | 0.8913 | 0.068611 | 0.4213
2012-14-0022.mrgcln2 | 2012-14-0022.sam | 241 | 10.047 | 10.0468 | 0.042587 | -0.00018215 | 0.64 | 0.72704 | 0.071855 | 0.087041 | 0.64 | 1.0524 | 0.1057 | 0.41241
2012-14-0022.mrgcln2 | 2012-14-0022.sam | 241 | 2.624 | 2.6244 | 0.054575 | 0.00044394 | 0.69 | 0.69825 | 0.022016 | 0.008249 | 0.69 | 0.98022 | 0.10864 | 0.29022
Create Fit Sheet