## Final CHL archive
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -80C prior to analysis
Samples were extracted in 90% acetone at -20C for 24 hours in the lab one week after collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen et al 1965)
The average of two samples is reported. Variability is assessed as the CV % (std dev/mean*100).
For details see worksheet "CV %" in file QF2012-14chl.xls
Cruise_Number | Event_Number | Sample_Number | CHL:extracted | Flag:CHL Extracted | Phaeo-Pigment:Extracted | Comments (preceded by CHL:)
2012-14 | 1 | 1 | 12.068 | 36 | 0.73809 | CHL:variability of reps >15% CV
2012-14 | 2 | 7 | 0.31851 | 36 | 0.27196 | CHL:variability of reps >15% CV
2012-14 | 2 | 8 | 0.5804 | 36 | 0.38131 | CHL:variability of reps >15% CV
2012-14 | 2 | 10 | 0.79981 | 6 | 0.47332
2012-14 | 3 | 19 | 0.36098 | 6 | 0.36902
2012-14 | 3 | 20 | 0.85644 | 6 | 0.42417
2012-14 | 3 | 22 | 0.64764 | 6 | 0.43615
2012-14 | 4 | 25 | 0.34682 | 6 | 0.42055
2012-14 | 4 | 26 | 0.61932 | 36 | 0.46944 | CHL:variability of reps >15% CV
2012-14 | 4 | 28 | 0.44237 | 6 | 0.45953
2012-14 | 5 | 31 | 0.38929 | 6 | 0.39303
2012-14 | 5 | 32 | 0.69718 | 6 | 0.5909
2012-14 | 5 | 34 | 0.65118 | 6 | 0.5522
2012-14 | 6 | 37 | 0.44591 | 6 | 0.35384
2012-14 | 6 | 38 | 0.66533 | 6 | 0.50814
2012-14 | 6 | 40 | 0.71488 | 6 | 0.49348
2012-14 | 7 | 43 | 0.20172 | 36 | 0.35387 | CHL:variability of reps >15% CV
2012-14 | 7 | 44 | 0.66533 | 6 | 0.55299
2012-14 | 7 | 46 | 0.4813 | 6 | 0.3932
2012-14 | 8 | 55 | 0.79274 | 6 | 0.5078
2012-14 | 8 | 56 | 0.6 | 6 | 0.48
2012-14 | 8 | 58 | 0.52731 | 6 | 0.52408
2012-14 | 9 | 61 | 0.69718 | 6 | 0.52612
2012-14 | 9 | 62 | 0.6264 | 6 | 0.49724
2012-14 | 9 | 64 | 0.63348 | 36 | 0.53501 | CHL:variability of reps >15% CV
2012-14 | 10 | 65 | 0.13236 | 6 | 0.22517
2012-14 | 10 | 66 | 0.24844 | 6 | 0.22693
2012-14 | 10 | 67 | 0.64056 | 36 | 0.43824 | CHL:variability of reps >15% CV
2012-14 | 10 | 68 | 0.72903 | 6 | 0.44444
2012-14 | 10 | 69 | 0.81751 | 6 | 0.49051
2012-14 | 10 | 70 | 0.98738 | 6 | 0.33309
2012-14 | 11 | 73 | 0.65825 | 6 | 0.47038
2012-14 | 11 | 74 | 0.81043 | 6 | 0.52997
2012-14 | 11 | 76 | 0.86705 | 6 | 0.50823
2012-14 | 12 | 85 | 0.499 | 6 | 0.3456
2012-14 | 12 | 86 | 0.55916 | 6 | 0.45984
2012-14 | 12 | 88 | 0.65825 | 6 | 0.45294
2012-14 | 13 | 91 | 0.27604 | 6 | 0.28204
2012-14 | 13 | 92 | 0.47776 | 6 | 0.43411
2012-14 | 13 | 94 | 0.31851 | 6 | 0.44637
2012-14 | 14 | 97 | 0.59455 | 36 | 0.45933 | CHL:variability of reps >15% CV
2012-14 | 14 | 98 | 0.77504 | 6 | 0.52301
2012-14 | 14 | 100 | 0.76088 | 6 | 0.56955
2012-14 | 15 | 103 | 0.89537 | 6 | 0.58705
2012-14 | 15 | 104 | 0.84936 | 6 | 0.50101
2012-14 | 15 | 106 | 0.88121 | 6 | 0.65851
2012-14 | 16 | 115 | 0.71488 | 36 | 0.56324 | CHL:variability of reps >15% CV
2012-14 | 16 | 116 | 0.64056 | 36 | 0.49804 | CHL:variability of reps >15% CV
2012-14 | 16 | 118 | 0.80689 | 6 | 0.52604
2012-14 | 17 | 121 | 0.25835 | 6 | 0.29974
2012-14 | 17 | 122 | 0.32559 |  | 0.47168
2012-14 | 17 | 124 | 0.33974 | 36 | 0.46001 | CHL:variability of reps >15% CV
2012-14 | 18 | 127 | 0.23357 | 36 | 0.36188 | CHL:variability of reps >15% CV
2012-14 | 18 | 128 | 0.30081 | 6 | 0.40676
2012-14 | 18 | 130 | 0.31497 | 6 | 0.3652
2012-14 | 19 | 139 | 0.39637 | 6 | 0.40837
2012-14 | 19 | 140 | 0.31143 | 6 | 0.36375
2012-14 | 19 | 142 | 0.3362 | 36 | 0.37137 | CHL:variability of reps >15% CV
2012-14 | 20 | 145 | 0.53085 | 6 | 0.50809
2012-14 | 20 | 146 | 0.49546 | 6 | 0.48368
2012-14 | 20 | 148 | 0.46007 | 6 | 0.46675
2012-14 | 21 | 157 | 0.55916 | 6 | 0.55203
2012-14 | 21 | 158 | 0.56624 | 6 | 0.52003
2012-14 | 21 | 160 | 0.72549 | 6 | 0.53767
2012-14 | 22 | 163 | 0.47069 | 6 | 0.47357
2012-14 | 22 | 164 | 0.6441 | 6 | 0.48204
2012-14 | 22 | 166 | 0.6901 | 6 | 0.6503

## Raw-data
Cruise:
Notes: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -20C at sea and -80C in the lab
Samples were extracted in 90% acetone for 24 hours in the lab
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis:
Fluorometer calibration |  | May 9, 2011: chl (ug/L) = (1.704/(1.704-1)*(Fo-Fa)*(0.965)*(vol ext/vol filtered)*dilution factor
May 9, 2011: phaeo (ug/L)= (1.704/(1.704-1)*((1.704*Fa)-Fo)*0.965)*(vol ext/vol filtered)* dilution factor
Calibration linear up to a fluoresence reading of 475, no need to dilute samples
VI = Vial inverted… to mix sample before transfer to cuvette.
Analyzed_Date | Station | Sample_Number | rep | Vol. filt | Vol.ext | Dilution | Fo | Fa | Chl.a | Phaeo | RATIO | Samplers Comments
[5 empty] | (ml) | Factor |  |  | µg/L | µg/L | Rb/Ra
2012-03-02 | SI-EEE | 1 | A | 330 | 10 | 1 | 421 | 253 | 11.891 | 0.71573 | 1.664 | VI
2012-03-02 | SI-EEE | 1 | B | 330 | 10 | 1 | 434 | 261 | 12.2449 | 0.76046 | 1.6628 | VI
2012-03-02 | SI-EEE | 2A-10 | A | 330 | 10 | 1 | 583 | 350 | 16.4917 | 0.94845 | 1.6657
2012-03-02 | SI-EEE | 2B-10 | B | 330 | 10 | 1 | 568 | 339 | 16.2086 | 0.68345 | 1.6755
2012-03-01 | SI-EEE | 2A-25 | A | 330 | 10 | 1 | 318 | 192 | 8.9183 | 0.64891 | 1.6562
2012-03-02 | SI-EEE | 2B-25 | B | 330 | 10 | 1 | 383 | 228 | 10.9709 | 0.39014 | 1.6798
2012-03-02 | 40 | 7 | A | 330 | 10 | 1 | 18.2 | 13.1 | 0.36098 | 0.29178 | 1.3893 | VI
2012-03-01 | 40 | 7 | B | 330 | 10 | 1 | 14.5 | 10.6 | 0.27604 | 0.25215 | 1.3679
2012-03-01 | 40 | 8 | A | 330 | 10 | 1 | 24.9 | 17.6 | 0.51669 | 0.3603 | 1.4148
2012-03-01 | 40 | 8 | B | 330 | 10 | 1 | 30.1 | 21 | 0.6441 | 0.40231 | 1.4333
2012-03-02 | 40 | 10 | A | 330 | 10 | 1 | 35.4 | 24.6 | 0.76442 | 0.46137 | 1.439 | VI
2012-03-02 | 40 | 10 | B | 330 | 10 | 1 | 38.3 | 26.5 | 0.8352 | 0.48527 | 1.4453 | VI
2012-03-02 | 39 | 19 | A | 330 | 10 | 1 | 20.9 | 15.5 | 0.38221 | 0.39014 | 1.3484 | VI
2012-03-01 | 39 | 19 | B | 330 | 10 | 1 | 18.6 | 13.8 | 0.33974 | 0.3479 | 1.3478
2012-03-01 | 39 | 20 | A | 330 | 10 | 1 | 36.7 | 25.4 | 0.79981 | 0.46585 | 1.4449
2012-03-01 | 39 | 20 | B | 330 | 10 | 1 | 38.9 | 26 | 0.91306 | 0.38249 | 1.4962
2012-03-01 | 39 | 22 | A | 330 | 10 | 1 | 28.3 | 19.8 | 0.60163 | 0.38499 | 1.4293
2012-03-02 | 39 | 22 | B | 330 | 10 | 1 | 33.5 | 23.7 | 0.69364 | 0.48731 | 1.4135 | VI
2012-03-02 | 38 | 25 | A | 330 | 10 | 1 | 20 | 15.4 | 0.32559 | 0.44178 | 1.2987 | VI
2012-03-02 | 38 | 25 | B | 330 | 10 | 1 | 20.6 | 15.4 | 0.36806 | 0.39931 | 1.3377 | VI
2012-03-02 | 38 | 26 | A | 330 | 10 | 1 | 18.8 | 14.5 | 0.30435 | 0.41817 | 1.2966 | VI
2012-03-01 | 38 | 26 | B | 330 | 10 | 1 | 42.4 | 29.2 | 0.9343 | 0.52071 | 1.4521
2012-03-02 | 38 | 28 | A | 330 | 10 | 1 | 25.2 | 18.9 | 0.44591 | 0.49586 | 1.3333 | VI
2012-03-01 | 38 | 28 | B | 330 | 10 | 1 | 23.5 | 17.3 | 0.43884 | 0.42321 | 1.3584
2012-03-01 | 37 | 31 | A | 330 | 10 | 1 | 21.3 | 15.5 | 0.41052 | 0.36183 | 1.3742
2012-03-02 | 37 | 31 | B | 330 | 10 | 1 | 21.1 | 15.9 | 0.36806 | 0.42423 | 1.327 | VI
2012-03-02 | 37 | 32 | A | 330 | 10 | 1 | 37.5 | 27 | 0.74319 | 0.6022 | 1.3889 | VI
2012-03-02 | 37 | 32 | B | 330 | 10 | 1 | 33.9 | 24.7 | 0.65118 | 0.5796 | 1.3725 | VI
2012-03-02 | 37 | 34 | A | 330 | 10 | 1 | 30.9 | 22.6 | 0.58747 | 0.53866 | 1.3673 | VI
2012-03-02 | 37 | 34 | B | 330 | 10 | 1 | 35.8 | 25.7 | 0.71488 | 0.56573 | 1.393 | VI
2012-03-02 | 28 | 37 | A | 330 | 10 | 1 | 21.7 | 15.6 | 0.43176 | 0.34558 | 1.391 | VI
2012-03-02 | 28 | 37 | B | 330 | 10 | 1 | 23 | 16.5 | 0.46007 | 0.36211 | 1.3939 | VI
2012-03-02 | 28 | 38 | A | 330 | 10 | 1 | 32.8 | 23.3 | 0.67241 | 0.48861 | 1.4077 | VI
2012-03-02 | 28 | 38 | B | 330 | 10 | 1 | 33.1 | 23.8 | 0.65825 | 0.52768 | 1.3908 | VI
2012-03-02 | 28 | 40 | A | 330 | 10 | 1 | 33.3 | 23.4 | 0.70072 | 0.46528 | 1.4231 | VI
2012-03-02 | 28 | 40 | B | 330 | 10 | 1 | 35.4 | 25.1 | 0.72903 | 0.52168 | 1.4104 | VI
2012-03-01 | 27B | 43 | A | 330 | 10 | 1 | 12.4 | 10 | 0.16987 | 0.32842 | 1.24
2012-03-02 | 27B | 43 | B | 330 | 10 | 1 | 15.6 | 12.3 | 0.23357 | 0.37932 | 1.2683 | VI
2012-03-02 | 27B | 44 | A | 330 | 10 | 1 | 33.4 | 24.1 | 0.65825 | 0.54263 | 1.3859 | VI
2012-03-02 | 27B | 44 | B | 330 | 10 | 1 | 34.3 | 24.8 | 0.67241 | 0.56335 | 1.3831 | VI
2012-03-01 | 27B | 46 | A | 330 | 10 | 1 | 23.6 | 17 | 0.46715 | 0.37995 | 1.3882
2012-03-02 | 27B | 46 | B | 330 | 10 | 1 | 25.1 | 18.1 | 0.49546 | 0.40645 | 1.3867 | VI
2012-03-01 | 27 | 55 | A | 330 | 10 | 1 | 38.5 | 26.8 | 0.82813 | 0.50729 | 1.4366
2012-03-01 | 27 | 55 | B | 330 | 10 | 1 | 36.1 | 25.4 | 0.75735 | 0.50831 | 1.4213
2012-03-02 | 27 | 56 | A | 330 | 10 | 1 | 29.3 | 20.8 | 0.60163 | 0.43482 | 1.4087 | TOP
2012-03-02 | 27 | 56 | A | 330 | 10 | 1 | 44.2 | 31 | 0.9343 | 0.61041 | 1.4258 | BOTTOM
2012-03-02 | 27 | 56 | B | 330 | 10 | 1 | 30.8 | 22.4 | 0.59455 | 0.52162 | 1.375 | VI
2012-03-02 | 27 | 58 | A | 330 | 10 | 1 | 28.6 | 21.3 | 0.51669 | 0.54467 | 1.3427 | VI
2012-03-02 | 27 | 58 | B | 330 | 10 | 1 | 28.5 | 20.9 | 0.53793 | 0.5035 | 1.3636 | VI
2012-03-02 | 26B | 61 | A | 330 | 10 | 1 | 33.7 | 24.3 | 0.66533 | 0.54552 | 1.3868 | VI
2012-03-02 | 26B | 61 | B | 330 | 10 | 1 | 35.1 | 24.8 | 0.72903 | 0.50673 | 1.4153 | VI
2012-03-01 | 26B | 62 | A | 330 | 10 | 1 | 31.3 | 22.3 | 0.63702 | 0.47417 | 1.4036
2012-03-01 | 26B | 62 | B | 330 | 10 | 1 | 31.5 | 22.8 | 0.61579 | 0.52032 | 1.3816
2012-03-02 | 26B | 64 | A | 330 | 10 | 1 | 36.1 | 26.2 | 0.70072 | 0.6048 | 1.3779 | VI
2012-03-01 | 26B | 64 | B | 330 | 10 | 1 | 28.7 | 20.7 | 0.56624 | 0.46522 | 1.3865
2012-03-02 | 26 | 65 | A | 330 | 10 | 1 | 9.73 | 7.72 | 0.14227 | 0.24241 | 1.2604 | VI
2012-03-02 | 26 | 65 | B | 330 | 10 | 1 | 8.36 | 6.63 | 0.12245 | 0.20792 | 1.2609 | VI
2012-03-01 | 26 | 66 | A | 330 | 10 | 1 | 13.1 | 9.48 | 0.25622 | 0.21616 | 1.3819
2012-03-01 | 26 | 66 | B | 330 | 10 | 1 | 13 | 9.6 | 0.24065 | 0.23771 | 1.3542
2012-03-01 | 26 | 67 | A | 330 | 10 | 1 | 25.5 | 18.3 | 0.50962 | 0.40226 | 1.3934
2012-03-02 | 26 | 67 | B | 330 | 10 | 1 | 35.9 | 25 | 0.7715 | 0.47423 | 1.436 | VI
2012-03-01 | 26 | 68 | A | 330 | 10 | 1 | 34.9 | 24.4 | 0.74319 | 0.47264 | 1.4303
2012-03-01 | 26 | 68 | B | 330 | 10 | 1 | 32.8 | 22.7 | 0.71488 | 0.41624 | 1.4449
2012-03-02 | 26 | 69 | A | 330 | 10 | 1 | 39.2 | 27.1 | 0.85644 | 0.49393 | 1.4465 | VI
2012-03-01 | 26 | 69 | B | 330 | 10 | 1 | 36.4 | 25.4 | 0.77858 | 0.48708 | 1.4331
2012-03-02 | 26 | 70 | A | 330 | 10 | 1 | 41.2 | 28.5 | 0.89891 | 0.52122 | 1.4456 | VI
2012-03-02 | 26 | 70 | B | 330 | 10 | 1 | 39.7 | 24.5 | 1.0759 | 0.14496 | 1.6204 | VI
2012-03-01 | 47 | 73 | A | 330 | 10 | 1 | 30.6 | 21.6 | 0.63702 | 0.43929 | 1.4167
2012-03-01 | 47 | 73 | B | 330 | 10 | 1 | 33.3 | 23.7 | 0.67949 | 0.50146 | 1.4051
2012-03-01 | 47 | 74 | A | 330 | 10 | 1 | 40.6 | 28.5 | 0.85644 | 0.56369 | 1.4246
2012-03-02 | 47 | 74 | B | 330 | 10 | 1 | 36.1 | 25.3 | 0.76442 | 0.49625 | 1.4269
2012-03-01 | 47 | 76 | A | 330 | 10 | 1 | 37.5 | 26.1 | 0.80689 | 0.49365 | 1.4368
2012-03-02 | 47 | 76 | B | 330 | 10 | 1 | 42.2 | 29.1 | 0.92722 | 0.52281 | 1.4502
2012-03-01 | 46 | 85 | A | 330 | 10 | 1 | 24.7 | 17.4 | 0.51669 | 0.35033 | 1.4195
2012-03-01 | 46 | 85 | B | 330 | 10 | 1 | 23.3 | 16.5 | 0.4813 | 0.34088 | 1.4121
2012-03-02 | 46 | 86 | A | 330 | 10 | 1 | 27.2 | 19.6 | 0.53793 | 0.43872 | 1.3878
2012-03-02 | 46 | 86 | B | 330 | 10 | 1 | 29.5 | 21.3 | 0.5804 | 0.48096 | 1.385
2012-03-01 | 46 | 88 | A | 330 | 10 | 1 | 30.8 | 21.8 | 0.63702 | 0.44925 | 1.4128
2012-03-01 | 46 | 88 | B | 330 | 10 | 1 | 32.4 | 22.8 | 0.67949 | 0.45662 | 1.4211
2012-03-02 | 45 | 91 | A | 330 | 10 | 1 | 14.6 | 10.9 | 0.26189 | 0.28125 | 1.3394
2012-03-01 | 45 | 91 | B | 330 | 10 | 1 | 15.6 | 11.5 | 0.2902 | 0.28284 | 1.3565
2012-03-02 | 45 | 92 | A | 330 | 10 | 1 | 24.3 | 18 | 0.44591 | 0.45101 | 1.35 | VI
2012-03-02 | 45 | 92 | B | 330 | 10 | 1 | 25.8 | 18.6 | 0.50962 | 0.41721 | 1.3871
2012-03-01 | 45 | 94 | A | 330 | 10 | 1 | 19 | 14.5 | 0.31851 | 0.40401 | 1.3103
2012-03-01 | 45 | 94 | B | 330 | 10 | 1 | 20.7 | 16.2 | 0.31851 | 0.48872 | 1.2778
2012-03-02 | AP | 97 | A | 330 | 10 | 1 | 32.6 | 23.3 | 0.65825 | 0.50276 | 1.3991
2012-03-01 | AP | 97 | B | 330 | 10 | 1 | 26.5 | 19 | 0.53085 | 0.4159 | 1.3947
2012-03-02 | AP | 98 | A | 330 | 10 | 1 | 37.3 | 26.8 | 0.74319 | 0.59223 | 1.3918 | VI
2012-03-02 | AP | 98 | B | 330 | 10 | 1 | 36.7 | 25.3 | 0.80689 | 0.45378 | 1.4506
2012-03-02 | AP | 100 | A | 330 | 10 | 1 | 38.6 | 27.5 | 0.78566 | 0.58464 | 1.4036 | VI
2012-03-02 | AP | 100 | B | 330 | 10 | 1 | 36.3 | 25.9 | 0.73611 | 0.55446 | 1.4015 | VI
2012-03-01 | 43 | 103 | A | 330 | 10 | 1 | 41.4 | 28.7 | 0.89891 | 0.53119 | 1.4425
2012-03-02 | 43 | 103 | B | 330 | 10 | 1 | 43.4 | 30.8 | 0.89183 | 0.64291 | 1.4091 | VI
2012-03-01 | 43 | 104 | A | 330 | 10 | 1 | 39.6 | 27.3 | 0.87059 | 0.48974 | 1.4505
2012-03-02 | 43 | 104 | B | 330 | 10 | 1 | 38.6 | 26.9 | 0.82813 | 0.51228 | 1.4349
2012-03-02 | 43 | 106 | A | 330 | 10 | 1 | 45.6 | 32.5 | 0.92722 | 0.69223 | 1.4031 | VI
2012-03-02 | 43 | 106 | B | 330 | 10 | 1 | 41.1 | 29.3 | 0.8352 | 0.62479 | 1.4027 | VI
2012-03-02 | 42 | 115 | A | 330 | 10 | 1 | 31.3 | 22.7 | 0.60871 | 0.52241 | 1.3789 | VI
2012-03-02 | 42 | 115 | B | 330 | 10 | 1 | 40.2 | 28.6 | 0.82105 | 0.60406 | 1.4056 | VI
2012-03-02 | 42 | 116 | A | 330 | 10 | 1 | 25.3 | 18.4 | 0.48838 | 0.42847 | 1.375 | VI
2012-03-02 | 42 | 116 | B | 330 | 10 | 1 | 38.5 | 27.3 | 0.79274 | 0.5676 | 1.4103 | VI
2012-03-02 | 42 | 118 | A | 330 | 10 | 1 | 38 | 26.7 | 0.79981 | 0.53062 | 1.4232 | VI
2012-03-02 | 42 | 118 | B | 330 | 10 | 1 | 38.3 | 26.8 | 0.81397 | 0.52145 | 1.4291 | VI
2012-03-01 | 41 | 121 | A | 330 | 10 | 1 | 14.1 | 10.5 | 0.25481 | 0.2684 | 1.3429
2012-03-02 | 41 | 121 | B | 330 | 10 | 1 | 15.6 | 11.9 | 0.26189 | 0.33108 | 1.3109 | VI
2012-03-02 | 41 | 122 | A | 330 | 10 | 1 | 20.6 | 16 | 0.32559 | 0.47168 | 1.2875 | VI
2012-03-02 | 41 | 124 | A | 330 | 10 | 1 | 23.1 | 17.6 | 0.38929 | 0.4877 | 1.3125 | VI
2012-03-02 | 41 | 124 | B | 330 | 10 | 1 | 18.6 | 14.5 | 0.2902 | 0.43232 | 1.2828 | VI
2012-03-02 | 24B | 127 | A | 330 | 10 | 1 | 16.3 | 12.6 | 0.26189 | 0.36596 | 1.2937 | VI
2012-03-02 | 24B | 127 | B | 330 | 10 | 1 | 14.2 | 11.3 | 0.20526 | 0.35781 | 1.2566 | VI
2012-03-02 | 24B | 128 | A | 330 | 10 | 1 | 17.8 | 13.8 | 0.28312 | 0.40452 | 1.2899 | VI
2012-03-02 | 24B | 128 | B | 330 | 10 | 1 | 19.1 | 14.6 | 0.31851 | 0.40899 | 1.3082 | VI
2012-03-02 | 24B | 130 | A | 330 | 10 | 1 | 18.2 | 13.8 | 0.31143 | 0.37621 | 1.3188 | VI
2012-03-02 | 24B | 130 | B | 330 | 10 | 1 | 18 | 13.5 | 0.31851 | 0.35418 | 1.3333 | VI
2012-03-02 | 24 | 139 | A | 330 | 10 | 1 | 23.1 | 17.3 | 0.41052 | 0.45152 | 1.3353 | VI
2012-03-02 | 24 | 139 | B | 330 | 10 | 1 | 20.4 | 15 | 0.38221 | 0.36522 | 1.36 | VI
2012-03-02 | 24 | 140 | A | 330 | 10 | 1 | 17.2 | 13.1 | 0.2902 | 0.36256 | 1.313 | VI
2012-03-02 | 24 | 140 | B | 330 | 10 | 1 | 18.7 | 14 | 0.33267 | 0.36494 | 1.3357 | VI
2012-03-02 | 24 | 142 | A | 330 | 10 | 1 | 20.9 | 15.4 | 0.38929 | 0.37808 | 1.3571 | VI
2012-03-02 | 24 | 142 | B | 330 | 10 | 1 | 17 | 13 | 0.28312 | 0.36466 | 1.3077 | VI
2012-03-02 | 25 | 145 | A | 330 | 10 | 1 | 27.7 | 20.5 | 0.50962 | 0.51188 | 1.3512 | VI
2012-03-02 | 25 | 145 | B | 330 | 10 | 1 | 29 | 21.2 | 0.55208 | 0.50429 | 1.3679 | VI
2012-03-02 | 25 | 146 | A | 330 | 10 | 1 | 25 | 18.5 | 0.46007 | 0.46177 | 1.3514 | VI
2012-03-02 | 25 | 146 | B | 330 | 10 | 1 | 28.3 | 20.8 | 0.53085 | 0.5056 | 1.3606 | VI
2012-03-02 | 25 | 148 | A | 330 | 10 | 1 | 25 | 18.6 | 0.45299 | 0.47383 | 1.3441 | VI
2012-03-02 | 25 | 148 | B | 330 | 10 | 1 | 25.2 | 18.6 | 0.46715 | 0.45967 | 1.3548 | VI
2012-03-02 | 2 | 157 | A | 330 | 10 | 1 | 30.4 | 22.5 | 0.55916 | 0.56199 | 1.3511 | VI
2012-03-02 | 2 | 157 | B | 330 | 10 | 1 | 30 | 22.1 | 0.55916 | 0.54206 | 1.3575 | VI
2012-03-02 | 2 | 158 | A | 330 | 10 | 1 | 30.5 | 22 | 0.60163 | 0.49461 | 1.3864 | VI
2012-03-02 | 2 | 158 | B | 330 | 10 | 1 | 29.1 | 21.6 | 0.53085 | 0.54546 | 1.3472 | VI
2012-03-02 | 2 | 160 | A | 330 | 10 | 1 | 35.1 | 25.4 | 0.68657 | 0.57909 | 1.3819 | VI
2012-03-02 | 2 | 160 | B | 330 | 10 | 1 | 36.1 | 25.3 | 0.76442 | 0.49625 | 1.4269 | VI
2012-03-02 | 1 | 163 | A | 330 | 10 | 1 | 24.7 | 18.2 | 0.46007 | 0.44682 | 1.3571 | VI
2012-03-02 | 1 | 163 | B | 330 | 10 | 1 | 26.5 | 19.7 | 0.4813 | 0.50033 | 1.3452 | VI
2012-03-02 | 1 | 164 | A | 330 | 10 | 1 | 32.5 | 23.2 | 0.65825 | 0.49778 | 1.4009 | VI
2012-03-02 | 1 | 164 | B | 330 | 10 | 1 | 30.9 | 22 | 0.62994 | 0.4663 | 1.4045 | VI
2012-03-02 | 1 | 166 | A | 330 | 10 | 1 | 35 | 25.7 | 0.65825 | 0.62235 | 1.3619 | VI
2012-03-02 | 1 | 166 | B | 330 | 10 | 1 | 38.3 | 28.1 | 0.72196 | 0.67824 | 1.363 | VI
2012-03-01 | saanich node | TEST |  | 330 | 10 | 1 | 157 | 99.3 | 4.084 | 0.86403 | 1.5811

## %CV
Notes: | samples highlighted in orange are those where one of the replicates was mixed by inverting vial prior to analysis (bold) and the other was not
In some cases these same samples are the ones with higher %CV, but in other cases they are not, (5 out of 12 sets of samples with CV>15% were from this set)
for the majority of these pairs the replicate in bold that was inverted is slightly higher than the other
there appears to be no difference in replicate variability between samples analyzed on the same day and samples analyzed on different days
DATE | Event | Station | Sample | rep | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | FLAG:CHL | Flag Comments for Archive
2012-03-02 |  | SI-EEE | 1 | A |  | 11.891 | 0.71573 | 12.068 | 2.0736 | 12.068 | 0.73809 | 4.2855 | 36 | variability of reps >15% CV |  | 6 | 20
2012-03-02 |  | SI-EEE | 1 | B |  | 12.2449 | 0.76046 | [8 empty] | 6 | 20
2012-03-02 |  | SI-EEE | 2A-10 | A |  | 16.4917 | 0.94845 | 16.3502 | 1.2244 | 16.3502 | 0.81595 | 22.965 | 6
2012-03-02 |  | SI-EEE | 2B-10 | B |  | 16.2086 | 0.68345
2012-03-01 |  | SI-EEE | 2A-25 | A |  | 8.9183 | 0.64891 | 9.9446 | 14.5951 | 9.9446 | 0.51952 | 35.2205 | 6
2012-03-02 |  | SI-EEE | 2B-25 | B |  | 10.9709 | 0.39014
2012-03-02 |  | 40 | 7 | A | 20 | 0.36098 | 0.29178 | 0.31851 | 18.8562 | 0.31851 | 0.27196 | 10.3055 | 36 | variability of reps >15% CV
2012-03-01 |  | 40 | 7 | B | 20 | 0.27604 | 0.25215
2012-03-01 |  | 40 | 8 | A | 10 | 0.51669 | 0.3603 | 0.5804 | 15.5219 | 0.5804 | 0.38131 | 7.7914 | 36 | variability of reps >15% CV
2012-03-01 |  | 40 | 8 | B | 10 | 0.6441 | 0.40231
2012-03-02 |  | 40 | 10 | A | 5 | 0.76442 | 0.46137 | 0.79981 | 6.2576 | 0.79981 | 0.47332 | 3.5698 | 6
2012-03-02 |  | 40 | 10 | B | 5 | 0.8352 | 0.48527 | [8 empty] | 23 | 0
2012-03-02 |  | 39 | 19 | A | 20 | 0.38221 | 0.39014 | 0.36098 | 8.3189 | 0.36098 | 0.36902 | 8.0942 | 6 |  |  | 35 | 20
2012-03-01 |  | 39 | 19 | B | 20 | 0.33974 | 0.3479 | [8 empty] | 35 | 20
2012-03-01 |  | 39 | 20 | A | 10 | 0.79981 | 0.46585 | 0.85644 | 9.3502 | 0.85644 | 0.42417 | 13.8948 | 6 |  |  | 36 | 10
2012-03-01 |  | 39 | 20 | B | 10 | 0.91306 | 0.38249 | [8 empty] | 36 | 10
2012-03-01 |  | 39 | 22 | A | 5 | 0.60163 | 0.38499 | 0.64764 | 10.0463 | 0.64764 | 0.43615 | 16.5887 | 6 |  |  | 38 | 0
2012-03-02 |  | 39 | 22 | B | 5 | 0.69364 | 0.48731 | [8 empty] | 38 | 0
2012-03-02 |  | 38 | 25 | A | 20 | 0.32559 | 0.44178 | 0.34682 | 8.6585 | 0.34682 | 0.42055 | 7.1406 | 6 |  |  | 49 | 20
2012-03-02 |  | 38 | 25 | B | 20 | 0.36806 | 0.39931 | [8 empty] | 49 | 20
2012-03-02 |  | 38 | 26 | A | 10 | 0.30435 | 0.41817 | 0.61932 | 71.9229 | 0.61932 | 0.46944 | 15.4462 | 36 | variability of reps >15% CV |  | 50 | 10
2012-03-01 |  | 38 | 26 | B | 10 | 0.9343 | 0.52071 | [8 empty] | 50 | 10
2012-03-02 |  | 38 | 28 | A | 5 | 0.44591 | 0.49586 | 0.44237 | 1.1314 | 0.44237 | 0.45953 | 11.1788 | 6 |  |  | 52 | 0
2012-03-01 |  | 38 | 28 | B | 5 | 0.43884 | 0.42321 | [8 empty] | 52 | 0
2012-03-01 |  | 37 | 31 | A | 20 | 0.41052 | 0.36183 | 0.38929 | 7.7139 | 0.38929 | 0.39303 | 11.2265 | 6 |  |  | 53 | 5
2012-03-02 |  | 37 | 31 | B | 20 | 0.36806 | 0.42423 | [8 empty] | 53 | 5
2012-03-02 |  | 37 | 32 | A | 10 | 0.74319 | 0.6022 | 0.69718 | 9.3324 | 0.69718 | 0.5909 | 2.7036 | 6 |  |  | 63 | 20
2012-03-02 |  | 37 | 32 | B | 10 | 0.65118 | 0.5796 | [8 empty] | 63 | 20
2012-03-02 |  | 37 | 34 | A | 5 | 0.58747 | 0.53866 | 0.65118 | 13.8347 | 0.65118 | 0.5522 | 3.4659 | 6 |  |  | 64 | 10
2012-03-02 |  | 37 | 34 | B | 5 | 0.71488 | 0.56573 | [8 empty] | 64 | 10
2012-03-02 |  | 28 | 37 | A | 20 | 0.43176 | 0.34558 | 0.44591 | 4.4896 | 0.44591 | 0.35384 | 3.3041 | 6 |  |  | 65 | 5
2012-03-02 |  | 28 | 37 | B | 20 | 0.46007 | 0.36211 | [8 empty] | 65 | 5
2012-03-02 |  | 28 | 38 | A | 10 | 0.67241 | 0.48861 | 0.66533 | 1.5045 | 0.66533 | 0.50814 | 5.4369 | 6 |  |  | 66 | 0
2012-03-02 |  | 28 | 38 | B | 10 | 0.65825 | 0.52768 | [8 empty] | 66 | 0
2012-03-02 |  | 28 | 40 | A | 5 | 0.70072 | 0.46528 | 0.71488 | 2.8004 | 0.71488 | 0.49348 | 8.0812 | 6 |  |  | 67 | 5
2012-03-02 |  | 28 | 40 | B | 5 | 0.72903 | 0.52168 | [8 empty] | 67 | 5
2012-03-01 |  | 27B | 43 | A | 20 | 0.16987 | 0.32842 | 0.20172 | 22.3297 | 0.20172 | 0.35387 | 10.1718 | 36 | variability of reps >15% CV |  | 76 | 20
2012-03-02 |  | 27B | 43 | B | 20 | 0.23357 | 0.37932 | [8 empty] | 76 | 20
2012-03-02 |  | 27B | 44 | A | 10 | 0.65825 | 0.54263 | 0.66533 | 1.5045 | 0.66533 | 0.55299 | 2.65 | 6 |  |  | 77 | 10
2012-03-02 |  | 27B | 44 | B | 10 | 0.67241 | 0.56335 | [8 empty] | 77 | 10
2012-03-01 |  | 27B | 46 | A | 5 | 0.46715 | 0.37995 | 0.4813 | 4.1595 | 0.4813 | 0.3932 | 4.7656 | 6 |  |  | 79 | 0
2012-03-02 |  | 27B | 46 | B | 5 | 0.49546 | 0.40645 | [8 empty] | 79 | 0
2012-03-01 |  | 27 | 55 | A | 20 | 0.82813 | 0.50729 | 0.79274 | 6.3135 | 0.79274 | 0.5078 | 0.14193 | 6 |  |  | 86 | 20
2012-03-01 |  | 27 | 55 | B | 20 | 0.75735 | 0.50831 | [8 empty] | 86 | 20
2012-03-02 |  | 27 | 56 | A | 10 | 0.60163 | 0.43482 | 0.59809 | 0.83681 | 0.59809 | 0.47822 | 12.8352 | 6 |  | same sample run twice, unmixed, to see if bottom was higher value than top | 87 | 10
2012-03-02 |  | 27 | 56 | A | 10 | 0.9343 | 0.61041 | [7 empty] | bottom value | 87 | 10
2012-03-02 |  | 27 | 56 | B | 10 | 0.59455 | 0.52162 | [8 empty] | 89 | 0
2012-03-02 |  | 27 | 58 | A | 5 | 0.51669 | 0.54467 | 0.52731 | 2.8474 | 0.52731 | 0.52408 | 5.5542 | 6 |  |  | 89 | 0
2012-03-02 |  | 27 | 58 | B | 5 | 0.53793 | 0.5035 | [8 empty] | 96 | 20
2012-03-02 |  | 26B | 61 | A | 20 | 0.66533 | 0.54552 | 0.69718 | 6.4609 | 0.69718 | 0.52612 | 5.213 | 6 |  |  | 96 | 20
2012-03-02 |  | 26B | 61 | B | 20 | 0.72903 | 0.50673 | [8 empty] | 97 | 10
2012-03-01 |  | 26B | 62 | A | 10 | 0.63702 | 0.47417 | 0.6264 | 2.397 | 0.6264 | 0.49724 | 6.5626 | 6 |  |  | 97 | 10
2012-03-01 |  | 26B | 62 | B | 10 | 0.61579 | 0.52032 | [8 empty] | 99 | 0
2012-03-02 |  | 26B | 64 | A | 5 | 0.70072 | 0.6048 | 0.63348 | 15.0112 | 0.63348 | 0.53501 | 18.4476 | 36 | variability of reps >15% CV |  | 99 | 0
2012-03-01 |  | 26B | 64 | B | 5 | 0.56624 | 0.46522 | [8 empty] | 107 | 20
2012-03-02 |  | 26 | 65 | A | 20 | 0.14227 | 0.24241 | 0.13236 | 10.5877 | 0.13236 | 0.22517 | 10.8329 | 6 |  |  | 107 | 20
2012-03-02 |  | 26 | 65 | B | 20 | 0.12245 | 0.20792 | [8 empty] | 108 | 10
2012-03-01 |  | 26 | 66 | A | 10 | 0.25622 | 0.21616 | 0.24844 | 4.432 | 0.24844 | 0.22693 | 6.7152 | 6 |  |  | 108 | 10
2012-03-01 |  | 26 | 66 | B | 10 | 0.24065 | 0.23771 | [8 empty] | 110 | 0
2012-03-01 |  | 26 | 67 | A | 5 | 0.50962 | 0.40226 | 0.64056 | 28.9093 | 0.64056 | 0.43824 | 11.6123 | 36 | variability of reps >15% CV |  | 110 | 0
2012-03-02 |  | 26 | 67 | B | 5 | 0.7715 | 0.47423 | [8 empty] | 120 | 20
2012-03-01 |  | 26 | 68 | A | 20 | 0.74319 | 0.47264 | 0.72903 | 2.746 | 0.72903 | 0.44444 | 8.9728 | 6 |  |  | 120 | 20
2012-03-01 |  | 26 | 68 | B | 20 | 0.71488 | 0.41624 | [8 empty] | 121 | 10
2012-03-02 |  | 26 | 69 | A | 10 | 0.85644 | 0.49393 | 0.81751 | 6.7344 | 0.81751 | 0.49051 | 0.9877 | 6 |  |  | 121 | 10
2012-03-01 |  | 26 | 69 | B | 10 | 0.77858 | 0.48708 | [8 empty] | 123 | 0
2012-03-02 |  | 26 | 70 | A | 5 | 0.89891 | 0.52122 | 0.98738 | 12.6722 | 0.98738 | 0.33309 | 79.8763 | 6 |  |  | 123 | 0
2012-03-02 |  | 26 | 70 | B | 5 | 1.0759 | 0.14496 | [8 empty] | 124 | 5
2012-03-01 |  | 47 | 73 | A | 20 | 0.63702 | 0.43929 | 0.65825 | 4.562 | 0.65825 | 0.47038 | 9.3464 | 6 |  |  | 124 | 5
2012-03-01 |  | 47 | 73 | B | 20 | 0.67949 | 0.50146 | [8 empty] | 125 | 5
2012-03-01 |  | 47 | 74 | A | 10 | 0.85644 | 0.56369 | 0.81043 | 8.0283 | 0.81043 | 0.52997 | 8.998 | 6 |  |  | 125 | 5
2012-03-02 |  | 47 | 74 | B | 10 | 0.76442 | 0.49625 | [8 empty] | 126 | 5
2012-03-01 |  | 47 | 76 | A | 5 | 0.80689 | 0.49365 | 0.86705 | 9.8129 | 0.86705 | 0.50823 | 4.0573 | 6 |  |  | 126 | 5
2012-03-02 |  | 47 | 76 | B | 5 | 0.92722 | 0.52281 | [8 empty] | 135 | 20
2012-03-01 |  | 46 | 85 | A | 20 | 0.51669 | 0.35033 | 0.499 | 5.0149 | 0.499 | 0.3456 | 1.9347 | 6 |  |  | 135 | 20
2012-03-01 |  | 46 | 85 | B | 20 | 0.4813 | 0.34088 | [8 empty] | 136 | 10
2012-03-02 |  | 46 | 86 | A | 10 | 0.53793 | 0.43872 | 0.55916 | 5.3704 | 0.55916 | 0.45984 | 6.4955 | 6 |  |  | 136 | 10
2012-03-02 |  | 46 | 86 | B | 10 | 0.5804 | 0.48096 | [8 empty] | 137 | 5
2012-03-01 |  | 46 | 88 | A | 5 | 0.63702 | 0.44925 | 0.65825 | 4.562 | 0.65825 | 0.45294 | 1.1492 | 6 |  |  | 137 | 5
2012-03-01 |  | 46 | 88 | B | 5 | 0.67949 | 0.45662 | [8 empty] | 138 | 0
2012-03-02 |  | 45 | 91 | A | 20 | 0.26189 | 0.28125 | 0.27604 | 7.2524 | 0.27604 | 0.28204 | 0.39749 | 6 |  |  | 138 | 0
2012-03-01 |  | 45 | 91 | B | 20 | 0.2902 | 0.28284 | [8 empty] | 139 | 5
2012-03-02 |  | 45 | 92 | A | 10 | 0.44591 | 0.45101 | 0.47776 | 9.4281 | 0.47776 | 0.43411 | 5.5063 | 6 |  |  | 139 | 5
2012-03-02 |  | 45 | 92 | B | 10 | 0.50962 | 0.41721 | [8 empty] | 140 | 5
2012-03-01 |  | 45 | 94 | A | 5 | 0.31851 | 0.40401 | 0.31851 | 0 | 0.31851 | 0.44637 | 13.4192 | 6 |  |  | 140 | 5
2012-03-01 |  | 45 | 94 | B | 5 | 0.31851 | 0.48872 | [8 empty] | 153 | 20
2012-03-02 |  | AP | 97 | A | 20 | 0.65825 | 0.50276 | 0.59455 | 15.1523 | 0.59455 | 0.45933 | 13.3716 | 36 | variability of reps >15% CV |  | 153 | 20
2012-03-01 |  | AP | 97 | B | 20 | 0.53085 | 0.4159 | [8 empty] | 154 | 10
2012-03-02 |  | AP | 98 | A | 10 | 0.74319 | 0.59223 | 0.77504 | 5.8118 | 0.77504 | 0.52301 | 18.7179 | 6 |  |  | 154 | 10
2012-03-02 |  | AP | 98 | B | 10 | 0.80689 | 0.45378 | [8 empty] | 155 | 5
2012-03-02 |  | AP | 100 | A | 5 | 0.78566 | 0.58464 | 0.76088 | 4.6044 | 0.76088 | 0.56955 | 3.747 | 6 |  |  | 155 | 5
2012-03-02 |  | AP | 100 | B | 5 | 0.73611 | 0.55446 | [8 empty] | 156 | 0
2012-03-01 |  | 43 | 103 | A | 20 | 0.89891 | 0.53119 | 0.89537 | 0.55898 | 0.89537 | 0.58705 | 13.4567 | 6 |  |  | 156 | 0
2012-03-02 |  | 43 | 103 | B | 20 | 0.89183 | 0.64291 | [8 empty] | 157 | 0
2012-03-01 |  | 43 | 104 | A | 10 | 0.87059 | 0.48974 | 0.84936 | 3.5355 | 0.84936 | 0.50101 | 3.1807 | 6 |  |  | 157 | 0
2012-03-02 |  | 43 | 104 | B | 10 | 0.82813 | 0.51228 | [8 empty] | 158 | 10
2012-03-02 |  | 43 | 106 | A | 5 | 0.92722 | 0.69223 | 0.88121 | 7.3834 | 0.88121 | 0.65851 | 7.2416 | 6 |  |  | 158 | 10
2012-03-02 |  | 43 | 106 | B | 5 | 0.8352 | 0.62479 | [8 empty] | 159 | 2
2012-03-02 |  | 42 | 115 | A | 20 | 0.60871 | 0.52241 | 0.71488 | 21.0032 | 0.71488 | 0.56324 | 10.2508 | 36 | variability of reps >15% CV |  | 159 | 2
2012-03-02 |  | 42 | 115 | B | 20 | 0.82105 | 0.60406 | [8 empty] | 173 | 20
2012-03-02 |  | 42 | 116 | A | 10 | 0.48838 | 0.42847 | 0.64056 | 33.5973 | 0.64056 | 0.49804 | 19.7528 | 36 | variability of reps >15% CV |  | 173 | 20
2012-03-02 |  | 42 | 116 | B | 10 | 0.79274 | 0.5676 | [8 empty] | 174 | 10
2012-03-02 |  | 42 | 118 | A | 5 | 0.79981 | 0.53062 | 0.80689 | 1.2405 | 0.80689 | 0.52604 | 1.2331 | 6 |  |  | 174 | 10
2012-03-02 |  | 42 | 118 | B | 5 | 0.81397 | 0.52145 | [8 empty] | 175 | 5
2012-03-01 |  | 41 | 121 | A | 20 | 0.25481 | 0.2684 | 0.25835 | 1.9373 | 0.25835 | 0.29974 | 14.7873 | 6 |  |  | 175 | 5
2012-03-02 |  | 41 | 121 | B | 20 | 0.26189 | 0.33108 | [8 empty] | 176 | 0
2012-03-02 |  | 41 | 122 | A | 10 | 0.32559 | 0.47168 | 0.32559 |  | 0.32559 | 0.47168 |  |  |  |  | 176 | 0
2012-03-02 |  | 41 | 124 | A | 5 | 0.38929 | 0.4877 | 0.33974 | 20.6239 | 0.33974 | 0.46001 | 8.5124 | 36 | variability of reps >15% CV |  | 190 | 20
2012-03-02 |  | 41 | 124 | B | 5 | 0.2902 | 0.43232 | [8 empty] | 190 | 20
2012-03-02 |  | 24B | 127 | A | 20 | 0.26189 | 0.36596 | 0.23357 | 17.142 | 0.23357 | 0.36188 | 1.5932 | 36 | variability of reps >15% CV |  | 191 | 10
2012-03-02 |  | 24B | 127 | B | 20 | 0.20526 | 0.35781 | [8 empty] | 191 | 10
2012-03-02 |  | 24B | 128 | A | 10 | 0.28312 | 0.40452 | 0.30081 | 8.3189 | 0.30081 | 0.40676 | 0.77764 | 6 |  |  | 192 | 5
2012-03-02 |  | 24B | 128 | B | 10 | 0.31851 | 0.40899 | [8 empty] | 192 | 5
2012-03-02 |  | 24B | 130 | A | 5 | 0.31143 | 0.37621 | 0.31497 | 1.589 | 0.31497 | 0.3652 | 4.2649 | 6 |  |  | 193 | 0
2012-03-02 |  | 24B | 130 | B | 5 | 0.31851 | 0.35418 | [8 empty] | 193 | 0
2012-03-02 |  | 24 | 139 | A | 20 | 0.41052 | 0.45152 | 0.39637 | 5.0508 | 0.39637 | 0.40837 | 14.9422 | 6 |  |  | 207 | 20
2012-03-02 |  | 24 | 139 | B | 20 | 0.38221 | 0.36522 | [8 empty] | 207 | 20
2012-03-02 |  | 24 | 140 | A | 10 | 0.2902 | 0.36256 | 0.31143 | 9.6424 | 0.31143 | 0.36375 | 0.46231 | 6 |  |  | 208 | 10
2012-03-02 |  | 24 | 140 | B | 10 | 0.33267 | 0.36494 | [8 empty] | 208 | 10
2012-03-02 |  | 24 | 142 | A | 5 | 0.38929 | 0.37808 | 0.3362 | 22.3297 | 0.3362 | 0.37137 | 2.5552 | 36 | variability of reps >15% CV |  | 210 | 0
2012-03-02 |  | 24 | 142 | B | 5 | 0.28312 | 0.36466 | [8 empty] | 210 | 0
2012-03-02 |  | 25 | 145 | A | 20 | 0.50962 | 0.51188 | 0.53085 | 5.6569 | 0.53085 | 0.50809 | 1.056 | 6 |  |  | 223 | 20
2012-03-02 |  | 25 | 145 | B | 20 | 0.55208 | 0.50429 | [8 empty] | 223 | 20
2012-03-02 |  | 25 | 146 | A | 10 | 0.46007 | 0.46177 | 0.49546 | 10.1015 | 0.49546 | 0.48368 | 6.4072 | 6 |  |  | 224 | 10
2012-03-02 |  | 25 | 146 | B | 10 | 0.53085 | 0.5056 | [8 empty] | 224 | 10
2012-03-02 |  | 25 | 148 | A | 5 | 0.45299 | 0.47383 | 0.46007 | 2.1757 | 0.46007 | 0.46675 | 2.1446 | 6 |  |  | 226 | 0
2012-03-02 |  | 25 | 148 | B | 5 | 0.46715 | 0.45967 | [8 empty] | 226 | 0
2012-03-02 |  | 2 | 157 | A | 20 | 0.55916 | 0.56199 | 0.55916 | 0 | 0.55916 | 0.55203 | 2.5531 | 6 |  |  | 236 | 20
2012-03-02 |  | 2 | 157 | B | 20 | 0.55916 | 0.54206 | [8 empty] | 236 | 20
2012-03-02 |  | 2 | 158 | A | 10 | 0.60163 | 0.49461 | 0.56624 | 8.8388 | 0.56624 | 0.52003 | 6.914 | 6 |  |  | 237 | 10
2012-03-02 |  | 2 | 158 | B | 10 | 0.53085 | 0.54546 | [8 empty] | 237 | 10
2012-03-02 |  | 2 | 160 | A | 5 | 0.68657 | 0.57909 | 0.72549 | 7.5885 | 0.72549 | 0.53767 | 10.8946 | 6 |  |  | 239 | 0
2012-03-02 |  | 2 | 160 | B | 5 | 0.76442 | 0.49625 | [8 empty] | 239 | 0
2012-03-02 |  | 1 | 163 | A | 20 | 0.46007 | 0.44682 | 0.47069 | 3.19 | 0.47069 | 0.47357 | 7.9897 | 6 |  |  | 248 | 20
2012-03-02 |  | 1 | 163 | B | 20 | 0.4813 | 0.50033 | [8 empty] | 248 | 20
2012-03-02 |  | 1 | 164 | A | 10 | 0.65825 | 0.49778 | 0.6441 | 3.1082 | 0.6441 | 0.48204 | 4.6182 | 6 |  |  | 249 | 10
2012-03-02 |  | 1 | 164 | B | 10 | 0.62994 | 0.4663 | [8 empty] | 249 | 10
2012-03-02 |  | 1 | 166 | A | 5 | 0.65825 | 0.62235 | 0.6901 | 6.5271 | 0.6901 | 0.6503 | 6.077 | 6 |  |  | 251 | 0
2012-03-02 |  | 1 | 166 | B | 5 | 0.72196 | 0.67824 | [8 empty] | 251 | 0
2012-03-01 |  | saanich node | TEST |  |  | 4.084 | 0.86403 | 4.084 |  | 4.084 | 0.86403 |  |  |  |  | 259 | 20
[16 empty] | 259 | 20
[16 empty] | 260 | 10
[16 empty] | 260 | 10
[16 empty] | 262 | 0
[16 empty] | 262 | 0
[16 empty] | 274 | 20
[16 empty] | 274 | 20
[16 empty] | 275 | 10
[16 empty] | 275 | 10
[16 empty] | 277 | 0
[16 empty] | 277 | 0
[16 empty] | 290 | 20
[16 empty] | 290 | 20
[16 empty] | 291 | 10
[16 empty] | 291 | 10
[16 empty] | 293 | 0
[16 empty] | 293 | 0