## Notes
Analysis: Hugh Maclean, 30-APRIL-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Terri Sutherland
2012-05-16 |  | KS
No duplicate samples were collected therefore no precision analysis could be conducted.
No comments as to how the analysis went so I am assuming there were no problems.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-15 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 12 days after collection. For details including a duplicate analysis, see document QF2012-15SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-15 | 1 | NC 1 | 14 | 29.5701
2012-15 | 2 | NC 2 | 16 | 29.7987
2012-15 | 3 | NC 3 | 29 | 29.6972
2012-15 | 4 | NC 4 | 41 | 29.6954
2012-15 | 9 | NC 5 | 53 | 29.7284
2012-15 | 10 | NC 6 | 65 | 29.7473
2012-15 | 11 | NC 7 | 77 | 29.7494
2012-15 | 12 | NC 8 | 89 | 29.6684
2012-15 | 13 | NC 9 | 101 | 29.7194
2012-15 | 19 | NC 10 | 114 | 29.6734
2012-15 | 20 | NC 11 | 127 | 29.7245
2012-15 | 23 | NC 12 | 142 | 29.7444
2012-15 | 24 | NC 13 | 156 | 29.6617
2012-15 | 35 | NC 23 | 167 | 29.52
2012-15 | 36 | NC 24 | 172 | 29.5542
2012-15 | 39 | NC 14 | 178 | 29.5402
2012-15 | 40 | NC 15 | 183 | 29.5801
2012-15 | 41 | NC 16 | 190 | 29.5978
2012-15 | 42 | NC 17 | 198 | 29.6956
2012-15 | 48 | NC 19 | 209 | 29.8244
2012-15 | 50 | NC 20 | 220 | 29.8291
2012-15 | 51 | NC 21 | 230 | 29.6682
2012-15 | 52 | NC 22 | 238 | 29.5611
2012-15 | 57 | NC 25 | 244 | 29.6107
2012-15 | 61 | NC 26 | 252 | 29.6198
2012-15 | 66 | NC 27 | 260 | 29.6664
2012-15 | 67 | NC 28 | 269 | 29.5894
2012-15 | 68 | NC 29 | 275 | 29.5822

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-04#33 | 1 | NC 1 | 14 | 2012-04-30 10:09 | 24C | 0.86024 | 5.4848e-06 | 4.3988e-05 | 0.86028 | 29.5701 | 0.00021052 | #VALUE!
2012-04#34 | 2 | NC 2 | 16 | 2012-04-30 10:11 | 24C | 0.86619 | 5.3319e-06 | 4.3988e-05 | 0.86624 | 29.7987 | 0.00020492 | #VALUE!
2012-04#35 | 3 | NC 3 | 29 | 2012-04-30 10:13 | 24C | 0.86355 | 3.1415e-06 | 4.3929e-05 | 0.86359 | 29.6972 | 0.00011967 | #VALUE!
2012-04#36 | 4 | NC 4 | 41 | 2012-04-30 10:16 | 24C | 0.86351 | 2.89e-06 | 4.4048e-05 | 0.86355 | 29.6954 | 0.0001101 | #VALUE!
2012-04#37 | 9 | NC 5 | 53 | 2012-04-30 10:18 | 24C | 0.86436 | 3.6105e-06 | 4.3988e-05 | 0.86441 | 29.7284 | 0.00013883 | #VALUE!
2012-04#38 | 10 | NC 6 | 65 | 2012-04-30 10:20 | 24C | 0.86486 | 5.0345e-06 | 4.4107e-05 | 0.8649 | 29.7473 | 0.00019296 | #VALUE!
2012-04#39 | 11 | NC 7 | 77 | 2012-04-30 10:22 | 24C | 0.86491 | 1.3712e-06 | 4.3988e-05 | 0.86496 | 29.7494 | 5.2759e-05 | #VALUE!
2012-04#40 | 12 | NC 8 | 89 | 2012-04-30 10:25 | 24C | 0.8628 | 4.1893e-06 | 4.4107e-05 | 0.86285 | 29.6684 | 0.00016164 | #VALUE!
2012-04#41 | 13 | NC 9 | 101 | 2012-04-30 10:27 | 24C | 0.86413 | 2.7425e-06 | 4.3988e-05 | 0.86417 | 29.7194 | 0.000105 | #VALUE!
2012-04#42 | 19 | NC 10 | 114 | 2012-04-30 10:29 | 24C | 0.86293 | 1.1529e-06 | 4.4048e-05 | 0.86297 | 29.6734 | 4.2663e-05 | #VALUE!
2012-04#43 | 20 | NC 11 | 127 | 2012-04-30 10:31 | 24C | 0.86426 | 3.4658e-06 | 4.3988e-05 | 0.86431 | 29.7244 | 0.00013204 | #VALUE!
2012-04#44 | 23 | NC 12 | 142 | 2012-04-30 10:34 | 24C | 0.86478 | 4.3837e-06 | 4.3929e-05 | 0.86482 | 29.7444 | 0.00016908 | #VALUE!
2012-04#45 | 24 | NC 13 | 156 | 2012-04-30 10:36 | 24C | 0.86263 | 3.6104e-06 | 4.4048e-05 | 0.86267 | 29.6617 | 0.00013828 | #VALUE!
2012-04#46 | 35 | NC 23 | 167 | 2012-04-30 10:38 | 24C | 0.85893 | 2.8904e-06 | 4.4048e-05 | 0.85898 | 29.52 | 0.00011239 | #VALUE!
2012-04#47 | 36 | NC 24 | 172 | 2012-04-30 10:41 | 24C | 0.85982 | 2.2394e-06 | 4.3988e-05 | 0.85987 | 29.5541 | 8.5326e-05 | #VALUE!
2012-04#48 | 39 | NC 14 | 178 | 2012-04-30 10:43 | 24C | 0.85946 | 3.2144e-06 | 4.4048e-05 | 0.8595 | 29.5402 | 0.00012347 | #VALUE!
2012-04#49 | 40 | NC 15 | 183 | 2012-04-30 10:45 | 24C | 0.8605 | 3.3592e-06 | 4.3929e-05 | 0.86055 | 29.5801 | 0.00012889 | #VALUE!
2012-04#50 | 41 | NC 16 | 190 | 2012-04-30 10:48 | 24C | 0.86096 | 3.862e-06 | 4.4048e-05 | 0.86101 | 29.5978 | 0.0001485 | #VALUE!
2012-04#51 | 42 | NC 17 | 198 | 2012-04-30 10:50 | 24C | 0.86351 | 3.3599e-06 | 4.3988e-05 | 0.86355 | 29.6956 | 0.00012797 | #VALUE!
2012-04#52 | 48 | NC 19 | 209 | 2012-04-30 10:52 | 24C | 0.86686 | 3.4551e-06 | 4.3988e-05 | 0.86691 | 29.8244 | 0.00013182 | #VALUE!
2012-04#53 | 50 | NC 20 | 220 | 2012-04-30 10:55 | 24C | 0.86699 | 2.4908e-06 | 4.3988e-05 | 0.86703 | 29.8291 | 9.5958e-05 | #VALUE!
2012-04#54 | 51 | NC 21 | 230 | 2012-04-30 10:57 | 24C | 0.8628 | 2.8907e-06 | 4.4048e-05 | 0.86284 | 29.6682 | 0.00011009 | #VALUE!
2012-04#55 | 52 | NC 22 | 238 | 2012-04-30 10:59 | 24C | 0.86 | 3.1414e-06 | 4.4048e-05 | 0.86005 | 29.5611 | 0.00012002 | #VALUE!
2012-04#56 | 57 | NC 25 | 244 | 2012-04-30 11:02 | 24C | 0.8613 | 2.8897e-06 | 4.4048e-05 | 0.86134 | 29.6107 | 0.00011205 | #VALUE!
2012-04#57 | 61 | NC 26 | 252 | 2012-04-30 11:04 | 24C | 0.86153 | 3.3591e-06 | 4.3988e-05 | 0.86158 | 29.6198 | 0.00013004 | #VALUE!
2012-04#58 | 66 | NC 27 | 260 | 2012-04-30 11:07 | 24C | 0.86275 | 4.837e-06 | 4.3988e-05 | 0.86279 | 29.6664 | 0.00018511 | #VALUE!
2012-04#59 | 67 | NC 28 | 269 | 2012-04-30 11:09 | 24C | 0.86074 | 3.2142e-06 | 4.3869e-05 | 0.86079 | 29.5894 | 0.00012332 | #VALUE!
2012-04#60 | 68 | NC 29 | 275 | 2012-04-30 11:11 | 24C | 0.86055 | 3.6104e-06 | 4.3988e-05 | 0.8606 | 29.5822 | 0.00013939 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-04-27 09:25 | 24C | 0.9998 | 2.7425e-06 | 4.3094e-05 | 0.99984
Calibration#2 | K15 | 2012-04-27 09:26 | 24C | 0.9998 | 2.2391e-06 | 4.4107e-05 | 0.99984
2012-04#33 | NC1-14 | 2012-04-30 10:09 | 24C | 0.86024 | 5.4848e-06 | 4.3988e-05 | 0.86028 | 29.5701 | 0.00021052
2012-04#34 | NC 2-16 | 2012-04-30 10:11 | 24C | 0.86619 | 5.3319e-06 | 4.3988e-05 | 0.86624 | 29.7987 | 0.00020492
2012-04#35 | NC 3-29 | 2012-04-30 10:13 | 24C | 0.86355 | 3.1415e-06 | 4.3929e-05 | 0.86359 | 29.6972 | 0.00011967
2012-04#36 | NC 4-41 | 2012-04-30 10:16 | 24C | 0.86351 | 2.89e-06 | 4.4048e-05 | 0.86355 | 29.6954 | 0.0001101
2012-04#37 | NC 5-53 | 2012-04-30 10:18 | 24C | 0.86436 | 3.6105e-06 | 4.3988e-05 | 0.86441 | 29.7284 | 0.00013883
2012-04#38 | NC 6-65 | 2012-04-30 10:20 | 24C | 0.86486 | 5.0345e-06 | 4.4107e-05 | 0.8649 | 29.7473 | 0.00019296
2012-04#39 | NC 7-77 | 2012-04-30 10:22 | 24C | 0.86491 | 1.3712e-06 | 4.3988e-05 | 0.86496 | 29.7494 | 5.2759e-05
2012-04#40 | NC 8-89 | 2012-04-30 10:25 | 24C | 0.8628 | 4.1893e-06 | 4.4107e-05 | 0.86285 | 29.6684 | 0.00016164
2012-04#41 | NC 9-101 | 2012-04-30 10:27 | 24C | 0.86413 | 2.7425e-06 | 4.3988e-05 | 0.86417 | 29.7194 | 0.000105
2012-04#42 | NC 10-114 | 2012-04-30 10:29 | 24C | 0.86293 | 1.1529e-06 | 4.4048e-05 | 0.86297 | 29.6734 | 4.2663e-05
2012-04#43 | NC 11-127 | 2012-04-30 10:31 | 24C | 0.86426 | 3.4658e-06 | 4.3988e-05 | 0.86431 | 29.7244 | 0.00013204
2012-04#44 | NC 12-142 | 2012-04-30 10:34 | 24C | 0.86478 | 4.3837e-06 | 4.3929e-05 | 0.86482 | 29.7444 | 0.00016908
2012-04#45 | NC 13-156 | 2012-04-30 10:36 | 24C | 0.86263 | 3.6104e-06 | 4.4048e-05 | 0.86267 | 29.6617 | 0.00013828
2012-04#46 | NC 23-167 | 2012-04-30 10:38 | 24C | 0.85893 | 2.8904e-06 | 4.4048e-05 | 0.85898 | 29.52 | 0.00011239
2012-04#47 | NC 24-172 | 2012-04-30 10:41 | 24C | 0.85982 | 2.2394e-06 | 4.3988e-05 | 0.85987 | 29.5541 | 8.5326e-05
2012-04#48 | NC 14-178 | 2012-04-30 10:43 | 24C | 0.85946 | 3.2144e-06 | 4.4048e-05 | 0.8595 | 29.5402 | 0.00012347
2012-04#49 | NC 15-183 | 2012-04-30 10:45 | 24C | 0.8605 | 3.3592e-06 | 4.3929e-05 | 0.86055 | 29.5801 | 0.00012889
2012-04#50 | NC 16-190 | 2012-04-30 10:48 | 24C | 0.86096 | 3.862e-06 | 4.4048e-05 | 0.86101 | 29.5978 | 0.0001485
2012-04#51 | NC 17-198 | 2012-04-30 10:50 | 24C | 0.86351 | 3.3599e-06 | 4.3988e-05 | 0.86355 | 29.6956 | 0.00012797
2012-04#52 | NC 19-209 | 2012-04-30 10:52 | 24C | 0.86686 | 3.4551e-06 | 4.3988e-05 | 0.86691 | 29.8244 | 0.00013182
2012-04#53 | NC 20-220 | 2012-04-30 10:55 | 24C | 0.86699 | 2.4908e-06 | 4.3988e-05 | 0.86703 | 29.8291 | 9.5958e-05
2012-04#54 | NC 21-230 | 2012-04-30 10:57 | 24C | 0.8628 | 2.8907e-06 | 4.4048e-05 | 0.86284 | 29.6682 | 0.00011009
2012-04#55 | NC 22-238 | 2012-04-30 10:59 | 24C | 0.86 | 3.1414e-06 | 4.4048e-05 | 0.86005 | 29.5611 | 0.00012002
2012-04#56 | NC 25-244 | 2012-04-30 11:02 | 24C | 0.8613 | 2.8897e-06 | 4.4048e-05 | 0.86134 | 29.6107 | 0.00011205
2012-04#57 | NC 26-252 | 2012-04-30 11:04 | 24C | 0.86153 | 3.3591e-06 | 4.3988e-05 | 0.86158 | 29.6198 | 0.00013004
2012-04#58 | NC 27-260 | 2012-04-30 11:07 | 24C | 0.86275 | 4.837e-06 | 4.3988e-05 | 0.86279 | 29.6664 | 0.00018511
2012-04#59 | NC 28-269 | 2012-04-30 11:09 | 24C | 0.86074 | 3.2142e-06 | 4.3869e-05 | 0.86079 | 29.5894 | 0.00012332
2012-04#60 | NC 29-275 | 2012-04-30 11:11 | 24C | 0.86055 | 3.6104e-06 | 4.3988e-05 | 0.8606 | 29.5822 | 0.00013939