File List for SeaBird Data          Cruise Number: _2012-19____

[osdcommon\cruise_data\2012-19\ARCHIVE]

[osdcommon\cruise_data\2012-19\ARCHIVE\Bottle] *.CHE

[osdcommon\cruise_data\2012-19\ARCHIVE\CTD] *.CTD

[osdcommon\cruise_data\2012-19\ARCHIVE\DOC] most documents from RAW and PROCESSING

[osdcommon\cruise_data\2012-19\ARCHIVE\DOC\HYDRO] COMPARE files

[osdcommon\cruise_data\2012-19\PROCESSING]

[osdcommon\cruise_data\2012-19\PROCESSING\CONVERT]	*.CNV – after conversion

[osdcommon\cruise_data\2012-19\PROCESSING\DERIVE]*.CNV – after convert/wildedit/celltm/derive

[osdcommon\cruise_data\2012-19\PROCESSING\DO test] initial calibration of SBE:DO

*.bot – IOS header files with factory calibration + event #s

*.ros – converted files with factory calibraion

*.sam – bot files with sample #s added

addsamp.csv – original addsamp file for tests

2011-19-DO-cal.csv –S/S data from *.samavg files before adding analysis results

[osdcommon\cruise_data\2012-19\PROCESSING\DOC]

2012-19-recal.ccf – calibration control file with change to pressure

2012-19-recal2.ccf – calibration control file with change to salinity

2012-19-altimeter-ctd.csv – report on header entries for altimetry

2012-19_file.doc - this document

2012-19_proc.doc - processing notes

2012-19-ctd-final.rpt – CHE file header check including channel summary

2012-19-ctd.xmlcon – configuration files used at sea and for DO tests

2012-19-ctd-new.xmlcon – configuration files used in processing after DO calibration

*hdr.txt – header files with comments for CTD files

[osdcommon\cruise_data\2012-19\PROCESSING\DOC\hydro]

2012-19-che-altimeter-bot.csv – report on header entries for altimetry from bottle files

2012-19-nuts.csv – nutrients simplified from analyst’s s/s

2012-19-oxy.csv – nutrients simplified from analyst’s s/s

2012-19-sal.csv – salinity data from Autosal, simplified from analyst’s s/s

2012-19-dox-comp1.csv & .xls – comparison of titrated DO & CTD DO after initial calib.

2012-19-dox-comp2.csv & .xls – comparison of titrated DO & downcast CTD DO

2012-19-sal-comp1.csv & xls –comparison of rosette bottle and CTD salinity

2012-19-sal-comp2.csv & xls –comparison of rosette bottle and CTD salinity after recal

addsamp.csv – spreadsheet relating bottle numbers to sample numbers

2012-19-bottles-final.csv – summary of bottle data in CHE files

2012-19-che-final.rpt – CTD file header check including channel summary

2012-19-do-cal.xls – initial calibration data and plot

*hdr.txt – header files with comments for CHE files

[osdcommon\cruise_data\2012-19\PROCESSING\HYDRO]

*.bot -*.ros files converted to IOS HEADERS + added event numbers

*.che – final bottle-averaged rosette files merged with chemistry data

*.mrg – after addition of oxygen and salinity bottle data to BOT files

*.nut – nutrient files converted from simplified version of analyst’s spreadsheet

*.oxy – bottle from analyst after editing, formats fixed

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity files converted from simplified version of analyst’s spreadsheet

*.sam – bottle files with sample numbers added

[osdcommon\cruise_data\2012-19\PROCESSING\IOS] after conversion to IOS SHELL

*.avg - data after metre-averaging using BINAVE

*.cln - data after conversion to IOS HEADERS and a run of CLEAN

*.ctd - final files

*.del – after DELETE

*.ed1 - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios – data after conversion to IOS SHELL format

*.log* - log files created by CTDEDIT

*.shfph – files after all alignmenet and before DELETE – in case later decide to archive pH

Delete.log - log from routine DELETE

[osdcommon\cruise_data\2012-19\PROCESSING\pH] special files for chief scientist

*.cheph – CHE files with pH channel – not for archive

*.ctdph – CTD files with pH channel – not for archive

_____________________________________________________________________________

[osdcommon\cruise_data\2012-19\RAW]

[osdcommon\cruise_data\2012-19\RAW\Chemistry] data from analysts

[osdcommon\cruise_data\2012-19\RAW\CTD] raw CTD data