## comparison-1119
LOC:EVENT_NUMBER | Pressure | Temperature:Primary | Temperature:Secondary | Salinity:T0:C0 | Salinity:T1:C1 | Oxygen:saturation' | Oxygen:Voltage:SBE | Bottle:Position | Bottle_Number | Sample_Number | Phi | DObot/Phi | Oxygen:Dissolved | Flag:Oxygen:Dissolved | diff from fit | 1st fit m | 1st fit b | Titrated DO | Titrated DO Flag | Sample # | Diff in samp #
7 | 49.885 | 7.5323 | 7.5335 | 29.3101 | 29.3113 | 6.9228 | 2.5452 | 13 | 13 | 57 | 6.9092 | 0.91558 | 6.3259 |  | 7.6405e-06 | 0.4363 | -0.1949 |  |  |  | Summary of Soc Voffset including the original values in the factory calibration
5 | 100.29 | 7.8995 | 7.9003 | 30.2015 | 30.2032 | 6.8251 | 2.0252 | 9 | 9 | 9 | 6.8539 | 0.68885 | 4.7213 |  | 0.00014534 | [7 empty] | m | b | Soc | Voffset | R2
5 | 24.638 | 7.6349 | 7.6353 | 29.4568 | 29.4584 | 6.8999 | 2.3306 | 15 | 15 | 15 | 6.8636 | 0.82162 | 5.6392 |  | 0.00031613 | [5 empty] | Bottles used | Original | 0.4278 | -0.21856 | 0.4278 | -0.5109
5 | 310.965 | 8.5438 | 8.5445 | 30.8217 | 30.8233 | 6.6992 | 1.5263 | 2 | 2 | 2 | 6.9079 | 0.47159 | 3.2577 |  | 0.00056357 | [5 empty] | 36 | all data | 0.4375 | -0.1971 | 0.4375 | -0.45051 | 0.9993
7 | 10.291 | 7.4356 | 7.4375 | 29.158 | 29.1592 | 6.9452 | 2.6264 | 19 | 19 | 63 | 6.8969 | 0.9519 | 6.5651 |  | 0.00088417 | [5 empty] | 26 | all except 3 or 4 flags | 0.4384 | -0.1986 | 0.4384 | -0.45301 | 0.9988
5 | 49.6 | 7.8262 | 7.8285 | 29.909 | 29.9111 | 6.8495 | 2.1146 | 14 | 14 | 14 | 6.8343 | 0.72667 | 4.9663 |  | 0.0010227 | [5 empty] | 22 | excl. outliers diff>0.01 | 0.4363 | -0.1949 | 0.4363 | -0.44671 | 0.9996
7 | 249.872 | 8.4976 | 8.4983 | 30.5315 | 30.533 | 6.7188 | 1.6871 | 3 | 3 | 47 | 6.8744 | 0.54224 | 3.7276 |  | 0.0010692 | [5 empty] | 20 | excl. outliers diff>0.005 | 0.4357 | -0.1929 | 0.4357 | -0.44274 | 0.9998
7 | 15.03 | 7.4267 | 7.4275 | 29.1626 | 29.1638 | 6.9464 | 2.6299 | 17 | 17 | 61 | 6.9023 | 0.95369 | 6.5827 |  | 0.001158
5 | 49.765 | 7.8236 | 7.8262 | 29.908 | 29.9101 | 6.85 | 2.1151 | 13 | 13 | 13 | 6.8349 | 0.72918 | 4.9839 |  | 0.0012432 | [5 empty] | result of 2012-04
5 | 15.03 | 7.5737 | 7.5746 | 29.1936 | 29.196 | 6.9215 | 2.4312 | 17 | 17 | 17 | 6.8769 | 0.8672 | 5.9637 |  | 0.001371 | [5 empty] | 169 | excl. outliers diff>0.007 | 0.4442 | -0.2142 | 0.4442 | -0.48222 | 0.9998
7 | 25.039 | 7.4473 | 7.4444 | 29.2204 | 29.2173 | 6.9405 | 2.6294 | 15 | 15 | 59 | 6.9052 | 0.95085 | 6.5658 |  | 0.0014445
5 | 250.134 | 8.3228 | 8.3232 | 30.7188 | 30.7204 | 6.7371 | 1.6952 | 4 | 4 | 4 | 6.8944 | 0.54727 | 3.7731 |  | 0.0025388
7 | 100.19 | 8.1865 | 8.1923 | 30.0671 | 30.0713 | 6.7866 | 1.9408 | 9 | 9 | 53 | 6.8138 | 0.64868 | 4.42 |  | 0.0032082
7 | 149.673 | 8.3672 | 8.3676 | 30.3438 | 30.3454 | 6.7468 | 1.7801 | 7 | 7 | 51 | 6.8159 | 0.57836 | 3.942 |  | 0.0033938
5 | 99.967 | 7.8988 | 7.8994 | 30.201 | 30.2024 | 6.8252 | 2.0254 | 10 | 10 | 10 | 6.8537 | 0.69222 | 4.7443 |  | 0.003447
5 | 4.787 | 7.492 | 7.4926 | 26.2183 | 26.2171 | 7.0709 | 3.1253 | 21 | 21 | 21 | 7.0165 | 1.1651 | 8.1748 |  | 0.0035579
7 | 4.816 | 7.4808 | 7.4852 | 29.1572 | 29.1565 | 6.938 | 2.5969 | 21 | 21 | 65 | 6.8847 | 0.94178 | 6.4838 |  | 0.0036558
5 | 15.228 | 7.5747 | 7.5754 | 29.1984 | 29.1993 | 6.9212 | 2.4279 | 18 | 18 | 18 | 6.8767 | 0.86894 | 5.9754 |  | 0.0045568
5 | 74.634 | 7.9332 | 7.9342 | 30.0518 | 30.0524 | 6.8265 | 2.046 | 11 | 11 | 11 | 6.8327 | 0.70242 | 4.7994 |  | 0.0046525
5 | 250.099 | 8.3228 | 8.3227 | 30.7189 | 30.7205 | 6.7371 | 1.6944 | 3 | 3 | 3 | 6.8943 | 0.54921 | 3.7864 |  | 0.0048355
5 | 199.895 | 7.8785 | 7.8782 | 30.5605 | 30.5618 | 6.8124 | 1.9493 | 6 | 6 | 6 | 6.9291 | 0.64805 | 4.4904 |  | 0.0075514
5 | 199.944 | 7.8732 | 7.8754 | 30.5598 | 30.5615 | 6.8132 | 1.9495 | 5 | 5 | 5 | 6.93 | 0.64685 | 4.4826 |  | 0.0088296
5 | 149.517 | 7.889 | 7.902 | 30.4282 | 30.4304 | 6.8166 | 1.9886 | 8 | 8 | 8 | 6.8887 | 0.68488 | 4.7179 |  | 0.01216
5 | 9.774 | 7.478 | 7.4791 | 28.011 | 28.0192 | 6.9907 | 2.7721 | 20 | 20 | 20 | 6.9414 | 1.027 | 7.1291 |  | 0.012473
7 | 75.088 | 7.5898 | 7.589 | 29.3747 | 29.3744 | 6.9108 | 2.4609 | 11 | 11 | 55 | 6.9192 | 0.86487 | 5.9842 |  | 0.013911
5 | 9.577 | 7.4771 | 7.4778 | 27.9869 | 27.9901 | 6.9919 | 2.7691 | 19 | 19 | 19 | 6.9425 | 1.0286 | 7.1407 |  | 0.015296
7 | 199.951 | 8.4823 | 8.4827 | 30.4836 | 30.485 | 6.7232 | 1.7119 | 5 | 5 | 49 | 6.8353 | 0.54816 | 3.7468 | 4 | 0.0038462
5 | 310.619 | 8.544 | 8.5446 | 30.8218 | 30.8233 | 6.6991 | 1.5272 | 1 | 1 | 1 | 6.9075 | 0.46985 | 3.2455 | 36 | 0.0015449
5 | 149.187 | 7.8686 | 7.8904 | 30.4269 | 30.4304 | 6.8198 | 1.9943 | 7 | 7 | 7 | 6.8918 | 0.66994 | 4.6171 | 36 | 0.0052858
7 | 328.913 | 8.6537 | 8.6539 | 30.6413 | 30.6428 | 6.6905 | 1.5745 | 1 | 1 | 45 | 6.9141 | 0.49198 | 3.4016 | 36 | 8.2876e-05
5 | 75.071 | 7.934 | 7.9349 | 30.0506 | 30.0515 | 6.8264 | 2.0461 | 12 | 12 | 12 | 6.833 | 0.69721 | 4.764 | 3 | 0.00061222
5 | 24.624 | 7.6342 | 7.6349 | 29.4571 | 29.4583 | 6.9 | 2.3303 | 16 | 16 | 16 | 6.8636 | 0.82317 | 5.6499 | 3 | 0.0013477
5 | 4.835 | 7.4919 | 7.4926 | 26.2149 | 26.2149 | 7.0711 | 3.1255 | 22 | 22 | 22 | 7.0167 | 1.1653 | 8.1767 | 4 | 0.0034132
7 | 0.797 | 7.4891 | 7.4928 | 29.1248 | 29.1306 | 6.9381 | 2.5872 | 23 | 23 | 67 | 6.8812 | 0.93572 | 6.4389 | 36 | 0.0018268
5 | 1.23 | 7.4974 | 7.4988 | 26.2264 | 26.2284 | 7.0696 | 3.1301 | 23 | 23 | 23 | 7.012 | 1.1688 | 8.1956 | 3 | 0.00197
5 | 1.091 | 7.4971 | 7.4976 | 26.2255 | 26.2254 | 7.0697 | 3.1312 | 24 | 24 | 24 | 7.012 | 1.1716 | 8.2151 | 36 | 0.00032712

## CTD rosette data
LOC:EVENT_NUMBER | Pressure | Temperature:Primary | Temperature:Secondary | Salinity:T0:C0 | Salinity:T1:C1 | Oxygen:saturation' | Oxygen:Voltage:SBE | Bottle:Position | Bottle_Number | Sample_Number | Oxygen:Voltage:SBE:STD | Sample_Number
5 | 310.619 | 8.544 | 8.5446 | 30.8218 | 30.8233 | 6.6991 | 1.5272 | 1 | 1 | 1 | 0.00045772 | 1 | 0
5 | 310.965 | 8.5438 | 8.5445 | 30.8217 | 30.8233 | 6.6992 | 1.5263 | 2 | 2 | 2 | 0.0008023 | 2 | 0
5 | 250.099 | 8.3228 | 8.3227 | 30.7189 | 30.7205 | 6.7371 | 1.6944 | 3 | 3 | 3 | 0.00056552 | 3 | 0
5 | 250.134 | 8.3228 | 8.3232 | 30.7188 | 30.7204 | 6.7371 | 1.6952 | 4 | 4 | 4 | 0.00057895 | 4 | 0
5 | 199.944 | 7.8732 | 7.8754 | 30.5598 | 30.5615 | 6.8132 | 1.9495 | 5 | 5 | 5 | 0.00058017 | 5 | 0
5 | 199.895 | 7.8785 | 7.8782 | 30.5605 | 30.5618 | 6.8124 | 1.9493 | 6 | 6 | 6 | 0.00091363 | 6 | 0
5 | 149.187 | 7.8686 | 7.8904 | 30.4269 | 30.4304 | 6.8198 | 1.9943 | 7 | 7 | 7 | 0.0010198 | 7 | 0
5 | 149.517 | 7.889 | 7.902 | 30.4282 | 30.4304 | 6.8166 | 1.9886 | 8 | 8 | 8 | 0.0053177 | 8 | 0
5 | 100.29 | 7.8995 | 7.9003 | 30.2015 | 30.2032 | 6.8251 | 2.0252 | 9 | 9 | 9 | 0.00041809 | 9 | 0
5 | 99.967 | 7.8988 | 7.8994 | 30.201 | 30.2024 | 6.8252 | 2.0254 | 10 | 10 | 10 | 0.00071506 | 10 | 0
5 | 74.634 | 7.9332 | 7.9342 | 30.0518 | 30.0524 | 6.8265 | 2.046 | 11 | 11 | 11 | 0.00049542 | 11 | 0
5 | 75.071 | 7.934 | 7.9349 | 30.0506 | 30.0515 | 6.8264 | 2.0461 | 12 | 12 | 12 | 0.00052363 | 12 | 0
5 | 49.765 | 7.8236 | 7.8262 | 29.908 | 29.9101 | 6.85 | 2.1151 | 13 | 13 | 13 | 0.00062455 | 13 | 0
5 | 49.6 | 7.8262 | 7.8285 | 29.909 | 29.9111 | 6.8495 | 2.1146 | 14 | 14 | 14 | 0.00087983 | 14 | 0
5 | 24.638 | 7.6349 | 7.6353 | 29.4568 | 29.4584 | 6.8999 | 2.3306 | 15 | 15 | 15 | 0.00074155 | 15 | 0
5 | 24.624 | 7.6342 | 7.6349 | 29.4571 | 29.4583 | 6.9 | 2.3303 | 16 | 16 | 16 | 0.00049369 | 16 | 0
5 | 15.03 | 7.5737 | 7.5746 | 29.1936 | 29.196 | 6.9215 | 2.4312 | 17 | 17 | 17 | 0.00075454 | 17 | 0
5 | 15.228 | 7.5747 | 7.5754 | 29.1984 | 29.1993 | 6.9212 | 2.4279 | 18 | 18 | 18 | 0.0020852 | 18 | 0
5 | 9.577 | 7.4771 | 7.4778 | 27.9869 | 27.9901 | 6.9919 | 2.7691 | 19 | 19 | 19 | 0.00132 | 19 | 0
5 | 9.774 | 7.478 | 7.4791 | 28.011 | 28.0192 | 6.9907 | 2.7721 | 20 | 20 | 20 | 0.0021019 | 20 | 0
5 | 4.787 | 7.492 | 7.4926 | 26.2183 | 26.2171 | 7.0709 | 3.1253 | 21 | 21 | 21 | 0.0010359 | 21 | 0
5 | 4.835 | 7.4919 | 7.4926 | 26.2149 | 26.2149 | 7.0711 | 3.1255 | 22 | 22 | 22 | 0.0010719 | 22 | 0
5 | 1.23 | 7.4974 | 7.4988 | 26.2264 | 26.2284 | 7.0696 | 3.1301 | 23 | 23 | 23 | 0.00068832 | 23 | 0
5 | 1.091 | 7.4971 | 7.4976 | 26.2255 | 26.2254 | 7.0697 | 3.1312 | 24 | 24 | 24 | 0.00072567 | 24 | 0
7 | 328.913 | 8.6537 | 8.6539 | 30.6413 | 30.6428 | 6.6905 | 1.5745 | 1 | 1 | 45 | 0.00049694 | 25 | 20
7 | 249.872 | 8.4976 | 8.4983 | 30.5315 | 30.533 | 6.7188 | 1.6871 | 3 | 3 | 47 | 0.0005406 | 27 | 20
7 | 199.951 | 8.4823 | 8.4827 | 30.4836 | 30.485 | 6.7232 | 1.7119 | 5 | 5 | 49 | 0.00040855 | 29 | 20
7 | 149.673 | 8.3672 | 8.3676 | 30.3438 | 30.3454 | 6.7468 | 1.7801 | 7 | 7 | 51 | 0.00064497 | 31 | 20
7 | 100.19 | 8.1865 | 8.1923 | 30.0671 | 30.0713 | 6.7866 | 1.9408 | 9 | 9 | 53 | 0.00543 | 33 | 20
7 | 75.088 | 7.5898 | 7.589 | 29.3747 | 29.3744 | 6.9108 | 2.4609 | 11 | 11 | 55 | 0.00070324 | 35 | 20
7 | 49.885 | 7.5323 | 7.5335 | 29.3101 | 29.3113 | 6.9228 | 2.5452 | 13 | 13 | 57 | 0.00049255 | 37 | 20
7 | 25.039 | 7.4473 | 7.4444 | 29.2204 | 29.2173 | 6.9405 | 2.6294 | 15 | 15 | 59 | 0.00056462 | 39 | 20
7 | 15.03 | 7.4267 | 7.4275 | 29.1626 | 29.1638 | 6.9464 | 2.6299 | 17 | 17 | 61 | 0.00056034 | 41 | 20
7 | 10.291 | 7.4356 | 7.4375 | 29.158 | 29.1592 | 6.9452 | 2.6264 | 19 | 19 | 63 | 0.00064648 | 43 | 20
7 | 4.816 | 7.4808 | 7.4852 | 29.1572 | 29.1565 | 6.938 | 2.5969 | 21 | 21 | 65 | 0.00065757 | 45 | 20
7 | 0.797 | 7.4891 | 7.4928 | 29.1248 | 29.1306 | 6.9381 | 2.5872 | 23 | 23 | 67 | 0.00060405 | 47 | 20

## bottle data
Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
5 | SOGS | 1 | 3.2455 | 36 | 8.3 | OXY: DO1 Small bubble. Systematic error likely as a result of sampling technique
5 | SOGS | 2 | 3.2577 |  | 8.3
5 | SOGS | 3 | 3.7864 |  | 8.1
5 | SOGS | 4 | 3.7731 |  | 8.1
5 | SOGS | 5 | 4.4826 |  | 7.9
5 | SOGS | 6 | 4.4904 |  | 7.9
5 | SOGS | 7 | 4.6171 | 36 | 7.9 | OXY: Systematic error likely as a result of sampling technique
5 | SOGS | 8 | 4.7179 |  | 7.9
5 | SOGS | 9 | 4.7213 |  | 7.9
5 | SOGS | 10 | 4.7443 |  | 7.9
5 | SOGS | 11 | 4.7994 |  | 8
5 | SOGS | 12 | 4.764 | 3 | 7.9 | OXY: Bubble under stopper
5 | SOGS | 13 | 4.9839 |  | 7.9
5 | SOGS | 14 | 4.9663
5 | SOGS | 15 | 5.6392 |  | 8.3
5 | SOGS | 16 | 5.6499 | 3 | 8.1 | OXY: Bubble under stopper
5 | SOGS | 17 | 5.9637 |  | 7.8
5 | SOGS | 18 | 5.9754 |  | 7.9
5 | SOGS | 19 | 7.1407 |  | 7.9
5 | SOGS | 20 | 7.1291 |  | 7.8
5 | SOGS | 21 | 8.1748 |  | 7.7
5 | SOGS | 22 | 8.1767 | 4 | 7.8 | OXY: Bubble under stopper. Messy titration. Endpoint ambiguous.
5 | SOGS | 23 | 8.1956 | 3 | 7.9 | OXY: Bubble under stopper
5 | SOGS | 24 | 8.2151 | 36 | 7.9 | OXY: Systematic error likely as a result of sampling technique
7 | SOGN | 45 | 3.4016 | 36 | 8.3 | OXY: Systematic error likely as a result of sampling technique
7 | SOGN | 47 | 3.7276 |  | 8.1
7 | SOGN | 49 | 3.7468 | 4 | 8 | OXY: Titration ended abruptly. No definitive endpoint.
7 | SOGN | 51 | 3.942 |  | 7.9 | OXY: Duplicate value not used
7 | SOGN | 53 | 4.42 |  | 7.7
7 | SOGN | 55 | 5.9842 |  | 7.4
7 | SOGN | 57 | 6.3259 |  | 7.3
7 | SOGN | 59 | 6.5658 |  | 7.4
7 | SOGN | 61 | 6.5827 |  | 7.3
7 | SOGN | 63 | 6.5651 |  | 7.3
7 | SOGN | 65 | 6.4838 |  | 7.3
7 | SOGN | 67 | 6.4389 | 36 | 7.3 | OXY: Systematic error likely as a result of sampling technique

## template
LOC:EVENT_NUMBER | Pressure | Temperature:Primary | Temperature:Secondary | Salinity:T0:C0 | Salinity:T1:C1 | Oxygen:saturation' | Oxygen:Voltage:SBE | Bottle:Position | Bottle_Number | Sample_Number | Phi | DObot/Phi | Oxygen:Dissolved | Flag:Oxygen:Dissolved | diff from fit | 1st fit m | 1st fit b | Titrated DO | Titrated DO Flag | Sample # | Diff in samp #
24 | 75.865 | 7.7505 | 6.231 | 33.9906 | 33.9893 | 6.9179 | 1.0309 | 6 | 6 | 88 | 6.9559 | 0.24411 | 1.698 |  | 0.00023143 | 0.465 | -0.2355 |  |  |  | -88 | Summary of Soc Voffset including the original values in the factory calibration
[23 empty] | m | b | Soc | Voffset
|  |  | This is a bit finicky, so useful to save at different stages in case a CUT/PASTE or SORT step goes badly | [18 empty] | Original
|  |  | This is a template with formulae for Phi, DO bot/Phi, Diff from fit, Soc, Voffset | [18 empty] | all data |  |  | 0 | #DIV/0!
|  |  | Substitute appropriate values for A, B, C in the Phi (col.L) formula, then save this sheet with new filename | [18 empty] | all data - outliers |  |  | 0 | #DIV/0!
Cut and paste values from the CTD bottle spreadsheet, then add DO, DO Flag and Sample #s from oxygen titration spreadsheet
Use "Diff in samp #" to realign data so sample #s match and get rid of cases where there is no sample, or no bottle data to match - then get rid of extra sample # and copy DO and flag data to columns N & O
Do a fit of column M to column H
When the first fit is done with all values, fill in the m and b values in columns Q and R - same value for every row (could base Q/R on a fit after worst outliers removed)
Then you can order on the P column to remove outliers
Plots of difference versus event # or pressure or sample # can establish if there is time-dependence or pressure dependence and identify major outliers