## Notes
Analysis: | Kenny Scozzafava, SOG onboard CCGS Vector, 05-APRIL-12 to 09-APRIL-12 using IOS Kit #2. Data processing by Kenny Scozzafava
Chief Scientist: | Cindy Wright
2012-04-10 |  | KS
Dissolved oxygen samples were drawn onboard CCGS Vector during the period of of 01-APRIL-12 to 04-APRIL-14 and left onboard for analysis during the subsequent
oceanographic expedition. Samples were stored adequately for up to three days before analysis but the water seal on the majority of samples were nearly evaporated by the time
I was onboard.
A program used to plot the titration regresssion lines was used for the determination of endpoints in order to improve accuracy. Comparison of AutoOxy/Analyst chosen endpoints
vs. the regression line chosen endpoints can be found on the Oxy Data Processing worksheet. The majority of sample endpoints were appropriate with only slight
differences using the regression lines.
Quite a few samples had small air bubbles within them and are noted.
2012-04-17 |  | KS
Discovered quite a positive skew in the mean of the differences between replicates. Chauvenet's criteria assumes a normal
distribution (difficult with such a small sample size) which this set of replicates does not have. The criteria was not used
The majority of the duplicates are quite far apart (mean difference is ~0.04 mL/L), with a relatively strong positive bias in that the second DO value, in all cases, is higher than the first
As a result, all replicates aside from sample 51 were flagged as suspect but still reported as averages.
Precision is not very good at a pooled standard deviation of 0.023
Data was reported to the second decimal place as opposed to the third. A precision of 0.04 mL/L dictates that we can not trust the third decimal place in this dataset.
#49 - I overlooked the opportunity to overtitrate the sample until after it was dumped. The value is not trusted
#51 - Reported as a unique value. The first sample titration was incomplete. I overlooked the opportunity to overtitrate the sample. Did not include #51 duplicates
in the precision analysis due to this problem

## QF 2012-19 OXY FINAL
HEADER: | Oxygen samples were analyzed at sea using an automated Winkler titration system
(Brinkmann Dosimat model 765 and a PC 950 Colorimeter controlled by AutoOxy software V3.4)
with modifications based on Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a duplicate analysis, see document QF2012-19OXY.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2012-19 | 5 | SOGS | 1 | 3.2455 | 36 | 8.3 | OXY: DO1 Small bubble. Systematic error likely as a result of sampling technique
2012-19 | 5 | SOGS | 2 | 3.2577 |  | 8.3
2012-19 | 5 | SOGS | 3 | 3.7864 |  | 8.1
2012-19 | 5 | SOGS | 4 | 3.7731 |  | 8.1
2012-19 | 5 | SOGS | 5 | 4.4826 |  | 7.9
2012-19 | 5 | SOGS | 6 | 4.4904 |  | 7.9
2012-19 | 5 | SOGS | 7 | 4.6171 | 36 | 7.9 | OXY: Systematic error likely as a result of sampling technique
2012-19 | 5 | SOGS | 8 | 4.7179 |  | 7.9
2012-19 | 5 | SOGS | 9 | 4.7213 |  | 7.9
2012-19 | 5 | SOGS | 10 | 4.7443 |  | 7.9
2012-19 | 5 | SOGS | 11 | 4.7994 |  | 8
2012-19 | 5 | SOGS | 12 | 4.764 | 3 | 7.9 | OXY: Bubble under stopper
2012-19 | 5 | SOGS | 13 | 4.9839 |  | 7.9
2012-19 | 5 | SOGS | 14 | 4.9663
2012-19 | 5 | SOGS | 15 | 5.6392 |  | 8.3
2012-19 | 5 | SOGS | 16 | 5.6499 | 3 | 8.1 | OXY: Bubble under stopper
2012-19 | 5 | SOGS | 17 | 5.9637 |  | 7.8
2012-19 | 5 | SOGS | 18 | 5.9754 |  | 7.9
2012-19 | 5 | SOGS | 19 | 7.1407 |  | 7.9
2012-19 | 5 | SOGS | 20 | 7.1291 |  | 7.8
2012-19 | 5 | SOGS | 21 | 8.1748 |  | 7.7
2012-19 | 5 | SOGS | 22 | 8.1767 | 4 | 7.8 | OXY: Bubble under stopper. Messy titration. Endpoint ambiguous.
2012-19 | 5 | SOGS | 23 | 8.1956 | 3 | 7.9 | OXY: Bubble under stopper
2012-19 | 5 | SOGS | 24 | 8.2151 | 36 | 7.9 | OXY: Systematic error likely as a result of sampling technique
2012-19 | 7 | SOGN | 45 | 3.4016 | 36 | 8.3 | OXY: Systematic error likely as a result of sampling technique
2012-19 | 7 | SOGN | 47 | 3.7276 |  | 8.1
2012-19 | 7 | SOGN | 49 | 3.7468 | 4 | 8 | OXY: Titration ended abruptly. No definitive endpoint.
2012-19 | 7 | SOGN | 51 | 3.942 |  | 7.9 | OXY: Duplicate value not used
2012-19 | 7 | SOGN | 53 | 4.42 |  | 7.7
2012-19 | 7 | SOGN | 55 | 5.9842 |  | 7.4
2012-19 | 7 | SOGN | 57 | 6.3259 |  | 7.3
2012-19 | 7 | SOGN | 59 | 6.5658 |  | 7.4
2012-19 | 7 | SOGN | 61 | 6.5827 |  | 7.3
2012-19 | 7 | SOGN | 63 | 6.5651 |  | 7.3
2012-19 | 7 | SOGN | 65 | 6.4838 |  | 7.3
2012-19 | 7 | SOGN | 67 | 6.4389 | 36 | 7.3 | OXY: Systematic error likely as a result of sampling technique

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Sp for Dissolved Oxygen for the range 3.222 to 8.234 mL/L was 0.023, k = 5 with 0 outlier(s) removed
Precision Statement for Samples Drawn From Duplicate Niskin Bottles:
Sp for Dissolved Oxygen for the range 3.245 to 8.215 mL/L was 0.012, k = 12 with 1 outlier(s) removed
Precision Calculation for Duplicate Samples:
Precision was determined by analyzing replicate samples drawn from one Niskin
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
Determination of Outliers
Outliers are discarded on the basis of Chauevenet's criteria. The statistic is calculated by the difference between the outlier and the mean, divided by the stdev.
If this absolute value is greater than the critical value of the Chauevenet criterion for the given n, the datapoint can be discarded
In this case, the statistic was not used since the data is positively skewed and the sample size is small.
Duplicate Analysis for Samples Drawn From a Single Niskin Bottle:
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Draw T1 | Draw T2 | Draw TAvg | Diff | Diff2 |  | Reject? | DO1 Comment | DO2 Comment
5 | SOGS | 1 | 312 | 3.2224 | 3.2686 | 3.2455 | 8.3 | 8.3 | 8.3 | 0.046206 | 0.002135 |  |  | OXY: small bubble
5 | SOGS | 7 | 150 | 4.5968 | 4.6374 | 4.6171 | 7.9 | 7.9 | 7.9 | 0.040606 | 0.0016488
5 | SOGS | 24 | 0 | 8.1962 | 8.234 | 8.2151 | 7.9 | 7.9 | 7.9 | 0.037845 | 0.0014322
7 | SOGN | 45 | 329 | 3.3965 | 3.4068 | 3.4016 | 8.3 | 8.3 | 8.3 | 0.010217 | 0.00010439 |  |  | Stepped curve. Endpoint was late. Corrected
7 | SOGN | 67 | 0 | 6.4366 | 6.4411 | 6.4389 | 7.3 | 7.3 | 7.3 | 0.0044833 | 2.01e-05 |  |  |  | Endpoint may be late. Regression confirmed ok
[9 empty] | Mean Diff | 0.027871
[9 empty] | Stdev | 0.019082
[9 empty] | Count |  | 5
[9 empty] | Sum |  | 0.0053406
[9 empty] | Sp |  | 0.02311
[9 empty] | MIN/MAX | 3.2224 | 8.234
Duplicate Analysis for Samples Drawn From Duplicate Niskin Bottles:
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DOAvg | Draw T1 | Draw T2 | Draw TAvg | Diff | Diff2 | Chauvenet | Reject? | DO1 Comment | DO2 Comment | Critical values for Chauvenet statistic
5 | SOGS | 2 | 312 | 3.2455 | 3.2577 | 3.2516 | 8.3 | 8.3 | 8.3 | 0.012162 | 0.00014791 | 0.090329 |  | OXY: small bubble |  | n | Chauvenet
5 | SOGS | 4 | 250 | 3.7864 | 3.7731 | 3.7797 | 8.1 | 8.1 | 8.1 | -0.013315 | 0.0001773 | 0.66814 |  |  |  | 3 | 1.37
5 | SOGS | 6 | 200 | 4.4826 | 4.4904 | 4.4865 | 7.9 | 7.9 | 7.9 | 0.0077127 | 5.9486e-05 | 0.042128 |  |  |  | 4 | 1.53
5 | SOGS | 7 | 150 | 4.6171 | 4.7179 | 4.6675 | 7.9 | 7.9 | 7.9 | 0.10082 | 0.010165 | 2.7298 |  |  |  | 5 | 1.64
5 | SOGS | 9 | 100 | 4.7213 | 4.7443 | 4.7328 | 7.9 | 7.9 | 7.9 | 0.022944 | 0.00052645 | 0.41133 |  |  |  | 6 | 1.73
5 | SOGS | 11 | 75 | 4.7994 | 4.764 | 4.7817 | 8 | 8 | 8 | -0.035399 | 0.0012531 | 1.3256 |  |  | OXY: Bubble under stopper | 7 | 1.8
5 | SOGS | 13 | 50 | 4.9839 | 4.9663 | 4.9751 | 7.9 | 7.9 | 7.9 | -0.017628 | 0.00031073 | 0.79652 |  | Endpoint a bit ambigous. Was a bit late. Corrected |  | 8 | 1.87
5 | SOGS | 15 | 25 | 5.6392 | 5.6499 | 5.6446 | 8.3 | 8.3 | 8.3 | 0.010707 | 0.00011465 | 0.047028 |  |  | OXY: Bubble under stopper | 9 | 1.91
5 | SOGS | 17 | 15 | 5.9637 | 5.9754 | 5.9695 | 7.8 | 7.8 | 7.8 | 0.011736 | 0.00013773 | 0.077645 |  |  |  | 10 | 1.97
5 | SOGS | 19 | 10 | 7.1407 | 7.1291 | 7.1349 | 7.9 | 7.9 | 7.9 | -0.01161 | 0.00013479 | 0.61738 |  |  |  | 20 | 2.24
5 | SOGS | 21 | 5 | 8.1748 | 8.1767 | 8.1758 | 7.7 | 7.7 | 7.7 | 0.0019059 | 3.6324e-06 | 0.215 |  |  | OXY: Bubble under stopper. Messy titration. Endpoint ambiguous. | 30 | 2.39
5 | SOGS | 23 | 0 | 8.1956 | 8.2151 | 8.2054 | 7.9 | 7.9 | 7.9 | 0.019494 | 0.00038 | 0.3086 |  | OXY: Bubble under stopper |  | 50 | 2.57
[16 empty] | 80 | 2.74
[9 empty] | Mean Diff | 0.0091278 | [5 empty] | 100 | 2.81
[9 empty] | Stdev | 0.03359 | [5 empty] | 150 | 2.93
[9 empty] | Count |  | 12 |  |  |  |  | 200 | 3.02
[9 empty] | Sum |  | 0.013411
[9 empty] | Sp |  | 0.023639
[9 empty] | MIN/MAX | 3.2455 | 8.2151
1 outlier(s) excluded
[9 empty] | Count |  | 11
[9 empty] | Sum |  | 0.0032458
[9 empty] | Sp |  | 0.012146

## Flags
Institute of Ocean Sciences -Quality Flags for Water Sampling | Last Updated: April 2012
Double click document to use.

## Oxy Data Processing
File Name | Event | Station | Sample_ Number | Depth | Raw Oxygen: Dissolved | AutoOxy Thiosulfate_titer | Regression Thiosulfate_titer | Flask_ Number | Flask_ Volume | Blank | Standard | KIO3 Std volume ml | KIO3 N | THIO N | AutoOxy Oxygen: Dissolved | Regression Oxygen: Dissolved | Flag | Temperature: Draw | Comment
2012-040005.oxy | 5 | SOGS | 1 | 312 | 3.224 | 0.536 | 0.5358 | 1414 | 132.62 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.2236 | 3.2224 | 3 | 8.3 | OXY: small bubble
2012-040005.oxy | 5 | SOGS | 1 | 312 | 3.267 | 0.574 | 0.5743 | 1421 | 140.09 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.2669 | 3.2686 |  | 8.3
2012-040005.oxy | 5 | SOGS | 2 | 312 | 3.259 | 0.541 | 0.5408 | 1429 | 132.42 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.2589 | 3.2577 |  | 8.3
2012-040005.oxy | 5 | SOGS | 3 | 250 | 3.786 | 0.622 | 0.622 | 1464 | 131.17 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.7864 | 3.7864 |  | 8.1
2012-040005.oxy | 5 | SOGS | 4 | 250 | 3.773 | 0.665 | 0.665 | 1465 | 140.64 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.7731 | 3.7731 |  | 8.1
2012-040005.oxy | 5 | SOGS | 5 | 200 | 4.484 | 0.75 | 0.7497 | 1470 | 133.64 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.4844 | 4.4826 |  | 7.9
2012-040005.oxy | 5 | SOGS | 6 | 200 | 4.489 | 0.805 | 0.8052 | 1472 | 143.19 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.4892 | 4.4904 |  | 7.9
2012-040005.oxy | 5 | SOGS | 7 | 150 | 4.593 | 0.757 | 0.7576 | 1473 | 131.73 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.5932 | 4.5968 |  | 7.9
2012-040005.oxy | 5 | SOGS | 7 | 150 | 4.633 | 0.755 | 0.7557 | 1475 | 130.27 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.6331 | 4.6374 |  | 7.9
2012-040005.oxy | 5 | SOGS | 8 | 150 | 4.718 | 0.782 | 0.782 | 1476 | 132.49 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.7179 | 4.7179 |  | 7.9
2012-040005.oxy | 5 | SOGS | 9 | 100 | 4.724 | 0.775 | 0.7745 | 1487 | 131.14 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.7244 | 4.7213 |  | 7.9
2012-040005.oxy | 5 | SOGS | 10 | 100 | 4.746 | 0.798 | 0.7978 | 1477 | 134.4 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.7455 | 4.7443 |  | 7.9
2012-040005.oxy | 5 | SOGS | 11 | 75 | 4.798 | 0.851 | 0.8512 | 1478 | 141.68 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.7983 | 4.7994 |  | 8
2012-040005.oxy | 5 | SOGS | 12 | 75 | 4.763 | 0.785 | 0.7852 | 1481 | 131.76 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.7628 | 4.764 | 3 | 7.9 | OXY: Bubble under stopper
2012-040005.oxy | 5 | SOGS | 13 | 50 | 4.987 | 0.826 | 0.8255 | 1483 | 132.43 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.9869 | 4.9839 |  | 7.9 | Endpoint a bit ambigous. Was a bit late. Corrected
2012-040005.oxy | 5 | SOGS | 14 | 50 | 4.967 | 0.827 | 0.8268 | 1485 | 133.1 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.9675 | 4.9663
2012-040005.oxy | 5 | SOGS | 15 | 25 | 5.635 | 0.974 | 0.9747 | 1488 | 138.2 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 5.6352 | 5.6392 |  | 8.3
2012-040005.oxy | 5 | SOGS | 16 | 25 | 5.648 | 0.952 | 0.9524 | 1489 | 134.82 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 5.6475 | 5.6499 | 3 | 8.1 | OXY: Bubble under stopper
2012-040005.oxy | 5 | SOGS | 17 | 15 | 5.964 | 1.013 | 1.013 | 1490 | 135.87 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 5.9637 | 5.9637 |  | 7.8
2012-040005.oxy | 5 | SOGS | 18 | 15 | 5.976 | 1.048 | 1.048 | 1491 | 140.24 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 5.9754 | 5.9754 |  | 7.9
2012-040005.oxy | 5 | SOGS | 19 | 10 | 7.144 | 1.25 | 1.2495 | 1492 | 140 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 7.1436 | 7.1407 |  | 7.9
2012-040005.oxy | 5 | SOGS | 20 | 10 | 7.132 | 1.245 | 1.2445 | 1496 | 139.67 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 7.132 | 7.1291 |  | 7.8
2012-040005.oxy | 5 | SOGS | 21 | 5 | 8.175 | 1.426 | 1.426 | 1497 | 139.62 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 8.1748 | 8.1748 |  | 7.7
2012-040005.oxy | 5 | SOGS | 22 | 5 | 8.177 | 1.407 | 1.407 | 1498 | 137.75 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 8.1767 | 8.1767 | 4 | 7.8 | OXY: Bubble under stopper. Messy titration. Endpoint ambiguous.
2012-040005.oxy | 5 | SOGS | 23 | 0 | 8.194 | 1.383 | 1.3833 | 1335 | 135.15 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 8.1938 | 8.1956 | 3 | 7.9 | OXY: Bubble under stopper
2012-040005.oxy | 5 | SOGS | 24 | 0 | 8.196 | 1.455 | 1.455 | 1337 | 142.06 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 8.1962 | 8.1962 |  | 7.9
2012-040005.oxy | 5 | SOGS | 24 | 0 | 8.234 | 1.35 | 1.35 | 1338 | 131.33 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 8.234 | 8.234 |  | 7.9
2012-040007.oxy | 7 | SOGN | 45 | 329 | 3.407 | 0.566 | 0.5643 | 3040 | 132.56 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.4068 | 3.3965 |  | 8.3 | Stepped curve. Endpoint was late. Corrected
2012-040007.oxy | 7 | SOGN | 45 | 329 | 3.406 | 0.58 | 0.5802 | 3043 | 135.86 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.4056 | 3.4068 |  | 8.3
2012-040007.oxy | 7 | SOGN | 47 | 250 | 3.729 | 0.633 | 0.6328 | 3047 | 135.5 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.7288 | 3.7276 |  | 8.1
2012-040007.oxy | 7 | SOGN | 49 | 200 | 3.747 | 0.662 | 0.662 | 3055 | 140.98 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.7468 | 3.7468 | 4 | 8 | OXY: Titration ended abruptly. No definitive endpoint.
2012-040007.oxy | 7 | SOGN | 51 | 150 | 3.814 | 0.686 | 0.686 | 3061 | 143.49 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.8145 | 3.8145 | 4 | 7.9 | OXY: Titration incomplete. There is no endpoint. Did not include in duplicate analysis
2012-040007.oxy | 7 | SOGN | 51 | 150 | 3.942 | 0.699 | 0.699 | 3067 | 141.52 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 3.942 | 3.942 |  | 7.9 | Did not include in precision analysis. Only reported this value
2012-040007.oxy | 7 | SOGN | 53 | 100 | 4.421 | 0.752 | 0.7519 | 3075 | 135.9 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 4.4206 | 4.42 |  | 7.7
2012-040007.oxy | 7 | SOGN | 55 | 75 | 5.986 | 1.083 | 1.0826 | 3084 | 144.61 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 5.9864 | 5.9842 |  | 7.4
2012-040007.oxy | 7 | SOGN | 57 | 50 | 6.331 | 1.06 | 1.0592 | 3090 | 133.98 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.3307 | 6.3259 |  | 7.3
2012-040007.oxy | 7 | SOGN | 59 | 25 | 6.565 | 1.149 | 1.1492 | 3094 | 140 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.5647 | 6.5658 |  | 7.4
2012-040007.oxy | 7 | SOGN | 61 | 15 | 6.583 | 1.192 | 1.192 | 3098 | 144.79 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.5827 | 6.5827 |  | 7.3
2012-040007.oxy | 7 | SOGN | 63 | 10 | 6.563 | 1.176 | 1.1763 | 3100 | 143.28 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.5634 | 6.5651 |  | 7.3
2012-040007.oxy | 7 | SOGN | 65 | 5 | 6.485 | 1.161 | 1.1608 | 3104 | 143.16 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.485 | 6.4838 |  | 7.3
2012-040007.oxy | 7 | SOGN | 67 | 0 | 6.439 | 1.14 | 1.1396 | 3107 | 141.59 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.4389 | 6.4366 |  | 7.3
2012-040007.oxy | 7 | SOGN | 67 | 0 | 6.444 | 1.164 | 1.1636 | 3109 | 144.44 | 0.0015 | 0.861 | 10.0277 | 0.012111 | 0.14129 | 6.4433 | 6.4411 |  | 7.3 | Endpoint may be late. Regression confirmed ok

## Raw AutoOxy Data
File Name | LOC:EVENT_NUMBER | LOC:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard
2012-040005.oxy | 5 | SOGS | 1 | 312 | 3.224 | 0.536 | 1414 | 132.62 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 1 | 312 | 3.267 | 0.574 | 1421 | 140.09 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 2 | 312 | 3.259 | 0.541 | 1429 | 132.42 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 3 | 250 | 3.786 | 0.622 | 1464 | 131.17 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 4 | 200 | 3.773 | 0.665 | 1465 | 140.64 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 5 | 200 | 4.484 | 0.75 | 1470 | 133.64 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 6 | 200 | 4.489 | 0.805 | 1472 | 143.19 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 7 | 150 | 4.593 | 0.757 | 1473 | 131.73 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 7 | 150 | 4.633 | 0.755 | 1475 | 130.27 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 8 | 150 | 4.718 | 0.782 | 1476 | 132.49 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 9 | 100 | 4.724 | 0.775 | 1487 | 131.14 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 10 | 100 | 4.746 | 0.798 | 1477 | 134.4 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 11 | 75 | 4.798 | 0.851 | 1478 | 141.68 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 12 | 75 | 4.763 | 0.785 | 1481 | 131.76 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 13 | 50 | 4.987 | 0.826 | 1483 | 132.43 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 14 | 50 | 4.967 | 0.827 | 1485 | 133.1 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 15 | 25 | 5.635 | 0.974 | 1488 | 138.2 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 16 | 25 | 5.648 | 0.952 | 1489 | 134.82 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 17 | 15 | 5.964 | 1.013 | 1490 | 135.87 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 18 | 10 | 5.976 | 1.048 | 1491 | 140.24 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 19 | 10 | 7.144 | 1.25 | 1492 | 140 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 20 | 10 | 7.132 | 1.245 | 1496 | 139.67 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 21 | 5 | 8.175 | 1.426 | 1497 | 139.62 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 22 | 0 | 8.177 | 1.407 | 1498 | 137.75 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 23 | 0 | 8.194 | 1.383 | 1335 | 135.15 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 24 | 0 | 8.196 | 1.455 | 1337 | 142.06 | 0.0015 | 0.861
2012-040005.oxy | 5 | SOGS | 24 | 0 | 8.234 | 1.35 | 1338 | 131.33 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 45 | 329 | 3.407 | 0.566 | 3040 | 132.56 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 45 | 329 | 3.406 | 0.58 | 3043 | 135.86 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 47 | 250 | 3.729 | 0.633 | 3047 | 135.5 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 49 | 200 | 3.747 | 0.662 | 3055 | 140.98 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 51 | 150 | 3.814 | 0.686 | 3061 | 143.49 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 51 | 150 | 3.942 | 0.699 | 3067 | 141.52 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 53 | 100 | 4.421 | 0.752 | 3075 | 135.9 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 55 | 75 | 5.986 | 1.083 | 3084 | 144.61 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 57 | 50 | 6.331 | 1.06 | 3090 | 133.98 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 59 | 25 | 6.565 | 1.149 | 3094 | 140 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 61 | 15 | 6.583 | 1.192 | 3098 | 144.79 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 63 | 10 | 6.563 | 1.176 | 3100 | 143.28 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 65 | 5 | 6.485 | 1.161 | 3104 | 143.16 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 67 | 0 | 6.439 | 1.14 | 3107 | 141.59 | 0.0015 | 0.861
2012-040007.oxy | 7 | SOGN | 67 | 0 | 6.444 | 1.164 | 3109 | 144.44 | 0.0015 | 0.861

## Plots
Sample # 51 dup one seems high