## Notes
Cruise 2012-19 April Strait of Georgia | File: Cocc2011-19\QF2012-19nuts.xls
Date : May 10, 2012
Analyst: Wendy Richardson
Data compiled by: Wendy Richardson
The Chauevent criteria was used to aid in the evaluation of the precision of duplicates.
Chauvenet outliers and other suspicious results were omitted from the Precision Statement.
Sample 44 had a poor Nitrate duplicate.

## QF NUTS Final
Cruise 2012-19 April Strait of Georgia |  |  |  |  | File: Cocc2011-19\QF2012-19nuts.xls
Nutrient data summary with Quality Flags |  |  |  |  | Date : May 10, 2012
Nutrient samples were collected in plastic tubes and quick frozen in aluminum blocks stored in -20 freezer
They were later analyzed at IOS using an Astoria analyzer following methods described in
Barwell-Clarke and Whitney (1996).
IOS Nutrient Methods (1996) Barwell-Clarke, J. and F. Whitney
For precision and duplicate details see worksheets in file QF2012-19nut.xls
Cruise_Number | Event_Number | Station | Sample_Number | Nitrate_plus_Nitrite | Flag:Nitrate_plus_Nitrite | Silicate | Flag:Silicate | Phosphate | Flag:Phosphate | Comments
|  |  |  | uM |  | uM |  | uM
2012-19 | 5 | SOGS | 23 | 11.75 | 6 | 16.7 | 6 | 0.965 | 6
2012-19 | 5 | SOGS | 21 | 11.9 |  | 17.3 |  | 1
2012-19 | 5 | SOGS | 19 | 20.1 |  | 33.2 |  | 1.56
2012-19 | 5 | SOGS | 17 | 26.8 |  | 49.7 |  | 2.17
2012-19 | 5 | SOGS | 15 | 28.4 |  | 53 |  | 2.17
2012-19 | 5 | SOGS | 13 | 30.1 |  | 55.6 |  | 2.39
2012-19 | 5 | SOGS | 11 | 30.2 |  | 55.9 |  | 2.34
2012-19 | 5 | SOGS | 9 | 30.1 |  | 55.9 |  | 2.4
2012-19 | 5 | SOGS | 7 | 29.3 | 6 | 55 | 6 | 2.36 | 6
2012-19 | 5 | SOGS | 5 | 30.2 |  | 57.1 |  | 2.45
2012-19 | 5 | SOGS | 3 | 30.5 |  | 60.9 |  | 2.58
2012-19 | 5 | SOGS | 1 | 30.75 | 6 | 65.6 | 6 | 2.735 | 6
2012-19 | 7 | SOGN | 68 | 26.2 | 6 | 50.65 | 6 | 2.2 | 6
2012-19 | 7 | SOGN | 66 | 26.5 |  | 50.2 |  | 2.22
2012-19 | 7 | SOGN | 64 | 26.6 |  | 49.6 |  | 2.23
2012-19 | 7 | SOGN | 62 | 26.9 |  | 50 |  | 2.25
2012-19 | 7 | SOGN | 60 | 27.3 |  | 50.7 |  | 2.28
2012-19 | 7 | SOGN | 58 | 27.5 |  | 51.6 |  | 2.26
2012-19 | 7 | SOGN | 56 | 28.1 |  | 54 |  | 2.33
2012-19 | 7 | SOGN | 54 | 30.2 |  | 58.7 |  | 2.44
2012-19 | 7 | SOGN | 52 | 30.6 | 6 | 58.6 | 6 | 2.48 | 6
2012-19 | 7 | SOGN | 50 | 30.5 |  | 59.4 |  | 2.53
2012-19 | 7 | SOGN | 48 | 30.5 |  | 60.3 |  | 2.55
2012-19 | 7 | SOGN | 46 | 30.55 | 6 | 64.3 | 6 | 2.595 | 6
2012-19 | 9 | FR1 | 26 | 12.35 | 6 | 29.4 | 6 | 1.075 | 6
2012-19 | 10 | FR2 | 28 | 14.9 |  | 34.8 |  | 1.27
2012-19 | 11 | FR3 | 30 | 10.9 |  | 23.9 |  | 0.92
2012-19 | 12 | FR4 | 32 | 13.5 |  | 22.8 |  | 1.2
2012-19 | 13 | FR5 | 34 | 10.8 | 6 | 17.05 | 6 | 0.97 | 6
2012-19 | 14 | FR6 | 36 | 12.8 |  | 23.2 |  | 1.1
2012-19 | 15 | FR7 | 38 | 12.7 |  | 27.9 |  | 1.09
2012-19 | 16 | FR8 | 40 | 10.1 |  | 17.5 |  | 0.91
2012-19 | 17 | FR9 | 42 | 10 |  | 22.3 |  | 0.85
2012-19 | 18 | FR10 | 44 | 8.8 | 36 | 11.25 | 6 | 0.925 | 6 | NO3: poor dup

## Precision Statement
Cruise 2012-19 April Strait of Georgia |  | File: Cocc2011-19\QF2012-19nuts.xls
Date : May 10, 2012
Precision was determined by analyzing replicate samples drawn from one Niskin.
Pooled standard deviation of pairs of samples (Sp) was calucalated by:
Sp = SQRT{sum (d*d)/2k}
where k = no. of pairs and d = difference between pairs
This is the precision with outliers removed:
Sp for nitrate for the range 8.6 to 30.8 uM, k = 8, was 0.17
Sp for silicate for the range 11.2 to 65.6 uM, k = 9, was 0.23
Sp for phosphate for the range 0.87 to 2.79 uM, k = 9, was 0.043
Accuracy of the stock standard batch was determined by using commercially available standards from WAKO Chemicals
(Sagami Chemical Company of Japan).
The values were within 0.92 % of the 20 uM Nitrate Standard.
The values were within 0.59 % of the 100 uM Silicate Standard.
Feb 23, 2012 Nitrate stock standard solution was used for this cruise analyses.
Feb 23, 2012 Silicate stock standard solution was used for this cruise analyses.
Feb 23, 2012 Phosphate stock standard solution ( Feb 23 secondary) was used for this cruise analyses.
The Phosphate values were within 0.07% of the previous (Sept 2011, secondary) stock solution.

## Duplicates new format
Averaging Duplicates from same Niskin and Calculating Precision | [14 empty] | File: Cocc2011-19\QF2012-19nuts.xls
Date : May 10, 2012
Critical values
Station | Cast | Sample # | NO3 | SiO3 | PO4 |  | Average |  | Difference |  |  | Difference Squared |  |  | Comments |  | CHAUV REJECT |  | Chauvenet statistic
|  |  | uM | uM | uM | NO3 | SiO3 | PO4 | NO3 | SIL | PO4 | NO3 | SiO3 | PO4 |  | NO3 | SIL | PO4 | n | Chauvenet
SOGS | 5 | 23 | 11.5 | 16.4 | 0.99 | [13 empty] | 3 | 1.37
SOGS | 5 | 23 dup | 12 | 17 | 0.94 | 11.75 | 16.7 | 0.965 | -0.5 | -0.6 | 0.05 | 0.25 | 0.36 | 0.0025 |  | 1.5731 | 1.4248 | 0.47422 | 4 | 1.53
SOGS | 5 | 7 | 29.2 | 54.8 | 2.37 | [13 empty] | 5 | 1.64
SOGS | 5 | 7 dup | 29.4 | 55.2 | 2.35 | 29.3 | 55 | 2.36 | -0.2 | -0.4 | 0.02 | 0.04 | 0.16 | 0.0004 |  | 0.35957 | 0.7672 | 0.018239 | 6 | 1.73
SOGS | 5 | 1 | 30.7 | 65.6 | 2.79 | [13 empty] | 7 | 1.8
SOGS | 5 | 1 dup | 30.8 | 65.6 | 2.68 | 30.75 | 65.6 | 2.735 | -0.1 | 0 | 0.11 | 0.01 | 0 | 0.0121 |  | 0.044947 | 0.548 | 1.4591 | 8 | 1.87
SOGN | 7 | 68 | 26.1 | 50.6 | 2.2 | [13 empty] | 9 | 1.91
SOGN | 7 | 68 dup | 26.3 | 50.7 | 2.2 | 26.2 | 50.65 | 2.2 | -0.2 | -0.1 | 0 | 0.04 | 0.01 | 0 |  | 0.35957 | 0.2192 | 0.34654 | 10 | 1.97
SOGN | 7 | 52 | 30.6 | 58.6 | 2.48 | [13 empty] | 20 | 2.24
SOGN | 7 | 52 dup | 30.6 | 58.6 | 2.48 | 30.6 | 58.6 | 2.48 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.44947 | 0.548 | 0.34654 | 30 | 2.39
SOGN | 7 | 46 | 30.5 | 64.3 | 2.63 | [13 empty] | 50 | 2.57
SOGN | 7 | 46 dup | 30.6 | 64.3 | 2.56 | 30.55 | 64.3 | 2.595 | -0.1 | 0 | 0.07 | 0.01 | 0 | 0.0049 |  | 0.044947 | 0.548 | 0.80252 | 80 | 2.74
FR1 | 9 | 26 | 12.2 | 29.1 | 1.08 | [13 empty] | 100 | 2.81
FR1 | 9 | 26 dup | 12.5 | 29.7 | 1.07 | 12.35 | 29.4 | 1.075 | -0.3 | -0.6 | 0.01 | 0.09 | 0.36 | 0.0001 |  | 0.76409 | 1.4248 | 0.18239 | 150 | 2.93
FR5 | 13 | 34 | 10.8 | 17.2 | 0.99 | [13 empty] | 200 | 3.02
FR5 | 13 | 34 dup | 10.8 | 16.9 | 0.95 | 10.8 | 17.05 | 0.97 | 0 | 0.3 | 0.04 | 0 | 0.09 | 0.0016 |  | 0.44947 | 1.5344 | 0.31007
FR10 | 18 | 44 | 9 | 11.2 | 0.87
FR10 | 18 | 44 dup | 8.6 | 11.3 | 0.98 | 8.8 | 11.25 | 0.925 | 0.4 | -0.1 | -0.11 | 0.16 | 0.01 | 0.0121 |  | 2.0675 | 0.2192 | 2.1522
[8 empty] | mean diff | -0.11111 | -0.16667 | 0.021111
[8 empty] | stdev | 0.24721 | 0.30414 | 0.060919
[11 empty] | SUM OF (X-Y)SQ | 0.6 | 0.99 | 0.0337
[11 empty] | COUNT | 9 | 9 | 9
[11 empty] | SUM/2*COUNT | 0.033333 | 0.055 | 0.0018722
[11 empty] | SQRT(SUM/2*COUNT) | 0.18257 | 0.23452 | 0.043269
[11 empty] | min | 8.6 | 11.2 | 0.87
[11 empty] | max | 30.8 | 65.6 | 2.79
Outliers omitted
[11 empty] | SUM OF (X-Y)SQ | 0.44
[11 empty] | COUNT | 8
[11 empty] | SUM/2*COUNT | 0.0275
[11 empty] | SQRT(SUM/2*COUNT) | 0.16583

## Flags
Quality Flags for Water Samples
No comment is necessary for flag "6".
For all flags other than "6" always enter a comment explaining the reason for the flag.
Preface comment with a three letter tag for the specific parameter ie: NUT-comment if the comment
applies to all nutrients, or NO3-comment, SIL-comment etc. if it only applies to one nutrient.
Enter comments relating to nutrient analysis only.
Do not repeat comments already noted for the cast - e.g. niskin tripped at wrong depth,
but do include comments explaining a missing sample - e.g. flag "9" niskin did not close.
Specific Nutrient Analysis Quality Flags
1 | Nitrate sample drawn but not analyzed because of anoxic water; frozen test tube overfilled
and broken – lost sample
3 | Suspected misfire/mis-sample as sample doesn’t fit profile; poor duplicates; some salt
crystals on test tube rim
4 | Frozen test tube cracked and sample may have been contaminated during thawing; many salt
crystals on test tube rim
5 | Phosphate sample clearly contaminated and value is unreasonable
9 | Planning to sample but for some reason (see above) sample not drawn; nutrient tube empty,
sample missing (as per log sheet – it should have been taken).
Flag | Value Definition
1 | Sample for this measurement was drawn from water bottle but not analyzed (e.g. broken sample
bottle; nitrate not analyzed in anoxic water; sample lost).
2 | Acceptable measurement (not normally used).
3 | Questionable measurement (potential problem observed in sampling, analysis, or value; e.g.
poor agreement between reps but unclear which is better; Niskin integrity questionable but not
severe). Suspected misfire or mis-sample would be noted as an outlier and would be flagged “3”.
4 | Bad measurement (known problem with sampling or analysis but not serious enough to
completely discard the value; e.g. Niskin integrity was badly compromised; bubble in oxygen
sample; chlorophyll filter askew on funnel).
5 | Measurement not reported because the value was clearly bad. Use only when a value is clearly
unreasonable or unavailable.
6 | Mean of replicate measurements (summary of replicates and table of replicate data must be included
in the quality flagged file).
7 | Manual chromatographic peak measurement.
8 | Irregular digital chromatographic peak integration.
9 | Sample not drawn for this measurement from this bottle (planning to sample this bottle, but it didn’t
get collected because the Niskin did not close; there was no water left in the Niskin; the Niskin was
emptied before it was sampled; or we simply forgot).