## Notes
Analysis: | Hugh Maclean, 20-JUNE-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Doug Yelland
2012-07-04 |  | KS
We continued to use deep water to check the Salinometer in-between runs and Standard water at the beginning and end only of the analysis.
No duplicate samples were taken therefore precision could not be assessed.
Samples were analyzed randomly.
No comments as to the state of the samples or the success of the analysis.
Peter Chandler's Pine Island samples (2) are at the bottom of the QF worksheet as they were included as part of this analysis.
Loop data is in it's own QF worksheet
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-25 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 01 months after collection. For details including a duplicate analysis, see document QF2012-25SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-25 | 1 | SI 03 | 2 | 31.2738
2012-25 | 1 | SI 03 | 12 | 28.4129
2012-25 | 2 | LB 01 | 15 | 31.4194
2012-25 | 3 | LB 02 | 20 | 30.726
2012-25 | 5 | LB 04 | 26 | 32.4524
2012-25 | 10 | LB 06 | 38 | 29.6628
2012-25 | 25 | LB 08 | 52 | 30.0979
2012-25 | 26 | LB 09 | 60 | 29.9768
2012-25 | 28 | LB 11 | 72 | 30.7322
2012-25 | 30 | LB 12 | 74 | 34.0875
2012-25 | 32 | LB 14 | 89 | 34.4088
2012-25 | 32 | LB 14 | 105 | 31.9822
2012-25 | 40 | LC 11 | 115 | 34.5197
2012-25 | 40 | LC 11 | 116 | 34.471
2012-25 | 40 | LC 11 | 116 | 34.4698
2012-25 | 40 | LC 11 | 117 | 34.403
2012-25 | 40 | LC 11 | 118 | 34.346
2012-25 | 40 | LC 11 | 119 | 34.3254
2012-25 | 40 | LC 11 | 120 | 34.3015
2012-25 | 40 | LC 11 | 121 | 34.1626
2012-25 | 40 | LC 11 | 122 | 34.0959
2012-25 | 40 | LC 11 | 123 | 34.0201
2012-25 | 40 | LC 11 | 124 | 33.9696
2012-25 | 40 | LC 11 | 125 | 33.9217
2012-25 | 40 | LC 11 | 126 | 33.8718
2012-25 | 40 | LC 11 | 127 | 33.8044
2012-25 | 40 | LC 11 | 128 | 33.673
2012-25 | 40 | LC 11 | 129 | 33.3079
2012-25 | 40 | LC 11 | 130 | 32.8145
2012-25 | 40 | LC 11 | 131 | 32.5794
2012-25 | 40 | LC 11 | 132 | 32.3643
2012-25 | 40 | LC 11 | 133 | 31.6673
2012-25 | 40 | LC 11 | 134 | 30.0347
2012-25 | 40 | LC 11 | 135 | 29.9365
2012-25 | 43 | LC 09 | 137 | 34.1618
2012-25 | 43 | LC 09 | 151 | 30.575
2012-25 | 46 | LC 08 | 162 | 30.4852
2012-25 | 49 | LC 06 | 169 | 30.4036
2012-25 | 53 | LC 04 | 179 | 31.0056
2012-25 | 55 | LC 02 | 186 | 31.0692
2012-25 | 56 | LC 01 | 193 | 31.2404
2012-25 | 57 | LG 01 | 202 | 31.0675
2012-25 | 58 | LG 02 | 209 | 31.5889
2012-25 | 62 | LG 04 | 222 | 30.711
2012-25 | 64 | LG 06 | 225 | 34.1237
2012-25 | 64 | LG 06 | 239 | 30.7908
2012-25 | 69 | LBP 07 | 245 | 34.5117
2012-25 | 69 | LBP 07 | 263 | 31.5935
2012-25 | 72 | LBP 05 | 285 | 31.8914
2012-25 | 75 | LBP 03 | 295 | 32.3746
2012-25 | 84 | CS 00 | 318 | 34.5126
2012-25 | 84 | CS 00 | 336 | 32.441
2012-25 | 89 | CS 02 | 343 | 34.2546
2012-25 | 89 | CS 02 | 358 | 31.2654
2012-25 | 93 | CS 04 | 365 | 31.3964
2012-25 | 104 | CS 06 | 377 | 30.7455
2012-25 | 111 | CS 09 | 390 | 30.9154
2012-25 | 115 | UBC 7 | 399 | 30.1249
|  | Chandler | Pine Is | 31.4927
|  | Chandler | Pine Is | 31.4917

## QF 2012-25 LOOP FINAL
Header: | Salinity samples were collected in 200 mL type II glass bottles with disposable plastic inserts and screw cap
supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 01 months after collection. For details including a duplicate analysis, see document QF2012-25SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-25 |  |  | Loop 1 | 31.2658
2012-25 |  |  | Loop 2 | 31.8276
2012-25 |  |  | Loop 3 | 31.8802
2012-25 |  |  | Loop 4 | 31.6617
2012-25 |  |  | Loop 5 | 31.5363
2012-25 |  |  | Loop 6 | 31.5373
2012-25 |  |  | Loop 7 | 31.2721
2012-25 |  |  | Loop 8 | 31.4124

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-25#19 | 1 | SI 03 | 2 | 2012-06-20 10:17 | 24C | 0.90451 | 4.6144e-06 | -9.5367e-07 | 0.90451 | 31.2738 | 0.00017887 | #VALUE!
2012-25#12 | 1 | SI 03 | 12 | 2012-06-20 09:56 | 24C | 0.83003 | 5.1523e-06 | -9.5367e-07 | 0.83003 | 28.4129 | 0.0001978 | #VALUE!
2012-25#32 | 2 | LB 01 | 15 | 2012-06-20 10:47 | 24C | 0.90827 | 3.359e-06 | -9.5367e-07 | 0.90827 | 31.4194 | 0.00013147 | #VALUE!
2012-25#8 | 3 | LB 02 | 20 | 2012-06-20 09:23 | 24C | 0.89033 | 2.2394e-06 | -9.5367e-07 | 0.89033 | 30.726 | 8.5736e-05 | #VALUE!
2012-25#3 | 5 | LB 04 | 26 | 2012-06-20 09:11 | 24C | 0.93489 | 2.4908e-06 | -9.5367e-07 | 0.93489 | 32.4524 | 9.6609e-05 | #VALUE!
2012-25#39 | 10 | LB 06 | 38 | 2012-06-20 11:03 | 24C | 0.8627 | 3.1417e-06 | -9.5367e-07 | 0.8627 | 29.6628 | 0.00012121 | #VALUE!
2012-25#13 | 25 | LB 08 | 52 | 2012-06-20 09:58 | 24C | 0.87402 | 4.8371e-06 | -9.5367e-07 | 0.87402 | 30.0979 | 0.00018649 | #VALUE!
2012-25#11 | 26 | LB 09 | 60 | 2012-06-20 09:30 | 24C | 0.87088 | 3.4657e-06 | -9.5367e-07 | 0.87088 | 29.9768 | 0.00013295 | #VALUE!
2012-25#14 | 28 | LB 11 | 72 | 2012-06-20 10:00 | 24C | 0.89049 | 4.0096e-06 | -9.5367e-07 | 0.89049 | 30.7322 | 0.0001552 | #VALUE!
2012-25#5 | 30 | LB 12 | 74 | 2012-06-20 09:16 | 24C | 0.97677 | 3.1418e-06 | -9.5367e-07 | 0.97677 | 34.0875 | 0.00012446 | #VALUE!
2012-25#2 | 32 | LB 14 | 89 | 2012-06-20 09:09 | 24C | 0.98496 | 3.2141e-06 | -9.5367e-07 | 0.98496 | 34.4088 | 0.00012735 | #VALUE!
2012-25#43 | 32 | LB 14 | 105 | 2012-06-20 11:14 | 24C | 0.92279 | 2.8897e-06 | -9.5367e-07 | 0.92279 | 31.9822 | 0.00011239 | #VALUE!
2012-25#26 | 40 | LC 11 | 115 | 2012-06-20 10:33 | 24C | 0.98779 | 5.5845e-06 | -9.5367e-07 | 0.98779 | 34.5197 | 0.0002201 | #VALUE!
2012-25#31 | 40 | LC 11 | 116 | 2012-06-20 10:44 | 24C | 0.98654 | 5.8979e-06 | -9.5367e-07 | 0.98654 | 34.471 | 0.00023142 | #VALUE!
2012-25#41 | 40 | LC 11 | 116 | 2012-06-20 11:09 | 24C | 0.98651 | 4.5983e-06 | -9.5367e-07 | 0.98651 | 34.4698 | 0.00017962 | #VALUE!
2012-25#33 | 40 | LC 11 | 117 | 2012-06-20 10:49 | 24C | 0.98481 | 5.0935e-06 | -9.5367e-07 | 0.98481 | 34.403 | 0.00019937 | #VALUE!
2012-25#35 | 40 | LC 11 | 118 | 2012-06-20 10:54 | 24C | 0.98336 | 5.5032e-06 | -9.5367e-07 | 0.98336 | 34.346 | 0.00021408 | #VALUE!
2012-25#29 | 40 | LC 11 | 119 | 2012-06-20 10:40 | 24C | 0.98284 | 2.7425e-06 | -9.5367e-07 | 0.98283 | 34.3254 | 0.00010656 | #VALUE!
2012-25#23 | 40 | LC 11 | 120 | 2012-06-20 10:26 | 24C | 0.98223 | 3.2142e-06 | -9.5367e-07 | 0.98223 | 34.3015 | 0.00012382 | #VALUE!
2012-25#15 | 40 | LC 11 | 121 | 2012-06-20 10:03 | 24C | 0.97869 | 3.9739e-06 | -9.5367e-07 | 0.97868 | 34.1626 | 0.0001563 | #VALUE!
2012-25#34 | 40 | LC 11 | 122 | 2012-06-20 10:51 | 24C | 0.97698 | 3.8599e-06 | -9.5367e-07 | 0.97698 | 34.0959 | 0.0001516 | #VALUE!
2012-25#27 | 40 | LC 11 | 123 | 2012-06-20 10:36 | 24C | 0.97505 | 4.1014e-06 | -9.5367e-07 | 0.97505 | 34.0201 | 0.00015854 | #VALUE!
2012-25#38 | 40 | LC 11 | 124 | 2012-06-20 11:00 | 24C | 0.97376 | 4.0099e-06 | -9.5367e-07 | 0.97376 | 33.9696 | 0.00015628 | #VALUE!
2012-25#17 | 40 | LC 11 | 125 | 2012-06-20 10:11 | 24C | 0.97254 | 3.6105e-06 | -9.5367e-07 | 0.97254 | 33.9217 | 0.00014239 | #VALUE!
2012-25#48 | 40 | LC 11 | 126 | 2012-06-20 11:25 | 24C | 0.97126 | 4.9384e-06 | -9.5367e-07 | 0.97126 | 33.8718 | 0.00019299 | #VALUE!
2012-25#40 | 40 | LC 11 | 127 | 2012-06-20 11:05 | 24C | 0.96954 | 4.3339e-06 | -9.5367e-07 | 0.96954 | 33.8044 | 0.00016904 | #VALUE!
2012-25#30 | 40 | LC 11 | 128 | 2012-06-20 10:42 | 24C | 0.96618 | 3.456e-06 | -9.5367e-07 | 0.96618 | 33.673 | 0.00013596 | #VALUE!
2012-25#28 | 40 | LC 11 | 129 | 2012-06-20 10:38 | 24C | 0.95684 | 2.2391e-06 | -9.5367e-07 | 0.95684 | 33.3079 | 8.7009e-05 | #VALUE!
2012-25#47 | 40 | LC 11 | 130 | 2012-06-20 11:23 | 24C | 0.9442 | 3.5809e-06 | -9.5367e-07 | 0.94419 | 32.8145 | 0.00013736 | #VALUE!
2012-25#44 | 40 | LC 11 | 131 | 2012-06-20 11:16 | 24C | 0.93816 | 4.3338e-06 | -9.5367e-07 | 0.93816 | 32.5794 | 0.0001684 | #VALUE!
2012-25#37 | 40 | LC 11 | 132 | 2012-06-20 10:58 | 24C | 0.93263 | 6.0439e-06 | -9.5367e-07 | 0.93263 | 32.3643 | 0.00023423 | #VALUE!
2012-25#21 | 40 | LC 11 | 133 | 2012-06-20 10:21 | 24C | 0.91467 | 3.1414e-06 | -9.5367e-07 | 0.91467 | 31.6673 | 0.00012206 | #VALUE!
2012-25#16 | 40 | LC 11 | 134 | 2012-06-20 10:05 | 24C | 0.87238 | 2.2391e-06 | -9.5367e-07 | 0.87238 | 30.0347 | 8.6153e-05 | #VALUE!
2012-25#45 | 40 | LC 11 | 135 | 2012-06-20 11:19 | 24C | 0.86983 | 3.4657e-06 | -9.5367e-07 | 0.86982 | 29.9365 | 0.00013294 | #VALUE!
2012-25#20 | 43 | LC 09 | 137 | 2012-06-20 10:19 | 24C | 0.97867 | 2.8897e-06 | -9.5367e-07 | 0.97866 | 34.1618 | 0.00011383 | #VALUE!
2012-25#10 | 43 | LC 09 | 151 | 2012-06-20 09:27 | 24C | 0.88641 | 2.7425e-06 | -9.5367e-07 | 0.88641 | 30.575 | 0.00010553 | #VALUE!
2012-25#42 | 46 | LC 08 | 162 | 2012-06-20 11:11 | 24C | 0.88408 | 4.1136e-06 | -9.5367e-07 | 0.88408 | 30.4852 | 0.00015932 | #VALUE!
2012-25#9 | 49 | LC 06 | 169 | 2012-06-20 09:25 | 24C | 0.88197 | 3.2142e-06 | -9.5367e-07 | 0.88197 | 30.4036 | 0.00012345 | #VALUE!
2012-25#18 | 53 | LC 04 | 179 | 2012-06-20 10:15 | 24C | 0.89757 | 3.6104e-06 | -9.5367e-07 | 0.89757 | 31.0056 | 0.00013848 | #VALUE!
2012-25#46 | 55 | LC 02 | 186 | 2012-06-20 11:21 | 24C | 0.89922 | 3.3587e-06 | -9.5367e-07 | 0.89922 | 31.0692 | 0.00013052 | #VALUE!
2012-25#24 | 56 | LC 01 | 193 | 2012-06-20 10:29 | 24C | 0.90365 | 3.2141e-06 | -9.5367e-07 | 0.90365 | 31.2404 | 0.00012366 | #VALUE!
2012-25#4 | 57 | LG 01 | 202 | 2012-06-20 09:14 | 24C | 0.89917 | 4.5981e-06 | -9.5367e-07 | 0.89917 | 31.0675 | 0.00017855 | #VALUE!
2012-25#6 | 58 | LG 02 | 209 | 2012-06-20 09:18 | 24C | 0.91265 | 5.3056e-06 | -9.5367e-07 | 0.91265 | 31.5889 | 0.0002049 | #VALUE!
2012-25#22 | 62 | LG 04 | 222 | 2012-06-20 10:24 | 24C | 0.88994 | 3.4662e-06 | -9.5367e-07 | 0.88994 | 30.711 | 0.00013331 | #VALUE!
2012-25#7 | 64 | LG 06 | 225 | 2012-06-20 09:21 | 24C | 0.97769 | 4.8372e-06 | -9.5367e-07 | 0.97769 | 34.1237 | 0.00018955 | #VALUE!
2012-25#36 | 64 | LG 06 | 239 | 2012-06-20 10:56 | 24C | 0.89201 | 3.1147e-06 | -9.5367e-07 | 0.89201 | 30.7908 | 0.00012001 | #VALUE!
2012-25#49 | 69 | LBP 07 | 245 | 2012-06-20 11:28 | 24C | 0.98758 | 3.5406e-06 | -9.5367e-07 | 0.98758 | 34.5117 | 0.00013757 | #VALUE!
2012-25#50 | 69 | LBP 07 | 263 | 2012-06-20 11:31 | 24C | 0.91277 | 4.3047e-06 | -9.5367e-07 | 0.91277 | 31.5935 | 0.00016582 | #VALUE!
2012-25#51 | 72 | LBP 05 | 285 | 2012-06-20 11:33 | 24C | 0.92045 | 3.5989e-06 | -9.5367e-07 | 0.92045 | 31.8914 | 0.00013993 | #VALUE!
2012-25#57 | 75 | LBP 03 | 295 | 2012-06-20 11:46 | 24C | 0.93289 | 2.7425e-06 | -9.5367e-07 | 0.93289 | 32.3746 | 0.00010553 | #VALUE!
2012-25#60 | 84 | CS 00 | 318 | 2012-06-20 11:53 | 24C | 0.9876 | 6.2057e-06 | -9.5367e-07 | 0.9876 | 34.5126 | 0.00024489 | #VALUE!
2012-25#55 | 84 | CS 00 | 336 | 2012-06-20 11:42 | 24C | 0.9346 | 5.5668e-06 | -9.5367e-07 | 0.9346 | 32.441 | 0.00021707 | #VALUE!
2012-25#53 | 89 | CS 02 | 343 | 2012-06-20 11:37 | 24C | 0.98103 | 3.9651e-06 | -9.5367e-07 | 0.98103 | 34.2546 | 0.00015764 | #VALUE!
2012-25#58 | 89 | CS 02 | 358 | 2012-06-20 11:48 | 24C | 0.90429 | 4.3195e-06 | -9.5367e-07 | 0.90429 | 31.2654 | 0.00016674 | #VALUE!
2012-25#54 | 93 | CS 04 | 365 | 2012-06-20 11:40 | 24C | 0.90768 | 4.1859e-06 | -9.5367e-07 | 0.90768 | 31.3964 | 0.00016229 | #VALUE!
2012-25#56 | 104 | CS 06 | 377 | 2012-06-20 11:44 | 24C | 0.89084 | 2.7425e-06 | -9.5367e-07 | 0.89083 | 30.7455 | 0.00010553 | #VALUE!
2012-25#59 | 111 | CS 09 | 390 | 2012-06-20 11:51 | 24C | 0.89524 | 6.0358e-06 | -9.5367e-07 | 0.89524 | 30.9154 | 0.00023409 | #VALUE!
2012-25#52 | 115 | UBC 7 | 399 | 2012-06-20 11:35 | 24C | 0.87473 | 2.4925e-06 | -9.5367e-07 | 0.87473 | 30.1249 | 9.5838e-05 | #VALUE!
2012-25#61 |  |  | Loop 1 | 2012-06-20 13:18 | 24C | 0.9043 | 5.0142e-06 | -9.5367e-07 | 0.9043 | 31.2658 | 0.00019414 | #VALUE!
2012-25#62 |  |  | Loop 2 | 2012-06-20 13:21 | 24C | 0.91881 | 2.89e-06 | -9.5367e-07 | 0.91881 | 31.8276 | 0.00011264 | #VALUE!
2012-25#63 |  |  | Loop 3 | 2012-06-20 13:23 | 24C | 0.92016 | 2.4912e-06 | -9.5367e-07 | 0.92016 | 31.8802 | 9.7214e-05 | #VALUE!
2012-25#64 |  |  | Loop 4 | 2012-06-20 13:26 | 24C | 0.91453 | 4.3337e-06 | -9.5367e-07 | 0.91453 | 31.6617 | 0.00016818 | #VALUE!
2012-25#65 |  |  | Loop 5 | 2012-06-20 13:28 | 24C | 0.91129 | 4.4783e-06 | -9.5367e-07 | 0.91129 | 31.5363 | 0.00017401 | #VALUE!
2012-25#66 |  |  | Loop 6 | 2012-06-20 13:30 | 24C | 0.91132 | 2.4612e-06 | -9.5367e-07 | 0.91132 | 31.5373 | 9.68e-05 | #VALUE!
2012-25#67 |  |  | Loop 7 | 2012-06-20 13:32 | 24C | 0.90447 | 3.1415e-06 | -9.5367e-07 | 0.90447 | 31.2721 | 0.0001214 | #VALUE!
2012-25#68 |  |  | Loop 8 | 2012-06-20 13:35 | 24C | 0.90809 | 4.6354e-06 | -9.5367e-07 | 0.90809 | 31.4124 | 0.0001792 | #VALUE!
2012-25#69 |  | Chandler | Pine Is | 2012-06-20 13:38 | 24C | 0.91017 | 2.8897e-06 | -9.5367e-07 | 0.91017 | 31.4927 | 0.00011195 | #VALUE!
2012-25#70 |  | Chandler | Pine Is | 2012-06-20 13:40 | 24C | 0.91014 | 2.1278e-06 | -9.5367e-07 | 0.91014 | 31.4917 | 8.2919e-05 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-06-20 09:02 | 24C | 0.99989 | 2.2128e-06 | -9.5367e-07 | 0.99989
2012-25#1 | DWR-P24 | 2012-06-20 09:06 | 24C | 0.98948 | 6.5318e-06 | -9.5367e-07 | 0.98948 | 34.5865 | 0.00025694
2012-25#2 | LB 14-89 | 2012-06-20 09:09 | 24C | 0.98496 | 3.2141e-06 | -9.5367e-07 | 0.98496 | 34.4088 | 0.00012735
2012-25#3 | LB 04-26 | 2012-06-20 09:11 | 24C | 0.93489 | 2.4908e-06 | -9.5367e-07 | 0.93489 | 32.4524 | 9.6609e-05
2012-25#4 | LG 01-202 | 2012-06-20 09:14 | 24C | 0.89917 | 4.5981e-06 | -9.5367e-07 | 0.89917 | 31.0675 | 0.00017855
2012-25#5 | LB 12-74 | 2012-06-20 09:16 | 24C | 0.97677 | 3.1418e-06 | -9.5367e-07 | 0.97677 | 34.0875 | 0.00012446
2012-25#6 | LG 02-209 | 2012-06-20 09:18 | 24C | 0.91265 | 5.3056e-06 | -9.5367e-07 | 0.91265 | 31.5889 | 0.0002049
2012-25#7 | LG 06-228 | 2012-06-20 09:21 | 24C | 0.97769 | 4.8372e-06 | -9.5367e-07 | 0.97769 | 34.1237 | 0.00018955 | SAL: Sample ID might be #225. It is!
2012-25#8 | LB 02-20 | 2012-06-20 09:23 | 24C | 0.89033 | 2.2394e-06 | -9.5367e-07 | 0.89033 | 30.726 | 8.5736e-05
2012-25#9 | LC 06-169b | 2012-06-20 09:25 | 24C | 0.88197 | 3.2142e-06 | -9.5367e-07 | 0.88197 | 30.4036 | 0.00012345
2012-25#10 | LC 09-151 | 2012-06-20 09:27 | 24C | 0.88641 | 2.7425e-06 | -9.5367e-07 | 0.88641 | 30.575 | 0.00010553
2012-25#11 | LB 09-60 | 2012-06-20 09:30 | 24C | 0.87088 | 3.4657e-06 | -9.5367e-07 | 0.87088 | 29.9768 | 0.00013295
2012-25#12 | SI 03-12 | 2012-06-20 09:56 | 24C | 0.83003 | 5.1523e-06 | -9.5367e-07 | 0.83003 | 28.4129 | 0.0001978
2012-25#13 | LB 08-52 | 2012-06-20 09:58 | 24C | 0.87402 | 4.8371e-06 | -9.5367e-07 | 0.87402 | 30.0979 | 0.00018649
2012-25#14 | LB 11-72 | 2012-06-20 10:00 | 24C | 0.89049 | 4.0096e-06 | -9.5367e-07 | 0.89049 | 30.7322 | 0.0001552
2012-25#15 | LC 11-121 | 2012-06-20 10:03 | 24C | 0.97869 | 3.9739e-06 | -9.5367e-07 | 0.97868 | 34.1626 | 0.0001563
2012-25#16 | LC 11-134 | 2012-06-20 10:05 | 24C | 0.87238 | 2.2391e-06 | -9.5367e-07 | 0.87238 | 30.0347 | 8.6153e-05
2012-25#17 | LC 11-125 | 2012-06-20 10:11 | 24C | 0.97254 | 3.6105e-06 | -9.5367e-07 | 0.97254 | 33.9217 | 0.00014239
2012-25#18 | LC 04-179 | 2012-06-20 10:15 | 24C | 0.89757 | 3.6104e-06 | -9.5367e-07 | 0.89757 | 31.0056 | 0.00013848
2012-25#19 | SI 03-2 | 2012-06-20 10:17 | 24C | 0.90451 | 4.6144e-06 | -9.5367e-07 | 0.90451 | 31.2738 | 0.00017887
2012-25#20 | LC 09-137 | 2012-06-20 10:19 | 24C | 0.97867 | 2.8897e-06 | -9.5367e-07 | 0.97866 | 34.1618 | 0.00011383
2012-25#21 | LC 11-133 | 2012-06-20 10:21 | 24C | 0.91467 | 3.1414e-06 | -9.5367e-07 | 0.91467 | 31.6673 | 0.00012206
2012-25#22 | LG 04-222 | 2012-06-20 10:24 | 24C | 0.88994 | 3.4662e-06 | -9.5367e-07 | 0.88994 | 30.711 | 0.00013331
2012-25#23 | LC 11-120 | 2012-06-20 10:26 | 24C | 0.98223 | 3.2142e-06 | -9.5367e-07 | 0.98223 | 34.3015 | 0.00012382
2012-25#24 | LC 01-193 | 2012-06-20 10:29 | 24C | 0.90365 | 3.2141e-06 | -9.5367e-07 | 0.90365 | 31.2404 | 0.00012366
2012-25#25 | P 24-DWR | 2012-06-20 10:31 | 24C | 0.9894 | 4.1644e-06 | -9.5367e-07 | 0.9894 | 34.5832 | 0.0001637
2012-25#26 | LC 11-115 | 2012-06-20 10:33 | 24C | 0.98779 | 5.5845e-06 | -9.5367e-07 | 0.98779 | 34.5197 | 0.0002201
2012-25#27 | LC 11-123 | 2012-06-20 10:36 | 24C | 0.97505 | 4.1014e-06 | -9.5367e-07 | 0.97505 | 34.0201 | 0.00015854
2012-25#28 | LC 11-129 | 2012-06-20 10:38 | 24C | 0.95684 | 2.2391e-06 | -9.5367e-07 | 0.95684 | 33.3079 | 8.7009e-05
2012-25#29 | LC 11-119 | 2012-06-20 10:40 | 24C | 0.98284 | 2.7425e-06 | -9.5367e-07 | 0.98283 | 34.3254 | 0.00010656
2012-25#30 | LC 11-128 | 2012-06-20 10:42 | 24C | 0.96618 | 3.456e-06 | -9.5367e-07 | 0.96618 | 33.673 | 0.00013596
2012-25#31 | LC 11-116 | 2012-06-20 10:44 | 24C | 0.98654 | 5.8979e-06 | -9.5367e-07 | 0.98654 | 34.471 | 0.00023142
2012-25#32 | LB 01-15 | 2012-06-20 10:47 | 24C | 0.90827 | 3.359e-06 | -9.5367e-07 | 0.90827 | 31.4194 | 0.00013147
2012-25#33 | LC 11-117 | 2012-06-20 10:49 | 24C | 0.98481 | 5.0935e-06 | -9.5367e-07 | 0.98481 | 34.403 | 0.00019937
2012-25#34 | LC 11-122 | 2012-06-20 10:51 | 24C | 0.97698 | 3.8599e-06 | -9.5367e-07 | 0.97698 | 34.0959 | 0.0001516
2012-25#35 | LC 11-118 | 2012-06-20 10:54 | 24C | 0.98336 | 5.5032e-06 | -9.5367e-07 | 0.98336 | 34.346 | 0.00021408
2012-25#36 | LG 06-239 | 2012-06-20 10:56 | 24C | 0.89201 | 3.1147e-06 | -9.5367e-07 | 0.89201 | 30.7908 | 0.00012001
2012-25#37 | LC 11-132 | 2012-06-20 10:58 | 24C | 0.93263 | 6.0439e-06 | -9.5367e-07 | 0.93263 | 32.3643 | 0.00023423
2012-25#38 | LC 11-124 | 2012-06-20 11:00 | 24C | 0.97376 | 4.0099e-06 | -9.5367e-07 | 0.97376 | 33.9696 | 0.00015628
2012-25#39 | LB 06-38 | 2012-06-20 11:03 | 24C | 0.8627 | 3.1417e-06 | -9.5367e-07 | 0.8627 | 29.6628 | 0.00012121
2012-25#40 | LC 11-127 | 2012-06-20 11:05 | 24C | 0.96954 | 4.3339e-06 | -9.5367e-07 | 0.96954 | 33.8044 | 0.00016904
2012-25#41 | LC 11-116 | 2012-06-20 11:09 | 24C | 0.98651 | 4.5983e-06 | -9.5367e-07 | 0.98651 | 34.4698 | 0.00017962
2012-25#42 | LC 08-162 | 2012-06-20 11:11 | 24C | 0.88408 | 4.1136e-06 | -9.5367e-07 | 0.88408 | 30.4852 | 0.00015932
2012-25#43 | LB 14-105 | 2012-06-20 11:14 | 24C | 0.92279 | 2.8897e-06 | -9.5367e-07 | 0.92279 | 31.9822 | 0.00011239
2012-25#44 | LC 11-131 | 2012-06-20 11:16 | 24C | 0.93816 | 4.3338e-06 | -9.5367e-07 | 0.93816 | 32.5794 | 0.0001684
2012-25#45 | LC 11-135 | 2012-06-20 11:19 | 24C | 0.86983 | 3.4657e-06 | -9.5367e-07 | 0.86982 | 29.9365 | 0.00013294
2012-25#46 | LC 02-186 | 2012-06-20 11:21 | 24C | 0.89922 | 3.3587e-06 | -9.5367e-07 | 0.89922 | 31.0692 | 0.00013052
2012-25#47 | LC 11-130 | 2012-06-20 11:23 | 24C | 0.9442 | 3.5809e-06 | -9.5367e-07 | 0.94419 | 32.8145 | 0.00013736
2012-25#48 | LC 11-126 | 2012-06-20 11:25 | 24C | 0.97126 | 4.9384e-06 | -9.5367e-07 | 0.97126 | 33.8718 | 0.00019299
2012-25#49 | LBP 07-245 | 2012-06-20 11:28 | 24C | 0.98758 | 3.5406e-06 | -9.5367e-07 | 0.98758 | 34.5117 | 0.00013757
2012-25#50 | LBP 07-263 | 2012-06-20 11:31 | 24C | 0.91277 | 4.3047e-06 | -9.5367e-07 | 0.91277 | 31.5935 | 0.00016582
2012-25#51 | LBP 05-285 | 2012-06-20 11:33 | 24C | 0.92045 | 3.5989e-06 | -9.5367e-07 | 0.92045 | 31.8914 | 0.00013993
2012-25#52 | UBC 7-399 | 2012-06-20 11:35 | 24C | 0.87473 | 2.4925e-06 | -9.5367e-07 | 0.87473 | 30.1249 | 9.5838e-05
2012-25#53 | CS 02-343 | 2012-06-20 11:37 | 24C | 0.98103 | 3.9651e-06 | -9.5367e-07 | 0.98103 | 34.2546 | 0.00015764
2012-25#54 | CS 04-365 | 2012-06-20 11:40 | 24C | 0.90768 | 4.1859e-06 | -9.5367e-07 | 0.90768 | 31.3964 | 0.00016229
2012-25#55 | CS 00-336 | 2012-06-20 11:42 | 24C | 0.9346 | 5.5668e-06 | -9.5367e-07 | 0.9346 | 32.441 | 0.00021707
2012-25#56 | CS 06-377 | 2012-06-20 11:44 | 24C | 0.89084 | 2.7425e-06 | -9.5367e-07 | 0.89083 | 30.7455 | 0.00010553
2012-25#57 | LBP 03-295 | 2012-06-20 11:46 | 24C | 0.93289 | 2.7425e-06 | -9.5367e-07 | 0.93289 | 32.3746 | 0.00010553
2012-25#58 | CS 02-358 | 2012-06-20 11:48 | 24C | 0.90429 | 4.3195e-06 | -9.5367e-07 | 0.90429 | 31.2654 | 0.00016674
2012-25#59 | CS 09-390 | 2012-06-20 11:51 | 24C | 0.89524 | 6.0358e-06 | -9.5367e-07 | 0.89524 | 30.9154 | 0.00023409
2012-25#60 | CS 00-318 | 2012-06-20 11:53 | 24C | 0.9876 | 6.2057e-06 | -9.5367e-07 | 0.9876 | 34.5126 | 0.00024489
2012-25#61 | Loop 1 | 2012-06-20 13:18 | 24C | 0.9043 | 5.0142e-06 | -9.5367e-07 | 0.9043 | 31.2658 | 0.00019414
2012-25#62 | Loop 2 | 2012-06-20 13:21 | 24C | 0.91881 | 2.89e-06 | -9.5367e-07 | 0.91881 | 31.8276 | 0.00011264
2012-25#63 | Loop 3 | 2012-06-20 13:23 | 24C | 0.92016 | 2.4912e-06 | -9.5367e-07 | 0.92016 | 31.8802 | 9.7214e-05
2012-25#64 | Loop 4 | 2012-06-20 13:26 | 24C | 0.91453 | 4.3337e-06 | -9.5367e-07 | 0.91453 | 31.6617 | 0.00016818
2012-25#65 | Loop 5 | 2012-06-20 13:28 | 24C | 0.91129 | 4.4783e-06 | -9.5367e-07 | 0.91129 | 31.5363 | 0.00017401
2012-25#66 | Loop 6 | 2012-06-20 13:30 | 24C | 0.91132 | 2.4612e-06 | -9.5367e-07 | 0.91132 | 31.5373 | 9.68e-05
2012-25#67 | Loop 7 | 2012-06-20 13:32 | 24C | 0.90447 | 3.1415e-06 | -9.5367e-07 | 0.90447 | 31.2721 | 0.0001214
2012-25#68 | Loop 8 | 2012-06-20 13:35 | 24C | 0.90809 | 4.6354e-06 | -9.5367e-07 | 0.90809 | 31.4124 | 0.0001792
2012-25#69 | Chandler- Pine Is | 2012-06-20 13:38 | 24C | 0.91017 | 2.8897e-06 | -9.5367e-07 | 0.91017 | 31.4927 | 0.00011195
2012-25#70 | Chandler-Pine Is | 2012-06-20 13:40 | 24C | 0.91014 | 2.1278e-06 | -9.5367e-07 | 0.91014 | 31.4917 | 8.2919e-05