## QF CHL Final
Note: flags and comments apply to chl values only. No flags or comments are assigned for phaeopigment values
HEADER: | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -80C prior to analysis
Samples were extracted in 90% acetone for 24 hours at -20C within 10 days of collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
The average of two samples is reported. Variability is assessed as the %CV (std dev/mean*100).
For details see worksheet "CV %" in file QF2012-25chl.xls
Cruise_Number | Event | Station | Sample_Number | CHL:extracted | Flag:CHL:extracted | Phaeo-Pigment:Extracted | Comments (preceded by CHL:)
2012-25 | 2 | LB01 | 13 | 1.5785 | 6 | 1.081
2012-25 | 2 | LB01 | 14 | 10.0783 | 36 | 0.15657 | CHL: assumed mis-sampling, 14A &15A reps switched
2012-25 | 2 | LB01 | 15 | 12.1504 | 36 | -0.27338 | CHL: assumed mis-sampling, 14A &15A reps switched
2012-25 | 3 | LB02 | 18 | 4.0899 | 6 | 0.36397
2012-25 | 3 | LB02 | 19 | 5.8474 | 6 | 0.029161
2012-25 | 3 | LB02 | 20 | 10.4635 | 6 | -0.23372
2012-25 | 4 | LB03 | 23 | 2.883 | 6 | -0.035106
2012-25 | 5 | LB04 | 28 | 6.2488 | 36 | 0.52112 | CHL: variability between reps >15%CV
2012-25 | 5 | LB04 | 29 | 0.7811 | 6 | 0.19747
2012-25 | 5 | LB04 | 30 | 0.71058 | 6 | 0.11565
2012-25 | 9 | LB05 | 31 | 1.6327 | 6 | 0.30376
2012-25 | 10 | LB06 | 36 | 5.1314 | 6 | 0.98271
2012-25 | 10 | LB06 | 37 | 1.093 | 6 | 0.16442
2012-25 | 10 | LB06 | 38 | 1.4483 | 6 | 0.16802
2012-25 | 25 | LB08 | 50 | 0.64549 | 6 | 0.10844
2012-25 | 25 | LB08 | 51 | 0.41116 | 6 | 0.039133
2012-25 | 25 | LB08 | 52 | 0.42608 | 6 | 0.043581
2012-25 | 26 | LB09 | 58 | 0.69431 | 6 | 0.059624
2012-25 | 26 | LB09 | 59 | 0.39191 | 6 | 0.040057
2012-25 | 26 | LB09 | 60 | 0.40031 | 6 | 0.03449
2012-25 | 27 | LB10 | 61 | 0.69702 | 6 | 0.044002
2012-25 | 28 | LB11 | 70 | 2.5847 | 6 | 0.22966
2012-25 | 28 | LB11 | 71 | 0.68075 | 6 | 0.11708
2012-25 | 28 | LB11 | 72 | 0.5804 | 6 | 0.067673
2012-25 | 30 | LB12 | 85 | 1.1093 | 6 | 0.22561
2012-25 | 30 | LB12 | 86 | 1.2205 | 6 | 0.098917
2012-25 | 30 | LB12 | 87 | 0.44208 | 6 | 0.10013
2012-25 | 32 | LB14 | 103 | 0.45564 | 36 | 0.099482 | CHL: assumed mis-sampling, 103A &104A reps switched
2012-25 | 32 | LB14 | 104 | 1.0577 | 36 | 0.11706 | CHL: assumed mis-sampling, 103A &104A reps switched
2012-25 | 32 | LB14 | 105 | 1.0984 | 6 | 0.1151
2012-25 | 33 | LB15 | 106 | 0.84348 | 6 | 0.17123
2012-25 | 40 | LC11 | 133 | 1.5215 | 6 | 0.094795
2012-25 | 40 | LC11 | 134 | 0.78923 | 6 | 0.13769
2012-25 | 40 | LC11 | 135 | 0.71058 | 6 | 0.15179
2012-25 | 43 | LC09 | 148 | 4.2418 | 6 | 0.57615
2012-25 | 43 | LC09 | 149 | 2.7203 | 6 | 0.42455
2012-25 | 43 | LC09 | 150 | 1.6273 | 6 | 0.39955
2012-25 | 43 | LC09 | 151 | 1.2639 | 6 | 0.30081
2012-25 | 46 | LC08 | 160 | 3.0973 | 6 | 0.60785
2012-25 | 46 | LB08 | 161 | 1.2774 | 6 | 0.27176
2012-25 | 46 | LC08 | 162 | 0.80822 | 6 | 0.28137
2012-25 | 49 | LC06 | 167 | 14.5968 | 36 | 0.9105 | CHL: variability between reps >15%CV
2012-25 | 49 | LC06 | 168 | 2.2863 | 6 | 0.011608
2012-25 | 49 | LC06 | 169 | 1.0604 | 6 | -0.017336
2012-25 | 53 | LC04 | 177 | 3.854 | 6 | 0.5328
2012-25 | 53 | LC04 | 178 | 16.1102 | 6 | 0.49704
2012-25 | 53 | LC04 | 179 | 12.9749 | 36 | 0.5081 | CHL: variability between reps >15%CV
2012-25 | 55 | LC02 | 184 | 2.1317 | 6 | 0.65936
2012-25 | 55 | LC02 | 185 | 20.634 | 6 | 2.1337
2012-25 | 55 | LC02 | 186 | 19.5275 | 6 | 0.4053
2012-25 | 56 | LC01 | 191 | 4.3611 | 6 | 0.53427
2012-25 | 56 | LC01 | 192 | 7.8923 |  | 0.15305 | rep not used, analyst error
2012-25 | 56 | LC01 | 193 | 13.5029 | 6 | 0.38809
2012-25 | 57 | LG01 | 200 | 1.0008 | 6 | 1.2662
2012-25 | 57 | LG01 | 201 | 3.8892 | 6 | 0.67053
2012-25 | 57 | LG01 | 202 | 16.5061 | 6 | -0.36885
2012-25 | 58 | LG02 | 207 | 2.3894 | 6 | 0.66506
2012-25 | 58 | LG02 | 208 | 10.4255 | 6 | 0.14507
2012-25 | 58 | LG02 | 209 | 10.4472 | 6 | 0.11821
2012-25 | 62 | LG04 | 220 | 1.7575 | 6 | 0.6799
2012-25 | 62 | LG04 | 221 | 1.7846 | 6 | 0.50045
2012-25 | 62 | LG04 | 222 | 1.5568 |  | 0.47782 | rep not used, analyst error
2012-25 | 64 | LG06 | 237 | 1.8388 |  | 0.67083 | rep not used, analyst error
2012-25 | 64 | LG06 | 238 | 3.675 | 6 | 0.28836
2012-25 | 64 | LG06 | 239 | 3.5285 | 6 | 0.33928
2012-25 | 69 | LBP07 | 261 | 1.4212 | 6 | 0.25711
2012-25 | 69 | LBP07 | 262 | 1.2937 | 6 | 0.30454
2012-25 | 69 | LBP07 | 263 | 1.3751 | 6 | 0.25416
2012-25 | 72 | LBP05 | 283 | 1.4537 |  | 0.3485 | rep not used, analyst error
2012-25 | 72 | LBP05 | 284 | 3.8621 |  | 0.23806 | rep not used, analyst error
2012-25 | 72 | LBP05 | 285 | 3.9814 | 6 | 0.24783
2012-25 | 75 | LBP03 | 293 | 0.93569 | 6 | 0.41468
2012-25 | 75 | LBP03 | 294 | 0.96824 | 6 | 0.43635
2012-25 | 75 | LBP03 | 295 | 0.93027 | 6 | 0.46399
2012-25 | 80 | LQ03 | 312 | 11.0656 | 6 | 0.34672
2012-25 | 84 | CS00 | 334 | 0.7811 | 6 | 0.10968
2012-25 | 84 | CS00 | 335 | 0.80822 | 6 | 0.13162
2012-25 | 84 | CS00 | 336 | 0.81093 | 6 | 0.1005
2012-25 | 89 | CS02 | 356 | 4.8005 | 6 | 0.64744
2012-25 | 89 | CS02 | 357 | 5.5816 | 6 | 0.7752
2012-25 | 89 | CS02 | 358 | 6.5363 | 6 | 0.71904
2012-25 | 93 | CS04 | 363 | 4.2445 | 6 | 1.2602
2012-25 | 93 | CS04 | 364 | 5.8528 | 6 | 1.2786
2012-25 | 93 | CS04 | 365 | 5.6467 | 6 | 1.1129
2012-25 | 104 | CS06 | 375 | 4.1631 | 6 | 0.93623
2012-25 | 104 | CS06 | 376 | 9.205 | 6 | 0.9834
2012-25 | 104 | CS06 | 377 | 8.8145 | 6 | 0.76977
2012-25 | 111 | CS09 | 388 | 3.8241 | 6 | 1.221
2012-25 | 111 | CS09 | 389 | 5.6792 | 6 | 1.6174
2012-25 | 111 | CS09 | 390 | 5.3158 | 6 | 1.1907
2012-25 | 115 | UBC7 | 397 | 0.17358 | 6 | 0.46933
2012-25 | 115 | UBC7 | 398 | 1.1608 | 6 | 0.50457
2012-25 | 115 | UBC7 | 399 | 3.8106 | 6 | 0.51422
2012-25 |  |  | LOOP1 | 1.9961 | 6 | 0.56
2012-25 |  |  | LOOP2 | 1.0415 |  | 0.32181
2012-25 |  |  | LOOP3 | 2.1968 |  | 0.6175
2012-25 |  |  | LOOP4 | 1.4374 |  | 0.30281
2012-25 |  |  | LOOP5 | 3.6885 |  | 0.59238
2012-25 |  |  | LOOP6 | 2.5711 |  | 0.58921
2012-25 |  |  | LOOP7 | 2.3569 | 6 | 0.24835
2012-25 |  |  | LOOP8 | 2.3867 |  | 0.36052

## Raw-data
Cruise: |  | 2012-25, La Perouse, May, CS: Doug Yelland
Notes: |  | Chlorophyll samples were filtered onto 25mm GF/F filters and stored in glass scintillation vials at -80C prior to analysis
Samples were extracted in 90% acetone for 24 hours at -20C within 10 days of collection
and analyzed on a Turner 10AU flourometer calibrated with commerically pure chlorophyll a standard (Sigma)
fluorescence readings taken before and after acification were used to calculate chlorophyll and phaeopigment concentrations (Holm-Hansen 1978)
Analysis: |  | May 20-21, 2012 by Nina Nemcek and Chelsea Stanley
Fluorometer calibration |  |  | Apr 12, 2012: chl (ug/L)= 0.873*(1.952/(1.952-1)*Fo-Fa)*(vol ext/vol filtered)*(dilution factor)
Apr 12, 2012: phaeo (ug/L)= 0.873*(1.952/(1.952-1)*((1.952*Fa)-Fo)*1(vol ext/vol filtered)*(dilution factor)
Analysis Date | Analyst | Station | Sample | Rep | Volume Acetone | Volume filtered | Dilution | Fo | Fa | Chorophyll a (ug/L) | Phaeopigments (ug/L) | Rb/Ra | Flag | Comments from Filtration Log and Analyst
2012-05-21 | N2 | LB01 | 13 | A | 10 | 330 | 1 | 80.5 | 50.8 | 1.611 | 1.0123 | 1.5846
2012-05-21 | N2 | LB01 | 13 | B | 10 | 330 | 1 | 80.7 | 52.2 | 1.5459 | 1.1496 | 1.546
2012-05-21 | N2 | LB01 | 14 | A | 20 | 330 | 1 | 229 | 116 | 12.2589 | -0.27859 | 1.9741
2012-05-21 | N2 | LB01 | 14 | B | 10 | 330 | 4 | 104 | 53.9 | 10.8703 | 0.26314 | 1.9295
2012-05-21 | N2 | LB01 | 15 | A | 20 | 330 | 1 | 176 | 90.4 | 9.2864 | 0.04999 | 1.9469
2012-05-21 | N2 | LB01 | 15 | B | 20 | 330 | 1 | 225 | 114 | 12.0419 | -0.26818 | 1.9737
2012-05-21 | CS | LB02 | 18 | A | 10 | 330 | 1 | 170.8 | 91.4 | 4.3069 | 0.41294 | 1.8687
2012-05-21 | CS | LB02 | 18 | B | 10 | 330 | 1 | 152.5 | 81.1 | 3.8729 | 0.315 | 1.8804
2012-05-21 | CS | LB02 | 19 | A | 10 | 330 | 1 | 230.2 | 118.6 | 6.0535 | 0.070906 | 1.941
2012-05-21 | N2 | LB02 | 19 | B | 10 | 330 | 1 | 213 | 109 | 5.6413 | -0.012584 | 1.9541
2012-05-21 | N2 | LB02 | 20 | A | 20 | 330 | 1 | 190 | 96.1 | 10.1868 | -0.26175 | 1.9771
2012-05-21 | N2 | LB02 | 20 | B | 20 | 330 | 1 | 201 | 102 | 10.7401 | -0.20569 | 1.9706
2012-05-21 | CS | LB03 | 23 | A | 10 | 330 | 1 | 105 | 53.4 | 2.7989 | -0.041398 | 1.9663
2012-05-21 | CS | LB03 | 23 | B | 10 | 330 | 1 | 111.6 | 56.9 | 2.9671 | -0.028814 | 1.9613
2012-05-21 | N2 | LB04 | 28 | A | 20 | 330 | 1 | 94.3 | 49.9 | 4.8168 | 0.33683 | 1.8898
2012-05-21 | N2 | LB04 | 28 | B | 20 | 330 | 1 | 152 | 81.2 | 7.6808 | 0.70542 | 1.8719
2012-05-21 | CS | LB04 | 29 | A | 10 | 330 | 1 | 33.2 | 18.7 | 0.78652 | 0.17913 | 1.7754
2012-05-21 | CS | LB04 | 29 | B | 10 | 330 | 1 | 33.5 | 19.2 | 0.77567 | 0.2158 | 1.7448
2012-05-21 | N2 | LB04 | 30 | A | 10 | 330 | 1 | 29.3 | 15.9 | 0.72686 | 0.094209 | 1.8428
2012-05-21 | N2 | LB04 | 30 | B | 10 | 330 | 1 | 28.9 | 16.1 | 0.69431 | 0.13708 | 1.795
2012-05-21 | N2 | LB05 | 31 | A | 10 | 330 | 1 | 70.6 | 38.7 | 1.7303 | 0.26809 | 1.8243
2012-05-21 | N2 | LB05 | 31 | B | 10 | 330 | 1 | 64.6 | 36.3 | 1.5351 | 0.33943 | 1.7796
2012-05-21 | CS | LB06 | 36 | A | 10 | 330 | 1 | 208.4 | 118.4 | 4.8819 | 1.2322 | 1.7601
2012-05-21 | CS | LB06 | 36 | B | 10 | 330 | 1 | 217.6 | 118.4 | 5.3809 | 0.73319 | 1.8378
2012-05-21 | N2 | LB06 | 37 | A | 10 | 330 | 1 | 45.6 | 25 | 1.1174 | 0.17358 | 1.824
2012-05-21 | N2 | LB06 | 37 | B | 10 | 330 | 1 | 43.4 | 23.7 | 1.0686 | 0.15526 | 1.8312
2012-05-21 | CS | LB06 | 38 | A | 10 | 330 | 1 | 54.9 | 29.6 | 1.3723 | 0.15618 | 1.8547
2012-05-21 | CS | LB06 | 38 | B | 10 | 330 | 1 | 61.1 | 33 | 1.5242 | 0.17987 | 1.8515
2012-05-21 | N2 | LB08 | 50 | A | 10 | 330 | 1 | 26.6 | 14.6 | 0.65092 | 0.10302 | 1.8219
2012-05-21 | CS | LB08 | 50 | B | 10 | 330 | 1 | 26.4 | 14.6 | 0.64007 | 0.11387 | 1.8082
2012-05-21 | N2 | LB08 | 51 | A | 10 | 330 | 1 | 16.4 | 8.78 | 0.41333 | 0.040062 | 1.8679
2012-05-21 | N2 | LB08 | 51 | B | 10 | 330 | 1 | 16.2 | 8.66 | 0.40899 | 0.038204 | 1.8707
2012-05-21 | CS | LB08 | 52 | A | 10 | 330 | 1 | 17.4 | 9.3 | 0.43937 | 0.040877 | 1.871
2012-05-21 | CS | LB08 | 52 | B | 10 | 330 | 1 | 16.5 | 8.89 | 0.41279 | 0.046284 | 1.856
2012-05-21 | N2 | LB09 | 58 | A | 10 | 330 | 1 | 28 | 14.8 | 0.71601 | 0.048255 | 1.8919
2012-05-21 | N2 | LB09 | 58 | B | 10 | 330 | 1 | 26.8 | 14.4 | 0.67261 | 0.070993 | 1.8611
2012-05-21 | CS | LB09 | 59 | A | 10 | 330 | 1 | 16.28 | 8.77 | 0.40736 | 0.045512 | 1.8563
2012-05-21 | CS | LB09 | 59 | B | 10 | 330 | 1 | 14.9 | 7.96 | 0.37645 | 0.034603 | 1.8719
2012-05-21 | CS | LB09 | 60 | A | 10 | 330 | 1 | 15.2 | 8.16 | 0.38187 | 0.039506 | 1.8627
2012-05-21 | N2 | LB09 | 60 | B | 10 | 330 | 1 | 16.4 | 8.68 | 0.41876 | 0.029473 | 1.8894
2012-05-21 | CS | LB10 | 61 | A | 10 | 330 | 1 | 27.5 | 14.5 | 0.70516 | 0.043611 | 1.8966
2012-05-21 | N2 | LB10 | 61 | B | 10 | 330 | 1 | 26.9 | 14.2 | 0.68889 | 0.044392 | 1.8944
2012-05-21 | CS | LB11 | 70 | A | 10 | 330 | 1 | 105.2 | 55.8 | 2.6796 | 0.20187 | 1.8853
2012-05-21 | CS | LB11 | 70 | B | 10 | 330 | 1 | 99.1 | 53.2 | 2.4898 | 0.25746 | 1.8628
2012-05-21 | N2 | LB11 | 71 | A | 10 | 330 | 1 | 27.5 | 15 | 0.67804 | 0.096552 | 1.8333
2012-05-21 | N2 | LB11 | 71 | B | 10 | 330 | 1 | 28.5 | 15.9 | 0.68346 | 0.1376 | 1.7925
2012-05-21 | CS | LB11 | 72 | A | 10 | 330 | 1 | 24.2 | 13.2 | 0.59667 | 0.084966 | 1.8333
2012-05-21 | CS | LB11 | 72 | B | 10 | 330 | 1 | 22.3 | 11.9 | 0.56413 | 0.050381 | 1.8739
2012-05-21 | N2 | LB12 | 85 | A | 10 | 330 | 1 | 45.1 | 25 | 1.0903 | 0.2007 | 1.804
2012-05-21 | CS | LB12 | 85 | B | 10 | 330 | 1 | 47.5 | 26.7 | 1.1283 | 0.25052 | 1.779
2012-05-21 | CS | LB12 | 86 | A | 10 | 330 | 1 | 49.8 | 26.6 | 1.2584 | 0.11517 | 1.8722
2012-05-21 | CS | LB12 | 86 | B | 10 | 330 | 1 | 46.3 | 24.5 | 1.1825 | 0.082666 | 1.8898
2012-05-21 | N2 | LB12 | 87 | A | 10 | 330 | 1 | 18.7 | 10.2 | 0.46106 | 0.065656 | 1.8333
2012-05-21 | CS | LB12 | 87 | B | 10 | 330 | 1 | 18.6 | 10.8 | 0.42309 | 0.13461 | 1.7222
2012-05-21 | N2 | LB14 | 103 | A | 10 | 330 | 1 | 41.2 | 22.1 | 1.036 | 0.10519 | 1.8643
2012-05-21 | N2 | LB14 | 103 | B | 10 | 330 | 1 | 18.8 | 10.6 | 0.44479 | 0.10258 | 1.7736
2012-05-21 | N2 | LB14 | 104 | A | 10 | 330 | 1 | 19.5 | 10.9 | 0.46649 | 0.096379 | 1.789
2012-05-21 | CS | LB14 | 104 | B | 10 | 330 | 1 | 43.3 | 23.4 | 1.0794 | 0.12892 | 1.8504
2012-05-21 | N2 | LB14 | 105 | A | 10 | 330 | 1 | 43.4 | 23.5 | 1.0794 | 0.13409 | 1.8468
2012-05-21 | CS | LB14 | 105 | B | 10 | 330 | 1 | 44.1 | 23.5 | 1.1174 | 0.096118 | 1.8766
2012-05-21 | N2 | LB15 | 106 | A | 10 | 330 | 1 | 33.8 | 18.7 | 0.81907 | 0.14659 | 1.8075
2012-05-21 | CS | LB15 | 106 | B | 10 | 330 | 1 | 36.6 | 20.6 | 0.86789 | 0.19588 | 1.7767
2012-05-21 | CS | LC11 | 133 | A | 10 | 330 | 1 | 60.8 | 32.1 | 1.5568 | 0.10085 | 1.8941
2012-05-21 | CS | LC11 | 133 | B | 10 | 330 | 1 | 57.9 | 30.5 | 1.4863 | 0.088741 | 1.8984
2012-05-21 | N2 | LC11 | 134 | A | 10 | 330 | 1 | 31.9 | 17.6 | 0.77567 | 0.13318 | 1.8125
2012-05-21 | N2 | LC11 | 134 | B | 10 | 330 | 1 | 33.1 | 18.3 | 0.8028 | 0.1422 | 1.8087
2012-05-21 | N2 | LC11 | 135 | A | 10 | 330 | 1 | 28.9 | 15.9 | 0.70516 | 0.11591 | 1.8176
2012-05-21 | CS | LC11 | 135 | B | 10 | 330 | 1 | 30.7 | 17.5 | 0.71601 | 0.18768 | 1.7543
2012-05-21 | N2 | LC09 | 148 | A | 10 | 330 | 1 | 172 | 93.9 | 4.2364 | 0.61255 | 1.8317
2012-05-21 | N2 | LC09 | 148 | B | 10 | 330 | 1 | 171 | 92.7 | 4.2472 | 0.53974 | 1.8447
2012-05-21 | CS | LC09 | 149 | A | 10 | 330 | 1 | 113.1 | 62.6 | 2.7393 | 0.49335 | 1.8067
2012-05-21 | N2 | LC09 | 149 | B | 10 | 330 | 1 | 109 | 59.2 | 2.7013 | 0.35575 | 1.8412
2012-05-21 | N2 | LC09 | 150 | A | 10 | 330 | 1 | 66 | 37.1 | 1.5676 | 0.3482 | 1.779
2012-05-21 | CS | LC09 | 150 | B | 10 | 330 | 1 | 72.5 | 41.4 | 1.687 | 0.45091 | 1.7512
2012-05-21 | CS | LC09 | 151 | A | 10 | 330 | 1 | 52.5 | 29.4 | 1.253 | 0.26518 | 1.7857
2012-05-21 | CS | LC09 | 151 | B | 10 | 330 | 1 | 54.7 | 31.2 | 1.2747 | 0.33644 | 1.7532
2012-05-21 | CS | LC08 | 160 |  | 10 | 330 | 1 | 129.7 | 73 | 3.0756 | 0.69409 | 1.7767
2012-05-21 | N2 | LC08 | 160 |  | 10 | 330 | 1 | 128 | 70.5 | 3.119 | 0.5216 | 1.8156
2012-05-21 | CS | LB08 | 161 | A | 10 | 330 | 1 | 54.1 | 30.4 | 1.2856 | 0.28428 | 1.7796
2012-05-21 | N2 | LC08 | 161 | B | 10 | 330 | 1 | 53 | 29.6 | 1.2693 | 0.25924 | 1.7905
2012-05-21 | N2 | LC08 | 162 | A | 10 | 330 | 1 | 35.2 | 20.8 | 0.7811 | 0.293 | 1.6923
2012-05-21 | CS | LC08 | 162 | B | 10 | 330 | 1 | 36.8 | 21.4 | 0.83534 | 0.26974 | 1.7196
2012-05-21 | CS | LC06 | 167 | A | 20 | 330 | 1 | 215.4 | 115.3 | 10.8594 | 1.0486 | 1.8682
2012-05-21 | N2 | LC06 | 167 | B | 20 | 330 | 1 | 354 | 185 | 18.3341 | 0.77242 | 1.9135
2012-05-21 | CS | LC06 | 168 | A | 10 | 330 | 1 | 86.1 | 44.3 | 2.2674 | 0.020265 | 1.9436
2012-05-21 | CS | LC06 | 168 | B | 10 | 330 | 1 | 87.2 | 44.7 | 2.3053 | 0.0029508 | 1.9508
2012-05-21 | N2 | LC06 | 169 | A | 10 | 330 | 1 | 40.6 | 20.6 | 1.0849 | -0.02109 | 1.9709
2012-05-21 | N2 | LC06 | 169 | B | 10 | 330 | 1 | 38.9 | 19.8 | 1.036 | -0.013582 | 1.9646
2012-05-21 | N2 | LC04 | 177 | A | 10 | 330 | 1 | 160 | 86.8 | 3.9706 | 0.51171 | 1.8433
2012-05-21 | N2 | LC04 | 177 | B | 10 | 330 | 1 | 152 | 83.1 | 3.7373 | 0.55389 | 1.8291
2012-05-21 | CS | LC04 | 178 | A | 20 | 330 | 1 | 326.7 | 171 | 16.8912 | 0.76938 | 1.9105
2012-05-21 | CS | LC04 | 178 | B | 20 | 330 | 1 | 291.9 | 150.6 | 15.3291 | 0.2247 | 1.9382
2012-05-21 | N2 | LC04 | 179 | A | 20 | 330 | 1 | 280 | 145 | 14.6456 | 0.3298 | 1.931
2012-05-21 | CS | LC04 | 179 | B | 20 | 330 | 1 | 220.3 | 116.1 | 11.3042 | 0.68641 | 1.8975
2012-05-21 | CS | LC02 | 184 | A | 10 | 330 | 1 | 90.2 | 52.7 | 2.0341 | 0.68728 | 1.7116
2012-05-21 | CS | LC02 | 184 | B | 10 | 330 | 1 | 96.5 | 55.4 | 2.2294 | 0.63143 | 1.7419
2012-05-21 | CS | LC02 | 185 | A | 20 | 330 | 1 | 385.3 | 201.3 | 19.9614 | 0.82857 | 1.9141
2012-05-21 | N2 | LC02 | 185 | B | 20 | 330 | 4 | 109 | 59.9 | 21.3066 | 3.4389 | 1.8197
2012-05-20 | N2 | LC02 | 186 | A | 20 | 330 | 1 | 383 | 198 | 20.0699 | 0.37927 | 1.9343
2012-05-20 | N2 | LC02 | 186 | B | 20 | 330 | 1 | 363 | 188 | 18.985 | 0.43134 | 1.9309
2012-05-20 | CS | LC01 | 191 | A | 10 | 330 | 1 | 174.2 | 93.9 | 4.3557 | 0.49322 | 1.8552
2012-05-20 | CS | LC01 | 191 | B | 10 | 330 | 1 | 176.2 | 95.7 | 4.3666 | 0.57532 | 1.8412
2012-05-20 | CS | LC01 | 192 | A | 10 | 330 | 1 | 301.3 | 155.8 | 7.8923 | 0.15305 | 1.9339
2012-05-20 | CS | LC01 | 192 | B | 10 | 330 | 1 | 39.1 | 14.5 | 1.3344 | -0.58561 | 2.6966 |  | cuvette holder mis-aligned, value no good
2012-05-20 | N2 | LC01 | 193 | A | 20 | 330 | 1 | 269 | 140 | 13.9947 | 0.46432 | 1.9214
2012-05-20 | CS | LC01 | 193 | A | 20 | 330 | 1 | 265 | 138 | 13.7777 | 0.47473 | 1.9203 |  | rerun of sample, 2nd aliquot
2012-05-20 | CS | LC01 | 193 | B | 20 | 330 | 1 | 242.9 | 125.5 | 12.7362 | 0.22522 | 1.9355
2012-05-20 | CS | LG01 | 200 | A | 10 | 330 | 1 | 61.1 | 43.4 | 0.9601 | 1.281 | 1.4078
2012-05-20 | CS | LG01 | 200 | B | 10 | 330 | 1 | 63.6 | 44.4 | 1.0415 | 1.2513 | 1.4324
2012-05-20 | N2 | LG01 | 201 | A | 10 | 330 | 1 | 161 | 88.3 | 3.9435 | 0.61629 | 1.8233
2012-05-20 | N2 | LG01 | 201 | B | 10 | 330 | 1 | 159 | 88.3 | 3.835 | 0.72477 | 1.8007
2012-05-20 | CS | LG01 | 202 | A | 20 | 330 | 1 | 307.6 | 155.5 | 16.5007 | -0.44089 | 1.9781
2012-05-20 | CS | LG01 | 202 | B | 20 | 330 | 1 | 309.2 | 157 | 16.5115 | -0.29682 | 1.9694
2012-05-20 | CS | LG02 | 207 | A | 10 | 330 | 1 | 110.7 | 63.3 | 2.5711 | 0.69765 | 1.7488
2012-05-20 | CS | LG02 | 207 | B | 10 | 330 | 1 | 95.7 | 55 | 2.2077 | 0.63247 | 1.74
2012-05-20 | CS | LG02 | 208 | A | 20 | 330 | 1 | 205.8 | 105.8 | 10.8486 | 0.078283 | 1.9452
2012-05-20 | CS | LG02 | 208 | B | 20 | 330 | 1 | 191.1 | 98.9 | 10.0024 | 0.21185 | 1.9323
2012-05-20 | CS | LG02 | 209 | A | 20 | 330 | 1 | 200.5 | 103.6 | 10.5123 | 0.18738 | 1.9353
2012-05-20 | CS | LG02 | 209 | B | 20 | 330 | 1 | 196.7 | 101 | 10.3821 | 0.049036 | 1.9475
2012-05-20 | N2 | LG04 | 220 | A | 10 | 330 | 1 | 83.2 | 49.5 | 1.828 | 0.72816 | 1.6808
2012-05-20 | N2 | LG04 | 220 | B | 10 | 330 | 1 | 76 | 44.9 | 1.687 | 0.63165 | 1.6927
2012-05-20 | CS | LG04 | 221 | A | 10 | 330 | 1 | 76.8 | 43.6 | 1.8009 | 0.45061 | 1.7615
2012-05-20 | N2 | LG04 | 221 | B | 10 | 330 | 1 | 77.5 | 44.9 | 1.7683 | 0.55028 | 1.7261
2012-05-20 | CS | LG04 | 222 | A | 10 | 330 | 1 | 5.2 | 3 | 0.11933 | 0.035583 | 1.7333 |  | cuvette holder mis-aligned, value no good
2012-05-20 | CS | LG04 | 222 | B | 10 | 330 | 1 | 68.1 | 39.4 | 1.5568 | 0.47782 | 1.7284
2012-05-20 | CS | LG06 | 237 | A | 10 | 330 | 1 | 82.5 | 48.6 | 1.8388 | 0.67083 | 1.6975
2012-05-20 | CS | LG06 | 237 | B | 10 | 330 | 1 | 10.5 | 4.5 | 0.32546 | -0.093081 | 2.3333 |  | cuvette holder mis-aligned, value no good
2012-05-20 | N2 | LG06 | 238 | A | 10 | 330 | 1 | 142 | 74.9 | 3.6397 | 0.22808 | 1.8959
2012-05-20 | N2 | LG06 | 238 | B | 10 | 330 | 1 | 147 | 78.6 | 3.7102 | 0.34863 | 1.8702
2012-05-20 | CS | LG06 | 239 | A | 10 | 330 | 1 | 138.9 | 74.7 | 3.4824 | 0.37506 | 1.8594
2012-05-20 | CS | LG06 | 239 | B | 10 | 330 | 1 | 141 | 75.1 | 3.5746 | 0.3035 | 1.8775
2012-05-20 | N2 | LBP07 | 261 | A | 10 | 330 | 1 | 58.7 | 32.5 | 1.4212 | 0.25711 | 1.8062
2012-05-20 | N2 | LBP07 | 261 | B | 10 | 330 | 1 | 58.7 | 32.5 | 1.4212 | 0.25711 | 1.8062
2012-05-20 | CS | LBP07 | 262 | A | 10 | 330 | 1 | 53.4 | 30 | 1.2693 | 0.27989 | 1.78
2012-05-20 | CS | LBP07 | 262 | B | 10 | 330 | 1 | 56.2 | 31.9 | 1.3181 | 0.32919 | 1.7618
2012-05-20 | N2 | LBP07 | 263 | A | 10 | 330 | 1 | 57.6 | 31.7 | 1.4049 | 0.23207 | 1.817
2012-05-20 | CS | LBP07 | 263 |  | 10 | 330 | 1 | 56.2 | 31.4 | 1.3452 | 0.27625 | 1.7898
2012-05-20 | CS | LBP05 | 283 | A | 10 | 330 | 1 | 61.7 | 34.9 | 1.4537 | 0.3485 | 1.7679
2012-05-20 | CS | LBP05 | 283 | B | 10 | 330 | 1 | 8.3 | 4.8 | 0.18985 | 0.058018 | 1.7292 |  | cuvette holder mis-aligned, value no good
2012-05-20 | CS | LBP05 | 284 | A | 10 | 330 | 1 | 150.6 | 79.4 | 3.8621 | 0.23806 | 1.8967
2012-05-20 | CS | LBP05 | 284 | B | 10 | 330 | 1 | 22.9 | 6.4 | 0.89501 | -0.56452 | 3.5781 |  | cuvette holder mis-aligned, value no good
2012-05-20 | CS | LBP05 | 285 | A | 10 | 330 | 1 | 158.6 | 83.7 | 4.0628 | 0.25941 | 1.8949
2012-05-20 | N2 | LBP05 | 285 | B | 10 | 330 | 1 | 152 | 80.1 | 3.9001 | 0.23624 | 1.8976
2012-05-20 | N2 | LBP03 | 293 | A | 10 | 330 | 1 | 44.6 | 26.8 | 0.96552 | 0.41841 | 1.6642
2012-05-20 | N2 | LBP03 | 293 | B | 10 | 330 | 1 | 42.2 | 25.5 | 0.90586 | 0.41094 | 1.6549
2012-05-20 | N2 | LBP03 | 294 | A | 10 | 330 | 1 | 44.6 | 26.6 | 0.97637 | 0.39723 | 1.6767
2012-05-20 | N2 | LBP03 | 294 | B | 10 | 330 | 1 | 45.5 | 27.8 | 0.9601 | 0.47547 | 1.6367
2012-05-20 | CS | LBP03 | 295 | A | 10 | 330 | 1 | 43.5 | 26.7 | 0.91128 | 0.46749 | 1.6292
2012-05-20 | CS | LBP03 | 295 | B | 10 | 330 | 1 | 44.8 | 27.3 | 0.94925 | 0.4605 | 1.641
2012-05-20 | N2 | LQ03 | 312 | A | 20 | 330 | 1 | 218 | 113 | 11.391 | 0.27946 | 1.9292
2012-05-20 | N2 | LQ03 | 312 | B | 20 | 330 | 1 | 207 | 108 | 10.7401 | 0.41398 | 1.9167
2012-05-20 | N2 | CS00 | 334 | A | 10 | 330 | 1 | 30.7 | 16.5 | 0.77025 | 0.081798 | 1.8606
2012-05-20 | N2 | CS00 | 334 | B | 10 | 330 | 1 | 32.6 | 18 | 0.79195 | 0.13756 | 1.8111
2012-05-20 | CS | CS00 | 335 | A | 10 | 330 | 1 | 33.1 | 18 | 0.81907 | 0.11044 | 1.8389
2012-05-20 | CS | CS00 | 335 | B | 10 | 330 | 1 | 33.1 | 18.4 | 0.79737 | 0.15279 | 1.7989
2012-05-20 | N2 | CS00 | 336 | A | 10 | 330 | 1 | 32.8 | 17.7 | 0.81907 | 0.094947 | 1.8531
2012-05-20 | N2 | CS00 | 336 | B | 10 | 330 | 1 | 32.4 | 17.6 | 0.8028 | 0.10606 | 1.8409
2012-05-20 | N2 | CS02 | 356 | A | 10 | 330 | 1 | 191 | 106 | 4.6106 | 0.86311 | 1.8019
2012-05-20 | N2 | CS02 | 356 | B | 10 | 330 | 1 | 197 | 105 | 4.9903 | 0.43177 | 1.8762
2012-05-20 | N2 | CS02 | 357 | A | 20 | 330 | 1 | 114 | 62.6 | 5.5762 | 0.88906 | 1.8211
2012-05-20 | N2 | CS02 | 357 |  | 10 | 330 | 1 | 224 | 121 | 5.587 | 0.66133 | 1.8512
2012-05-20 | N2 | CS02 | 358 | A | 20 | 330 | 1 | 133 | 71 | 6.7261 | 0.60665 | 1.8732
2012-05-20 | N2 | CS02 | 358 | B | 20 | 330 | 1 | 128 | 69.5 | 6.3464 | 0.83144 | 1.8417
2012-05-20 | CS | CS04 | 363 | A | 10 | 330 | 1 | 184.7 | 107.2 | 4.2038 | 1.3319 | 1.7229
2012-05-20 | N2 | CS04 | 363 | B | 10 | 330 | 1 | 185 | 106 | 4.2852 | 1.1886 | 1.7453
2012-05-20 | N2 | CS04 | 364 | A | 20 | 330 | 1 | 124 | 69.6 | 5.9016 | 1.2866 | 1.7816
2012-05-20 | N2 | CS04 | 364 | B | 10 | 330 | 1 | 244 | 137 | 5.804 | 1.2706 | 1.781
2012-05-20 | N2 | CS04 | 365 | A | 20 | 330 | 1 | 118 | 64.9 | 5.7606 | 0.94218 | 1.8182
2012-05-20 | N2 | CS04 | 365 | B | 10 | 330 | 1 | 234 | 132 | 5.5328 | 1.2836 | 1.7727
2012-05-20 | N2 | CS06 | 375 | A | 10 | 330 | 1 | 177 | 99.5 | 4.2038 | 0.93428 | 1.7789
2012-05-20 | N2 | CS06 | 375 | B | 10 | 330 | 1 | 174 | 98 | 4.1225 | 0.93819 | 1.7755
2012-05-20 | N2 | CS06 | 376 | A | 20 | 330 | 1 | 183 | 98 | 9.2213 | 0.9 | 1.8673
2012-05-20 | N2 | CS06 | 376 | B | 20 | 330 | 1 | 184 | 99.3 | 9.1888 | 1.0668 | 1.853
2012-05-20 | N2 | CS06 | 377 | A | 20 | 330 | 1 | 183 | 96.5 | 9.384 | 0.58235 | 1.8964
2012-05-20 | CS | CS06 | 377 | B | 20 | 330 | 1 | 165.1 | 89.1 | 8.2449 | 0.95719 | 1.853
2012-05-20 | N2 | CS09 | 388 | A | 20 | 330 | 1 | 81.7 | 47.2 | 3.7428 | 1.132 | 1.7309
2012-05-20 | N2 | CS09 | 388 | B | 10 | 330 | 1 | 173 | 101 | 3.9055 | 1.3101 | 1.7129
2012-05-20 | N2 | CS09 | 389 | A | 10 | 330 | 1 | 246 | 141 | 5.6955 | 1.5856 | 1.7447
2012-05-20 | N2 | CS09 | 389 | B | 20 | 330 | 1 | 123 | 70.8 | 5.663 | 1.6492 | 1.7373
2012-05-20 | N2 | CS09 | 390 | A | 20 | 330 | 1 | 119 | 67 | 5.6413 | 1.2784 | 1.7761
2012-05-20 | N2 | CS09 | 390 | B | 20 | 330 | 1 | 105 | 59 | 4.9903 | 1.1031 | 1.7797
2012-05-20 | N2 | UBC7 | 397 | A | 10 | 330 | 1 | 16 | 12.6 | 0.18443 | 0.46623 | 1.2698
2012-05-20 | CS | UBC7 | 397 | A | 10 | 330 | 1 | 15.3 | 12.3 | 0.16273 | 0.47243 | 1.2439
2012-05-20 | CS | UBC7 | 398 | A | 10 | 330 | 1 | 51.8 | 31.7 | 1.0903 | 0.54668 | 1.6341
2012-05-20 | N2 | UBC7 | 398 | A | 10 | 330 | 1 | 55.5 | 32.8 | 1.2313 | 0.46245 | 1.6921
2012-05-20 | N2 | UBC7 | 399 | A | 10 | 330 | 1 | 147 | 80.3 | 3.618 | 0.52863 | 1.8306
2012-05-20 | N2 | UBC7 | 399 | B | 20 | 330 | 1 | 80.5 | 43.6 | 4.0031 | 0.49982 | 1.8463
2012-05-20 | N2 |  | LOOP1 | A | 10 | 330 | 1 | 93.9 | 53.8 | 2.1751 | 0.60305 | 1.7454
2012-05-20 | CS |  | LOOP1 | B | 10 | 330 | 1 | 78.7 | 45.2 | 1.8171 | 0.51696 | 1.7412
2012-05-20 | CS |  | LOOP2 |  | 10 | 330 | 1 | 45.6 | 26.4 | 1.0415 | 0.32181 | 1.7273
2012-05-20 | CS |  | LOOP3 |  | 10 | 330 | 1 | 95 | 54.5 | 2.1968 | 0.6175 | 1.7431
2012-05-20 | CS |  | LOOP4 |  | 10 | 330 | 1 | 60.2 | 33.7 | 1.4374 | 0.30281 | 1.7864
2012-05-20 | CS |  | LOOP5 |  | 10 | 330 | 1 | 150.9 | 82.9 | 3.6885 | 0.59238 | 1.8203
2012-05-20 | CS |  | LOOP6 |  | 10 | 330 | 1 | 108.6 | 61.2 | 2.5711 | 0.58921 | 1.7745
2012-05-20 | N2 |  | LOOP7 | A | 10 | 330 | 1 | 92.1 | 49.7 | 2.2999 | 0.26657 | 1.8531
2012-05-20 | N2 |  | LOOP7 | B | 10 | 330 | 1 | 95.7 | 51.2 | 2.4138 | 0.23012 | 1.8691
2012-05-20 | CS |  | LOOP8 |  | 10 | 330 | 1 | 97.2 | 53.2 | 2.3867 | 0.36052 | 1.8271

## %CV
Cruise | 2012-25, La Perouse, May, CS: Doug Yelland
Event | Station | Sample | rep | Depth | Chl ug/L | Phaeo ug/L | Avg Chl | CV% | FINAL CHL | Avg Phaeo | CV% | FLAG:CHL | Flag Comments for Archive
2 | LB01 | 13 | A | 24 | 1.611 | 1.0123 | 1.5785 | 2.9159 | 1.5785 | 1.081 | 8.9872 | 6 | 0
2 | LB01 | 13 | B | 24 | 1.5459 | 1.1496 | [6 empty] | 0
2 | LB01 | 14 | A | 10 | 9.2864 | 0.04999 | 10.0783 | 11.1128 | 10.0783 | 0.15657 | 96.2669 | 6 | CHL: assumed mis-sampling, 14A &15A reps switched
2 | LB01 | 14 | B | 10 | 10.8703 | 0.26314 | [6 empty] | 0
2 | LB01 | 15 | A | 5 | 12.2589 | -0.27859 | 12.1504 | 1.2627 | 12.1504 | -0.27338 | -2.6937 | 6 | CHL: assumed mis-sampling, 14A &15A reps switched
2 | LB01 | 15 | B | 5 | 12.0419 | -0.26818 | [6 empty] | 0
3 | LB02 | 18 | A | 20 | 4.3069 | 0.41294 | 4.0899 | 7.5025 | 4.0899 | 0.36397 | 19.0276 | 6 | 0
3 | LB02 | 18 | B | 20 | 3.8729 | 0.315 | [6 empty] | 0
3 | LB02 | 19 | A | 10 | 6.0535 | 0.070906 | 5.8474 | 4.9852 | 5.8474 | 0.029161 | 202.4514 | 6 | 0
3 | LB02 | 19 | B | 10 | 5.6413 | -0.012584 | [6 empty] | 0
3 | LB02 | 20 | A | 5 | 10.1868 | -0.26175 | 10.4635 | 3.739 | 10.4635 | -0.23372 | -16.9622 | 6 | 0
3 | LB02 | 20 | B | 5 | 10.7401 | -0.20569 | [6 empty] | 0
4 | LB03 | 23 | A | 5 | 2.7989 | -0.041398 | 2.883 | 4.1242 | 2.883 | -0.035106 | -25.3475 | 6 | 0
4 | LB03 | 23 | B | 5 | 2.9671 | -0.028814 | [6 empty] | 0
5 | LB04 | 28 | A | 20 | 4.8168 | 0.33683 | 6.2488 | 32.4091 | 6.2488 | 0.52112 | 50.0139 | 36 | CHL: variability between reps >15%CV
5 | LB04 | 28 | B | 20 | 7.6808 | 0.70542 | [6 empty] | 0
5 | LB04 | 29 | A | 10 | 0.78652 | 0.17913 | 0.7811 | 0.98209 | 0.7811 | 0.19747 | 13.1305 | 6 | 0
5 | LB04 | 29 | B | 10 | 0.77567 | 0.2158 | [6 empty] | 0
5 | LB04 | 30 | A | 5 | 0.72686 | 0.094209 | 0.71058 | 3.2387 | 0.71058 | 0.11565 | 26.2147 | 6 | 0
5 | LB04 | 30 | B | 5 | 0.69431 | 0.13708 | [6 empty] | 0
9 | LB05 | 31 | A | 5 | 1.7303 | 0.26809 | 1.6327 | 8.4571 | 1.6327 | 0.30376 | 16.6069 | 6 | 0
9 | LB05 | 31 | B | 5 | 1.5351 | 0.33943 | [6 empty] | 0
10 | LB06 | 36 | A | 20 | 4.8819 | 1.2322 | 5.1314 | 6.8767 | 5.1314 | 0.98271 | 35.908 | 6 | 0
10 | LB06 | 36 | B | 20 | 5.3809 | 0.73319 | [6 empty] | 0
10 | LB06 | 37 | A | 10 | 1.1174 | 0.17358 | 1.093 | 3.1583 | 1.093 | 0.16442 | 7.8754 | 6 | 0
10 | LB06 | 37 | B | 10 | 1.0686 | 0.15526 | [6 empty] | 0
10 | LB06 | 38 | A | 5 | 1.3723 | 0.15618 | 1.4483 | 7.4154 | 1.4483 | 0.16802 | 9.9711 | 6 | 0
10 | LB06 | 38 | B | 5 | 1.5242 | 0.17987 | [6 empty] | 0
25 | LB08 | 50 | A | 20 | 0.65092 | 0.10302 | 0.64549 | 1.1884 | 0.64549 | 0.10844 | 7.0739 | 6 | 0
25 | LB08 | 50 | B | 20 | 0.64007 | 0.11387 | [6 empty] | 0
25 | LB08 | 51 | A | 10 | 0.41333 | 0.040062 | 0.41116 | 0.74629 | 0.41116 | 0.039133 | 3.356 | 6 | 0
25 | LB08 | 51 | B | 10 | 0.40899 | 0.038204 | [6 empty] | 0
25 | LB08 | 52 | A | 5 | 0.43937 | 0.040877 | 0.42608 | 4.411 | 0.42608 | 0.043581 | 8.7728 | 6 | 0
25 | LB08 | 52 | B | 5 | 0.41279 | 0.046284 | [6 empty] | 0
26 | LB09 | 58 | A | 20 | 0.71601 | 0.048255 | 0.69431 | 4.4194 | 0.69431 | 0.059624 | 26.9668 | 6 | 0
26 | LB09 | 58 | B | 20 | 0.67261 | 0.070993 | [6 empty] | 0
26 | LB09 | 59 | A | 10 | 0.40736 | 0.045512 | 0.39191 | 5.5786 | 0.39191 | 0.040057 | 19.2576 | 6 | 0
26 | LB09 | 59 | B | 10 | 0.37645 | 0.034603 | [6 empty] | 0
26 | LB09 | 60 | A | 5 | 0.38187 | 0.039506 | 0.40031 | 6.5153 | 0.40031 | 0.03449 | 20.5691 | 6 | 0
26 | LB09 | 60 | B | 5 | 0.41876 | 0.029473 | [6 empty] | 0
27 | LB10 | 61 | A | 5 | 0.70516 | 0.043611 | 0.69702 | 1.6508 | 0.69702 | 0.044002 | 1.2552 | 6 | 0
27 | LB10 | 61 | B | 5 | 0.68889 | 0.044392 | [6 empty] | 0
28 | LB11 | 70 | A | 20 | 2.6796 | 0.20187 | 2.5847 | 5.1939 | 2.5847 | 0.22966 | 17.1149 | 6 | 0
28 | LB11 | 70 | B | 20 | 2.4898 | 0.25746 | [6 empty] | 0
28 | LB11 | 71 | A | 10 | 0.67804 | 0.096552 | 0.68075 | 0.56343 | 0.68075 | 0.11708 | 24.7933 | 6 | 0
28 | LB11 | 71 | B | 10 | 0.68346 | 0.1376 | [6 empty] | 0
28 | LB11 | 72 | A | 5 | 0.59667 | 0.084966 | 0.5804 | 3.9651 | 0.5804 | 0.067673 | 36.1375 | 6 | 0
28 | LB11 | 72 | B | 5 | 0.56413 | 0.050381 | [6 empty] | 0
30 | LB12 | 85 | A | 20 | 1.0903 | 0.2007 | 1.1093 | 2.4204 | 1.1093 | 0.22561 | 15.6137 | 6 | 0
30 | LB12 | 85 | B | 20 | 1.1283 | 0.25052 | [6 empty] | 0
30 | LB12 | 86 | A | 10 | 1.2584 | 0.11517 | 1.2205 | 4.3998 | 1.2205 | 0.098917 | 23.2342 | 6 | 0
30 | LB12 | 86 | B | 10 | 1.1825 | 0.082666 | [6 empty] | 0
30 | LB12 | 87 | A | 5 | 0.46106 | 0.065656 | 0.44208 | 6.0733 | 0.44208 | 0.10013 | 48.6931 | 6 | 0
30 | LB12 | 87 | B | 5 | 0.42309 | 0.13461 | [6 empty] | 0
32 | LB14 | 103 | A | 20 | 0.46649 | 0.096379 | 0.45564 | 3.3672 | 0.45564 | 0.099482 | 4.4107 | 6 | CHL: assumed mis-sampling, 103A &104A reps switched
32 | LB14 | 103 | B | 20 | 0.44479 | 0.10258 | [6 empty] | 0
32 | LB14 | 104 | A | 10 | 1.036 | 0.10519 | 1.0577 | 2.901 | 1.0577 | 0.11706 | 14.3387 | 6 | CHL: assumed mis-sampling, 103A &104A reps switched
32 | LB14 | 104 | B | 10 | 1.0794 | 0.12892 | [6 empty] | 0
32 | LB14 | 105 | A | 5 | 1.0794 | 0.13409 | 1.0984 | 2.4443 | 1.0984 | 0.1151 | 23.3259 | 6 | 0
32 | LB14 | 105 | B | 5 | 1.1174 | 0.096118 | [6 empty] | 0
33 | LB15 | 106 | A | 5 | 0.81907 | 0.14659 | 0.84348 | 4.0926 | 0.84348 | 0.17123 | 20.3566 | 6 | 0
33 | LB15 | 106 | B | 5 | 0.86789 | 0.19588 | [6 empty] | 0
40 | LC11 | 133 | A | 20 | 1.5568 | 0.10085 | 1.5215 | 3.2771 | 1.5215 | 0.094795 | 9.031 | 6 | 0
40 | LC11 | 133 | B | 20 | 1.4863 | 0.088741 | [6 empty] | 0
40 | LC11 | 134 | A | 10 | 0.77567 | 0.13318 | 0.78923 | 2.4299 | 0.78923 | 0.13769 | 4.6353 | 6 | 0
40 | LC11 | 134 | B | 10 | 0.8028 | 0.1422 | [6 empty] | 0
40 | LC11 | 135 | A | 5 | 0.70516 | 0.11591 | 0.71058 | 1.0796 | 0.71058 | 0.15179 | 33.435 | 6 | 0
40 | LC11 | 135 | B | 5 | 0.71601 | 0.18768 | [6 empty] | 0
43 | LC09 | 148 | A | 20 | 4.2364 | 0.61255 | 4.2418 | 0.18085 | 4.2418 | 0.57615 | 8.9367 | 6 | 0
43 | LC09 | 148 | B | 20 | 4.2472 | 0.53974 | [6 empty] | 0
43 | LC09 | 149 | A | 10 | 2.7393 | 0.49335 | 2.7203 | 0.98699 | 2.7203 | 0.42455 | 22.9185 | 6 | 0
43 | LC09 | 149 | B | 10 | 2.7013 | 0.35575 | [6 empty] | 0
43 | LC09 | 150 | A | 5 | 1.5676 | 0.3482 | 1.6273 | 5.1854 | 1.6273 | 0.39955 | 18.1778 | 6 | 0
43 | LC09 | 150 | B | 5 | 1.687 | 0.45091 | [6 empty] | 0
43 | LC09 | 151 | A | 5 | 1.253 | 0.26518 | 1.2639 | 1.2139 | 1.2639 | 0.30081 | 16.7494 | 6 | 0
43 | LC09 | 151 | B | 5 | 1.2747 | 0.33644 | [6 empty] | 0
46 | LC08 | 160 | 0 | 20 | 3.0756 | 0.69409 | 3.0973 | 0.99069 | 3.0973 | 0.60785 | 20.066 | 6 | 0
46 | LC08 | 160 | 0 | 20 | 3.119 | 0.5216 | [6 empty] | 0
46 | LB08 | 161 | A | 10 | 1.2856 | 0.28428 | 1.2774 | 0.90077 | 1.2774 | 0.27176 | 6.515 | 6 | 0
46 | LC08 | 161 | B | 10 | 1.2693 | 0.25924 | [6 empty] | 0
46 | LC08 | 162 | A | 5 | 0.7811 | 0.293 | 0.80822 | 4.7457 | 0.80822 | 0.28137 | 5.8453 | 6 | 0
46 | LC08 | 162 | B | 5 | 0.83534 | 0.26974 | [6 empty] | 0
49 | LC06 | 167 | A | 20 | 10.8594 | 1.0486 | 14.5968 | 36.2093 | 14.5968 | 0.9105 | 21.4471 | 36 | CHL: variability between reps >15%CV
49 | LC06 | 167 | B | 20 | 18.3341 | 0.77242 | [6 empty] | 0
49 | LC06 | 168 | A | 10 | 2.2674 | 0.020265 | 2.2863 | 1.1743 | 2.2863 | 0.011608 | 105.4713 | 6 | 0
49 | LC06 | 168 | B | 10 | 2.3053 | 0.0029508 | [6 empty] | 0
49 | LC06 | 169 | A | 5 | 1.0849 | -0.02109 | 1.0604 | 3.2552 | 1.0604 | -0.017336 | -30.6206 | 6 | 0
49 | LC06 | 169 | B | 5 | 1.036 | -0.013582 | [6 empty] | 0
53 | LC04 | 177 | A | 20 | 3.9706 | 0.51171 | 3.854 | 4.2795 | 3.854 | 0.5328 | 5.5979 | 6 | 0
53 | LC04 | 177 | B | 20 | 3.7373 | 0.55389 | [6 empty] | 0
53 | LC04 | 178 | A | 10 | 16.8912 | 0.76938 | 16.1102 | 6.8568 | 16.1102 | 0.49704 | 77.4891 | 6 | 0
53 | LC04 | 178 | B | 10 | 15.3291 | 0.2247 | [6 empty] | 0
53 | LC04 | 179 | A | 5 | 14.6456 | 0.3298 | 12.9749 | 18.2098 | 12.9749 | 0.5081 | 49.6285 | 36 | CHL: variability between reps >15%CV
53 | LC04 | 179 | B | 5 | 11.3042 | 0.68641 | [6 empty] | 0
55 | LC02 | 184 | A | 20 | 2.0341 | 0.68728 | 2.1317 | 6.4773 | 2.1317 | 0.65936 | 5.9893 | 6 | 0
55 | LC02 | 184 | B | 20 | 2.2294 | 0.63143 | [6 empty] | 0
55 | LC02 | 185 | A | 10 | 19.9614 | 0.82857 | 20.634 | 4.6099 | 20.634 | 2.1337 | 86.5049 | 6 | 0
55 | LC02 | 185 | B | 10 | 21.3066 | 3.4389 | [6 empty] | 0
55 | LC02 | 186 | A | 5 | 20.0699 | 0.37927 | 19.5275 | 3.9284 | 19.5275 | 0.4053 | 9.0849 | 6 | 0
55 | LC02 | 186 | B | 5 | 18.985 | 0.43134 | [6 empty] | 0
56 | LC01 | 191 | A | 20 | 4.3557 | 0.49322 | 4.3611 | 0.1759 | 4.3611 | 0.53427 | 10.8662 | 6 | 0
56 | LC01 | 191 | B | 20 | 4.3666 | 0.57532 | [6 empty] | 0
56 | LC01 | 192 | A | 10 | 7.8923 | 0.15305 | 4.6134 | 100.5164 | 7.8923 | 0.15305 | 341.2637 |  | rep not used, analyst error
56 | LC01 | 192 | B | 10 | 1.3344 | -0.58561 | [6 empty] | cuvette holder mis-aligned, value no good
56 | LC01 | 193 | A | 5 | 13.9947 | 0.46432 | 13.5029 | 4.9821 | 13.5029 | 0.38809 | 36.3701 | 6 | 0
56 | LC01 | 193 | A | 5 | 13.7777 | 0.47473 | [6 empty] | rerun of sample, 2nd aliquot
56 | LC01 | 193 | B | 5 | 12.7362 | 0.22522 | [6 empty] | 0
57 | LG01 | 200 | A | 20 | 0.9601 | 1.281 | 1.0008 | 5.7488 | 1.0008 | 1.2662 | 1.66 | 6 | 0
57 | LG01 | 200 | B | 20 | 1.0415 | 1.2513 | [6 empty] | 0
57 | LG01 | 201 | A | 10 | 3.9435 | 0.61629 | 3.8892 | 1.9724 | 3.8892 | 0.67053 | 11.4404 | 6 | 0
57 | LG01 | 201 | B | 10 | 3.835 | 0.72477 | [6 empty] | 0
57 | LG01 | 202 | A | 5 | 16.5007 | -0.44089 | 16.5061 | 0.046474 | 16.5061 | -0.36885 | -27.6188 | 6 | 0
57 | LG01 | 202 | B | 5 | 16.5115 | -0.29682 | [6 empty] | 0
58 | LG02 | 207 | A | 20 | 2.5711 | 0.69765 | 2.3894 | 10.7551 | 2.3894 | 0.66506 | 6.9299 | 6 | 0
58 | LG02 | 207 | B | 20 | 2.2077 | 0.63247 | [6 empty] | 0
58 | LG02 | 208 | A | 10 | 10.8486 | 0.078283 | 10.4255 | 5.7393 | 10.4255 | 0.14507 | 65.1054 | 6 | 0
58 | LG02 | 208 | B | 10 | 10.0024 | 0.21185 | [6 empty] | 0
58 | LG02 | 209 | A | 5 | 10.5123 | 0.18738 | 10.4472 | 0.88113 | 10.4472 | 0.11821 | 82.7554 | 6 | 0
58 | LG02 | 209 | B | 5 | 10.3821 | 0.049036 | [6 empty] | 0
62 | LG04 | 220 | A | 20 | 1.828 | 0.72816 | 1.7575 | 5.6743 | 1.7575 | 0.6799 | 10.0371 | 6 | 0
62 | LG04 | 220 | B | 20 | 1.687 | 0.63165 | [6 empty] | 0
62 | LG04 | 221 | A | 10 | 1.8009 | 0.45061 | 1.7846 | 1.2896 | 1.7846 | 0.50045 | 14.0839 | 6 | 0
62 | LG04 | 221 | B | 10 | 1.7683 | 0.55028 | [6 empty] | 0
62 | LG04 | 222 | A | 5 | 0.11933 | 0.035583 | 0.83805 | 121.2837 | 1.5568 | 0.47782 | 65.4448 |  | rep not used, analyst error
62 | LG04 | 222 | B | 5 | 1.5568 | 0.47782 | [6 empty] | 0
64 | LG06 | 237 | A | 20 | 1.8388 | 0.67083 | 1.0821 | 98.8886 | 1.8388 | 0.67083 | 80.5221 |  | rep not used, analyst error
64 | LG06 | 237 | B | 20 | 0.32546 | -0.093081 | [6 empty] | cuvette holder mis-aligned, value no good
64 | LG06 | 238 | A | 10 | 3.6397 | 0.22808 | 3.675 | 1.3568 | 3.675 | 0.28836 | 29.5612 | 6 | 0
64 | LG06 | 238 | B | 10 | 3.7102 | 0.34863 | [6 empty] | 0
64 | LG06 | 239 | A | 5 | 3.4824 | 0.37506 | 3.5285 | 1.8479 | 3.5285 | 0.33928 | 14.9136 | 6 | 0
64 | LG06 | 239 | B | 5 | 3.5746 | 0.3035 | [6 empty] | 0
69 | LBP07 | 261 | A | 20 | 1.4212 | 0.25711 | 1.4212 | 0 | 1.4212 | 0.25711 | 0 | 6 | 0
69 | LBP07 | 261 | B | 20 | 1.4212 | 0.25711 | [6 empty] | 0
69 | LBP07 | 262 | A | 10 | 1.2693 | 0.27989 | 1.2937 | 2.6683 | 1.2937 | 0.30454 | 11.4459 | 6 | 0
69 | LBP07 | 262 | B | 10 | 1.3181 | 0.32919 | [6 empty] | 0
69 | LBP07 | 263 | 0 | 5 | 1.3452 | 0.27625 | 1.3751 | 3.0683 | 1.3751 | 0.25416 | 12.2902 | 6 | 0
69 | LBP07 | 263 | A | 5 | 1.4049 | 0.23207 | [6 empty] | 0
72 | LBP05 | 283 | A | 20 | 1.4537 | 0.3485 | 0.82178 | 108.7498 | 1.4537 | 0.3485 | 58.9388 |  | rep not used, analyst error
72 | LBP05 | 283 | B | 20 | 0.18985 | 0.058018 | [6 empty] | cuvette holder mis-aligned, value no good
72 | LBP05 | 284 | A | 10 | 3.8621 | 0.23806 | 2.3786 | 88.2069 | 3.8621 | 0.23806 | 238.3875 |  | rep not used, analyst error
72 | LBP05 | 284 | B | 10 | 0.89501 | -0.56452 | [6 empty] | cuvette holder mis-aligned, value no good
72 | LBP05 | 285 | A | 5 | 4.0628 | 0.25941 | 3.9814 | 2.8901 | 3.9814 | 0.24783 | 6.6117 | 6 | 0
72 | LBP05 | 285 | B | 5 | 3.9001 | 0.23624 | [6 empty] | 0
75 | LBP03 | 293 | A | 20 | 0.96552 | 0.41841 | 0.93569 | 4.5091 | 0.93569 | 0.41468 | 1.2727 | 6 | 0
75 | LBP03 | 293 | B | 20 | 0.90586 | 0.41094 | [6 empty] | 0
75 | LBP03 | 294 | A | 10 | 0.97637 | 0.39723 | 0.96824 | 1.1884 | 0.96824 | 0.43635 | 12.6788 | 6 | 0
75 | LBP03 | 294 | B | 10 | 0.9601 | 0.47547 | [6 empty] | 0
75 | LBP03 | 295 | A | 5 | 0.91128 | 0.46749 | 0.93027 | 2.8862 | 0.93027 | 0.46399 | 1.0647 | 6 | 0
75 | LBP03 | 295 | B | 5 | 0.94925 | 0.4605 | [6 empty] | 0
80 | LQ03 | 312 | A | 5 | 11.391 | 0.27946 | 11.0656 | 4.1595 | 11.0656 | 0.34672 | 27.4347 | 6 | 0
80 | LQ03 | 312 | B | 5 | 10.7401 | 0.41398 | [6 empty] | 0
84 | CS00 | 334 | A | 20 | 0.77025 | 0.081798 | 0.7811 | 1.9642 | 0.7811 | 0.10968 | 35.9498 | 6 | 0
84 | CS00 | 334 | B | 20 | 0.79195 | 0.13756 | [6 empty] | 0
84 | CS00 | 335 | A | 10 | 0.81907 | 0.11044 | 0.80822 | 1.8983 | 0.80822 | 0.13162 | 22.7542 | 6 | 0
84 | CS00 | 335 | B | 10 | 0.79737 | 0.15279 | [6 empty] | 0
84 | CS00 | 336 | A | 5 | 0.81907 | 0.094947 | 0.81093 | 1.4189 | 0.81093 | 0.1005 | 7.816 | 6 | 0
84 | CS00 | 336 | B | 5 | 0.8028 | 0.10606 | [6 empty] | 0
89 | CS02 | 356 | A | 20 | 4.6106 | 0.86311 | 4.8005 | 5.5929 | 4.8005 | 0.64744 | 47.1089 | 6 | 0
89 | CS02 | 356 | B | 20 | 4.9903 | 0.43177 | [6 empty] | 0
89 | CS02 | 357 | 0 | 10 | 5.587 | 0.66133 | 5.5816 | 0.13744 | 5.5816 | 0.7752 | 20.773 | 6 | 0
89 | CS02 | 357 | A | 10 | 5.5762 | 0.88906 | [6 empty] | 0
89 | CS02 | 358 | A | 5 | 6.7261 | 0.60665 | 6.5363 | 4.1077 | 6.5363 | 0.71904 | 22.1051 | 6 | 0
89 | CS02 | 358 | B | 5 | 6.3464 | 0.83144 | [6 empty] | 0
93 | CS04 | 363 | A | 20 | 4.2038 | 1.3319 | 4.2445 | 1.3555 | 4.2445 | 1.2602 | 8.0422 | 6 | 0
93 | CS04 | 363 | B | 20 | 4.2852 | 1.1886 | [6 empty] | 0
93 | CS04 | 364 | A | 10 | 5.9016 | 1.2866 | 5.8528 | 1.1796 | 5.8528 | 1.2786 | 0.88316 | 6 | 0
93 | CS04 | 364 | B | 10 | 5.804 | 1.2706 | [6 empty] | 0
93 | CS04 | 365 | A | 5 | 5.7606 | 0.94218 | 5.6467 | 2.8529 | 5.6467 | 1.1129 | 21.6935 | 6 | 0
93 | CS04 | 365 | B | 5 | 5.5328 | 1.2836 | [6 empty] | 0
104 | CS06 | 375 | A | 20 | 4.2038 | 0.93428 | 4.1631 | 1.382 | 4.1631 | 0.93623 | 0.29497 | 6 | 0
104 | CS06 | 375 | B | 20 | 4.1225 | 0.93819 | [6 empty] | 0
104 | CS06 | 376 | A | 10 | 9.2213 | 0.9 | 9.205 | 0.25001 | 9.205 | 0.9834 | 11.9942 | 6 | 0
104 | CS06 | 376 | B | 10 | 9.1888 | 1.0668 | [6 empty] | 0
104 | CS06 | 377 | A | 5 | 9.384 | 0.58235 | 8.8145 | 9.138 | 8.8145 | 0.76977 | 34.4325 | 6 | 0
104 | CS06 | 377 | B | 5 | 8.2449 | 0.95719 | [6 empty] | 0
111 | CS09 | 388 | A | 20 | 3.7428 | 1.132 | 3.8241 | 3.009 | 3.8241 | 1.221 | 10.3133 | 6 | 0
111 | CS09 | 388 | B | 20 | 3.9055 | 1.3101 | [6 empty] | 0
111 | CS09 | 389 | A | 10 | 5.6955 | 1.5856 | 5.6792 | 0.40522 | 5.6792 | 1.6174 | 2.7774 | 6 | 0
111 | CS09 | 389 | B | 10 | 5.663 | 1.6492 | [6 empty] | 0
111 | CS09 | 390 | A | 5 | 5.6413 | 1.2784 | 5.3158 | 8.6585 | 5.3158 | 1.1907 | 10.4108 | 6 | 0
111 | CS09 | 390 | B | 5 | 4.9903 | 1.1031 | [6 empty] | 0
115 | UBC7 | 397 | A | 20 | 0.18443 | 0.46623 | 0.17358 | 8.8388 | 0.17358 | 0.46933 | 0.93492 | 6 | 0
115 | UBC7 | 397 | A | 20 | 0.16273 | 0.47243 | [6 empty] | 0
115 | UBC7 | 398 | A | 10 | 1.0903 | 0.54668 | 1.1608 | 8.591 | 1.1608 | 0.50457 | 11.8039 | 6 | 0
115 | UBC7 | 398 | A | 10 | 1.2313 | 0.46245 | [6 empty] | 0
115 | UBC7 | 399 | A | 5 | 3.618 | 0.52863 | 3.8106 | 7.1466 | 3.8106 | 0.51422 | 3.9622 | 6 | 0
115 | UBC7 | 399 | B | 5 | 4.0031 | 0.49982 | [6 empty] | 0
| 0 | LOOP1 | A | 5 | 2.1751 | 0.60305 | 1.9961 | 12.6818 | 1.9961 | 0.56 | 10.871 | 6 | 0
| 0 | LOOP1 | B | 5 | 1.8171 | 0.51696 | [6 empty] | 0
| 0 | LOOP2 | 0 | 5 | 1.0415 | 0.32181 |  |  | 1.0415 | 0.32181 |  |  | 0
| 0 | LOOP3 | 0 | 5 | 2.1968 | 0.6175 |  |  | 2.1968 | 0.6175 |  |  | 0
| 0 | LOOP4 | 0 | 5 | 1.4374 | 0.30281 |  |  | 1.4374 | 0.30281 |  |  | 0
| 0 | LOOP5 | 0 | 5 | 3.6885 | 0.59238 |  |  | 3.6885 | 0.59238 |  |  | 0
| 0 | LOOP6 | 0 | 5 | 2.5711 | 0.58921 |  |  | 2.5711 | 0.58921 |  |  | 0
| 0 | LOOP7 | A | 5 | 2.2999 | 0.26657 | 2.3569 | 3.4175 | 2.3569 | 0.24835 | 10.3786 | 6 | 0
| 0 | LOOP7 | B | 5 | 2.4138 | 0.23012 | [6 empty] | 0
| 0 | LOOP8 |  | 5 | 2.3867 | 0.36052 |  |  | 2.3867 | 0.36052 |  |  | 0