## sbe25
| Downcast CTD data | [5 empty] | Upcast CTD data | [6 empty] | bottle data
File Name | LOC:EVENT_NUMBER | Scan_Number | Pressure:StrainGauge | Temperature:Primary | Salinity:T0:C0 | pH:SBE | File Name | LOC:EVENT_NUMBER | Scan_Number | Pressure:StrainGauge | Temperature:Primary | Salinity:T0:C0 | pH:SBE | Salinity:Bottle | dn-bottle | up-bottle
2012-50-0001.thndn | 1 | 1289 | 8.464 | 9.3247 | 30.906 | 7.83 | 2012-50-0001.thnup | 1 | 5553 | 8.49 | 9.288 | 30.9312 | 7.959 | 30.9726 | -0.0666 | -0.0414
2012-50-0005.thndn | 5 | 1106 | 8.479 | 9.5051 | 30.9522 | 7.888 | 2012-50-0005.thnup | 5 | 4237 | 8.534 | 9.5034 | 30.9558 | 7.93 | 30.9804 | -0.0282 | -0.0246 | casts with low salinity gradient only
2012-50-0007.thndn | 7 | 1008 | 8.509 | 9.4078 | 30.9409 | 7.875 | 2012-50-0007.thnup | 7 | 3364 | 8.485 | 9.4233 | 30.9253 | 7.896 | 30.925 | 0.0159 | 0.0003 | cast | Dn-bottle | Up-bottle
2012-50-0011.thndn | 11 | 1024 | 8.509 | 9.6203 | 30.9011 | 7.88 | 2012-50-0011.thnup | 11 | 3190 | 8.476 | 9.5979 | 30.9045 | 7.897 | 30.9182 | -0.0171 | -0.0137 | 11 | -0.0171 | -0.0137
2012-50-0013.thndn | 13 | 1077 | 8.509 | 9.8211 | 30.9742 | 7.895 | 2012-50-0013.thnup | 13 | 2762 | 8.441 | 9.6146 | 31.0998 | 7.875 | 31.1412 | -0.167 | -0.0414 | 38 | -0.0159 | -0.0232
2012-50-0017.thndn | 17 | 1044 | 8.552 | 9.668 | 31.2879 | 7.882 | 2012-50-0017.thnup | 17 | 2052 | 8.505 | 9.626 | 31.3358 | 7.892 | 31.3705 | -0.0826 | -0.0347 | 40 | -0.0192 | -0.0202
2012-50-0019.thndn | 19 | 1076 | 8.519 | 9.9379 | 30.9203 | 7.928 | 2012-50-0019.thnup | 19 | 2354 | 8.479 | 9.9298 | 30.923 | 7.92 | 30.9637 | -0.0434 | -0.0407 | 52 | -0.0313 | -0.0221
2012-50-0022.thndn | 22 | 1062 | 8.509 | 9.8184 | 31.0132 | 8.209 | 2012-50-0022.thnup | 22 | 3214 | 8.509 | 9.6386 | 31.114 | 8.195 | 31.1245 | -0.1113 | -0.0105 | 61 | -0.0202 | -0.0194
2012-50-0026.thndn | 26 | 1048 | 8.534 | 9.9294 | 31.2413 | 8.236 | 2012-50-0026.thnup | 26 | 3153 | 8.544 | 9.5913 | 31.3119 | 8.066 | 31.3369 | -0.0956 | -0.025 | 182 | -0.0289 | -0.0181
2012-50-0028.thndn | 28 | 1090 | 8.482 | 10.2858 | 31.0856 | 8.215 | 2012-50-0028.thnup | 28 | 3162 | 8.509 | 10.0923 | 31.1612 | 8.179 | 31.2234 | -0.1378 | -0.0622 | 191 | -0.0124 | -0.0197
2012-50-0032.thndn | 32 | 1054 | 8.505 | 10.1451 | 31.5733 | 8.305 | 2012-50-0032.thnup | 32 | 2934 | 8.459 | 10.1771 | 31.5591 | 8.235 | 31.5703 | 0.003 | -0.0112 | 193 | -0.0282 | -0.0165
2012-50-0034.thndn | 34 | 1134 | 8.547 | 9.8534 | 31.4324 | 7.975 | 2012-50-0034.thnup | 34 | 2066 | 8.509 | 9.7857 | 31.4624 | 8.019 | 31.4369 | -0.0045 | 0.0255 | 194 | -0.0245 | -0.0202
2012-50-0038.thndn | 38 | 1078 | 8.466 | 12.0332 | 30.7372 | 8.302 | 2012-50-0038.thnup | 38 | 2074 | 8.552 | 11.9485 | 30.7299 | 8.312 | 30.7531 | -0.0159 | -0.0232 | 203 | -0.0204 | -0.0204
2012-50-0040.thndn | 40 | 1063 | 8.505 | 12.0695 | 30.7981 | 8.311 | 2012-50-0040.thnup | 40 | 3006 | 8.51 | 12.0644 | 30.7971 | 8.33 | 30.8173 | -0.0192 | -0.0202 | 209 | -0.0215 | -0.0203
2012-50-0044.thndn | 44 | 1056 | 8.552 | 11.7332 | 31.027 | 8.309 | 2012-50-0044.thnup | 44 | 4506 | 8.58 | 11.654 | 31.0514 | 8.337 | 31.0455 | -0.0185 | 0.0059 | 211 | -0.017 | -0.0166
2012-50-0046.thndn | 46 | 1050 | 8.509 | 11.8034 | 31.7207 | 8.233 | 2012-50-0046.thnup | 46 | 7686 | 8.509 | 11.7911 | 31.7366 | 8.251 | 31.7762 | -0.0555 | -0.0396 | 215 | -0.0476 | 0.0022
2012-50-0050.thndn | 50 | 1095 | 8.509 | 11.6949 | 31.5946 | 8.246 | 2012-50-0050.thnup | 50 | 3796 | 8.547 | 11.6149 | 31.6483 | 8.275 | 31.6798 | -0.0852 | -0.0315 | 233 | -0.0113 | -0.0365
2012-50-0052.thndn | 52 | 1074 | 8.502 | 12.212 | 30.732 | 8.357 | 2012-50-0052.thnup | 52 | 2654 | 8.478 | 12.1777 | 30.7412 | 8.381 | 30.7633 | -0.0313 | -0.0221
2012-50-0055.thndn | 55 | 1007 | 8.485 | 11.1328 | 31.1562 | 8.184 | 2012-50-0055.thnup | 55 | 1818 | 8.497 | 10.4781 | 31.3942 | 8.129 | 31.4068 | -0.2506 | -0.0126 | avg | -0.022536 | -0.018907
2012-50-0059.thndn | 59 | 1084 | 8.472 | 11.0005 | 31.0845 | 8.236 | 2012-50-0059.thnup | 59 | 2728 | 8.517 | 10.8683 | 31.1533 | 8.209 | 31.2526 | -0.1681 | -0.0993 | med | -0.0203 | -0.01995
2012-50-0061.thndn | 61 | 1020 | 8.454 | 11.8812 | 30.7539 | 8.19 | 2012-50-0061.thnup | 61 | 3103 | 8.501 | 11.8791 | 30.7547 | 8.268 | 30.7741 | -0.0202 | -0.0194 | stdev | 0.0093516 | 0.0079948
2012-50-0065.thndn | 65 | 1004 | 8.515 | 11.9585 | 30.8427 | 8.293 | 2012-50-0065.thnup | 65 | 3344 | 8.509 | 11.9201 | 30.8614 | 8.326 | 30.8831 | -0.0404 | -0.0217
2012-50-0067.thndn | 67 | 1076 | 8.559 | 12.4417 | 30.9497 | 8.308 | 2012-50-0067.thnup | 67 | 3913 | 8.505 | 12.4 | 30.9643 | 8.338 | 30.9829 | -0.0332 | -0.0186 | excluding largest and smallest (215,233)
2012-50-0071.thndn | 71 | 1000 | 8.546 | 12.0484 | 31.2965 | 8.31 | 2012-50-0071.thnup | 71 | 5393 | 8.509 | 11.9229 | 31.3569 | 8.325 | 31.4177 | -0.1212 | -0.0608 | avg | -0.021383 | -0.0192
2012-50-0073.thndn | 73 | 1068 | 8.51 | 11.7947 | 31.4685 | 8.316 | 2012-50-0073.thnup | 73 | 5224 | 8.509 | 11.773 | 31.4761 | 8.341 | 31.4949 | -0.0264 | -0.0188 | med | -0.0203 | -0.01995
2012-50-0077.thndn | 77 | 1052 | 8.449 | 12.2845 | 31.4257 | 8.314 | 2012-50-0077.thnup | 77 | 5782 | 8.541 | 11.4737 | 31.581 | 8.355 | 31.5848 | -0.1591 | -0.0038 | stdev | 0.0057722 | 0.0026087
2012-50-0079.thndn | 79 | 1051 | 8.509 | 11.7403 | 31.4986 | 8.359 | 2012-50-0079.thnup | 79 | 1802 | 8.466 | 11.6802 | 31.0747 | 8.393 | 31.1016 | 0.397 | -0.0269
2012-50-0083.thndn | 83 | 1034 | 8.509 | 11.7509 | 31.1244 | 8.378 | 2012-50-0083.thnup | 83 | 3087 | 8.517 | 11.749 | 31.1332 | 8.383 | 31.1481 | -0.0237 | -0.0149 |  | correcting for bottle error by adding +0.012
2012-50-0085.thndn | 85 | 1022 | 8.517 | 11.5206 | 31.5818 | 8.328 | 2012-50-0085.thnup | 85 | 3881 | 8.531 | 11.6022 | 31.5612 | 8.343 | 31.6324 | -0.0506 | -0.0712 | avg | -0.0093833 | -0.0072
2012-50-0089.thndn | 89 | 1070 | 8.466 | 11.8608 | 30.7615 | 8.299 | 2012-50-0089.thnup | 89 | 2100 | 8.509 | 11.8498 | 30.7742 | 8.32 | 30.7894 | -0.0279 | -0.0152 | med | -0.0083 | -0.00795
2012-50-0091.thndn | 91 | 1034 | 8.55 | 12.243 | 30.8163 | 8.352 | 2012-50-0091.thnup | 91 | 2316 | 8.513 | 12.0225 | 30.9453 | 8.348 | 31.0082 | -0.1919 | -0.0629 | stdev | 0.017772 | 0.014609
2012-50-0095.thndn | 95 | 969 | 8.509 | 11.33 | 31.6618 | 8.336 | 2012-50-0095.thnup | 95 | 2733 | 8.496 | 11.5184 | 31.6337 | 8.328 | 31.6382 | 0.0236 | -0.0045
2012-50-0097.thndn | 97 | 1032 | 8.552 | 12.2393 | 31.4682 | 8.341 | 2012-50-0097.thnup | 97 | 5594 | 8.469 | 11.8286 | 31.5387 | 8.365 | 31.5556 | -0.0874 | -0.0169
2012-50-0100.thndn | 100 | 1047 | 8.479 | 9.3732 | 30.2328 | 8.078 | 2012-50-0100.thnup | 100 | 3392 | 8.492 | 9.4342 | 30.2018 | 8.077 | 30.1995 | 0.0333 | 0.0023
2012-50-0104.thndn | 104 | 1198 | 8.509 | 11.1103 | 29.4756 | 8.377 | 2012-50-0104.thnup | 104 | 5892 | 8.509 | 11.2213 | 29.5732 | 8.324 | 29.6543 | -0.1787 | -0.0811
2012-50-0106.thndn | 106 | 1166 | 8.538 | 9.6748 | 30.3748 | 8.155 | 2012-50-0106.thnup | 106 | 2020 | 8.509 | 9.6691 | 30.3853 | 8.166 | 30.4008 | -0.026 | -0.0155
2012-50-0110.thndn | 110 | 966 | 8.479 | 9.6143 | 30.1818 | 8.292 | 2012-50-0110.thnup | 110 | 2384 | 8.513 | 9.5186 | 30.2935 | 8.183 | 30.3038 | -0.122 | -0.0103
2012-50-0112.thndn | 112 | 1088 | 8.544 | 9.6003 | 30.2965 | 8.202 | 2012-50-0112.thnup | 112 | 3292 | 8.466 | 9.592 | 30.3166 | 8.209 | 30.3131 | -0.0166 | 0.0035
2012-50-0116.thndn | 116 | 1030 | 8.509 | 9.2932 | 30.1952 | 8.278 | 2012-50-0116.thnup | 116 | 2399 | 8.539 | 9.1191 | 30.2378 | 8.154 | 30.2592 | -0.064 | -0.0214
2012-50-0118.thndn | 118 | 1114 | 8.509 | 10.219 | 30.4699 | 8.296 | 2012-50-0118.thnup | 118 | 3436 | 8.527 | 10.1878 | 30.4841 | 8.283 | 30.4909 | -0.021 | -0.0068
2012-50-0122.thndn | 122 | 1085 | 8.509 | 10.0976 | 30.5455 | 8.304 | 2012-50-0122.thnup | 122 | 5048 | 8.514 | 10.1727 | 30.504 | 8.265 | 30.6859 | -0.1404 | -0.1819
2012-50-0124.thndn | 124 | 1044 | 8.478 | 10.2526 | 30.7488 | 8.292 | 2012-50-0124.thnup | 124 | 5706 | 8.509 | 10.2323 | 30.7211 | 8.304 | 30.7789 | -0.0301 | -0.0578
2012-50-0128.thndn | 128 | 1035 | 8.505 | 11.4502 | 31.1375 | 8.35 | 2012-50-0128.thnup | 128 | 4136 | 8.515 | 11.5296 | 31.1328 | 8.357 | 31.159 | -0.0215 | -0.0262
2012-50-0130.thndn | 130 | 1044 | 8.485 | 12.1004 | 31.8278 | 8.377 | 2012-50-0130.thnup | 130 | 2850 | 8.509 | 11.9248 | 31.9636 | 8.387 | 31.9519 | -0.1241 | 0.0117
2012-50-0134.thndn | 134 | 1036 | 8.513 | 12.0167 | 31.8652 | 8.367 | 2012-50-0134.thnup | 134 | 5041 | 8.509 | 12.0025 | 31.879 | 8.393 | 31.8944 | -0.0292 | -0.0154
2012-50-0136.thndn | 136 | 994 | 8.509 | 12.3462 | 31.7385 | 8.377 | 2012-50-0136.thnup | 136 | 5256 | 8.472 | 12.2852 | 31.7454 | 8.399 | 31.7626 | -0.0241 | -0.0172
2012-50-0140.thndn | 140 | 1076 | 8.505 | 11.9364 | 32.1882 | 8.323 | 2012-50-0140.thnup | 140 | 5600 | 8.52 | 11.9439 | 32.1857 | 8.358 | 32.2173 | -0.0291 | -0.0316
2012-50-0142.thndn | 142 | 1114 | 8.514 | 11.4053 | 31.6498 | 8.418 | 2012-50-0142.thnup | 142 | 5010 | 8.522 | 11.3582 | 31.6564 | 8.432 | 31.7052 | -0.0554 | -0.0488
2012-50-0146.thndn | 146 | 1046 | 8.509 | 11.0655 | 31.9597 | 8.462 | 2012-50-0146.thnup | 146 | 2987 | 8.463 | 11.0243 | 31.9574 | 8.467 | 31.9809 | -0.0212 | -0.0235
2012-50-0148.thndn | 148 | 1132 | 8.509 | 10.5721 | 31.1682 | 8.52 | 2012-50-0148.thnup | 148 | 2118 | 8.51 | 10.5153 | 31.206 | 8.51 | 31.2235 | -0.0553 | -0.0175
2012-50-0152.thndn | 152 | 982 | 8.504 | 10.8032 | 31.1185 | 8.519 | 2012-50-0152.thnup | 152 | 2124 | 8.456 | 10.6304 | 31.3881 | 8.477 | 31.4301 | -0.3116 | -0.042
2012-50-0154.thndn | 154 | 1098 | 8.544 | 9.5532 | 30.9609 | 8.261 | 2012-50-0154.thnup | 154 | 2180 | 8.504 | 9.6009 | 30.9506 | 8.298 | 30.9395 | 0.0214 | 0.0111
2012-50-0158.thndn | 158 | 1020 | 8.54 | 12.8505 | 30.3382 | 8.448 | 2012-50-0158.thnup | 158 | 3476 | 8.479 | 12.7844 | 30.4033 | 8.48 | 30.4166 | -0.0784 | -0.0133
2012-50-0160.thndn | 160 | 1030 | 8.495 | 11.2355 | 29.5119 | 8.575 | 2012-50-0160.thnup | 160 | 4782 | 8.478 | 10.6473 | 29.9254 | 8.553 | 29.4101 | 0.1018 | 0.5153
2012-50-0164.thndn | 164 | 1013 | 8.517 | 11.0152 | 30.4874 | 8.471 | 2012-50-0164.thnup | 164 | 2556 | 8.475 | 10.9242 | 30.5511 | 8.479 | 30.5916 | -0.1042 | -0.0405
2012-50-0166.thndn | 166 | 1117 | 8.514 | 11.1302 | 30.5213 | 8.393 | 2012-50-0166.thnup | 166 | 3780 | 8.547 | 11.1949 | 30.6647 | 8.443 | 30.5991 | -0.0778 | 0.0656
2012-50-0170.thndn | 170 | 1048 | 8.51 | 12.7797 | 29.1103 | 8.49 | 2012-50-0170.thnup | 170 | 3893 | 8.492 | 12.2373 | 29.7682 | 8.463 | 29.8831 | -0.7728 | -0.1149
2012-50-0172.thndn | 172 | 1156 | 8.472 | 11.4025 | 31.3547 | 8.432 | 2012-50-0172.thnup | 172 | 3176 | 8.509 | 11.3107 | 31.3639 | 8.452 | 31.3795 | -0.0248 | -0.0156
2012-50-0176.thndn | 176 | 1036 | 8.509 | 11.2955 | 31.3534 | 8.451 | 2012-50-0176.thnup | 176 | 3777 | 8.505 | 11.2919 | 31.3543 | 8.475 | 31.3761 | -0.0227 | -0.0218
2012-50-0178.thndn | 178 | 1152 | 8.547 | 10.6768 | 31.377 | 8.467 | 2012-50-0178.thnup | 178 | 3681 | 8.514 | 10.4669 | 31.4273 | 8.468 | 31.4333 | -0.0563 | -0.006
2012-50-0182.thndn | 182 | 975 | 8.509 | 11.1683 | 31.445 | 8.447 | 2012-50-0182.thnup | 182 | 3360 | 8.509 | 11.0739 | 31.4558 | 8.461 | 31.4739 | -0.0289 | -0.0181
2012-50-0184.thndn | 184 | 1018 | 8.541 | 11.9858 | 31.4865 | 8.454 | 2012-50-0184.thnup | 184 | 4258 | 8.517 | 11.7211 | 31.5594 | 8.48 | 31.5478 | -0.0613 | 0.0116
2012-50-0187.thndn | 187 | 1039 | 8.509 | 11.9423 | 31.4863 | 8.471 | 2012-50-0187.thnup | 187 | 4384 | 8.472 | 11.9175 | 31.4869 | 8.507 | 31.5083 | -0.022 | -0.0214
2012-50-0191.thndn | 191 | 1000 | 8.466 | 11.1117 | 31.3545 | 8.438 | 2012-50-0191.thnup | 191 | 4906 | 8.462 | 11.1746 | 31.3472 | 8.461 | 31.3669 | -0.0124 | -0.0197
2012-50-0193.thndn | 193 | 1052 | 8.514 | 11.1606 | 31.284 | 8.449 | 2012-50-0193.thnup | 193 | 4568 | 8.559 | 11.1386 | 31.2957 | 8.474 | 31.3122 | -0.0282 | -0.0165
2012-50-0197.thndn | 197 | 1022 | 8.538 | 11.0406 | 31.4148 | 8.433 | 2012-50-0197.thnup | 197 | 5044 | 8.509 | 11.0137 | 31.4191 | 8.457 | 31.4393 | -0.0245 | -0.0202
2012-50-0199.thndn | 199 | 1050 | 8.547 | 11.017 | 31.496 | 8.514 | 2012-50-0199.thnup | 199 | 4181 | 8.509 | 10.9877 | 31.497 | 8.528 | 31.5195 | -0.0235 | -0.0225
2012-50-0203.thndn | 203 | 1162 | 8.547 | 11.1038 | 31.2234 | 8.527 | 2012-50-0203.thnup | 203 | 3466 | 8.517 | 11.1113 | 31.2234 | 8.543 | 31.2438 | -0.0204 | -0.0204
2012-50-0205.thndn | 205 | 1246 | 8.494 | 10.7295 | 31.2561 | 8.463 | 2012-50-0205.thnup | 205 | 3559 | 8.509 | 10.7186 | 31.2524 | 8.495 | 31.2711 | -0.015 | -0.0187
2012-50-0209.thndn | 209 | 1049 | 8.459 | 10.4736 | 31.4367 | 8.436 | 2012-50-0209.thnup | 209 | 2616 | 8.553 | 10.4802 | 31.4379 | 8.452 | 31.4582 | -0.0215 | -0.0203
2012-50-0211.thndn | 211 | 1124 | 8.552 | 10.6612 | 31.2634 | 8.454 | 2012-50-0211.thnup | 211 | 2088 | 8.539 | 10.655 | 31.2638 | 8.464 | 31.2804 | -0.017 | -0.0166
2012-50-0215.thndn | 215 | 1143 | 8.509 | 10.4492 | 31.1908 | 8.446 | 2012-50-0215.thnup | 215 | 1872 | 8.553 | 10.4364 | 31.2406 | 8.448 | 31.2384 | -0.0476 | 0.0022
2012-50-0217.thndn | 217 | 1372 | 8.5 | 9.346 | 28.9627 | 8.282 | 2012-50-0217.thnup | 217 | 2622 | 8.552 | 9.2755 | 29.2269 | 8.345 | 29.1582 | -0.1955 | 0.0687
2012-50-0221.thndn | 221 | 1264 | 8.504 | 9.8805 | 30.0922 | 8.393 | 2012-50-0221.thnup | 221 | 3272 | 8.472 | 9.8806 | 30.0822 | 8.419 | 30.0504 | 0.0418 | 0.0318
2012-50-0223.thndn | 223 | 993 | 8.475 | 10.2404 | 30.8043 | 8.43 | 2012-50-0223.thnup | 223 | 3922 | 8.512 | 10.2388 | 30.7993 | 8.446 | 30.8368 | -0.0325 | -0.0375
2012-50-0227.thndn | 227 | 1088 | 8.509 | 10.255 | 30.8008 | 8.428 | 2012-50-0227.thnup | 227 | 4602 | 8.514 | 10.2438 | 30.9139 | 8.446 | 30.936 | -0.1352 | -0.0221
2012-50-0229.thndn | 229 | 1204 | 8.509 | 10.2645 | 29.265 | 8.461 | 2012-50-0229.thnup | 229 | 2318 | 8.513 | 10.3169 | 28.1369 | 8.497 | 28.4468 | 0.8182 | -0.3099
2012-50-0233.thndn | 233 | 1138 | 8.562 | 10.7381 | 31.674 | 8.43 | 2012-50-0233.thnup | 233 | 3932 | 8.472 | 10.729 | 31.6488 | 8.436 | 31.6853 | -0.0113 | -0.0365
2012-50-0235.thndn | 235 | 1102 | 8.521 | 9.8623 | 31.2061 | 8.463 | 2012-50-0235.thnup | 235 | 5278 | 8.531 | 10.08 | 31.0979 | 8.492 | 31.1151 | 0.091 | -0.0172
2012-50-0239.thndn | 239 | 1189 | 8.568 | 10.3776 | 30.7152 | 8.504 | 2012-50-0239.thnup | 239 | 5555 | 8.517 | 10.3331 | 30.7581 | 8.498 | 30.7505 | -0.0353 | 0.0076
2012-50-0241.thndn | 241 | 1234 | 8.547 | 10.0434 | 31.077 | 8.476 | 2012-50-0241.thnup | 241 | 3432 | 8.51 | 10.0246 | 31.0852 | 8.487 | 31.1516 | -0.0746 | -0.0664
2012-50-0245.thndn | 245 | 1080 | 8.541 | 9.7455 | 31.0718 | 8.424 | 2012-50-0245.thnup | 245 | 1894 | 8.547 | 9.7453 | 31.0844 | 8.45 | 31.1001 | -0.0283 | -0.0157
2012-50-0247.thndn | 247 | 1039 | 8.514 | 9.9399 | 29.7628 | 4.289 | 2012-50-0247.thnup | 247 | 1893 | 8.485 | 9.9122 | 29.8052 | 4.104 | 29.7238 | 0.039 | 0.0814
2012-50-0251.thndn | 251 | 1083 | 8.56 | 9.3098 | 30.7719 | 8.385 | 2012-50-0251.thnup | 251 | 1923 | 8.452 | 9.2857 | 30.8117 | 8.4 | 30.8539 | -0.082 | -0.0422
2012-50-0253.thndn | 253 | 1103 | 8.479 | 9.5119 | 31.647 | 8.413 | 2012-50-0253.thnup | 253 | 2022 | 8.51 | 9.5051 | 31.6635 | 8.432 | 31.6592 | -0.0122 | 0.0043
2012-50-0257.thndn | 257 | 1206 | 8.547 | 9.2685 | 31.3466 | 8.431 | 2012-50-0257.thnup | 257 | 4394 | 8.547 | 9.2303 | 31.3697 | 8.433 | 31.4517 | -0.1051 | -0.082
2012-50-0259.thndn | 259 | 1062 | 8.472 | 10.5077 | 32.1754 | 8.481 | 2012-50-0259.thnup | 259 | 1887 | 8.53 | 10.5234 | 32.1768 | 8.491 | 32.2024 | -0.027 | -0.0256
2012-50-0262.thndn | 262 | 1288 | 8.547 | 11.3083 | 31.9926 | 8.55 | 2012-50-0262.thnup | 262 | 3566 | 8.476 | 11.3194 | 31.9939 | 8.564 | 32.0174 | -0.0248 | -0.0235
2012-50-0266.thndn | 266 | 1018 | 8.466 | 11.0525 | 31.8957 | 8.544 | 2012-50-0266.thnup | 266 | 3780 | 8.509 | 11.0471 | 31.8955 | 8.56 | 31.9252 | -0.0295 | -0.0297
2012-50-0268.thndn | 268 | 1038 | 8.509 | 10.977 | 31.9258 | 8.528 | 2012-50-0268.thnup | 268 | 4820 | 8.514 | 10.9989 | 31.9199 | 8.547 | 31.9561 | -0.0303 | -0.0362
2012-50-0272.thndn | 272 | 1094 | 8.513 | 10.2906 | 32.045 | 8.489 | 2012-50-0272.thnup | 272 | 4282 | 8.509 | 10.3029 | 32.0418 | 8.503 | 32.068 | -0.023 | -0.0262
2012-50-0274.thndn | 274 | 1026 | 8.509 | 10.3144 | 32.0541 | 8.494 | 2012-50-0274.thnup | 274 | 4978 | 8.488 | 10.2654 | 32.0677 | 8.497 | 32.1288 | -0.0747 | -0.0611
2012-50-0278.thndn | 278 | 1038 | 8.509 | 10.5005 | 32.113 | 8.512 | 2012-50-0278.thnup | 278 | 4592 | 8.466 | 10.3146 | 32.1456 | 8.517 | 32.163 | -0.05 | -0.0174
2012-50-0280.thndn | 280 | 1020 | 8.478 | 10.4433 | 32.0193 | 8.512 | 2012-50-0280.thnup | 280 | 3610 | 8.547 | 10.4634 | 32.031 | 8.526 | 32.0596 | -0.0403 | -0.0286
2012-50-0283.thndn | 283 | 1059 | 8.483 | 10.7999 | 31.9824 | 8.562 | 2012-50-0283.thnup | 283 | 3625 | 8.514 | 10.7846 | 31.9901 | 8.571 | 32.0224 | -0.04 | -0.0323
2012-50-0287.thndn | 287 | 1020 | 8.497 | 10.5532 | 32.0612 | 8.531 | 2012-50-0287.thnup | 287 | 5022 | 8.562 | 10.3531 | 32.0992 | 8.506 | 32.0639 | -0.0027 | 0.0353
2012-50-0289.thndn | 289 | 1054 | 8.509 | 10.4749 | 32.0554 | 8.532 | 2012-50-0289.thnup | 289 | 5036 | 8.547 | 10.172 | 32.0998 | 8.491 | 32.1269 | -0.0715 | -0.0271
2012-50-0293.thndn | 293 | 1069 | 8.534 | 9.9473 | 32.1383 | 8.475 | 2012-50-0293.thnup | 293 | 4586 | 8.541 | 10.0407 | 32.1201 | 8.479 | 32.1898 | -0.0515 | -0.0697
2012-50-0295.thndn | 295 | 1054 | 8.5 | 11.1781 | 31.9484 | 8.546 | 2012-50-0295.thnup | 295 | 4132 | 8.509 | 11.145 | 31.9532 | 8.554 | 31.9691 | -0.0207 | -0.0159
2012-50-0299.thndn | 299 | 1064 | 8.509 | 10.2155 | 31.7375 | 8.522 | 2012-50-0299.thnup | 299 | 4811 | 8.517 | 10.8031 | 31.5381 | 8.537 | 31.5484 | 0.1891 | -0.0103
2012-50-0301.thndn | 301 | 1465 | 8.53 | 12.346 | 29.5568 | 8.683 | 2012-50-0301.thnup | 301 | 3890 | 8.541 | 11.0437 | 29.489 | 8.611 | 29.5654 | -0.0086 | -0.0764
2012-50-0307.thndn | 307 | 1066 | 8.509 | 10.7103 | 29.3006 | 8.441 | 2012-50-0307.thnup | 307 | 3814 | 8.552 | 10.6498 | 29.4031 | 8.446 | 28.3155 | 0.9851 | 1.0876
2012-50-0311.thndn | 311 | 1023 | 8.509 | 10.2109 | 27.1929 | 8.405 | 2012-50-0311.thnup | 311 | 4916 | 8.552 | 10.2189 | 27.4942 | 8.431 | 29.4072 | -2.2143 | -1.913
2012-50-0313.thndn | 313 | 1006 | 8.505 | 9.6257 | 28.1623 | 8.364 | 2012-50-0313.thnup | 313 | 4869 | 8.509 | 9.62 | 28.1809 | 8.376 | 27.4601 | 0.7022 | 0.7208
2012-50-0317.thndn | 317 | 966 | 8.504 | 8.6116 | 28.7521 | 8.323 | 2012-50-0317.thnup | 317 | 3106 | 8.475 | 8.3856 | 29.6631 | 8.24 | 27.9569 | 0.7952 | 1.7062
2012-50-0319.thndn | 319 | 1050 | 8.513 | 10.2956 | 27.4673 | 8.502 | 2012-50-0319.thnup | 319 | 5064 | 8.539 | 10.29 | 28.0097 | 8.484 | 29.8769 | -2.4096 | -1.8672
2012-50-0322.thndn | 322 | 1044 | 8.544 | 10.5636 | 28.3378 | 8.505 | 2012-50-0322.thnup | 322 | 4932 | 8.509 | 10.5019 | 28.4659 | 8.516 | 28.3191 | 0.0187 | 0.1468
2012-50-0326.thndn | 326 | 1082 | 8.472 | 10.6055 | 27.5117 | 8.591 | 2012-50-0326.thnup | 326 | 4534 | 8.552 | 9.9028 | 29.214 | 8.435 | 28.0908 | -0.5791 | 1.1232
2012-50-0328.thndn | 328 | 1218 | 8.509 | 10.024 | 29.906 | 8.424 | 2012-50-0328.thnup | 328 | 3222 | 8.552 | 10.0085 | 29.9308 | 8.427 | 29.5357 | 0.3703 | 0.3951
2012-50-0332.thndn | 332 | 1036 | 8.531 | 11.5205 | 30.3167 | 8.531 | 2012-50-0332.thnup | 332 | 3416 | 8.488 | 11.8526 | 30.8519 | 8.587 | 29.7852 | 0.5315 | 1.0667
[15 empty] | dn-bottle | up-bottle
[14 empty] | average | -0.055832 | 0.00298
|  |  | 8.5109 | 10.7788 | 30.91 | 8.3253 |  | 165.2091 | 3694.7636 | 8.51 | 10.7049 | 30.9688 | 8.3284 | median | -0.029 | -0.01995
[14 empty] | std dev | 0.37489 | 0.36932
excluding 6 outliers
[14 empty] | average | -0.031253 | -0.0084202
[14 empty] | median | -0.029 | -0.0202
[14 empty] | std dev | 0.15982 | 0.10889

## sbe911
|  | CTD DOWNCAST |  |  |  |  | down |  |  |  | CTD UPCAST |  |  | up |  | Bottle CHL | up versus down |  |  |  | Bottle Sal | DNsal0 | DNsal1 | UPsal0 | UPsal1
LOC:EVENT_NUMBER | Pressure | Temperature:Primary | Fluorescence* | Salinity:T0:C0 | Salinity:T1:C1 | Temperature:Secondary | Tdiff | Pressure | Temperature:Primary | Salinity:T0:C0 | Fluorescence* | Temperature:Secondary | Salinity:T1:C1 | Tdiff |  |  | Tdiff | Sdiff | Fldiff |  |  | CTD-BOT | CTD-BOT | CTD-BOT | CTD-BOT
334 | 10.983 | 9.7792 | 4.373 | 30.7042 | 30.7155 | 9.7361 | 0.0431 | 11.001 | 9.4123 | 30.8274 | 4.208 | 9.4101 | 30.8276 | 0.0022 |  | 4.4208 | 0.3669 | -0.1234 | 0.165 | 9.7792 | 30.8277 | -0.1235 | -0.1122 | -0.0003 | -0.0001 |  |  | 4 casts with lowest sal gradient near sampling depth
340 | 11.003 | 9.7756 | 2.673 | 31.4839 | 31.4992 | 9.7602 | 0.0154 | 10.992 | 9.4793 | 31.7033 | 2.744 | 9.4849 | 31.6733 | -0.0056 |  | 3.9869 | 0.2963 | -0.1894 | -0.071 | 3.716 | 31.2311 | 0.2528 | 0.2681 | 0.4722 | 0.4422 |  |  | DNsal0 | DNsal1 | UPsal0 | UPsal1
343 | 10.994 | 9.6935 | 3.324 | 30.9176 | 30.9178 | 9.6909 | 0.0026 | 11.003 | 9.5977 | 30.9527 | 3.583 | 9.5352 | 30.9915 | 0.0625 |  | 2.902 | 0.0958 | -0.0739 | -0.259 | 9.7756 | 30.9295 | -0.0119 | -0.0117 | 0.0232 | 0.062 |  |  | CTD-BOT | CTD-BOT | CTD-BOT | CTD-BOT
346 | 11.013 | 9.6225 | 6.408 | 30.8957 | 30.8959 | 9.6229 | -0.0004 | 11.006 | 9.5318 | 30.9052 | 5.603 | 9.5307 | 30.9062 | 0.0011 |  | 5.4243 | 0.0907 | -0.0105 | 0.805 | 9.6935 | 30.9059 | -0.0102 | -0.01 | -0.0007 | 0.0003 | casts with lowest sal gradient near sampling depth | avg | -0.018275 | -0.0183 | -0.0004 | 0.0101
349 | 11.002 | 10.1839 | 4.891 | 30.4547 | 30.4541 | 10.1734 | 0.0105 | 10.997 | 10.1 | 30.4602 | 5.141 | 10.0586 | 30.4716 | 0.0414 |  | 4.475 | 0.0839 | -0.0169 | -0.25 | 9.6225 | 30.471 | -0.0163 | -0.0169 | -0.0108 | 0.0006 | casts with lowest sal gradient near sampling depth | median | -0.0176 | -0.018 | -0.00575 | 0.00045
352 | 11.004 | 10.3324 | 2.387 | 30.3508 | 30.3506 | 10.336 | -0.0036 | 11 | 10.1621 | 30.3947 | 3.162 | 10.1229 | 30.4237 | 0.0392 |  | 2.8233 | 0.1703 | -0.0729 | -0.775 | 10.1839 | 30.3697 | -0.0189 | -0.0191 | 0.025 | 0.054 | casts with lowest sal gradient near sampling depth | std dev | 0.0072647 | 0.0070875 | 0.017977 | 0.030103
355 | 11.006 | 11.0532 | 4.102 | 30.704 | 30.7045 | 11.0533 | -0.0001 | 11 | 11.0159 | 30.7166 | 3.795 | 11.0164 | 30.7172 | -0.0005 |  | 3.6072 | 0.0373 | -0.0132 | 0.307 | 10.3324 | 30.7317 | -0.0277 | -0.0272 | -0.0151 | -0.0145 | casts with lowest sal gradient near sampling depth
358 | 10.992 | 10.0605 | 3.503 | 31.1345 | 31.1329 | 10.0612 | -0.0007 | 10.993 | 9.4351 | 31.4457 | 2.328 | 9.4495 | 31.45 | -0.0144 |  | 3.0864 | 0.6254 | -0.3155 | 1.175 | 11.0532 | 31.1462 | -0.0117 | -0.0133 | 0.2995 | 0.3038 |  |  | if assume bottle is high by 0.012, then
361 | 10.987 | 10.206 | 4.45 | 30.6335 | 30.6307 | 10.2179 | -0.0119 | 10.994 | 9.7615 | 30.8424 | 2.961 | 9.7644 | 30.8382 | -0.0029 |  | 2.3813 | 0.4445 | -0.2047 | 1.489 | 10.0605 | 30.7698 | -0.1363 | -0.1391 | 0.0726 | 0.0684 |  |  | DNsal0 | DNsal1 | UPsal0 | UPsal1
364 | 11.005 | 9.0461 | 2.95 | 30.7038 | 30.7049 | 9.0465 | -0.0004 | 11.006 | 9.1334 | 30.6788 | 3.385 | 9.1369 | 30.6771 | -0.0035 |  | 3.3956 | -0.0873 | 0.0267 | -0.435 | 10.206 | 30.5562 | 0.1476 | 0.1487 | 0.1226 | 0.1209 |  |  | CTD-BOT | CTD-BOT | CTD-BOT | CTD-BOT
367 | 11.012 | 9.0386 | 2.841 | 30.5268 | 30.5263 | 9.0387 | -0.0001 | 11.001 | 8.9598 | 30.6198 | 1.94 | 8.9097 | 30.6722 | 0.0501 |  | 4.475 | 0.0788 | -0.1454 | 0.901 | 9.0461 | 30.1888 | 0.338 | 0.3375 | 0.431 | 0.4834 |  | avg | -0.006275 | -0.0063 | 0.0116 | 0.0221
370 | 10.989 | 9.4638 | 3.477 | 30.1281 | 30.1265 | 9.4665 | -0.0027 | 11.005 | 9.5011 | 30.122 | 3.69 | 9.5277 | 30.0969 | -0.0266 |  | 4.909 | -0.0373 | 0.0312 | -0.213 | 9.0386 | 29.7952 | 0.3329 | 0.3313 | 0.3268 | 0.3017 |  | median | -0.0056 | -0.006 | 0.00625 | 0.01245
373 | 11.005 | 9.2375 | 1.38 | 30.9466 | 30.9461 | 9.239 | -0.0015 | 10.993 | 9.2862 | 30.9125 | 1.469 | 9.2792 | 30.9184 | 0.007 |  | 1.2232 | -0.0487 | 0.0282 | -0.089 | 9.4638 | 30.9324 | 0.0142 | 0.0137 | -0.0199 | -0.014 |  | std dev | 0.019265 | 0.019088 | 0.029977 | 0.042103
376 | 10.995 | 9.8695 | 3.179 | 30.1043 | 30.1027 | 9.8714 | -0.0019 | 11.003 | 9.5354 | 30.3335 | 3.387 | 9.519 | 30.3443 | 0.0164 |  | 2.7962 | 0.3341 | -0.24 | -0.208 | 9.2375 | 30.2402 | -0.1359 | -0.1375 | 0.0933 | 0.1041
379 | 10.991 | 10.4838 | 3.295 | 30.32 | 30.3172 | 10.486 | -0.0022 | 10.979 | 9.2966 | 30.7397 | 2.566 | 9.2868 | 30.7495 | 0.0098 |  | 1.9256 | 1.1872 | -0.4295 | 0.729 | 9.8695 | 30.7412 | -0.4212 | -0.424 | -0.0015 | 0.0083
382 | 11.012 | 10.061 | 3.279 | 30.3435 | 30.3421 | 10.0643 | -0.0033 | 11.001 | 9.8732 | 30.3807 | 3.22 | 9.9607 | 30.35 | -0.0875 |  | 3.203 | 0.1878 | -0.0065 | 0.059 | 10.4838 | 30.3399 | 0.0036 | 0.0022 | 0.0408 | 0.0101
385 | 11 | 9.2732 | 2.71 | 30.4542 | 30.4584 | 9.2705 | 0.0027 | 10.994 | 9.2827 | 30.4678 | 3.586 | 9.2814 | 30.4704 | 0.0013 |  | 2.7745 | -0.0095 | -0.0162 | -0.876 | 10.061 | 30.4406 | 0.0136 | 0.0178 | 0.0272 | 0.0298
388 | 11.004 | 9.84 | 2.74 | 30.5124 | 30.5125 | 9.8375 | 0.0025 | 11 | 9.916 | 30.4914 | 2.796 | 9.9204 | 30.4901 | -0.0044 |  | 2.8749 | -0.076 | 0.0223 | -0.056 | 9.2732 | 30.4985 | 0.0139 | 0.014 | -0.0071 | -0.0084
391 | 11.009 | 9.9774 | 4.583 | 30.5572 | 30.558 | 9.9775 | -0.0001 | 10.997 | 9.6044 | 30.6053 | 4.491 | 9.5816 | 30.6066 | 0.0228 |  | 3.7346 | 0.373 | -0.0494 | 0.092 | 9.84 | 30.5783 | -0.021103 | -0.020303 | 0.026997 | 0.028297
394 | 11.017 | 10.2436 | 11.312 | 30.1046 | 30.1055 | 10.2421 | 0.0015 | 10.985 | 10.3545 | 29.897 | 12.36 | 10.3513 | 29.8986 | 0.0032 |  | 13.0183 | -0.1109 | 0.206 | -1.048 | 9.9774 | 29.8726 | 0.23203 | 0.23293 | 0.024432 | 0.026032
397 | 11.008 | 9.7323 | 4.9 | 29.934 | 29.9327 | 9.7343 | -0.002 | 10.996 | 9.8208 | 29.8551 | 3.578 | 9.8236 | 29.8573 | -0.0028 |  | 4.3449 | -0.0885 | 0.0767 | 1.322 | 10.2436 | 29.8594 | 0.0746 | 0.0733 | -0.0043 | -0.0021
400 | 10.999 | 10.3341 | 6.698 | 29.6041 | 29.6049 | 10.334 | 0.0001 | 11.005 | 10.3245 | 29.6292 | 7.539 | 10.3205 | 29.6307 | 0.004 |  | 9.9265 | 0.0096 | -0.0266 | -0.841 | 0.759 | 29.6358 | -0.0317 | -0.0309 | -0.0066 | -0.0051
403 | 11.001 | 9.9405 | 2.404 | 29.7099 | 29.7093 | 9.9421 | -0.0016 | 11 | 9.9061 | 29.7367 | 2.318 | 9.8862 | 29.7497 | 0.0199 |  | 2.6091 | 0.0344 | -0.0398 | 0.086 | 9.7323 | 29.7346 | -0.0247 | -0.0253 | 0.0021 | 0.0151
406 | 10.997 | 9.9843 | 2.91 | 29.4385 | 29.4472 | 9.9726 | 0.0117 | 11.002 | 9.7683 | 29.6232 | 2.512 | 9.8434 | 29.565 | -0.0751 |  | 1.6246 | 0.216 | -0.1265 | 0.398 | 10.3341 | 29.5934 | -0.1549 | -0.1462 | 0.0298 | -0.0284
409 | 10.993 | 9.7587 | 0.634 | 29.6406 | 29.6411 | 9.7591 | -0.0004 | 11.006 | 9.2313 | 30.2142 | 0.403 | 9.2305 | 30.216 | 0.0008 |  | 0.53701 | 0.5274 | -0.5754 | 0.231 | 9.9405 | 30.1663 | -0.5257 | -0.5252 | 0.0479 | 0.0497
[20 empty] | 9.9843 |  | DN-sal0 | DNsal1 | UPsal0 | UPsal1
[16 empty] | avg | 0.18805 | -0.091384 | 0.10552 | 9.7587 |  | -0.0099389 | -0.0087749 | 0.079965 | 0.081445
[16 empty] | med | 0.0907 | -0.0398 | 0.059 |  |  | -0.0119 | -0.0133 | 0.025 | 0.026032
[16 empty] | stdev | 0.27423 | 0.49805 | 12.8511 |  |  | 0.18107 | 0.165 | 0.14095 | 0.14291
|  |  |  | Tdiff low indicates quiet section | [10 empty] | 4 casts | avg quiet T | 0.16148 | -0.15382 | 0.11675 |  |  | -0.1375 | -0.13615 | 0.014825 | 0.016325
[14 empty] | 0.00069286 | 14 casts | f quiet | 0.18136 | -0.087786 | 0.11657 |  |  | -0.037683 | -0.035719 | 0.050817 | 0.050102
PO4
Event # | Station | Pressure | Temperature:Primary | Salinity:T0:C0 | Fluorescence:Wetlabs:ECO-AFL | Salinity Diff CTD-Bot | Salinity:Bottle | Flag:Salinity Bottle | Chlorophyll:Extracted | Flag:Chlorophyll:Extracted | Phaeo-Pigment:Extracted | NO3 | Flag:NO3 | Si | Flag:Si | 1.39 | Flag:PO4 | comments | ECO FL/Extracted CHL | Upcast ECO fluor | Chlorophyll:Extracted | CTD Sal0 downcast-Sal Bot
334 | QCSD10 | 10.983 | 9.7792 | 30.7042 | 4.373 | -0.1235 | 30.8277 |  | 4.4208 | 6 | 1.5177 | 15.8 |  | 26.4 |  | 1.38 |  |  | 0.98919 | 4.208 | 4.4208 | -0.1235
337 | QCSD11 | 10.991 | 9.1916 | 31.4146 | 2.673 | -0.0096 | 31.4242 |  | 4.2852 | 6 | 0.98201 | 16.2 | 6 | 25.5 | 6 | 1.38 | 6 | CTD: Upcast data used for this cast | 0.62378 |  | 4.2852 | -0.0096
340 | QCST01 | 11.003 | 9.7756 | 31.4839 | 3.716 | 0.2528 | 31.2311 |  | 3.9869 | 6 | 2.2615 | 15.1 |  | 27.6 |  | 1.53 |  |  | 0.93206 | 2.744 | 3.9869 | 0.2528
343 | QCST02 | 10.994 | 9.6935 | 30.9176 | 3.324 | -0.0119 | 30.9295 |  | 2.902 | 6 | 1.7455 | 17.6 |  | 31.7 |  | 1.46 |  |  | 1.1454 | 3.583 | 2.902 | -0.0119
346 | QCST03 | 11.013 | 9.6225 | 30.8957 | 6.408 | -0.0102 | 30.9059 |  | 5.4243 | 6 | 1.7794 | 16.4 |  | 29.7 |  | 1.5 |  |  | 1.1814 | 5.603 | 5.4243 | -0.0102
349 | QCST04 | 11.002 | 10.1839 | 30.4547 | 4.891 | -0.0163 | 30.471 |  | 4.475 | 6 | 2.1864 | 16.7 |  | 33.5 |  | 1.57 |  |  | 1.093 | 5.141 | 4.475 | -0.0163
352 | QCST05 | 11.004 | 10.3324 | 30.3508 | 2.387 | -0.0189 | 30.3697 |  | 2.8233 | 6 | 1.4085 | 17.8 |  | 33.2 |  | 1.29 |  |  | 0.84545 | 3.162 | 2.8233 | -0.0189
355 | QCST06 | 11.006 | 11.0532 | 30.704 | 4.102 | -0.0277 | 30.7317 |  | 3.6072 | 6 | 2.1506 | 13.1 |  | 27.2 |  | 1.27 |  |  | 1.1372 | 3.795 | 3.6072 | -0.0277
358 | QCST07 | 10.992 | 10.0605 | 31.1345 | 3.503 | -0.0117 | 31.1462 |  | 3.0864 | 6 | 1.7212 | 13.5 | 6 | 25.5 | 6 | 1.48 | 6 |  | 1.135 | 2.328 | 3.0864 | -0.0117
361 | QCST08 | 10.987 | 10.206 | 30.6335 | 4.45 | -0.1363 | 30.7698 |  | 2.3813 | 6 | 1.4968 | 16.7 |  | 31.2 |  | 1.55 |  |  | 1.8688 | 2.961 | 2.3813 | -0.1363
364 | QCST09 | 11.005 | 9.0461 | 30.7038 | 2.95 | 0.1476 | 30.5562 |  | 3.3956 | 6 | 1.4017 | 18.4 |  | 33.6 |  | 1.49 |  |  | 0.86877 | 3.385 | 3.3956 | 0.1476
367 | QCST10 | 11.012 | 9.0386 | 30.5268 | 2.841 | 0.338 | 30.1888 |  | 4.475 | 6 | 1.67 | 17 |  | 31.8 |  | 1.42 |  |  | 0.63485 | 1.94 | 4.475 | 0.338
370 | QCST11 | 10.989 | 9.4638 | 30.1281 | 3.477 | 0.3329 | 29.7952 |  | 4.909 | 6 | 1.3652 | 15.7 |  | 31 |  | 1.72 |  |  | 0.70829 | 3.69 | 4.909 | 0.3329
373 | QCST12 | 11.005 | 9.2375 | 30.9466 | 1.38 | 0.0142 | 30.9324 |  | 1.2232 | 36 | 1.0154 | 19.9 |  | 35.6 |  | 1.52 |  | CHL-variability of reps >15% | 1.1282 | 1.469 | 1.2232 | 0.0142
376 | QCST13 | 10.995 | 9.8695 | 30.1043 | 3.179 | -0.1359 | 30.2402 |  | 2.7962 | 6 | 1.2032 | 17.7 |  | 31.7 |  | 1.66 |  |  | 1.1369 | 3.387 | 2.7962 | -0.1359
379 | QCST14 | 10.991 | 10.4838 | 30.32 | 3.295 | -0.4212 | 30.7412 |  | 1.9256 | 6 | 1.3096 | 19.6 |  | 34.6 |  | 1.53 |  |  | 1.7111 | 2.566 | 1.9256 | -0.4212
382 | QCST15 | 11.012 | 10.061 | 30.3435 | 3.279 | 0.0036 | 30.3399 |  | 3.203 | 6 | 1.0546 | 17.6 |  | 31.2 |  | 1.63 |  |  | 1.0237 | 3.22 | 3.203 | 0.0036
385 | QCST16 | 11 | 9.2732 | 30.4542 | 2.71 | 0.0136 | 30.4406 |  | 2.7745 | 6 | 0.80666 | 19.1 |  | 33.6 |  | 1.58 |  |  | 0.97674 | 3.586 | 2.7745 | 0.0136
388 | QCST17 | 11.004 | 9.84 | 30.5124 | 2.74 | 0.0139 | 30.4985 |  | 2.8749 | 6 | 1.1788 | 18.3 | 6 | 32.7 | 6 | 1.57 | 6 |  | 0.95308 | 2.796 | 2.8749 | 0.0139
391 | QCST18 | 11.009 | 9.9774 | 30.5572 | 4.583 | -0.021103 | 30.5783 |  | 3.7346 | 6 | 1.1272 | 17.9 |  | 31.9 |  | 1.23 |  |  | 1.2272 | 4.491 | 3.7346 | -0.021103
394 | JS01 | 11.017 | 10.2436 | 30.1046 | 11.312 | 0.23203 | 29.8726 |  | 13.0183 | 6 | 1.7505 | 13.8 |  | 23.8 |  | -99 |  | SAL;10m niskin | 0.86893 | 12.36 | 13.0183 | 0.23203
397 | JS02 | 11.008 | 9.7323 | 29.934 | 4.9 | 0.0746 | 29.8594 |  | 4.3449 | 6 | 0.68481 | 19.2 |  | 35 |  | 1.46 |  |  | 1.1278 | 3.578 | 4.3449 | 0.0746
400 | JS03 | 10.999 | 10.3341 | 29.6041 | 6.698 | -0.0317 | 29.6358 |  | 9.9265 | 6 | 1.2276 | 16.3 |  | 31.3 |  | 1.72 |  |  | 0.67476 | 7.539 | 9.9265 | -0.0317
403 | JS04 | 11.001 | 9.9405 | 29.7099 | 2.404 | -0.0247 | 29.7346 |  | 2.6091 | 6 | 0.56157 | 20.5 |  | 37.7 |  | 1.74 |  |  | 0.9214 | 2.318 | 2.6091 | -0.0247
406 | JS05 | 10.997 | 9.9843 | 29.4385 | 2.91 | -0.1549 | 29.5934 |  | 1.6246 | 6 | 0.55202 | 21.1 |  | 39.1 |  | 1.82 |  |  | 1.7912 | 2.512 | 1.6246 | -0.1549
409 | JS06 | 10.993 | 9.7587 | 29.6406 | 0.634 | -0.5257 | 30.1663 |  | 0.53701 | 6 | 0.45705 | 22.3 |  | 39.3 |  |  |  |  | 1.1806 | 0.403 | 0.53701 | -0.5257
394 | JS01 | 250.3 | 8.5018 | 31.4377 | 0.759 | -0.012 | 31.4497 | 2 | -99 |  | -99 | -99 |  | -99 |  | 1.64 |  | Deep sample salinity only;245m niskin | -0.0076667 |  | -99 | -0.012
[18 empty] | 10db samples |  | avg |  | -0.0099258
[20 empty] | median |  | -0.0118
[20 empty] | std dev |  | 0.18997
[18 empty] | 1 deep sample |  |  |  | -0.012