## File List
Number of Files= |  | 2
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2012-57-0011.thn | 2012-57-0011.thn | 11 | 36 | 2012-57-0011.thn & 2012-57-0011.thn
2 | 2012-57-0013.thn | 2012-57-0013.thn | 38 | 63 | 2012-57-0013.thn & 2012-57-0013.thn

## (ECO_FL - SP_FL)
Calculation of Linear Least Squares Fit For
(ECO_FL - SP_FL)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (ECO_FL - SP_FL), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.05424 |  | X | CALC Y
m= | 0.00057239 | 0.00033801 |  | Std Dev of Resid |  | 0.14295 |  | 2.3 | 0.04373
b= | 0.042413 | 0.023513 |  | Resid Sum of Squares |  | 1.0217 |  | 331.5 | 0.23216
# of Values Extracted = |  |  | 52
# of Values Used in Fit = |  |  | 52
File | Use | Pressure | ECO_FL | ECO_FL | Diff (ECO_FL - SP_FL) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y | Cast | Pressure | ECO | SeaPoint | ECO/SP
1 | YES | 2.3 | 1.479 | 0 | -0.266 | 0.04373 | 0.30973 |  | 2.3 | -0.266 | 11 | 2.3 | 1.479 | 1.745 | 0.84756
1 | YES | 3.9 | 1.464 | 0 | -0.281 | 0.044645 | 0.32565 |  | 3.9 | -0.281 | 11 | 3.9 | 1.464 | 1.745 | 0.83897
1 | YES | 6 | 1.451 | 0 | -0.335 | 0.045847 | 0.38085 |  | 6 | -0.335 | 11 | 6 | 1.451 | 1.786 | 0.81243
1 | YES | 8 | 1.285 | 0 | -0.33 | 0.046992 | 0.37699 |  | 8 | -0.33 | 11 | 8 | 1.285 | 1.615 | 0.79567
1 | YES | 10 | 0.996 | 0 | -0.136 | 0.048137 | 0.18414 |  | 10 | -0.136 | 11 | 10 | 0.996 | 1.132 | 0.87986
1 | YES | 12 | 0.783 | 0 | -0.049 | 0.049282 | 0.098282 |  | 12 | -0.049 | 11 | 12 | 0.783 | 0.832 | 0.94111
1 | YES | 14 | 0.711 | 0 | 0.029 | 0.050427 | 0.021427 |  | 14 | 0.029 | 11 | 14 | 0.711 | 0.682 | 1.0425
1 | YES | 16 | 0.593 | 0 | 0.115 | 0.051571 | -0.063429 |  | 16 | 0.115 | 11 | 16 | 0.593 | 0.478 | 1.2406
1 | YES | 18 | 0.534 | 0 | 0.166 | 0.052716 | -0.11328 |  | 18 | 0.166 | 11 | 18 | 0.534 | 0.368 | 1.4511
1 | YES | 20 | 0.404 | 0 | 0.111 | 0.053861 | -0.057139 |  | 20 | 0.111 | 11 | 20 | 0.404 | 0.293 | 1.3788
1 | YES | 22 | 0.399 | 0 | 0.126 | 0.055006 | -0.070994 |  | 22 | 0.126 | 11 | 22 | 0.399 | 0.273 | 1.4615
1 | YES | 24 | 0.341 | 0 | 0.123 | 0.05615 | -0.06685 |  | 24 | 0.123 | 11 | 24 | 0.341 | 0.218 | 1.5642
1 | YES | 26 | 0.277 | 0 | 0.115 | 0.057295 | -0.057705 |  | 26 | 0.115 | 11 | 26 | 0.277 | 0.162 | 1.7099
1 | YES | 28 | 0.267 | 0 | 0.114 | 0.05844 | -0.05556 |  | 28 | 0.114 | 11 | 28 | 0.267 | 0.153 | 1.7451
1 | YES | 30 | 0.244 | 0 | 0.111 | 0.059585 | -0.051415 |  | 30 | 0.111 | 11 | 30 | 0.244 | 0.133 | 1.8346
1 | YES | 32 | 0.193 | 0 | 0.093 | 0.060729 | -0.032271 |  | 32 | 0.093 | 11 | 32 | 0.193 | 0.1 | 1.93
1 | YES | 34 | 0.194 | 0 | 0.098 | 0.061874 | -0.036126 |  | 34 | 0.098 | 11 | 34 | 0.194 | 0.096 | 2.0208
1 | YES | 36 | 0.183 | 0 | 0.095 | 0.063019 | -0.031981 |  | 36 | 0.095 | 11 | 36 | 0.183 | 0.088 | 2.0795
1 | YES | 38 | 0.179 | 0 | 0.1 | 0.064164 | -0.035836 |  | 38 | 0.1 | 11 | 38 | 0.179 | 0.079 | 2.2658
1 | YES | 40 | 0.165 | 0 | 0.092 | 0.065309 | -0.026691 |  | 40 | 0.092 | 11 | 40 | 0.165 | 0.073 | 2.2603
1 | YES | 42 | 0.187 | 0 | 0.114 | 0.066453 | -0.047547 |  | 42 | 0.114 | 11 | 42 | 0.187 | 0.073 | 2.5616
1 | YES | 44 | 0.168 | 0 | 0.095 | 0.067598 | -0.027402 |  | 44 | 0.095 | 11 | 44 | 0.168 | 0.073 | 2.3014
1 | YES | 46 | 0.17 | 0 | 0.097 | 0.068743 | -0.028257 |  | 46 | 0.097 | 11 | 46 | 0.17 | 0.073 | 2.3288
1 | YES | 48 | 0.186 | 0 | 0.122 | 0.069888 | -0.052112 |  | 48 | 0.122 | 11 | 48 | 0.186 | 0.064 | 2.9062
1 | YES | 50 | 0.173 | 0 | 0.11 | 0.071032 | -0.038968 |  | 50 | 0.11 | 11 | 50 | 0.173 | 0.063 | 2.746
1 | YES | 331.5 | 0.158 | 0 | 0.039 | 0.23216 | 0.19316 |  | 331.5 | 0.039 | 11 | 331.5 | 0.158 | 0.119 | 1.3277
2 | YES | 3.7 | 2.605 | 0.14284 | 0.01 | 0.044531 | 0.034531 |  | 3.7 | 0.01 | 13 | 3.7 | 2.605 | 2.595 | 1.0039
2 | YES | 3.7 | 2.605 | 0.14284 | 0.0020001 | 0.044531 | 0.042531 |  | 3.7 | 0.0020001 | 13 | 3.7 | 2.605 | 2.603 | 1.0008
2 | YES | 6 | 1.552 | 0 | -0.445 | 0.045847 | 0.49085 |  | 6 | -0.445 | 13 | 6 | 1.552 | 1.997 | 0.77717
2 | YES | 8 | 0.882 | 0 | -0.064 | 0.046992 | 0.11099 |  | 8 | -0.064 | 13 | 8 | 0.882 | 0.946 | 0.93235
2 | YES | 10 | 0.737 | 0 | 0.092 | 0.048137 | -0.043863 |  | 10 | 0.092 | 13 | 10 | 0.737 | 0.645 | 1.1426
2 | YES | 12 | 0.807 | 0 | 0.187 | 0.049282 | -0.13772 |  | 12 | 0.187 | 13 | 12 | 0.807 | 0.62 | 1.3016
2 | YES | 14 | 0.478 | 0 | 0.111 | 0.050427 | -0.060573 |  | 14 | 0.111 | 13 | 14 | 0.478 | 0.367 | 1.3025
2 | YES | 16 | 0.438 | 0 | 0.148 | 0.051571 | -0.096429 |  | 16 | 0.148 | 13 | 16 | 0.438 | 0.29 | 1.5103
2 | YES | 18 | 0.401 | 0 | 0.178 | 0.052716 | -0.12528 |  | 18 | 0.178 | 13 | 18 | 0.401 | 0.223 | 1.7982
2 | YES | 20 | 0.308 | 0 | 0.138 | 0.053861 | -0.084139 |  | 20 | 0.138 | 13 | 20 | 0.308 | 0.17 | 1.8118
2 | YES | 22 | 0.317 | 0 | 0.153 | 0.055006 | -0.097994 |  | 22 | 0.153 | 13 | 22 | 0.317 | 0.164 | 1.9329
2 | YES | 24 | 0.294 | 0 | 0.147 | 0.05615 | -0.09085 |  | 24 | 0.147 | 13 | 24 | 0.294 | 0.147 | 2
2 | YES | 26 | 0.254 | 0 | 0.129 | 0.057295 | -0.071705 |  | 26 | 0.129 | 13 | 26 | 0.254 | 0.125 | 2.032
2 | YES | 28 | 0.263 | 0 | 0.143 | 0.05844 | -0.08456 |  | 28 | 0.143 | 13 | 28 | 0.263 | 0.12 | 2.1917
2 | YES | 30 | 0.253 | 0 | 0.15 | 0.059585 | -0.090415 |  | 30 | 0.15 | 13 | 30 | 0.253 | 0.103 | 2.4563
2 | YES | 32 | 0.247 | 0 | 0.143 | 0.060729 | -0.082271 |  | 32 | 0.143 | 13 | 32 | 0.247 | 0.104 | 2.375
2 | YES | 34 | 0.233 | 0 | 0.135 | 0.061874 | -0.073126 |  | 34 | 0.135 | 13 | 34 | 0.233 | 0.098 | 2.3776
2 | YES | 36 | 0.228 | 0 | 0.129 | 0.063019 | -0.065981 |  | 36 | 0.129 | 13 | 36 | 0.228 | 0.099 | 2.303
2 | YES | 38 | 0.258 | 0 | 0.157 | 0.064164 | -0.092836 |  | 38 | 0.157 | 13 | 38 | 0.258 | 0.101 | 2.5545
2 | YES | 40 | 0.236 | 0 | 0.145 | 0.065309 | -0.079691 |  | 40 | 0.145 | 13 | 40 | 0.236 | 0.091 | 2.5934
2 | YES | 42 | 0.233 | 0 | 0.137 | 0.066453 | -0.070547 |  | 42 | 0.137 | 13 | 42 | 0.233 | 0.096 | 2.4271
2 | YES | 44 | 0.213 | 0 | 0.122 | 0.067598 | -0.054402 |  | 44 | 0.122 | 13 | 44 | 0.213 | 0.091 | 2.3407
2 | YES | 46 | 0.22 | 0 | 0.126 | 0.068743 | -0.057257 |  | 46 | 0.126 | 13 | 46 | 0.22 | 0.094 | 2.3404
2 | YES | 48 | 0.223 | 0 | 0.126 | 0.069888 | -0.056112 |  | 48 | 0.126 | 13 | 48 | 0.223 | 0.097 | 2.299
2 | YES | 50 | 0.207 | 0 | 0.114 | 0.071032 | -0.042968 |  | 50 | 0.114 | 13 | 50 | 0.207 | 0.093 | 2.2258
2 | YES | 312.3 | 0.346 | 0 | 0.238 | 0.22117 | -0.016831 |  | 312.3 | 0.238 | 13 | 312.3 | 0.346 | 0.108 | 3.2037
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. ECO_FL
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2 |  |  |  | COMPARE Version 3.3 | Run at 2013/01/14 16:37:37
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | SP_FL | ECO_FL |  | ECO_FL - SP_FL
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | SP_FL | ECO_FL | ECO_FL | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2012-57-0011.thn | 2012-57-0011.thn | 1 | 2.3 | 2.3 | 0 | 0 | 1.745 | 1.479 | 0 | -0.266
2012-57-0011.thn | 2012-57-0011.thn | 1 | 3.9 | 3.9 | 0 | 0 | 1.745 | 1.464 | 0 | -0.281
2012-57-0011.thn | 2012-57-0011.thn | 1 | 6 | 6 | 0 | 0 | 1.786 | 1.451 | 0 | -0.335
2012-57-0011.thn | 2012-57-0011.thn | 1 | 8 | 8 | 0 | 0 | 1.615 | 1.285 | 0 | -0.33
2012-57-0011.thn | 2012-57-0011.thn | 1 | 10 | 10 | 0 | 0 | 1.132 | 0.996 | 0 | -0.136
2012-57-0011.thn | 2012-57-0011.thn | 1 | 12 | 12 | 0 | 0 | 0.832 | 0.783 | 0 | -0.049
2012-57-0011.thn | 2012-57-0011.thn | 1 | 14 | 14 | 0 | 0 | 0.682 | 0.711 | 0 | 0.029
2012-57-0011.thn | 2012-57-0011.thn | 1 | 16 | 16 | 0 | 0 | 0.478 | 0.593 | 0 | 0.115
2012-57-0011.thn | 2012-57-0011.thn | 1 | 18 | 18 | 0 | 0 | 0.368 | 0.534 | 0 | 0.166
2012-57-0011.thn | 2012-57-0011.thn | 1 | 20 | 20 | 0 | 0 | 0.293 | 0.404 | 0 | 0.111
2012-57-0011.thn | 2012-57-0011.thn | 1 | 22 | 22 | 0 | 0 | 0.273 | 0.399 | 0 | 0.126
2012-57-0011.thn | 2012-57-0011.thn | 1 | 24 | 24 | 0 | 0 | 0.218 | 0.341 | 0 | 0.123
2012-57-0011.thn | 2012-57-0011.thn | 1 | 26 | 26 | 0 | 0 | 0.162 | 0.277 | 0 | 0.115
2012-57-0011.thn | 2012-57-0011.thn | 1 | 28 | 28 | 0 | 0 | 0.153 | 0.267 | 0 | 0.114
2012-57-0011.thn | 2012-57-0011.thn | 1 | 30 | 30 | 0 | 0 | 0.133 | 0.244 | 0 | 0.111
2012-57-0011.thn | 2012-57-0011.thn | 1 | 32 | 32 | 0 | 0 | 0.1 | 0.193 | 0 | 0.093
2012-57-0011.thn | 2012-57-0011.thn | 1 | 34 | 34 | 0 | 0 | 0.096 | 0.194 | 0 | 0.098
2012-57-0011.thn | 2012-57-0011.thn | 1 | 36 | 36 | 0 | 0 | 0.088 | 0.183 | 0 | 0.095
2012-57-0011.thn | 2012-57-0011.thn | 1 | 38 | 38 | 0 | 0 | 0.079 | 0.179 | 0 | 0.1
2012-57-0011.thn | 2012-57-0011.thn | 1 | 40 | 40 | 0 | 0 | 0.073 | 0.165 | 0 | 0.092
2012-57-0011.thn | 2012-57-0011.thn | 1 | 42 | 42 | 0 | 0 | 0.073 | 0.187 | 0 | 0.114
2012-57-0011.thn | 2012-57-0011.thn | 1 | 44 | 44 | 0 | 0 | 0.073 | 0.168 | 0 | 0.095
2012-57-0011.thn | 2012-57-0011.thn | 1 | 46 | 46 | 0 | 0 | 0.073 | 0.17 | 0 | 0.097
2012-57-0011.thn | 2012-57-0011.thn | 1 | 48 | 48 | 0 | 0 | 0.064 | 0.186 | 0 | 0.122
2012-57-0011.thn | 2012-57-0011.thn | 1 | 50 | 50 | 0 | 0 | 0.063 | 0.173 | 0 | 0.11
2012-57-0011.thn | 2012-57-0011.thn | 1 | 331.5 | 331.5 | 0 | 0 | 0.119 | 0.158 | 0 | 0.039
2012-57-0013.thn | 2012-57-0013.thn | 2 | 3.4 | 3.7 | 0.42426 | 0.3 | 2.595 | 2.605 | 0.14284 | 0.01
2012-57-0013.thn | 2012-57-0013.thn | 2 | 4 | 3.7 | 0.42426 | -0.3 | 2.603 | 2.605 | 0.14284 | 0.0020001
2012-57-0013.thn | 2012-57-0013.thn | 1 | 6 | 6 | 0 | 0 | 1.997 | 1.552 | 0 | -0.445
2012-57-0013.thn | 2012-57-0013.thn | 1 | 8 | 8 | 0 | 0 | 0.946 | 0.882 | 0 | -0.064
2012-57-0013.thn | 2012-57-0013.thn | 1 | 10 | 10 | 0 | 0 | 0.645 | 0.737 | 0 | 0.092
2012-57-0013.thn | 2012-57-0013.thn | 1 | 12 | 12 | 0 | 0 | 0.62 | 0.807 | 0 | 0.187
2012-57-0013.thn | 2012-57-0013.thn | 1 | 14 | 14 | 0 | 0 | 0.367 | 0.478 | 0 | 0.111
2012-57-0013.thn | 2012-57-0013.thn | 1 | 16 | 16 | 0 | 0 | 0.29 | 0.438 | 0 | 0.148
2012-57-0013.thn | 2012-57-0013.thn | 1 | 18 | 18 | 0 | 0 | 0.223 | 0.401 | 0 | 0.178
2012-57-0013.thn | 2012-57-0013.thn | 1 | 20 | 20 | 0 | 0 | 0.17 | 0.308 | 0 | 0.138
2012-57-0013.thn | 2012-57-0013.thn | 1 | 22 | 22 | 0 | 0 | 0.164 | 0.317 | 0 | 0.153
2012-57-0013.thn | 2012-57-0013.thn | 1 | 24 | 24 | 0 | 0 | 0.147 | 0.294 | 0 | 0.147
2012-57-0013.thn | 2012-57-0013.thn | 1 | 26 | 26 | 0 | 0 | 0.125 | 0.254 | 0 | 0.129
2012-57-0013.thn | 2012-57-0013.thn | 1 | 28 | 28 | 0 | 0 | 0.12 | 0.263 | 0 | 0.143
2012-57-0013.thn | 2012-57-0013.thn | 1 | 30 | 30 | 0 | 0 | 0.103 | 0.253 | 0 | 0.15
2012-57-0013.thn | 2012-57-0013.thn | 1 | 32 | 32 | 0 | 0 | 0.104 | 0.247 | 0 | 0.143
2012-57-0013.thn | 2012-57-0013.thn | 1 | 34 | 34 | 0 | 0 | 0.098 | 0.233 | 0 | 0.135
2012-57-0013.thn | 2012-57-0013.thn | 1 | 36 | 36 | 0 | 0 | 0.099 | 0.228 | 0 | 0.129
2012-57-0013.thn | 2012-57-0013.thn | 1 | 38 | 38 | 0 | 0 | 0.101 | 0.258 | 0 | 0.157
2012-57-0013.thn | 2012-57-0013.thn | 1 | 40 | 40 | 0 | 0 | 0.091 | 0.236 | 0 | 0.145
2012-57-0013.thn | 2012-57-0013.thn | 1 | 42 | 42 | 0 | 0 | 0.096 | 0.233 | 0 | 0.137
2012-57-0013.thn | 2012-57-0013.thn | 1 | 44 | 44 | 0 | 0 | 0.091 | 0.213 | 0 | 0.122
2012-57-0013.thn | 2012-57-0013.thn | 1 | 46 | 46 | 0 | 0 | 0.094 | 0.22 | 0 | 0.126
2012-57-0013.thn | 2012-57-0013.thn | 1 | 48 | 48 | 0 | 0 | 0.097 | 0.223 | 0 | 0.126
2012-57-0013.thn | 2012-57-0013.thn | 1 | 50 | 50 | 0 | 0 | 0.093 | 0.207 | 0 | 0.114
2012-57-0013.thn | 2012-57-0013.thn | 1 | 312.3 | 312.3 | 0 | 0 | 0.108 | 0.346 | 0 | 0.238
Create Fit Sheet