## Notes
Analysis: | Kenny Scozzafava, SoG onboard CCGS Vector and in Lab at IOS, 14-July-12 to 17-July-12 using IOS Kit #1. Data processing by Kenny Scozzafava
Chief Scientist: | Sophie Johannssenn
2012-09-28 |  | KS
Kenny sampled and Sophie fixed
SOGN - Six replicate samples were collected from each of three Niskin bottles (3, 11, 21) for an experiment to explore the possible problems associated with analysis on board vs. analysis at IOS
after a day or two of being stored. Three of the replicate samples from each Niskin were analyzed on board on July 15, 2012. The remaining three
from each Niskin were brought back to the lab for analysis on July 17, 2012.
The results show that there is no evidence to support that bringing samples back to the lab affects the results in any measurable way.
Sampling error and differences in kit standardization may have the most to do with the small differences between replicates regardless of where/when they were analyzed. Proper handling and
preservation of samples to be stored for analysis was also likely another important factor in providing good results.
#23, 31, 41 - Average of 6 replicates reported except #31 where the first replcate was rejected.

## QF 2012-57 OXY FINAL
HEADER: | Oxygen samples were analyzed at sea using an automated Winkler titration system
(Brinkmann Dosimat model 765 and a PC 950 Colorimeter controlled by AutoOxy software V3.4)
with modifications based on Carpenter (1965) and adhering to WOCE protocols (Culberson 1991). For details including a replicate analysis, see document QF2012-57OXY.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Oxygen:Dissolved | Flag:Oxygen:Dissolved | Temperature:Draw | Comment
2012-57 | 11 | SOGN | 21 | 3.3787 | 6 | 8.9
2012-57 | 11 | SOGN | 23 | 3.7292 | 6 | 9.04
2012-57 | 11 | SOGN | 25 | 3.8824 |  | -99
2012-57 | 11 | SOGN | 27 | 4.0773 | 6 | 9.1
2012-57 | 11 | SOGN | 29 | 4.2787 |  | 9
2012-57 | 11 | SOGN | 31 | 4.179 | 6 | 9.5
2012-57 | 11 | SOGN | 33 | 4.203 |  | 9.7
2012-57 | 11 | SOGN | 35 | 4.3637 |  | 10.3
2012-57 | 11 | SOGN | 37 | 4.4718 |  | 11
2012-57 | 11 | SOGN | 39 | 4.9062 |  | 12
2012-57 | 11 | SOGN | 41 | 5.6371 | 6 | 14.1
2012-57 | 11 | SOGN | 43 | 6.2379 | 6 | 15.4
2012-57 | 13 | SOGS | 45 | 3.493 | 6 | 9.3
2012-57 | 13 | SOGS | 47 | 3.4125 |  | 9.5
2012-57 | 13 | SOGS | 49 | 3.665 |  | 9.5
2012-57 | 13 | SOGS | 51 | 4.0034 | 6 | 9.6
2012-57 | 13 | SOGS | 53 | 4.1334 |  | 9.9
2012-57 | 13 | SOGS | 55 | 4.1237 |  | 10.5
2012-57 | 13 | SOGS | 57 | 4.1553 |  | 10.5
2012-57 | 13 | SOGS | 59 | 4.8197 |  | 11.2
2012-57 | 13 | SOGS | 61 | 4.9959 |  | 12.1
2012-57 | 13 | SOGS | 63 | 5.6736 |  | 14.7
2012-57 | 13 | SOGS | 65 | 6.0614 | 6 | 17.9
2012-57 | 13 | SOGS | 67 | 6.3648 | 26 | 18.95 | OXY: Floaters in sample but endpoints were ok

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Mean difference for Dissolved Oxygen for the range 3.378 to 6.367 mL/L was 0.004, k = 32 with 1 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns N, O and P).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [29 empty] | Table 2. Critical values for Chauvenet's Criteria
Event | Station | Sample_ Number | Depth | DO1 | DO2 | DO3 | DO4 | DO5 | DO6 | DOAvg | Draw T1 | Draw T2 | Draw T3 | Draw T4 | Draw T5 | Draw T6 | Draw TAvg | StDev\ Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Residual4 (Xi-Xm) | Residual5 (Xi-Xm) | Residual6 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | DO1 Comment | DO2 Comment | n | Chauvenet
11 | SOGN | 23 | 250 | 3.7308 | 3.728 | 3.7323 | 3.7206 | 3.7336 | 3.7301 | 3.7292 | 8.8 | 8.9 | 8.9 |  | 9.3 | 9.3 | 9.04 | 0.0046364 | 0.0016182 | -0.0012804 | 0.0030631 | -0.0086135 | 0.004347 | 0.00086562 | 0.00010748 | 6 |  |  |  | 3 | 1.37
11 | SOGN | 31 | 75 | 4.2048 | 4.1775 | 4.1739 | 4.1739 | 4.1789 | 4.191 | 4.1833 | 9.3 | 9.3 | 9.4 | 9.6 | 9.6 | 9.8 | 9.5 | 0.012257 | 0.021487 | -0.0058234 | -0.0093963 | -0.0094781 | -0.0044087 | 0.0076199 | 0.00075121 | 6 | Y |  |  | 4 | 1.53
11 | SOGN | 41 | 5 | 5.6312 | 5.6351 | 5.6418 | 5.6324 | 5.6445 | 5.6372 | 5.6371 | 14 | 14.1 | 14.1 | 14.1 | 14.1 | 14.2 | 14.1 | 0.0052373 | -0.0058132 | -0.0019358 | 0.0047889 | -0.0046404 | 0.0074236 | 0.00017692 | 0.00013715 | 6 |  |  |  | 5 | 1.64
11 | SOGN | 21 | 328 | DO1: 3.3781; DO2: 3.3793 | 3.3787 | 8.9 | 8.9 |  |  |  |  | 8.9 | 0.0011617 | -0.00058083 | 0.00058083 |  |  |  |  | 6.7472e-07 | 2 |  |  |  | 6 | 1.73
11 | SOGN | 27 | 150 | DO1: 4.0742; DO2: 4.0804 | 4.0773 | 9.1 | [5 empty] | 9.1 | 0.0061796 | -0.0030898 | 0.0030898 |  |  |  |  | 1.9094e-05 | 2 |  |  |  | 7 | 1.8
11 | SOGN | 43 | 0 | DO1: 6.2368; DO2: 6.239 | 6.2379 | 15.4 | 15.4 |  |  |  |  | 15.4 | 0.0022772 | -0.0011386 | 0.0011386 |  |  |  |  | 2.5929e-06 | 2 |  |  |  | 8 | 1.87
13 | SOGS | 45 | 310 | DO1: 3.4924; DO2: 3.4936 | 3.493 | 9.3 | 9.3 |  |  |  |  | 9.3 | 0.0012001 | -0.00060003 | 0.00060003 |  |  |  |  | 7.2008e-07 | 2 |  |  |  | 9 | 1.91
13 | SOGS | 51 | 150 | DO1: 4.0012; DO2: 4.0057 | 4.0034 | 9.5 | 9.7 |  |  |  |  | 9.6 | 0.0044177 | -0.0022089 | 0.0022089 |  |  |  |  | 9.7581e-06 | 2 |  |  |  | 10 | 1.97
13 | SOGS | 65 | 5 | DO1: 6.0598; DO2: 6.063 | 6.0614 | 17.9 | 17.9 |  |  |  |  | 17.9 | 0.0031563 | -0.0015781 | 0.0015781 |  |  |  |  | 4.981e-06 | 2 |  |  |  | 20 | 2.24
13 | SOGS | 67 | 0 | DO1: 6.3623; DO2: 6.3673 | 6.3648 | 18.9 | 19 |  |  |  |  | 18.95 | 0.0050142 | -0.0025071 | 0.0025071 |  |  |  |  | 1.2571e-05 | 2 |  | OXY: Floaters in sample but a good curve | OXY: Floaters in sample. Noisy titration | 30 | 2.39
|  |  | Where analyzed: | Ship | IOS | Ship | IOS | Ship | IOS | [14 empty] | Sum | 0.0010462 |  |  |  |  | 50 | 2.57
[24 empty] | Count |  | 32 |  |  |  | 80 | 2.74
[24 empty] | σ | 0.0058094 |  |  |  |  | 100 | 2.81
[24 empty] | dmax/σ for n (Table 2) | 2.39 |  |  |  |  | 150 | 2.93
[24 empty] | Thus dmax = 2.57 x σ | 0.013885 |  |  |  |  | 200 | 3.02
[24 empty] | Mean Difference | 0.0045538
[24 empty] | MIN | 3.3781
[24 empty] | MAX | 6.3673
1 Outlier(s) Removed
[24 empty] | Mean Difference = | 0.004

## Flags
Institute of Ocean Sciences -Quality Flags for Water Sampling | Last Updated: April 2012
Double click document to use.

## Oxy Data Processing
File Name | Event | Station | Sample_ Number | Depth | Raw Oxygen: Dissolved | AutoOxy Thiosulfate_ titer | Regression Thiosulfate_ titer | Flask_ Number | Flask_ Volume | Blank | Standard | KIO3 Std volume ml | KIO3 Normality | THIO N | AutoOxy Oxygen: Dissolved | AutoOxy Oxygen: Dissolved | Flag | Temp: Draw | Comment
2012-570011.oxy | 11 | SOGN | 21A | 328 | 3.378 | 0.58 | 0.58 | 632 | 136.17 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.3781 | 3.3781 |  | 8.9
2012-570011.oxy | 11 | SOGN | 21B | 328 | 3.379 | 0.581 | 0.5811 | 631 | 136.38 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.3787 | 3.3793 |  | 8.9
2012-570011.oxy | 11 | SOGN | 23A | 250 | 3.731 | 0.619 | 0.6193 | 611 | 131.71 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.7308 | 3.7327 |  | 8.8
2012-570011.oxy | 11 | SOGN | 23B | 250 | 3.728 | 0.624 | 0.624 | 396 | 132.76 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 3.728 | 3.728 |  | 8.9
2012-570011.oxy | 11 | SOGN | 23C | 250 | 3.739 | 0.608 | 0.607 | 647 | 129.13 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.7385 | 3.7323 |  | 8.9
2012-570011.oxy | 11 | SOGN | 23D | 250 | 3.722 | 0.636 | 0.6357 | 657 | 135.49 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 3.7224 | 3.7206 |  | -99
2012-570011.oxy | 11 | SOGN | 23E | 250 | 3.733 | 0.612 | 0.612 | 668 | 130.14 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.7336 | 3.7336 |  | 9.3
2012-570011.oxy | 11 | SOGN | 23F | 250 | 3.726 | 0.621 | 0.6217 | 690 | 132.2 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 3.7259 | 3.7301 |  | 9.3
2012-570011.oxy | 11 | SOGN | 25 | 200 | 3.88 | 0.684 | 0.6845 | 708 | 139.92 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.8796 | 3.8824 |  | -99
2012-570011.oxy | 11 | SOGN | 27A | 150 | 4.074 | 0.664 | 0.6635 | 712 | 129.47 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.0742 | 4.0711 |  | 9.1
2012-570011.oxy | 11 | SOGN | 27B | 150 | 4.082 | 0.714 | 0.7138 | 715 | 138.88 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.0815 | 4.0804 |  | -99
2012-570011.oxy | 11 | SOGN | 29 | 100 | 4.276 | 0.7 | 0.7005 | 745 | 130.09 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.2756 | 4.2787 |  | 9
2012-570011.oxy | 11 | SOGN | 31A | 75 | 4.205 | 0.702 | 0.7019 | 1414 | 132.62 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.2048 | 4.2042 |  | 9.3 | Was a note to check end point but it looked fine to me.
2012-570011.oxy | 11 | SOGN | 31B | 75 | 4.176 | 0.693 | 0.6933 | 1473 | 131.73 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 4.1757 | 4.1775 |  | 9.3
2012-570011.oxy | 11 | SOGN | 31C | 75 | 4.177 | 0.737 | 0.7365 | 1421 | 140.09 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.1768 | 4.1739 |  | 9.4
2012-570011.oxy | 11 | SOGN | 31D | 75 | 4.174 | 0.74 | 0.74 | 1465 | 140.64 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 4.1739 | 4.1739 |  | 9.6
2012-570011.oxy | 11 | SOGN | 31E | 75 | 4.179 | 0.69 | 0.69 | 1464 | 131.17 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.1789 | 4.1789 |  | 9.6
2012-570011.oxy | 11 | SOGN | 31F | 75 | 4.193 | 0.706 | 0.7057 | 1470 | 133.64 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 4.1928 | 4.191 |  | 9.8
2012-570011.oxy | 11 | SOGN | 33 | 50 | 4.207 | 0.704 | 0.7033 | 1459 | 132.92 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.2072 | 4.203 |  | 9.7
2012-570011.oxy | 11 | SOGN | 35 | 25 | 4.364 | 0.787 | 0.787 | 1472 | 143.19 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.3637 | 4.3637 |  | 10.3
2012-570011.oxy | 11 | SOGN | 37 | 15 | 4.474 | 0.749 | 0.7486 | 1128 | 133.02 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.4742 | 4.4718 |  | 11
2012-570011.oxy | 11 | SOGN | 39 | 10 | 4.904 | 0.847 | 0.8473 | 1134 | 137.25 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.9044 | 4.9062 |  | 12
2012-570011.oxy | 11 | SOGN | 41A | 5 | 5.631 | 0.969 | 0.9692 | 1144 | 136.84 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 5.6312 | 5.6324 |  | 14
2012-570011.oxy | 11 | SOGN | 41B | 5 | 5.635 | 0.903 | 0.903 | 1146 | 127.43 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 5.6351 | 5.6351 |  | 14.1
2012-570011.oxy | 11 | SOGN | 41C | 5 | 5.645 | 0.926 | 0.9255 | 1158 | 130.52 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 5.6449 | 5.6418 |  | 14.1
2012-570011.oxy | 11 | SOGN | 41D | 5 | 5.634 | 0.947 | 0.9467 | 1174 | 133.59 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 5.6342 | 5.6324 |  | 14.1
2012-570011.oxy | 11 | SOGN | 41E | 5 | 5.644 | 1.015 | 1.0151 | 1175 | 142.95 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 5.6439 | 5.6445 |  | 14.1
2012-570011.oxy | 11 | SOGN | 41F | 5 | 5.64 | 0.965 | 0.9645 | 1201 | 135.96 | 0.0018 | 0.8677 | 10.0277 | 0.012127 | 0.14044 | 5.6402 | 5.6372 |  | 14.2
2012-570011.oxy | 11 | SOGN | 43A | 0 | 6.237 | 1.078 | 1.0777 | 1209 | 137.5 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.2368 | 6.235 |  | 15.4
2012-570011.oxy | 11 | SOGN | 43B | 0 | 6.237 | 1.057 | 1.0573 | 468 | 134.84 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.2373 | 6.239 |  | 15.4
2012-570013.oxy | 13 | SOGS | 45A | 310 | 3.497 | 0.581 | 0.5805 | 552 | 131.82 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.4974 | 3.4943 |  | 9.3 | Titration to 97%
2012-570013.oxy | 13 | SOGS | 45B | 310 | 3.493 | 0.586 | 0.5862 | 94 | 133.13 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.4924 | 3.4936 |  | 9.3 | Titration also to 97%
2012-570013.oxy | 13 | SOGS | 47 | 250 | 3.412 | 0.575 | 0.5751 | 620 | 133.69 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.4119 | 3.4125 |  | 9.5
2012-570013.oxy | 13 | SOGS | 49 | 200 | 3.667 | 0.65 | 0.6497 | 570 | 140.63 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 3.6667 | 3.665 |  | 9.5
2012-570013.oxy | 13 | SOGS | 51A | 150 | 4.001 | 0.689 | 0.689 | 569 | 136.71 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.0012 | 4.0012 |  | 9.5
2012-570013.oxy | 13 | SOGS | 51B | 150 | 4.006 | 0.667 | 0.667 | 650 | 132.24 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.0057 | 4.0057 |  | 9.7
2012-570013.oxy | 13 | SOGS | 53 | 100 | 4.133 | 0.678 | 0.678 | 621 | 130.31 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.1334 | 4.1334 |  | 9.9
2012-570013.oxy | 13 | SOGS | 55 | 75 | 4.122 | 0.695 | 0.6953 | 510 | 133.91 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.122 | 4.1237 |  | 10.5
2012-570013.oxy | 13 | SOGS | 57 | 50 | 4.157 | 0.715 | 0.7148 | 196 | 136.6 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.1565 | 4.1553 |  | 10.5
2012-570013.oxy | 13 | SOGS | 59 | 25 | 4.823 | 0.793 | 0.7925 | 505 | 130.73 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 4.8228 | 4.8197 |  | 11.2
2012-570013.oxy | 13 | SOGS | 61 | 15 | 5 | 0.852 | 0.8513 | 557 | 135.45 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 5.0001 | 4.9959 |  | 12.1
2012-570013.oxy | 13 | SOGS | 63 | 10 | 5.677 | 0.969 | 0.9684 | 559 | 135.75 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 5.6771 | 5.6736 |  | 14.7
2012-570013.oxy | 13 | SOGS | 65A | 5 | 6.06 | 0.993 | 0.993 | 371 | 130.42 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.0598 | 6.0598 |  | 17.9
2012-570013.oxy | 13 | SOGS | 65B | 5 | 6.062 | 0.989 | 0.9892 | 528 | 129.86 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.0617 | 6.063 |  | 17.9
2012-570013.oxy | 13 | SOGS | 67A | 0 | 6.362 | 1.068 | 1.0675 | 639 | 133.59 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.3623 | 6.3593 | 2 | 18.9 | OXY: Floaters in sample but a good curve
2012-570013.oxy | 13 | SOGS | 67B | 0 | 6.375 | 1.058 | 1.0567 | 622 | 132.09 | 0.0018 | 0.867 | 10.0277 | 0.012127 | 0.14055 | 6.3752 | 6.3673 | 2 | 19 | OXY: Floaters in sample. Noisy titration

## Raw AutoOxy Data
File Name | LOC:EVENT_NUMBER | LOC:STATION | Sample_number | Depth | Oxygen:Dissolved | Thiosulfate_titer | Flask_Number | Flask_Volume | Blank | Standard
2012-570011.oxy | 11 | SOGN | 21 | 328 | 3.378 | 0.58 | 632 | 136.17 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 21 | 328 | 3.379 | 0.581 | 631 | 136.38 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.731 | 0.619 | 611 | 131.71 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.739 | 0.608 | 647 | 129.13 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.733 | 0.612 | 668 | 130.14 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.728 | 0.624 | 396 | 132.76 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.722 | 0.636 | 657 | 135.49 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 23 | 250 | 3.726 | 0.621 | 690 | 132.2 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 25 | 200 | 3.88 | 0.684 | 708 | 139.92 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 27 | 150 | 4.074 | 0.664 | 712 | 129.47 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 27 | 150 | 4.082 | 0.714 | 715 | 138.88 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 29 | 100 | 4.276 | 0.7 | 745 | 130.09 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.205 | 0.702 | 1414 | 132.62 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.177 | 0.737 | 1421 | 140.09 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.179 | 0.69 | 1464 | 131.17 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.176 | 0.693 | 1473 | 131.73 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.174 | 0.74 | 1465 | 140.64 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 31 | 75 | 4.193 | 0.706 | 1470 | 133.64 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 33 | 50 | 4.207 | 0.704 | 1459 | 132.92 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 35 | 25 | 4.364 | 0.787 | 1472 | 143.19 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 37 | 15 | 4.474 | 0.749 | 1128 | 133.02 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 39 | 10 | 4.904 | 0.847 | 1134 | 137.25 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.631 | 0.969 | 1144 | 136.84 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.645 | 0.926 | 1158 | 130.52 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.644 | 1.015 | 1175 | 142.95 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.635 | 0.903 | 1146 | 127.43 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.634 | 0.947 | 1174 | 133.59 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 41 | 5 | 5.64 | 0.965 | 1201 | 135.96 | 0.0018 | 0.8677
2012-570011.oxy | 11 | SOGN | 43 | 0 | 6.237 | 1.078 | 1209 | 137.5 | 0.0018 | 0.867
2012-570011.oxy | 11 | SOGN | 43 | 0 | 6.237 | 1.057 | 468 | 134.84 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 45 | 310 | 3.497 | 0.581 | 552 | 131.82 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 45 | 310 | 3.493 | 0.586 | 94 | 133.13 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 47 | 250 | 3.412 | 0.575 | 620 | 133.69 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 49 | 200 | 3.667 | 0.65 | 570 | 140.63 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 51 | 150 | 4.001 | 0.689 | 569 | 136.71 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 51 | 150 | 4.006 | 0.667 | 650 | 132.24 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 53 | 100 | 4.133 | 0.678 | 621 | 130.31 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 55 | 75 | 4.122 | 0.695 | 510 | 133.91 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 57 | 50 | 4.157 | 0.715 | 196 | 136.6 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 59 | 25 | 4.823 | 0.793 | 505 | 130.73 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 61 | 15 | 5 | 0.852 | 557 | 135.45 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 63 | 10 | 5.677 | 0.969 | 559 | 135.75 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 63 | 10 | 6.062 | 0.989 | 528 | 129.86 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 65 | 5 | 6.06 | 0.993 | 371 | 130.42 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 67 | 0 | 6.362 | 1.068 | 639 | 133.59 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 67 | 0 | 6.375 | 1.058 | 622 | 132.09 | 0.0018 | 0.867
2012-570013.oxy | 13 | SOGS | 9999 | 9999 | 5.73 | 0.981 | 632 | 136.17 | 0.0018 | 0.867