## Notes
Analysis: | Kenny Scozzafava, 2-OCT-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Sophie Johannssen
2012-10-05 |  | KS
Samples were analyed approximately 2.5 months after collection. This length of time in conjunction with the silicone inserts that we dont know
much about but continue to use, may mean that concentrations are not as accurate as they could be
A new batch of deep water reference was used to check the Salinometer during and between runs
The replicate salinities from the deep water were not very precise (See salinity data processing worksheet).
The salinometer itself required no adjustments during standardization and remained incredibly stable throughout the analysis. I believe the silicone inserts we continue to use are to blame.
See standardization data in the RAW Salinometer Output worksheet
No replicate samples were collected therefore no precision analysis was performed.
2012-10-09 |  | KS
Corrected event information for stsaions FR1 and FR2. They were reversed during the cruise but the labels on the salinity bottles did not reflect this.
Event 12 was actually event 13. This was also not reflected on the salinity bottle labels.
2013-01-16 |  | GG
Added "3" flags to all samples between 0db and 26db based on comparison between bottles and CTD salinity; possibly due to Autosal non-linearity. CTD data seems ok. For more detail see document CTD550-June-July2012-sal-study.doc
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-57 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 2.5 months after collection. For details see document QF2012-57SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-57 | 1 | FR2 | 1 | 0.57593 | 3 | SAL: Sample very turbid. Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 1 | FR2 | 2 | 0.67403 | 3 | SAL: Sample very turbid. Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 2 | FR1 | 3 | 1.5443 | 3 | SAL: Sample very turbid. Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 2 | FR1 | 4 | 1.3131 | 3 | SAL: Sample very turbid. Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 3 | FR3 | 5 | 12.8792 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 3 | FR3 | 6 | 12.679 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 4 | FR4 | 7 | 12.2276 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 4 | FR4 | 8 | 12.1009 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 5 | FR5 | 9 | 9.0053 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 5 | FR5 | 10 | 8.7635 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 6 | FR6 | 11 | 9.3977 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 6 | FR6 | 12 | 9.0953 | 4 | SAL: Insert crushed into neck. Sample not sealed. Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 7 | FR7 | 13 | 14.5627 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 7 | FR7 | 14 | 12.3081 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 8 | FR8 | 15 | 17.5823 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 8 | FR8 | 16 | 17.5881 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 9 | FR9 | 17 | 16.7309 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 9 | FR9 | 18 | 16.4374 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 10 | FR10 | 19 | 16.9424 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 10 | FR10 | 20 | 16.9668 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 21 | 30.5223
2012-57 | 11 | SOGN | 22 | 30.5243
2012-57 | 11 | SOGN | 23 | 30.486
2012-57 | 11 | SOGN | 24 | 30.4877
2012-57 | 11 | SOGN | 25 | 30.4507
2012-57 | 11 | SOGN | 26 | 30.4498
2012-57 | 11 | SOGN | 27 | 30.3255
2012-57 | 11 | SOGN | 28 | 30.3275
2012-57 | 11 | SOGN | 29 | 30.0833
2012-57 | 11 | SOGN | 30 | 30.0839
2012-57 | 11 | SOGN | 31 | 29.8346
2012-57 | 11 | SOGN | 32 | 29.8478
2012-57 | 11 | SOGN | 33 | 29.5925
2012-57 | 11 | SOGN | 34 | 29.5912
2012-57 | 11 | SOGN | 35 | 28.9346 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 36 | 28.9359 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 37 | 27.7873 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 38 | 27.792 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 39 | 26.6089 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 40 | 26.6363 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 41 | 24.0538 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 42 | 24.5038 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 43 | 22.8694 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 11 | SOGN | 44 | 22.8659 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 45 | 31.1092
2012-57 | 13 | SOGS | 46 | 31.0944
2012-57 | 13 | SOGS | 47 | 30.7345
2012-57 | 13 | SOGS | 48 | 30.7376
2012-57 | 13 | SOGS | 49 | 30.7053
2012-57 | 13 | SOGS | 50 | 30.7047
2012-57 | 13 | SOGS | 51 | 30.5096
2012-57 | 13 | SOGS | 52 | 30.5084
2012-57 | 13 | SOGS | 53 | 30.0714 | 2 | SAL: Many particles in sample
2012-57 | 13 | SOGS | 54 | 30.0706
2012-57 | 13 | SOGS | 55 | 29.8538
2012-57 | 13 | SOGS | 56 | 29.8547
2012-57 | 13 | SOGS | 57 | 29.6429
2012-57 | 13 | SOGS | 58 | 29.6451
2012-57 | 13 | SOGS | 59 | 28.0639 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 60 | 28.0635 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 61 | 26.8983 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 62 | 27.0069 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 63 | 23.6262 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 64 | 24.1013 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 65 | 20.7564 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 66 | 21.3097 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 67 | 16.4415 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.
2012-57 | 13 | SOGS | 68 | 16.6255 | 3 | SAL: Problem suspected in all samples from 0 to 26db based on comparison with CTD salinity; possibly due to Autosal non-linearity.

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-57#27 | 1 | FR2 | 1 | 2012-10-02 13:38 | 24C | 0.02186 | 5.7009e-06 | 2.0899e-06 | 0.021863 | 0.57593 | 0.00015625 | #VALUE! | 2 | SAL: Sample very turbid
2012-57#66 | 1 | FR2 | 2 | 2012-10-02 15:44 | 24C | 0.025423 | 4.3279e-06 | 2.0899e-06 | 0.025425 | 0.67403 | 0.00011973 | #VALUE! | 2 | SAL: Sample very turbid
2012-57#17 | 2 | FR1 | 3 | 2012-10-02 11:43 | 24C | 0.055992 | 7.4526e-07 | 2.0377e-06 | 0.055994 | 1.5443 | 2.1769e-05 | #VALUE! | 2 | SAL: Sample very turbid
2012-57#73 | 2 | FR1 | 4 | 2012-10-02 16:05 | 24C | 0.048015 | 3.2093e-06 | 2.0936e-06 | 0.048017 | 1.3131 | 9.2442e-05 | #VALUE! | 2 | SAL: Sample very turbid
2012-57#50 | 3 | FR3 | 5 | 2012-10-02 14:54 | 24C | 0.40459 | 5.1615e-06 | 2.0564e-06 | 0.4046 | 12.8792 | 0.00018155 | #VALUE!
2012-57#8 | 3 | FR3 | 6 | 2012-10-02 11:07 | 24C | 0.39882 | 2.4759e-06 | 1.9968e-06 | 0.39882 | 12.679 | 8.4448e-05 | #VALUE!
2012-57#18 | 4 | FR4 | 7 | 2012-10-02 11:47 | 24C | 0.38577 | 1.1196e-06 | 1.9968e-06 | 0.38578 | 12.2276 | 3.796e-05 | #VALUE!
2012-57#58 | 4 | FR4 | 8 | 2012-10-02 15:18 | 24C | 0.38211 | 1.3712e-06 | 2.0862e-06 | 0.38211 | 12.1009 | 4.9362e-05 | #VALUE!
2012-57#53 | 5 | FR5 | 9 | 2012-10-02 15:03 | 24C | 0.29112 | 2.2392e-06 | 2.0862e-06 | 0.29113 | 9.0053 | 7.5277e-05 | #VALUE!
2012-57#15 | 5 | FR5 | 10 | 2012-10-02 11:37 | 24C | 0.2839 | 1.3712e-06 | 1.967e-06 | 0.28391 | 8.7635 | 4.5968e-05 | #VALUE!
2012-57#65 | 6 | FR6 | 11 | 2012-10-02 15:42 | 24C | 0.30281 | 1.3712e-06 | 2.0862e-06 | 0.30281 | 9.3977 | 4.6489e-05 | #VALUE!
2012-57#61 | 6 | FR6 | 12 | 2012-10-02 15:28 | 24C | 0.29381 | 1.1129e-06 | 2.0862e-06 | 0.29381 | 9.0953 | 3.7108e-05 | #VALUE! | 4 | SAL: Insert crushed into neck. Sample not sealed.
2012-57#43 | 7 | FR7 | 13 | 2012-10-02 14:31 | 24C | 0.45277 | 1.666e-08 | 2.0564e-06 | 0.45277 | 14.5627 | 5.3312e-07 | #VALUE!
2012-57#42 | 7 | FR7 | 14 | 2012-10-02 14:28 | 24C | 0.38811 | 2.7423e-06 | 2.0862e-06 | 0.38811 | 12.3081 | 9.5852e-05 | #VALUE!
2012-57#28 | 8 | FR8 | 15 | 2012-10-02 13:43 | 24C | 0.53772 | 2.7425e-06 | 2.1458e-06 | 0.53772 | 17.5823 | 9.8205e-05 | #VALUE!
2012-57#47 | 8 | FR8 | 16 | 2012-10-02 14:44 | 24C | 0.53788 | 2.7425e-06 | 2.1458e-06 | 0.53788 | 17.5881 | 9.9258e-05 | #VALUE!
2012-57#11 | 9 | FR9 | 17 | 2012-10-02 11:24 | 24C | 0.51394 | 0 | 2.0266e-06 | 0.51395 | 16.7309 | 0 | #VALUE!
2012-57#4 | 9 | FR9 | 18 | 2012-10-02 10:54 | 24C | 0.50572 | 1.1199e-06 | 1.9073e-06 | 0.50572 | 16.4374 | 3.7959e-05 | #VALUE!
2012-57#33 | 10 | FR10 | 19 | 2012-10-02 13:59 | 24C | 0.51986 | 0 | 2.0862e-06 | 0.51986 | 16.9424 | 0 | #VALUE!
2012-57#29 | 10 | FR10 | 20 | 2012-10-02 13:47 | 24C | 0.52055 | 2.4908e-06 | 2.1458e-06 | 0.52055 | 16.9668 | 8.9726e-05 | #VALUE!
2012-57#39 | 11 | SOGN | 21 | 2012-10-02 14:19 | 24C | 0.88504 | 3.4657e-06 | 2.0862e-06 | 0.88505 | 30.5223 | 0.0001366 | #VALUE!
2012-57#55 | 11 | SOGN | 22 | 2012-10-02 15:10 | 24C | 0.8851 | 2.2397e-06 | 2.0266e-06 | 0.8851 | 30.5243 | 8.4887e-05 | #VALUE!
2012-57#45 | 11 | SOGN | 23 | 2012-10-02 14:38 | 24C | 0.8841 | 4.3232e-06 | 2.0862e-06 | 0.88411 | 30.486 | 0.00016475 | #VALUE!
2012-57#31 | 11 | SOGN | 24 | 2012-10-02 13:52 | 24C | 0.88415 | 3.131e-06 | 2.0862e-06 | 0.88415 | 30.4877 | 0.00012314 | #VALUE!
2012-57#70 | 11 | SOGN | 25 | 2012-10-02 15:56 | 24C | 0.88319 | 2.4909e-06 | 2.1458e-06 | 0.88319 | 30.4507 | 9.7028e-05 | #VALUE!
2012-57#62 | 11 | SOGN | 26 | 2012-10-02 15:31 | 24C | 0.88316 | 2.4912e-06 | 2.0862e-06 | 0.88316 | 30.4498 | 9.751e-05 | #VALUE!
2012-57#68 | 11 | SOGN | 27 | 2012-10-02 15:51 | 24C | 0.87994 | 3.4657e-06 | 2.1458e-06 | 0.87994 | 30.3255 | 0.0001333 | #VALUE!
2012-57#49 | 11 | SOGN | 28 | 2012-10-02 14:51 | 24C | 0.87999 | 2.226e-06 | 2.1458e-06 | 0.87999 | 30.3275 | 8.7432e-05 | #VALUE!
2012-57#41 | 11 | SOGN | 29 | 2012-10-02 14:25 | 24C | 0.87364 | 4.2738e-06 | 2.1458e-06 | 0.87364 | 30.0833 | 0.00016472 | #VALUE!
2012-57#48 | 11 | SOGN | 30 | 2012-10-02 14:47 | 24C | 0.87366 | 3.599e-06 | 2.0266e-06 | 0.87366 | 30.0839 | 0.00013762 | #VALUE!
2012-57#51 | 11 | SOGN | 31 | 2012-10-02 14:57 | 24C | 0.86717 | 4.1302e-06 | 2.265e-06 | 0.86717 | 29.8346 | 0.00015972 | #VALUE!
2012-57#60 | 11 | SOGN | 32 | 2012-10-02 15:25 | 24C | 0.86752 | 1.3712e-06 | 2.0862e-06 | 0.86752 | 29.8478 | 5.1714e-05 | #VALUE!
2012-57#25 | 11 | SOGN | 33 | 2012-10-02 12:07 | 24C | 0.86086 | 1.6605e-06 | 2.0862e-06 | 0.86087 | 29.5925 | 6.3256e-05 | #VALUE!
2012-57#22 | 11 | SOGN | 34 | 2012-10-02 11:59 | 24C | 0.86083 | 3.1418e-06 | 2.0266e-06 | 0.86083 | 29.5912 | 0.00012137 | #VALUE!
2012-57#16 | 11 | SOGN | 35 | 2012-10-02 11:40 | 24C | 0.84369 | 2.4747e-06 | 2.0266e-06 | 0.84369 | 28.9346 | 9.4909e-05 | #VALUE!
2012-57#57 | 11 | SOGN | 36 | 2012-10-02 15:15 | 24C | 0.84372 | 2.7261e-06 | 2.1458e-06 | 0.84373 | 28.9359 | 0.00010396 | #VALUE!
2012-57#23 | 11 | SOGN | 37 | 2012-10-02 12:02 | 24C | 0.81361 | 2.4909e-06 | 2.0266e-06 | 0.81361 | 27.7873 | 9.4397e-05 | #VALUE!
2012-57#54 | 11 | SOGN | 38 | 2012-10-02 15:07 | 24C | 0.81373 | 2.4908e-06 | 2.0266e-06 | 0.81373 | 27.792 | 9.703e-05 | #VALUE!
2012-57#36 | 11 | SOGN | 39 | 2012-10-02 14:08 | 24C | 0.78252 | 1.8283e-06 | 2.1458e-06 | 0.78253 | 26.6089 | 6.9661e-05 | #VALUE!
2012-57#7 | 11 | SOGN | 40 | 2012-10-02 11:04 | 24C | 0.78325 | 3.4499e-06 | 1.967e-06 | 0.78325 | 26.6363 | 0.00013119 | #VALUE!
2012-57#59 | 11 | SOGN | 41 | 2012-10-02 15:22 | 24C | 0.71448 | 2.4909e-06 | 2.1458e-06 | 0.71448 | 24.0538 | 9.4898e-05 | #VALUE!
2012-57#67 | 11 | SOGN | 42 | 2012-10-02 15:48 | 24C | 0.72653 | 2.4909e-06 | 2.1458e-06 | 0.72653 | 24.5038 | 9.2326e-05 | #VALUE!
2012-57#72 | 11 | SOGN | 43 | 2012-10-02 16:02 | 24C | 0.68262 | 2.7425e-06 | 2.0862e-06 | 0.68262 | 22.8694 | 0.00010447 | #VALUE!
2012-57#5 | 11 | SOGN | 44 | 2012-10-02 10:58 | 24C | 0.68252 | 3.1253e-06 | 2.0266e-06 | 0.68253 | 22.8659 | 0.00011504 | #VALUE!
2012-57#38 | 13 | SOGS | 45 | 2012-10-02 14:16 | 24C | 0.90025 | 2.8901e-06 | 2.0862e-06 | 0.90025 | 31.1092 | 0.00011178 | #VALUE!
2012-57#35 | 13 | SOGS | 46 | 2012-10-02 14:06 | 24C | 0.89987 | 3.1309e-06 | 2.1458e-06 | 0.89987 | 31.0944 | 0.00012398 | #VALUE!
2012-57#40 | 13 | SOGS | 47 | 2012-10-02 14:22 | 24C | 0.89055 | 4.0094e-06 | 2.0266e-06 | 0.89055 | 30.7345 | 0.00015364 | #VALUE!
2012-57#13 | 13 | SOGS | 48 | 2012-10-02 11:31 | 24C | 0.89063 | 2.7425e-06 | 2.0266e-06 | 0.89063 | 30.7376 | 0.00010345 | #VALUE!
2012-57#14 | 13 | SOGS | 49 | 2012-10-02 11:34 | 24C | 0.88979 | 2.4908e-06 | 1.9073e-06 | 0.88979 | 30.7053 | 9.751e-05 | #VALUE!
2012-57#6 | 13 | SOGS | 50 | 2012-10-02 11:01 | 24C | 0.88977 | 2.4912e-06 | 2.0266e-06 | 0.88978 | 30.7047 | 9.7496e-05 | #VALUE!
2012-57#64 | 13 | SOGS | 51 | 2012-10-02 15:38 | 24C | 0.88471 | 1.1196e-06 | 2.1458e-06 | 0.88472 | 30.5096 | 4.2224e-05 | #VALUE!
2012-57#30 | 13 | SOGS | 52 | 2012-10-02 13:50 | 24C | 0.88468 | 1.4046e-06 | 2.1458e-06 | 0.88469 | 30.5084 | 5.1741e-05 | #VALUE!
2012-57#52 | 13 | SOGS | 53 | 2012-10-02 15:00 | 24C | 0.87333 | 3.3594e-06 | 2.0266e-06 | 0.87333 | 30.0714 | 0.00013249 | #VALUE! | 2 | SAL: Many particles in sample
2012-57#56 | 13 | SOGS | 54 | 2012-10-02 15:12 | 24C | 0.87331 | 1.1397e-06 | 2.1458e-06 | 0.87331 | 30.0706 | 4.3729e-05 | #VALUE!
2012-57#37 | 13 | SOGS | 55 | 2012-10-02 14:12 | 24C | 0.86767 | 3.1418e-06 | 2.0862e-06 | 0.86767 | 29.8538 | 0.00012052 | #VALUE!
2012-57#46 | 13 | SOGS | 56 | 2012-10-02 14:40 | 24C | 0.86769 | 2.4783e-06 | 2.1458e-06 | 0.8677 | 29.8547 | 9.4469e-05 | #VALUE!
2012-57#44 | 13 | SOGS | 57 | 2012-10-02 14:35 | 24C | 0.86218 | 4.9165e-06 | 2.0862e-06 | 0.86218 | 29.6429 | 0.00018893 | #VALUE!
2012-57#12 | 13 | SOGS | 58 | 2012-10-02 11:27 | 24C | 0.86224 | 2.4911e-06 | 2.0266e-06 | 0.86224 | 29.6451 | 9.6978e-05 | #VALUE!
2012-57#9 | 13 | SOGS | 59 | 2012-10-02 11:11 | 24C | 0.82088 | 2.2725e-06 | 2.0266e-06 | 0.82088 | 28.0639 | 8.6796e-05 | #VALUE!
2012-57#71 | 13 | SOGS | 60 | 2012-10-02 16:00 | 24C | 0.82087 | 2.4777e-06 | 2.1458e-06 | 0.82087 | 28.0635 | 9.4377e-05 | #VALUE!
2012-57#34 | 13 | SOGS | 61 | 2012-10-02 14:03 | 24C | 0.79018 | 1.3713e-06 | 2.0862e-06 | 0.79018 | 26.8983 | 5.2235e-05 | #VALUE!
2012-57#20 | 13 | SOGS | 62 | 2012-10-02 11:52 | 24C | 0.79304 | 2.3105e-06 | 1.967e-06 | 0.79305 | 27.0069 | 8.7789e-05 | #VALUE!
2012-57#24 | 13 | SOGS | 63 | 2012-10-02 12:05 | 24C | 0.703 | 2.4908e-06 | 1.9073e-06 | 0.703 | 23.6262 | 9.1808e-05 | #VALUE!
2012-57#26 | 13 | SOGS | 64 | 2012-10-02 12:14 | 24C | 0.71575 | 1.1196e-06 | 2.1458e-06 | 0.71575 | 24.1013 | 4.265e-05 | #VALUE!
2012-57#3 | 13 | SOGS | 65 | 2012-10-02 10:50 | 24C | 0.62525 | 0 | 2.0266e-06 | 0.62525 | 20.7564 | 0 | #VALUE!
2012-57#69 | 13 | SOGS | 66 | 2012-10-02 15:54 | 24C | 0.64034 | 3.9989e-06 | 2.0862e-06 | 0.64034 | 21.3097 | 0.00014838 | #VALUE!
2012-57#21 | 13 | SOGS | 67 | 2012-10-02 11:56 | 24C | 0.50583 | 2.2391e-06 | 2.0266e-06 | 0.50583 | 16.4415 | 7.8059e-05 | #VALUE!
2012-57#19 | 13 | SOGS | 68 | 2012-10-02 11:49 | 24C | 0.51099 | 3.1148e-06 | 2.0862e-06 | 0.51099 | 16.6255 | 0.00011336 | #VALUE!
2012-57#10 |  | DWR | 5 | 2012-10-02 11:21 | 24C | 0.98981 | 3.3595e-06 | 1.967e-06 | 0.98981 | 34.5995 | 0.00013383 | 34.5995
2012-57#32 |  | DWR | 2 | 2012-10-02 13:55 | 24C | 0.98969 | 3.6233e-06 | 2.0862e-06 | 0.98969 | 34.5947 | 0.00014164 | 34.5947
2012-57#63 |  | DWR | 8 | 2012-10-02 15:35 | 24C | 0.98973 | 3.8647e-06 | 2.1458e-06 | 0.98974 | 34.5963 | 0.00015268 | 34.5963
2012-57#74 |  | DWR | 4 | 2012-10-03 09:16 | 24C | 0.98973 | 4.5011e-06 | 2.0862e-06 | 0.98973 | 34.5961 | 0.00017886 | 34.5961

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-10-02 09:58 | 24C | 0.99978 | 2.7425e-06 | 2.0266e-06 | 0.99978
2012-57#1 | P150 | 2012-10-02 09:59 | 24C | 0.99979 | 2.89e-06 | 1.967e-06 | 0.9998 | 34.992 | 0.00011401 | STANDARD AS SAMPLE (Slainity stated on label was 34.991)
2012-57#2 | P150 | 2012-10-02 10:01 | 24C | 0.9998 | 2.8792e-06 | 1.967e-06 | 0.9998 | 34.9922 | 0.00011402 | STANDARD AS SAMPLE (Slainity stated on label was 34.991)
2012-57#3 | 65 | 2012-10-02 10:50 | 24C | 0.62525 | 0 | 2.0266e-06 | 0.62525 | 20.7564 | 0 | SOGS 12
2012-57#4 | 18 | 2012-10-02 10:54 | 24C | 0.50572 | 1.1199e-06 | 1.9073e-06 | 0.50572 | 16.4374 | 3.7959e-05 | FR9 9
2012-57#5 | 44 | 2012-10-02 10:58 | 24C | 0.68252 | 3.1253e-06 | 2.0266e-06 | 0.68253 | 22.8659 | 0.00011504 | SOGN 11
2012-57#6 | 50 | 2012-10-02 11:01 | 24C | 0.88977 | 2.4912e-06 | 2.0266e-06 | 0.88978 | 30.7047 | 9.7496e-05 | SOGS 12
2012-57#7 | 40 | 2012-10-02 11:04 | 24C | 0.78325 | 3.4499e-06 | 1.967e-06 | 0.78325 | 26.6363 | 0.00013119 | SOGN 11
2012-57#8 | 6 | 2012-10-02 11:07 | 24C | 0.39882 | 2.4759e-06 | 1.9968e-06 | 0.39882 | 12.679 | 8.4448e-05 | FR3 3
2012-57#9 | 59 | 2012-10-02 11:11 | 24C | 0.82088 | 2.2725e-06 | 2.0266e-06 | 0.82088 | 28.0639 | 8.6796e-05 | SOGS 12
2012-57#10 | 5 | 2012-10-02 11:21 | 24C | 0.98981 | 3.3595e-06 | 1.967e-06 | 0.98981 | 34.5995 | 0.00013383 | DWR
2012-57#11 | 17 | 2012-10-02 11:24 | 24C | 0.51394 | 0 | 2.0266e-06 | 0.51395 | 16.7309 | 0 | FR9 9
2012-57#12 | 58 | 2012-10-02 11:27 | 24C | 0.86224 | 2.4911e-06 | 2.0266e-06 | 0.86224 | 29.6451 | 9.6978e-05 | SOGS 12
2012-57#13 | 48 | 2012-10-02 11:31 | 24C | 0.89063 | 2.7425e-06 | 2.0266e-06 | 0.89063 | 30.7376 | 0.00010345 | SOGS 12
2012-57#14 | 49 | 2012-10-02 11:34 | 24C | 0.88979 | 2.4908e-06 | 1.9073e-06 | 0.88979 | 30.7053 | 9.751e-05 | SOGS 12
2012-57#15 | 10 | 2012-10-02 11:37 | 24C | 0.2839 | 1.3712e-06 | 1.967e-06 | 0.28391 | 8.7635 | 4.5968e-05 | FR5 5
2012-57#16 | 35 | 2012-10-02 11:40 | 24C | 0.84369 | 2.4747e-06 | 2.0266e-06 | 0.84369 | 28.9346 | 9.4909e-05 | SOGN 11
2012-57#17 | 3 | 2012-10-02 11:43 | 24C | 0.055992 | 7.4526e-07 | 2.0377e-06 | 0.055994 | 1.5443 | 2.1769e-05 | FR1 1
2012-57#18 | 7 | 2012-10-02 11:47 | 24C | 0.38577 | 1.1196e-06 | 1.9968e-06 | 0.38578 | 12.2276 | 3.796e-05 | FR4 4
2012-57#19 | 68 | 2012-10-02 11:49 | 24C | 0.51099 | 3.1148e-06 | 2.0862e-06 | 0.51099 | 16.6255 | 0.00011336 | SOGS 12
2012-57#20 | 62 | 2012-10-02 11:52 | 24C | 0.79304 | 2.3105e-06 | 1.967e-06 | 0.79305 | 27.0069 | 8.7789e-05 | SOGS 12
2012-57#21 | 67 | 2012-10-02 11:56 | 24C | 0.50583 | 2.2391e-06 | 2.0266e-06 | 0.50583 | 16.4415 | 7.8059e-05 | SOGS 12
2012-57#22 | 34 | 2012-10-02 11:59 | 24C | 0.86083 | 3.1418e-06 | 2.0266e-06 | 0.86083 | 29.5912 | 0.00012137 | SOGN 11
2012-57#23 | 37 | 2012-10-02 12:02 | 24C | 0.81361 | 2.4909e-06 | 2.0266e-06 | 0.81361 | 27.7873 | 9.4397e-05 | SOGN 11
2012-57#24 | 63 | 2012-10-02 12:05 | 24C | 0.703 | 2.4908e-06 | 1.9073e-06 | 0.703 | 23.6262 | 9.1808e-05 | SOGS 12
2012-57#25 | 33 | 2012-10-02 12:07 | 24C | 0.86086 | 1.6605e-06 | 2.0862e-06 | 0.86087 | 29.5925 | 6.3256e-05 | SOGN 11
2012-57#26 | 64 | 2012-10-02 12:14 | 24C | 0.71575 | 1.1196e-06 | 2.1458e-06 | 0.71575 | 24.1013 | 4.265e-05 | SOGS 12
2012-57#27 | 1 | 2012-10-02 13:38 | 24C | 0.02186 | 5.7009e-06 | 2.0899e-06 | 0.021863 | 0.57593 | 0.00015625 | FR2 2 2
2012-57#28 | 15 | 2012-10-02 13:43 | 24C | 0.53772 | 2.7425e-06 | 2.1458e-06 | 0.53772 | 17.5823 | 9.8205e-05 | FR8 8
2012-57#29 | 20 | 2012-10-02 13:47 | 24C | 0.52055 | 2.4908e-06 | 2.1458e-06 | 0.52055 | 16.9668 | 8.9726e-05 | FR10 10
2012-57#30 | 52 | 2012-10-02 13:50 | 24C | 0.88468 | 1.4046e-06 | 2.1458e-06 | 0.88469 | 30.5084 | 5.1741e-05 | SOGS 12
2012-57#31 | 24 | 2012-10-02 13:52 | 24C | 0.88415 | 3.131e-06 | 2.0862e-06 | 0.88415 | 30.4877 | 0.00012314 | SOGN 11
2012-57#32 | 2 | 2012-10-02 13:55 | 24C | 0.98969 | 3.6233e-06 | 2.0862e-06 | 0.98969 | 34.5947 | 0.00014164 | DWR
2012-57#33 | 19 | 2012-10-02 13:59 | 24C | 0.51986 | 0 | 2.0862e-06 | 0.51986 | 16.9424 | 0 | FR10 10
2012-57#34 | 61 | 2012-10-02 14:03 | 24C | 0.79018 | 1.3713e-06 | 2.0862e-06 | 0.79018 | 26.8983 | 5.2235e-05 | SOGS 12
2012-57#35 | 46 | 2012-10-02 14:06 | 24C | 0.89987 | 3.1309e-06 | 2.1458e-06 | 0.89987 | 31.0944 | 0.00012398 | SOGS 12
2012-57#36 | 39 | 2012-10-02 14:08 | 24C | 0.78252 | 1.8283e-06 | 2.1458e-06 | 0.78253 | 26.6089 | 6.9661e-05 | SOGN 11
2012-57#37 | 55 | 2012-10-02 14:12 | 24C | 0.86767 | 3.1418e-06 | 2.0862e-06 | 0.86767 | 29.8538 | 0.00012052 | SOGS 12
2012-57#38 | 45 | 2012-10-02 14:16 | 24C | 0.90025 | 2.8901e-06 | 2.0862e-06 | 0.90025 | 31.1092 | 0.00011178 | SOGS 12
2012-57#39 | 21 | 2012-10-02 14:19 | 24C | 0.88504 | 3.4657e-06 | 2.0862e-06 | 0.88505 | 30.5223 | 0.0001366 | SOGN 11
2012-57#40 | 47 | 2012-10-02 14:22 | 24C | 0.89055 | 4.0094e-06 | 2.0266e-06 | 0.89055 | 30.7345 | 0.00015364 | SOGS 12
2012-57#41 | 29 | 2012-10-02 14:25 | 24C | 0.87364 | 4.2738e-06 | 2.1458e-06 | 0.87364 | 30.0833 | 0.00016472 | SOGN 11
2012-57#42 | 14 | 2012-10-02 14:28 | 24C | 0.38811 | 2.7423e-06 | 2.0862e-06 | 0.38811 | 12.3081 | 9.5852e-05 | FR7 7
2012-57#43 | 13 | 2012-10-02 14:31 | 24C | 0.45277 | 1.666e-08 | 2.0564e-06 | 0.45277 | 14.5627 | 5.3312e-07 | FR7 7
2012-57#44 | 57 | 2012-10-02 14:35 | 24C | 0.86218 | 4.9165e-06 | 2.0862e-06 | 0.86218 | 29.6429 | 0.00018893 | SOGS 12
2012-57#45 | 23 | 2012-10-02 14:38 | 24C | 0.8841 | 4.3232e-06 | 2.0862e-06 | 0.88411 | 30.486 | 0.00016475 | SOGN 11
2012-57#46 | 56 | 2012-10-02 14:40 | 24C | 0.86769 | 2.4783e-06 | 2.1458e-06 | 0.8677 | 29.8547 | 9.4469e-05 | SOGS 12
2012-57#47 | 16 | 2012-10-02 14:44 | 24C | 0.53788 | 2.7425e-06 | 2.1458e-06 | 0.53788 | 17.5881 | 9.9258e-05 | FR8 8
2012-57#48 | 30 | 2012-10-02 14:47 | 24C | 0.87366 | 3.599e-06 | 2.0266e-06 | 0.87366 | 30.0839 | 0.00013762 | SOGN 11
2012-57#49 | 28 | 2012-10-02 14:51 | 24C | 0.87999 | 2.226e-06 | 2.1458e-06 | 0.87999 | 30.3275 | 8.7432e-05 | SOGN 11
2012-57#50 | 5 | 2012-10-02 14:54 | 24C | 0.40459 | 5.1615e-06 | 2.0564e-06 | 0.4046 | 12.8792 | 0.00018155 | FR3 3
2012-57#51 | 31 | 2012-10-02 14:57 | 24C | 0.86717 | 4.1302e-06 | 2.265e-06 | 0.86717 | 29.8346 | 0.00015972 | SOGN 11
2012-57#52 | 53 | 2012-10-02 15:00 | 24C | 0.87333 | 3.3594e-06 | 2.0266e-06 | 0.87333 | 30.0714 | 0.00013249 | SOGS 12
2012-57#53 | 9 | 2012-10-02 15:03 | 24C | 0.29112 | 2.2392e-06 | 2.0862e-06 | 0.29113 | 9.0053 | 7.5277e-05 | FR5 5
2012-57#54 | 38 | 2012-10-02 15:07 | 24C | 0.81373 | 2.4908e-06 | 2.0266e-06 | 0.81373 | 27.792 | 9.703e-05 | SOGN 11
2012-57#55 | 22 | 2012-10-02 15:10 | 24C | 0.8851 | 2.2397e-06 | 2.0266e-06 | 0.8851 | 30.5243 | 8.4887e-05 | SOGN 11
2012-57#56 | 54 | 2012-10-02 15:12 | 24C | 0.87331 | 1.1397e-06 | 2.1458e-06 | 0.87331 | 30.0706 | 4.3729e-05 | SOGS 12
2012-57#57 | 36 | 2012-10-02 15:15 | 24C | 0.84372 | 2.7261e-06 | 2.1458e-06 | 0.84373 | 28.9359 | 0.00010396 | SOGN 11
2012-57#58 | 8 | 2012-10-02 15:18 | 24C | 0.38211 | 1.3712e-06 | 2.0862e-06 | 0.38211 | 12.1009 | 4.9362e-05 | FR4 4
2012-57#59 | 41 | 2012-10-02 15:22 | 24C | 0.71448 | 2.4909e-06 | 2.1458e-06 | 0.71448 | 24.0538 | 9.4898e-05 | SOGN 11
2012-57#60 | 32 | 2012-10-02 15:25 | 24C | 0.86752 | 1.3712e-06 | 2.0862e-06 | 0.86752 | 29.8478 | 5.1714e-05 | SOGN 11
2012-57#61 | 12 | 2012-10-02 15:28 | 24C | 0.29381 | 1.1129e-06 | 2.0862e-06 | 0.29381 | 9.0953 | 3.7108e-05 | FR6 6
2012-57#62 | 26 | 2012-10-02 15:31 | 24C | 0.88316 | 2.4912e-06 | 2.0862e-06 | 0.88316 | 30.4498 | 9.751e-05 | SOGN 11
2012-57#63 | 8 | 2012-10-02 15:35 | 24C | 0.98973 | 3.8647e-06 | 2.1458e-06 | 0.98974 | 34.5963 | 0.00015268 | DWR
2012-57#64 | 51 | 2012-10-02 15:38 | 24C | 0.88471 | 1.1196e-06 | 2.1458e-06 | 0.88472 | 30.5096 | 4.2224e-05 | SOGS 12
2012-57#65 | 11 | 2012-10-02 15:42 | 24C | 0.30281 | 1.3712e-06 | 2.0862e-06 | 0.30281 | 9.3977 | 4.6489e-05 | FR6 6
2012-57#66 | 2 | 2012-10-02 15:44 | 24C | 0.025423 | 4.3279e-06 | 2.0899e-06 | 0.025425 | 0.67403 | 0.00011973 | FR2 2
2012-57#67 | 42 | 2012-10-02 15:48 | 24C | 0.72653 | 2.4909e-06 | 2.1458e-06 | 0.72653 | 24.5038 | 9.2326e-05 | SOGN 11
2012-57#68 | 27 | 2012-10-02 15:51 | 24C | 0.87994 | 3.4657e-06 | 2.1458e-06 | 0.87994 | 30.3255 | 0.0001333 | SOGN 11
2012-57#69 | 66 | 2012-10-02 15:54 | 24C | 0.64034 | 3.9989e-06 | 2.0862e-06 | 0.64034 | 21.3097 | 0.00014838 | SOGS 12
2012-57#70 | 25 | 2012-10-02 15:56 | 24C | 0.88319 | 2.4909e-06 | 2.1458e-06 | 0.88319 | 30.4507 | 9.7028e-05 | SOGN 11
2012-57#71 | 60 | 2012-10-02 16:00 | 24C | 0.82087 | 2.4777e-06 | 2.1458e-06 | 0.82087 | 28.0635 | 9.4377e-05 | SOGS 12
2012-57#72 | 43 | 2012-10-02 16:02 | 24C | 0.68262 | 2.7425e-06 | 2.0862e-06 | 0.68262 | 22.8694 | 0.00010447 | SOGN 11
2012-57#73 | 4 | 2012-10-02 16:05 | 24C | 0.048015 | 3.2093e-06 | 2.0936e-06 | 0.048017 | 1.3131 | 9.2442e-05 | FR1 1
2012-57#74 | 4 | 2012-10-03 09:16 | 24C | 0.98973 | 4.5011e-06 | 2.0862e-06 | 0.98973 | 34.5961 | 0.00017886 | DWR