## Notes
Analysis: | Kenny Scozzafava,09 NOV 2012 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Audrey Dallimore, NRCAN Paleoseismic
Cruise Dates: | 20 Jul 2012 to 02 Aug 2012
2012-11-21 |  | KS
Salinometer Calibration Information
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-11-09 08:47 | 24C | 0.99979 | 2.7426e-06 | -1.967e-06 | 0.99979
Calibration#2 | K15 | 2012-11-09 08:47 | 24C | 0.99979 | 2.7426e-06 | -1.967e-06 | 0.99979
2012-71#1 | IAPSO STD | 2012-11-09 08:48 | 24C | 0.9998 | 3.9648e-06 | -1.9073e-06 | 0.9998 | 34.9919 | 0.00015279 | RAN AS SAMPLE. Stated salinity = 34.992
No duplicates were collected so no precision analysis was conducted.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-58 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 2.25 months after collection. For details including a duplicate analysis, see document QF2012-58SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-58 | 12 | EF05 | 2 | 32.7253
2012-58 | 23 | TIO2 | 6 | 29.2787
2012-58 | 30 | UW35 | 10 | 30.8077
2012-58 | 33 | UW38 | 11 | 30.8727
2012-58 | 48 | N14 | 13 | 33.3765
2012-58 | 54 | HOL3 | 16 | 31.4064
2012-58 | 61 | Q3 | 19 | 33.3938
2012-58 | 72 | TAHH3 | 20 | 33.0508
2012-58 | 76 | ZEB2 | 23 | 32.1123
2012-58 | 77 | HEC1 | 24 | 32.0981

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-71#100 | 12 | EF05 | 2 | 2012-11-09 15:05 | 24C | 0.94191 | 2.4911e-06 | -1.9073e-06 | 0.9419 | 32.7253 | 9.4928e-05 | #VALUE!
2012-71#102 | 23 | TIO2 | 6 | 2012-11-09 15:10 | 24C | 0.85269 | 2.4915e-06 | -1.9073e-06 | 0.85268 | 29.2788 | 9.7041e-05 | #VALUE!
2012-71#95 | 30 | UW35 | 10 | 2012-11-09 14:52 | 24C | 0.89245 | 2.8663e-06 | -1.9073e-06 | 0.89245 | 30.8077 | 0.00010933 | #VALUE!
2012-71#101 | 33 | UW38 | 11 | 2012-11-09 15:07 | 24C | 0.89413 | 2.7425e-06 | -1.967e-06 | 0.89413 | 30.8727 | 0.00010971 | #VALUE!
2012-71#103 | 48 | N14 | 13 | 2012-11-09 15:12 | 24C | 0.9586 | 3.8746e-06 | -2.0266e-06 | 0.9586 | 33.3765 | 0.00015161 | #VALUE!
2012-71#98 | 54 | HOL3 | 16 | 2012-11-09 14:59 | 24C | 0.90794 | 1.5395e-05 | -1.9073e-06 | 0.90794 | 31.4064 | 0.00059376 | #VALUE!
2012-71#99 | 61 | Q3 | 19 | 2012-11-09 15:02 | 24C | 0.95904 | 5.9996e-06 | -2.0266e-06 | 0.95904 | 33.3938 | 0.00023523 | #VALUE!
2012-71#97 | 72 | TAHH3 | 20 | 2012-11-09 14:57 | 24C | 0.95026 | 1.7599e-06 | -2.0266e-06 | 0.95026 | 33.0508 | 6.8817e-05 | #VALUE!
2012-71#93 | 76 | ZEB2 | 23 | 2012-11-09 14:47 | 24C | 0.92614 | 4.1734e-06 | -1.9073e-06 | 0.92614 | 32.1123 | 0.00016257 | #VALUE!
2012-71#96 | 77 | HEC1 | 24 | 2012-11-09 14:54 | 24C | 0.92578 | 3.2144e-06 | -1.967e-06 | 0.92578 | 32.0981 | 0.00012709 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
2012-71#93 | 23 | 2012-11-09 14:47 | 24C | 0.92614 | 4.1734e-06 | -1.9073e-06 | 0.92614 | 32.1123 | 0.00016257 | ZEB2 2012-58
2012-71#94 | DWR | 2012-11-09 14:49 | 24C | 0.99002 | 3.4516e-06 | -1.9073e-06 | 0.99002 | 34.6074 | 0.00013341 | 25 2012-12
2012-71#95 | 10 | 2012-11-09 14:52 | 24C | 0.89245 | 2.8663e-06 | -1.9073e-06 | 0.89245 | 30.8077 | 0.00010933 | UW35
2012-71#96 | 24 | 2012-11-09 14:54 | 24C | 0.92578 | 3.2144e-06 | -1.967e-06 | 0.92578 | 32.0981 | 0.00012709 | HEC1
2012-71#97 | 20 | 2012-11-09 14:57 | 24C | 0.95026 | 1.7599e-06 | -2.0266e-06 | 0.95026 | 33.0508 | 6.8817e-05 | TAHH3
2012-71#98 | 16 | 2012-11-09 14:59 | 24C | 0.90794 | 1.5395e-05 | -1.9073e-06 | 0.90794 | 31.4064 | 0.00059376 | HOL3
2012-71#99 | 19 | 2012-11-09 15:02 | 24C | 0.95904 | 5.9996e-06 | -2.0266e-06 | 0.95904 | 33.3938 | 0.00023523 | Q3
2012-71#100 | 2 | 2012-11-09 15:05 | 24C | 0.94191 | 2.4911e-06 | -1.9073e-06 | 0.9419 | 32.7253 | 9.4928e-05 | EF05
2012-71#101 | 11 | 2012-11-09 15:07 | 24C | 0.89413 | 2.7425e-06 | -1.967e-06 | 0.89413 | 30.8727 | 0.00010971 | UW36
2012-71#102 | 6 | 2012-11-09 15:10 | 24C | 0.85269 | 2.4915e-06 | -1.9073e-06 | 0.85268 | 29.2788 | 9.7041e-05 | TIO2
2012-71#103 | 13 | 2012-11-09 15:12 | 24C | 0.9586 | 3.8746e-06 | -2.0266e-06 | 0.9586 | 33.3765 | 0.00015161 | N17