## Notes
Analysis: | Kenny Scozzafava,7-Nov-12 using Water Properties' Guildline 8400B Salinometer Serial Number 68572. Data processing by Kenny Scozzafava
Chief Scientist: | Marie Robert, LaPerouse
Cruise Dates: | 31 Aug 2012 to11 Sep 2012
2012-11-20 |  | KS
Salinometer Calibration Information
Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | 2012-11-07 09:45 | 24C | 0.99978 | 2.2391e-06 | -1.0133e-06 | 0.99978
2012-59#1 | 2012-11-07 09:46 | 24C | 0.99979 | 3.2141e-06 | -1.0133e-06 | 0.99979 | 34.9916 | 0.0001264 | Std as sample
2012-59#2 | 2012-11-07 09:51 | 24C | 0.97128 | 2.2397e-06 | -1.0133e-06 | 0.97128 | 33.8727 | 8.7013e-05 | CS00
Deep Water Reference Data (2012-12 Line P Sample #: Station: P25)
Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Julian Day subsampled into 200 mL sample bottles | Julian Day analyzed | Days stored
2012-59#3 | DWR | 2012-11-07 09:54 | 24C | 0.98992 | 2.2405e-06 | -9.5367e-07 | 0.98992 | 34.6037 | 243 | 312 | 69
2012-59#36 | DWR | 2012-11-07 12:00 | 24C | 0.9898 | 3.5792e-06 | -9.5367e-07 | 0.9898 | 34.5988 | 243 | 312 | 69
2012-59#62 | DWR | 2012-11-07 14:04 | 24C | 0.98977 | 2.2391e-06 | -1.0133e-06 | 0.98977 | 34.5978 | 243 | 312 | 69
Sample 390 - Are replicate outliers. Reported average and flagged
Sample 390 - One value (34.4522) clearly out of line in comparison to CTD salinity; other value 34.5095 was chosen since it is between the values from the 2 CTD salinity channels - 34.5079 and 34.5114 | [11 empty] | GG
2012-02-12 |  | KS
Sample 334, Event 38 - Data point was missing from the duplicate analysis. Data added in and recalculated statistics. Mean difference is 0.0026 (Previously 0.0028).
QF worksheet was amended with the mean of the reps and flag.
Corrected a few typos found in this worksheet and the Duplicates worksheet.
2015-03-30 |  | KS
Amended header in the QF worksheet to show that silicone inserts were used in place of the typical nylon inserts supplied by Guildline Instruments.

## QF 2012-59 SAL FINAL
Header: | Salinity samples were collected in 200 mL type ll glass bottles with reusable silicone inserts supplied by Xiamen Cuten Accessories Industry, Ltd. And
screw caps supplied by Ocean Scientific International Limited. They were analyzed in a temperature-controlled lab on a Guildline 8400B Salinometer
standardized with IAPSO standard seawater 02 months after collection. For details including a duplicate analysis, see document QF2012-59SAL.xls.
Cruise_Number | Event_Number | Station | Sample_Number | Salinity:Bottle | Flag:Salinity Bottle | Comments
2012-59 | 30 | LB14 | 82 | 34.3971 | 6
2012-59 | 30 | LB14 | 83 | 34.2722
2012-59 | 30 | LB14 | 84 | 34.1238
2012-59 | 37 | LC11 | 113 | 34.4702
2012-59 | 37 | LC11 | 114 | 34.3854 | 6
2012-59 | 37 | LC11 | 115 | 34.2683
2012-59 | 37 | LC11 | 116 | 34.1428
2012-59 | 62 | LD08 | 232 | 34.2724
2012-59 | 62 | LD08 | 233 | 34.1029
2012-59 | 67 | LD11 | 250 | 34.521 | 6
2012-59 | 67 | LD11 | 251 | 34.472
2012-59 | 67 | LD11 | 252 | 34.3952
2012-59 | 67 | LD11 | 253 | 34.2924
2012-59 | 83 | LBP7 | 331 | 34.5986
2012-59 | 83 | LBP7 | 332 | 34.5057 | 6
2012-59 | 83 | LBP7 | 333 | 34.4554
2012-59 | 83 | LBP7 | 334 | 34.3775 | 26 | SAL: Top of neck chipped. May not have been sealed. Duplicates ok.
2012-59 | 83 | LBP7 | 335 | 34.2727 | 6
2012-59 | 83 | LBP7 | 336 | 34.0889
2012-59 | 86 | LBP5 | 353 | 34.4597 | 6
2012-59 | 86 | LBP5 | 354 | 34.3754 | 6
2012-59 | 86 | LBP5 | 355 | 34.2618
2012-59 | 86 | LBP5 | 356 | 34.0968
2012-59 | 102 | CS00 | 389 | 34.5802
2012-59 | 102 | CS00 | 390 | 34.5095 | 26 | SAL: Replicate outliers; 1 value clearly bad in comparison to CTD salinity.
2012-59 | 102 | CS00 | 391 | 34.4524
2012-59 | 102 | CS00 | 392 | 34.3681
2012-59 | 102 | CS00 | 393 | 34.2528
2012-59 | 102 | CS00 | 394 | 34.074
2012-59 | 102 | CS00 | 395 | 33.9627
2012-59 | 102 | CS00 | 396 | 33.8768
2012-59 | 102 | CS00 | 397 | 33.8726
2012-59 | 102 | CS00 | 398 | 33.8744
2012-59 | 102 | CS00 | 399 | 33.7758
2012-59 | 102 | CS00 | 400 | 33.5264
2012-59 | 102 | CS00 | 401 | 33.1642
2012-59 | 102 | CS00 | 402 | 32.7491
2012-59 | 102 | CS00 | 403 | 32.6839
2012-59 | 102 | CS00 | 404 | 32.6355
2012-59 | 102 | CS00 | 405 | 32.3868
2012-59 | 102 | CS00 | 406 | 32.262
2012-59 | 102 | CS00 | 407 | 31.952
2012-59 | 102 | CS00 | 408 | 31.9519
2012-59 | 104 | CS02 | 411 | 34.4556 | 6
2012-59 | 104 | CS02 | 412 | 34.3782
2012-59 | 104 | CS02 | 413 | 34.2737
2012-59 | 104 | CS02 | 414 | 34.0496
2012-59 | 104 | CS02 | 429 | 34.5128

## Duplicates
Precision Statement for Replicate Samples Drawn From a Single Niskin Bottle:
Mean Difference for salinity for the range 34.2721 to 34.5229 PSU was 0.0026, k = 20 with 1 outlier(s) removed
Precision Analysis and the Determination of Outliers
Precision was determined by analyzing replicate samples drawn from one Niskin
Outliers are discarded on the basis of Chauvenet's criteria. The statistic is calculated using the following formula:
The maximum deviation, dmax, is compared with the individual residuals from the original concentrations (see Table 1, columns L, M and N).
If a replicate's residual is greater than dmax, this reading can be rejected based upon Chauvenet's criterion
Table 1. Replicate Analysis for Samples Drawn From a Single Niskin Bottle | [14 empty] | Table 2. Critical values for Chauvenet statistic
Event | Station | Sample_ Number | SAL1 | SAL2 | SALAvg | Diff | Residual1 (Xi-Xm) | Residual2 (Xi-Xm) | Residual3 (Xi-Xm) | Σ(Xi-Xm)2 | n | Reject? | SAL1 Comment | SAL2 Comment | n | Chauvenet
30 | LB14 | 82 | 34.3994 | 34.3948 | 34.3971 | 0.00463 | 0.002315 | -0.002315 |  | 1.0719e-05 | 2 |  |  |  | 3 | 1.37
37 | LC11 | 114 | 34.3849 | 34.3859 | 34.3854 | 0.0010574 | -0.00052872 | 0.00052872 |  | 5.5908e-07 | 2 |  |  |  | 4 | 1.53
67 | LD11 | 250 | 34.5229 | 34.5191 | 34.521 | 0.0037689 | 0.0018844 | -0.0018844 |  | 7.1022e-06 | 2 |  |  |  | 5 | 1.64
83 | LBP7 | 332 | 34.5069 | 34.5044 | 34.5057 | 0.0024789 | 0.0012394 | -0.0012394 |  | 3.0724e-06 | 2 |  |  |  | 6 | 1.73
83 | LBP7 | 334 | 34.3781 | 34.3769 | 34.3775 | 0.001179 | 0.00058952 | -0.00058952 |  | 6.9507e-07 | 2 |  |  | SAL: Top of neck chipped. May not have been sealed | 7 | 1.8
83 | LBP7 | 335 | 34.2721 | 34.2732 | 34.2727 | 0.0011644 | -0.00058222 | 0.00058222 |  | 6.7797e-07 | 2 |  |  |  | 8 | 1.87
86 | LBP5 | 353 | 34.4586 | 34.4609 | 34.4597 | 0.002373 | -0.0011865 | 0.0011865 |  | 2.8156e-06 | 2 |  |  |  | 9 | 1.91
86 | LBP5 | 354 | 34.3786 | 34.3721 | 34.3754 | 0.0064753 | 0.0032377 | -0.0032377 |  | 2.0965e-05 | 2 |  |  |  | 10 | 1.97
102 | CS00 | 390 | 34.4522 | 34.5095 | 34.4809 | 0.057309 | -0.028655 | 0.028655 |  | 0.0016422 | 2 | y |  |  | 20 | 2.24
104 | CS02 | 411 | 34.4555 | 34.4558 | 34.4556 | 0.0002153 | -0.00010765 | 0.00010765 |  | 2.3177e-08 | 2 |  |  |  | 30 | 2.39
[15 empty] | 50 | 2.57
[15 empty] | 80 | 2.74
[15 empty] | 100 | 2.81
[15 empty] | 150 | 2.93
[15 empty] | 200 | 3.02
[9 empty] | Sum of Squares | 0.0016888
[9 empty] | Count (k) |  | 20
[9 empty] | σ | 0.0094278
[9 empty] | dmax/σ for n (Table 2) | 2.24
[9 empty] | Thus dmax = 2.57 x σ | 0.021118
[9 empty] | Mean Diff | 0.0080652
[9 empty] | MIN | 34.2721
[9 empty] | MAX | 34.5229
1 Outlier(s) Removed
[9 empty] | Mean Diff = | 0.0025936

## Flags
Institute of Ocean Sciences - Quality Flags for Water Sampling | Last Updated: October 2011
Double click document to use.

## Salinity Data Processing
Sample ID | Event | Station | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | New Calculated Salinity | Flag | Comments
2012-59#10 | 30 | LB14 | 82 | 2012-11-07 10:46 | 24C | 0.98472 | 2.7425e-06 | -9.5367e-07 | 0.98472 | 34.3994 | 0.00010659 | #VALUE!
2012-59#37 | 30 | LB14 | 82 | 2012-11-07 12:03 | 24C | 0.9846 | 3.2141e-06 | -9.5367e-07 | 0.9846 | 34.3947 | 0.00012387 | #VALUE!
2012-59#18 | 30 | LB14 | 83 | 2012-11-07 11:05 | 24C | 0.98148 | 1.3712e-06 | -9.5367e-07 | 0.98148 | 34.2722 | 5.4326e-05 | #VALUE!
2012-59#4 | 30 | LB14 | 84 | 2012-11-07 09:57 | 24C | 0.97769 | 2.4915e-06 | -1.0133e-06 | 0.97769 | 34.1238 | 9.9745e-05 | #VALUE!
2012-59#23 | 37 | LC11 | 113 | 2012-11-07 11:19 | 24C | 0.98652 | 3.1417e-06 | -9.5367e-07 | 0.98652 | 34.4702 | 0.00012831 | #VALUE!
2012-59#5 | 37 | LC11 | 114 | 2012-11-07 10:34 | 24C | 0.98435 | 2.8661e-06 | -9.5367e-07 | 0.98435 | 34.3848 | 0.00011316 | #VALUE!
2012-59#20 | 37 | LC11 | 114 | 2012-11-07 11:10 | 24C | 0.98438 | 3.2142e-06 | -1.0133e-06 | 0.98438 | 34.3859 | 0.00012913 | #VALUE!
2012-59#41 | 37 | LC11 | 115 | 2012-11-07 12:13 | 24C | 0.98138 | 1.1203e-06 | -1.0133e-06 | 0.98138 | 34.2683 | 4.4374e-05 | #VALUE!
2012-59#32 | 37 | LC11 | 116 | 2012-11-07 11:50 | 24C | 0.97818 | 3.4657e-06 | -9.5367e-07 | 0.97818 | 34.1428 | 0.00013654 | #VALUE!
2012-59#9 | 62 | LD08 | 232 | 2012-11-07 10:43 | 24C | 0.98148 | 3.1424e-06 | -9.5367e-07 | 0.98148 | 34.2724 | 0.00012313 | #VALUE!
2012-59#22 | 62 | LD08 | 233 | 2012-11-07 11:16 | 24C | 0.97716 | 3.1309e-06 | -9.5367e-07 | 0.97716 | 34.1029 | 0.00012004 | #VALUE!
2012-59#21 | 67 | LD11 | 250 | 2012-11-07 11:13 | 24C | 0.98787 | 2.4747e-06 | -9.5367e-07 | 0.98786 | 34.5229 | 9.7001e-05 | #VALUE!
2012-59#48 | 67 | LD11 | 250 | 2012-11-07 12:30 | 24C | 0.98777 | 2.7425e-06 | -9.5367e-07 | 0.98777 | 34.5191 | 0.00010972 | #VALUE!
2012-59#12 | 67 | LD11 | 251 | 2012-11-07 10:51 | 24C | 0.98657 | 3.1414e-06 | -1.0133e-06 | 0.98657 | 34.472 | 0.00012381 | #VALUE!
2012-59#56 | 67 | LD11 | 252 | 2012-11-07 13:48 | 24C | 0.98461 | 4.323e-06 | -9.5367e-07 | 0.98461 | 34.3952 | 0.00017361 | #VALUE!
2012-59#53 | 67 | LD11 | 253 | 2012-11-07 13:40 | 24C | 0.98199 | 2.4916e-06 | -1.0729e-06 | 0.98199 | 34.2924 | 9.7462e-05 | #VALUE!
2012-59#44 | 83 | LBP7 | 331 | 2012-11-07 12:20 | 24C | 0.98979 | 3.5971e-06 | -1.0133e-06 | 0.98979 | 34.5986 | 0.00014134 | #VALUE!
2012-59#15 | 83 | LBP7 | 332 | 2012-11-07 10:57 | 24C | 0.98746 | 1.1199e-06 | -1.0133e-06 | 0.98746 | 34.5069 | 4.4364e-05 | #VALUE!
2012-59#50 | 83 | LBP7 | 332 | 2012-11-07 12:35 | 24C | 0.9874 | 4.3338e-06 | -1.0729e-06 | 0.9874 | 34.5044 | 0.00017348 | #VALUE!
2012-59#46 | 83 | LBP7 | 333 | 2012-11-07 12:25 | 24C | 0.98615 | 2.4912e-06 | -1.0133e-06 | 0.98615 | 34.4554 | 9.4938e-05 | #VALUE!
2012-59#6 | 83 | LBP7 | 334 | 2012-11-07 10:36 | 24C | 0.98418 | 3.4352e-06 | -1.0133e-06 | 0.98418 | 34.3781 | 0.00013215 | #VALUE!
2012-59#19 | 83 | LBP7 | 334 | 2012-11-07 11:08 | 24C | 0.98415 | 3.865e-06 | -1.0729e-06 | 0.98415 | 34.3769 | 0.00015273 | #VALUE! | 3 | SAL: Top of neck chipped. May not have been sealed
2012-59#17 | 83 | LBP7 | 335 | 2012-11-07 11:02 | 24C | 0.98148 | 3.2253e-06 | -1.0133e-06 | 0.98148 | 34.2721 | 0.00012515 | #VALUE!
2012-59#33 | 83 | LBP7 | 335 | 2012-11-07 11:52 | 24C | 0.98151 | 2.5749e-06 | -1.0729e-06 | 0.9815 | 34.2732 | 0.00010063 | #VALUE!
2012-59#30 | 83 | LBP7 | 336 | 2012-11-07 11:45 | 24C | 0.9768 | 2.2259e-06 | -9.5367e-07 | 0.9768 | 34.0889 | 8.7067e-05 | #VALUE!
2012-59#55 | 86 | LBP5 | 353 | 2012-11-07 13:45 | 24C | 0.98623 | 2.0945e-06 | -9.5367e-07 | 0.98623 | 34.4586 | 8.3668e-05 | #VALUE!
2012-59#60 | 86 | LBP5 | 353 | 2012-11-07 13:59 | 24C | 0.98629 | 2.2394e-06 | -9.5367e-07 | 0.98629 | 34.4609 | 8.7013e-05 | #VALUE!
2012-59#54 | 86 | LBP5 | 354 | 2012-11-07 13:43 | 24C | 0.98419 | 2.4909e-06 | -1.0133e-06 | 0.98419 | 34.3786 | 9.87e-05 | #VALUE!
2012-59#57 | 86 | LBP5 | 354 | 2012-11-07 13:51 | 24C | 0.98403 | 2.4911e-06 | -1.0133e-06 | 0.98403 | 34.3721 | 9.87e-05 | #VALUE!
2012-59#28 | 86 | LBP5 | 355 | 2012-11-07 11:32 | 24C | 0.98121 | 3.6237e-06 | -1.0133e-06 | 0.98121 | 34.2618 | 0.00014167 | #VALUE!
2012-59#51 | 86 | LBP5 | 356 | 2012-11-07 12:38 | 24C | 0.97701 | 3.332e-08 | -1.0729e-06 | 0.97701 | 34.0968 | 0 | #VALUE!
2012-59#52 | 102 | CS00 | 389 | 2012-11-07 13:37 | 24C | 0.98933 | 4.3337e-06 | -1.0729e-06 | 0.98932 | 34.5802 | 0.00017186 | #VALUE!
2012-59#29 | 102 | CS00 | 390 | 2012-11-07 11:43 | 24C | 0.98607 | 3.4551e-06 | -9.5367e-07 | 0.98607 | 34.4522 | 0.00013203 | #VALUE! | 3 | SAL: Replicate outliers
2012-59#45 | 102 | CS00 | 390 | 2012-11-07 12:23 | 24C | 0.98753 | 1.3713e-06 | -1.0729e-06 | 0.98753 | 34.5096 | 5.4326e-05 | #VALUE! | 3 | SAL: Replicate outliers
2012-59#13 | 102 | CS00 | 391 | 2012-11-07 10:53 | 24C | 0.98607 | 1.4046e-06 | -9.5367e-07 | 0.98607 | 34.4524 | 5.2235e-05 | #VALUE!
2012-59#26 | 102 | CS00 | 392 | 2012-11-07 11:27 | 24C | 0.98392 | 2.4911e-06 | -1.0133e-06 | 0.98392 | 34.3681 | 9.869e-05 | #VALUE!
2012-59#7 | 102 | CS00 | 393 | 2012-11-07 10:38 | 24C | 0.98098 | 2.4909e-06 | -1.0133e-06 | 0.98098 | 34.2528 | 9.6976e-05 | #VALUE!
2012-59#14 | 102 | CS00 | 394 | 2012-11-07 10:55 | 24C | 0.97643 | 1.1196e-06 | -1.0133e-06 | 0.97642 | 34.074 | 4.5227e-05 | #VALUE!
2012-59#31 | 102 | CS00 | 395 | 2012-11-07 11:48 | 24C | 0.97359 | 1.1203e-06 | -1.0133e-06 | 0.97358 | 33.9627 | 4.265e-05 | #VALUE!
2012-59#40 | 102 | CS00 | 396 | 2012-11-07 12:10 | 24C | 0.97139 | 2.7425e-06 | -9.5367e-07 | 0.97139 | 33.8768 | 0.0001066 | #VALUE!
2012-59#2 | 102 | CS00 | 397 | 2012-11-07 09:51 | 24C | 0.97128 | 2.2397e-06 | -1.0133e-06 | 0.97128 | 33.8727 | 8.7013e-05 | #VALUE!
2012-59#47 | 102 | CS00 | 398 | 2012-11-07 12:28 | 24C | 0.97133 | 3.1415e-06 | -1.0729e-06 | 0.97133 | 33.8745 | 0.0001262 | #VALUE!
2012-59#35 | 102 | CS00 | 399 | 2012-11-07 11:58 | 24C | 0.96881 | 1.3712e-06 | -1.0729e-06 | 0.96881 | 33.7758 | 5.2278e-05 | #VALUE!
2012-59#42 | 102 | CS00 | 400 | 2012-11-07 12:16 | 24C | 0.96244 | 2.4916e-06 | -9.5367e-07 | 0.96244 | 33.5264 | 9.7001e-05 | #VALUE!
2012-59#27 | 102 | CS00 | 401 | 2012-11-07 11:29 | 24C | 0.95316 | 2.4911e-06 | -9.5367e-07 | 0.95316 | 33.1642 | 9.4938e-05 | #VALUE!
2012-59#38 | 102 | CS00 | 402 | 2012-11-07 12:05 | 24C | 0.94252 | 3.2145e-06 | -9.5367e-07 | 0.94252 | 32.7491 | 0.00012416 | #VALUE!
2012-59#39 | 102 | CS00 | 403 | 2012-11-07 12:08 | 24C | 0.94084 | 3.8647e-06 | -1.0729e-06 | 0.94084 | 32.6839 | 0.00014793 | #VALUE!
2012-59#16 | 102 | CS00 | 404 | 2012-11-07 11:00 | 24C | 0.9396 | 2.4911e-06 | -1.0133e-06 | 0.9396 | 32.6355 | 9.6599e-05 | #VALUE!
2012-59#8 | 102 | CS00 | 405 | 2012-11-07 10:41 | 24C | 0.93321 | 3.1415e-06 | -9.5367e-07 | 0.93321 | 32.3868 | 0.00012069 | #VALUE!
2012-59#24 | 102 | CS00 | 406 | 2012-11-07 11:21 | 24C | 0.93 | 3.359e-06 | -9.5367e-07 | 0.93 | 32.262 | 0.00013256 | #VALUE!
2012-59#34 | 102 | CS00 | 407 | 2012-11-07 11:55 | 24C | 0.92201 | 2.8901e-06 | -1.0133e-06 | 0.92201 | 31.952 | 0.00011358 | #VALUE!
2012-59#25 | 102 | CS00 | 408 | 2012-11-07 11:23 | 24C | 0.92201 | 1.1196e-06 | -9.5367e-07 | 0.92201 | 31.9519 | 4.329e-05 | #VALUE!
2012-59#11 | 104 | CS02 | 411 | 2012-11-07 10:48 | 24C | 0.98615 | 3.115e-06 | -9.5367e-07 | 0.98615 | 34.4555 | 0.00012312 | #VALUE!
2012-59#49 | 104 | CS02 | 411 | 2012-11-07 12:33 | 24C | 0.98616 | 3.1999e-06 | -9.5367e-07 | 0.98616 | 34.4557 | 0.00012888 | #VALUE!
2012-59#43 | 104 | CS02 | 412 | 2012-11-07 12:18 | 24C | 0.98418 | 3.1309e-06 | -9.5367e-07 | 0.98418 | 34.3782 | 0.00012419 | #VALUE!
2012-59#61 | 104 | CS02 | 413 | 2012-11-07 14:02 | 24C | 0.98152 | 1.3712e-06 | -1.0729e-06 | 0.98152 | 34.2737 | 5.4326e-05 | #VALUE!
2012-59#59 | 104 | CS02 | 414 | 2012-11-07 13:57 | 24C | 0.9758 | 2.0945e-06 | -9.5367e-07 | 0.9758 | 34.0496 | 8.1174e-05 | #VALUE!
2012-59#58 | 104 | CS02 | 429 | 2012-11-07 13:54 | 24C | 0.98761 | 2.8795e-06 | -9.5367e-07 | 0.98761 | 34.5128 | 0.00011402 | #VALUE!

## RAW Salinometer Output
Sample ID | Bottle Label | DateTime | Bath Temperature | Uncorrected Ratio | Uncorrected Ratio StandDev | Correction | Adjusted Ratio | Calculated Salinity | Calculated Salinity StandDev | Comments
Calibration#1 | K15 | 2012-11-07 09:45 | 24C | 0.99978 | 2.2391e-06 | -1.0133e-06 | 0.99978
2012-59#1 | Std as sample | 2012-11-07 09:46 | 24C | 0.99979 | 3.2141e-06 | -1.0133e-06 | 0.99979 | 34.9916 | 0.0001264 | Std as sample
2012-59#2 | 397 | 2012-11-07 09:51 | 24C | 0.97128 | 2.2397e-06 | -1.0133e-06 | 0.97128 | 33.8727 | 8.7013e-05 | CS00
2012-59#3 | DWR | 2012-11-07 09:54 | 24C | 0.98992 | 2.2405e-06 | -9.5367e-07 | 0.98992 | 34.6037 | 9.0453e-05 | 25 2012-12
2012-59#4 | 84 | 2012-11-07 09:57 | 24C | 0.97769 | 2.4915e-06 | -1.0133e-06 | 0.97769 | 34.1238 | 9.9745e-05 | LB14
2012-59#5 | 114 | 2012-11-07 10:34 | 24C | 0.98435 | 2.8661e-06 | -9.5367e-07 | 0.98435 | 34.3848 | 0.00011316 | LC11
2012-59#6 | 334 | 2012-11-07 10:36 | 24C | 0.98418 | 3.4352e-06 | -1.0133e-06 | 0.98418 | 34.3781 | 0.00013215 | LBP7
2012-59#7 | 393 | 2012-11-07 10:38 | 24C | 0.98098 | 2.4909e-06 | -1.0133e-06 | 0.98098 | 34.2528 | 9.6976e-05 | CS00
2012-59#8 | 405 | 2012-11-07 10:41 | 24C | 0.93321 | 3.1415e-06 | -9.5367e-07 | 0.93321 | 32.3868 | 0.00012069 | CS00
2012-59#9 | 232 | 2012-11-07 10:43 | 24C | 0.98148 | 3.1424e-06 | -9.5367e-07 | 0.98148 | 34.2724 | 0.00012313 | LD08
2012-59#10 | 82 | 2012-11-07 10:46 | 24C | 0.98472 | 2.7425e-06 | -9.5367e-07 | 0.98472 | 34.3994 | 0.00010659 | LB14
2012-59#11 | 411 | 2012-11-07 10:48 | 24C | 0.98615 | 3.115e-06 | -9.5367e-07 | 0.98615 | 34.4555 | 0.00012312 | CS02
2012-59#12 | 251 | 2012-11-07 10:51 | 24C | 0.98657 | 3.1414e-06 | -1.0133e-06 | 0.98657 | 34.472 | 0.00012381 | LD11
2012-59#13 | 391 | 2012-11-07 10:53 | 24C | 0.98607 | 1.4046e-06 | -9.5367e-07 | 0.98607 | 34.4524 | 5.2235e-05 | CS00
2012-59#14 | 394 | 2012-11-07 10:55 | 24C | 0.97643 | 1.1196e-06 | -1.0133e-06 | 0.97642 | 34.074 | 4.5227e-05 | CS00
2012-59#15 | 332 | 2012-11-07 10:57 | 24C | 0.98746 | 1.1199e-06 | -1.0133e-06 | 0.98746 | 34.5069 | 4.4364e-05 | LBP7
2012-59#16 | 404 | 2012-11-07 11:00 | 24C | 0.9396 | 2.4911e-06 | -1.0133e-06 | 0.9396 | 32.6355 | 9.6599e-05 | CS00
2012-59#17 | 335 | 2012-11-07 11:02 | 24C | 0.98148 | 3.2253e-06 | -1.0133e-06 | 0.98148 | 34.2721 | 0.00012515 | LBP7
2012-59#18 | 83 | 2012-11-07 11:05 | 24C | 0.98148 | 1.3712e-06 | -9.5367e-07 | 0.98148 | 34.2722 | 5.4326e-05 | LB14
2012-59#19 | 334 | 2012-11-07 11:08 | 24C | 0.98415 | 3.865e-06 | -1.0729e-06 | 0.98415 | 34.3769 | 0.00015273 | LBP7
2012-59#20 | 114 | 2012-11-07 11:10 | 24C | 0.98438 | 3.2142e-06 | -1.0133e-06 | 0.98438 | 34.3859 | 0.00012913 | LC11
2012-59#21 | 250 | 2012-11-07 11:13 | 24C | 0.98787 | 2.4747e-06 | -9.5367e-07 | 0.98786 | 34.5229 | 9.7001e-05 | LD11
2012-59#22 | 233 | 2012-11-07 11:16 | 24C | 0.97716 | 3.1309e-06 | -9.5367e-07 | 0.97716 | 34.1029 | 0.00012004 | LD08
2012-59#23 | 113 | 2012-11-07 11:19 | 24C | 0.98652 | 3.1417e-06 | -9.5367e-07 | 0.98652 | 34.4702 | 0.00012831 | LC11
2012-59#24 | 406 | 2012-11-07 11:21 | 24C | 0.93 | 3.359e-06 | -9.5367e-07 | 0.93 | 32.262 | 0.00013256 | CS00
2012-59#25 | 408 | 2012-11-07 11:23 | 24C | 0.92201 | 1.1196e-06 | -9.5367e-07 | 0.92201 | 31.9519 | 4.329e-05 | CS00
2012-59#26 | 392 | 2012-11-07 11:27 | 24C | 0.98392 | 2.4911e-06 | -1.0133e-06 | 0.98392 | 34.3681 | 9.869e-05 | CS00
2012-59#27 | 401 | 2012-11-07 11:29 | 24C | 0.95316 | 2.4911e-06 | -9.5367e-07 | 0.95316 | 33.1642 | 9.4938e-05 | CS00
2012-59#28 | 355 | 2012-11-07 11:32 | 24C | 0.98121 | 3.6237e-06 | -1.0133e-06 | 0.98121 | 34.2618 | 0.00014167 | LBP5
2012-59#29 | 390 | 2012-11-07 11:43 | 24C | 0.98607 | 3.4551e-06 | -9.5367e-07 | 0.98607 | 34.4522 | 0.00013203 | CS00
2012-59#30 | 336 | 2012-11-07 11:45 | 24C | 0.9768 | 2.2259e-06 | -9.5367e-07 | 0.9768 | 34.0889 | 8.7067e-05 | LBP7
2012-59#31 | 395 | 2012-11-07 11:48 | 24C | 0.97359 | 1.1203e-06 | -1.0133e-06 | 0.97358 | 33.9627 | 4.265e-05 | CS00
2012-59#32 | 116 | 2012-11-07 11:50 | 24C | 0.97818 | 3.4657e-06 | -9.5367e-07 | 0.97818 | 34.1428 | 0.00013654 | LC11
2012-59#33 | 335 | 2012-11-07 11:52 | 24C | 0.98151 | 2.5749e-06 | -1.0729e-06 | 0.9815 | 34.2732 | 0.00010063 | LBP7
2012-59#34 | 407 | 2012-11-07 11:55 | 24C | 0.92201 | 2.8901e-06 | -1.0133e-06 | 0.92201 | 31.952 | 0.00011358 | CS00
2012-59#35 | 399 | 2012-11-07 11:58 | 24C | 0.96881 | 1.3712e-06 | -1.0729e-06 | 0.96881 | 33.7758 | 5.2278e-05 | CS00
2012-59#36 | DWR | 2012-11-07 12:00 | 24C | 0.9898 | 3.5792e-06 | -9.5367e-07 | 0.9898 | 34.5988 | 0.00013904 | 25 2012-12
2012-59#37 | 82 | 2012-11-07 12:03 | 24C | 0.9846 | 3.2141e-06 | -9.5367e-07 | 0.9846 | 34.3947 | 0.00012387 | LB14
2012-59#38 | 402 | 2012-11-07 12:05 | 24C | 0.94252 | 3.2145e-06 | -9.5367e-07 | 0.94252 | 32.7491 | 0.00012416 | CS00
2012-59#39 | 403 | 2012-11-07 12:08 | 24C | 0.94084 | 3.8647e-06 | -1.0729e-06 | 0.94084 | 32.6839 | 0.00014793 | CS00
2012-59#40 | 396 | 2012-11-07 12:10 | 24C | 0.97139 | 2.7425e-06 | -9.5367e-07 | 0.97139 | 33.8768 | 0.0001066 | CS00
2012-59#41 | 115 | 2012-11-07 12:13 | 24C | 0.98138 | 1.1203e-06 | -1.0133e-06 | 0.98138 | 34.2683 | 4.4374e-05 | LC11
2012-59#42 | 400 | 2012-11-07 12:16 | 24C | 0.96244 | 2.4916e-06 | -9.5367e-07 | 0.96244 | 33.5264 | 9.7001e-05 | CS00
2012-59#43 | 412 | 2012-11-07 12:18 | 24C | 0.98418 | 3.1309e-06 | -9.5367e-07 | 0.98418 | 34.3782 | 0.00012419 | CS02
2012-59#44 | 331 | 2012-11-07 12:20 | 24C | 0.98979 | 3.5971e-06 | -1.0133e-06 | 0.98979 | 34.5986 | 0.00014134 | LBP7
2012-59#45 | 390 | 2012-11-07 12:23 | 24C | 0.98753 | 1.3713e-06 | -1.0729e-06 | 0.98753 | 34.5096 | 5.4326e-05 | CS00
2012-59#46 | 333 | 2012-11-07 12:25 | 24C | 0.98615 | 2.4912e-06 | -1.0133e-06 | 0.98615 | 34.4554 | 9.4938e-05 | LBP7
2012-59#47 | 398 | 2012-11-07 12:28 | 24C | 0.97133 | 3.1415e-06 | -1.0729e-06 | 0.97133 | 33.8745 | 0.0001262 | CS00
2012-59#48 | 250 | 2012-11-07 12:30 | 24C | 0.98777 | 2.7425e-06 | -9.5367e-07 | 0.98777 | 34.5191 | 0.00010972 | LD11
2012-59#49 | 411 | 2012-11-07 12:33 | 24C | 0.98616 | 3.1999e-06 | -9.5367e-07 | 0.98616 | 34.4557 | 0.00012888 | CS02
2012-59#50 | 332 | 2012-11-07 12:35 | 24C | 0.9874 | 4.3338e-06 | -1.0729e-06 | 0.9874 | 34.5044 | 0.00017348 | LBP7
2012-59#51 | 356 | 2012-11-07 12:38 | 24C | 0.97701 | 3.332e-08 | -1.0729e-06 | 0.97701 | 34.0968 | 0 | LBP5
2012-59#52 | 389 | 2012-11-07 13:37 | 24C | 0.98933 | 4.3337e-06 | -1.0729e-06 | 0.98932 | 34.5802 | 0.00017186 | CS00
2012-59#53 | 253 | 2012-11-07 13:40 | 24C | 0.98199 | 2.4916e-06 | -1.0729e-06 | 0.98199 | 34.2924 | 9.7462e-05 | LD11
2012-59#54 | 354 | 2012-11-07 13:43 | 24C | 0.98419 | 2.4909e-06 | -1.0133e-06 | 0.98419 | 34.3786 | 9.87e-05 | LBP5
2012-59#55 | 353 | 2012-11-07 13:45 | 24C | 0.98623 | 2.0945e-06 | -9.5367e-07 | 0.98623 | 34.4586 | 8.3668e-05 | LBP5
2012-59#56 | 252 | 2012-11-07 13:48 | 24C | 0.98461 | 4.323e-06 | -9.5367e-07 | 0.98461 | 34.3952 | 0.00017361 | LD11
2012-59#57 | 354 | 2012-11-07 13:51 | 24C | 0.98403 | 2.4911e-06 | -1.0133e-06 | 0.98403 | 34.3721 | 9.87e-05 | LBP5
2012-59#58 | 429 | 2012-11-07 13:54 | 24C | 0.98761 | 2.8795e-06 | -9.5367e-07 | 0.98761 | 34.5128 | 0.00011402 | CS02
2012-59#59 | 414 | 2012-11-07 13:57 | 24C | 0.9758 | 2.0945e-06 | -9.5367e-07 | 0.9758 | 34.0496 | 8.1174e-05 | CS02
2012-59#60 | 353 | 2012-11-07 13:59 | 24C | 0.98629 | 2.2394e-06 | -9.5367e-07 | 0.98629 | 34.4609 | 8.7013e-05 | LBP5
2012-59#61 | 413 | 2012-11-07 14:02 | 24C | 0.98152 | 1.3712e-06 | -1.0729e-06 | 0.98152 | 34.2737 | 5.4326e-05 | CS02
2012-59#62 | DWR | 2012-11-07 14:04 | 24C | 0.98977 | 2.2391e-06 | -1.0133e-06 | 0.98977 | 34.5978 | 8.7013e-05 | 25 2012-12